## POWER STATUS
POWER STATUS ON DT 03.08.2026
[9 empty] | 2026-08-03 | 2026-08-02
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 6137.3761 | 6874.2835
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 230.71 | 5.537 | 630/590 ft | 611.29 | 624.27 | 621.5 | 227.8514 | 230.1421
| Chiplima | 72(3x24) | 45.375 | 1.089 | - |  |  |  | 52.2737 | 47.7237
| Balimela | 510(6x60+2x75) | 40.416 | 0.96998 | 1516/1440 ft | 1467.2 | 1459.4 | 1459.8 | 28.7231 | 120.6135
| Rengali | 250(5x50) | 240.53 | 5.7727 | 123.5/109.75 mt | 120.52 | 121.86 | 121.56 | 236.2372 | 238.689
| Upper Kolab | 320(4x80) | 24.29 | 0.58296 | 858/844 mt | 852.2 | 849.79 | 849.87 | 0 | 157.576
| Upper Indravati | 600(4x150) | 182.8125 | 4.3875 | 642/625 mt | 634.32 | 633.19 | 633.22 | 0.29069 | 492.5393
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2740.2 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 764.1335 | 18.3392 |  |  |  |  | 545.3761 | 1287.2835
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1695.29 | 40.687 | RENEWABLE ENERGY (RE) |  |  |  | 1716 | 1684
[5 empty] | M.Hydl | 115.59
| Total Thermal | 2200 | 1695.29 | 40.687 | Solar | 141.2 |  |  | 1716 | 1684
IPP | VEDANTA #2 | 600 (1x600) | 395.59 | 9.4942 | Total IPPs | Yesterday's Demand Profile |  |  | 398.9453 | 541.4059
| GMR #3 | 350 (1x350) | 305.13 | 7.3231 | 794.72 |  | MW | HRS | 326.2841 | 329.2283
| NBVL(IPP) | 60(1x60) | 48.56 | 1.1654 |  |  |  |  | 52.4905 | 54.9132
| MDTPC |  | 45.44 | 1.0906 |  |  |  |  | 34.7816 | 55.4239
| CGPs |  | 755.26 | 18.1262 | IPPs, CGPs & RE | Maximum | 6875 | 23:00 | 2123 | 2031
| Central Sector(Drawl) |  | 1967.63 | 47.2231 | 1806.77 | Minimum | 5741 | 07:00 | 1753 | 1872
| Central Sector(Sch) |  | 2063.38 | 49.5211 |  | Average | 6233.8235 |  | 2018 | 1989
| Grand Total |  | 6233.8235 | 149.6118 | Instantaneous Peak demand |  | 6977.79 | 21:01 | 6137.3761 | 6874.2835
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE |  | ACTUAL |  | SCHEDULE
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1713.73 | 41.1295 | 1671.88 | 40.1251 | 1720.52 | 41.2925
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2259.66 | 54.2318 | 2318.89 | 55.6534 | 2046.09 | 49.1062
Rengali | NIL | TSTPP St-II | 3 | TPNODL | 1300.86 | 31.2206 | 1313.55 | 31.5252 | 1230.95 | 29.5428
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 609.23 | 14.6215 | 621.42 | 14.9141 | 614.32 | 14.7437
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5883.48 | 141.2035 | 5925.74 | 142.2178 | 5611.88 | 134.6851
Machhkund | 02 to 06 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 399 | GMR |  |  |  | 326
| NBVL #3 | 52 | MDTPC |  |  |  | 35
Mini Hydel: | MEENAKSHI | 39 | OPCL |  |  |  | 0
| BTPL | 24 | SAPTADHARA |  |  |  | 18
Solar: |  | 349 | KAKATIYA |  |  |  | 6
CGPs : | JSPL (Angul) | 236.2755 | JSL(Duburi) |  |  |  | -79.1567
| ICCL | 43.2075 | visa |  |  |  | 11.6974
| NALCO | -141.0313 | VAL (CGP) |  |  |  | 213.309
| RSP | -39.8916 | BSL(MMDL) |  |  |  | 93.6387
| INDAL | -0.77789 | ADITYA ALUMINIUM |  |  |  | 23.3265
| NINL | -34.8095 | VAL CPP 400 kV |  |  |  | -971.5736
| NBVL | 53.6445 | Arati |  |  |  | 21.7361
| BPSL(JSG) | -80.8906 | BPPL |  |  |  | 77.4587
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-26 | 2026-07-27 | 2026-07-28 | 2026-07-29 | 2026-07-30 | 2026-07-31 | 2026-08-01 | 2026-08-02
384.4713 | 592.3136 | 607.4213 | 642.398 | 539.3666 | 546.2796 | 536.16 | 764.1335
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.02.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | -4.75 | AGE26AL_PSS6_KPS1_S | ODISHA | 68.56
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AP41PL_BHDL | ODISHA | 36.17
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -14.17 | AP43PL_BKN | ODISHA | 59.92
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -5.83 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 0.96
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | AWEK1L | ODISHA | 7
JSPLANGUL | GEB_Beneficiary | -33.58 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 10.5
JSPLANGUL | RUVITSL | 0 | BPPL | HARYANA | -6.25 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 0
MAADURGA_THERMAL | NPCL_UP | -17.09 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 0
NBVLIPP | TANGEDCO | -50 | FACORPOWER | PSPCL | -14.17 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 8.64
ODISHA | APCPDCL | -20.83 | FACORPOWER | PSPCL | -5.83 | DADRI_SOLAR | ODISHA | 0.75
VSL | CR_IR_MS | -10 | FACORPOWER | PSPCL | -1.46 | ENERSON_SOLAR_10MW | ODISHA | 0.45
FARIDABAD_SOLAR | ODISHA | 0.86 | FACORPOWER | PSPCL | -3.54 | GADAG_GreenInfra_W | ODISHA | 0.89
JSWEL_UTKAL | ODISHA | 70.9 | JSPLANGUL | RUVITSL | -96.88 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 1.74 | KCMW_od | JAYPEE_REWA | -0.38 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.09 | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_Serentica3_S | VLSEZ | 26.59
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GADAG_Serentica3_W | VLSEZ | 101.33
|  |  | NBVLIPP | BSPHCL | -14.38 | GIWEL_SECI_II_RE | ODISHA | 45.79
|  |  | NBVLIPP | BSPHCL | -3.54 | GPCL_SOLAR_10 | ODISHA | 0.27
|  |  | OCL_IRON_STEEL | BRPL | 0 | GSECL_SOLAR | ODISHA | 0.4
|  |  | OCL_IRON_STEEL | CSEB_Beneficiary | -8.17 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.53
|  |  | ODISHA | TANGEDCO | -29.17 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 3.05
|  |  | ORSISL | PSPCL | -1.17 | KARUR_TPVARDHAMAN_W | TSKPO | 83.25
|  |  | ORSISL | PSPCL | -2.83 | KARUR_TPVARDHAMAN_W | TSLFAPG | 7.86
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | VSL | WBSEDCL | -4.17 | NTPCRE1_SMND_BHJ2_W | ODISHA | 6.57
|  |  | HP | VLSEZ | 44.1 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 5.51
|  |  | JIPL | ODISHA | 115.45 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
|  |  | NALCOAP | NACL_Odisha | 29.35 | OKWPL_RE | ODISHA | 25.23
|  |  | North_Karanpura_STPS | ODISHA | 15.62 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 31.52
|  |  | TSTPP_I | ODISHA | 39.18 | RWE_AP2_SECI_III | ODISHA | 19.9
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 13.96
[6 empty] | SRI9PL_FTG3 | VLSEZ | 60.66
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.07
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.08
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 60.04
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 5.25
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 50.87

## DAM
DAM TRADING DETAILS FOR DT : 02.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -2 | 0 | -325 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 0 | 0
00:15 - 00:30 | -2 | 0 | -325 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 0 | 0
00:30 - 00:45 | -2 | 0 | -325 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 0 | 0
00:45 - 01:00 | -2 | 0 | -325 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 0 | 0
01:00 - 01:15 | -2 | 0 | -400 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 0 | 0
01:15 - 01:30 | -2 | 0 | -400 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 0 | 0
01:30 - 01:45 | -2 | 0 | -400 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 0 | 0
01:45 - 02:00 | -2 | 0 | -400 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 0 | 0
02:00 - 02:15 | -2 | 0 | -175 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 9.62 | 0
02:15 - 02:30 | -2 | 0 | -175 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 9.62 | 0
02:30 - 02:45 | -2 | 0 | -175 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 9.62 | 0
02:45 - 03:00 | -2 | 0 | -332.9 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 9.62 | 0
03:00 - 03:15 | -2 | 0 | -200 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 9.62 | 0
03:15 - 03:30 | -2 | 0 | -200 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 9.62 | 0
03:30 - 03:45 | -2 | 0 | -200 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 9.62 | 0
03:45 - 04:00 | -2 | 0 | -200 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 9.62 | 0
04:00 - 04:15 | -2 | 0 | -200 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 9.62 | 0
04:15 - 04:30 | -2 | 0 | -200 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 9.62 | 0
04:30 - 04:45 | -2 | 0 | -200 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 9.62 | 0
04:45 - 05:00 | -2 | 0 | -200 | 0 | -1.1 | 0 | -4 | -19.4 | 0 | 9.62 | 0
05:00 - 05:15 | -2 | 0 | -300 | 0 | -1.3 | 0 | -4 | -19.4 | -43 | 9.62 | 0
05:15 - 05:30 | -2 | 0 | -300 | 0 | -1.3 | 0 | -4 | -19.4 | -43 | 9.62 | 0
05:30 - 05:45 | -2 | 0 | -300 | 0 | -1.3 | 0 | -4 | -19.4 | -43 | 9.62 | 0
05:45 - 06:00 | -2 | 0 | -575 | 0 | -1.3 | 0 | -4 | -19.4 | -43 | 0 | 0
06:00 - 06:15 | -2 | 0 | -975 | 0 | -1.3 | 0 | -10 | -19.4 | -43 | 0 | -6
06:15 - 06:30 | -2 | 0 | -975 | 0 | -1.3 | 0 | -10 | -19.4 | -43 | 0 | -6
06:30 - 06:45 | -2 | 0 | -975 | 0 | -1.3 | 0 | -10 | -19.4 | -43 | 0 | -6
06:45 - 07:00 | -2 | 0 | -975 | 0 | -1.3 | 0 | -10 | -19.4 | -43 | 0 | -6
07:00 - 07:15 | -2 | 22.13 | -1175 | 0 | -1.3 | 0 | -10 | -19.4 | -43 | 0 | -6
07:15 - 07:30 | -2 | 22.13 | -1075 | 0 | -1.3 | 0 | -10 | -19.4 | -43 | 0 | -6
07:30 - 07:45 | -2 | 22.13 | -1008.7 | 0 | -1.3 | 0 | -10 | -19.4 | -43 | 9.62 | -6
07:45 - 08:00 | -2 | 22.13 | -875.76 | 0 | -1.3 | 0 | -10 | -19.4 | -43 | 0 | -6
08:00 - 08:15 | -2 | 22.13 | -850 | 28.86 | -1.3 | 9.62 | -4 | -12 | -18 | 0 | -6
08:15 - 08:30 | -2 | 22.13 | -703.31 | 28.86 | -1.3 | 0 | -4 | -12 | -18 | 0 | -6
08:30 - 08:45 | -2 | 22.13 | -634.8 | 28.86 | -1.3 | 0 | -4 | -12 | -18 | 0 | -6
08:45 - 09:00 | -2 | 22.13 | -511.48 | 28.86 | -1.3 | 0 | -4 | -12 | -18 | 0 | -6
09:00 - 09:15 | -2 | 22.13 | -691.61 | 28.86 | -1.3 | 0 | -4 | -12 | -18 | 0 | -6
09:15 - 09:30 | -2 | 22.13 | -690.7 | 28.86 | -1.3 | 0 | -4 | -12 | -18 | 0 | -6
09:30 - 09:45 | -2 | 22.13 | -577.65 | 28.86 | -1.3 | 0 | -4 | -12 | -18 | 0 | -6
09:45 - 10:00 | -2 | 22.13 | -123.11 | 28.86 | -1.3 | 0 | -4 | -12 | -18 | 0 | 0
10:00 - 10:15 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
10:15 - 10:30 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
10:30 - 10:45 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
10:45 - 11:00 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
11:00 - 11:15 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
11:15 - 11:30 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
11:30 - 11:45 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
11:45 - 12:00 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
12:00 - 12:15 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
12:15 - 12:30 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
12:30 - 12:45 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
12:45 - 13:00 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
13:00 - 13:15 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
13:15 - 13:30 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
13:30 - 13:45 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
13:45 - 14:00 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
14:00 - 14:15 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
14:15 - 14:30 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
14:30 - 14:45 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
14:45 - 15:00 | -2 | 22.13 | 0 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
15:00 - 15:15 | -2 | 22.13 | -386.29 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | 0
15:15 - 15:30 | -2 | 22.13 | -429.48 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | -6
15:30 - 15:45 | -2 | 22.13 | -496.64 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | -6
15:45 - 16:00 | -2 | 22.13 | -677.1 | 28.86 | -1.3 | 0 | -4 | -10 | -18 | 0 | -6
16:00 - 16:15 | -2 | 22.13 | -900 | 28.86 | -1.3 | 0 | -4 | -10 | -43 | 0 | -6
16:15 - 16:30 | -2 | 22.13 | -900 | 0 | -1.3 | 0 | -4 | -10 | -43 | 0 | -6
16:30 - 16:45 | -2 | 22.13 | -900 | 0 | -1.3 | 0 | -4 | -10 | -43 | 0 | -6
16:45 - 17:00 | -2 | 22.13 | -1000.61 | 0 | -1.3 | 0 | -4 | -10 | -43 | 0 | -6
17:00 - 17:15 | -2 | 0 | -792.89 | 0 | -1.1 | 0 | -5 | -18.5 | -43 | 0 | -6
17:15 - 17:30 | -2 | 0 | -880.68 | 0 | -1.1 | 0 | -5 | -18.5 | -43 | 9.62 | -6
17:30 - 17:45 | -2 | 0 | -898.89 | 0 | -1.1 | 0 | -5 | -18.5 | -43 | 9.62 | -6
17:45 - 18:00 | -2 | 0 | -925 | 0 | -1.1 | 0 | -5 | -18.5 | -43 | 9.62 | -6
18:00 - 18:15 | -2 | 0 | -303.93 | 0 | -1.1 | 0 | -4 | -18.5 | -43 | 9.62 | 0
18:15 - 18:30 | -2 | 0 | -303.99 | 0 | -1.1 | 0 | -4 | -18.5 | -43 | 9.62 | 0
18:30 - 18:45 | -2 | 0 | -325 | 0 | -1.1 | 0 | -4 | -18.5 | -43 | 9.62 | 0
18:45 - 19:00 | -2 | 0 | -500 | 0 | -1.1 | 0 | -4 | -18.5 | -43 | 9.62 | 0
19:00 - 19:15 | -2 | 0 | 0 | 0 | -1.1 | 0 | -4 | -18.5 | 0 | 0 | 0
19:15 - 19:30 | -2 | 0 | 0 | 0 | -1.1 | 0 | -4 | -18.5 | 0 | 0 | 0
19:30 - 19:45 | -2 | 0 | 0 | 0 | -1.1 | 0 | -4 | -18.5 | 0 | 0 | 0
19:45 - 20:00 | -2 | 0 | 0 | 0 | -1.1 | 0 | -4 | -18.5 | 0 | 0 | 0
20:00 - 20:15 | -2 | 0 | 0 | 0 | -1.1 | 0 | -4 | -18.5 | 0 | 0 | 0
20:15 - 20:30 | -2 | 0 | 0 | 0 | -1.1 | 0 | -4 | -18.5 | 0 | 0 | 0
20:30 - 20:45 | -2 | 0 | 0 | 0 | -1.1 | 0 | -4 | -18.5 | 0 | 0 | 0
20:45 - 21:00 | -2 | 0 | 0 | 0 | -1.1 | 0 | -4 | -18.5 | 0 | 0 | 0
21:00 - 21:15 | -2 | 0 | -50 | 0 | -1.1 | 0 | -4 | -18.5 | 0 | 0 | 0
21:15 - 21:30 | -2 | 0 | -50 | 0 | -1.1 | 0 | -4 | -18.5 | 0 | 0 | 0
21:30 - 21:45 | -2 | 0 | -50 | 0 | -1.1 | 0 | -4 | -18.5 | 0 | 0 | 0
21:45 - 22:00 | -2 | 0 | -50 | 0 | -1.1 | 0 | -4 | -18.5 | 0 | 0 | 0
22:00 - 22:15 | -2 | 0 | 0 | 0 | -1.1 | 0 | -4 | -17.5 | 0 | 0 | 0
22:15 - 22:30 | -2 | 0 | 0 | 0 | -1.1 | 0 | -4 | -17.5 | 0 | 0 | 0
22:30 - 22:45 | -2 | 0 | 0 | 0 | -1.1 | 0 | -4 | -17.5 | 0 | 0 | 0
22:45 - 23:00 | -2 | 0 | 0 | 0 | -1.1 | 0 | -4 | -17.5 | 0 | 0 | 0
23:00 - 23:15 | -2 | 0 | -75 | 0 | -1.1 | 0 | -4 | -17.5 | 0 | 0 | 0
23:15 - 23:30 | -2 | 0 | -75 | 0 | -1.1 | 0 | -4 | -17.5 | 0 | 0 | 0
23:30 - 23:45 | -2 | 0 | -75 | 0 | -1.1 | 0 | -4 | -17.5 | 0 | 0 | 0
23:45 - 24:00 | -2 | 0 | -75 | 0 | -1.1 | 0 | -4 | -17.5 | 0 | 0 | 0
Average | -2 | 9.2208 | -320.5263 | 9.9206 | -1.2 | 0.10021 | -4.5417 | -15.6958 | -16.75 | 2.3048 | -1.625

## GDAM
GDAM TRADING DETAILS FOR DT:02.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jagannath_Power_And_Infra_Private_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd)
00:00 - 00:15 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 33.67 | -14 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 33.67 | -14 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 33.67 | -14 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 33.67 | -14 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 33.67 | -14 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 33.67 | -14 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 33.67 | -14 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 33.67 | -14 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 33.68 | -14 | 0 | 6.25 | 0
03:15 - 03:30 | 0 | 0 | 0 | 33.68 | -14 | 0 | 6.25 | 0
03:30 - 03:45 | 0 | 0 | 0 | 33.68 | -14 | 0 | 6.25 | 0
03:45 - 04:00 | 0 | 0 | 0 | 33.68 | -14 | 0 | 6.25 | 0
04:00 - 04:15 | 0 | 0 | 0 | 33.68 | -14 | 0 | 6.25 | 0
04:15 - 04:30 | 0 | 0 | 0 | 33.68 | -14 | 0 | 6.25 | 0
04:30 - 04:45 | 0 | 0 | 0 | 33.68 | -14 | 0 | 6.25 | 0
04:45 - 05:00 | 0 | 0 | 0 | 33.68 | -14 | 0 | 6.25 | 0
05:00 - 05:15 | 0 | 0 | 0 | 33.68 | -14 | 0 | 6.25 | 0
05:15 - 05:30 | 0 | 0 | 0 | 33.68 | -14 | 0 | 6.25 | 0
05:30 - 05:45 | 0 | 0 | 0 | 33.67 | -14 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 33.67 | -14 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 33.67 | -14 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 33.68 | -14 | 0 | 2.49 | 0
07:15 - 07:30 | 0 | -1.1 | 0 | 33.68 | -14 | 0 | 6.25 | 0
07:30 - 07:45 | 0 | -2.7 | 0 | 33.68 | -14 | 0 | 6.25 | 0
07:45 - 08:00 | 0 | -4.7 | 0 | 33.68 | -14 | 0 | 6.25 | 9.62
08:00 - 08:15 | 0 | -6.1 | 0 | 43.3 | -14 | 0 | 6.25 | 9.62
08:15 - 08:30 | -0.8 | -7 | 0 | 43.3 | -14 | 9.62 | 6.25 | 9.62
08:30 - 08:45 | -3 | -7 | 0 | 43.3 | -14 | 9.62 | 6.25 | 9.62
08:45 - 09:00 | -3.3 | -8.8 | 0 | 43.3 | -14 | 9.62 | 6.25 | 9.62
09:00 - 09:15 | -5.8 | -9.9 | 0 | 43.3 | -14 | 9.62 | 6.25 | 9.62
09:15 - 09:30 | -0.5 | -9.8 | 0 | 43.3 | -14 | 9.62 | 6.25 | 9.62
09:30 - 09:45 | -9 | -10.8 | 31.93 | 43.3 | -14 | 9.62 | 6.25 | 9.62
09:45 - 10:00 | -8.5 | -13 | 38.55 | 43.3 | -14 | 9.62 | 6.25 | 9.62
10:00 - 10:15 | -5.8 | -15 | 264.75 | 43.29 | -14 | 9.62 | 6.25 | 9.62
10:15 - 10:30 | -6.1 | -15.8 | 264.65 | 43.29 | -14 | 9.62 | 6.25 | 9.62
10:30 - 10:45 | -9.5 | -16 | 252.75 | 43.29 | -14 | 9.62 | 6.25 | 9.62
10:45 - 11:00 | -11.6 | -18.2 | 264.54 | 43.29 | -14 | 9.62 | 6.25 | 9.62
11:00 - 11:15 | -14.5 | -15.6 | 264.37 | 43.29 | -14 | 9.62 | 6.25 | 9.62
11:15 - 11:30 | -12.3 | -17 | 264.69 | 43.29 | -14 | 9.62 | 6.25 | 9.62
11:30 - 11:45 | -6.9 | -14.8 | 264.63 | 43.29 | -14 | 9.62 | 6.25 | 9.62
11:45 - 12:00 | -4.8 | -14.4 | 282.42 | 43.29 | -14 | 9.62 | 6.25 | 9.62
12:00 - 12:15 | -7.8 | -19.3 | 286.17 | 43.29 | -14 | 9.62 | 6.25 | 9.62
12:15 - 12:30 | -5.8 | -16.9 | 293.42 | 43.29 | -14 | 9.62 | 6.25 | 9.62
12:30 - 12:45 | -10.2 | -15.8 | 293.43 | 43.29 | -14 | 9.62 | 6.25 | 9.62
12:45 - 13:00 | -11.7 | -14.8 | 294.82 | 43.29 | -14 | 9.62 | 6.25 | 9.62
13:00 - 13:15 | -13.4 | -16.6 | 295.52 | 43.29 | -14 | 9.62 | 6.25 | 9.62
13:15 - 13:30 | -13.8 | -18.4 | 295.52 | 43.29 | -14 | 9.62 | 6.25 | 9.62
13:30 - 13:45 | -11.2 | -15.1 | 292.12 | 43.29 | -14 | 9.62 | 6.25 | 9.62
13:45 - 14:00 | -12.7 | -13.5 | 286.14 | 43.29 | -14 | 9.62 | 6.25 | 9.62
14:00 - 14:15 | -11.3 | -15 | 286.13 | 43.29 | -14 | 9.62 | 6.25 | 9.62
14:15 - 14:30 | -10.8 | -17.6 | 274.12 | 43.29 | -14 | 9.62 | 6.25 | 9.62
14:30 - 14:45 | -7.8 | -14.9 | 197.75 | 43.29 | -14 | 9.62 | 6.25 | 9.62
14:45 - 15:00 | -7.9 | -15.3 | 232.68 | 43.29 | -14 | 9.62 | 6.25 | 9.62
15:00 - 15:15 | -9.8 | -13.2 | 0 | 43.3 | -14 | 9.62 | 6.25 | 9.62
15:15 - 15:30 | -8 | -11.7 | 0 | 43.3 | -14 | 9.62 | 6.25 | 9.62
15:30 - 15:45 | -4.7 | -10.9 | 45.82 | 43.29 | -14 | 9.62 | 6.25 | 9.62
15:45 - 16:00 | -5.2 | -9.4 | 0 | 43.3 | -14 | 9.62 | 6.25 | 9.62
16:00 - 16:15 | -2.9 | -7.1 | 0 | 33.68 | -14 | 9.62 | 6.25 | 9.62
16:15 - 16:30 | 0 | -5.7 | 0 | 33.68 | -14 | 9.62 | 6.25 | 9.62
16:30 - 16:45 | 0 | -4 | 0 | 33.68 | -14 | 0 | 6.25 | 9.62
16:45 - 17:00 | 0 | -2.7 | 0 | 33.68 | -14 | 0 | 6.25 | 9.62
17:00 - 17:15 | 0 | -1.3 | 0 | 33.68 | -14 | 0 | 6.25 | 9.62
17:15 - 17:30 | 0 | 0 | 0 | 33.68 | -14 | 0 | 6.25 | 0
17:30 - 17:45 | 0 | 0 | 0 | 33.68 | -14 | 0 | 6.25 | 0
17:45 - 18:00 | 0 | 0 | 0 | 33.67 | -14 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 33.67 | -14 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | -14 | 0 | 0 | 0
Average | -2.6813 | -4.8635 | 57.9888 | 26.3581 | -14 | 3.3069

## RTM
RTM TRADING DETAILS FOR DT: 02.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -0.6 | -1 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | -20 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 0 | 320.77
00:15 - 00:30 | -0.6 | -1 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | -20 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -30 | 0 | 0 | -14.5 | 0 | 0 | 345.89
00:30 - 00:45 | -0.6 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | -14.5 | 0 | 0 | 174.14
00:45 - 01:00 | -0.6 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 0 | 183.76
01:00 - 01:15 | -0.6 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14.5 | 0 | 0 | 153.94
01:15 - 01:30 | -0.6 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 149.13
01:30 - 01:45 | -0.6 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 149.13
01:45 - 02:00 | -0.6 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 149.13
02:00 - 02:15 | -0.6 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245.33
02:15 - 02:30 | -0.6 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245.33
02:30 - 02:45 | -0.6 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245.34
02:45 - 03:00 | -0.6 | -1 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245.34
03:00 - 03:15 | -0.6 | -1 | -0.2 | -1.2 | 0 | -104.64 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 254.96
03:15 - 03:30 | -0.6 | 0 | -0.2 | -1.2 | 0 | -25.03 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 254.96
03:30 - 03:45 | -0.6 | 0 | -0.2 | -1.2 | 0 | -100 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 254.96
03:45 - 04:00 | -0.6 | 0 | -0.2 | -1.2 | 0 | -104.3 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 254.96
04:00 - 04:15 | -0.6 | 0 | -0.2 | -1.2 | 0 | -79.01 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245.34
04:15 - 04:30 | -0.6 | 0 | -0.2 | -1.2 | 0 | -81.51 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245.34
04:30 - 04:45 | -0.6 | 0 | -0.2 | -1.2 | 0 | -90.06 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 245.34
04:45 - 05:00 | -0.6 | 0 | -0.2 | -1.2 | 0 | -100.63 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 245.34
05:00 - 05:15 | -0.6 | 0 | -0.2 | -1.2 | 0 | -119.2 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250.15
05:15 - 05:30 | -0.6 | 0 | -0.2 | -1.2 | 0 | -128.56 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 250.15
05:30 - 05:45 | -0.6 | 0 | -0.6 | -1.2 | 0 | -118.51 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 288.63
05:45 - 06:00 | -0.6 | 0 | -0.6 | -1.2 | 0 | -109.25 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 288.63
06:00 - 06:15 | -0.6 | -16 | -0.6 | -1.2 | 0 | -70.12 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 269.39
06:15 - 06:30 | -0.6 | -16 | -0.6 | -1.2 | 0 | -114.29 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 268.44
06:30 - 06:45 | -0.6 | -16 | -1.1 | -1.2 | 0 | -115.76 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 272.27
06:45 - 07:00 | -0.6 | -15.39 | -1.1 | -1.2 | 0 | -114.28 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 263.62
07:00 - 07:15 | -0.6 | -13 | -0.7 | -1.3 | 0 | 0 | 0 | 10.58 | 0 | 0 | -5 | 0 | 14.43 | 0 | -1.1 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | 0 | 0 | 9.24 | 0 | 0 | 0 | 0 | 239.56
07:15 - 07:30 | -0.6 | -13 | -0.7 | -1.3 | 0 | 0 | 0 | 10.58 | 0 | 0 | -5 | 0 | 14.43 | 0 | -1.5 | 15.39 | 0 | 9.62 | 0 | 0 | 0 | 0 | 0 | 0 | 9.24 | 38.48 | 0 | 5.58 | 0 | 215.52
07:30 - 07:45 | -0.6 | -13 | -0.7 | 0 | 0 | 0 | 0 | 10.58 | 144.32 | 0 | -5 | 0 | 14.43 | -5 | -1.4 | 5.77 | 0 | 9.62 | 0 | 0 | 0 | 0 | 0 | -20 | 9.24 | 19.24 | 0 | 5.58 | 0 | 156.82
07:45 - 08:00 | -0.6 | -13 | -0.7 | 0 | 0 | 0 | 0 | 10.58 | 144.32 | 0 | -5 | 0 | 14.43 | -5 | -1.5 | 5.77 | 6.32 | 9.62 | 0 | 17.8 | 0 | 0 | 0 | 0 | 9.24 | 19.24 | 0 | 5.58 | 0 | 257.78
08:00 - 08:15 | -0.6 | -13 | -1.1 | 0 | 0 | 0 | 0 | 10.58 | 192.42 | 0 | 0 | -15 | 0 | -5 | -1.7 | 5.77 | 0 | 9.62 | 2.89 | 17.8 | 0 | -7.5 | 0 | -10 | 4.43 | 14.43 | 0 | 5.58 | 0 | 102.94
08:15 - 08:30 | -0.6 | -13 | -1.1 | 0 | 0 | 0 | 0 | 10.58 | 192.41 | 0 | 0 | 0 | 0 | -5 | -1.9 | 5.77 | 1.6 | 9.62 | 2.89 | 17.8 | 0 | -7.5 | 0 | -35 | 4.43 | 14.43 | 0 | 5.58 | 0 | 98.07
08:30 - 08:45 | -0.6 | -13 | -1.4 | 0 | 0 | -147.53 | 0 | 10.58 | 192.42 | 0 | 0 | 0 | 0 | -5 | -2.1 | 5.77 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | -7.5 | 0 | -30 | 4.43 | 14.43 | 0 | 5.58 | 0 | 231.87
08:45 - 09:00 | -0.6 | -13 | -1.4 | 0 | 0 | -342.5 | 0 | 10.58 | 192.42 | 0 | 0 | 0 | 0 | -5 | -2.2 | 5.77 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | -7.5 | 0 | 0 | 4.43 | 14.43 | 0 | 5.58 | 0 | 202.04
09:00 - 09:15 | -0.6 | -14 | -1 | 0 | 0 | -146.2 | 0 | 10.58 | 192.42 | 0 | 0 | 0 | 0 | -5 | -2.3 | 5.77 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | -7.5 | 0 | 0 | 4.43 | 14.43 | 0 | 5.58 | 0 | 175.1
09:15 - 09:30 | -0.6 | -14 | -1 | 0 | 0 | -119.99 | 0 | 10.58 | 192.42 | 0 | 0 | 0 | 0 | -5 | -2.5 | 7.7 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | -7.5 | 0 | -30 | 4.43 | 14.43 | 0 | 5.58 | 0 | 147.2
09:30 - 09:45 | -0.6 | -13 | -1 | 0 | 0 | -46.21 | 0 | 10.58 | 192.41 | 0 | 0 | 0 | 0 | -5 | -2.5 | 7.7 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0 | 0 | -20 | 4.43 | 14.43 | 0 | 5.58 | 0 | 118.34
09:45 - 10:00 | -0.6 | -13 | -1 | 0 | 0 | -122.95 | 0 | 10.58 | 192.42 | 0 | 0 | 0 | 0 | -5 | 0 | 11.55 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0 | 0 | 0 | 4.43 | 14.43 | 0 | 5.58 | -6 | 106.79
10:00 - 10:15 | -0.6 | -13 | -1 | 0 | 0 | -614.24 | 0 | 10.58 | 134.69 | 0 | 0 | 0 | 0 | -5 | 5.2 | 7.7 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0 | 0 | -5 | 4.43 | 14.43 | 0 | 5.58 | -6 | 98.13
10:15 - 10:30 | -0.6 | -13 | -1 | 0 | 0 | -464.25 | 0 | 10.58 | 134.69 | 0 | 0 | 0 | 0 | -5 | 4.91 | 7.7 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0 | 0 | -35 | 4.43 | 14.43 | 0 | 5.58 | -6 | 101.98
10:30 - 10:45 | -0.6 | -13 | -0.7 | 0 | 0 | -435 | 0 | 10.58 | 134.68 | 0 | 0 | 0 | 0 | -5 | 5.1 | 11.55 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0 | 0 | -30 | 4.43 | 14.43 | 0 | 11.55 | -6 | 128.92
10:45 - 11:00 | -0.6 | -20 | -0.7 | 0 | 0 | -534.98 | 0 | 10.58 | 134.69 | 0 | 0 | 0 | 0 | -5 | 4.71 | 11.55 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0 | 0 | 0 | 4.43 | 14.43 | 0 | 11.55 | -6 | 129.88
11:00 - 11:15 | -0.6 | -13 | -0.7 | 0 | 0 | -627.95 | 0 | 10.58 | 96.21 | 0 | 0 | 0 | 0 | 0 | 4.33 | 11.55 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0 | 0 | 0 | 4.43 | 14.43 | 0 | 11.55 | 0 | 145.26
11:15 - 11:30 | -0.6 | -13 | -0.7 | 0 | 0 | -852.94 | 0 | 10.58 | 96.21 | 0 | 0 | 0 | 0 | 0 | 3.66 | 11.55 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0 | 0 | -20 | 4.43 | 14.43 | 0 | 11.55 | 0 | 145.26
11:30 - 11:45 | -0.6 | -13 | -0.7 | 0 | 0 | -906.25 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 3.75 | 11.55 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0 | 0 | 0 | 4.43 | 17.32 | 0 | 11.55 | 0 | 144.3
11:45 - 12:00 | -0.6 | -13 | -0.7 | 0 | 0 | -902.94 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 4.14 | 11.55 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0 | 0 | 0 | 4.43 | 17.32 | 0 | 11.55 | 0 | 144.3
12:00 - 12:15 | -0.6 | -13 | -0.7 | 0 | 0 | -605.69 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 4.14 | 11.55 | 9.62 | 9.62 | 2.89 | 17.78 | 0 | 0.96 | 0 | -30 | 4.43 | 17.32 | 0 | 11.55 | 0 | 0
12:15 - 12:30 | -0.6 | -15 | -0.7 | 0 | 0 | -257.27 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 4.33 | 11.55 | 9.62 | 9.62 | 2.89 | 17.79 | 0 | 0.96 | 0 | -30 | 4.43 | 17.32 | 0 | 11.55 | 0 | 0
12:30 - 12:45 | -0.6 | -16 | -0.7 | 0 | 0 | -83.1 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0.96 | 0 | 0 | 4.43 | 28.85 | 0 | 11.55 | -6 | 0
12:45 - 13:00 | -0.6 | -13 | -0.7 | 0 | 0 | -75.01 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 3.94 | 7.7 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0.96 | 0 | 0 | 4.43 | 28.86 | 0 | 11.55 | -6 | 0
13:00 - 13:15 | -0.6 | -13 | -1.1 | 0 | 0 | -84.18 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 3.66 | 11.55 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0.96 | 0 | -35 | 4.43 | 38.47 | 0 | 11.55 | -6 | 0
13:15 - 13:30 | -0.6 | -13 | -1.1 | 0 | 0 | -459.19 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 4.14 | 11.55 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0.96 | 0 | 0 | 4.43 | 38.47 | 0 | 11.55 | -6 | 0
13:30 - 13:45 | -0.6 | -13 | -1.1 | 0 | 0 | -711.39 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 4.04 | 11.55 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0.96 | 0 | -20 | 4.43 | 38.47 | 0 | 11.55 | 0 | 0
13:45 - 14:00 | -0.6 | -13 | -1.1 | 0 | 0 | -911.39 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 4.14 | 11.55 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0.96 | 0 | -40 | 4.43 | 38.47 | 0 | 11.55 | 0 | 0
14:00 - 14:15 | -0.6 | -13 | -1.1 | 0 | 0 | -793.21 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 4.14 | 11.55 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0.96 | 0 | -20 | 4.43 | 28.85 | 0 | 11.55 | -6 | 0
14:15 - 14:30 | -0.6 | -13 | -1.1 | 0 | 0 | -476.55 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 4.33 | 7.7 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0.96 | 0 | 0 | 4.43 | 28.85 | 0 | 11.55 | -6 | 0
14:30 - 14:45 | -0.6 | -7 | -0.9 | 0 | 0 | -136.6 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | 0 | 9.62 | 2.89 | 0 | 0 | 0 | -10 | -10 | 4.43 | 0 | 0 | 11.54 | -6 | 0
14:45 - 15:00 | -0.6 | -2 | -0.9 | 0 | 0 | -212.51 | 0 | 10.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | 0 | 9.62 | 0.68 | 0 | 0 | 0 | -10 | 0 | 4.43 | 0 | 0 | 2.75 | -6 | 0
15:00 - 15:15 | -0.6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 4.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | -10 | -25 | 4.43 | 0 | 0 | 0 | -6 | 0
15:15 - 15:30 | -0.6 | 0 | -0.9 | 0 | 0 | 0 | 0 | 4.81 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | -10 | -45 | 4.43 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | -0.6 | 0 | -0.9 | 0 | 0 | -296.27 | 0 | 4.81 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | -10 | -40 | 0 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | -0.6 | 0 | -0.9 | 0 | 0 | -97.91 | 0 | 4.81 | 0 | 0 | 0 | -15 | 0 | 0 | -2.1 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | -10 | -10 | 0 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | -0.6 | 0 | -0.9 | 0 | 0 | -125 | 0 | 3.85 | 0 | 0 | 0 | 0 | 14.43 | 0 | -1.9 | 7.7 | 0 | 9.62 | 2.52 | 0 | 0 | 0 | -10 | -25 | 9.24 | 0 | 0 | 10.08 | 0 | 0
16:15 - 16:30 | -0.6 | 0 | -0.9 | 0 | 0 | -185.89 | 0 | 3.85 | 0 | 0 | 0 | 0 | 14.43 | 0 | -1.5 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | -10 | -10 | 9.24 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | -0.8 | 0 | -0.9 | 0 | 0 | -235.89 | 0 | 3.85 | 0 | 0 | 0 | 0 | 14.43 | 0 | -1.5 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | -10 | 0 | 9.24 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | -0.8 | 0 | -0.9 | 0 | 0 | -95.05 | 0 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | -10 | -30 | 0.31 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | -0.8 | 0 | -0.5 | 0 | 0 | -115.04 | 0 | 0 | 0 | 9.62 | 0 | 0 | 14.43 | 0 | -0.8 | 7.7 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0 | -10 | -45 | 9.24 | 19.24 | 0 | 5.58 | 0 | 33.67
17:15 - 17:30 | -0.8 | 0 | -0.5 | 0 | 0 | -46.21 | 0 | 0 | 0 | 9.62 | 0 | 0 | 14.43 | 0 | -0.4 | 7.7 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0 | -10 | -20 | 9.24 | 19.24 | 0 | 5.58 | 0 | 24.05
17:30 - 17:45 | -0.8 | 0 | -0.5 | 0 | 0 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 14.43 | 0 | -0.2 | 7.7 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0 | -10 | 0 | 9.24 | 19.24 | 0 | 5.58 | 0 | 218.39
17:45 - 18:00 | -0.8 | 0 | -0.5 | 0 | 0 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 14.43 | 0 | 0 | 7.7 | 0 | 9.62 | 2.89 | 17.8 | 0 | 0 | -10 | -30 | 9.24 | 19.24 | 0 | 5.58 | 0 | 1.92
18:00 - 18:15 | -0.8 | 0 | -0.5 | 0 | 0 | -168.59 | 19.24 | 3.85 | 0 | 9.62 | 0 | 0 | 14.43 | 0 | 0 | 12.51 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0 | -10 | -45 | 9.24 | 19.24 | 0 | 5.58 | 0 | 204.92
18:15 - 18:30 | -0.8 | -1 | -0.5 | 0 | 0 | -309.83 | 0 | 3.85 | 0 | 9.62 | 0 | 0 | 14.43 | 0 | 0.19 | 12.51 | 9.62 | 9.62 | 2.89 | 17.8 | 0 | 0 | -10 | -15 | 9.24 | 19.24 | 0 | 5.58 | 0 | 195.3
18:30 - 18:45 | -0.2 | -2 | -0.5 | 0 | 0 | -150.53 | 0 | 3.85 | 0 | 0 | 0 | 0 | 14.43 | 0 | 0 | 7.7 | 0 | 9.62 | 0 | 0 | 0 | 0 | -10 | 0 | 9.24 | 19.24 | 0 | 0 | 0 | 5.77
18:45 - 19:00 | -0.2 | 0 | -0.5 | 0 | 0 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 14.43 | 0 | 0 | 7.7 | 0 | 9.62 | 0 | 0 | 0 | 0 | -10 | -30 | 9.24 | 19.24 | 0 | 0 | 0 | 15.39
19:00 - 19:15 | -0.2 | 0 | -0.5 | -1.2 | 0 | -81.52 | 0 | 0 | 0 | 0 | -7 | 0 | 14.43 | 0 | 0 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | -10 | -30 | 0 | 19.24 | 0 | 0 | 0 | 20.21
19:15 - 19:30 | -0.2 | 0 | -0.5 | -1.2 | 0 | -106.76 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 22.13
19:30 - 19:45 | -0.2 | 0 | -0.5 | -1.2 | 0 | -112.5 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 24.05
19:45 - 20:00 | -0.2 | 0 | -0.5 | -1.2 | 0 | -111.58 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | -25 | 0 | 0 | 0 | 0 | 0 | 25.01
20:00 - 20:15 | -0.2 | -1 | -0.5 | -1.2 | 0 | -210 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | -25 | 0 | 0 | -9.7 | 0 | 0 | 45.22
20:15 - 20:30 | -0.2 | -1 | -0.5 | -1.2 | 0 | -276.6 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | -30 | 0 | 0 | -9.7 | 0 | 0 | 47.14
20:30 - 20:45 | -0.2 | -1 | -0.5 | -1.2 | -13 | -366.36 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | -10 | 0 | 0 | -9.7 | 0 | 0 | 96.21
20:45 - 21:00 | -0.2 | -2 | -0.5 | -1.2 | -13 | -400 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -9.7 | 0 | 0 | 89.28
21:00 - 21:15 | -0.2 | -2 | -0.5 | -1.2 | -13 | -350 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -9.7 | 0 | 0 | 108.75
21:15 - 21:30 | -0.2 | -2 | -0.5 | -1.2 | -13 | -350 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -9.7 | 0 | 0 | 94.63
21:30 - 21:45 | 0 | -6 | -0.5 | -1.2 | -13 | -400 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -9.7 | 0 | 0 | 92.72
21:45 - 22:00 | 0 | -2 | -0.5 | -1.2 | -13 | -400 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | -20 | 0 | 0 | -9.7 | 0 | 0 | 80.29
22:00 - 22:15 | 0 | -2 | -0.5 | -1.3 | -13 | -400 | 0 | 0 | -20 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | -45 | 0 | 0 | -9.7 | 0 | 0 | 106.41
22:15 - 22:30 | 0 | -2 | -0.5 | -1.3 | -13 | -300 | 0 | 0 | -20 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | -35 | 0 | 0 | -9.7 | 0 | 0 | 93.5
22:30 - 22:45 | 0 | -2 | -0.5 | -1.3 | -13 | -250 | 0 | 0 | -20 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 102.14
22:45 - 23:00 | 0 | -2 | -0.5 | -1.3 | -13 | -300 | 0 | 0 | -20 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 84.06
23:00 - 23:15 | 0 | -2 | -0.5 | -1.3 | -13 | -250 | 0 | 0 | -20 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | -10 | 0 | 0 | 0 | 0 | 0 | 142.87
23:15 - 23:30 | 0 | -2 | -0.5 | -1.3 | -13 | -250 | 0 | 0 | -20 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 152.15
23:30 - 23:45 | 0 | -2 | -0.5 | -1.3 | -13 | -400 | 0 | 0 | -20 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 113.89
23:45 - 24:00 | 0 | -2 | -0.5 | -1.3 | -13 | -450 | 0 | 0 | -20 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | -40 | 0 | 0 | 0 | 0 | 0 | 130.01
Average | -0.50417 | -5.3791 | -0.61875 | -0.63542 | -1.8958 | -210.799 | 0.20042 | 4.1281 | 24.5745 | 0.40083 | -3.125 | -0.3125 | 2.405 | -0.72917 | 0.37031 | 3.8094 | 2.9885 | 5.4715 | 1.0268 | 6.1184 | -0.020833 | -0.53542 | -3.9583 | -13.2292 | 2.8314 | 8.2366 | -1.7656 | 3.2832 | -0.875 | 127.2901