## POWER STATUS
POWER STATUS ON DT 04.08.2026
[9 empty] | 2026-08-04 | 2026-08-03
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 21:00
Demand -> | [8 empty] | 5601.1887 | 6785.9403
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 227.62 | 5.4629 | 630/590 ft | 611.89 | 621.5 | 618.71 | 223.2659 | 225.6443
| Chiplima | 72(3x24) | 48.83 | 1.1719 | - |  |  |  | 49.5778 | 50.1452
| Balimela | 510(6x60+2x75) | 77.5 | 1.86 | 1516/1440 ft | 1467 | 1459.8 | 1460 | 0 | 115.2231
| Rengali | 250(5x50) | 220.8 | 5.2992 | 123.5/109.75 mt | 120.63 | 121.56 | 121.29 | 192.528 | 192.8757
| Upper Kolab | 320(4x80) | 31.67 | 0.76008 | 858/844 mt | 852.19 | 849.87 | 849.91 | 0 | 151.694
| Upper Indravati | 600(4x150) | 176.14 | 4.2274 | 642/625 mt | 634.33 | 633.22 | 633.29 | 0.30028 | 496.4555
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2740.2 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 782.56 | 18.7814 |  |  |  |  | 465.6719 | 1232.0378
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1692.1 | 40.6104 | RENEWABLE ENERGY (RE) |  |  |  | 1722 | 1700
[5 empty] | M.Hydl | 112.28
| Total Thermal | 2200 | 1692.1 | 40.6104 | Solar | 131.15 |  |  | 1722 | 1700
IPP | VEDANTA #2 | 600 (1x600) | 423.38 | 10.1611 | Total IPPs | Yesterday's Demand Profile |  |  | 393.6133 | 500.4102
| GMR #3 | 350 (1x350) | 321.33 | 7.7119 | 840.24 |  | MW | HRS | 329.114 | 330.4669
| NBVL(IPP) | 60(1x60) | 49.68 | 1.1923 |  |  |  |  | 54.8516 | 54.6655
| MDTPC |  | 45.85 | 1.1004 |  |  |  |  | 54.6975 | 54.8522
| CGPs |  | 885.63 | 21.2551 | IPPs, CGPs & RE | Maximum | 6785.46 | 21:00 | 1815.1787 | 2136.3329
| Central Sector(Drawl) |  | 1802.4304 | 43.2583 | 1969.3 | Minimum | 5706.25 | 06:00 | 1598.3381 | 1717.5695
| Central Sector(Sch) |  | 1904.1002 | 45.6984 |  | Average | 6246.3904 |  | 1484.781 | 1849.1399
| Grand Total |  | 6246.3904 | 149.9134 | Instantaneous Peak demand |  | 6839 | 19:38 | 5601.1887 | 6785.9403
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1742.6069 | 41.8226 | 1682.73 | 40.3855 | 1666.49 | 39.9958
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2304.6422 | 55.3114 | 2276.64 | 54.6394 | 1704.67 | 40.9121
Rengali | 5 | TSTPP St-II | 3 | TPNODL | 1342.3743 | 32.217 | 1337.28 | 32.0947 | 1343.08 | 32.2339
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 619.6883 | 14.8725 | 618.29 | 14.839 | 631.02 | 15.1445
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 6009.3117 | 144.2235 | 5914.94 | 141.9586 | 5345.26 | 128.2862
Machhkund | 02 to 06 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 302 | GMR |  |  |  | 326
| NBVL #3 | 48 | MDTPC |  |  |  | 30
Mini Hydel: | MEENAKSHI | 36.6388 | OPCL |  |  |  | 0
| BTPL | 20 | SAPTADHARA |  |  |  | 11
Solar: |  |  | KAKATIYA |  |  |  | 5
CGPs : | JSPL (Angul) | 313.8996 | JSL(Duburi) |  |  |  | -64.7614
| ICCL | 49.1089 | visa |  |  |  | 9.2797
| NALCO | -157.9216 | VAL (CGP) |  |  |  | 208.5172
| RSP | -71.2226 | BSL(MMDL) |  |  |  | 34.9241
| INDAL | 0.40359 | ADITYA ALUMINIUM |  |  |  | 20.1782
| NINL | -41.0052 | VAL CPP 400 kV |  |  |  | -448.496
| NBVL | 48.6788 | Arati |  |  |  | 37.8877
| BPSL(JSG) | -118.423 | BPPL |  |  |  | 77.8527
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-27 | 2026-07-28 | 2026-07-29 | 2026-07-30 | 2026-07-31 | 2026-08-01 | 2026-08-02 | 2026-08-03
592.3136 | 607.4213 | 642.398 | 539.3666 | 546.2796 | 536.16 | 764.1335 | 782.56
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.03.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | -1.38 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AGE26AL_PSS6_KPS1_S | ODISHA | 118.9
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -2.77 | AP41PL_BHDL | ODISHA | 35.91
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -5.83 | AP43PL_BKN | ODISHA | 69.49
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -12.08 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.39
JPIPL | NPCL_UP | -14 | AECI11PL | STEELCAST2022 | -0.19 | AWEK1L | ODISHA | 8.23
JSPLANGUL | GEB_Beneficiary | -52 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 12.35
JSPLANGUL | RUVITSL | -43.75 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 1.6
MAADURGA_THERMAL | NPCL_UP | -16.31 | FACORPOWER | PSPCL | -14.17 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 17.05
NBVLIPP | TANGEDCO | -50 | FACORPOWER | PSPCL | -1.46 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 16.86
VSL | CR_IR_MS | -10 | FACORPOWER | PSPCL | -5.83 | DADRI_SOLAR | ODISHA | 0.67
FARIDABAD_SOLAR | ODISHA | 0.86 | FACORPOWER | PSPCL | -3.54 | ENERSON_SOLAR_10MW | ODISHA | 0.51
JSWEL_UTKAL | ODISHA | 72.54 | JSPLANGUL | RUVITSL | -106.25 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 1.55 | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_GreenInfra_W | ODISHA | 0.8
RAJ_SOLAR | ODISHA | 1.94 | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | NBVLIPP | BSPHCL | -3.54 | GADAG_Serentica3_S | VLSEZ | 27.05
|  |  | NBVLIPP | BSPHCL | -14.38 | GADAG_Serentica3_W | VLSEZ | 80.34
|  |  | OCL_IRON_STEEL | BRPL | 0 | GIWEL_SECI_II_RE | ODISHA | 42.25
|  |  | OCL_IRON_STEEL | CSEB_Beneficiary | -9.25 | GPCL_SOLAR_10 | ODISHA | 0.25
|  |  | ODISHA | TANGEDCO | -25 | GSECL_SOLAR | ODISHA | 0.34
|  |  | ODISHA | TPL_DIS_AHM | -25 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.6
|  |  | ORSISL | PSPCL | -2.83 | KARUR_TPVARDHAMAN_W | TSKPO | 86.65
|  |  | ORSISL | PSPCL | -1.17 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | Shri_JSPL | TANGEDCO | -1.46 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | NTPCRE1_SMND_BHJ2_W | ODISHA | 7.09
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | O2RE3PL_Wasi_klm_W | VLSEZ | 6.52
|  |  | TSBSLA | TANGEDCO | -23.33 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 5.11
|  |  | VSL | WBSEDCL | -4.17 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
|  |  | HP | VLSEZ | 12.04 | OKWPL_RE | ODISHA | 22.83
|  |  | HP | VLSEZ | 20.06 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 42
|  |  | JIPL | ODISHA | 115.55 | RWE_AP2_SECI_III | ODISHA | 13.25
|  |  | JPNIGRIE_JNSTPP | VLSEZ | 20.06 | RenewGreen_SLPR_HS | JSL_DUBURI | 16.29
|  |  | MYTRAHVAYU | VLSEZ | 4.13 | SRI9PL_FTG3 | VLSEZ | 63.56
|  |  | NALCOAP | NACL_Odisha | 26.96 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.09
|  |  | North_Karanpura_STPS | ODISHA | 19.42 | TSESOPL_BKN2 | OPL_CUTTAK | 0.11
|  |  | TSTPP_I | ODISHA | 57.15 | Tuticorin_BETAMWIND | ODISHA | 69.28
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 6.4
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 51.45

## DAM
DAM TRADING DETAILS FOR DT : 03.08.2026
Time Period | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Tata_Steel_Power_Plant_Athagarh | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -13 | -150 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | -13 | -150 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -13 | -150 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | -13 | -150 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | -150 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | -150 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | -150 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | -150 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 0 | 0 | 0 | 0 | 0.96
02:00 - 02:15 | 0 | -250 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 0 | 0 | 0 | 0 | 0.96
02:15 - 02:30 | 0 | -250 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | -250 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 9.63 | 0 | 0 | 0 | 196.43
02:45 - 03:00 | 0 | -250 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 9.63 | 0 | 0 | 0 | 59.48
03:00 - 03:15 | 0 | 0 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 9.63 | 0 | 0 | 0 | 196.43
03:15 - 03:30 | 0 | 0 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 9.63 | 0 | 0 | 0 | 196.43
03:30 - 03:45 | 0 | 0 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 9.63 | 0 | 0 | 0 | 196.43
03:45 - 04:00 | 0 | 0 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 9.63 | 0 | 0 | 0 | 196.43
04:00 - 04:15 | 0 | 0 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 9.63 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 9.63 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 9.63 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | -1.2 | 0 | -4 | -18.9 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | -275 | 0 | -1.4 | 0 | -4 | -18.9 | -25 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | -275 | 0 | -1.4 | 0 | -4 | -18.9 | -25 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | -275 | 0 | -1.4 | 0 | -4 | -18.9 | -25 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | -275 | 0 | -1.4 | 0 | -4 | -18.9 | -25 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | -550 | 0 | -1.4 | 0 | -10 | -18.9 | -25 | 0 | 0 | 0 | -6 | 0
06:15 - 06:30 | 0 | -550 | 0 | -1.4 | 0 | -10 | -18.9 | -25 | 0 | 0 | 0 | -6 | 0
06:30 - 06:45 | 0 | -550 | 0 | -1.4 | 0 | -10 | -18.9 | -25 | 0 | 0 | 0 | -6 | 0.72
06:45 - 07:00 | 0 | -550 | 0 | -1.4 | 0 | -10 | -18.9 | -25 | 0 | 0 | 0 | -6 | 0.82
07:00 - 07:15 | 0 | -750 | 0 | -1.4 | 0 | -10 | -18.9 | -25 | 0 | 0 | 0 | -6 | 0
07:15 - 07:30 | 0 | -750 | 0 | -1.4 | 0 | -10 | -18.9 | -25 | 0 | 0 | 0 | -6 | 0
07:30 - 07:45 | 0 | -750 | 0 | -1.4 | 0 | -10 | -18.9 | -25 | 0 | 0 | 0 | -6 | 0
07:45 - 08:00 | 0 | -750 | 0 | -1.4 | 0 | -10 | -18.9 | -25 | 0 | 0 | 0 | -6 | 0
08:00 - 08:15 | 0 | -875 | 0 | -1.4 | 0 | -4 | -9 | -25 | 0 | 0 | 0 | -6 | 205.1
08:15 - 08:30 | 0 | -875 | 0 | -1.4 | 0 | -4 | -9 | -25 | 0 | 0 | 0 | -6 | 167.54
08:30 - 08:45 | 0 | -875 | 0 | -1.4 | 0 | -4 | -9 | -25 | 0 | 0 | 0 | -6 | 138.66
08:45 - 09:00 | 0 | -854.44 | 0 | -1.4 | 0 | -4 | -9 | -25 | 0 | 0 | 0 | -6 | 111.7
09:00 - 09:15 | 0 | -925 | 0 | -1.4 | 0 | -4 | -9 | 0 | 0 | 0 | 0 | -6 | 90.51
09:15 - 09:30 | 0 | -925 | 0 | -1.4 | 0 | -4 | -9 | 0 | 0 | 0 | 0 | -6 | 49.11
09:30 - 09:45 | 0 | -925 | 28.89 | -1.4 | 0 | -4 | -9 | 0 | 0 | 4.81 | 0 | -6 | 26.96
09:45 - 10:00 | 0 | -925 | 28.89 | -1.4 | 0 | -4 | -9 | 0 | 0 | 4.81 | 0 | -6 | 9.63
10:00 - 10:15 | 0 | -532.19 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | -6 | 0
10:15 - 10:30 | 0 | -475.69 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | -6 | 6.74
10:30 - 10:45 | 0 | -447.97 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | -6 | 38.52
10:45 - 11:00 | 0 | -423.07 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | -0.51 | 66.44
11:00 - 11:15 | 0 | -321.02 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | 0 | 82.81
11:15 - 11:30 | 0 | -277.34 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | 0 | 80.89
11:30 - 11:45 | 0 | -11.97 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | 0 | 79.92
11:45 - 12:00 | 0 | 0 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | 0 | 78.96
12:00 - 12:15 | 0 | 0 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | 0 | 78.96
12:15 - 12:30 | 0 | 0 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | 0 | 79.92
12:30 - 12:45 | 0 | 0 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | 0 | 79.92
12:45 - 13:00 | 0 | 0 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | 0 | 79.92
13:00 - 13:15 | 0 | 0 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | 0 | 81.85
13:15 - 13:30 | 0 | 0 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | 0 | 84.74
13:30 - 13:45 | 0 | 0 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | 0 | 86.66
13:45 - 14:00 | 0 | 0 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | 0 | 84.74
14:00 - 14:15 | 0 | -224.01 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | 0 | 74.14
14:15 - 14:30 | 0 | -299.93 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | -5.74 | 54.89
14:30 - 14:45 | 0 | -492.09 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | -6 | 30.81
14:45 - 15:00 | 0 | -600 | 28.89 | -1.4 | 0 | -4 | -8 | 0 | 0 | 4.81 | 0 | -6 | 0
15:00 - 15:15 | 0 | -400 | 0 | -1.4 | 5.59 | -4 | -8 | 0 | 0 | 4.81 | 0 | -6 | 3.85
15:15 - 15:30 | 0 | -400 | 0 | -1.4 | 0 | -4 | -8 | 0 | 0 | 1.65 | 0 | -6 | 16.37
15:30 - 15:45 | 0 | -400 | 0 | -1.4 | 0 | -4 | -8 | 0 | 0 | 0 | 0 | -6 | 39.48
15:45 - 16:00 | 0 | -400 | 0 | -1.4 | 0 | -4 | -8 | 0 | 0 | 0 | 0 | -6 | 56.81
16:00 - 16:15 | 0 | -1025 | 0 | -1.4 | 0 | -4 | -8 | -25 | 0 | 0 | 0 | -6 | 181.99
16:15 - 16:30 | 0 | -1069.63 | 0 | -1.4 | 0 | -4 | -8 | -25 | 9.63 | 0 | 0 | -6 | 194.5
16:30 - 16:45 | 0 | -1100 | 0 | -1.4 | 0 | -4 | -8 | -25 | 0 | 0 | 0 | -6 | 208.95
16:45 - 17:00 | 0 | -1100 | 0 | -1.4 | 0 | -4 | -8 | -25 | 0 | 0 | 0 | -6 | 231.1
17:00 - 17:15 | 0 | -775 | 0 | -1.2 | 0 | -5 | -8 | -25 | 0 | 0 | 0 | -6 | 0
17:15 - 17:30 | 0 | -775 | 0 | -1.2 | 0 | -5 | -8 | -25 | 0 | 0 | 0 | -6 | 0
17:30 - 17:45 | 0 | -775 | 0 | -1.2 | 0 | -5 | -8 | -25 | 0 | 0 | 0 | -6 | 0
17:45 - 18:00 | 0 | -775 | 0 | -1.2 | 0 | -5 | -8 | -25 | 0 | 0 | 0 | -6 | 0
18:00 - 18:15 | 0 | -425 | 0 | -1.2 | 0 | -4 | -17.9 | -25 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | -425 | 0 | -1.2 | 0 | -4 | -17.9 | -25 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | -425 | 0 | -1.2 | 0 | -4 | -17.9 | -25 | 0 | 0 | -29.1 | 0 | 0
18:45 - 19:00 | 0 | -425 | 0 | -1.2 | 0 | -4 | -17.9 | -25 | 0 | 0 | -29.1 | 0 | 0
19:00 - 19:15 | -13 | 0 | 0 | -1.2 | 0 | -4 | -17.9 | 0 | 0 | 0 | -29.1 | 0 | 0
19:15 - 19:30 | -13 | 0 | 0 | -1.2 | 0 | -4 | -17.9 | 0 | 0 | 0 | -29.1 | 0 | 0
19:30 - 19:45 | -13 | 0 | 0 | -1.2 | 0 | -4 | -17.9 | 0 | 0 | 0 | -29.1 | 0 | 0
19:45 - 20:00 | -13 | 0 | 0 | -1.2 | 0 | -4 | -17.9 | 0 | 0 | 0 | -29.1 | 0 | 0.01
20:00 - 20:15 | -13 | 0 | 0 | -1.2 | 0 | -4 | -17.9 | 0 | 0 | 0 | -29.1 | 0 | 0.01
20:15 - 20:30 | -13 | 0 | 0 | -1.2 | 0 | -4 | -17.9 | 0 | 0 | 0 | -29.1 | 0 | 0.01
20:30 - 20:45 | -13 | 0 | 0 | -1.2 | 0 | -4 | -17.9 | 0 | 0 | 0 | -29.1 | 0 | 0
20:45 - 21:00 | -13 | 0 | 0 | -1.2 | 0 | -4 | -17.9 | 0 | 0 | 0 | -29.1 | 0 | 0
21:00 - 21:15 | -13 | 0 | 0 | -1.2 | 0 | -4 | -17.9 | 0 | 0 | 0 | -29.1 | 0 | 0
21:15 - 21:30 | -13 | 0 | 0 | -1.2 | 0 | -4 | -17.9 | 0 | 0 | 0 | -29.1 | 0 | 0.01
21:30 - 21:45 | -13 | 0 | 0 | -1.2 | 0 | -4 | -17.9 | 0 | 0 | 0 | -29.1 | 0 | 0
21:45 - 22:00 | -13 | 0 | 0 | -1.2 | 0 | -4 | -17.9 | 0 | 0 | 0 | -29.1 | 0 | 0
22:00 - 22:15 | -13 | 0 | 0 | -1.2 | 0 | -4 | -15.9 | 0 | 0 | 0 | -29.1 | 0 | 0
22:15 - 22:30 | -13 | 0 | 0 | -1.2 | 0 | -4 | -15.9 | 0 | 0 | 0 | -29.1 | 0 | 0
22:30 - 22:45 | -13 | 0 | 0 | -1.2 | 0 | -4 | -15.9 | 0 | 0 | 0 | -29.1 | 0 | 0
22:45 - 23:00 | -13 | 0 | 0 | -1.2 | 0 | -4 | -15.9 | 0 | 0 | 0 | -29.1 | 0 | 0
23:00 - 23:15 | -13 | 0 | 0 | -1.2 | 0 | -4 | -15.9 | 0 | 0 | 0 | -29.1 | 0 | 0
23:15 - 23:30 | -13 | 0 | 0 | -1.2 | 0 | -4 | -15.9 | 0 | 0 | 0 | -29.1 | 0 | 0
23:30 - 23:45 | -13 | 0 | 0 | -1.2 | 0 | -4 | -15.9 | 0 | 0 | 0 | -29.1 | 0 | 0.03
23:45 - 24:00 | -13 | 0 | 0 | -1.2 | 0 | -4 | -15.9 | 0 | 0 | 0 | -29.1 | 0 | 0
Average | -3.25 | -317.4932 | 6.6206 | -1.3 | 0.058229 | -4.5417 | -14.025 | -7.2917 | 1.0031 | 1.1696 | -6.6688 | -2.1276 | 41.9609

## GDAM
GDAM TRADING DETAILS FOR DT:03.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 33.7 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 33.7 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 33.7 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 33.7 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 33.7 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 33.7 | 0 | 6.26 | 0 | 196.43
04:15 - 04:30 | 0 | 0 | 33.7 | 0 | 6.26 | 0 | 196.43
04:30 - 04:45 | 0 | 0 | 33.7 | 0 | 6.26 | 0 | 196.43
04:45 - 05:00 | 0 | 0 | 33.7 | 0 | 6.26 | 0 | 196.43
05:00 - 05:15 | 0 | 0 | 33.7 | 0 | 6.26 | 0 | 195.47
05:15 - 05:30 | 0 | 0 | 33.7 | 0 | 6.26 | 0 | 195.47
05:30 - 05:45 | 0 | 0 | 33.7 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 33.7 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | -0.2 | 33.7 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | -0.7 | 33.7 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | -1.4 | 33.7 | 0 | 0.45 | 0 | 196.44
07:45 - 08:00 | 0 | -2.7 | 33.7 | 0 | 4.26 | 0 | 196.43
08:00 - 08:15 | 0 | -4.1 | 48.14 | 0 | 6.26 | 0 | 0
08:15 - 08:30 | -0.8 | -6.5 | 48.14 | 0 | 6.26 | 9.63 | 0
08:30 - 08:45 | -3 | -6.6 | 48.14 | 0 | 6.26 | 9.63 | 0
08:45 - 09:00 | -3.3 | -7.4 | 48.14 | 9.63 | 6.26 | 9.63 | 0
09:00 - 09:15 | -5.8 | -8.5 | 48.14 | 9.63 | 6.26 | 9.63 | 0
09:15 - 09:30 | -3.5 | -10.9 | 48.14 | 9.63 | 6.26 | 9.63 | 0
09:30 - 09:45 | -9 | -9.1 | 48.14 | 9.63 | 6.26 | 9.63 | 0
09:45 - 10:00 | -8.5 | -11.8 | 48.14 | 9.63 | 6.26 | 9.63 | 0
10:00 - 10:15 | -7.3 | -14.3 | 48.14 | 9.63 | 6.26 | 9.63 | 0
10:15 - 10:30 | -8.5 | -17 | 48.14 | 9.63 | 6.26 | 9.63 | 0
10:30 - 10:45 | -9.5 | -17.8 | 48.14 | 9.63 | 6.26 | 9.63 | 0
10:45 - 11:00 | -11.6 | -18 | 48.14 | 9.63 | 6.26 | 9.63 | 0
11:00 - 11:15 | -14.5 | -13.9 | 48.14 | 9.63 | 6.26 | 9.63 | 0
11:15 - 11:30 | -12.3 | -18 | 48.14 | 9.63 | 6.26 | 9.63 | 0
11:30 - 11:45 | -14.5 | -14.6 | 48.14 | 9.63 | 6.26 | 9.63 | 0
11:45 - 12:00 | -13.1 | -16.2 | 48.14 | 9.63 | 6.26 | 9.63 | 0
12:00 - 12:15 | -14.5 | -18.5 | 48.14 | 9.63 | 6.26 | 9.63 | 0
12:15 - 12:30 | -14.2 | -16.4 | 48.14 | 9.63 | 6.26 | 9.63 | 0
12:30 - 12:45 | -10.2 | -17.6 | 48.14 | 9.63 | 6.26 | 9.63 | 0
12:45 - 13:00 | -11.7 | -16.4 | 48.14 | 9.63 | 6.26 | 9.63 | 0
13:00 - 13:15 | -13.4 | -17.1 | 48.14 | 9.63 | 6.26 | 9.63 | 0
13:15 - 13:30 | -13.8 | -19.4 | 48.14 | 9.63 | 6.26 | 9.63 | 0
13:30 - 13:45 | -11.2 | -16.7 | 48.14 | 9.63 | 6.26 | 9.63 | 0
13:45 - 14:00 | -12.7 | -15 | 48.14 | 9.63 | 6.26 | 9.63 | 0
14:00 - 14:15 | -11.3 | -12.3 | 48.14 | 9.63 | 6.26 | 9.63 | 0
14:15 - 14:30 | -10.8 | -16.3 | 48.14 | 9.63 | 6.26 | 9.63 | 0
14:30 - 14:45 | -7.8 | -12 | 48.14 | 9.63 | 6.26 | 9.63 | 0
14:45 - 15:00 | -7.9 | -7.9 | 48.14 | 9.63 | 6.26 | 9.63 | 0
15:00 - 15:15 | -9.8 | -9.2 | 48.14 | 4 | 6.26 | 9.63 | 0
15:15 - 15:30 | -8 | -11.6 | 48.14 | 0 | 6.26 | 9.63 | 0
15:30 - 15:45 | -4.7 | -12 | 48.14 | 0 | 6.26 | 9.63 | 0
15:45 - 16:00 | -5.2 | -8.9 | 48.14 | 0 | 6.26 | 9.63 | 0
16:00 - 16:15 | -2.9 | -4.6 | 33.7 | 0 | 6.26 | 9.63 | 196.43
16:15 - 16:30 | 0 | -4 | 33.7 | 0 | 6.26 | 0 | 196.43
16:30 - 16:45 | 0 | -1 | 33.7 | 0 | 3.8 | 0 | 196.44
16:45 - 17:00 | 0 | 0 | 33.7 | 0 | 0.5 | 0 | 196.43
17:00 - 17:15 | 0 | 0 | 33.7 | 0 | 6.26 | 0 | 196.43
17:15 - 17:30 | 0 | 0 | 33.7 | 0 | 6.26 | 0 | 196.43
17:30 - 17:45 | 0 | 0 | 33.7 | 0 | 1.15 | 0 | 196.43
17:45 - 18:00 | 0 | 0 | 33.7 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -3.076 | -4.5479 | 24.8227 | 2.5495 | 2.8446 | 3.21 | 30.6724

## RTM
RTM TRADING DETAILS FOR DT: 03.08.2026
Time Period | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | Maithan_Ispat_Limited_MPL | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -2 | 0 | -1.2 | 0 | -200 | 0 | 0 | -30 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | 0 | 83.8
00:15 - 00:30 | -2 | 0 | -1.2 | 0 | -200 | 0 | 0 | -30 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93.28
00:30 - 00:45 | 0 | 0 | -1.2 | 0 | -70.02 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38.52
00:45 - 01:00 | -2 | 0 | -1.2 | 0 | -58.02 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.07
01:00 - 01:15 | -2 | 0 | -1.2 | 0 | -161.2 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.07
01:15 - 01:30 | 0 | 0 | -1.2 | 0 | -159.33 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39.48
01:30 - 01:45 | 0 | 0 | -1.3 | 0 | -155.84 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | 0 | 39.48
01:45 - 02:00 | 0 | 0 | -1.3 | 0 | -153.63 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | 0 | 38.52
02:00 - 02:15 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | 0 | 38.52
02:15 - 02:30 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38.52
02:30 - 02:45 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | -1.2 | 0 | 223.27 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | -1.2 | 0 | 235.91 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | -1.2 | 0 | 268.65 | 0 | 1.93 | 0 | 0 | -5 | 0 | 14.44 | 0 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 9.34 | 72.22 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | -1.2 | 0 | 288.81 | 0 | 1.93 | 0 | 0 | -5 | 0 | 14.44 | 0 | 3.85 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 9.34 | 72.22 | 0 | 2.24 | 0
04:00 - 04:15 | 0 | 0 | -0.97 | 0 | 216.67 | 0 | 10.59 | 0 | 0 | -5 | 0 | 14.44 | 0 | 3.85 | 9.63 | 0 | 0 | 13.96 | 0 | 0 | -1.5 | -40 | 0 | 9.34 | 72.22 | 0 | 5.58 | 0
04:15 - 04:30 | 0 | 0 | -1.29 | 0 | 216.66 | 0 | 10.59 | 0 | 0 | -5 | 0 | 14.44 | 0 | 3.85 | 9.63 | 0 | 0 | 13.96 | 0 | 0 | 0 | -40 | 0 | 9.34 | 72.22 | 0 | 5.58 | 0
04:30 - 04:45 | 0 | 0 | -1.3 | 0 | 193.05 | 0 | 10.59 | 0 | 0 | -5 | 0 | 14.44 | 0 | 3.85 | 0 | 7.7 | 2.89 | 0 | 0 | 0 | 0 | -50 | 0 | 9.34 | 72.22 | 0 | 5.58 | 0
04:45 - 05:00 | 0 | 0 | -1.3 | 0 | 168.45 | 0 | 10.59 | 0 | 0 | -5 | 0 | 14.44 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 9.34 | 72.22 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | -1.3 | 0 | 223.26 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | -1.3 | 0 | 207.04 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | -1 | -0.4 | -1.3 | 0 | 0.12 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | 0 | 23.11
05:45 - 06:00 | -1 | -0.4 | -1.3 | 0 | 0.03 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | 27.92
06:00 - 06:15 | -4 | -0.4 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 43.33
06:15 - 06:30 | -2 | -0.4 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 42
06:30 - 06:45 | -4 | -0.4 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 109.63
06:45 - 07:00 | -21 | -0.4 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 133.06
07:00 - 07:15 | -20 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 134.81
07:15 - 07:30 | -19 | 0 | -1.3 | 0 | 89.7 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 134.81
07:30 - 07:45 | 0 | 0 | -1.3 | 0 | 109.19 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | -1.3 | 0 | 34.66 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -1.6 | 0 | 0 | 7.7 | 0 | 0 | 0 | -10 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | -18 | 0 | -1.3 | 22.15 | 140.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9 | 0 | 0 | 7.7 | 0 | 0 | 0 | -5 | 0 | -35 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | -20 | 0 | -1.3 | 22.15 | 44.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1 | 0 | 0 | 7.7 | 0 | 0 | 0 | -5 | 0 | -35 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | -1 | 0 | -1.3 | 22.15 | 89.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | -1 | 0 | -1.3 | 22.15 | 87.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0
09:00 - 09:15 | -1 | 0 | -1.3 | 22.15 | -152.09 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | -2.7 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0
09:15 - 09:30 | -1 | 0 | -1.3 | 22.15 | -251.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0
09:30 - 09:45 | -16 | 0 | -1.3 | 22.15 | -142.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.4 | 0 | 0 | 7.7 | 0 | 0 | 0 | -5 | 0 | -12 | 0 | 0 | 0 | 0 | 0 | 0
09:45 - 10:00 | -2 | 0 | -1.3 | 22.15 | -201.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 7.7 | 0 | 0 | 0 | -5 | 0 | -12 | 0 | 0 | 0 | 0 | 0 | 0
10:00 - 10:15 | -2 | 0 | 0 | 22.15 | -575.94 | 0 | 4.81 | 0 | 0 | 0 | 0 | 0 | 0 | 3.85 | 0 | 7.7 | 3.85 | 13.96 | 0 | -5 | 0 | -15 | 0 | 1.44 | 43.34 | 0 | 0.58 | 0
10:15 - 10:30 | 0 | 0 | 0 | 22.15 | -575.93 | 0 | 4.81 | 0 | 0 | 0 | 0 | 0 | 0 | 3.85 | 0 | 7.7 | 3.85 | 13.96 | 0 | -5 | 0 | -15 | 0 | 1.44 | 43.34 | 0 | 0.58 | 0
10:30 - 10:45 | 0 | 0 | 0 | 22.15 | -323.67 | 12.71 | 4.81 | 0 | -1 | 0 | 0 | 0 | 4.24 | 5.78 | 9.63 | 7.7 | 3.85 | 13.96 | 0 | -5 | 0 | -25 | 3.85 | 1.44 | 43.34 | 0 | 0.58 | 0
10:45 - 11:00 | 0 | 0 | 0 | 22.15 | -595.01 | 0 | 4.81 | 0 | -1 | 0 | 0 | 0 | 4.33 | 5.78 | 9.63 | 7.7 | 3.85 | 13.96 | 0 | -5 | 0 | -25 | 3.85 | 1.44 | 43.34 | 0 | 0.58 | 0
11:00 - 11:15 | -6 | 0 | 0 | 22.15 | -709.47 | 0 | 2.89 | 0 | -1 | 0 | 0 | 0 | 4.53 | 3.85 | 9.63 | 7.7 | 3.85 | 13.96 | -2 | -5 | 0 | -30 | 3.85 | 1.44 | 43.34 | 0 | 0.58 | 24.07
11:15 - 11:30 | -5 | 0 | 0 | 22.15 | -624.5 | 0 | 2.89 | 0 | -1.2 | 0 | 0 | 0 | 0 | 3.85 | 9.63 | 7.7 | 3.85 | 13.96 | -2 | -5 | 0 | -30 | 3.85 | 1.44 | 43.34 | 0 | 0.58 | 24.07
11:30 - 11:45 | 0 | 0 | 0 | 22.15 | -509.45 | 0 | 2.89 | 0 | -1.7 | 0 | 0 | 0 | 3.85 | 3.85 | 19.26 | 7.7 | 3.85 | 13.96 | -2 | -5 | 0 | -38 | 0 | 1.44 | 43.34 | 0 | 0.58 | 24.07
11:45 - 12:00 | 0 | 0 | 0 | 22.15 | -509.48 | 0 | 2.89 | 0 | -1.6 | 0 | 0 | 0 | 3.85 | 3.85 | 19.26 | 7.7 | 3.85 | 13.96 | -2 | -5 | 0 | -38 | 0 | 1.44 | 43.34 | 0 | 0.58 | 24.07
12:00 - 12:15 | -6 | 0 | 0 | 22.15 | -529.42 | 0 | 1.93 | 0 | -1.5 | 0 | 0 | 0 | 3.66 | 5.78 | 19.26 | 7.7 | 3.85 | 13.96 | -5 | -5 | 0 | -32 | 0 | 1.44 | 48.14 | 0 | 0.58 | 24.07
12:15 - 12:30 | 0 | 0 | 0 | 22.15 | -533.35 | 0 | 1.93 | 0 | -1.6 | 0 | 0 | 0 | 3.85 | 5.78 | 19.26 | 7.7 | 3.85 | 13.96 | -5 | -5 | 0 | -32 | 0 | 1.44 | 48.15 | 0 | 0.58 | 24.07
12:30 - 12:45 | -7 | 0 | 0 | 22.15 | -377.33 | 0 | 1.93 | 0 | -1.6 | 0 | 0 | 0 | 4.04 | 5.78 | 19.26 | 7.7 | 3.85 | 13.96 | -5 | -5 | 0 | -45 | 0 | 1.44 | 48.15 | 0 | 0.58 | 24.07
12:45 - 13:00 | -2 | 0 | 0 | 22.15 | -278.66 | 0 | 1.93 | 0 | -1.5 | 0 | 0 | 0 | 4.24 | 5.78 | 19.26 | 7.7 | 3.85 | 13.96 | -5 | -5 | 0 | -45 | 0 | 1.44 | 48.14 | 0 | 0.58 | 24.07
13:00 - 13:15 | 0 | -0.4 | 0 | 22.15 | -11.72 | 0 | 1.93 | 0 | -0.1 | 0 | 0 | 0 | 4.33 | 5.78 | 19.26 | 7.7 | 3.85 | 13.96 | -5 | -5 | 0 | -40 | 0 | 1.44 | 48.15 | 0 | 0.58 | 24.07
13:15 - 13:30 | 0 | -0.4 | 0 | 22.15 | 90.23 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | 4.53 | 3.85 | 19.26 | 7.7 | 3.85 | 13.96 | -5 | -5 | 0 | -40 | 0 | 1.44 | 48.15 | 0 | 0.58 | 24.07
13:30 - 13:45 | 0 | -0.4 | 0 | 22.15 | -45.51 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | -1.1 | 3.85 | 19.26 | 7.7 | 3.85 | 13.96 | -5 | -5 | 0 | -45 | 0 | 1.44 | 48.15 | 0 | 0.58 | 24.07
13:45 - 14:00 | 0 | -0.4 | 0 | 22.15 | -246.2 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | -3.6 | 3.85 | 19.26 | 7.7 | 3.85 | 13.96 | -5 | -5 | 0 | -45 | 0 | 1.44 | 48.15 | 0 | 0.58 | 24.07
14:00 - 14:15 | -6 | -0.4 | 0 | 22.15 | -246.24 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | -3.3 | 3.85 | 19.26 | 7.7 | 3.85 | 13.96 | -2 | -5 | 0 | -48 | 0 | 1.44 | 57.78 | 0 | 0.58 | 34.66
14:15 - 14:30 | -5 | -0.4 | 0 | 22.15 | -446.21 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | -3.4 | 3.85 | 19.26 | 7.7 | 3.85 | 13.96 | -2 | -5 | 0 | -48 | 0 | 1.44 | 57.77 | 0 | 0.58 | 38.52
14:30 - 14:45 | 0 | -0.4 | 0 | 22.15 | -303.49 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | -3.2 | 3.85 | 19.26 | 7.7 | 3.85 | 13.96 | -2 | 0 | 0 | -46 | 0 | 1.44 | 57.78 | 0 | 0.58 | 41.4
14:45 - 15:00 | 0 | -0.4 | 0 | 22.15 | -215.51 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | -3 | 3.85 | 19.26 | 7.7 | 3.85 | 13.96 | -2 | 0 | 0 | -46 | 0 | 1.44 | 57.77 | 0 | 0.58 | 66.45
15:00 - 15:15 | 0 | -0.4 | 0 | 22.15 | -528.81 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | -2.8 | 3.85 | 0 | 7.7 | 3.85 | 13.96 | 0 | 2.41 | 0 | -50 | 0 | 1.44 | 57.77 | 0 | 0.58 | 0
15:15 - 15:30 | -2 | -0.4 | 0 | 22.15 | -489.49 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | -2.6 | 3.85 | 0 | 7.7 | 3.85 | 13.96 | 0 | 2.41 | 0 | -50 | 0 | 1.44 | 0 | 0 | 0.58 | 0
15:30 - 15:45 | -12 | -0.4 | 0 | 22.14 | -303.42 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | -2.4 | 0 | 0 | 7.7 | 0 | 0 | 0 | 2.41 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | -0.4 | 0 | 22.15 | -103.85 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | -2.1 | 0 | 0 | 7.7 | 0 | 0 | 0 | 2.41 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | -0.4 | 0 | 22.15 | -140.01 | 0 | 1.93 | 0 | 0 | 0 | 0 | 14.44 | -1.7 | 0 | 0 | 7.7 | 0 | 0 | 0 | 2.41 | 0 | -50 | 0 | 1.44 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | -0.4 | 0 | 22.15 | -216.19 | 0 | 1.93 | 0 | 0 | 0 | 0 | 14.44 | -1.4 | 0 | 0 | 7.7 | 0 | 0 | 0 | 2.41 | 0 | -50 | 0 | 1.44 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | -0.4 | 0 | 22.14 | -74 | 0 | 1.93 | 0 | 0 | 0 | 0 | 0 | -1.3 | 0 | 0 | 7.7 | 0 | 0 | 0 | 2.41 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | -0.4 | 0 | 22.15 | -75.38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | 0 | 0 | 7.7 | 0 | 0 | 0 | 2.41 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | -153.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 5.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | -12 | 0 | 0 | 0 | -154.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | -1.2 | 0 | -37.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43.33 | 0 | 0 | 28.89
18:15 - 18:30 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58.74
18:30 - 18:45 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | -20 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 107.07
18:45 - 19:00 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | -20 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 175.33
19:00 - 19:15 | 0 | 0 | -1.2 | 0 | -75 | 0 | 0 | -20 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.66
19:15 - 19:30 | 0 | 0 | -1.2 | 0 | -75 | 0 | 0 | -20 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.27
19:30 - 19:45 | 0 | 0 | -1.3 | 0 | -50 | 0 | 0 | -30 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -10 | 0 | 0 | 0 | -19.4 | 0 | 51.65
19:45 - 20:00 | 0 | 0 | -1.3 | 0 | -50 | 0 | 0 | -30 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -10 | 0 | 0 | 0 | -19.4 | 0 | 61.13
20:00 - 20:15 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | -30 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -10 | 0 | 0 | 0 | -19.4 | 0 | 69.34
20:15 - 20:30 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | -30 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -10 | 0 | 0 | 0 | -19.4 | 0 | 73.37
20:30 - 20:45 | -20 | 0 | -1.3 | 0 | -25 | 0 | 0 | -30 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -20 | 0 | 0 | 0 | -19.4 | 0 | 89.22
20:45 - 21:00 | -20 | 0 | -1.3 | 0 | -25 | 0 | 0 | -30 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -20 | 0 | 0 | 0 | -19.4 | 0 | 85.05
21:00 - 21:15 | -27 | 0 | -1.3 | 0 | 0 | 0 | 0 | -70 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -15 | 0 | 0 | 0 | -19.4 | 0 | 118.34
21:15 - 21:30 | -31 | 0 | -1.3 | 0 | 0 | 0 | 0 | -70 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -15 | 0 | 0 | 0 | -19.4 | 0 | 111.92
21:30 - 21:45 | -35 | -0.4 | -1.3 | 0 | -150 | 0 | 0 | -70 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -15 | 0 | 0 | 0 | -19.4 | 0 | 46.16
21:45 - 22:00 | -36 | -0.4 | -1.3 | 0 | -150 | 0 | 0 | -70 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -15 | 0 | 0 | 0 | -19.4 | 0 | 17.92
22:00 - 22:15 | -38 | -0.4 | -1.2 | 0 | -100 | 0 | 0 | -70 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -15 | 0 | 0 | 0 | -19.4 | 0 | 0
22:15 - 22:30 | -38 | -0.4 | -1.2 | 0 | -100 | 0 | 0 | -70 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -15 | 0 | 0 | 0 | -19.4 | 0 | 0
22:30 - 22:45 | -38 | 0 | -1.2 | 0 | -100 | 0 | 0 | -70 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -19.4 | 0 | 0
22:45 - 23:00 | -38 | 0 | -1.2 | 0 | -100 | 0 | 0 | -70 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -19.4 | 0 | 0
23:00 - 23:15 | 0 | 0 | -1.2 | 0 | -100 | 0 | 0 | -50 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -19.4 | 0 | 0
23:15 - 23:30 | 0 | 0 | -1.2 | 0 | -125 | 0 | 0 | -50 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -19.4 | 0 | 0
23:30 - 23:45 | 0 | 0 | -1.2 | 0 | -225 | 0 | 0 | -70 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -19.4 | 0 | 0
23:45 - 24:00 | 0 | 0 | -1.2 | 0 | -275 | 0 | 0 | -70 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -19.4 | 0 | 0
Average | -5.4792 | -0.10833 | -0.86104 | 8.306 | -110.8 | 0.1324 | 1.1642 | -11.6667 | -0.14375 | -3.1875 | -0.3125 | 1.2033 | -0.1401 | 1.2235 | 3.4106 | 2.949 | 0.9124 | 3.49 | -0.97917 | -1.9867 | -0.09375 | -21.6875 | 0.16042 | 0.94375 | 15.5981 | -3.6375 | 0.33062 | 28.4152