## POWER STATUS
POWER STATUS ON DT 05.08.2026
[9 empty] | 2026-08-05 | 2026-08-04
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00 PM
Demand -> | [8 empty] | 5630.2202 | 6440.8906
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 220.375 | 5.289 | 630/590 ft | 612.65 | 618.71 | 616.04 | 211.1373 | 214.6972
| Chiplima | 72(3x24) | 49.792 | 1.195 | - |  |  |  | 53.2645 | 46.2875
| Balimela | 510(6x60+2x75) | 87.125 | 2.091 | 1516/1440 ft | 1467.2 | 1460 | 1460.1 | 0 | 304.4648
| Rengali | 250(5x50) | 217.9833 | 5.2316 | 123.5/109.75 mt | 120.76 | 121.29 | 120.97 | 239.2043 | 240.9007
| Upper Kolab | 320(4x80) | 32.25 | 0.774 | 858/844 mt | 852.19 | 849.91 | 849.96 | 0 | 152.6573
| Upper Indravati | 600(4x150) | 219.666 | 5.272 | 642/625 mt | 634.32 | 633.29 | 633.29 | 0.28482 | 594.0453
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2740.25 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 827.1913 | 19.8526 |  |  |  |  | 503.8909 | 1553.0529
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1465.2426 | 35.1658 | RENEWABLE ENERGY (RE) |  |  |  | 1016.3076 | 974.5863
[5 empty] | M.Hydl | 106.7397
| Total Thermal | 2200 | 1465.2426 | 35.1658 | Solar | 117.717 |  |  | 1016.3076 | 974.5863
IPP | VEDANTA #2 | 600 (1x600) | 419.3688 | 10.0649 | Total IPPs | Yesterday's Demand Profile |  |  | 297.9492 | 515.9173
| GMR #3 | 350 (1x350) | 320.7082 | 7.697 | 834.6613 |  | MW | HRS | 323.9114 | 326.1907
| NBVL(IPP) | 60(1x60) | 49.72 | 1.1933 |  |  |  |  | 47.0949 | 53.2938
| MDTPC |  | 44.8643 | 1.0767 |  |  |  |  | 30.0255 | 54.9384
| CGPs |  | 858.6787 | 20.6083 | IPPs, CGPs & RE | Maximum | 6441 | 23:00 | 1669.7684 | 1870.3863
| Central Sector(Drawl) |  | 1537.209 | 36.893 | 1917.7967 | Minimum | 5194 | 06:00 | 2440.2533 | 2042.8652
| Central Sector(Sch) |  | 1588.3423 | 38.1202 |  | Average | 5747.4396 |  | 2578.6001 | 1566.27
| Grand Total |  | 5747.4396 | 137.9385 | Instantaneous Peak demand |  | 6602 | 23:11 | 5630.2202 | 6440.8906
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1704.8511 | 40.9164 | 1673.3097 | 40.1594 | 1615.0753 | 38.7618
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1842.7995 | 44.2272 | 1824.853 | 43.7965 | 1652.1017 | 39.6504
Rengali | NIL | TSTPP St-II | 3 | TPNODL | 1339.5029 | 32.1481 | 1325.1284 | 31.8031 | 1309.0685 | 31.4176
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 610.5404 | 14.653 | 609.7467 | 14.6339 | 606.3671 | 14.5528
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5497.6938 | 131.9447 | 5433.0379 | 130.3929 | 5182.6125 | 124.3827
Machhkund | 02 to 06 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 297.9492 | GMR |  |  |  | 323.9114
| NBVL #3 | 47.0949 | MDTPC |  |  |  | 30.0255
Mini Hydel: | MEENAKSHI | 37.0476 | OPCL |  |  |  | 0
| BTPL | 27.576 | SAPTADHARA |  |  |  | 10.5086
Solar: |  | 256.337 | KAKATIYA |  |  |  | 4.7263
CGPs : | JSPL (Angul) | 152.9474 | JSL(Duburi) |  |  |  | -4.5071
| ICCL | 45.2856 | visa |  |  |  | 8.7455
| NALCO | -145.2321 | VAL (CGP) |  |  |  | 69.776
| RSP | -112.0488 | BSL(MMDL) |  |  |  | 120.4259
| INDAL | -6.9457 | ADITYA ALUMINIUM |  |  |  | 24.5212
| NINL | -30.0032 | VAL CPP 400 kV |  |  |  | -474.4373
| NBVL | 48.3332 | Arati |  |  |  | 18.9099
| BPSL(JSG) | -125.4488 | BPPL |  |  |  | 58.1601
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-28 | 2026-07-29 | 2026-07-30 | 2026-07-31 | 2026-08-01 | 2026-08-02 | 2026-08-03 | 2026-08-04
607.4213 | 642.398 | 539.3666 | 546.2796 | 536.16 | 764.1335 | 782.56 | 827.1913
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.04.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | -3.7 | AARTISTEEL | CSEB_Beneficiary | -4.75 | AGE26AL_PSS6_KPS1_S | ODISHA | 131.38
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AP41PL_BHDL | ODISHA | 50.24
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -14.17 | AP43PL_BKN | ODISHA | 45.98
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -5.83 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.68
JPIPL | NPCL_UP | -14 | AECI11PL | STEELCAST2022 | -0.19 | AWEK1L | ODISHA | 6.84
JSPLANGUL | GEB_Beneficiary | -52 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 10.27
JSPLANGUL | RUVITSL | -43.75 | BPPL | TANGEDCO | -7.5 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.93
MAADURGA_THERMAL | NPCL_UP | -16.34 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 20.22
NBVLIPP | TANGEDCO | -50 | FACORPOWER | PSPCL | -14.17 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 14.74
TSBSLA | APCPDCL | -10 | FACORPOWER | PSPCL | -1.46 | DADRI_SOLAR | ODISHA | 0.49
VSL | CR_IR_MS | -10 | FACORPOWER | PSPCL | -5.83 | ENERSON_SOLAR_10MW | ODISHA | 0.68
FARIDABAD_SOLAR | ODISHA | 0.86 | FACORPOWER | PSPCL | -3.54 | GADAG_GreenInfra_W | ODISHA | 0.56
JSWEL_UTKAL | ODISHA | 75.69 | JSPLANGUL | RUVITSL | -106.25 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.34 | KCMW_od | JAYPEE_REWA | -2.42 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 1.95 | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_Serentica3_S | VLSEZ | 22.69
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GADAG_Serentica3_W | VLSEZ | 56.79
|  |  | NBVLIPP | BSPHCL | -3.54 | GIWEL_SECI_II_RE | ODISHA | 33.14
|  |  | NBVLIPP | BSPHCL | -14.38 | GPCL_SOLAR_10 | ODISHA | 0.33
|  |  | OCL_IRON_STEEL | BRPL | 0 | GSECL_SOLAR | ODISHA | 0.69
|  |  | OCL_IRON_STEEL | CSEB_Beneficiary | -33.83 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.98
|  |  | ODISHA | BRPL | -29.17 | KARUR_TPVARDHAMAN_W | TSFAP_Bpal | 3.85
|  |  | ODISHA | TPL_DIS_AHM | -29.17 | KARUR_TPVARDHAMAN_W | TSKPO | 106.46
|  |  | ORSISL | PSPCL | -1.17 | KARUR_TPVARDHAMAN_W | TSLFAPG | 8.48
|  |  | ORSISL | PSPCL | -2.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.08
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | Kurnool_Greenko_H_Inj | ADITYAAL | 8.42
|  |  | SGML | TPL_DIS_AHM | -3.75 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.26
|  |  | Shri_JSPL | TPL_DIS_DHOLERA | -1.42 | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.27
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 5.76
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
|  |  | VSL | WBSEDCL | -4.17 | OKWPL_RE | ODISHA | 17.61
|  |  | JIPL | ODISHA | 115.55 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 44.61
|  |  | NALCOAP | NACL_Odisha | 26.23 | RWE_AP2_SECI_III | ODISHA | 15.79
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 16.78
[6 empty] | SRI9PL_FTG3 | VLSEZ | 62.02
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.08
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.09
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 49.78
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 2.74
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 59.32

## DAM
DAM TRADING DETAILS FOR DT : 04.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -2.5 | 0 | 0 | -200 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
00:15 - 00:30 | -2.5 | 0 | 0 | -200 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
00:30 - 00:45 | -2.5 | 0 | 0 | -200 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
00:45 - 01:00 | -2.5 | 0 | 0 | -200 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
01:00 - 01:15 | -2.5 | 0 | 0 | -200 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
01:15 - 01:30 | -2.5 | 0 | 0 | -200 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
01:30 - 01:45 | -2.5 | 0 | 0 | -200 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
01:45 - 02:00 | -2.5 | 0 | 0 | -200 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
02:00 - 02:15 | -2.5 | 0 | 0 | -200 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
02:15 - 02:30 | -2.5 | 0 | 0 | -200 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
02:30 - 02:45 | -2.5 | 0 | 0 | -200 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
02:45 - 03:00 | -2.5 | 0 | 0 | -200 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
03:00 - 03:15 | -2.5 | 0 | 0 | -200 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
03:15 - 03:30 | -2.5 | 0 | 0 | -200 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
03:30 - 03:45 | -2.5 | 0 | 0 | -200 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
03:45 - 04:00 | -2.5 | 0 | 0 | -200 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
04:00 - 04:15 | -2.5 | 0 | 0 | -300 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
04:15 - 04:30 | -2.5 | 0 | 0 | -300 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
04:30 - 04:45 | -2.5 | 0 | 0 | -300 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
04:45 - 05:00 | -2.5 | 0 | 0 | -300 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
05:00 - 05:15 | -2.5 | 0 | 0 | -100 | 0 | -1.5 | 0 | -4 | -8 | -43 | 0 | 0
05:15 - 05:30 | -2.5 | 0 | 0 | -100 | 0 | -1.5 | 0 | -4 | -8 | -43 | 0 | 0
05:30 - 05:45 | -2.5 | 0 | 0 | -100 | 0 | -1.5 | 0 | -4 | -8 | -43 | 0 | 0
05:45 - 06:00 | -2.5 | 0 | 0 | -100 | 0 | -1.5 | 0 | -4 | -8 | -43 | 0 | 0
06:00 - 06:15 | -2.5 | 0 | 0 | -150 | 0 | -1.5 | 0 | -10 | -8 | -43 | 0 | -6
06:15 - 06:30 | -2.5 | 0 | 0 | -150 | 0 | -1.5 | 0 | -10 | -8 | -43 | 0 | -6
06:30 - 06:45 | -2.5 | 0 | 0 | -150 | 0 | -1.5 | 0 | -10 | -8 | -43 | 0 | -6
06:45 - 07:00 | -2.5 | 0 | 0 | -150 | 0 | -1.5 | 0 | -10 | -8 | -43 | 0 | -6
07:00 - 07:15 | -2.5 | 0 | 0 | -225 | 0 | -1.5 | 0 | -10 | -8 | -43 | 0 | -6
07:15 - 07:30 | -2.5 | 0 | 0 | -225 | 0 | -1.5 | 0 | -10 | -8 | -43 | 0 | -6
07:30 - 07:45 | -2.5 | 0 | 0 | -225 | 0 | -1.5 | 0 | -10 | -8 | -43 | 0 | -6
07:45 - 08:00 | -2.5 | 0 | 0 | -225 | 0 | -1.5 | 0 | -10 | -8 | -43 | 0 | -6
08:00 - 08:15 | -2.5 | 15.41 | 0 | -550 | 0 | -1.5 | 0 | -4 | -3 | -43 | 0 | -6
08:15 - 08:30 | -2.5 | 15.41 | 0 | -550 | 0 | -1.5 | 0 | -4 | -3 | -43 | 7.7 | -6
08:30 - 08:45 | -2.5 | 15.41 | 0 | -526.72 | 0 | -1.5 | 0 | -4 | -3 | -43 | 7.7 | -6
08:45 - 09:00 | -2.5 | 15.41 | 0 | -496.82 | 0 | -1.5 | 0 | -4 | -3 | -43 | 7.7 | -6
09:00 - 09:15 | -2.5 | 15.41 | 0 | -650 | 0 | -1.5 | 9.63 | -4 | -3 | -18 | 4.14 | -6
09:15 - 09:30 | -2.5 | 15.41 | 0 | -650 | 28.88 | -1.5 | 9.63 | -4 | -3 | -18 | 0 | -6
09:30 - 09:45 | -2.5 | 15.41 | 0 | -650 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | -6
09:45 - 10:00 | -2.5 | 15.41 | 0 | -409.95 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | -6
10:00 - 10:15 | -2.5 | 15.41 | 0 | -280.73 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
10:15 - 10:30 | -2.5 | 15.41 | 0 | -262.65 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
10:30 - 10:45 | -2.5 | 15.41 | 0 | 0 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
10:45 - 11:00 | -2.5 | 15.41 | 0 | 0 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
11:00 - 11:15 | -2.5 | 15.41 | 0 | 0 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
11:15 - 11:30 | -2.5 | 15.41 | 0 | 0 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
11:30 - 11:45 | -2.5 | 15.41 | 0 | 0 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
11:45 - 12:00 | -2.5 | 15.41 | 0 | 0 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
12:00 - 12:15 | -2.5 | 15.41 | 0 | 0 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
12:15 - 12:30 | -2.5 | 15.41 | 0 | 0 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
12:30 - 12:45 | -2.5 | 15.41 | 0 | 0 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
12:45 - 13:00 | -2.5 | 15.41 | 0 | 0 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
13:00 - 13:15 | -2.5 | 15.41 | 0 | 194.55 | 28.89 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
13:15 - 13:30 | -2.5 | 15.41 | 0 | 0 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
13:30 - 13:45 | -2.5 | 15.41 | 0 | 0 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
13:45 - 14:00 | -2.5 | 15.41 | 0 | 0 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
14:00 - 14:15 | -2.5 | 15.41 | 0 | 0 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
14:15 - 14:30 | -2.5 | 15.41 | 0 | -301.4 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
14:30 - 14:45 | -2.5 | 15.41 | 0 | -347.62 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | 0
14:45 - 15:00 | -2.5 | 15.41 | 0 | -420.14 | 28.88 | -1.5 | 0 | -4 | -3 | -18 | 0 | -6
15:00 - 15:15 | -2.5 | 15.41 | 0 | -492.16 | 28.88 | -1.5 | 2.6 | -4 | -3 | -18 | 0 | -6
15:15 - 15:30 | -2.5 | 15.41 | 0 | -600 | 28.88 | -1.5 | 9.63 | -4 | -3 | -18 | 0 | -6
15:30 - 15:45 | -2.5 | 15.41 | 0 | -600 | 0 | -1.5 | 9.63 | -4 | -3 | -18 | 0 | -6
15:45 - 16:00 | -2.5 | 15.41 | 0 | -600 | 0 | -1.5 | 9.63 | -4 | -3 | -18 | 7.7 | -6
16:00 - 16:15 | -2.5 | 15.41 | 0 | -755.25 | 0 | -1.5 | 0 | -4 | -3 | -43 | 0 | -6
16:15 - 16:30 | -2.5 | 15.41 | 0 | -774.99 | 0 | -1.5 | 0 | -4 | -3 | -43 | 7.7 | -6
16:30 - 16:45 | -2.5 | 15.41 | 0 | -850 | 0 | -1.5 | 0 | -4 | -3 | -43 | 7.7 | -6
16:45 - 17:00 | -2.5 | 15.41 | 0 | -850 | 0 | -1.5 | 0 | -4 | -3 | -43 | 7.7 | -6
17:00 - 17:15 | -2.5 | 0 | 0 | -675 | 0 | -1.3 | 0 | -5 | -8 | -43 | 7.7 | -6
17:15 - 17:30 | -2.5 | 0 | 0 | -675 | 0 | -1.3 | 0 | -5 | -8 | -43 | 7.7 | -6
17:30 - 17:45 | -2.5 | 0 | 0 | -675 | 0 | -1.3 | 0 | -5 | -8 | -43 | 0 | -6
17:45 - 18:00 | -2.5 | 0 | 0 | -675 | 0 | -1.3 | 0 | -5 | -8 | -43 | 0 | -6
18:00 - 18:15 | -2.5 | 0 | 0 | -350 | 0 | -1.3 | 0 | -4 | -8 | -43 | 7.7 | 0
18:15 - 18:30 | -2.5 | 0 | 0 | -350 | 0 | -1.3 | 0 | -4 | -8 | -43 | 0 | 0
18:30 - 18:45 | -2.5 | 0 | -13 | -350 | 0 | -1.3 | 0 | -4 | -8 | -43 | 0 | 0
18:45 - 19:00 | -2.5 | 0 | -13 | -350 | 0 | -1.3 | 0 | -4 | -8 | -43 | 0 | 0
19:00 - 19:15 | -2.5 | 0 | -13 | 0 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
19:15 - 19:30 | -2.5 | 0 | -13 | 0 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
19:30 - 19:45 | -2.5 | 0 | -13 | 0 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
19:45 - 20:00 | -2.5 | 0 | -13 | 0 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
20:00 - 20:15 | -2.5 | 0 | -13 | 0 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
20:15 - 20:30 | -2.5 | 0 | -13 | 0 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
20:30 - 20:45 | -2.5 | 0 | -13 | 0 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
20:45 - 21:00 | -2.5 | 0 | -13 | 0 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
21:00 - 21:15 | -2.5 | 0 | -13 | 0 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
21:15 - 21:30 | -2.5 | 0 | -13 | 0 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
21:30 - 21:45 | -2.5 | 0 | -13 | 0 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
21:45 - 22:00 | -2.5 | 0 | -13 | 0 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
22:00 - 22:15 | -2.5 | 0 | -13 | 0 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
22:15 - 22:30 | -2.5 | 0 | -13 | 0 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
22:30 - 22:45 | -2.5 | 0 | -13 | 0 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
22:45 - 23:00 | -2.5 | 0 | -13 | 0 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
23:00 - 23:15 | -2.5 | 0 | -13 | -50 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
23:15 - 23:30 | -2.5 | 0 | -13 | -50 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
23:30 - 23:45 | -2.5 | 0 | -13 | -50 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
23:45 - 24:00 | -2.5 | 0 | -13 | -50 | 0 | -1.3 | 0 | -4 | -8 | 0 | 0 | 0
Average | -2.5 | 5.7788 | -2.9792 | -229.4154 | 7.5209 | -1.4 | 0.52865 | -4.5417 | -6.125 | -17.7917 | 0.84521 | -1.8125

## GDAM
GDAM TRADING DETAILS FOR DT:04.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | -2.7 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | -4.1 | 48.15 | 0 | 0 | 0 | 0
08:15 - 08:30 | -0.8 | -6.5 | 48.15 | 0 | 0 | 0 | 0
08:30 - 08:45 | -3 | -6.6 | 48.15 | 0 | 0 | 0 | 0
08:45 - 09:00 | -3.3 | -7.4 | 48.14 | 0 | 6.26 | 0 | 0
09:00 - 09:15 | -5.8 | -8.5 | 48.15 | 0 | 6.26 | 3.53 | 0
09:15 - 09:30 | -3.5 | -10.9 | 48.15 | 0 | 6.26 | 7.7 | 0
09:30 - 09:45 | -9 | -9.1 | 48.15 | 9.63 | 6.26 | 7.7 | 0
09:45 - 10:00 | -8.5 | -11.8 | 48.15 | 9.63 | 6.26 | 7.7 | 0
10:00 - 10:15 | -7.3 | -14.3 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
10:15 - 10:30 | -8.5 | -17 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
10:30 - 10:45 | -9.5 | -17.8 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
10:45 - 11:00 | -11.6 | -18 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
11:00 - 11:15 | -14.5 | -13.9 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
11:15 - 11:30 | -12.3 | -18 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
11:30 - 11:45 | -14.5 | -14.6 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
11:45 - 12:00 | -13.1 | -16.2 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
12:00 - 12:15 | -14.5 | -18.5 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
12:15 - 12:30 | -14.2 | -16.4 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
12:30 - 12:45 | -10.2 | -17.6 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
12:45 - 13:00 | -11.7 | -16.4 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
13:00 - 13:15 | -13.4 | -17.1 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
13:15 - 13:30 | -13.8 | -19.4 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
13:30 - 13:45 | -11.2 | -16.7 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
13:45 - 14:00 | -12.7 | -15 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
14:00 - 14:15 | -11.3 | -12.3 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
14:15 - 14:30 | -10.8 | -16.3 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
14:30 - 14:45 | -7.8 | -12 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
14:45 - 15:00 | -7.9 | -7.9 | 48.15 | 9.63 | 6.26 | 7.7 | 3.85
15:00 - 15:15 | -9.8 | -9.2 | 48.15 | 6.97 | 6.26 | 7.7 | 0
15:15 - 15:30 | -8 | -11.6 | 48.15 | 0 | 6.26 | 7.7 | 0
15:30 - 15:45 | -4.7 | -12 | 48.15 | 0 | 6.26 | 7.7 | 0
15:45 - 16:00 | -5.2 | -8.9 | 48.14 | 0 | 6.26 | 0 | 0
16:00 - 16:15 | -2.9 | -4.6 | 28.89 | 0 | 6.26 | 7.7 | 0
16:15 - 16:30 | 0 | -4 | 28.89 | 0 | 6.26 | 0 | 0
16:30 - 16:45 | 0 | -1 | 28.89 | 0 | 6.26 | 0 | 0
16:45 - 17:00 | 0 | 0 | 28.89 | 0 | 6.26 | 0 | 0
17:00 - 17:15 | 0 | 0 | 28.89 | 0 | 6.26 | 0 | 0
17:15 - 17:30 | 0 | 0 | 28.89 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 28.89 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 28.89 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -3.076 | -4.5479 | 18.4573 | 2.2795 | 2.2171 | 2.2024 | 0.80208

## RTM
RTM TRADING DETAILS FOR DT: 04.08.2026
Time Period | Aarti_Steel_Ltd_NPT | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | 0 | 0 | -0.4 | -1.2 | -200 | 0 | -70 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -85 | 0 | 0 | 0 | 26.24 | 0
00:15 - 00:30 | -2 | 0 | -0.4 | -1.2 | -300 | 0 | -70 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -60 | 0 | 0 | 0 | 29.55 | 0
00:30 - 00:45 | 0 | 0 | -0.4 | -1.2 | -300 | 0 | -70 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 62 | 0
00:45 - 01:00 | 0 | 0 | -0.4 | -1.2 | -300 | 0 | -70 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 78.39 | 0
01:00 - 01:15 | 0 | 0 | -0.4 | -1.2 | -9.4 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -1 | 0 | -25 | 0 | 0 | 0 | 96.29 | 0
01:15 - 01:30 | 0 | 0 | -0.4 | -1.2 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -1 | 0 | 0 | 0 | 0 | 0 | 96.29 | 0
01:30 - 01:45 | 0 | 0 | -0.2 | 0 | -69.03 | 0 | 0 | 0 | 9.63 | -6 | 0 | 0 | 14.44 | -1 | 0.39 | 6.26 | 11.55 | 14.44 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 33.7 | 0 | 0 | 68.37 | 0
01:45 - 02:00 | 0 | 0 | -0.2 | 0 | -76.69 | 0 | 0 | 0 | 9.63 | -6 | 0 | 0 | 14.44 | -1 | 0 | 6.26 | 11.55 | 14.44 | 0 | 0 | 0 | -4 | 0 | 0 | -30 | 33.7 | 0 | 0 | 68.38 | 0
02:00 - 02:15 | 0 | 0 | -0.2 | -1.3 | -117.52 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -80 | 0 | 0 | 0 | 68.37 | 0
02:15 - 02:30 | 0 | 0 | -0.2 | -1.3 | -120.58 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -20 | 0 | 0 | 0 | 68.37 | 0
02:30 - 02:45 | 0 | 0 | -0.4 | -1.3 | -123.76 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 68.37 | 0
02:45 - 03:00 | 0 | 0 | -0.4 | -1.3 | -123.77 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 68.37 | 0
03:00 - 03:15 | 0 | 0 | -0.4 | -1.2 | -115 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -10 | 0 | 0 | 0 | 0 | 68.37 | 0
03:15 - 03:30 | 0 | 0 | -0.4 | -1.2 | -110.01 | 5.78 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -10 | 0 | 0 | 0 | 0 | 68.36 | 0
03:30 - 03:45 | 0 | 0 | -0.4 | -1.2 | -112.52 | 1.04 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | -70 | 0 | 0 | 0 | 68.37 | 0
03:45 - 04:00 | 0 | 0 | -0.4 | -1.2 | -111.07 | 5.78 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | -20 | 0 | 0 | 0 | 68.36 | 0
04:00 - 04:15 | 0 | 0 | -0.4 | -1.2 | -162.75 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | 0 | 48.15 | 0
04:15 - 04:30 | 0 | 0 | -0.4 | -1.2 | -166.25 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | -75 | 0 | 0 | 0 | 26.96 | 0
04:30 - 04:45 | 0 | 0 | -0.4 | -1.2 | -165.75 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | -3 | 0 | -10 | -80 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | -0.4 | -1.2 | -172.23 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | -3 | 0 | -10 | -15 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | -0.4 | -1.3 | -149.9 | 4.81 | 0 | 0 | 0 | -6 | 0 | 0 | 14.44 | -1 | 0 | 0 | 11.55 | 0 | 7.7 | 0 | 0 | -3 | 0 | -10 | 0 | 19.27 | 0 | 0 | 0 | -10
05:15 - 05:30 | 0 | 0 | -0.4 | -1.3 | -165.75 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -10
05:30 - 05:45 | 0 | 0 | -0.8 | -1.3 | -208.33 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -10
05:45 - 06:00 | 0 | 0 | -0.8 | -1.3 | -212.52 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | -20 | 0 | 0 | 0 | 0 | -10
06:00 - 06:15 | 0 | 0 | -0.8 | -1.3 | -216.67 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | -10 | 0 | 0 | 0 | 0 | -10
06:15 - 06:30 | 0 | 0 | -0.8 | -1.3 | -225.09 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | -70 | 0 | 0 | 0 | 0 | -10
06:30 - 06:45 | -11 | 0 | -0.8 | -1.3 | -216.67 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | -15 | 0 | 0 | 0 | 0 | -10
06:45 - 07:00 | 0 | 0 | -0.8 | -1.3 | -209.49 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -10
07:00 - 07:15 | 0 | 0 | -0.4 | -1.3 | -100.61 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | -40 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | -0.4 | -1.3 | -94.47 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -1 | -1.1 | 0 | 0 | 0 | 7.7 | 0 | 0 | -3 | 0 | -10 | -30 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | -0.4 | -1.3 | -0.61 | 4.81 | 0 | 0 | 0 | -6 | 0 | 0 | 14.44 | -1 | -1.3 | 0 | 11.55 | 0 | 7.7 | 0 | 0 | -3 | 0 | -10 | 0 | 19.27 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | -0.4 | -1.3 | -41.96 | 4.81 | 0 | 0 | 0 | -6 | 0 | 0 | 14.44 | -1 | -1.6 | 6.26 | 11.55 | 14.44 | 7.7 | 0 | 14.44 | -3 | 0 | -10 | 0 | 19.28 | 0 | 0 | 0 | 0
08:00 - 08:15 | -11 | 0 | -0.4 | 0 | 104.87 | 5.78 | 0 | -0.2 | 0 | 0 | 7.7 | 0 | 0 | -1 | -1.9 | 6.26 | 11.55 | 19.26 | 7.7 | 2.41 | 14.44 | -4 | 0 | -5 | -90 | 9.63 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | -0.4 | 0 | 104.91 | 5.78 | 0 | -0.2 | 0 | 0 | 7.7 | 0 | 0 | -1 | -2.2 | 6.26 | 11.55 | 19.26 | 7.7 | 2.41 | 14.44 | -4 | 0 | -5 | -50 | 9.63 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | -2.6 | -0.4 | 0 | 0 | 5.78 | 0 | -0.2 | 0 | 0 | 7.7 | 0 | 0 | -1 | -2.5 | 6.26 | 11.55 | 19.27 | 7.7 | 2.41 | 14.44 | -4 | 0 | -5 | -90 | 14.44 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | -4.5 | -0.4 | 0 | -45.57 | 5.78 | 0 | -0.2 | 0 | 0 | 7.7 | 0 | 0 | -1 | -2.8 | 0 | 11.55 | 19.27 | 7.7 | 2.41 | 14.44 | -4 | 0 | -5 | -50 | 14.44 | 0 | 0 | 0 | 0
09:00 - 09:15 | 0 | 0 | -0.4 | 0 | -184.47 | 6.74 | 0 | -0.5 | 9.63 | 0 | 7.7 | 0 | 0 | -1 | -3.1 | 0 | 3.85 | 19.27 | 7.7 | 2.41 | 14.44 | -4 | 0 | -5 | -30 | 14.44 | 0 | 0 | 0 | 0
09:15 - 09:30 | 0 | 0 | -0.4 | 0 | -174.9 | 6.74 | 0 | -0.4 | 9.63 | 0 | 7.7 | 0 | 0 | -1 | -3.7 | 0 | 5.78 | 19.27 | 7.7 | 2.41 | 14.44 | -4 | 0 | -5 | -90 | 14.44 | 0 | 0 | 0 | 0
09:30 - 09:45 | -15 | 0 | -0.4 | 0 | -151.93 | 6.74 | 0 | -1.9 | 0 | 0 | 7.7 | 0 | 0 | -1 | -3.8 | 0 | 3.85 | 0 | 7.7 | 2.41 | 14.45 | -4 | 0 | -5 | -30 | 0 | 0 | 0 | 0 | 0
09:45 - 10:00 | 0 | 0 | -0.4 | 0 | -150.67 | 6.74 | 0 | -2 | 0 | 0 | 7.7 | 0 | 0 | -1 | -1.3 | 0 | 3.85 | 19.26 | 7.7 | 2.41 | 14.44 | -4 | 0 | -5 | -20 | 28.89 | 0 | 0 | 0 | 0
10:00 - 10:15 | 0 | 0 | -0.4 | 0 | -127.77 | 7.7 | 0 | -2 | 0 | 0 | 7.7 | -15 | 0 | -1 | 3.85 | 0 | 3.85 | 19.26 | 7.7 | 2.41 | 14.44 | -2 | 19.26 | -5 | -10 | 62.6 | 0 | 0 | 0 | 0
10:15 - 10:30 | 0 | 0 | -0.4 | 0 | -328.46 | 7.7 | 0 | -2 | 0 | 0 | 7.7 | 0 | 0 | -1 | 3.95 | 0 | 3.85 | 19.26 | 7.7 | 2.41 | 14.44 | -2 | 19.26 | -5 | -50 | 62.59 | 0 | 0 | 0 | 0
10:30 - 10:45 | 0 | -2 | -0.2 | 0 | -450.12 | 7.7 | 0 | -2 | 0 | 0 | 7.7 | 0 | 0 | -1 | 0 | 0 | 3.85 | 19.26 | 7.7 | 2.41 | 14.44 | -4 | 19.26 | -5 | 0 | 62.6 | 0 | 0 | 0 | 0
10:45 - 11:00 | 0 | -1.5 | -0.2 | 0 | -498.77 | 7.7 | 0 | -2.1 | 0 | 0 | 7.7 | 0 | 0 | -1 | 0 | 0 | 3.85 | 19.26 | 7.7 | 2.41 | 14.44 | -4 | 19.26 | -5 | 0 | 62.6 | 0 | -6 | 0 | 0
11:00 - 11:15 | -7 | 0 | 0 | 0 | -548.76 | 7.7 | 0 | -2.2 | 0 | 0 | 7.7 | 0 | 0 | -1 | 0 | 0 | 3.85 | 19.26 | 7.7 | 2.41 | 14.44 | -4 | 0 | -5 | -60 | 62.6 | 0 | -6 | 0 | 0
11:15 - 11:30 | -5 | -2.9 | 0 | 0 | -596.2 | 7.7 | 0 | -2 | 0 | 0 | 7.7 | 0 | 0 | -1 | 0 | 0 | 3.85 | 19.26 | 7.7 | 2.41 | 14.44 | -4 | 0 | -5 | -50 | 62.6 | 0 | -6 | 0 | 0
11:30 - 11:45 | 0 | 0 | 0 | 0 | -579.53 | 7.7 | 0 | -1.7 | 0 | 0 | 7.7 | 0 | 0 | -1 | 3.76 | 0 | 3.85 | 19.26 | 7.7 | 2.41 | 14.44 | -4 | 0 | -5 | 0 | 62.59 | 0 | -6 | 0 | 0
11:45 - 12:00 | 0 | 0 | 0 | 0 | -595.02 | 7.7 | 0 | -1.7 | 0 | 0 | 7.7 | 0 | 0 | -1 | 0 | 0 | 3.85 | 19.26 | 7.7 | 2.41 | 14.44 | -4 | 0 | -5 | 0 | 62.6 | 0 | -6 | 0 | 0
12:00 - 12:15 | 0 | -2.9 | -0.4 | 0 | -620.89 | 7.7 | 0 | -1.4 | 0 | 0 | 7.7 | 0 | 0 | -9 | 4.04 | 0 | 5.78 | 19.26 | 7.7 | 2.41 | 14.44 | -4 | 0 | -5 | 0 | 62.6 | 0 | -6 | 0 | 0
12:15 - 12:30 | 0 | -0.8 | -0.4 | 0 | -627.48 | 7.7 | 0 | -1.4 | 0 | 0 | 7.7 | 0 | 0 | -9 | 4.24 | 0 | 3.85 | 19.26 | 7.7 | 2.41 | 14.44 | -4 | 0 | -5 | 0 | 62.6 | 0 | -6 | 0 | 0
12:30 - 12:45 | 0 | 0 | -0.2 | 0 | -619.91 | 7.7 | 0 | -1.5 | 0 | 0 | 7.7 | 0 | 0 | -9 | 4.33 | 0 | 5.78 | 19.26 | 7.7 | 2.41 | 14.44 | -2 | 0 | -5 | 0 | 67.41 | 0 | -6 | 0 | 0
12:45 - 13:00 | 0 | -0.5 | -0.2 | 0 | -604.98 | 7.7 | 0 | -1.4 | 0 | 0 | 7.7 | 0 | 0 | -9 | 4.72 | 0 | 5.78 | 19.26 | 7.7 | 2.41 | 14.44 | -2 | 0 | -5 | 0 | 67.41 | 0 | -4.9 | 0 | 0
13:00 - 13:15 | -12 | -0.2 | -0.4 | 0 | -862.54 | 7.7 | 0 | -1.4 | 0 | 0 | 7.7 | 0 | 0 | -9 | 4.72 | 0 | 5.78 | 21.18 | 7.7 | 2.41 | 14.44 | -2 | 0 | -5 | 0 | 62.6 | 0 | 0 | 0 | 0
13:15 - 13:30 | 0 | -0.9 | -0.4 | 0 | -775.57 | 7.7 | 0 | -1.3 | 0 | 0 | 7.7 | 0 | 0 | -9 | 4.81 | 0 | 5.78 | 21.18 | 7.7 | 2.41 | 14.44 | -2 | 0 | -5 | 0 | 62.6 | 0 | 0 | 0 | 0
13:30 - 13:45 | 0 | 0 | -0.4 | 0 | -679.68 | 7.7 | 0 | -0.8 | 0 | 0 | 7.7 | 0 | 0 | -9 | 4.91 | 0 | 5.78 | 21.18 | 7.7 | 2.41 | 14.44 | -2 | 0 | -5 | -80 | 43.34 | 0 | 0 | 0 | 0
13:45 - 14:00 | 0 | 0 | -0.4 | 0 | -715.95 | 7.7 | 0 | -0.8 | 0 | 0 | 7.7 | 0 | 0 | -9 | 4.91 | 0 | 3.85 | 21.18 | 7.7 | 2.41 | 14.44 | -2 | 0 | -5 | -80 | 43.35 | 0 | -6 | 0 | 0
14:00 - 14:15 | 0 | -0.5 | -0.4 | 0 | -722.76 | 7.7 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | -9 | -0.4 | 0 | 3.85 | 14.44 | 7.7 | 2.41 | 14.44 | 0 | 0 | -5 | -80 | 33.72 | 0 | -6 | 0 | 0
14:15 - 14:30 | 0 | -3.5 | -0.4 | 0 | -734.21 | 7.7 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | -9 | -3 | 0 | 3.85 | 14.44 | 7.7 | 2.41 | 14.44 | 0 | 0 | -5 | -80 | 33.72 | 0 | 0 | 0 | 0
14:30 - 14:45 | -5 | 0 | -0.4 | 0 | -500.89 | 7.7 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | -9 | -3 | 0 | 3.85 | 14.44 | 7.7 | 2.41 | 14.44 | -2 | -1 | -5 | -40 | 28.9 | 0 | 0 | 0 | 0
14:45 - 15:00 | 0 | 0 | -0.4 | 0 | -692.41 | 7.7 | 0 | -0.3 | 0 | 0 | 7.7 | 0 | 0 | -9 | -2.9 | 0 | 3.85 | 14.44 | 7.7 | 2.41 | 14.44 | -2 | -1 | -5 | 0 | 28.9 | 0 | 0 | 0 | 0
15:00 - 15:15 | 0 | -0.7 | -0.4 | 0 | -755.71 | 7.7 | 0 | -0.3 | 0 | 0 | 7.7 | 0 | 0 | -9 | -2.6 | 0 | 5.78 | 14.44 | 7.7 | 2.41 | 14.44 | -2 | -1 | -5 | -40 | 19.27 | 0 | 0 | 0 | 0
15:15 - 15:30 | 0 | -3.3 | -0.4 | 0 | -727.48 | 7.7 | 0 | -0.1 | 9.63 | 0 | 7.7 | 0 | 0 | -9 | -2.4 | 0 | 3.85 | 14.44 | 7.7 | 2.41 | 14.44 | -2 | -1 | -5 | -40 | 19.27 | 0 | 0 | 0 | 0
15:30 - 15:45 | 0 | -3.6 | -0.4 | 0 | -360.17 | 7.7 | 0 | -0.1 | 9.63 | 0 | 7.7 | 0 | 0 | -9 | -2.2 | 0 | 3.85 | 14.44 | 7.7 | 2.41 | 14.44 | -2 | -1 | -5 | -40 | 19.27 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | -2.7 | -0.4 | 0 | -496.65 | 7.7 | 0 | -0.1 | 0 | 0 | 7.7 | -15 | 0 | -9 | -2.1 | 0 | 3.85 | 14.44 | 7.7 | 2.41 | 14.44 | -2 | -1 | -5 | -10 | 19.27 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | -1 | -0.4 | 0 | -561.64 | 7.7 | 0 | -0.1 | 0 | 0 | 7.7 | 0 | 14.44 | -9 | -1.6 | 0 | 3.85 | 14.44 | 7.7 | 2.41 | 14.44 | 0 | -1 | -5 | -40 | 19.28 | 0 | 0 | 0 | 0
16:15 - 16:30 | -11 | -0.9 | -0.4 | 0 | -564.04 | 7.7 | 0 | 0 | 0 | 0 | 7.7 | 0 | 14.44 | -9 | -1.4 | 0 | 3.85 | 14.44 | 7.7 | 2.41 | 14.44 | 0 | -1 | -5 | -20 | 19.28 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | -0.4 | 0 | -562.54 | 7.7 | 0 | -0.1 | 0 | 0 | 7.7 | 0 | 14.44 | -9 | -1.3 | 0 | 11.55 | 14.44 | 7.7 | 2.41 | 14.44 | 0 | -1 | -5 | -72 | 19.28 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | -0.4 | 0 | -564.05 | 7.7 | 0 | -0.1 | 0 | 0 | 7.7 | 0 | 14.44 | -9 | -0.9 | 0 | 11.55 | 14.44 | 7.7 | 2.41 | 14.44 | 0 | -1 | -5 | -72 | 19.28 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 221.59 | 7.7 | 0 | 0 | 0 | 0 | 7.7 | 0 | 14.44 | -9 | -0.6 | 0 | 11.55 | 14.44 | 7.7 | 2.41 | 14.44 | 0 | -1 | -5 | -72 | 14.44 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 211.38 | 7.7 | 0 | 0 | 0 | 0 | 7.7 | 0 | 14.44 | -9 | -0.4 | 0 | 11.55 | 0 | 7.7 | 0 | 0 | 0 | -1 | -5 | -72 | 14.44 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 389.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | -1 | -5 | -40 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 382.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -5 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -1 | 0 | 0 | -1.2 | 423.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -10 | 28.89 | -9.7 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | -1.2 | 384.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -65 | 0 | -9.7 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | -1.2 | 484.95 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -68 | 0 | -9.7 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | -1.2 | 457.54 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -68 | 0 | -9.7 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 142.1 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -68 | 0 | -9.7 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 84.45 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -20 | 0 | -9.7 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 45.79 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -1 | 0 | 0 | 0 | -9.7 | 0 | 0 | -1
19:45 - 20:00 | 0 | 0 | 0 | 0 | 39.7 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -1 | 0 | -20 | 0 | -9.7 | 0 | 0 | -1
20:00 - 20:15 | -3 | 0 | 0 | 0 | 61.93 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | -1 | 0 | -50 | 0 | -9.7 | 0 | 0 | -1
20:15 - 20:30 | -3 | 0 | 0 | 0 | 58.22 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | -1 | 0 | -50 | 0 | -9.7 | 0 | 0 | -1
20:30 - 20:45 | -3 | 0 | 0 | 0 | 57.07 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | -1 | 0 | -43 | 0 | -9.7 | 0 | 0 | -1
20:45 - 21:00 | -3 | 0 | 0 | 0 | 51.36 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | -1 | 0 | -23 | 0 | -9.7 | 0 | 0 | -1
21:00 - 21:15 | -3 | 0 | 0 | 0 | 53.99 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | -1 | 0 | 0 | 0 | -9.7 | 0 | 0 | -1
21:15 - 21:30 | -3 | 0 | 0 | 0 | 51.63 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8 | -1 | 0 | 0 | 0 | -9.7 | 0 | 0 | -1
21:30 - 21:45 | -3 | 0 | -0.6 | 0 | 63.55 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -45 | 0 | -9.7 | 0 | 0 | -1
21:45 - 22:00 | -3 | 0 | -0.6 | 0 | 63.98 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -45 | 0 | -9.7 | 0 | 0 | -1
22:00 - 22:15 | -2 | 0 | -0.6 | 0 | 81.38 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -48 | 0 | -9.7 | 0 | 0 | -1
22:15 - 22:30 | -2 | 0 | -0.6 | 0 | 72.25 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -48 | 0 | -9.7 | 0 | 0 | -1
22:30 - 22:45 | -2 | 0 | 0 | 0 | 102.06 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -30 | 0 | -9.7 | 0 | 0 | -1
22:45 - 23:00 | -2 | 0 | 0 | 0 | 104.18 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -9.7 | 0 | 0 | -1
23:00 - 23:15 | -1 | 0 | 0 | -1.2 | 252.46 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -9.7 | 0 | 0 | -1
23:15 - 23:30 | -1 | 0 | 0 | -1.2 | 294.58 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -9.7 | 0 | 0 | -1
23:30 - 23:45 | -1 | 0 | 0 | -1.2 | 664.31 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -30 | 0 | -9.7 | 0 | 0 | -1
23:45 - 24:00 | -1 | 0 | 0 | -1.2 | 902.53 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | -9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -30 | 0 | -9.7 | 0 | 0 | -1
Average | -1.2083 | -0.36458 | -0.3 | -0.49167 | -161.1184 | 3.2095 | -2.9167 | -0.33854 | 0.60188 | -3.5208 | 3.0479 | -0.3125 | 1.6546 | -4.9583 | -0.037188 | 0.39125 | 2.928 | 7.1015 | 3.6896 | 0.92885 | 5.7159 | -2.6042 | 0.38583 | -4.1667 | -31.2917 | 16.0524 | -2.425 | -0.67604 | 11.9538 | -1.0208