## POWER STATUS
POWER STATUS ON DT 06.08.2026
[9 empty] | 2026-08-06 | 2026-08-05
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 5706.1842 | 6143
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 207.042 | 4.969 | 630/590 ft | 613.23 | 616.04 | 614.45 | 205.9096 | 208.876
| Chiplima | 72(3x24) | 52.875 | 1.269 | - |  |  |  | 57.9 | 51.565
| Balimela | 510(6x60+2x75) | 72.0417 | 1.729 | 1516/1440 ft | 1467.2 | 1460.1 | 1460.2 | 0 | 213.6381
| Rengali | 250(5x50) | 238.25 | 5.718 | 123.5/109.75 mt | 120.91 | 120.97 | 120.68 | 238.4495 | 238.3948
| Upper Kolab | 320(4x80) | 24.67 | 0.59208 | 858/844 mt | 852.19 | 849.96 | 849.98 | 0 | 76.8955
| Upper Indravati | 600(4x150) | 213.4583 | 5.123 | 642/625 mt | 634.3 | 633.29 | 633.29 | 52.0216 | 584.3605
| Machkund | 60(50% of(3x17+3x23)) |  | 0 | 2750/2685 ft | 2740.25 | NA | NA | 0 | 0
| Total Hydro | 2099.5 | 808.337 | 19.4001 |  |  |  |  | 554.2806 | 1373.7299
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1010.59 | 24.2542 | RENEWABLE ENERGY (RE) |  |  |  | 1611 | 1019
[5 empty] | M.Hydl | 111.598
| Total Thermal | 2200 | 1010.59 | 24.2542 | Solar | 102.8492 |  |  | 1611 | 1019
IPP | VEDANTA #2 | 600 (1x600) | 384.2039 | 9.2209 | Total IPPs | Yesterday's Demand Profile |  |  | 374.2188 | 472.3047
| GMR #3 | 350 (1x350) | 304.9637 | 7.3191 | 772.8832 |  | MW | HRS | 325.5409 | 325.2005
| NBVL(IPP) | 60(1x60) | 41.543 | 0.99703 |  |  |  |  | 34.4012 | 34.4012
| MDTPC |  | 42.1726 | 1.0121 |  |  |  |  | 30.4837 | 54.8852
| CGPs |  | 703.3972 | 16.8815 | IPPs, CGPs & RE | Maximum | 6143 | 20:00 | 1809.6275 | 1796
| Central Sector(Drawl) |  | 2223.517 | 53.3644 | 1690.7276 | Minimum | 5179 | 06:00 | 1731.2761 | 1954.9636
| Central Sector(Sch) |  | 2241.8317 | 53.804 |  | Average | 5733.1716 |  | 1960.04 | 2028.8
| Grand Total |  | 5733.1716 | 137.5961 | Instantaneous Peak demand |  | 6385 | 19:22 | 5706.1842 | 6143
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1682.8426 | 40.3882 | 1726.0043 | 41.4241 | 1641.5084 | 39.3962
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1849.3581 | 44.3846 | 1819.6242 | 43.671 | 1686.8952 | 40.4855
Rengali | NIL | TSTPP St-II | 3 | TPNODL | 1350.6906 | 32.4166 | 1294.4918 | 31.0678 | 1278.689 | 30.6885
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 624.3591 | 14.9846 | 628.3901 | 15.0814 | 611.8324 | 14.684
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5507.2504 | 132.174 | 5468.5104 | 131.2442 | 5218.925 | 125.2542
Machhkund | 02 to 06 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 374.2188 | GMR |  |  |  | 326
| NBVL #3 | 34 | MDTPC |  |  |  | 30
Mini Hydel: | MEENAKSHI | 36 | OPCL
| BTPL | 29 | SAPTADHARA |  |  |  | 10
Solar: |  | 102.85 | KAKATIYA |  |  |  | 5
CGPs : | JSPL (Angul) | 199.7532 | JSL(Duburi) |  |  |  | -81.3584
| ICCL | 34.1738 | visa |  |  |  | 10.6752
| NALCO | -149.1349 | VAL (CGP) |  |  |  | 202.9306
| RSP | -284.3924 | BSL(MMDL) |  |  |  | 77.2125
| INDAL | 3.731 | ADITYA ALUMINIUM |  |  |  | 22.0752
| NINL | -37.1065 | VAL CPP 400 kV |  |  |  | -453.9502
| NBVL | 6.7598 | Arati |  |  |  | 28.217
| BPSL(JSG) | -74.1867 | BPPL |  |  |  | 62.4011
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-29 | 2026-07-30 | 2026-07-31 | 2026-08-01 | 2026-08-02 | 2026-08-03 | 2026-08-04 | 2026-08-05
642.398 | 539.3666 | 546.2796 | 536.16 | 764.1335 | 782.56 | 827.1913 | 808.337
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.05.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | -10.15 | AARTISTEEL | CSEB_Beneficiary | -4.75 | AGE26AL_PSS6_KPS1_S | ODISHA | 112.47
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AP41PL_BHDL | ODISHA | 62.35
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -14.17 | AP43PL_BKN | ODISHA | 83.68
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -5.83 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 4.76
JPIPL | NPCL_UP | -14 | AECI11PL | STEELCAST2022 | -0.19 | AWEK1L | ODISHA | 12.89
JSPLANGUL | GEB_Beneficiary | -31.41 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 19.34
JSPLANGUL | RUVITSL | -26.42 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.43
MAADURGA_THERMAL | NPCL_UP | -17.1 | FACORPOWER | PSPCL | -14.17 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 37.94
NBVLIPP | TANGEDCO | -29 | FACORPOWER | PSPCL | -1.46 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 10.36
SGML | BALCO_LOAD | -3.33 | FACORPOWER | PSPCL | -5.83 | DADRI_SOLAR | ODISHA | 0.1
VSL | CR_IR_MS | -10 | FACORPOWER | PSPCL | -3.54 | ENERSON_SOLAR_10MW | ODISHA | 1.13
FARIDABAD_SOLAR | ODISHA | 0.86 | JSPLANGUL | RUVITSL | -64.17 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 61.5 | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.58 | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GADAG_GreenInfra_W | ODISHA | 0.65
RAJ_SOLAR | ODISHA | 2.51 | NBVLIPP | BSPHCL | -3.54 | GADAG_Serentica3_S | VLSEZ | 41.58
|  |  | NBVLIPP | BSPHCL | -14.38 | GADAG_Serentica3_W | VLSEZ | 65.11
|  |  | OCL_IRON_STEEL | BRPL | -12.4 | GIWEL_SECI_II_RE | ODISHA | 53.95
|  |  | OCL_IRON_STEEL | BRPL | -5.1 | GPCL_SOLAR_10 | ODISHA | 0.86
|  |  | OCL_IRON_STEEL | CSEB_Beneficiary | -35 | GSECL_SOLAR | ODISHA | 1.13
|  |  | ORSISL | PSPCL | -2.83 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.36
|  |  | ORSISL | PSPCL | -1.17 | KARUR_TPVARDHAMAN_W | TSKPO | 109.51
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | Shri_JSPL | TPLD | -1.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 2.32
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | NTPCRE1_SMND_BHJ2_W | ODISHA | 8.9
|  |  | VSL | WBSEDCL | -4.17 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 8.34
|  |  | JIPL | ODISHA | 115.55 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 18.78
|  |  | NALCOAP | NACL_Odisha | 21.81 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
|  |  | TSTPP_I | ODISHA | 20.41 | OKWPL_RE | ODISHA | 28.85
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 35.64
[6 empty] | RWE_AP2_SECI_III | ODISHA | 24.16
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 17.27
[6 empty] | SRI9PL_FTG3 | VLSEZ | 63.98
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.12
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.14
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 69.14
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 59.98

## DAM
DAM TRADING DETAILS FOR DT : 05.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -2.58 | 0 | 0 | -200 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
00:15 - 00:30 | -2.58 | 0 | 0 | -200 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
00:30 - 00:45 | -2.58 | 0 | 0 | -200 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
00:45 - 01:00 | -2.58 | 0 | 0 | -200 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
01:00 - 01:15 | -2.58 | 0 | 0 | -200 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
01:15 - 01:30 | -2.58 | 0 | 0 | -200 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
01:30 - 01:45 | -2.58 | 0 | 0 | -200 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
01:45 - 02:00 | -2.58 | 0 | 0 | -200 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
02:00 - 02:15 | -2.58 | 0 | 0 | -200 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
02:15 - 02:30 | -2.58 | 0 | 0 | -200 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
02:30 - 02:45 | -2.58 | 0 | 0 | -200 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
02:45 - 03:00 | -2.58 | 0 | 0 | -200 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
03:00 - 03:15 | -2.58 | 0 | 0 | -200 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
03:15 - 03:30 | -2.58 | 0 | 0 | -200 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
03:30 - 03:45 | -2.58 | 0 | 0 | -200 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
03:45 - 04:00 | -2.58 | 0 | 0 | -200 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
04:00 - 04:15 | -2.58 | 0 | 0 | -300 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
04:15 - 04:30 | -2.58 | 0 | 0 | -300 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
04:30 - 04:45 | -2.58 | 0 | 0 | -300 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
04:45 - 05:00 | -2.58 | 0 | 0 | -300 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
05:00 - 05:15 | -2.58 | 0 | 0 | -100 | 0 | -1.55 | 0 | -4.12 | -8.25 | -44.33 | 0 | 0
05:15 - 05:30 | -2.58 | 0 | 0 | -100 | 0 | -1.55 | 0 | -4.12 | -8.25 | -44.33 | 0 | 0
05:30 - 05:45 | -2.58 | 0 | 0 | -100 | 0 | -1.55 | 0 | -4.12 | -8.25 | -44.33 | 0 | 0
05:45 - 06:00 | -2.58 | 0 | 0 | -100 | 0 | -1.55 | 0 | -4.12 | -8.25 | -44.33 | 0 | 0
06:00 - 06:15 | -2.58 | 0 | 0 | -150 | 0 | -1.55 | 0 | -10.31 | -8.25 | -44.33 | 0 | -6.19
06:15 - 06:30 | -2.58 | 0 | 0 | -150 | 0 | -1.55 | 0 | -10.31 | -8.25 | -44.33 | 0 | -6.19
06:30 - 06:45 | -2.58 | 0 | 0 | -150 | 0 | -1.55 | 0 | -10.31 | -8.25 | -44.33 | 0 | -6.19
06:45 - 07:00 | -2.58 | 0 | 0 | -150 | 0 | -1.55 | 0 | -10.31 | -8.25 | -44.33 | 0 | -6.19
07:00 - 07:15 | -2.58 | 0 | 0 | -225 | 0 | -1.55 | 0 | -10.31 | -8.25 | -44.33 | 0 | -6.19
07:15 - 07:30 | -2.58 | 0 | 0 | -225 | 0 | -1.55 | 0 | -10.31 | -8.25 | -44.33 | 0 | -6.19
07:30 - 07:45 | -2.58 | 0 | 0 | -225 | 0 | -1.55 | 0 | -10.31 | -8.25 | -44.33 | 0 | -6.19
07:45 - 08:00 | -2.58 | 0 | 0 | -225 | 0 | -1.55 | 0 | -10.31 | -8.25 | -44.33 | 0 | -6.19
08:00 - 08:15 | -2.58 | 14.95 | 0 | -550 | 0 | -1.55 | 0 | -4.12 | -3.09 | -44.33 | 0 | -6.19
08:15 - 08:30 | -2.58 | 14.95 | 0 | -550 | 0 | -1.55 | 0 | -4.12 | -3.09 | -44.33 | 7.47 | -6.19
08:30 - 08:45 | -2.58 | 14.95 | 0 | -526.72 | 0 | -1.55 | 0 | -4.12 | -3.09 | -44.33 | 7.47 | -6.19
08:45 - 09:00 | -2.58 | 14.95 | 0 | -496.82 | 0 | -1.55 | 0 | -4.12 | -3.09 | -44.33 | 7.47 | -6.19
09:00 - 09:15 | -2.58 | 14.95 | 0 | -650 | 0 | -1.55 | 9.34 | -4.12 | -3.09 | -18.56 | 4.02 | -6.19
09:15 - 09:30 | -2.58 | 14.95 | 0 | -650 | 28.01 | -1.55 | 9.34 | -4.12 | -3.09 | -18.56 | 0 | -6.19
09:30 - 09:45 | -2.58 | 14.95 | 0 | -650 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | -6.19
09:45 - 10:00 | -2.58 | 14.95 | 0 | -409.95 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | -6.19
10:00 - 10:15 | -2.58 | 14.95 | 0 | -280.73 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
10:15 - 10:30 | -2.58 | 14.95 | 0 | -262.65 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
10:30 - 10:45 | -2.58 | 14.95 | 0 | 0 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
10:45 - 11:00 | -2.58 | 14.95 | 0 | 0 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
11:00 - 11:15 | -2.58 | 14.95 | 0 | 0 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
11:15 - 11:30 | -2.58 | 14.95 | 0 | 0 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
11:30 - 11:45 | -2.58 | 14.95 | 0 | 0 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
11:45 - 12:00 | -2.58 | 14.95 | 0 | 0 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
12:00 - 12:15 | -2.58 | 14.95 | 0 | 0 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
12:15 - 12:30 | -2.58 | 14.95 | 0 | 0 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
12:30 - 12:45 | -2.58 | 14.95 | 0 | 0 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
12:45 - 13:00 | -2.58 | 14.95 | 0 | 0 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
13:00 - 13:15 | -2.58 | 14.95 | 0 | 194.55 | 28.02 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
13:15 - 13:30 | -2.58 | 14.95 | 0 | 0 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
13:30 - 13:45 | -2.58 | 14.95 | 0 | 0 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
13:45 - 14:00 | -2.58 | 14.95 | 0 | 0 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
14:00 - 14:15 | -2.58 | 14.95 | 0 | 0 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
14:15 - 14:30 | -2.58 | 14.95 | 0 | -301.4 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
14:30 - 14:45 | -2.58 | 14.95 | 0 | -347.62 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | 0
14:45 - 15:00 | -2.58 | 14.95 | 0 | -420.14 | 28.01 | -1.55 | 0 | -4.12 | -3.09 | -18.56 | 0 | -6.19
15:00 - 15:15 | -2.58 | 14.95 | 0 | -492.16 | 28.01 | -1.55 | 2.52 | -4.12 | -3.09 | -18.56 | 0 | -6.19
15:15 - 15:30 | -2.58 | 14.95 | 0 | -600 | 28.01 | -1.55 | 9.34 | -4.12 | -3.09 | -18.56 | 0 | -6.19
15:30 - 15:45 | -2.58 | 14.95 | 0 | -600 | 0 | -1.55 | 9.34 | -4.12 | -3.09 | -18.56 | 0 | -6.19
15:45 - 16:00 | -2.58 | 14.95 | 0 | -600 | 0 | -1.55 | 9.34 | -4.12 | -3.09 | -18.56 | 7.47 | -6.19
16:00 - 16:15 | -2.58 | 14.95 | 0 | -755.25 | 0 | -1.55 | 0 | -4.12 | -3.09 | -44.33 | 0 | -6.19
16:15 - 16:30 | -2.58 | 14.95 | 0 | -774.99 | 0 | -1.55 | 0 | -4.12 | -3.09 | -44.33 | 7.47 | -6.19
16:30 - 16:45 | -2.58 | 14.95 | 0 | -850 | 0 | -1.55 | 0 | -4.12 | -3.09 | -44.33 | 7.47 | -6.19
16:45 - 17:00 | -2.58 | 14.95 | 0 | -850 | 0 | -1.55 | 0 | -4.12 | -3.09 | -44.33 | 7.47 | -6.19
17:00 - 17:15 | -2.58 | 0 | 0 | -675 | 0 | -1.34 | 0 | -5.15 | -8.25 | -44.33 | 7.47 | -6.19
17:15 - 17:30 | -2.58 | 0 | 0 | -675 | 0 | -1.34 | 0 | -5.15 | -8.25 | -44.33 | 7.47 | -6.19
17:30 - 17:45 | -2.58 | 0 | 0 | -675 | 0 | -1.34 | 0 | -5.15 | -8.25 | -44.33 | 0 | -6.19
17:45 - 18:00 | -2.58 | 0 | 0 | -675 | 0 | -1.34 | 0 | -5.15 | -8.25 | -44.33 | 0 | -6.19
18:00 - 18:15 | -2.58 | 0 | 0 | -350 | 0 | -1.34 | 0 | -4.12 | -8.25 | -44.33 | 7.47 | 0
18:15 - 18:30 | -2.58 | 0 | 0 | -350 | 0 | -1.34 | 0 | -4.12 | -8.25 | -44.33 | 0 | 0
18:30 - 18:45 | -2.58 | 0 | -13.4 | -350 | 0 | -1.34 | 0 | -4.12 | -8.25 | -44.33 | 0 | 0
18:45 - 19:00 | -2.58 | 0 | -13.4 | -350 | 0 | -1.34 | 0 | -4.12 | -8.25 | -44.33 | 0 | 0
19:00 - 19:15 | -2.58 | 0 | -13.4 | 0 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
19:15 - 19:30 | -2.58 | 0 | -13.4 | 0 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
19:30 - 19:45 | -2.58 | 0 | -13.4 | 0 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
19:45 - 20:00 | -2.58 | 0 | -13.4 | 0 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
20:00 - 20:15 | -2.58 | 0 | -13.4 | 0 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
20:15 - 20:30 | -2.58 | 0 | -13.4 | 0 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
20:30 - 20:45 | -2.58 | 0 | -13.4 | 0 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
20:45 - 21:00 | -2.58 | 0 | -13.4 | 0 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
21:00 - 21:15 | -2.58 | 0 | -13.4 | 0 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
21:15 - 21:30 | -2.58 | 0 | -13.4 | 0 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
21:30 - 21:45 | -2.58 | 0 | -13.4 | 0 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
21:45 - 22:00 | -2.58 | 0 | -13.4 | 0 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
22:00 - 22:15 | -2.58 | 0 | -13.4 | 0 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
22:15 - 22:30 | -2.58 | 0 | -13.4 | 0 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
22:30 - 22:45 | -2.58 | 0 | -13.4 | 0 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
22:45 - 23:00 | -2.58 | 0 | -13.4 | 0 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
23:00 - 23:15 | -2.58 | 0 | -13.4 | -50 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
23:15 - 23:30 | -2.58 | 0 | -13.4 | -50 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
23:30 - 23:45 | -2.58 | 0 | -13.4 | -50 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
23:45 - 24:00 | -2.58 | 0 | -13.4 | -50 | 0 | -1.34 | 0 | -4.12 | -8.25 | 0 | 0 | 0
Average | -2.58 | 5.6062 | -3.0708 | -229.4154 | 7.2944 | -1.445 | 0.51271 | -4.6788 | -6.315 | -18.3429 | 0.82 | -1.8699

## GDAM
GDAM TRADING DETAILS FOR DT:05.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | -0.21 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | -0.72 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | -1.44 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | -2.78 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | -4.23 | 46.71 | 0 | 0 | 0 | 0
08:15 - 08:30 | -0.82 | -6.7 | 46.71 | 0 | 0 | 0 | 0
08:30 - 08:45 | -3.09 | -6.8 | 46.71 | 0 | 0 | 0 | 0
08:45 - 09:00 | -3.4 | -7.63 | 46.7 | 0 | 6.07 | 0 | 0
09:00 - 09:15 | -5.98 | -8.76 | 46.71 | 0 | 6.07 | 3.42 | 0
09:15 - 09:30 | -3.61 | -11.24 | 46.71 | 0 | 6.07 | 7.47 | 0
09:30 - 09:45 | -9.28 | -9.38 | 46.71 | 9.34 | 6.07 | 7.47 | 0
09:45 - 10:00 | -8.76 | -12.16 | 46.71 | 9.34 | 6.07 | 7.47 | 0
10:00 - 10:15 | -7.53 | -14.74 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
10:15 - 10:30 | -8.76 | -17.53 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
10:30 - 10:45 | -9.79 | -18.35 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
10:45 - 11:00 | -11.96 | -18.56 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
11:00 - 11:15 | -14.95 | -14.33 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
11:15 - 11:30 | -12.68 | -18.56 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
11:30 - 11:45 | -14.95 | -15.05 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
11:45 - 12:00 | -13.51 | -16.7 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
12:00 - 12:15 | -14.95 | -19.07 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
12:15 - 12:30 | -14.64 | -16.91 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
12:30 - 12:45 | -10.52 | -18.14 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
12:45 - 13:00 | -12.06 | -16.91 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
13:00 - 13:15 | -13.81 | -17.63 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
13:15 - 13:30 | -14.23 | -20 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
13:30 - 13:45 | -11.55 | -17.22 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
13:45 - 14:00 | -13.09 | -15.46 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
14:00 - 14:15 | -11.65 | -12.68 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
14:15 - 14:30 | -11.13 | -16.8 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
14:30 - 14:45 | -8.04 | -12.37 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
14:45 - 15:00 | -8.14 | -8.14 | 46.71 | 9.34 | 6.07 | 7.47 | 3.73
15:00 - 15:15 | -10.1 | -9.48 | 46.71 | 6.76 | 6.07 | 7.47 | 0
15:15 - 15:30 | -8.25 | -11.96 | 46.71 | 0 | 6.07 | 7.47 | 0
15:30 - 15:45 | -4.85 | -12.37 | 46.71 | 0 | 6.07 | 7.47 | 0
15:45 - 16:00 | -5.36 | -9.18 | 46.7 | 0 | 6.07 | 0 | 0
16:00 - 16:15 | -2.99 | -4.74 | 28.02 | 0 | 6.07 | 7.47 | 0
16:15 - 16:30 | 0 | -4.12 | 28.02 | 0 | 6.07 | 0 | 0
16:30 - 16:45 | 0 | -1.03 | 28.02 | 0 | 6.07 | 0 | 0
16:45 - 17:00 | 0 | 0 | 28.02 | 0 | 6.07 | 0 | 0
17:00 - 17:15 | 0 | 0 | 28.02 | 0 | 6.07 | 0 | 0
17:15 - 17:30 | 0 | 0 | 28.02 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 28.02 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 28.02 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -3.1711 | -4.6883 | 17.9048 | 2.2108 | 2.1498 | 2.1366 | 0.77708

## RTM
RTM TRADING DETAILS FOR DT: 05.08.2026
Time Period | Aarti_Steel_Ltd_NPT | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Aarti_Steel_Ltd_NPT | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Power_Plant_Athagarh | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | 0 | 0 | -0.4 | -1.2 | -200 | 0 | 0 | -0.41 | -1.24 | -200 | 0 | -72.16 | 0 | 0 | -6.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -87.63 | 0 | 0 | 0 | 25.45 | 0
00:15 - 00:30 | -2 | 0 | -0.4 | -1.2 | -300 | -2.06 | 0 | -0.41 | -1.24 | -300 | 0 | -72.16 | 0 | 0 | -6.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -61.86 | 0 | 0 | 0 | 28.66 | 0
00:30 - 00:45 | 0 | 0 | -0.4 | -1.2 | -300 | 0 | 0 | -0.41 | -1.24 | -300 | 0 | -72.16 | 0 | 0 | -6.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 60.14 | 0
00:45 - 01:00 | 0 | 0 | -0.4 | -1.2 | -300 | 0 | 0 | -0.41 | -1.24 | -300 | 0 | -72.16 | 0 | 0 | -6.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 76.04 | 0
01:00 - 01:15 | 0 | 0 | -0.4 | -1.2 | -9.4 | 0 | 0 | -0.41 | -1.24 | -9.4 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | -1.03 | 0 | -25.77 | 0 | 0 | 0 | 93.4 | 0
01:15 - 01:30 | 0 | 0 | -0.4 | -1.2 | 0 | 0 | 0 | -0.41 | -1.24 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | -1.03 | 0 | 0 | 0 | 0 | 0 | 93.4 | 0
01:30 - 01:45 | 0 | 0 | -0.2 | 0 | -69.03 | 0 | 0 | -0.21 | 0 | -69.03 | 0 | 0 | 0 | 9.34 | -6.19 | 0 | 0 | 14.01 | -1.03 | 0.38 | 6.07 | 11.2 | 14.01 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 32.69 | 0 | 0 | 66.32 | 0
01:45 - 02:00 | 0 | 0 | -0.2 | 0 | -76.69 | 0 | 0 | -0.21 | 0 | -76.69 | 0 | 0 | 0 | 9.34 | -6.19 | 0 | 0 | 14.01 | -1.03 | 0 | 6.07 | 11.2 | 14.01 | 0 | 0 | 0 | -4.12 | 0 | 0 | -30.93 | 32.69 | 0 | 0 | 66.33 | 0
02:00 - 02:15 | 0 | 0 | -0.2 | -1.3 | -117.52 | 0 | 0 | -0.21 | -1.34 | -117.52 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -82.47 | 0 | 0 | 0 | 66.32 | 0
02:15 - 02:30 | 0 | 0 | -0.2 | -1.3 | -120.58 | 0 | 0 | -0.21 | -1.34 | -120.58 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -20.62 | 0 | 0 | 0 | 66.32 | 0
02:30 - 02:45 | 0 | 0 | -0.4 | -1.3 | -123.76 | 0 | 0 | -0.41 | -1.34 | -123.76 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 66.32 | 0
02:45 - 03:00 | 0 | 0 | -0.4 | -1.3 | -123.77 | 0 | 0 | -0.41 | -1.34 | -123.77 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 66.32 | 0
03:00 - 03:15 | 0 | 0 | -0.4 | -1.2 | -115 | 0 | 0 | -0.41 | -1.24 | -115 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | 0 | 0 | 0 | 0 | 66.32 | 0
03:15 - 03:30 | 0 | 0 | -0.4 | -1.2 | -110.01 | 0 | 0 | -0.41 | -1.24 | -110.01 | 5.61 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | 0 | 0 | 0 | 0 | 66.31 | 0
03:30 - 03:45 | 0 | 0 | -0.4 | -1.2 | -112.52 | 0 | 0 | -0.41 | -1.24 | -112.52 | 1.01 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -10.31 | -72.16 | 0 | 0 | 0 | 66.32 | 0
03:45 - 04:00 | 0 | 0 | -0.4 | -1.2 | -111.07 | 0 | 0 | -0.41 | -1.24 | -111.07 | 5.61 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -10.31 | -20.62 | 0 | 0 | 0 | 66.31 | 0
04:00 - 04:15 | 0 | 0 | -0.4 | -1.2 | -162.75 | 0 | 0 | -0.41 | -1.24 | -162.75 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -10.31 | 0 | 0 | 0 | 0 | 46.71 | 0
04:15 - 04:30 | 0 | 0 | -0.4 | -1.2 | -166.25 | 0 | 0 | -0.41 | -1.24 | -166.25 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -10.31 | -77.32 | 0 | 0 | 0 | 26.15 | 0
04:30 - 04:45 | 0 | 0 | -0.4 | -1.2 | -165.75 | 0 | 0 | -0.41 | -1.24 | -165.75 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 7.47 | 0 | 0 | -3.09 | 0 | -10.31 | -82.47 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | -0.4 | -1.2 | -172.23 | 0 | 0 | -0.41 | -1.24 | -172.23 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 7.47 | 0 | 0 | -3.09 | 0 | -10.31 | -15.46 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | -0.4 | -1.3 | -149.9 | 0 | 0 | -0.41 | -1.34 | -149.9 | 4.67 | 0 | 0 | 0 | -6.19 | 0 | 0 | 14.01 | -1.03 | 0 | 0 | 11.2 | 0 | 7.47 | 0 | 0 | -3.09 | 0 | -10.31 | 0 | 18.69 | 0 | 0 | 0 | -10.31
05:15 - 05:30 | 0 | 0 | -0.4 | -1.3 | -165.75 | 0 | 0 | -0.41 | -1.34 | -165.75 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 7.47 | 0 | 0 | -3.09 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | -10.31
05:30 - 05:45 | 0 | 0 | -0.8 | -1.3 | -208.33 | 0 | 0 | -0.82 | -1.34 | -208.33 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | -10.31
05:45 - 06:00 | 0 | 0 | -0.8 | -1.3 | -212.52 | 0 | 0 | -0.82 | -1.34 | -212.52 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -10.31 | -20.62 | 0 | 0 | 0 | 0 | -10.31
06:00 - 06:15 | 0 | 0 | -0.8 | -1.3 | -216.67 | 0 | 0 | -0.82 | -1.34 | -216.67 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -10.31 | -10.31 | 0 | 0 | 0 | 0 | -10.31
06:15 - 06:30 | 0 | 0 | -0.8 | -1.3 | -225.09 | 0 | 0 | -0.82 | -1.34 | -225.09 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | -0.21 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -10.31 | -72.16 | 0 | 0 | 0 | 0 | -10.31
06:30 - 06:45 | -11 | 0 | -0.8 | -1.3 | -216.67 | -11.34 | 0 | -0.82 | -1.34 | -216.67 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | -0.52 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -10.31 | -15.46 | 0 | 0 | 0 | 0 | -10.31
06:45 - 07:00 | 0 | 0 | -0.8 | -1.3 | -209.49 | 0 | 0 | -0.82 | -1.34 | -209.49 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | -0.62 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | -10.31
07:00 - 07:15 | 0 | 0 | -0.4 | -1.3 | -100.61 | 0 | 0 | -0.41 | -1.34 | -100.61 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | -0.82 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -10.31 | -41.24 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | -0.4 | -1.3 | -94.47 | 0 | 0 | -0.41 | -1.34 | -94.47 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -1.03 | -1.13 | 0 | 0 | 0 | 7.47 | 0 | 0 | -3.09 | 0 | -10.31 | -30.93 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | -0.4 | -1.3 | -0.61 | 0 | 0 | -0.41 | -1.34 | -0.61 | 4.67 | 0 | 0 | 0 | -6.19 | 0 | 0 | 14.01 | -1.03 | -1.34 | 0 | 11.2 | 0 | 7.47 | 0 | 0 | -3.09 | 0 | -10.31 | 0 | 18.69 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | -0.4 | -1.3 | -41.96 | 0 | 0 | -0.41 | -1.34 | -41.96 | 4.67 | 0 | 0 | 0 | -6.19 | 0 | 0 | 14.01 | -1.03 | -1.65 | 6.07 | 11.2 | 14.01 | 7.47 | 0 | 14.01 | -3.09 | 0 | -10.31 | 0 | 18.7 | 0 | 0 | 0 | 0
08:00 - 08:15 | -11 | 0 | -0.4 | 0 | 104.87 | -11.34 | 0 | -0.41 | 0 | 104.87 | 5.61 | 0 | -0.21 | 0 | 0 | 7.47 | 0 | 0 | -1.03 | -1.96 | 6.07 | 11.2 | 18.68 | 7.47 | 2.34 | 14.01 | -4.12 | 0 | -5.15 | -92.78 | 9.34 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | -0.4 | 0 | 104.91 | 0 | 0 | -0.41 | 0 | 104.91 | 5.61 | 0 | -0.21 | 0 | 0 | 7.47 | 0 | 0 | -1.03 | -2.27 | 6.07 | 11.2 | 18.68 | 7.47 | 2.34 | 14.01 | -4.12 | 0 | -5.15 | -51.55 | 9.34 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | -2.6 | -0.4 | 0 | 0 | 0 | -2.68 | -0.41 | 0 | 0 | 5.61 | 0 | -0.21 | 0 | 0 | 7.47 | 0 | 0 | -1.03 | -2.58 | 6.07 | 11.2 | 18.69 | 7.47 | 2.34 | 14.01 | -4.12 | 0 | -5.15 | -92.78 | 14.01 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | -4.5 | -0.4 | 0 | -45.57 | 0 | -4.64 | -0.41 | 0 | -45.57 | 5.61 | 0 | -0.21 | 0 | 0 | 7.47 | 0 | 0 | -1.03 | -2.89 | 0 | 11.2 | 18.69 | 7.47 | 2.34 | 14.01 | -4.12 | 0 | -5.15 | -51.55 | 14.01 | 0 | 0 | 0 | 0
09:00 - 09:15 | 0 | 0 | -0.4 | 0 | -184.47 | 0 | 0 | -0.41 | 0 | -184.47 | 6.54 | 0 | -0.52 | 9.34 | 0 | 7.47 | 0 | 0 | -1.03 | -3.2 | 0 | 3.73 | 18.69 | 7.47 | 2.34 | 14.01 | -4.12 | 0 | -5.15 | -30.93 | 14.01 | 0 | 0 | 0 | 0
09:15 - 09:30 | 0 | 0 | -0.4 | 0 | -174.9 | 0 | 0 | -0.41 | 0 | -174.9 | 6.54 | 0 | -0.41 | 9.34 | 0 | 7.47 | 0 | 0 | -1.03 | -3.81 | 0 | 5.61 | 18.69 | 7.47 | 2.34 | 14.01 | -4.12 | 0 | -5.15 | -92.78 | 14.01 | 0 | 0 | 0 | 0
09:30 - 09:45 | -15 | 0 | -0.4 | 0 | -151.93 | -15.46 | 0 | -0.41 | 0 | -151.93 | 6.54 | 0 | -1.96 | 0 | 0 | 7.47 | 0 | 0 | -1.03 | -3.92 | 0 | 3.73 | 0 | 7.47 | 2.34 | 14.02 | -4.12 | 0 | -5.15 | -30.93 | 0 | 0 | 0 | 0 | 0
09:45 - 10:00 | 0 | 0 | -0.4 | 0 | -150.67 | 0 | 0 | -0.41 | 0 | -150.67 | 6.54 | 0 | -2.06 | 0 | 0 | 7.47 | 0 | 0 | -1.03 | -1.34 | 0 | 3.73 | 18.68 | 7.47 | 2.34 | 14.01 | -4.12 | 0 | -5.15 | -20.62 | 28.02 | 0 | 0 | 0 | 0
10:00 - 10:15 | 0 | 0 | -0.4 | 0 | -127.77 | 0 | 0 | -0.41 | 0 | -127.77 | 7.47 | 0 | -2.06 | 0 | 0 | 7.47 | -15.46 | 0 | -1.03 | 3.73 | 0 | 3.73 | 18.68 | 7.47 | 2.34 | 14.01 | -2.06 | 18.68 | -5.15 | -10.31 | 60.72 | 0 | 0 | 0 | 0
10:15 - 10:30 | 0 | 0 | -0.4 | 0 | -328.46 | 0 | 0 | -0.41 | 0 | -328.46 | 7.47 | 0 | -2.06 | 0 | 0 | 7.47 | 0 | 0 | -1.03 | 3.83 | 0 | 3.73 | 18.68 | 7.47 | 2.34 | 14.01 | -2.06 | 18.68 | -5.15 | -51.55 | 60.71 | 0 | 0 | 0 | 0
10:30 - 10:45 | 0 | -2 | -0.2 | 0 | -450.12 | 0 | -2.06 | -0.21 | 0 | -450.12 | 7.47 | 0 | -2.06 | 0 | 0 | 7.47 | 0 | 0 | -1.03 | 0 | 0 | 3.73 | 18.68 | 7.47 | 2.34 | 14.01 | -4.12 | 18.68 | -5.15 | 0 | 60.72 | 0 | 0 | 0 | 0
10:45 - 11:00 | 0 | -1.5 | -0.2 | 0 | -498.77 | 0 | -1.55 | -0.21 | 0 | -498.77 | 7.47 | 0 | -2.16 | 0 | 0 | 7.47 | 0 | 0 | -1.03 | 0 | 0 | 3.73 | 18.68 | 7.47 | 2.34 | 14.01 | -4.12 | 18.68 | -5.15 | 0 | 60.72 | 0 | -6.19 | 0 | 0
11:00 - 11:15 | -7 | 0 | 0 | 0 | -548.76 | -7.22 | 0 | 0 | 0 | -548.76 | 7.47 | 0 | -2.27 | 0 | 0 | 7.47 | 0 | 0 | -1.03 | 0 | 0 | 3.73 | 18.68 | 7.47 | 2.34 | 14.01 | -4.12 | 0 | -5.15 | -61.86 | 60.72 | 0 | -6.19 | 0 | 0
11:15 - 11:30 | -5 | -2.9 | 0 | 0 | -596.2 | -5.15 | -2.99 | 0 | 0 | -596.2 | 7.47 | 0 | -2.06 | 0 | 0 | 7.47 | 0 | 0 | -1.03 | 0 | 0 | 3.73 | 18.68 | 7.47 | 2.34 | 14.01 | -4.12 | 0 | -5.15 | -51.55 | 60.72 | 0 | -6.19 | 0 | 0
11:30 - 11:45 | 0 | 0 | 0 | 0 | -579.53 | 0 | 0 | 0 | 0 | -579.53 | 7.47 | 0 | -1.75 | 0 | 0 | 7.47 | 0 | 0 | -1.03 | 3.65 | 0 | 3.73 | 18.68 | 7.47 | 2.34 | 14.01 | -4.12 | 0 | -5.15 | 0 | 60.71 | 0 | -6.19 | 0 | 0
11:45 - 12:00 | 0 | 0 | 0 | 0 | -595.02 | 0 | 0 | 0 | 0 | -595.02 | 7.47 | 0 | -1.75 | 0 | 0 | 7.47 | 0 | 0 | -1.03 | 0 | 0 | 3.73 | 18.68 | 7.47 | 2.34 | 14.01 | -4.12 | 0 | -5.15 | 0 | 60.72 | 0 | -6.19 | 0 | 0
12:00 - 12:15 | 0 | -2.9 | -0.4 | 0 | -620.89 | 0 | -2.99 | -0.41 | 0 | -620.89 | 7.47 | 0 | -1.44 | 0 | 0 | 7.47 | 0 | 0 | -9.28 | 3.92 | 0 | 5.61 | 18.68 | 7.47 | 2.34 | 14.01 | -4.12 | 0 | -5.15 | 0 | 60.72 | 0 | -6.19 | 0 | 0
12:15 - 12:30 | 0 | -0.8 | -0.4 | 0 | -627.48 | 0 | -0.82 | -0.41 | 0 | -627.48 | 7.47 | 0 | -1.44 | 0 | 0 | 7.47 | 0 | 0 | -9.28 | 4.11 | 0 | 3.73 | 18.68 | 7.47 | 2.34 | 14.01 | -4.12 | 0 | -5.15 | 0 | 60.72 | 0 | -6.19 | 0 | 0
12:30 - 12:45 | 0 | 0 | -0.2 | 0 | -619.91 | 0 | 0 | -0.21 | 0 | -619.91 | 7.47 | 0 | -1.55 | 0 | 0 | 7.47 | 0 | 0 | -9.28 | 4.2 | 0 | 5.61 | 18.68 | 7.47 | 2.34 | 14.01 | -2.06 | 0 | -5.15 | 0 | 65.39 | 0 | -6.19 | 0 | 0
12:45 - 13:00 | 0 | -0.5 | -0.2 | 0 | -604.98 | 0 | -0.52 | -0.21 | 0 | -604.98 | 7.47 | 0 | -1.44 | 0 | 0 | 7.47 | 0 | 0 | -9.28 | 4.58 | 0 | 5.61 | 18.68 | 7.47 | 2.34 | 14.01 | -2.06 | 0 | -5.15 | 0 | 65.39 | 0 | -5.05 | 0 | 0
13:00 - 13:15 | -12 | -0.2 | -0.4 | 0 | -862.54 | -12.37 | -0.21 | -0.41 | 0 | -862.54 | 7.47 | 0 | -1.44 | 0 | 0 | 7.47 | 0 | 0 | -9.28 | 4.58 | 0 | 5.61 | 20.54 | 7.47 | 2.34 | 14.01 | -2.06 | 0 | -5.15 | 0 | 60.72 | 0 | 0 | 0 | 0
13:15 - 13:30 | 0 | -0.9 | -0.4 | 0 | -775.57 | 0 | -0.93 | -0.41 | 0 | -775.57 | 7.47 | 0 | -1.34 | 0 | 0 | 7.47 | 0 | 0 | -9.28 | 4.67 | 0 | 5.61 | 20.54 | 7.47 | 2.34 | 14.01 | -2.06 | 0 | -5.15 | 0 | 60.72 | 0 | 0 | 0 | 0
13:30 - 13:45 | 0 | 0 | -0.4 | 0 | -679.68 | 0 | 0 | -0.41 | 0 | -679.68 | 7.47 | 0 | -0.82 | 0 | 0 | 7.47 | 0 | 0 | -9.28 | 4.76 | 0 | 5.61 | 20.54 | 7.47 | 2.34 | 14.01 | -2.06 | 0 | -5.15 | -82.47 | 42.04 | 0 | 0 | 0 | 0
13:45 - 14:00 | 0 | 0 | -0.4 | 0 | -715.95 | 0 | 0 | -0.41 | 0 | -715.95 | 7.47 | 0 | -0.82 | 0 | 0 | 7.47 | 0 | 0 | -9.28 | 4.76 | 0 | 3.73 | 20.54 | 7.47 | 2.34 | 14.01 | -2.06 | 0 | -5.15 | -82.47 | 42.05 | 0 | -6.19 | 0 | 0
14:00 - 14:15 | 0 | -0.5 | -0.4 | 0 | -722.76 | 0 | -0.52 | -0.41 | 0 | -722.76 | 7.47 | 0 | 0 | 0 | 0 | 7.47 | 0 | 0 | -9.28 | -0.41 | 0 | 3.73 | 14.01 | 7.47 | 2.34 | 14.01 | 0 | 0 | -5.15 | -82.47 | 32.71 | 0 | -6.19 | 0 | 0
14:15 - 14:30 | 0 | -3.5 | -0.4 | 0 | -734.21 | 0 | -3.61 | -0.41 | 0 | -734.21 | 7.47 | 0 | 0 | 0 | 0 | 7.47 | 0 | 0 | -9.28 | -3.09 | 0 | 3.73 | 14.01 | 7.47 | 2.34 | 14.01 | 0 | 0 | -5.15 | -82.47 | 32.71 | 0 | 0 | 0 | 0
14:30 - 14:45 | -5 | 0 | -0.4 | 0 | -500.89 | -5.15 | 0 | -0.41 | 0 | -500.89 | 7.47 | 0 | 0 | 0 | 0 | 7.47 | 0 | 0 | -9.28 | -3.09 | 0 | 3.73 | 14.01 | 7.47 | 2.34 | 14.01 | -2.06 | -1.03 | -5.15 | -41.24 | 28.03 | 0 | 0 | 0 | 0
14:45 - 15:00 | 0 | 0 | -0.4 | 0 | -692.41 | 0 | 0 | -0.41 | 0 | -692.41 | 7.47 | 0 | -0.31 | 0 | 0 | 7.47 | 0 | 0 | -9.28 | -2.99 | 0 | 3.73 | 14.01 | 7.47 | 2.34 | 14.01 | -2.06 | -1.03 | -5.15 | 0 | 28.03 | 0 | 0 | 0 | 0
15:00 - 15:15 | 0 | -0.7 | -0.4 | 0 | -755.71 | 0 | -0.72 | -0.41 | 0 | -755.71 | 7.47 | 0 | -0.31 | 0 | 0 | 7.47 | 0 | 0 | -9.28 | -2.68 | 0 | 5.61 | 14.01 | 7.47 | 2.34 | 14.01 | -2.06 | -1.03 | -5.15 | -41.24 | 18.69 | 0 | 0 | 0 | 0
15:15 - 15:30 | 0 | -3.3 | -0.4 | 0 | -727.48 | 0 | -3.4 | -0.41 | 0 | -727.48 | 7.47 | 0 | -0.1 | 9.34 | 0 | 7.47 | 0 | 0 | -9.28 | -2.47 | 0 | 3.73 | 14.01 | 7.47 | 2.34 | 14.01 | -2.06 | -1.03 | -5.15 | -41.24 | 18.69 | 0 | 0 | 0 | 0
15:30 - 15:45 | 0 | -3.6 | -0.4 | 0 | -360.17 | 0 | -3.71 | -0.41 | 0 | -360.17 | 7.47 | 0 | -0.1 | 9.34 | 0 | 7.47 | 0 | 0 | -9.28 | -2.27 | 0 | 3.73 | 14.01 | 7.47 | 2.34 | 14.01 | -2.06 | -1.03 | -5.15 | -41.24 | 18.69 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | -2.7 | -0.4 | 0 | -496.65 | 0 | -2.78 | -0.41 | 0 | -496.65 | 7.47 | 0 | -0.1 | 0 | 0 | 7.47 | -15.46 | 0 | -9.28 | -2.16 | 0 | 3.73 | 14.01 | 7.47 | 2.34 | 14.01 | -2.06 | -1.03 | -5.15 | -10.31 | 18.69 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | -1 | -0.4 | 0 | -561.64 | 0 | -1.03 | -0.41 | 0 | -561.64 | 7.47 | 0 | -0.1 | 0 | 0 | 7.47 | 0 | 14.01 | -9.28 | -1.65 | 0 | 3.73 | 14.01 | 7.47 | 2.34 | 14.01 | 0 | -1.03 | -5.15 | -41.24 | 18.7 | 0 | 0 | 0 | 0
16:15 - 16:30 | -11 | -0.9 | -0.4 | 0 | -564.04 | -11.34 | -0.93 | -0.41 | 0 | -564.04 | 7.47 | 0 | 0 | 0 | 0 | 7.47 | 0 | 14.01 | -9.28 | -1.44 | 0 | 3.73 | 14.01 | 7.47 | 2.34 | 14.01 | 0 | -1.03 | -5.15 | -20.62 | 18.7 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | -0.4 | 0 | -562.54 | 0 | 0 | -0.41 | 0 | -562.54 | 7.47 | 0 | -0.1 | 0 | 0 | 7.47 | 0 | 14.01 | -9.28 | -1.34 | 0 | 11.2 | 14.01 | 7.47 | 2.34 | 14.01 | 0 | -1.03 | -5.15 | -74.23 | 18.7 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | -0.4 | 0 | -564.05 | 0 | 0 | -0.41 | 0 | -564.05 | 7.47 | 0 | -0.1 | 0 | 0 | 7.47 | 0 | 14.01 | -9.28 | -0.93 | 0 | 11.2 | 14.01 | 7.47 | 2.34 | 14.01 | 0 | -1.03 | -5.15 | -74.23 | 18.7 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 221.59 | 0 | 0 | 0 | 0 | 221.59 | 7.47 | 0 | 0 | 0 | 0 | 7.47 | 0 | 14.01 | -9.28 | -0.62 | 0 | 11.2 | 14.01 | 7.47 | 2.34 | 14.01 | 0 | -1.03 | -5.15 | -74.23 | 14.01 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 211.38 | 0 | 0 | 0 | 0 | 211.38 | 7.47 | 0 | 0 | 0 | 0 | 7.47 | 0 | 14.01 | -9.28 | -0.41 | 0 | 11.2 | 0 | 7.47 | 0 | 0 | 0 | -1.03 | -5.15 | -74.23 | 14.01 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 389.61 | 0 | 0 | 0 | 0 | 389.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 7.47 | 0 | 0 | 0 | -1.03 | -5.15 | -41.24 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 382.75 | 0 | 0 | 0 | 0 | 382.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -1 | 0 | 0 | -1.2 | 423.33 | -1.03 | 0 | 0 | -1.24 | 423.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -10.31 | 28.02 | -10 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | -1.2 | 384.3 | 0 | 0 | 0 | -1.24 | 384.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -67.01 | 0 | -10 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | -1.2 | 484.95 | 0 | 0 | 0 | -1.24 | 484.95 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -70.1 | 0 | -10 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | -1.2 | 457.54 | 0 | 0 | 0 | -1.24 | 457.54 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -70.1 | 0 | -10 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 142.1 | 0 | 0 | 0 | 0 | 142.1 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -70.1 | 0 | -10 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 84.45 | 0 | 0 | 0 | 0 | 84.45 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -20.62 | 0 | -10 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 45.79 | 0 | 0 | 0 | 0 | 45.79 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | -1.03 | 0 | 0 | 0 | -10 | 0 | 0 | -1.03
19:45 - 20:00 | 0 | 0 | 0 | 0 | 39.7 | 0 | 0 | 0 | 0 | 39.7 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | -1.03 | 0 | -20.62 | 0 | -10 | 0 | 0 | -1.03
20:00 - 20:15 | -3 | 0 | 0 | 0 | 61.93 | -3.09 | 0 | 0 | 0 | 61.93 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | -1.03 | 0 | -51.55 | 0 | -10 | 0 | 0 | -1.03
20:15 - 20:30 | -3 | 0 | 0 | 0 | 58.22 | -3.09 | 0 | 0 | 0 | 58.22 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | -1.03 | 0 | -51.55 | 0 | -10 | 0 | 0 | -1.03
20:30 - 20:45 | -3 | 0 | 0 | 0 | 57.07 | -3.09 | 0 | 0 | 0 | 57.07 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | -1.03 | 0 | -44.33 | 0 | -10 | 0 | 0 | -1.03
20:45 - 21:00 | -3 | 0 | 0 | 0 | 51.36 | -3.09 | 0 | 0 | 0 | 51.36 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | -1.03 | 0 | -23.71 | 0 | -10 | 0 | 0 | -1.03
21:00 - 21:15 | -3 | 0 | 0 | 0 | 53.99 | -3.09 | 0 | 0 | 0 | 53.99 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | -1.03 | 0 | 0 | 0 | -10 | 0 | 0 | -1.03
21:15 - 21:30 | -3 | 0 | 0 | 0 | 51.63 | -3.09 | 0 | 0 | 0 | 51.63 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | -1.03 | 0 | 0 | 0 | -10 | 0 | 0 | -1.03
21:30 - 21:45 | -3 | 0 | -0.6 | 0 | 63.55 | -3.09 | 0 | -0.62 | 0 | 63.55 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -46.39 | 0 | -10 | 0 | 0 | -1.03
21:45 - 22:00 | -3 | 0 | -0.6 | 0 | 63.98 | -3.09 | 0 | -0.62 | 0 | 63.98 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -46.39 | 0 | -10 | 0 | 0 | -1.03
22:00 - 22:15 | -2 | 0 | -0.6 | 0 | 81.38 | -2.06 | 0 | -0.62 | 0 | 81.38 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -49.48 | 0 | -10 | 0 | 0 | -1.03
22:15 - 22:30 | -2 | 0 | -0.6 | 0 | 72.25 | -2.06 | 0 | -0.62 | 0 | 72.25 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -49.48 | 0 | -10 | 0 | 0 | -1.03
22:30 - 22:45 | -2 | 0 | 0 | 0 | 102.06 | -2.06 | 0 | 0 | 0 | 102.06 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -30.93 | 0 | -10 | 0 | 0 | -1.03
22:45 - 23:00 | -2 | 0 | 0 | 0 | 104.18 | -2.06 | 0 | 0 | 0 | 104.18 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -10 | 0 | 0 | -1.03
23:00 - 23:15 | -1 | 0 | 0 | -1.2 | 252.46 | -1.03 | 0 | 0 | -1.24 | 252.46 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -10 | 0 | 0 | -1.03
23:15 - 23:30 | -1 | 0 | 0 | -1.2 | 294.58 | -1.03 | 0 | 0 | -1.24 | 294.58 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -10 | 0 | 0 | -1.03
23:30 - 23:45 | -1 | 0 | 0 | -1.2 | 664.31 | -1.03 | 0 | 0 | -1.24 | 664.31 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -30.93 | 0 | -10 | 0 | 0 | -1.03
23:45 - 24:00 | -1 | 0 | 0 | -1.2 | 902.53 | -1.03 | 0 | 0 | -1.24 | 902.53 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -9.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -30.93 | 0 | -10 | 0 | 0 | -1.03
Average | -1.2083 | -0.36458 | -0.3 | -0.49167 | -161.1184 | -1.2452 | -0.37594 | -0.30813 | -0.5075 | -161.1184 | 3.114 | -3.0067 | -0.34865 | 0.58375 | -3.6319 | 2.9569 | -0.32208 | 1.6053 | -5.1121 | -0.069167 | 0.37938 | 2.839 | 6.8883 | 3.5794 | 0.90188 | 5.5457 | -2.6829 | 0.34917 | -4.2937 | -32.2596 | 15.5705 | -2.5 | -0.6974 | 11.5952 | -1.0523