## POWER STATUS
POWER STATUS ON DT 07.08.2026
[9 empty] | 2026-08-07 | 2026-08-06
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 5113.1738 | 6008.7029
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 206.29 | 4.951 | 630/590 ft | 613.52 | 614.45 | 613.47 | 204.1503 | 203.8117
| Chiplima | 72(3x24) | 56.08 | 1.3459 | - |  |  |  | 59.4279 | 56.3142
| Balimela | 510(6x60+2x75) | 57.04 | 1.369 | 1516/1440 ft | 1467.2 | 1460.2 | 1460.5 | 0 | 304.3972
| Rengali | 250(5x50) | 239.23 | 5.7415 | 123.5/109.75 mt | 121.05 | 120.68 | 120.6 | 246.0488 | 253.4835
| Upper Kolab | 320(4x80) | 48.88 | 1.1731 | 858/844 mt | 852.22 | 849.98 | 850 | 20.8435 | 155.6871
| Upper Indravati | 600(4x150) | 170.16 | 4.0838 | 642/625 mt | 634.29 | 633.29 | 633.37 | 0.29734 | 594.8525
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2740.35 | NA | NA | 0.0015203 | 0.0009417
| Total Hydro | 2099.5 | 777.68 | 18.6643 |  |  |  |  | 530.7693 | 1568.5472
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1525.3 | 36.6072 | RENEWABLE ENERGY (RE) |  |  |  | 807 | 1662
[5 empty] | M.Hydl | 113.09
| Total Thermal | 2200 | 1525.3 | 36.6072 | Solar | 111.91 |  |  | 807 | 1662
IPP | VEDANTA #2 | 600 (1x600) | 385.17 | 9.2441 | Total IPPs | Yesterday's Demand Profile |  |  | 256.9291 | 508.3984
| GMR #3 | 350 (1x350) | 282.9 | 6.7896 | 739.74 |  | MW | HRS | 180.2761 | 324.8541
| NBVL(IPP) | 60(1x60) | 32.15 | 0.7716 |  |  |  |  | 29.4869 | 29.4869
| MDTPC |  | 39.52 | 0.94848 |  |  |  |  | 30.066 | 54.9264
| CGPs |  | 615.24 | 14.7658 | IPPs, CGPs & RE | Maximum | 6009 | 21.00 | 1386.1084 | 1748.0396
| Central Sector(Drawl) |  | 1775.3432 | 42.6082 | 1579.98 | Minimum | 5171 | 09.00 | 2389.2961 | 1030.1162
| Central Sector(Sch) |  | 1862.35 | 44.6964 |  | Average | 5658.3032 |  | 2404.0901 | 1083.2
| Grand Total |  | 5658.3032 | 135.7993 | Instantaneous Peak demand |  | 6291 | 19:48 | 5113.1738 | 6008.7029
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1681.1291 | 40.3471 | 1552.4149 | 37.258 | 1667.6286 | 40.0231
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1965.2176 | 47.1652 | 1932.1804 | 46.3723 | 1691.4981 | 40.596
Rengali | NIL | TSTPP St-II | 3 | TPNODL | 1355.3109 | 32.5275 | 1286.128 | 30.8671 | 1237.1846 | 29.6924
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 615.2261 | 14.7654 | 611.6243 | 14.679 | 592.7609 | 14.2263
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5616.8838 | 134.8052 | 5382.3476 | 129.1763 | 5189.0722 | 124.5377
Machhkund | 02 to 06 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 256.9291 | GMR |  |  |  | 180.2761
| NBVL #3 | 29.4869 | MDTPC |  |  |  | 30.066
Mini Hydel: | MEENAKSHI | 38.1102 | OPCL |  |  |  | 0
| BTPL | 28.816 | SAPTADHARA |  |  |  | 19.9142
Solar: |  | 156.4184 | KAKATIYA |  |  |  | -1.3878e-16
CGPs : | JSPL (Angul) | 98.1343 | JSL(Duburi) |  |  |  | -80.5271
| ICCL | 43.7817 | visa |  |  |  | 10.814
| NALCO | -151.3728 | VAL (CGP) |  |  |  | 189.405
| RSP | -29.1527 | BSL(MMDL) |  |  |  | 61.5601
| INDAL | -2.2324 | ADITYA ALUMINIUM |  |  |  | 64
| NINL | -27.1953 | VAL CPP 400 kV |  |  |  | -443.7226
| NBVL | 1.5951 | Arati |  |  |  | 18.0199
| BPSL(JSG) | 12.6443 | BPPL |  |  |  | 60.985
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-30 | 2026-07-31 | 2026-08-01 | 2026-08-02 | 2026-08-03 | 2026-08-04 | 2026-08-05 | 2026-08-06
539.3666 | 546.2796 | 536.16 | 764.1335 | 782.56 | 827.1913 | 808.337 | 777.68
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.06.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | -9.77 | AARTISTEEL | CSEB_Beneficiary | -4.75 | AGE26AL_PSS6_KPS1_S | ODISHA | 107.33
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AP41PL_BHDL | ODISHA | 60.42
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -5.83 | AP43PL_BKN | ODISHA | 81.16
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -14.17 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 4.76
JPIPL | NPCL_UP | -14 | AECI11PL | STEELCAST2022 | -0.19 | AWEK1L | ODISHA | 18.93
JSPLANGUL | GEB_Beneficiary | -31.41 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 12.62
JSPLANGUL | RUVITSL | -26.42 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.55
MAADURGA_THERMAL | NPCL_UP | -16.69 | FACORPOWER | PSPCL | -14.17 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 35.67
NBVLIPP | TANGEDCO | -29 | FACORPOWER | PSPCL | -1.46 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 10.76
ODISHA | BALCO_LOAD | -5 | FACORPOWER | PSPCL | -5.83 | DADRI_SOLAR | ODISHA | 0.1
SGML | BALCO_LOAD | -3.33 | FACORPOWER | PSPCL | -3.54 | ENERSON_SOLAR_10MW | ODISHA | 0.96
VSL | CR_IR_MS | -10 | JSPLANGUL | RUVITSL | -64.17 | GADAG_GreenInfra_W | ODISHA | 0
FARIDABAD_SOLAR | ODISHA | 0.86 | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_GreenInfra_W | ODISHA | 0.75
JSWEL_UTKAL | ODISHA | 63.08 | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.37 | NBVLIPP | BSPHCL | -3.54 | GADAG_Serentica3_S | VLSEZ | 41.58
RAJ_SOLAR | ODISHA | 2.58 | NBVLIPP | BSPHCL | -14.38 | GADAG_Serentica3_W | VLSEZ | 56.65
|  |  | OCL_IRON_STEEL | BRPL | -12.4 | GADAG_Serentica3_W | VLSEZ | 9.03
|  |  | OCL_IRON_STEEL | BRPL | -5.1 | GIWEL_SECI_II_RE | ODISHA | 56.62
|  |  | OCL_IRON_STEEL | CSEB_Beneficiary | -35 | GPCL_SOLAR_10 | ODISHA | 0.63
|  |  | ODISHA | TPL_DIS_AHM | -14.58 | GSECL_SOLAR | ODISHA | 0.65
|  |  | ORSISL | PSPCL | -2.83 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.44
|  |  | ORSISL | PSPCL | -1.17 | KARUR_TPVARDHAMAN_W | TSKPO | 111.61
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | Shri_JSPL | TPLD | -1.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 2.32
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | NTPCRE1_SMND_BHJ2_W | ODISHA | 8.34
|  |  | VSL | WBSEDCL | -4.17 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 8.34
|  |  | JIPL | ODISHA | 115.55 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 18.78
|  |  | NALCOAP | NACL_Odisha | 21.81 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
|  |  | TSTPP_I | ODISHA | 20.41 | OKWPL_RE | ODISHA | 30.64
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 35.64
[6 empty] | RWE_AP2_SECI_III | ODISHA | 23.65
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 17.27
[6 empty] | SRI9PL_FTG3 | VLSEZ | 59.77
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.12
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.14
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 74.42
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 66.56

## DAM
DAM TRADING DETAILS FOR DT : 06.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | MGM_Minerals_Ltd | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 0 | 0
00:15 - 00:30 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 0 | 0
00:30 - 00:45 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 0 | 0
00:45 - 01:00 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 0 | 0
01:00 - 01:15 | -2.5 | 0 | 0 | -150 | -1.2 | -4 | -1 | 0 | 0 | 0
01:15 - 01:30 | -2.5 | 0 | 0 | -150 | -1.2 | -4 | -1 | 0 | 0 | 0
01:30 - 01:45 | -2.5 | 0 | 0 | -150 | -1.2 | -4 | -1 | 0 | 0 | 0
01:45 - 02:00 | -2.5 | 0 | 0 | -150 | -1.2 | -4 | -1 | 0 | 0 | 0
02:00 - 02:15 | -2.5 | 0 | 0 | -150 | -1.2 | -4 | -1 | 0 | 0 | 0
02:15 - 02:30 | -2.5 | 0 | 0 | -150 | -1.2 | -4 | -1 | 0 | 0 | 0
02:30 - 02:45 | -2.5 | 0 | 0 | -150 | -1.2 | -4 | -1 | 0 | 7.7 | 0
02:45 - 03:00 | -2.5 | 0 | 0 | -150 | -1.2 | -4 | -1 | 0 | 7.7 | 0
03:00 - 03:15 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 7.7 | 0
03:15 - 03:30 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 7.7 | 0
03:30 - 03:45 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 7.7 | 0
03:45 - 04:00 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 7.7 | 0
04:00 - 04:15 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 7.7 | 0
04:15 - 04:30 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 7.7 | 0
04:30 - 04:45 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 7.7 | 0
04:45 - 05:00 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 7.7 | 0
05:00 - 05:15 | -2.5 | 0 | 0 | -200 | -1.4 | -4 | -5 | -42.7 | 7.7 | 0
05:15 - 05:30 | -2.5 | 0 | 0 | -200 | -1.4 | -4 | -5 | -42.7 | 0 | 0
05:30 - 05:45 | -2.5 | 0 | 0 | -200 | -1.4 | -4 | -5 | -42.7 | 0 | 0
05:45 - 06:00 | -2.5 | 0 | 0 | -275 | -1.4 | -4 | -5 | -42.7 | 0 | 0
06:00 - 06:15 | -2.5 | 0 | 0 | -450 | -1.4 | -10 | -5 | -42.7 | 0 | -6
06:15 - 06:30 | -2.5 | 0 | 0 | -450 | -1.4 | -10 | -5 | -42.7 | 0 | -6
06:30 - 06:45 | -2.5 | 0 | 0 | -450 | -1.4 | -10 | -5 | -42.7 | 0 | -6
06:45 - 07:00 | -2.5 | 0 | 0 | -450 | -1.4 | -10 | -5 | -42.7 | 0 | -6
07:00 - 07:15 | -2.5 | 0 | 0 | -600 | -1.4 | -10 | -5 | -42.7 | 0 | -6
07:15 - 07:30 | -2.5 | 0 | 0 | -600 | -1.4 | -10 | -5 | -42.7 | 0 | -6
07:30 - 07:45 | -2.5 | 0 | 0 | -592.92 | -1.4 | -10 | -5 | -42.7 | 0 | -6
07:45 - 08:00 | -2.5 | 0 | 0 | -525 | -1.4 | -10 | -5 | -42.7 | 0 | -6
08:00 - 08:15 | -2.5 | 15.41 | 0 | -688.36 | -1.4 | -4 | -1 | -42.7 | 0 | -6
08:15 - 08:30 | -2.5 | 15.41 | 0 | -650 | -1.4 | -4 | -1 | -42.7 | 7.7 | -6
08:30 - 08:45 | -2.5 | 15.41 | 0 | -550.62 | -1.4 | -4 | -1 | -42.7 | 0 | -6
08:45 - 09:00 | -2.5 | 15.41 | 0 | -225 | -1.4 | -4 | -1 | -42.7 | 0 | -6
09:00 - 09:15 | -2.5 | 15.41 | 0 | -625 | -1.4 | -4 | -1 | -26.2 | 0 | -6
09:15 - 09:30 | -2.5 | 15.41 | 0 | -605.51 | -1.4 | -4 | -1 | -26.2 | 0 | -6
09:30 - 09:45 | -2.5 | 15.41 | 0 | -384.31 | -1.4 | -4 | -1 | -26.2 | 0 | -6
09:45 - 10:00 | -2.5 | 15.41 | 0 | -281.69 | -1.4 | -4 | -1 | -26.2 | 0 | 0
10:00 - 10:15 | -2.5 | 15.41 | 0 | -99.92 | -1.4 | -4 | -1 | -26.2 | 0 | 0
10:15 - 10:30 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
10:30 - 10:45 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
10:45 - 11:00 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
11:00 - 11:15 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
11:15 - 11:30 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
11:30 - 11:45 | -2.5 | 15.41 | 0 | -32.82 | -1.4 | -4 | -1 | -26.2 | 0 | 0
11:45 - 12:00 | -2.5 | 15.41 | 0 | 32.96 | -1.4 | -4 | -1 | -26.2 | 0 | 0
12:00 - 12:15 | -2.5 | 15.41 | 0 | -32.65 | -1.4 | -4 | -1 | -26.2 | 0 | 0
12:15 - 12:30 | -2.5 | 15.41 | 0 | -32.85 | -1.4 | -4 | -1 | -26.2 | 0 | 0
12:30 - 12:45 | -2.5 | 15.41 | 0 | -32.9 | -1.4 | -4 | -1 | -26.2 | 0 | 0
12:45 - 13:00 | -2.5 | 15.41 | 0 | -32.61 | -1.4 | -4 | -1 | -26.2 | 0 | 0
13:00 - 13:15 | -2.5 | 15.41 | 0 | 15.63 | -1.4 | -4 | -1 | -26.2 | 0 | 0
13:15 - 13:30 | -2.5 | 15.41 | 0 | -46.28 | -1.4 | -4 | -1 | -26.2 | 0 | 0
13:30 - 13:45 | -2.5 | 15.41 | 0 | -46.46 | -1.4 | -4 | -1 | -26.2 | 0 | 0
13:45 - 14:00 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
14:00 - 14:15 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
14:15 - 14:30 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
14:30 - 14:45 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
14:45 - 15:00 | -2.5 | 15.41 | 0 | -223.97 | -1.4 | -4 | -1 | -26.2 | 0 | 0
15:00 - 15:15 | -2.5 | 15.41 | 0 | -264.22 | -1.4 | -4 | -1 | -26.2 | 0 | 0
15:15 - 15:30 | -2.5 | 15.41 | 0 | -294.08 | -1.4 | -4 | -1 | -26.2 | 0 | -6
15:30 - 15:45 | -2.5 | 15.41 | 0 | -500 | -1.4 | -4 | -1 | -26.2 | 0 | -6
15:45 - 16:00 | -2.5 | 15.41 | 0 | -500 | -1.4 | -4 | -1 | -26.2 | 0 | -6
16:00 - 16:15 | -2.5 | 15.41 | 0 | -750 | -1.4 | -4 | -1 | -42.7 | 0 | -6
16:15 - 16:30 | -2.5 | 15.41 | 0 | -750 | -1.4 | -4 | -1 | -42.7 | 0 | -6
16:30 - 16:45 | -2.5 | 15.41 | 0 | -771.36 | -1.4 | -4 | -1 | -42.7 | 0 | -6
16:45 - 17:00 | -2.5 | 15.41 | 0 | -781.43 | -1.4 | -4 | -1 | -42.7 | 0 | -6
17:00 - 17:15 | -2.5 | 0 | 0 | -350 | -1.2 | -5 | -5 | -42.7 | 0 | -6
17:15 - 17:30 | -2.5 | 0 | 0 | -350 | -1.2 | -5 | -5 | -42.7 | 7.7 | -6
17:30 - 17:45 | -2.5 | 0 | 0 | -395.65 | -1.2 | -5 | -5 | -42.7 | 7.7 | -6
17:45 - 18:00 | -2.5 | 0 | 0 | -439.61 | -1.2 | -5 | -5 | -42.7 | 0 | -6
18:00 - 18:15 | -2.5 | 0 | 0 | -200 | -1.2 | -4 | -5 | -42.7 | 0 | 0
18:15 - 18:30 | -2.5 | 0 | 0 | -282.3 | -1.2 | -4 | -5 | -42.7 | 0 | 0
18:30 - 18:45 | -2.5 | 0 | 0 | -325 | -1.2 | -4 | -5 | -42.7 | 0 | 0
18:45 - 19:00 | -2.5 | 0 | 0 | -325 | -1.2 | -4 | -5 | -42.7 | 0 | 0
19:00 - 19:15 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
19:15 - 19:30 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
19:30 - 19:45 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
19:45 - 20:00 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
20:00 - 20:15 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
20:15 - 20:30 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
20:30 - 20:45 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
20:45 - 21:00 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
21:00 - 21:15 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
21:15 - 21:30 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
21:30 - 21:45 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
21:45 - 22:00 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
22:00 - 22:15 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
22:15 - 22:30 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
22:30 - 22:45 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
22:45 - 23:00 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
23:00 - 23:15 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
23:15 - 23:30 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
23:30 - 23:45 | -2.5 | 0 | -13 | -100 | -1.2 | -4 | -5 | 0 | 0 | 0
23:45 - 24:00 | -2.5 | 0 | -13 | -150 | -1.2 | -4 | -5 | 0 | 0 | 0
Average | -2.5 | 5.7788 | -2.7083 | -194.9368 | -1.3 | -4.5417 | -2.6667 | -20.0958 | 1.1229 | -1.625 | #DIV/0! | #DIV/0!

## GDAM
GDAM TRADING DETAILS FOR DT:06.08.2026
Time Period | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd)
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 14.44 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 14.44 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 12.66 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 11.8 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 14.44 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 14.44 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 14.44 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 14.43 | 8.95 | 6.26 | 0
08:00 - 08:15 | 0 | 0 | 19.26 | 0 | 6.26 | 0
08:15 - 08:30 | -1.7 | 0 | 19.26 | 0 | 6.26 | 0
08:30 - 08:45 | -1.2 | 0 | 19.26 | 0 | 6.26 | 7.7
08:45 - 09:00 | -1.8 | 0 | 19.26 | 0.48 | 6.26 | 7.7
09:00 - 09:15 | -2.4 | 0 | 19.26 | 0 | 6.26 | 7.7
09:15 - 09:30 | -4.1 | 0 | 19.26 | 0 | 6.26 | 7.7
09:30 - 09:45 | -3.4 | 0 | 19.26 | 0 | 6.26 | 7.7
09:45 - 10:00 | -6.1 | 0 | 19.26 | 0 | 6.26 | 7.7
10:00 - 10:15 | -7.4 | 0 | 19.26 | 0 | 6.26 | 7.7
10:15 - 10:30 | -7.8 | 0 | 19.26 | 0 | 6.26 | 7.7
10:30 - 10:45 | -6.9 | 0 | 19.26 | 0 | 6.26 | 7.7
10:45 - 11:00 | -6.2 | 0 | 19.26 | 0 | 6.26 | 7.7
11:00 - 11:15 | -7.6 | 0 | 19.26 | 0 | 6.26 | 7.7
11:15 - 11:30 | -7 | 0 | 19.26 | 0 | 6.26 | 7.7
11:30 - 11:45 | -5.6 | 0 | 19.26 | 0 | 6.26 | 7.7
11:45 - 12:00 | -6 | 0 | 19.26 | 0 | 6.26 | 7.7
12:00 - 12:15 | -7.6 | 0 | 19.26 | 0 | 6.26 | 7.7
12:15 - 12:30 | -6.7 | 19.74 | 19.26 | 0 | 6.26 | 7.7
12:30 - 12:45 | -7.2 | 22.58 | 19.26 | 0 | 6.26 | 7.7
12:45 - 13:00 | -6.5 | 34.99 | 19.26 | 0 | 6.26 | 7.7
13:00 - 13:15 | -7 | 27.27 | 19.26 | 0 | 6.26 | 7.7
13:15 - 13:30 | -7.5 | 0 | 19.26 | 0 | 6.26 | 7.7
13:30 - 13:45 | -4.3 | 0 | 19.26 | 0 | 6.26 | 7.7
13:45 - 14:00 | -3.6 | 0 | 19.26 | 0 | 6.26 | 7.7
14:00 - 14:15 | -2.2 | 114.46 | 19.26 | 0 | 6.26 | 7.7
14:15 - 14:30 | -3.4 | 0 | 19.26 | 0 | 6.26 | 7.7
14:30 - 14:45 | -2.1 | 0 | 19.26 | 0 | 6.26 | 7.7
14:45 - 15:00 | -0.6 | 0 | 19.26 | 0 | 6.26 | 7.7
15:00 - 15:15 | -1 | 0 | 19.26 | 0 | 6.26 | 7.7
15:15 - 15:30 | -1.7 | 0 | 19.26 | 0 | 6.26 | 7.7
15:30 - 15:45 | -1.7 | 0 | 19.26 | 0 | 6.26 | 7.7
15:45 - 16:00 | -0.5 | 0 | 19.26 | 0 | 6.26 | 7.7
16:00 - 16:15 | 0 | 0 | 14.44 | 40.45 | 6.26 | 7.7
16:15 - 16:30 | 0 | 0 | 14.44 | 40.45 | 6.26 | 7.7
16:30 - 16:45 | 0 | 0 | 14.44 | 40.45 | 6.26 | 7.7
16:45 - 17:00 | 0 | 0 | 14.44 | 40.45 | 6.26 | 7.7
17:00 - 17:15 | 0 | 0 | 14.44 | 40.45 | 6.26 | 7.7
17:15 - 17:30 | 0 | 0 | 14.44 | 40.44 | 6.26 | 0
17:30 - 17:45 | 0 | 0 | 14.44 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 14.44 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0
Average | -1.4458 | 2.2817 | 8.7805 | 2.6263 | 2.5431 | 2.8073 | #DIV/0!

## RTM
RTM TRADING DETAILS FOR DT: 06.08.2026
Time Period | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | 0 | -0.4 | 0 | -239.97 | 0 | 10.59 | 0 | 0 | 9.63 | -5 | 0 | 0 | 0 | 19.25 | 0.39 | 6.26 | 13.48 | 0 | 0 | 0 | 0 | 0 | 0 | 1.93 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | -0.4 | 0 | -248.41 | 0 | 10.59 | 0 | 0 | 9.63 | -5 | 0 | 0 | 0 | 19.25 | 0.39 | 6.26 | 11.55 | 0 | 0 | 0 | 0 | 0 | 0 | 1.93 | 0 | 0 | -40 | 19.26 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | -0.4 | -1.2 | -401.39 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | -0.4 | -1.2 | -401.39 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | -0.4 | -1.2 | -402.53 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | -0.4 | -1.2 | -401.86 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | -0.4 | -1.2 | -203 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | -0.4 | -1.2 | -202.49 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | -0.4 | -1.2 | -200.88 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | -0.4 | -1.2 | -193.98 | 0 | 10.6 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | -0.4 | -1.2 | -170.01 | 0 | 10.6 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -45 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | -0.4 | -1.2 | -165.11 | 0 | 10.59 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | -0.4 | 0 | -45.25 | 0 | 10.59 | 0 | 0 | 0 | -5 | 7.7 | 0 | 0 | 19.26 | 0 | 6.26 | 9.63 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 23.11 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | -0.4 | 0 | -29.04 | 0 | 10.59 | 0 | 0 | 9.63 | -5 | 7.7 | 0 | 0 | 19.26 | 0.19 | 6.26 | 9.63 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.12 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | -0.4 | -1.2 | -89.47 | 0 | 10.59 | 0 | 0 | 0 | -5 | 7.7 | 0 | 0 | 19.26 | 0 | 0 | 9.63 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.93 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | -0.4 | -1.2 | -76.96 | 0 | 10.59 | 0 | 0 | 0 | -5 | 7.7 | 0 | 0 | 19.26 | 0 | 6.26 | 1.93 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.93 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | -0.4 | -1.2 | -112.85 | 0 | 10.59 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52.96 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | -0.4 | -1.2 | -115.11 | 0 | 10.59 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | -0.4 | -1.2 | -120.03 | 0 | 10.6 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | -0.4 | -1.2 | -175 | 0 | 4.57 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.31 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | -0.4 | -1.2 | -180.5 | 0 | 10.59 | 0 | 0 | 0 | -5 | 7.7 | 0 | 0 | 19.26 | 0 | 0 | 9.63 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 52.96 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | -0.4 | -1.2 | -194.93 | 0 | 10.6 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | -0.8 | -1.2 | -321.5 | 0 | 10.6 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | -0.8 | -1.2 | -475.06 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | -0.8 | -1.1 | -476.26 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | -0.8 | -1.1 | -476.91 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -11 | -0.8 | -1.1 | -527.11 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | -0.8 | -1.1 | -626.85 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | -0.4 | -1.1 | -475 | 0 | 9.08 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -0.8 | 0 | 0 | 0 | 6.61 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | -0.4 | -1.1 | -452.52 | 0 | 10.59 | 0 | 0 | 0 | -5 | 7.7 | 0 | 0 | 19.26 | -1.1 | 0 | 8.67 | 0 | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 52.96 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | -0.4 | 0 | -593 | 0 | 0 | 0 | 0 | 0 | -5 | 7.7 | 0 | 0 | 19.26 | -1.3 | 0 | 8.67 | 0 | 7.7 | 5.78 | 19.26 | 0 | 0 | 0 | 0 | -1 | 0 | 52.96 | 5.39 | 0 | 0 | 0
07:45 - 08:00 | 0 | -0.4 | 0 | -681.03 | 0 | 0 | 0 | 0 | 9.63 | -5 | 7.7 | 0 | 0 | 19.26 | -1.6 | 3.47 | 9.63 | 24.07 | 7.7 | 5.78 | 19.26 | 0 | 0 | 0 | 0 | -1 | 0 | 52.96 | 5.39 | 0 | 0 | 0
08:00 - 08:15 | -10 | -0.4 | 0 | -578.26 | 0 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | -1.8 | 0.48 | 7.7 | 24.07 | 7.7 | 5.78 | 19.26 | 0 | 0 | 0 | 0 | -1 | 0 | 57.78 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | -0.4 | 0 | -578.28 | 0 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 0 | -1.9 | 0.48 | 7.7 | 24.07 | 7.7 | 5.78 | 19.26 | 0 | 0 | 0 | 0 | -1 | 0 | 57.78 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | -0.4 | 0 | -703.48 | 0 | 10.59 | 0 | 0 | 9.63 | 0 | 7.7 | -5 | 0 | 0 | -2.2 | 0.48 | 0 | 24.07 | 7.7 | 5.78 | 19.26 | 0 | 0 | 0 | 0 | -1 | 0 | 52.97 | 5.39 | 0 | 44.29 | 0
08:45 - 09:00 | 0 | -0.4 | 0 | -753.46 | 0 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | -5 | 0 | 0 | -2.2 | 0.48 | 0 | 24.07 | 7.7 | 5.78 | 19.26 | 0 | 0 | 0 | 0 | -2 | 0 | 52.97 | 5.39 | 0 | 21.18 | 0
09:00 - 09:15 | 0 | -0.4 | 0 | -620.66 | 0 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | -5 | -5 | 0 | -2.2 | 0.48 | 0 | 24.07 | 7.7 | 5.78 | 19.26 | 0 | 0 | 0 | 0 | -2 | 0 | 48.15 | 5.39 | 0 | 0 | 0
09:15 - 09:30 | 0 | -0.4 | 0 | -620.65 | 0 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | -5 | -5 | 0 | -2.6 | 0.48 | 0 | 24.07 | 7.7 | 5.78 | 19.26 | 0 | 0 | 0 | 0 | -3 | 0 | 48.15 | 5.39 | 0 | 0 | 0
09:30 - 09:45 | -20 | -0.8 | 0 | -599.92 | 8.28 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | -5 | -5 | 0 | -2.9 | 0 | 0 | 24.08 | 7.7 | 5.78 | 19.26 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 5.39 | 0 | 0 | 0
09:45 - 10:00 | -4 | -0.8 | 0 | -439.66 | 8.76 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | -5 | -5 | 0 | 0 | 0 | 0 | 24.08 | 7.7 | 5.78 | 19.26 | 0 | 0 | 0.96 | 0 | -2 | 0 | 0 | 5.39 | 0 | 0 | 0
10:00 - 10:15 | -1 | -0.8 | 0 | -279.78 | 8.76 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | -5 | -5 | 0 | 4.24 | 0 | 0 | 24.08 | 7.7 | 5.78 | 19.26 | 0 | 0 | 0.96 | 0 | 0 | 0 | 19.26 | 5.39 | 0 | 10.59 | 0
10:15 - 10:30 | 0 | -0.8 | 0 | -39.98 | 8.86 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | -5 | -5 | 0 | 4.04 | 0 | 0 | 24.08 | 7.7 | 5.78 | 19.26 | 0 | 0 | 0.96 | 0 | 0 | 0 | 19.26 | 5.39 | 0 | 6.74 | 0
10:30 - 10:45 | 0 | -0.8 | 0 | 144.42 | 8.95 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | -5 | -5 | 0 | 3.95 | 0 | 0 | 24.07 | 7.7 | 5.78 | 19.26 | 0 | 0 | 0 | 0 | 0 | 0 | 19.26 | 6.74 | 0 | 34.66 | 0
10:45 - 11:00 | 0 | -0.8 | 0 | 144.43 | 9.05 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | -5 | -5 | 0 | 3.95 | 0 | 0 | 24.07 | 7.7 | 5.78 | 19.26 | 0 | 0 | 0 | 0 | 0 | 0 | 19.26 | 6.74 | 0 | 34.66 | 0
11:00 - 11:15 | 0 | -0.8 | 0 | 341.32 | 9.34 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | 0 | -5 | 0 | 4.24 | 0 | 0 | 24.07 | 7.7 | 4.81 | 19.26 | 0 | 0 | 0.96 | 0 | 0 | 0 | 19.26 | 11.17 | 0 | 36.59 | 0
11:15 - 11:30 | -5 | -0.8 | 0 | 337.02 | 8.67 | 10.59 | 0 | -0.3 | 0 | 0 | 7.7 | 0 | -5 | 0 | 4.04 | 0 | 0 | 24.07 | 7.7 | 4.81 | 19.26 | 0 | 0 | 0.96 | 0 | 0 | 0 | 19.26 | 11.17 | 0 | 31.78 | 0
11:30 - 11:45 | -5 | -0.4 | 0 | 245.04 | 11.84 | 10.59 | 0 | -1 | 0 | 0 | 7.7 | 0 | -5 | 0 | 3.85 | 0 | 0 | 24.07 | 7.7 | 4.81 | 19.26 | 0 | 86.66 | 0.96 | 0 | 0 | 0 | 19.26 | 11.17 | 0 | 26.96 | 0
11:45 - 12:00 | 0 | -0.4 | 0 | 409.26 | 0 | 10.59 | 0 | -1.3 | 0 | 0 | 7.7 | 0 | -5 | 0 | 3.85 | 0 | 0 | 24.07 | 7.7 | 4.81 | 19.26 | 0 | 86.66 | 0.96 | 0 | 0 | 0 | 19.26 | 11.17 | 0 | 22.15 | 0
12:00 - 12:15 | 0 | -0.4 | 0 | 603.01 | 0 | 10.59 | 0 | -1.3 | 0 | 0 | 7.7 | 0 | -5 | 0 | 4.81 | 0.48 | 0 | 24.07 | 7.7 | 4.81 | 13.48 | 0 | 86.66 | 0.96 | 0 | 0 | 0 | 19.26 | 11.17 | 0 | 0 | 0
12:15 - 12:30 | 0 | -0.4 | 0 | 445.39 | 10.3 | 10.59 | 0 | -1.5 | 0 | 0 | 7.7 | 0 | -5 | 0 | 4.81 | 0.48 | 0 | 24.07 | 7.7 | 4.81 | 13.48 | 0 | 86.66 | 0.96 | 0 | 0 | 0 | 19.26 | 11.17 | 0 | 0 | 0
12:30 - 12:45 | 0 | -0.4 | 0 | 457.4 | 10.69 | 10.59 | 0 | -1.3 | 0 | 0 | 7.7 | 0 | -5 | 0 | 4.14 | 0.48 | 0 | 9.63 | 7.7 | 4.81 | 13.48 | 0 | 86.66 | 0.96 | 0 | -2 | 0 | 19.26 | 11.17 | 0 | 0 | 0
12:45 - 13:00 | -10 | -0.4 | 0 | 365.91 | 9.63 | 10.59 | 0 | -1.6 | 0 | 0 | 7.7 | 0 | -5 | 0 | 4.24 | 0.48 | 0 | 9.63 | 7.7 | 4.81 | 13.48 | 0 | 86.66 | 0.96 | 0 | -1 | 0 | 19.26 | 11.17 | 0 | 0 | 0
13:00 - 13:15 | 0 | -0.8 | 0 | 462.21 | 12.9 | 10.59 | 0 | -1.2 | 0 | 0 | 7.7 | 0 | -5 | 0 | 4.33 | 0.48 | 0 | 9.63 | 7.7 | 4.81 | 13.48 | 0 | 86.66 | 0.96 | 0 | -1 | 0 | 19.26 | 11.17 | 0 | 0 | 0
13:15 - 13:30 | 0 | -0.8 | 0 | 553.71 | 9.63 | 10.59 | 0 | -1.2 | 0 | 0 | 7.7 | 0 | -5 | 0 | 4.53 | 0.48 | 0 | 9.63 | 7.7 | 4.81 | 13.48 | 0 | 86.66 | 0.96 | 0 | -2 | 0 | 19.26 | 11.17 | 0 | 0 | 0
13:30 - 13:45 | 0 | -0.8 | 0 | 596.83 | 0 | 10.59 | 0 | -1.6 | 0 | 0 | 7.7 | 0 | -5 | 0 | 4.62 | 0.48 | 0 | 9.63 | 7.7 | 4.81 | 13.48 | 0 | 86.66 | 0 | 0 | -1 | 0 | 0 | 11.17 | 0 | 0 | 0
13:45 - 14:00 | 0 | -0.8 | 0 | 596.82 | 0 | 10.59 | 0 | -1.5 | 0 | 0 | 7.7 | 0 | -5 | 0 | 4.81 | 0.48 | 0 | 9.63 | 7.7 | 4.81 | 13.48 | 0 | 86.66 | 0 | 0 | -1 | -30 | 0 | 11.17 | 0 | 0 | 0
14:00 - 14:15 | 0 | -0.8 | 0 | 588.72 | 0 | 10.59 | 0 | -1.4 | 0 | 0 | 7.7 | 0 | -5 | 0 | -0.2 | 0.48 | 0 | 9.63 | 9.63 | 4.81 | 13.48 | 0 | 86.66 | 0 | 0 | -2 | -10 | 0 | 11.17 | 0 | 0 | 0
14:15 - 14:30 | -10 | -0.8 | 0 | 571.07 | 0 | 10.59 | 0 | -1.1 | 0 | 0 | 7.7 | 0 | -5 | 0 | -2.8 | 0.48 | 0 | 9.63 | 9.63 | 4.81 | 13.48 | 0 | 86.66 | 0 | 0 | -1 | 0 | 0 | 11.17 | -6 | 0 | 0
14:30 - 14:45 | 0 | -0.8 | 0 | 380.4 | 0 | 10.59 | 0 | -1 | 0 | 0 | 7.7 | 0 | -5 | 0 | -2.6 | 0.48 | 0 | 24.07 | 9.63 | 4.81 | 13.48 | 0 | 86.66 | 0 | 0 | -1 | -20 | 0 | 11.17 | -6 | 0 | 0
14:45 - 15:00 | 0 | -0.8 | 0 | 185.95 | 0 | 10.59 | 0 | -0.8 | 0 | 0 | 7.7 | 0 | -5 | 0 | -2.4 | 0.48 | 0 | 24.07 | 9.63 | 4.81 | 13.48 | 0 | 86.66 | 0 | 0 | 0 | 0 | 0 | 11.17 | -6 | 0 | 0
15:00 - 15:15 | 0 | -0.8 | 0 | -101.24 | 0 | 10.59 | 0 | -0.8 | 0 | 0 | 7.7 | 0 | -5 | 0 | -2.1 | 0.48 | 0 | 24.07 | 9.63 | 4.81 | 13.48 | 0 | 86.67 | 0 | 0 | 0 | 0 | 0 | 11.17 | -6 | 0 | 0
15:15 - 15:30 | 0 | -0.8 | 0 | -101.75 | 0 | 10.59 | 0 | -0.7 | 0 | 0 | 7.7 | 0 | -5 | 0 | -1.9 | 0.48 | 0 | 24.07 | 9.63 | 4.81 | 13.48 | 0 | 86.67 | 0 | 0 | 0 | 0 | 0 | 11.17 | 0 | 0 | 0
15:30 - 15:45 | 0 | -1.2 | 0 | -101.73 | 0 | 10.59 | 0 | -0.3 | 0 | 0 | 7.7 | 0 | -5 | 0 | -1.7 | 0.48 | 0 | 24.07 | 9.63 | 4.81 | 13.48 | 0 | 86.67 | 0 | 0 | 0 | -30 | 0 | 11.17 | 0 | 0 | 0
15:45 - 16:00 | -8 | -1.2 | 0 | -101.23 | 0 | 10.59 | 0 | -0.3 | 0 | 0 | 7.7 | 0 | -20 | 0 | -1.3 | 0.48 | 0 | 24.07 | 9.63 | 4.81 | 13.48 | 0 | 86.67 | 0 | 0 | 0 | 0 | 0 | 11.17 | 0 | 0 | 0
16:00 - 16:15 | 0 | -1.2 | 0 | -299.03 | 0 | 10.59 | 0 | -0.1 | 9.63 | 0 | 7.7 | 0 | 0 | 19.26 | -1.1 | 0.48 | 0 | 24.08 | 9.63 | 4.81 | 13.48 | 0 | 0 | 0.96 | 0 | 0 | -35 | 0 | 11.17 | 0 | 0 | 0
16:15 - 16:30 | 0 | -1.2 | 0 | -401.73 | 0 | 10.59 | 0 | 0 | 9.63 | 0 | 7.7 | 0 | 0 | 19.26 | -0.8 | 0.48 | 0 | 24.08 | 9.63 | 4.81 | 13.48 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 11.17 | 0 | 0 | 0
16:30 - 16:45 | 0 | -1.2 | 0 | -442.32 | 0 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 19.26 | -0.6 | 0.48 | 0 | 24.08 | 9.63 | 4.81 | 13.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.17 | 0 | 0 | -10
16:45 - 17:00 | 0 | -1.2 | 0 | -300.02 | 0 | 10.59 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | 19.26 | -0.3 | 0 | 0 | 24.08 | 9.63 | 4.81 | 13.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.17 | 0 | 0 | -10
17:00 - 17:15 | 0 | -0.4 | 0 | -506.68 | 0 | 10.59 | 0 | 0 | 9.63 | 0 | 7.7 | 0 | 0 | 19.26 | -0.2 | 0.48 | 0 | 24.08 | 9.63 | 4.81 | 19.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.17 | 0 | 0 | 0
17:15 - 17:30 | 0 | -0.4 | 0 | -503.27 | 0 | 10.59 | 0 | 0 | 9.63 | 0 | 7.7 | 0 | 0 | 19.26 | 0 | 0.48 | 0 | 24.08 | 9.63 | 4.81 | 19.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.17 | 0 | 0 | 0
17:30 - 17:45 | 0 | -0.4 | 0 | -677.37 | 0 | 10.59 | 0 | 0 | 9.63 | 0 | 7.7 | 0 | 0 | 19.26 | 0 | 6.26 | 5.78 | 9.63 | 9.63 | 4.81 | 19.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.17 | 0 | 0 | 0
17:45 - 18:00 | -10 | -0.4 | 0 | -744.5 | 0 | 10.59 | 0 | 0 | 9.63 | 0 | 7.7 | 0 | 0 | 19.26 | 0.19 | 0.48 | 5.78 | 9.63 | 9.63 | 4.81 | 19.26 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 11.17 | 0 | 0 | 0
18:00 - 18:15 | 0 | -0.8 | 0 | -530.05 | 0 | 10.59 | 0 | 0 | 9.63 | 0 | 0 | 0 | 0 | 19.26 | 0.39 | 6.26 | 0 | 9.63 | 9.63 | 4.81 | 19.26 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 5.39 | 0 | 0 | 0
18:15 - 18:30 | 0 | -0.8 | 0 | -375.01 | 0 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.25 | 0.39 | 6.26 | 5.78 | 9.63 | 9.63 | 4.81 | 19.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.39 | 0 | 0 | 0
18:30 - 18:45 | 0 | -0.8 | 0 | -437.51 | 0 | 10.59 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 19.25 | 0 | 0 | 5.78 | 0 | 9.63 | 2.41 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 2.7 | 0 | 0 | 0
18:45 - 19:00 | 0 | -0.8 | 0 | -437.48 | 0 | 10.59 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 19.26 | 0 | 0 | 5.78 | 0 | 9.63 | 4.81 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 5.39 | 0 | 0 | 0
19:00 - 19:15 | 0 | -0.8 | -1.2 | -657.69 | 0 | 0 | -40 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | -0.8 | -1.2 | -561.62 | 0 | 0 | -40 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | -0.4 | -1.2 | -664.78 | 0 | 0 | -40 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | -0.4 | -1.2 | -664.35 | 0 | 0 | -40 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | -0.4 | -1.3 | -579.54 | 0 | 0 | -40 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | -0.4 | -1.3 | -579.63 | 0 | 0 | -40 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | -0.4 | -1.3 | -777.01 | 0 | 0 | -40 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | -0.4 | -1.3 | -779.09 | 0 | 0 | -40 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | -40 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | -0.4 | -1.3 | -715.12 | 0 | 0 | -40 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | -45 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | -0.4 | -1.3 | -715.1 | 0 | 0 | -40 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | -1 | -1.3 | -725.01 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.28 | 0 | -1.5 | -1 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | -1 | -1.3 | -725 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29.34 | 0 | -1.5 | -3 | -40 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | -1 | -1.3 | -750 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 61.69 | 0 | -1.5 | -2 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | -1 | -1.3 | -750 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.21 | 0 | -1.5 | -2 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | -0.6 | -1.3 | -778.85 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.45 | 0 | -1.5 | -3.5 | -15 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | -0.6 | -1.3 | -778.84 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 86.66 | 0 | -1.5 | -4 | -25 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | -0.6 | -1.3 | -831.27 | 0 | 10.59 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 19.26 | 0 | 0 | 5.78 | 0 | 9.63 | 0 | 0 | 0 | 86.66 | 0 | -1.5 | -4 | 0 | 0 | 5.39 | 0 | 0 | 0
23:15 - 23:30 | 0 | -0.6 | 0 | -765.06 | 0 | 10.59 | 0 | 0 | 0 | -5 | 7.7 | 0 | 0 | 19.26 | 0.39 | 6.26 | 5.78 | 19.26 | 9.63 | 4.81 | 19.26 | 0 | 86.66 | 0 | -1.5 | -5 | 0 | 0 | 5.39 | 0 | 0 | 0
23:30 - 23:45 | 0 | -0.6 | 0 | -924.85 | 0 | 10.59 | 0 | 0 | 9.63 | -5 | 7.7 | 0 | 0 | 19.26 | 0.39 | 6.26 | 5.78 | 19.26 | 9.63 | 4.81 | 19.26 | 0 | 86.66 | 0 | -1.5 | -2 | -20 | 0 | 5.39 | 0 | 0 | 0
23:45 - 24:00 | 0 | -0.6 | 0 | -675.9 | 19.26 | 10.59 | 0 | 0 | 9.63 | -5 | 7.7 | 0 | 0 | 19.26 | 0.39 | 6.26 | 5.78 | 19.26 | 9.63 | 4.81 | 19.26 | 0 | 86.66 | 0.96 | -1.5 | -2 | 0 | 0 | 5.39 | 0 | 0 | 0
Average | -0.97917 | -0.6125 | -0.54479 | -288.7526 | 1.6137 | 7.2027 | -4.1667 | -0.21146 | 1.4044 | -2.8333 | 4.0906 | -0.52083 | -1.6146 | 5.8177 | 0.33396 | 0.89344 | 1.6653 | 9.5793 | 5.7192 | 2.5716 | 8.2252 | -0.041667 | 22.6686 | 0.19021 | -0.21875 | -0.75521 | -6.9271 | 10.3422 | 4.3809 | -0.25 | 2.8083 | -0.20833 | #DIV/0! | #DIV/0! | #DIV/0!