## POWER STATUS
POWER STATUS ON DT 08.08.2026
[9 empty] | 2026-08-08 | 2026-08-07
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 5977.1731 | 6059.8933
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 203.4 | 4.8816 | 630/590 ft | 613.65 | 613.47 | 613.19 | 201 | 202.5659
| Chiplima | 72(3x24) | 53.33 | 1.2799 | - |  |  |  | 54 | 58.7264
| Balimela | 510(6x60+2x75) | 43.12 | 1.0349 | 1516/1440 ft | 1467.3 | 1460.5 | 1460.8 | 0 | 115.304
| Rengali | 250(5x50) | 227.9 | 5.4696 | 123.5/109.75 mt | 121.19 | 120.6 | 120.96 | 248 | 246.1187
| Upper Kolab | 320(4x80) | 29.88 | 0.71712 | 858/844 mt | 852.22 | 850 | 850.05 | 22 | 79.466
| Upper Indravati | 600(4x150) | 158.81 | 3.8114 | 642/625 mt | 634.36 | 633.37 | 633.48 | 0 | 390.1724
| Machkund | 60(50% of(3x17+3x23)) | 0 | 0 | 2750/2685 ft | 2740.45 | 2720.2 | 2720.5 | 0 | 0.003748
| Total Hydro | 2099.5 | 716.44 | 17.1946 |  |  |  |  | 525 | 1092.3571
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 891.59 | 21.3982 | RENEWABLE ENERGY (RE) |  |  |  | 988 | 989
[5 empty] | M.Hydl | 120.44
| Total Thermal | 2200 | 891.59 | 21.3982 | Solar | 86.77 |  |  | 988 | 989
IPP | VEDANTA #2 | 600 (1x600) | 360.62 | 8.6549 | Total IPPs | Yesterday's Demand Profile |  |  | 366.5625 | 400.8398
| GMR #3 | 350 (1x350) | 261.62 | 6.2789 | 696.27 |  | MW | HRS | 237.7287 | 321.3422
| NBVL(IPP) | 60(1x60) | 35.5 | 0.852 |  |  |  |  | 34.3028 | 56
| MDTPC |  | 38.53 | 0.92472 |  |  |  |  | 30.0979 | 0
| CGPs |  | 661.77 | 15.8825 | IPPs, CGPs & RE | Maximum | 6060 | 20:00 | 1565 | 1598.5943
| Central Sector(Drawl) |  | 2261.3559 | 54.2725 | 1565.25 | Minimum | 4756 | 06:00 | 2899.1731 | 2379.9419
| Central Sector(Sch) |  | 2437.7037 | 58.5049 |  | Average | 5434.6359 |  | 2812.1201 | 2295.3999
| Grand Total |  | 5434.6359 | 130.4313 | Instantaneous Peak demand |  | 6337 | 19:29 | 5977.1731 | 6059.8933
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1574 | 37.776 | 1474 | 35.376 | 1483 | 35.592
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2029 | 48.696 | 1902 | 45.648 | 1662 | 39.888
Rengali | NIL | TSTPP St-II | 3 | TPNODL | 1322 | 31.728 | 1256 | 30.144 | 1523 | 36.552
U.Kolab | 1,2,3 | KAHALGAON | NIL | TPSODL | 575 | 13.8 | 538 | 12.912 | 578 | 13.872
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5500 | 132 | 5170 | 124.08 | 5246 | 125.904
Machhkund | 02 to 06 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 367 | GMR |  |  |  | 238
| NBVL #3 | 34 | MDTPC |  |  |  | 30
Mini Hydel: | MEENAKSHI | 40 | OPCL |  |  |  | 0
| BTPL | 20 | SAPTADHARA |  |  |  | 20
Solar: |  | 140 | KAKATIYA |  |  |  | 3
CGPs : | JSPL (Angul) | 94.4328 | JSL(Duburi) |  |  |  | -82.2759
| ICCL | 49.2124 | visa |  |  |  | 16.5637
| NALCO | -164.1079 | VAL (CGP) |  |  |  | 206.1193
| RSP | -146.8808 | BSL(MMDL) |  |  |  | 42.3988
| INDAL | -5.7244 | ADITYA ALUMINIUM |  |  |  | 64
| NINL | -37.135 | VAL CPP 400 kV |  |  |  | -958.7186
| NBVL | 34.5947 | Arati |  |  |  | 16.3782
| BPSL(JSG) | -123.6087 | BPPL |  |  |  | 60.637
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-07-31 | 2026-08-01 | 2026-08-02 | 2026-08-03 | 2026-08-04 | 2026-08-05 | 2026-08-06 | 2026-08-07
546.2796 | 536.16 | 764.1335 | 782.56 | 827.1913 | 808.337 | 777.68 | 716.44
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.07.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | -5.38 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AGE26AL_PSS6_KPS1_S | ODISHA | 120.92
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.75 | AP41PL_BHDL | ODISHA | 61.02
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -14.17 | AP43PL_BKN | ODISHA | 81.94
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -5.83 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.56
JPIPL | NPCL_UP | -14 | AECI11PL | STEELCAST2022 | -0.19 | AWEK1L | ODISHA | 12
JSPLANGUL | GEB_Beneficiary | -31.41 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 17.99
JSPLANGUL | RUVITSL | -26.42 | DCBL_Rajgangpur | DCL_RCW | -1.56 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.71
MAADURGA_THERMAL | NPCL_UP | -14.42 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 37.06
NBVLIPP | TANGEDCO | -28.79 | FACORPOWER | PSPCL | -5.83 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.46
ODISHA | BALCO_LOAD | -18.75 | FACORPOWER | PSPCL | -3.54 | DADRI_SOLAR | ODISHA | 0.19
VSL | CR_IR_MS | -10 | FACORPOWER | PSPCL | -14.17 | ENERSON_SOLAR_10MW | ODISHA | 0.64
FARIDABAD_SOLAR | ODISHA | 0.86 | FACORPOWER | PSPCL | -1.46 | GADAG_GreenInfra_W | ODISHA | 0.81
JSWEL_UTKAL | ODISHA | 50.46 | JSPLANGUL | RUVITSL | -64.17 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.44 | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.61 | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GADAG_Serentica3_S | VLSEZ | 35.98
|  |  | NBVLIPP | BSPHCL | -3.54 | GADAG_Serentica3_W | VLSEZ | 87.37
|  |  | NBVLIPP | BSPHCL | -14.38 | GIWEL_SECI_II_RE | ODISHA | 56.04
|  |  | OCL_IRON_STEEL | BRPL | -5.1 | GPCL_SOLAR_10 | ODISHA | 0.72
|  |  | OCL_IRON_STEEL | BRPL | -12.4 | GSECL_SOLAR | ODISHA | 0.62
|  |  | OCL_IRON_STEEL | CSEB_Beneficiary | -35 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.02
|  |  | ODISHA | TANGEDCO | -9.38 | KARUR_TPVARDHAMAN_W | TSKPO | 116.82
|  |  | ODISHA | TANGEDCO | -18.75 | Kurnool_Greenko_H_Inj | ADITYAAL | 4.97
|  |  | ORSISL | PSPCL | -2.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | ORSISL | PSPCL | -1.17 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | NTPCRE1_SMND_BHJ2_W | ODISHA | 8.82
|  |  | SGML | TPL_DIS_AHM | -3.33 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 7.73
|  |  | Shri_JSPL | TPL_DIS_AHM | -1.83 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 3.61
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | OKWPL_RE | ODISHA | 29.74
|  |  | VSL | WBSEDCL | -4.17 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 29.56
|  |  | BYPL | VLSEZ | 16.05 | RWE_AP2_SECI_III | ODISHA | 24.78
|  |  | JBVNL | VLSEZ | 24.07 | RenewGreen_SLPR_HS | JSL_DUBURI | 12.22
|  |  | JIPL | ODISHA | 115.55 | SRI9PL_FTG3 | VLSEZ | 65.84
|  |  | NALCOAP | NACL_Odisha | 32.43 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.12
|  |  | PCKL | VLSEZ | 24.07 | TSESOPL_BKN2 | OPL_CUTTAK | 0.14
|  |  | TSTPP_I | ODISHA | 7.99 | Tuticorin_BETAMWIND | ODISHA | 79.51
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 4.4
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
[6 empty] | XXPPL_FTG3 | ODISHA | 66.91

## DAM
DAM TRADING DETAILS FOR DT : 07.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | MGM_Minerals_Ltd | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 0 | 0
00:15 - 00:30 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 0 | 0
00:30 - 00:45 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 0 | 0
00:45 - 01:00 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 0 | 0
01:00 - 01:15 | -2.5 | 0 | 0 | -150 | -1.2 | -4 | -1 | 0 | 0 | 0
01:15 - 01:30 | -2.5 | 0 | 0 | -150 | -1.2 | -4 | -1 | 0 | 0 | 0
01:30 - 01:45 | -2.5 | 0 | 0 | -150 | -1.2 | -4 | -1 | 0 | 0 | 0
01:45 - 02:00 | -2.5 | 0 | 0 | -150 | -1.2 | -4 | -1 | 0 | 0 | 0
02:00 - 02:15 | -2.5 | 0 | 0 | -150 | -1.2 | -4 | -1 | 0 | 0 | 0
02:15 - 02:30 | -2.5 | 0 | 0 | -150 | -1.2 | -4 | -1 | 0 | 0 | 0
02:30 - 02:45 | -2.5 | 0 | 0 | -150 | -1.2 | -4 | -1 | 0 | 7.7 | 0
02:45 - 03:00 | -2.5 | 0 | 0 | -150 | -1.2 | -4 | -1 | 0 | 7.7 | 0
03:00 - 03:15 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 7.7 | 0
03:15 - 03:30 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 7.7 | 0
03:30 - 03:45 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 7.7 | 0
03:45 - 04:00 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 7.7 | 0
04:00 - 04:15 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 7.7 | 0
04:15 - 04:30 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 7.7 | 0
04:30 - 04:45 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 7.7 | 0
04:45 - 05:00 | -2.5 | 0 | 0 | 0 | -1.2 | -4 | -1 | 0 | 7.7 | 0
05:00 - 05:15 | -2.5 | 0 | 0 | -200 | -1.4 | -4 | -5 | -42.7 | 7.7 | 0
05:15 - 05:30 | -2.5 | 0 | 0 | -200 | -1.4 | -4 | -5 | -42.7 | 0 | 0
05:30 - 05:45 | -2.5 | 0 | 0 | -200 | -1.4 | -4 | -5 | -42.7 | 0 | 0
05:45 - 06:00 | -2.5 | 0 | 0 | -275 | -1.4 | -4 | -5 | -42.7 | 0 | 0
06:00 - 06:15 | -2.5 | 0 | 0 | -450 | -1.4 | -10 | -5 | -42.7 | 0 | -6
06:15 - 06:30 | -2.5 | 0 | 0 | -450 | -1.4 | -10 | -5 | -42.7 | 0 | -6
06:30 - 06:45 | -2.5 | 0 | 0 | -450 | -1.4 | -10 | -5 | -42.7 | 0 | -6
06:45 - 07:00 | -2.5 | 0 | 0 | -450 | -1.4 | -10 | -5 | -42.7 | 0 | -6
07:00 - 07:15 | -2.5 | 0 | 0 | -600 | -1.4 | -10 | -5 | -42.7 | 0 | -6
07:15 - 07:30 | -2.5 | 0 | 0 | -600 | -1.4 | -10 | -5 | -42.7 | 0 | -6
07:30 - 07:45 | -2.5 | 0 | 0 | -592.92 | -1.4 | -10 | -5 | -42.7 | 0 | -6
07:45 - 08:00 | -2.5 | 0 | 0 | -525 | -1.4 | -10 | -5 | -42.7 | 0 | -6
08:00 - 08:15 | -2.5 | 15.41 | 0 | -688.36 | -1.4 | -4 | -1 | -42.7 | 0 | -6
08:15 - 08:30 | -2.5 | 15.41 | 0 | -650 | -1.4 | -4 | -1 | -42.7 | 7.7 | -6
08:30 - 08:45 | -2.5 | 15.41 | 0 | -550.62 | -1.4 | -4 | -1 | -42.7 | 0 | -6
08:45 - 09:00 | -2.5 | 15.41 | 0 | -225 | -1.4 | -4 | -1 | -42.7 | 0 | -6
09:00 - 09:15 | -2.5 | 15.41 | 0 | -625 | -1.4 | -4 | -1 | -26.2 | 0 | -6
09:15 - 09:30 | -2.5 | 15.41 | 0 | -605.51 | -1.4 | -4 | -1 | -26.2 | 0 | -6
09:30 - 09:45 | -2.5 | 15.41 | 0 | -384.31 | -1.4 | -4 | -1 | -26.2 | 0 | -6
09:45 - 10:00 | -2.5 | 15.41 | 0 | -281.69 | -1.4 | -4 | -1 | -26.2 | 0 | 0
10:00 - 10:15 | -2.5 | 15.41 | 0 | -99.92 | -1.4 | -4 | -1 | -26.2 | 0 | 0
10:15 - 10:30 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
10:30 - 10:45 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
10:45 - 11:00 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
11:00 - 11:15 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
11:15 - 11:30 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
11:30 - 11:45 | -2.5 | 15.41 | 0 | -32.82 | -1.4 | -4 | -1 | -26.2 | 0 | 0
11:45 - 12:00 | -2.5 | 15.41 | 0 | 32.96 | -1.4 | -4 | -1 | -26.2 | 0 | 0
12:00 - 12:15 | -2.5 | 15.41 | 0 | -32.65 | -1.4 | -4 | -1 | -26.2 | 0 | 0
12:15 - 12:30 | -2.5 | 15.41 | 0 | -32.85 | -1.4 | -4 | -1 | -26.2 | 0 | 0
12:30 - 12:45 | -2.5 | 15.41 | 0 | -32.9 | -1.4 | -4 | -1 | -26.2 | 0 | 0
12:45 - 13:00 | -2.5 | 15.41 | 0 | -32.61 | -1.4 | -4 | -1 | -26.2 | 0 | 0
13:00 - 13:15 | -2.5 | 15.41 | 0 | 15.63 | -1.4 | -4 | -1 | -26.2 | 0 | 0
13:15 - 13:30 | -2.5 | 15.41 | 0 | -46.28 | -1.4 | -4 | -1 | -26.2 | 0 | 0
13:30 - 13:45 | -2.5 | 15.41 | 0 | -46.46 | -1.4 | -4 | -1 | -26.2 | 0 | 0
13:45 - 14:00 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
14:00 - 14:15 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
14:15 - 14:30 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
14:30 - 14:45 | -2.5 | 15.41 | 0 | -50 | -1.4 | -4 | -1 | -26.2 | 0 | 0
14:45 - 15:00 | -2.5 | 15.41 | 0 | -223.97 | -1.4 | -4 | -1 | -26.2 | 0 | 0
15:00 - 15:15 | -2.5 | 15.41 | 0 | -264.22 | -1.4 | -4 | -1 | -26.2 | 0 | 0
15:15 - 15:30 | -2.5 | 15.41 | 0 | -294.08 | -1.4 | -4 | -1 | -26.2 | 0 | -6
15:30 - 15:45 | -2.5 | 15.41 | 0 | -500 | -1.4 | -4 | -1 | -26.2 | 0 | -6
15:45 - 16:00 | -2.5 | 15.41 | 0 | -500 | -1.4 | -4 | -1 | -26.2 | 0 | -6
16:00 - 16:15 | -2.5 | 15.41 | 0 | -750 | -1.4 | -4 | -1 | -42.7 | 0 | -6
16:15 - 16:30 | -2.5 | 15.41 | 0 | -750 | -1.4 | -4 | -1 | -42.7 | 0 | -6
16:30 - 16:45 | -2.5 | 15.41 | 0 | -771.36 | -1.4 | -4 | -1 | -42.7 | 0 | -6
16:45 - 17:00 | -2.5 | 15.41 | 0 | -781.43 | -1.4 | -4 | -1 | -42.7 | 0 | -6
17:00 - 17:15 | -2.5 | 0 | 0 | -350 | -1.2 | -5 | -5 | -42.7 | 0 | -6
17:15 - 17:30 | -2.5 | 0 | 0 | -350 | -1.2 | -5 | -5 | -42.7 | 7.7 | -6
17:30 - 17:45 | -2.5 | 0 | 0 | -395.65 | -1.2 | -5 | -5 | -42.7 | 7.7 | -6
17:45 - 18:00 | -2.5 | 0 | 0 | -439.61 | -1.2 | -5 | -5 | -42.7 | 0 | -6
18:00 - 18:15 | -2.5 | 0 | 0 | -200 | -1.2 | -4 | -5 | -42.7 | 0 | 0
18:15 - 18:30 | -2.5 | 0 | 0 | -282.3 | -1.2 | -4 | -5 | -42.7 | 0 | 0
18:30 - 18:45 | -2.5 | 0 | 0 | -325 | -1.2 | -4 | -5 | -42.7 | 0 | 0
18:45 - 19:00 | -2.5 | 0 | 0 | -325 | -1.2 | -4 | -5 | -42.7 | 0 | 0
19:00 - 19:15 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
19:15 - 19:30 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
19:30 - 19:45 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
19:45 - 20:00 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
20:00 - 20:15 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
20:15 - 20:30 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
20:30 - 20:45 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
20:45 - 21:00 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
21:00 - 21:15 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
21:15 - 21:30 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
21:30 - 21:45 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
21:45 - 22:00 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
22:00 - 22:15 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
22:15 - 22:30 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
22:30 - 22:45 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
22:45 - 23:00 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
23:00 - 23:15 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
23:15 - 23:30 | -2.5 | 0 | -13 | 0 | -1.2 | -4 | -5 | 0 | 0 | 0
23:30 - 23:45 | -2.5 | 0 | -13 | -100 | -1.2 | -4 | -5 | 0 | 0 | 0
23:45 - 24:00 | -2.5 | 0 | -13 | -150 | -1.2 | -4 | -5 | 0 | 0 | 0
Average | -2.5 | 5.7788 | -2.7083 | -194.9368 | -1.3 | -4.5417 | -2.6667 | -20.0958 | 1.1229 | -1.625

## GDAM
GDAM TRADING DETAILS FOR DT:07.08.2026
Time Period | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd)
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 14.44 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 14.44 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 12.66 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 11.8 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 14.44 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 14.44 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 14.44 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 14.43 | 8.95 | 6.26 | 0
08:00 - 08:15 | 0 | 0 | 19.26 | 0 | 6.26 | 0
08:15 - 08:30 | -1.7 | 0 | 19.26 | 0 | 6.26 | 0
08:30 - 08:45 | -1.2 | 0 | 19.26 | 0 | 6.26 | 7.7
08:45 - 09:00 | -1.8 | 0 | 19.26 | 0.48 | 6.26 | 7.7
09:00 - 09:15 | -2.4 | 0 | 19.26 | 0 | 6.26 | 7.7
09:15 - 09:30 | -4.1 | 0 | 19.26 | 0 | 6.26 | 7.7
09:30 - 09:45 | -3.4 | 0 | 19.26 | 0 | 6.26 | 7.7
09:45 - 10:00 | -6.1 | 0 | 19.26 | 0 | 6.26 | 7.7
10:00 - 10:15 | -7.4 | 0 | 19.26 | 0 | 6.26 | 7.7
10:15 - 10:30 | -7.8 | 0 | 19.26 | 0 | 6.26 | 7.7
10:30 - 10:45 | -6.9 | 0 | 19.26 | 0 | 6.26 | 7.7
10:45 - 11:00 | -6.2 | 0 | 19.26 | 0 | 6.26 | 7.7
11:00 - 11:15 | -7.6 | 0 | 19.26 | 0 | 6.26 | 7.7
11:15 - 11:30 | -7 | 0 | 19.26 | 0 | 6.26 | 7.7
11:30 - 11:45 | -5.6 | 0 | 19.26 | 0 | 6.26 | 7.7
11:45 - 12:00 | -6 | 0 | 19.26 | 0 | 6.26 | 7.7
12:00 - 12:15 | -7.6 | 0 | 19.26 | 0 | 6.26 | 7.7
12:15 - 12:30 | -6.7 | 19.74 | 19.26 | 0 | 6.26 | 7.7
12:30 - 12:45 | -7.2 | 22.58 | 19.26 | 0 | 6.26 | 7.7
12:45 - 13:00 | -6.5 | 34.99 | 19.26 | 0 | 6.26 | 7.7
13:00 - 13:15 | -7 | 27.27 | 19.26 | 0 | 6.26 | 7.7
13:15 - 13:30 | -7.5 | 0 | 19.26 | 0 | 6.26 | 7.7
13:30 - 13:45 | -4.3 | 0 | 19.26 | 0 | 6.26 | 7.7
13:45 - 14:00 | -3.6 | 0 | 19.26 | 0 | 6.26 | 7.7
14:00 - 14:15 | -2.2 | 114.46 | 19.26 | 0 | 6.26 | 7.7
14:15 - 14:30 | -3.4 | 0 | 19.26 | 0 | 6.26 | 7.7
14:30 - 14:45 | -2.1 | 0 | 19.26 | 0 | 6.26 | 7.7
14:45 - 15:00 | -0.6 | 0 | 19.26 | 0 | 6.26 | 7.7
15:00 - 15:15 | -1 | 0 | 19.26 | 0 | 6.26 | 7.7
15:15 - 15:30 | -1.7 | 0 | 19.26 | 0 | 6.26 | 7.7
15:30 - 15:45 | -1.7 | 0 | 19.26 | 0 | 6.26 | 7.7
15:45 - 16:00 | -0.5 | 0 | 19.26 | 0 | 6.26 | 7.7
16:00 - 16:15 | 0 | 0 | 14.44 | 40.45 | 6.26 | 7.7
16:15 - 16:30 | 0 | 0 | 14.44 | 40.45 | 6.26 | 7.7
16:30 - 16:45 | 0 | 0 | 14.44 | 40.45 | 6.26 | 7.7
16:45 - 17:00 | 0 | 0 | 14.44 | 40.45 | 6.26 | 7.7
17:00 - 17:15 | 0 | 0 | 14.44 | 40.45 | 6.26 | 7.7
17:15 - 17:30 | 0 | 0 | 14.44 | 40.44 | 6.26 | 0
17:30 - 17:45 | 0 | 0 | 14.44 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 14.44 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0
Average | -1.4458 | 2.2817 | 8.7805 | 2.6263 | 2.5431 | 2.8073

## RTM
RTM TRADING DETAILS FOR DT: 07.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | -0.5 | -1.3 | -449.97 | 10.59 | 0 | 0 | 7.7 | 0 | 19.26 | 0 | 0 | 5.78 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 8.67 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | -0.5 | -1.3 | -430.78 | 10.59 | 0 | 0 | 7.7 | 0 | 19.25 | 0 | 6.26 | 5.78 | 19.26 | 0 | 0 | 0 | 0 | 0 | -45 | 0 | 8.67 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | -0.5 | -1.3 | -475 | 10.59 | 0 | 0 | 7.7 | 0 | 19.26 | 0 | 6.26 | 5.78 | 19.26 | 14.44 | 0 | 19.26 | 0 | 0 | -40 | 0 | 8.67 | 0 | 0 | 134.91
00:45 - 01:00 | 0 | 0 | -0.5 | 0 | -459.47 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0.39 | 6.26 | 5.78 | 19.26 | 14.44 | 0 | 19.26 | 0 | 0 | -10 | 0 | 8.67 | 0 | 0 | 144.42
01:00 - 01:15 | 0 | 0 | -0.5 | -1.3 | 96.28 | 10.59 | 0 | 0 | 7.7 | 0 | 19.26 | 0 | 6.26 | 5.78 | 19.26 | 14.44 | 0 | 19.26 | 0 | 0 | -20 | 0 | 8.67 | 0 | 0 | 116.84
01:15 - 01:30 | 0 | 0 | -0.5 | 0 | 102.71 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0.39 | 6.26 | 5.78 | 19.26 | 14.44 | 0 | 19.26 | 0 | 0 | -45 | 0 | 8.67 | 0 | 0 | 144.43
01:30 - 01:45 | 0 | 0 | -0.5 | 0 | 105.9 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0.39 | 6.26 | 5.78 | 19.26 | 14.44 | 0 | 19.26 | -1 | 0 | -50 | 0 | 8.67 | 72.22 | 0 | 144.42
01:45 - 02:00 | 0 | 0 | -0.5 | 0 | 111.73 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0.39 | 6.26 | 5.78 | 19.26 | 14.44 | 0 | 19.26 | -1 | 0 | -10 | 0 | 8.67 | 72.22 | 0 | 144.42
02:00 - 02:15 | 0 | 0 | -0.5 | -1.3 | 96.28 | 10.59 | 0 | 0 | 7.7 | 0 | 19.26 | 0 | 6.26 | 9.63 | 19.26 | 14.44 | 0 | 19.26 | -1 | -4.5 | -12 | 0 | 8.67 | 105.92 | 11.17 | 118.1
02:15 - 02:30 | 0 | 0 | -0.5 | 0 | 100.83 | 10.59 | 0 | 0 | 7.7 | 0 | 19.26 | 0.19 | 6.26 | 9.63 | 19.26 | 14.44 | 0 | 19.26 | -1 | -4.5 | -40 | 0 | 8.67 | 105.92 | 11.17 | 140.58
02:30 - 02:45 | 0 | 0 | -0.5 | 0 | 60.16 | 10.59 | 0 | 0 | 7.7 | 0 | 19.26 | 0 | 6.26 | 1.93 | 19.26 | 14.44 | 0 | 19.26 | -1 | -5 | -10 | 0 | 8.67 | 105.92 | 11.17 | 42.48
02:45 - 03:00 | 0 | 0 | -0.5 | 0 | 62.44 | 10.59 | 0 | 0 | 7.7 | 0 | 19.26 | 0.19 | 6.26 | 1.93 | 19.26 | 14.44 | 0 | 19.26 | -1 | -5 | 0 | 0 | 8.67 | 125.18 | 11.17 | 137.69
03:00 - 03:15 | 0 | 0 | -0.5 | 0 | 111.54 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0.19 | 6.26 | 1.93 | 19.26 | 14.44 | 0 | 19.26 | -1 | -5 | -40 | 0 | 8.67 | 115.55 | 11.17 | 135.76
03:15 - 03:30 | 0 | 0 | -0.5 | 0 | 111.53 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0.19 | 6.26 | 1.93 | 19.26 | 14.44 | 0 | 19.26 | -1 | -5.4 | -10 | 0 | 8.67 | 115.55 | 11.17 | 134.8
03:30 - 03:45 | 0 | 0 | -0.5 | 0 | 112.44 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0.19 | 6.26 | 3.85 | 19.26 | 7.7 | 0 | 19.26 | -1 | -5.4 | 0 | 0 | 8.67 | 115.55 | 11.17 | 134.8
03:45 - 04:00 | 0 | 0 | -0.5 | 0 | 116.05 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0.19 | 6.26 | 3.85 | 19.26 | 7.7 | 0 | 19.26 | -1 | -5.4 | -45 | 0 | 8.67 | 115.55 | 11.17 | 133.84
04:00 - 04:15 | 0 | -2 | -0.5 | 0 | 118.67 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0.19 | 6.26 | 3.85 | 19.26 | 7.7 | 0 | 19.26 | -1 | -5 | -50 | 0 | 8.67 | 115.55 | 11.17 | 124.21
04:15 - 04:30 | 0 | 0 | -0.5 | 0 | 118.19 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0.19 | 6.26 | 3.85 | 19.26 | 7.7 | 0 | 19.26 | -1 | -5 | 0 | 0 | 8.67 | 115.55 | 11.17 | 123.25
04:30 - 04:45 | 0 | 0 | -0.5 | 0 | 118.91 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0.19 | 6.26 | 3.85 | 19.26 | 7.7 | 0 | 19.26 | -1 | -4 | -10 | 0 | 8.67 | 115.55 | 11.17 | 122.28
04:45 - 05:00 | 0 | 0 | -0.5 | 0 | 117.66 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0.19 | 6.26 | 3.85 | 19.26 | 7.7 | 0 | 19.26 | -1 | -3.8 | -15 | 0 | 8.67 | 115.55 | 11.17 | 122.28
05:00 - 05:15 | 0 | 0 | -0.5 | 0 | 116.04 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0.19 | 6.26 | 3.85 | 19.26 | 7.7 | 0 | 19.26 | -1 | -3.8 | 0 | 0 | 8.67 | 134.81 | 11.17 | 124.21
05:15 - 05:30 | 0 | 0 | -0.5 | 0 | 107.12 | 10.59 | 0 | 0 | 7.7 | 0 | 19.26 | 0 | 6.26 | 11.55 | 19.26 | 7.7 | 0 | 19.26 | -1 | -3.8 | -30 | 0 | 8.67 | 134.81 | 11.17 | 0
05:30 - 05:45 | 0 | 0 | -0.9 | 0 | 105.43 | 10.59 | 0 | 0 | 7.7 | 0 | 19.26 | 0 | 6.26 | 11.55 | 19.26 | 7.7 | 0 | 19.26 | -1 | -3.8 | -50 | 0 | 8.67 | 134.81 | 11.17 | 0
05:45 - 06:00 | 0 | 0 | -0.9 | 0 | 92.43 | 10.59 | 0 | 0 | 7.7 | 0 | 19.26 | 0 | 0 | 11.55 | 0 | 7.7 | 0 | 0 | -1 | -3.8 | -50 | 0 | 8.67 | 134.81 | 0 | 0
06:00 - 06:15 | 0 | 0 | -0.9 | 0 | 86.24 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.7 | 0 | 0 | -5 | -3.8 | 0 | 0 | 8.67 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | -0.9 | 0 | 79.18 | 0 | 0 | 0 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -3.8 | -20 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | -11 | -0.9 | -1.3 | 91.5 | 10.59 | 0 | 0 | 7.7 | 0 | 19.26 | -0.4 | 0 | 11.55 | 0 | 7.7 | 0 | 0 | -1 | -4 | 0 | 0 | 8.67 | 33.7 | 0 | 0
06:45 - 07:00 | 0 | 0 | -0.9 | -1.3 | 91.87 | 10.59 | 0 | 0 | 7.7 | 0 | 19.26 | -0.7 | 0 | 11.55 | 0 | 7.7 | 0 | 0 | -1 | -4 | 0 | 0 | 8.67 | 33.7 | 0 | 0
07:00 - 07:15 | 0 | 0 | -0.5 | -1.3 | 103.52 | 10.59 | 0 | 0 | 7.7 | 0 | 19.26 | -0.9 | 5.11 | 11.55 | 19.26 | 7.7 | 0 | 19.26 | -1 | -4 | -20 | 0 | 8.67 | 33.7 | 11.17 | 0
07:15 - 07:30 | 0 | 0 | -0.5 | 0 | 118.69 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | -1.2 | 6.26 | 11.55 | 19.26 | 7.7 | 0 | 19.26 | -1 | -5 | -58 | 0 | 8.67 | 24.07 | 11.17 | 0
07:30 - 07:45 | 0 | 0 | -0.5 | 0 | 187.78 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0 | 6.26 | 13.48 | 19.26 | 7.7 | 4.81 | 19.26 | 0 | -3.9 | -65 | 4.81 | 8.67 | 24.07 | 11.17 | 0
07:45 - 08:00 | 0 | 0 | -0.5 | 0 | 192.16 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0 | 0.48 | 13.48 | 19.26 | 7.7 | 4.81 | 19.26 | 0 | 0 | -2.48 | 4.81 | 8.67 | 24.07 | 11.17 | 0
08:00 - 08:15 | 0 | 0 | -0.5 | 0 | 192.12 | 10.59 | 0 | 9.63 | 7.7 | 0 | 0 | 0 | 0.48 | 13.48 | 19.26 | 7.7 | 4.81 | 19.26 | 0 | 0 | 0 | 4.81 | 8.67 | 0 | 11.17 | 0
08:15 - 08:30 | 0 | 0 | -0.5 | 0 | 191.63 | 10.59 | 0 | 9.63 | 7.7 | 0 | 0 | 0 | 0.48 | 9.63 | 19.26 | 7.7 | 4.81 | 19.26 | 0 | 0 | -10 | 4.81 | 8.67 | 0 | 9.63 | 0
08:30 - 08:45 | 0 | 0 | -0.5 | 0 | 240.69 | 10.59 | 0 | 9.63 | 7.7 | 0 | 0 | -2 | 0.48 | 9.63 | 19.26 | 7.7 | 4.81 | 19.26 | -8 | -5 | 0 | 0 | 8.67 | 14.44 | 9.63 | 0
08:45 - 09:00 | 0 | 0 | -0.5 | 0 | 166.25 | 10.59 | 0 | 9.63 | 7.7 | 0 | 0 | -2.5 | 0.48 | 9.63 | 19.26 | 7.7 | 4.81 | 19.26 | -8 | -6 | 0 | 0 | 8.67 | 14.44 | 9.63 | 0
09:00 - 09:15 | 0 | 0 | -0.5 | 0 | 278.81 | 10.59 | 0 | 9.63 | 7.7 | 0 | 0 | -2.8 | 0.48 | 7.7 | 19.26 | 7.7 | 5.78 | 9.63 | -8 | -6 | -10 | 0 | 8.67 | 9.63 | 5.39 | 0
09:15 - 09:30 | 0 | -5 | -0.5 | 0 | 314.13 | 10.59 | -0.2 | 9.63 | 7.7 | 0 | 0 | -0.3 | 0.48 | 9.63 | 19.26 | 7.7 | 5.78 | 9.63 | -8 | -5 | -35 | 0 | 8.67 | 9.63 | 5.39 | 0
09:30 - 09:45 | 0 | -9 | -0.5 | 0 | 269.61 | 10.59 | -0.2 | 9.63 | 7.7 | 0 | 0 | 5.39 | 0.48 | 9.63 | 19.26 | 7.7 | 5.78 | 9.63 | -8 | -5 | 0 | 4.34 | 8.67 | 0 | 5.39 | 0
09:45 - 10:00 | 0 | 0 | -0.5 | 0 | 269.6 | 10.59 | -0.2 | 9.63 | 7.7 | 0 | 0 | 5.68 | 0.48 | 9.63 | 19.26 | 7.7 | 5.78 | 9.63 | -8 | -5 | 0 | 3.25 | 8.67 | 0 | 5.39 | 0
10:00 - 10:15 | 0 | 0 | -0.5 | 0 | 166.26 | 10.59 | -0.3 | 9.63 | 7.7 | 0 | 0 | 5.78 | 0.48 | 9.63 | 19.26 | 0 | 5.78 | 9.63 | -8 | -4 | 0 | 0 | 8.67 | 0 | 5.39 | 0
10:15 - 10:30 | 0 | 0 | -0.5 | 0 | 164.14 | 10.59 | -0.3 | 9.63 | 7.7 | 0 | 0 | 5.78 | 0.48 | 9.63 | 19.26 | 0 | 5.78 | 9.63 | -8 | -4 | 0 | 0 | 8.67 | 0 | 5.39 | 0
10:30 - 10:45 | 0 | 0 | -0.5 | 0 | 303.8 | 10.59 | -1 | 9.63 | 7.7 | 0 | 0 | 5.49 | 0.48 | 9.63 | 19.26 | 0 | 2.89 | 9.63 | -3 | -4 | 0 | 0 | 8.67 | 0 | 5.39 | 0
10:45 - 11:00 | 0 | 0 | -0.5 | 0 | 303.47 | 10.59 | -1 | 9.63 | 7.7 | 0 | 0 | 5.3 | 0.48 | 9.63 | 19.26 | 0 | 2.89 | 9.63 | -3 | -4 | -20 | 0 | 8.67 | 0 | 5.39 | 0
11:00 - 11:15 | -0.3 | -10 | -0.5 | 0 | 178.05 | 10.59 | -1.2 | 9.63 | 7.7 | 0 | 0 | 5.3 | 0.48 | 9.63 | 24.07 | 0 | 0 | 9.63 | -3 | -6.3 | 0 | 0 | 8.67 | 0 | 5.39 | 0
11:15 - 11:30 | -0.3 | 0 | -0.5 | 0 | 82.5 | 10.59 | -1.2 | 9.63 | 7.7 | 0 | 0 | 5.01 | 0.48 | 9.63 | 24.07 | 0 | 0 | 9.63 | -3 | -5 | 0 | 0 | 8.67 | 0 | 5.39 | 0
11:30 - 11:45 | -0.3 | 0 | -0.5 | 0 | 81.76 | 10.59 | -1.6 | 9.63 | 7.7 | 0 | 0 | 4.72 | 0.48 | 9.63 | 24.07 | 0 | 0 | 9.63 | -3 | -4.5 | -10 | 0 | 8.67 | 9.63 | 5.39 | 0
11:45 - 12:00 | -0.3 | 0 | -0.5 | 0 | 178.06 | 10.59 | -1.8 | 9.63 | 7.7 | 0 | 0 | 4.72 | 0.48 | 9.63 | 24.07 | 0 | 0 | 9.63 | -3 | -6 | 0 | 0 | 8.67 | 9.63 | 5.39 | 0
12:00 - 12:15 | -0.3 | 0 | -0.5 | 0 | 250.39 | 10.59 | -1.8 | 9.63 | 0 | 0 | 0 | 4.81 | 0.48 | 9.63 | 24.07 | 0 | 3.85 | 9.63 | 0 | -5 | -20 | 4.81 | 8.67 | 9.63 | 5.39 | 0
12:15 - 12:30 | -0.3 | 0 | -0.5 | 0 | 250.38 | 10.59 | -2 | 9.63 | 0 | 0 | 0 | 4.72 | 0.48 | 9.63 | 24.07 | 0 | 3.85 | 9.63 | 0 | -5 | 0 | 4.81 | 8.67 | 9.63 | 5.39 | 0
12:30 - 12:45 | -0.3 | 0 | -0.5 | 0 | 433.23 | 10.59 | -1.2 | 9.63 | 7.7 | 0 | 0 | 4.62 | 0.48 | 9.63 | 24.07 | 7.7 | 3.85 | 9.63 | 0 | -5.7 | -30 | 4.81 | 8.67 | 9.63 | 5.39 | 91.86
12:45 - 13:00 | -0.3 | 0 | -0.5 | 0 | 433.16 | 10.59 | -1.2 | 9.63 | 7.7 | 0 | 0 | 4.43 | 0.48 | 9.63 | 24.07 | 7.7 | 3.85 | 9.63 | 0 | -5.2 | 0 | 4.81 | 8.67 | 9.63 | 5.39 | 206.35
13:00 - 13:15 | -0.3 | 0 | -0.7 | 0 | 379.18 | 10.59 | 0 | 9.63 | 7.7 | 0 | 0 | 4.43 | 0.48 | 9.63 | 24.07 | 7.7 | 3.85 | 9.63 | 0 | 0 | 0 | 4.81 | 8.67 | 9.63 | 5.39 | 321.8
13:15 - 13:30 | -0.3 | 0 | -0.7 | 0 | 379.24 | 10.59 | 0 | 9.63 | 7.7 | 0 | 0 | 4.53 | 0.48 | 9.63 | 24.07 | 7.7 | 3.85 | 9.63 | 0 | 0 | -18 | 4.81 | 8.67 | 9.63 | 5.39 | 321.8
13:30 - 13:45 | -0.3 | 0 | -0.4 | 0 | 379.23 | 10.59 | 0 | 9.63 | 7.7 | 0 | 0 | 0 | 0.48 | 9.63 | 24.07 | 7.7 | 5.78 | 9.63 | 0 | 0 | 0 | 4.81 | 8.67 | 9.63 | 5.39 | 206.83
13:45 - 14:00 | -0.3 | 0 | -0.4 | 0 | 433.26 | 10.59 | -0.1 | 9.63 | 7.7 | 0 | 0 | 0 | 0.48 | 9.63 | 24.07 | 7.7 | 5.78 | 9.63 | 0 | -5.5 | -15 | 4.81 | 8.67 | 9.63 | 5.39 | 206.83
14:00 - 14:15 | -0.3 | 0 | -0.4 | 0 | 571.86 | 10.59 | 0 | 9.63 | 7.7 | 0 | 0 | 0 | 0.48 | 9.63 | 24.07 | 7.7 | 5.78 | 9.63 | 0 | 0 | -10 | 4.81 | 8.67 | 19.26 | 5.39 | 196.05
14:15 - 14:30 | -0.3 | 0 | -0.4 | 0 | 661.99 | 10.59 | -0.35 | 9.63 | 7.7 | 0 | 0 | 0 | 0.48 | 9.63 | 24.07 | 7.7 | 5.78 | 9.63 | 0 | -4.75 | -10 | 4.81 | 8.67 | 19.26 | 5.39 | 173.42
14:30 - 14:45 | -0.3 | 0 | -0.4 | 0 | 565.8 | 10.59 | -0.01 | 9.63 | 7.7 | 0 | 0 | 0 | 0.48 | 9.63 | 24.07 | 7.7 | 5.78 | 9.63 | 0 | -0.12 | 0 | 4.81 | 8.67 | 19.26 | 5.39 | 195.47
14:45 - 15:00 | -0.3 | 0 | -0.4 | 0 | 811.25 | 10.59 | 0 | 9.63 | 7.7 | 0 | 0 | 0 | 0.48 | 9.63 | 24.07 | 7.7 | 5.78 | 9.63 | 0 | 0 | 0 | 4.81 | 8.67 | 19.26 | 5.39 | 204.13
15:00 - 15:15 | -0.3 | 0 | -0.4 | 0 | 972.86 | 10.59 | 0 | 9.63 | 7.7 | 0 | 0 | 0 | 0.48 | 9.63 | 24.07 | 7.7 | 5.78 | 9.63 | 0 | 0 | 0 | 4.81 | 8.67 | 19.26 | 5.39 | 385.16
15:15 - 15:30 | -0.3 | 0 | -0.4 | 0 | 950.94 | 10.59 | 0 | 9.63 | 7.7 | 0 | 0 | 0 | 0.48 | 9.63 | 24.07 | 7.7 | 5.78 | 9.63 | 0 | -2.83 | 0 | 4.81 | 8.67 | 19.26 | 5.39 | 385.16
15:30 - 15:45 | -0.3 | -5 | -0.4 | 0 | 893.5 | 10.59 | 0 | 9.63 | 7.7 | 0 | 0 | -2 | 0.48 | 9.63 | 24.07 | 7.7 | 5.78 | 9.63 | -3 | -4 | 0 | 0 | 8.67 | 19.26 | 5.39 | 507.26
15:45 - 16:00 | -0.3 | -5 | -0.4 | 0 | 704.65 | 10.59 | 0 | 9.63 | 7.7 | 0 | 0 | -1.7 | 0.48 | 9.63 | 24.07 | 7.7 | 5.78 | 9.63 | -3 | -4 | 0 | 0 | 8.67 | 19.26 | 5.39 | 526.51
16:00 - 16:15 | 0 | 0 | -0.4 | 0 | 719.05 | 10.59 | 0 | 9.63 | 0 | 0 | 19.26 | -1.4 | 0.48 | 9.63 | 24.07 | 7.7 | 5.78 | 9.63 | -3 | -4 | 0 | 0 | 8.67 | 24.07 | 5.39 | 418.09
16:15 - 16:30 | 0 | 0 | -0.4 | 0 | 715.31 | 10.59 | 0 | 9.63 | 0 | 0 | 19.26 | -1.1 | 0.48 | 9.63 | 24.07 | 7.7 | 5.78 | 9.63 | -3 | -6 | 0 | 0 | 8.67 | 24.07 | 5.39 | 429.65
16:30 - 16:45 | 0 | 0 | -0.4 | 0 | 789.59 | 10.59 | 0 | 9.63 | 0 | 0 | 19.26 | -1 | 0.48 | 9.63 | 24.07 | 14.44 | 5.78 | 9.63 | -3 | -6 | 0 | 4.81 | 8.67 | 9.63 | 5.39 | 570.9
16:45 - 17:00 | 0 | 0 | -0.4 | 0 | 674.07 | 10.59 | 0 | 9.63 | 0 | 0 | 19.26 | -0.7 | 0.48 | 9.63 | 24.07 | 14.44 | 5.78 | 9.63 | -3 | -6 | 0 | 0 | 8.67 | 9.63 | 5.39 | 594.98
17:00 - 17:15 | 0 | -10 | -0.5 | 0 | 505.52 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | -0.5 | 0.48 | 9.63 | 24.07 | 14.44 | 5.78 | 9.63 | -2.74 | -6 | -10 | 4.81 | 8.67 | 9.63 | 5.39 | 612.32
17:15 - 17:30 | 0 | 0 | -0.5 | 0 | 451.54 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | -0.3 | 0.48 | 9.63 | 24.07 | 14.44 | 5.78 | 9.63 | -3 | -6 | 0 | 4.81 | 8.67 | 9.63 | 5.39 | 627.72
17:30 - 17:45 | 0 | 0 | -0.5 | 0 | 566.2 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0 | 6.26 | 6.74 | 24.07 | 14.44 | 5.78 | 9.63 | -3 | -6 | 0 | 0 | 8.67 | 9.63 | 5.39 | 486.46
17:45 - 18:00 | 0 | 0 | -0.5 | 0 | 625.59 | 10.59 | 0 | 0 | 7.7 | 0 | 19.26 | 0 | 6.26 | 14.44 | 24.07 | 14.44 | 5.78 | 9.63 | -3 | -6 | 0 | 0 | 8.67 | 9.63 | 5.39 | 462.37
18:00 - 18:15 | 0 | 0 | -0.5 | 0 | 160.49 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0 | 0 | 17.33 | 24.07 | 14.44 | 5.78 | 9.63 | 0 | 0 | 0 | 4.81 | 8.67 | 9.63 | 2.89 | 289.74
18:15 - 18:30 | 0 | 0 | -0.5 | 0 | 120.32 | 10.59 | 0 | 9.63 | 7.7 | 0 | 19.26 | 0.39 | 0 | 17.33 | 24.07 | 14.44 | 5.78 | 9.63 | 0 | 0 | 0 | 0 | 8.67 | 9.63 | 1.93 | 311.98
18:30 - 18:45 | 0 | 0 | -0.5 | 0 | -100.04 | 10.59 | 0 | 0 | 7.7 | 0 | 19.26 | 0 | 0 | 14.44 | 0 | 14.44 | 1.51 | 0 | 0 | 0 | 0 | 0 | 8.67 | 9.63 | 1.41 | 259.02
18:45 - 19:00 | 0 | 0 | -0.5 | 0 | -128.26 | 0 | 0 | 0 | 0 | 0 | 19.26 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.63 | 0 | 268.65
19:00 - 19:15 | 0 | 0 | -0.5 | 0 | -193.95 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 254.21
19:15 - 19:30 | 0 | 0 | -0.5 | 0 | -197.38 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 258.06
19:30 - 19:45 | 0 | 0 | -0.5 | -1.2 | -202.21 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 237.84
19:45 - 20:00 | 0 | 0 | -0.5 | -1.2 | -202.21 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 238.8
20:00 - 20:15 | 0 | 0 | -0.5 | -1.2 | -197.76 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 238.8
20:15 - 20:30 | 0 | 0 | -0.5 | -1.2 | -197.51 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 238.8
20:30 - 20:45 | 0 | 0 | -0.5 | -1.2 | -209.41 | 10.59 | 0 | 0 | 0 | -0.3 | 19.26 | 0 | -4 | 14.44 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 0 | 0 | 238.8
20:45 - 21:00 | 0 | 0 | -0.5 | -1.2 | -221.83 | 10.59 | 0 | 0 | 0 | -0.3 | 19.26 | 0 | -4 | 14.44 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 0 | 0 | 238.8
21:00 - 21:15 | 0 | 0 | -0.5 | -1.2 | -387.52 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 249.39
21:15 - 21:30 | 0 | 0 | -0.5 | -1.2 | -389.97 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 249.39
21:30 - 21:45 | 0 | 0 | -0.9 | -1.3 | -487.5 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 249.39
21:45 - 22:00 | 0 | 0 | -0.9 | -1.3 | -487.48 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 249.39
22:00 - 22:15 | 0 | 0 | -0.9 | -1.3 | -485.22 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 283.09
22:15 - 22:30 | 0 | 0 | -0.9 | -1.3 | -485.97 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 285.98
22:30 - 22:45 | 0 | 0 | -0.5 | -1.3 | -337.75 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 287.91
22:45 - 23:00 | 0 | 0 | -0.5 | -1.3 | -337.51 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 289.83
23:00 - 23:15 | 0 | 0 | -0.5 | -1.3 | -333.5 | 0 | 0 | 0 | 0 | -0.3 | 19.26 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 292.72
23:15 - 23:30 | 0 | 0 | -0.5 | -1.3 | -327.85 | 0 | 0 | 0 | 0 | -0.3 | 19.26 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | -1 | -25 | 0 | 0 | 0 | 0 | 294.65
23:30 - 23:45 | 0 | 0 | -0.5 | -1.2 | -311.88 | 10.59 | 0 | 0 | 0 | -0.3 | 19.26 | 0 | 0 | 14.44 | 0 | 14.44 | 0 | 0 | 0 | -1 | -50 | 0 | 8.67 | 0 | 0 | 242.65
23:45 - 24:00 | 0 | 0 | -0.5 | 0 | -206.97 | 10.59 | 0 | 9.63 | 0 | -0.3 | 19.26 | 0.39 | 0 | 14.44 | 19.26 | 14.44 | 5.78 | 9.63 | 0 | 0 | -30 | 0 | 8.67 | 0 | 0.48 | 242.64
Average | -0.0625 | -0.59375 | -0.53125 | -0.32917 | 130.9152 | 8.6044 | -0.16312 | 5.8181 | 5.374 | -0.0625 | 9.6299 | 0.68271 | 1.6936 | 7.7833 | 15.3462 | 7.049 | 2.2428 | 9.7303 | -1.4973 | -2.725 | -11.6717 | 1.1814 | 7.0444 | 27.7843 | 4.7192 | 175.4726