## POWER STATUS
POWER STATUS ON DT 09.08.2026
[9 empty] | 2026-08-09 | 2026-08-08
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 21:00
Demand -> | [8 empty] | 6060.364 | 6345.7866
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 200.417 | 4.81 | 630/590 ft | 613.65 | 613.19 | 613.73 | 200.8665 | 201.5549
| Chiplima | 72(3x24) | 45.75 | 1.098 | - |  |  |  | 56.3918 | 52.3807
| Balimela | 510(6x60+2x75) | 35.2916 | 0.847 | 1516/1440 ft | 1467.2 | 1460.8 | 1461.1 | 0 | 87.4172
| Rengali | 250(5x50) | 239.5916 | 5.7502 | 123.5/109.75 mt | 121.37 | 120.96 | 121.45 | 243.7952 | 242.5155
| Upper Kolab | 320(4x80) | 46.75 | 1.122 | 858/844 mt | 852.26 | 850.05 | 850.11 | 0 | 21.0678
| Upper Indravati | 600(4x150) | 108.4658 | 2.6032 | 642/625 mt | 634.29 | 633.48 | 633.68 | 0.28847 | 102.3235
| Machkund | 60(50% of(3x17+3x23)) | 2.42 | 0.05808 | 2750/2685 ft | 2740.5 | 2720.5 | 2721 | 1.8144 | 0
| Total Hydro | 2099.5 | 678.686 | 16.2885 |  |  |  |  | 503.1563 | 707.2597
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 977.34 | 23.4562 | RENEWABLE ENERGY (RE) |  |  |  | 1625.5895 | 980.9124
[5 empty] | M.Hydl | 113.42
| Total Thermal | 2200 | 977.34 | 23.4562 | Solar | 85.99 |  |  | 1625.5895 | 980.9124
IPP | VEDANTA #2 | 600 (1x600) | 371.2998 | 8.9112 | Total IPPs | Yesterday's Demand Profile |  |  | 255.8789 | 456.1914
| GMR #3 | 350 (1x350) | 284.1831 | 6.8204 | 748.0934 |  | MW | HRS | 231.8492 | 328.0874
| NBVL(IPP) | 60(1x60) | 48.3006 | 1.1592 |  |  |  |  | 34.5156 | 55.0082
| MDTPC |  | 44.3099 | 1.0634 |  |  |  |  | 30.5945 | 54.0326
| CGPs |  | 701.6382 | 16.8393 | IPPs, CGPs & RE | Maximum | 6346 | 21:00 | 1377.3167 | 1795.4645
| Central Sector(Drawl) |  | 2604.2662 | 62.5024 | 1649.1416 | Minimum | 5397 | 06:00 | 2554.3015 | 2862.15
| Central Sector(Sch) |  | 2643.2485 | 63.438 |  | Average | 5909.4338 |  | 2344.9426 | 2947.74
| Grand Total |  | 5909.4338 | 141.8264 | Instantaneous Peak demand |  | 6549 | 19:42 | 6060.364 | 6345.7866
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(7) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1499.9902 | 35.9998 | 1497.7825 | 35.9468 | 1463.3954 | 35.1215
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2289.9954 | 54.9599 | 2262.9129 | 54.3099 | 1727.9084 | 41.4698
Rengali | NIL | TSTPP St-II | 3 | TPNODL | 1222.8204 | 29.3477 | 1212.9928 | 29.1118 | 1171.0169 | 28.1044
U.Kolab | 1,2,3 | KAHALGAON | NIL | TPSODL | 575.8056 | 13.8193 | 573.8603 | 13.7726 | 580.8762 | 13.941
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5588.6116 | 134.1267 | 5547.5486 | 133.1412 | 4943.1969 | 118.6367
Machhkund | 02 to 06 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 255.8789 | GMR |  |  |  | 231.8492
| NBVL #3 | 34.5156 | MDTPC |  |  |  | 30.5945
Mini Hydel: | MEENAKSHI | 40.5207 | OPCL |  |  |  | 0
| BTPL | 20.257 | SAPTADHARA |  |  |  | 20
Solar: |  | 179 | KAKATIYA |  |  |  | 3
CGPs : | JSPL (Angul) | 98.0543 | JSL(Duburi) |  |  |  | -108.0336
| ICCL | 48.4683 | visa |  |  |  | 12.7424
| NALCO | -132.3859 | VAL (CGP) |  |  |  | 124.327
| RSP | -117.002 | BSL(MMDL) |  |  |  | -28.8415
| INDAL | -2.0888 | ADITYA ALUMINIUM |  |  |  | 64
| NINL | -36.562 | VAL CPP 400 kV |  |  |  | -1069.6378
| NBVL | 35.0163 | Arati |  |  |  | 29.3239
| BPSL(JSG) | -12.1522 | BPPL |  |  |  | 60.637
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-01 | 2026-08-02 | 2026-08-03 | 2026-08-04 | 2026-08-05 | 2026-08-06 | 2026-08-07 | 2026-08-08
536.16 | 764.1335 | 782.56 | 827.1913 | 808.337 | 777.68 | 716.44 | 678.686
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.08.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | -4.75 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.59
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AGE26AL_PSS6_KPS1_S | ODISHA | 115.19
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -14.17 | AP41PL_BHDL | ODISHA | 50.22
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -5.83 | AP43PL_BKN | ODISHA | 75.49
JPIPL | NPCL_UP | -14 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 4.43
JSPLANGUL | GEB_Beneficiary | -31.41 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 8.68
JSPLANGUL | RUVITSL | -26.42 | DCBL_Rajgangpur | DCL_RCW | -4.62 | AWEK1L | ODISHA | 13.01
MAADURGA_THERMAL | NPCL_UP | -14.65 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.23
NBVLIPP | TANGEDCO | -50 | FACORPOWER | PSPCL | -14.17 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 26.86
VSL | CR_IR_MS | -10 | FACORPOWER | PSPCL | -1.46 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 13.49
FARIDABAD_SOLAR | ODISHA | 0.86 | FACORPOWER | PSPCL | -5.83 | DADRI_SOLAR | ODISHA | 0.55
JSWEL_UTKAL | ODISHA | 56.77 | FACORPOWER | PSPCL | -3.54 | ENERSON_SOLAR_10MW | ODISHA | 0.66
RAJ_SOLAR | ODISHA | 2.47 | JSPLANGUL | RUVITSL | -64.17 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.12 | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_GreenInfra_W | ODISHA | 0.78
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | NBVLIPP | BSPHCL | -3.54 | GADAG_Serentica3_S | VLSEZ | 33.98
|  |  | NBVLIPP | BSPHCL | -14.38 | GADAG_Serentica3_W | VLSEZ | 98.26
|  |  | OCL_IRON_STEEL | BRPL | -5.1 | GIWEL_SECI_II_RE | ODISHA | 36.26
|  |  | OCL_IRON_STEEL | BRPL | -12.4 | GPCL_SOLAR_10 | ODISHA | 0.87
|  |  | OCL_IRON_STEEL | CSEB_Beneficiary | -35 | GSECL_SOLAR | ODISHA | 0.73
|  |  | ORSISL | PSPCL | -2.83 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.04
|  |  | ORSISL | PSPCL | -1.17 | KARUR_TPVARDHAMAN_W | TSKPO | 113.14
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | Shri_JSPL | TPLD | -1.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 5.8
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.04
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | NTPCRE1_SMND_BHJ2_W | ODISHA | 4.97
|  |  | VSL | WBSEDCL | -4.17 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 5.22
|  |  | CSEB_Beneficiary | VLSEZ | 22.07 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | HP | VLSEZ | 24.07 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
|  |  | JIPL | ODISHA | 115.55 | OKWPL_RE | ODISHA | 18.37
|  |  | JPL | VLSEZ | 24.07 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 34.95
|  |  | NALCOAP | NACL_Odisha | 26.06 | RWE_AP2_SECI_III | ODISHA | 18.77
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 15.99
[6 empty] | SRI9PL_FTG3 | VLSEZ | 67.66
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 76.65
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 7.75
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 5.99
[6 empty] | XXPPL_FTG3 | ODISHA | 66.81

## DAM
DAM TRADING DETAILS FOR DT : 08.08.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 0 | 0 | 386.12
00:15 - 00:30 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 0 | 0 | 386.12
00:30 - 00:45 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 0 | 0 | 386.12
00:45 - 01:00 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 0 | 0 | 386.12
01:00 - 01:15 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 0 | 0 | 386.12
01:15 - 01:30 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 0 | 0 | 390.94
01:30 - 01:45 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 0 | 0 | 393.83
01:45 - 02:00 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 4.81 | 0 | 393.83
02:00 - 02:15 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 4.81 | 0 | 393.83
02:15 - 02:30 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 4.81 | 0 | 393.83
02:30 - 02:45 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 4.81 | 0 | 590.26
02:45 - 03:00 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 4.81 | 0 | 590.26
03:00 - 03:15 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 4.81 | 0 | 669.22
03:15 - 03:30 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 4.81 | 0 | 611.73
03:30 - 03:45 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 4.81 | 0 | 613.08
03:45 - 04:00 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 4.81 | 0 | 621.27
04:00 - 04:15 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 4.81 | 0 | 544.14
04:15 - 04:30 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 4.81 | 0 | 553.19
04:30 - 04:45 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 4.81 | 0 | 565.03
04:45 - 05:00 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | 4.81 | 0 | 476.64
05:00 - 05:15 | 0 | 0 | 0 | -1.4 | 0 | -5 | -25 | 4.81 | 0 | 558.44
05:15 - 05:30 | 0 | 0 | 0 | -1.4 | 0 | -5 | -25 | 0 | 0 | 461.23
05:30 - 05:45 | 0 | 0 | 0 | -1.4 | 0 | -5 | -25 | 0 | 0 | 461.23
05:45 - 06:00 | 0 | 0 | 0 | -1.4 | 0 | -5 | -25 | 0 | 0 | 465.08
06:00 - 06:15 | 0 | 0 | 0 | -1.4 | 0 | -5 | -25 | 0 | -6 | 239.76
06:15 - 06:30 | 0 | 0 | 0 | -1.4 | 0 | -5 | -25 | 0 | -6 | 236.87
06:30 - 06:45 | 0 | 0 | 0 | -1.4 | 0 | -5 | -25 | 0 | -6 | 235.91
06:45 - 07:00 | 0 | 0 | 0 | -1.4 | 0 | -5 | -25 | 0 | -6 | 224.36
07:00 - 07:15 | 0 | 0 | 0 | -1.4 | 0 | -5 | -25 | 0 | -6 | 60.66
07:15 - 07:30 | 0 | 0 | 0 | -1.4 | 0 | -5 | -25 | 0 | -6 | 42.37
07:30 - 07:45 | 0 | 0 | 0 | -1.4 | 0 | -5 | -25 | 4.81 | -6 | 21.19
07:45 - 08:00 | 0 | 0 | 0 | -1.4 | 0 | -5 | -25 | 4.81 | -6 | 21.19
08:00 - 08:15 | 22.15 | 0 | -37.95 | -1.4 | 0 | -1 | 0 | 4.81 | -6 | 246.5
08:15 - 08:30 | 22.15 | 0 | -37.84 | -1.4 | 0 | -1 | 0 | 4.81 | -6 | 230.13
08:30 - 08:45 | 22.15 | 0 | 0 | -1.4 | 9.63 | -1 | 0 | 4.81 | -6 | 208.95
08:45 - 09:00 | 22.15 | 0 | 0 | -1.4 | 0 | -1 | 0 | 0 | -6 | 190.65
09:00 - 09:15 | 22.15 | 0 | -223.72 | -1.4 | 0 | -1 | 0 | 0 | -6 | 155.99
09:15 - 09:30 | 22.15 | 0 | -191.95 | -1.4 | 0 | -1 | 0 | 0 | 0 | 122.29
09:30 - 09:45 | 22.15 | 0 | -164.35 | -1.4 | 0 | -1 | 0 | 0 | 0 | 79.92
09:45 - 10:00 | 22.15 | 0 | 0 | -1.4 | 0 | -1 | 0 | 0 | 0 | 46.22
10:00 - 10:15 | 22.15 | 0 | 0 | -1.4 | 0 | -1 | 0 | 0 | 0 | 6.74
10:15 - 10:30 | 22.15 | 0 | 16.1 | -1.4 | 0 | -1 | 0 | 0 | 0 | 4.81
10:30 - 10:45 | 22.15 | 0 | 243.68 | -1.4 | 0 | -1 | 0 | 0 | 0 | 0
10:45 - 11:00 | 22.15 | 0 | 243.41 | -1.4 | 0 | -1 | 0 | 0 | 0 | 9.63
11:00 - 11:15 | 22.15 | 0 | 285.03 | -1.4 | 0 | -1 | 0 | 0 | 0 | 22.15
11:15 - 11:30 | 22.15 | 0 | 285.05 | -1.4 | 0 | -1 | 0 | 0 | 0 | 22.15
11:30 - 11:45 | 22.15 | 0 | 269.08 | -1.4 | 0 | -1 | 0 | 0 | 0 | 22.15
11:45 - 12:00 | 22.15 | 0 | 260.43 | -1.4 | 0 | -1 | 0 | 0 | 0 | 22.15
12:00 - 12:15 | 22.15 | 0 | 220.48 | -1.4 | 0 | -1 | 0 | 0 | 0 | 22.15
12:15 - 12:30 | 22.15 | 0 | 285.1 | -1.4 | 0 | -1 | 0 | 0 | 0 | 22.15
12:30 - 12:45 | 22.15 | 0 | 285.1 | -1.4 | 0 | -1 | 0 | 0 | 0 | 22.15
12:45 - 13:00 | 22.15 | 0 | 285.11 | -1.4 | 0 | -1 | 0 | 0 | 0 | 22.15
13:00 - 13:15 | 22.15 | 0 | 285.11 | -1.4 | 0 | -1 | 0 | 0 | 0 | 22.15
13:15 - 13:30 | 22.15 | 0 | 285.1 | -1.4 | 0 | -1 | 0 | 0 | 0 | 22.15
13:30 - 13:45 | 22.15 | 0 | 154.13 | -1.4 | 0 | -1 | 0 | 0 | 0 | 26.96
13:45 - 14:00 | 22.15 | 0 | 250.19 | -1.4 | 0 | -1 | 0 | 0 | 0 | 27.92
14:00 - 14:15 | 22.15 | 0 | 243.72 | -1.4 | 0 | -1 | 0 | 0 | 0 | 17.33
14:15 - 14:30 | 22.15 | 0 | 106.36 | -1.4 | 0 | -1 | 0 | 0 | 0 | 2.89
14:30 - 14:45 | 22.15 | 0 | 0 | -1.4 | 0 | -1 | 0 | 0 | 0 | 0
14:45 - 15:00 | 22.15 | 0 | 0 | -1.4 | 0 | -1 | 0 | 0 | 0 | 2.89
15:00 - 15:15 | 22.14 | 0 | -75.04 | -1.4 | 0 | -1 | 0 | 0 | 0 | 22.15
15:15 - 15:30 | 22.15 | 0 | -80.29 | -1.4 | 0 | -1 | 0 | 0 | 0 | 35.62
15:30 - 15:45 | 22.15 | 0 | -100.07 | -1.4 | 0 | -1 | 0 | 0 | -6 | 50.07
15:45 - 16:00 | 22.15 | 0 | -105.34 | -1.4 | 0 | -1 | 0 | 0 | -6 | 67.4
16:00 - 16:15 | 22.15 | 0 | -50 | -1.4 | 9.63 | -1 | -25 | 0 | -6 | 197.39
16:15 - 16:30 | 22.15 | 0 | -50 | -1.4 | 0 | -1 | -25 | 0 | -6 | 211.83
16:30 - 16:45 | 22.15 | 0 | -50 | -1.4 | 0 | -1 | -25 | 0 | -6 | 242.65
16:45 - 17:00 | 22.15 | 0 | -317.83 | -1.4 | 0 | -1 | -25 | 0 | -6 | 264.79
17:00 - 17:15 | 0 | 0 | 0 | -1.2 | 0 | -5 | -25 | 0 | -6 | 285.02
17:15 - 17:30 | 0 | 0 | 0 | -1.2 | 0 | -5 | -25 | 0 | -6 | 306.2
17:30 - 17:45 | 0 | 0 | 0 | -1.2 | 0 | -5 | -25 | 0 | -6 | 98.22
17:45 - 18:00 | 0 | 0 | 0 | -1.2 | 0 | -5 | -25 | 0 | -6 | 123.25
18:00 - 18:15 | 0 | 0 | 0 | -1.2 | 0 | -5 | -25 | 4.81 | 0 | 370.72
18:15 - 18:30 | 0 | 0 | 0 | -1.2 | 0 | -5 | -25 | 4.81 | 0 | 201.25
18:30 - 18:45 | 0 | 0 | 0 | -1.2 | 0 | -5 | -25 | 0 | 0 | 215.69
18:45 - 19:00 | 0 | 0 | 0 | -1.2 | 0 | -5 | -25 | 0 | 0 | 228.21
19:00 - 19:15 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 198.77
19:15 - 19:30 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 9.36
19:30 - 19:45 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 0.97
19:45 - 20:00 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 0.12
20:00 - 20:15 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 5.51
20:15 - 20:30 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 11.37
20:30 - 20:45 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 36.97
20:45 - 21:00 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 43.1
21:00 - 21:15 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 61.73
21:15 - 21:30 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 58.7
21:30 - 21:45 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 69.98
21:45 - 22:00 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 76.05
22:00 - 22:15 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 64.14
22:15 - 22:30 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 30.53
22:30 - 22:45 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 37.37
22:45 - 23:00 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 39.89
23:00 - 23:15 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 108.27
23:15 - 23:30 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 155.63
23:30 - 23:45 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 217.99
23:45 - 24:00 | 0 | -13 | 0 | -1.2 | 0 | -5 | 0 | 0 | 0 | 256.13
Average | 8.3061 | -2.7083 | 26.2375 | -1.3 | 0.20063 | -2.6667 | -6.25 | 1.0522 | -1.4375 | 195.4618

## GDAM
GDAM TRADING DETAILS FOR DT:08.08.2026
Time Period | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 57.49
03:30 - 03:45 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 56.14
03:45 - 04:00 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 47.96
04:00 - 04:15 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 125.08
04:15 - 04:30 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 116.03
04:30 - 04:45 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 107.08
04:45 - 05:00 | 0 | 0 | 14.44 | 0 | 0 | 0.48 | 0 | 0 | 195.47
05:00 - 05:15 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 88.3
05:15 - 05:30 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 76.84
05:30 - 05:45 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 2.32 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 14.44 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 14.44 | 0 | 0 | 2.88 | 0 | 0 | 195.47
08:00 - 08:15 | 0 | 0 | 19.26 | 0 | 0 | 6.26 | 0 | 0 | 0
08:15 - 08:30 | -1.7 | 0 | 19.26 | 0 | 0 | 6.26 | 0 | 0 | 0
08:30 - 08:45 | -1.2 | 0 | 19.26 | 0 | 0 | 6.26 | 0 | 0 | 0
08:45 - 09:00 | -1.8 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 0 | 0
09:00 - 09:15 | -2.4 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
09:15 - 09:30 | -4.1 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
09:30 - 09:45 | -3.4 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
09:45 - 10:00 | -6.1 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
10:00 - 10:15 | -7.4 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
10:15 - 10:30 | -7.8 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
10:30 - 10:45 | -6.9 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
10:45 - 11:00 | -6.2 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
11:00 - 11:15 | -7.6 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
11:15 - 11:30 | -7 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
11:30 - 11:45 | -5.6 | 15.96 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
11:45 - 12:00 | -6 | 24.58 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
12:00 - 12:15 | -7.6 | 64.55 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
12:15 - 12:30 | -6.7 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
12:30 - 12:45 | -7.2 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
12:45 - 13:00 | -6.5 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
13:00 - 13:15 | -7 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
13:15 - 13:30 | -7.5 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
13:30 - 13:45 | -4.3 | 130.92 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
13:45 - 14:00 | -3.6 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
14:00 - 14:15 | -2.2 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
14:15 - 14:30 | -3.4 | 137.29 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
14:30 - 14:45 | -2.1 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
14:45 - 15:00 | -0.6 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
15:00 - 15:15 | -1 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
15:15 - 15:30 | -1.7 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 3.85 | 0
15:30 - 15:45 | -1.7 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 0 | 0
15:45 - 16:00 | -0.5 | 0 | 19.26 | 0 | 9.63 | 6.26 | 4.81 | 0 | 0
16:00 - 16:15 | 0 | 0 | 14.44 | 43.33 | 0 | 6.26 | 4.81 | 0 | 196.44
16:15 - 16:30 | 0 | 0 | 14.44 | 43.33 | 0 | 6.26 | 4.81 | 0 | 195.48
16:30 - 16:45 | 0 | 0 | 14.44 | 43.33 | 0 | 6.26 | 4.81 | 0 | 196.44
16:45 - 17:00 | 0 | 0 | 14.44 | 43.33 | 0 | 6.26 | 4.81 | 0 | 195.48
17:00 - 17:15 | 0 | 0 | 14.44 | 43.33 | 0 | 6.26 | 4.81 | 0 | 195.48
17:15 - 17:30 | 0 | 0 | 14.44 | 43.33 | 0 | 6.26 | 4.81 | 0 | 196.44
17:30 - 17:45 | 0 | 0 | 14.44 | 43.33 | 0 | 6.26 | 4.81 | 0 | 195.48
17:45 - 18:00 | 0 | 0 | 14.44 | 43.33 | 0 | 6.26 | 4.81 | 0 | 196.44
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -1.4458 | 3.8885 | 11.4079 | 3.6108 | 2.9091 | 2.6433 | 1.8539 | 1.0427 | 27.4327

## RTM
RTM TRADING DETAILS FOR DT: 08.08.2026
Time Period | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maadurga_Thermal_Power_Company_Limited_1 | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | -0.5 | -1.2 | -152.94 | 0 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 19.26 | 0 | 0 | 14.44 | 19.26 | 0 | 0 | 5.78 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 247.46
00:15 - 00:30 | 0 | -0.5 | -1.2 | -165.04 | 0 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 19.26 | 0 | 0 | 14.44 | 0 | 0 | 0 | 5.78 | 0 | -1 | 0 | -20 | 0 | 0 | 0 | 0 | 84.55
00:30 - 00:45 | 0 | -0.5 | -1.2 | -117.08 | 0 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 19.26 | 0 | 0 | 14.44 | 0 | 9.63 | 0 | 0 | 0 | -1.5 | -5.5 | -20 | 0 | 0 | 0 | 0 | 41.41
00:45 - 01:00 | 0 | -0.5 | -1.2 | -117.08 | 0 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 19.26 | 0 | 0 | 14.44 | 0 | 9.63 | 0 | 0 | 0 | -1.5 | -6 | 0 | 0 | 0 | 0 | 0 | 41.41
01:00 - 01:15 | 0 | -0.5 | -1.3 | -141.52 | 0 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 19.26 | 0 | 0 | 14.44 | 0 | 9.63 | 0 | 0 | 0 | -1.5 | -6 | -10 | 0 | 8.67 | 0 | 0 | 21.18
01:15 - 01:30 | 0 | -0.5 | -1.3 | -186.5 | 0 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 19.26 | 0 | 0 | 14.44 | 18.01 | 9.63 | 0 | 5.78 | 0 | -1.5 | -5 | -35 | 0 | 8.67 | 0 | 0 | 20.21
01:30 - 01:45 | 0 | -0.5 | 0 | -21.96 | 0 | 10.59 | 0 | 0 | -5.3 | -0.5 | 0 | 19.26 | 0.39 | 0 | 14.44 | 19.26 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4.5 | -10 | 0 | 8.67 | 0 | 0 | 226.27
01:45 - 02:00 | 0 | -0.5 | 0 | -7.53 | 0 | 10.59 | 0 | 9.63 | -10.4 | -0.5 | 0 | 19.26 | 0.39 | 0 | 9.63 | 19.26 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4 | 0 | 0 | 8.67 | 0 | 4.81 | 226.27
02:00 - 02:15 | 0 | -0.5 | 0 | -164.53 | 0 | 10.59 | 0 | 9.63 | -10.4 | -0.5 | 0 | 19.26 | 0.19 | 0 | 9.63 | 19.26 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4 | -15 | 0 | 8.67 | 0 | 4.81 | 226.28
02:15 - 02:30 | 0 | -0.5 | 0 | -170.52 | 0 | 10.59 | 0 | 0 | -10.4 | -0.5 | 0 | 19.26 | 0.19 | 0 | 9.63 | 19.26 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4 | 0 | 0 | 8.67 | 0 | 0 | 226.27
02:30 - 02:45 | 0 | -0.5 | -1.3 | -178.02 | 0 | 10.59 | 0 | 0 | -10.3 | -0.5 | 0 | 16.37 | 0 | 0 | 9.63 | 19.25 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4 | 0 | 0 | 8.67 | 0 | 0 | 0
02:45 - 03:00 | 0 | -0.5 | -1.3 | -177.61 | 0 | 10.59 | 0 | 0 | -10.3 | -0.5 | 0 | 16.37 | 0 | 0 | 9.63 | 19.25 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4 | 0 | 0 | 8.67 | 0 | 0 | 0
03:00 - 03:15 | 0 | -0.5 | 0 | -170.52 | 0 | 10.59 | 0 | 0 | -10.3 | -0.5 | 0 | 16.37 | 0.19 | 0 | 9.63 | 19.26 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4 | 0 | 0 | 8.67 | 9.63 | 0 | 30.81
03:15 - 03:30 | 0 | -0.5 | 0 | -120.51 | 0 | 10.59 | 0 | 0 | -10.3 | -0.5 | 0 | 16.37 | 0.19 | 0 | 9.63 | 19.26 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4 | 0 | 0 | 8.67 | 9.63 | 0 | 30.81
03:30 - 03:45 | 0 | -0.5 | -1.3 | -230.77 | 0 | 10.59 | 0 | 0 | -10.3 | -0.5 | 0 | 16.36 | 0 | 0 | 9.63 | 3.34 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4 | 0 | 0 | 8.67 | 9.63 | 0 | 0
03:45 - 04:00 | 0 | -0.5 | -1.3 | -232.06 | 0 | 10.59 | 0 | 0 | -10.3 | -0.5 | 0 | 16.36 | 0 | 0 | 9.63 | 0 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4 | -20 | 0 | 8.67 | 9.63 | 0 | 0
04:00 - 04:15 | 0 | -0.5 | 0 | -303.48 | 0 | 10.59 | 0 | 9.63 | -10.3 | -0.5 | 0 | 16.37 | 0.19 | 0 | 9.63 | 19.26 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4 | -25 | 0 | 8.67 | 9.63 | 4.81 | 30.81
04:15 - 04:30 | 0 | -0.5 | 0 | -300.02 | 0 | 10.59 | 0 | 9.63 | -10.3 | -0.5 | 0 | 16.37 | 0.19 | 0 | 12.52 | 19.26 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4 | 0 | 0 | 8.67 | 9.63 | 4.81 | 30.81
04:30 - 04:45 | 0 | -0.5 | 0 | -155.96 | 0 | 10.59 | 0 | 9.63 | -10.3 | -0.5 | 0 | 16.37 | 0.19 | 0 | 11.55 | 19.26 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4 | -40 | 0 | 8.67 | 9.63 | 4.81 | 30.81
04:45 - 05:00 | 0 | -0.5 | -1.3 | -175.49 | 0 | 10.59 | 0 | 0 | -10.3 | -0.5 | 0 | 16.37 | 0 | 0 | 11.55 | 19.26 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4 | -20 | 0 | 8.67 | 9.63 | 0 | 0
05:00 - 05:15 | 0 | -0.5 | -1.3 | -280.81 | 0 | 10.59 | 0 | 0 | -10.3 | -0.5 | 0 | 16.37 | 0 | 0 | 11.55 | 0 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4 | 0 | 0 | 8.67 | 28.89 | 0 | 0
05:15 - 05:30 | 0 | -0.5 | -1.3 | -285.3 | 0 | 10.59 | 0 | 0 | -10.3 | -0.5 | 0 | 16.37 | 0 | 0 | 16.37 | 0 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4.5 | -10 | 0 | 8.67 | 28.88 | 0 | 0
05:30 - 05:45 | 0 | -1 | -1.3 | -598.26 | 0 | 10.59 | 0 | 0 | -10.3 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 9.63 | 0 | 0 | 0 | -1.5 | -4.5 | 0 | 0 | 8.67 | 0 | 0 | 72.21
05:45 - 06:00 | 0 | -1 | -1.3 | -641.51 | 0 | 10.59 | 0 | 0 | -10.3 | -0.5 | 0 | 16.37 | 0 | 0 | 16.37 | 0 | 9.63 | 0 | 0 | 0 | -1.5 | -4.5 | -20 | 0 | 8.67 | 28.89 | 0 | 72.21
06:00 - 06:15 | 0 | -1 | -1.3 | -625.37 | 0 | 10.59 | 0 | 0 | -5.3 | -0.5 | 0 | 16.37 | -0.1 | 0 | 16.37 | 19.26 | 9.63 | 0 | 5.78 | 0 | -1.5 | -4.5 | -45 | 0 | 8.67 | 0 | 0 | 41.4
06:15 - 06:30 | 0 | -1 | -1.3 | -638.77 | 0 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 16.37 | -0.2 | 0 | 16.37 | 0 | 9.63 | 0 | 0 | 0 | -1.5 | -4.5 | -40 | 0 | 8.67 | 0 | 0 | 42.36
06:30 - 06:45 | -11 | -1 | -1.2 | -408.04 | 0 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 16.37 | -0.4 | 0 | 16.37 | 0 | 9.63 | 0 | 0 | 0 | -1.5 | -4.5 | 0 | 0 | 8.67 | 0 | 0 | 40.44
06:45 - 07:00 | 0 | -1 | -1.2 | -500 | 0 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 16.37 | -0.7 | 0 | 16.37 | 0 | 9.63 | 0 | 0 | 0 | -1.5 | -6 | 0 | 0 | 8.67 | 0 | 0 | 40.44
07:00 - 07:15 | 0 | -0.5 | -1.2 | -283.78 | 0 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 16.37 | -0.9 | 0 | 16.37 | 0 | 0 | 0 | 0 | 0 | -1.5 | -6 | 0 | 0 | 8.67 | 0 | 0 | 40.44
07:15 - 07:30 | 0 | -0.5 | -1.2 | -150.62 | 0 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 16.37 | -1.2 | 0 | 16.37 | 19.26 | 0 | 0 | 5.78 | 0 | -1.5 | -6 | 0 | 0 | 8.67 | 0 | 0 | 46.21
07:30 - 07:45 | 0 | -0.5 | 0 | -50.01 | 0 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 16.37 | -1.4 | 0 | 11.55 | 19.26 | 0 | 0 | 5.78 | 0 | -6 | -5.5 | -40 | 0 | 8.67 | 0 | 0 | 170.73
07:45 - 08:00 | -5 | -0.5 | 0 | -230.98 | 0 | 10.59 | 0 | 9.63 | 0 | -0.5 | 0 | 16.37 | -1.7 | 0 | 11.55 | 19.26 | 0 | 0 | 5.78 | 0 | -6 | -5.5 | -50 | 0 | 8.67 | 0 | 4.81 | 58.74
08:00 - 08:15 | -5 | -0.5 | 0 | 82.8 | 0 | 10.59 | -1.1 | 9.63 | 0 | -0.5 | -15 | 0 | -2 | 0 | 11.55 | 19.26 | 0 | 0 | 5.78 | 0 | -6 | -5.5 | 0 | 0 | 3.85 | 28.89 | 4.81 | 66.44
08:15 - 08:30 | 0 | -0.5 | 0 | 81.39 | 0 | 10.59 | -1.3 | 9.63 | 0 | -0.5 | 0 | 0 | -2.3 | 0 | 11.55 | 19.26 | 0 | 0 | 5.78 | 0 | -6 | -4.5 | -10 | 0 | 3.85 | 28.89 | 4.81 | 62.59
08:30 - 08:45 | 0 | -0.5 | 0 | 129.85 | 0 | 10.59 | -1.5 | 0 | 0 | -0.5 | 0 | 0 | -2.6 | 0 | 11.55 | 19.26 | 0 | 0 | 5.78 | 0 | -6 | -4.5 | 0 | 0 | 3.85 | 28.89 | 0 | 54.89
08:45 - 09:00 | 0 | -0.5 | 0 | 135.2 | 0 | 10.59 | -0.5 | 0 | 0 | -0.5 | 0 | 0 | -2.9 | 0 | 11.55 | 19.26 | 0 | 0 | 5.78 | 0 | -6 | -4 | 0 | 0 | 3.85 | 28.89 | 0 | 56.81
09:00 - 09:15 | 0 | -0.5 | 0 | 485.63 | 0 | 10.59 | -1 | 0 | 0 | -0.5 | 0 | 0 | -3.2 | 0 | 14.44 | 19.26 | 0 | 0 | 3.85 | 0 | 0 | -4 | 0 | 0 | 3.85 | 28.89 | 4.81 | 57.77
09:15 - 09:30 | -10 | -0.5 | 0 | 583.49 | 0 | 10.59 | -1.2 | 0 | 0 | -0.5 | 0 | 0 | -3.2 | 0 | 14.44 | 19.26 | 0 | 0 | 3.85 | 0 | 0 | -4 | 0 | 0 | 3.85 | 28.89 | 4.81 | 57.77
09:30 - 09:45 | 0 | -0.5 | 0 | 602.75 | 0 | 10.59 | -1.4 | 0 | 0 | -0.5 | 0 | 0 | -3.4 | 0 | 14.44 | 19.26 | 0 | 0 | 3.85 | 0 | 0 | -4 | -8 | 0 | 3.85 | 28.89 | 4.81 | 57.77
09:45 - 10:00 | 0 | -0.5 | 0 | 506.48 | 0 | 10.59 | -1.4 | 0 | 0 | -0.5 | 0 | 0 | -4 | 0 | 14.44 | 19.26 | 0 | 0 | 3.85 | 0 | 0 | -6 | 0 | 0 | 3.85 | 28.89 | 4.81 | 59.7
10:00 - 10:15 | 0 | -0.5 | 0 | 510.37 | 12.81 | 10.59 | -1.1 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 14.44 | 10.59 | 0 | 0 | 3.85 | 0 | 0 | -5 | -10 | 4.81 | 3.85 | 38.52 | 4.81 | 80.88
10:15 - 10:30 | 0 | -0.5 | 0 | 545.69 | 12.9 | 10.59 | -1.2 | 0 | 0 | -0.5 | 0 | 0 | -4.7 | 0 | 14.44 | 10.59 | 0 | 0 | 3.85 | 0 | 0 | -5 | 0 | 4.81 | 3.85 | 38.52 | 4.81 | 79.92
10:30 - 10:45 | 0 | -0.5 | 0 | 365.09 | 0 | 10.59 | -1.6 | 0 | 0 | -0.5 | 0 | 0 | -4.7 | 0 | 14.44 | 10.59 | 0 | 0 | 3.85 | 0 | 0 | -7 | -20 | 0 | 3.85 | 28.89 | 4.81 | 79.92
10:45 - 11:00 | -10 | -0.5 | 0 | 410.19 | 0 | 10.59 | -1.7 | 0 | 0 | -0.5 | 0 | 0 | -4.8 | 0 | 14.44 | 10.59 | 0 | 0 | 3.85 | 0 | 0 | -4.5 | -20 | 0 | 3.85 | 28.89 | 4.81 | 77.03
11:00 - 11:15 | 0 | -0.5 | 0 | 504.4 | 0 | 10.59 | -1.8 | 0 | 0 | -0.5 | 0 | 0 | -4.6 | 0 | 14.44 | 5.78 | 0 | 0 | 3.85 | 0 | 0 | -4.5 | 0 | 0 | 3.85 | 28.89 | 4.81 | 72.22
11:15 - 11:30 | 0 | -0.5 | 0 | 509.23 | 0 | 10.59 | -1.8 | 0 | 0 | -0.5 | 0 | 0 | -4.6 | 0 | 14.44 | 5.78 | 0 | 0 | 3.85 | 0 | 0 | -8 | 0 | 0 | 3.85 | 28.89 | 4.81 | 72.22
11:30 - 11:45 | 0 | -0.5 | 0 | 664.44 | 11.75 | 10.59 | -1.19 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 14.44 | 5.78 | 0 | 0 | 3.85 | 0 | 0 | -3.5 | -10 | 4.81 | 3.85 | 28.89 | 4.81 | 72.22
11:45 - 12:00 | 0 | -0.5 | 0 | 664.45 | 12.04 | 10.59 | -0.77 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 14.44 | 5.78 | 0 | 0 | 3.85 | 0 | 0 | -2.28 | 0 | 4.81 | 3.85 | 28.89 | 4.81 | 72.22
12:00 - 12:15 | 0 | -0.5 | 0 | 671.75 | 12.33 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 14.44 | 5.78 | 0 | 0 | 3.85 | 0 | 0 | 0 | -30 | 4.81 | 3.85 | 28.89 | 4.81 | 72.22
12:15 - 12:30 | 0 | -0.5 | 0 | 671.2 | 13.19 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 14.44 | 5.78 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 4.81 | 3.85 | 28.89 | 4.81 | 72.22
12:30 - 12:45 | 0 | -0.5 | 0 | 576.88 | 12.42 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 14.44 | 5.78 | 0 | 0 | 3.85 | 0 | 0 | 0 | -1.12 | 4.81 | 3.85 | 28.89 | 4.81 | 52
12:45 - 13:00 | 0 | -0.47 | 0 | 577.66 | 7.9 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.44 | 5.78 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 4.81 | 3.85 | 28.89 | 4.81 | 52
13:00 - 13:15 | 0 | -0.81 | 0 | 433.24 | 9.34 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.44 | 5.78 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 4.81 | 3.85 | 19.26 | 4.81 | 52
13:15 - 13:30 | 0 | -0.81 | 0 | 433.23 | 10.5 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.44 | 5.78 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 4.81 | 3.85 | 19.26 | 4.81 | 52
13:30 - 13:45 | 0 | -0.68 | 0 | 577.68 | 9.24 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.37 | 5.78 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 4.81 | 3.85 | 9.63 | 4.81 | 52
13:45 - 14:00 | 0 | -0.95 | 0 | 577.67 | 10.01 | 10.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.37 | 5.78 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 4.81 | 3.85 | 9.63 | 4.81 | 51.03
14:00 - 14:15 | 0 | -1 | 0 | 671.76 | 9.44 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 16.37 | 10.59 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 4.81 | 3.85 | 0 | 4.81 | 61.63
14:15 - 14:30 | 0 | -1 | 0 | 765.56 | 11.27 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 16.37 | 10.59 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | 4.81 | 3.85 | 0 | 4.81 | 61.63
14:30 - 14:45 | 0 | -1 | 0 | 1097.79 | 10.11 | 10.59 | -0.29 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 16.37 | 10.59 | 0 | 0 | 3.85 | 0 | 0 | -0.9 | -20 | 4.81 | 3.85 | 0 | 4.81 | 54.89
14:45 - 15:00 | 0 | -1 | 0 | 1056 | 12.9 | 10.59 | -1.2 | 0 | 0 | -0.5 | 0 | 0 | -3 | 0 | 16.37 | 10.59 | 0 | 0 | 3.85 | 0 | 0 | -4.5 | 0 | 4.81 | 3.85 | 0 | 4.81 | 61.63
15:00 - 15:15 | 0 | -1 | 0 | 1153.25 | 0 | 10.59 | -1.1 | 0 | 0 | -0.5 | 0 | 0 | -2.8 | 0 | 16.37 | 10.59 | 0 | 0 | 3.85 | 0 | 0 | -4.5 | -40 | 0 | 3.85 | 0 | 4.81 | 61.63
15:15 - 15:30 | -10 | -1 | 0 | 1147.22 | 0 | 10.59 | -1 | 0 | 0 | -0.5 | 0 | 0 | -2.6 | 0 | 16.37 | 10.59 | 0 | 0 | 3.85 | 0 | 0 | -4.5 | -40 | 0 | 3.85 | 0 | 4.81 | 61.63
15:30 - 15:45 | 0 | -1 | 0 | 1145.48 | 0 | 10.59 | -0.9 | 0 | 0 | -0.5 | 0 | 0 | -2.3 | 0 | 16.37 | 10.59 | 0 | 0 | 3.85 | 0 | 0 | -4.8 | -30 | 0 | 3.85 | 0 | 4.81 | 51.23
15:45 - 16:00 | 0 | -1 | 0 | 1056.91 | 0 | 10.59 | 0 | 0 | 0 | -0.5 | -15 | 0 | -2.1 | 0 | 16.37 | 10.59 | 0 | 0 | 3.85 | 0 | 0 | -4.8 | -40 | 0 | 3.85 | 0 | 4.81 | 51.23
16:00 - 16:15 | 0 | -1 | 0 | 522.62 | 0 | 10.59 | -0.7 | 0 | 0 | -0.5 | 0 | 19.26 | -1.8 | 0 | 16.37 | 0 | 0 | 0 | 3.85 | 0 | 0 | -4.8 | -40 | 0 | 8.67 | 0 | 4.81 | 51.42
16:15 - 16:30 | 0 | -1 | 0 | 428.48 | 0 | 10.59 | -0.5 | 9.63 | 0 | -0.5 | 0 | 19.26 | -1.5 | 0 | 11.55 | 0 | 0 | 0 | 3.85 | 0 | 0 | -6.5 | -30 | 0 | 8.67 | 0 | 4.81 | 52
16:30 - 16:45 | 0 | -0.5 | 0 | 160.71 | 0 | 10.59 | -0.6 | 9.63 | 0 | -0.5 | 0 | 19.26 | -1.3 | -0.5 | 11.55 | 0 | 0 | 0 | 3.85 | 0 | 0 | -6.5 | 0 | 0 | 8.67 | 0 | 4.81 | 51.23
16:45 - 17:00 | 0 | -0.5 | 0 | 147.38 | 0 | 10.59 | -0.5 | 0 | 0 | -0.5 | 0 | 19.26 | -0.9 | -0.5 | 11.55 | 0 | 0 | 0 | 3.85 | 0 | 0 | -5 | -20 | 0 | 8.67 | 0 | 0 | 51.9
17:00 - 17:15 | 0 | -0.2 | 0 | 54.83 | 0 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 19.26 | -0.6 | -2 | 11.55 | 0 | 0 | 0 | 19.26 | 0 | 0 | -5 | -20 | 0 | 8.67 | 0 | 0 | 51.8
17:15 - 17:30 | 0 | -0.2 | 0 | 5.32 | 0 | 10.59 | 0 | 0 | 0 | -0.5 | 0 | 19.26 | -0.4 | -2 | 11.55 | 0 | 0 | 0 | 19.26 | 0 | 0 | -4.2 | 0 | 0 | 8.67 | 0 | 0 | 51.42
17:30 - 17:45 | 0 | -0.2 | 0 | 385.16 | 0 | 10.59 | 0 | 0 | 0 | -0.7 | 0 | 19.26 | -0.1 | -2 | 11.55 | 0 | 0 | 0 | 19.26 | 0 | 0 | -4.2 | 0 | 0 | 8.67 | 0 | 0 | 13.48
17:45 - 18:00 | 0 | -0.2 | 0 | 388.79 | 0 | 10.59 | 0 | 0 | 0 | -0.7 | 0 | 19.26 | 0 | -2 | 11.55 | 0 | 0 | 0 | 19.26 | 0 | 0 | -4.2 | -10 | 0 | 8.67 | 0 | 0 | 51.8
18:00 - 18:15 | 0 | -0.2 | 0 | 304.95 | 19.26 | 10.59 | 0 | 9.63 | 0 | -0.7 | 0 | 19.26 | 0 | 0 | 16.37 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | 0 | 4.81 | 8.67 | 0 | 4.81 | 52
18:15 - 18:30 | 0 | -0.2 | 0 | 628.82 | 0 | 10.59 | 0 | 0 | 0 | -0.7 | 0 | 19.26 | 0.39 | 0 | 11.55 | 0 | 0 | 0 | 19.26 | 0 | 0 | 0 | -10 | 0 | 8.67 | 0 | 0 | 266.05
18:30 - 18:45 | 0 | -0.2 | 0 | 607.58 | 0 | 10.59 | 0 | 0 | 0 | -0.7 | 0 | 16.37 | 0 | 0 | 16.37 | 0 | 0 | -2 | 19.26 | 0 | 0 | 0 | -35 | 0 | 8.67 | 0 | 0 | 0
18:45 - 19:00 | 0 | -0.2 | 0 | 328.28 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 16.37 | 0 | 0 | 16.37 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | -0.2 | -1.2 | 337.02 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | -0.2 | -1.2 | 337.01 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 191.04
19:30 - 19:45 | 0 | -0.2 | -1.3 | 433.31 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 214.53
19:45 - 20:00 | 0 | -0.2 | -1.3 | 433.3 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 216.27
20:00 - 20:15 | 0 | -0.2 | -1.3 | 481.45 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210.97
20:15 - 20:30 | 0 | -0.2 | -1.3 | 385.16 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -45 | 0 | 0 | 0 | 0 | 205.1
20:30 - 20:45 | 0 | -0.2 | -1.3 | 385.16 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 179.39
20:45 - 21:00 | 0 | -0.2 | -1.3 | 385.16 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 173.32
21:00 - 21:15 | 0 | -0.2 | -1.3 | 385.16 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 126.53
21:15 - 21:30 | 0 | -0.2 | -1.3 | 385.16 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 129.61
21:30 - 21:45 | 0 | -0.6 | -1.3 | 385.16 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 114.78
21:45 - 22:00 | 0 | -0.6 | -1.3 | 385.16 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | -45 | 0 | 0 | 0 | 0 | 108.62
22:00 - 22:15 | 0 | -0.6 | -1.3 | 192.58 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -45 | 0 | 0 | 0 | 0 | 120.56
22:15 - 22:30 | 0 | -0.6 | -1.3 | 192.58 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 154.26
22:30 - 22:45 | 0 | -0.2 | -1.2 | 288.87 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 147.42
22:45 - 23:00 | 0 | -0.2 | -1.2 | 288.87 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 140.78
23:00 - 23:15 | 0 | -0.2 | -1.2 | 288.87 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72.31
23:15 - 23:30 | 0 | -0.2 | -1.2 | 192.58 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 24.94
23:30 - 23:45 | 0 | -0.2 | -1.2 | 207.33 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 16.37 | 0 | -1.5 | 14.44 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | -45 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | -0.2 | -1.2 | 218.6 | 0 | 10.59 | 0 | 0 | 0 | -0.7 | 0 | 16.37 | 0 | -1.5 | 14.44 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | -25 | 0 | 8.67 | 0 | 0 | 0
Average | -0.53125 | -0.52521 | -0.53854 | 228.787 | 2.0564 | 8.3838 | -0.2849 | 1.1034 | -1.9375 | -0.52813 | -0.3125 | 8.2753 | -0.73437 | -0.44792 | 10.9916 | 7.2841 | 2.6081 | -0.45833 | 4.3133 | -0.125 | -0.83333 | -2.9133 | -12.4908 | 0.85177 | 4.8958 | 8.5265 | 2.0042 | 76.723