## POWER STATUS
POWER STATUS ON DT 11.08.2026
[9 empty] | 2026-08-11 | 2026-08-10
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 19:00
Demand -> | [8 empty] | 5389.2754 | 5992.2709
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 204.83 | 4.9159 | 630/590 ft | 613.73 | 613.75 | 613.89 | 205.2809 | 205.0437
| Chiplima | 72(3x24) | 56.17 | 1.3481 | - |  |  |  | 55.4753 | 56.1651
| Balimela | 510(6x60+2x75) | 28.875 | 0.693 | 1516/1440 ft | 1467.1 | 1461.5 | 1461.9 | 0 | 118.9725
| Rengali | 250(5x50) | 238.28 | 5.7187 | 123.5/109.75 mt | 121.81 | 122.06 | 122.19 | 241.2064 | 241.85
| Upper Kolab | 320(4x80) | 38.71 | 0.92904 | 858/844 mt | 852.32 | 850.18 | 850.2 | 21.8242 | 77.0332
| Upper Indravati | 600(4x150) | 0 | 0 | 642/625 mt | 634.27 | 633.8 | 633.92 | 0.28909 | 0.29202
| Machkund | 60(50% of(3x17+3x23)) | 1.25 | 0.03 | 2750/2685 ft | 2740.7 | 2721.4 | 2721.7 | 5.1995 | 4.9144
| Total Hydro | 2099.5 | 568.115 | 13.6348 |  |  |  |  | 529.2754 | 704.2709
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1527.7 | 36.6648 | RENEWABLE ENERGY (RE) |  |  |  | 1531 | 1569
[5 empty] | M.Hydl | 120.64
| Total Thermal | 2200 | 1527.7 | 36.6648 | Solar | 127.03 |  |  | 1531 | 1569
IPP | VEDANTA #2 | 600 (1x600) | 385.11 | 9.2426 | Total IPPs | Yesterday's Demand Profile |  |  | 376.8945 | 393.5156
| GMR #3 | 350 (1x350) | 287.34 | 6.8962 | 767.05 |  | MW | HRS | 325.4203 | 318.0433
| NBVL(IPP) | 60(1x60) | 48.65 | 1.1676 |  |  |  |  | 35.0019 | 54.5501
| MDTPC |  | 45.95 | 1.1028 |  |  |  |  | 30.5767 | 54.9224
| CGPs |  | 721.33 | 17.3119 | IPPs, CGPs & RE | Maximum | 6208 | 11:00 | 1958 | 1639
| Central Sector(Drawl) |  | 1984.8944 | 47.6375 | 1736.05 | Minimum | 5414 | 06:00 | 1371 | 2080
| Central Sector(Sch) |  | 2117.4602 | 50.819 |  | Average | 5816.7594 |  | 1799 | 1677
| Grand Total |  | 5816.7594 | 139.6022 | Instantaneous Peak demand |  | 6417.6328 | 46244.4361 | 5389.2754 | 5992.2709
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(4)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1588 | 38.112 | 1543 | 37.032 | 1575 | 37.8
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2076 | 49.824 | 2102 | 50.448 | 1625 | 39
Rengali | NIL | TSTPP St-II | 3 | TPNODL | 1226 | 29.424 | 1240 | 29.76 | 1182 | 28.368
U.Kolab | 1,2,3 | KAHALGAON | NIL | TPSODL | 584 | 14.016 | 591 | 14.184 | 582 | 13.968
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5474 | 131.376 | 5476 | 131.424 | 4964 | 119.136
Machhkund | 02 to 06 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 377 | GMR |  |  |  | 325
| NBVL #3 | 35 | MDTPC |  |  |  | 31
Mini Hydel: | MEENAKSHI | 41 | OPCL |  |  |  | 0
| BTPL | 48 | SAPTADHARA |  |  |  | 20
Solar: |  | 225 | KAKATIYA |  |  |  | 4
CGPs : | JSPL (Angul) | 340.0805 | JSL(Duburi) |  |  |  | -60.6397
| ICCL | 46.4225 | visa |  |  |  | 14.1357
| NALCO | -145.9923 | VAL (CGP) |  |  |  | 203.6934
| RSP | -64.2264 | BSL(MMDL) |  |  |  | 33.7525
| INDAL | 4.7741 | ADITYA ALUMINIUM |  |  |  | 39.5973
| NINL | -28.4537 | VAL CPP 400 kV |  |  |  | -557.4855
| NBVL | 34.6581 | Arati |  |  |  | 9.8758
| BPSL(JSG) | -35.2058 | BPPL |  |  |  | 61.7795
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-03 | 2026-08-04 | 2026-08-05 | 2026-08-06 | 2026-08-07 | 2026-08-08 | 2026-08-09 | 2026-08-10
782.56 | 827.1913 | 808.337 | 777.68 | 716.44 | 553.7199 | 554.5899 | 568.115
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.10.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | -4.75 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.74
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AGE26AL_PSS6_KPS1_S | ODISHA | 138.94
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -14.17 | AP41PL_BHDL | ODISHA | 53.61
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -5.83 | AP43PL_BKN | ODISHA | 69.8
JPIPL | NPCL_UP | -14 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 4.4
JSPLANGUL | GEB_Beneficiary | -31.41 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 9.52
JSPLANGUL | RUVITSL | -26.42 | DCBL_Rajgangpur | DALCEMAP | -0.75 | AWEK1L | ODISHA | 14.28
MAADURGA_THERMAL | NPCL_UP | -16.69 | DCBL_Rajgangpur | DCL_RCW | -2.71 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.41
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -3.88 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 33.92
VSL | CR_IR_MS | -10 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.08
FARIDABAD_SOLAR | ODISHA | 0.86 | FACORPOWER | PSPCL | -5.83 | DADRI_SOLAR | ODISHA | 0.68
JSWEL_UTKAL | ODISHA | 63.13 | FACORPOWER | PSPCL | -14.17 | ENERSON_SOLAR_10MW | ODISHA | 0.28
RAJ_SOLAR | ODISHA | 2.24 | FACORPOWER | PSPCL | -3.54 | GADAG_GreenInfra_W | ODISHA | 0.72
RAJ_SOLAR | ODISHA | 2.31 | FACORPOWER | PSPCL | -1.46 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | JSPLANGUL | RUVITSL | -64.17 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_Serentica3_S | VLSEZ | 34.41
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GADAG_Serentica3_W | VLSEZ | 95.34
|  |  | NBVLIPP | BSPHCL | -3.54 | GIWEL_SECI_II_RE | ODISHA | 45.48
|  |  | NBVLIPP | BSPHCL | -14.38 | GPCL_SOLAR_10 | ODISHA | 0.61
|  |  | OCL_IRON_STEEL | BRPL | -4.67 | GSECL_SOLAR | ODISHA | 1.13
|  |  | OCL_IRON_STEEL | BRPL | -11.33 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.04
|  |  | OCL_IRON_STEEL | CSEB_Beneficiary | -35 | KARUR_TPVARDHAMAN_W | TSKPO | 92.02
|  |  | ORSISL | PSPCL | -1.17 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
|  |  | ORSISL | PSPCL | -2.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 4.67
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | NTPCRE1_SMND_BHJ2_W | ODISHA | 0.15
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 8.13
|  |  | VSL | WBSEDCL | -4.17 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | JIPL | ODISHA | 115.66 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
|  |  | NALCOAP | NACL_Odisha | 23.97 | OKWPL_RE | ODISHA | 22.89
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 55.5
[6 empty] | RWE_AP2_SECI_III | ODISHA | 19.66
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 15.78
[6 empty] | SRI9PL_FTG3 | VLSEZ | 70.47
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.08
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.09
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 48.26
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 4.39
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 1.99
[6 empty] | XXPPL_FTG3 | ODISHA | 62.52

## DAM
DAM TRADING DETAILS FOR DT : 10.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | JSW_Cement_Ltd | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Shri_Jagannath_Steels_&_Power_Ltd | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0 | 0 | 0 | 177.34
00:15 - 00:30 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0 | 0 | 0 | 80
00:30 - 00:45 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0 | 0 | 0 | 18.12
00:45 - 01:00 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0 | 0 | 0 | 12.24
01:00 - 01:15 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0 | 0 | 0 | 0
01:15 - 01:30 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0 | 0 | 0 | 69.59
01:30 - 01:45 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0 | 0 | 0 | 39.42
01:45 - 02:00 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0 | 0 | 0 | 0
02:00 - 02:15 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0 | 0 | 0 | 0
02:15 - 02:30 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0 | 0 | 0 | 0
02:30 - 02:45 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0 | 0 | 0 | 0
02:45 - 03:00 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0 | 0 | 0 | 0
03:00 - 03:15 | -2.5 | 0 | 0 | -75 | 3.08 | -1.2 | 0 | -1 | 0 | 5.79 | -4 | 0 | 4.82 | 0 | 0
03:15 - 03:30 | -2.5 | 0 | 0 | -75 | 3.08 | -1.2 | 9.64 | -1 | 0 | 5.78 | -4 | 0 | 4.82 | 0 | 0
03:30 - 03:45 | -2.5 | 0 | 0 | -75 | 3.08 | -1.2 | 9.64 | -1 | 0 | 5.78 | -4 | 0 | 4.82 | 0 | 0
03:45 - 04:00 | -2.5 | 0 | 0 | -75 | 3.08 | -1.2 | 9.64 | -1 | 0 | 5.78 | -4 | 0 | 4.82 | 0 | 0
04:00 - 04:15 | -2.5 | 0 | 0 | -75 | 3.08 | -1.2 | 9.64 | -1 | 0 | 5.78 | -4 | 0 | 4.82 | 0 | 195.66
04:15 - 04:30 | -2.5 | 0 | 0 | -75 | 3.08 | -1.2 | 9.64 | -1 | 0 | 5.78 | -4 | 0 | 4.82 | 0 | 195.66
04:30 - 04:45 | -2.5 | 0 | 0 | -75 | 3.08 | -1.2 | 9.64 | -1 | 0 | 5.78 | -4 | 0 | 4.82 | 0 | 195.66
04:45 - 05:00 | -2.5 | 0 | 0 | -75 | 3.08 | -1.2 | 9.64 | -1 | 0 | 5.78 | -4 | 0 | 4.82 | 0 | 195.66
05:00 - 05:15 | -2.5 | 0 | 0 | -75 | 3.08 | -1.4 | 0 | -3 | -43 | 5.78 | -4 | 0 | 4.82 | 0 | 195.66
05:15 - 05:30 | -2.5 | 0 | 0 | -75 | 3.08 | -1.4 | 0 | -3 | -43 | 5.78 | -4 | 0 | 0 | 0 | 195.66
05:30 - 05:45 | -2.5 | 0 | 0 | -75 | 3.08 | -1.4 | 0 | -3 | -43 | 5.78 | -4 | 0 | 0 | 0 | 195.66
05:45 - 06:00 | -2.5 | 0 | 0 | -75 | 3.08 | -1.4 | 0 | -3 | -43 | 0 | -4 | 0 | 0 | 0 | 0
06:00 - 06:15 | -2.5 | 0 | 0 | -275 | 0 | -1.4 | 0 | -3 | -43 | 0 | -3 | 0 | 0 | -6 | 0
06:15 - 06:30 | -2.5 | 0 | 0 | -275 | 0 | -1.4 | 0 | -3 | -43 | 0 | -3 | 0 | 0 | -6 | 0
06:30 - 06:45 | -2.5 | 0 | 0 | -275 | 0 | -1.4 | 0 | -3 | -43 | 0 | -3 | 0 | 0 | -6 | 0
06:45 - 07:00 | -2.5 | 0 | 0 | -275 | 0 | -1.4 | 0 | -3 | -43 | 0 | -3 | 0 | 0 | -6 | 0
07:00 - 07:15 | -2.5 | 0 | 0 | -425 | 0 | -1.4 | 0 | -3 | -43 | 0 | -3 | 0 | 0 | -6 | 0
07:15 - 07:30 | -2.5 | 0 | 0 | -350 | 0 | -1.4 | 0 | -3 | -43 | 0 | -3 | 0 | 0 | -6 | 0
07:30 - 07:45 | -2.5 | 0 | 0 | -345.22 | 0 | -1.4 | 0 | -3 | -43 | 5.78 | -3 | 0 | 0 | -6 | 0
07:45 - 08:00 | -2.5 | 0 | 0 | -225 | 0 | -1.4 | 0 | -3 | -43 | 5.78 | -3 | 0 | 0 | -6 | 0
08:00 - 08:15 | -2.5 | 22.17 | 0 | -600 | 3.08 | -1.4 | 9.64 | -1 | -18 | 5.78 | -3 | 0 | 4.82 | -6 | 0
08:15 - 08:30 | -2.5 | 22.17 | 0 | -600 | 3.08 | -1.4 | 9.64 | -1 | -18 | 5.78 | -3 | 0 | 4.82 | -6 | 0
08:30 - 08:45 | -2.5 | 22.17 | 0 | -492.6 | 3.08 | -1.4 | 9.64 | -1 | -18 | 5.78 | -3 | 0 | 4.82 | -6 | 0
08:45 - 09:00 | -2.5 | 22.17 | 0 | -492.25 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | -6 | 0
09:00 - 09:15 | -2.5 | 22.17 | 0 | -520.52 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | -6 | 151.32
09:15 - 09:30 | -2.5 | 22.17 | 0 | -382.05 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 132.04
09:30 - 09:45 | -2.5 | 22.17 | 0 | -380.62 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 97.35
09:45 - 10:00 | -2.5 | 22.17 | 0 | -71.25 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 75.18
10:00 - 10:15 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 50.12
10:15 - 10:30 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 54.94
10:30 - 10:45 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 59.76
10:45 - 11:00 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 3.37 | 0 | 0 | 61.69
11:00 - 11:15 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0.67 | 0 | 0 | 64.58
11:15 - 11:30 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0.58 | 0 | 0 | 64.58
11:30 - 11:45 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0.19 | 0 | 0 | 64.58
11:45 - 12:00 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 59.76
12:00 - 12:15 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0.29 | 0 | 0 | 35.66
12:15 - 12:30 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 1.35 | 0 | 0 | 6.75
12:30 - 12:45 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 74.22
12:45 - 13:00 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 45.3
13:00 - 13:15 | -2.5 | 22.18 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 16.38
13:15 - 13:30 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 80
13:30 - 13:45 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 52.05
13:45 - 14:00 | -2.5 | 22.18 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 18.31
14:00 - 14:15 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 26.99
14:15 - 14:30 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 31.81
14:30 - 14:45 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 0
14:45 - 15:00 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 0
15:00 - 15:15 | -2.5 | 22.18 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 0.96
15:15 - 15:30 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 12.53
15:30 - 15:45 | -2.5 | 22.17 | 0 | -375.61 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | 0 | 32.77
15:45 - 16:00 | -2.5 | 22.17 | 0 | -554.05 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0 | 0 | -6 | 52.05
16:00 - 16:15 | -2.5 | 22.17 | 0 | -750 | 3.08 | -1.4 | 0 | -1 | -43 | 5.78 | -3 | 0 | 0 | -6 | 0
16:15 - 16:30 | -2.5 | 22.17 | 0 | -750 | 3.08 | -1.4 | 0 | -1 | -43 | 5.78 | -3 | 0 | 0 | -6 | 0
16:30 - 16:45 | -2.5 | 22.18 | 0 | -750.01 | 3.08 | -1.4 | 0 | -1 | -43 | 5.78 | -3 | 0 | 2.54 | -6 | 0
16:45 - 17:00 | -2.5 | 22.17 | 0 | -943.56 | 3.08 | -1.4 | 0 | -1 | -43 | 5.78 | -3 | 0 | 0 | -6 | 0
17:00 - 17:15 | -2.5 | 0 | 0 | -704.07 | 3.08 | -1.2 | 0 | -3 | -43 | 5.79 | -3 | 0 | 0 | -6 | 0
17:15 - 17:30 | -2.5 | 0 | 0 | -590.5 | 3.08 | -1.2 | 0 | -3 | -43 | 5.79 | -3 | 0 | 0 | -6 | 0
17:30 - 17:45 | -2.5 | 0 | 0 | -704.8 | 3.08 | -1.2 | 0 | -3 | -43 | 5.79 | -3 | 0 | 0 | -6 | 0
17:45 - 18:00 | -2.5 | 0 | 0 | -775 | 3.08 | -1.2 | 0 | -3 | -43 | 5.79 | -3 | 0 | 0 | -6 | 0
18:00 - 18:15 | -2.5 | 0 | 0 | -100 | 0 | -1.2 | 0 | -3 | -43 | 5.78 | -3 | 0 | 0 | 0 | 196.62
18:15 - 18:30 | -2.5 | 0 | 0 | -100 | 0 | -1.2 | 0 | -3 | -43 | 5.78 | -3 | 0 | 0 | 0 | 195.65
18:30 - 18:45 | -2.5 | 0 | 0 | -350 | 0 | -1.2 | 0 | -3 | -43 | 0 | -3 | 0 | 0 | 0 | 0
18:45 - 19:00 | -2.5 | 0 | 0 | -350 | 0 | -1.2 | 0 | -3 | -43 | 0 | -3 | 0 | 0 | 0 | 0
19:00 - 19:15 | -2.5 | 0 | 0 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2.5 | 0 | 0 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2.5 | 0 | 0 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
19:45 - 20:00 | -2.5 | 0 | 0 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2.5 | 0 | -10 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2.5 | 0 | -10 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
20:30 - 20:45 | -2.5 | 0 | -10 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
20:45 - 21:00 | -2.5 | 0 | -10 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
21:00 - 21:15 | -2.5 | 0 | -10 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
21:15 - 21:30 | -2.5 | 0 | -10 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
21:30 - 21:45 | -2.5 | 0 | -10 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
21:45 - 22:00 | -2.5 | 0 | -10 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
22:00 - 22:15 | -2.5 | 0 | -10 | -100 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
22:15 - 22:30 | -2.5 | 0 | -10 | -100 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
22:30 - 22:45 | -2.5 | 0 | -10 | -100 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
22:45 - 23:00 | -2.5 | 0 | -10 | -100 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
23:00 - 23:15 | -2.5 | 0 | -10 | -145.47 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
23:15 - 23:30 | -2.5 | 0 | -10 | -100 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
23:30 - 23:45 | -2.5 | 0 | -10 | -100 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
23:45 - 24:00 | -2.5 | 0 | -10 | -100 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | 0 | 0
Average | -2.5 | 8.3142 | -1.6667 | -161.9719 | 1.6683 | -1.3 | 1.0042 | -1.8333 | -16.75 | 4.0345 | -3.25 | 0.067188 | 0.62896 | -1.375 | 37.2946

## GDAM
GDAM TRADING DETAILS FOR DT:10.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 34.4
00:15 - 00:30 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 142.64
00:30 - 00:45 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 177.53
00:45 - 01:00 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 183.41
01:00 - 01:15 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 126.06
01:30 - 01:45 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 156.23
01:45 - 02:00 | 0 | 0 | 14.46 | 4.66 | 0 | 0 | 0 | 0 | 195.64
02:00 - 02:15 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 195.65
02:15 - 02:30 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 195.65
02:30 - 02:45 | 0 | 0 | 14.46 | 11.31 | 0 | 0 | 0 | 0 | 195.64
02:45 - 03:00 | 0 | 0 | 14.46 | 33.73 | 0 | 0 | 0 | 0 | 195.65
03:00 - 03:15 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 195.65
03:15 - 03:30 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 195.65
03:30 - 03:45 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 195.65
03:45 - 04:00 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 195.65
04:00 - 04:15 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 174.47
07:15 - 07:30 | 0 | 0 | 14.46 | 17.92 | 0 | 0 | 0 | 0 | 195.65
07:30 - 07:45 | 0 | 0 | 14.46 | 33.73 | 0 | 0 | 0 | 0 | 195.65
07:45 - 08:00 | 0 | 0 | 14.46 | 33.73 | 0 | 0 | 0 | 0 | 196.62
08:00 - 08:15 | 0 | 0 | 19.28 | 0 | 0 | 0 | 0 | 0 | 289.14
08:15 - 08:30 | 0 | 0 | 19.28 | 0 | 0 | 0 | 0 | 0 | 289.14
08:30 - 08:45 | 0 | 0 | 19.28 | 0 | 0 | 0 | 0 | 0 | 289.14
08:45 - 09:00 | 0 | 0 | 19.28 | 0 | 9.64 | 0 | 3.86 | 4.82 | 289.13
09:00 - 09:15 | 0 | 0 | 19.28 | 0 | 9.64 | 0 | 3.86 | 4.82 | 289.13
09:15 - 09:30 | 0 | 0 | 19.28 | 0 | 9.64 | 0 | 3.86 | 4.82 | 289.13
09:30 - 09:45 | 0 | 0 | 19.28 | 0 | 9.64 | 0 | 3.86 | 4.82 | 289.13
09:45 - 10:00 | 0 | 4.2 | 19.28 | 0 | 9.64 | 0.09 | 3.86 | 4.82 | 289.13
10:00 - 10:15 | 0 | 130.8 | 19.28 | 0 | 9.64 | 2.61 | 3.86 | 4.82 | 289.13
10:15 - 10:30 | 0 | 249.41 | 19.28 | 0 | 9.64 | 4.82 | 3.86 | 4.82 | 289.13
10:30 - 10:45 | 0 | 267.42 | 19.28 | 0 | 9.64 | 4.82 | 3.86 | 4.82 | 289.12
10:45 - 11:00 | -2.6 | 70.75 | 19.28 | 0 | 9.64 | 1.42 | 3.86 | 4.82 | 289.13
11:00 - 11:15 | -2.2 | 206.56 | 19.28 | 0 | 9.64 | 4.13 | 3.86 | 4.82 | 289.13
11:15 - 11:30 | -2 | 211.16 | 19.28 | 0 | 9.64 | 4.22 | 3.86 | 4.82 | 289.13
11:30 - 11:45 | -3.8 | 227.15 | 19.28 | 0 | 9.64 | 4.54 | 3.86 | 4.82 | 289.13
11:45 - 12:00 | -5.3 | 244.52 | 19.28 | 0 | 9.64 | 4.82 | 3.86 | 4.82 | 289.12
12:00 - 12:15 | -5 | 225.26 | 19.28 | 0 | 9.64 | 4.5 | 3.86 | 4.82 | 289.13
12:15 - 12:30 | 0 | 172.54 | 19.28 | 0 | 9.64 | 3.45 | 3.86 | 4.82 | 289.13
12:30 - 12:45 | 0 | 288.89 | 19.28 | 0 | 9.64 | 4.82 | 3.86 | 4.82 | 192.76
12:45 - 13:00 | 0 | 288.89 | 19.28 | 0 | 9.64 | 4.82 | 3.86 | 4.82 | 192.76
13:00 - 13:15 | 0 | 287.78 | 19.28 | 0 | 9.64 | 4.82 | 3.86 | 4.82 | 192.76
13:15 - 13:30 | 0 | 288.98 | 19.28 | 0 | 9.64 | 4.82 | 3.86 | 4.82 | 96.38
13:30 - 13:45 | 0 | 292.55 | 19.28 | 0 | 9.64 | 4.82 | 3.86 | 4.82 | 96.38
13:45 - 14:00 | 0 | 288.96 | 19.28 | 0 | 9.64 | 4.82 | 3.86 | 4.82 | 96.38
14:00 - 14:15 | 0 | 289.04 | 19.28 | 0 | 9.64 | 4.82 | 3.86 | 4.82 | 48.19
14:15 - 14:30 | 0 | 270.03 | 19.28 | 0 | 9.64 | 4.82 | 3.86 | 4.82 | 0
14:30 - 14:45 | 0 | 265.18 | 19.28 | 0 | 9.64 | 4.82 | 3.86 | 4.82 | 0
14:45 - 15:00 | 0 | 264.95 | 19.28 | 0 | 9.64 | 4.82 | 3.86 | 4.82 | 0
15:00 - 15:15 | 0 | 0 | 19.27 | 0 | 9.64 | 0 | 3.86 | 4.82 | 0
15:15 - 15:30 | 0 | 0 | 19.27 | 0 | 9.64 | 0 | 3.86 | 4.82 | 0
15:30 - 15:45 | 0 | 0 | 19.27 | 0 | 9.64 | 0 | 3.86 | 4.82 | 0
15:45 - 16:00 | 0 | 0 | 19.27 | 0 | 9.64 | 0 | 3.86 | 4.82 | 0
16:00 - 16:15 | 0 | 0 | 14.46 | 0 | 9.64 | 0 | 3.86 | 4.82 | 64.56
16:15 - 16:30 | 0 | 0 | 14.46 | 0 | 9.64 | 0 | 3.86 | 4.82 | 79.02
16:30 - 16:45 | 0 | 0 | 14.46 | 0 | 9.64 | 0 | 0 | 0 | 101.19
16:45 - 17:00 | 0 | 0 | 14.46 | 0 | 1.93 | 0 | 0 | 0 | 133.96
17:00 - 17:15 | 0 | 0 | 14.46 | 33.73 | 0 | 0 | 0 | 0 | 175.41
17:15 - 17:30 | 0 | 0 | 14.46 | 33.73 | 0 | 0 | 0 | 0 | 195.65
17:30 - 17:45 | 0 | 0 | 14.46 | 33.73 | 0 | 0 | 0 | 0 | 195.65
17:45 - 18:00 | 0 | 0 | 14.46 | 33.73 | 0 | 0 | 0 | 0 | 196.62
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.21771 | 50.3648 | 12.6019 | 2.8125 | 3.2334 | 0.91271 | 1.2465 | 1.5565 | 110.4741

## RTM
RTM TRADING DETAILS FOR DT: 10.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | 0 | 0 | 9.32 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.62 | 0 | 0 | 0 | 46.27 | 0
00:15 - 00:30 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 82.89 | 0
01:15 - 01:30 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -140.08 | 0 | 10.61 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -120.61 | 0 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | -1 | 11.57 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -151.15 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -152.31 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -140.94 | 0 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 9.64 | 0 | 0 | -3 | 0 | -20 | 8.67 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -140.46 | 0 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 9.64 | 0 | 0 | -3 | 0 | -20 | 8.67 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -50.67 | 0 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 19.27 | 0 | -1 | 11.57 | 9.64 | 9.64 | 9.64 | 19.28 | -15 | 0 | -10 | 8.67 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | -1.5 | 0 | 0 | 0 | -0.5 | 0 | 0 | -44.1 | 0 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 19.27 | 0 | -1 | 11.57 | 9.64 | 9.64 | 9.64 | 19.28 | -15 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -90.57 | 0 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 19.27 | 0 | -1 | 11.57 | 0 | 9.64 | 9.64 | 19.28 | -15 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | -1.5
03:45 - 04:00 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -100.03 | 0 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 19.27 | 0 | -1 | 11.57 | 0 | 9.64 | 6.42 | 0 | -15 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | -1.5
04:00 - 04:15 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -162.06 | 0 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 19.27 | 0 | -1 | 11.57 | 9.64 | 9.64 | 9.64 | 19.28 | -15 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | -1.5
04:15 - 04:30 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -160.51 | 0 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 19.27 | 0 | -1 | 11.57 | 9.64 | 9.64 | 9.64 | 19.28 | -15 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | -1.5
04:30 - 04:45 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -199.96 | 0 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | -1 | 11.57 | 0 | 9.64 | 9.64 | 0 | -15 | 0 | -20 | 8.67 | 0 | 5.2 | 0 | 0 | -1.5
04:45 - 05:00 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -225.71 | 0 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | -1 | 11.57 | 0 | 9.64 | 0 | 0 | -15 | 0 | -10 | 8.67 | 0 | 0 | 0 | 0 | -1.5
05:00 - 05:15 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -231.98 | 0 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 11.57 | 0 | 9.64 | 0 | 0 | -15 | 0 | -10 | 8.67 | 0 | 0 | 0 | 0 | -1.5
05:15 - 05:30 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -250.62 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5
05:30 - 05:45 | -1.5 | 0 | 0 | 0 | -0.9 | -1.2 | 0 | -453.1 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5
05:45 - 06:00 | -1.5 | 0 | 0 | 0 | -0.9 | -1.2 | 0 | -353.1 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 127.22 | -1.5
06:00 - 06:15 | -1.5 | 0 | 0 | 0 | -0.9 | -1.2 | 0 | -254.18 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | 0 | 117.58 | -1.5
06:15 - 06:30 | -1.5 | 0 | 0 | 0 | -0.9 | -1.2 | 0 | -154.42 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | 0 | 110.84 | -1.5
06:30 - 06:45 | -1.5 | -5 | 0 | 0 | -0.9 | -1.2 | 0 | -161.16 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 110.84 | -5
06:45 - 07:00 | -1.5 | 0 | 0 | 0 | -0.9 | -1.2 | 0 | -156.73 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 106.02 | -5
07:00 - 07:15 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -150.88 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5
07:15 - 07:30 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -339.87 | 0 | 10.61 | 0 | 0 | -4 | -0.7 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | -5
07:30 - 07:45 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -316.03 | 0 | 10.6 | 0 | 0 | -4 | -0.7 | 0 | 19.29 | -1.6 | 0 | 8.67 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 8.67 | 0 | 0 | 0 | 0 | -5
07:45 - 08:00 | -1.5 | 0 | 0 | 0 | -0.5 | -1.2 | 0 | -250.04 | 0 | 10.6 | 0 | -0.2 | -4 | -0.7 | 0 | 19.28 | -1.8 | 0 | 8.67 | 9.64 | 0 | 0 | 16.38 | -3 | 0 | -25 | 8.67 | 0 | 0.58 | 0 | 44.11 | -5
08:00 - 08:15 | -1.5 | -3 | 0 | 0 | -0.5 | 0 | 0 | 358.86 | 0 | 10.6 | 0 | -0.3 | -4 | -0.7 | -15 | 0 | -2 | 0 | 0 | 0 | 9.64 | 4.82 | 13.49 | -5 | 0.96 | 0 | 8.67 | 0 | 0 | 0 | 0 | -5
08:15 - 08:30 | -1.5 | 0 | 0 | 0 | -0.5 | 0 | 0 | 357.89 | 0 | 10.6 | 0 | -0.3 | -4 | -0.7 | 0 | 0 | -2.3 | 0 | 0 | 0 | 9.64 | 4.82 | 13.49 | -5 | 0.96 | 0 | 8.67 | 0 | 0 | 0 | 0 | -5
08:30 - 08:45 | -1.5 | 0 | 0 | 0 | -0.5 | 0 | 0 | -50 | 0 | 10.61 | 0 | -0.4 | -4 | -0.7 | 0 | 0 | -2.6 | 0 | 0 | 0 | 4.82 | 4.82 | 0 | -5 | 0.96 | -10 | 8.67 | 0 | 0 | 0 | 0 | -5
08:45 - 09:00 | -1.5 | 0 | 0 | 0 | -0.5 | 0 | 0 | -100 | 0 | 10.61 | 0 | -0.4 | -4 | -0.7 | 0 | 0 | -2.7 | 0 | 0 | 0 | 4.82 | 3.07 | 0 | -5 | 0.62 | -10 | 8.67 | 0 | 0 | 0 | 0 | -5
09:00 - 09:15 | -1.5 | 0 | -1.9 | -0.7 | -0.5 | 0 | 0 | -206.16 | 0 | 10.6 | 0 | -0.4 | -4 | -0.7 | 0 | 0 | -2.5 | 0 | 9.64 | 14.46 | 4.82 | 4.82 | 13.49 | -5 | 1.45 | 0 | 8.67 | 0 | 5.2 | 0 | 77.11 | -5
09:15 - 09:30 | -1.5 | -4 | -3.5 | -4.3 | -0.5 | 0 | 0 | -395.07 | 0 | 10.6 | 0 | -0.5 | -4 | -0.7 | 0 | 0 | -2.3 | 0 | 15.42 | 14.46 | 4.82 | 4.82 | 13.49 | -5 | 1.45 | -10 | 8.67 | 0 | 5.2 | -6 | 77.11 | -5
09:30 - 09:45 | -1.5 | 0 | -5.4 | -2.1 | -0.5 | 0 | 0 | -74.96 | 0 | 10.6 | 0 | -0.6 | -4 | -0.7 | 0 | 0 | -2.5 | 0 | 15.42 | 14.46 | 4.82 | 4.82 | 13.49 | -5 | 1.45 | -10 | 8.67 | 19.28 | 5.2 | 0 | 77.11 | -5
09:45 - 10:00 | -1.5 | 0 | -6.7 | -4.3 | -0.5 | 0 | 0 | -176.18 | 0 | 10.6 | 0 | -0.7 | -4 | -0.7 | 0 | 0 | -0.3 | 0 | 15.42 | 14.46 | 4.82 | 4.82 | 13.49 | -5 | 1.45 | 0 | 8.67 | 19.28 | 5.2 | 0 | 77.11 | -5
10:00 - 10:15 | -1.2 | 0 | -7.4 | -7.2 | -0.2 | 0 | 0 | -300.92 | 0 | 10.6 | 0 | -0.7 | -4 | -0.7 | 0 | 0 | 4.82 | 0 | 9.64 | 14.46 | 0 | 4.82 | 13.49 | -3 | 1.45 | 0 | 8.67 | 24.1 | 5.2 | -6 | 77.1 | -5
10:15 - 10:30 | -1.2 | 0 | -8.1 | -7.4 | -0.2 | 0 | 0 | -288.62 | 0 | 10.6 | 0 | -0.7 | -4 | -0.7 | 0 | 0 | 4.72 | 0 | 15.42 | 14.46 | 0 | 4.82 | 13.49 | -3 | 1.45 | 0 | 8.67 | 24.1 | 5.2 | 0 | 78.07 | -5
10:30 - 10:45 | -1.2 | 0 | -9.8 | -10.3 | -0.2 | 0 | 0 | -35.33 | 0 | 10.6 | 0 | -0.9 | -4 | -0.7 | 0 | 0 | 4.72 | 0 | 15.42 | 14.46 | 0 | 4.82 | 13.49 | -3 | 1.45 | 0 | 8.67 | 24.1 | 5.2 | 0 | 77.11 | -5
10:45 - 11:00 | -1.2 | 0 | -8.4 | -9.3 | -0.2 | 0 | 0 | 303.32 | 0 | 10.6 | 0 | -0.9 | -4 | -0.7 | 0 | 0 | 4.72 | 0 | 15.42 | 14.46 | 0 | 4.82 | 13.49 | -3 | 1.45 | 0 | 8.67 | 24.1 | 5.2 | 0 | 77.1 | -5
11:00 - 11:15 | -1.2 | 0 | -14.3 | -3.8 | -0.2 | 0 | 0 | -82.57 | 0 | 8.67 | 0 | -0.9 | -4 | -0.7 | 0 | 0 | 4.82 | 0 | 13.49 | 14.47 | 0 | 4.82 | 13.49 | -3 | 1.45 | -10 | 8.67 | 14.46 | 5.2 | 0 | 0 | -5
11:15 - 11:30 | -1.2 | 0 | -14.9 | -7.7 | -0.2 | 0 | 0 | -175.91 | 0 | 8.67 | 0 | -1 | -4 | -0.7 | 0 | 0 | 5.01 | 0 | 9.64 | 14.46 | 0 | 4.82 | 13.49 | -3 | 1.45 | -10 | 8.67 | 14.46 | 5.2 | -6 | 0 | -5
11:30 - 11:45 | -1.2 | 0 | -13.2 | -5.4 | -0.2 | 0 | 0 | -41.41 | 0 | 8.67 | 0 | -1.1 | -4 | -0.7 | 0 | 0 | 4.82 | 0 | 13.49 | 14.47 | 0 | 4.82 | 13.49 | -3 | 1.45 | 0 | 8.67 | 0 | 5.2 | 0 | 0 | -5
11:45 - 12:00 | -1.2 | 0 | -12.2 | -6.9 | -0.2 | 0 | 0 | -41.49 | 0 | 8.67 | 0 | -1.2 | -4 | -0.7 | 0 | 0 | 4.92 | 0 | 13.49 | 14.47 | 0 | 4.82 | 13.49 | -3 | 1.45 | 0 | 8.67 | 0 | 5.2 | 0 | 0 | -5
12:00 - 12:15 | -1.2 | 0 | -12.9 | -6.8 | -0.2 | 0 | 0 | 0 | 0 | 8.67 | 0 | -1 | -4 | -0.7 | 0 | 0 | 5.49 | 0 | 13.49 | 14.46 | 0 | 4.82 | 13.49 | -2 | 1.45 | -10 | 8.67 | 48.2 | 5.2 | 0 | 0 | -5
12:15 - 12:30 | -1.2 | 0 | -17.5 | -6.1 | -0.2 | 0 | 0 | 2.32 | 0 | 8.67 | 0 | -1 | -4 | -0.7 | 0 | 0 | 5.49 | 0 | 13.49 | 14.46 | 0 | 4.82 | 13.49 | -2 | 1.45 | 0 | 8.67 | 48.21 | 5.2 | 0 | 0 | -5
12:30 - 12:45 | -1.2 | -2 | -17.8 | -10.1 | -0.4 | 0 | 0 | 106.04 | 15.13 | 8.67 | 0 | -1 | 0 | -0.7 | 0 | 0 | 5.4 | 0 | 13.49 | 14.46 | 0 | 4.82 | 13.49 | 0 | 1.45 | -15 | 8.67 | 48.19 | 5.2 | 0 | 0 | -5
12:45 - 13:00 | -1.2 | 0 | -17.6 | -8.5 | -0.4 | 0 | 0 | 106.05 | 15.04 | 8.67 | 0 | -1 | 0 | -0.7 | 0 | 0 | 5.78 | 0 | 13.49 | 14.46 | 0 | 4.82 | 13.49 | 0 | 1.45 | -15 | 8.67 | 48.19 | 5.2 | 0 | 0 | -5
13:00 - 13:15 | -1.2 | 0 | -17.4 | -9 | -0.8 | 0 | 0 | 57.91 | 15.13 | 8.67 | 0 | -0.9 | 0 | -0.7 | 0 | 0 | 5.98 | 0 | 13.49 | 19.28 | 0 | 4.82 | 13.49 | 0 | 1.45 | -10 | 8.67 | 48.19 | 5.2 | 0 | 0 | -5
13:15 - 13:30 | -1.2 | 0 | -16.9 | -9.8 | -0.8 | 0 | 0 | 57.91 | 15.61 | 8.67 | 0 | -0.8 | 0 | -0.7 | 0 | 0 | 5.78 | 0 | 13.49 | 19.28 | 0 | 4.82 | 13.49 | 0 | 0 | 0 | 8.67 | 48.19 | 5.2 | 0 | 0 | -5
13:30 - 13:45 | -1.2 | 0 | -16.4 | -8.3 | -0.8 | 0 | 0 | 9.65 | 0 | 8.67 | 0 | -0.8 | -4 | -0.7 | 0 | 0 | 0.39 | 0 | 13.49 | 19.28 | 0 | 4.82 | 13.49 | 0 | 0 | -10 | 8.67 | 48.2 | 5.2 | 0 | 0 | -5
13:45 - 14:00 | -1.2 | 0 | -15.1 | -10 | -0.8 | 0 | 0 | 0.01 | 0 | 8.67 | 0 | -0.7 | -4 | -0.7 | 0 | 0 | -2.4 | 0 | 13.49 | 19.28 | 0 | 4.82 | 13.49 | 0 | 0 | -10 | 8.67 | 48.2 | 5.2 | 0 | 0 | -5
14:00 - 14:15 | -1.2 | 0 | -14.3 | -1.9 | -0.8 | 0 | 0 | -118.97 | 0 | 8.67 | 0 | -0.7 | -4 | -0.7 | 0 | 0 | -2.1 | 0 | 13.49 | 19.28 | 0 | 4.82 | 13.49 | 0 | 0 | 0 | 8.67 | 38.57 | 5.2 | 0 | 0 | -7
14:15 - 14:30 | -1.2 | 0 | -12.2 | -7.3 | -0.8 | 0 | 0 | -155.05 | 0 | 8.67 | 0 | -0.6 | -4 | -0.7 | 0 | 0 | -2.3 | 0 | 9.64 | 19.28 | 0 | 4.82 | 13.49 | 0 | 0 | -10 | 8.67 | 38.56 | 5.2 | -6 | 0 | -7
14:30 - 14:45 | 0 | 0 | -11.5 | -3.5 | -0.8 | 0 | 0 | -265.29 | 0 | 8.67 | 0 | -0.4 | -4 | -0.7 | 0 | 0 | -2 | 0 | 9.64 | 19.28 | 0 | 4.82 | 13.49 | 0 | 0 | -10 | 8.67 | 62.66 | 5.2 | -6 | 0 | -7
14:45 - 15:00 | 0 | 0 | -10 | -2 | -0.8 | 0 | 0 | -375.05 | 0 | 8.67 | 0 | -0.3 | -4 | -0.7 | 0 | 0 | -1.9 | 0 | 9.64 | 19.28 | 0 | 4.82 | 13.49 | 0 | 0 | 0 | 8.67 | 53.01 | 0 | -6 | 0 | -7
15:00 - 15:15 | 0 | 0 | 0 | -0.1 | -0.8 | 0 | 0 | -452.32 | 0 | 8.67 | 0 | -0.1 | -4 | -0.7 | 0 | 0 | -1.9 | 0 | 0 | 0 | 0 | 4.82 | 13.5 | 0 | 0 | -10 | 8.67 | 0 | 0 | -6 | 0 | -7
15:15 - 15:30 | 0 | -6 | 0 | -3.4 | -0.8 | 0 | 0 | -751.23 | 0 | 8.67 | 0 | -0.1 | -4 | -0.7 | 0 | 0 | -1.6 | 0 | 9.64 | 19.28 | 0 | 4.82 | 13.49 | 0 | 0 | -10 | 8.67 | 43.38 | 0 | -6 | 0 | -7
15:30 - 15:45 | -1.2 | 0 | 0 | -4.2 | -0.8 | 0 | 0 | -845.29 | 0 | 8.67 | 0 | -0.1 | -4 | -0.7 | 0 | 0 | -1.4 | 0 | 9.64 | 19.28 | 0 | 1.93 | 13.49 | -3 | 0 | 0 | 8.67 | 43.38 | 5.2 | -6 | 0 | -7
15:45 - 16:00 | -1.2 | 0 | 0 | -1.1 | -0.8 | 0 | 0 | -850.27 | 0 | 8.67 | 0 | -0.1 | -4 | -0.7 | -15 | 0 | -1.4 | 0 | 9.64 | 19.28 | 0 | 1.93 | 13.49 | -3 | 0 | -10 | 8.67 | 43.37 | 0 | 0 | 0 | -7
16:00 - 16:15 | -1.2 | 0 | 0 | 0 | -0.8 | 0 | 0 | -645.27 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 19.28 | -1.3 | 0 | 9.64 | 19.28 | 0 | 1.93 | 13.49 | -3 | 0 | -10 | 8.67 | 28.91 | 5.2 | 0 | 63.61 | -7
16:15 - 16:30 | -1.2 | 0 | 0 | 0 | -0.8 | 0 | 0 | -745.25 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 19.28 | -1.1 | 0 | 9.64 | 19.28 | 0 | 1.93 | 13.49 | -3 | 0 | 0 | 8.67 | 9.64 | 5.2 | 0 | 63.61 | -7
16:30 - 16:45 | -1.2 | 0 | 0 | 0 | -0.8 | 0 | 0 | -576 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 19.28 | -1 | 0 | 9.64 | 19.28 | 0 | 1.93 | 13.49 | -3 | 0 | 0 | 8.67 | 0 | 5.2 | 0 | 0 | -7
16:45 - 17:00 | -1.2 | -10 | 0 | 0 | -0.8 | 0 | 0 | -452.45 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | 8.67 | 0 | 0 | 0 | 0 | -7
17:00 - 17:15 | -1.2 | 0 | 0 | 0 | -0.4 | 0 | 0 | -675.13 | 0 | 0 | 0 | 0 | -5 | -0.7 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -7
17:15 - 17:30 | -1.2 | 0 | 0 | 0 | -0.4 | 0 | 0 | -775.15 | 0 | 0 | 0 | 0 | -5 | -0.7 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7
17:30 - 17:45 | -1.2 | 0 | 0 | 0 | -0.4 | -1.2 | 0 | -606.94 | 0 | 0 | 0 | 0 | -5 | -0.7 | 0 | 0 | -0.1 | -1 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -7
17:45 - 18:00 | -1.2 | 0 | 0 | 0 | -0.4 | -1.2 | 0 | -614.79 | 0 | 0 | 0 | 0 | -5 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7
18:00 - 18:15 | -1.2 | 0 | 0 | 0 | -0.4 | -1.2 | 0 | -915.52 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | -2 | 9.64 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 8.67 | 0 | 5.2 | 0 | 0 | -7
18:15 - 18:30 | -1.2 | 0 | 0 | 0 | -0.4 | -1.2 | 0 | -700 | 0 | 0 | -30 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -7
18:30 - 18:45 | -1.2 | 0 | 0 | 0 | -0.4 | -1.2 | 0 | -175.01 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -7
18:45 - 19:00 | -1.2 | 0 | 0 | 0 | -0.4 | -1.2 | 0 | -144.47 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7
19:00 - 19:15 | -1.2 | 0 | 0 | 0 | -0.4 | -1 | 0 | -357.02 | 0 | 0 | -30 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7
19:15 - 19:30 | -1.2 | 0 | 0 | 0 | -0.4 | -1 | 0 | -350 | 0 | 0 | -30 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -4.7
19:30 - 19:45 | -1.2 | 0 | 0 | 0 | -0.4 | -1 | 0 | -200 | 0 | 0 | -30 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7
19:45 - 20:00 | -1.2 | 0 | 0 | 0 | -0.4 | -1 | 0 | -200 | 0 | 0 | -30 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -4.7
20:00 - 20:15 | -1.2 | 0 | 0 | 0 | -0.4 | -1 | -5 | -50 | 0 | 0 | -40 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -4.7
20:15 - 20:30 | -1.2 | 0 | 0 | 0 | -0.4 | -1 | -5 | -50 | 0 | 0 | -40 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7
20:30 - 20:45 | -1.2 | 0 | 0 | 0 | 0 | -1 | -5 | -50 | 0 | 0 | -40 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7
20:45 - 21:00 | -1.2 | 0 | 0 | 0 | 0 | -1 | -5 | -50 | 0 | 0 | -40 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -4.7
21:00 - 21:15 | -1.2 | 0 | 0 | 0 | 0 | -1 | -5 | -50 | 0 | 0 | -40 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | -4.7
21:15 - 21:30 | -1.2 | 0 | 0 | 0 | 0 | -1 | -5 | -50 | 0 | 0 | -40 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7
21:30 - 21:45 | -1.2 | 0 | 0 | 0 | -0.4 | -1.1 | -5 | 0 | 0 | 0 | -40 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.06 | -4.7
21:45 - 22:00 | -1.2 | 0 | 0 | 0 | -0.4 | -1.1 | -5 | 0 | 0 | 0 | -40 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 5.19 | -4.7
22:00 - 22:15 | -1.2 | 0 | 0 | 0 | -0.4 | -1 | -5 | 0 | 0 | 0 | -40 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.26 | -4.7
22:15 - 22:30 | -1.2 | 0 | 0 | 0 | -0.4 | -1 | -5 | 0 | 0 | 0 | -40 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.8 | -4.7
22:30 - 22:45 | -1.2 | 0 | 0 | 0 | 0 | -1 | -5 | 0 | 0 | 0 | -40 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.86 | -4.7
22:45 - 23:00 | -1.2 | 0 | 0 | 0 | 0 | -1 | -5 | 0 | 0 | 0 | -40 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12 | 0 | 0 | 0 | 0 | 31.55 | -4.7
23:00 - 23:15 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -40 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.38 | -6.7
23:15 - 23:30 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -40 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 27.47 | -6.7
23:30 - 23:45 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | 0 | 21.2 | -6.7
23:45 - 24:00 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | -0.7 | 0 | 19.28 | 0 | -4 | 17.35 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 9.64 | 0 | 0 | 21.2 | -6.7
Average | -1.275 | -0.3125 | -2.9729 | -1.6823 | -0.47083 | -0.67292 | -0.625 | -185.4833 | 0.63448 | 4.9954 | -7.3958 | -0.21667 | -3.5625 | -0.7 | -0.3125 | 3.2128 | 0.27875 | -1.1875 | 5.522 | 5.7241 | 1.6067 | 2.2579 | 5.8121 | -3.5208 | 0.29323 | -7.3125 | 4.8659 | 9.5893 | 1.5769 | -0.5625 | 17.6123 | -4.2708