## POWER STATUS
POWER STATUS ON DT 12.08.2026
[9 empty] | 2026-08-12 | 2026-08-11
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5620.5843 | 6078.0238
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 205.17 | 4.9241 | 630/590 ft | 613.69 | 613.89 | 614.12 | 205.112 | 203.7166
| Chiplima | 72(3x24) | 55.21 | 1.325 | - |  |  |  | 58.5346 | 57.3198
| Balimela | 510(6x60+2x75) | 29.25 | 0.702 | 1516/1440 ft | 1467 | 1461.9 | 1462.2 | 0 | 27.9909
| Rengali | 250(5x50) | 230.05 | 5.5212 | 123.5/109.75 mt | 121.6 | 122.19 | 122.24 | 239.7552 | 240.9489
| Upper Kolab | 320(4x80) | 38.92 | 0.93408 | 858/844 mt | 852.34 | 850.2 | 850.22 | 77.7199 | 76.5823
| Upper Indravati | 600(4x150) | 111.58 | 2.6779 | 642/625 mt | 634.28 | 633.92 | 634 | 0.31069 | 487.854
| Machkund | 60(50% of(3x17+3x23)) | 2.875 | 0.069 | 2750/2685 ft | 2741 | 2721.7 | 2721.9 | 5.1518 | 2.6113
| Total Hydro | 2099.5 | 673.055 | 16.1533 |  |  |  |  | 586.5843 | 1097.0238
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1523.94 | 36.5746 | RENEWABLE ENERGY (RE) |  |  |  | 1593 | 1548
[5 empty] | M.Hydl | 120.81
| Total Thermal | 2200 | 1523.94 | 36.5746 | Solar | 138.49 |  |  | 1593 | 1548
IPP | VEDANTA #2 | 600 (1x600) | 401.691 | 9.6406 | Total IPPs | Yesterday's Demand Profile |  |  | 381.4453 | 508.9844
| GMR #3 | 350 (1x350) | 309.8421 | 7.4362 | 807.5023 |  | MW | HRS | 320.2923 | 321.6967
| NBVL(IPP) | 60(1x60) | 48.8256 | 1.1718 |  |  |  |  | 52.8708 | 54.2817
| MDTPC |  | 47.1437 | 1.1314 |  |  |  |  | 32.8135 | 54.8488
| CGPs |  | 776.6372 | 18.6393 | IPPs, CGPs & RE | Maximum | 6078 | 23:00 | 2072 | 1841
| Central Sector(Drawl) |  | 1459.2568 | 35.0222 | 1843.4396 | Minimum | 4867 | 06:00 | 1369 | 1592
| Central Sector(Sch) |  | 1601.6824 | 38.4404 |  | Average | 5499.6913 |  | 1253 | 1551
| Grand Total |  | 5499.6913 | 131.9926 | Instantaneous Peak demand |  | 6296.9214 | 46245.8681 | 5620.5843 | 6078.0238
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(4)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1572.5862 | 37.7421 | 1597.5182 | 38.3404 | 1573 | 37.752
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1777.4699 | 42.6593 | 1738.4847 | 41.7236 | 1777 | 42.648
Rengali | NIL | TSTPP St-II | 3 | TPNODL | 1277.6919 | 30.6646 | 1274.3206 | 30.5837 | 1278 | 30.672
U.Kolab | 1,2,3 | KAHALGAON | NIL | TPSODL | 591.7071 | 14.201 | 594.5173 | 14.2684 | 592 | 14.208
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5219.4552 | 125.2669 | 5204.8408 | 124.9162 | 5220 | 125.28
Machhkund | 1,3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 381 | GMR |  |  |  | 320
| NBVL #3 | 53 | MDTPC |  |  |  | 33
Mini Hydel: | MEENAKSHI | 40 | OPCL |  |  |  | 0
| BTPL | 28 | SAPTADHARA |  |  |  | 20
Solar: |  | 347.9606 | KAKATIYA |  |  |  | 4
CGPs : | JSPL (Angul) | 242.5372 | JSL(Duburi) |  |  |  | -9.8072
| ICCL | 38.8349 | visa |  |  |  | 15.9433
| NALCO | -144.9742 | VAL (CGP) |  |  |  | 203.4224
| RSP | -113.1889 | BSL(MMDL) |  |  |  | 43.8678
| INDAL | -9.1356 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -32.4196 | VAL CPP 400 kV |  |  |  | -579.8376
| NBVL | 53.8546 | Arati |  |  |  | 27.4842
| BPSL(JSG) | -133.712 | BPPL |  |  |  | 61.7939
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-04 | 2026-08-05 | 2026-08-06 | 2026-08-07 | 2026-08-08 | 2026-08-09 | 2026-08-10 | 2026-08-11
827.1913 | 808.337 | 777.68 | 716.44 | 553.7199 | 554.5899 | 568.115 | 673.055
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.11.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | -4.75 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.45
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AGE26AL_PSS6_KPS1_S | ODISHA | 96.37
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -14.17 | AP41PL_BHDL | ODISHA | 53.52
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -5.83 | AP43PL_BKN | ODISHA | 53.83
JPIPL | NPCL_UP | -14 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.88
JSPLANGUL | GEB_Beneficiary | -50.66 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 9.94
JSPLANGUL | RUVITSL | -43.75 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | AWEK1L | ODISHA | 14.91
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | DCL_RCW | -4.62 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.38
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -3.88 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 34.82
ODISHA | AMNSIL | -18.75 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 9.38
VSL | CR_IR_MS | -10 | FACORPOWER | PSPCL | -14.17 | DADRI_SOLAR | ODISHA | 0.22
FARIDABAD_SOLAR | ODISHA | 0.86 | FACORPOWER | PSPCL | -5.83 | GADAG_GreenInfra_W | ODISHA | 0.66
JSWEL_UTKAL | ODISHA | 74.18 | FACORPOWER | PSPCL | -1.46 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.24 | FACORPOWER | PSPCL | -3.54 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.09 | JSPLANGUL | RUVITSL | -102.38 | GADAG_Serentica3_S | VLSEZ | 36.96
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_Serentica3_W | VLSEZ | 0.85
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GADAG_Serentica3_W | VLSEZ | 92.03
|  |  | NBVLIPP | BSPHCL | -3.54 | GIWEL_SECI_II_RE | ODISHA | 49.95
|  |  | NBVLIPP | BSPHCL | -14.38 | KARUR_TPVARDHAMAN_W | TSKPO | 90.47
|  |  | OCL_IRON_STEEL | BRPL | -12.46 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | OCL_IRON_STEEL | BRPL | -4.67 | Kurnool_Greenko_H_Inj | ADITYAAL | 8.57
|  |  | OCL_IRON_STEEL | CSEB_Beneficiary | -33.88 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.04
|  |  | ODISHA | VEDANTA_LIMITED_CG | -18.75 | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.75
|  |  | ORSISL | PSPCL | -2.83 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 2.99
|  |  | ORSISL | PSPCL | -1.17 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | ORSISL | TANGEDCO | -1.15 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | OKWPL_RE | ODISHA | 21.12
|  |  | Shri_JSPL | TANGEDCO | -0.92 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 47.96
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | RWE_AP2_SECI_III | ODISHA | 19.57
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | RenewGreen_SLPR_HS | JSL_DUBURI | 22.77
|  |  | VSL | WBSEDCL | -4.17 | SRI9PL_FTG3 | VLSEZ | 65.43
|  |  | JIPL | ODISHA | 115.66 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.07
|  |  | NALCOAP | NACL_Odisha | 19.42 | TSESOPL_BKN2 | OPL_CUTTAK | 0.09
|  |  | TSTPP_I | ODISHA | 27.7 | Tuticorin_BETAMWIND | ODISHA | 37.75
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 8.31
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 3.65
[6 empty] | XXPPL_FTG3 | ODISHA | 61.54

## DAM
DAM TRADING DETAILS FOR DT : 11.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | JSW_Cement_Ltd | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Shri_Jagannath_Steels_&_Power_Ltd | Tata_Steel_Limited_FAP_Gopalpur
00:00 - 00:15 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0
00:15 - 00:30 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0
00:30 - 00:45 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0
00:45 - 01:00 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0
01:00 - 01:15 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0
01:15 - 01:30 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0
01:30 - 01:45 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0
01:45 - 02:00 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0
02:00 - 02:15 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0
02:15 - 02:30 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0
02:30 - 02:45 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0
02:45 - 03:00 | -2.5 | 0 | 0 | 48.19 | 0 | -1.2 | 0 | -1 | 0 | 5.78 | -4 | 0
03:00 - 03:15 | -2.5 | 0 | 0 | -75 | 3.08 | -1.2 | 0 | -1 | 0 | 5.79 | -4 | 0
03:15 - 03:30 | -2.5 | 0 | 0 | -75 | 3.08 | -1.2 | 9.64 | -1 | 0 | 5.78 | -4 | 0
03:30 - 03:45 | -2.5 | 0 | 0 | -75 | 3.08 | -1.2 | 9.64 | -1 | 0 | 5.78 | -4 | 0
03:45 - 04:00 | -2.5 | 0 | 0 | -75 | 3.08 | -1.2 | 9.64 | -1 | 0 | 5.78 | -4 | 0
04:00 - 04:15 | -2.5 | 0 | 0 | -75 | 3.08 | -1.2 | 9.64 | -1 | 0 | 5.78 | -4 | 0
04:15 - 04:30 | -2.5 | 0 | 0 | -75 | 3.08 | -1.2 | 9.64 | -1 | 0 | 5.78 | -4 | 0
04:30 - 04:45 | -2.5 | 0 | 0 | -75 | 3.08 | -1.2 | 9.64 | -1 | 0 | 5.78 | -4 | 0
04:45 - 05:00 | -2.5 | 0 | 0 | -75 | 3.08 | -1.2 | 9.64 | -1 | 0 | 5.78 | -4 | 0
05:00 - 05:15 | -2.5 | 0 | 0 | -75 | 3.08 | -1.4 | 0 | -3 | -43 | 5.78 | -4 | 0
05:15 - 05:30 | -2.5 | 0 | 0 | -75 | 3.08 | -1.4 | 0 | -3 | -43 | 5.78 | -4 | 0
05:30 - 05:45 | -2.5 | 0 | 0 | -75 | 3.08 | -1.4 | 0 | -3 | -43 | 5.78 | -4 | 0
05:45 - 06:00 | -2.5 | 0 | 0 | -75 | 3.08 | -1.4 | 0 | -3 | -43 | 0 | -4 | 0
06:00 - 06:15 | -2.5 | 0 | 0 | -275 | 0 | -1.4 | 0 | -3 | -43 | 0 | -3 | 0
06:15 - 06:30 | -2.5 | 0 | 0 | -275 | 0 | -1.4 | 0 | -3 | -43 | 0 | -3 | 0
06:30 - 06:45 | -2.5 | 0 | 0 | -275 | 0 | -1.4 | 0 | -3 | -43 | 0 | -3 | 0
06:45 - 07:00 | -2.5 | 0 | 0 | -275 | 0 | -1.4 | 0 | -3 | -43 | 0 | -3 | 0
07:00 - 07:15 | -2.5 | 0 | 0 | -425 | 0 | -1.4 | 0 | -3 | -43 | 0 | -3 | 0
07:15 - 07:30 | -2.5 | 0 | 0 | -350 | 0 | -1.4 | 0 | -3 | -43 | 0 | -3 | 0
07:30 - 07:45 | -2.5 | 0 | 0 | -345.22 | 0 | -1.4 | 0 | -3 | -43 | 5.78 | -3 | 0
07:45 - 08:00 | -2.5 | 0 | 0 | -225 | 0 | -1.4 | 0 | -3 | -43 | 5.78 | -3 | 0
08:00 - 08:15 | -2.5 | 22.17 | 0 | -600 | 3.08 | -1.4 | 9.64 | -1 | -18 | 5.78 | -3 | 0
08:15 - 08:30 | -2.5 | 22.17 | 0 | -600 | 3.08 | -1.4 | 9.64 | -1 | -18 | 5.78 | -3 | 0
08:30 - 08:45 | -2.5 | 22.17 | 0 | -492.6 | 3.08 | -1.4 | 9.64 | -1 | -18 | 5.78 | -3 | 0
08:45 - 09:00 | -2.5 | 22.17 | 0 | -492.25 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
09:00 - 09:15 | -2.5 | 22.17 | 0 | -520.52 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
09:15 - 09:30 | -2.5 | 22.17 | 0 | -382.05 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
09:30 - 09:45 | -2.5 | 22.17 | 0 | -380.62 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
09:45 - 10:00 | -2.5 | 22.17 | 0 | -71.25 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
10:00 - 10:15 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
10:15 - 10:30 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
10:30 - 10:45 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
10:45 - 11:00 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 3.37
11:00 - 11:15 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0.67
11:15 - 11:30 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0.58
11:30 - 11:45 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0.19
11:45 - 12:00 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
12:00 - 12:15 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0.29
12:15 - 12:30 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 1.35
12:30 - 12:45 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
12:45 - 13:00 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
13:00 - 13:15 | -2.5 | 22.18 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
13:15 - 13:30 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
13:30 - 13:45 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
13:45 - 14:00 | -2.5 | 22.18 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
14:00 - 14:15 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
14:15 - 14:30 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
14:30 - 14:45 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
14:45 - 15:00 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
15:00 - 15:15 | -2.5 | 22.18 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
15:15 - 15:30 | -2.5 | 22.17 | 0 | 0 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
15:30 - 15:45 | -2.5 | 22.17 | 0 | -375.61 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
15:45 - 16:00 | -2.5 | 22.17 | 0 | -554.05 | 3.08 | -1.4 | 0 | -1 | -18 | 5.78 | -3 | 0
16:00 - 16:15 | -2.5 | 22.17 | 0 | -750 | 3.08 | -1.4 | 0 | -1 | -43 | 5.78 | -3 | 0
16:15 - 16:30 | -2.5 | 22.17 | 0 | -750 | 3.08 | -1.4 | 0 | -1 | -43 | 5.78 | -3 | 0
16:30 - 16:45 | -2.5 | 22.18 | 0 | -750.01 | 3.08 | -1.4 | 0 | -1 | -43 | 5.78 | -3 | 0
16:45 - 17:00 | -2.5 | 22.17 | 0 | -943.56 | 3.08 | -1.4 | 0 | -1 | -43 | 5.78 | -3 | 0
17:00 - 17:15 | -2.5 | 0 | 0 | -704.07 | 3.08 | -1.2 | 0 | -3 | -43 | 5.79 | -3 | 0
17:15 - 17:30 | -2.5 | 0 | 0 | -590.5 | 3.08 | -1.2 | 0 | -3 | -43 | 5.79 | -3 | 0
17:30 - 17:45 | -2.5 | 0 | 0 | -704.8 | 3.08 | -1.2 | 0 | -3 | -43 | 5.79 | -3 | 0
17:45 - 18:00 | -2.5 | 0 | 0 | -775 | 3.08 | -1.2 | 0 | -3 | -43 | 5.79 | -3 | 0
18:00 - 18:15 | -2.5 | 0 | 0 | -100 | 0 | -1.2 | 0 | -3 | -43 | 5.78 | -3 | 0
18:15 - 18:30 | -2.5 | 0 | 0 | -100 | 0 | -1.2 | 0 | -3 | -43 | 5.78 | -3 | 0
18:30 - 18:45 | -2.5 | 0 | 0 | -350 | 0 | -1.2 | 0 | -3 | -43 | 0 | -3 | 0
18:45 - 19:00 | -2.5 | 0 | 0 | -350 | 0 | -1.2 | 0 | -3 | -43 | 0 | -3 | 0
19:00 - 19:15 | -2.5 | 0 | 0 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
19:15 - 19:30 | -2.5 | 0 | 0 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
19:30 - 19:45 | -2.5 | 0 | 0 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
19:45 - 20:00 | -2.5 | 0 | 0 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
20:00 - 20:15 | -2.5 | 0 | -10 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
20:15 - 20:30 | -2.5 | 0 | -10 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
20:30 - 20:45 | -2.5 | 0 | -10 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
20:45 - 21:00 | -2.5 | 0 | -10 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
21:00 - 21:15 | -2.5 | 0 | -10 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
21:15 - 21:30 | -2.5 | 0 | -10 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
21:30 - 21:45 | -2.5 | 0 | -10 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
21:45 - 22:00 | -2.5 | 0 | -10 | -50 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
22:00 - 22:15 | -2.5 | 0 | -10 | -100 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
22:15 - 22:30 | -2.5 | 0 | -10 | -100 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
22:30 - 22:45 | -2.5 | 0 | -10 | -100 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
22:45 - 23:00 | -2.5 | 0 | -10 | -100 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
23:00 - 23:15 | -2.5 | 0 | -10 | -145.47 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
23:15 - 23:30 | -2.5 | 0 | -10 | -100 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
23:30 - 23:45 | -2.5 | 0 | -10 | -100 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
23:45 - 24:00 | -2.5 | 0 | -10 | -100 | 0 | -1.2 | 0 | -3 | 0 | 0 | -3 | 0
Average | -2.5 | 8.3142 | -1.6667 | -161.9719 | 1.6683 | -1.3 | 1.0042 | -1.8333 | -16.75 | 4.0345 | -3.25 | 0.067188

## GDAM
GDAM TRADING DETAILS FOR DT:11.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Tata_Steel_Limited_Kalinga_Nagar
00:00 - 00:15 | 0 | 0 | 0 | 14.46 | 13.43 | 0 | 6.26 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 14.46 | 30.9 | 0 | 6.26 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 14.46 | 29.46 | 0 | 6.26 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 14.46 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 14.46 | 33.74 | 0 | 6.26 | 0 | 28.91
08:00 - 08:15 | 0 | 0 | 0 | 19.28 | 0 | 0 | 6.26 | 0 | 47.29
08:15 - 08:30 | 0 | 0 | 0 | 19.28 | 0 | 0 | 6.26 | 0 | 48.19
08:30 - 08:45 | 0 | 0 | 0 | 19.28 | 23.78 | 9.64 | 6.26 | 0 | 48.19
08:45 - 09:00 | 0 | 0 | 0 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.18
09:00 - 09:15 | -0.9 | 0 | 0 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.18
09:15 - 09:30 | 0 | -3.3 | 0 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.18
09:30 - 09:45 | -2.5 | 0 | 0 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.18
09:45 - 10:00 | -3.9 | -1.8 | 92.71 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
10:00 - 10:15 | -2.5 | -4.4 | 240.94 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
10:15 - 10:30 | -2 | -8.6 | 203.78 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
10:30 - 10:45 | -4.7 | -12.2 | 223.51 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
10:45 - 11:00 | -8.3 | -8 | 71.5 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
11:00 - 11:15 | -9.6 | -3.1 | 105.54 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
11:15 - 11:30 | -8.4 | -9.1 | 109.27 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
11:30 - 11:45 | -6.6 | -5.1 | 126.36 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
11:45 - 12:00 | -6.3 | -8.5 | 126.56 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
12:00 - 12:15 | -7.7 | -7.9 | 152.7 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
12:15 - 12:30 | -3.6 | -6.4 | 253.17 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
12:30 - 12:45 | -5.6 | -12.3 | 264.96 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
12:45 - 13:00 | -4.7 | -8.4 | 264.97 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
13:00 - 13:15 | -4.3 | -7.9 | 265.03 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
13:15 - 13:30 | -4.6 | -10.4 | 265.01 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
13:30 - 13:45 | -3 | -8.7 | 264.86 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
13:45 - 14:00 | -4.2 | -11.5 | 253.16 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
14:00 - 14:15 | -4.2 | -0.5 | 264.85 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
14:15 - 14:30 | -2.8 | -5.4 | 292.67 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
14:30 - 14:45 | -0.7 | -2.6 | 289.15 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
14:45 - 15:00 | -0.6 | -1.6 | 265.08 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.19
15:00 - 15:15 | -1.9 | -3.4 | 0 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.18
15:15 - 15:30 | -1 | -2.6 | 0 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.18
15:30 - 15:45 | 0 | -4.2 | 0 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.18
15:45 - 16:00 | 0 | 0 | 0 | 19.28 | 0 | 9.64 | 6.26 | 3.86 | 48.18
16:00 - 16:15 | 0 | 0 | 0 | 14.46 | 0 | 9.64 | 6.26 | 3.86 | 38.55
16:15 - 16:30 | 0 | 0 | 0 | 14.46 | 0 | 9.64 | 6.26 | 3.86 | 38.55
16:30 - 16:45 | 0 | 0 | 0 | 14.46 | 0 | 9.64 | 6.26 | 0 | 38.55
16:45 - 17:00 | 0 | 0 | 0 | 14.46 | 0 | 9.39 | 6.26 | 0 | 38.55
17:00 - 17:15 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 38.56
17:15 - 17:30 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 38.56
17:30 - 17:45 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 38.56
17:45 - 18:00 | 0 | 0 | 0 | 14.46 | 33.73 | 0 | 6.26 | 0 | 38.56
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -1.0896 | -1.6448 | 45.7894 | 12.301 | 10.1517 | 3.4116 | 4.2385 | 1.2465 | 19.5672

## RTM
RTM TRADING DETAILS FOR DT: 11.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Ltd | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | -1.2 | 0 | 0 | 0 | 0 | -0.9 | 0 | 106.05 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 0 | 0 | 0 | 51.08 | -6.7
00:15 - 00:30 | -1.2 | 0 | 0 | 0 | 0 | -0.9 | 0 | 80.16 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51.08 | -6.7
00:30 - 00:45 | -1.2 | 0 | 0 | 0 | 0 | -0.9 | 0 | 84.87 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51.08 | -6.7
00:45 - 01:00 | -1.2 | 0 | 0 | 0 | 0 | -0.9 | 0 | 98.3 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.12 | -6.7
01:00 - 01:15 | -1.2 | 0 | 0 | 0 | 0 | -0.9 | 0 | 128.48 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -45 | 0 | 0 | 0 | 0 | 62.65 | -6.7
01:15 - 01:30 | -1.2 | 0 | 0 | 0 | 0 | -0.9 | 0 | 196.61 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -45 | 0 | 0 | 0 | 0 | 61.68 | -6.7
01:30 - 01:45 | -1.2 | 0 | 0 | 0 | 0 | -0.9 | 0 | 109.94 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 0 | 0 | 0 | 59.76 | -6.7
01:45 - 02:00 | -1.2 | 0 | 0 | 0 | 0 | -0.9 | 0 | 115.35 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | -2 | 9.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 53.97 | 0 | 0 | 58.79 | -6.7
02:00 - 02:15 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 115.36 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | -1 | 11.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 8.67 | 53.97 | 0 | 0 | 58.79 | -6.7
02:15 - 02:30 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 22.71 | 10.6 | 0 | 0 | 7.71 | -0.7 | 0 | 19.28 | 0 | -1 | 11.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 62.64 | 0 | 0 | 58.79 | -6.7
02:30 - 02:45 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 96.38 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | -1 | 11.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 62.65 | 0 | 0 | 41.44 | -6.7
02:45 - 03:00 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 96.38 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | -1 | 11.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 62.65 | 0 | 0 | 43.37 | -6.7
03:00 - 03:15 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 96.37 | 10.6 | 0 | 0 | 7.71 | -0.7 | 0 | 19.28 | 0 | -1 | 11.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 8.67 | 62.65 | 0 | 0 | 45.3 | -6.7
03:15 - 03:30 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 96.38 | 10.6 | 0 | 0 | 7.71 | -0.7 | 0 | 19.28 | 0 | -1 | 11.57 | 0 | 0 | 0 | 0 | 0.96 | 0 | 0 | 0 | 8.67 | 62.65 | 0 | 5.2 | 47.23 | -6.7
03:30 - 03:45 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 10.6 | 0 | 0 | 7.71 | -0.7 | 0 | 19.28 | 0 | 0 | 11.57 | 0 | 0 | 19.28 | 0 | 0.96 | 0 | 0 | -10 | 8.67 | 67.47 | 0 | 5.2 | 49.15 | -6.7
03:45 - 04:00 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 10.6 | 0 | 0 | 7.71 | -0.7 | 0 | 19.28 | 0 | 0 | 11.57 | 0 | 0 | 19.28 | 0 | 0.96 | 0 | 0 | -10 | 8.67 | 67.46 | 0 | 5.2 | 52.05 | -6.7
04:00 - 04:15 | -1.2 | 0 | 0 | 0 | 0 | -0.1 | 0 | -13.28 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 0 | 0 | 0 | 53.02 | -6.7
04:15 - 04:30 | -1.2 | 0 | 0 | 0 | 0 | -0.1 | 0 | -13.28 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 8.67 | 0 | 0 | 0 | 53.01 | -6.7
04:30 - 04:45 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | -163.99 | 10.6 | 0 | 0 | 7.71 | -0.7 | 0 | 19.28 | 0 | 0 | 11.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 8.67 | 67.46 | 0 | 0 | 52.05 | -6.7
04:45 - 05:00 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | -164.21 | 10.6 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | 0 | 11.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 67.46 | 0 | 0 | 52.05 | -6.7
05:00 - 05:15 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | -170.01 | 5.25 | 0 | 0 | 0 | -0.7 | -18 | 0 | 0 | 0 | 0 | 0 | 3.82 | 0 | 0 | 0 | 0 | 0 | 0 | 4.3 | 0 | 0 | 0 | 52.04 | -6.7
05:15 - 05:30 | -1.2 | 0 | 0 | 0 | 0 | -1 | 0 | -181.97 | 0 | 0 | 0 | 0 | -0.7 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52.05 | -6.7
05:30 - 05:45 | -1.2 | 0 | 0 | 0 | -0.4 | -1 | 0 | -193.79 | 0 | 0 | 0 | 0 | -0.7 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 52.05 | -6.7
05:45 - 06:00 | -1.2 | 0 | 0 | 0 | -0.4 | -1 | 0 | -203.45 | 0 | 0 | 0 | 0 | -0.7 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 47.23 | -6.7
06:00 - 06:15 | -1.2 | 0 | 0 | 0 | -0.4 | -1 | 0 | -212.53 | 0 | 0 | 0 | 0 | -0.7 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 33.73 | -6.7
06:15 - 06:30 | -1.2 | 0 | 0 | 0 | -0.4 | -1 | 0 | -226.98 | 0 | 0 | 0 | 0 | -0.7 | -18 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 29.88 | -6.7
06:30 - 06:45 | -1.4 | -10 | 0 | 0 | -0.4 | -0.8 | 0 | -0.53 | 0 | 0 | 0 | 0 | -0.7 | -18 | 0 | -0.3 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.13 | -8.5
06:45 - 07:00 | -1.4 | 0 | 0 | 0 | -0.4 | -0.8 | 0 | -0.2 | 0 | 0 | 0 | 0 | -0.7 | -18 | 0 | -0.5 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.6 | -8.5
07:00 - 07:15 | -1.4 | 0 | 0 | 0 | 0 | -0.9 | 0 | -0.3 | 0 | 0 | 0 | 0 | -0.7 | -18 | 0 | -0.6 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.5
07:15 - 07:30 | -1.4 | 0 | 0 | 0 | 0 | -0.9 | 0 | -0.25 | 0 | 0 | 0 | 0 | -0.7 | -18 | 0 | -0.8 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.5
07:30 - 07:45 | -1.4 | 0 | 0 | 0 | 0 | -0.9 | 0 | -50 | 0 | 0 | 0 | 0 | -0.7 | -18 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -8.5
07:45 - 08:00 | -1.4 | 0 | 0 | 0 | 0 | -0.9 | 0 | -165.52 | 10.6 | -0.2 | 0 | 0 | -0.7 | -18 | 19.28 | -1.2 | 0 | 8.67 | 0 | 7.71 | 0 | 0 | 0 | 0 | 0 | -10 | 8.67 | 77.11 | 0 | 0 | 0 | -8.5
08:00 - 08:15 | -1.4 | -5 | 0 | 0 | 0 | 0 | 0 | -113.21 | 10.6 | -0.3 | 0 | 7.71 | -1.5 | -33 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.1 | 8.67 | 0 | 0 | 0 | 0 | -8.5
08:15 - 08:30 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -112.61 | 10.6 | -0.3 | 0 | 7.71 | -1.5 | -18 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.1 | 8.67 | 0 | 0 | 0 | 0 | -8.5
08:30 - 08:45 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -363.24 | 10.61 | -0.4 | 0 | 7.71 | -1.5 | -18 | 0 | -1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | -8.5
08:45 - 09:00 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -366.46 | 10.61 | -0.4 | 0 | 0 | -1.5 | -18 | 0 | -2.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 8.67 | 0 | 0 | 0 | 0 | -8.5
09:00 - 09:15 | -1.4 | 0 | -3 | 0 | 0 | 0 | 0 | -170.23 | 0 | -0.4 | 0 | 0 | -1.5 | -18 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | -8.5
09:15 - 09:30 | -1.4 | -4 | -2.3 | 0 | 0 | 0 | 0 | -465.99 | 10.61 | -0.5 | 0 | 0 | -1.5 | -18 | 0 | -2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 8.67 | 0 | 0 | 0 | 0 | -8.5
09:30 - 09:45 | -1.4 | -5 | -3.5 | 0 | 0 | 0 | 0 | -768.39 | 10.6 | -0.6 | 0 | 0 | -1.5 | -18 | 0 | -2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.28 | 8.67 | 0 | 0 | 0 | 0 | -8.5
09:45 - 10:00 | -1.4 | 0 | -0.5 | -0.4 | 0 | 0 | 0 | -665.56 | 10.6 | -0.7 | 0 | 0 | -1.5 | -18 | 0 | -2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.92 | 8.67 | 0 | 0 | 0 | 0 | -8.5
10:00 - 10:15 | -1.4 | 0 | -1 | -1.3 | 0 | 0 | 0 | -1351.16 | 10.6 | -0.8 | 0 | 7.71 | -1.5 | -18 | 0 | -2.9 | 0 | 8.67 | 0 | 0 | 19.28 | 0 | 0.96 | 0 | 0 | -10 | 8.67 | 53.02 | 0 | 0 | 0 | -8.5
10:15 - 10:30 | -1.4 | 0 | -0.3 | 0 | 0 | 0 | 0 | -1251.18 | 10.6 | -0.8 | 0 | 7.71 | -1.5 | -18 | 0 | -3.2 | 0 | 8.67 | 0 | 0 | 19.28 | 0 | 0.96 | 0 | 0 | -10 | 8.67 | 53.02 | 0 | 0 | 0 | -8.5
10:30 - 10:45 | -1.4 | 0 | -4 | 0 | 0 | 0 | 0 | -1502.31 | 10.6 | -0.8 | 0 | 7.71 | -1.5 | -18 | 0 | -3.2 | 0 | 8.67 | 0 | 0 | 19.28 | 0 | 0.96 | 0 | 0 | -10 | 8.67 | 62.66 | 0 | 0 | 0 | -8.5
10:45 - 11:00 | -1.4 | 0 | -1.6 | -1.2 | 0 | 0 | 0 | -1300.59 | 10.6 | -0.8 | 0 | 7.71 | -1.5 | -18 | 0 | -3.4 | 0 | 8.67 | 0 | 0 | 19.28 | 0 | 0.96 | 0 | 0 | -5 | 8.67 | 62.66 | 0 | 0 | 0 | -8.5
11:00 - 11:15 | -1.4 | -9 | 0 | -1.2 | -0.2 | 0 | 0 | -1600.38 | 10.6 | -0.9 | 0 | 7.71 | -1.5 | -18 | 0 | -3.3 | 0 | 8.67 | 0 | 0 | 19.28 | 0 | 0.96 | 0.96 | 0 | 33.73 | 8.67 | 62.66 | 0 | 0 | 0 | -8.5
11:15 - 11:30 | -1.4 | 0 | -2.9 | 0 | -0.2 | 0 | 0 | -1552.42 | 10.6 | -1 | 0 | 7.71 | -1.5 | -18 | 0 | -3.4 | 0 | 8.67 | 0 | 0 | 19.28 | 0 | 0.96 | 0.96 | 0 | 33.73 | 8.67 | 62.66 | 0 | 0 | 0 | -8.5
11:30 - 11:45 | -1.4 | 0 | -9.1 | 0 | -0.2 | 0 | 0 | -1757.87 | 10.6 | -1.1 | 0 | 7.71 | -1.5 | -18 | 0 | -3.6 | 0 | 0 | 0 | 0 | 19.29 | 0 | 0.96 | 0.96 | 0 | -6 | 8.67 | 0 | 0 | 0 | 0 | -8.5
11:45 - 12:00 | -1.4 | 0 | -5 | 0 | -0.2 | 0 | 0 | -1785.24 | 10.61 | -1.2 | 0 | 7.71 | -1.5 | -18 | 0 | -3.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 8.67 | 0 | 0 | 0 | 0 | -8.5
12:00 - 12:15 | -1.4 | 0 | -2.4 | 0 | -0.4 | 0 | 0 | -1701.16 | 10.6 | -2 | 0 | 7.71 | -1.5 | -18 | 0 | -3.2 | 0 | 8.67 | 0 | 0 | 19.28 | 0 | 0.96 | 0.96 | 0 | 0 | 8.67 | 57.84 | 0 | 0 | 0 | -8.5
12:15 - 12:30 | -1.4 | 0 | -8.8 | 0 | -0.4 | 0 | 0 | -1730.51 | 10.6 | -1.8 | 0 | 7.71 | -1.5 | -18 | 0 | -3.3 | 0 | 8.67 | 4.82 | 0 | 19.28 | 0 | 0.96 | 0.96 | 0 | 24.1 | 8.67 | 43.38 | 0 | 5.2 | 0 | -8.5
12:30 - 12:45 | -1.4 | -9 | -6.1 | 0 | -0.4 | 0 | 0 | -1799.93 | 10.6 | -1.5 | 0 | 7.71 | -0.9 | -18 | 0 | -3.2 | 0 | 13.49 | 4.82 | 0 | 19.28 | 0 | 0.96 | 0.96 | 0 | 28.93 | 8.67 | 28.91 | 3.86 | 5.2 | 0 | -8.5
12:45 - 13:00 | -1.4 | 0 | -2.1 | 0 | -0.4 | 0 | 0 | -1549.99 | 10.6 | -1.5 | 0 | 7.71 | -0.9 | -18 | 0 | -3.3 | 0 | 13.49 | 4.82 | 0 | 19.28 | 0 | 0.96 | 0.96 | 0 | 24.1 | 8.67 | 28.92 | 3.86 | 5.2 | 0 | -8.5
13:00 - 13:15 | -1.2 | 0 | -0.6 | 0 | -0.9 | 0 | 0 | -1110.97 | 10.6 | -0.9 | 0 | 8.67 | -0.9 | -18 | 0 | -2.9 | 0 | 13.49 | 4.82 | 0 | 19.28 | 0 | 0.96 | 0.96 | 0 | -5 | 8.67 | 33.75 | 3.86 | 5.2 | 0 | -8.5
13:15 - 13:30 | -1.2 | 0 | -0.1 | 0 | -0.9 | 0 | 0 | -879.95 | 10.6 | -0.8 | 0 | 8.67 | -0.9 | -18 | 0 | -2.8 | 0 | 8.67 | 4.82 | 0 | 19.28 | 0 | 0.96 | 0.96 | 0 | -5 | 8.67 | 43.39 | 3.86 | 5.2 | 0 | -8.5
13:30 - 13:45 | -1.2 | 0 | -2.7 | 0 | -0.9 | 0 | 0 | -790.54 | 10.6 | -1.5 | 0 | 8.67 | -0.9 | -18 | 0 | -2.8 | 0 | 8.67 | 4.82 | 0 | 19.28 | 0 | 0.96 | 0.96 | 0 | -6 | 8.67 | 43.39 | 0 | 5.2 | 0 | -8.5
13:45 - 14:00 | -1.2 | 0 | -6.9 | 0 | -0.9 | 0 | 0 | -796.62 | 10.6 | -1.5 | 0 | 8.67 | -0.9 | -18 | 0 | -3.2 | 0 | 8.67 | 0 | 0 | 19.28 | 0 | 0.96 | 0.96 | 0 | -6 | 8.67 | 43.39 | 0 | 5.2 | 0 | -8.5
14:00 - 14:15 | -1.2 | 0 | 0 | -1.2 | -0.9 | 0 | 0 | -1139.6 | 10.6 | -1.2 | 0 | 8.67 | -0.9 | -18 | 0 | -2.7 | 0 | 8.67 | 9.64 | 0 | 19.28 | 0 | 0.96 | 0.96 | 0 | 14.46 | 8.67 | 43.39 | 0 | 5.2 | 0 | -7
14:15 - 14:30 | -1.2 | -9 | 0 | 0 | -0.9 | 0 | 0 | -1490.05 | 10.6 | -1.2 | 0 | 8.67 | -0.9 | -18 | 0 | -2.6 | 0 | 8.67 | 9.64 | 0 | 19.28 | 0 | 0.96 | 0.96 | 0 | 24.1 | 8.67 | 43.39 | 0 | 5.2 | 0 | -7
14:30 - 14:45 | -1.2 | 0 | -1.7 | 0 | -0.9 | 0 | 0 | -1296.69 | 10.6 | -0.9 | 0 | 8.67 | -0.9 | -18 | 0 | -2.4 | 0 | 8.67 | 9.64 | 0 | 19.28 | 0 | 0.96 | 0.96 | 0 | 38.55 | 8.67 | 86.76 | 0 | 5.2 | 0 | -7
14:45 - 15:00 | -1.2 | 0 | 0 | 0 | -0.9 | 0 | 0 | -1451.31 | 10.6 | -0.9 | 0 | 8.67 | -0.9 | -18 | 0 | -2.6 | 0 | 8.67 | 9.64 | 0 | 19.28 | 0 | 0.96 | 0.96 | 0 | -8 | 8.67 | 86.76 | 0 | 0 | 0 | -7
15:00 - 15:15 | -1.2 | 0 | 0 | 0 | -0.9 | 0 | 0 | -1409.97 | 10.6 | -0.5 | 0 | 8.67 | -0.9 | -18 | 0 | -2.4 | 0 | 8.67 | 9.64 | 0 | 19.28 | 0 | 0.96 | 0.96 | 0 | -15 | 8.67 | 72.3 | 3.86 | 5.2 | 34.7 | -7
15:15 - 15:30 | -1.2 | 0 | 0 | 0 | -0.9 | 0 | 0 | -834.99 | 10.6 | -0.3 | 0 | 8.67 | -0.9 | -18 | 0 | -2.1 | 0 | 8.67 | 9.64 | 0 | 19.28 | 0 | 0.96 | 0.96 | 0 | -15 | 8.67 | 57.85 | 3.86 | 5.2 | 46.26 | -7
15:30 - 15:45 | -1.2 | 0 | 0 | 0 | -0.9 | 0 | 0 | -1059.64 | 10.6 | -0.1 | 0 | 8.67 | -0.9 | -18 | 0 | -1.9 | 0 | 8.67 | 0 | 0 | 19.3 | 0 | 0.96 | 0.96 | 0 | -20 | 8.67 | 0 | 0 | 0 | 0 | -7
15:45 - 16:00 | -1.2 | -10 | 0 | 0 | -0.9 | 0 | 0 | -875.13 | 10.61 | -0.1 | 0 | 0 | -0.9 | -33 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | -7
16:00 - 16:15 | -1.2 | 0 | 0 | 0 | -0.9 | 0 | 0 | -864.35 | 10.6 | 0 | 0 | 0 | -0.9 | -18 | 19.28 | -1.5 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 24.1 | 0 | 0 | 0 | -8
16:15 - 16:30 | -1.2 | 0 | 0 | 0 | -0.9 | 0 | 0 | -870.86 | 10.61 | 0 | 0 | 0 | -0.9 | -18 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | -8
16:30 - 16:45 | -1.2 | 0 | 0 | 0 | -0.9 | 0 | 0 | -701.11 | 0 | 0 | 0 | 0 | -0.9 | -18 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | -8
16:45 - 17:00 | -1.2 | 0 | 0 | 0 | -0.9 | 0 | 0 | -602.49 | 0 | 0 | 0 | 0 | -0.9 | -18 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | -8
17:00 - 17:15 | -1.2 | 0 | 0 | 0 | -0.4 | -1.2 | 0 | -726.98 | 0 | 0 | 0 | 0 | -0.9 | -18 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -8
17:15 - 17:30 | -1.2 | -9 | 0 | 0 | -0.4 | -1.2 | 0 | -740.61 | 0 | 0 | 0 | 0 | -0.9 | -18 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -8
17:30 - 17:45 | -1.2 | 0 | 0 | 0 | -0.2 | -1.2 | 0 | -350.39 | 0 | 0 | 0 | 0 | -0.9 | -18 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
17:45 - 18:00 | -1.2 | 0 | 0 | 0 | -0.2 | -1.2 | 0 | -128.4 | 0 | 0 | 0 | 0 | -0.9 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
18:00 - 18:15 | -1.2 | 0 | 0 | 0 | -0.2 | -1.2 | 0 | -112.45 | 0 | 0 | 0 | 0 | -0.9 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
18:15 - 18:30 | -1.2 | 0 | 0 | 0 | -0.2 | -1.2 | 0 | -27.11 | 0 | 0 | 0 | 0 | -0.9 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -8
18:30 - 18:45 | -1.2 | 0 | 0 | 0 | -0.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | -8
18:45 - 19:00 | -1.2 | 0 | 0 | 0 | -0.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -0.9 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | -8
19:00 - 19:15 | -1.2 | 0 | 0 | 0 | -0.2 | -1.3 | -5 | 0 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -20 | 0 | 0 | 0 | 0 | 0 | -8
19:15 - 19:30 | -1.2 | 0 | 0 | 0 | -0.2 | -1.3 | -5 | 0 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -10 | 0 | 0 | 0 | 0 | 0 | -8
19:30 - 19:45 | -1.2 | 0 | 0 | 0 | -0.2 | -1.4 | -5 | 0 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -8
19:45 - 20:00 | -1.2 | 0 | 0 | 0 | -0.2 | -1.4 | -5 | 0 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -30 | 0 | 0 | 0 | 0 | 0 | -8
20:00 - 20:15 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | -5 | 11.51 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -20 | 0 | 0 | 0 | 0 | 0 | -8
20:15 - 20:30 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | -5 | 12.11 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -30 | 0 | 0 | 0 | 0 | 0 | -8
20:30 - 20:45 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | -5 | 16.59 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -35 | 0 | 0 | 0 | 0 | 0 | -8
20:45 - 21:00 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | -5 | 15.27 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -20 | 0 | 0 | 0 | 0 | 0 | -8
21:00 - 21:15 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | -5 | 0 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -8
21:15 - 21:30 | -1.2 | 0 | 0 | 0 | 0 | -1.4 | -5 | 0 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -8
21:30 - 21:45 | -1.2 | 0 | 0 | 0 | -0.7 | -1.4 | -5 | 0 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -35 | 0 | 0 | 0 | 0 | 0 | -8
21:45 - 22:00 | -1.2 | 0 | 0 | 0 | -0.7 | -1.4 | -5 | 0 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -35 | 0 | 0 | 0 | 0 | 0 | -8
22:00 - 22:15 | -1.2 | 0 | 0 | 0 | -0.7 | -1.4 | -5 | 38.07 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -30 | 0 | 0 | 0 | 0 | 0 | -8
22:15 - 22:30 | -1.2 | 0 | 0 | 0 | -0.7 | -1.4 | -5 | 38.15 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -30 | 0 | 0 | 0 | 0 | 0 | -8
22:30 - 22:45 | -1.2 | 0 | 0 | 0 | -0.2 | -1.4 | -5 | 24.49 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -8
22:45 - 23:00 | -1.2 | 0 | 0 | 0 | -0.2 | -1.4 | -5 | 24.82 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -8
23:00 - 23:15 | -1.2 | 0 | 0 | 0 | -0.2 | -1.4 | -5 | 11.27 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -30 | 0 | 0 | 0 | 0 | 0 | -8
23:15 - 23:30 | -1.2 | 0 | 0 | 0 | -0.2 | -1.4 | -5 | 12.76 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -30 | 0 | 0 | 0 | 0 | 0 | -8
23:30 - 23:45 | -1.2 | 0 | 0 | 0 | -0.2 | -1.4 | -5 | 24.57 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -32 | 0 | 0 | 0 | 0 | 0 | -8
23:45 - 24:00 | -1.2 | 0 | 0 | 0 | -0.2 | -1.4 | -5 | 32.51 | 0 | 0 | -7 | 0 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | -32 | 0 | 0 | 0 | 0 | 0 | -8
Average | -1.2542 | -0.72917 | -0.67292 | -0.055208 | -0.27083 | -0.68958 | -1.0417 | -418.9945 | 5.4657 | -0.29062 | -1.4583 | 2.68 | -0.94583 | -10.8125 | 2.6108 | -1.0104 | -0.33333 | 3.5334 | 0.90375 | 0.1201 | 4.8203 | -1.5833 | 0.25 | 0.18 | -2.0833 | -7.6344 | 4.4701 | 19.3994 | 0.24125 | 0.8125 | 14.9392 | -7.7208