## POWER STATUS
POWER STATUS ON DT 13.08.2026
[9 empty] | 2026-08-13 | 2026-08-12
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 19:00
Demand -> | [8 empty] | 5516.3019 | 6326.7449
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 205.708 | 4.937 | 630/590 ft | 613.62 | 614.12 | 614.6 | 206.9739 | 207.5769
| Chiplima | 72(3x24) | 56.375 | 1.353 | - |  |  |  | 58.1459 | 57.6425
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1467 | 1462.2 | 1462.6 | 0 | 0
| Rengali | 250(5x50) | 239.3833 | 5.7452 | 123.5/109.75 mt | 121.34 | 122.24 | 122.31 | 239.0261 | 239.4372
| Upper Kolab | 320(4x80) | 47.54 | 1.141 | 858/844 mt | 852.46 | 850.22 | 850.25 | 55.79 | 78.1863
| Upper Indravati | 600(4x150) | 189.1875 | 4.5405 | 642/625 mt | 634.3 | 634 | 634.03 | 97.3328 | 442.1645
| Machkund | 60(50% of(3x17+3x23)) | 4.6 | 0.1104 | 2750/2685 ft | 2741.6 | 2721.9 | 2722.2 | 12.24 | 5.4485
| Total Hydro | 2099.5 | 742.7938 | 17.8271 |  |  |  |  | 669.5087 | 1030.456
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1581.847 | 37.9643 | RENEWABLE ENERGY (RE) |  |  |  | 1610.5801 | 1581.6599
[5 empty] | M.Hydl | 122.3677
| Total Thermal | 2200 | 1581.847 | 37.9643 | Solar | 103.2456 |  |  | 1610.5801 | 1581.6599
IPP | VEDANTA #2 | 600 (1x600) | 418.7988 | 10.0512 | Total IPPs | Yesterday's Demand Profile |  |  | 480.9183 | 471.5234
| GMR #3 | 350 (1x350) | 322.843 | 7.7482 | 840.104 |  | MW | HRS | 316.7685 | 326.3961
| NBVL(IPP) | 60(1x60) | 50.8561 | 1.2205 |  |  |  |  | 54.8997 | 54.18
| MDTPC |  | 47.6061 | 1.1425 |  |  |  |  | 54.2444 | 54.5365
| CGPs |  | 683.7366 | 16.4097 | IPPs, CGPs & RE | Maximum | 6327 | 19:00 | 1571.6711 | 1731.2619
| Central Sector(Drawl) |  | 1561.1859 | 37.4685 | 1749.4538 | Minimum | 5027 | 06:00 | 1664.542 | 1983.3671
| Central Sector(Sch) |  | 1536.634 | 36.8792 |  | Average | 5635.2806 |  | 1678.5809 | 1739.9301
| Grand Total |  | 5635.2806 | 135.2467 | Instantaneous Peak demand |  | 6610 | 46245.8583 | 5516.3019 | 6326.7449
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(4)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1642.8798 | 39.4291 | 1663.7082 | 39.929 | 1594.8576 | 38.2766
Balimela | 5,6 | TSTPP St-I | 2 | TPWODL | 1784.3909 | 42.8254 | 1830.8805 | 43.9411 | 1580.6729 | 37.9361
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1225.5397 | 29.413 | 1286.8444 | 30.8843 | 1238.758 | 29.7302
U.Kolab | 1,2,3 | KAHALGAON | NIL | TPSODL | 609.3482 | 14.6244 | 604.5073 | 14.5082 | 596.9699 | 14.3273
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5262.1585 | 126.2918 | 5385.9405 | 129.2626 | 5011.2584 | 120.2702
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 297.3242 | GMR |  |  |  | 176
| NBVL #3 | 48 | MDTPC |  |  |  | 0
Mini Hydel: | MEENAKSHI | 40 | OPCL |  |  |  | 0
| BTPL | 28 | SAPTADHARA |  |  |  | 19
Solar: |  | 183 | KAKATIYA |  |  |  | 5
CGPs : | JSPL (Angul) | -10.4029 | JSL(Duburi) |  |  |  | -92.1189
| ICCL | 48.9983 | visa |  |  |  | 17.1398
| NALCO | -144.7521 | VAL (CGP) |  |  |  | 80.2495
| RSP | -47.5153 | BSL(MMDL) |  |  |  | -6.5113
| INDAL | 5.7486 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -37.0361 | VAL CPP 400 kV |  |  |  | -576.792
| NBVL | 48.8194 | Arati |  |  |  | 19.6776
| BPSL(JSG) | -32.2842 | BPPL |  |  |  | 61.9042
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-05 | 2026-08-06 | 2026-08-07 | 2026-08-08 | 2026-08-09 | 2026-08-10 | 2026-08-11 | 2026-08-12
808.337 | 777.68 | 716.44 | 553.7199 | 554.5899 | 568.115 | 673.055 | 742.7938
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.12.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | -4.75 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.16
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.04
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -14.17 | NTPCRE1_SMND_BHJ2_W | ODISHA | 3.61
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -5.83 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
JPIPL | NPCL_UP | -14 | AECI11PL | STEELCAST2022 | -0.19 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
JSPLANGUL | GEB_Beneficiary | -52 | ARYAN_ISPAT | PONDY | -5 | OKWPL_RE | ODISHA | 9.96
JSPLANGUL | RUVITSL | -43.75 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 41.26
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | DCBLME | -3.75 | RWE_AP2_SECI_III | ODISHA | 12.36
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCL_RCW | -4.62 | RenewGreen_SLPR_HS | JSL_DUBURI | 12.95
VSL | CR_IR_MS | -10 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | SRI9PL_FTG3 | VLSEZ | 77.91
FARIDABAD_SOLAR | ODISHA | 0.86 | FACORPOWER | PSPCL | -5.83 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
JSWEL_UTKAL | ODISHA | 75.76 | FACORPOWER | PSPCL | -3.54 | TSESOPL_BKN2 | OPL_CUTTAK | 0.11
RAJ_SOLAR | ODISHA | 1.66 | FACORPOWER | PSPCL | -14.17 | Tuticorin_BETAMWIND | ODISHA | 50.38
RAJ_SOLAR | ODISHA | 1.53 | FACORPOWER | PSPCL | -1.46 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 2.14
|  |  | JSPLANGUL | RUVITSL | -106.25 | XXPPL_FTG3 | ODISHA | 55.51
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48
|  |  | NBVLIPP | BSPHCL | -3.54
|  |  | NBVLIPP | BSPHCL | -14.38
|  |  | OCL_IRON_STEEL | BRPL | -13.21
|  |  | OCL_IRON_STEEL | BRPL | -5.54
|  |  | OCL_IRON_STEEL | CSEB_Beneficiary | -35
|  |  | ODISHA | BRPL | -12.5
|  |  | ODISHA | JHABUA_IPP | -15
|  |  | ODISHA | TANGEDCO | -12.5
|  |  | ORSISL | PSPCL | -2.83
|  |  | ORSISL | PSPCL | -1.17
|  |  | ORSISL | TPL_DIS_DHOLERA | -1.04
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20
|  |  | Shri_JSPL | TPLD | -0.83
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5
|  |  | VSL | WBSEDCL | -4.17
|  |  | JIPL | ODISHA | 115.66
|  |  | NALCOAP | NACL_Odisha | 26.86

## DAM
DAM TRADING DETAILS FOR DT : 12.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | MGM_Minerals_Ltd | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -2.58 | 0 | 0 | -400 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | -2.58 | 0 | 0 | -400 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -2.58 | 0 | 0 | -400 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | -2.58 | 0 | 0 | -400 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | -2.58 | 0 | 0 | -561.44 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | -2.58 | 0 | 0 | -503.81 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | -2.58 | 0 | 0 | -475 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | -2.58 | 0 | 0 | -475 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | -2.58 | 0 | 0 | -434.27 | -1.24 | -4.12 | -2.06 | 0 | 5.61 | 0 | 0 | 0
02:15 - 02:30 | -2.58 | 0 | 0 | -434.04 | -1.24 | -4.12 | -2.06 | 0 | 5.61 | 0 | 0 | 0
02:30 - 02:45 | -2.58 | 0 | 0 | -366.57 | -1.24 | -4.12 | -2.06 | 0 | 5.61 | 0 | 0 | 0
02:45 - 03:00 | -2.58 | 0 | 0 | -434.17 | -1.24 | -4.12 | -2.06 | 0 | 5.61 | 0 | 0 | 0
03:00 - 03:15 | -2.58 | 0 | 0 | -250 | -1.24 | -4.12 | -1.03 | 0 | 5.61 | 0 | 0 | 0
03:15 - 03:30 | -2.58 | 0 | 0 | -250 | -1.24 | -4.12 | -1.03 | 0 | 5.61 | 0 | 0 | 0
03:30 - 03:45 | -2.58 | 0 | 0 | -250 | -1.24 | -4.12 | -1.03 | 0 | 5.61 | 0 | 0 | 0
03:45 - 04:00 | -2.58 | 0 | 0 | -250 | -1.24 | -4.12 | -1.03 | 0 | 5.61 | 0 | 0 | 0
04:00 - 04:15 | -2.58 | 0 | 0 | -225 | -1.24 | -4.12 | -1.03 | 0 | 5.61 | 0 | 0 | 0
04:15 - 04:30 | -2.58 | 0 | 0 | -225 | -1.24 | -4.12 | -1.03 | 0 | 5.61 | 0 | 0 | 0
04:30 - 04:45 | -2.58 | 0 | 0 | -225 | -1.24 | -4.12 | -1.03 | 0 | 5.61 | 0 | 0 | 0
04:45 - 05:00 | -2.58 | 0 | 0 | -225 | -1.24 | -4.12 | -1.03 | 0 | 5.61 | 0 | 0 | 0
05:00 - 05:15 | -2.58 | 0 | 0 | -200 | -1.44 | -4.12 | -2.06 | -44.33 | 5.61 | 0 | 0 | 0
05:15 - 05:30 | -2.58 | 0 | 0 | -500 | -1.44 | -4.12 | -2.06 | -44.33 | 0 | 0 | 0 | 0
05:30 - 05:45 | -2.58 | 0 | 0 | -600 | -1.44 | -4.12 | -2.06 | -44.33 | 0 | 0 | 0 | 0
05:45 - 06:00 | -2.58 | 0 | 0 | -600 | -1.44 | -4.12 | -2.06 | -44.33 | 0 | 0 | 0 | 0
06:00 - 06:15 | -2.58 | 0 | 0 | -650 | -1.44 | -10.31 | -2.06 | -44.33 | 0 | 0 | 0 | -6.19
06:15 - 06:30 | -2.58 | 0 | 0 | -650 | -1.44 | -10.31 | -2.06 | -44.33 | 0 | 0 | 0 | -6.19
06:30 - 06:45 | -2.58 | 0 | 0 | -650 | -1.44 | -10.31 | -2.06 | -44.33 | 0 | 0 | 0 | -6.19
06:45 - 07:00 | -2.58 | 0 | 0 | -650 | -1.44 | -10.31 | -2.06 | -44.33 | 0 | 0 | 0 | -6.19
07:00 - 07:15 | -2.58 | 0 | 0 | -850 | -1.44 | -10.31 | -2.06 | -44.33 | 0 | 0 | 0 | -6.19
07:15 - 07:30 | -2.58 | 0 | 0 | -850 | -1.44 | -10.31 | -2.06 | -44.33 | 0 | 0 | 0 | -6.19
07:30 - 07:45 | -2.58 | 0 | 0 | -850 | -1.44 | -10.31 | -2.06 | -44.33 | 0 | 0 | 0 | -6.19
07:45 - 08:00 | -2.58 | 0 | 0 | -850 | -1.44 | -10.31 | -2.06 | -44.33 | 0 | 0 | 0 | -6.19
08:00 - 08:15 | -2.58 | 21.5 | 0 | -975 | -1.44 | -4.12 | -1.03 | -44.33 | 0 | 0 | 0 | -6.19
08:15 - 08:30 | -2.58 | 21.5 | 0 | -975 | -1.44 | -4.12 | -1.03 | -44.33 | 0 | 0 | 0 | -6.19
08:30 - 08:45 | -2.58 | 21.5 | 0 | -975 | -1.44 | -4.12 | -1.03 | -44.33 | 0 | 0 | 0 | -6.19
08:45 - 09:00 | -2.58 | 21.5 | 0 | -866.47 | -1.44 | -4.12 | -1.03 | -44.33 | 5.61 | 0 | 0 | -6.19
09:00 - 09:15 | -2.58 | 21.5 | 0 | -1000 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 4.68 | -6.19
09:15 - 09:30 | -2.58 | 21.5 | 0 | -1000 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | -6.19
09:30 - 09:45 | -2.58 | 21.5 | 0 | -856.9 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | -6.19
09:45 - 10:00 | -2.58 | 21.5 | 0 | -681.39 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | -6.19
10:00 - 10:15 | -2.58 | 21.5 | 0 | -560.9 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
10:15 - 10:30 | -2.58 | 21.5 | 0 | -537.98 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
10:30 - 10:45 | -2.58 | 21.5 | 0 | -200 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
10:45 - 11:00 | -2.58 | 21.5 | 0 | -200 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
11:00 - 11:15 | -2.58 | 21.5 | 0 | -100 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
11:15 - 11:30 | -2.58 | 21.5 | 0 | -100 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
11:30 - 11:45 | -2.58 | 21.5 | 0 | -100 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
11:45 - 12:00 | -2.58 | 21.5 | 0 | -100 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
12:00 - 12:15 | -2.58 | 21.5 | 0 | -100 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
12:15 - 12:30 | -2.58 | 21.5 | 0 | -100 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
12:30 - 12:45 | -2.58 | 21.5 | 0 | -100 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
12:45 - 13:00 | -2.58 | 21.5 | 0 | -100 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
13:00 - 13:15 | -2.58 | 21.5 | 0 | -100 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 4.68 | 0 | 0
13:15 - 13:30 | -2.58 | 21.5 | 0 | -100 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 4.68 | 0 | 0
13:30 - 13:45 | -2.58 | 21.5 | 0 | -100 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
13:45 - 14:00 | -2.58 | 21.5 | 0 | -100 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
14:00 - 14:15 | -2.58 | 21.5 | 0 | -100 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
14:15 - 14:30 | -2.58 | 21.5 | 0 | -339.09 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
14:30 - 14:45 | -2.58 | 21.5 | 0 | -338.21 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
14:45 - 15:00 | -2.58 | 21.5 | 0 | -480.53 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | 0
15:00 - 15:15 | -2.58 | 21.5 | 0 | -537.67 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | -6.19
15:15 - 15:30 | -2.58 | 21.5 | 0 | -686.49 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | -6.19
15:30 - 15:45 | -2.58 | 21.5 | 0 | -800 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | -6.19
15:45 - 16:00 | -2.58 | 21.5 | 0 | -800 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0 | 0 | -6.19
16:00 - 16:15 | -2.58 | 21.5 | 0 | -880.36 | -1.44 | -4.12 | -1.03 | -44.33 | 5.61 | 0 | 0 | -6.19
16:15 - 16:30 | -2.58 | 21.5 | 0 | -950 | -1.44 | -4.12 | -1.03 | -44.33 | 5.61 | 0 | 0 | -6.19
16:30 - 16:45 | -2.58 | 21.5 | 0 | -1053.46 | -1.44 | -4.12 | -1.03 | -44.33 | 5.61 | 0 | 0 | -6.19
16:45 - 17:00 | -2.58 | 21.5 | 0 | -1100 | -1.44 | -4.12 | -1.03 | -44.33 | 5.61 | 0 | 0 | -6.19
17:00 - 17:15 | -2.58 | 0 | 0 | -925 | -1.24 | -5.15 | -2.06 | -44.33 | 0 | 0 | 0 | -6.19
17:15 - 17:30 | -2.58 | 0 | 0 | -925 | -1.24 | -5.15 | -2.06 | -44.33 | 0 | 0 | 0 | -6.19
17:30 - 17:45 | -2.58 | 0 | 0 | -925 | -1.24 | -5.15 | -2.06 | -44.33 | 0 | 0 | 0 | -6.19
17:45 - 18:00 | -2.58 | 0 | 0 | -952.47 | -1.24 | -5.15 | -2.06 | -44.33 | 0 | 0 | 0 | -6.19
18:00 - 18:15 | -2.58 | 0 | 0 | -575 | -1.24 | -4.12 | -2.06 | -44.33 | 0 | 0 | 0 | 0
18:15 - 18:30 | -2.58 | 0 | 0 | -575 | -1.24 | -4.12 | -2.06 | -44.33 | 0 | 0 | 0 | 0
18:30 - 18:45 | -2.58 | 0 | 0 | -0.03 | -1.24 | -4.12 | -2.06 | -44.33 | 0 | 0 | 0 | 0
18:45 - 19:00 | -2.58 | 0 | 0 | -50 | -1.24 | -4.12 | -2.06 | -44.33 | 0 | 0 | 0 | 0
19:00 - 19:15 | -2.58 | 0 | -15.46 | -50 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2.58 | 0 | -15.46 | -50 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2.58 | 0 | -15.46 | -50 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -2.58 | 0 | -15.46 | -50 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2.58 | 0 | -15.46 | -50 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2.58 | 0 | -15.46 | -50 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -2.58 | 0 | -15.46 | -50 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | -2.58 | 0 | -15.46 | -50 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | -2.58 | 0 | -15.46 | -100 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | -2.58 | 0 | -15.46 | -100 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | -2.58 | 0 | -15.46 | -100 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | -2.58 | 0 | -15.46 | -100 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | -2.58 | 0 | -15.46 | -150 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | -2.58 | 0 | -15.46 | -150 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | -2.58 | 0 | -15.46 | -150 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | -2.58 | 0 | -15.46 | -150 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | -2.58 | 0 | -15.46 | -150 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | -2.58 | 0 | -15.46 | -150 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | -2.58 | 0 | -15.46 | -200 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | -2.58 | 0 | -15.46 | -200 | -1.24 | -4.12 | -2.06 | 0 | 0 | 0 | 0 | 0
Average | -2.58 | 8.0625 | -3.2208 | -418.8151 | -1.34 | -4.6788 | -1.5879 | -18.3429 | 2.6881 | 0.0975 | 0.04875 | -1.8054

## GDAM
GDAM TRADING DETAILS FOR DT:12.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 14.03 | 0 | 0 | 37.39 | 0
08:00 - 08:15 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
08:30 - 08:45 | -0.21 | 0 | 14.03 | 0 | 0 | 0 | 0
08:45 - 09:00 | -1.03 | 0 | 14.03 | 9.35 | 0 | 28.04 | 0
09:00 - 09:15 | -3.71 | 0 | 14.03 | 9.35 | 0 | 28.04 | 0
09:15 - 09:30 | -1.03 | -3.4 | 14.03 | 9.35 | 3.74 | 28.03 | 4.68
09:30 - 09:45 | -5.77 | 0 | 14.03 | 9.35 | 3.74 | 28.03 | 4.68
09:45 - 10:00 | -5.46 | -1.86 | 14.03 | 9.35 | 3.74 | 28.03 | 4.68
10:00 - 10:15 | -4.33 | -4.54 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
10:15 - 10:30 | -3.3 | -8.87 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
10:30 - 10:45 | -8.45 | -12.58 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
10:45 - 11:00 | -10.93 | -8.25 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
11:00 - 11:15 | -11.34 | -3.2 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
11:15 - 11:30 | -11.75 | -9.38 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
11:30 - 11:45 | -13.4 | -5.26 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
11:45 - 12:00 | -10.72 | -8.76 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
12:00 - 12:15 | -10.82 | -8.14 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
12:15 - 12:30 | -10 | -6.6 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
12:30 - 12:45 | -10.62 | -12.68 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
12:45 - 13:00 | -7.32 | -8.66 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
13:00 - 13:15 | -5.98 | -8.14 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
13:15 - 13:30 | -6.08 | -10.72 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
13:30 - 13:45 | -5.88 | -8.97 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
13:45 - 14:00 | -9.59 | -11.86 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
14:00 - 14:15 | -4.85 | -0.52 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
14:15 - 14:30 | -4.02 | -5.57 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
14:30 - 14:45 | -2.68 | -2.68 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
14:45 - 15:00 | 0 | -1.65 | 14.03 | 9.35 | 3.74 | 18.69 | 4.68
15:00 - 15:15 | 0 | -3.51 | 14.03 | 9.35 | 1.42 | 18.69 | 4.68
15:15 - 15:30 | 0 | -2.68 | 14.03 | 9.35 | 1.35 | 18.69 | 4.68
15:30 - 15:45 | 0 | -4.33 | 14.03 | 9.35 | 0.5 | 18.69 | 4.68
15:45 - 16:00 | 0 | 0 | 14.03 | 9.35 | 0.39 | 18.69 | 4.68
16:00 - 16:15 | 0 | 0 | 14.03 | 9.35 | 0 | 28.04 | 0
16:15 - 16:30 | 0 | 0 | 14.03 | 0 | 0 | 28.04 | 0
16:30 - 16:45 | 0 | 0 | 14.03 | 0 | 0 | 28.04 | 0
16:45 - 17:00 | 0 | 0 | 14.03 | 0 | 0 | 28.04 | 0
17:00 - 17:15 | 0 | 0 | 14.03 | 0 | 0 | 28.04 | 0
17:15 - 17:30 | 0 | 0 | 14.03 | 0 | 0 | 28.04 | 0
17:30 - 17:45 | 0 | 0 | 14.03 | 0 | 0 | 28.04 | 0
17:45 - 18:00 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -1.7632 | -1.6959 | 8.4765 | 2.9219 | 0.93417 | 8.5667 | 1.3163

## RTM
RTM TRADING DETAILS FOR DT: 12.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Ltd | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -1.44 | 0 | 0 | 0 | -0.21 | -1.44 | 205.56 | 0 | 0 | 0 | -0.93 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
00:15 - 00:30 | -1.44 | 0 | 0 | 0 | -0.21 | -1.44 | 264.55 | 0 | 0 | 0 | -0.93 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
00:30 - 00:45 | -1.44 | 0 | 0 | 0 | -0.21 | -1.44 | 70.42 | 0 | 0 | 0 | -0.93 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -10.31 | -8.25 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
00:45 - 01:00 | -1.44 | 0 | 0 | 0 | -0.21 | -1.44 | 74.36 | 0 | 0 | 0 | -0.93 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -10.31 | -30.93 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
01:00 - 01:15 | -1.44 | 0 | 0 | 0 | -0.21 | -1.44 | 125.29 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -15.46 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
01:15 - 01:30 | -1.44 | 0 | 0 | 0 | -0.21 | -1.44 | 77.1 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -15.46 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
01:30 - 01:45 | -1.44 | 0 | 0 | 0 | -0.21 | -1.44 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -12.37 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
01:45 - 02:00 | -1.44 | 0 | 0 | 0 | -0.21 | -1.44 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -12.37 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
02:00 - 02:15 | -1.44 | 0 | 0 | 0 | -0.21 | -1.44 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -18.56 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
02:15 - 02:30 | -1.44 | 0 | 0 | 0 | -0.21 | -1.44 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -18.56 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
02:30 - 02:45 | -1.44 | 0 | 0 | 0 | -0.21 | -1.44 | -57.76 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -20.62 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
02:45 - 03:00 | -1.44 | 0 | 0 | 0 | -0.21 | -1.44 | -54.94 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -20.62 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
03:00 - 03:15 | -1.44 | 0 | 0 | 0 | -0.21 | -1.44 | -99.61 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -15.46 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
03:15 - 03:30 | -1.44 | 0 | 0 | 0 | -0.21 | -1.44 | -85.39 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -15.46 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
03:30 - 03:45 | -1.44 | 0 | 0 | 0 | -0.21 | -1.44 | -37.52 | 3.44 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 1.88 | 0 | 0 | -2.06 | 0 | 0 | -23.71 | 2.97 | 0 | 0 | 0 | 0 | -8.76 | 0
03:45 - 04:00 | -1.44 | 0 | 0 | 0 | -0.21 | -1.44 | -36.26 | 10.28 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 5.61 | 0 | 0 | -2.06 | 0 | 0 | -23.71 | 8.89 | 0 | 0 | 0 | 0 | -8.76 | 0
04:00 - 04:15 | -1.44 | 0 | 0 | 0 | -0.21 | -1.34 | -34.96 | 10.28 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 5.61 | 0 | 0 | -4.12 | 0 | 0 | 0 | 8.89 | 0 | 0 | 0 | 0 | -8.76 | 0
04:15 - 04:30 | -1.44 | 0 | 0 | 0 | -0.21 | -1.34 | -35.58 | 10.28 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 5.61 | 0 | 0 | -4.12 | 0 | 0 | 0 | 8.89 | 0 | 0 | 0 | 0 | -8.76 | 0
04:30 - 04:45 | -1.44 | 0 | 0 | 0 | -0.21 | -1.34 | -82.5 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -23.71 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
04:45 - 05:00 | -1.44 | 0 | 0 | 0 | -0.21 | -1.34 | -100.14 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -23.71 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
05:00 - 05:15 | -1.44 | 0 | 0 | 0 | -0.21 | -1.34 | -166.81 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -23.71 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
05:15 - 05:30 | -1.44 | 0 | 0 | 0 | -0.21 | -1.34 | 15.04 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -23.71 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
05:30 - 05:45 | -1.44 | 0 | 0 | 0 | -0.72 | -1.34 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -23.71 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
05:45 - 06:00 | -1.44 | 0 | 0 | 0 | -0.72 | -1.34 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -23.71 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
06:00 - 06:15 | -1.44 | 0 | 0 | 0 | -0.72 | -1.34 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -23.71 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
06:15 - 06:30 | -1.44 | 0 | 0 | 0 | -0.72 | -1.34 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -25.77 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
06:30 - 06:45 | -1.44 | -13.4 | 0 | 0 | -0.72 | -1.34 | 0 | 0 | -0.1 | 0 | -0.93 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -20.62 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
06:45 - 07:00 | -1.44 | 0 | 0 | 0 | -0.72 | -1.34 | -150 | 0 | -0.1 | 0 | -0.93 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -20.62 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
07:00 - 07:15 | -1.44 | 0 | 0 | 0 | -0.21 | -1.34 | -66.82 | 0 | -0.1 | 0 | -0.93 | 0 | -0.1 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | -18.56 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
07:15 - 07:30 | -1.44 | 0 | 0 | 0 | -0.21 | -1.34 | -50.01 | 0 | -0.1 | 0 | -0.93 | 0 | -0.31 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | -18.56 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
07:30 - 07:45 | -1.44 | 0 | 0 | 0 | -0.21 | -1.34 | -100.13 | 0 | -0.21 | 0 | -0.93 | 0 | -0.52 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | -30.93 | 0 | 0 | 0 | 0 | 0 | -8.76 | 0
07:45 - 08:00 | -1.44 | 0 | 0 | 0 | -0.21 | -1.34 | -187.59 | 3.5 | -0.21 | 0 | -0.93 | 0 | -0.72 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | -30.93 | 3.02 | 0 | 0 | 0 | 0 | -8.76 | 0
08:00 - 08:15 | -1.44 | 0 | 0 | 0 | -0.21 | -1.34 | 0 | 10.28 | -0.31 | 0 | -0.93 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | -20.62 | 8.89 | 0 | 0 | 0 | 0 | -8.76 | 0
08:15 - 08:30 | -1.44 | 0 | 0 | 0 | -0.21 | -1.34 | 0 | 10.28 | -0.31 | 0 | -0.93 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | -20.62 | 8.89 | 0 | 0 | 0 | 0 | -8.76 | 0
08:30 - 08:45 | -1.24 | 0 | 0 | 0 | -0.21 | -1.34 | -76.26 | 10.28 | -0.41 | 0 | -0.93 | 0 | -1.65 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -5.15 | -20.62 | 8.89 | 0 | 0 | 0 | 0 | -8.76 | 0
08:45 - 09:00 | -1.24 | 0 | 0 | 0 | -0.21 | -1.34 | -167.88 | 10.28 | -0.52 | 0 | -0.93 | 0 | -1.75 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -5.15 | -20.62 | 8.89 | 0 | 0 | 0 | 0 | -8.76 | 0
09:00 - 09:15 | -1.24 | -6.19 | 0 | -3.51 | -0.21 | 0 | 0 | 6.46 | -0.62 | 0 | -0.93 | -15.46 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -5.15 | -10.31 | 5.58 | 0 | 0 | 0 | 0 | -8.76 | 0
09:15 - 09:30 | -1.24 | 0 | -1.75 | -2.78 | -0.21 | 0 | 0 | 10.28 | -0.72 | 0 | -0.93 | 0 | -1.75 | 0 | 0 | 0 | 0 | 0 | 0 | -9.28 | 0 | -5.15 | -10.31 | 8.89 | 0 | 0 | 0 | 0 | -8.76 | 0
09:30 - 09:45 | -1.24 | 0 | 0 | -6.08 | -0.21 | 0 | -50 | 10.28 | -0.82 | 0 | -0.93 | 0 | -2.47 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 1.42 | -5.15 | 0 | 8.89 | 0 | 0 | 0 | 0 | -8.76 | 0
09:45 - 10:00 | -1.24 | 0 | 0 | -8.14 | -0.21 | 0 | -435.14 | 10.28 | -0.93 | 0 | -0.93 | 0 | -0.1 | 0 | 9.35 | 4.68 | 0 | 0 | 14.96 | -4.12 | 1.87 | -5.15 | 0 | 8.89 | 46.74 | 5.04 | 0 | 0 | -8.76 | 0
10:00 - 10:15 | -1.24 | 0 | -1.44 | -6.19 | -0.21 | 0 | -532.51 | 10.28 | -1.03 | 0 | -0.93 | 0 | 4.96 | 0 | 9.35 | 4.68 | 0 | 0 | 14.96 | -4.12 | 1.87 | -5.15 | -15.46 | 8.89 | 46.74 | 5.04 | -6.19 | 0 | -8.76 | 0
10:15 - 10:30 | -1.24 | -9.28 | -4.12 | -3.81 | -0.21 | 0 | -529.6 | 10.28 | -1.13 | 0 | -0.93 | 0 | 4.58 | 0 | 9.35 | 4.68 | 0 | 0 | 14.96 | -4.12 | 1.87 | -5.15 | -15.46 | 8.89 | 46.74 | 5.04 | -6.19 | 0 | -8.76 | 0
10:30 - 10:45 | -1.24 | 0 | -1.75 | -3.3 | -0.21 | 0 | -995.01 | 10.28 | -1.55 | 0 | -0.93 | 0 | 4.49 | 0 | 9.35 | 4.68 | 0 | 0 | 14.96 | -4.12 | 1.87 | -5.15 | 0 | 8.89 | 46.73 | 0.47 | -6.19 | 0 | -8.76 | 0
10:45 - 11:00 | -1.24 | 0 | -4.85 | -4.95 | -0.21 | 0 | -905.63 | 10.28 | -1.75 | 0 | -0.93 | 0 | 4.39 | 0 | 9.35 | 4.68 | 0 | 0 | 14.96 | -4.12 | 1.87 | -5.15 | 0 | 8.89 | 46.74 | 0.47 | -6.19 | 0 | -8.76 | 0
11:00 - 11:15 | -1.24 | 0 | -3.51 | -6.39 | -0.62 | 0 | -928.46 | 10.28 | -2.16 | 0 | -0.93 | 0 | -3.71 | 0 | 9.35 | 4.68 | 0 | 4.68 | 14.96 | -4.12 | 1.87 | -2.06 | -10.31 | 8.89 | 46.73 | 0.47 | -6.19 | 0 | -8.97 | 0
11:15 - 11:30 | -1.24 | 0 | -4.85 | 0 | -0.62 | 0 | -945.05 | 10.28 | -2.27 | 0 | -0.93 | 0 | -3.71 | 0 | 9.35 | 4.68 | 0 | 4.68 | 14.96 | -4.12 | 1.87 | -2.06 | -10.31 | 8.89 | 46.73 | 0.47 | -6.19 | 0 | -8.97 | 0
11:30 - 11:45 | -1.24 | 0 | -5.15 | -4.74 | -0.62 | 0 | -879.95 | 10.28 | -2.27 | 0 | -0.93 | 0 | -3.92 | 0 | 13.09 | 0 | 0 | 4.68 | 11.22 | 0 | 1.87 | -2.06 | 0 | 8.89 | 46.74 | 0.47 | -2.89 | 0 | -8.97 | 0
11:45 - 12:00 | -1.24 | -9.28 | -7.73 | -3.81 | -0.62 | 0 | -829.93 | 10.28 | -2.27 | 0 | -0.93 | 0 | -3.4 | 0 | 13.09 | 0 | 0 | 4.68 | 11.22 | 0 | 1.87 | -2.06 | 0 | 8.89 | 46.74 | 0.47 | -1.91 | 0 | -8.97 | 0
12:00 - 12:15 | -1.24 | 0 | -4.64 | -1.34 | -0.62 | 0 | -687.5 | 10.28 | -2.27 | 0 | -0.93 | 0 | -3.61 | 0 | 13.09 | 0 | 0 | 4.68 | 11.22 | 0 | 0.93 | -2.06 | 37.39 | 8.89 | 46.74 | 0.47 | -6.19 | 0 | -8.97 | 0
12:15 - 12:30 | -1.24 | 0 | -4.12 | -0.93 | -0.62 | 0 | -487.58 | 10.28 | -2.06 | 0 | -0.93 | 0 | -1.96 | 0 | 13.09 | 0 | 0 | 4.68 | 11.22 | 0 | 0.93 | -2.06 | 37.39 | 8.89 | 46.74 | 0.47 | -6.19 | 0 | -8.97 | 0
12:30 - 12:45 | -1.24 | 0 | 0 | 0 | -0.62 | 0 | -350.99 | 10.28 | -1.96 | 0 | -0.93 | 0 | -1.86 | 0 | 9.35 | 0 | 0 | 4.68 | 11.22 | 0 | 0.93 | 0 | -10.31 | 8.89 | 65.44 | 0.47 | -6.19 | 0 | -8.97 | 0
12:45 - 13:00 | -1.24 | 0 | 0 | 0 | -0.62 | 0 | -200.73 | 10.28 | -1.75 | 0 | -0.93 | 0 | -1.65 | 0 | 9.35 | 0 | 0 | 4.68 | 11.22 | 0 | 0.93 | 0 | -10.31 | 8.89 | 65.44 | 0.47 | -6.19 | 0 | -8.97 | 0
13:00 - 13:15 | -1.24 | -5.15 | 0 | 0 | -1.03 | 0 | -125.98 | 10.28 | -0.72 | 0 | -0.93 | 0 | -1.65 | 0 | 9.35 | 0 | 0 | 4.68 | 11.22 | 0 | 0.93 | 0 | 37.39 | 8.89 | 74.79 | 0.47 | -6.19 | 0 | -8.97 | 0
13:15 - 13:30 | -1.24 | -3.09 | 0 | -0.31 | -1.03 | 0 | -376.96 | 10.28 | -0.72 | 0 | -0.93 | 0 | -3.3 | 0 | 9.35 | 0 | 0 | 4.68 | 11.22 | 0 | 0.93 | 0 | 37.39 | 8.89 | 74.79 | 0.47 | -6.19 | 0 | -8.97 | 0
13:30 - 13:45 | -1.24 | 0 | 0 | -3.81 | -1.03 | 0 | -373.32 | 10.28 | -0.31 | 0 | -0.93 | 0 | -2.37 | 0 | 9.35 | 0 | 0 | 4.68 | 11.22 | 0 | 0.93 | 0 | 37.39 | 8.89 | 74.79 | 0.47 | -6.19 | 0 | -8.97 | 0
13:45 - 14:00 | -1.24 | 0 | 0 | -4.12 | -1.03 | 0 | -427.93 | 10.28 | -0.31 | 0 | -0.93 | 0 | -2.27 | 0 | 9.35 | 0 | 0 | 4.68 | 11.22 | 0 | 0.93 | 0 | -10.31 | 8.89 | 56.09 | 0.47 | -6.19 | 0 | -8.97 | 0
14:00 - 14:15 | -1.24 | -9.28 | -0.21 | -4.12 | -1.03 | 0 | -639.47 | 10.28 | -0.1 | 0 | -0.93 | 0 | -2.16 | 0 | 9.35 | 0 | 0 | 4.68 | 11.22 | 0 | 0.93 | 0 | -5.15 | 8.89 | 0 | 0.47 | -6.19 | 0 | -8.97 | 0
14:15 - 14:30 | -1.24 | 0 | 0 | -4.02 | -1.03 | 0 | -302.46 | 10.28 | 0 | 0 | -0.93 | 0 | -2.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 8.89 | 0 | 0 | -6.19 | 0 | -8.97 | 0
14:30 - 14:45 | -1.24 | 0 | -2.27 | -5.77 | -1.03 | 0 | -360.04 | 10.28 | 0 | 0 | -0.93 | 0 | -2.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37.39 | 8.89 | 0 | 0 | -6.19 | 0 | -8.97 | 0
14:45 - 15:00 | -1.24 | 0 | -8.66 | -5.88 | -1.03 | 0 | -262.89 | 10.28 | 0 | 0 | -0.93 | 0 | -2.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37.39 | 8.89 | 0 | 0 | -6.19 | 0 | -8.97 | 0
15:00 - 15:15 | -1.24 | 0 | -8.56 | -5.88 | -1.03 | 0 | -283.01 | 10.28 | 0 | 0 | -0.93 | 0 | -1.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37.39 | 8.89 | 0 | 0 | 0 | 0 | -8.97 | 0
15:15 - 15:30 | -1.24 | 0 | -3.3 | -4.43 | -1.03 | 0 | -93.96 | 10.28 | 0 | 0 | -0.93 | 0 | -1.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37.39 | 8.89 | 0 | 0 | 0 | 0 | -8.97 | 0
15:30 - 15:45 | -1.24 | 0 | 0 | -2.37 | -1.44 | 0 | 0 | 10.28 | 0 | 0 | -0.93 | 0 | -1.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 37.39 | 8.89 | 0 | 0 | 0 | 0 | -8.97 | 0
15:45 - 16:00 | -1.24 | 0 | 0 | -1.13 | -1.44 | 0 | -51.52 | 0 | 0 | 0 | -0.93 | -15.46 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 37.39 | 0 | 0 | 0 | 0 | 0 | -8.97 | 0
16:00 - 16:15 | -1.24 | 0 | 0 | 0 | -1.44 | 0 | 0 | 10.28 | 0 | 0 | -0.93 | 0 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 8.89 | 0 | 0 | 0 | 0 | -8.97 | 0
16:15 - 16:30 | -1.24 | 0 | 0 | 0 | -1.44 | 0 | 88.59 | 0 | 0 | 0 | -0.93 | 0 | -0.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | 0 | 0 | -8.97 | 0
16:30 - 16:45 | -0.21 | -5.15 | 0 | 0 | -1.44 | 0 | 180.41 | 0 | 0 | 0 | -0.93 | 0 | -0.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | 0 | 0 | -8.97 | 0
16:45 - 17:00 | -0.21 | 0 | 0 | 0 | -1.44 | 0 | 202.38 | 0 | 0 | 0 | -0.93 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 37.39 | 0 | 0 | 0 | 0 | 0 | -8.97 | 0
17:00 - 17:15 | -0.21 | 0 | 0 | 0 | -0.21 | -1.34 | 227.83 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 56.1 | 0 | 0 | 0 | 0 | 0 | -8.97 | 0
17:15 - 17:30 | -0.21 | 0 | 0 | 0 | -0.21 | -1.34 | 262.85 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 56.1 | 0 | 0 | 0 | 0 | 0 | -8.97 | 0
17:30 - 17:45 | -0.21 | 0 | 0 | 0 | -0.21 | -1.34 | 166.77 | 0 | 0 | 0 | -0.93 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | 56.1 | 0 | 0 | 0 | 0 | 0 | -8.97 | 0
17:45 - 18:00 | -0.21 | 0 | 0 | 0 | -0.21 | -1.34 | 137.16 | 0 | 0 | 0 | -0.93 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | -5.15 | 0 | 0 | 0 | 0 | 0 | -8.97 | 0
18:00 - 18:15 | -0.21 | 0 | 0 | 0 | -0.21 | -1.34 | 585.92 | 0 | 0 | 0 | -0.93 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | -8.97 | 0
18:15 - 18:30 | -0.21 | 0 | 0 | 0 | -0.21 | -1.34 | 558.03 | 0 | 0 | 0 | -0.93 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | 41.64 | 0 | 0 | 0 | 0 | 0 | -8.97 | 0
18:30 - 18:45 | -0.21 | 0 | 0 | 0 | -0.21 | -1.24 | 202.94 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | 29.54 | 0 | 0 | 0 | 0 | 0 | -8.97 | 0
18:45 - 19:00 | -0.21 | 0 | 0 | 0 | -0.21 | -1.24 | 154.11 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | 22.43 | 0 | 0 | 0 | 0 | 0 | -8.97 | 0
19:00 - 19:15 | -0.21 | 0 | 0 | 0 | -0.21 | -1.24 | 96.86 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | 8.05 | 0 | 0 | 0 | 0 | 0 | -8.97 | -2.06
19:15 - 19:30 | -0.21 | 0 | 0 | 0 | -0.21 | -1.24 | 82.16 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | -5.15 | 0 | 0 | 0 | 0 | 0 | -8.97 | -2.06
19:30 - 19:45 | -0.21 | 0 | 0 | 0 | -0.21 | -1.24 | 70.7 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | -5.15 | 0 | 0 | 0 | 0 | 0 | -8.97 | -2.06
19:45 - 20:00 | -0.21 | 0 | 0 | 0 | -0.21 | -1.24 | 75.26 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | -5.15 | 0 | 0 | 0 | 0 | 0 | -8.97 | -2.06
20:00 - 20:15 | -0.21 | 0 | 0 | 0 | -0.21 | -1.24 | 129.92 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | -5.15 | 0 | 0 | 0 | 0 | 0 | -8.97 | -2.06
20:15 - 20:30 | -0.21 | 0 | 0 | 0 | -0.21 | -1.24 | 124.85 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | 4.54 | 0 | 0 | 0 | 0 | 0 | -8.97 | -2.06
20:30 - 20:45 | 0 | 0 | 0 | 0 | -0.21 | -1.24 | 198.71 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | 7.71 | 0 | 0 | 0 | 0 | 0 | -8.97 | -2.06
20:45 - 21:00 | 0 | 0 | 0 | 0 | -0.21 | -1.24 | 203.75 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | 7.91 | 0 | 0 | 0 | 0 | 0 | -8.97 | -2.06
21:00 - 21:15 | 0 | 0 | 0 | 0 | -0.21 | -1.34 | 139.5 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | 5.69 | 0 | 0 | 0 | 0 | 0 | -8.97 | -2.06
21:15 - 21:30 | 0 | 0 | 0 | 0 | -0.21 | -1.34 | 131.68 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | 5.37 | 0 | 0 | 0 | 0 | 0 | -8.97 | -2.06
21:30 - 21:45 | 0 | 0 | 0 | 0 | -0.93 | -1.34 | 123.91 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | 0.48 | 0 | 0 | 0 | 0 | 0 | -8.97 | -2.06
21:45 - 22:00 | 0 | 0 | 0 | 0 | -0.93 | -1.34 | 138.39 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -10.31 | 0.53 | 0 | 0 | 0 | 0 | 0 | -8.97 | -2.06
22:00 - 22:15 | 0 | 0 | 0 | 0 | -0.93 | -1.24 | 140.08 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -12.37 | -5.15 | 0 | 0 | 0 | 0 | 40.76 | -8.97 | -2.06
22:15 - 22:30 | 0 | 0 | 0 | 0 | -0.93 | -1.24 | 131.22 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -12.37 | 5.09 | 0 | 0 | 0 | 0 | 38.18 | -8.97 | -2.06
22:30 - 22:45 | 0 | 0 | 0 | 0 | -0.21 | -1.24 | 135.23 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -12.37 | 5.25 | 0 | 0 | 0 | 0 | 32.8 | -8.97 | -2.06
22:45 - 23:00 | 0 | 0 | 0 | 0 | -0.21 | -1.24 | 151 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -12.37 | 5.86 | 0 | 0 | 0 | 0 | 36.62 | -8.97 | -2.06
23:00 - 23:15 | 0 | 0 | 0 | 0 | -0.21 | -1.03 | 67.63 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -12.37 | 0 | 0 | 0 | 0 | 0 | 24.6 | -9.48 | -2.06
23:15 - 23:30 | 0 | 0 | 0 | 0 | -0.21 | -1.03 | 74.91 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -12.37 | 0 | 0 | 0 | 0 | 0 | 22.71 | -9.48 | -2.06
23:30 - 23:45 | 0 | 0 | 0 | 0 | -0.21 | -1.13 | 91.47 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -12.37 | 0 | 0 | 0 | 0 | 0 | 31.68 | -9.48 | -2.06
23:45 - 24:00 | 0 | 0 | 0 | 0 | -0.21 | -1.13 | 103.14 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -12.37 | 11.44 | 0 | 0 | 0 | 0 | 35.73 | -9.48 | -2.06
Average | -0.95833 | -0.63354 | -0.69698 | -1.0189 | -0.46833 | -0.88458 | -79.5427 | 3.7804 | -0.31344 | -1.59 | -0.93 | -0.32208 | -0.48344 | -0.19312 | 1.909 | 0.34125 | 0.1949 | 0.63375 | 2.3765 | -2.9188 | 0.27729 | -4.7669 | -0.49177 | 3.2691 | 9.6401 | 0.23094 | -1.2106 | 2.7404 | -8.895 | -0.42917