## POWER STATUS
POWER STATUS ON DT 14.08.2026
[9 empty] | 2026-08-14 | 2026-08-13
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5406.6146 | 5966.0659
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 205.792 | 4.939 | 630/590 ft | 613.56 | 614.6 | 615.25 | 208.3397 | 209.9097
| Chiplima | 72(3x24) | 58.583 | 1.406 | - |  |  |  | 60.9737 | 60.8974
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1467 | 1462.6 | 1463 | 0 | 0
| Rengali | 250(5x50) | 236.325 | 5.6718 | 123.5/109.75 mt | 121.05 | 122.31 | 122.48 | 232.4325 | 232.603
| Upper Kolab | 320(4x80) | 40.17 | 0.96408 | 858/844 mt | 852.57 | 850.25 | 850.29 | 0 | 74.426
| Upper Indravati | 600(4x150) | 169.0208 | 4.0565 | 642/625 mt | 634.38 | 634.03 | 634.05 | 146.2495 | 498.1242
| Machkund | 60(50% of(3x17+3x23)) | 12.37 | 0.29688 | 2750/2685 ft | 2741.6 | 2722.2 | 2722.5 | 16.9999 | 9.0699
| Total Hydro | 2099.5 | 722.2608 | 17.3343 |  |  |  |  | 664.9953 | 1085.0301
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1659.6896 | 39.8325 | RENEWABLE ENERGY (RE) |  |  |  | 1705.6013 | 1683.4054
[5 empty] | M.Hydl | 112.6898
| Total Thermal | 2200 | 1659.6896 | 39.8325 | Solar | 62.1747 |  |  | 1705.6013 | 1683.4054
IPP | VEDANTA #2 | 600 (1x600) | 385.1377 | 9.2433 | Total IPPs | Yesterday's Demand Profile |  |  | 389.4727 | 496.2888
| GMR #3 | 350 (1x350) | 280.2033 | 6.7249 | 737.1897 |  | MW | HRS | 325.9567 | 322.2881
| NBVL(IPP) | 60(1x60) | 49.8203 | 1.1957 |  |  |  |  | 54.6062 | 54.2483
| MDTPC |  | 22.0284 | 0.52868 |  |  |  |  | 29.4968 | 29.5785
| CGPs |  | 508.0928 | 12.1942 | IPPs, CGPs & RE | Maximum | 5966.0659 | 23:00 | 1669.1826 | 1782.3218
| Central Sector(Drawl) |  | 1610.3223 | 38.6477 | 1420.1471 | Minimum | 4964.6967 | 05:00 | 1366.8354 | 1415.3085
| Central Sector(Sch) |  | 1807.5384 | 43.3809 |  | Average | 5412.4198 |  | 1439.8199 | 1719.58
| Grand Total |  | 5412.4198 | 129.8981 | Instantaneous Peak demand |  | 6199 | 46245.8639 | 5406.6146 | 5966.0659
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(4)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1657.698 | 39.7848 | 1638.1337 | 39.3152 | 1653.2409 | 39.6778
Balimela | 5,6 | TSTPP St-I | 2 | TPWODL | 1733.5983 | 41.6064 | 1749.3289 | 41.9839 | 1647.7525 | 39.5461
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1205.1757 | 28.9242 | 1173.2114 | 28.1571 | 1188.3293 | 28.5199
U.Kolab | 1,2,3 | KAHALGAON | NIL | TPSODL | 604.0943 | 14.4983 | 609.9887 | 14.6397 | 613.6066 | 14.7266
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5200.5663 | 124.8136 | 5170.6627 | 124.0959 | 5102.9294 | 122.4703
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 389.4727 | GMR |  |  |  | 325.9567
| NBVL #3 | 54.6062 | MDTPC |  |  |  | 29.4968
Mini Hydel: | MEENAKSHI | 39 | OPCL |  |  |  | 0
| BTPL | 0 | SAPTADHARA |  |  |  | 5
Solar: |  | 65 | KAKATIYA |  |  |  | 5
CGPs : | JSPL (Angul) | 236.0484 | JSL(Duburi) |  |  |  | -13.5564
| ICCL | 52.0501 | visa |  |  |  | 12.0064
| NALCO | -141.8586 | VAL (CGP) |  |  |  | 78.8988
| RSP | -45.9483 | BSL(MMDL) |  |  |  | 65.4453
| INDAL | -13.9966 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -46.3812 | VAL CPP 400 kV |  |  |  | -571.3738
| NBVL | 51.608 | Arati |  |  |  | 4.7691
| BPSL(JSG) | 20.7113 | BPPL |  |  |  | 61.9762
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-06 | 2026-08-07 | 2026-08-08 | 2026-08-09 | 2026-08-10 | 2026-08-11 | 2026-08-12 | 2026-08-13
777.68 | 716.44 | 553.7199 | 554.5899 | 568.115 | 673.055 | 742.7938 | 722.2608
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.13.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | -4.75 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 2.21
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AGE26AL_PSS6_KPS1_S | ODISHA | 120.88
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -14.17 | AP41PL_BHDL | ODISHA | 38.8
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -5.83 | AP43PL_BKN | ODISHA | 79.76
JPIPL | NPCL_UP | -14 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 3.36
JSPLANGUL | GEB_Beneficiary | -15.17 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 9.62
JSPLANGUL | RUVITSL | 0 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | AWEK1L | ODISHA | 14.44
MAADURGA_THERMAL | NPCL_UP | -9.6 | DCBL_Rajgangpur | DCBLME | -9 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 1.16
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCL_RCW | -1.5 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 29.57
ORSISL | BALCO_LOAD | -1.35 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.62
Shri_JSPL | BALCO_LOAD | -1.08 | FACORPOWER | PSPCL | -14.17 | DADRI_SOLAR | ODISHA | 0.82
VSL | CR_IR_MS | -10 | FACORPOWER | PSPCL | -1.46 | ENERSON_SOLAR_10MW | ODISHA | 0.04
FARIDABAD_SOLAR | ODISHA | 0.86 | FACORPOWER | PSPCL | -5.83 | GADAG_GreenInfra_W | ODISHA | 0.76
JSWEL_UTKAL | ODISHA | 50.22 | FACORPOWER | PSPCL | -3.54 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 1.82 | JSPLANGUL | RUVITSL | -43.75 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 1.81 | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_Serentica3_S | VLSEZ | 40.1
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GADAG_Serentica3_W | VLSEZ | 78.87
|  |  | NBVLIPP | BSPHCL | -14.38 | GIWEL_SECI_II_RE | ODISHA | 34.66
|  |  | NBVLIPP | BSPHCL | -3.54 | GPCL_SOLAR_10 | ODISHA | 0.74
|  |  | OCL_IRON_STEEL | BRPL | -5.83 | GSECL_SOLAR | ODISHA | 0.62
|  |  | OCL_IRON_STEEL | BRPL | -14.17 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.81
|  |  | OCL_IRON_STEEL | CSEB_Beneficiary | -35 | KARUR_TPVARDHAMAN_W | TSKPO | 105.86
|  |  | ODISHA | JHABUA_IPP | -17.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | ODISHA | TANGEDCO | -11.67 | Kurnool_Greenko_H_Inj | ADITYAAL | 1.54
|  |  | ORSISL | PSPCL | -2.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | ORSISL | PSPCL | -1.17 | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.19
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | OKWPL_RE | ODISHA | 15.38
|  |  | VSL | WBSEDCL | -4.17 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 42.52
|  |  | JIPL | ODISHA | 115.66 | RWE_AP2_SECI_III | ODISHA | 15.79
|  |  | NALCOAP | NACL_Odisha | 24.94 | RenewGreen_SLPR_HS | JSL_DUBURI | 19.47
[6 empty] | SRI9PL_FTG3 | VLSEZ | 64.3
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 73.05
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 5.86
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 1.28
[6 empty] | XXPPL_FTG3 | ODISHA | 56.86

## DAM
DAM TRADING DETAILS FOR DT : 13.08.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Minerals_Ltd | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | 0 | 0 | -150 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | -150 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | -150 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | -150 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | -200 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | -200 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | -200 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | -200 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | -216.93 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | -175 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | -175 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | -175 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | -200 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 5.61 | 0
03:15 - 03:30 | 0 | 0 | -200 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | -200 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 5.61 | 0
03:45 - 04:00 | 0 | 0 | -173.63 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 5.61 | 0
04:00 - 04:15 | 0 | 0 | -173.29 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 5.61 | 0
04:15 - 04:30 | 0 | 0 | -173.17 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 5.61 | 0
04:30 - 04:45 | 0 | 0 | -173.03 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 5.61 | 0
04:45 - 05:00 | 0 | 0 | -200 | 0 | 0 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | -233.47 | 0 | 0 | -1.44 | -4.12 | -1.03 | -44.33 | 0 | 0
05:15 - 05:30 | 0 | 0 | -275 | 0 | 0 | -1.44 | -4.12 | -1.03 | -44.33 | 0 | 0
05:30 - 05:45 | 0 | 0 | -275 | 0 | 0 | -1.44 | -4.12 | -1.03 | -44.33 | 0 | 0
05:45 - 06:00 | 0 | 0 | -275 | 0 | 0 | -1.44 | -4.12 | -1.03 | -44.33 | 0 | 0
06:00 - 06:15 | 0 | 0 | -325 | 0 | 0 | -1.44 | -10.31 | -1.03 | -44.33 | 0 | -6.19
06:15 - 06:30 | 0 | 0 | -325 | 0 | 0 | -1.44 | -10.31 | -1.03 | -44.33 | 0 | -6.19
06:30 - 06:45 | 0 | 0 | -325 | 0 | 0 | -1.44 | -10.31 | -1.03 | -44.33 | 0 | -6.19
06:45 - 07:00 | 0 | 0 | -325 | 0 | 0 | -1.44 | -10.31 | -1.03 | -44.33 | 0 | -6.19
07:00 - 07:15 | 0 | 0 | -650 | 0 | 0 | -1.44 | -10.31 | -1.03 | -44.33 | 0 | -6.19
07:15 - 07:30 | 0 | 0 | -650 | 0 | 0 | -1.44 | -10.31 | -1.03 | -44.33 | 0 | -6.19
07:30 - 07:45 | 0 | 0 | -650 | 0 | 0 | -1.44 | -10.31 | -1.03 | -44.33 | 0 | -6.19
07:45 - 08:00 | 0 | 0 | -650 | 0 | 0 | -1.44 | -10.31 | -1.03 | -44.33 | 0 | -6.19
08:00 - 08:15 | 21.5 | 0 | -850 | 0 | 0 | -1.44 | -4.12 | -1.03 | -44.33 | 0 | -6.19
08:15 - 08:30 | 21.5 | 0 | -850 | 0 | 0 | -1.44 | -4.12 | -1.03 | -44.33 | 0 | -6.19
08:30 - 08:45 | 21.5 | 0 | -850 | 0 | 0 | -1.44 | -4.12 | -1.03 | -44.33 | 0 | -6.19
08:45 - 09:00 | 21.5 | 0 | -850 | 0 | 0 | -1.44 | -4.12 | -1.03 | -44.33 | 0 | -6.19
09:00 - 09:15 | 21.5 | 0 | -1250 | 0 | 0 | -1.44 | -4.12 | -1.03 | -44.33 | 0 | -6.19
09:15 - 09:30 | 21.5 | 0 | -1250 | 0 | 0 | -1.44 | -4.12 | -1.03 | -44.33 | 5.61 | -6.19
09:30 - 09:45 | 21.5 | 0 | -975.87 | 0 | 0 | -1.44 | -4.12 | -1.03 | -44.33 | 5.61 | -6.19
09:45 - 10:00 | 21.5 | 0 | -875 | 0 | 0 | -1.44 | -4.12 | -1.03 | -44.33 | 5.61 | -6.19
10:00 - 10:15 | 21.5 | 0 | -821.73 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | -6.19
10:15 - 10:30 | 21.5 | 0 | -753.84 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | -6.19
10:30 - 10:45 | 21.5 | 0 | -402.39 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0
10:45 - 11:00 | 21.5 | 0 | -400.86 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0
11:00 - 11:15 | 21.5 | 0 | -411.69 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0
11:15 - 11:30 | 21.5 | 0 | -410.56 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0
11:30 - 11:45 | 21.5 | 0 | 0 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0
11:45 - 12:00 | 21.5 | 0 | 0 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0
12:00 - 12:15 | 21.5 | 0 | 0 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0
12:15 - 12:30 | 21.5 | 0 | 0 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0
12:30 - 12:45 | 21.5 | 0 | 0 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0
12:45 - 13:00 | 21.5 | 0 | 0 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0
13:00 - 13:15 | 21.5 | 0 | 0 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0
13:15 - 13:30 | 21.5 | 0 | 0 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0
13:30 - 13:45 | 21.5 | 0 | 0 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0
13:45 - 14:00 | 21.5 | 0 | -201.09 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0
14:00 - 14:15 | 21.5 | 0 | -400.88 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0
14:15 - 14:30 | 21.5 | 0 | -401.92 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | 0
14:30 - 14:45 | 21.5 | 0 | -625.46 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | -6.19
14:45 - 15:00 | 21.5 | 0 | -752.01 | 28.04 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | -6.19
15:00 - 15:15 | 21.5 | 0 | -800 | 0 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | -6.19
15:15 - 15:30 | 21.5 | 0 | -800 | 0 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | -6.19
15:30 - 15:45 | 21.5 | 0 | -900.59 | 0 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | -6.19
15:45 - 16:00 | 21.5 | 0 | -950 | 0 | 0 | -1.44 | -4.12 | -1.03 | -18.56 | 5.61 | -6.19
16:00 - 16:15 | 21.5 | 0 | -850 | 0 | 0 | -1.44 | -4.12 | -1.03 | -44.33 | 5.61 | -6.19
16:15 - 16:30 | 21.5 | 0 | -850 | 0 | 0 | -1.44 | -4.12 | -1.03 | -44.33 | 0 | -6.19
16:30 - 16:45 | 21.5 | 0 | -850 | 0 | 0 | -1.44 | -4.12 | -1.03 | -44.33 | 0 | -6.19
16:45 - 17:00 | 21.5 | 0 | -850 | 0 | 0 | -1.44 | -4.12 | -1.03 | -44.33 | 0 | -6.19
17:00 - 17:15 | 0 | 0 | -600 | 0 | 0 | -1.24 | -5.15 | -1.03 | -44.33 | 0 | -6.19
17:15 - 17:30 | 0 | 0 | -600 | 0 | 0 | -1.24 | -5.15 | -1.03 | -44.33 | 0 | -6.19
17:30 - 17:45 | 0 | 0 | -600 | 0 | 0 | -1.24 | -5.15 | -1.03 | -44.33 | 0 | -6.19
17:45 - 18:00 | 0 | 0 | -600 | 0 | 0 | -1.24 | -5.15 | -1.03 | -44.33 | 0 | -6.19
18:00 - 18:15 | 0 | 0 | -400 | 0 | 0 | -1.24 | -4.12 | -1.03 | -44.33 | 5.61 | 0
18:15 - 18:30 | 0 | 0 | -300 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | -44.33 | 0 | 0
18:30 - 18:45 | 0 | -15.46 | -50 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | -44.33 | 0 | 0
18:45 - 19:00 | 0 | -15.46 | -50 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | -44.33 | 0 | 0
19:00 - 19:15 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
19:15 - 19:30 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
19:30 - 19:45 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
19:45 - 20:00 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
20:00 - 20:15 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
20:15 - 20:30 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
20:30 - 20:45 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
20:45 - 21:00 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
21:00 - 21:15 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
21:15 - 21:30 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
21:30 - 21:45 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
21:45 - 22:00 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
22:00 - 22:15 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
22:15 - 22:30 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
22:30 - 22:45 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
22:45 - 23:00 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
23:00 - 23:15 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
23:15 - 23:30 | 0 | -15.46 | 0 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
23:30 - 23:45 | 0 | -15.46 | -75 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
23:45 - 24:00 | 0 | -15.46 | -75 | 0 | -41.24 | -1.24 | -4.12 | -1.03 | 0 | 0 | 0
Average | 8.0625 | -3.5429 | -334.6605 | 5.8417 | -9.8804 | -1.34 | -4.6788 | -1.03 | -19.4167 | 2.0453 | -2.0633

## GDAM
GDAM TRADING DETAILS FOR DT:13.08.2026
Time Period | Ampin_Energy_C_&_I_Eleven_Private_Limited | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 3.37 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 7.13 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 9.35 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 9.35 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 9.35 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 9.35 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 9.35 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 9.35 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 9.35 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 14.03 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 14.03 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 14.03 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 14.03 | 0 | 6.07 | 0 | 0 | 0
09:00 - 09:15 | 0 | 14.03 | 0 | 6.07 | 0 | 0 | 0
09:15 - 09:30 | -0.1 | 14.03 | 0 | 6.07 | 0 | 0 | 0
09:30 - 09:45 | 0 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
09:45 - 10:00 | -2.68 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
10:00 - 10:15 | -3.2 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
10:15 - 10:30 | -2.37 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
10:30 - 10:45 | -4.23 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
10:45 - 11:00 | -2.68 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
11:00 - 11:15 | -0.52 | 14.02 | 9.35 | 6.07 | 1.66 | 4.68 | 0
11:15 - 11:30 | -1.55 | 14.03 | 9.35 | 6.07 | 2.64 | 4.68 | 0
11:30 - 11:45 | -2.58 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
11:45 - 12:00 | -4.33 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
12:00 - 12:15 | -2.27 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
12:15 - 12:30 | -0.93 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
12:30 - 12:45 | -2.37 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
12:45 - 13:00 | -1.34 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
13:00 - 13:15 | -0.41 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
13:15 - 13:30 | -3.3 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
13:30 - 13:45 | -4.43 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
13:45 - 14:00 | -6.6 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
14:00 - 14:15 | 0 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
14:15 - 14:30 | -2.27 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
14:30 - 14:45 | -1.55 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
14:45 - 15:00 | -0.93 | 14.02 | 9.35 | 6.07 | 3.74 | 4.68 | 0
15:00 - 15:15 | -2.16 | 14.03 | 9.35 | 6.07 | 0 | 0 | 0
15:15 - 15:30 | -0.62 | 14.03 | 3.38 | 6.07 | 0 | 0 | 0
15:30 - 15:45 | -0.41 | 14.03 | 0 | 6.07 | 0 | 0 | 0
15:45 - 16:00 | 0 | 14.03 | 0 | 6.07 | 0 | 0 | 0
16:00 - 16:15 | 0 | 9.35 | 0 | 6.07 | 0 | 0 | 0
16:15 - 16:30 | 0 | 9.35 | 0 | 6.07 | 0 | 0 | 0
16:30 - 16:45 | 0 | 9.35 | 0 | 6.07 | 0 | 0 | 0
16:45 - 17:00 | 0 | 9.35 | 0 | 6.07 | 0 | 0 | 0
17:00 - 17:15 | 0 | 9.35 | 0 | 1.31 | 0 | 0 | 0
17:15 - 17:30 | 0 | 9.35 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 9.35 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 9.35 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 1.87
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 1.62
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 1.74
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.46
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0.53
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.88
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0.53
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0.07
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0.57
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0.59
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0.49
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 1.19
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 2.58
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 3.49
Average | -0.56073 | 6.2448 | 2.2753 | 2.1002 | 0.82396 | 1.0725 | 0.26104

## RTM
RTM TRADING DETAILS FOR DT: 13.08.2026
Time Period | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | 0 | -0.21 | -1.13 | 66.56 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.24 | -10.31 | 17.22 | 0 | 0 | 0 | 0 | 53.81 | -9.59 | -2.06
00:15 - 00:30 | 0 | -0.21 | -1.13 | 74.64 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.24 | -10.31 | 19.3 | 0 | 0 | 0 | 0 | 96.52 | -9.59 | -2.06
00:30 - 00:45 | 0 | -0.21 | -1.13 | 36.97 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -10.31 | -8.25 | 0 | 0 | 0 | 0 | 107.6 | -9.59 | -2.06
00:45 - 01:00 | 0 | -0.21 | -1.13 | 44.27 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -10.31 | -8.25 | 0 | 0 | 0 | 0 | 107.35 | -9.59 | -2.06
01:00 - 01:15 | 0 | -0.21 | -1.24 | 59.46 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -10.31 | -5.15 | 0 | 0 | 0 | 0 | 115.34 | -9.59 | -2.06
01:15 - 01:30 | 0 | -0.21 | -1.24 | 81.34 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -10.31 | -5.15 | 0 | 0 | 0 | 0 | 157.81 | -9.59 | -2.06
01:30 - 01:45 | 0 | -0.21 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -10.31 | 56.1 | 0 | 0 | 0 | 0 | 103.77 | -4.12 | -2.06
01:45 - 02:00 | 0 | -0.21 | -1.24 | 30.95 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -10.31 | 37.39 | 0 | 0 | 0 | 0 | 101.9 | -4.12 | -2.06
02:00 - 02:15 | 0 | -0.21 | -1.24 | 144.57 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -5.15 | 14.03 | 0 | 0 | 0 | 0 | 126.21 | -2.16 | -2.06
02:15 - 02:30 | 0 | -0.21 | -1.24 | 143.75 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -5.15 | -10.31 | 0 | 0 | 0 | 0 | 124.57 | -2.16 | -2.06
02:30 - 02:45 | 0 | -0.21 | -1.34 | 118.02 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -3.09 | -10.31 | 0 | 0 | 0 | 0 | 125.28 | -2.16 | -2.06
02:45 - 03:00 | 0 | -0.21 | -1.34 | 118.71 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -3.09 | -10.31 | 0 | 0 | 0 | 0 | 125.28 | -2.16 | -2.06
03:00 - 03:15 | 0 | -0.21 | -1.34 | 116.98 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | -8.25 | 0 | 0 | 0 | 0 | 125.28 | -2.16 | -2.06
03:15 - 03:30 | 0 | -0.21 | -1.34 | 118.81 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 18.7 | 0 | 0 | 0 | 0 | 125.27 | -2.16 | -2.06
03:30 - 03:45 | 0 | -0.21 | -1.34 | 116.36 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 23.38 | 0 | 0 | 0 | 0 | 115.92 | -2.16 | -2.06
03:45 - 04:00 | 0 | -0.21 | -1.34 | 116.83 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 14.03 | 0 | 0 | 0 | 0 | 115.92 | -2.16 | -2.06
04:00 - 04:15 | 0 | -0.21 | -1.34 | 118.81 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -1.24 | 0 | -10.31 | 0 | 0 | 0 | 0 | 115.92 | -2.16 | -2.06
04:15 - 04:30 | 0 | -0.21 | -1.34 | 119.27 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -1.24 | 0 | -10.31 | 0 | 0 | 0 | 0 | 115.92 | -2.16 | -2.06
04:30 - 04:45 | 0 | -0.21 | -1.24 | 124.62 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 111.25 | -2.16 | -2.06
04:45 - 05:00 | 0 | -0.21 | -1.24 | 125.25 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 111.25 | -2.16 | -2.06
05:00 - 05:15 | 0 | -0.21 | -1.24 | 122.72 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 23.38 | 0 | 0 | 0 | 0 | 120.6 | -2.16 | -6.19
05:15 - 05:30 | 0 | -0.21 | -1.24 | 110.84 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 28.04 | 0 | 0 | 0 | 0 | 120.6 | -2.16 | -6.19
05:30 - 05:45 | 0 | -1.03 | -1.03 | 85.27 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 24.81 | 0 | 0 | 0 | 0 | 110.83 | -2.16 | -6.19
05:45 - 06:00 | 0 | -1.03 | -1.03 | 78.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | -8.25 | 0 | 0 | 0 | 0 | 101.41 | -2.16 | -6.19
06:00 - 06:15 | 0 | -1.03 | -1.24 | -300 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -5.15 | -12.37 | 0 | 0 | 0 | 0 | 125.66 | -2.16 | -6.19
06:15 - 06:30 | 0 | -1.03 | -1.24 | -300 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -5.15 | -12.37 | 0 | 0 | 0 | 0 | 116.22 | -2.16 | -6.19
06:30 - 06:45 | -13.4 | -1.03 | -1.13 | -350 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -5.15 | -12.37 | 0 | 0 | 0 | 0 | 172.56 | -2.16 | -6.19
06:45 - 07:00 | 0 | -1.03 | -1.13 | -350 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | -0.21 | -2.06 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -5.15 | 46.74 | 0 | 0 | 0 | 0 | 189.54 | -2.16 | -6.19
07:00 - 07:15 | 0 | -0.21 | -1.13 | -150 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | -0.31 | -2.06 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -5.15 | 27.58 | 0 | 0 | 0 | 0 | 151.69 | 0 | -6.19
07:15 - 07:30 | 0 | -0.21 | -1.13 | -250 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | -0.41 | -2.06 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -5.15 | 34.93 | 0 | 0 | 0 | 0 | 192.08 | 0 | -6.19
07:30 - 07:45 | 0 | -0.21 | -1.13 | -208.33 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | -0.62 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 121.53 | 0 | -6.19
07:45 - 08:00 | 0 | -0.21 | -1.13 | -225.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | -0.93 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 113.12 | 0 | -6.19
08:00 - 08:15 | -10.31 | -0.21 | -1.03 | 0 | 0 | 0 | 0 | -0.21 | 0 | 0 | -0.93 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -5.15 | -10.31 | 0 | 0 | 0 | 0 | 100.04 | 0 | -4.12
08:15 - 08:30 | 0 | -0.21 | -1.03 | 0 | 0 | 10.28 | 0 | -0.31 | 0 | 0 | -0.93 | 0 | 0 | -1.24 | 0 | 0 | 0 | 4.68 | 0 | 0 | -2.06 | 0 | 0 | -5.15 | -5.15 | 0 | 8.89 | 0 | 0 | 91.62 | 0 | -4.12
08:30 - 08:45 | 0 | -0.21 | -0.82 | -102.2 | 0 | 10.28 | 0 | -0.21 | 0 | 0 | -0.93 | 0 | 0 | -1.44 | 0 | 0 | 0 | 4.68 | 0 | 0 | -2.06 | 0 | 0 | -5.15 | 56.1 | 0 | 8.89 | 0 | 0 | 76.66 | 0 | -4.12
08:45 - 09:00 | 0 | -0.21 | -0.82 | -102.71 | 0 | 10.28 | 0 | -0.31 | 0 | 0 | -0.93 | 0 | 0 | -1.44 | 0 | 0 | 0 | 4.68 | 0 | 0 | -2.06 | 0 | 0 | -5.15 | 56.1 | 0 | 8.89 | 0 | 0 | 63.56 | 0 | -4.12
09:00 - 09:15 | 0 | -0.21 | 0 | -42 | 0 | 10.28 | 0 | -0.62 | 9.35 | 0 | -0.93 | 0 | 0 | -1.65 | 0 | 14.96 | 0 | 4.68 | 0 | 18.7 | -7.22 | 0 | 0 | -5.15 | 56.1 | 0 | 8.89 | 22.44 | 5.04 | 143.04 | -2.58 | -4.12
09:15 - 09:30 | 0 | -0.21 | 0 | -11.95 | 12.62 | 10.28 | 0 | -0.62 | 9.35 | 0 | -0.93 | 0 | 0 | 0 | 0 | 13.09 | 0 | 4.68 | 0 | 18.7 | 0 | 0 | 0 | 0 | -10.31 | 9.35 | 8.89 | 13.09 | 5.04 | 103.77 | -2.58 | 0
09:30 - 09:45 | -10.31 | -0.82 | 0 | 217.34 | 12.06 | 10.28 | 0 | -0.31 | 0 | 0 | -0.93 | 0 | 0 | -2.58 | 0 | 13.09 | 0 | 7.48 | 0 | 18.7 | 0 | 0 | 0 | 0 | 0 | 9.35 | 0 | 13.09 | 5.04 | 173.89 | -2.58 | -4.12
09:45 - 10:00 | 0 | -0.82 | 0 | 125.31 | 12.62 | 10.28 | 0 | -0.41 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 13.09 | 0 | 7.48 | 0 | 18.7 | 0 | 0 | 0 | 0 | 0 | 9.35 | 0 | 0 | 5.04 | 147.72 | -2.58 | -4.12
10:00 - 10:15 | 0 | -0.82 | 0 | 195.45 | 11.03 | 10.28 | 0 | -0.1 | 0 | 0 | -0.93 | -15.46 | 0 | 4.96 | 0 | 7.48 | 0 | 7.48 | 4.68 | 18.7 | -7.22 | 0 | 0 | 0 | 56.1 | 9.35 | 0 | 0 | 5.04 | 125.28 | -2.58 | -2.06
10:15 - 10:30 | 0 | -0.82 | 0 | 129.13 | 0 | 10.28 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 4.86 | 0 | 7.48 | 0 | 7.48 | 4.68 | 18.7 | -7.22 | 0 | 0 | 0 | 56.1 | 0 | 0 | 0 | 5.04 | 120.6 | -2.58 | -2.06
10:30 - 10:45 | 0 | -0.82 | 0 | 0 | 0 | 10.28 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 4.77 | 0 | 13.09 | 0 | 4.68 | 4.68 | 18.7 | -7.22 | 0 | 0 | 0 | 56.1 | 0 | 0 | 0 | 5.04 | 148.64 | -2.58 | -2.06
10:45 - 11:00 | 0 | -0.82 | 0 | 221.02 | 0 | 10.28 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 4.77 | 0 | 13.09 | 0 | 4.68 | 4.68 | 18.7 | -7.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.04 | 169.22 | -2.58 | -2.06
11:00 - 11:15 | -5.15 | -1.03 | 0 | 530.01 | 0 | 10.28 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 4.77 | 0 | 13.09 | 0 | 4.68 | 4.68 | 18.7 | -7.22 | 0 | 0 | 0 | 56.1 | 0 | 0 | 0 | 5.04 | 164.54 | -2.58 | -2.06
11:15 - 11:30 | 0 | -1.03 | 0 | 523.43 | 0 | 10.28 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 4.68 | 0 | 9.35 | 0 | 4.68 | 4.68 | 18.7 | -7.22 | 0 | 0 | 0 | 56.1 | 0 | 0 | 0 | 5.04 | 158.93 | -2.58 | -2.06
11:30 - 11:45 | 0 | -1.03 | 0 | 234.26 | 0 | 10.28 | 0 | -0.31 | 0 | 0 | -0.93 | 0 | 0 | 4.68 | 0 | 9.35 | 0 | 0 | 4.68 | 18.7 | -7.22 | 84.14 | 0 | 0 | 28.04 | 0 | 0 | 0 | 5.04 | 132.75 | -2.58 | -2.06
11:45 - 12:00 | 0 | -1.03 | 0 | 134.98 | 0 | 10.28 | 0 | -0.31 | 0 | 0 | -0.93 | 0 | 0 | 4.86 | 0 | 9.35 | 0 | 0 | 4.68 | 18.7 | -7.22 | 84.14 | 0 | 0 | 28.04 | 0 | 0 | 0 | 5.04 | 127.15 | -2.58 | -2.06
12:00 - 12:15 | 0 | -1.03 | 0 | -400 | 0 | 10.28 | 0 | -0.72 | 0 | 0 | -0.93 | 0 | 0 | 4.86 | 0 | 9.35 | 0 | 0 | 4.68 | 18.7 | -7.22 | 84.14 | 0 | 0 | 28.04 | 0 | 0 | 0 | 5.04 | 123.41 | -2.58 | -2.06
12:15 - 12:30 | 0 | -1.03 | 0 | -456.96 | 0 | 10.28 | 0 | -0.72 | 0 | 0 | -0.93 | 0 | 0 | 4.86 | 0 | 9.35 | 0 | 0 | 4.68 | 18.7 | -7.22 | 84.14 | 0 | 0 | 28.04 | 0 | 0 | 0 | 5.04 | 123.41 | -2.58 | -2.06
12:30 - 12:45 | 0 | -1.03 | 0 | -507 | 0 | 10.28 | 0 | -1.86 | 0 | 0 | -0.93 | 0 | 0 | 5.24 | 0 | 9.35 | -10.31 | 0 | 4.68 | 18.7 | -7.22 | 84.14 | 0 | 0 | 28.04 | 0 | 0 | 0 | 5.04 | 103.77 | -2.58 | -2.06
12:45 - 13:00 | -10.31 | -1.03 | 0 | -611.22 | 0 | 10.28 | 0 | -1.75 | 0 | 0 | -0.93 | 0 | 0 | 5.04 | 0 | 9.35 | -10.31 | 0 | 4.68 | 18.7 | -7.22 | 84.14 | 0 | 0 | 28.04 | 0 | 0 | 0 | 5.04 | 103.78 | -2.58 | -2.06
13:00 - 13:15 | 0 | -1.44 | 0 | -799.95 | 0 | 10.28 | 0 | -1.24 | 0 | 0 | -0.93 | 0 | 0 | 5.33 | 0 | 14.96 | -10.31 | 0 | 4.68 | 18.7 | -7.22 | 37.39 | 0 | 0 | 28.04 | 0 | 8.89 | 0 | 5.04 | 103.78 | -2.58 | 0
13:15 - 13:30 | 0 | -1.44 | 0 | -707.23 | 0 | 10.28 | 0 | -1.03 | 0 | 0 | -0.93 | 0 | 0 | 5.24 | 0 | 14.96 | -10.31 | 0 | 4.68 | 18.7 | -7.22 | 37.39 | 0 | 0 | 28.04 | 0 | 8.89 | 0 | 5.04 | 103.77 | -2.58 | 0
13:30 - 13:45 | 0 | -1.44 | 0 | -477.21 | 0 | 10.28 | 0 | -1.03 | 0 | 0 | -0.93 | 0 | 0 | 5.33 | 0 | 14.96 | -10.31 | 0 | 4.68 | 18.7 | -7.22 | 37.39 | 0 | 0 | 28.04 | 0 | 8.89 | 0 | 5.04 | 157.07 | -2.58 | 0
13:45 - 14:00 | 0 | -1.44 | 0 | -306.91 | 0 | 10.28 | 0 | -0.82 | 0 | 0 | -0.93 | 0 | 0 | 5.33 | 0 | 10.28 | -10.31 | 0 | 4.68 | 18.7 | -7.22 | 37.39 | 0 | 0 | 28.04 | 0 | 8.89 | 0 | 5.04 | 157.07 | -2.58 | 0
14:00 - 14:15 | 0 | -1.44 | 0 | -168.94 | 0 | 10.28 | 0 | -0.82 | 0 | 0 | -0.93 | 0 | 0 | 5.24 | 0 | 14.96 | -7.22 | 0 | 4.68 | 18.7 | -3.09 | 0 | 0 | 0 | 28.04 | 0 | 8.89 | 0 | 5.04 | 157.06 | -2.58 | 0
14:15 - 14:30 | 0 | -1.44 | 0 | -106.92 | 0 | 10.28 | 0 | -0.62 | 0 | 0 | -0.93 | 0 | 0 | 5.42 | 0 | 10.28 | -7.22 | 0 | 4.68 | 18.7 | -3.09 | 0 | 0 | 0 | 28.04 | 0 | 8.89 | 0 | 5.04 | 147.71 | -2.58 | 0
14:30 - 14:45 | -5.15 | -1.44 | 0 | 0 | 0 | 10.28 | 0 | -0.52 | 0 | 0 | -0.93 | 0 | 0 | 5.61 | 0 | 10.28 | -7.22 | 0 | 4.68 | 18.7 | -3.09 | 0 | 0 | 0 | 18.7 | 0 | 8.89 | 0 | 5.04 | 91.62 | -2.58 | 0
14:45 - 15:00 | 0 | -1.44 | 0 | 14.7 | 0 | 10.28 | 0 | -0.41 | 0 | 0 | -0.93 | 0 | 0 | 5.61 | 0 | 10.28 | -7.22 | 0 | 4.68 | 18.7 | -3.09 | 0 | 0 | 0 | 18.7 | 0 | 8.89 | 0 | 5.04 | 91.62 | -2.58 | 0
15:00 - 15:15 | 0 | -1.44 | 0 | -100 | 0 | 10.28 | 0 | -0.1 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 10.28 | -7.22 | 0 | 4.68 | 18.69 | -3.09 | 0 | 0 | 0 | 0 | 0 | 8.89 | 0 | 0 | 0 | -2.58 | 0
15:15 - 15:30 | 0 | -1.44 | 0 | -200 | 0 | 10.28 | 0 | -0.1 | 0 | 0 | -0.93 | 0 | 0 | -1.65 | 0 | 10.28 | -7.22 | 0 | 4.68 | 18.69 | -3.09 | 0 | 0 | 0 | 0 | 0 | 8.89 | 0 | 0 | 0 | -2.58 | 0
15:30 - 15:45 | 0 | -1.44 | 0 | 0 | 0 | 10.28 | 0 | -0.1 | 0 | 0 | -0.93 | 0 | 0 | -1.34 | 0 | 10.28 | -7.22 | 0 | 4.68 | 18.7 | -3.09 | 0 | 0 | 0 | -56.7 | 0 | 8.89 | 0 | 3.32 | 59.05 | -2.58 | 0
15:45 - 16:00 | 0 | -1.44 | 0 | 149.7 | 0 | 10.28 | 0 | -0.1 | 0 | 0 | -0.93 | -15.46 | 0 | -1.13 | 0 | 10.28 | -7.22 | 0 | 4.68 | 18.7 | -3.09 | 0 | 0 | 0 | -10.31 | 0 | 8.89 | 0 | 0 | 0 | -2.58 | 0
16:00 - 16:15 | -5.15 | -1.44 | 0 | -200.01 | 0 | 10.28 | 0 | 0 | 0 | 0 | -0.93 | 0 | 18.69 | -1.13 | 0 | 10.28 | -7.22 | 0 | 1.16 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | 8.89 | 0 | 1.25 | 0 | -2.58 | 0
16:15 - 16:30 | -5.15 | -1.44 | 0 | -250.01 | 0 | 10.28 | 0 | 0 | 0 | 0 | -0.93 | 0 | 18.7 | -0.93 | 0 | 15.89 | -7.22 | 0 | 0.84 | 0 | -3.09 | 0 | 0 | 0 | -8.25 | 0 | 8.89 | 0 | 0.9 | 0 | -2.58 | 0
16:30 - 16:45 | 0 | -1.24 | 0 | -200.48 | 0 | 0 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | -0.62 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.58 | 0
16:45 - 17:00 | 0 | -1.24 | 0 | -250.77 | 0 | 0 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | -0.21 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | -2.58 | 0
17:00 - 17:15 | 0 | -0.62 | -1.24 | -287.51 | 0 | 10.28 | 0 | 0 | 0 | 0 | -0.93 | 0 | 18.7 | -0.1 | 0 | 15.89 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -56.7 | 0 | 8.89 | 9.35 | 0 | 47.58 | -2.58 | 0
17:15 - 17:30 | 0 | -0.62 | -1.24 | -295.9 | 0 | 10.28 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -56.7 | 0 | 8.89 | 0 | 0 | 71.89 | -2.58 | 0
17:30 - 17:45 | -5.15 | -0.62 | -1.24 | -127.99 | 0 | 0 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 96.29 | -2.58 | 0
17:45 - 18:00 | -5.15 | -0.62 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 124.34 | -2.58 | 0
18:00 - 18:15 | 0 | -0.62 | -1.24 | -45.01 | 0 | 10.28 | 0 | 0 | 0 | 0 | -0.93 | 0 | 18.7 | 0 | 0 | 10.28 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -10.31 | -8.25 | 0 | 8.89 | 0 | 5.04 | 157.16 | -2.58 | 0
18:15 - 18:30 | 0 | -0.62 | -1.24 | -60.89 | 0 | 0 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -10.31 | -5.15 | 0 | 0 | 0 | 0 | 170.33 | -2.58 | 0
18:30 - 18:45 | 0 | -0.62 | -1.24 | -140.01 | 0 | 0 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -10.31 | -51.55 | 0 | 0 | 0 | 0 | 114.15 | -2.58 | 0
18:45 - 19:00 | 0 | -0.62 | -1.24 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -10.31 | -51.55 | 0 | 0 | 0 | 0 | 118.65 | -2.58 | 0
19:00 - 19:15 | 0 | -0.62 | -1.24 | -100 | 0 | 0 | 0 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -10.31 | -4.12 | 0 | 0 | 0 | 0 | 32.81 | -2.58 | 0
19:15 - 19:30 | 0 | -0.62 | -1.24 | -100 | 0 | 0 | 0 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -10.31 | -8.25 | 0 | 0 | 0 | 0 | 25.79 | -2.58 | 0
19:30 - 19:45 | 0 | -0.62 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 54.77 | -2.58 | 0
19:45 - 20:00 | 0 | -0.62 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | -10.31 | -10.31 | 0 | 0 | 0 | 0 | 52.98 | -2.58 | 0
20:00 - 20:15 | 0 | -0.62 | -1.24 | -50 | 0 | 0 | 0 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -10.31 | -46.39 | 0 | 0 | 0 | 0 | 79.99 | -1.34 | 0
20:15 - 20:30 | 0 | -0.62 | -1.24 | -50 | 0 | 0 | 0 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -10.31 | -46.39 | 0 | 0 | 0 | 0 | 80.68 | -1.34 | 0
20:30 - 20:45 | 0 | -0.21 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -10.31 | -5.15 | 0 | 0 | 0 | 0 | 84.23 | -1.34 | 0
20:45 - 21:00 | 0 | -0.21 | -1.24 | -50 | 0 | 0 | 0 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -10.31 | -15.46 | 0 | 0 | 0 | 0 | 69.02 | -1.34 | 0
21:00 - 21:15 | 0 | -0.21 | -1.24 | -150 | 0 | 0 | 0 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -10.31 | -12.37 | 0 | 0 | 0 | 0 | 90.44 | -1.34 | 0
21:15 - 21:30 | 0 | -0.21 | -1.24 | -150 | 0 | 0 | 0 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 66.78 | -1.34 | 0
21:30 - 21:45 | 0 | -0.93 | -1.24 | -200 | 0 | 0 | 0 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -10.31 | -41.24 | 0 | 0 | 0 | 0 | 101.59 | -1.34 | 0
21:45 - 22:00 | 0 | -0.93 | -1.24 | -200 | 0 | 0 | 0 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -10.31 | -61.86 | 0 | 0 | 0 | 0 | 99.53 | -1.34 | 0
22:00 - 22:15 | 0 | -0.93 | -1.24 | -200 | 0 | 0 | 0 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -10.31 | -30.93 | 0 | 0 | 0 | 0 | 137.93 | -1.34 | 0
22:15 - 22:30 | 0 | -0.93 | -1.24 | -200 | 0 | 0 | 0 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 142.58 | -1.34 | 0
22:30 - 22:45 | 0 | -0.21 | -1.24 | -150 | 0 | 0 | -20.62 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -10.31 | -10.31 | 0 | 0 | 0 | 0 | 100.93 | -1.34 | 0
22:45 - 23:00 | 0 | -0.21 | -1.24 | -150 | 0 | 0 | -20.62 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 111.63 | -1.34 | 0
23:00 - 23:15 | 0 | -0.21 | -1.24 | -300 | 0 | 0 | -20.62 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -12.37 | 0 | 0 | 0 | 0 | 0 | 145.64 | -1.34 | 0
23:15 - 23:30 | 0 | -0.21 | -1.24 | -300 | 0 | 0 | -20.62 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -12.37 | -20.62 | 0 | 0 | 0 | 0 | 166.34 | -1.34 | 0
23:30 - 23:45 | 0 | -0.21 | -1.24 | -300 | 0 | 0 | 0 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -12.37 | -61.86 | 0 | 0 | 0 | 0 | 171.44 | -1.34 | 0
23:45 - 24:00 | 0 | -0.21 | -1.24 | -300 | 0 | 0 | 0 | 0 | 0 | -7.22 | -0.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -12.37 | -20.62 | 0 | 0 | 0 | 0 | 192.27 | -1.34 | 0
Average | -0.78365 | -0.65833 | -0.80604 | -77.029 | 0.50344 | 3.855 | -0.85917 | -0.16312 | 0.19479 | -2.8775 | -0.93 | -0.32208 | 0.77906 | 0.85927 | -0.34333 | 3.8368 | -1.3965 | 0.75042 | 1.1908 | 5.454 | -5.101 | 6.8167 | -0.051667 | -4.3916 | 3.2652 | 0.38958 | 2.0373 | 0.60385 | 1.3695 | 108.2948 | -2.541 | -1.7608