## POWER STATUS
POWER STATUS ON DT 16.08.2026
[9 empty] | 2026-08-16 | 2026-08-15
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 21:00
Demand -> | [8 empty] | 5283.9296 | 5818.6761
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 212.45 | 5.0988 | 630/590 ft | 613.43 | 616 | 617.15 | 213.9248 | 212.0577
| Chiplima | 72(3x24) | 60 | 1.44 | - |  |  |  | 58.0756 | 58.4409
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1467.3 | 1464.2 | 1465 | 0 | 0
| Rengali | 250(5x50) | 229.95 | 5.5188 | 123.5/109.75 mt | 121.17 | 122.66 | 122.71 | 230.5141 | 223.5214
| Upper Kolab | 320(4x80) | 26.75 | 0.642 | 858/844 mt | 852.65 | 850.36 | 850.43 | 22.2304 | 21.6478
| Upper Indravati | 600(4x150) | 209.16 | 5.0198 | 642/625 mt | 634.58 | 634.17 | 634.29 | 151.3097 | 494.3668
| Machkund | 60(50% of(3x17+3x23)) | 8.08 | 0.19392 | 2750/2685 ft | 2742.05 | 2723.1 | 2723.7 | 16.4532 | 10.7678
| Total Hydro | 2099.5 | 746.39 | 17.9134 |  |  |  |  | 692.5078 | 1020.8024
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1493.85 | 35.8524 | RENEWABLE ENERGY (RE) |  |  |  | 1375 | 1624
[5 empty] | M.Hydl | 116.17
| Total Thermal | 2200 | 1493.85 | 35.8524 | Solar | 81.32 |  |  | 1375 | 1624
IPP | VEDANTA #2 | 600 (1x600) | 374.8786 | 8.9971 | Total IPPs | Yesterday's Demand Profile |  |  | 250.2344 | 491.3477
| GMR #3 | 350 (1x350) | 280.209 | 6.725 | 745.8381 |  | MW | HRS | 181.2037 | 325.4406
| NBVL(IPP) | 60(1x60) | 46.6162 | 1.1188 |  |  |  |  | 36.0222 | 54.6675
| MDTPC |  | 44.1343 | 1.0592 |  |  |  |  | 31.4475 | 55.9409
| CGPs |  | 560.9109 | 13.4619 | IPPs, CGPs & RE | Maximum | 5962 | 12.00 | 1134 | 1508
| Central Sector(Drawl) |  | 1723.7664 | 41.3704 | 1504.2389 | Minimum | 5119 | 07.00 | 2082.4218 | 1665.8737
| Central Sector(Sch) |  | 1861.5856 | 44.6781 |  | Average | 5468.2453 |  | 2146.8486 | 1583.0377
| Grand Total |  | 5468.2453 | 131.2379 | Instantaneous Peak demand |  | 6102 | 11.29 | 5283.9296 | 5818.6761
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1577.6597 | 37.8638 | 1515.8766 | 36.381 | 1564.5861 | 37.5501
Balimela | 5,6 | TSTPP St-I | 1 | TPWODL | 1729.1044 | 41.4985 | 1791.401 | 42.9936 | 1345.3368 | 32.2881
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1306.44 | 31.3546 | 1277.0983 | 30.6504 | 1178.1599 | 28.2758
U.Kolab | 1,2,3 | KAHALGAON | NIL | TPSODL | 601.1694 | 14.4281 | 587.6519 | 14.1036 | 603.0041 | 14.4721
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5214.3735 | 125.145 | 5172.0277 | 124.1287 | 4691.0868 | 112.5861
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 250.2344 | GMR |  |  |  | 181.2037
| NBVL #3 | 36.0222 | MDTPC |  |  |  | 31.4475
Mini Hydel: | MEENAKSHI | 40.7681 | OPCL |  |  |  | 0
| BTPL | 21.9506 | SAPTADHARA |  |  |  | 19.8899
Solar: |  | 74.3038 | KAKATIYA |  |  |  | 5.4203
CGPs : | JSPL (Angul) | 60.5061 | JSL(Duburi) |  |  |  | -87.7695
| ICCL | 43.1066 | visa |  |  |  | 10.8609
| NALCO | -144.1483 | VAL (CGP) |  |  |  | -18.8849
| RSP | -58.2256 | BSL(MMDL) |  |  |  | 95.1454
| INDAL | -7.2491 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -30.96 | VAL CPP 400 kV |  |  |  | -526.2234
| NBVL | 34.8912 | Arati |  |  |  | 14.0073
| BPSL(JSG) | -59.1891 | BPPL |  |  |  | 61.6691
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-08 | 2026-08-09 | 2026-08-10 | 2026-08-11 | 2026-08-12 | 2026-08-13 | 2026-08-14 | 2026-08-15
553.7199 | 554.5899 | 568.115 | 673.055 | 742.7938 | 722.2608 | 709.267 | 746.39
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.15.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | -4.75 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 1.14
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 2.38
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -14.17 | AGE26AL_PSS6_KPS1_S | ODISHA | 123.74
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -5.83 | AP41PL_BHDL | ODISHA | 62.62
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | AP43PL_BKN | ODISHA | 98.68
JSPLANGUL | GEB_Beneficiary | -39.13 | ARYAN_ISPAT | PONDY | -5 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.46
JSPLANGUL | RUVITSL | -31.37 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | AWEK1L | ODISHA | 10.08
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | DCBLME | -10 | AWEK1L | ODISHA | 15.12
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCL_RCW | -4.62 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 2.83
VSL | CR_IR_MS | -10 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -3.75 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 19.53
FARIDABAD_SOLAR | ODISHA | 0.86 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 12.24
JSWEL_UTKAL | ODISHA | 25.72 | FACORPOWER | PSPCL | -14.17 | DADRI_SOLAR | ODISHA | 0.56
RAJ_SOLAR | ODISHA | 2.57 | FACORPOWER | PSPCL | -1.46 | ENERSON_SOLAR_10MW | ODISHA | 0.22
RAJ_SOLAR | ODISHA | 2.38 | FACORPOWER | PSPCL | -5.83 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | FACORPOWER | PSPCL | -3.54 | GADAG_GreenInfra_W | ODISHA | 0.77
|  |  | JPIPL | BRPL | -8 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | JSPLANGUL | RUVITSL | -81.5 | GADAG_Serentica3_S | VLSEZ | 40.12
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_Serentica3_W | VLSEZ | 82.52
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GIWEL_SECI_II_RE | ODISHA | 38.6
|  |  | NBVLIPP | BSPHCL | -3.54 | GPCL_SOLAR_10 | ODISHA | 0.66
|  |  | NBVLIPP | BSPHCL | -14.38 | GSECL_SOLAR | ODISHA | 0.64
|  |  | OCL_IRON_STEEL | BRPL | 0 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.84
|  |  | OCL_IRON_STEEL | CSEB_Beneficiary | -16 | KARUR_TPVARDHAMAN_W | TSKPO | 113.22
|  |  | ODISHA | MEENAKSHI | -25 | Kurnool_Greenko_H_Inj | ADITYAAL | -0.02
|  |  | ORSISL | PSPCL | -2.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 8.05
|  |  | ORSISL | PSPCL | -1.17 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.09
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | NTPCRE1_SMND_BHJ2_W | ODISHA | 4.55
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 1.14
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 16.08
|  |  | VSL | WBSEDCL | -4.17 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 4.93
|  |  | JIPL | ODISHA | 115.66 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.51
|  |  | NALCOAP | NACL_Odisha | 27.2 | OKWPL_RE | ODISHA | 17.09
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 10.76
[6 empty] | RWE_AP2_SECI_III | ODISHA | 19.1
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 17.29
[6 empty] | SRI9PL_FTG3 | VLSEZ | 82.31
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.14
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.16
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 71.09
[6 empty] | VSUPL_AGAR_PCHR_W | JFL_ODISHA | 1.57
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 10.63
[6 empty] | XXPPL_FTG3 | ODISHA | 68.59

## DAM
DAM TRADING DETAILS FOR DT : 15.08.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | 0 | 0 | -141.66 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | -109.99 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | -100 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | -100 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | -350 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | -350 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | -350 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | -350 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | -400 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | -400 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | -400 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | -400 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | -300 | 0 | 0 | 0 | -4 | -1 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | -300 | 0 | 0 | 0 | -4 | -1 | 0 | 4.82 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | -300 | 0 | 0 | 0 | -4 | -1 | 0 | 4.82 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | -300 | 0 | 0 | 0 | -4 | -1 | 0 | 4.82 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | -375 | 0 | 0 | 0 | -4 | -1 | 0 | 4.82 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | -375 | 0 | 0 | 0 | -4 | -1 | 0 | 4.82 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | -375 | 0 | 0 | 0 | -4 | -1 | 0 | 4.82 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | -375 | 0 | 0 | 0 | -4 | -1 | 0 | 4.82 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | -250 | 0 | 0 | 0 | -4 | -2 | -43 | 4.82 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | -250 | 0 | 0 | 0 | -4 | -2 | -43 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | -350 | 0 | 0 | 0 | -4 | -2 | -43 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | -350 | 0 | 0 | 0 | -4 | -2 | -43 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | -425 | 0 | 0 | 0 | -10 | -2 | -43 | 0 | 0 | 0 | -6
06:15 - 06:30 | 0 | 0 | -425 | 0 | 0 | 0 | -10 | -2 | -43 | 0 | 0 | 0 | -6
06:30 - 06:45 | 0 | 0 | -425 | 0 | 0 | 0 | -10 | -2 | -43 | 0 | 0 | 0 | -6
06:45 - 07:00 | 0 | 0 | -425 | 0 | 0 | 0 | -10 | -2 | -43 | 0 | 0 | 0 | -6
07:00 - 07:15 | 0 | 0 | -600 | 0 | 0 | 0 | -10 | -2 | -43 | 0 | 0 | 0 | -6
07:15 - 07:30 | 0 | 0 | -600 | 0 | 0 | 0 | -10 | -2 | -43 | 0 | 0 | 0 | -6
07:30 - 07:45 | 0 | 0 | -500 | 0 | 0 | 0 | -10 | -2 | -43 | 0 | 0 | 0 | -6
07:45 - 08:00 | 0 | 0 | -500 | 0 | 0 | 0 | -10 | -2 | -43 | 4.82 | 0 | 0 | -6
08:00 - 08:15 | 22.16 | 0 | -585 | 0 | 13.57 | 9.64 | -4 | -1 | -18 | 4.82 | 0 | 4.82 | -6
08:15 - 08:30 | 22.17 | 0 | -459.13 | 0 | 28.91 | 9.64 | -4 | -1 | -18 | 4.82 | 0 | 4.82 | -6
08:30 - 08:45 | 22.17 | 0 | -285.56 | 0 | 28.91 | 0 | -4 | -1 | -18 | 4.82 | 0 | 4.82 | 0
08:45 - 09:00 | 22.17 | 0 | -85 | 0 | 28.91 | 0 | -4 | -1 | -18 | 4.82 | 0 | 4.82 | 0
09:00 - 09:15 | 22.17 | 0 | 14.46 | 0 | 28.91 | 0 | -4 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
09:15 - 09:30 | 22.17 | 0 | 14.46 | 0 | 28.91 | 0 | -4 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
09:30 - 09:45 | 22.17 | 0 | 14.46 | 0 | 28.91 | 0 | -4 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
09:45 - 10:00 | 22.17 | 0 | 14.46 | 0 | 28.91 | 0 | -4 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
10:00 - 10:15 | 22.17 | 0 | 14.46 | 14.07 | 28.91 | 0 | -4 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
10:15 - 10:30 | 22.17 | 0 | 118.89 | 12.53 | 28.91 | 0 | -4 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
10:30 - 10:45 | 22.17 | 0 | 237.28 | 12.14 | 28.91 | 0 | 0 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
10:45 - 11:00 | 22.17 | 0 | 225.7 | 13.2 | 28.91 | 0 | 0 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
11:00 - 11:15 | 22.17 | 0 | 44.48 | 13.59 | 28.91 | 0 | 0 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
11:15 - 11:30 | 22.17 | 0 | 44.48 | 12.72 | 28.91 | 0 | 0 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
11:30 - 11:45 | 22.17 | 0 | 44.48 | 13.2 | 28.91 | 0 | 0 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
11:45 - 12:00 | 22.17 | 0 | 44.47 | 16.87 | 28.91 | 0 | 0 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
12:00 - 12:15 | 22.17 | 0 | 44.47 | 17.35 | 28.91 | 0 | 0 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
12:15 - 12:30 | 22.17 | 0 | 44.44 | 16.1 | 28.91 | 0 | 0 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
12:30 - 12:45 | 22.17 | 0 | 44.45 | 15.32 | 28.91 | 0 | 0 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
12:45 - 13:00 | 22.17 | 0 | 44.45 | 13.78 | 28.91 | 0 | 0 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
13:00 - 13:15 | 22.17 | 0 | 41.76 | 0 | 28.91 | 0 | 0 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
13:15 - 13:30 | 22.17 | 0 | 41.76 | 0 | 28.91 | 0 | 0 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
13:30 - 13:45 | 22.17 | 0 | 32.52 | 13.11 | 28.91 | 0 | -1.86 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
13:45 - 14:00 | 22.17 | 0 | 225.29 | 16 | 28.91 | 0 | -3.86 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
14:00 - 14:15 | 22.17 | 0 | 14.46 | 16 | 28.9 | 0 | -4 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
14:15 - 14:30 | 22.17 | 0 | 14.46 | 15.32 | 28.91 | 0 | -4 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
14:30 - 14:45 | 22.17 | 0 | 160.24 | 13.69 | 28.91 | 0 | -4 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
14:45 - 15:00 | 22.17 | 0 | 84.95 | 14.17 | 28.91 | 0 | -4 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
15:00 - 15:15 | 22.17 | 0 | 14.46 | 0 | 28.91 | 0 | -4 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
15:15 - 15:30 | 22.17 | 0 | 14.46 | 0 | 28.91 | 0 | -4 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
15:30 - 15:45 | 22.17 | 0 | 14.46 | 0 | 28.91 | 0 | -4 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
15:45 - 16:00 | 22.17 | 0 | -85 | 0 | 28.91 | 0 | -4 | -1 | -18 | 4.82 | 4.82 | 4.82 | 0
16:00 - 16:15 | 22.17 | 0 | -424.18 | 0 | 28.91 | 0 | -4 | -1 | -18 | 4.82 | 0 | 4.82 | -6
16:15 - 16:30 | 22.17 | 0 | -585.18 | 0 | 28.91 | 9.64 | -4 | -1 | -18 | 4.82 | 0 | 4.82 | -6
16:30 - 16:45 | 22.17 | 0 | -713.32 | 0 | 28.91 | 9.64 | -4 | -1 | -18 | 4.82 | 0 | 4.82 | -6
16:45 - 17:00 | 22.16 | 0 | -711.45 | 0 | 9.94 | 9.64 | -4 | -1 | -18 | 4.82 | 0 | 4.82 | -6
17:00 - 17:15 | 0 | 0 | -305.5 | 0 | 28.91 | 9.64 | -5 | -2 | -18 | 4.82 | 0 | 4.82 | -6
17:15 - 17:30 | 0 | 0 | -305.01 | 0 | 9.18 | 9.63 | -5 | -2 | -18 | 4.82 | 0 | 4.82 | -6
17:30 - 17:45 | 0 | 0 | -295.82 | 0 | 22.42 | 9.64 | -5 | -2 | -18 | 4.82 | 0 | 4.82 | -6
17:45 - 18:00 | 0 | 0 | -290.73 | 0 | 0 | 9.64 | -5 | -2 | -18 | 4.82 | 0 | 4.82 | -6
18:00 - 18:15 | 0 | 0 | 72.21 | 0 | 0 | 9.64 | -4 | -2 | -18 | 4.82 | 0 | 4.82 | 0
18:15 - 18:30 | 0 | 0 | 71.85 | 0 | 0 | 9.64 | -4 | -2 | -18 | 4.82 | 0 | 4.82 | 0
18:30 - 18:45 | 0 | 0 | 38.77 | 0 | 0 | 0 | -4 | -2 | -18 | 4.82 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 92.24 | 0 | 0 | 0 | -4 | -2 | -18 | 4.82 | 0 | 0 | 0
19:00 - 19:15 | 0 | -14 | 126.75 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | -14 | 117.18 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | -14 | 97.1 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | -14 | 97.1 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | -14 | 97.53 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | -14 | 97.1 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | -14 | 97.11 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | -14 | 95.32 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | -14 | 83.79 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | -14 | 31.05 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | -14 | 32.77 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | -14 | 94.28 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | -14 | 95.32 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | -14 | -93.8 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | -14 | -95.19 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | -14 | 12.63 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | -14 | -91.32 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | -14 | -77.18 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | -14 | -68.8 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | -14 | -64.03 | 0 | 0 | 0 | -4 | -2 | 0 | 4.82 | 0 | 0 | 0
Average | 8.3135 | -2.9167 | -143.2713 | 2.6996 | 11.1141 | 1.1045 | -4.0179 | -1.5417 | -13.625 | 2.7112 | 1.4058 | 2.1087 | -1.125

## GDAM
GDAM TRADING DETAILS FOR DT:15.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Sambalpur_Steel_Limited | Jagannath_Power_And_Infra_Private_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Kalinga_Nagar
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 14.46 | -6 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 14.46 | -6 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 14.46 | -6 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 14.46 | -6 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 19.27 | -6 | 0 | 0 | 4.34 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 19.27 | -6 | 0 | 0 | 4.34 | 9.64
08:30 - 08:45 | 0 | 0 | 0 | 0 | 19.28 | -6 | 38.54 | 9.64 | 4.34 | 9.64
08:45 - 09:00 | 0 | 0 | 0 | 0 | 19.28 | -6 | 38.54 | 9.64 | 4.34 | 9.64
09:00 - 09:15 | 0 | 0 | 0 | 0 | 19.28 | -6 | 38.54 | 9.64 | 4.34 | 9.64
09:15 - 09:30 | -0.6 | 0 | 0 | 0 | 19.28 | -6 | 38.54 | 9.64 | 4.34 | 9.64
09:30 - 09:45 | 0 | 0 | 0 | 0 | 19.27 | -6 | 6.75 | 9.64 | 4.34 | 9.64
09:45 - 10:00 | 0 | -0.5 | 0 | 0 | 19.27 | -6 | 6.75 | 9.64 | 4.34 | 9.64
10:00 - 10:15 | -2.2 | -0.9 | 0 | 0 | 19.27 | -6 | 8.67 | 9.64 | 4.34 | 9.64
10:15 - 10:30 | 0 | -0.2 | 0 | 0 | 19.27 | -6 | 9.64 | 9.64 | 4.34 | 9.64
10:30 - 10:45 | 0 | -1.9 | 0 | 0 | 19.27 | -6 | 9.64 | 9.64 | 4.34 | 9.64
10:45 - 11:00 | 0 | -0.5 | 0 | 0 | 19.27 | -6 | 14.46 | 9.64 | 4.34 | 9.64
11:00 - 11:15 | 0 | 0 | 192.77 | 0 | 19.28 | -6 | 14.46 | 9.64 | 4.34 | 9.64
11:15 - 11:30 | 0 | 0 | 192.77 | 0 | 19.28 | -6 | 14.46 | 9.64 | 4.34 | 9.64
11:30 - 11:45 | -5.2 | -0.4 | 192.78 | 0 | 19.28 | -6 | 14.46 | 9.64 | 4.34 | 9.64
11:45 - 12:00 | -4.4 | -1.9 | 192.77 | 0 | 19.28 | -6 | 14.46 | 9.64 | 4.34 | 9.64
12:00 - 12:15 | -3.1 | -0.1 | 192.78 | 0 | 19.28 | -6 | 14.46 | 9.64 | 4.34 | 9.64
12:15 - 12:30 | -1.2 | 0 | 192.78 | 0 | 19.28 | -6 | 14.46 | 9.64 | 4.34 | 9.64
12:30 - 12:45 | 0 | -0.3 | 192.78 | 0 | 19.28 | -6 | 14.46 | 9.64 | 4.34 | 9.64
12:45 - 13:00 | -1.3 | 0 | 192.78 | 0 | 19.28 | -6 | 17.35 | 9.64 | 4.34 | 9.64
13:00 - 13:15 | -4.3 | 0 | 197.15 | 15.42 | 19.28 | -6 | 15.42 | 9.64 | 4.34 | 9.64
13:15 - 13:30 | -2 | -1 | 197.15 | 14.26 | 19.28 | -6 | 14.46 | 9.64 | 4.34 | 9.64
13:30 - 13:45 | -7.6 | -2 | 192.76 | 0 | 19.28 | -6 | 12.53 | 9.64 | 4.34 | 9.64
13:45 - 14:00 | -5.3 | -4 | 0 | 0 | 19.27 | -6 | 9.64 | 9.64 | 4.34 | 9.64
14:00 - 14:15 | -2.3 | 0 | 0 | 0 | 19.26 | -6 | 3.86 | 9.64 | 4.34 | 9.64
14:15 - 14:30 | -0.4 | -0.2 | 0 | 0 | 19.27 | -6 | 2.89 | 9.64 | 4.34 | 9.64
14:30 - 14:45 | 0 | 0 | 0 | 0 | 19.27 | -6 | 1.93 | 9.64 | 4.34 | 9.64
14:45 - 15:00 | 0 | 0 | 0 | 0 | 19.27 | -6 | 0 | 9.64 | 4.34 | 9.64
15:00 - 15:15 | 0 | -0.1 | 0 | 0 | 19.27 | -6 | 0 | 9.64 | 4.34 | 9.64
15:15 - 15:30 | 0 | 0 | 0 | 0 | 19.27 | -6 | 0 | 9.64 | 4.34 | 9.64
15:30 - 15:45 | 0 | 0 | 0 | 0 | 19.27 | -6 | 1.93 | 9.64 | 4.34 | 9.64
15:45 - 16:00 | 0 | 0 | 0 | 0 | 19.27 | -6 | 4.82 | 9.64 | 4.34 | 9.64
16:00 - 16:15 | 0 | 0 | 162.46 | 0 | 14.46 | -6 | 38.55 | 9.64 | 4.34 | 28.91
16:15 - 16:30 | 0 | 0 | 158.12 | 0 | 14.46 | -6 | 38.55 | 0 | 4.34 | 28.91
16:30 - 16:45 | 0 | 0 | 151.61 | 0 | 14.46 | -6 | 38.55 | 0 | 4.34 | 28.91
16:45 - 17:00 | 0 | 0 | 149.42 | 0 | 14.46 | -6 | 38.55 | 0 | 4.34 | 28.91
17:00 - 17:15 | 0 | 0 | 142.93 | 0 | 14.46 | -6 | 38.55 | 0 | 4.34 | 0
17:15 - 17:30 | 0 | 0 | 142.22 | 0 | 14.46 | -6 | 38.55 | 0 | 4.34 | 0
17:30 - 17:45 | 0 | 0 | 131.94 | 0 | 14.46 | -6 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 125.62 | 0 | 14.05 | -6 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 108.27 | 0 | 0 | -6 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 108.27 | 0 | 0 | -6 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 83.09 | 0 | 0 | -6 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0.02 | 0 | 0 | -6 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
Average | -0.41562 | -0.14583 | 37.4296 | 0.30917 | 8.228 | -6 | 6.5356 | 3.1129 | 1.7179 | 4.3175

## RTM
RTM TRADING DETAILS FOR DT: 15.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | -0.2 | 0 | -0.2 | -1.2 | 0 | -450.1 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | -10 | 0 | 0 | 0 | 0
00:15 - 00:30 | -0.2 | 0 | -0.2 | -1.2 | 0 | -444 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -0.2 | 0 | -0.2 | -1.2 | 0 | -426.71 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | -20 | 0 | 0 | 0 | 0
00:45 - 01:00 | -0.2 | 0 | -0.2 | -1.2 | 0 | -420.12 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | -20 | 0 | 0 | 0 | 0
01:00 - 01:15 | -0.2 | 0 | -0.2 | -1.2 | 0 | -353.01 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | -10 | 0 | 0 | 0 | 0
01:15 - 01:30 | -0.2 | 0 | -0.2 | -1.2 | 0 | -353.15 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | -25 | 0 | 0 | 17.35 | 0
01:30 - 01:45 | -0.2 | 0 | -0.2 | -1.2 | 0 | -351.15 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | -35 | 0 | 0 | 52.05 | 0
01:45 - 02:00 | -0.2 | 0 | -0.2 | -1.2 | 0 | -350 | 0 | 4.15 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 2.26 | 0 | 0 | -3 | 0 | -4 | -35 | 3.39 | 0 | 52.06 | 0
02:00 - 02:15 | -0.2 | 0 | -0.5 | -1.2 | 0 | -250.39 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | 0 | 0 | 0 | 53.01 | 0
02:15 - 02:30 | -0.2 | 0 | -0.5 | -1.2 | 0 | -185.04 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | 0 | 15.42 | 5.78 | 0 | 0 | -3 | 0 | -4 | -20 | 8.67 | 24.1 | 53.01 | 0
02:30 - 02:45 | -0.2 | 0 | -0.5 | -1.2 | 0 | -100 | 0 | 4.79 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 2.61 | 0 | 0 | -2 | 0 | -4 | 0 | 3.92 | 0 | 53.01 | 0
02:45 - 03:00 | -0.2 | 0 | -0.5 | -1.2 | 0 | -150 | 0 | 8.07 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 4.4 | 0 | 0 | -2 | 0 | -4 | 0 | 6.6 | 0 | 53.01 | 0
03:00 - 03:15 | -0.2 | 0 | -0.5 | -1.2 | 0 | -100.74 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | 0 | 15.42 | 5.78 | 0 | 15.42 | -2 | 0 | -2 | -40 | 8.67 | 24.1 | 53.01 | 0
03:15 - 03:30 | -0.2 | 0 | -0.5 | -1.2 | 0 | -45.01 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | 0 | 10.6 | 5.78 | 0 | 15.42 | -2 | 0 | -2 | -10 | 8.67 | 24.1 | 35.66 | 0
03:30 - 03:45 | -0.2 | 0 | -0.5 | -1.2 | 0 | -54.04 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | 0 | 10.6 | 5.78 | 0 | 0 | -2 | 0 | -2 | 0 | 8.67 | 24.1 | 31.81 | 0
03:45 - 04:00 | -0.2 | 0 | -0.5 | -1.2 | 0 | -99.91 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | 0 | 10.6 | 5.78 | 0 | 0 | -2 | 0 | -2 | -25 | 8.67 | 24.1 | 29.88 | 0
04:00 - 04:15 | -0.2 | 0 | -0.5 | -1.3 | 0 | -64.75 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | 0 | 10.6 | 5.78 | 0 | 0 | -2 | 0 | -2 | -30 | 8.67 | 46.41 | 26.99 | 0
04:15 - 04:30 | -0.2 | 0 | -0.5 | -1.3 | 0 | -115.53 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 6.14 | 0 | 0 | 10.6 | 5.78 | 0 | 0 | -2 | 0 | -2 | 0 | 8.67 | 0 | 26.03 | 0
04:30 - 04:45 | -0.2 | 0 | -0.5 | -1.3 | 0 | -150 | 0 | 1.02 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0.56 | 0 | 0 | -2 | 0 | -2 | 0 | 0.84 | 0 | 16.38 | -2.3
04:45 - 05:00 | -0.2 | 0 | -0.5 | -1.3 | 0 | -151.86 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | -25 | 0 | 0 | 16.38 | -2.3
05:00 - 05:15 | -0.2 | 0 | -0.5 | -1.3 | 0 | -227.3 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | -10 | 0 | 0 | 16.38 | -2.3
05:15 - 05:30 | -0.2 | 0 | -0.5 | -1.3 | 0 | -230.79 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 16.38 | -2.3
05:30 - 05:45 | -0.2 | 0 | -1.1 | -1.3 | 0 | -277.3 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | -35 | 0 | 0 | 26.02 | -2.3
05:45 - 06:00 | -0.2 | 0 | -1.1 | -1.3 | 0 | -429.11 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | -30 | 0 | 0 | 26.02 | -2.3
06:00 - 06:15 | -0.2 | 0 | -1.1 | -1.3 | 0 | -333.85 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | -10 | 0 | 0 | 26.02 | -2.3
06:15 - 06:30 | -0.2 | 0 | -1.1 | -1.3 | 0 | -286.62 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | 29.88 | -2.3
06:30 - 06:45 | -0.2 | -13 | -1.1 | -1.3 | 0 | -334.62 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | -0.2 | -2 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | 40.48 | -2.3
06:45 - 07:00 | -0.2 | 0 | -1.1 | -1.3 | 0 | -430.08 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | -0.5 | -2 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | 48.19 | -2.3
07:00 - 07:15 | -0.2 | 0 | -0.5 | -1.3 | 0 | -476.34 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | -0.8 | -2 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | 36.62 | -2.3
07:15 - 07:30 | -0.2 | 0 | -0.5 | -1.3 | 0 | -401 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | -0.9 | -2 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | -45 | 0 | 0 | 21.2 | -2.3
07:30 - 07:45 | -0.2 | 0 | -0.5 | -1.3 | 0 | -392.51 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | -1.1 | 0 | 15.42 | 5.78 | 0 | 0 | -3 | 0 | -5 | -25 | 8.67 | 57.84 | 0.96 | -2.3
07:45 - 08:00 | -0.2 | 0 | -0.5 | -1.3 | 0 | -503 | 0 | 10.6 | -0.1 | 0 | -0.7 | 0 | 19.28 | -1.2 | 0 | 10.6 | 5.78 | 2.89 | 15.42 | -3 | 0 | -5 | -5 | 8.67 | 57.84 | 0 | -2.3
08:00 - 08:15 | -0.2 | -10 | -0.5 | 0 | 0 | -150.37 | 0 | 10.6 | -0.2 | 0 | -0.7 | -15 | 0 | -1.5 | 0 | 10.6 | 5.78 | 2.89 | 15.42 | -2 | 0 | 0 | 0 | 8.67 | 57.84 | 32.77 | -2.3
08:15 - 08:30 | -0.2 | 0 | -0.5 | 0 | 1.93 | -55.64 | 0 | 10.6 | -0.2 | 0 | -0.7 | 0 | 0 | -1.7 | 0 | 10.6 | 5.78 | 2.89 | 15.42 | -2 | 0 | 0 | -20 | 8.67 | 48.19 | 171.57 | -2.3
08:30 - 08:45 | -0.2 | 0 | -0.5 | 0 | 1.93 | -31.81 | 0 | 10.6 | -0.3 | 0 | -0.7 | 0 | 0 | -2 | 0 | 14.46 | 5.78 | 2.89 | 15.42 | -2 | 0 | 0 | -10 | 8.67 | 48.19 | 144.58 | -2.3
08:45 - 09:00 | -0.2 | 0 | -0.5 | 0 | 1.93 | -25.61 | 0 | 10.6 | -0.4 | 0 | -0.7 | 0 | 0 | -2.5 | 0 | 14.46 | 5.78 | 2.89 | 15.42 | -2 | 0 | 0 | -25 | 8.67 | 48.19 | 113.73 | -2.3
09:00 - 09:15 | -0.2 | 0 | -0.5 | 0 | 1.93 | -41.3 | 15.42 | 10.6 | -0.6 | 0 | -0.7 | 0 | 0 | 0 | 0 | 14.46 | 5.78 | 2.89 | 15.42 | 0 | 1.45 | 0 | -40 | 8.67 | 48.19 | 74.21 | -2.3
09:15 - 09:30 | -0.2 | 0 | -0.5 | 0 | 1.93 | -7.31 | 14.55 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 14.46 | 5.78 | 2.89 | 15.42 | 0 | 1.45 | 0 | -40 | 8.67 | 48.19 | 47.23 | -2.3
09:30 - 09:45 | -0.2 | 0 | -0.5 | 0 | 1.93 | 93.54 | 13.78 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 10.6 | 0 | 4.82 | 15.42 | 0 | 1.45 | 0 | 0 | 8.67 | 48.19 | 50.12 | -2.3
09:45 - 10:00 | -0.2 | 0 | -0.5 | 0 | 1.93 | 92.56 | 14.46 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 10.6 | 0 | 4.82 | 15.42 | 0 | 1.45 | 0 | -30 | 8.67 | 48.19 | 100.24 | -2.3
10:00 - 10:15 | 0 | 0 | -0.42 | 0 | 1.93 | 48.19 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.78 | 0 | 4.82 | 15.42 | 0 | 1.45 | 0 | 0 | 8.67 | 62.65 | 185.05 | -1.93
10:15 - 10:30 | 0 | 0 | -0.4 | 0 | 1.93 | 48.19 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.78 | 0 | 4.82 | 15.42 | 0 | 1.45 | 0 | 0 | 8.67 | 62.65 | 292.03 | -1.82
10:30 - 10:45 | 0 | 0 | -0.33 | 0 | 1.93 | 48.19 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.78 | 0 | 4.82 | 15.42 | 0 | 1.45 | 0 | 0 | 8.67 | 62.65 | 391.3 | 0
10:45 - 11:00 | 0 | 0 | -0.34 | 0 | 1.93 | 48.19 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.78 | 0 | 4.82 | 12.53 | 0 | 1.45 | 0 | 0 | 8.67 | 62.65 | 419.25 | 0
11:00 - 11:15 | 0 | 0 | -0.5 | 0 | 1.93 | 96.38 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 5.78 | 0 | 4.82 | 12.53 | 0 | 1.45 | 0 | 0 | 8.67 | 62.65 | 540.69 | -2.5
11:15 - 11:30 | 0 | 0 | -0.5 | 0 | 1.93 | 96.38 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 5.78 | 0 | 4.82 | 12.53 | 0 | 1.45 | 0 | -4.24 | 8.67 | 62.65 | 540.69 | -2.5
11:30 - 11:45 | -0.2 | 0 | -0.7 | 0 | 1.93 | 96.38 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 5.78 | 0 | 4.82 | 12.53 | 0 | 1.45 | 0 | -10 | 8.67 | 57.83 | 540.69 | -2.5
11:45 - 12:00 | -0.2 | 0 | -0.7 | 0 | 1.93 | 96.38 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 5.78 | 0 | 4.82 | 12.53 | 0 | 1.45 | 0 | -10 | 8.67 | 57.83 | 540.69 | -2.5
12:00 - 12:15 | 0 | 0 | -0.7 | 0 | 1.93 | 0 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 5.78 | 0 | 4.82 | 8.67 | 0 | 1.45 | 0 | 0 | 8.67 | 48.19 | 540.7 | -2.5
12:15 - 12:30 | 0 | 0 | -0.7 | 0 | 1.93 | 0 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 5.78 | 0 | 4.82 | 8.67 | 0 | 1.45 | 0 | 0 | 8.67 | 48.19 | 540.7 | -2.5
12:30 - 12:45 | 0 | 0 | -0.7 | 0 | 1.93 | 0 | 0 | 10.6 | 0 | 0 | -0.69 | 0 | 0 | 0 | 0 | 11.57 | 0 | 4.82 | 8.67 | 0 | 1.45 | 0 | 0 | 8.67 | 48.19 | 540.69 | 0
12:45 - 13:00 | 0 | 0 | -0.7 | 0 | 1.93 | 0 | 0 | 10.6 | 0 | 0 | -0.44 | 0 | 0 | 0 | 0 | 11.57 | 0 | 4.82 | 8.67 | 0 | 1.45 | 0 | 0 | 8.67 | 48.19 | 540.69 | 0
13:00 - 13:15 | 0 | 0 | -1 | 0 | 1.93 | 0 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.57 | 0 | 4.82 | 8.67 | 0 | 1.45 | 0 | 0 | 8.67 | 48.19 | 479.01 | 0
13:15 - 13:30 | 0 | 0 | -0.95 | 0 | 1.93 | 0 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.57 | 0 | 4.82 | 8.67 | 0 | 1.45 | 0 | 0 | 8.67 | 43.37 | 417.32 | 0
13:30 - 13:45 | 0 | 0 | -0.95 | 0 | 1.93 | 0 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.57 | 0 | 4.82 | 8.67 | 0 | 1.45 | 0 | 0 | 8.67 | 19.28 | 355.64 | 0
13:45 - 14:00 | 0 | 0 | -1.05 | 0 | 1.93 | 0 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.57 | 0 | 4.82 | 8.67 | 0 | 1.45 | 0 | 0 | 8.67 | 19.28 | 292.99 | 0
14:00 - 14:15 | 0 | 0 | -1.2 | 0 | 1.93 | 48.19 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 5.78 | 0 | 4.82 | 8.67 | 0 | 1.45 | 0 | -6.14 | 8.67 | 0 | 219.75 | -8.6
14:15 - 14:30 | -0.2 | 0 | -1.2 | 0 | 1.93 | 96.38 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 5.78 | 0 | 4.82 | 8.67 | 0 | 1.45 | 0 | -14 | 8.67 | 0 | 133.01 | -8.6
14:30 - 14:45 | -0.2 | 0 | -0.9 | 0 | 1.93 | 48.2 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 5.78 | 0 | 4.82 | 8.67 | 0 | 1.45 | 0 | -5 | 8.67 | 28.91 | 43.37 | -8.6
14:45 - 15:00 | -0.2 | 0 | -0.9 | 0 | 1.93 | 96.39 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 5.78 | 0 | 4.82 | 8.67 | 0 | 1.45 | 0 | -5 | 8.67 | 28.91 | 0 | -8.6
15:00 - 15:15 | -0.2 | 0 | -0.9 | 0 | 1.93 | 240.95 | 14.75 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 5.78 | 0 | 4.82 | 8.67 | 0 | 1.45 | 0 | 0 | 8.67 | 28.91 | 37.59 | -8.6
15:15 - 15:30 | -0.2 | 0 | -0.9 | 0 | 1.93 | 428.11 | 15.81 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 5.78 | 0 | 4.82 | 8.67 | 0 | 1.45 | 0 | -5 | 8.67 | 28.91 | 25.06 | -8.6
15:30 - 15:45 | -0.2 | 0 | -0.9 | 0 | 1.93 | 428.09 | 17.35 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 14.46 | 0 | 4.82 | 8.67 | 0 | 1.45 | 0 | -15 | 8.67 | 38.55 | 35.66 | -8.6
15:45 - 16:00 | -0.2 | 0 | -0.9 | 0 | 1.93 | 477.32 | 17.64 | 10.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 14.46 | 0 | 4.82 | 8.67 | 0 | 1.45 | 0 | -10 | 8.67 | 38.55 | 65.54 | -8.6
16:00 - 16:15 | -0.2 | 0 | -0.9 | 0 | 1.93 | 337.31 | 17.16 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | -0.7 | 0 | 14.46 | 0 | 4.82 | 8.67 | 0 | 1.93 | 0 | -10 | 8.67 | 19.28 | 105.05 | -8.6
16:15 - 16:30 | -0.2 | 0 | -0.9 | 0 | 1.93 | 263.03 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | -0.8 | 0 | 14.46 | 0 | 4.82 | 8.67 | 0 | 1.93 | 0 | -10 | 8.67 | 38.55 | 33.73 | -8.6
16:30 - 16:45 | -0.2 | 0 | -0.9 | 0 | 1.93 | 649.41 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | -1 | 0 | 14.46 | 0 | 4.82 | 8.67 | 0 | 1.93 | 0 | 0 | 8.67 | 48.19 | 72.29 | -7.2
16:45 - 17:00 | -0.2 | 0 | -0.9 | 0 | 1.93 | 640.62 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | -0.8 | 0 | 14.46 | 0 | 4.82 | 8.67 | 0 | 1.93 | 0 | -10 | 8.67 | 48.19 | 106.02 | -7.2
17:00 - 17:15 | -0.2 | -5 | -0.4 | 0 | 0 | 263.89 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | -0.5 | 0 | 14.46 | 0 | 4.82 | 8.67 | 0 | 1.93 | 0 | -35 | 8.67 | 48.19 | 0 | -7.2
17:15 - 17:30 | -0.2 | -4 | -0.4 | 0 | 0 | 399.95 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | -0.3 | 0 | 10.6 | 0 | 4.82 | 8.67 | 0 | 1.93 | 0 | 0 | 8.67 | 48.19 | 0 | -7.2
17:30 - 17:45 | -0.2 | 0 | -0.4 | 0 | 0 | 108.03 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | -0.1 | 0 | 10.6 | 0 | 4.82 | 8.67 | 0 | 1.93 | 0 | 0 | 8.67 | 48.19 | 0 | -7.2
17:45 - 18:00 | -0.2 | 0 | -0.4 | 0 | 0 | 92.68 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | 0 | 10.6 | 0 | 4.82 | 8.67 | 0 | 1.93 | 0 | 0 | 8.67 | 48.19 | 0 | -7.2
18:00 - 18:15 | -0.2 | 0 | -0.4 | 0 | 0 | -124.95 | 20.24 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | 0.39 | 0 | 14.46 | 0 | 4.82 | 8.67 | 0 | 0 | 0 | -30 | 8.67 | 38.55 | 0 | -7.2
18:15 - 18:30 | -0.2 | 0 | -0.4 | 0 | 0 | -156.98 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | 0.39 | 0 | 10.6 | 0 | 4.82 | 8.67 | 0 | 0 | 0 | 0 | 8.67 | 38.55 | 0 | -7.2
18:30 - 18:45 | -0.2 | 0 | -0.4 | 0 | 0 | -156.97 | 0 | 10.6 | 0 | 9.64 | -0.7 | 0 | 19.28 | 0.39 | 0 | 10.6 | 0 | 4.82 | 8.67 | 0 | 1.93 | 0 | -30 | 8.67 | 38.55 | 48.19 | -7.9
18:45 - 19:00 | -0.2 | 0 | -0.4 | 0 | 0 | -230.01 | 0 | 10.6 | 0 | 0 | -0.7 | -15 | 19.28 | 0 | 0 | 10.6 | 0 | 4.82 | 8.67 | 0 | 1.93 | 0 | -40 | 8.67 | 38.55 | 48.2 | -7.9
19:00 - 19:15 | -0.2 | 0 | -0.4 | 0 | 0 | -152.71 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | 0 | 15.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 48.19 | 0 | -9
19:15 - 19:30 | -0.2 | 0 | -0.4 | 0 | 0 | -152.98 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | 0 | 15.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 48.19 | 0 | -9
19:30 - 19:45 | -0.2 | 0 | -0.4 | 0 | 0 | -253.31 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | -1 | 15.42 | 0 | 0 | 0 | 0 | 0 | -5 | -40 | 8.67 | 48.19 | 0 | -9
19:45 - 20:00 | -0.2 | 0 | -0.4 | 0 | 0 | -253.57 | 0 | 9.52 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | -1 | 15.42 | 0 | 0 | 0 | 0 | 0 | -5 | -10 | 7.79 | 48.19 | 0 | -9
20:00 - 20:15 | -0.2 | 0 | -0.2 | -1.2 | 0 | -151.3 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | -1 | 15.42 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 8.67 | 48.19 | 0 | -9
20:15 - 20:30 | -0.2 | 0 | -0.2 | -1.2 | 0 | -250.95 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | -1 | 15.42 | 0 | 0 | 0 | 0 | 0 | -5 | -30 | 8.67 | 48.19 | 0 | -9
20:30 - 20:45 | -0.2 | 0 | -0.2 | -1.2 | 0 | -255.15 | 0 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | -1 | 15.42 | 0 | 0 | 0 | 0 | 0 | -5 | -20 | 0 | 48.19 | 20.24 | -9.9
20:45 - 21:00 | -0.2 | 0 | -0.2 | -1.2 | 0 | -156.65 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 20.24 | -9.9
21:00 - 21:15 | -0.2 | 0 | -0.2 | -1.2 | 0 | -160.78 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -10 | 0 | 0 | 20.24 | -9.9
21:15 - 21:30 | -0.2 | 0 | -0.2 | -1.2 | 0 | -161.71 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -10 | 0 | 0 | 20.24 | -9.9
21:30 - 21:45 | -0.2 | 0 | -0.8 | -1.2 | 0 | -557.78 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 20.24 | -9.9
21:45 - 22:00 | -0.2 | 0 | -0.8 | -1.2 | 0 | -657.15 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -20 | 0 | 0 | 20.24 | -9.9
22:00 - 22:15 | -0.2 | 0 | -0.8 | -1.2 | 0 | -300 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | 0 | 20.24 | -10.5
22:15 - 22:30 | -0.2 | 0 | -0.8 | -1.2 | 0 | -121.56 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 20.24 | -10.5
22:30 - 22:45 | -0.2 | 0 | -0.2 | -1.2 | 0 | -154.16 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 44.33 | -10.5
22:45 - 23:00 | -0.2 | 0 | -0.2 | -1.2 | 0 | -153.34 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -15 | 0 | 0 | 44.33 | -10.5
23:00 - 23:15 | -0.2 | 0 | -0.2 | -1.2 | 0 | -433.34 | 0 | 9.54 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | 0 | 15.42 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 7.81 | 43.36 | 29.88 | -10.5
23:15 - 23:30 | -0.2 | 0 | -0.2 | -1.2 | 0 | -323.05 | 0 | 10.6 | 0 | 0 | -0.7 | 0 | 19.28 | 0 | 0 | 15.42 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 8.67 | 43.37 | 29.88 | -10.5
23:30 - 23:45 | -0.2 | 0 | -0.2 | 0 | 0 | -324.39 | 20.24 | 10.6 | 0 | 9.64 | -0.7 | 0 | 19.28 | 0.39 | 0 | 19.28 | 0 | 4.82 | 8.67 | -2 | 0 | -2 | -25 | 8.67 | 43.36 | 39.52 | -10.5
23:45 - 24:00 | -0.2 | 0 | -0.2 | 0 | 0 | -324.37 | 20.24 | 10.6 | 0 | 9.64 | -0.7 | 0 | 19.28 | 0.39 | 0 | 14.46 | 0 | 4.82 | 8.67 | -2 | 0 | -2 | -40 | 8.67 | 43.36 | 39.52 | -10.5
Average | -0.16875 | -0.33333 | -0.55875 | -0.59167 | 0.70365 | -102.4406 | 2.1004 | 7.1218 | -0.01875 | 0.30125 | -0.63885 | -0.3125 | 6.2898 | -0.15365 | -0.375 | 7.5396 | 1.0055 | 2.2191 | 5.6107 | -0.95833 | 0.62396 | -1.8542 | -11.7644 | 5.8252 | 28.0926 | 105.3459 | -4.4391