## POWER STATUS
POWER STATUS ON DT 17.08.2026
[9 empty] | 2026-08-17 | 2026-08-16
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 21:00
Demand -> | [8 empty] | 5537.6453 | 5605.0245
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 213.208 | 5.117 | 630/590 ft | 613.41 | 617.15 | 618.77 | 213.6146 | 215.4505
| Chiplima | 72(3x24) | 58.667 | 1.408 | - |  |  |  | 31.0764 | 57.8866
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1467.4 | 1465 | 1465.6 | 0 | 0
| Rengali | 250(5x50) | 229.625 | 5.511 | 123.5/109.75 mt | 121.13 | 122.71 | 123.24 | 223.8428 | 235.7883
| Upper Kolab | 320(4x80) | 37.83 | 0.90792 | 858/844 mt | 852.7 | 850.43 | 850.48 | 73.2584 | 77.143
| Upper Indravati | 600(4x150) | 91.5 | 2.196 | 642/625 mt | 634.72 | 634.29 | 634.41 | 0.28874 | 0.29163
| Machkund | 60(50% of(3x17+3x23)) | 9.95 | 0.2388 | 2750/2685 ft | 2742.2 | 2723.7 | 2724.1 | 15.2489 | 10.9542
| Total Hydro | 2099.5 | 640.78 | 15.3787 |  |  |  |  | 557.3298 | 597.5142
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1474.6798 | 35.3923 | RENEWABLE ENERGY (RE) |  |  |  | 1677.5236 | 1662.0756
[5 empty] | M.Hydl | 119.91
| Total Thermal | 2200 | 1474.6798 | 35.3923 | Solar | 29.5901 |  |  | 1677.5236 | 1662.0756
IPP | VEDANTA #2 | 600 (1x600) | 374.7339 | 8.9936 | Total IPPs | Yesterday's Demand Profile |  |  | 358.2031 | 509.375
| GMR #3 | 350 (1x350) | 270.5329 | 6.4928 | 733.2288 |  | MW | HRS | 329.2965 | 327.0936
| NBVL(IPP) | 60(1x60) | 46.4605 | 1.1151 |  |  |  |  | 53.6545 | 54.933
| MDTPC |  | 41.5015 | 0.99604 |  |  |  |  | 31.3349 | 56.1574
| CGPs |  | 478.6179 | 11.4868 | IPPs, CGPs & RE | Maximum | 5831 | 10:00 | 1348.931 | 1505.7043
| Central Sector(Drawl) |  | 1835.4045 | 44.0497 | 1361.3467 | Minimum | 4933 | 07:00 | 1953.8609 | 1839.7305
| Central Sector(Sch) |  | 1993.2679 | 47.8384 |  | Average | 5312.211 |  | 1685.3083 | 1752
| Grand Total |  | 5312.211 | 127.4931 | Instantaneous Peak demand |  | 6042 | 10:13 | 5537.6453 | 5605.0245
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(5) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1541.4962 | 36.9959 | 1433.6419 | 34.4074 | 1558.6071 | 37.4066
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1768.8661 | 42.4528 | 1719.2967 | 41.2631 | 1405.2167 | 33.7252
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1251.4242 | 30.0342 | 1235.7047 | 29.6569 | 1195.1356 | 28.6833
U.Kolab | 1,2,3 | KAHALGAON | NIL | TPSODL | 595.1224 | 14.2829 | 588.6704 | 14.1281 | 588.6242 | 14.127
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5156.9089 | 123.7658 | 4977.3137 | 119.4555 | 4747.5836 | 113.942
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 358.2031 | GMR |  |  |  | 329.2965
| NBVL #3 | 53.6545 | MDTPC |  |  |  | 31.3349
Mini Hydel: | MEENAKSHI | 40.5372 | OPCL |  |  |  | 0
| BTPL | 0 | SAPTADHARA |  |  |  | 20
Solar: |  |  | KAKATIYA |  |  |  | 5
CGPs : | JSPL (Angul) | 60.1235 | JSL(Duburi) |  |  |  | -59.1144
| ICCL | 35.1743 | visa |  |  |  | 6.2292
| NALCO | -133.746 | VAL (CGP) |  |  |  | 93.155
| RSP | -34.1138 | BSL(MMDL) |  |  |  | -63.6758
| INDAL | -2.505 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -39.6932 | VAL CPP 400 kV |  |  |  | -616.1131
| NBVL | 54.5164 | Arati |  |  |  | 11.4101
| BPSL(JSG) | -172.1209 | BPPL |  |  |  | 61.9307
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-09 | 2026-08-10 | 2026-08-11 | 2026-08-12 | 2026-08-13 | 2026-08-14 | 2026-08-15 | 2026-08-16
554.5899 | 568.115 | 673.055 | 742.7938 | 722.2608 | 709.267 | 746.39 | 640.78
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.16.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 1.15
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.75 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 1.17
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -5.83 | AGE26AL_PSS6_KPS1_S | ODISHA | 144.17
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -14.17 | AP41PL_BHDL | ODISHA | 62.98
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | AP43PL_BKN | ODISHA | 96.07
JSPLANGUL | GEB_Beneficiary | -26.26 | ARYAN_ISPAT | PONDY | -5 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.18
JSPLANGUL | RUVITSL | -22.09 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | AWEK1L | ODISHA | 9.76
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | DALCEMAP | -2 | AWEK1L | ODISHA | 14.64
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCBLME | -10 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 2.94
FARIDABAD_SOLAR | ODISHA | 0.86 | DCBL_Rajgangpur | DCL_RCW | -3.54 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 27.41
JSWEL_UTKAL | ODISHA | 39.93 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -4.04 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.9
RAJ_SOLAR | ODISHA | 2.57 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | DADRI_SOLAR | ODISHA | 0.4
RAJ_SOLAR | ODISHA | 2.49 | FACORPOWER | PSPCL | -5.83 | ENERSON_SOLAR_10MW | ODISHA | 0.22
|  |  | FACORPOWER | PSPCL | -3.54 | GADAG_GreenInfra_W | ODISHA | 0.84
|  |  | FACORPOWER | PSPCL | -14.17 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | FACORPOWER | PSPCL | -1.46 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | JSPLANGUL | RUVITSL | -53.65 | GADAG_Serentica3_S | VLSEZ | 40.12
|  |  | KCMW_od | JAYPEE_REWA | -1.96 | GADAG_Serentica3_W | VLSEZ | 74.31
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GIWEL_SECI_II_RE | ODISHA | 39.05
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GPCL_SOLAR_10 | ODISHA | 0.59
|  |  | NBVLIPP | BSPHCL | -14.38 | GSECL_SOLAR | ODISHA | 0.7
|  |  | NBVLIPP | BSPHCL | -3.54 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.86
|  |  | OCL_IRON_STEEL | BRPL | -13 | KARUR_TPVARDHAMAN_W | TSKPO | 102.64
|  |  | OCL_IRON_STEEL | TPDDL | 0 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
|  |  | ORSISL | PSPCL | -1.17 | Kurnool_Greenko_H_Inj | ADITYAAL | 5.05
|  |  | ORSISL | PSPCL | -2.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.02
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | NTPCRE1_SMND_BHJ2_W | ODISHA | 4.75
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 11.48
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 4.49
|  |  | VSL | WBSEDCL | -4.17 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.97
|  |  | JIPL | ODISHA | 115.66 | OKWPL_RE | ODISHA | 17.94
|  |  | NALCOAP | NACL_Odisha | 23.6 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 0
[6 empty] | RWE_AP2_SECI_III | ODISHA | 18.1
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 17.98
[6 empty] | SRI9PL_FTG3 | VLSEZ | 83.39
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.13
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.15
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 71
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 11.84
[6 empty] | XXPPL_FTG3 | ODISHA | 67.41

## DAM
DAM TRADING DETAILS FOR DT : 16.08.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | JSW_Cement_Ltd | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Limited_FAP_Gopalpur | Times_Steel_&_Power_Private_limited | Visa_Steel_Limited
00:00 - 00:15 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
00:15 - 00:30 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
00:30 - 00:45 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
00:45 - 01:00 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
01:00 - 01:15 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
01:15 - 01:30 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
01:30 - 01:45 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
01:45 - 02:00 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
02:00 - 02:15 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
02:15 - 02:30 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
02:30 - 02:45 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
02:45 - 03:00 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
03:00 - 03:15 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
03:15 - 03:30 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
03:30 - 03:45 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
03:45 - 04:00 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
04:00 - 04:15 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
04:15 - 04:30 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
04:30 - 04:45 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
04:45 - 05:00 | 0 | -150 | 0 | 3.18 | -4 | -1 | 0 | 4.82 | 0 | 0 | -10
05:00 - 05:15 | 0 | -175 | 0 | 3.18 | -4 | -1 | -43 | 4.82 | 0 | 0 | -6
05:15 - 05:30 | 0 | -175 | 0 | 3.18 | -4 | -1 | -43 | 4.82 | 0 | 0 | -6
05:30 - 05:45 | 0 | -175 | 0 | 3.18 | -4 | -1 | -43 | 4.82 | 0 | 0 | -6
05:45 - 06:00 | 0 | -175 | 0 | 3.18 | -4 | -1 | -43 | 4.82 | 0 | 0 | -6
06:00 - 06:15 | 0 | -450 | 0 | 0 | -10 | -1 | -43 | 0 | 0 | -6 | -6
06:15 - 06:30 | 0 | -450 | 0 | 0 | -10 | -1 | -43 | 0 | 0 | -6 | -6
06:30 - 06:45 | 0 | -450 | 0 | 0 | -10 | -1 | -43 | 0 | 0 | -6 | -6
06:45 - 07:00 | 0 | -450 | 0 | 0 | -10 | -1 | -43 | 0 | 0 | -6 | -6
07:00 - 07:15 | 0 | -625 | 0 | 0 | -10 | -1 | -43 | 0 | 0 | -6 | -6
07:15 - 07:30 | 0 | -625 | 0 | 0 | -10 | -1 | -43 | 0 | 0 | -6 | -6
07:30 - 07:45 | 0 | -575 | 0 | 0 | -10 | -1 | -43 | 4.82 | 0 | -6 | -6
07:45 - 08:00 | 0 | -442.16 | 0 | 0 | -10 | -1 | -43 | 4.82 | 0 | -6 | -6
08:00 - 08:15 | 22.17 | -485.62 | 28.91 | 3.18 | -4 | -1 | -18 | 4.82 | 0 | -6 | -6
08:15 - 08:30 | 22.17 | -336.06 | 28.91 | 3.18 | -4 | -1 | -18 | 4.82 | 0 | -6 | -6
08:30 - 08:45 | 22.17 | -73.36 | 28.91 | 3.18 | -4 | -1 | -18 | 4.82 | 0 | 0 | -6
08:45 - 09:00 | 22.17 | -50 | 28.91 | 3.18 | -4 | -1 | -18 | 4.82 | 4.77 | 0 | -6
09:00 - 09:15 | 22.17 | 0 | 28.91 | 3.18 | -4 | -1 | -18 | 4.82 | 4.82 | 0 | -6
09:15 - 09:30 | 22.17 | 0 | 28.91 | 3.18 | -4 | -1 | -18 | 4.82 | 4.82 | 0 | -6
09:30 - 09:45 | 22.17 | 0 | 28.91 | 3.18 | -4 | -1 | -18 | 4.82 | 4.82 | 0 | -6
09:45 - 10:00 | 22.17 | 0 | 28.91 | 3.18 | -4 | -1 | -18 | 4.82 | 4.82 | 0 | -6
10:00 - 10:15 | 22.17 | 14.46 | 28.91 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
10:15 - 10:30 | 22.17 | 14.46 | 28.91 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
10:30 - 10:45 | 22.17 | 14.49 | 28.9 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
10:45 - 11:00 | 22.17 | 14.46 | 28.91 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
11:00 - 11:15 | 22.17 | 14.51 | 28.91 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
11:15 - 11:30 | 22.17 | 14.54 | 28.91 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
11:30 - 11:45 | 22.17 | 14.5 | 28.91 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
11:45 - 12:00 | 22.17 | 14.46 | 28.91 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
12:00 - 12:15 | 22.17 | 14.46 | 28.91 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
12:15 - 12:30 | 22.17 | 14.48 | 28.9 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
12:30 - 12:45 | 22.17 | 14.48 | 28.91 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
12:45 - 13:00 | 22.17 | 14.51 | 28.91 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
13:00 - 13:15 | 22.17 | 21.23 | 28.91 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
13:15 - 13:30 | 22.17 | 22.36 | 28.91 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
13:30 - 13:45 | 22.17 | 14.53 | 28.9 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
13:45 - 14:00 | 22.17 | 14.49 | 28.9 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
14:00 - 14:15 | 22.17 | 14.46 | 28.91 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
14:15 - 14:30 | 22.17 | 14.46 | 28.91 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
14:30 - 14:45 | 22.17 | 14.46 | 28.91 | 3.18 | 0 | -1 | -18 | 4.82 | 4.82 | 0 | -6
14:45 - 15:00 | 22.17 | 14.46 | 28.91 | 3.18 | -3.58 | -1 | -18 | 4.82 | 4.82 | 0 | -6
15:00 - 15:15 | 22.17 | 0 | 28.91 | 3.18 | -4 | -1 | -18 | 4.82 | 4.82 | 0 | -6
15:15 - 15:30 | 22.17 | 0 | 28.91 | 3.18 | -4 | -1 | -18 | 4.82 | 4.82 | 0 | -6
15:30 - 15:45 | 22.17 | 0 | 28.91 | 3.18 | -4 | -1 | -18 | 4.82 | 4.82 | 0 | -6
15:45 - 16:00 | 22.17 | 0 | 28.91 | 3.18 | -4 | -1 | -18 | 4.82 | 4.82 | 0 | -6
16:00 - 16:15 | 22.17 | -50.37 | 28.91 | 3.18 | -4 | -1 | -18 | 4.82 | 0 | 0 | -6
16:15 - 16:30 | 22.17 | -321.83 | 28.91 | 3.18 | -4 | -1 | -18 | 4.82 | 0 | 0 | -6
16:30 - 16:45 | 22.17 | -472.32 | 28.91 | 3.18 | -4 | -1 | -18 | 4.82 | 0 | -6 | -6
16:45 - 17:00 | 22.17 | -668.29 | 28.91 | 3.18 | -4 | -1 | -18 | 4.82 | 0 | -6 | -6
17:00 - 17:15 | 0 | -250 | 28.91 | 3.18 | -5 | -2 | -18 | 4.82 | 0 | -6 | -6
17:15 - 17:30 | 0 | -250 | 28.91 | 3.18 | -5 | -2 | -18 | 4.82 | 0 | -6 | -6
17:30 - 17:45 | 0 | -250 | 28.91 | 3.18 | -5 | -2 | -18 | 4.82 | 0 | -6 | -6
17:45 - 18:00 | 0 | -250 | 2.98 | 3.18 | -5 | -2 | -18 | 4.82 | 0 | -6 | -6
18:00 - 18:15 | 0 | 0 | 0 | 0 | -4 | -2 | -18 | 4.82 | 0 | 0 | -6
18:15 - 18:30 | 0 | 0 | 0 | 0 | -4 | -2 | -18 | 4.82 | 0 | 0 | -6
18:30 - 18:45 | 0 | -50 | 0 | 0 | -4 | -2 | -18 | 4.82 | 0 | 0 | -6
18:45 - 19:00 | 0 | 0 | 0 | 0 | -4 | -2 | -18 | 4.82 | 0 | 0 | -6
19:00 - 19:15 | 0 | -175 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | -10
19:15 - 19:30 | 0 | -175 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | -10
19:30 - 19:45 | 0 | -175 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | -10
19:45 - 20:00 | 0 | -175 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | -10
20:00 - 20:15 | 0 | -275 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | -10
20:15 - 20:30 | 0 | -275 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | -10
20:30 - 20:45 | 0 | -275 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | -10
20:45 - 21:00 | 0 | -275 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | -10
21:00 - 21:15 | 0 | -350 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | -10
21:15 - 21:30 | 0 | -350 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | -10
21:30 - 21:45 | 0 | -350 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | -10
21:45 - 22:00 | 0 | -350 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | -10
22:00 - 22:15 | 0 | -450 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | -10
22:15 - 22:30 | 0 | -450 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | -10
22:30 - 22:45 | 0 | -450 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | -10
22:45 - 23:00 | 0 | -450 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | 0 | -10
23:00 - 23:15 | 0 | -475 | 0 | 0 | -4 | -2 | 0 | 4.82 | 0 | 0 | -10
23:15 - 23:30 | 0 | -475 | 0 | 0 | -4 | -2 | 0 | 4.82 | 0 | 0 | -10
23:30 - 23:45 | 0 | -475 | 0 | 0 | -4 | -2 | 0 | 4.82 | 0 | 0 | -10
23:45 - 24:00 | 0 | -475 | 0 | 0 | -4 | -2 | 0 | 4.82 | 0 | 0 | -10
Average | 8.3137 | -186.1536 | 11.7753 | 2.12 | -3.7456 | -1.2917 | -13.625 | 3.7154 | 1.4555 | -1 | -7.6667

## GDAM
GDAM TRADING DETAILS FOR DT:16.08.2026
Time Period | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Sambalpur_Steel_Limited | Jagannath_Power_And_Infra_Private_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal
00:00 - 00:15 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 14.46 | -14 | 7.97 | 0 | 28.91 | 0
07:15 - 07:30 | 0 | 0 | 14.46 | -14 | 33.73 | 0 | 28.91 | 0
07:30 - 07:45 | 0 | 0 | 14.46 | -14 | 33.73 | 9.64 | 28.91 | 4.82
07:45 - 08:00 | 0 | 0 | 14.46 | -14 | 33.73 | 9.64 | 28.91 | 4.82
08:00 - 08:15 | 0 | 0 | 19.28 | -14 | 33.73 | 9.64 | 0 | 4.82
08:15 - 08:30 | 0 | 0 | 19.28 | -14 | 33.73 | 9.64 | 0 | 4.82
08:30 - 08:45 | 0 | 0 | 19.28 | -14 | 33.73 | 9.64 | 0 | 4.82
08:45 - 09:00 | 48.27 | 19.66 | 19.28 | -14 | 33.73 | 9.64 | 0 | 4.82
09:00 - 09:15 | 248.98 | 19.47 | 19.28 | -14 | 24.1 | 9.64 | 0 | 4.82
09:15 - 09:30 | 249 | 19.37 | 19.28 | -14 | 24.1 | 9.64 | 0 | 4.82
09:30 - 09:45 | 249.01 | 18.31 | 19.28 | -14 | 19.28 | 9.64 | 0 | 4.82
09:45 - 10:00 | 249 | 17.73 | 19.28 | -14 | 19.28 | 9.64 | 0 | 4.82
10:00 - 10:15 | 252.19 | 17.64 | 19.28 | -14 | 19.28 | 9.64 | 0 | 4.82
10:15 - 10:30 | 252.18 | 17.35 | 19.28 | -14 | 19.28 | 9.64 | 0 | 4.82
10:30 - 10:45 | 252.19 | 17.54 | 19.28 | -14 | 19.28 | 9.64 | 0 | 4.82
10:45 - 11:00 | 252.19 | 16.77 | 19.28 | -14 | 21.2 | 9.64 | 0 | 4.82
11:00 - 11:15 | 249.05 | 16.38 | 19.28 | -14 | 19.28 | 9.64 | 0 | 4.82
11:15 - 11:30 | 252.18 | 15.81 | 19.28 | -14 | 19.28 | 9.64 | 0 | 4.82
11:30 - 11:45 | 252.18 | 14.46 | 19.28 | -14 | 14.46 | 9.64 | 0 | 4.82
11:45 - 12:00 | 252.19 | 13.11 | 19.28 | -14 | 14.46 | 9.64 | 0 | 4.82
12:00 - 12:15 | 252.2 | 11.85 | 19.28 | -14 | 19.28 | 9.64 | 0 | 4.82
12:15 - 12:30 | 249 | 15.81 | 19.28 | -14 | 19.28 | 9.64 | 0 | 4.82
12:30 - 12:45 | 249 | 17.54 | 19.28 | -14 | 19.28 | 9.64 | 0 | 4.82
12:45 - 13:00 | 249.02 | 18.6 | 19.28 | -14 | 16.38 | 9.64 | 0 | 4.82
13:00 - 13:15 | 249.02 | 18.41 | 19.28 | -14 | 16.38 | 9.64 | 0 | 4.82
13:15 - 13:30 | 249.02 | 18.22 | 19.28 | -14 | 15.42 | 9.64 | 0 | 4.82
13:30 - 13:45 | 248.97 | 16.87 | 19.28 | -14 | 14.46 | 9.64 | 0 | 4.82
13:45 - 14:00 | 248.97 | 17.25 | 19.28 | -14 | 14.46 | 9.64 | 0 | 4.82
14:00 - 14:15 | 244.91 | 17.35 | 19.28 | -14 | 14.46 | 9.64 | 0 | 4.82
14:15 - 14:30 | 244.93 | 17.83 | 19.28 | -14 | 14.46 | 9.64 | 0 | 4.82
14:30 - 14:45 | 240.96 | 18.12 | 19.28 | -14 | 14.46 | 9.64 | 0 | 4.82
14:45 - 15:00 | 240.97 | 18.22 | 19.28 | -14 | 13.49 | 9.64 | 0 | 4.82
15:00 - 15:15 | 72.26 | 18.12 | 19.28 | -14 | 15.42 | 9.64 | 0 | 4.82
15:15 - 15:30 | 72.27 | 18.12 | 19.28 | -14 | 16.38 | 9.64 | 0 | 4.82
15:30 - 15:45 | 72.27 | 18.6 | 19.28 | -14 | 19.28 | 9.64 | 0 | 4.82
15:45 - 16:00 | 72.24 | 18.5 | 19.28 | -14 | 19.28 | 9.64 | 0 | 4.82
16:00 - 16:15 | 56.61 | 18.5 | 14.46 | -14 | 33.73 | 9.64 | 38.55 | 4.82
16:15 - 16:30 | 48.27 | 18.7 | 14.46 | -14 | 33.73 | 9.64 | 38.55 | 4.82
16:30 - 16:45 | 0 | 0 | 14.46 | -14 | 33.73 | 9.64 | 38.55 | 4.82
16:45 - 17:00 | 0 | 0 | 14.46 | -14 | 33.73 | 9.64 | 38.55 | 4.82
17:00 - 17:15 | 0 | 0 | 14.46 | -14 | 33.73 | 9.64 | 38.55 | 4.82
17:15 - 17:30 | 0 | 0 | 14.46 | -14 | 33.73 | 9.64 | 38.55 | 4.82
17:30 - 17:45 | 0 | 0 | 14.46 | -14 | 33.73 | 9.64 | 38.55 | 4.82
17:45 - 18:00 | 0 | 0 | 14.46 | -14 | 33.73 | 9.64 | 38.55 | 4.82
18:00 - 18:15 | 0 | 0 | 14.46 | -14 | 33.73 | 9.64 | 38.55 | 2.26
18:15 - 18:30 | 0 | 0 | 14.46 | -14 | 33.73 | 9.64 | 38.55 | 0.94
18:30 - 18:45 | 0 | 0 | 14.46 | -14 | 33.73 | 0 | 38.55 | 0
18:45 - 19:00 | 0 | 0 | 14.46 | -14 | 33.73 | 0 | 38.55 | 0
19:00 - 19:15 | 0 | 0 | 14.46 | -14 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | -14 | 0 | 0 | 0 | 0
Average | 66.8698 | 5.6272 | 13.2048 | -14 | 11.9197 | 4.4183 | 6.0233 | 2.1421

## RTM
RTM TRADING DETAILS FOR DT: 16.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | -0.2 | 0 | -0.2 | -1.2 | 0 | -91.74 | 0 | 4.82 | 0 | -0.7 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -1 | 0 | 0 | 0 | 72.28 | -9
00:15 - 00:30 | -0.2 | 0 | -0.2 | -1.2 | 0 | -78.91 | 0 | 4.82 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 0 | 0 | 10.6 | 0 | 0 | -4 | 0 | -1 | 0 | 0 | 67.47 | 72.28 | -9
00:30 - 00:45 | -0.2 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -1 | 0 | 0 | 0 | 72.29 | -9
00:45 - 01:00 | -0.2 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 4.82 | 0 | -0.7 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -1 | 0 | 8.67 | 0 | 72.29 | -9
01:00 - 01:15 | -0.2 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 2.89 | 0 | -0.7 | 0 | 0 | -3 | 0 | 0 | 0 | 0.4 | 0 | 0 | -4 | 0 | -1 | -20 | 8.67 | 0 | 72.3 | -9
01:15 - 01:30 | -0.2 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 2.89 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 0 | 0 | 10.6 | 0 | 0 | -4 | 0 | -1 | -40 | 8.67 | 67.47 | 72.28 | -9
01:30 - 01:45 | -0.2 | 0 | -0.2 | -1.2 | 0 | -152.22 | 0 | 2.89 | 0 | -0.7 | 0 | 13.95 | -3 | 0 | 0 | 0 | 10.6 | 0 | 0 | -6 | 0 | -1 | -20 | 8.67 | 0 | 81.93 | -7.7
01:45 - 02:00 | -0.2 | 0 | -0.2 | -1.2 | 0 | -151.71 | 0 | 2.89 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 0 | 0 | 10.6 | 0 | 0 | -6 | 0 | -1 | 0 | 8.67 | 67.47 | 81.92 | -7.7
02:00 - 02:15 | -0.2 | 0 | -0.2 | -1.2 | 0 | -150 | 0 | 1.93 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 0 | 0 | 10.6 | 0 | 0 | -6 | 0 | 0 | -40 | 8.67 | 67.47 | 81.92 | -7.7
02:15 - 02:30 | -0.2 | 0 | -0.2 | -1.2 | 0 | -139.48 | 0 | 1.93 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 0 | 0 | 10.6 | 0 | 15.42 | -6 | 0 | 0 | 0 | 8.67 | 67.47 | 81.92 | -7.7
02:30 - 02:45 | -0.2 | 0 | -0.2 | -1.2 | 0 | -110.46 | 0 | 1.93 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 0 | 0 | 10.6 | 0 | 15.42 | -6 | 0 | 0 | 0 | 8.67 | 67.47 | 81.92 | -7.7
02:45 - 03:00 | -0.2 | 0 | -0.2 | -1.2 | 0 | -125.72 | 0 | 1.93 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 0 | 0 | 10.6 | 0 | 0 | -6 | 0 | 0 | -40 | 8.67 | 79.03 | 81.92 | -7.7
03:00 - 03:15 | -0.2 | 0 | -0.2 | -1.2 | 0 | -125.01 | 0 | 0.96 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 4.82 | 0 | 10.6 | 0 | 15.42 | -6 | 0 | 0 | 0 | 8.67 | 79.03 | 243.05 | -7.7
03:15 - 03:30 | -0.2 | 0 | -0.2 | -1.2 | 0 | -125 | 0 | 0.96 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 4.82 | 0 | 10.6 | 0 | 15.42 | -6 | 0 | 0 | 0 | 8.67 | 79.03 | 273.72 | -7.7
03:30 - 03:45 | -0.2 | 0 | -0.2 | -1.2 | 0 | -151.43 | 0 | 0.96 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 0 | 0 | 10.6 | 0 | 0 | -6 | 0 | 0 | -10 | 8.67 | 79.04 | 78.07 | -7.7
03:45 - 04:00 | -0.2 | 0 | -0.2 | -1.2 | 0 | -151.42 | 0 | 0.96 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 0 | 0 | 10.6 | 0 | 0 | -6 | 0 | 0 | -10 | 8.67 | 81.93 | 76.14 | -7.7
04:00 - 04:15 | -0.2 | 0 | -0.2 | -1.2 | 0 | -226.42 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 0 | 0 | 10.6 | 0 | 0 | -6 | 0 | 0 | -10 | 8.67 | 81.92 | 92.53 | -5
04:15 - 04:30 | -0.2 | 0 | -0.2 | -1.2 | 0 | -175.72 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 0 | 0 | 10.6 | 0 | 0 | -6 | 0 | 0 | -30 | 8.67 | 81.92 | 91.57 | -5
04:30 - 04:45 | -0.2 | 0 | -0.2 | -1.2 | 0 | -100.04 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 4.82 | 0 | 10.6 | 0 | 15.42 | -6 | 0 | 0 | -10 | 8.67 | 81.92 | 142.57 | -4
04:45 - 05:00 | -0.2 | 0 | -0.2 | -1.2 | 0 | -170.02 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 0 | 0 | 10.6 | 0 | 15.42 | -6 | 0 | 0 | 0 | 8.67 | 81.92 | 91.57 | -4
05:00 - 05:15 | -0.2 | 0 | -0.2 | -1.2 | 0 | -52.15 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 0 | -2.2 | 10.6 | 0 | 0 | -6 | 0 | 0 | -30 | 8.67 | 0 | 91.56 | -4
05:15 - 05:30 | -0.2 | 0 | -0.2 | -1.2 | 0 | -53.57 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 0 | -2.2 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 7.6 | 0 | 91.57 | -4
05:30 - 05:45 | -0.2 | 0 | -0.6 | -1.2 | 0 | -156.35 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 0 | -2.2 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | 0 | 0 | 86.74 | -1
05:45 - 06:00 | -0.2 | 0 | -0.6 | -1.2 | 0 | -181.99 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 0 | -2.2 | 0 | 0 | 0 | -6 | 0 | 0 | -30 | 0 | 0 | 83.85 | -1
06:00 - 06:15 | -0.2 | 0 | -0.6 | -1.2 | 0 | -139.28 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 0 | -2.2 | 0 | 0 | 0 | -6 | 0 | 0 | -10 | 0 | 0 | 58.79 | -1
06:15 - 06:30 | -0.2 | 0 | -0.6 | -1.2 | 0 | -191.75 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 0 | -2.2 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 59.76 | -1
06:30 - 06:45 | -0.2 | -13 | -0.6 | -1.2 | 0 | -191.75 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 0 | -2.2 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 52.05 | -1
06:45 - 07:00 | -0.2 | 0 | -0.6 | -1.2 | 0 | -259.78 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 0 | -2.2 | 0 | 0 | 0 | -6 | 0 | 0 | -8 | 0 | 0 | 50.12 | -1
07:00 - 07:15 | -0.2 | 0 | -0.2 | -1.2 | 0 | -254.28 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 0 | -2.2 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 49.15 | -1
07:15 - 07:30 | -0.2 | 0 | -0.2 | -1.2 | 0 | -326.35 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | -3 | -0.1 | 0 | -2.2 | 15.42 | 0 | 0 | -6 | 0 | 0 | -35 | 8.67 | 67.46 | 47.23 | -1
07:30 - 07:45 | -0.2 | 0 | -0.2 | 0 | 0 | -328.45 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | -3 | -0.3 | 4.82 | -2.2 | 10.6 | 0 | 15.42 | -6 | 0 | 0 | -20 | 8.67 | 67.47 | 259.26 | -9
07:45 - 08:00 | -0.2 | 0 | -0.2 | 0 | 0 | -49.82 | 19.66 | 0 | 0 | -0.7 | 0 | 19.28 | -3 | 0 | 4.82 | -1.41 | 14.46 | 0 | 15.42 | 0 | 0 | 0 | 0 | 8.67 | 67.47 | 251.55 | -9
08:00 - 08:15 | -0.2 | -10 | -0.6 | 0 | 1.93 | 9.71 | 0 | 0 | 0 | -0.7 | -15 | 0 | -3 | -0.7 | 4.82 | -2.2 | 14.46 | 2.89 | 15.42 | -6 | 0 | 0 | -5 | 8.67 | 110.84 | 251.54 | -9
08:15 - 08:30 | -0.2 | 0 | -0.6 | 0 | 1.93 | 195.1 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | -0.9 | 4.82 | -2.2 | 14.46 | 2.89 | 15.42 | -6 | 0 | 0 | 0 | 8.67 | 101.2 | 189.87 | -9
08:30 - 08:45 | -0.2 | 0 | -0.6 | 0 | 1.93 | 263.64 | 19.37 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 2.89 | 15.42 | 0 | 1.93 | 0 | 0 | 8.67 | 57.83 | 165.77 | -9
08:45 - 09:00 | 0 | 0 | -0.6 | 0 | 1.93 | 264.59 | 0 | 0 | 0 | -0.7 | 0 | 0 | -1.24 | 0 | 4.82 | 0 | 14.46 | 2.89 | 15.42 | 0 | 1.93 | 0 | -4.14 | 8.67 | 57.83 | 136.86 | -9
09:00 - 09:15 | -0.2 | 0 | -0.2 | 0 | 1.93 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 2.89 | 15.42 | 0 | 1.93 | 0 | -40 | 8.67 | 57.83 | 222.63 | -9
09:15 - 09:30 | -0.2 | 0 | -0.2 | 0 | 1.93 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 2.89 | 12.53 | 0 | 1.93 | 0 | 0 | 8.67 | 43.37 | 296.85 | -9
09:30 - 09:45 | -0.2 | -4 | -0.2 | 0 | 1.93 | 125.29 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 2.89 | 12.53 | 0 | 1.93 | 0 | -5 | 8.67 | 19.28 | 361.42 | -9
09:45 - 10:00 | -0.2 | -5 | -0.2 | 0 | 1.93 | 125.32 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 2.89 | 12.53 | 0 | 1.93 | 0 | -30 | 8.67 | 19.28 | 435.63 | -9
10:00 - 10:15 | -0.2 | 0 | -0.2 | 0 | 1.93 | 77.12 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 2.89 | 12.53 | -3 | 1.93 | 0 | 0 | 8.67 | 91.56 | 468.41 | -9
10:15 - 10:30 | -0.2 | 0 | -0.2 | 0 | 1.93 | 77.14 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 2.89 | 12.53 | -3 | 1.93 | 0 | 0 | 8.67 | 91.56 | 472.26 | -9
10:30 - 10:45 | -0.2 | 0 | -0.2 | 0 | 1.93 | 240.95 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 3.86 | 12.53 | -3 | 1.93 | 0 | -20 | 8.67 | 91.56 | 494.42 | -9
10:45 - 11:00 | -0.2 | 0 | -0.2 | 0 | 1.93 | 265.05 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 3.86 | 12.53 | -3 | 1.93 | 0 | 0 | 8.67 | 91.56 | 526.22 | -9
11:00 - 11:15 | -0.2 | 0 | -0.2 | 0 | 1.93 | 274.72 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 3.86 | 12.53 | 0 | 1.93 | 0 | -15 | 8.67 | 57.83 | 544.54 | -9
11:15 - 11:30 | -0.2 | -4 | -0.2 | 0 | 1.93 | 274.71 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 3.86 | 12.53 | 0 | 1.93 | 0 | -30 | 8.67 | 57.83 | 545.5 | -9
11:30 - 11:45 | -0.2 | -4 | -0.2 | 0 | 1.93 | 238.51 | 0 | 0 | -4 | -0.7 | 0 | 0 | -3 | -2.5 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | -3 | 1.93 | 0 | 0 | 8.67 | 72.29 | 545.5 | -9
11:45 - 12:00 | -0.2 | 0 | -0.2 | 0 | 1.93 | 250.65 | 0 | 0 | -4 | -0.7 | 0 | 0 | -3 | -2.6 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | -3 | 1.93 | 0 | 0 | 8.67 | 72.29 | 545.5 | -9
12:00 - 12:15 | -0.2 | 0 | -0.2 | 0 | 1.93 | 96.38 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | -15 | 8.67 | 72.29 | 483.82 | -9
12:15 - 12:30 | -0.2 | 0 | -0.2 | 0 | 1.93 | 96.38 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | 0 | 8.67 | 72.29 | 422.14 | -9
12:30 - 12:45 | -0.2 | 0 | -0.2 | 0 | 1.93 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | 0 | 8.67 | 48.19 | 360.46 | -9
12:45 - 13:00 | -0.2 | 0 | -0.2 | 0 | 1.93 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | -5 | 8.67 | 48.19 | 297.81 | -9
13:00 - 13:15 | -0.2 | -12 | -0.6 | 0 | 1.93 | 9.73 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | 0 | 8.67 | 48.19 | 236.13 | -9
13:15 - 13:30 | -0.2 | 0 | -0.6 | 0 | 1.93 | 9.73 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | -10 | 8.67 | 48.19 | 174.45 | -9
13:30 - 13:45 | -0.2 | 0 | -0.6 | 0 | 1.93 | 57.91 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | -30 | 8.67 | 48.19 | 123.37 | -9
13:45 - 14:00 | -0.2 | 0 | -0.6 | 0 | 1.93 | 57.9 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | -25 | 8.67 | 48.19 | 123.36 | -9
14:00 - 14:15 | -0.2 | 0 | -0.6 | 0 | 1.93 | 53.03 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | 0 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | 0 | 8.67 | 48.19 | 110.83 | -9
14:15 - 14:30 | -0.2 | 0 | -0.6 | 0 | 1.93 | 48.2 | 0 | 0 | -3.4 | -0.7 | 0 | 0 | -3 | -2.9 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | -2.55 | 1.93 | 0 | 0 | 8.67 | 48.19 | 86.74 | -9
14:30 - 14:45 | -0.2 | -4 | -0.6 | 0 | 1.93 | 127.6 | 0 | 0 | -4 | -0.7 | 0 | 0 | -3 | -2.7 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | 0 | 8.67 | 48.19 | 58.79 | -9
14:45 - 15:00 | -0.2 | 0 | -0.6 | 0 | 1.93 | 72.29 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | -2.5 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | 0 | 8.67 | 48.19 | 16.38 | -9
15:00 - 15:15 | -0.2 | 0 | -0.6 | 0 | 1.93 | 59.69 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | -2.4 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | 0 | 8.67 | 48.19 | 32.77 | -9
15:15 - 15:30 | -0.2 | 0 | -0.6 | 0 | 1.93 | 107.9 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | -2.1 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | -5 | 8.67 | 48.19 | 23.13 | -9
15:30 - 15:45 | -0.2 | 0 | -0.6 | 0 | 1.93 | 153.05 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | -2 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | -20 | 8.67 | 48.19 | 30.84 | -9
15:45 - 16:00 | -0.2 | 0 | -0.6 | 0 | 1.93 | 144.67 | 0 | 0 | 0 | -0.7 | 0 | 0 | -3 | -1.9 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | 0 | 8.67 | 48.19 | 55.9 | -9
16:00 - 16:15 | -0.2 | -4 | -0.6 | 0 | 1.93 | -352.3 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | -3 | -1.7 | 4.82 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | 0 | 8.67 | 28.91 | 95.41 | -9
16:15 - 16:30 | -0.2 | 0 | -0.6 | 0 | 1.93 | -200.31 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | -3 | -1.6 | 4.82 | 0 | 10.6 | 5.78 | 12.53 | 0 | 1.93 | 0 | -10 | 8.67 | 28.91 | 143.61 | -9
16:30 - 16:45 | -0.2 | 0 | -0.6 | 0 | 1.93 | -250 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | -3 | -1.5 | 0 | 0 | 14.46 | 5.78 | 12.53 | 0 | 1.93 | 0 | 0 | 8.67 | 24.1 | 191.79 | -9
16:45 - 17:00 | -0.2 | 0 | -0.6 | 0 | 1.93 | -100 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | -3 | -1.4 | 0 | 0 | 10.6 | 5.78 | 12.53 | 0 | 1.93 | 0 | -10 | 8.67 | 24.1 | 225.52 | -9
17:00 - 17:15 | -0.2 | 0 | -0.2 | 0 | 0 | -679.99 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | -3 | -1.2 | 0 | 0 | 14.46 | 5.78 | 12.53 | 0 | 3.86 | 0 | -35 | 8.67 | 24.1 | 198.53 | -9
17:15 - 17:30 | -0.2 | -9 | -0.2 | 0 | 0 | -701.56 | 0 | 0 | 0 | -0.7 | 0 | 19.28 | -3 | -1.1 | 0 | 0 | 10.6 | 5.78 | 12.53 | 0 | 3.86 | 0 | -15 | 8.67 | 24.1 | 175.41 | -9
17:30 - 17:45 | -0.2 | 0 | -0.2 | 0 | 0 | -403.25 | 0 | 0 | -4 | -0.7 | 0 | 19.28 | -3 | -0.9 | 0 | 0 | 10.6 | 5.78 | 12.53 | 0 | 3.86 | 0 | 0 | 8.67 | 33.73 | 19.28 | -9.3
17:45 - 18:00 | -0.2 | 0 | -0.2 | 0 | 0 | -205.66 | 0 | 0 | -4 | -0.7 | 0 | 19.28 | -3 | -0.7 | 0 | 0 | 10.6 | 5.78 | 12.53 | 0 | 0 | 0 | -25 | 8.67 | 33.73 | 50.12 | -9.3
18:00 - 18:15 | -0.2 | 0 | -0.2 | 0 | 0 | -506.88 | 0 | 0 | -4 | -0.7 | 0 | 19.28 | 0 | -0.5 | 0 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 33.73 | 75.18 | -9.3
18:15 - 18:30 | -0.2 | 0 | -0.2 | 0 | 0 | -409.62 | 0 | 0 | -4 | -0.7 | 0 | 19.28 | 0 | -0.3 | 0 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 33.73 | 103.13 | -9.3
18:30 - 18:45 | -0.2 | 0 | -0.2 | 0 | 0 | -150 | 0 | 0 | -4 | -0.7 | 0 | 19.28 | 0 | 0 | 0 | 0 | 10.6 | 5.78 | 0 | 0 | 0 | 0 | -35 | 8.67 | 33.73 | 121.45 | -9.3
18:45 - 19:00 | -0.2 | 0 | -0.2 | 0 | 0 | -150 | 0 | 0 | -4 | -0.7 | -15 | 19.28 | 0 | 0 | 0 | 0 | 10.6 | 0 | 0 | 0 | 0 | 0 | 0 | 8.67 | 33.73 | 134.94 | -9.3
19:00 - 19:15 | -0.2 | 0 | -0.2 | -1 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 19.28 | 0 | 0 | 0 | 0 | 15.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38.55 | 135.89 | -9.3
19:15 - 19:30 | -0.2 | 0 | -0.2 | -1 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 135.9 | -9.3
19:30 - 19:45 | -0.2 | 0 | -0.2 | -1 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135.9 | -9.3
19:45 - 20:00 | -0.2 | 0 | -0.2 | -1 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135.9 | -9.3
20:00 - 20:15 | -0.2 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 100.24 | -9.3
20:15 - 20:30 | -0.2 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 84.81 | -9.3
20:30 - 20:45 | -0.2 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 74.21 | -9.7
20:45 - 21:00 | -0.2 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60.72 | -9.7
21:00 - 21:15 | -0.2 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64.57 | -9.7
21:15 - 21:30 | -0.2 | 0 | -0.2 | -1.2 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 64.57 | -9.7
21:30 - 21:45 | -0.2 | 0 | -0.6 | -1.2 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 66.5 | -9.7
21:45 - 22:00 | -0.2 | 0 | -0.6 | -1.2 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 66.5 | -9.7
22:00 - 22:15 | -0.2 | 0 | -0.6 | -1.2 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 68.43 | -9.7
22:15 - 22:30 | -0.2 | 0 | -0.6 | -1.2 | 0 | 0 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68.43 | -9.7
22:30 - 22:45 | -0.2 | 0 | -0.2 | 0 | 0 | 84.92 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 103.13 | -9
22:45 - 23:00 | -0.2 | 0 | -0.2 | 0 | 0 | 99.63 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 103.12 | -9
23:00 - 23:15 | -0.2 | 0 | -0.2 | -1.2 | 0 | 111.92 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92.52 | -9
23:15 - 23:30 | -0.2 | 0 | -0.2 | -1.2 | 0 | 118.81 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 92.52 | -9
23:30 - 23:45 | -0.2 | 0 | -0.2 | -1.2 | 0 | 61.29 | 0 | 0 | -4 | -0.7 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 72.28 | -9
23:45 - 24:00 | -0.2 | 0 | -0.2 | -1.2 | 0 | 92.5 | 0 | 0 | -4 | -0.7 | 0 | 19.28 | 0 | 0 | 0 | -4 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.73 | 57.83 | -9
Average | -0.19792 | -0.71875 | -0.325 | -0.59167 | 0.72375 | -43.4829 | 0.40656 | 0.39146 | -1.2438 | -0.7 | -0.3125 | 6.7728 | -2.2317 | -0.35937 | 1.9581 | -0.95844 | 8.7794 | 2.0875 | 6.6564 | -2.1516 | 0.80417 | -0.083333 | -10.0744 | 5.8592 | 38.2815 | 159.9404 | -8.0021