## POWER STATUS
POWER STATUS ON DT 18.08.2026
[9 empty] | 2026-08-18 | 2026-08-17
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 19:00
Demand -> | [8 empty] | 5501.4308 | 5686.5641
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 218.583 | 5.246 | 630/590 ft | 613.52 | 618.77 | 619.75 | 225.5173 | 222.7393
| Chiplima | 72(3x24) | 44.208 | 1.061 | - |  |  |  | 58.6758 | 52.7071
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1468.4 | 1465.6 | 1466.2 | 0 | 0
| Rengali | 250(5x50) | 223.1917 | 5.3566 | 123.5/109.75 mt | 121.09 | 123.24 | 122.85 | 232.2425 | 223.9909
| Upper Kolab | 320(4x80) | 26.17 | 0.62808 | 858/844 mt | 852.82 | 850.48 | 850.56 | 22.5207 | 23.0048
| Upper Indravati | 600(4x150) | 0 | 0 | 642/625 mt | 634.86 | 634.41 | 634.48 | 0.2905 | 0.28842
| Machkund | 60(50% of(3x17+3x23)) | 10.04 | 0.24096 | 2750/2685 ft | 2743.4 | 2724.1 | 2724.5 | 15.9784 | 13.5807
| Total Hydro | 2099.5 | 522.1927 | 12.5326 |  |  |  |  | 555.2253 | 536.3112
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1677.8556 | 40.2685 | RENEWABLE ENERGY (RE) |  |  |  | 1683.4384 | 1677.7242
[5 empty] | M.Hydl | 97.99
| Total Thermal | 2200 | 1677.8556 | 40.2685 | Solar | 62.9638 |  |  | 1683.4384 | 1677.7242
IPP | VEDANTA #2 | 600 (1x600) | 395.2459 | 9.4859 | Total IPPs | Yesterday's Demand Profile |  |  | 365.0977 | 393.4964
| GMR #3 | 350 (1x350) | 318.6779 | 7.6483 | 810.2227 |  | MW | HRS | 326.8581 | 327.0434
| NBVL(IPP) | 60(1x60) | 49.2786 | 1.1827 |  |  |  |  | 47.3924 | 54.5572
| MDTPC |  | 47.0202 | 1.1285 |  |  |  |  | 31.7582 | 56.4448
| CGPs |  | 686.7963 | 16.4831 | IPPs, CGPs & RE | Maximum | 5747.8852 | 13:00 | 1526.937 | 1636.6088
| Central Sector(Drawl) |  | 1453.6671 | 34.888 | 1657.9727 | Minimum | 4818.54 | 04:00 | 1735.8301 | 1835.9199
| Central Sector(Sch) |  | 1594.4711 | 38.2673 |  | Average | 5311.6882 |  | 2374.6599 | 1813.8143
| Grand Total |  | 5311.6882 | 127.4805 | Instantaneous Peak demand |  | 5923.4282 | 19:02 | 5501.4308 | 5686.5641
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1511.7126 | 36.2811 | 1437.8323 | 34.508 | 1517.0247 | 36.4086
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1704.9745 | 40.9194 | 1735.5019 | 41.652 | 1559.3891 | 37.4253
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1282.5109 | 30.7803 | 1230.5391 | 29.5329 | 1119.0217 | 26.8565
U.Kolab | 1,2,3 | KAHALGAON | NIL | TPSODL | 579.2129 | 13.9011 | 567.6997 | 13.6248 | 589.0753 | 14.1378
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5078.4109 | 121.8819 | 4971.573 | 119.3178 | 4784.5108 | 114.8283
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 365.0977 | GMR |  |  |  | 326.8581
| NBVL #3 | 47.3924 | MDTPC |  |  |  | 31.7582
Mini Hydel: | MEENAKSHI | 40.6443 | OPCL |  |  |  | 0
| BTPL | 0 | SAPTADHARA |  |  |  | 20
Solar: |  |  | KAKATIYA |  |  |  | 5
CGPs : | JSPL (Angul) | 59.8801 | JSL(Duburi) |  |  |  | -12.9164
| ICCL | 38.5972 | visa |  |  |  | 7.8696
| NALCO | -133.4176 | VAL (CGP) |  |  |  | 204.7741
| RSP | -41.5718 | BSL(MMDL) |  |  |  | -59.5339
| INDAL | -7.5665 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -37.6593 | VAL CPP 400 kV |  |  |  | -603.2805
| NBVL | 48.0356 | Arati |  |  |  | 22.5965
| BPSL(JSG) | -147.1549 | BPPL |  |  |  | 61.9187
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-10 | 2026-08-11 | 2026-08-12 | 2026-08-13 | 2026-08-14 | 2026-08-15 | 2026-08-16 | 2026-08-17
568.115 | 673.055 | 742.7938 | 722.2608 | 709.267 | 746.39 | 640.78 | 522.1927
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.17.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | -4.69 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0.09
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.75 | AGE26AL_PSS6_KPS1_S | ODISHA | 118.93
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -14.17 | AP41PL_BHDL | ODISHA | 58.79
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -5.83 | AP43PL_BKN | ODISHA | 94.79
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.94
JSPLANGUL | GEB_Beneficiary | -26.26 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 11.71
JSPLANGUL | RUVITSL | -22.09 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | AWEK1L | ODISHA | 17.56
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | DALCEMAP | -2 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.13
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCBLME | -4 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 35.31
ODISHA | CESC | -25 | DCBL_Rajgangpur | DCL_RCW | -4.62 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.62
FARIDABAD_SOLAR | ODISHA | 0.86 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -3.75 | DADRI_SOLAR | ODISHA | 0.63
JSWEL_UTKAL | ODISHA | 66.18 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | ENERSON_SOLAR_10MW | ODISHA | 0.22
RAJ_SOLAR | ODISHA | 2.51 | FACORPOWER | PSPCL | -14.17 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.46 | FACORPOWER | PSPCL | -1.46 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | FACORPOWER | PSPCL | -5.83 | GADAG_GreenInfra_W | ODISHA | 0.85
|  |  | FACORPOWER | PSPCL | -3.54 | GADAG_Serentica3_S | VLSEZ | 33.48
|  |  | JSPLANGUL | RUVITSL | -53.65 | GADAG_Serentica3_W | VLSEZ | 87.03
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GIWEL_SECI_II_RE | ODISHA | 47.27
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GPCL_SOLAR_10 | ODISHA | 0.72
|  |  | NBVLIPP | BSPHCL | -14.38 | GSECL_SOLAR | ODISHA | 0.57
|  |  | NBVLIPP | BSPHCL | -3.54 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.18
|  |  | OCL_IRON_STEEL | BRPL | -10 | KARUR_TPVARDHAMAN_W | TSKPO | 111.65
|  |  | OCL_IRON_STEEL | TPDDL | -5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
|  |  | ODISHA | TANGEDCO | -6.25 | Kurnool_Greenko_H_Inj | ADITYAAL | 5.6
|  |  | ODISHA | TANGEDCO | -20.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.04
|  |  | ORSISL | PSPCL | -2.83 | NTPCRE1_SMND_BHJ2_W | ODISHA | 7.07
|  |  | ORSISL | PSPCL | -1.17 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 8.94
|  |  | ORSISL | TANGEDCO | -0.62 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 12.7
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 2.09
|  |  | Shri_JSPL | TANGEDCO | -0.5 | OKWPL_RE | ODISHA | 25.71
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 9.23
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | RWE_AP2_SECI_III | ODISHA | 23.56
|  |  | VSL | WBSEDCL | -4.17 | RenewGreen_SLPR_HS | JSL_DUBURI | 15.13
|  |  | JIPL | ODISHA | 115.76 | SRI9PL_FTG3 | VLSEZ | 90.92
|  |  | NALCOAP | NACL_Odisha | 22.19 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.12
|  |  | TSTPP_I | ODISHA | 10.1 | TSESOPL_BKN2 | OPL_CUTTAK | 0.14
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 65.56
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 8.58
[6 empty] | XXPPL_FTG3 | ODISHA | 69.37

## DAM
DAM TRADING DETAILS FOR DT : 17.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited | Visa_Steel_Limited
00:00 - 00:15 | -2.5 | 0 | 0 | -375 | 0 | -4 | -1 | 0 | 0 | 0 | -6
00:15 - 00:30 | -2.5 | 0 | 0 | -375 | 0 | -4 | -1 | 0 | 0 | 0 | -6
00:30 - 00:45 | -2.5 | 0 | 0 | -375 | 0 | -4 | -1 | 0 | 0 | 0 | -6
00:45 - 01:00 | -2.5 | 0 | 0 | -375 | 0 | -4 | -1 | 0 | 0 | 0 | -6
01:00 - 01:15 | -2.5 | 0 | 0 | -575 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
01:15 - 01:30 | -2.5 | 0 | 0 | -575 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
01:30 - 01:45 | -2.5 | 0 | 0 | -573.92 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
01:45 - 02:00 | -2.5 | 0 | 0 | -557.05 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
02:00 - 02:15 | -2.5 | 0 | 0 | -325 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
02:15 - 02:30 | -2.5 | 0 | 0 | -325 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
02:30 - 02:45 | -2.5 | 0 | 0 | -325 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
02:45 - 03:00 | -2.5 | 0 | 0 | -325 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
03:00 - 03:15 | -2.5 | 0 | 0 | -300 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
03:15 - 03:30 | -2.5 | 0 | 0 | -300 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
03:30 - 03:45 | -2.5 | 0 | 0 | -300 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
03:45 - 04:00 | -2.5 | 0 | 0 | -300 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
04:00 - 04:15 | -2.5 | 0 | 0 | -275 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
04:15 - 04:30 | -2.5 | 0 | 0 | -275 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
04:30 - 04:45 | -2.5 | 0 | 0 | -275 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
04:45 - 05:00 | -2.5 | 0 | 0 | -364.5 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
05:00 - 05:15 | -2.5 | 0 | 0 | -550 | 0 | -4 | -2 | -43 | 0 | 0 | -6
05:15 - 05:30 | -2.5 | 0 | 0 | -600 | 0 | -4 | -2 | -43 | 0 | 0 | -6
05:30 - 05:45 | -2.5 | 0 | 0 | -600 | 0 | -4 | -2 | -43 | 0 | 0 | -6
05:45 - 06:00 | -2.5 | 0 | 0 | -600 | 0 | -4 | -2 | -43 | 0 | 0 | -6
06:00 - 06:15 | -2.5 | 0 | 0 | -775 | 0 | -10 | -2 | -43 | 0 | -6 | -6
06:15 - 06:30 | -2.5 | 0 | 0 | -775 | 0 | -10 | -2 | -43 | 0 | -6 | -6
06:30 - 06:45 | -2.5 | 0 | 0 | -775 | 0 | -10 | -2 | -43 | 0 | -6 | -6
06:45 - 07:00 | -2.5 | 0 | 0 | -775 | 0 | -10 | -2 | -43 | 0 | -6 | -6
07:00 - 07:15 | -2.5 | 0 | 0 | -800 | 0 | -10 | -2 | -43 | 0 | -6 | -6
07:15 - 07:30 | -2.5 | 0 | 0 | -800 | 0 | -10 | -2 | -43 | 0 | -6 | -6
07:30 - 07:45 | -2.5 | 0 | 0 | -800 | 0 | -10 | -2 | -43 | 0 | -6 | -6
07:45 - 08:00 | -2.5 | 0 | 0 | -750 | 0 | -10 | -2 | -43 | 0 | -6 | -6
08:00 - 08:15 | -2.5 | 22.19 | 0 | -825 | 0 | -4 | -1 | -43 | 0 | -6 | -6
08:15 - 08:30 | -2.5 | 22.19 | 0 | -825 | 0 | -4 | -1 | -43 | 0 | -6 | -6
08:30 - 08:45 | -2.5 | 22.19 | 0 | -724.62 | 0 | -4 | -1 | -43 | 4.82 | -6 | -6
08:45 - 09:00 | -2.5 | 22.19 | 0 | -500 | 0 | -4 | -1 | -43 | 4.82 | -6 | -6
09:00 - 09:15 | -2.5 | 22.19 | 0 | -658.39 | 28.94 | -4 | -1 | -18 | 4.82 | -6 | -6
09:15 - 09:30 | -2.5 | 22.19 | 0 | -451.31 | 28.94 | -4 | -1 | -18 | 4.82 | -6 | -6
09:30 - 09:45 | -2.5 | 22.19 | 0 | -339.66 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
09:45 - 10:00 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
10:00 - 10:15 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
10:15 - 10:30 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
10:30 - 10:45 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
10:45 - 11:00 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
11:00 - 11:15 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
11:15 - 11:30 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
11:30 - 11:45 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
11:45 - 12:00 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
12:00 - 12:15 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
12:15 - 12:30 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
12:30 - 12:45 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
12:45 - 13:00 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
13:00 - 13:15 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
13:15 - 13:30 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
13:30 - 13:45 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
13:45 - 14:00 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
14:00 - 14:15 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
14:15 - 14:30 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
14:30 - 14:45 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
14:45 - 15:00 | -2.5 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
15:00 - 15:15 | -2.5 | 22.19 | 0 | -422.82 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
15:15 - 15:30 | -2.5 | 22.19 | 0 | -486.75 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | -6
15:30 - 15:45 | -2.5 | 22.19 | 0 | -647.65 | 28.94 | -4 | -1 | -18 | 4.82 | -6 | -6
15:45 - 16:00 | -2.5 | 22.19 | 0 | -1075 | 28.94 | -4 | -1 | -18 | 4.82 | -6 | -6
16:00 - 16:15 | -2.5 | 22.19 | 0 | -675 | 0 | -4 | -1 | -43 | 4.82 | -6 | -6
16:15 - 16:30 | -2.5 | 22.19 | 0 | -959.42 | 0 | -4 | -1 | -43 | 4.82 | -6 | -6
16:30 - 16:45 | -2.5 | 22.19 | 0 | -1075 | 0 | -4 | -1 | -43 | 4.82 | -6 | -6
16:45 - 17:00 | -2.5 | 22.19 | 0 | -1075 | 0 | -4 | -1 | -43 | 4.82 | -6 | -6
17:00 - 17:15 | -2.5 | 0 | 0 | -718.37 | 0 | -5 | -2 | -43 | 4.82 | -6 | -6
17:15 - 17:30 | -2.5 | 0 | 0 | -709.68 | 0 | -5 | -2 | -43 | 4.82 | -6 | -6
17:30 - 17:45 | -2.5 | 0 | 0 | -675.06 | 0 | -5 | -2 | -43 | 4.82 | -6 | -6
17:45 - 18:00 | -2.5 | 0 | 0 | -765.27 | 0 | -5 | -2 | -43 | 4.82 | -6 | -6
18:00 - 18:15 | -2.5 | 0 | 0 | -300 | 0 | -4 | -2 | -43 | 4.82 | 0 | -10
18:15 - 18:30 | -2.5 | 0 | 0 | -300 | 0 | -4 | -2 | -43 | 4.82 | 0 | -10
18:30 - 18:45 | -2.5 | 0 | 0 | -200 | 0 | -4 | -2 | -43 | 0 | 0 | -10
18:45 - 19:00 | -2.5 | 0 | 0 | 0 | 0 | -4 | -2 | -43 | 0 | 0 | -10
19:00 - 19:15 | -2.5 | 0 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | -10
19:15 - 19:30 | -2.5 | 0 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | -10
19:30 - 19:45 | -2.5 | 0 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | -10
19:45 - 20:00 | -2.5 | 0 | 0 | 0 | 0 | -4 | -2 | 0 | 0 | 0 | -10
20:00 - 20:15 | -2.5 | 0 | -10 | -50 | 0 | -4 | -2 | 0 | 0 | 0 | -10
20:15 - 20:30 | -2.5 | 0 | -10 | -50 | 0 | -4 | -2 | 0 | 0 | 0 | -10
20:30 - 20:45 | -2.5 | 0 | -10 | -50 | 0 | -4 | -2 | 0 | 0 | 0 | -10
20:45 - 21:00 | -2.5 | 0 | -10 | -50 | 0 | -4 | -2 | 0 | 0 | 0 | -10
21:00 - 21:15 | -2.5 | 0 | -10 | -100 | 0 | -4 | -2 | 0 | 0 | 0 | -10
21:15 - 21:30 | -2.5 | 0 | -10 | -100 | 0 | -4 | -2 | 0 | 0 | 0 | -10
21:30 - 21:45 | -2.5 | 0 | -10 | -100 | 0 | -4 | -2 | 0 | 0 | 0 | -10
21:45 - 22:00 | -2.5 | 0 | -10 | -100 | 0 | -4 | -2 | 0 | 0 | 0 | -10
22:00 - 22:15 | -2.5 | 0 | -10 | -150 | 0 | -4 | -2 | 0 | 0 | 0 | -10
22:15 - 22:30 | -2.5 | 0 | -10 | -150 | 0 | -4 | -2 | 0 | 0 | 0 | -10
22:30 - 22:45 | -2.5 | 0 | -10 | -150 | 0 | -4 | -2 | 0 | 0 | 0 | -10
22:45 - 23:00 | -2.5 | 0 | -10 | -150 | 0 | -4 | -2 | 0 | 0 | 0 | -10
23:00 - 23:15 | -2.5 | 0 | -10 | -150 | 0 | -4 | -2 | 0 | 0 | 0 | -10
23:15 - 23:30 | -2.5 | 0 | -10 | -150 | 0 | -4 | -2 | 0 | 0 | 0 | -10
23:30 - 23:45 | -2.5 | 0 | -10 | -150 | 0 | -4 | -2 | 0 | 0 | 0 | -10
23:45 - 24:00 | -2.5 | 0 | -10 | -150 | 0 | -4 | -2 | 0 | 0 | 0 | -10
Average | -2.5 | 8.3213 | -1.6667 | -336.2445 | 8.4408 | -4.5417 | -1.4167 | -17.7917 | 2.8117 | -1.5 | -7

## GDAM
GDAM TRADING DETAILS FOR DT:17.08.2026
Time Period | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Kalinga_Nagar
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 5.54 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 14.47 | 0 | 0 | 6.27 | 0
07:45 - 08:00 | 0 | 0 | 14.47 | 0 | 0 | 6.27 | 0.34
08:00 - 08:15 | 0 | 0 | 14.47 | 0 | 0 | 6.27 | 0
08:15 - 08:30 | 0 | 0 | 14.47 | 0 | 0 | 6.27 | 0
08:30 - 08:45 | 0 | 0 | 14.47 | 0 | 0 | 6.27 | 0
08:45 - 09:00 | 0 | 0 | 14.47 | 25.08 | 9.65 | 6.27 | 0
09:00 - 09:15 | 0 | 0 | 14.47 | 21.22 | 9.65 | 6.27 | 0
09:15 - 09:30 | 70.73 | 0 | 14.47 | 21.22 | 9.65 | 6.27 | 0
09:30 - 09:45 | 0 | 0 | 14.47 | 21.22 | 9.65 | 6.27 | 0
09:45 - 10:00 | 0 | 0 | 14.47 | 20.26 | 9.65 | 6.27 | 0
10:00 - 10:15 | 116.44 | 0 | 14.47 | 19.29 | 9.65 | 6.27 | 0
10:15 - 10:30 | 68.5 | 0 | 14.47 | 16.4 | 9.65 | 6.27 | 0
10:30 - 10:45 | 48.76 | 0 | 14.47 | 13.51 | 9.65 | 6.27 | 0
10:45 - 11:00 | 192.68 | 16.88 | 14.47 | 8.68 | 9.65 | 6.27 | 0
11:00 - 11:15 | 91.43 | 0 | 14.47 | 6.75 | 9.65 | 6.27 | 0
11:15 - 11:30 | 113.44 | 0 | 14.47 | 5.79 | 9.65 | 6.27 | 0
11:30 - 11:45 | 133.71 | 0 | 14.47 | 4.82 | 9.65 | 6.27 | 0
11:45 - 12:00 | 0 | 0 | 14.47 | 3.86 | 9.65 | 6.27 | 0
12:00 - 12:15 | 146.73 | 0 | 14.47 | 7.72 | 9.65 | 6.27 | 0
12:15 - 12:30 | 151.75 | 13.31 | 14.47 | 7.72 | 9.65 | 6.27 | 0
12:30 - 12:45 | 151.38 | 12.23 | 14.47 | 7.72 | 9.65 | 6.27 | 0
12:45 - 13:00 | 151.38 | 12.13 | 14.47 | 7.72 | 9.65 | 6.27 | 0
13:00 - 13:15 | 151.43 | 14.49 | 14.47 | 9.65 | 9.65 | 6.27 | 0
13:15 - 13:30 | 138.72 | 0 | 14.47 | 10.61 | 9.65 | 6.27 | 0
13:30 - 13:45 | 130.72 | 0 | 14.47 | 12.54 | 9.65 | 6.27 | 0
13:45 - 14:00 | 0 | 0 | 14.46 | 13.51 | 9.65 | 6.27 | 0
14:00 - 14:15 | 55.78 | 0 | 14.47 | 13.51 | 9.65 | 6.27 | 0
14:15 - 14:30 | 101.09 | 0 | 14.47 | 13.51 | 9.65 | 6.27 | 0
14:30 - 14:45 | 94.82 | 0 | 14.47 | 12.54 | 9.65 | 6.27 | 0
14:45 - 15:00 | 165.74 | 14.08 | 14.47 | 5.79 | 9.65 | 6.27 | 0
15:00 - 15:15 | 0 | 0 | 14.47 | 4.82 | 9.65 | 6.27 | 0
15:15 - 15:30 | 0 | 0 | 14.47 | 5.79 | 9.65 | 6.27 | 0
15:30 - 15:45 | 0 | 0 | 14.47 | 5.79 | 9.65 | 6.27 | 0
15:45 - 16:00 | 0 | 0 | 14.47 | 5.79 | 9.65 | 6.27 | 0
16:00 - 16:15 | 0 | 0 | 14.47 | 22.19 | 9.65 | 6.27 | 38.58
16:15 - 16:30 | 0 | 0 | 14.47 | 23.15 | 9.65 | 6.27 | 38.59
16:30 - 16:45 | 0 | 0 | 14.47 | 24.12 | 0 | 6.27 | 38.59
16:45 - 17:00 | 0 | 0 | 14.47 | 26.05 | 0 | 6.27 | 38.59
17:00 - 17:15 | 0 | 0 | 14.47 | 29.91 | 0 | 6.27 | 31.69
17:15 - 17:30 | 0 | 0 | 14.47 | 35.69 | 0 | 6.27 | 24.91
17:30 - 17:45 | 0 | 0 | 14.47 | 38.59 | 0 | 6.27 | 0
17:45 - 18:00 | 0 | 0 | 14.47 | 38.59 | 0 | 6.27 | 0
18:00 - 18:15 | 0 | 0 | 8.2 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | 23.7003 | 0.86583 | 6.6244 | 5.9492 | 3.1161 | 2.7431 | 2.2009

## RTM
RTM TRADING DETAILS FOR DT: 17.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | -0.2 | 0 | -0.2 | -1.2 | 0 | 0 | -30.06 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.68 | 0 | 0 | 0 | 47.28 | -9.5
00:15 - 00:30 | -0.2 | 0 | -0.2 | -1.2 | 0 | 0 | -67.2 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.84 | -9.5
00:30 - 00:45 | -0.2 | 0 | -0.8 | -1.2 | 0 | 0 | -50.82 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5
00:45 - 01:00 | -0.2 | 0 | -0.8 | -1.2 | 0 | 0 | -50.1 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5
01:00 - 01:15 | -0.2 | 0 | -0.5 | -1.2 | 0 | 0 | 28.91 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -15 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5
01:15 - 01:30 | -0.2 | 0 | -0.5 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -15 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5
01:30 - 01:45 | -0.2 | 0 | -0.5 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.68 | -0.7 | 0 | 19.29 | 0 | -3 | 4.82 | 9.65 | 0 | 0 | -15 | 0 | 0 | 0 | 8.68 | 48.24 | 0 | 0 | 0 | -9.5
01:45 - 02:00 | -0.2 | 0 | -0.5 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.68 | -0.7 | 0 | 19.29 | 0 | -3 | 4.82 | 9.65 | 0 | 0 | -14.99 | 0.3 | 0 | 0 | 8.68 | 48.24 | 0 | 0 | 0 | -9.5
02:00 - 02:15 | -0.2 | 0 | -0.5 | -1.3 | 0 | 0 | -131.04 | 0 | 0 | 0 | 0 | 8.68 | -0.7 | 0 | 19.29 | 0 | -3 | 3.86 | 9.65 | 0 | 19.29 | 0 | 0.96 | -10 | 0 | 8.68 | 48.25 | 0 | 0 | 0 | -9.5
02:15 - 02:30 | -0.2 | 0 | -0.5 | -1.3 | 0 | 0 | -50.52 | 0 | 0 | 0 | 0 | 8.68 | -0.7 | 0 | 19.29 | 0 | -3 | 3.86 | 9.65 | 0 | 0 | 0 | 0 | 0 | 0 | 8.68 | 48.24 | 0 | 0 | 0 | -9.5
02:30 - 02:45 | -0.2 | 0 | -0.5 | -1.3 | 0 | 0 | -107.48 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 19.29 | 0 | -3 | 3.86 | 9.65 | 0 | 0 | 0 | 0 | -15 | 0 | 8.68 | 0 | 0 | 0 | 0 | -9.5
02:45 - 03:00 | -0.2 | 0 | -0.5 | -1.3 | 0 | 0 | -107.5 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 19.29 | 0 | -3 | 3.86 | 9.65 | 0 | 0 | 0 | 0 | -30 | 0 | 8.68 | 0 | 0 | 0 | 0 | -9.5
03:00 - 03:15 | -0.2 | 0 | -0.5 | 0 | 0 | 0 | -165.02 | 0 | 0 | 9.65 | 0 | 8.68 | -0.7 | 0 | 19.29 | 0 | -3 | 3.86 | 0 | 0 | 15.44 | 0 | 0.96 | -5 | 0 | 8.68 | 57.88 | 4.82 | 0 | 149.54 | -9.5
03:15 - 03:30 | -0.2 | 0 | -0.5 | -1.3 | 0 | 0 | -100.6 | 0 | 0 | 0 | 0 | 8.68 | -0.7 | 0 | 19.29 | 0 | -3 | 3.86 | 0 | 0 | 15.44 | 0 | 0.96 | 0 | 0 | 8.68 | 57.89 | 0 | 0 | 0 | -9.5
03:30 - 03:45 | -0.2 | 0 | -0.5 | -1.4 | 0 | 0 | -170.55 | 0 | 0 | 0 | 0 | 8.68 | -0.7 | 0 | 19.29 | 0 | -3 | 3.86 | 0 | 0 | 15.44 | 0 | 0.96 | -15 | 0 | 8.68 | 57.89 | 0 | 0 | 0 | -9.5
03:45 - 04:00 | -0.2 | 0 | -0.5 | -1.4 | 0 | 0 | -122.54 | 0 | 0 | 0 | 0 | 8.68 | -0.7 | 0 | 19.29 | 0 | -3 | 3.86 | 0 | 0 | 0 | 0 | 0.96 | 0 | 0 | 8.68 | 57.89 | 0 | 0 | 0 | -9.5
04:00 - 04:15 | -0.2 | 0 | -0.5 | 0 | 0 | 0 | -174.92 | 0 | 0 | 9.65 | 0 | 8.68 | -0.7 | 0 | 19.29 | 0 | -3 | 5.79 | 0 | 0 | 15.44 | 0 | 0.96 | 0 | 0 | 8.68 | 57.89 | 4.82 | 0 | 0 | -9.5
04:15 - 04:30 | -0.2 | 0 | -0.5 | 0 | 0 | 0 | -73.52 | 0 | 0 | 9.65 | 0 | 8.68 | -0.7 | 0 | 19.29 | 0 | -3 | 5.79 | 0 | 0 | 15.44 | 0 | 0.96 | -20 | 0 | 8.68 | 57.89 | 4.82 | 0 | 0 | -9.5
04:30 - 04:45 | -0.2 | 0 | -0.5 | 0 | 0 | 0 | -145.01 | 0 | 0 | 7.55 | 0 | 8.68 | -0.7 | 0 | 19.29 | 0 | -3 | 3.86 | 0 | 3.86 | 15.44 | 0 | 0.96 | -30 | 0 | 8.68 | 67.54 | 3.77 | 0 | 0 | -9.5
04:45 - 05:00 | -0.2 | 0 | -0.5 | -1.4 | 0 | 0 | -114.49 | 0 | 0 | 0 | 0 | 8.68 | -0.7 | 0 | 19.29 | 0 | -3 | 3.86 | 0 | 3.86 | 15.44 | 0 | 0.96 | -10 | 0 | 8.68 | 67.54 | 0 | 0 | 0 | -9.5
05:00 - 05:15 | -0.2 | 0 | -0.5 | -1.4 | 0 | 0 | -132.38 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 19.29 | 0 | -3 | 8.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.68 | 58.19 | 0 | 0 | 0 | -9.5
05:15 - 05:30 | -0.2 | 0 | -0.5 | -1.4 | 0 | 0 | -85.02 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.68 | 0 | 0 | 0 | 0 | -9.5
05:30 - 05:45 | -0.2 | 0 | -1.1 | -1.4 | 0 | 0 | -144.31 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5
05:45 - 06:00 | -0.2 | 0 | -1.1 | -1.4 | 0 | 0 | -187.52 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 1.17 | 0 | 0 | 0 | 0 | -9.5
06:00 - 06:15 | -0.2 | 0 | -1.1 | -1.4 | 0 | 0 | -94.88 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5
06:15 - 06:30 | -0.2 | 0 | -1.1 | -1.4 | 0 | 0 | -47.49 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5
06:30 - 06:45 | -0.2 | -11 | -1.1 | -1.5 | 0 | 0 | -51.66 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5
06:45 - 07:00 | -0.2 | 0 | -1.1 | -1.5 | 0 | 0 | -149.95 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5
07:00 - 07:15 | -0.2 | 0 | -0.5 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5
07:15 - 07:30 | -0.2 | 0 | -0.5 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5
07:30 - 07:45 | -0.2 | 0 | -0.5 | -1.5 | 0 | 0 | -175.77 | 0 | 0 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5
07:45 - 08:00 | -0.2 | 0 | -0.5 | -1.5 | 0 | 0 | -313.02 | 0 | 0 | 0 | 0 | 8.68 | -0.7 | 0 | 19.29 | 0 | -2.5 | 8.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.68 | 53.07 | 0 | 0 | 0 | -9.5
08:00 - 08:15 | -0.2 | -11 | -0.5 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | -5 | 8.68 | -0.7 | 0 | 0 | 0 | -2.5 | 8.68 | 0 | 3.86 | 15.44 | 0 | 0.96 | -10 | 0 | 8.68 | 48.24 | 0 | 0 | 0 | -9.5
08:15 - 08:30 | -0.2 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | -5 | 8.68 | -0.7 | 0 | 0 | 0 | -2.5 | 8.68 | 0 | 3.86 | 15.44 | 0 | 0.96 | -30 | 0 | 8.68 | 48.24 | 0 | 0 | 0 | -9.5
08:30 - 08:45 | -0.2 | 0 | -0.2 | 0 | 0 | 0 | -231.75 | 0 | 0 | 0 | -5 | 8.68 | -0.7 | 0 | 0 | 0 | -2.5 | 3.86 | 0 | 3.86 | 15.43 | 0 | 1.45 | -10 | 0 | 8.68 | 0 | 0 | 0 | 0 | -9.5
08:45 - 09:00 | -0.2 | 0 | -0.2 | 0 | 0 | 0 | -775.99 | 0 | 0 | 0 | -5 | 8.68 | -0.7 | 0 | 0 | 0 | -2.5 | 3.86 | 0 | 3.86 | 15.44 | 0 | 1.45 | 0 | 0 | 8.68 | 48.23 | 0 | 0 | 0 | -9.5
09:00 - 09:15 | -0.2 | 0 | -0.2 | 0 | 1.93 | 0 | -404.98 | 0 | 0 | 0 | -5 | 8.68 | -0.7 | -15 | 0 | 0 | -2.5 | 3.86 | 0 | 3.86 | 15.44 | 0 | 1.45 | 0 | 0 | 8.68 | 48.23 | 4.82 | 0 | 0 | -9.5
09:15 - 09:30 | -0.2 | 0 | -0.2 | 0 | 1.93 | 0 | -747.23 | 0 | 0 | 0 | -5 | 8.68 | -0.7 | 0 | 0 | 0 | -2.5 | 5.79 | 0 | 3.86 | 15.44 | 0 | 1.45 | -15 | 0 | 8.68 | 48.23 | 4.82 | 0 | 0 | -9.5
09:30 - 09:45 | -0.2 | -10 | -0.2 | 0 | 1.93 | 0 | -353.49 | 0 | -0.2 | 0 | -5 | 8.68 | -0.7 | 0 | 0 | 0 | -1.5 | 2.89 | 0 | 3.86 | 15.44 | 0 | 1.45 | 0 | 0 | 8.68 | 48.24 | 4.82 | 0 | 0 | -9.5
09:45 - 10:00 | -0.2 | 0 | -0.2 | 0 | 1.93 | 0 | -802.71 | 0 | -0.3 | 0 | -5 | 8.68 | -0.7 | 0 | 0 | 0 | -1.5 | 2.89 | 0 | 3.86 | 15.44 | 0 | 1.45 | -20 | 0 | 8.68 | 48.24 | 4.82 | 0 | 0 | -9.5
10:00 - 10:15 | -0.2 | -11 | -0.2 | 0 | 1.93 | 0 | -799.93 | 0 | -0.6 | 0 | -5 | 8.68 | -0.7 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 15.44 | 0 | 1.45 | -15 | 0 | 8.68 | 48.24 | 4.82 | 0 | 0 | -8.6
10:15 - 10:30 | -0.2 | -3 | -0.2 | 0 | 1.93 | 0 | -796.91 | 0 | -0.7 | 0 | -5 | 8.68 | -0.7 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 15.44 | 0 | 1.45 | 0 | 0 | 8.68 | 48.24 | 4.82 | 0 | 0 | -8.6
10:30 - 10:45 | -0.2 | -14 | -0.5 | 0 | 1.93 | 0 | -603.48 | 0 | -0.3 | 0 | -5 | 8.68 | -0.7 | 0 | 0 | 0 | 0 | 2.89 | 0 | 3.86 | 15.44 | -2 | 1.45 | 0 | 0 | 8.68 | 48.24 | 4.82 | 3.86 | 0 | -8.6
10:45 - 11:00 | -0.2 | 0 | -0.5 | 0 | 1.93 | 0 | -600.93 | 0 | -0.3 | 0 | -5 | 8.68 | -0.7 | 0 | 0 | 0 | 0 | 2.89 | 0 | 3.86 | 15.44 | -2 | 1.45 | 0 | 0 | 8.68 | 48.24 | 4.82 | 3.86 | 0 | -8.6
11:00 - 11:15 | -0.2 | 0 | -0.5 | 0 | 1.93 | 0 | -720.69 | 0 | -0.8 | 0 | 0 | 8.68 | -0.7 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 15.44 | -2 | 1.45 | 0 | 0 | 8.68 | 48.23 | 4.82 | 5.31 | 0 | -8.6
11:15 - 11:30 | -0.2 | 0 | -0.5 | 0 | 1.93 | 0 | -867.51 | 0 | -0.7 | 0 | 0 | 8.68 | -0.7 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 15.44 | -2 | 1.45 | 0 | 0 | 8.68 | 48.23 | 4.82 | 5.31 | 0 | -8.6
11:30 - 11:45 | -0.2 | 0 | -0.5 | 0 | 1.93 | 0 | -551.19 | 0 | -1.3 | 0 | 0 | 8.68 | -0.7 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 15.44 | -2 | 1.45 | -25 | 0 | 8.68 | 48.23 | 4.82 | 5.31 | 0 | -8.6
11:45 - 12:00 | -0.2 | -10 | -0.5 | 0 | 1.93 | 0 | -380.17 | 0 | -1.3 | 0 | 0 | 8.68 | -0.7 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 15.44 | -2 | 1.45 | -15 | 0 | 8.68 | 48.23 | 4.82 | 5.31 | 0 | -8.6
12:00 - 12:15 | -0.2 | 0 | -0.5 | 0 | 1.93 | 0 | -281.03 | 0 | -1.4 | 0 | 0 | 8.68 | -0.7 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 15.44 | -3 | 1.45 | -45 | 9.65 | 8.68 | 48.23 | 4.82 | 5.31 | 0 | -8.6
12:15 - 12:30 | -0.2 | 0 | -0.5 | 0 | 1.93 | 0 | -339.98 | 0 | -1.4 | 0 | 0 | 8.68 | -0.7 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 15.44 | -3 | 1.45 | -20 | 9.65 | 8.68 | 48.23 | 4.82 | 5.31 | 0 | -8.6
12:30 - 12:45 | -0.2 | 0 | -0.5 | 0 | 1.93 | 0 | -339.95 | 0 | -0.8 | 0 | 0 | 8.68 | -1 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 15.44 | -3 | 1.45 | 0 | 9.65 | 8.68 | 53.05 | 4.82 | 5.31 | 0 | -8.6
12:45 - 13:00 | -0.2 | 0 | -0.5 | 0 | 1.93 | 0 | -339.98 | 0 | -0.8 | 0 | 0 | 8.68 | -1 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 15.44 | -3 | 1.45 | -20 | 9.65 | 8.68 | 53.05 | 4.82 | 5.31 | 0 | -8.6
13:00 - 13:15 | -0.2 | 0 | -1.1 | 0 | 1.93 | 0 | -239.99 | 0.48 | -0.7 | 0 | 0 | 8.68 | -1 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 15.44 | 0 | 1.45 | 0 | 9.65 | 8.68 | 53.06 | 4.82 | 5.31 | 0 | -8.6
13:15 - 13:30 | -0.2 | 0 | -1.1 | 0 | 1.93 | 0 | -311.77 | 15.53 | -0.6 | 0 | 0 | 8.68 | -1 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 15.44 | -3 | 1.45 | 0 | 9.65 | 8.68 | 53.06 | 4.82 | 5.31 | 0 | -8.6
13:30 - 13:45 | -0.2 | -14 | -1.1 | 0 | 1.93 | 0 | -381.07 | 0 | -0.6 | 0 | 0 | 8.68 | -1 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 12.54 | 0 | 1.45 | -30 | 9.65 | 8.68 | 53.06 | 4.82 | 5.31 | 0 | -8.6
13:45 - 14:00 | -0.2 | 0 | -1.1 | 0 | 1.93 | 0 | -402.31 | 0 | -0.6 | 0 | 0 | 8.68 | -1 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 12.54 | 0 | 1.45 | -40 | 0 | 8.68 | 53.06 | 4.82 | 5.31 | 0 | -8.6
14:00 - 14:15 | -0.2 | 0 | -1.1 | 0 | 1.93 | 0 | -367.5 | 0 | -0.5 | 0 | 0 | 8.68 | -1 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 12.54 | 0 | 1.45 | -20 | 0 | 8.68 | 43.41 | 4.82 | 5.31 | 289.42 | -8.6
14:15 - 14:30 | -0.2 | 0 | -1.1 | 0 | 1.93 | 0 | -453.49 | 0 | -0.5 | 0 | 0 | 8.68 | -1 | 0 | 0 | 0 | 0 | 2.89 | 0 | 3.86 | 12.54 | 0 | 1.45 | 0 | 0 | 8.68 | 43.41 | 4.82 | 5.31 | 289.42 | -8.6
14:30 - 14:45 | -0.2 | 0 | -1.1 | 0 | 1.93 | 0 | -620.62 | 0 | -0.6 | 0 | 0 | 8.68 | -1 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 12.54 | 0 | 1.45 | -35 | 0 | 8.68 | 43.41 | 4.82 | 5.31 | 168.92 | -8.6
14:45 - 15:00 | -0.2 | 0 | -1.1 | 0 | 1.93 | 0 | -657.29 | 0 | -0.5 | 0 | 0 | 8.68 | -1 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 12.54 | 0 | 1.45 | 0 | 0 | 8.68 | 43.41 | 4.82 | 5.31 | 169.6 | -8.6
15:00 - 15:15 | -0.2 | 0 | -1.1 | 0 | 1.93 | 0 | -421 | 0 | -0.2 | 0 | 0 | 8.68 | -1 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 12.54 | 0 | 1.45 | 0 | 9.65 | 8.68 | 38.59 | 4.82 | 5.31 | 83.83 | -8.6
15:15 - 15:30 | -0.2 | 0 | -1.1 | 0 | 1.93 | 0 | -151.35 | 10.03 | -0.2 | 0 | 0 | 8.68 | -1 | 0 | 0 | 0 | 0 | 4.82 | 0 | 3.86 | 12.54 | 0 | 1.45 | -20 | 9.65 | 8.68 | 38.59 | 4.82 | 5.31 | 80.84 | -8.6
15:30 - 15:45 | -0.2 | -5 | -1.1 | 0 | 1.93 | 0 | -125.02 | 0 | 0 | 0 | 0 | 8.68 | -1 | 0 | 0 | 0 | -1 | 4.82 | 0 | 3.86 | 12.54 | 0 | 1.45 | -10 | 0 | 8.68 | 38.59 | 4.82 | 5.31 | 0 | -8.6
15:45 - 16:00 | -0.2 | 0 | -1.1 | 0 | 1.93 | 0 | 94.54 | 0 | 0 | 0 | 0 | 8.68 | -1 | -15 | 0 | 0 | -1 | 2.89 | 0 | 3.86 | 12.54 | 0 | 1.45 | 0 | 0 | 8.68 | 38.59 | 4.82 | 5.31 | 0 | -8.6
16:00 - 16:15 | -0.2 | 0 | -1.1 | 0 | 1.93 | 0 | -377.48 | 0 | 0 | 0 | 0 | 8.68 | -1 | 0 | 19.3 | 0 | 0 | 2.89 | 0 | 3.86 | 12.54 | 0 | 1.45 | -30 | 0 | 8.68 | 19.29 | 4.82 | 5.31 | 0 | -8.6
16:15 - 16:30 | -0.2 | 0 | -1.1 | 0 | 1.93 | 0 | -150 | 0 | 0 | 0 | 0 | 8.68 | -1 | 0 | 19.3 | 0 | 0 | 2.89 | 0 | 3.86 | 12.54 | 0 | 1.45 | 0 | 0 | 8.68 | 19.29 | 4.82 | 5.31 | 0 | -8.6
16:30 - 16:45 | -0.2 | 0 | -1.1 | 0 | 0 | 0 | -400.74 | 0 | 0 | 0 | 0 | 8.68 | -1 | 0 | 19.3 | 0 | 0 | 2.89 | 0 | 3.86 | 12.54 | 0 | 1.45 | 0 | 0 | 8.68 | 19.29 | 0 | 5.31 | 0 | -9.1
16:45 - 17:00 | -0.2 | -10 | -1.1 | 0 | 0 | 0 | -261.5 | 0 | 0 | 0 | 0 | 8.68 | -1 | 0 | 19.3 | 0 | 0 | 2.89 | 0 | 3.86 | 12.54 | 0 | 1.45 | -10 | 0 | 8.68 | 19.29 | 0 | 5.31 | 0 | -9.1
17:00 - 17:15 | -0.2 | 0 | -0.5 | 0 | 0 | 0 | -449.92 | 0 | 0 | 9.65 | 0 | 8.68 | -1 | 0 | 19.29 | 0 | 0 | 4.82 | 0 | 3.86 | 12.54 | 0 | 1.45 | -45 | 0 | 8.68 | 28.95 | 4.82 | 5.31 | 0 | -9.1
17:15 - 17:30 | -0.2 | 0 | -0.5 | 0 | 0 | 0 | -348.39 | 0 | 0 | 9.65 | 0 | 8.68 | -1 | 0 | 19.29 | 0 | 0 | 4.82 | 0 | 3.86 | 12.54 | 0 | 1.45 | -45 | 0 | 8.68 | 28.95 | 4.82 | 5.31 | 0 | -9.1
17:30 - 17:45 | -0.2 | 0 | -0.8 | 0 | 0 | 0 | -354.96 | 0 | 0 | 9.65 | 0 | 8.68 | -1 | 0 | 19.29 | -1 | 0 | 2.89 | 0 | 3.86 | 12.54 | 0 | 1.45 | -45 | 0 | 8.68 | 48.24 | 4.82 | 5.31 | 0 | -9.1
17:45 - 18:00 | -0.2 | 0 | -0.8 | 0 | 0 | 0 | -208.03 | 0 | 0 | 0 | 0 | 8.68 | -1 | 0 | 19.29 | -1 | 0 | 2.89 | 0 | 0 | 0 | 0 | 0 | -45 | 0 | 8.68 | 33.78 | 0 | 0 | 0 | -9.1
18:00 - 18:15 | -0.2 | 0 | -1.1 | 0 | 0 | 0 | -216.4 | 0 | 0 | 0 | 0 | 8.68 | -1 | 0 | 19.29 | -1 | 0 | 2.89 | 0 | 3.86 | 12.54 | 0 | 1.45 | -10 | 0 | 8.68 | 38.59 | 0 | 5.31 | 0 | -9.1
18:15 - 18:30 | -0.2 | -4 | -1.1 | 0 | 0 | 0 | -82.25 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 19.29 | -1 | 0 | 2.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38.6 | 0 | 0 | 0 | -9.1
18:30 - 18:45 | -0.2 | 0 | -1.1 | -1.1 | 0 | 0 | -31.55 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 19.29 | -1 | 0 | 7.72 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 38.59 | 0 | 0 | 0 | -9.1
18:45 - 19:00 | -0.2 | 0 | -1.1 | -1.1 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1
19:00 - 19:15 | -0.2 | 0 | -1.1 | -1.1 | 0 | -14 | -50.01 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1
19:15 - 19:30 | -0.2 | 0 | -1.1 | -1.1 | 0 | -14 | -100 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1
19:30 - 19:45 | -0.2 | 0 | -1.1 | -1.1 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1
19:45 - 20:00 | -0.2 | 0 | -1.1 | -1.1 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1
20:00 - 20:15 | -0.2 | 0 | -1.1 | -1.2 | 0 | -4 | -25 | 0 | 0 | 0 | -7 | 0 | -1 | 0 | 0 | -1 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1
20:15 - 20:30 | -0.2 | 0 | -1.1 | -1.2 | 0 | -4 | -50 | 0 | 0 | 0 | -7 | 0 | -1 | 0 | 0 | -1 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1
20:30 - 20:45 | -0.2 | 0 | -1.1 | -1.3 | 0 | -4 | 0 | 0 | 0 | 0 | -7 | 0 | -1 | 0 | 0 | -1 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1
20:45 - 21:00 | -0.2 | 0 | -1.1 | -1.3 | 0 | -4 | 0 | 0 | 0 | 0 | -7 | 0 | -1 | 0 | 0 | -1 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1
21:00 - 21:15 | -0.2 | 0 | -1.1 | -1.3 | 0 | -4 | 0 | 0 | 0 | 0 | -7 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1
21:15 - 21:30 | -0.2 | 0 | -1.1 | -1.3 | 0 | -4 | 0 | 0 | 0 | 0 | -7 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1
21:30 - 21:45 | -0.2 | 0 | -1 | -1.3 | 0 | -4 | -38.76 | 0 | 0 | 0 | -7 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1
21:45 - 22:00 | -0.2 | 0 | -1 | -1.3 | 0 | -4 | -38.51 | 0 | 0 | 0 | -7 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1
22:00 - 22:15 | -0.2 | 0 | -1 | -1.3 | 0 | -4 | -93.35 | 0 | 0 | 0 | -6 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1
22:15 - 22:30 | -0.2 | 0 | -1 | -1.3 | 0 | -4 | -91.12 | 0 | 0 | 0 | -6 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1
22:30 - 22:45 | -0.2 | 0 | -0.4 | -1.3 | 0 | -4 | -68.07 | 0 | 0 | 0 | -6 | 0 | -1 | 0 | 19.29 | -1 | 0 | 7.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.94 | 0 | 0 | 0 | -9.1
22:45 - 23:00 | -0.2 | 0 | -0.4 | -1.3 | 0 | -4 | -63.93 | 0 | 0 | 0 | -6 | 0 | -1 | 0 | 19.29 | -1 | 0 | 7.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.68 | 28.94 | 0 | 0 | 0 | -9.1
23:00 - 23:15 | -0.2 | 0 | -0.4 | -1.3 | 0 | -4 | -112.51 | 0 | 0 | 0 | -6 | 0 | -1 | 0 | 19.29 | -25 | 0 | 7.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.94 | 0 | 0 | 0 | -9.1
23:15 - 23:30 | -0.2 | 0 | -0.4 | -1.3 | 0 | -4 | -106.55 | 0 | 0 | 0 | -6 | 0 | -1 | 0 | 19.29 | -25 | 0 | 7.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.68 | 28.94 | 0 | 0 | 0 | -9.1
23:30 - 23:45 | -0.2 | 0 | -0.4 | 0 | 0 | -0.79 | -229.96 | 0 | 0 | 9.65 | -6 | 0 | -1 | 0 | 19.29 | -25 | 0 | 9.65 | 0 | 3.86 | 12.54 | 0 | 0 | -32 | 0 | 8.68 | 28.94 | 4.82 | 5.31 | 0 | -9.1
23:45 - 24:00 | -0.2 | 0 | -0.4 | 0 | 0 | 0 | -176.97 | 20.26 | 0 | 9.65 | -6 | 0 | -1 | 0 | 19.29 | -25 | 0 | 9.65 | 0 | 3.86 | 12.54 | 0 | 0 | -28 | 9.65 | 8.68 | 28.94 | 4.82 | 5.31 | 0 | -9.1
Average | -0.2 | -1.0729 | -0.72083 | -0.65104 | 0.60313 | -1.1749 | -222.0332 | 0.48229 | -0.16979 | 0.88281 | -1.7083 | 4.8825 | -0.84375 | -0.3125 | 6.6314 | -1.2708 | -1.4271 | 3.2949 | 0.60313 | 1.7692 | 7.4775 | -0.90615 | 0.68708 | -12.5 | 1.0052 | 5.7084 | 28.7445 | 1.9472 | 1.7398 | 13.653 | -9.1313