## POWER STATUS
POWER STATUS ON DT 19.08.2026
[9 empty] | 2026-08-19 | 2026-08-18
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 5623 | 5875
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 223.542 | 5.365 | 630/590 ft | 614.06 | 619.75 | 619.97 | 225 | 224
| Chiplima | 72(3x24) | 56.958 | 1.367 | - |  |  |  | 56 | 56
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1469.7 | 1466.2 | 1466.6 | 0 | 0
| Rengali | 250(5x50) | 232.6417 | 5.5834 | 123.5/109.75 mt | 121.05 | 122.85 | 123.09 | 243 | 241
| Upper Kolab | 320(4x80) | 52.17 | 1.2521 | 858/844 mt | 853.35 | 850.56 | 850.62 | 78 | 77
| Upper Indravati | 600(4x150) | 121.0208 | 2.9045 | 642/625 mt | 635.05 | 634.48 | 634.64 | 0 | 593
| Machkund | 60(50% of(3x17+3x23)) | 9.79 | 0.23496 | 2750/2685 ft | 2745 | 2724.5 | 2724.9 | 15 | 13
| Total Hydro | 2099.5 | 696.1225 | 16.7069 |  |  |  |  | 617 | 1204
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1621.92 | 38.9261 | RENEWABLE ENERGY (RE) |  |  |  | 1681 | 1678
[5 empty] | M.Hydl | 88.08
| Total Thermal | 2200 | 1621.92 | 38.9261 | Solar | 83.62 |  |  | 1681 | 1678
IPP | VEDANTA #2 | 600 (1x600) | 391.17 | 9.3881 | Total IPPs | Yesterday's Demand Profile |  |  | 397 | 401
| GMR #3 | 350 (1x350) | 275.11 | 6.6026 | 758.61 |  | MW | HRS | 319 | 331
| NBVL(IPP) | 60(1x60) | 48.88 | 1.1731 |  |  |  |  | 53 | 55
| MDTPC |  | 43.45 | 1.0428 |  |  |  |  | 34 | 57
| CGPs |  | 588.79 | 14.131 | IPPs, CGPs & RE | Maximum | 5875 | 20:00 | 1464 | 1378
| Central Sector(Drawl) |  | 1482.14 | 35.5714 | 1519.1 | Minimum | 4831 | 05:00 | 1861 | 1615
| Central Sector(Sch) |  | 1607.68 | 38.5843 |  | Average | 5319.2825 |  | 1876 | 1465
| Grand Total |  | 5319.2825 | 127.6628 | Instantaneous Peak demand |  | 6033.69 | 20:02 | 5623 | 5875
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1453.85 | 34.8924 | 1477.25 | 35.454 | 1426.12 | 34.2269
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1781.48 | 42.7555 | 1725.34 | 41.4082 | 1565.56 | 37.5734
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1223.48 | 29.3635 | 1197.07 | 28.7297 | 1094.81 | 26.2754
U.Kolab | 1,2,3 | KAHALGAON | NIL | TPSODL | 582.21 | 13.973 | 570.01 | 13.6802 | 569.48 | 13.6675
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5041.02 | 120.9845 | 4969.67 | 119.2721 | 4655.97 | 111.7433
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 397 | GMR |  |  |  | 319
| NBVL #3 | 53 | MDTPC |  |  |  | 34
Mini Hydel: | MEENAKSHI | 40.6443 | OPCL |  |  |  | 0
| BTPL | 0 | SAPTADHARA |  |  |  | 20
Solar: |  | 155 | KAKATIYA |  |  |  | 4
CGPs : | JSPL (Angul) | -33.6753 | JSL(Duburi) |  |  |  | -40.1377
| ICCL | 49.5586 | visa |  |  |  | 10.4383
| NALCO | -151.0766 | VAL (CGP) |  |  |  | 202.782
| RSP | -49.7525 | BSL(MMDL) |  |  |  | -29.1037
| INDAL | 1.2735 | ADITYA ALUMINIUM |  |  |  | 41.674
| NINL | -39.4613 | VAL CPP 400 kV |  |  |  | -755.5225
| NBVL | 51.626 | Arati |  |  |  | 14.8869
| BPSL(JSG) | -121 | BPPL |  |  |  | 0
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-11 | 2026-08-12 | 2026-08-13 | 2026-08-14 | 2026-08-15 | 2026-08-16 | 2026-08-17 | 2026-08-18
673.055 | 742.7938 | 722.2608 | 709.267 | 746.39 | 640.78 | 522.1927 | 696.1225
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.18.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | -4.75 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 2.95
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AGE26AL_PSS6_KPS1_S | ODISHA | 132.13
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -14.17 | AP41PL_BHDL | ODISHA | 62.07
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -5.83 | AP43PL_BKN | ODISHA | 94.24
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 4.37
JSPLANGUL | GEB_Beneficiary | -14.77 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 13.99
JSPLANGUL | RUVITSL | -14.2 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | AWEK1L | ODISHA | 20.98
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | DALCEMAP | -2 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.33
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCBLME | -6 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 40.41
ODISHA | APCPDCL | -18.75 | DCBL_Rajgangpur | DCL_RCW | -4.62 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 10.05
FARIDABAD_SOLAR | ODISHA | 0.86 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -4.17 | DADRI_SOLAR | ODISHA | 0.58
JSWEL_UTKAL | ODISHA | 61.46 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | ENERSON_SOLAR_10MW | ODISHA | 0.22
RAJ_SOLAR | ODISHA | 2.5 | FACORPOWER | PSPCL | -3.54 | GADAG_GreenInfra_W | ODISHA | 0.59
RAJ_SOLAR | ODISHA | 2.59 | FACORPOWER | PSPCL | -1.46 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | FACORPOWER | PSPCL | -5.83 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | FACORPOWER | PSPCL | -14.17 | GADAG_Serentica3_S | VLSEZ | 29.01
|  |  | JSPLANGUL | RUVITSL | -28.4 | GADAG_Serentica3_W | VLSEZ | 83.36
|  |  | KCMW_od | DALCEMAP | -1.12 | GADAG_Serentica3_W | VLSEZ | 4.47
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GIWEL_SECI_II_RE | ODISHA | 61.89
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GPCL_SOLAR_10 | ODISHA | 0.75
|  |  | NBVLIPP | BSPHCL | -3.54 | GSECL_SOLAR | ODISHA | 0.77
|  |  | NBVLIPP | BSPHCL | -14.38 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.95
|  |  | OCL_IRON_STEEL | BRPL | -25 | KARUR_TPVARDHAMAN_W | TSKPO | 114.36
|  |  | OCL_IRON_STEEL | TPDDL | -21.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
|  |  | ORSISL | PSPCL | -2.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 5.98
|  |  | ORSISL | PSPCL | -1.17 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
|  |  | ORSISL | TPL_DIS_DHOLERA | -1.35 | NTPCRE1_SMND_BHJ2_W | ODISHA | 8.46
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 6.65
|  |  | Shri_JSPL | TPLD | -1.62 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 8.54
|  |  | TIMES_STEEL | CSEB_Beneficiary | -0.25 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.26
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | OKWPL_RE | ODISHA | 28.5
|  |  | VSL | WBSEDCL | -4.17 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 9.58
|  |  | JIPL | ODISHA | 91.64 | RWE_AP2_SECI_III | ODISHA | 25.64
|  |  | NALCOAP | NACL_Odisha | 20.59 | RenewGreen_SLPR_HS | JSL_DUBURI | 17.83
[6 empty] | SRI9PL_FTG3 | VLSEZ | 90.92
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.13
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.15
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 56.92
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 5.9
[6 empty] | XXPPL_FTG3 | ODISHA | 67.16

## DAM
DAM TRADING DETAILS FOR DT : 18.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited | Visa_Steel_Limited
00:00 - 00:15 | -2.7 | 0 | 0 | -550 | 0 | -4 | -1 | 0 | 0 | 0 | -6
00:15 - 00:30 | -2.7 | 0 | 0 | -550 | 0 | -4 | -1 | 0 | 0 | 0 | -6
00:30 - 00:45 | -2.7 | 0 | 0 | -550 | 0 | -4 | -1 | 0 | 0 | 0 | -6
00:45 - 01:00 | -2.7 | 0 | 0 | -550 | 0 | -4 | -1 | 0 | 0 | 0 | -6
01:00 - 01:15 | -2.7 | 0 | 0 | -633.6 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
01:15 - 01:30 | -2.7 | 0 | 0 | -625.69 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
01:30 - 01:45 | -2.7 | 0 | 0 | -633.07 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
01:45 - 02:00 | -2.7 | 0 | 0 | -578.3 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
02:00 - 02:15 | -2.7 | 0 | 0 | -325 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
02:15 - 02:30 | -2.7 | 0 | 0 | -325 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
02:30 - 02:45 | -2.7 | 0 | 0 | -325 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
02:45 - 03:00 | -2.7 | 0 | 0 | -325 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
03:00 - 03:15 | -2.7 | 0 | 0 | -247.08 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
03:15 - 03:30 | -2.7 | 0 | 0 | -215.45 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
03:30 - 03:45 | -2.7 | 0 | 0 | -150 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
03:45 - 04:00 | -2.7 | 0 | 0 | -150 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
04:00 - 04:15 | -2.7 | 0 | 0 | -237.65 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
04:15 - 04:30 | -2.7 | 0 | 0 | -237.74 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
04:30 - 04:45 | -2.7 | 0 | 0 | -256.72 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
04:45 - 05:00 | -2.7 | 0 | 0 | -269.2 | 0 | -4 | -1 | 0 | 4.82 | 0 | -6
05:00 - 05:15 | -2.7 | 0 | 0 | -297.5 | 0 | -4 | -2 | -43 | 4.82 | 0 | -6
05:15 - 05:30 | -2.7 | 0 | 0 | -575 | 0 | -4 | -2 | -43 | 0 | 0 | -6
05:30 - 05:45 | -2.7 | 0 | 0 | -625 | 0 | -4 | -2 | -43 | 0 | 0 | -6
05:45 - 06:00 | -2.7 | 0 | 0 | -625 | 0 | -4 | -2 | -43 | 0 | 0 | -6
06:00 - 06:15 | -2.7 | 0 | 0 | -625 | 0 | -10 | -2 | -43 | 0 | -6 | -6
06:15 - 06:30 | -2.7 | 0 | 0 | -625 | 0 | -10 | -2 | -43 | 0 | -6 | -6
06:30 - 06:45 | -2.7 | 0 | 0 | -625 | 0 | -10 | -2 | -43 | 0 | -6 | -6
06:45 - 07:00 | -2.7 | 0 | 0 | -625 | 0 | -10 | -2 | -43 | 0 | -6 | -6
07:00 - 07:15 | -2.7 | 0 | 0 | -800 | 0 | -10 | -2 | -43 | 0 | -6 | -6
07:15 - 07:30 | -2.7 | 0 | 0 | -800 | 0 | -10 | -2 | -43 | 0 | -6 | -6
07:30 - 07:45 | -2.7 | 0 | 0 | -750 | 0 | -10 | -2 | -43 | 0 | -6 | -6
07:45 - 08:00 | -2.7 | 0 | 0 | -750 | 0 | -10 | -2 | -43 | 0 | -6 | -6
08:00 - 08:15 | -2.7 | 22.19 | 0 | -750 | 0 | -4 | -1 | -43 | 0 | -6 | -6
08:15 - 08:30 | -2.7 | 22.19 | 0 | -750 | 0 | -4 | -1 | -43 | 0 | -6 | -6
08:30 - 08:45 | -2.7 | 22.19 | 0 | -697.27 | 0 | -4 | -1 | -43 | 4.82 | -6 | -6
08:45 - 09:00 | -2.7 | 22.19 | 0 | -450 | 0 | -4 | -1 | -43 | 4.82 | -6 | -6
09:00 - 09:15 | -2.7 | 22.19 | 0 | -1000 | 0 | -4 | -1 | -18 | 4.82 | -6 | -6
09:15 - 09:30 | -2.7 | 22.19 | 0 | -1000 | 0 | -4 | -1 | -18 | 4.82 | -6 | -6
09:30 - 09:45 | -2.7 | 22.19 | 0 | -1000 | 18.71 | -4 | -1 | -18 | 4.82 | -6 | -6
09:45 - 10:00 | -2.7 | 22.19 | 0 | -626.65 | 28.94 | -4 | -1 | -18 | 4.82 | -6 | -6
10:00 - 10:15 | -2.7 | 22.19 | 0 | -520.29 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
10:15 - 10:30 | -2.7 | 22.19 | 0 | -73.71 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
10:30 - 10:45 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
10:45 - 11:00 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
11:00 - 11:15 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
11:15 - 11:30 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
11:30 - 11:45 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
11:45 - 12:00 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
12:00 - 12:15 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
12:15 - 12:30 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
12:30 - 12:45 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
12:45 - 13:00 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
13:00 - 13:15 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
13:15 - 13:30 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
13:30 - 13:45 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
13:45 - 14:00 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
14:00 - 14:15 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
14:15 - 14:30 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
14:30 - 14:45 | -2.7 | 22.19 | 0 | 0 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
14:45 - 15:00 | -2.7 | 22.19 | 0 | -113.37 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
15:00 - 15:15 | -2.7 | 22.19 | 0 | -533.2 | 28.94 | -4 | -1 | -18 | 4.82 | 0 | 0
15:15 - 15:30 | -2.7 | 22.19 | 0 | -798.43 | 28.94 | -4 | -1 | -18 | 4.82 | -6 | 0
15:30 - 15:45 | -2.7 | 22.19 | 0 | -1318.37 | 28.94 | -4 | -1 | -18 | 4.82 | -6 | 0
15:45 - 16:00 | -2.7 | 22.19 | 0 | -1325 | 0 | -4 | -1 | -18 | 4.82 | -6 | 0
16:00 - 16:15 | -2.7 | 22.19 | 0 | -1193.91 | 0 | -4 | -1 | -43 | 4.82 | -6 | 0
16:15 - 16:30 | -2.7 | 22.19 | 0 | -1283.15 | 0 | -4 | -1 | -43 | 4.82 | -6 | 0
16:30 - 16:45 | -2.7 | 22.19 | 0 | -1375 | 0 | -4 | -1 | -43 | 4.82 | -6 | 0
16:45 - 17:00 | -2.7 | 22.19 | 0 | -1375 | 0 | -4 | -1 | -43 | 4.82 | -6 | 0
17:00 - 17:15 | -2.7 | 0 | 0 | -750 | 0 | -5 | -2 | -43 | 4.82 | -6 | 0
17:15 - 17:30 | -2.7 | 0 | 0 | -750 | 0 | -5 | -2 | -43 | 4.82 | -6 | 0
17:30 - 17:45 | -2.7 | 0 | 0 | -736.83 | 0 | -5 | -2 | -43 | 4.82 | -6 | 0
17:45 - 18:00 | -2.7 | 0 | 0 | -750 | 0 | -5 | -2 | -43 | 4.82 | -6 | 0
18:00 - 18:15 | -2.7 | 0 | 0 | -143.32 | 0 | -4 | -2 | -43 | 4.82 | 0 | 0
18:15 - 18:30 | -2.7 | 0 | 0 | -175 | 0 | -4 | -2 | -43 | 4.82 | 0 | 0
18:30 - 18:45 | -2.7 | 0 | 0 | -175 | 0 | -4 | -2 | -43 | 0 | 0 | 0
18:45 - 19:00 | -2.7 | 0 | -14 | -175 | 0 | -4 | -2 | -43 | 0 | 0 | 0
19:00 - 19:15 | -2.7 | 0 | -14 | -150 | 0 | -4 | -2 | 0 | 0 | 0 | -10
19:15 - 19:30 | -2.7 | 0 | -14 | -150 | 0 | -4 | -2 | 0 | 0 | 0 | -10
19:30 - 19:45 | -2.7 | 0 | -14 | -150 | 0 | -4 | -2 | 0 | 0 | 0 | -10
19:45 - 20:00 | -2.7 | 0 | -14 | -150 | 0 | -4 | -2 | 0 | 0 | 0 | -10
20:00 - 20:15 | -2.7 | 0 | -14 | -325 | 0 | -4 | -2 | 0 | 0 | 0 | -10
20:15 - 20:30 | -2.7 | 0 | -14 | -325 | 0 | -4 | -2 | 0 | 0 | 0 | -10
20:30 - 20:45 | -2.7 | 0 | -14 | -325 | 0 | -4 | -2 | 0 | 0 | 0 | -10
20:45 - 21:00 | -2.7 | 0 | -14 | -325 | 0 | -4 | -2 | 0 | 0 | 0 | -10
21:00 - 21:15 | -2.7 | 0 | -14 | -450 | 0 | -4 | -2 | 0 | 0 | 0 | -10
21:15 - 21:30 | -2.7 | 0 | -14 | -450 | 0 | -4 | -2 | 0 | 0 | 0 | -10
21:30 - 21:45 | -2.7 | 0 | -14 | -450 | 0 | -4 | -2 | 0 | 0 | 0 | -10
21:45 - 22:00 | -2.7 | 0 | -14 | -450 | 0 | -4 | -2 | 0 | 0 | 0 | -10
22:00 - 22:15 | -2.7 | 0 | -14 | -450 | 0 | -4 | -2 | 0 | 0 | 0 | -10
22:15 - 22:30 | -2.7 | 0 | -14 | -450 | 0 | -4 | -2 | 0 | 0 | 0 | -10
22:30 - 22:45 | -2.7 | 0 | -14 | -450 | 0 | -4 | -2 | 0 | 0 | 0 | -10
22:45 - 23:00 | -2.7 | 0 | -14 | -450 | 0 | -4 | -2 | 0 | 0 | 0 | -10
23:00 - 23:15 | -2.7 | 0 | -14 | -600 | 0 | -4 | -2 | 0 | 0 | 0 | -10
23:15 - 23:30 | -2.7 | 0 | -14 | -600 | 0 | -4 | -2 | 0 | 0 | 0 | -10
23:30 - 23:45 | -2.7 | 0 | -14 | -700 | 0 | -4 | -2 | 0 | 0 | 0 | -10
23:45 - 24:00 | -2.7 | 0 | -14 | -700 | 0 | -4 | -2 | 0 | 0 | 0 | -10
Average | -2.7 | 8.3213 | -3.0625 | -452.0365 | 7.4299 | -4.5417 | -1.4167 | -17.7917 | 2.8619 | -1.6875 | -4.5833

## GDAM
GDAM TRADING DETAILS FOR DT:18.08.2026
Time Period | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 14.47 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 14.47 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 14.47 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 14.47 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 14.47 | 0 | 0 | 6.27 | 0 | 6.73 | 0
02:15 - 02:30 | 14.47 | 0 | 0 | 6.27 | 0 | 19.07 | 0
02:30 - 02:45 | 14.47 | 0 | 0 | 6.27 | 0 | 28.94 | 0
02:45 - 03:00 | 14.47 | 0 | 0 | 6.27 | 0 | 18.47 | 0
03:00 - 03:15 | 14.47 | 0 | 0 | 6.27 | 0 | 28.94 | 0
03:15 - 03:30 | 14.47 | 0 | 0 | 6.27 | 0 | 28.94 | 0
03:30 - 03:45 | 14.47 | 0 | 0 | 6.27 | 0 | 28.94 | 0
03:45 - 04:00 | 14.47 | 0 | 0 | 6.27 | 0 | 28.94 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 14.47 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 14.47 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 19.29 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 19.29 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 19.29 | 0 | 0 | 6.27 | 0 | 0 | 0
08:45 - 09:00 | 19.29 | 3.27 | 9.65 | 6.27 | 0 | 0 | 0
09:00 - 09:15 | 19.29 | 16.97 | 9.65 | 6.27 | 0 | 0 | 0
09:15 - 09:30 | 19.29 | 20.26 | 9.65 | 6.27 | 0 | 0 | 4.82
09:30 - 09:45 | 19.29 | 21.23 | 9.65 | 6.27 | 0 | 0 | 4.82
09:45 - 10:00 | 19.29 | 21.23 | 9.65 | 6.27 | 0 | 0 | 4.82
10:00 - 10:15 | 19.29 | 20.26 | 9.65 | 6.27 | 0 | 0 | 4.82
10:15 - 10:30 | 19.29 | 20.26 | 9.65 | 6.27 | 0 | 0 | 4.82
10:30 - 10:45 | 19.29 | 19.3 | 9.65 | 6.27 | 0 | 0 | 4.82
10:45 - 11:00 | 19.29 | 18.33 | 9.65 | 6.27 | 0 | 0 | 4.82
11:00 - 11:15 | 19.29 | 18.33 | 9.65 | 6.27 | 0 | 0 | 4.82
11:15 - 11:30 | 19.3 | 17.36 | 9.65 | 6.27 | 0 | 0 | 4.82
11:30 - 11:45 | 19.29 | 16.4 | 9.65 | 6.27 | 0 | 0 | 4.82
11:45 - 12:00 | 19.29 | 16.4 | 9.65 | 6.27 | 0 | 0 | 4.82
12:00 - 12:15 | 19.29 | 16.4 | 9.65 | 6.27 | 0 | 0 | 4.82
12:15 - 12:30 | 19.3 | 14.47 | 9.65 | 6.27 | 0 | 0 | 4.82
12:30 - 12:45 | 19.3 | 14.47 | 9.65 | 6.27 | 0 | 0 | 4.82
12:45 - 13:00 | 19.29 | 13.51 | 9.65 | 6.27 | 0 | 0 | 4.82
13:00 - 13:15 | 19.3 | 14.47 | 9.65 | 6.27 | 0 | 0 | 4.82
13:15 - 13:30 | 19.29 | 13.51 | 9.65 | 6.27 | 0 | 0 | 4.82
13:30 - 13:45 | 19.29 | 13.51 | 9.65 | 6.27 | 0 | 0 | 4.82
13:45 - 14:00 | 19.29 | 13.51 | 9.65 | 6.27 | 0 | 0 | 4.82
14:00 - 14:15 | 19.29 | 13.51 | 9.65 | 6.27 | 0.68 | 0 | 4.82
14:15 - 14:30 | 19.3 | 12.54 | 9.65 | 6.27 | 2.09 | 0 | 4.82
14:30 - 14:45 | 19.29 | 13.51 | 9.65 | 6.27 | 3.81 | 0 | 4.82
14:45 - 15:00 | 19.29 | 13.51 | 9.65 | 6.27 | 0 | 0 | 4.82
15:00 - 15:15 | 19.29 | 13.51 | 9.65 | 6.27 | 0 | 0 | 4.82
15:15 - 15:30 | 19.29 | 13.51 | 9.65 | 6.27 | 0 | 0 | 4.82
15:30 - 15:45 | 19.29 | 15.44 | 9.65 | 6.27 | 0 | 0 | 4.82
15:45 - 16:00 | 19.29 | 23.16 | 9.65 | 6.27 | 0 | 0 | 4.82
16:00 - 16:15 | 14.47 | 38.59 | 9.65 | 6.27 | 0 | 28.94 | 0
16:15 - 16:30 | 14.47 | 38.59 | 4.27 | 6.27 | 0 | 28.94 | 0
16:30 - 16:45 | 14.47 | 38.59 | 0 | 6.27 | 0 | 28.94 | 0
16:45 - 17:00 | 14.47 | 38.59 | 0 | 6.27 | 0 | 28.94 | 0
17:00 - 17:15 | 14.47 | 38.59 | 0 | 6.27 | 0 | 28.94 | 0
17:15 - 17:30 | 14.47 | 38.59 | 0 | 6.27 | 0 | 0 | 0
17:30 - 17:45 | 14.47 | 38.59 | 0 | 6.27 | 0 | 0 | 0
17:45 - 18:00 | 14.47 | 24.72 | 0 | 6.27 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | 9.7466 | 7.8853 | 3.0601 | 3.0044 | 0.068542 | 3.4757 | 1.3556

## RTM
RTM TRADING DETAILS FOR DT: 18.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maadurga_Thermal_Power_Company_Limited_1 | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -0.2 | 0 | 0 | -1.3 | 0 | -246 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -5 | 0 | 0 | 0 | 0 | 0 | -9 | 0
00:15 - 00:30 | -0.2 | 0 | 0 | -1.3 | 0 | -141.39 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0
00:30 - 00:45 | -0.2 | 0 | 0 | -1.3 | 0 | -44.03 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -5 | 0 | 0 | 0 | 0 | 0 | -9 | 0
00:45 - 01:00 | -0.2 | 0 | 0 | -1.3 | 0 | -37.69 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0
01:00 - 01:15 | -0.2 | 0 | 0 | -1.3 | 0 | -30.57 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0
01:15 - 01:30 | -0.2 | 0 | 0 | -1.3 | 0 | -25.34 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 71.4 | 0 | 0 | -9 | 0
01:30 - 01:45 | -0.2 | 0 | 0 | -1.3 | 0 | -121.02 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | -6 | -30 | 0 | 0 | 71.4 | 0 | 0 | -9 | 0
01:45 - 02:00 | -0.2 | 0 | 0 | -1.3 | 0 | -216.66 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | -6 | -20 | 0 | 0 | 78.15 | 0 | 0 | -9 | 0
02:00 - 02:15 | -0.2 | 0 | 0 | -1.3 | 0 | -511.33 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 78.15 | 0 | 16.4 | -9 | 0
02:15 - 02:30 | -0.2 | 0 | 0 | -1.3 | 0 | -410.35 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | -6 | -30 | 0 | 0 | 78.15 | 0 | 16.4 | -9 | 0
02:30 - 02:45 | -0.2 | 0 | 0 | -1.3 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 78.15 | 0 | 16.4 | -9 | 0
02:45 - 03:00 | -0.2 | 0 | 0 | -1.3 | 0 | -151.84 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 78.15 | 0 | 16.4 | -9 | 0
03:00 - 03:15 | -0.2 | 0 | 0 | 0 | 0 | -368.96 | 0 | 0 | 0 | 9.65 | 0 | -1 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | -4 | -6 | -20 | 0 | 0 | 57.88 | 0 | 212.24 | -9 | 0
03:15 - 03:30 | -0.2 | 0 | 0 | 0 | 0 | -92 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | -4 | -6 | -20 | 0 | 0 | 57.88 | 0 | 212.24 | -9 | 0
03:30 - 03:45 | -0.2 | 0 | 0 | 0 | 0 | -92.08 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | -4 | -6 | 0 | 0 | 0 | 57.88 | 0 | 212.24 | -9 | 0
03:45 - 04:00 | -0.2 | 0 | 0 | -1.3 | 0 | -200.06 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | -4 | -6 | -30 | 0 | 0 | 57.88 | 0 | 102.28 | -9 | 0
04:00 - 04:15 | -0.2 | 0 | 0 | -1.3 | 0 | -534.08 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | -4 | -6 | -10 | 0 | 0 | 84.9 | 0 | 16.4 | -9 | 0
04:15 - 04:30 | -0.2 | 0 | 0 | -1.3 | 0 | -449.97 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | -4 | -6 | 0 | 0 | 0 | 84.9 | 0 | 16.4 | -9 | 0
04:30 - 04:45 | -0.2 | 0 | 0 | -1.3 | 0 | -350.14 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 84.9 | 0 | 26.05 | -9 | 0
04:45 - 05:00 | -0.2 | 0 | 0 | -1.3 | 0 | -251.81 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 84.9 | 0 | 26.05 | -9 | 0
05:00 - 05:15 | -0.2 | 0 | 0 | -1.3 | 0 | -252.43 | 0 | 0 | 0 | 0 | -6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -10 | 0 | 0 | 0 | 0 | 26.05 | -9 | 0
05:15 - 05:30 | -0.2 | 0 | 0 | -1.3 | 0 | -254.6 | 0 | 0 | 0 | 0 | -11 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 25.08 | -9 | 0
05:30 - 05:45 | -0.2 | 0 | -0.6 | -1.3 | 0 | -157.85 | 0 | 0 | 0 | 0 | -16 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 55.95 | -9 | 0
05:45 - 06:00 | -0.2 | 0 | -0.6 | -1.3 | 0 | -157.33 | 0 | 0 | 0 | 0 | -21 | -1 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 56.92 | -9 | 0
06:00 - 06:15 | -0.2 | 0 | -0.6 | -1.1 | 0 | -158.92 | 0 | 0 | 0 | 0 | -23 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | -42 | 0 | 0 | 0 | 0 | 57.88 | -9 | 0
06:15 - 06:30 | -0.2 | 0 | -0.6 | -1.1 | 0 | -64.9 | 0 | 0 | 0 | 0 | -23 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | -35 | 0 | 0 | 0 | 0 | 52.09 | -9 | 0
06:30 - 06:45 | -0.2 | -13 | -0.6 | -1.1 | 0 | -166.07 | 0 | 0 | 0 | 0 | -23 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 39.55 | -9 | 0
06:45 - 07:00 | -0.2 | 0 | -0.6 | -1.1 | 0 | -64.29 | 0 | 0 | 0 | 0 | -23 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | -10 | 0 | 0 | 0 | 0 | 11.58 | -9 | 0
07:00 - 07:15 | -0.2 | 0 | 0 | -1.1 | 0 | -356.43 | 0 | 0 | 0 | 0 | -21 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0
07:15 - 07:30 | -0.2 | 0 | 0 | -1.1 | 0 | -356.43 | 0 | 0 | 0 | 0 | -21 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0
07:30 - 07:45 | -0.2 | 0 | 0 | -1.1 | 0 | -152.49 | 0 | 0 | 0 | 0 | -16 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -5 | -30 | 0 | 0 | 0 | 0 | 0 | -9 | 0
07:45 - 08:00 | -0.2 | 0 | 0 | -1.1 | 0 | -200.03 | 0 | 0 | -0.1 | 0 | -11 | -1 | 0 | 19.29 | 0 | 0 | 7.72 | -5 | 0 | 14.47 | 0 | -5 | -10 | 0 | 0 | 92.61 | 5.21 | 116.8 | -9 | 0
08:00 - 08:15 | -0.2 | -4 | 0 | 0 | 0 | -1.94 | 0 | 2.89 | -0.1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 7.72 | -5 | 0 | 14.47 | -3 | -5 | 0 | 0 | 0 | 72.35 | 0 | 0 | -9 | 0
08:15 - 08:30 | -0.2 | -4 | 0 | 0 | 0 | -34.01 | 0 | 2.89 | -0.1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 14.47 | -3 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0
08:30 - 08:45 | -0.2 | 0 | 0 | 0 | 1.93 | -161 | 0 | 2.89 | -0.3 | 9.65 | 0 | -1 | 0 | 0 | 0 | 0 | 1.93 | -5 | 0 | 14.47 | -4 | -5 | 0 | 0 | 0 | 72.35 | 5.21 | 72.35 | -9 | 0
08:45 - 09:00 | -0.2 | 0 | 0 | 0 | 0 | -129.08 | 0 | 2.89 | -0.4 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 1.93 | -5 | 0 | 14.47 | -4 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0
09:00 - 09:15 | -0.2 | 0 | -0.6 | 0 | 0 | -301.99 | 0 | 2.89 | -0.5 | 0 | 0 | -1 | -15 | 0 | 0 | 0 | 1.93 | -5 | 0 | 14.47 | -4 | -2 | 0 | 0 | 0 | 72.36 | 0 | 0 | -9 | 0
09:15 - 09:30 | -0.2 | 0 | -0.6 | 0 | 1.24 | -300.04 | 0 | 2.89 | -0.6 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 1.93 | -5 | 0 | 14.47 | -4 | -2 | -10 | 0 | 0 | 72.36 | 3.38 | 0 | -9 | 0
09:30 - 09:45 | -0.2 | -9 | -0.6 | 0 | 1.93 | -389.77 | 0 | 2.89 | -0.7 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 2.89 | 0 | 0 | 14.47 | -4 | -2 | 0 | 0 | 0 | 72.36 | 5.21 | 0 | -9.5 | 0
09:45 - 10:00 | -0.2 | 0 | -0.6 | 0 | 1.93 | -350 | 0 | 2.89 | -0.8 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 1.93 | 0 | 0 | 14.47 | -4 | -2 | 0 | 0 | 0 | 72.36 | 5.21 | 0 | -9.5 | 0
10:00 - 10:15 | -0.2 | 0 | -1 | 0 | 1.93 | -900.03 | 19.1 | 2.89 | -0.9 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 2.89 | 0 | 0 | 14.47 | 0 | -2 | -30 | 5.79 | 0 | 72.36 | 5.21 | 0 | -9.5 | 0
10:15 - 10:30 | -0.2 | 0 | -1 | 0 | 1.93 | -899.83 | 19.49 | 2.89 | -1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 2.89 | 0 | 0 | 14.47 | 0 | -2 | -10 | 5.79 | 0 | 72.36 | 5.21 | 0 | -9.5 | 0
10:30 - 10:45 | -0.2 | 0 | -1 | 0 | 1.93 | -752.96 | 19.49 | 2.89 | -1.1 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 2.89 | 0 | 1.93 | 14.47 | 0 | -2 | -20 | 5.79 | 0 | 72.35 | 5.21 | 0 | -9.5 | 0
10:45 - 11:00 | -0.2 | 0 | -1 | 0 | 1.93 | -899.91 | 19.78 | 2.89 | -1.2 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 2.89 | 0 | 1.93 | 14.47 | -5 | -2 | -20 | 5.79 | 0 | 72.35 | 5.21 | 0 | -9.5 | 0
11:00 - 11:15 | -0.2 | 0 | -1 | 0 | 1.93 | -499.95 | 20.07 | 2.89 | -1.3 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 2.89 | 0 | 1.93 | 14.47 | -5 | -2 | 0 | 5.79 | 0 | 72.35 | 5.21 | 0 | -9.5 | 0
11:15 - 11:30 | -0.2 | 0 | -1 | 0 | 1.93 | -235.55 | 0 | 2.89 | -1.4 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 2.89 | 0 | 1.93 | 14.47 | -5 | -2 | 0 | 5.79 | 0 | 72.36 | 5.21 | 0 | -9.5 | 0
11:30 - 11:45 | -0.2 | -5 | -1 | 0 | 1.93 | -139.84 | 19.97 | 2.89 | -0.3 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 2.89 | 0 | 3.86 | 14.47 | 0 | -2 | 0 | 5.79 | 8.68 | 77.18 | 5.21 | 0 | -9.5 | 0
11:45 - 12:00 | -0.2 | 0 | -1 | 0 | 1.93 | -94.1 | 20.16 | 2.89 | -0.6 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 2.89 | 0 | 3.86 | 14.47 | 0 | -2 | 0 | 5.79 | 8.68 | 77.19 | 5.21 | 0 | -9.5 | 0
12:00 - 12:15 | -0.2 | 0 | -1 | 0 | 1.93 | 0.02 | 19.97 | 3.86 | -0.9 | 0 | 0 | -1.4 | 0 | 0 | -3.1 | 0 | 2.89 | 0 | 3.86 | 11.58 | -3 | -2 | 0 | 5.79 | 8.68 | 77.17 | 5.21 | 0 | -9.3 | 0
12:15 - 12:30 | -0.2 | 0 | -1 | 0 | 1.93 | 0.05 | 19.78 | 3.86 | -1.1 | 0 | 0 | -1.4 | 0 | 0 | -2.8 | 0 | 2.89 | 0 | 3.86 | 11.58 | -3 | -2 | -25 | 5.79 | 8.68 | 77.17 | 5.21 | 0 | -9.3 | 0
12:30 - 12:45 | -0.2 | 0 | -1 | 0 | 1.93 | 57.91 | 19.58 | 3.86 | -0.3 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0.96 | 0 | 3.86 | 11.58 | 0 | -2 | -30 | 5.79 | 8.68 | 77.18 | 5.21 | 0 | -9.3 | 0
12:45 - 13:00 | -0.2 | 0 | -1 | 0 | 1.93 | 57.95 | 19.78 | 3.86 | -0.3 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0.96 | 0 | 3.86 | 11.58 | 0 | -2 | 0 | 5.79 | 8.68 | 77.17 | 5.21 | 0 | -9.3 | 0
13:00 - 13:15 | -0.2 | -0.8 | -0.6 | 0 | 1.93 | 91.68 | 19.68 | 3.86 | -0.05 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0.96 | 0 | 3.86 | 11.58 | 0 | -0.53 | -10 | 5.79 | 8.68 | 77.18 | 5.21 | 0 | -9.3 | 0
13:15 - 13:30 | -0.2 | -0.9 | -0.6 | 0 | 1.93 | 91.67 | 19.58 | 3.86 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0.96 | 0 | 3.86 | 11.58 | 0 | -0.6 | -10 | 5.79 | 8.68 | 77.18 | 5.21 | 0 | -9.3 | 0
13:30 - 13:45 | -0.2 | 0 | -0.6 | 0 | 1.93 | 0 | 19.39 | 3.86 | -0.23 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0.96 | 0 | 3.86 | 11.58 | 0 | 0 | 0 | 5.79 | 8.68 | 77.17 | 5.21 | 0 | -9.3 | 0
13:45 - 14:00 | -0.2 | 0 | -0.6 | 0 | 1.93 | 0 | 19.58 | 3.86 | -0.5 | 0 | 0 | -1.4 | 0 | 0 | -2.5 | 0 | 0.96 | 0 | 3.86 | 11.58 | -1.78 | 0 | -20 | 5.79 | 8.68 | 77.18 | 5.21 | 0 | -9.3 | 0
14:00 - 14:15 | -0.2 | 0 | -0.6 | 0 | 1.93 | -99.83 | 0 | 3.86 | -0.8 | 0 | 0 | -1.4 | 0 | 0 | -2.5 | 0 | 0.96 | 0 | 3.86 | 11.58 | -3 | 0 | -35 | 0 | 8.68 | 77.18 | 5.21 | 0 | -9.3 | 0
14:15 - 14:30 | -0.2 | 0 | -0.6 | 0 | 1.93 | -105.17 | 0 | 3.86 | -0.8 | 0 | 0 | -1.4 | 0 | 0 | -2.4 | 0 | 0.96 | 0 | 3.86 | 11.58 | -3 | 0 | -20 | 0 | 8.68 | 77.18 | 5.21 | 0 | -9.3 | 0
14:30 - 14:45 | -0.2 | 0 | -0.6 | 0 | 1.93 | -160.34 | 0 | 3.86 | -0.6 | 0 | 0 | -1.4 | 0 | 0 | -2.3 | 0 | 4.82 | -5 | 3.86 | 11.58 | -3 | 0 | 0 | 0 | 8.68 | 62.7 | 5.21 | 0 | -9.3 | 0
14:45 - 15:00 | -0.2 | 0 | -0.6 | 0 | 1.93 | -159.46 | 0 | 3.86 | -0.6 | 0 | 0 | -1.4 | 0 | 0 | -2.2 | 0 | 4.82 | -5 | 3.86 | 11.58 | -3 | 0 | 0 | 0 | 8.68 | 62.7 | 5.21 | 0 | -9.3 | 0
15:00 - 15:15 | -0.2 | 0 | -0.6 | 0 | 1.93 | -403.47 | 0 | 3.86 | -0.5 | 0 | 0 | -1.4 | 0 | 0 | -2 | 0 | 2.89 | -5 | 3.86 | 11.58 | -3 | 0 | 0 | 0 | 8.68 | 57.88 | 5.21 | 0 | -9.3 | 0
15:15 - 15:30 | -0.2 | 0 | -0.6 | 0 | 1.93 | -303.49 | 0 | 3.86 | 0 | 0 | 0 | -1.4 | 0 | 0 | -1.8 | 0 | 2.89 | -5 | 3.86 | 11.58 | -3 | 0 | 0 | 0 | 8.68 | 53.06 | 5.21 | 0 | -9.3 | 0
15:30 - 15:45 | -0.2 | 0 | -0.6 | 0 | 0 | 8.88 | 0 | 3.86 | -0.1 | 0 | 0 | -1.4 | 0 | 0 | -1.6 | 0 | 2.89 | -5 | 3.86 | 11.58 | -3 | 0 | -30 | 0 | 8.68 | 48.24 | 0 | 0 | -9.3 | 0
15:45 - 16:00 | -0.2 | 0 | -0.6 | 0 | 0 | 28.87 | 0 | 3.86 | 0 | 0 | 0 | -1.4 | -15 | 0 | -1.4 | 0 | 2.89 | -5 | 1.93 | 11.58 | -3 | 0 | -30 | 0 | 8.68 | 43.42 | 0 | 0 | -9.3 | 0
16:00 - 16:15 | -1 | 0 | -0.6 | 0 | 1.93 | -329.93 | 0 | 3.86 | 0 | 0 | 0 | -1.4 | 0 | 19.29 | -1.1 | 0 | 4.82 | 0 | 1.93 | 11.58 | 0 | 0 | -10 | 0 | 8.68 | 33.77 | 5.21 | 0 | -9.3 | 0
16:15 - 16:30 | -1 | 0 | -0.6 | 0 | 1.93 | -352.04 | 0 | 3.86 | 0 | 0 | 0 | -1.4 | 0 | 19.29 | -1 | 0 | 2.89 | 0 | 1.93 | 11.58 | 0 | 0 | -10 | 0 | 8.68 | 33.77 | 5.21 | 0 | -9.3 | 0
16:30 - 16:45 | -1 | -4 | -0.6 | 0 | 1.93 | -29.91 | 0 | 3.86 | 0 | 9.65 | 0 | -1.4 | 0 | 19.29 | -0.8 | 0 | 4.82 | 0 | 1.93 | 11.58 | 0 | 0 | 0 | 0 | 8.68 | 33.76 | 5.21 | 0 | -9.3 | -10
16:45 - 17:00 | -1 | 0 | -0.6 | 0 | 1.93 | 0 | 0 | 3.86 | 0 | 0 | 0 | -1.4 | 0 | 19.29 | -0.5 | 0 | 2.89 | 0 | 1.93 | 11.58 | 0 | 0 | 0 | 0 | 8.68 | 33.77 | 5.21 | 0 | -9.3 | -10
17:00 - 17:15 | -1 | 0 | -0.6 | 0 | 0 | -472.52 | 0 | 3.86 | 0 | 0 | 0 | -1.4 | 0 | 19.29 | -0.3 | 0 | 2.89 | 0 | 0 | 11.58 | -3 | 0 | -50 | 0 | 8.68 | 33.77 | 5.21 | 0 | -9.3 | 0
17:15 - 17:30 | -1 | 0 | -0.6 | 0 | 0 | -389.49 | 0 | 3.86 | 0 | 0 | 0 | -1.4 | 0 | 19.29 | -0.1 | 0 | 2.89 | 0 | 0 | 11.58 | -3 | 0 | -50 | 0 | 8.68 | 62.71 | 5.21 | 0 | -9.3 | 0
17:30 - 17:45 | -1 | 0 | -0.6 | 0 | 0 | -250.04 | 0 | 3.86 | 0 | 0 | 0 | -1.4 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | -3 | 0 | -50 | 0 | 8.68 | 62.71 | 0.91 | 0 | -9.3 | 0
17:45 - 18:00 | -1 | 0 | -0.6 | 0 | 0 | 15.36 | 0 | 3.86 | 0 | 0 | 0 | -1.4 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 11.58 | -3 | 0 | -50 | 0 | 8.68 | 62.71 | 5.21 | 0 | -9.3 | 0
18:00 - 18:15 | -1 | 0 | -0.6 | 0 | 0 | -375 | 0 | 5.79 | 0 | 0 | 0 | -1.4 | 0 | 19.3 | 0 | 0 | 2.89 | 0 | 0 | 0 | -3 | 0 | -60 | 0 | 8.68 | 0 | 5.21 | 0 | -9.7 | -10
18:15 - 18:30 | -1 | 0 | -0.6 | 0 | 0 | -44.84 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -60 | 0 | 0 | 0 | 0 | 0 | -9.7 | -10
18:30 - 18:45 | -1 | 0 | -0.6 | -1.1 | 0 | -300.21 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | -10
18:45 - 19:00 | -1 | 0 | -0.6 | -1.1 | 0 | -207.51 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | -10
19:00 - 19:15 | -1 | 0 | -0.6 | -1.1 | 0 | -300 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0
19:15 - 19:30 | -1 | 0 | -0.6 | -1.1 | 0 | -300 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0
19:30 - 19:45 | -1 | 0 | -0.6 | -1.2 | 0 | -300 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 30.29 | -9.7 | -10
19:45 - 20:00 | -1 | 0 | -0.6 | -1.2 | 0 | -300 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 29.55 | -9.7 | -10
20:00 - 20:15 | -1 | 0 | -0.6 | -1.3 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 55.3 | -9.7 | -14
20:15 - 20:30 | -1 | 0 | -0.6 | -1.3 | 0 | -250 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 56.4 | -9.7 | -14
20:30 - 20:45 | -1 | 0 | -0.6 | -1.3 | 0 | -250 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 61.49 | -9.7 | -14
20:45 - 21:00 | -1 | 0 | -0.6 | -1.3 | 0 | -250 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 56.16 | -9.7 | -14
21:00 - 21:15 | -1 | 0 | -0.6 | -1.3 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | 65.6 | -9.7 | -12
21:15 - 21:30 | -1 | 0 | -0.6 | -1.3 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 61.68 | -9.7 | -12
21:30 - 21:45 | -1 | 0 | -0.6 | -1.3 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 63.06 | -9.7 | -12
21:45 - 22:00 | -1 | 0 | -0.6 | -1.3 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | -20 | 0 | 0 | 0 | 0 | 69.15 | -9.7 | -12
22:00 - 22:15 | -1 | 0 | -0.6 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 52.55 | -9.7 | -10
22:15 - 22:30 | -1 | 0 | -0.6 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 45.99 | -9.7 | -10
22:30 - 22:45 | -1 | 0 | -0.6 | -1.3 | 0 | 21.4 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -30 | 0 | 0 | 0 | 0 | 42.79 | -9.7 | -10
22:45 - 23:00 | -1 | 0 | -0.6 | -1.3 | 0 | 21.17 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | 0 | 42.33 | -9.7 | -10
23:00 - 23:15 | -1 | 0 | -0.6 | -1.3 | 0 | 49.18 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 59.02 | -9.7 | -5
23:15 - 23:30 | -1 | 0 | -0.6 | -1.3 | 0 | 57.25 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | 68.71 | -9.7 | -5
23:30 - 23:45 | -1 | 0 | -0.6 | -1.3 | 0 | 201.04 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 67.02 | -9.7 | -5
23:45 - 24:00 | -1 | 0 | -0.6 | -1.3 | 0 | 287.09 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 71.77 | -9.7 | -5
Average | -0.46667 | -0.42396 | -0.4625 | -0.66354 | 0.59594 | -191.1544 | 3.0771 | 1.507 | -0.18938 | 0.30156 | -2.2396 | -1.2083 | -0.3125 | 5.0235 | -0.29583 | -0.14583 | 1.656 | -0.72917 | 0.86448 | 5.3368 | -1.9873 | -2.2618 | -10.9062 | 0.965 | 2.4413 | 38.2984 | 1.8899 | 25.0272 | -9.3021 | -2.5417