## POWER STATUS
POWER STATUS ON DT 20.08.2026
[9 empty] | 2026-08-20 | 2026-08-19
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 21:00
Demand -> | [8 empty] | 5944 | 6187
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 217.25 | 5.214 | 630/590 ft | 615.08 | 619.97 | 621.37 | 229 | 229
| Chiplima | 72(3x24) | 53.917 | 1.294 | - |  |  |  | 56 | 53
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1470.5 | 1466.6 | 1467 | 0 | 0
| Rengali | 250(5x50) | 242.725 | 5.8254 | 123.5/109.75 mt | 120.98 | 123.09 | 123.49 | 232 | 244
| Upper Kolab | 320(4x80) | 58.42 | 1.4021 | 858/844 mt | 853.38 | 850.62 | 850.66 | 20 | 77
| Upper Indravati | 600(4x150) | 159.7917 | 3.835 | 642/625 mt | 635.26 | 634.64 | 634.73 | 0 | 590
| Machkund | 60(50% of(3x17+3x23)) | 8.625 | 0.207 | 2750/2685 ft | 2745.8 | 2724.9 | 2725.2 | 17 | 14
| Total Hydro | 2099.5 | 740.7287 | 17.7775 |  |  |  |  | 554 | 1207
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1656.71 | 39.761 | RENEWABLE ENERGY (RE) |  |  |  | 1607 | 1650
[5 empty] | M.Hydl | 90.7
| Total Thermal | 2200 | 1656.71 | 39.761 | Solar | 80.04 |  |  | 1607 | 1650
IPP | VEDANTA #2 | 600 (1x600) | 424.26 | 10.1822 | Total IPPs | Yesterday's Demand Profile |  |  | 398 | 493
| GMR #3 | 350 (1x350) | 318.38 | 7.6411 | 841.82 |  | MW | HRS | 327 | 326
| NBVL(IPP) | 60(1x60) | 50.31 | 1.2074 |  |  |  |  | 54 | 54
| MDTPC |  | 48.87 | 1.1729 |  |  |  |  | 35 | 57
| CGPs |  | 483.75 | 11.61 | IPPs, CGPs & RE | Maximum | 6187 | 21:00 | 1925 | 1479
| Central Sector(Drawl) |  | 1592.24 | 38.2138 | 1496.31 | Minimum | 4889 | 06:00 | 1858 | 1851
| Central Sector(Sch) |  | 1630.94 | 39.1426 |  | Average | 5485.9887 |  | 2217 | 1790
| Grand Total |  | 5485.9887 | 131.6637 | Instantaneous Peak demand |  | 6413.61 | 19:19 | 5944 | 6187
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1514.69 | 36.3526 | 1596.05 | 38.3052 | 1476.863 | 35.4447
Balimela | 5,6 | TSTPP St-I | 2 | TPWODL | 1745.16 | 41.8838 | 1727.7 | 41.4648 | 1452.934 | 34.8704
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1202.3 | 28.8552 | 1226.68 | 29.4403 | 1043.882 | 25.0532
U.Kolab | 1,2,3 | KAHALGAON | NIL | TPSODL | 567.34 | 13.6162 | 575.05 | 13.8012 | 581.03 | 13.9447
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5029.49 | 120.7078 | 5125.48 | 123.0115 | 4554.709 | 109.313
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 398 | GMR |  |  |  | 327
| NBVL #3 | 54 | MDTPC |  |  |  | 35
Mini Hydel: | MEENAKSHI | 40 | OPCL |  |  |  | 0
| BTPL | 27 | SAPTADHARA |  |  |  | 20
Solar: |  | 260 | KAKATIYA |  |  |  | 4
CGPs : | JSPL (Angul) | 268.3883 | JSL(Duburi) |  |  |  | -15.6983
| ICCL | 41.2994 | visa |  |  |  | 11.5398
| NALCO | -132.8247 | VAL (CGP) |  |  |  | 205.6891
| RSP | -76.8426 | BSL(MMDL) |  |  |  | 56.0737
| INDAL | 0.61274 | ADITYA ALUMINIUM |  |  |  | 47.0428
| NINL | -27.7735 | VAL CPP 400 kV |  |  |  | -1090.9103
| NBVL | 54.224 | Arati |  |  |  | 8.4036
| BPSL(JSG) | -72.131 | BPPL |  |  |  | 0
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-12 | 2026-08-13 | 2026-08-14 | 2026-08-15 | 2026-08-16 | 2026-08-17 | 2026-08-18 | 2026-08-19
742.7938 | 722.2608 | 709.267 | 746.39 | 640.78 | 522.1927 | 696.1225 | 740.7287
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.19.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | 0 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AGE26AL_PSS6_KPS1_S | ODISHA | 122.53
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -7.5 | AP41PL_BHDL | ODISHA | 62.15
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -2.5 | AP43PL_BKN | ODISHA | 90.12
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.85
JSPLANGUL | GEB_Beneficiary | -1.63 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 14.78
JSPLANGUL | RUVITSL | 0 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | AWEK1L | ODISHA | 22.17
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | DALCEMAP | -2 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.39
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCBLME | -6 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 41.86
VSL | CR_IR_MS | -10 | DCBL_Rajgangpur | DCL_RCW | -4.62 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 9.47
FARIDABAD_SOLAR | ODISHA | 0.86 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -4.17 | DADRI_SOLAR | ODISHA | 0.65
JSWEL_UTKAL | ODISHA | 70.91 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | ENERSON_SOLAR_10MW | ODISHA | 0.27
RAJ_SOLAR | ODISHA | 2.57 | FACORPOWER | PSPCL | -5.83 | GADAG_GreenInfra_W | ODISHA | 0.58
RAJ_SOLAR | ODISHA | 2.5 | FACORPOWER | PSPCL | -1.46 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | FACORPOWER | PSPCL | -3.54 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | FACORPOWER | PSPCL | -14.17 | GADAG_Serentica3_S | VLSEZ | 38.12
|  |  | JSPLANGUL | RUVITSL | -4.7 | GADAG_Serentica3_W | VLSEZ | 80.32
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_Serentica3_W | VLSEZ | 2.81
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GIWEL_SECI_II_RE | ODISHA | 75.21
|  |  | NBVLIPP | BSPHCL | -14.38 | GPCL_SOLAR_10 | ODISHA | 0.74
|  |  | NBVLIPP | BSPHCL | -3.54 | GSECL_SOLAR | ODISHA | 0.56
|  |  | OCL_IRON_STEEL | BRPL | -25 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.18
|  |  | OCL_IRON_STEEL | TPDDL | -27 | KARUR_TPVARDHAMAN_W | TSKPO | 94.1
|  |  | ODISHA | TANGEDCO | -38.54 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | ODISHA | TANGEDCO | -13.54 | Kurnool_Greenko_H_Inj | ADITYAAL | 6.42
|  |  | ODISHA | TANGEDCO | -25 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | ORSISL | PSPCL | -1.17 | NTPCRE1_SMND_BHJ2_W | ODISHA | 6.94
|  |  | ORSISL | PSPCL | -2.83 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 17.18
|  |  | ORSISL | TPLD | -1.25 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.14
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | OKWPL_RE | ODISHA | 32.6
|  |  | Shri_JSPL | TPLD | -1 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 23.39
|  |  | Shri_JSPL | TPL_DIS_DHOLERA | -0.5 | RWE_AP2_SECI_III | ODISHA | 28.6
|  |  | TIMES_STEEL | CSEB_Beneficiary | 0 | RenewGreen_SLPR_HS | JSL_DUBURI | 16.04
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | SRI9PL_FTG3 | VLSEZ | 90.86
|  |  | VSL | WBSEDCL | -4.17 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.12
|  |  | JIPL | ODISHA | 57.88 | TSESOPL_BKN2 | OPL_CUTTAK | 0.14
|  |  | NALCOAP | NACL_Odisha | 23.17 | Tuticorin_BETAMWIND | ODISHA | 47.14
|  |  | North_Karanpura_STPS | ODISHA | 6.61 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 6.46
[6 empty] | XXPPL_FTG3 | ODISHA | 70.04

## DAM
DAM TRADING DETAILS FOR DT : 19.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Limited_FAP_Gopalpur
00:00 - 00:15 | -2.7 | 0 | 0 | -525 | 0 | -4 | -0.5 | -1 | 0 | 0 | 0
00:15 - 00:30 | -2.7 | 0 | 0 | -525 | 0 | -4 | -0.5 | -1 | 0 | 0 | 0
00:30 - 00:45 | -2.7 | 0 | 0 | -525 | 0 | -4 | -0.5 | -1 | 0 | 0 | 0
00:45 - 01:00 | -2.7 | 0 | 0 | -525 | 0 | -4 | -0.5 | -1 | 0 | 0 | 0
01:00 - 01:15 | -2.7 | 0 | 0 | -581.37 | 0 | -4 | -0.5 | -1 | 0 | 4.82 | 0
01:15 - 01:30 | -2.7 | 0 | 0 | -581.37 | 0 | -4 | -0.5 | -1 | 0 | 4.82 | 0
01:30 - 01:45 | -2.7 | 0 | 0 | -581.27 | 0 | -4 | -0.5 | -1 | 0 | 4.82 | 0
01:45 - 02:00 | -2.7 | 0 | 0 | -555.07 | 0 | -4 | -0.5 | -1 | 0 | 4.82 | 0
02:00 - 02:15 | -2.7 | 0 | 0 | -425 | 0 | -4 | -0.5 | -1 | 0 | 4.82 | 0
02:15 - 02:30 | -2.7 | 0 | 0 | -425 | 0 | -4 | -0.5 | -1 | 0 | 4.82 | 0
02:30 - 02:45 | -2.7 | 0 | 0 | -425 | 0 | -4 | -0.5 | -1 | 0 | 4.82 | 0
02:45 - 03:00 | -2.7 | 0 | 0 | -425 | 0 | -4 | -0.5 | -1 | 0 | 4.82 | 0
03:00 - 03:15 | -2.7 | 0 | 0 | -425 | 0 | -4 | -0.5 | -1 | 0 | 4.82 | 0
03:15 - 03:30 | -2.7 | 0 | 0 | -425 | 0 | -4 | -0.5 | -1 | 0 | 4.82 | 0
03:30 - 03:45 | -2.7 | 0 | 0 | -425 | 0 | -4 | -0.5 | -1 | 0 | 4.82 | 0
03:45 - 04:00 | -2.7 | 0 | 0 | -425 | 0 | -4 | -0.5 | -1 | 0 | 4.82 | 0
04:00 - 04:15 | -2.7 | 0 | 0 | -425 | 0 | -4 | -0.5 | -1 | 0 | 4.82 | 0
04:15 - 04:30 | -2.7 | 0 | 0 | -425 | 0 | -4 | -0.5 | -1 | 0 | 4.82 | 0
04:30 - 04:45 | -2.7 | 0 | 0 | -425 | 0 | -4 | -0.5 | -1 | 0 | 4.82 | 0
04:45 - 05:00 | -2.7 | 0 | 0 | -425 | 0 | -4 | -0.5 | -1 | 0 | 4.82 | 0
05:00 - 05:15 | -2.7 | 0 | 0 | -325 | 0 | -4 | -0.5 | -2 | -43 | 4.82 | 0
05:15 - 05:30 | -2.7 | 0 | 0 | -503.67 | 0 | -4 | -0.5 | -2 | -43 | 4.82 | 0
05:30 - 05:45 | -2.7 | 0 | 0 | -675.29 | 0 | -4 | -0.5 | -2 | -43 | 0 | 0
05:45 - 06:00 | -2.7 | 0 | 0 | -700 | 0 | -4 | -0.5 | -2 | -43 | 0 | 0
06:00 - 06:15 | -2.7 | 0 | 0 | -600 | 0 | -10 | -0.5 | -2 | -43 | 0 | 0
06:15 - 06:30 | -2.7 | 0 | 0 | -600 | 0 | -10 | -0.5 | -2 | -43 | 0 | 0
06:30 - 06:45 | -2.7 | 0 | 0 | -600 | 0 | -10 | -0.5 | -2 | -43 | 0 | 0
06:45 - 07:00 | -2.7 | 0 | 0 | -600 | 0 | -10 | -0.5 | -2 | -43 | 0 | 0
07:00 - 07:15 | -2.7 | 0 | 0 | -725 | 0 | -10 | -0.5 | -2 | -43 | 0 | 0
07:15 - 07:30 | -2.7 | 0 | 0 | -725 | 0 | -10 | -0.5 | -2 | -43 | 0 | 0
07:30 - 07:45 | -2.7 | 0 | 0 | -825 | 0 | -10 | -0.5 | -2 | -43 | 0 | 0
07:45 - 08:00 | -2.7 | 0 | 0 | -775 | 0 | -10 | -0.5 | -2 | -43 | 0 | 0
08:00 - 08:15 | -2.7 | 22.19 | 0 | -1050 | 0 | -4 | -0.5 | -1 | -43 | 0 | 0
08:15 - 08:30 | -2.7 | 22.19 | 0 | -1050 | 0 | -4 | -0.5 | -1 | -43 | 0 | 0
08:30 - 08:45 | -2.7 | 22.19 | 0 | -947.78 | 0 | -4 | -0.5 | -1 | -43 | 4.82 | 0
08:45 - 09:00 | -2.7 | 22.19 | 0 | -650 | 0 | -4 | -0.5 | -1 | -43 | 4.82 | 0
09:00 - 09:15 | -2.7 | 22.19 | 0 | -1100 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 0
09:15 - 09:30 | -2.7 | 22.19 | 0 | -1100 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 0
09:30 - 09:45 | -2.7 | 22.19 | 0 | -1100 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 0
09:45 - 10:00 | -2.7 | 22.19 | 0 | -784.44 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 0
10:00 - 10:15 | -2.7 | 22.19 | 0 | -339.89 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 0
10:15 - 10:30 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 0
10:30 - 10:45 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 0
10:45 - 11:00 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 0
11:00 - 11:15 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 0
11:15 - 11:30 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 0
11:30 - 11:45 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 3.88
11:45 - 12:00 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 4.9
12:00 - 12:15 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 7.72
12:15 - 12:30 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 7.72
12:30 - 12:45 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 7.72
12:45 - 13:00 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 7.72
13:00 - 13:15 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 7.72
13:15 - 13:30 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 7.72
13:30 - 13:45 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 7.72
13:45 - 14:00 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 7.72
14:00 - 14:15 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 1.59
14:15 - 14:30 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 0
14:30 - 14:45 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 0
14:45 - 15:00 | -2.7 | 22.19 | 0 | 0 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 0
15:00 - 15:15 | -2.7 | 22.19 | 0 | -488.98 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 0
15:15 - 15:30 | -2.7 | 22.19 | 0 | -815.7 | 0 | -4 | -0.5 | -1 | -18 | 4.82 | 0
15:30 - 15:45 | -2.7 | 22.19 | 0 | -1296.9 | 33.77 | -4 | -0.5 | -1 | -18 | 4.82 | 0
15:45 - 16:00 | -2.7 | 22.19 | 0 | -1300 | 30.14 | -4 | -0.5 | -1 | -18 | 4.82 | 0
16:00 - 16:15 | -2.7 | 22.19 | 0 | -1000 | 0 | -4 | -0.5 | -1 | -43 | 4.82 | 0
16:15 - 16:30 | -2.7 | 22.19 | 0 | -1000 | 0 | -4 | -0.5 | -1 | -43 | 4.82 | 0
16:30 - 16:45 | -2.7 | 22.19 | 0 | -1329.63 | 0 | -4 | -0.5 | -1 | -43 | 4.82 | 0
16:45 - 17:00 | -2.7 | 22.19 | 0 | -1400 | 0 | -4 | -0.5 | -1 | -43 | 4.82 | 0
17:00 - 17:15 | -2.7 | 0 | 0 | -975 | 0 | -5 | -0.5 | -2 | -43 | 4.82 | 0
17:15 - 17:30 | -2.7 | 0 | 0 | -975 | 0 | -5 | -0.5 | -2 | -43 | 4.82 | 0
17:30 - 17:45 | -2.7 | 0 | 0 | -975 | 0 | -5 | -0.5 | -2 | -43 | 4.82 | 0
17:45 - 18:00 | -2.7 | 0 | 0 | -975 | 0 | -5 | -0.5 | -2 | -43 | 4.82 | 0
18:00 - 18:15 | -2.7 | 0 | 0 | -400 | 0 | -4 | -0.5 | -2 | -43 | 4.82 | 0
18:15 - 18:30 | -2.7 | 0 | 0 | -200 | 0 | -4 | -0.5 | -2 | -43 | 4.82 | 0
18:30 - 18:45 | -2.7 | 0 | 0 | -200 | 0 | -4 | -0.5 | -2 | -43 | 0 | 0
18:45 - 19:00 | -2.7 | 0 | 0 | -150 | 0 | -4 | -0.5 | -2 | -43 | 0 | 0
19:00 - 19:15 | -2.7 | 0 | -14 | 0 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
19:15 - 19:30 | -2.7 | 0 | -14 | 0 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
19:30 - 19:45 | -2.7 | 0 | -14 | 0 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
19:45 - 20:00 | -2.7 | 0 | -14 | 0 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
20:00 - 20:15 | -2.7 | 0 | -14 | 0 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
20:15 - 20:30 | -2.7 | 0 | -14 | 0 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
20:30 - 20:45 | -2.7 | 0 | -14 | 0 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
20:45 - 21:00 | -2.7 | 0 | -14 | 0 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
21:00 - 21:15 | -2.7 | 0 | -14 | -140 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
21:15 - 21:30 | -2.7 | 0 | -14 | -140 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
21:30 - 21:45 | -2.7 | 0 | -14 | -140 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
21:45 - 22:00 | -2.7 | 0 | -14 | -140 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
22:00 - 22:15 | -2.7 | 0 | -14 | -340 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
22:15 - 22:30 | -2.7 | 0 | -14 | -340 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
22:30 - 22:45 | -2.7 | 0 | -14 | -340 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
22:45 - 23:00 | -2.7 | 0 | -14 | -340 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
23:00 - 23:15 | -2.7 | 0 | -14 | -390 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
23:15 - 23:30 | -2.7 | 0 | -14 | -390 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
23:30 - 23:45 | -2.7 | 0 | -14 | -540 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
23:45 - 24:00 | -2.7 | 0 | -14 | -540 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0
Average | -2.7 | 8.3213 | -2.9167 | -443.0871 | 0.66573 | -4.5417 | -0.5 | -1.4167 | -17.7917 | 2.9121 | 0.75135

## GDAM
GDAM TRADING DETAILS FOR DT:19.08.2026
Time Period | GRIDCO | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal
00:00 - 00:15 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 14.47 | 0 | 0 | 0.48 | 0 | 0
00:45 - 01:00 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 14.47 | 0 | 0 | 6.27 | 0 | 0
01:15 - 01:30 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 14.47 | 0 | 0 | 6.27 | 0 | 0
02:00 - 02:15 | 0 | 0 | 14.47 | 0 | 0 | 6.27 | 0 | 0
02:15 - 02:30 | 0 | 0 | 14.47 | 0 | 0 | 6.27 | 0 | 0
02:30 - 02:45 | 0 | 0 | 14.47 | 0 | 0 | 6.27 | 0 | 0
02:45 - 03:00 | 0 | 0 | 14.47 | 0 | 0 | 6.27 | 0 | 0
03:00 - 03:15 | 0 | 0 | 14.47 | 0 | 0 | 6.27 | 5.21 | 0
03:15 - 03:30 | 0 | 0 | 14.47 | 0 | 0 | 6.27 | 0 | 0
03:30 - 03:45 | 0 | 0 | 14.47 | 0 | 0 | 6.27 | 0 | 0
03:45 - 04:00 | 0 | 0 | 14.47 | 0 | 0 | 6.27 | 0 | 0
04:00 - 04:15 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 14.47 | 0 | 0 | 6.27 | 0 | 0
08:00 - 08:15 | 0 | 0 | 19.29 | 0 | 0 | 6.27 | 0 | 0
08:15 - 08:30 | 0 | 0 | 19.29 | 0 | 0 | 6.27 | 0 | 0
08:30 - 08:45 | 0 | 0 | 19.29 | 0 | 0 | 6.27 | 0 | 0
08:45 - 09:00 | 0 | 0 | 19.29 | 33.77 | 9.65 | 6.27 | 28.94 | 0
09:00 - 09:15 | 0 | 0 | 19.29 | 33.77 | 9.65 | 6.27 | 28.94 | 4.82
09:15 - 09:30 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
09:30 - 09:45 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
09:45 - 10:00 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
10:00 - 10:15 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
10:15 - 10:30 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
10:30 - 10:45 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
10:45 - 11:00 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
11:00 - 11:15 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
11:15 - 11:30 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
11:30 - 11:45 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
11:45 - 12:00 | 127.74 | 33.76 | 19.29 | 33.76 | 9.65 | 6.27 | 28.94 | 4.82
12:00 - 12:15 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
12:15 - 12:30 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
12:30 - 12:45 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
12:45 - 13:00 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
13:00 - 13:15 | 32.84 | 33.76 | 19.29 | 33.77 | 9.65 | 6.27 | 28.94 | 4.82
13:15 - 13:30 | 26.02 | 33.76 | 19.29 | 33.77 | 9.65 | 6.27 | 28.94 | 4.82
13:30 - 13:45 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
13:45 - 14:00 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
14:00 - 14:15 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 28.94 | 4.82
14:15 - 14:30 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 19.29 | 4.82
14:30 - 14:45 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 19.29 | 4.82
14:45 - 15:00 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 19.29 | 4.82
15:00 - 15:15 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 19.29 | 4.82
15:15 - 15:30 | 0 | 33.76 | 19.29 | 33.78 | 9.65 | 6.27 | 19.29 | 4.82
15:30 - 15:45 | 0 | 0 | 19.29 | 33.77 | 9.65 | 6.27 | 19.29 | 4.82
15:45 - 16:00 | 0 | 0 | 19.29 | 33.77 | 9.65 | 6.27 | 19.29 | 4.82
16:00 - 16:15 | 0 | 0 | 14.47 | 33.77 | 0 | 6.27 | 28.94 | 0
16:15 - 16:30 | 0 | 0 | 14.47 | 33.77 | 0 | 6.27 | 28.94 | 0
16:30 - 16:45 | 0 | 0 | 14.47 | 33.77 | 0 | 6.27 | 28.94 | 0
16:45 - 17:00 | 0 | 0 | 14.47 | 33.77 | 0 | 6.27 | 28.94 | 0
17:00 - 17:15 | 0 | 0 | 14.47 | 33.77 | 0 | 6.27 | 28.94 | 0
17:15 - 17:30 | 0 | 0 | 14.47 | 33.77 | 0 | 6.27 | 28.94 | 0
17:30 - 17:45 | 0 | 0 | 14.47 | 33.77 | 0 | 6.27 | 28.94 | 0
17:45 - 18:00 | 0 | 0 | 14.47 | 33.77 | 0 | 6.27 | 28.94 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | 1.9437 | 8.7917 | 11.7055 | 13.0177 | 2.9151 | 3.3359 | 10.5046 | 1.4058

## RTM
RTM TRADING DETAILS FOR DT: 19.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -1.2 | 0 | -0.6 | -1.3 | 0 | -100 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -32 | 0 | -35 | 0 | 0 | 54.99 | -9.3 | -4
00:15 - 00:30 | -1.2 | 0 | -0.6 | -1.3 | 0 | -100 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -32 | 0 | -20 | 0 | 0 | 54.99 | -9.3 | -4
00:30 - 00:45 | -1.2 | 0 | -0.6 | -1.3 | 0 | -26.37 | 4.82 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 0 | 7.72 | 0 | 0 | 0 | -32 | 0 | 0 | 8.68 | 106.12 | 54.99 | -9.3 | -4
00:45 - 01:00 | -1.2 | 0 | -0.6 | -1.3 | 0 | -21.06 | 4.82 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 0 | 7.72 | 0 | 0 | 0 | 0 | 0 | -30 | 8.68 | 106.12 | 54.99 | -9.3 | -4
01:00 - 01:15 | -1.2 | 0 | -0.6 | -1.3 | 0 | -43.36 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 33.76 | -9.3 | 0
01:15 - 01:30 | -1.2 | 0 | -0.6 | -1.3 | 0 | -36.69 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.76 | -9.3 | 0
01:30 - 01:45 | -1.2 | 0 | -0.6 | -1.3 | 0 | 7.79 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 28.94 | -9.3 | 0
01:45 - 02:00 | -1.2 | 0 | -0.6 | -1.3 | 0 | 74.23 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 28.94 | -9.3 | 0
02:00 - 02:15 | -1.2 | 0 | -0.6 | -1.3 | 0 | -89 | 2.41 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 0 | 2.89 | 0 | 0 | 0 | -4 | 0 | 0 | 8.68 | 115.78 | 28.94 | -9.3 | 0
02:15 - 02:30 | -1.2 | 0 | -0.6 | -1.3 | 0 | -83.32 | 2.41 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 0 | 2.89 | 0 | 0 | 0 | -4 | 0 | -35 | 8.68 | 115.78 | 28.94 | -9.3 | 0
02:30 - 02:45 | -1.2 | 0 | 0 | -1.3 | 0 | 7.71 | 2.41 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 0 | 2.89 | 0 | 0 | 0 | -4 | 0 | -35 | 8.68 | 125.42 | 28.94 | -9.3 | 0
02:45 - 03:00 | -1.2 | 0 | 0 | -1.3 | 0 | 6.58 | 2.41 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 0 | 2.89 | 0 | 0 | 0 | -4 | 0 | 0 | 8.68 | 70.07 | 28.94 | -9.3 | 0
03:00 - 03:15 | -1.2 | 0 | 0 | -1.3 | 0 | 2.19 | 2.41 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 8.68 | 0 | 28.94 | -9.3 | 0
03:15 - 03:30 | -1.2 | 0 | 0 | -1.3 | 0 | 100.31 | 2.41 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 8.68 | 0 | 28.94 | -9.3 | 0
03:30 - 03:45 | -1.2 | 0 | 0 | -1.3 | 0 | 7.23 | 2.41 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 0 | 2.89 | 0 | 0 | 0 | -4 | 0 | -5 | 8.68 | 135.07 | 28.94 | -9.3 | 0
03:45 - 04:00 | -1.2 | 0 | 0 | -1.3 | 0 | 8.42 | 2.41 | 0 | 0 | 0 | -1 | 0 | 19.29 | 0 | 0 | 0 | 2.89 | 0 | 0 | 0 | -4 | 0 | -30 | 8.68 | 135.07 | 28.94 | -9.3 | 0
04:00 - 04:15 | -1.2 | 0 | 0 | -1.3 | 0 | 100.32 | 2.89 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 8.68 | 0 | 28.94 | -9.3 | 0
04:15 - 04:30 | -1.2 | 0 | 0 | -1.3 | 0 | 194.38 | 2.89 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.68 | 0 | 28.94 | -9.3 | 0
04:30 - 04:45 | -1.2 | 0 | 0 | -1.3 | 0 | 98.93 | 2.89 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.68 | 0 | 28.94 | -9.3 | 0
04:45 - 05:00 | -1.2 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.94 | -9.3 | 0
05:00 - 05:15 | -1.2 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.22 | 28.94 | -9.3 | 0
05:15 - 05:30 | -1.2 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.22 | 28.94 | -9.3 | 0
05:30 - 05:45 | -1.2 | 0 | -0.6 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.94 | 28.94 | -9.3 | 0
05:45 - 06:00 | -1.2 | 0 | -0.6 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28.94 | 28.94 | -9.3 | 0
06:00 - 06:15 | -1.2 | 0 | -0.6 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -4 | 0 | -25 | 0 | 28.94 | 13.51 | -9.3 | 0
06:15 - 06:30 | -1.2 | 0 | -0.6 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -0.1 | -2 | 0 | 0 | 0 | 0 | -4 | 0 | -35 | 0 | 28.94 | 12.54 | -9.3 | 0
06:30 - 06:45 | -1.2 | 0 | -0.6 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -0.5 | -2 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 28.94 | 9.65 | -9.3 | 0
06:45 - 07:00 | -1.2 | 0 | -0.6 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -0.8 | -2 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 28.94 | 0 | -9.3 | 0
07:00 - 07:15 | -1.2 | 0 | 0 | -1.3 | 0 | 12.49 | 0 | 0 | -0.1 | 0 | -1 | 0 | 0 | 0 | -1.1 | -2 | 0 | 0 | 0 | 0 | -4 | 0 | -12 | 0 | 33.77 | 0 | -9.3 | 0
07:15 - 07:30 | -1.2 | 0 | 0 | -1.3 | 0 | 47.02 | 0 | 0 | -0.1 | 0 | -1 | 0 | 0 | 0 | -1.5 | -2 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 33.76 | 0 | -9.3 | 0
07:30 - 07:45 | -1.2 | 0 | 0 | -1.3 | 0 | 48.18 | 0 | 0 | -0.1 | 0 | -1 | 0 | 0 | 0 | -1.7 | -1 | 0 | -5 | 0 | 0 | -4 | 0 | -49.99 | 0 | 38.59 | 0 | -9.3 | 0
07:45 - 08:00 | -1.2 | -3 | 0 | -1.3 | 0 | 5.79 | 2.41 | 0 | -0.2 | 0 | -1 | 0 | 19.29 | 0 | -2 | -1 | 7.72 | -5 | 0 | 0 | -4 | 0 | -50 | 8.68 | 125.41 | 0 | -9.3 | 0
08:00 - 08:15 | -1.2 | 0 | 0 | 0 | 0 | 201.37 | 1.45 | 0 | -0.2 | 0 | -1 | 0 | 0 | 0 | -2.3 | -1 | 0 | -5 | 0 | 0 | -5 | 0 | 0 | 8.68 | 0 | 0 | -9.3 | 0
08:15 - 08:30 | -1.2 | 0 | 0 | 0 | 0 | 105.37 | 1.45 | 0 | -0.3 | 0 | -1 | 0 | 0 | 0 | -2.5 | -1 | 0 | -5 | 0 | 0 | -5 | 0 | 0 | 8.68 | 0 | 0 | -9.3 | 0
08:30 - 08:45 | -1.2 | 0 | 0 | 0 | 0 | -200 | 1.45 | 0 | -0.8 | 0 | -1 | 0 | 0 | 0 | -2.8 | -1 | 0 | -5 | 0 | 0 | -5 | 0 | -20 | 8.68 | 0 | 0 | -9.3 | 0
08:45 - 09:00 | -1.2 | 0 | 0 | 0 | 0 | -291.27 | 1.45 | 0 | -0.9 | 0 | -1 | 0 | 0 | 0 | -3.1 | -1 | 0 | -5 | 0 | 0 | -5 | 0 | 0 | 8.68 | 0 | 0 | -9.3 | 0
09:00 - 09:15 | -1.2 | 0 | 0 | 0 | 0 | -67.04 | 1.45 | 0 | -1.2 | 0 | -1 | -15 | 0 | 0 | -3.3 | -1.5 | 0 | -5 | 2.89 | 12.54 | -5 | 0 | 0 | 8.68 | 0 | 0 | -9.3 | 0
09:15 - 09:30 | -1.2 | -3 | 0 | 0 | 0 | -150 | 1.45 | 0 | -1.3 | 0 | -1 | 0 | 0 | 0 | -3.5 | -1.5 | 0 | -5 | 2.89 | 12.54 | -5 | 0 | -40 | 8.68 | 0 | 0 | -9.3 | 0
09:30 - 09:45 | -1.2 | 0 | 0 | 0 | 1.93 | -175.48 | 1.45 | 0 | -1.6 | 0 | -1 | 0 | 0 | 0 | -3.6 | -1.5 | 2.89 | -5 | 2.89 | 12.54 | -5 | 0 | -20 | 8.68 | 96.48 | 0 | -9.3 | 0
09:45 - 10:00 | -1.2 | 0 | 0 | 0 | 1.93 | -575.36 | 1.45 | 0 | -1.7 | 0 | -1 | 0 | 0 | 0 | -1.4 | -1.5 | 2.89 | -5 | 2.89 | 12.54 | -5 | 0 | 0 | 8.68 | 96.48 | 0 | -9.3 | 0
10:00 - 10:15 | -1.2 | 0 | 0 | 0 | 0 | -1226.75 | 2.89 | 0 | -2.4 | 0 | -1 | 0 | 0 | 0 | 0 | -1 | 2.89 | -5 | 2.89 | 12.54 | -5 | 1.45 | -40 | 8.68 | 96.48 | 0 | -9.3 | 0
10:15 - 10:30 | -1.2 | 0 | 0 | 0 | 0 | -1526.75 | 2.89 | 0 | -2.3 | 0 | -1 | 0 | 0 | 0 | 0 | -1 | 2.89 | -5 | 2.89 | 12.54 | -5 | 1.45 | 0 | 8.68 | 96.48 | 0 | -9.3 | 0
10:30 - 10:45 | -1.2 | 0 | 0 | 0 | 1.93 | -1455.03 | 9.65 | 0 | -2.4 | 0 | -1 | 0 | 0 | 0 | 3.57 | -1 | 2.89 | -5 | 2.89 | 12.54 | -5 | 1.45 | 0 | 8.68 | 96.47 | 0 | -9.3 | 0
10:45 - 11:00 | -1.2 | -2 | 0 | 0 | 1.93 | -1454.96 | 9.65 | 0 | -2.6 | 0 | -1 | 0 | 0 | 0 | 3.57 | -1 | 2.89 | -5 | 2.89 | 12.54 | -5 | 1.45 | 0 | 8.68 | 96.47 | 0 | -9.3 | 0
11:00 - 11:15 | -1.2 | -2 | 0 | 0 | 1.93 | -1317.01 | 9.65 | 0 | -2.9 | 0 | -1 | 0 | 0 | 0 | 3.57 | -1 | 2.89 | 0 | 2.89 | 9.65 | 0 | 1.45 | 0 | 8.68 | 96.47 | 0 | -9.3 | 0
11:15 - 11:30 | -1.2 | 0 | 0 | 0 | 1.93 | -1222.01 | 9.65 | 0 | -2.9 | 0 | -1 | 0 | 0 | 0 | 2.52 | -1 | 2.89 | 0 | 2.89 | 9.65 | 0 | 1.45 | 0 | 8.68 | 96.47 | 0 | -9.3 | 0
11:30 - 11:45 | -1.2 | 0 | 0 | 0 | 1.93 | -1203.47 | 9.65 | 0 | -2.7 | 0 | -1 | 0 | 0 | 0 | 3.18 | -1 | 2.89 | 0 | 2.89 | 9.65 | 0 | 1.45 | 0 | 8.68 | 96.47 | 0 | -9.3 | 0
11:45 - 12:00 | -1.2 | 0 | 0 | 0 | 1.93 | -1353.47 | 9.65 | 0 | -2.7 | 0 | -1 | 0 | 0 | 0 | 3.76 | -1 | 2.89 | 0 | 2.89 | 9.65 | 0 | 1.45 | -10 | 8.68 | 96.47 | 0 | -9.3 | 0
12:00 - 12:15 | -1.2 | 0 | 0 | 0 | 1.93 | -1335.37 | 7.72 | 0 | -2.8 | 0 | -1 | 0 | 0 | 0 | 3.76 | -1 | 4.82 | 0 | 2.89 | 9.65 | 0 | 1.45 | 0 | 8.68 | 130.24 | 0 | -9 | 0
12:15 - 12:30 | -1.2 | 0 | 0 | 0 | 1.93 | -1335.37 | 7.72 | 0 | -2.8 | 0 | -1 | 0 | 0 | 0 | 3.86 | -1 | 4.82 | 0 | 2.89 | 9.65 | 0 | 1.45 | 0 | 8.68 | 130.23 | 0 | -9 | 0
12:30 - 12:45 | -1.2 | 24.12 | -0.4 | 0 | 1.93 | -1067.52 | 7.72 | 0 | -2.6 | 0 | -1 | 0 | 0 | 0 | 3.76 | -1 | 4.82 | 0 | 2.89 | 9.65 | -3 | 1.45 | -20 | 8.68 | 130.24 | 0 | -9 | 0
12:45 - 13:00 | -1.2 | 24.12 | -0.4 | 0 | 1.93 | -967.55 | 7.72 | 0 | -2.4 | 0 | -1 | 0 | 0 | 0 | 3.67 | -1 | 4.82 | 0 | 2.89 | 9.65 | -3 | 1.45 | 0 | 8.68 | 130.23 | 0 | -9 | 0
13:00 - 13:15 | -1.2 | 30.87 | -0.6 | 0 | 1.93 | -980.15 | 7.72 | 0 | -1.4 | 0 | -1 | 0 | 0 | 0 | 3.67 | -1 | 4.82 | 0 | 2.89 | 9.65 | -3 | 1.45 | -30 | 8.68 | 130.23 | 0 | -9 | 0
13:15 - 13:30 | -1.2 | 30.87 | -0.6 | 0 | 1.93 | -885.35 | 7.72 | 0 | -1.5 | 0 | -1 | 0 | 0 | 0 | 3.57 | -1 | 4.82 | 0 | 2.89 | 9.65 | -3 | 1.45 | -20 | 8.68 | 130.24 | 0 | -9 | 0
13:30 - 13:45 | -1.2 | 30.87 | -0.6 | 0 | 1.93 | -829.91 | 7.72 | 0 | -1.6 | 0 | -1 | 0 | 0 | 0 | -1.3 | -1 | 4.82 | 0 | 2.89 | 9.65 | -3 | 1.45 | 0 | 8.68 | 130.24 | 0 | -7 | 0
13:45 - 14:00 | -1.2 | 30.87 | -0.6 | 0 | 1.93 | -849.28 | 7.72 | 0 | -1.5 | 0 | -1 | 0 | 0 | 0 | -3.4 | -1 | 4.82 | 0 | 2.89 | 9.65 | -3 | 1.45 | 0 | 8.68 | 130.24 | 0 | -7 | 0
14:00 - 14:15 | -1.2 | 30.87 | -0.6 | 0 | 1.93 | -1104.94 | 7.72 | 0 | -1.6 | 0 | -1 | 0 | 0 | 0 | -3.5 | -1 | 4.82 | 0 | 0 | 9.65 | -3 | 1.45 | -40 | 8.68 | 130.23 | 0 | -7 | 0
14:15 - 14:30 | -1.2 | 21.22 | -0.6 | 0 | 1.93 | -1228.46 | 7.72 | 0 | -1.6 | 0 | -1 | 0 | 0 | 0 | -3.3 | -1 | 2.89 | 0 | 0 | 9.65 | -3 | 1.45 | -40 | 8.68 | 130.24 | 0 | -7 | 0
14:30 - 14:45 | -1.2 | 12.54 | -0.6 | 0 | 1.93 | -1140.07 | 7.72 | 0 | -4 | 0 | -1 | 0 | 0 | 0 | -3.3 | -1 | 2.89 | 0 | 0 | 9.65 | -3 | 1.45 | -40 | 8.68 | 130.23 | 0 | -8.7 | 0
14:45 - 15:00 | -1.2 | 12.54 | -0.6 | 0 | 1.93 | -1249.39 | 7.72 | 0 | -0.3 | 0 | -1 | 0 | 0 | 0 | -3.2 | -1 | 2.89 | 0 | 0 | 9.65 | -3 | 1.45 | -40 | 8.68 | 119.62 | 0 | -8.7 | 0
15:00 - 15:15 | -1.2 | 10.61 | -0.6 | 0 | 1.93 | -896.69 | 7.72 | 0 | -0.2 | 0 | -1.2 | 0 | 0 | 0 | -3 | -1 | 2.89 | 0 | 0 | 9.65 | -3 | 1.45 | 0 | 8.68 | 119.62 | 0 | -8.7 | 0
15:15 - 15:30 | -1.2 | 10.61 | -0.6 | 0 | 1.93 | -800.02 | 7.72 | 0 | -0.1 | 0 | -1.2 | 0 | 0 | 0 | -2.8 | -1 | 2.89 | 0 | 0 | 9.65 | -3 | 1.45 | -10 | 8.68 | 96.47 | 0 | -8.7 | 0
15:30 - 15:45 | -1.2 | 7.72 | -1 | 0 | 0 | -257.51 | 7.72 | 0 | -0.1 | 0 | -1.2 | 0 | 0 | 0 | -2.6 | -1 | 0 | 0 | 0 | 0 | -2 | 0 | -35 | 8.68 | 0 | 0 | -8.7 | 0
15:45 - 16:00 | -1.2 | 7.72 | -1 | 0 | 0 | -157.54 | 7.72 | 0 | -0.1 | 0 | -1.2 | -15 | 0 | 0 | -2.1 | -1 | 0 | 0 | 0 | 0 | -2 | 0 | -40 | 8.68 | 0 | 0 | -8.7 | 0
16:00 - 16:15 | -1.2 | 9.65 | -1 | 0 | 1.93 | -470.3 | 7.72 | 0 | 0 | 0 | -1.2 | 0 | 19.29 | 0 | -2 | -1 | 2.89 | 0 | 0 | 9.65 | -2 | 1.45 | -40 | 8.68 | 82 | 0 | -9.7 | 0
16:15 - 16:30 | -1.2 | 9.65 | -1 | 0 | 0 | -416.07 | 7.72 | 0 | 0 | 0 | -1.2 | 0 | 19.29 | 0 | -1.8 | -1 | 2.89 | 0 | 0 | 0 | -2 | 0 | -40 | 8.68 | 77.18 | 0 | -9.7 | 0
16:30 - 16:45 | -1.2 | 9.64 | -1 | 0 | 0 | 0 | 2.49 | 0 | 0 | 0 | -1.2 | 0 | 0 | -5 | -1.6 | -2 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 2.81 | 0 | 0 | -9.7 | 0
16:45 - 17:00 | -1.2 | 9.65 | -1 | 0 | 0 | 94.41 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | -5 | -1.2 | -2 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0
17:00 - 17:15 | -1.2 | 21.22 | -0.3 | 0 | 0 | -200.88 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | -5 | -0.8 | -2 | 0 | 0 | 0 | 0 | -2 | 0 | -15 | 0 | 0 | 0 | -9.7 | 0
17:15 - 17:30 | -1.2 | 21.22 | -0.3 | 0 | 0 | -102.03 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | -5 | -0.5 | -2 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0
17:30 - 17:45 | -1.2 | 7.72 | -0.3 | 0 | 0 | -54.15 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | -5 | -0.2 | -2 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0
17:45 - 18:00 | -1.2 | 2.89 | -0.3 | 0 | 0 | 130.98 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | -5 | 0 | -2 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0
18:00 - 18:15 | -1.2 | 7.72 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -9.7 | 0
18:15 - 18:30 | -1.2 | 2.89 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0
18:30 - 18:45 | -1.2 | 0 | -0.3 | -1 | 0 | -24.99 | 0 | 0 | 0 | -7 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0
18:45 - 19:00 | -1.2 | 0 | -0.3 | -1 | 0 | -25 | 0 | 0 | 0 | -7 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -9.7 | 0
19:00 - 19:15 | -1.2 | 0 | -0.3 | -1.3 | 0 | 0 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0
19:15 - 19:30 | -1.2 | 0 | -0.3 | -1.3 | 0 | 0 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0
19:30 - 19:45 | -1.2 | 0 | -0.3 | -1.3 | 0 | 0 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0
19:45 - 20:00 | -1.2 | 0 | -0.3 | -1.3 | 0 | 0 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | -9.7 | 0
20:00 - 20:15 | -1.2 | 0 | -0.3 | -1.4 | 0 | 19.2 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -9.7 | 0
20:15 - 20:30 | -1.2 | 0 | -0.3 | -1.4 | 0 | 20.27 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | -9.7 | 0
20:30 - 20:45 | -1.2 | 0 | 0 | -1.4 | 0 | 38.48 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -35 | 0 | 0 | 0 | -6.2 | 0
20:45 - 21:00 | -1.2 | 0 | 0 | -1.4 | 0 | 38.29 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | -6.2 | 0
21:00 - 21:15 | -1.2 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -6.2 | 0
21:15 - 21:30 | -1.2 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -6.2 | 0
21:30 - 21:45 | -1.2 | 0 | -0.6 | -1.4 | 0 | 0 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -6.2 | 0
21:45 - 22:00 | -1.2 | 0 | -0.6 | -1.4 | 0 | 0 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -16 | 0 | 0 | 0 | -6.2 | 0
22:00 - 22:15 | -1.4 | 0 | -0.6 | -1.5 | 0 | 30.74 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -35 | 0 | 0 | 9.84 | -6.2 | 0
22:15 - 22:30 | -1.4 | 0 | -0.6 | -1.5 | 0 | 27.76 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -35 | 0 | 0 | 12.76 | -6.2 | 0
22:30 - 22:45 | -1.4 | 0 | 0 | -1.5 | 0 | 43.71 | 0 | -40 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 32.06 | -6.2 | 0
22:45 - 23:00 | -1.4 | 0 | 0 | -1.5 | 0 | 45.23 | 0 | -40 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 33.18 | -6.2 | 0
23:00 - 23:15 | -1.4 | 0 | 0 | -1.5 | 0 | 70.5 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 42.3 | -6.2 | 0
23:15 - 23:30 | -1.4 | 0 | 0 | -1.5 | 0 | 87.86 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 43.93 | -6.2 | 0
23:30 - 23:45 | -1.4 | 0 | 0 | -1.5 | 0 | 263.6 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -25 | 0 | 0 | 61.51 | -9.9 | 0
23:45 - 24:00 | -1.4 | 0 | 0 | -1.5 | 0 | 289.41 | 0 | 0 | 0 | -5 | -1.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -25 | 0 | 0 | 43.41 | -9.9 | 0
Average | -1.2167 | 3.9354 | -0.30208 | -0.75 | 0.4624 | -279.877 | 2.6743 | -0.83333 | -0.5625 | -1.1875 | -1.075 | -0.3125 | 2.2103 | -1.5625 | -0.25354 | -0.64583 | 1.3855 | -0.72917 | 0.60208 | 2.9549 | -3.7292 | 0.3474 | -12.0103 | 4.3693 | 44.2631 | 11.6989 | -8.8479 | -0.16667