## POWER STATUS
POWER STATUS ON DT 21.08.2026
[9 empty] | 2026-08-21 | 2026-08-20
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 6071.9987 | 6597.4329
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 228.708 | 5.489 | 630/590 ft | 616.1 | 621.37 | 621.52 | 225.5995 | 228.1009
| Chiplima | 72(3x24) | 55.375 | 1.329 | - |  |  |  | 55.9556 | 48.4117
| Balimela | 510(6x60+2x75) | 21.583 | 0.51799 | 1516/1440 ft | 1471.2 | 1467 | 1467.2 | 0 | 60.306
| Rengali | 250(5x50) | 236.0666 | 5.6656 | 123.5/109.75 mt | 120.91 | 123.49 | 123.36 | 239.9247 | 240.7453
| Upper Kolab | 320(4x80) | 52.17 | 1.2521 | 858/844 mt | 853.47 | 850.66 | 850.69 | 75.839 | 101.3578
| Upper Indravati | 600(4x150) | 159.7083 | 3.833 | 642/625 mt | 635.37 | 634.73 | 634.81 | 0.28759 | 448.3612
| Machkund | 60(50% of(3x17+3x23)) | 11.12 | 0.26688 | 2750/2685 ft | 2746.35 | 2725.2 | 2725.4 | 15.5134 | 9.1238
| Total Hydro | 2099.5 | 764.7309 | 18.3535 |  |  |  |  | 613.1198 | 1136.4068
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1640.1122 | 39.3627 | RENEWABLE ENERGY (RE) |  |  |  | 1693.8795 | 1692.3602
[5 empty] | M.Hydl | 105.4651
| Total Thermal | 2200 | 1640.1122 | 39.3627 | Solar | 100.555 |  |  | 1693.8795 | 1692.3602
IPP | VEDANTA #2 | 600 (1x600) | 419.052 | 10.0572 | Total IPPs | Yesterday's Demand Profile |  |  | 381.0156 | 528.6522
| GMR #3 | 350 (1x350) | 304.5068 | 7.3082 | 822.9743 |  | MW | HRS | 323.6684 | 325.4416
| NBVL(IPP) | 60(1x60) | 50.0497 | 1.2012 |  |  |  |  | 52.0198 | 54.6138
| MDTPC |  | 49.3657 | 1.1848 |  |  |  |  | 31.7439 | 56.5718
| CGPs |  | 704.5749 | 16.9098 | IPPs, CGPs & RE | Maximum | 6597 | 23:00 | 1680.537 | 1929.1879
| Central Sector(Drawl) |  | 1869.9893 | 44.8797 | 1733.5693 | Minimum | 5340 | 05:00 | 2084.4625 | 1839.478
| Central Sector(Sch) |  | 1907.306 | 45.7753 |  | Average | 6008.4017 |  | 2121.821 | 1624.64
| Grand Total |  | 6008.4017 | 144.2016 | Instantaneous Peak demand |  | 6888 | 22:42 | 6071.9987 | 6597.4329
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(3)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1646.9218 | 39.5261 | 1682.1762 | 40.3722 | 1676.4565 | 40.235
Balimela | 5,6 | TSTPP St-I | 2 | TPWODL | 2050.8756 | 49.221 | 2055.845 | 49.3403 | 1606.1054 | 38.5465
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1271.6994 | 30.5208 | 1373.2757 | 32.9586 | 1217.1238 | 29.211
U.Kolab | 1,2,3 | KAHALGAON | NIL | TPSODL | 588.7165 | 14.1292 | 612.7794 | 14.7067 | 601.4973 | 14.4359
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5558.2132 | 133.3971 | 5724.0763 | 137.3778 | 5101.183 | 122.4284
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 381.0156 | GMR |  |  |  | 323.6684
| NBVL #3 | 52.0198 | MDTPC |  |  |  | 31.7439
Mini Hydel: | MEENAKSHI | 39.5016 | OPCL |  |  |  | 0
| BTPL | 0 | SAPTADHARA |  |  |  | 19.9339
Solar: |  | 189.1633 | KAKATIYA |  |  |  | 4.2823
CGPs : | JSPL (Angul) | 188.6388 | JSL(Duburi) |  |  |  | -129.25
| ICCL | 46.5935 | visa |  |  |  | 12.3803
| NALCO | -130.4395 | VAL (CGP) |  |  |  | 196.605
| RSP | -99.8951 | BSL(MMDL) |  |  |  | 5.1189
| INDAL | 11.1441 | ADITYA ALUMINIUM |  |  |  | 44.3882
| NINL | -37.483 | VAL CPP 400 kV |  |  |  | -993.9319
| NBVL | 51.761 | Arati |  |  |  | -2.1684e-18
| BPSL(JSG) | -59.696 | BPPL |  |  |  | 0
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-13 | 2026-08-14 | 2026-08-15 | 2026-08-16 | 2026-08-17 | 2026-08-18 | 2026-08-19 | 2026-08-20
722.2608 | 709.267 | 746.39 | 640.78 | 522.1927 | 696.1225 | 740.7287 | 764.7309
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.20.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | 0 | AGE26AL_PSS6_KPS1_S | ODISHA | 125.71
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | 0 | AP41PL_BHDL | ODISHA | 61.21
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | 0 | AP43PL_BKN | ODISHA | 88.02
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | 0 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.19
JPIPL | NPCL_UP | 0 | AARTISTEEL | PSPCL | 0 | AWEK1L | ODISHA | 14.3
JSPLANGUL | GEB_Beneficiary | -39.13 | AECI11PL | STEELCAST2022 | -0.19 | AWEK1L | ODISHA | 21.44
JSPLANGUL | RUVITSL | -32.92 | ARYAN_ISPAT | PONDY | -5 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 2.99
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 34.04
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DALCEMAP | -2 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 10.39
ODISHA | AMNSIL | -20.31 | DCBL_Rajgangpur | DCBLME | -6 | DADRI_SOLAR | ODISHA | 0.56
VSL | CR_IR_MS | -10 | DCBL_Rajgangpur | DCL_RCW | -3.62 | ENERSON_SOLAR_10MW | ODISHA | 0.23
FARIDABAD_SOLAR | ODISHA | 0.86 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -4.46 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 70.91 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.57 | FACORPOWER | PSPCL | 0 | GADAG_GreenInfra_W | ODISHA | 0.62
RAJ_SOLAR | ODISHA | 2.6 | FACORPOWER | PSPCL | 0 | GADAG_Serentica3_S | VLSEZ | 36.2
|  |  | FACORPOWER | PSPCL | -1.35 | GADAG_Serentica3_W | VLSEZ | 2.41
|  |  | FACORPOWER | PSPCL | -5.42 | GADAG_Serentica3_W | VLSEZ | 93.85
|  |  | JSPLANGUL | RUVITSL | -79.95 | GADAG_Serentica3_W | VLSEZ | 3.62
|  |  | KCMW_od | DALCEMAP | -0.31 | GADAG_Serentica3_W | VLSEZ | 4.16
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GIWEL_SECI_II_RE | ODISHA | 65.15
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GPCL_SOLAR_10 | ODISHA | 0.68
|  |  | NBVLIPP | BSPHCL | -3.54 | GSECL_SOLAR | ODISHA | 0.66
|  |  | NBVLIPP | BSPHCL | -14.38 | HIRIYUR_OSTROKANNADA | VLSEZ | 6.03
|  |  | OCL_IRON_STEEL | BRPL | -25 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.1
|  |  | OCL_IRON_STEEL | TPDDL | -34 | KARUR_TPVARDHAMAN_W | TSKPO | 102.4
|  |  | ODISHA | TPL_DIS_AHM | -20.31 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
|  |  | ORSISL | PSPCL | -2.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 11.98
|  |  | ORSISL | PSPCL | -1.17 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.02
|  |  | ORSISL | TPL_DIS_DHOLERA | -1.25 | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.3
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 16.27
|  |  | Shri_JSPL | TPLD | -1.5 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 7.43
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | OKWPL_RE | ODISHA | 27.32
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 21.94
|  |  | VSL | WBSEDCL | -4.17 | RWE_AP2_SECI_III | ODISHA | 24.92
|  |  | JIPL | ODISHA | 57.88 | RenewGreen_SLPR_HS | JSL_DUBURI | 17.94
|  |  | JIPL | ODISHA | 16.88 | SRI9PL_FTG3 | VLSEZ | 90.92
|  |  | NALCOAP | NACL_Odisha | 24.14 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 38.43
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 7.12
[6 empty] | XXPPL_FTG3 | ODISHA | 69.07

## DAM
DAM TRADING DETAILS FOR DT : 20.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | IOCL_Paradeep_Refinery | JSW_Cement_Ltd | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
00:15 - 00:30 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
00:30 - 00:45 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
00:45 - 01:00 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
01:00 - 01:15 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
01:15 - 01:30 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
01:30 - 01:45 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
01:45 - 02:00 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
02:00 - 02:15 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
02:15 - 02:30 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
02:30 - 02:45 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
02:45 - 03:00 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
03:00 - 03:15 | -2.78 | 0 | 0 | -225 | 0 | 0 | 0 | -4.12 | -0.52 | -1.03 | 0 | 4.68 | 0
03:15 - 03:30 | -2.78 | 0 | 0 | -225 | 0 | 0 | 0 | -4.12 | -0.52 | -1.03 | 0 | 4.68 | 0
03:30 - 03:45 | -2.78 | 0 | 0 | -225 | 0 | 0 | 0 | -4.12 | -0.52 | -1.03 | 0 | 4.68 | 0
03:45 - 04:00 | -2.78 | 0 | 0 | -225 | 0 | 0 | 0 | -4.12 | -0.52 | -1.03 | 0 | 4.68 | 0
04:00 - 04:15 | -2.78 | 0 | 0 | -225 | 0 | 0 | 0 | -4.12 | -0.52 | -1.03 | 0 | 4.68 | 0
04:15 - 04:30 | -2.78 | 0 | 0 | -225 | 0 | 0 | 0 | -4.12 | -0.52 | -1.03 | 0 | 4.68 | 0
04:30 - 04:45 | -2.78 | 0 | 0 | -225 | 0 | 0 | 0 | -4.12 | -0.52 | -1.03 | 0 | 4.68 | 0
04:45 - 05:00 | -2.78 | 0 | 0 | -453.3 | 0 | 0 | 0 | -4.12 | -0.52 | -1.03 | 0 | 4.68 | 0
05:00 - 05:15 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | -44.33 | 0 | 0
05:15 - 05:30 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | -44.33 | 0 | 0
05:30 - 05:45 | -2.78 | 0 | 0 | -600 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | -44.33 | 0 | 0
05:45 - 06:00 | -2.78 | 0 | 0 | -600 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | -44.33 | 0 | 0
06:00 - 06:15 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -10.31 | -0.52 | -2.06 | -44.33 | 0 | -6.19
06:15 - 06:30 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -10.31 | -0.52 | -2.06 | -44.33 | 0 | -6.19
06:30 - 06:45 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -10.31 | -0.52 | -2.06 | -44.33 | 0 | -6.19
06:45 - 07:00 | -2.78 | 0 | 0 | -500 | 0 | 0 | 0 | -10.31 | -0.52 | -2.06 | -44.33 | 0 | -6.19
07:00 - 07:15 | -2.78 | 0 | 0 | -650 | 0 | 0 | 0 | -10.31 | -0.52 | -2.06 | -44.33 | 0 | -6.19
07:15 - 07:30 | -2.78 | 0 | 0 | -650 | 0 | 0 | 0 | -10.31 | -0.52 | -2.06 | -44.33 | 0 | -6.19
07:30 - 07:45 | -2.78 | 0 | 0 | -650 | 0 | 0 | 0 | -10.31 | -0.52 | -2.06 | -44.33 | 0 | -6.19
07:45 - 08:00 | -2.78 | 0 | 0 | -650 | 0 | 0 | 0 | -10.31 | -0.52 | -2.06 | -44.33 | 0 | -6.19
08:00 - 08:15 | -2.78 | 21.52 | 0 | -775 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -44.33 | 0 | -6.19
08:15 - 08:30 | -2.78 | 21.52 | 0 | -775 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -44.33 | 0 | -6.19
08:30 - 08:45 | -2.78 | 21.52 | 0 | -775 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -44.33 | 0 | -6.19
08:45 - 09:00 | -2.78 | 21.53 | 0 | -731.21 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -44.33 | 4.68 | -6.19
09:00 - 09:15 | -2.78 | 21.53 | 0 | -1027.73 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | -6.19
09:15 - 09:30 | -2.78 | 21.53 | 0 | -1012.15 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | -6.19
09:30 - 09:45 | -2.78 | 21.53 | 0 | -825 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | -6.19
09:45 - 10:00 | -2.78 | 21.53 | 0 | -825 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | -6.19
10:00 - 10:15 | -2.78 | 21.53 | 0 | -571.27 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | -6.19
10:15 - 10:30 | -2.78 | 21.53 | 0 | -239.48 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
10:30 - 10:45 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
10:45 - 11:00 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
11:00 - 11:15 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
11:15 - 11:30 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
11:30 - 11:45 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
11:45 - 12:00 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
12:00 - 12:15 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
12:15 - 12:30 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
12:30 - 12:45 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
12:45 - 13:00 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
13:00 - 13:15 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
13:15 - 13:30 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
13:30 - 13:45 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
13:45 - 14:00 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
14:00 - 14:15 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
14:15 - 14:30 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
14:30 - 14:45 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
14:45 - 15:00 | -2.78 | 21.53 | 0 | 0 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
15:00 - 15:15 | -2.78 | 21.53 | 0 | -433.56 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | 0
15:15 - 15:30 | -2.78 | 21.53 | 0 | -811.01 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | -6.19
15:30 - 15:45 | -2.78 | 21.52 | 0 | -1150 | 23.4 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | -6.19
15:45 - 16:00 | -2.78 | 21.53 | 0 | -1150 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -18.56 | 4.68 | -6.19
16:00 - 16:15 | -2.78 | 21.53 | 0 | -859.07 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -44.33 | 4.68 | -6.19
16:15 - 16:30 | -2.78 | 21.53 | 0 | -1051.06 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -44.33 | 4.68 | -6.19
16:30 - 16:45 | -2.78 | 21.53 | 0 | -1175 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -44.33 | 4.68 | -6.19
16:45 - 17:00 | -2.78 | 21.53 | 0 | -1175 | 0 | 3.08 | 0 | -4.12 | -0.52 | -1.03 | -44.33 | 4.68 | -6.19
17:00 - 17:15 | -2.78 | 0 | 0 | -675 | 0 | 3.08 | 0 | -5.15 | -0.52 | -2.06 | -44.33 | 4.69 | -6.19
17:15 - 17:30 | -2.78 | 0 | 0 | -675 | 0 | 3.08 | 0 | -5.15 | -0.52 | -2.06 | -44.33 | 4.69 | -6.19
17:30 - 17:45 | -2.78 | 0 | 0 | -675 | 0 | 3.08 | 0 | -5.15 | -0.52 | -2.06 | -44.33 | 4.69 | -6.19
17:45 - 18:00 | -2.78 | 0 | 0 | -675 | 0 | 3.08 | 0 | -5.15 | -0.52 | -2.06 | -44.33 | 4.69 | -6.19
18:00 - 18:15 | -2.78 | 0 | 0 | -175 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | -44.33 | 4.68 | 0
18:15 - 18:30 | -2.78 | 0 | 0 | -175 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | -44.33 | 4.68 | 0
18:30 - 18:45 | -2.78 | 0 | 0 | -175 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | -44.33 | 0 | 0
18:45 - 19:00 | -2.78 | 0 | 0 | -175 | 0 | 0 | -20.62 | -4.12 | -0.52 | -2.06 | -44.33 | 0 | 0
19:00 - 19:15 | -2.78 | 0 | -14.43 | -50 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
19:15 - 19:30 | -2.78 | 0 | -14.43 | -50 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
19:30 - 19:45 | -2.78 | 0 | -14.43 | -50 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
19:45 - 20:00 | -2.78 | 0 | -14.43 | -50 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
20:00 - 20:15 | -2.78 | 0 | -14.43 | -50 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
20:15 - 20:30 | -2.78 | 0 | -14.43 | -50 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
20:30 - 20:45 | -2.78 | 0 | -14.43 | -50 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
20:45 - 21:00 | -2.78 | 0 | -14.43 | -50 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
21:00 - 21:15 | -2.78 | 0 | -14.43 | -100 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
21:15 - 21:30 | -2.78 | 0 | -14.43 | -100 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
21:30 - 21:45 | -2.78 | 0 | -14.43 | -100 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
21:45 - 22:00 | -2.78 | 0 | -14.43 | -100 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
22:00 - 22:15 | -2.78 | 0 | -14.43 | -250 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
22:15 - 22:30 | -2.78 | 0 | -14.43 | -250 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
22:30 - 22:45 | -2.78 | 0 | -14.43 | -250 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
22:45 - 23:00 | -2.78 | 0 | -14.43 | -250 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
23:00 - 23:15 | -2.78 | 0 | -14.43 | -450 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
23:15 - 23:30 | -2.78 | 0 | -14.43 | -450 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
23:30 - 23:45 | -2.78 | 0 | -14.43 | -450 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
23:45 - 24:00 | -2.78 | 0 | -14.43 | -450 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0
Average | -2.78 | 8.0733 | -3.0063 | -387.3942 | 0.24375 | 1.2833 | -8.8065 | -4.6788 | -0.52 | -1.5879 | -18.3429 | 2.2917 | -1.8054

## GDAM
GDAM TRADING DETAILS FOR DT:20.08.2026
Time Period | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal
00:00 - 00:15 | 0 | 18.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 18.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 18.71 | 0 | 0 | 6.08 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 18.71 | 0 | 0 | 6.08 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 18.71 | 0 | 0 | 6.08 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 18.71 | 0 | 0 | 6.08 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 18.71 | 0 | 0 | 6.08 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 18.71 | 0 | 0 | 6.08 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 18.71 | 0 | 0 | 6.08 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 18.71 | 3.51 | 0 | 6.08 | 0 | 0 | 37.43 | 0
02:30 - 02:45 | 0 | 18.71 | 17.87 | 0 | 6.08 | 0 | 0 | 37.43 | 0
02:45 - 03:00 | 0 | 18.71 | 11.79 | 0 | 6.08 | 0 | 0 | 37.43 | 0
03:00 - 03:15 | 0 | 18.71 | 23.27 | 0 | 6.08 | 0 | 0 | 37.43 | 0
03:15 - 03:30 | 0 | 18.71 | 12.44 | 0 | 6.08 | 0 | 0 | 37.43 | 0
03:30 - 03:45 | 0 | 18.71 | 4.3 | 0 | 6.08 | 0 | 0 | 37.43 | 0
03:45 - 04:00 | 0 | 18.71 | 0 | 0 | 6.08 | 0 | 0 | 37.43 | 0
04:00 - 04:15 | 0 | 18.72 | 0 | 0 | 2.34 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 18.71 | 0 | 0 | 2.39 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 18.72 | 0 | 0 | 2.26 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 18.71 | 0 | 0 | 2.21 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 18.72 | 0 | 0 | 1.8 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 18.71 | 0 | 0 | 1.41 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 18.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 18.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 18.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 18.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 18.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 18.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 18.71 | 0 | 0 | 3.42 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 18.71 | 0 | 0 | 5.85 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 18.71 | 0 | 0 | 6.08 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 18.71 | 0 | 0 | 6.08 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 18.71 | 0 | 8.93 | 6.08 | 0 | 0 | 28.08 | 0
09:00 - 09:15 | 0 | 18.71 | 32.76 | 9.36 | 6.08 | 0 | 0 | 28.07 | 0
09:15 - 09:30 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 0
09:30 - 09:45 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 0
09:45 - 10:00 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 0
10:00 - 10:15 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 0
10:15 - 10:30 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 0
10:30 - 10:45 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 0
10:45 - 11:00 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 0
11:00 - 11:15 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 0
11:15 - 11:30 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 0
11:30 - 11:45 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 0
11:45 - 12:00 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 0
12:00 - 12:15 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 0
12:15 - 12:30 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 2.19 | 3.74 | 28.07 | 0
12:30 - 12:45 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 5.94 | 3.74 | 28.07 | 0
12:45 - 13:00 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 8.22 | 3.74 | 28.07 | 0
13:00 - 13:15 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 9.36 | 3.74 | 28.07 | 0
13:15 - 13:30 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 9.36 | 3.74 | 28.07 | 0
13:30 - 13:45 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 9.36 | 3.74 | 28.07 | 0
13:45 - 14:00 | 23.4 | 18.71 | 32.75 | 9.36 | 6.08 | 9.36 | 3.74 | 28.07 | 0
14:00 - 14:15 | 23.4 | 18.71 | 32.76 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 4.68
14:15 - 14:30 | 23.4 | 18.71 | 32.76 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 4.68
14:30 - 14:45 | 23.4 | 18.71 | 32.76 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 4.68
14:45 - 15:00 | 23.4 | 18.71 | 32.76 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 4.68
15:00 - 15:15 | 23.4 | 18.71 | 32.76 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 4.68
15:15 - 15:30 | 23.4 | 18.71 | 32.76 | 9.36 | 6.08 | 0 | 3.74 | 28.07 | 4.68
15:30 - 15:45 | 0 | 18.71 | 32.76 | 9.36 | 6.08 | 0 | 0.2 | 28.07 | 4.68
15:45 - 16:00 | 0 | 18.71 | 32.76 | 9.36 | 6.08 | 0 | 0 | 28.07 | 4.68
16:00 - 16:15 | 0 | 18.71 | 32.75 | 9.36 | 6.08 | 0 | 0 | 37.44 | 4.68
16:15 - 16:30 | 0 | 18.71 | 32.75 | 9.36 | 6.08 | 0 | 0 | 37.43 | 3.23
16:30 - 16:45 | 0 | 18.71 | 32.75 | 0 | 6.08 | 0 | 0 | 37.44 | 0
16:45 - 17:00 | 0 | 18.71 | 32.75 | 0 | 6.08 | 0 | 0 | 37.44 | 0
17:00 - 17:15 | 0 | 18.71 | 32.75 | 0 | 6.08 | 0 | 0 | 37.44 | 0
17:15 - 17:30 | 0 | 18.71 | 32.75 | 0 | 6.08 | 0 | 0 | 37.44 | 0
17:30 - 17:45 | 0 | 18.71 | 32.75 | 0 | 6.08 | 0 | 0 | 37.44 | 0
17:45 - 18:00 | 0 | 18.71 | 32.75 | 0 | 6.08 | 0 | 0 | 37.44 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | 6.0937 | 13.4481 | 13.0445 | 3.018 | 3.5825 | 0.56031 | 0.97604 | 14.3288 | 0.4724

## RTM
RTM TRADING DETAILS FOR DT: 20.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jagannath_Power_And_Infra_Private_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -1.44 | 0 | 0 | -1.55 | 0 | 355.71 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.48 | 0
00:15 - 00:30 | -1.44 | 0 | 0 | -1.55 | 0 | 361.35 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.48 | 0
00:30 - 00:45 | -1.44 | 0.34 | 0 | -1.55 | 0 | 361.76 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.48 | 0
00:45 - 01:00 | -1.44 | 2.8 | 0 | -1.55 | 0 | 363.19 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.48 | 0
01:00 - 01:15 | -1.44 | 2.8 | 0 | -1.55 | 0 | 267.13 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | 0 | 0 | 93.58 | 0 | -9.48 | 0
01:15 - 01:30 | -1.44 | 2.8 | 0 | -1.55 | 0 | 267.56 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -25.77 | 0 | 93.58 | 21.52 | -9.48 | 0
01:30 - 01:45 | -1.44 | 2.8 | 0 | -1.55 | 0 | 218.79 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | -15.46 | 0 | 93.58 | 41.18 | -9.48 | 0
01:45 - 02:00 | -1.44 | 2.8 | 0 | -1.55 | 0 | 220.43 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 93.58 | 41.18 | -9.48 | 0
02:00 - 02:15 | -1.44 | 2.8 | 0 | -1.65 | 0 | 221.89 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31 | 0 | -6.19 | 0 | -10.31 | 0 | 93.58 | 54.27 | -9.48 | 0
02:15 - 02:30 | -1.44 | 2.8 | 0 | -1.65 | 0 | 222.85 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31 | 0 | -6.19 | 0 | 0 | 0 | 74.86 | 54.27 | -9.48 | 0
02:30 - 02:45 | -1.44 | 2.8 | 0 | -1.65 | 0 | 125.41 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31 | 0 | -6.19 | 0 | -20.62 | 0 | 37.43 | 72.99 | -9.48 | 0
02:45 - 03:00 | -1.44 | 2.8 | 0 | -1.65 | 0 | 125.54 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31 | 0 | -6.19 | 0 | -46.39 | 0 | 37.43 | 72.99 | -9.48 | 0
03:00 - 03:15 | -1.44 | 2.8 | 0 | -1.65 | 0 | 32.8 | 10.29 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 18.71 | 0 | 0 | -2.06 | 2.8 | 0 | 0 | -10.31 | 0 | -6.19 | 0 | 0 | 8.89 | 116.98 | 72.99 | -9.48 | 0
03:15 - 03:30 | -1.44 | 2.8 | 0 | -1.65 | 0 | 32.8 | 10.29 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 18.71 | 0 | 0 | -2.06 | 2.8 | 0 | 0 | -10.31 | 0 | -6.19 | 0 | 0 | 8.89 | 116.98 | 72.99 | -9.48 | 0
03:30 - 03:45 | -1.44 | 2.8 | 0 | -1.65 | 0 | 32.34 | 10.29 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 18.71 | 0 | 0 | -2.06 | 2.8 | 0 | 0 | -10.31 | 0 | -6.19 | 0 | -10.31 | 8.89 | 59.41 | 53.34 | -9.48 | 0
03:45 - 04:00 | -1.44 | 2.8 | 0 | -1.65 | 0 | 33.13 | 10.29 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 18.71 | 0 | 0 | -2.06 | 2.8 | 0 | 0 | -10.31 | 0 | -6.19 | 0 | 0 | 8.89 | 79.55 | 53.34 | -9.48 | 0
04:00 - 04:15 | -1.44 | 2.8 | 0 | -1.65 | 0 | 28.47 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31 | 0 | -6.19 | 0 | -15.46 | 0 | 18.71 | 43.04 | -9.48 | 0
04:15 - 04:30 | -1.44 | 2.8 | 0 | -1.65 | 0 | 26.32 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31 | 0 | -6.19 | 0 | -36.08 | 0 | 18.71 | 43.05 | -9.48 | 0
04:30 - 04:45 | -1.44 | 2.8 | 0 | -1.65 | 0 | 25.61 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31 | 0 | -6.19 | 0 | -10.31 | 0 | 28.08 | 14.04 | -9.48 | 0
04:45 - 05:00 | -1.44 | 0 | 0 | -1.65 | 0 | 144.71 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31 | 0 | -6.19 | 0 | 0 | 0 | 28.07 | 14.04 | -9.48 | 0
05:00 - 05:15 | -1.44 | 0 | 0 | -1.65 | 0 | 144.71 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31 | 0 | -3.09 | 0 | 0 | 0 | 18.71 | 114.16 | -9.48 | 0
05:15 - 05:30 | -1.44 | 0 | 0 | -1.65 | 0 | 144.71 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31 | 0 | -3.09 | 0 | 0 | 0 | 18.71 | 114.16 | -9.48 | 0
05:30 - 05:45 | -1.44 | 0 | -0.52 | -1.65 | 0 | 111.08 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | -10.31 | 0 | 0 | 172.38 | -9.48 | 0
05:45 - 06:00 | -1.44 | 0 | -0.52 | -1.65 | 0 | 104.16 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | -36.08 | 0 | 0 | 161.66 | -9.48 | 0
06:00 - 06:15 | -1.44 | 0 | -0.52 | -1.44 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | 0 | -2.58 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -32.99 | 0 | 0 | 163.06 | -9.48 | 0
06:15 - 06:30 | -1.44 | 0 | -0.52 | -1.44 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | -0.1 | -2.58 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -10.31 | 0 | 0 | 176.95 | -9.48 | 0
06:30 - 06:45 | -0.52 | 0 | -0.52 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | -0.41 | -2.58 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | 0 | 0 | 37.43 | 171.46 | -9.48 | 0
06:45 - 07:00 | -0.52 | 0 | -0.52 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | -0.82 | -2.58 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | 0 | 0 | 37.43 | 231.7 | -9.48 | 0
07:00 - 07:15 | -0.52 | -3.09 | 0 | -1.44 | 0 | 0 | 0 | 0 | 0 | -0.41 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | -1.13 | -2.58 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | 0 | 0 | 0 | 334.33 | -9.48 | 0
07:15 - 07:30 | -0.52 | -3.09 | 0 | -1.44 | 0 | 0 | 0 | 0 | 0 | -0.62 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | -1.44 | -2.58 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -20.62 | 0 | 0 | 471.95 | -9.48 | 0
07:30 - 07:45 | -0.52 | -2.06 | 0 | -1.34 | 0 | -113.09 | 0 | 0 | 0 | -0.82 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | -1.75 | -1.03 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | -36.08 | 0 | 0 | 461.33 | -9.48 | 0
07:45 - 08:00 | -0.52 | -2.06 | 0 | -1.34 | 0 | -175 | 8.29 | 0 | 0 | -1.03 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | -2.06 | -1.03 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | 0 | 8.75 | 0 | 431.39 | -9.48 | 0
08:00 - 08:15 | -0.21 | 0 | 0 | -1.34 | 0 | 143.65 | 5.62 | 0 | 0 | -1.24 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | -2.37 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | 0 | 8.89 | 0 | 400.52 | -9.48 | 0
08:15 - 08:30 | -0.21 | 0 | 0 | -1.34 | 0 | 48.16 | 5.62 | 0 | 0 | -1.65 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | -2.58 | 0 | 0 | 0 | 0 | -6.19 | 0 | 0 | 0 | -36.08 | 8.89 | 0 | 356.52 | -9.48 | 0
08:30 - 08:45 | -0.21 | 0 | 0 | 0 | 0 | 0 | 1.49 | 0 | 0 | -1.86 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | -2.89 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | 0 | 2.37 | 0 | 342.12 | -9.48 | 0
08:45 - 09:00 | -0.21 | 0 | 0 | 0 | 0 | -77.19 | 0 | 0 | 0 | -2.06 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | -3.2 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | 0 | 289.53 | -9.48 | 0
09:00 - 09:15 | -0.21 | -2.06 | -0.31 | 0 | 0 | 42.05 | 0 | 0 | 0 | -2.47 | -3.09 | 0 | -1.13 | -15.46 | 0 | 0 | -3.3 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | -41.24 | 0 | 0 | 243.58 | -9.48 | 0
09:15 - 09:30 | -0.21 | -2.06 | -0.31 | 0 | 0 | -104.56 | 0 | 0 | 0 | -2.68 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | -3.61 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | 0 | 191.92 | -9.48 | 0
09:30 - 09:45 | -0.21 | -2.06 | -0.31 | 0 | 0 | -352.85 | 4.68 | 0 | 0 | -2.78 | -3.09 | 0 | -1.13 | 0 | 0 | 0 | -3.71 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 8.89 | 0 | 216.73 | -9.48 | 0
09:45 - 10:00 | -0.21 | -2.06 | -0.31 | 0 | 0.44 | -450.01 | 4.68 | 0 | 0 | -2.99 | -3.09 | 8.42 | -1.13 | 0 | 0 | 0 | -1.34 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -41.24 | 8.89 | 0 | 180.99 | -9.48 | 0
10:00 - 10:15 | -0.21 | -2.06 | -0.31 | 0 | 2.34 | -774.95 | 0.47 | 0 | 0 | -2.78 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | 3.65 | 0 | 3.74 | 0 | 0.93 | 0 | 0 | 0 | 0 | 0 | 8.89 | 107.61 | 436.08 | -9.48 | 0
10:15 - 10:30 | -0.21 | -2.06 | -0.31 | 0 | 2.34 | -1075.51 | 0.47 | 0 | 0 | -2.68 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | 3.56 | 0 | 3.74 | 0 | 0.93 | 0 | 0 | 0 | 0 | 0 | 8.89 | 107.61 | 467.79 | -9.48 | 0
10:30 - 10:45 | -0.21 | -2.06 | -0.31 | 0 | 2.34 | -1165.01 | 0.47 | 0 | 0 | -2.89 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | 3.46 | 0 | 2.8 | 0 | 0.93 | 0 | 0 | 0 | 0 | 0 | 8.89 | 121.65 | 492.6 | -9.48 | 0
10:45 - 11:00 | -0.21 | -2.06 | -0.31 | 0 | 2.34 | -930.59 | 0.47 | 0 | 0 | -2.89 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | 0 | 0 | 2.8 | 0 | 0.93 | 0 | 0 | 0 | 0 | -30.93 | 8.89 | 121.65 | 288.7 | -9.48 | 0
11:00 - 11:15 | -0.21 | 0 | -0.31 | 0 | 2.34 | -1075.05 | 0 | 0 | 0 | -2.89 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | 0 | 0 | 2.8 | 0 | 0.93 | 0 | 0 | 0 | 0 | -41.24 | 8.89 | 121.65 | 278.03 | -9.48 | 0
11:15 - 11:30 | -0.21 | 0 | -0.31 | 0 | 2.34 | -1025.98 | 0 | 0 | 0 | -2.89 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | 0 | 0 | 2.8 | 0 | 0.93 | 0 | 0 | 0 | 0 | 0 | 8.89 | 121.65 | 258.76 | -9.48 | 0
11:30 - 11:45 | -0.21 | 0 | -0.31 | 0 | 2.34 | -1125 | 0 | 0 | 0 | -0.93 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | 3.46 | 0 | 3.74 | 0 | 0.93 | 0 | 0 | 0 | -10.31 | 0 | 8.89 | 121.65 | 445.25 | -9.48 | 0
11:45 - 12:00 | -0.21 | 0 | -0.31 | 0 | 2.34 | -1126.53 | 0 | 0 | 0 | -0.93 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | 3.37 | 0 | 2.8 | 0 | 0.93 | 0 | 0 | 0 | -10.31 | 0 | 8.89 | 121.65 | 445.26 | -9.48 | 0
12:00 - 12:15 | -0.21 | 0 | 0 | 0 | 2.34 | -1152.36 | 0 | 0 | 0 | -0.93 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | 3.37 | 0 | 3.74 | 0 | 0.93 | 0 | 0 | 0 | -10.31 | -10.31 | 8.89 | 121.65 | 445.25 | -9.79 | 0
12:15 - 12:30 | -0.21 | 0 | 0 | 0 | 2.34 | -1077.31 | 0 | 0 | 0 | -1.03 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | 3.37 | 0 | 3.74 | 0 | 0.93 | 0 | 0 | 0 | -10.31 | -41.24 | 8.89 | 121.65 | 442.45 | -9.79 | 0
12:30 - 12:45 | -0.21 | 0 | 0 | 0 | 2.34 | -702.44 | 0 | 0 | 0 | -1.65 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | 3.56 | 0 | 3.74 | 0 | 0.93 | 0 | 0 | 0 | -10.31 | -51.55 | 8.89 | 121.65 | 442.44 | -9.79 | 0
12:45 - 13:00 | -0.21 | 0 | 0 | 0 | 2.34 | -560.39 | 0 | 0 | 0 | -1.55 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | 3.93 | 0 | 3.74 | 0 | 0.93 | 0 | 0 | 0 | -10.31 | -30.93 | 8.89 | 121.65 | 442.45 | -9.79 | 0
13:00 - 13:15 | -0.21 | 0 | -0.41 | 0 | 2.34 | -502.47 | 0 | 0 | 0 | -1.24 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | 4.11 | 0 | 3.74 | 4.68 | 0.93 | 0 | 0 | 0 | -10.31 | -10.31 | 8.89 | 187.15 | 442.45 | -9.79 | 0
13:15 - 13:30 | -0.21 | 0 | -0.41 | 0 | 2.34 | -267.51 | 0 | 0 | 0 | -1.03 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | 4.39 | 0 | 3.74 | 4.68 | 0.93 | 0 | 0 | 0 | -10.31 | -51.55 | 8.89 | 187.15 | 440.57 | -9.79 | 0
13:30 - 13:45 | -0.21 | 0 | -0.41 | 0 | 2.34 | -227.72 | 0 | 0 | 0 | -1.03 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | 4.39 | 0 | 2.8 | 4.68 | 0.93 | 0 | 0 | 0 | -10.31 | 0 | 8.89 | 112.29 | 442.46 | -9.79 | 0
13:45 - 14:00 | -0.21 | 0 | -0.41 | 0 | 2.34 | -195.02 | 0 | 0 | 0 | -0.72 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | 4.39 | 0 | 2.8 | 4.68 | 0.93 | 0 | 0 | 0 | -10.31 | 0 | 8.89 | 112.29 | 442.46 | -9.79 | 0
14:00 - 14:15 | -0.21 | 0 | -0.41 | 0 | 2.34 | -628.46 | 0 | 0 | 0 | -1.03 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | -0.82 | 0 | 2.8 | 4.68 | 0.93 | 0 | 0 | 0 | -3.09 | 0 | 8.89 | 145.04 | 434.77 | -9.79 | 0
14:15 - 14:30 | -0.21 | 0 | -0.41 | 0 | 2.34 | -629.98 | 0 | 0 | 0 | -0.93 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | -3.51 | 0 | 2.8 | 4.68 | 0.93 | 0 | 0 | 0 | -3.09 | 0 | 8.89 | 145.04 | 410.81 | -9.79 | 0
14:30 - 14:45 | -0.21 | 0 | -0.41 | 0 | 2.34 | -749.99 | 0 | -5.15 | 0 | -1.03 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | -3.3 | 0 | 2.8 | 4.68 | 0.93 | -2.06 | 0 | 0 | -3.09 | 0 | 8.89 | 163.76 | 353.36 | -9.79 | 0
14:45 - 15:00 | -0.21 | 0 | -0.41 | 0 | 2.34 | -955.01 | 0 | -5.15 | 0 | -1.03 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | -3.09 | 0 | 2.8 | 0 | 0.93 | -2.06 | 0 | 0 | -3.09 | 0 | 8.89 | 163.77 | 141.68 | -9.79 | 0
15:00 - 15:15 | -0.21 | -1.03 | -0.41 | 0 | 0.2 | -675.05 | 0 | -7.22 | 0 | -0.21 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | -2.89 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -3.09 | 0 | 8.89 | 56.14 | 86.94 | -9.79 | 0
15:15 - 15:30 | -0.21 | -1.03 | -0.41 | 0 | 2.34 | -498.16 | 0 | -7.22 | 0 | -0.21 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | -2.58 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -3.09 | -30.93 | 8.89 | 56.14 | 99.95 | -9.79 | 0
15:30 - 15:45 | -0.21 | 0 | -0.41 | 0 | 2.34 | 0 | 0 | -8.76 | 0 | -0.21 | 0 | 8.42 | -1.13 | 0 | 0 | 0 | -2.37 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -5.15 | -20.62 | 8.89 | 37.43 | 127.18 | -9.79 | 0
15:45 - 16:00 | -0.21 | 0 | -0.41 | 0 | 0 | 0 | 0 | -9.28 | 0 | -0.21 | 0 | 8.42 | -1.13 | -15.46 | 0 | 0 | -2.16 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -5.15 | 0 | 8.89 | 37.43 | 141.21 | -9.79 | 0
16:00 - 16:15 | -0.21 | 0 | -0.41 | 0 | 0 | -503.55 | 0 | -9.79 | 0 | -0.31 | 0 | 8.42 | -1.13 | 0 | 18.71 | 0 | -1.86 | 0 | 2.8 | 0 | 0 | -2.06 | 0 | 0 | -5.15 | 0 | 8.89 | 204.01 | 160.01 | -9.79 | 0
16:15 - 16:30 | -0.21 | 0 | -0.41 | 0 | 0 | -320.89 | 0 | -11.34 | 0 | -0.21 | 0 | 0 | -1.13 | 0 | 0 | 0 | -1.65 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -5.15 | 0 | 8.89 | 204 | 182.56 | -9.79 | 0
16:30 - 16:45 | -0.21 | -1.03 | -0.41 | 0 | 0 | -269.98 | 0 | -12.37 | 0 | -0.1 | 0 | 0 | -1.13 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -5.15 | 0 | 0 | 46.79 | 211.66 | -9.79 | 0
16:45 - 17:00 | -0.21 | -1.03 | -0.41 | 0 | 0 | -172.97 | 0 | 0 | 0 | -0.21 | 0 | 0 | -1.13 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -5.15 | 0 | 0 | 46.79 | 261.36 | -9.79 | 0
17:00 - 17:15 | -0.21 | -1.03 | 0 | 0 | 0 | -739.76 | 0 | 0 | 0 | -0.21 | 0 | 0 | -1.13 | 0 | 0 | 0 | -0.72 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | -30.93 | 0 | 0 | 303.66 | -11.03 | 0
17:15 - 17:30 | -0.21 | -1.03 | 0 | 0 | 0 | -625.41 | 0 | 0 | 0 | -0.1 | 0 | 0 | -1.13 | 0 | 0 | 0 | -0.41 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | -36.08 | 0 | 0 | 338.37 | -11.03 | 0
17:30 - 17:45 | -0.21 | -1.03 | -0.41 | 0 | 0 | -129.9 | 0 | 0 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -8.25 | 0 | -5.15 | 0 | 0 | 0 | 377.77 | -11.03 | 0
17:45 - 18:00 | -0.21 | -2.06 | -0.41 | 0 | 0 | -54.64 | 0 | 0 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -8.25 | 0 | -5.15 | 0 | 0 | 0 | 416.23 | -11.03 | 0
18:00 - 18:15 | -0.21 | -1.03 | -0.41 | -1.44 | 0 | -175.72 | 0 | 0 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -8.25 | -3.09 | -15.46 | 0 | 0 | 0 | 339.68 | -11.03 | -8.25
18:15 - 18:30 | -0.21 | -2.06 | -0.41 | -1.44 | 0 | -218.17 | 0 | 0 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -8.25 | -3.09 | -15.46 | 0 | 0 | 0 | 371.5 | -11.03 | -8.25
18:30 - 18:45 | -1.34 | -2.06 | -0.41 | -1.55 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -8.25 | -3.09 | -15.46 | 0 | 0 | 0 | 370.96 | -11.03 | -8.25
18:45 - 19:00 | -1.34 | -2.06 | -0.41 | -1.55 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -8.25 | -3.09 | -15.46 | -25.77 | 0 | 0 | 279.33 | -11.03 | -8.25
19:00 - 19:15 | -1.34 | -2.06 | -0.41 | -1.65 | 0 | -150 | 0 | 0 | 0 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -3.09 | -20.62 | 0 | 0 | 0 | 221.52 | -11.03 | 0
19:15 - 19:30 | -1.34 | -3.09 | -0.41 | -1.65 | 0 | -150 | 0 | 0 | 0 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -3.09 | -20.62 | 0 | 0 | 0 | 159.29 | -11.03 | 0
19:30 - 19:45 | -1.34 | -2.06 | -0.41 | -1.65 | 0 | -250 | 0 | 0 | 0 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -3.09 | -20.62 | -10.31 | 0 | 0 | 118.5 | -11.03 | 0
19:45 - 20:00 | -1.34 | -2.06 | -0.41 | -1.65 | 0 | -250 | 0 | 0 | 0 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -3.09 | -20.62 | -25.77 | 0 | 0 | 126.44 | -11.03 | 0
20:00 - 20:15 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | -150 | 0 | 0 | 0 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -3.09 | -20.62 | 0 | 0 | 0 | 113.98 | -11.03 | 0
20:15 - 20:30 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | -150 | 0 | 0 | 0 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -3.09 | -20.62 | 0 | 0 | 0 | 121.78 | -11.03 | 0
20:30 - 20:45 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | -50 | 0 | 0 | -41.24 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -3.09 | -22.68 | -30.93 | 0 | 0 | 157.72 | -11.03 | 0
20:45 - 21:00 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | -50 | 0 | 0 | -41.24 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -3.09 | -22.68 | 0 | 0 | 0 | 160.66 | -11.03 | 0
21:00 - 21:15 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | -50 | 0 | 0 | -41.24 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -3.09 | -22.68 | 0 | 0 | 0 | 99.93 | -11.03 | 0
21:15 - 21:30 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | -25 | 0 | 0 | -41.24 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -3.09 | -22.68 | -15.46 | 0 | 0 | 95.32 | -11.03 | 0
21:30 - 21:45 | -1.34 | -2.06 | -0.41 | -1.86 | 0 | 0 | 0 | 0 | -41.24 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -3.09 | -22.68 | 0 | 0 | 0 | 109.74 | -11.03 | 0
21:45 - 22:00 | -1.34 | -2.06 | -0.41 | -1.86 | 0 | 0 | 0 | 0 | -41.24 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -3.09 | -22.68 | 0 | 0 | 0 | 109.85 | -11.03 | 0
22:00 - 22:15 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | 0 | 0 | 0 | -41.24 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -3.09 | -22.68 | -36.08 | 0 | 0 | 102.84 | -11.03 | 0
22:15 - 22:30 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | 0 | 0 | 0 | -41.24 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -3.09 | -22.68 | -30.93 | 0 | 0 | 103.63 | -11.03 | 0
22:30 - 22:45 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | 0 | 0 | 0 | -41.24 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -3.09 | -22.68 | 0 | 0 | 0 | 98.82 | -11.03 | 0
22:45 - 23:00 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | 0 | 0 | 0 | -41.24 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -3.09 | -22.68 | 0 | 0 | 0 | 114.41 | -11.03 | 0
23:00 - 23:15 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | 0 | 0 | 0 | -41.24 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -3.09 | -22.68 | 0 | 0 | 0 | 144.26 | -11.03 | 0
23:15 - 23:30 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | 0 | 0 | 0 | -41.24 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -3.09 | -22.68 | 0 | 0 | 0 | 173.9 | -11.03 | 0
23:30 - 23:45 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | 0 | 0 | 0 | -41.24 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -3.09 | -22.68 | -28.87 | 0 | 0 | 192.89 | -11.03 | 0
23:45 - 24:00 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | 0 | 0 | 0 | -41.24 | 0 | -6.19 | 0 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -3.09 | -22.68 | -28.87 | 0 | 0 | 235.26 | -11.03 | 0
Average | -0.82146 | -0.42031 | -0.25063 | -0.97729 | 0.54292 | -196.5924 | 0.76479 | -0.79458 | -6.0142 | -0.56948 | -2.5771 | 2.2804 | -1.13 | -0.32208 | 0.97448 | -0.096875 | -0.10042 | -0.62271 | 0.81729 | 0.34125 | 0.19375 | -4.5313 | -0.51562 | -1.6106 | -7.044 | -11.2007 | 3.2644 | 47.2222 | 216.4 | -9.9967 | -0.34375