## POWER STATUS
POWER STATUS ON DT 22.08.2026
[9 empty] | 2026-08-22 | 2026-08-21
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 6136.4524 | 6814.8937
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 222.917 | 5.35 | 630/590 ft | 617.08 | 621.52 | 622.19 | 226.2964 | 231.8756
| Chiplima | 72(3x24) | 54.917 | 1.318 | - |  |  |  | 58.2517 | 61.2053
| Balimela | 510(6x60+2x75) | 19.125 | 0.459 | 1516/1440 ft | 1471.6 | 1467.2 | 1467.6 | 0 | 86.7103
| Rengali | 250(5x50) | 239.275 | 5.7426 | 123.5/109.75 mt | 120.89 | 123.36 | 123.24 | 238.026 | 238.9575
| Upper Kolab | 320(4x80) | 47.75 | 1.146 | 858/844 mt | 853.54 | 850.69 | 850.77 | 78.2864 | 23.5183
| Upper Indravati | 600(4x150) | 149.75 | 3.594 | 642/625 mt | 635.43 | 634.81 | 634.98 | 0.29066 | 590.4434
| Machkund | 60(50% of(3x17+3x23)) | 11 | 0.264 | 2750/2685 ft | 2746.8 | 2725.4 | 2725.7 | 15.5191 | 9.2638
| Total Hydro | 2099.5 | 744.734 | 17.8736 |  |  |  |  | 616.6703 | 1241.9741
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1690.0614 | 40.5615 | RENEWABLE ENERGY (RE) |  |  |  | 1694.0956 | 1692.3325
[5 empty] | M.Hydl | 114.65
| Total Thermal | 2200 | 1690.0614 | 40.5615 | Solar | 77.24 |  |  | 1694.0956 | 1692.3325
IPP | VEDANTA #2 | 600 (1x600) | 429.4694 | 10.3073 | Total IPPs | Yesterday's Demand Profile |  |  | 381.9922 | 530.0977
| GMR #3 | 350 (1x350) | 326.5041 | 7.8361 | 846.5153 |  | MW | HRS | 325.5686 | 330.0011
| NBVL(IPP) | 60(1x60) | 50.2798 | 1.2067 |  |  |  |  | 53.6594 | 53.8896
| MDTPC |  | 40.262 | 0.96629 |  |  |  |  | 31.0454 | 32.2988
| CGPs |  | 708.951 | 17.0148 | IPPs, CGPs & RE | Maximum | 6815 | 23:00 | 1516.7066 | 1825.4903
| Central Sector(Drawl) |  | 2073.4136 | 49.7619 | 1747.3563 | Minimum | 5620 | 06:00 | 2308.9799 | 2055.0968
| Central Sector(Sch) |  | 2180.7325 | 52.3376 |  | Average | 6255.5653 |  | 2107.1299 | 2044.83
| Grand Total |  | 6255.5653 | 150.1336 | Instantaneous Peak demand |  | 7025 | 19:32 | 6136.4524 | 6814.8937
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(7) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1740.2758 | 41.7666 | 1736.5294 | 41.6767 | 1710.5774 | 41.0539
Balimela | 5,6 | TSTPP St-I | 2 | TPWODL | 2222.1094 | 53.3306 | 2222.0935 | 53.3302 | 1777.8166 | 42.6676
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1405.1505 | 33.7236 | 1408.4431 | 33.8026 | 1368.4021 | 32.8417
U.Kolab | 1,2,3 | KAHALGAON | NIL | TPSODL | 613.8382 | 14.7321 | 636.4749 | 15.2754 | 595.9217 | 14.3021
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5981.3739 | 143.553 | 6003.5409 | 144.085 | 5452.7179 | 130.8652
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 381.9922 | GMR |  |  |  | 325.5686
| NBVL #3 | 53.6594 | MDTPC |  |  |  | 31.0454
Mini Hydel: | MEENAKSHI | 39.4858 | OPCL |  |  |  | 0
| BTPL | 27.73 | SAPTADHARA |  |  |  | 19.8988
Solar: |  | 30.6678 | KAKATIYA |  |  |  | 4.2823
CGPs : | JSPL (Angul) | 164.2074 | JSL(Duburi) |  |  |  | -191.4898
| ICCL | 51.1475 | visa |  |  |  | 10.6478
| NALCO | -137.2173 | VAL (CGP) |  |  |  | 199.908
| RSP | -112.5254 | BSL(MMDL) |  |  |  | -35.7956
| INDAL | 1.495 | ADITYA ALUMINIUM |  |  |  | 44.6596
| NINL | -30.861 | VAL CPP 400 kV |  |  |  | -1040.3656
| NBVL | 54.4458 | Arati |  |  |  | 35.2077
| BPSL(JSG) | -180.9248 | BPPL |  |  |  | 0
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-14 | 2026-08-15 | 2026-08-16 | 2026-08-17 | 2026-08-18 | 2026-08-19 | 2026-08-20 | 2026-08-21
709.267 | 746.39 | 640.78 | 522.1927 | 696.1225 | 740.7287 | 764.7309 | 744.734
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.21.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | 0 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 1.23
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | 0 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 1.91
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | 0 | AGE25BL_PSS9_KPS1_HW | VLSEZ | 2.37
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | 0 | AGE25CL_PSS8_KPS3_S | VLSEZ | 6.41
JPIPL | NPCL_UP | -14 | AARTISTEEL | PSPCL | 0 | AGE26AL_PSS12_KPS3_W | VLSEZ | 7.42
JSPLANGUL | GEB_Beneficiary | -39.13 | AECI11PL | STEELCAST2022 | -0.19 | AGE26AL_PSS6_KPS1_S | ODISHA | 124.74
JSPLANGUL | RUVITSL | -32.92 | ARYAN_ISPAT | PONDY | -5 | AP41PL_BHDL | ODISHA | 61.64
MAADURGA_THERMAL | NPCL_UP | -10.68 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -1.6 | AP43PL_BKN | ODISHA | 93.77
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DALCEMAP | -2 | ARE41L_PSS3_KPS1_W | VLSEZ | 15.96
ODISHA | CESC | -18.75 | DCBL_Rajgangpur | DCBLME | -6 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.07
VSL | CR_IR_MS | -10 | DCBL_Rajgangpur | DCL_RCW | -4.08 | AWEK1L | ODISHA | 11.2
FARIDABAD_SOLAR | ODISHA | 0.86 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -4.46 | AWEK1L | ODISHA | 16.8
JSWEL_UTKAL | ODISHA | 75.64 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.79
RAJ_SOLAR | ODISHA | 2.6 | FACORPOWER | PSPCL | -9.17 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 27.46
RAJ_SOLAR | ODISHA | 2.62 | FACORPOWER | PSPCL | -1.46 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 13.22
|  |  | FACORPOWER | PSPCL | -5.83 | CPTTNPL | VLSEZ | 29.53
|  |  | FACORPOWER | PSPCL | -2.29 | DADRI_SOLAR | ODISHA | 0.77
|  |  | JSPLANGUL | RUVITSL | -79.95 | ENERSON_SOLAR_10MW | ODISHA | 0.29
|  |  | KCMW_od | DALCEMAP | -0.35 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GADAG_GreenInfra_W | ODISHA | 0.75
|  |  | NBVLIPP | BSPHCL | -3.54 | GADAG_Serentica3_S | VLSEZ | 30.87
|  |  | NBVLIPP | BSPHCL | -14.38 | GADAG_Serentica3_W | VLSEZ | 3.73
|  |  | OCL_IRON_STEEL | BRPL | -25 | GADAG_Serentica3_W | VLSEZ | 3.7
|  |  | OCL_IRON_STEEL | TPDDL | -34 | GADAG_Serentica3_W | VLSEZ | 7.46
|  |  | ODISHA | BRPL | -16.67 | GADAG_Serentica3_W | VLSEZ | 88.94
|  |  | ORSISL | PSPCL | -1.17 | GADAG_Serentica3_W | VLSEZ | 3.62
|  |  | ORSISL | PSPCL | -2.83 | GIWEL_SECI_II_RE | ODISHA | 44.98
|  |  | ORSISL | TPLD | -1.35 | GPCL_SOLAR_10 | ODISHA | 0.65
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | GSECL_SOLAR | ODISHA | 0.62
|  |  | Shri_JSPL | TPLD | -1.62 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.89
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | KARUR_TPVARDHAMAN_W | TSKPO | 117.14
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | VSL | WBSEDCL | -4.17 | Kurnool_Greenko_H_Inj | ADITYAAL | 1.74
|  |  | JBVNL | VLSEZ | 14.07 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | JIPL | ODISHA | 107.32 | NTPCRE1_SMND_BHJ2_W | ODISHA | 4.48
|  |  | MYTRAHVAYU | VLSEZ | 15.42 | O2RE3PL_Wasi_klm_W | VLSEZ | 3.95
|  |  | Meghalaya_Ben | VLSEZ | 17.57 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 4.1
|  |  | NALCOAP | NACL_Odisha | 24.01 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 16.2
|  |  | TSTPP_I | ODISHA | 10.31 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 8.75
[6 empty] | OKWPL_RE | ODISHA | 21.32
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 20.11
[6 empty] | RWE_AP2_SECI_III | ODISHA | 18.17
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 15.72
[6 empty] | SRI9PL_FTG3 | VLSEZ | 85.57
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.12
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.14
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 51.04
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 13.8
[6 empty] | XXPPL_FTG3 | ODISHA | 67.75

## DAM
DAM TRADING DETAILS FOR DT : 21.08.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | OCL_Iron_and_Steel_Limited_ENE | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 38.96
00:15 - 00:30 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 36.98
00:30 - 00:45 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 16.65
00:45 - 01:00 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 22.69
01:00 - 01:15 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 51.65
01:15 - 01:30 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 85.57
01:30 - 01:45 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 91.46
01:45 - 02:00 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 105.17
02:00 - 02:15 | 0 | 96.47 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 221.77
02:15 - 02:30 | 0 | 96.47 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 224.58
02:30 - 02:45 | 0 | 96.47 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 228.33
02:45 - 03:00 | 0 | 96.47 | 0 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 230.2
03:00 - 03:15 | 0 | 96.47 | 0 | -4.12 | -0.52 | -2.06 | 0 | -20.62 | 0 | 0 | 294.76
03:15 - 03:30 | 0 | 96.47 | 0 | -4.12 | -0.52 | -2.06 | 0 | -20.62 | 0 | 0 | 296.64
03:30 - 03:45 | 0 | 96.47 | 0 | -4.12 | -0.52 | -2.06 | 0 | -20.62 | 0 | 0 | 331.26
03:45 - 04:00 | 0 | 96.47 | 0 | -4.12 | -0.52 | -2.06 | 0 | -20.62 | 4.68 | 0 | 334.07
04:00 - 04:15 | 0 | 96.47 | 0 | -4.12 | -0.52 | -2.06 | 0 | -20.62 | 0 | 0 | 262.95
04:15 - 04:30 | 0 | 96.47 | 0 | -4.12 | -0.52 | -2.06 | 0 | -20.62 | 0 | 0 | 264.82
04:30 - 04:45 | 0 | 96.47 | 0 | -4.12 | -0.52 | -2.06 | 0 | -20.62 | 0 | 0 | 265.75
04:45 - 05:00 | 0 | 96.47 | 0 | -4.12 | -0.52 | -2.06 | 0 | -20.62 | 0 | 0 | 267.62
05:00 - 05:15 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | -25.77 | -20.62 | 0 | 0 | 202.13
05:15 - 05:30 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | -25.77 | -20.62 | 0 | 0 | 148.07
05:30 - 05:45 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | -25.77 | -20.62 | 0 | 0 | 134.02
05:45 - 06:00 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | -25.77 | -20.62 | 0 | 0 | 106.73
06:00 - 06:15 | 0 | 0 | 0 | -10.31 | -0.52 | -2.06 | -25.77 | -20.62 | 0 | -6.19 | 0
06:15 - 06:30 | 0 | 0 | 0 | -10.31 | -0.52 | -2.06 | -25.77 | -20.62 | 0 | -6.19 | 0
06:30 - 06:45 | 0 | 0 | 0 | -10.31 | -0.52 | -2.06 | -25.77 | -20.62 | 0 | -6.19 | 0
06:45 - 07:00 | 0 | 0 | 0 | -10.31 | -0.52 | -2.06 | -25.77 | -20.62 | 0 | -6.19 | 0
07:00 - 07:15 | 0 | -200 | 0 | -10.31 | -0.52 | -2.06 | -25.77 | -20.62 | 0 | -6.19 | 28.94
07:15 - 07:30 | 0 | -200 | 0 | -10.31 | -0.52 | -2.06 | -25.77 | -20.62 | 0 | -6.19 | 19.65
07:30 - 07:45 | 0 | -200 | 0 | -10.31 | -0.52 | -2.06 | -25.77 | -20.62 | 0 | -6.19 | 0
07:45 - 08:00 | 0 | -200 | 0 | -10.31 | -0.52 | -2.06 | -25.77 | -20.62 | 0 | -6.19 | 0
08:00 - 08:15 | 11.23 | -400 | 0 | -3.09 | -0.52 | -1.03 | -25.77 | -20.62 | 0 | -6.19 | 0
08:15 - 08:30 | 11.23 | -400 | 0 | -3.09 | -0.52 | -1.03 | -25.77 | -20.62 | 0 | -6.19 | 0
08:30 - 08:45 | 11.23 | -400 | 0 | -3.09 | -0.52 | -1.03 | -25.77 | -20.62 | 0 | -6.19 | 0
08:45 - 09:00 | 11.23 | -550 | 0 | -3.09 | -0.52 | -1.03 | -25.77 | -20.62 | 0 | -6.19 | 157.21
09:00 - 09:15 | 11.23 | -700 | 0 | -3.09 | -0.52 | -1.03 | -25.77 | -20.62 | 0 | -6.19 | 110.42
09:15 - 09:30 | 11.23 | -700 | 0 | -3.09 | -0.52 | -1.03 | -25.77 | -20.62 | 0 | -6.19 | 76.73
09:30 - 09:45 | 11.23 | -700 | 0 | -3.09 | -0.52 | -1.03 | -25.77 | -20.62 | 4.68 | -6.19 | 43.05
09:45 - 10:00 | 11.23 | -700 | 0 | -3.09 | -0.52 | -1.03 | -25.77 | -20.62 | 4.68 | -6.19 | 18.71
10:00 - 10:15 | 11.23 | -950 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | -6.19 | 32.75
10:15 - 10:30 | 11.23 | -950 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | -6.19 | 68.31
10:30 - 10:45 | 11.23 | -715.31 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | -6.19 | 101.06
10:45 - 11:00 | 11.23 | -475.24 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | -6.19 | 128.2
11:00 - 11:15 | 11.23 | -414.86 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | 0 | 141.3
11:15 - 11:30 | 11.23 | -252.28 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | 0 | 137.56
11:30 - 11:45 | 11.23 | -239.53 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | 0 | 132.88
11:45 - 12:00 | 11.23 | -239.05 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | 0 | 131.01
12:00 - 12:15 | 11.23 | -238.53 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | 0 | 129.14
12:15 - 12:30 | 11.23 | -238.35 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | 0 | 127.26
12:30 - 12:45 | 11.23 | -194.82 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | 0 | 125.39
12:45 - 13:00 | 11.23 | 0 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | 0 | 125.39
13:00 - 13:15 | 11.23 | 0 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | 0 | 126.32
13:15 - 13:30 | 11.23 | 0 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | 0 | 127.26
13:30 - 13:45 | 11.23 | -206.62 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | 0 | 129.14
13:45 - 14:00 | 11.23 | -251.12 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | 0 | 130.07
14:00 - 14:15 | 11.23 | -339.13 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | 0 | 125.39
14:15 - 14:30 | 11.23 | -450.59 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | -6.19 | 104.81
14:30 - 14:45 | 11.23 | -653.29 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | -6.19 | 80.47
14:45 - 15:00 | 11.23 | -743.95 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | -6.19 | 43.98
15:00 - 15:15 | 11.23 | -500 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | -6.19 | 0
15:15 - 15:30 | 11.23 | -500 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | -6.19 | 0
15:30 - 15:45 | 11.23 | -500 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | -6.19 | 15.91
15:45 - 16:00 | 11.23 | -500 | 0 | -3.09 | -0.52 | -1.03 | 0 | -20.62 | 4.68 | -6.19 | 46.78
16:00 - 16:15 | 11.23 | -550 | 0 | -3.09 | -0.52 | -1.03 | -25.77 | -20.62 | 4.68 | -6.19 | 60.83
16:15 - 16:30 | 11.23 | -550 | 0 | -3.09 | -0.52 | -1.03 | -25.77 | -20.62 | 4.68 | -6.19 | 78.6
16:30 - 16:45 | 11.23 | -550 | 0 | -3.09 | -0.52 | -1.03 | -25.77 | -20.62 | 0 | -6.19 | 102
16:45 - 17:00 | 11.23 | -550 | 0 | -3.09 | -0.52 | -1.03 | -25.77 | -20.62 | 0 | -6.19 | 135.68
17:00 - 17:15 | 0 | -250 | 0 | -3.09 | -0.52 | -2.06 | -25.77 | 0 | 0 | -6.19 | 121.65
17:15 - 17:30 | 0 | -250 | 0 | -3.09 | -0.52 | -2.06 | -25.77 | 0 | 0 | -6.19 | 160.95
17:30 - 17:45 | 0 | -250 | 0 | -3.09 | -0.52 | -2.06 | -25.77 | 0 | 0 | -6.19 | 155.34
17:45 - 18:00 | 0 | -250 | 0 | -3.09 | -0.52 | -2.06 | -25.77 | 0 | 0 | -6.19 | 166.57
18:00 - 18:15 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | -25.77 | 0 | 0 | 0 | 19.65
18:15 - 18:30 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | -25.77 | 0 | 0 | 0 | 19.65
18:30 - 18:45 | 0 | 0 | 0 | -4.12 | -0.52 | -2.06 | -25.77 | 0 | 0 | 0 | 19.65
18:45 - 19:00 | 0 | 0 | -41.24 | -4.12 | -0.52 | -2.06 | -25.77 | 0 | 0 | 0 | 118.52
19:00 - 19:15 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 43.86
19:15 - 19:30 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 17.8
19:30 - 19:45 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 4.82
19:45 - 20:00 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 1.68
20:00 - 20:15 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 1.18
20:30 - 20:45 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 2.23
20:45 - 21:00 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 0.97
21:00 - 21:15 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 0.95
21:15 - 21:30 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 1
21:30 - 21:45 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 0.79
21:45 - 22:00 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 0.24
22:00 - 22:15 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 0.01
22:15 - 22:30 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 0.06
22:30 - 22:45 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 0.81
22:45 - 23:00 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 2.74
23:00 - 23:15 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 0.61
23:15 - 23:30 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 0.74
23:30 - 23:45 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 1.28
23:45 - 24:00 | 0 | 0 | -82.47 | -4.12 | -0.52 | -2.06 | 0 | 0 | 0 | 0 | 1.93
Average | 4.2113 | -176.5107 | -17.6108 | -4.2067 | -0.52 | -1.6738 | -8.59 | -12.0283 | 1.4138 | -2.2568 | 86.1532

## GDAM
GDAM TRADING DETAILS FOR DT:21.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 18.71 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 18.72 | 0 | 0 | 4.21 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0 | 18.72 | 0 | 0 | 4.21 | 0 | 0
08:45 - 09:00 | 0 | 0 | 0 | 0 | 18.72 | 0 | 0 | 4.21 | 0 | 0
09:00 - 09:15 | 0 | 0 | 0 | 0 | 18.72 | 1.87 | 9.36 | 4.21 | 18.71 | 0
09:15 - 09:30 | 0 | -1.65 | 0 | 0 | 18.72 | 1.87 | 9.36 | 4.21 | 18.71 | 0
09:30 - 09:45 | 0 | -4.74 | 0 | 0 | 18.72 | 2.8 | 9.36 | 4.21 | 18.71 | 4.68
09:45 - 10:00 | 0 | -2.99 | 0 | 32.77 | 18.71 | 4.68 | 9.36 | 4.21 | 18.71 | 4.68
10:00 - 10:15 | 0 | 0 | 0 | 32.77 | 18.71 | 4.68 | 9.36 | 4.21 | 18.71 | 4.68
10:15 - 10:30 | 0 | 0 | 0 | 32.76 | 18.71 | 5.62 | 9.36 | 4.21 | 18.71 | 4.68
10:30 - 10:45 | 0 | -0.82 | 0 | 32.77 | 18.71 | 4.68 | 9.36 | 4.21 | 18.71 | 4.68
10:45 - 11:00 | 0 | -4.95 | 0 | 32.77 | 18.71 | 2.8 | 9.36 | 4.21 | 18.71 | 4.68
11:00 - 11:15 | 0 | -2.27 | 0 | 32.76 | 18.71 | 3.74 | 9.36 | 4.21 | 18.71 | 4.68
11:15 - 11:30 | -0.41 | 0 | 0 | 32.77 | 18.71 | 2.8 | 9.36 | 4.21 | 18.71 | 4.68
11:30 - 11:45 | -3.2 | -4.02 | 0 | 32.77 | 18.71 | 2.8 | 9.36 | 4.21 | 18.71 | 4.68
11:45 - 12:00 | -0.41 | 0 | 0 | 32.76 | 18.71 | 1.87 | 9.36 | 4.21 | 18.71 | 4.68
12:00 - 12:15 | -2.06 | 0 | 96.56 | 32.75 | 18.71 | 1.87 | 9.36 | 4.21 | 18.71 | 4.68
12:15 - 12:30 | 0 | -1.03 | 108.78 | 32.75 | 18.71 | 2.8 | 9.36 | 4.21 | 18.71 | 4.68
12:30 - 12:45 | 0 | -5.05 | 115.08 | 32.75 | 18.71 | 3.74 | 9.36 | 4.21 | 18.71 | 4.68
12:45 - 13:00 | 0 | -5.46 | 120.51 | 32.75 | 18.71 | 3.74 | 9.36 | 4.21 | 18.71 | 4.68
13:00 - 13:15 | 0 | -5.26 | 117.74 | 32.75 | 18.71 | 2.8 | 9.36 | 4.21 | 18.71 | 4.68
13:15 - 13:30 | 0 | -2.78 | 96.6 | 32.75 | 18.71 | 2.8 | 9.36 | 4.21 | 18.71 | 4.68
13:30 - 13:45 | 0 | -5.77 | 52.08 | 32.75 | 18.71 | 2.8 | 9.36 | 4.21 | 18.71 | 4.68
13:45 - 14:00 | -0.93 | -6.7 | 0 | 32.76 | 18.71 | 0 | 9.36 | 4.21 | 18.71 | 4.68
14:00 - 14:15 | -1.24 | -6.7 | 0 | 32.76 | 18.71 | 0 | 9.36 | 4.21 | 18.71 | 4.68
14:15 - 14:30 | -4.54 | -7.53 | 0 | 32.76 | 18.71 | 1.87 | 9.36 | 4.21 | 18.71 | 4.68
14:30 - 14:45 | 0 | -6.08 | 0 | 32.76 | 18.71 | 1.87 | 9.36 | 4.21 | 18.71 | 4.68
14:45 - 15:00 | -0.62 | -5.46 | 0 | 32.76 | 18.71 | 0 | 9.36 | 4.21 | 18.71 | 4.68
15:00 - 15:15 | -0.62 | -3.71 | 0 | 0 | 18.72 | 1.87 | 9.36 | 4.21 | 18.71 | 4.68
15:15 - 15:30 | 0 | -1.96 | 0 | 0 | 18.72 | 1.87 | 9.36 | 4.21 | 18.71 | 0.25
15:30 - 15:45 | 0 | 0 | 0 | 0 | 18.72 | 2.8 | 9.36 | 4.21 | 18.71 | 0
15:45 - 16:00 | 0 | 0 | 0 | 0 | 18.72 | 0 | 0 | 4.21 | 18.71 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 14.04 | 4.68 | 0 | 4.21 | 37.43 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 14.04 | 5.62 | 0 | 4.21 | 37.43 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 14.04 | 28.07 | 0 | 4.21 | 37.43 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 14.04 | 32.75 | 0 | 4.21 | 37.43 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 14.04 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 14.04 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 14.04 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 14.04 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.14615 | -0.88469 | 7.3682 | 7.1661 | 7.4077 | 1.4808 | 2.6325 | 1.5349 | 7.0167 | 1.1239

## RTM
RTM TRADING DETAILS FOR DT: 21.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | 0 | -2.06 | 0 | -1.75 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -32.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | 0 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | 0 | 0 | 132.95 | -10 | 0
00:30 - 00:45 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | 80.65 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | 0 | 0 | 52.15 | -10 | 0
00:45 - 01:00 | -1.34 | -2.06 | -0.41 | -1.75 | 0 | 92.6 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | 0 | 0 | 59.89 | -10 | 0
01:00 - 01:15 | -1.34 | -2.06 | -0.41 | -1.65 | 0 | 110.14 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0
01:15 - 01:30 | -1.34 | -4.12 | -0.41 | -1.65 | 0 | 144.71 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0
01:30 - 01:45 | -1.34 | -3.09 | -0.41 | -1.65 | 0 | 48.24 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | -4.12 | -25.77 | 0 | 0 | 0 | 0 | 0 | -10 | 0
01:45 - 02:00 | -1.34 | -2.06 | -0.41 | -1.65 | 0 | 69.6 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | -4.12 | -25.77 | 0 | 0 | 0 | 0 | 0 | -10 | 0
02:00 - 02:15 | -1.34 | -2.06 | -0.41 | -1.65 | 0 | -63.08 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | -4.12 | -25.77 | 0 | 0 | 0 | 0 | 0 | -10 | 0
02:15 - 02:30 | -1.34 | -2.06 | -0.41 | -1.65 | 0 | -61.85 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | -4.12 | -10.31 | 0 | 0 | 0 | 0 | 0 | -10 | 0
02:30 - 02:45 | -1.34 | -1.03 | -0.41 | -1.65 | 0 | -305.92 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0
02:45 - 03:00 | -1.34 | -1.03 | -0.41 | -1.65 | 0 | -304.52 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0
03:00 - 03:15 | -1.34 | -1.03 | -0.41 | -1.65 | 0 | -224.33 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | -4.12 | -20.62 | 0 | 0 | 0 | 0 | 0 | -10 | 0
03:15 - 03:30 | -1.34 | -1.03 | -0.41 | -1.65 | 0 | -212.5 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | -4.12 | -36.08 | 0 | 0 | 0 | 0 | 0 | -10 | 0
03:30 - 03:45 | -1.34 | 0 | -0.41 | -1.65 | 0 | -257.2 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | -5.15 | -30.93 | 0 | 28.07 | 0 | 0 | 0 | -10 | 0
03:45 - 04:00 | -1.34 | 0 | -0.41 | -1.65 | 0 | -252.37 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | -5.15 | -30.93 | 0 | 28.07 | 0 | 0 | 0 | -10 | 0
04:00 - 04:15 | -1.34 | 0 | -0.41 | -1.65 | 0 | -255.92 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | -5.15 | -10.31 | 0 | 28.07 | 0 | 0 | 0 | -10 | 0
04:15 - 04:30 | -1.34 | 0 | -0.41 | -1.65 | 0 | -402.29 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | -5.15 | 0 | 0 | 28.07 | 0 | 0 | 0 | -10 | 0
04:30 - 04:45 | -1.34 | 0 | -0.41 | -1.65 | 0 | -352.94 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | -1.34 | 0 | -0.41 | -1.65 | 0 | -455.92 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | -1.34 | -3.09 | -0.41 | -1.65 | 0 | -456.54 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | -5.15 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31
05:15 - 05:30 | -1.34 | -3.09 | -0.41 | -1.65 | 0 | -465.41 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | -5.15 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31
05:30 - 05:45 | -1.34 | 0 | -0.41 | -1.65 | 0 | -550 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31
05:45 - 06:00 | -1.34 | 0 | -0.41 | -1.65 | 0 | -550 | 0 | 0 | 0 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -5.15 | -30.93 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31
06:00 - 06:15 | -1.34 | 0 | -0.41 | -1.65 | 0 | -425 | 0 | 0 | -0.1 | -3.09 | -1.13 | 0 | 0 | -1.55 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -5.15 | -36.08 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31
06:15 - 06:30 | -1.34 | 0 | -0.41 | -1.65 | 0 | -425 | 0 | 0 | -0.21 | -3.09 | -1.13 | 0 | 0 | -1.55 | -0.1 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31
06:30 - 06:45 | -1.34 | 0 | -0.41 | -1.65 | 0 | -400 | 0 | 0 | -0.31 | -3.09 | -1.13 | 0 | 0 | -1.55 | -0.41 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -7.22 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | -10.31
06:45 - 07:00 | -1.34 | 0 | -0.41 | -1.65 | 0 | -400 | 0 | 0 | -0.31 | -3.09 | -1.13 | 0 | 0 | -1.55 | -0.82 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -7.22 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | -10.31
07:00 - 07:15 | -1.34 | 0 | -0.41 | -1.65 | 0 | -375 | 0 | 0 | -0.41 | -3.09 | -1.13 | 0 | 0 | -1.55 | -1.13 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -7.22 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | -10.31
07:15 - 07:30 | -1.34 | 0 | -0.41 | -1.65 | 0 | -475 | 0 | 0 | -0.41 | -3.09 | -1.13 | 0 | 0 | -1.55 | -1.55 | -2.06 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -7.22 | -10.31 | 0 | 0 | 0 | 0 | 0 | -8.25 | -10.31
07:30 - 07:45 | -1.34 | 1.87 | -0.41 | -1.44 | 0 | -499.98 | 0 | 0 | -0.93 | -3.09 | -1.13 | 0 | 0 | -1.55 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -5.15 | -36.08 | 0 | 0 | 0 | 0 | 0 | -9.79 | -10.31
07:45 - 08:00 | -1.34 | 1.87 | -0.41 | -1.44 | 0 | -495.02 | 9.36 | 0 | -1.13 | -3.09 | -1.13 | 0 | 18.71 | -1.55 | -2.06 | 0 | 7.49 | 0 | 0 | 0 | 8.42 | -3.09 | 0 | 0 | -5.15 | -15.46 | 9.36 | 93.58 | 0 | 0 | 0 | -9.79 | -10.31
08:00 - 08:15 | -1.34 | 1.87 | -0.41 | 0 | 2.34 | -225.52 | 8.42 | 0 | -1.24 | 0 | -1.13 | 0 | 0 | -1.55 | -2.37 | 0 | 7.49 | 0 | 4.68 | 4.68 | 18.71 | 0 | 0 | 0 | -5.15 | 0 | 9.36 | 102.95 | 0 | 0 | 0 | -9.79 | 0
08:15 - 08:30 | -1.34 | 1.87 | -0.41 | 0 | 2.34 | -325.96 | 8.42 | 0 | -1.44 | 0 | -1.13 | 0 | 0 | -1.55 | -2.68 | 0 | 7.49 | 0 | 4.68 | 4.68 | 18.71 | 0 | 0 | 0 | -5.15 | 0 | 9.36 | 102.95 | 0 | 0 | 0 | -9.79 | 0
08:30 - 08:45 | -1.34 | 1.87 | -0.41 | 0 | 0 | -400.07 | 8.42 | 0 | -1.65 | 0 | -1.13 | 0 | 0 | -1.55 | -2.78 | 0 | 0 | 0 | 4.68 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 9.36 | 0 | 0 | 0 | 0 | -9.79 | 0
08:45 - 09:00 | -1.34 | 1.87 | -0.41 | 0 | 0 | -400.36 | 8.42 | 0 | -1.86 | 0 | -1.13 | 0 | 0 | -1.55 | -2.99 | 0 | 0 | 0 | 4.68 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 9.36 | 0 | 0 | 0 | 0 | -9.79 | 0
09:00 - 09:15 | -1.34 | 1.87 | -0.41 | 0 | 2.34 | -340.52 | 7.49 | 0 | -2.16 | 0 | -1.13 | -15.46 | 0 | -1.55 | -3.09 | 0 | 0 | 0 | 2.8 | 4.68 | 18.72 | 0 | 0 | 0 | -5.15 | -32.99 | 9.36 | 0 | 0 | 0 | 0 | -9.79 | 0
09:15 - 09:30 | -1.34 | 1.87 | -0.41 | 0 | 2.34 | -504.95 | 7.49 | 0 | -2.37 | 0 | -1.13 | 0 | 0 | -1.55 | -3.2 | 0 | 2.8 | 4.68 | 2.8 | 4.68 | 18.71 | 0 | 0 | 0 | -5.15 | -32.99 | 9.36 | 74.88 | 4.68 | 4.21 | 0 | -9.79 | 0
09:30 - 09:45 | -1.34 | 2.34 | -0.41 | 0 | 2.34 | -719.72 | 7.49 | 0 | -2.58 | 0 | -1.13 | 0 | 0 | -1.55 | -2.99 | 0 | 2.8 | 0 | 2.8 | 4.68 | 18.72 | 0 | 0 | 0 | -5.15 | 0 | 9.36 | 0 | 0 | 0 | 0 | -9.79 | 0
09:45 - 10:00 | -1.34 | 2.34 | -0.41 | 0 | 2.34 | -817.51 | 7.49 | 0 | -2.78 | 0 | -1.13 | 0 | 0 | -1.55 | -2.89 | 0 | 2.8 | 0 | 2.8 | 4.68 | 18.71 | 0 | 0 | 0 | -5.15 | 0 | 9.36 | 74.87 | 0 | 0 | 0 | -9.79 | 0
10:00 - 10:15 | -1.34 | 1.41 | -0.82 | 0 | 2.34 | -551.74 | 9.36 | 0 | -2.89 | 0 | -1.13 | 0 | 0 | -1.55 | -2.78 | 0 | 2.8 | 4.68 | 0 | 4.68 | 18.71 | 0 | 0 | 0 | -5.15 | -8.25 | 9.36 | 74.87 | 4.68 | 5.05 | 26.2 | -8.25 | 0
10:15 - 10:30 | -1.34 | 1.87 | -0.82 | 0 | 2.34 | -865.09 | 9.36 | 0 | -2.99 | 0 | -1.13 | 0 | 0 | -1.55 | -2.78 | 0 | 3.74 | 4.68 | 0 | 4.68 | 18.71 | 0 | 0 | 0 | -5.15 | 0 | 9.36 | 74.86 | 4.68 | 5.05 | 0 | -8.25 | 0
10:30 - 10:45 | -1.34 | 2.34 | -0.82 | 0 | 2.34 | -1151.49 | 9.36 | 0 | -2.68 | -2.06 | -1.13 | 0 | 0 | -1.55 | -2.68 | 0 | 2.8 | 4.68 | 0 | 4.68 | 18.71 | 0 | 0 | 0 | -7.22 | -10.31 | 9.36 | 84.23 | 4.68 | 5.05 | 0 | -8.25 | 0
10:45 - 11:00 | -1.34 | 2.34 | -0.82 | 0 | 2.34 | -1000.31 | 9.36 | 0 | -2.78 | -2.06 | -1.13 | 0 | 0 | -1.55 | -2.58 | 0 | 3.24 | 4.68 | 0 | 4.68 | 18.71 | 0 | 0 | 0 | -7.22 | -30.93 | 9.36 | 84.23 | 4.68 | 5.05 | 0 | -8.25 | 0
11:00 - 11:15 | -1.34 | 2.34 | -0.82 | 0 | 2.34 | -1130.03 | 9.36 | 0 | -2.89 | -1.03 | -1.13 | 0 | 0 | -1.55 | -2.58 | 0 | 2.8 | 4.68 | 0 | 4.68 | 18.71 | -3.09 | 84.22 | 0 | -7.22 | -25.77 | 9.36 | 84.23 | 4.68 | 5.05 | 0 | -8.25 | 0
11:15 - 11:30 | -1.34 | 2.34 | -0.82 | 0 | 2.34 | -1130.03 | 9.36 | 0 | -2.99 | -1.03 | -1.13 | 0 | 0 | -1.55 | -2.47 | 0 | 2.8 | 4.68 | 0 | 4.68 | 18.71 | -3.09 | 84.22 | 0 | -7.22 | 0 | 9.36 | 84.23 | 4.68 | 5.05 | 0 | -8.25 | 0
11:30 - 11:45 | -1.34 | 2.34 | -0.82 | 0 | 2.34 | -929.98 | 9.36 | 0 | -1.13 | -1.03 | -1.13 | 0 | 0 | -1.55 | -2.47 | 0 | 2.8 | 4.68 | 0 | 4.68 | 18.71 | -3.09 | 84.22 | 0 | -7.22 | 0 | 9.36 | 84.23 | 4.68 | 5.05 | 0 | -8.25 | 0
11:45 - 12:00 | -1.34 | 2.34 | -0.82 | 0 | 2.34 | -934.22 | 9.36 | 0 | -1.13 | -1.03 | -1.13 | 0 | 0 | -1.55 | -2.47 | 0 | 2.8 | 4.68 | 0 | 4.68 | 18.71 | -3.09 | 84.22 | 0 | -7.22 | 0 | 9.36 | 84.23 | 4.68 | 5.05 | 0 | -8.25 | 0
12:00 - 12:15 | -1.34 | 2.34 | -0.82 | 0 | 2.34 | -928.48 | 10.29 | 0 | -2.06 | -1.03 | -1.13 | 0 | 0 | -1.55 | -2.58 | 0 | 2.8 | 4.68 | 0 | 4.68 | 18.71 | -3.09 | 84.22 | 0 | -10.31 | 0 | 9.36 | 84.24 | 4.68 | 5.05 | 0 | -8.25 | 0
12:15 - 12:30 | -1.34 | 2.34 | -0.82 | 0 | 2.34 | -1028.47 | 10.29 | 0 | -2.06 | -1.03 | -1.13 | 0 | 0 | -1.55 | -2.47 | 0 | 2.8 | 4.68 | 0 | 4.68 | 18.71 | -3.09 | 84.23 | 0 | -10.31 | -31.96 | 9.36 | 74.86 | 4.68 | 5.05 | 0 | -8.25 | 0
12:30 - 12:45 | -1.34 | 2.34 | -0.82 | 0 | 2.34 | -987.56 | 10.29 | 0 | -2.58 | 0 | -1.13 | 0 | 0 | -1.55 | -2.27 | 0 | 3.74 | 4.68 | 0 | 4.68 | 18.71 | -3.09 | 84.23 | 0 | -10.31 | -32.99 | 9.36 | 74.86 | 4.68 | 5.05 | 0 | -8.25 | 0
12:45 - 13:00 | -1.34 | 2.34 | -0.82 | 0 | 2.34 | -1002.54 | 10.29 | 0 | -2.47 | 0 | -1.13 | 0 | 0 | -1.55 | -2.27 | 0 | 2.8 | 4.68 | 0 | 4.68 | 18.71 | -3.09 | 84.23 | 0 | -10.31 | -8.25 | 9.36 | 74.86 | 4.68 | 5.05 | 0 | -8.25 | 0
13:00 - 13:15 | -1.34 | 2.8 | -1.24 | 0 | 2.34 | -968.98 | 10.29 | 0 | -2.27 | 0 | -1.13 | 0 | 0 | -1.55 | -2.16 | 0 | 3.74 | 4.68 | 0 | 4.68 | 18.71 | -3.09 | 84.23 | 0 | -6.19 | 0 | 9.36 | 74.86 | 4.68 | 5.05 | 0 | -9.79 | 0
13:15 - 13:30 | -1.34 | 1.87 | -1.24 | 0 | 2.34 | -979.93 | 10.29 | 0 | -2.27 | 0 | -1.13 | 0 | 0 | -1.55 | -2.06 | 0 | 3.74 | 4.68 | 0 | 4.68 | 18.71 | -3.09 | 84.23 | 0 | -6.19 | 0 | 9.36 | 74.86 | 4.68 | 5.05 | 0 | -9.79 | 0
13:30 - 13:45 | -1.44 | 1.87 | -1.24 | 0 | 2.34 | -678.48 | 10.29 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | -1.86 | 0 | 2.8 | 4.68 | 0 | 4.68 | 14.98 | 0 | 84.23 | 0 | -6.19 | 0 | 9.36 | 74.86 | 4.68 | 5.05 | 0 | -9.79 | 0
13:45 - 14:00 | -1.44 | 2.8 | -1.24 | 0 | 2.34 | -553.49 | 10.29 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | -1.75 | 0 | 2.8 | 4.68 | 0 | 4.68 | 14.98 | 0 | 74.87 | 0 | -6.19 | -20.62 | 9.36 | 51.47 | 4.68 | 5.05 | 0 | -9.79 | 0
14:00 - 14:15 | -1.44 | 2.8 | -1.24 | 0 | 2.34 | -279.97 | 10.29 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | -1.86 | 0 | 3.74 | 4.68 | 0 | 4.68 | 14.98 | 0 | 74.86 | 0 | -10.31 | -36.08 | 9.36 | 51.47 | 4.68 | 5.05 | 0 | -9.79 | 0
14:15 - 14:30 | -1.44 | 2.8 | -1.24 | 0 | 2.34 | -312.54 | 10.29 | 0 | -0.21 | 0 | -1.13 | 0 | 0 | -1.55 | -1.86 | 0 | 2.8 | 4.68 | 0 | 4.68 | 14.98 | 0 | 84.23 | 0 | -10.31 | -15.46 | 9.36 | 51.47 | 4.68 | 5.05 | 0 | -9.79 | 0
14:30 - 14:45 | -1.44 | 2.8 | -1.24 | 0 | 0.86 | -475 | 10.29 | 0 | -0.31 | 0 | -1.13 | 0 | 0 | -1.55 | -1.86 | 0 | 0 | 0 | 0 | 1.73 | 0 | 0 | 0 | 0 | -10.31 | 0 | 9.36 | 0 | 0 | 0 | 0 | -9.79 | 0
14:45 - 15:00 | -1.44 | 2.8 | -1.24 | 0 | 0 | -476.42 | 10.29 | 0 | -0.31 | 0 | -1.13 | 0 | 0 | -1.55 | -1.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | 0 | 9.36 | 0 | 0 | 0 | 0 | -9.79 | 0
15:00 - 15:15 | -1.44 | 2.8 | -1.24 | 0 | 2.34 | -95.05 | 10.29 | 0 | -0.1 | 0 | -1.13 | 0 | 0 | -1.55 | -1.86 | 0 | 0 | 0 | 0 | 4.68 | 14.98 | 0 | 0 | 0 | -10.31 | 0 | 9.36 | 0 | 0 | 0 | 0 | -9.79 | 0
15:15 - 15:30 | -1.44 | 2.8 | -1.24 | 0 | 0 | -101.16 | 10.29 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | -1.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | 0 | 9.36 | 0 | 0 | 0 | 0 | -9.79 | 0
15:30 - 15:45 | -1.44 | 2.8 | -1.24 | 0 | 0 | -52.98 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | -1.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | -41.24 | 9.36 | 0 | 0 | 0 | 0 | -9.79 | 0
15:45 - 16:00 | -1.44 | 2.8 | -1.24 | 0 | 0 | -102.98 | 0 | 0 | 0 | 0 | -1.13 | -15.46 | 0 | -1.55 | -1.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | -36.08 | 9.36 | 0 | 0 | 0 | 0 | -9.79 | 0
16:00 - 16:15 | -1.44 | 2.8 | -1.24 | 0 | 0 | -302.31 | 10.29 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | -1.34 | 0 | 2.8 | 0 | 0 | 0 | 0 | 0 | 84.23 | 0 | -10.31 | 0 | 9.36 | 0 | 0 | 0 | 0 | -9.79 | 0
16:15 - 16:30 | -1.44 | 2.8 | -1.24 | 0 | 0 | -204.56 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | -1.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | -9.79 | 0
16:30 - 16:45 | -1.44 | 3.28 | -1.24 | 0 | 0 | -50.31 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | -0.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | -9.79 | 0
16:45 - 17:00 | -1.44 | 3.28 | -1.24 | 0 | 0 | -50.91 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | -0.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | -5.15 | 0 | 0 | 0 | 0 | 0 | -9.79 | 0
17:00 - 17:15 | -1.44 | 3.28 | -0.82 | 0 | 0 | -675.74 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | -0.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | -9.79 | -8.25
17:15 - 17:30 | -1.44 | 3.28 | -0.82 | 0 | 0 | -700.45 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | -0.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | -9.79 | -8.25
17:30 - 17:45 | -1.44 | 0 | -0.82 | 0 | 0 | -510 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15.46 | 0 | 0 | 0 | 0 | 0 | 0 | -9.79 | -8.25
17:45 - 18:00 | -1.44 | 0 | -0.82 | 0 | 0 | -412.53 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15.46 | 0 | 0 | 0 | 0 | 0 | 0 | -9.79 | -8.25
18:00 - 18:15 | -1.44 | 4.69 | -0.82 | -1.75 | 0 | -601.06 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15.46 | -36.08 | 0 | 0 | 0 | 0 | 0.93 | -9.79 | -8.25
18:15 - 18:30 | -1.44 | 0 | -0.82 | -1.75 | 0 | -576.75 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15.46 | 0 | 0 | 0 | 0 | 0 | 0.93 | -9.79 | -8.25
18:30 - 18:45 | -1.44 | 0 | -0.82 | -1.75 | 0 | -600 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0.85 | -9.79 | -8.25
18:45 - 19:00 | -1.44 | 0 | -0.82 | -1.75 | 0 | -400 | 0 | 0 | 0 | 0 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20.62 | -5.15 | 0 | 0 | 0 | 0 | 0.61 | -9.79 | -8.25
19:00 - 19:15 | -1.44 | 0 | -0.82 | -1.75 | 0 | -250 | 0 | 0 | 0 | -5.15 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20.62 | -20.62 | 0 | 0 | 0 | 0 | 62 | -9.79 | -1.03
19:15 - 19:30 | -1.44 | 0 | -0.82 | -1.75 | 0 | -199.99 | 0 | 0 | 0 | -5.15 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20.62 | 0 | 0 | 0 | 0 | 0 | 53.41 | -9.79 | -1.03
19:30 - 19:45 | -1.44 | 0 | -0.82 | -1.65 | 0 | -150 | 0 | 0 | 0 | -5.15 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 43.36 | -9.79 | -1.03
19:45 - 20:00 | -1.44 | 0 | -0.82 | -1.65 | 0 | -150 | 0 | 0 | 0 | -5.15 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -10.31 | 0 | 0 | 0 | 0 | 43.35 | -9.79 | -1.03
20:00 - 20:15 | -1.44 | 0 | -0.82 | -1.75 | 0 | -200 | 0 | 0 | 0 | -6.19 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 61.04 | -9.79 | -1.03
20:15 - 20:30 | -1.44 | 0 | -0.82 | -1.75 | 0 | -200 | 0 | 0 | 0 | -6.19 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -8.25 | 0 | 0 | 0 | 0 | 60.27 | -9.79 | -1.03
20:30 - 20:45 | -1.44 | 0 | -0.82 | -1.65 | 0 | -100 | 0 | -20.62 | 0 | -6.19 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -41.24 | 0 | 0 | 0 | 0 | 57.83 | -9.79 | -1.03
20:45 - 21:00 | -1.44 | 0 | -0.82 | -1.65 | 0 | -99.99 | 0 | -20.62 | 0 | -6.19 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -36.08 | 0 | 0 | 0 | 0 | 51.17 | -9.79 | -1.03
21:00 - 21:15 | -1.44 | 0 | -0.82 | -1.75 | 0 | -25 | 0 | -41.24 | 0 | -5.15 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | -1.03
21:15 - 21:30 | -1.44 | 0 | -0.82 | -1.75 | 0 | -25 | 0 | -41.24 | 0 | -5.15 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | 0 | 0 | -10 | -1.03
21:30 - 21:45 | -1.44 | 0 | -0.82 | -1.75 | 0 | -25 | 0 | -41.24 | 0 | -5.15 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -36.08 | 0 | 0 | 0 | 0 | 0 | -10 | -1.03
21:45 - 22:00 | -1.44 | 0 | -0.82 | -1.75 | 0 | -25 | 0 | -41.24 | 0 | -5.15 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -10.31 | 0 | 0 | 0 | 0 | 0 | -10 | -1.03
22:00 - 22:15 | -1.44 | 0 | -0.82 | -1.65 | 0 | 0 | 0 | -82.47 | 0 | -5.15 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | -1.03
22:15 - 22:30 | -1.44 | 0 | -0.82 | -1.65 | 0 | 0 | 0 | -82.47 | 0 | -5.15 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | 0 | 0 | -10 | -1.03
22:30 - 22:45 | -1.44 | 0 | -0.41 | -1.65 | 0 | 0 | 0 | -82.47 | 0 | -5.15 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -20.62 | 0 | 0 | 0 | 0 | 0 | -10 | -1.03
22:45 - 23:00 | -1.44 | 0 | -0.41 | -1.65 | 0 | 0 | 0 | -82.47 | 0 | -5.15 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | -1.03
23:00 - 23:15 | -1.44 | 0 | -0.41 | -1.65 | 0 | 0 | 0 | -82.47 | 0 | -5.15 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | -1.03
23:15 - 23:30 | -1.44 | 0 | -0.41 | -1.65 | 0 | 0 | 0 | -82.47 | 0 | -5.15 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -30.93 | 0 | 0 | 0 | 0 | 0 | -10 | -1.03
23:30 - 23:45 | -1.44 | 0 | -0.41 | -1.55 | 0 | -25 | 0 | -82.47 | 0 | -5.15 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -30.93 | 0 | 0 | 0 | 0 | 0.11 | -10 | -1.03
23:45 - 24:00 | -1.44 | 0 | -0.41 | -1.55 | 0 | -25 | 0 | -82.47 | 0 | -5.15 | -1.13 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0.14 | -10 | -1.03
Average | -1.3698 | 0.70292 | -0.68927 | -0.97271 | 0.61833 | -366.2081 | 3.1482 | -9.0204 | -0.5626 | -2.2535 | -1.1182 | -0.32208 | 0.1949 | -1.5339 | -0.90937 | -0.30042 | 0.92927 | 0.92625 | 0.31167 | 1.2368 | 4.766 | -1.953 | 12.9653 | -1.2339 | -7.2897 | -10.9642 | 3.315 | 19.8378 | 0.92625 | 0.99073 | 7.3666 | -8.679 | -2.1908