## POWER STATUS
POWER STATUS ON DT 23.08.2026
[9 empty] | 2026-08-23 | 2026-08-22
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 19:00
Demand -> | [8 empty] | 6141.9222 | 6517.2574
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 231.29 | 5.551 | 630/590 ft | 620.1 | 622.19 | 622.69 | 233.0477 | 233.5721
| Chiplima | 72(3x24) | 58.95 | 1.4148 | - |  |  |  | 62.3113 | 60.2646
| Balimela | 510(6x60+2x75) | 20.33 | 0.48792 | 1516/1440 ft | 1471.8 | 1467.6 | 1468.4 | 0 | 57.5064
| Rengali | 250(5x50) | 237.05 | 5.6892 | 123.5/109.75 mt | 121.1 | 123.24 | 122.79 | 234.9946 | 237.5468
| Upper Kolab | 320(4x80) | 40.21 | 0.96504 | 858/844 mt | 853.59 | 850.77 | 851.01 | 23.2233 | 76.3684
| Upper Indravati | 600(4x150) | 17.25 | 0.414 | 642/625 mt | 635.51 | 634.98 | 635.68 | 0.29294 | 0.29554
| Machkund | 60(50% of(3x17+3x23)) | 6.41 | 0.15384 | 2750/2685 ft | 2747.1 | 2725.7 | 2726.3 | 17.1037 | 14.7558
| Total Hydro | 2099.5 | 611.49 | 14.6758 |  |  |  |  | 570.9736 | 680.3096
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1685.47 | 40.4513 | RENEWABLE ENERGY (RE) |  |  |  | 1701 | 1697
[5 empty] | M.Hydl | 110.92
| Total Thermal | 2200 | 1685.47 | 40.4513 | Solar | 67.8 |  |  | 1701 | 1697
IPP | VEDANTA #2 | 600 (1x600) | 418.92 | 10.0541 | Total IPPs | Yesterday's Demand Profile |  |  | 294.1992 | 495.4883
| GMR #3 | 350 (1x350) | 325.62 | 7.8149 | 835.07 |  | MW | HRS | 330.2857 | 323.4359
| NBVL(IPP) | 60(1x60) | 50.22 | 1.2053 |  |  |  |  | 46.4549 | 55.0773
| MDTPC |  | 40.31 | 0.96744 |  |  |  |  | 31.5427 | 55.6708
| CGPs |  | 742.98 | 17.8315 | IPPs, CGPs & RE | Maximum | 6517 | 19.00 | 1701.9248 | 1858.5551
| Central Sector(Drawl) |  | 2102.6026 | 50.4625 | 1756.77 | Minimum | 5733 | 06.00 | 2168.0238 | 2281.3927
| Central Sector(Sch) |  | 2196.1873 | 52.7085 |  | Average | 6156.3326 |  | 2237.8572 | 2277.21
| Grand Total |  | 6156.3326 | 147.752 | Instantaneous Peak demand |  | 6764 | 450:40 | 6141.9222 | 6517.2574
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(7) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1721.2674 | 41.3104 | 1660.4467 | 39.8507 | 1677.1971 | 40.2527
Balimela | 4,5,6 | TSTPP St-I | NIL | TPWODL | 2207.3126 | 52.9755 | 2232.8088 | 53.5874 | 1808.9871 | 43.4157
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1462.8799 | 35.1091 | 1390.489 | 33.3717 | 1310.2015 | 31.4448
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 573.1436 | 13.7554 | 556.8935 | 13.3654 | 557.9937 | 13.3918
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5964.6034 | 143.1505 | 5840.638 | 140.1753 | 5354.3793 | 128.5051
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 294.1992 | GMR |  |  |  | 330.2857
| NBVL #3 | 46.4549 | MDTPC |  |  |  | 31.5427
Mini Hydel: | MEENAKSHI | 40.9779 | OPCL |  |  |  | 0
| BTPL | 27.729 | SAPTADHARA |  |  |  | 19.9154
Solar: |  | 131.664 | KAKATIYA |  |  |  | 6.1432
CGPs : | JSPL (Angul) | 238.9686 | JSL(Duburi) |  |  |  | -112.3856
| ICCL | 42.7024 | visa |  |  |  | 13.9636
| NALCO | -139.5009 | VAL (CGP) |  |  |  | 200.7128
| RSP | -110.8851 | BSL(MMDL) |  |  |  | 68.2478
| INDAL | 4.511 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -28.3465 | VAL CPP 400 kV |  |  |  | -1044.9423
| NBVL | 48.0648 | Arati |  |  |  | 2.5512
| BPSL(JSG) | -188.488 | BPPL |  |  |  | 0
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-15 | 2026-08-16 | 2026-08-17 | 2026-08-18 | 2026-08-19 | 2026-08-20 | 2026-08-21 | 2026-08-22
746.39 | 640.78 | 522.1927 | 696.1225 | 740.7287 | 764.7309 | 744.734 | 611.49
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.22.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | -4.19 | AARTISTEEL | CSEB_Beneficiary | -4.69 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0.68
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.75 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 1.05
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | 0 | AGE26AL_PSS6_KPS1_S | ODISHA | 105.54
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | 0 | AP41PL_BHDL | ODISHA | 60.81
JPIPL | NPCL_UP | -12.83 | AARTISTEEL | PSPCL | 0 | AP43PL_BKN | ODISHA | 95.04
JSPLANGUL | GEB_Beneficiary | -43.69 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 0.73
JSPLANGUL | RUVITSL | -33.69 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 11.47
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -1.1 | AWEK1L | ODISHA | 17.21
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DALCEMAP | -2 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.16
ODISHA | PCKL | -10.94 | DCBL_Rajgangpur | DCBLME | -6 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 29.37
VSL | CR_IR_MS | -10 | DCBL_Rajgangpur | DCL_RCW | -4.08 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.74
FARIDABAD_SOLAR | ODISHA | 0 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -5.33 | CPTTNPL | VLSEZ | 6.03
JSWEL_UTKAL | ODISHA | 61.46 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | CPTTNPL | VLSEZ | 10.25
RAJ_SOLAR | ODISHA | 2.61 | FACORPOWER | PSPCL | -0.21 | DADRI_SOLAR | ODISHA | 0.5
RAJ_SOLAR | ODISHA | 2.6 | FACORPOWER | PSPCL | -1.46 | ENERSON_SOLAR_10MW | ODISHA | 0.23
|  |  | FACORPOWER | PSPCL | -5.83 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | FACORPOWER | PSPCL | -0.83 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | JSPLANGUL | RUVITSL | -92.33 | GADAG_GreenInfra_W | ODISHA | 0.87
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_Serentica3_S | VLSEZ | 30.36
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GADAG_Serentica3_W | VLSEZ | 5.68
|  |  | NBVLIPP | BSPHCL | -14.38 | GADAG_Serentica3_W | VLSEZ | 87.3
|  |  | NBVLIPP | BSPHCL | -3.54 | GIWEL_SECI_II_RE | ODISHA | 48.1
|  |  | OCL_IRON_STEEL | BRPL | -25 | GPCL_SOLAR_10 | ODISHA | 0.72
|  |  | OCL_IRON_STEEL | BYPL | -12.5 | GSECL_SOLAR | ODISHA | 0.62
|  |  | OCL_IRON_STEEL | TPDDL | 0 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.22
|  |  | ODISHA | BRPL | -29.17 | KARUR_TPVARDHAMAN_W | TSKPO | 128.38
|  |  | ODISHA | HARYANA | -21.88 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.04
|  |  | ORSISL | PSPCL | -2.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.47
|  |  | ORSISL | PSPCL | -1.17 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.07
|  |  | ORSISL | TPL_DIS_DHOLERA | -1.88 | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.69
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | O2RE3PL_Wasi_klm_W | VLSEZ | 4.9
|  |  | Shri_JSPL | TPLD | -2.25 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 9.6
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 12.35
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 1.16
|  |  | VSL | WBSEDCL | -4.17 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 10.51
|  |  | GOKAKPOWENGKA | VLSEZ | 1.61 | OKWPL_RE | ODISHA | 19.09
|  |  | IPCL_WB | VLSEZ | 4.62 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 2.95
|  |  | JIPL | ODISHA | 57.88 | RWE_AP2_SECI_III | ODISHA | 18.9
|  |  | MYTRAHVAYU | VLSEZ | 15.79 | RenewGreen_SLPR_HS | JSL_DUBURI | 15.93
|  |  | Meghalaya_Ben | VLSEZ | 22.84 | SAUPL_HJRTPR_RJGR_W | VLSEZ | 11.05
|  |  | NALCOAP | NACL_Odisha | 22.9 | SRI9PL_FTG3 | VLSEZ | 86.44
|  |  | North_Karanpura_STPS | ODISHA | 4.02 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.12
|  |  | SPNPL2025 | VLSEZ | 2.09 | TSESOPL_BKN2 | OPL_CUTTAK | 0.14
|  |  | WINDWORLDKAR | VLSEZ | 4.22 | Tuticorin_BETAMWIND | ODISHA | 68.51
|  |  | Wind_World_MH_W | VLSEZ | 2.01 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 17.51
[6 empty] | XXPPL_FTG3 | ODISHA | 61.23

## DAM
DAM TRADING DETAILS FOR DT : 22.08.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | OCL_Iron_and_Steel_Limited_ENE | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 40.16
00:15 - 00:30 | 0 | 0 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 38.12
00:30 - 00:45 | 0 | 0 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 17.17
00:45 - 01:00 | 0 | 0 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 23.39
01:00 - 01:15 | 0 | 0 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 53.25
01:15 - 01:30 | 0 | 0 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 88.22
01:30 - 01:45 | 0 | 0 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 94.29
01:45 - 02:00 | 0 | 0 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 108.42
02:00 - 02:15 | 0 | 96.47 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 228.63
02:15 - 02:30 | 0 | 96.47 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 231.53
02:30 - 02:45 | 0 | 96.47 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 235.39
02:45 - 03:00 | 0 | 96.47 | 0 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 237.32
03:00 - 03:15 | 0 | 96.47 | 0 | -4 | -0.5 | -2 | 0 | -20 | 0 | 0 | 303.88
03:15 - 03:30 | 0 | 96.47 | 0 | -4 | -0.5 | -2 | 0 | -20 | 0 | 0 | 305.81
03:30 - 03:45 | 0 | 96.47 | 0 | -4 | -0.5 | -2 | 0 | -20 | 0 | 0 | 341.5
03:45 - 04:00 | 0 | 96.47 | 0 | -4 | -0.5 | -2 | 0 | -20 | 4.82 | 0 | 344.4
04:00 - 04:15 | 0 | 96.47 | 0 | -4 | -0.5 | -2 | 0 | -20 | 0 | 0 | 271.08
04:15 - 04:30 | 0 | 96.47 | 0 | -4 | -0.5 | -2 | 0 | -20 | 0 | 0 | 273.01
04:30 - 04:45 | 0 | 96.47 | 0 | -4 | -0.5 | -2 | 0 | -20 | 0 | 0 | 273.97
04:45 - 05:00 | 0 | 96.47 | 0 | -4 | -0.5 | -2 | 0 | -20 | 0 | 0 | 275.9
05:00 - 05:15 | 0 | 0 | 0 | -4 | -0.5 | -2 | -25 | -20 | 0 | 0 | 208.38
05:15 - 05:30 | 0 | 0 | 0 | -4 | -0.5 | -2 | -25 | -20 | 0 | 0 | 152.65
05:30 - 05:45 | 0 | 0 | 0 | -4 | -0.5 | -2 | -25 | -20 | 0 | 0 | 138.17
05:45 - 06:00 | 0 | 0 | 0 | -4 | -0.5 | -2 | -25 | -20 | 0 | 0 | 110.03
06:00 - 06:15 | 0 | 0 | 0 | -10 | -0.5 | -2 | -25 | -20 | 0 | -6 | 0
06:15 - 06:30 | 0 | 0 | 0 | -10 | -0.5 | -2 | -25 | -20 | 0 | -6 | 0
06:30 - 06:45 | 0 | 0 | 0 | -10 | -0.5 | -2 | -25 | -20 | 0 | -6 | 0
06:45 - 07:00 | 0 | 0 | 0 | -10 | -0.5 | -2 | -25 | -20 | 0 | -6 | 0
07:00 - 07:15 | 0 | -200 | 0 | -10 | -0.5 | -2 | -25 | -20 | 0 | -6 | 29.84
07:15 - 07:30 | 0 | -200 | 0 | -10 | -0.5 | -2 | -25 | -20 | 0 | -6 | 20.26
07:30 - 07:45 | 0 | -200 | 0 | -10 | -0.5 | -2 | -25 | -20 | 0 | -6 | 0
07:45 - 08:00 | 0 | -200 | 0 | -10 | -0.5 | -2 | -25 | -20 | 0 | -6 | 0
08:00 - 08:15 | 11.58 | -400 | 0 | -3 | -0.5 | -1 | -25 | -20 | 0 | -6 | 0
08:15 - 08:30 | 11.58 | -400 | 0 | -3 | -0.5 | -1 | -25 | -20 | 0 | -6 | 0
08:30 - 08:45 | 11.58 | -400 | 0 | -3 | -0.5 | -1 | -25 | -20 | 0 | -6 | 0
08:45 - 09:00 | 11.58 | -550 | 0 | -3 | -0.5 | -1 | -25 | -20 | 0 | -6 | 162.07
09:00 - 09:15 | 11.58 | -700 | 0 | -3 | -0.5 | -1 | -25 | -20 | 0 | -6 | 113.83
09:15 - 09:30 | 11.58 | -700 | 0 | -3 | -0.5 | -1 | -25 | -20 | 0 | -6 | 79.1
09:30 - 09:45 | 11.58 | -700 | 0 | -3 | -0.5 | -1 | -25 | -20 | 4.82 | -6 | 44.38
09:45 - 10:00 | 11.58 | -700 | 0 | -3 | -0.5 | -1 | -25 | -20 | 4.82 | -6 | 19.29
10:00 - 10:15 | 11.58 | -950 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | -6 | 33.76
10:15 - 10:30 | 11.58 | -950 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | -6 | 70.42
10:30 - 10:45 | 11.58 | -715.31 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | -6 | 104.19
10:45 - 11:00 | 11.58 | -475.24 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | -6 | 132.16
11:00 - 11:15 | 11.58 | -414.86 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | 0 | 145.67
11:15 - 11:30 | 11.58 | -252.28 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | 0 | 141.81
11:30 - 11:45 | 11.58 | -239.53 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | 0 | 136.99
11:45 - 12:00 | 11.58 | -239.05 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | 0 | 135.06
12:00 - 12:15 | 11.58 | -238.53 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | 0 | 133.13
12:15 - 12:30 | 11.58 | -238.35 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | 0 | 131.2
12:30 - 12:45 | 11.58 | -194.82 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | 0 | 129.27
12:45 - 13:00 | 11.58 | 0 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | 0 | 129.27
13:00 - 13:15 | 11.58 | 0 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | 0 | 130.23
13:15 - 13:30 | 11.58 | 0 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | 0 | 131.2
13:30 - 13:45 | 11.58 | -206.62 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | 0 | 133.13
13:45 - 14:00 | 11.58 | -251.12 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | 0 | 134.09
14:00 - 14:15 | 11.58 | -339.13 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | 0 | 129.27
14:15 - 14:30 | 11.58 | -450.59 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | -6 | 108.05
14:30 - 14:45 | 11.58 | -653.29 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | -6 | 82.96
14:45 - 15:00 | 11.58 | -743.95 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | -6 | 45.34
15:00 - 15:15 | 11.58 | -500 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | -6 | 0
15:15 - 15:30 | 11.58 | -500 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | -6 | 0
15:30 - 15:45 | 11.58 | -500 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | -6 | 16.4
15:45 - 16:00 | 11.58 | -500 | 0 | -3 | -0.5 | -1 | 0 | -20 | 4.82 | -6 | 48.23
16:00 - 16:15 | 11.58 | -550 | 0 | -3 | -0.5 | -1 | -25 | -20 | 4.82 | -6 | 62.71
16:15 - 16:30 | 11.58 | -550 | 0 | -3 | -0.5 | -1 | -25 | -20 | 4.82 | -6 | 81.03
16:30 - 16:45 | 11.58 | -550 | 0 | -3 | -0.5 | -1 | -25 | -20 | 0 | -6 | 105.15
16:45 - 17:00 | 11.58 | -550 | 0 | -3 | -0.5 | -1 | -25 | -20 | 0 | -6 | 139.88
17:00 - 17:15 | 0 | -250 | 0 | -3 | -0.5 | -2 | -25 | 0 | 0 | -6 | 125.41
17:15 - 17:30 | 0 | -250 | 0 | -3 | -0.5 | -2 | -25 | 0 | 0 | -6 | 165.93
17:30 - 17:45 | 0 | -250 | 0 | -3 | -0.5 | -2 | -25 | 0 | 0 | -6 | 160.14
17:45 - 18:00 | 0 | -250 | 0 | -3 | -0.5 | -2 | -25 | 0 | 0 | -6 | 171.72
18:00 - 18:15 | 0 | 0 | 0 | -4 | -0.5 | -2 | -25 | 0 | 0 | 0 | 20.26
18:15 - 18:30 | 0 | 0 | 0 | -4 | -0.5 | -2 | -25 | 0 | 0 | 0 | 20.26
18:30 - 18:45 | 0 | 0 | 0 | -4 | -0.5 | -2 | -25 | 0 | 0 | 0 | 20.26
18:45 - 19:00 | 0 | 0 | -40 | -4 | -0.5 | -2 | -25 | 0 | 0 | 0 | 122.19
19:00 - 19:15 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 45.22
19:15 - 19:30 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 18.35
19:30 - 19:45 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 4.97
19:45 - 20:00 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 1.73
20:00 - 20:15 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 1.22
20:30 - 20:45 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 2.3
20:45 - 21:00 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 1
21:00 - 21:15 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 0.98
21:15 - 21:30 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 1.03
21:30 - 21:45 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 0.81
21:45 - 22:00 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 0.25
22:00 - 22:15 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 0.01
22:15 - 22:30 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 0.06
22:30 - 22:45 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 0.84
22:45 - 23:00 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 2.82
23:00 - 23:15 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 0.63
23:15 - 23:30 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 0.76
23:30 - 23:45 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 1.32
23:45 - 24:00 | 0 | 0 | -80 | -4 | -0.5 | -2 | 0 | 0 | 0 | 0 | 1.99
Average | 4.3425 | -176.5107 | -17.0833 | -4.0833 | -0.5 | -1.625 | -8.3333 | -11.6667 | 1.456 | -2.1875 | 88.8177

## GDAM
GDAM TRADING DETAILS FOR DT:22.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 19.29 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 4.34 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 4.34 | 0 | 0
08:45 - 09:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 4.34 | 0 | 0
09:00 - 09:15 | 0 | 0 | 0 | 0 | 19.3 | 1.93 | 9.65 | 4.34 | 19.29 | 0
09:15 - 09:30 | 0 | -1.6 | 0 | 0 | 19.3 | 1.93 | 9.65 | 4.34 | 19.29 | 0
09:30 - 09:45 | 0 | -4.6 | 0 | 0 | 19.3 | 2.89 | 9.65 | 4.34 | 19.29 | 4.82
09:45 - 10:00 | 0 | -2.9 | 0 | 33.78 | 19.29 | 4.82 | 9.65 | 4.34 | 19.29 | 4.82
10:00 - 10:15 | 0 | 0 | 0 | 33.78 | 19.29 | 4.82 | 9.65 | 4.34 | 19.29 | 4.82
10:15 - 10:30 | 0 | 0 | 0 | 33.77 | 19.29 | 5.79 | 9.65 | 4.34 | 19.29 | 4.82
10:30 - 10:45 | 0 | -0.8 | 0 | 33.78 | 19.29 | 4.82 | 9.65 | 4.34 | 19.29 | 4.82
10:45 - 11:00 | 0 | -4.8 | 0 | 33.78 | 19.29 | 2.89 | 9.65 | 4.34 | 19.29 | 4.82
11:00 - 11:15 | 0 | -2.2 | 0 | 33.77 | 19.29 | 3.86 | 9.65 | 4.34 | 19.29 | 4.82
11:15 - 11:30 | -0.4 | 0 | 0 | 33.78 | 19.29 | 2.89 | 9.65 | 4.34 | 19.29 | 4.82
11:30 - 11:45 | -3.1 | -3.9 | 0 | 33.78 | 19.29 | 2.89 | 9.65 | 4.34 | 19.29 | 4.82
11:45 - 12:00 | -0.4 | 0 | 0 | 33.77 | 19.29 | 1.93 | 9.65 | 4.34 | 19.29 | 4.82
12:00 - 12:15 | -2 | 0 | 96.56 | 33.76 | 19.29 | 1.93 | 9.65 | 4.34 | 19.29 | 4.82
12:15 - 12:30 | 0 | -1 | 108.78 | 33.76 | 19.29 | 2.89 | 9.65 | 4.34 | 19.29 | 4.82
12:30 - 12:45 | 0 | -4.9 | 115.08 | 33.76 | 19.29 | 3.86 | 9.65 | 4.34 | 19.29 | 4.82
12:45 - 13:00 | 0 | -5.3 | 120.51 | 33.76 | 19.29 | 3.86 | 9.65 | 4.34 | 19.29 | 4.82
13:00 - 13:15 | 0 | -5.1 | 117.74 | 33.76 | 19.29 | 2.89 | 9.65 | 4.34 | 19.29 | 4.82
13:15 - 13:30 | 0 | -2.7 | 96.6 | 33.76 | 19.29 | 2.89 | 9.65 | 4.34 | 19.29 | 4.82
13:30 - 13:45 | 0 | -5.6 | 52.08 | 33.76 | 19.29 | 2.89 | 9.65 | 4.34 | 19.29 | 4.82
13:45 - 14:00 | -0.9 | -6.5 | 0 | 33.77 | 19.29 | 0 | 9.65 | 4.34 | 19.29 | 4.82
14:00 - 14:15 | -1.2 | -6.5 | 0 | 33.77 | 19.29 | 0 | 9.65 | 4.34 | 19.29 | 4.82
14:15 - 14:30 | -4.4 | -7.3 | 0 | 33.77 | 19.29 | 1.93 | 9.65 | 4.34 | 19.29 | 4.82
14:30 - 14:45 | 0 | -5.9 | 0 | 33.77 | 19.29 | 1.93 | 9.65 | 4.34 | 19.29 | 4.82
14:45 - 15:00 | -0.6 | -5.3 | 0 | 33.77 | 19.29 | 0 | 9.65 | 4.34 | 19.29 | 4.82
15:00 - 15:15 | -0.6 | -3.6 | 0 | 0 | 19.3 | 1.93 | 9.65 | 4.34 | 19.29 | 4.82
15:15 - 15:30 | 0 | -1.9 | 0 | 0 | 19.3 | 1.93 | 9.65 | 4.34 | 19.29 | 0.26
15:30 - 15:45 | 0 | 0 | 0 | 0 | 19.3 | 2.89 | 9.65 | 4.34 | 19.29 | 0
15:45 - 16:00 | 0 | 0 | 0 | 0 | 19.3 | 0 | 0 | 4.34 | 19.29 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | 14.47 | 4.82 | 0 | 4.34 | 38.59 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 14.47 | 5.79 | 0 | 4.34 | 38.59 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 14.47 | 28.94 | 0 | 4.34 | 38.59 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 14.47 | 33.76 | 0 | 4.34 | 38.59 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.14167 | -0.85833 | 7.3682 | 7.3871 | 7.6369 | 1.527 | 2.7141 | 1.5823 | 7.2342 | 1.1575

## RTM
RTM TRADING DETAILS FOR DT: 22.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -1.4 | 0 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 44.78 | -9.5 | 0
00:15 - 00:30 | -1.4 | 0 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 56.33 | -9.5 | 0
00:30 - 00:45 | -1.4 | 0 | -0.4 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 64.32 | -9.5 | 0
00:45 - 01:00 | -1.4 | 0 | -0.4 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 71.45 | -9.5 | 0
01:00 - 01:15 | -1.4 | 0 | -0.4 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -20 | 0 | 0 | 0 | 59.6 | -9.5 | 0
01:15 - 01:30 | -1.4 | 0 | -0.4 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -35 | 0 | 0 | 0 | 26.64 | -9.5 | 0
01:30 - 01:45 | -1.4 | 0 | -0.4 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | -10 | 0 | 0 | 0 | 21.22 | -9.5 | -1
01:45 - 02:00 | -1.4 | 0 | -0.4 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | 0 | 5.79 | -9.5 | -1
02:00 - 02:15 | -1.4 | 0 | -0.4 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -9.5 | -1
02:15 - 02:30 | -1.4 | 0 | -0.4 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -9.5 | -1
02:30 - 02:45 | -1.4 | 0 | -0.4 | -1.6 | 0 | 171.68 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -9.5 | -1
02:45 - 03:00 | -1.4 | -12 | -0.4 | -1.6 | 0 | 96.45 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | -5 | -12 | 0 | 0 | 0 | 0 | -9.5 | -1
03:00 - 03:15 | -1.4 | 0 | -0.4 | -1.6 | 0 | 68.45 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | -5 | -30 | 0 | 0 | 0 | 0 | -9.5 | 0
03:15 - 03:30 | -1.4 | 0 | -0.4 | -1.6 | 0 | 136.86 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -9.5 | 0
03:30 - 03:45 | -1.4 | 0 | -0.4 | -1.6 | 0 | 191.75 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -9.5 | 0
03:45 - 04:00 | -1.4 | 0 | -0.4 | -1.6 | 0 | 154.34 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | -5 | -5 | 0 | 0 | 0 | 0 | -9.5 | 0
04:00 - 04:15 | -1.4 | -5 | -0.4 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -9.5 | 0
04:15 - 04:30 | -1.4 | -6 | -0.4 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -9.5 | 0
04:30 - 04:45 | -1.4 | 0 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | -30 | 0 | 0 | 0 | 0 | -9.5 | 0
04:45 - 05:00 | -1.4 | 0 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -9.5 | 0
05:00 - 05:15 | -1.4 | 0 | -0.4 | -1.5 | 0 | 12.84 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 28.94 | -9.5 | -11
05:15 - 05:30 | -1.4 | 0 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 38.59 | -9.5 | -11
05:30 - 05:45 | -1.4 | -5 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 38.59 | -9.5 | -11
05:45 - 06:00 | -1.4 | -6 | -0.4 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | -5 | -10 | 0 | 0 | 0 | 70.51 | -9.5 | -11
06:00 - 06:15 | -1.4 | -16 | -0.4 | -1.5 | 0 | -300 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | -35 | 0 | 0 | 0 | 26.43 | -9.5 | -11
06:15 - 06:30 | -1.4 | -16 | -0.4 | -1.5 | 0 | -200 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | -0.1 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | -30 | 0 | 0 | 0 | 17.33 | -9.5 | -11
06:30 - 06:45 | -1.4 | -16 | -0.4 | -1.5 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | -0.3 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 32.33 | -9.5 | -11
06:45 - 07:00 | -1.4 | -16 | -0.4 | -1.5 | 0 | -200 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | -0.6 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | -10 | 0 | 0 | 0 | 42.88 | -9.5 | -11
07:00 - 07:15 | -1.4 | -16 | -0.4 | -1.6 | 0 | -200 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | -0.7 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 88.22 | -9.5 | -11
07:15 - 07:30 | -1.4 | -15 | -0.4 | -1.6 | 0 | -108.51 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | -1.1 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 96.47 | -9.5 | -11
07:30 - 07:45 | -1.4 | -13 | -0.4 | -1.3 | 0 | -255.03 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 19.29 | -15 | -1.3 | 0 | 8.68 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 9.65 | 106.12 | 46.31 | -9.5 | -11
07:45 - 08:00 | -1.4 | -13 | -0.4 | 0 | 0 | -201.98 | 0 | 0 | 0 | 9.65 | 0 | -1.1 | 0 | 19.29 | -15 | -1.5 | 0 | 8.68 | 0 | 12.54 | 0 | 0 | -10 | -25 | 0 | 9.65 | 106.12 | 47.27 | -9.5 | -11
08:00 - 08:15 | -1.4 | -13 | -0.4 | 0 | 2.41 | 0 | 0 | 9.65 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | -1.4 | 0 | 8.68 | 0 | 12.54 | 0 | 0 | -10 | -30 | 0 | 9.65 | 0 | 0 | -9.5 | 0
08:15 - 08:30 | -1.4 | -13 | -0.4 | 0 | 2.41 | 0 | 0 | 9.65 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | -1.7 | 0 | 0 | 0 | 12.54 | 0 | 0 | -10 | 0 | 0 | 9.65 | 0 | 0 | -9.5 | 0
08:30 - 08:45 | -1.4 | -13 | -0.4 | 0 | 2.41 | -335.03 | 0 | 9.65 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | -1.9 | 0 | 8.68 | 0 | 12.54 | 0 | 0 | -10 | -12 | 0 | 9.65 | 91.65 | 0 | -9.5 | 0
08:45 - 09:00 | -1.4 | -13 | -0.4 | 0 | 2.41 | -329.09 | 0 | 9.65 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | -1.9 | 0 | 8.68 | 0 | 12.54 | 0 | 0 | -10 | 0 | 0 | 9.65 | 91.65 | 0 | -9.5 | 0
09:00 - 09:15 | -1.4 | -23 | -0.4 | 0 | 2.41 | 0 | 0 | 9.65 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | -2 | 0 | 8.68 | 0 | 12.54 | 0 | 0 | -10 | 0 | 0 | 9.65 | 72.35 | 0 | -9.5 | 0
09:15 - 09:30 | -1.4 | -13 | -0.4 | 0 | 2.41 | 0 | 0 | 9.65 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | -2.1 | 0 | 8.68 | 0 | 12.54 | 0 | 0 | -10 | -35 | 0 | 9.65 | 72.35 | 0 | -9.5 | 0
09:30 - 09:45 | -1.4 | -13 | -0.8 | 0 | 2.41 | 469.48 | 11.87 | 9.65 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | 0 | 7.72 | 0 | 12.54 | 0 | 0 | 0 | -10 | 9.65 | 9.65 | 72.35 | 0 | -9.5 | 0
09:45 - 10:00 | -1.4 | -13 | -0.8 | 0 | 2.41 | 192.93 | 10.13 | 9.65 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0.58 | 0 | 7.72 | 0 | 12.54 | 0 | 0 | 0 | 0 | 9.65 | 9.65 | 72.35 | 0 | -9.5 | 0
10:00 - 10:15 | -1.4 | -13 | -0.8 | 0 | 2.41 | 434.21 | 0 | 8.68 | 0 | 0 | 0 | -1.1 | -15 | 0 | -15 | 6.08 | 0 | 7.72 | 0 | 12.54 | 0 | 0 | -6 | 0 | 0 | 9.65 | 72.35 | 0 | -9.5 | 0
10:15 - 10:30 | -1.4 | -23 | -0.8 | 0 | 2.41 | 617.47 | 0 | 8.68 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 6.17 | 0 | 6.75 | 0 | 12.54 | 0 | 0 | -6 | -20 | 0 | 9.65 | 72.35 | 0 | -9.5 | 0
10:30 - 10:45 | -1.4 | -13 | -0.8 | 0 | 2.41 | 289.41 | 0 | 8.68 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 6.27 | 0 | 6.75 | 0 | 12.54 | 0 | 0 | -6 | -30 | 0 | 9.65 | 38.59 | 0 | -9.5 | 0
10:45 - 11:00 | -1.4 | -13 | -0.8 | 0 | 2.41 | 289.42 | 0 | 8.68 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 6.17 | 0 | 6.75 | 0 | 12.54 | 0 | 0 | -6 | 0 | 0 | 9.65 | 38.59 | 0 | -9.5 | 0
11:00 - 11:15 | -1.4 | -13 | -0.2 | 0 | 2.41 | 289.4 | 0 | 9.65 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 6.37 | 0 | 6.75 | 0 | 12.54 | 0 | 67.53 | -6 | 0 | 0 | 9.65 | 38.59 | 0 | -9.5 | 0
11:15 - 11:30 | -1.4 | -13 | -0.2 | 0 | 2.41 | 244.72 | 0 | 9.65 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | 0 | 6.75 | 0 | 12.54 | 0 | 67.53 | -6 | -20 | 0 | 9.65 | 38.59 | 0 | -9.5 | 0
11:30 - 11:45 | -1.4 | -19 | -0.2 | 0 | 2.41 | 519.71 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 6.37 | 0 | 6.75 | 0 | 12.54 | 0 | 28.94 | -6 | 0 | 0 | 9.65 | 48.24 | 51.13 | -9.5 | 0
11:45 - 12:00 | -1.4 | -19 | -0.2 | 0 | 2.41 | 425.86 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 6.46 | 0 | 6.75 | 0 | 12.54 | 0 | 28.94 | -6 | 0 | 0 | 9.65 | 48.24 | 51.13 | -9.5 | 0
12:00 - 12:15 | -1.4 | -13 | -0.2 | 0 | 2.41 | 381.48 | 0 | 9.65 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 6.27 | 0 | 7.72 | 3.86 | 12.54 | 0 | 28.94 | -6 | -35 | 0 | 9.65 | 48.24 | 51.13 | -9.6 | 0
12:15 - 12:30 | -1.4 | -13 | -0.2 | 0 | 2.41 | 365.02 | 0 | 9.65 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 6.46 | 0 | 7.72 | 3.86 | 12.54 | 0 | 28.94 | -6 | -30 | 0 | 9.65 | 48.24 | 51.13 | -9.6 | 0
12:30 - 12:45 | -1.4 | -13 | -0.2 | 0 | 2.41 | 386.78 | 0 | 9.65 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 6.37 | 0 | 7.72 | 3.86 | 12.54 | 0 | 28.94 | -6 | -20 | 0 | 9.65 | 48.24 | 52.09 | -9.6 | 0
12:45 - 13:00 | -1.4 | -13 | -0.2 | 0 | 2.41 | 297.79 | 0 | 9.65 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 6.46 | 0 | 7.72 | 3.86 | 12.54 | 0 | 28.94 | -6 | 0 | 0 | 9.65 | 48.24 | 51.13 | -9.6 | 0
13:00 - 13:15 | -1.4 | -13 | -0.8 | 0 | 2.41 | 183.27 | 0 | 9.65 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 6.46 | 0 | 7.72 | 3.86 | 12.54 | 0 | 28.94 | -10 | -35 | 0 | 9.65 | 48.24 | 52.09 | -9.6 | 0
13:15 - 13:30 | -1.4 | -19 | -0.8 | 0 | 2.41 | 181.16 | 0 | 9.65 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 6.37 | 0 | 7.72 | 3.86 | 12.54 | 0 | 28.94 | -10 | -38 | 0 | 9.65 | 48.24 | 51.13 | -9.6 | 0
13:30 - 13:45 | -1.4 | -19 | -0.8 | 0 | 2.41 | 133.13 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 6.27 | 0 | 6.75 | 3.86 | 12.54 | 0 | 28.94 | -10 | -40 | 0 | 9.65 | 48.24 | 51.13 | -9.6 | 0
13:45 - 14:00 | -1.4 | -13 | -0.8 | 0 | 2.41 | 123.18 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 6.08 | 0 | 6.75 | 3.86 | 12.54 | 0 | 28.94 | -10 | -40 | 0 | 9.65 | 48.24 | 52.09 | -9.6 | 0
14:00 - 14:15 | -1.4 | -13 | -0.8 | 0 | 2.41 | 9.11 | 0 | 10.61 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 6.08 | 0 | 6.75 | 3.86 | 12.54 | 0 | 28.94 | -10 | -40 | 0 | 9.65 | 48.24 | 33.76 | -9.6 | 0
14:15 - 14:30 | -1.4 | -13 | -0.8 | 0 | 2.41 | 0 | 0 | 10.61 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | 0 | 6.75 | 3.86 | 12.54 | 0 | 28.94 | -10 | -15 | 0 | 9.65 | 48.24 | 0 | -9.6 | 0
14:30 - 14:45 | -1.4 | -13 | -0.5 | 0 | 2.41 | -151.13 | 0 | 10.61 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | 0 | 6.75 | 3.86 | 12.54 | 0 | 28.94 | -10 | 0 | 0 | 9.65 | 48.24 | 0 | -9.6 | 0
14:45 - 15:00 | -1.4 | -23 | -0.5 | 0 | 2.41 | -452 | 0 | 10.61 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | 0 | 0 | 3.86 | 12.54 | 0 | 28.94 | -10 | -30 | 0 | 9.65 | 0 | 0 | -9.6 | 0
15:00 - 15:15 | -1.4 | -13 | -0.5 | 0 | 2.41 | -553.09 | 0 | 10.61 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | 0 | 0 | 3.86 | 0 | -4 | 0 | -5 | -20 | 0 | 9.65 | 0 | 0 | -9.6 | 0
15:15 - 15:30 | -1.4 | -13 | -0.5 | 0 | 2.32 | -553.33 | 0 | 10.62 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | 0 | 0 | 0 | 3.71 | 0 | -4 | 0 | -5 | 0 | 0 | 9.65 | 0 | 0 | -9.6 | 0
15:30 - 15:45 | -2.3 | -8 | -0.5 | 0 | 0 | -310 | 0 | 10.61 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | -1.5 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | 0 | 0 | 9.65 | 0 | 0 | -9.6 | 0
15:45 - 16:00 | -2.3 | -8 | -0.5 | 0 | 0 | -314.98 | 0 | 0 | 0 | 0 | 0 | -1.1 | -15 | 0 | -15 | -1.4 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -10 | 0 | 0 | 0 | 0 | -9.6 | 0
16:00 - 16:15 | -2.3 | -10 | -0.5 | 0 | 0 | -309.38 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | -1.1 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -9.6 | 0
16:15 - 16:30 | -2.3 | -10 | -0.5 | 0 | 0 | -260.01 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | -0.9 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.6 | 0
16:30 - 16:45 | -2.3 | -10 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | -0.8 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -9.5 | 0
16:45 - 17:00 | -2.3 | -10 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | -15 | -0.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -35 | 0 | 0 | 0 | 0 | -9.5 | 0
17:00 - 17:15 | -2.3 | -10 | -0.2 | -1.6 | 0 | -443.3 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -9.5 | -6
17:15 - 17:30 | -2.3 | -10 | -0.2 | -1.6 | 0 | -258.51 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5 | -6
17:30 - 17:45 | -2.3 | -13 | -0.2 | -1.3 | 0 | -251.65 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5 | -6
17:45 - 18:00 | -2.3 | -13 | -0.2 | -1.3 | 0 | -129 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -9.5 | -6
18:00 - 18:15 | -2.3 | -10 | -0.2 | -1.3 | 0 | -98.85 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0.96 | -9.5 | -6
18:15 - 18:30 | -2.3 | -13 | -0.2 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0.96 | -9.5 | -6
18:30 - 18:45 | -2.3 | -23 | -0.2 | -1.6 | 0 | 153.76 | 0 | 0 | 0 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0.77 | -9.5 | -6
18:45 - 19:00 | -2.3 | -14 | -0.2 | -1.6 | 0 | 105.88 | 0 | 0 | 0 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0.53 | -9.5 | -6
19:00 - 19:15 | -2.3 | 0 | -0.2 | -1.6 | 0 | 24.72 | 0 | 0 | -50 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 24.12 | 166.44 | -9.5 | 0
19:15 - 19:30 | -2.3 | 0 | -0.2 | -1.6 | 0 | 47.6 | 0 | 0 | -50 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 24.12 | 130.51 | -9.5 | 0
19:30 - 19:45 | -2.3 | 0 | -0.2 | -1.6 | 0 | 79.54 | 0 | 0 | -50 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 73.28 | -9.5 | 0
19:45 - 20:00 | -2.3 | 0 | -0.2 | -1.6 | 0 | 78.17 | 0 | 0 | -50 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 71.86 | -9.5 | 0
20:00 - 20:15 | -2.3 | 0 | -0.2 | -1.6 | 0 | 84.2 | 0 | 0 | -100 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 24.12 | 60.25 | -9.5 | 0
20:15 - 20:30 | -2.3 | 0 | -0.2 | -1.6 | 0 | 78.61 | 0 | 0 | -100 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 24.12 | 55.97 | -9.5 | 0
20:30 - 20:45 | -2.3 | 0 | -0.2 | -1.5 | 0 | 98.93 | 0 | 0 | -100 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | -10 | 0 | 0 | 24.12 | 68.47 | -9.5 | 0
20:45 - 21:00 | -2.3 | 0 | -0.2 | -1.5 | 0 | 100.89 | 0 | 0 | -100 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 24.12 | 69.59 | -9.5 | 0
21:00 - 21:15 | -2.3 | 0 | -0.2 | -1.5 | 0 | 140.12 | 0 | 0 | -100 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 24.12 | 96.17 | -9.5 | 0
21:15 - 21:30 | -2.3 | 0 | -0.2 | -1.5 | 0 | 137.39 | 0 | 0 | -100 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 24.12 | 94.04 | -9.5 | 0
21:30 - 21:45 | -2.3 | -6 | -0.6 | -1.5 | 0 | 31.24 | 0 | 0 | -80 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 24.12 | 86.88 | -2.5 | 0
21:45 - 22:00 | -2.3 | 0 | -0.6 | -1.5 | 0 | 31.43 | 0 | 0 | -80 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | -10 | 0 | 0 | 24.12 | 86.87 | -2.5 | 0
22:00 - 22:15 | -2.3 | 0 | -0.6 | -1.5 | 0 | 22.34 | 0 | 0 | -80 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 24.12 | 61.83 | -2.5 | 0
22:15 - 22:30 | -2.3 | 0 | -0.6 | -1.5 | 0 | 42.7 | 0 | 0 | -80 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 24.12 | 58.79 | -2.5 | 0
22:30 - 22:45 | -2.3 | 0 | -0.2 | -1.6 | 0 | 64.66 | 0 | 0 | -80 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 24.12 | 58.89 | -1 | 0
22:45 - 23:00 | -2.3 | 0 | -0.2 | -1.6 | 0 | 66.12 | 0 | 0 | -80 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 24.12 | 59.81 | -1 | 0
23:00 - 23:15 | -2.3 | 0 | -0.2 | -1.6 | 0 | 0 | 0 | 0 | -80 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 24.12 | 71.56 | -1 | 0
23:15 - 23:30 | -2.3 | -5 | -0.2 | -1.6 | 0 | 0 | 0 | 0 | -80 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 24.12 | 76.94 | -1 | 0
23:30 - 23:45 | -2.3 | 0 | -0.2 | -1.6 | 0 | 0 | 0 | 0 | -80 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | -12 | 0 | 0 | 24.12 | 80.16 | -1 | 0
23:45 - 24:00 | -2.3 | 0 | -0.2 | -1.6 | 0 | 0 | 0 | 0 | -80 | 0 | -4 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 0 | -12 | 0 | 0 | 24.12 | 92.26 | -1 | 0
Average | -1.7188 | -8.0417 | -0.40208 | -0.94896 | 0.75219 | 18.118 | 0.22917 | 2.7438 | -16.6667 | 0.10052 | -0.91667 | -1.1 | -0.3125 | 0.40187 | -8.75 | 0.81344 | -0.3125 | 2.2004 | 0.56135 | 3.7881 | -2.5208 | 5.6273 | -4.1875 | -9.5938 | 0.20104 | 3.3172 | 21.305 | 32.2472 | -8.6958 | -1.9375 | #DIV/0! | #DIV/0! | #DIV/0!