## POWER STATUS
POWER STATUS ON DT 24.08.2026
[9 empty] | 2026-08-24 | 2026-08-23
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 5371.1451 | 5831.8097
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 232.54 | 5.581 | 630/590 ft | 621.58 | 622.69 | 622.95 | 233.8255 | 231.5181
| Chiplima | 72(3x24) | 60.29 | 1.447 | - |  |  |  | 42.2559 | 58.9831
| Balimela | 510(6x60+2x75) | 13.51 | 0.32424 | 1516/1440 ft | 1472.2 | 1468.4 | 1469.6 | 0.18058 | 88.7773
| Rengali | 250(5x50) | 237.4 | 5.6976 | 123.5/109.75 mt | 121.92 | 122.79 | 122.57 | 245.479 | 245.0037
| Upper Kolab | 320(4x80) | 24.04 | 0.57696 | 858/844 mt | 853.64 | 851.01 | 851.3 | 21.2361 | 78.8494
| Upper Indravati | 600(4x150) | 0 | 0 | 642/625 mt | 635.57 | 635.68 | 637.31 | 0.29227 | 0.29292
| Machkund | 60(50% of(3x17+3x23)) | 11.5 | 0.276 | 2750/2685 ft | 2747.35 | 2726.3 | 2727.1 | 17.3112 | 12.2362
| Total Hydro | 2099.5 | 579.28 | 13.9027 |  |  |  |  | 560.5806 | 715.6607
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1618.9 | 38.8536 | RENEWABLE ENERGY (RE) |  |  |  | 1639 | 1664
[5 empty] | M.Hydl | 124.51
| Total Thermal | 2200 | 1618.9 | 38.8536 | Solar | 81.0309 |  |  | 1639 | 1664
IPP | VEDANTA #2 | 600 (1x600) | 365.7317 | 8.7776 | Total IPPs | Yesterday's Demand Profile |  |  | 379.2383 | 470.4883
| GMR #3 | 350 (1x350) | 278.5989 | 6.6864 | 725.0808 |  | MW | HRS | 323.3635 | 326.4514
| NBVL(IPP) | 60(1x60) | 48.3525 | 1.1605 |  |  |  |  | 54.4323 | 54.7658
| MDTPC |  | 32.3977 | 0.77755 |  |  |  |  | 32.4875 | 55.425
| CGPs |  | 820.3928 | 19.6894 | IPPs, CGPs & RE | Maximum | 6158 | 09.00 | 1766.8393 | 2058.7843
| Central Sector(Drawl) |  | 1880.0932 | 45.1222 | 1751.0145 | Minimum | 5409 | 24.00 | 1404.7252 | 1393.3647
| Central Sector(Sch) |  | 1988.8585 | 47.7326 |  | Average | 5829.2877 |  | 1574.47 | 1540.3263
| Grand Total |  | 5829.2877 | 139.9029 | Instantaneous Peak demand |  | 6433 | 0:10 | 5371.1451 | 5831.8097
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1604.6552 | 38.5117 | 1535.4967 | 36.8519 | 1639.7281 | 39.3535
Balimela | 4,5,6 | TSTPP St-I | NIL | TPWODL | 2174.8019 | 52.1952 | 2093.6795 | 50.2483 | 1702.0823 | 40.85
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1466.7644 | 35.2023 | 1355.2301 | 32.5255 | 1241.2352 | 29.7896
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 545.8711 | 13.1009 | 544.2913 | 13.063 | 564.3411 | 13.5442
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5792.0926 | 139.0102 | 5528.6976 | 132.6887 | 5147.3868 | 123.5373
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 379.2383 | GMR |  |  |  | 323.3635
| NBVL #3 | 54.4323 | MDTPC |  |  |  | 32.4875
Mini Hydel: | MEENAKSHI | 29.3141 | OPCL |  |  |  | 0
| BTPL | 19.9471 | SAPTADHARA |  |  |  | 19.8294
Solar: |  | 102.0003 | KAKATIYA |  |  |  | 5.1758
CGPs : | JSPL (Angul) | 252.968 | JSL(Duburi) |  |  |  | -127.9638
| ICCL | 50.921 | visa |  |  |  | 13.3582
| NALCO | -135.7449 | VAL (CGP) |  |  |  | 199.972
| RSP | -90.58 | BSL(MMDL) |  |  |  | 79.7999
| INDAL | -1.568 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -34.6158 | VAL CPP 400 kV |  |  |  | -556.2712
| NBVL | 54.4861 | Arati |  |  |  | 2.5699
| BPSL(JSG) | -41.5373 | BPPL |  |  |  | 0
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-16 | 2026-08-17 | 2026-08-18 | 2026-08-19 | 2026-08-20 | 2026-08-21 | 2026-08-22 | 2026-08-23
640.78 | 522.1927 | 696.1225 | 740.7287 | 764.7309 | 744.734 | 611.49 | 579.28
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.23.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | -12.6 | AARTISTEEL | CSEB_Beneficiary | -4.75 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0.33
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | 0 | AGE26AL_PSS6_KPS1_S | ODISHA | 98.84
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | 0 | AP41PL_BHDL | ODISHA | 51.51
JPIPL | NPCL_UP | 0 | AARTISTEEL | PSPCL | 0 | AP43PL_BKN | ODISHA | 92.08
JSPLANGUL | GEB_Beneficiary | -52 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 3.2
JSPLANGUL | RUVITSL | -43.75 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 8.7
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -1.1 | AWEK1L | ODISHA | 13.04
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DALCEMAP | -2 | AWPL_SIDPUR_JAM_HW | VLSEZ | 8.57
ODISHA | AMNSIL | -16.67 | DCBL_Rajgangpur | DCBLME | -6 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.77
ODISHA | CESC | -16.67 | DCBL_Rajgangpur | DCL_RCW | -4.08 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 24.71
ODISHA | CESC | -18.75 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -5.33 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 14.03
SMEL | PCKL | -3.12 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | BlueLeaf_CP_PCHR_HW | VLSEZ | 11.64
VSL | CR_IR_MS | -10 | FACORPOWER | PSPCL | -5.83 | DADRI_SOLAR | ODISHA | 0.39
FARIDABAD_SOLAR | ODISHA | 0.86 | FACORPOWER | PSPCL | -1.46 | ENERSON_SOLAR_10MW | ODISHA | 0.24
JSWEL_UTKAL | ODISHA | 69.34 | FACORPOWER | PSPCL | -0.31 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.26 | FACORPOWER | PSPCL | -1.25 | GADAG_GreenInfra_W | ODISHA | 0.72
RAJ_SOLAR | ODISHA | 2.41 | JSPLANGUL | RUVITSL | -106.25 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_Serentica3_S | VLSEZ | 31.12
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GADAG_Serentica3_W | VLSEZ | 72
|  |  | NBVLIPP | BSPHCL | -14.38 | GIWEL_SECI_II_RE | ODISHA | 37.11
|  |  | NBVLIPP | BSPHCL | -3.54 | GPCL_SOLAR_10 | ODISHA | 0.52
|  |  | OCL_IRON_STEEL | BRPL | -25 | GSECL_SOLAR | ODISHA | 0.57
|  |  | OCL_IRON_STEEL | TPDDL | -21 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.94
|  |  | ODISHA | BRPL | -12.5 | KARUR_TPVARDHAMAN_W | TSKPO | 120.36
|  |  | ODISHA | BYPL | -12.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
|  |  | ORSISL | PSPCL | -1.17 | Kurnool_Greenko_H_Inj | ADITYAAL | 9.66
|  |  | ORSISL | PSPCL | -2.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.07
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.14
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 3.99
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 2.11
|  |  | VSL | WBSEDCL | -4.17 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 7.58
|  |  | CSEB_Beneficiary | VLSEZ | 16.08 | OKWPL_RE | ODISHA | 15.53
|  |  | HP | VLSEZ | 13.57 | RGMHP1_Patoda_klm_W | VLSEZ | 9.83
|  |  | JIPL | ODISHA | 57.88 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 2.29
|  |  | JIPL | ODISHA | 9.65 | RWE_AP2_SECI_III | ODISHA | 16.39
|  |  | NALCOAP | NACL_Odisha | 23.95 | RenewGreen_SLPR_HS | JSL_DUBURI | 15.13
|  |  | North_Karanpura_STPS | ODISHA | 7.03 | SRI4PL_TDLWD_KLM_W | KCMW_od | 1.2
[6 empty] | SRI9PL_FTG3 | VLSEZ | 76.96
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 72.97
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 7.02
[6 empty] | XXPPL_FTG3 | ODISHA | 54.86

## DAM
DAM TRADING DETAILS FOR DT : 23.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | JSW_Cement_Ltd | Jindal_Steel_&_Power_Limited_Angul_Odisha | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | OCL_Iron_and_Steel_Limited_ENE | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_FAP_Gopalpur | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -2.7 | 0 | 0 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 33.01
00:15 - 00:30 | -2.7 | 0 | 0 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 33.14
00:30 - 00:45 | -2.7 | 0 | 0 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 46.08
00:45 - 01:00 | -2.7 | 0 | 0 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 57.9
01:00 - 01:15 | -2.7 | 0 | 0 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 121.26
01:15 - 01:30 | -2.7 | 0 | 0 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 236.76
01:30 - 01:45 | -2.7 | 0 | 0 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 199.61
01:45 - 02:00 | -2.7 | 0 | 0 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 215.98
02:00 - 02:15 | -2.7 | 0 | 96.47 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 120.59
02:15 - 02:30 | -2.7 | 0 | 96.47 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 122.52
02:30 - 02:45 | -2.7 | 0 | 96.47 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 126.38
02:45 - 03:00 | -2.7 | 0 | 96.47 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 131.2
03:00 - 03:15 | -2.7 | 0 | 96.47 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 236.35
03:15 - 03:30 | -2.7 | 0 | 96.47 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 239.25
03:30 - 03:45 | -2.7 | 0 | 96.47 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 245.03
03:45 - 04:00 | -2.7 | 0 | 96.47 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 252.75
04:00 - 04:15 | -2.7 | 0 | 96.47 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 181.36
04:15 - 04:30 | -2.7 | 0 | 96.47 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 189.08
04:30 - 04:45 | -2.7 | 0 | 96.47 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 194.87
04:45 - 05:00 | -2.7 | 0 | 96.47 | 0 | 0 | 0 | -3 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 198.73
05:00 - 05:15 | -2.7 | 0 | 0 | 0 | 0 | 0 | -3 | -2 | -43 | -15 | 0 | 0 | 0 | 0 | 198.09
05:15 - 05:30 | -2.7 | 0 | 0 | 0 | 0 | 0 | -3 | -2 | -43 | -15 | 0 | 0 | 0 | 0 | 142.17
05:30 - 05:45 | -2.7 | 0 | 0 | 0 | 0 | 0 | -3 | -2 | -43 | -15 | 0 | 0 | 0 | 0 | 163.78
05:45 - 06:00 | -2.7 | 0 | 0 | 0 | 0 | 0 | -3 | -2 | -43 | -15 | 0 | 0 | 0 | 0 | 126.02
06:00 - 06:15 | -2.7 | 0 | 0 | 0 | 0 | 0 | -9 | -2 | -43 | -15 | 0 | 0 | 0 | -6 | 0
06:15 - 06:30 | -2.7 | 0 | 0 | 0 | 0 | 0 | -9 | -2 | -43 | -15 | 0 | 0 | 0 | -6 | 0
06:30 - 06:45 | -2.7 | 0 | 0 | 0 | 0 | 0 | -9 | -2 | -43 | -15 | 0 | 0 | 0 | -6 | 0
06:45 - 07:00 | -2.7 | 0 | 0 | 0 | 0 | 0 | -9 | -2 | -43 | -15 | 0 | 0 | 0 | -6 | 0
07:00 - 07:15 | -2.7 | 0 | -350 | 0 | 0 | 0 | -9 | -2 | -43 | -15 | 0 | 0 | 0 | -6 | 0
07:15 - 07:30 | -2.7 | 0 | -350 | 0 | 0 | 0 | -9 | -2 | -43 | -15 | 0 | 0 | 0 | -6 | 0
07:30 - 07:45 | -2.7 | 0 | -350 | 0 | 0 | 0 | -9 | -2 | -43 | -15 | 0 | 0 | 0 | -6 | 0
07:45 - 08:00 | -2.7 | 0 | -350 | 0 | 0 | 0 | -9 | -2 | -43 | -15 | 0 | 0 | 0 | -6 | 0
08:00 - 08:15 | -2.7 | 4.83 | -850 | 0 | 3.18 | 0 | -1 | -1 | -43 | -15 | 0 | 0 | 0 | -6 | 0
08:15 - 08:30 | -2.7 | 4.83 | -824.86 | 0 | 3.18 | 0 | -1 | -1 | -43 | -15 | 0 | 0 | 0 | -6 | 0
08:30 - 08:45 | -2.7 | 4.83 | -750 | 0 | 3.18 | 0 | -1 | -1 | -43 | -15 | 0 | 0 | 0 | -6 | 0
08:45 - 09:00 | -2.7 | 4.82 | -737.3 | 0 | 3.18 | 0 | -1 | -1 | -43 | -15 | 6.76 | 0 | 0 | -6 | 0
09:00 - 09:15 | -2.7 | 4.82 | -830.91 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | -6 | 0
09:15 - 09:30 | -2.7 | 4.82 | -830.06 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | -6 | 0
09:30 - 09:45 | -2.7 | 4.82 | -725 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | -6 | 0
09:45 - 10:00 | -2.7 | 4.82 | -669.79 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | -6 | 0
10:00 - 10:15 | -2.7 | 4.82 | -540.52 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | -6 | 0
10:15 - 10:30 | -2.7 | 4.82 | -227.24 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | 0 | 0
10:30 - 10:45 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | 0 | 0
10:45 - 11:00 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | 0 | 0
11:00 - 11:15 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | 0 | 0
11:15 - 11:30 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | 0 | 0
11:30 - 11:45 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0.37 | 0 | 0
11:45 - 12:00 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 1.56 | 0 | 0
12:00 - 12:15 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 5.38 | 0 | 0
12:15 - 12:30 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.75 | 0 | 9.66 | 0 | 0
12:30 - 12:45 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.75 | 0 | 9.66 | 0 | 0
12:45 - 13:00 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.75 | 0 | 9.66 | 0 | 0
13:00 - 13:15 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.75 | 0 | 9.66 | 0 | 0
13:15 - 13:30 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.75 | 0 | 9.66 | 0 | 0
13:30 - 13:45 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.75 | 0 | 9.66 | 0 | 0
13:45 - 14:00 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.75 | 0 | 9.66 | 0 | 0
14:00 - 14:15 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | 0 | 0
14:15 - 14:30 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | 0 | 0
14:30 - 14:45 | -2.7 | 4.82 | 0 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | 0 | 0
14:45 - 15:00 | -2.7 | 4.82 | -150.06 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | 0 | 0
15:00 - 15:15 | -2.7 | 4.82 | -346.87 | 0.1 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | -6 | 0
15:15 - 15:30 | -2.7 | 4.82 | -474.92 | 26.93 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.75 | 0 | 0 | -6 | 0
15:30 - 15:45 | -2.7 | 4.82 | -475 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | -6 | 0
15:45 - 16:00 | -2.7 | 4.82 | -513.5 | 0 | 3.18 | 0 | -1 | -1 | -18 | -15 | 6.76 | 0 | 0 | -6 | 0
16:00 - 16:15 | -2.7 | 4.82 | -550 | 0 | 0 | 0 | -1 | -1 | -43 | -15 | 6.76 | 0 | 0 | -6 | 0
16:15 - 16:30 | -2.7 | 4.82 | -550 | 0 | 0 | 0 | -1 | -1 | -43 | -15 | 6.76 | 0 | 0 | -6 | 0
16:30 - 16:45 | -2.7 | 4.82 | -550 | 0 | 0 | 0 | -1 | -1 | -43 | -15 | 6.76 | 0 | 0 | -6 | 0
16:45 - 17:00 | -2.7 | 4.82 | -550 | 0 | 0 | 0 | -1 | -1 | -43 | -15 | 0 | 0 | 0 | -6 | 0
17:00 - 17:15 | -2.7 | 0 | -575 | 0 | 0 | 0 | -1 | -2 | -43 | -15 | 0 | 0 | 0 | -6 | 0
17:15 - 17:30 | -2.7 | 0 | -575 | 0 | 0 | 0 | -1 | -2 | -43 | -15 | 0 | 0 | 0 | -6 | 0
17:30 - 17:45 | -2.7 | 0 | -575 | 0 | 0 | 0 | -1 | -2 | -43 | -15 | 0 | 0 | 0 | -6 | 0
17:45 - 18:00 | -2.7 | 0 | -575 | 0 | 0 | 0 | -1 | -2 | -43 | -15 | 0 | 0 | 0 | -6 | 0
18:00 - 18:15 | -2.7 | 0 | -175 | 0 | 0 | 0 | -4 | -2 | -43 | -15 | 6.75 | 28.94 | 0 | 0 | 0
18:15 - 18:30 | -2.7 | 0 | -100 | 0 | 0 | 0 | -4 | -2 | -43 | -15 | 6.75 | 28.94 | 0 | 0 | 0
18:30 - 18:45 | -2.7 | 0 | -50 | 0 | 0 | 0 | -4 | -2 | -43 | -15 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | -2.7 | 0 | 0 | 0 | 0 | 0 | -4 | -2 | -43 | -15 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | -2.7 | 0 | 0 | 0 | 0 | -130 | -4 | -2 | 0 | -15 | 0 | 0 | 0 | 0 | 0
Average | -2.7 | 1.8078 | -145.9728 | 0.28156 | 1.06 | -27.0833 | -2.9167 | -1.625 | -17.7917 | -15 | 2.3931

## GDAM
GDAM TRADING DETAILS FOR DT:23.08.2026
Time Period | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 19.29 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 19.29 | 0 | 0 | 6.27 | 1.11 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 24.12 | 0 | 0 | 6.27 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 24.12 | 0 | 0 | 6.27 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 24.12 | 0 | 0 | 6.27 | 28.94 | 19.29 | 0
08:45 - 09:00 | 0 | 0 | 0 | 24.12 | 21.21 | 9.65 | 6.27 | 28.94 | 19.29 | 0
09:00 - 09:15 | 0 | 0 | 18.91 | 24.12 | 36.66 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
09:15 - 09:30 | 0 | 0 | 33.76 | 24.12 | 36.67 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
09:30 - 09:45 | 0 | 0 | 33.76 | 24.12 | 36.67 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
09:45 - 10:00 | 0 | 0 | 33.76 | 24.12 | 36.67 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
10:00 - 10:15 | 0 | 0 | 33.76 | 24.12 | 33.77 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
10:15 - 10:30 | 0 | 0 | 33.77 | 24.12 | 32.8 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
10:30 - 10:45 | -1.6 | 0 | 33.77 | 24.12 | 30.87 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
10:45 - 11:00 | -3.7 | 0 | 33.77 | 24.12 | 28.94 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
11:00 - 11:15 | -3.9 | 0 | 33.77 | 24.12 | 28.94 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
11:15 - 11:30 | 0 | 0 | 33.77 | 24.12 | 28.94 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
11:30 - 11:45 | -2.1 | 48.35 | 33.76 | 24.12 | 26.05 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
11:45 - 12:00 | -2.1 | 52.39 | 33.76 | 24.12 | 27.01 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
12:00 - 12:15 | 0 | 58.47 | 33.76 | 24.12 | 26.14 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
12:15 - 12:30 | -2 | 72.75 | 33.76 | 24.12 | 26.14 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
12:30 - 12:45 | -0.6 | 82.97 | 33.76 | 24.12 | 26.34 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
12:45 - 13:00 | -3.6 | 75.64 | 33.76 | 24.12 | 26.34 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
13:00 - 13:15 | -5 | 72.3 | 33.76 | 24.12 | 25.95 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
13:15 - 13:30 | -1.6 | 83.13 | 33.76 | 24.12 | 26.34 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
13:30 - 13:45 | -2.1 | 82.99 | 33.76 | 24.12 | 26.14 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
13:45 - 14:00 | -0.7 | 48.32 | 33.76 | 24.12 | 26.05 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
14:00 - 14:15 | -3.6 | 0 | 33.77 | 24.12 | 26.14 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
14:15 - 14:30 | -2.8 | 0 | 33.77 | 24.12 | 26.14 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
14:30 - 14:45 | -6.6 | 0 | 33.77 | 24.12 | 27.59 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
14:45 - 15:00 | -0.7 | 0 | 33.76 | 24.12 | 27.98 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
15:00 - 15:15 | 0 | 0 | 33.6 | 24.12 | 28.17 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
15:15 - 15:30 | 0 | 0 | 6.83 | 24.12 | 28.27 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
15:30 - 15:45 | 0 | 0 | 0 | 24.12 | 29.62 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
15:45 - 16:00 | 0 | 0 | 0 | 24.12 | 32.71 | 9.65 | 6.27 | 28.94 | 19.29 | 4.82
16:00 - 16:15 | 0 | 0 | 0 | 19.29 | 36.66 | 0 | 6.27 | 28.94 | 38.59 | 0
16:15 - 16:30 | 0 | 0 | 0 | 19.29 | 36.66 | 0 | 6.27 | 28.94 | 38.59 | 0
16:30 - 16:45 | 0 | 0 | 0 | 19.29 | 36.66 | 0 | 6.27 | 28.94 | 38.59 | 0
16:45 - 17:00 | 0 | 0 | 0 | 19.29 | 36.66 | 0 | 6.27 | 28.94 | 38.59 | 0
17:00 - 17:15 | 0 | 0 | 0 | 19.29 | 36.66 | 0 | 6.27 | 28.94 | 38.59 | 0
17:15 - 17:30 | 0 | 0 | 0 | 19.29 | 36.66 | 0 | 6.27 | 28.94 | 38.59 | 0
17:30 - 17:45 | 0 | 0 | 0 | 19.29 | 36.66 | 0 | 6.27 | 28.94 | 38.59 | 0
17:45 - 18:00 | 0 | 0 | 0 | 19.29 | 36.66 | 0 | 6.27 | 28.94 | 38.59 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.44479 | 7.0553 | 8.7073 | 10.0494 | 11.8181 | 2.9151 | 2.6778 | 11.467 | 9.244 | 1.4058

## RTM
RTM TRADING DETAILS FOR DT: 23.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -2.5 | 0 | -0.3 | -1.6 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | -1.6 | 0 | 0 | -14 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 28.94 | 0 | 76.18 | -1.2 | 0
00:15 - 00:30 | -2.5 | -9 | -0.3 | -1.6 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | -1.6 | 0 | 0 | -14 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 28.94 | 0 | 76.04 | -1.2 | 0
00:30 - 00:45 | -2.5 | -9 | -0.3 | -1.6 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | -1.6 | 0 | 0 | -14 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -5 | 0 | 28.94 | 0 | 94.54 | -1.2 | 0
00:45 - 01:00 | -2.5 | -9 | -0.3 | -1.6 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | -1.6 | 0 | 0 | -14 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 28.94 | 0 | 99.96 | -1.2 | 0
01:00 - 01:15 | -2.5 | -9 | -0.3 | -1.6 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120.79 | -1.2 | 0
01:15 - 01:30 | -2.5 | -10 | -0.3 | -1.6 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0.14 | -1.2 | 0
01:30 - 01:45 | -2.5 | -9 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 28.95 | 0 | 1.51 | -9.5 | 0
01:45 - 02:00 | -2.5 | -9 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 28.94 | 0 | 0.2 | -9.5 | 0
02:00 - 02:15 | -2.5 | -9 | 0 | -1.6 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -9.5 | 0
02:15 - 02:30 | -2.5 | -9 | 0 | -1.6 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5 | 0
02:30 - 02:45 | -2.5 | -9 | 0 | -1.6 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 38.59 | 0 | 0 | -9.5 | 0
02:45 - 03:00 | -2.5 | -9 | 0 | -1.6 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -20 | 0 | 38.59 | 0 | 0 | -9.5 | 0
03:00 - 03:15 | -2.5 | -9 | 0 | -1.6 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -9.5 | 0
03:15 - 03:30 | -2.5 | -9 | 0 | -1.6 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5 | 0
03:30 - 03:45 | -2.5 | -10 | 0 | -1.6 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.5 | 0
03:45 - 04:00 | -2.5 | -10 | 0 | -1.6 | 0 | 0 | -250 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -9.5 | 0
04:00 - 04:15 | -2.5 | -10 | 0 | -1.6 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -9.5 | 0
04:15 - 04:30 | -2.5 | -10 | 0 | -1.6 | 0 | 0 | -75 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -10 | 0 | 0 | 0 | 0 | -9.5 | 0
04:30 - 04:45 | -2.5 | -10 | 0 | -1.6 | 0 | 0 | -75 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -10 | 0 | 0 | 0 | 69.49 | -9.5 | 0
04:45 - 05:00 | -2.5 | -10 | 0 | -1.6 | 0 | 0 | -150 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 67.51 | -9.5 | 0
05:00 - 05:15 | -2.5 | 0 | 0 | -1.6 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 71.64 | -9.5 | -10
05:15 - 05:30 | -2.5 | 0 | 0 | -1.6 | 0 | 0 | -99.99 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -5 | 0 | 0 | 0 | 53.53 | -9.5 | -10
05:30 - 05:45 | -2.5 | 0 | -0.5 | -1.6 | 0 | 0 | -125 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 96.53 | -9.5 | -10
05:45 - 06:00 | -2.5 | 0 | -0.5 | -1.6 | 0 | 0 | -300 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | 118.38 | -9.5 | -10
06:00 - 06:15 | -2.5 | -11 | -0.5 | -1.6 | 0 | 0 | -300 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -15 | 0 | 0 | 0 | 91.9 | -9.5 | -10
06:15 - 06:30 | -2.5 | -18 | -0.5 | -1.6 | 0 | 0 | -300 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -6 | 0 | 0 | 0 | 87.36 | -9.5 | -10
06:30 - 06:45 | -2.5 | -16 | -0.5 | -1.6 | 0 | 0 | -300 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 106.38 | -9.5 | -10
06:45 - 07:00 | -2.5 | -9 | -0.5 | -1.6 | 0 | 0 | -350 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | -0.3 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -6 | 0 | 0 | 0 | 159.58 | -9.5 | -10
07:00 - 07:15 | -2.5 | -9 | 0 | -1.6 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | -0.6 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 543.02 | 0 | -10
07:15 - 07:30 | -2.5 | -9 | 0 | -1.6 | 0 | 0 | -350 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | -0.8 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 923.01 | 0 | -10
07:30 - 07:45 | -2.5 | -6 | 0 | 0 | 0 | 0 | -51.14 | 18.81 | 8.68 | 0 | 9.65 | -1.6 | 0 | 19.29 | -14 | -1.1 | -1 | 15.44 | 0 | 0 | 0 | 8.68 | 0 | 0 | 0 | -5 | -35 | 9.65 | 125.41 | 5.6 | 434.11 | 0 | -10
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | -0.12 | 19 | 8.68 | 0 | 9.65 | 0 | 0 | 19.29 | 0 | 0 | 0 | 15.44 | 0 | 0 | 0 | 8.68 | 0 | 0 | 0 | 0 | 0 | 9.65 | 125.41 | 5.6 | 405.17 | 0 | 0
08:00 - 08:15 | -2.5 | -6 | -0.5 | 0 | 2.41 | 0 | 72.36 | 0 | 8.68 | 0 | 9.65 | -1.6 | 0 | 0 | -14 | -1.4 | 0 | 15.44 | -7 | 0 | 0 | 8.68 | 0 | 0 | 0 | 0 | 0 | 9.65 | 86.82 | 5.6 | 583.64 | 0 | 0
08:15 - 08:30 | -2.5 | -6 | -0.5 | 0 | 2.41 | 0 | -25.01 | 0 | 8.68 | 0 | 9.65 | -1.6 | 0 | 0 | -14 | -1.6 | 0 | 15.44 | -7 | 0 | 0 | 8.68 | 0 | 0 | 0 | 0 | 0 | 9.65 | 86.82 | 5.6 | 609.68 | 0 | 0
08:30 - 08:45 | -2.5 | -6 | -0.5 | 0 | 2.41 | 0 | -275.71 | 0 | 9.65 | 0 | 0 | -1.6 | 0 | 0 | -14 | -1.8 | 0 | 12.54 | 6.75 | 0 | 3.86 | 8.68 | -2 | 0 | 0 | 0 | -40 | 9.65 | 86.82 | 0 | 454.38 | 0 | 0
08:45 - 09:00 | -2.5 | -6 | -0.5 | 0 | 2.41 | 0 | -325.05 | 0 | 9.65 | 0 | 0 | -1.6 | 0 | 0 | -14 | -2 | 0 | 5.79 | 6.75 | 0.23 | 3.86 | 8.68 | -2 | 0 | 0 | 0 | -20 | 9.65 | 86.82 | 0.27 | 406.27 | 0 | 0
09:00 - 09:15 | -2.8 | -6 | 0 | 0 | 2.41 | 0 | -195.01 | 0 | 9.65 | 0 | 0 | -1.6 | -15 | 0 | -14 | -2.1 | 0 | 0 | 0 | 0 | 3.86 | 8.68 | -2 | 0 | 0 | 0 | -40 | 9.65 | 0 | 0 | 345.36 | 0 | 0
09:15 - 09:30 | -2.8 | -6 | 0 | 0 | 2.41 | 0 | -239.48 | 0 | 9.65 | 0 | 0 | -1.6 | 0 | 0 | -14 | -2.3 | 0 | 5.79 | 0 | 0 | 3.86 | 8.68 | -2 | 0 | 0 | 0 | -10 | 9.65 | 0 | 0 | 311.59 | 0 | 0
09:30 - 09:45 | -2.8 | -6 | 0 | 0 | 2.41 | 0 | -333.98 | 0 | 9.65 | 0 | 0 | -1.6 | 0 | 0 | -14 | -2.5 | 0 | 5.79 | 0 | 0 | 3.86 | 8.68 | -2 | 0 | 0 | 0 | 0 | 9.65 | 106.12 | 0 | 291.33 | 0 | 0
09:45 - 10:00 | -2.8 | -6 | 0 | 0 | 2.41 | 0 | -250.73 | 0 | 9.65 | 0 | 0 | -1.6 | 0 | 0 | -14 | -0.1 | 0 | 5.79 | 6.75 | 0 | 3.86 | 8.68 | -2 | 0 | 0 | 0 | -15 | 9.65 | 106.12 | 0 | 272.04 | 0 | 0
10:00 - 10:15 | -2.8 | -6 | 0 | 0 | 2.41 | 0 | -424.95 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | 5.6 | 0 | 8.68 | 6.75 | 4.82 | 3.86 | 8.68 | -2 | 0 | 0 | 0 | -10 | 9.65 | 125.41 | 5.21 | 427.37 | 0 | 0
10:15 - 10:30 | -2.8 | -6 | 0 | 0 | 2.41 | 0 | -823.5 | 15.63 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | 5.79 | 0 | 8.68 | 6.75 | 4.82 | 3.86 | 8.68 | 0 | 0 | 0 | 0 | -35 | 9.65 | 125.41 | 5.21 | 427.37 | 0 | 0
10:30 - 10:45 | -2.8 | -6 | -0.2 | 0 | 2.41 | 0 | -678.94 | 15.24 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | 5.98 | 0 | 8.68 | 6.75 | 4.82 | 3.86 | 8.68 | 0 | 0 | 0 | 0 | -30 | 9.65 | 57.88 | 10.9 | 439.92 | 0 | 0
10:45 - 11:00 | -2.8 | -16 | -0.2 | 0 | 2.41 | 0 | -679.72 | 15.53 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | 6.08 | 0 | 8.68 | 6.75 | 4.82 | 3.86 | 8.68 | 0 | 0 | 0 | 0 | -30 | 9.65 | 57.88 | 10.9 | 466.93 | 0 | 0
11:00 - 11:15 | -2.8 | -6 | -0.2 | 0 | 2.41 | 0 | 57.84 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | 6.08 | 0 | 8.68 | 6.75 | 4.82 | 3.86 | 8.68 | 0 | 0 | -12 | 0 | -20 | 9.65 | 67.53 | 10.9 | 478.5 | 0 | 0
11:15 - 11:30 | -2.8 | -6 | -0.2 | 0 | 2.41 | 0 | 81.93 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | 5.88 | 0 | 8.68 | 6.75 | 4.82 | 3.86 | 8.68 | 0 | 0 | -12 | 0 | 0 | 9.65 | 67.53 | 10.9 | 469.82 | 0 | 0
11:30 - 11:45 | -2.5 | -6 | -0.2 | 0 | 2.41 | 0 | 134.7 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 5.69 | 0 | 8.68 | 4.82 | 4.82 | 3.86 | 8.68 | 0 | 0 | -12 | 0 | 0 | 9.65 | 67.53 | 10.9 | 465 | 0 | 0
11:45 - 12:00 | -2.5 | -6 | -0.2 | 0 | 2.41 | 0 | 126.45 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 5.21 | 0 | 8.68 | 4.82 | 4.82 | 3.86 | 8.68 | 0 | 0 | -12 | 0 | -25 | 9.65 | 67.53 | 10.9 | 464.03 | 0 | 0
12:00 - 12:15 | -2.5 | -16 | -0.4 | 0 | 2.41 | 0 | 242.37 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | 5.11 | 0 | 8.68 | 4.82 | 4.82 | 3.86 | 8.68 | 0 | 0 | -12 | 0 | -32 | 9.65 | 67.53 | 10.9 | 464.04 | 0 | 0
12:15 - 12:30 | -2.5 | -6 | -0.4 | 0 | 2.41 | 0 | 243.23 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | 5.4 | 0 | 8.68 | 4.82 | 4.82 | 3.86 | 8.68 | 0 | 0 | -12 | 0 | -32 | 9.65 | 67.53 | 10.9 | 464.03 | 0 | 0
12:30 - 12:45 | -2.5 | -6 | -0.4 | 0 | 2.41 | 0 | 0 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | 5.21 | 0 | 5.79 | 0 | 4.82 | 3.86 | 6.75 | 0 | 0 | -12 | 0 | -35 | 9.65 | 67.53 | 10.9 | 464.02 | 0 | 0
12:45 - 13:00 | -2.5 | -6 | -0.4 | 0 | 2.41 | 0 | 0 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | 5.02 | 0 | 8.68 | 0 | 4.82 | 3.86 | 6.75 | 0 | 0 | -12 | 0 | -15 | 9.65 | 67.53 | 10.9 | 464.03 | 0 | 0
13:00 - 13:15 | -2.5 | -6 | -1 | 0 | 2.41 | 0 | -405.47 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | 5.21 | 0 | 5.79 | 0 | 4.82 | 3.86 | 6.75 | 0 | 0 | -12 | 0 | 0 | 9.65 | 67.53 | 10.9 | 464.02 | 0 | 0
13:15 - 13:30 | -2.5 | -6 | -1 | 0 | 2.41 | 0 | -514.97 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | 5.5 | 0 | 5.79 | 0 | 4.82 | 3.86 | 6.75 | 0 | 0 | -12 | 0 | -20 | 9.65 | 67.53 | 10.9 | 464.02 | 0 | 0
13:30 - 13:45 | -2.5 | -11 | -1 | 0 | 2.41 | 0 | -652.69 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | 0 | 5.79 | 0 | 0 | 3.86 | 6.75 | 0 | 28.94 | -13 | 0 | -42 | 9.65 | 67.53 | 0 | 433.15 | 0 | 0
13:45 - 14:00 | -2.5 | -6 | -1 | 0 | 2.41 | 0 | -652.77 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | -2.1 | 0 | 5.79 | 0 | 0 | 3.86 | 6.75 | 0 | 28.94 | -13 | 0 | -42 | 9.65 | 62.71 | 0 | 433.15 | 0 | 0
14:00 - 14:15 | -2.5 | -6 | -1 | 0 | 2.41 | 0 | -1300 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | -2.1 | 0 | 5.79 | 0 | 0 | 1.93 | 6.75 | 0 | 28.94 | -13 | 0 | -66 | 9.65 | 62.71 | 0 | 422.54 | 0 | 0
14:15 - 14:30 | -2.5 | -6 | -1 | 0 | 2.41 | 0 | -1254.37 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | -2.1 | 0 | 5.79 | 0 | 0 | 1.93 | 6.75 | 0 | 28.94 | -13 | 0 | -40 | 9.65 | 37.88 | 0 | 409.04 | 0 | 0
14:30 - 14:45 | -2.5 | -6 | -1 | 0 | 2.41 | 0 | -1253.19 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | -1.8 | 0 | 5.79 | 0 | 0 | 0 | 6.75 | 0 | 28.94 | 0 | 0 | 0 | 9.65 | 62.71 | 0 | 303.88 | 0 | 0
14:45 - 15:00 | -2.5 | -6 | -1 | 0 | 2.41 | 0 | -1154.96 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | -1.9 | 0 | 0 | 0 | 0 | 0 | 6.75 | 0 | 0 | 0 | 0 | 0 | 9.65 | 0 | 0 | 100.33 | 0 | 0
15:00 - 15:15 | -2.5 | -7 | -1 | 0 | 2.41 | 0 | -1085.66 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | -2.2 | 0 | 8.68 | 0 | 4.82 | 0 | 6.75 | 0 | 28.94 | 0 | 0 | 0 | 9.65 | 57.88 | 10.9 | 276.88 | 0 | 0
15:15 - 15:30 | -2.5 | -2 | -1 | 0 | 2.41 | 0 | -999.87 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | -1.8 | 0 | 5.79 | 0 | 4.82 | 0 | 6.75 | 0 | 28.94 | 0 | 0 | 0 | 9.65 | 57.88 | 10.9 | 252.76 | 0 | 0
15:30 - 15:45 | -2.5 | -2 | -1 | 0 | 0 | 0 | -850.57 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 0 | -14 | -1.5 | 0 | 5.79 | 0 | 4.82 | 0 | 6.75 | 0 | 28.94 | 0 | 0 | -35 | 9.65 | 53.06 | 10.9 | 238.28 | 0 | 0
15:45 - 16:00 | -2.5 | -2 | -1 | 0 | 0 | 0 | -850.62 | 0 | 10.61 | 0 | 0 | -1.6 | -15 | 0 | -14 | -1.5 | 0 | 5.79 | 0 | 4.82 | 0 | 6.75 | 0 | 28.94 | 0 | 0 | -55 | 9.65 | 53.06 | 10.9 | 229.6 | 0 | 0
16:00 - 16:15 | -2.5 | -2 | -1 | 0 | 0 | 0 | -504.96 | 0 | 10.61 | 0 | 9.65 | -1.6 | 0 | 19.29 | -14 | -1.4 | 0 | 5.79 | 0 | 4.82 | 0 | 6.75 | 0 | 0 | 0 | 0 | -20 | 9.65 | 48.24 | 10.9 | 230.56 | 0 | 0
16:15 - 16:30 | -2.5 | -15 | -1 | 0 | 0 | 0 | -410.6 | 0 | 10.61 | 0 | 9.65 | -1.6 | 0 | 19.29 | -14 | -1.1 | 0 | 5.79 | 0 | 4.82 | 0 | 6.75 | 0 | 0 | 0 | 0 | 0 | 9.65 | 48.24 | 10.9 | 249.86 | 0 | 0
16:30 - 16:45 | -2.5 | -2 | -1 | 0 | 0 | 0 | -509.49 | 0 | 10.61 | 0 | 9.65 | -1.6 | 0 | 19.29 | -14 | -0.9 | 0 | 5.79 | 0 | 4.82 | 0 | 6.75 | -2 | 0 | 0 | 0 | -15 | 9.65 | 48.24 | 10.9 | 214.16 | 0 | 0
16:45 - 17:00 | -2.5 | -2 | -1 | 0 | 0 | 0 | -525.63 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 19.29 | -14 | -0.5 | 0 | 12.54 | 0 | 0 | 0 | 6.75 | -2 | 0 | 0 | 0 | 0 | 9.65 | 48.24 | 10.9 | 173.65 | 0 | 0
17:00 - 17:15 | -2.5 | -2 | -0.5 | 0 | 0 | 0 | -274.98 | 0 | 10.61 | 0 | 9.65 | -1.6 | 0 | 19.29 | -14 | -0.3 | 0 | 15.44 | 0 | 4.82 | 0 | 6.75 | -2 | 0 | 0 | 0 | 0 | 9.65 | 43.41 | 10.9 | 140.85 | 0 | 0
17:15 - 17:30 | -2.5 | -2 | -0.5 | 0 | 0 | 0 | -263.77 | 0 | 10.61 | 0 | 9.65 | -1.6 | 0 | 19.29 | -14 | -0.1 | 0 | 15.44 | 4.82 | 4.82 | 0 | 6.75 | -2 | 0 | 0 | 0 | -30 | 9.65 | 43.41 | 10.9 | 146.64 | 0 | 0
17:30 - 17:45 | -2.5 | -2 | -0.5 | 0 | 0 | 0 | -178.09 | 0 | 10.61 | 0 | 9.65 | -1.6 | 0 | 19.29 | -14 | 0 | 0 | 12.54 | 0 | 4.82 | 0 | 6.75 | -2 | 0 | 0 | 0 | -10 | 9.65 | 43.41 | 10.9 | 184.27 | 0 | 0
17:45 - 18:00 | -2.5 | -2 | -0.5 | 0 | 0 | 0 | -121.5 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 19.29 | -14 | 0 | 0 | 12.54 | 0 | 0 | 0 | 0.29 | -2 | 0 | 0 | 0 | 0 | 9.65 | 43.41 | 10.9 | 199.7 | 0 | 0
18:00 - 18:15 | -2.5 | 0 | -0.5 | 0 | 0 | 0 | -173.08 | 20.26 | 10.61 | 0 | 9.65 | -1.6 | 0 | 19.29 | -14 | 0.39 | -1 | 8.68 | 4.82 | 7.72 | 0 | 8.68 | -2 | 0 | 0 | 0 | 0 | 9.65 | 77.18 | 10.9 | 108.04 | 0 | 0
18:15 - 18:30 | -2.5 | 0 | -0.5 | -1.6 | 0 | 0 | -266.04 | 0 | 10.61 | 0 | 0 | -1.6 | 0 | 19.29 | -14 | 0 | -1 | 5.79 | 0 | 7.72 | 0 | 8.68 | -2 | 0 | 0 | 0 | 0 | 9.65 | 77.18 | 10.9 | 131.2 | 0 | 0
18:30 - 18:45 | -2.5 | 0 | -0.5 | -1.6 | 0 | 0 | -228.99 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150.49 | -9 | 0
18:45 - 19:00 | -2.5 | 0 | -0.5 | -1.6 | 0 | 0 | -280 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -14 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 163.03 | -9 | 0
19:00 - 19:15 | -2.5 | 0 | -0.2 | -1.5 | 0 | 0 | -25 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 142.27 | -9 | 0
19:15 - 19:30 | -2.5 | -2 | -0.2 | -1.5 | 0 | 0 | -25 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 111.82 | -9 | 0
19:30 - 19:45 | -2.5 | 0 | -0.2 | -1.5 | 0 | 0 | 0 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 149.32 | -10 | 0
19:45 - 20:00 | -2.5 | 0 | -0.2 | -1.5 | 0 | 0 | 0 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 138.55 | -10 | 0
20:00 - 20:15 | -2.5 | 0 | -0.2 | 0 | 0 | 0 | -50 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 193.47 | -10 | 0
20:15 - 20:30 | -2.5 | 0 | -0.2 | 0 | 0 | 0 | -50 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182.4 | -10 | 0
20:30 - 20:45 | -2.5 | 0 | -0.2 | 0 | 0 | 0 | -75 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 124.83 | -10.7 | 0
20:45 - 21:00 | -2.5 | 0 | -0.2 | 0 | 0 | 0 | -75 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 107.22 | -10.7 | 0
21:00 - 21:15 | -2.5 | -7 | -0.2 | 0 | 0 | 0 | -100 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96.27 | -10.7 | 0
21:15 - 21:30 | -2.5 | 0 | -0.2 | 0 | 0 | 0 | -100 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 87.99 | -10.7 | 0
21:30 - 21:45 | -2.5 | 0 | -0.8 | -1.5 | 0 | 0 | -100 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | 142.64 | -10.7 | 0
21:45 - 22:00 | -2.5 | 0 | -0.8 | -1.5 | 0 | 0 | -100 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 138.05 | -10.7 | 0
22:00 - 22:15 | -2.5 | 0 | -0.8 | -1.5 | 0 | 0 | -100 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 114.48 | -10.7 | 0
22:15 - 22:30 | -2.5 | 0 | -0.8 | -1.5 | 0 | 0 | -100 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 106.98 | -10.7 | 0
22:30 - 22:45 | -2.5 | 0 | -0.2 | -1.5 | 0 | -10 | -50 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 134.42 | -10.7 | 0
22:45 - 23:00 | -2.5 | 0 | -0.2 | -1.5 | 0 | -10 | -50 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 134.99 | -10.7 | 0
23:00 - 23:15 | -2.5 | 0 | -0.2 | -1.5 | 0 | -10 | -50 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 87.1 | -10.7 | 0
23:15 - 23:30 | -2.5 | 0 | -0.2 | -1.5 | 0 | -10 | -50 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94.22 | -10.7 | 0
23:30 - 23:45 | -2.5 | 0 | -0.2 | -1.5 | 0 | -10 | -100 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 136.64 | -10.7 | 0
23:45 - 24:00 | -2.5 | 0 | -0.2 | -1.5 | 0 | -10 | -150 | 0 | 0 | -70 | 0 | -1.6 | 0 | 0 | -14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -55 | 0 | 0 | 0 | 163.94 | -10.7 | 0
Average | -2.5052 | -5.2083 | -0.375 | -0.76875 | 0.75312 | -0.625 | -248.7679 | 1.0882 | 4.5015 | -16.6667 | 1.1057 | -1.5833 | -0.3125 | 2.4112 | -13.8542 | 0.41927 | -1.1771 | 3.8089 | 0.78823 | 1.3682 | 0.92479 | 3.4688 | -0.77083 | 2.7131 | -1.7917 | -0.53125 | -12.8229 | 4.4229 | 32.7024 | 3.2968 | 220.5627 | -4.6042 | -1.1458