## POWER STATUS
POWER STATUS ON DT 25.08.2026
[9 empty] | 2026-08-25 | 2026-08-24
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 22:00
Demand -> | [8 empty] | 5648.9716 | 5951.718
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 232.333 | 5.576 | 630/590 ft | 621.69 | 622.95 | 622.85 | 233.2159 | 232.5972
| Chiplima | 72(3x24) | 54.875 | 1.317 | - |  |  |  | 57.0425 | 56.6896
| Balimela | 510(6x60+2x75) | 9.5416 | 0.229 | 1516/1440 ft | 1472.5 | 1469.6 | 1471 | 0 | 0
| Rengali | 250(5x50) | 241.6 | 5.7984 | 123.5/109.75 mt | 122.74 | 122.57 | 122.51 | 234.7125 | 234.9906
| Upper Kolab | 320(4x80) | 49.54 | 1.189 | 858/844 mt | 853.69 | 851.3 | 851.63 | 22.1738 | 151.8492
| Upper Indravati | 600(4x150) | 85.2708 | 2.0465 | 642/625 mt | 635.68 | 637.31 | 638.04 | 0.28801 | 496.0752
| Machkund | 60(50% of(3x17+3x23)) | 10.75 | 0.258 | 2750/2685 ft | 2747.6 | 2727.1 | 2728 | 17.3856 | 10.3276
| Total Hydro | 2099.5 | 683.9104 | 16.4138 |  |  |  |  | 564.8184 | 1182.5294
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1643.1946 | 39.4367 | RENEWABLE ENERGY (RE) |  |  |  | 1604.7992 | 1665.1198
[5 empty] | M.Hydl | 106.77
| Total Thermal | 2200 | 1643.1946 | 39.4367 | Solar | 74.2966 |  |  | 1604.7992 | 1665.1198
IPP | VEDANTA #2 | 600 (1x600) | 408.2601 | 9.7982 | Total IPPs | Yesterday's Demand Profile |  |  | 385.9961 | 526.3868
| GMR #3 | 350 (1x350) | 325.6542 | 7.8157 | 825.9977 |  | MW | HRS | 328.1455 | 321.3438
| NBVL(IPP) | 60(1x60) | 50.8718 | 1.2209 |  |  |  |  | 54.5781 | 54.7823
| MDTPC |  | 41.2116 | 0.98908 |  |  |  |  | 29.0608 | 54.8255
| CGPs |  | 767.0612 | 18.4095 | IPPs, CGPs & RE | Maximum | 5951.718 | 22:00 | 1735.1801 | 2173.4022
| Central Sector(Drawl) |  | 1313.1788 | 31.5163 | 1774.1255 | Minimum | 4860.4506 | 06:00 | 1744.174 | 930.6666
| Central Sector(Sch) |  | 1359.1592 | 32.6198 |  | Average | 5414.4093 |  | 1770.6 | 971.24
| Grand Total |  | 5414.4093 | 129.9458 | Instantaneous Peak demand |  | 7135 | 17:15 | 5648.9716 | 5951.718
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1622.3089 | 38.9354 | 1553.5301 | 37.2847 | 1567.445 | 37.6187
Balimela | 4,5,6 | TSTPP St-I | NIL | TPWODL | 1719.6108 | 41.2707 | 1646.9072 | 39.5258 | 1376.8999 | 33.0456
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1338.1434 | 32.1154 | 1322.1427 | 31.7314 | 1370.6676 | 32.896
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 556.3924 | 13.3534 | 562.8174 | 13.5076 | 562.3332 | 13.496
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5236.4554 | 125.6749 | 5085.3974 | 122.0495 | 4877.3456 | 117.0563
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 385.9961 | GMR |  |  |  | 328.1455
| NBVL #3 | 54.5781 | MDTPC |  |  |  | 29.0608
Mini Hydel: | MEENAKSHI | 38.262 | OPCL |  |  |  | 0
| BTPL | 24.61 | SAPTADHARA |  |  |  | 19.8924
Solar: |  | 92 | KAKATIYA |  |  |  | 5
CGPs : | JSPL (Angul) | 214.7497 | JSL(Duburi) |  |  |  | -119.46
| ICCL | 47.7775 | visa |  |  |  | 10.898
| NALCO | -142.0831 | VAL (CGP) |  |  |  | 189.263
| RSP | -113.9516 | BSL(MMDL) |  |  |  | -33.2986
| INDAL | 1.5007 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -29.1874 | VAL CPP 400 kV |  |  |  | -465.0808
| NBVL | 54.3026 | Arati |  |  |  | 22.7634
| BPSL(JSG) | -151.9609 | BPPL |  |  |  | 56.7128
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-17 | 2026-08-18 | 2026-08-19 | 2026-08-20 | 2026-08-21 | 2026-08-22 | 2026-08-23 | 2026-08-24
522.1927 | 696.1225 | 740.7287 | 764.7309 | 744.734 | 611.49 | 579.28 | 683.9104
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.24.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | -12.6 | AARTISTEEL | CSEB_Beneficiary | -4.69 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.75 | AGE26AL_PSS6_KPS1_S | ODISHA | 105.35
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | 0 | AP41PL_BHDL | ODISHA | 55.55
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | 0 | AP43PL_BKN | ODISHA | 88.03
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.52
JSPLANGUL | GEB_Beneficiary | -52 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 6.26
JSPLANGUL | RUVITSL | -43.75 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -1.1 | AWEK1L | ODISHA | 4.18
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | DALCEMAP | -2 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 5.16
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCBLME | -6 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 21.6
ODISHA | CESC | -37.5 | DCBL_Rajgangpur | DCL_RCW | -4.08 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 10.95
SMEL | Assam_Ben | -5.62 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -4.75 | DADRI_SOLAR | ODISHA | 0.34
VSL | CR_IR_MS | -10 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | ENERSON_SOLAR_10MW | ODISHA | 0
FARIDABAD_SOLAR | ODISHA | 0.86 | FACORPOWER | PSPCL | -5.83 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 75.89 | FACORPOWER | PSPCL | -1.46 | GADAG_GreenInfra_W | ODISHA | 0.66
RAJ_SOLAR | ODISHA | 2.6 | FACORPOWER | PSPCL | -14.17 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.41 | FACORPOWER | PSPCL | -3.54 | GADAG_Serentica3_S | VLSEZ | 34.92
|  |  | JSPLANGUL | RUVITSL | -106.25 | GADAG_Serentica3_W | VLSEZ | 74.57
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GIWEL_SECI_II_RE | ODISHA | 19.52
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GPCL_SOLAR_10 | ODISHA | 0.65
|  |  | NBVLIPP | BSPHCL | -14.38 | GSECL_SOLAR | ODISHA | 0.51
|  |  | OCL_IRON_STEEL | BRPL | -25 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.74
|  |  | OCL_IRON_STEEL | TPDDL | -35 | KARUR_TPVARDHAMAN_W | TSKPO | 126.48
|  |  | ODISHA | TANGEDCO | -37.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
|  |  | ODISHA | TANGEDCO | -16.67 | Kurnool_Greenko_H_Inj | ADITYAAL | 3.33
|  |  | ORSISL | PSPCL | -1.17 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.02
|  |  | ORSISL | PSPCL | -2.83 | NTPCRE1_SMND_BHJ2_W | ODISHA | 2.74
|  |  | ORSISL | TPL_DIS_DHOLERA | -2.92 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0.45
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.23
|  |  | RSPL_JHARSUGUDA | TPL_DIS_AHM | -3.75 | OKWPL_RE | ODISHA | 8.14
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 20.5
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | RWE_AP2_SECI_III | ODISHA | 10.83
|  |  | VSL | WBSEDCL | -4.17 | RenewGreen_SLPR_HS | JSL_DUBURI | 10.88
|  |  | JIPL | ODISHA | 116.15 | SRI9PL_FTG3 | VLSEZ | 76.69
|  |  | NALCOAP | NACL_Odisha | 24.32 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 77.89
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 1.75
[6 empty] | XXPPL_FTG3 | ODISHA | 56.61

## DAM
DAM TRADING DETAILS FOR DT : 24.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0
00:15 - 00:30 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0
00:30 - 00:45 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0
00:45 - 01:00 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0
01:00 - 01:15 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0
01:15 - 01:30 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0
01:30 - 01:45 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0
01:45 - 02:00 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0
02:00 - 02:15 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0
02:15 - 02:30 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0
02:30 - 02:45 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0
02:45 - 03:00 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0
03:00 - 03:15 | -2.7 | -75 | 0 | 0 | -2 | -17 | 0 | 0
03:15 - 03:30 | -2.7 | -75 | 0 | 0 | -2 | -17 | 0 | 0
03:30 - 03:45 | -2.7 | -75 | 0 | 0 | -2 | -17 | 0 | 0
03:45 - 04:00 | -2.7 | -75 | 0 | 0 | -2 | -17 | 0 | 0
04:00 - 04:15 | -2.7 | -75 | 0 | 0 | -2 | -17 | 0 | 0
04:15 - 04:30 | -2.7 | -75 | 0 | 0 | -2 | -17 | 0 | 0
04:30 - 04:45 | -2.7 | -75 | 0 | 0 | -2 | -17 | 0 | 0
04:45 - 05:00 | -2.7 | -75 | 0 | 0 | -2 | -17 | 0 | 0
05:00 - 05:15 | -2.7 | -175 | 0 | 0 | -2 | -43 | 0 | 0
05:15 - 05:30 | -2.7 | -175 | 0 | 0 | -2 | -43 | 0 | 0
05:30 - 05:45 | -2.7 | -175 | 0 | 0 | -2 | -43 | 0 | 0
05:45 - 06:00 | -2.7 | -175 | 0 | 0 | -2 | -43 | 0 | 0
06:00 - 06:15 | -2.7 | -250 | 0 | 0 | -2 | -43 | 0 | -6
06:15 - 06:30 | -2.7 | -250 | 0 | 0 | -2 | -43 | 0 | -6
06:30 - 06:45 | -2.7 | -250 | 0 | 0 | -2 | -43 | 0 | -6
06:45 - 07:00 | -2.7 | -250 | 0 | 0 | -2 | -43 | 0 | -6
07:00 - 07:15 | -2.7 | -475 | 0 | 0 | -2 | -43 | 0 | -6
07:15 - 07:30 | -2.7 | -475 | 0 | 0 | -2 | -43 | 0 | -6
07:30 - 07:45 | -2.7 | -475 | 0 | 0 | -2 | -43 | 0 | -6
07:45 - 08:00 | -2.7 | -475 | 0 | 0 | -2 | -43 | 0 | -6
08:00 - 08:15 | -2.7 | -850 | 0 | 0 | -2 | -43 | 0 | -6
08:15 - 08:30 | -2.7 | -850 | 0 | 0 | -2 | -43 | 0 | -6
08:30 - 08:45 | -2.7 | -850 | 0 | 0 | -2 | -43 | 0 | -6
08:45 - 09:00 | -2.7 | -850 | 0 | 0 | -2 | -43 | 0 | -6
09:00 - 09:15 | -2.7 | -1200 | 0 | 0 | -2 | -43 | 0 | -6
09:15 - 09:30 | -2.7 | -1200 | 0 | 0 | -2 | -43 | 0 | -6
09:30 - 09:45 | -2.7 | -1150 | 0 | 0 | -2 | -43 | 0 | -6
09:45 - 10:00 | -2.7 | -1150 | 0 | 0 | -2 | -43 | 0 | -6
10:00 - 10:15 | -2.7 | -900 | 0 | 0 | -1 | -18 | 6.78 | -6
10:15 - 10:30 | -2.7 | -900 | 0 | 0 | -1 | -18 | 6.78 | -6
10:30 - 10:45 | -2.7 | -899.38 | 33.87 | 0 | -1 | -18 | 6.78 | -6
10:45 - 11:00 | -2.7 | -897.97 | 33.87 | 0 | -1 | -18 | 6.78 | -6
11:00 - 11:15 | -2.7 | -848.76 | 33.87 | 0 | -1 | -18 | 6.78 | -6
11:15 - 11:30 | -2.7 | -847.16 | 33.87 | 0 | -1 | -18 | 6.78 | -6
11:30 - 11:45 | -2.7 | -737.75 | 33.87 | 0 | -1 | -18 | 6.78 | -6
11:45 - 12:00 | -2.7 | -689.62 | 33.87 | 0 | -1 | -18 | 6.78 | -6
12:00 - 12:15 | -2.7 | -592.76 | 33.87 | 0 | -1 | -18 | 6.78 | -6
12:15 - 12:30 | -2.7 | -581.46 | 0 | 0 | -1 | -18 | 6.78 | -6
12:30 - 12:45 | -2.7 | -541.85 | 0 | 0 | -1 | -18 | 6.78 | -6
12:45 - 13:00 | -2.7 | -538.43 | 0 | 0 | -1 | -18 | 6.78 | -6
13:00 - 13:15 | -2.7 | -537.13 | 0 | 0 | -1 | -18 | 6.78 | -6
13:15 - 13:30 | -2.7 | -537.46 | 0 | 0 | -1 | -18 | 6.78 | -6
13:30 - 13:45 | -2.7 | -538.55 | 0 | 0 | -1 | -18 | 6.78 | -6
13:45 - 14:00 | -2.7 | -816.02 | 0 | 0 | -1 | -18 | 6.78 | -6
14:00 - 14:15 | -2.7 | -700 | 31.65 | 0 | -1 | -18 | 6.78 | -6
14:15 - 14:30 | -2.7 | -700 | 0 | 0 | -1 | -18 | 6.78 | -6
14:30 - 14:45 | -2.7 | -700 | 0 | 0 | -1 | -18 | 6.78 | -6
14:45 - 15:00 | -2.7 | -700 | 0 | 0 | -1 | -18 | 6.78 | -6
15:00 - 15:15 | -2.7 | -792.14 | 0 | 0 | -2 | -43 | 6.78 | -6
15:15 - 15:30 | -2.7 | -875 | 0 | 0 | -2 | -43 | 6.78 | -6
15:30 - 15:45 | -2.7 | -875 | 0 | 0 | -2 | -43 | 0 | -6
15:45 - 16:00 | -2.7 | -875 | 0 | 0 | -2 | -43 | 0 | -6
16:00 - 16:15 | -2.7 | -725 | 0 | 0 | -2 | -43 | 0 | -6
16:15 - 16:30 | -2.7 | -725 | 0 | 0 | -2 | -43 | 0 | -6
16:30 - 16:45 | -2.7 | -725 | 0 | 0 | -2 | -43 | 0 | -6
16:45 - 17:00 | -2.7 | -725 | 0 | 0 | -2 | -43 | 0 | -6
17:00 - 17:15 | -2.7 | -575 | 0 | 0 | -2 | -43 | 0 | -6
17:15 - 17:30 | -2.7 | -525 | 0 | 0 | -2 | -43 | 0 | -6
17:30 - 17:45 | -2.7 | -325 | 0 | 0 | -2 | -43 | 0 | -6
17:45 - 18:00 | -2.7 | -325 | 0 | 0 | -2 | -43 | 0 | -6
18:00 - 18:15 | -2.7 | 0 | 0 | 0 | -2 | -43 | 0 | 0
18:15 - 18:30 | -2.7 | 0 | 0 | -50 | -2 | -43 | 0 | 0
18:30 - 18:45 | -2.7 | 0 | 0 | -100 | -2 | -43 | 0 | 0
18:45 - 19:00 | -2.7 | 0 | 0 | -150 | -2 | -43 | 0 | 0
19:00 - 19:15 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
19:15 - 19:30 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
19:30 - 19:45 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
19:45 - 20:00 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
20:00 - 20:15 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
20:15 - 20:30 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
20:30 - 20:45 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
20:45 - 21:00 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
21:00 - 21:15 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
21:15 - 21:30 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
21:30 - 21:45 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
21:45 - 22:00 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
22:00 - 22:15 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
22:15 - 22:30 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
22:30 - 22:45 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
22:45 - 23:00 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
23:00 - 23:15 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
23:15 - 23:30 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
23:30 - 23:45 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
23:45 - 24:00 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0
Average | -2.7 | -360.1192 | 2.7994 | -44.7917 | -1.7917 | -23.4167 | 1.5537 | -3

## GDAM
GDAM TRADING DETAILS FOR DT:24.08.2026
Time Period | Ampin_Energy_C_&_I_Eleven_Private_Limited | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 24.2 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 24.2 | 0 | 0 | 6.29 | 0 | 0
09:00 - 09:15 | 0 | 0 | 24.2 | 0 | 0 | 6.29 | 0 | 0
09:15 - 09:30 | 0 | 0 | 24.2 | 0 | 0 | 6.29 | 0 | 0
09:30 - 09:45 | 0 | 0 | 24.2 | 0 | 0 | 6.29 | 19.36 | 0
09:45 - 10:00 | 0 | 0 | 24.2 | 0 | 0 | 6.29 | 19.36 | 0
10:00 - 10:15 | 0 | 0 | 24.2 | 36.78 | 9.68 | 6.29 | 19.36 | 4.84
10:15 - 10:30 | 0 | 0 | 24.2 | 36.78 | 9.68 | 6.29 | 19.36 | 4.84
10:30 - 10:45 | -0.1 | 0 | 24.2 | 36.78 | 9.68 | 6.29 | 19.36 | 4.84
10:45 - 11:00 | -1.9 | 0 | 24.2 | 36.78 | 9.68 | 6.29 | 19.36 | 4.84
11:00 - 11:15 | -2.1 | 0 | 24.2 | 36.77 | 9.68 | 6.29 | 19.36 | 1.05
11:15 - 11:30 | 0 | 0 | 24.2 | 36.77 | 9.68 | 6.29 | 19.36 | 1.31
11:30 - 11:45 | -0.5 | 0 | 24.2 | 36.77 | 9.68 | 6.29 | 19.36 | 1.26
11:45 - 12:00 | -0.5 | 0 | 24.2 | 36.77 | 9.68 | 6.29 | 19.36 | 3.38
12:00 - 12:15 | 0 | 0 | 24.2 | 36.78 | 9.68 | 6.29 | 19.36 | 2.1
12:15 - 12:30 | -0.4 | 33.88 | 24.2 | 36.77 | 9.68 | 6.29 | 19.36 | 4.84
12:30 - 12:45 | 0 | 33.88 | 24.2 | 36.77 | 9.68 | 6.29 | 19.36 | 4.84
12:45 - 13:00 | -1.9 | 33.88 | 24.2 | 36.77 | 9.68 | 6.29 | 19.36 | 4.84
13:00 - 13:15 | -3.1 | 33.88 | 24.2 | 36.77 | 9.68 | 6.29 | 19.36 | 4.84
13:15 - 13:30 | -0.1 | 33.88 | 24.2 | 36.77 | 9.68 | 6.29 | 19.36 | 4.84
13:30 - 13:45 | -0.5 | 33.88 | 24.2 | 36.77 | 9.68 | 6.29 | 19.36 | 4.84
13:45 - 14:00 | 0 | 33.88 | 24.2 | 36.77 | 9.68 | 6.29 | 19.36 | 4.84
14:00 - 14:15 | -1.8 | 2.22 | 24.2 | 36.77 | 9.68 | 6.29 | 19.36 | 4.84
14:15 - 14:30 | -1.2 | 0 | 24.2 | 36.78 | 9.68 | 6.29 | 19.36 | 4.84
14:30 - 14:45 | -4.6 | 0 | 24.2 | 36.78 | 9.68 | 6.29 | 19.36 | 4.84
14:45 - 15:00 | 0 | 0 | 24.2 | 36.78 | 9.68 | 6.29 | 19.36 | 0
15:00 - 15:15 | 0 | 0 | 24.2 | 0 | 0 | 6.29 | 19.36 | 0
15:15 - 15:30 | 0 | 0 | 24.2 | 0 | 0 | 6.29 | 0 | 0
15:30 - 15:45 | 0 | 0 | 24.2 | 0 | 0 | 6.29 | 0 | 0
15:45 - 16:00 | 0 | 0 | 24.2 | 0 | 0 | 6.29 | 0 | 0
16:00 - 16:15 | 0 | 0 | 19.36 | 36.78 | 0 | 6.29 | 0 | 0
16:15 - 16:30 | 0 | 0 | 19.36 | 0.54 | 0 | 6.29 | 0 | 0
16:30 - 16:45 | 0 | 0 | 19.36 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 19.36 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 19.36 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.19479 | 2.4935 | 8.5708 | 8.05 | 2.0167 | 2.0311 | 4.6383 | 0.80063

## RTM
RTM TRADING DETAILS FOR DT: 24.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Paradeep_Phosphates_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | 0 | -5 | -0.2 | -1.4 | 0 | -200 | 0 | -60 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | -30 | 0 | 0 | 0 | 69.42 | -9 | 0
00:15 - 00:30 | 0 | -9 | -0.2 | -1.4 | 0 | -200 | 0 | -60 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 80.88 | -9 | 0
00:30 - 00:45 | -2.7 | -5 | -0.2 | -1.5 | 0 | -205.87 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | -30 | 0 | 0 | 0 | 67.75 | -9 | 0
00:45 - 01:00 | -2.7 | -3 | -0.2 | -1.5 | 0 | -203.34 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 1.71 | 0 | 67.76 | -9 | 0
01:00 - 01:15 | -2.7 | -3 | -0.2 | -1.5 | 0 | -531.51 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 104.54 | 0 | 54.2 | -9 | 0
01:15 - 01:30 | -2.7 | -3 | -0.2 | -1.5 | 0 | -525 | 10.6 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 9.64 | 104.53 | 0 | 54.2 | -9 | 0
01:30 - 01:45 | -2.7 | -3 | -0.2 | -1.5 | 0 | -536.71 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | -20 | 0 | 104.54 | 0 | 30 | -9 | 0
01:45 - 02:00 | -2.7 | -3 | -0.2 | -1.5 | 0 | -537.69 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 104.54 | 0 | 30 | -9 | 0
02:00 - 02:15 | -2.7 | -3 | -0.2 | -1.5 | 0 | -577.02 | 10.65 | 0 | 0 | 0 | -1.6 | 0 | 7.18 | 0 | 0 | 12.58 | 9.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | -10 | 9.68 | 104.54 | 0 | 30 | -9 | 0
02:15 - 02:30 | -2.7 | -3 | -0.2 | -1.5 | 0 | -622.07 | 10.65 | 0 | 0 | 0 | -1.6 | 0 | 19.36 | 0 | 0 | 12.58 | 9.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | -30 | 9.68 | 104.53 | 0 | 30 | -9 | 0
02:30 - 02:45 | -2.7 | -3 | -0.2 | -1.5 | 0 | -599.1 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 104.54 | 0 | 30 | -9.2 | 0
02:45 - 03:00 | -2.7 | -5 | -0.2 | -1.5 | 0 | -633.37 | 0.6 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | -50 | 0.55 | 104.54 | 0 | 30 | -9.2 | 0
03:00 - 03:15 | -2.7 | -5 | -0.2 | -1.5 | 0 | -618.36 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10 | -60 | 0 | 104.53 | 0 | 0 | -9.2 | 0
03:15 - 03:30 | -2.7 | -5 | -0.2 | -1.5 | 0 | -620 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10 | -10 | 0 | 104.53 | 0 | 0 | -9.2 | 0
03:30 - 03:45 | -2.7 | -5 | -0.2 | -1.5 | 0 | -570.05 | 10.65 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 9.68 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10 | -20 | 9.68 | 104.53 | 0 | 0 | -9.2 | 0
03:45 - 04:00 | -2.7 | -5 | -0.2 | -1.5 | 0 | -614.46 | 10.65 | 0 | 0 | 0 | -1.6 | 0 | 19.36 | 0 | 0 | 12.58 | 9.68 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10 | -20 | 9.68 | 104.53 | 0 | 0 | -9.2 | 0
04:00 - 04:15 | -2.7 | -5 | -0.2 | -1.5 | 0 | -720.03 | 10.65 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 9.68 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10 | 0 | 9.68 | 104.53 | 0 | 0 | -9.2 | 0
04:15 - 04:30 | -2.7 | -5 | -0.2 | -1.5 | 0 | -711.78 | 10.65 | 0 | 0 | 0 | -1.6 | 0 | 19.36 | 0 | 0 | 12.58 | 9.68 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10 | 0 | 9.68 | 104.53 | 0 | 0 | -9.2 | 0
04:30 - 04:45 | -2.7 | -5 | -0.2 | -1.5 | 0 | -764.48 | 10.65 | 0 | 0 | 0 | -1.6 | 0 | 19.36 | 0 | 0 | 12.58 | 9.68 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10 | -45 | 9.68 | 104.53 | 0 | 0 | -9.2 | 0
04:45 - 05:00 | -2.7 | -5 | -0.2 | -1.5 | 0 | -762.89 | 10.65 | 0 | 0 | 0 | -1.6 | 0 | 19.36 | 0 | 0 | 12.58 | 9.68 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10 | 0 | 9.68 | 104.53 | 0 | 0 | -9.2 | 0
05:00 - 05:15 | -2.7 | 0 | -0.2 | -1.5 | 0 | -695 | 10.65 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 9.68 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -10 | -20 | 9.68 | 104.53 | 0 | 0 | -9.2 | 0
05:15 - 05:30 | -2.7 | 0 | -0.2 | -1.5 | 0 | -705.01 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -10 | -30 | 0 | 104.53 | 0 | 0 | -9.2 | 0
05:30 - 05:45 | -2.7 | 0 | -0.8 | -1.5 | 0 | -804.58 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -9.2 | 0
05:45 - 06:00 | -2.7 | 0 | -0.8 | -1.5 | 0 | -819.99 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -10 | -20 | 0 | 0 | 0 | 0 | -9.2 | 0
06:00 - 06:15 | -2.7 | -14 | -0.8 | -1.5 | 0 | -850 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -10 | -50 | 0 | 0 | 0 | 0 | -10 | -10
06:15 - 06:30 | -2.7 | -14 | -0.8 | -1.5 | 0 | -850 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -10 | -10 | 0 | 0 | 0 | 0 | -10 | -10
06:30 - 06:45 | -2.7 | -24 | -0.8 | -1.5 | 0 | -850 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -5 | -3 | -10 | -10 | 0 | 0 | 0 | 0 | -10 | -10
06:45 - 07:00 | -2.7 | -5 | -0.8 | -1.5 | 0 | -900 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | -5 | -3 | -10 | -50 | 0 | 0 | 0 | 0 | -10 | -10
07:00 - 07:15 | -2.7 | -5 | -0.4 | -1.5 | 0 | -400 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -5 | -3 | -10 | 0 | 0 | 0 | 0 | 0 | -10 | -10
07:15 - 07:30 | -2.7 | -5 | -0.4 | -1.5 | 0 | -370.85 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -5 | -3 | -10 | -20 | 0 | 0 | 0 | 0 | -10 | -10
07:30 - 07:45 | -2.7 | -2 | -0.4 | -1.5 | 0 | -385.92 | 0 | 0 | -0.2 | 0 | -1.6 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -5 | -3 | -12 | -50 | 0 | 0 | 0 | 0 | -10 | -10
07:45 - 08:00 | -2.7 | -14 | -0.4 | -1.5 | 0 | -346.5 | 10.65 | 0 | -0.2 | 0 | -1.6 | 0 | 19.36 | -1.4 | 0 | 12.58 | 9.68 | 0 | 0.19 | -2 | 0 | 0 | -5 | -3 | -12 | -20 | 9.68 | 111.31 | 5.42 | 0 | -10 | -10
08:00 - 08:15 | -2.7 | -14 | -0.4 | 0 | 0 | -89.96 | 10.64 | 0 | -0.1 | 0 | -1.6 | 0 | 0 | -1.6 | 0 | 0 | 9.68 | 3.87 | 10.65 | -4 | 0 | 0 | -3 | -3 | -12 | -10 | 9.68 | 0 | 0 | 0 | -10 | 0
08:15 - 08:30 | -2.7 | -2 | -0.4 | 0 | 0 | 0 | 10.65 | 0 | 0 | 0 | -1.6 | 0 | 0 | -1.8 | 0 | 0 | 9.68 | 3.87 | 0 | -4 | 0 | 0 | -3 | -3 | -12 | -10 | 9.68 | 0 | 0 | 0 | -10 | 0
08:30 - 08:45 | -2.7 | -2 | -0.4 | 0 | 0 | 0 | 10.64 | 0 | -0.1 | 0 | -1.6 | 0 | 0 | -2.2 | 0 | 0 | 9.68 | 0 | 0 | -4 | 0 | 0 | -3 | 0 | -12 | 0 | 9.68 | 0 | 0 | 0 | -10 | 0
08:45 - 09:00 | -2.7 | -2 | -0.4 | 0 | 0 | 0 | 10.64 | 0 | -0.1 | 0 | -1.6 | 0 | 0 | -2.2 | 0 | 0 | 9.68 | 0 | 0 | -4 | 0 | 0 | -3 | 0 | -12 | 0 | 9.68 | 0 | 0 | 0 | -10 | 0
09:00 - 09:15 | -2.7 | -2 | -0.4 | 0 | 0 | 177.44 | 0 | 0 | -0.2 | 0 | -1.6 | 0 | 0 | -2.3 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -3 | 0 | -12 | -20 | 0 | 0 | 0 | 0 | -10 | 0
09:15 - 09:30 | -2.7 | -14 | -0.4 | 0 | 0 | 137.65 | 0 | 0 | -0.2 | 0 | -1.6 | 0 | 0 | -2.4 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -3 | -2 | -12 | 0 | 0 | 0 | 0 | 0 | -10 | 0
09:30 - 09:45 | -2.7 | -14 | -0.4 | 0 | 0 | -134.65 | 0 | 0 | -1 | 0 | -1.6 | 0 | 0 | -2.6 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -3 | -2 | -12 | -40 | 0 | 0 | 0 | 0 | -10 | 0
09:45 - 10:00 | -2.7 | -2 | -0.4 | 0 | 0 | -230.02 | 10.64 | 0 | -1.1 | 0 | -1.6 | 0 | 0 | -0.3 | 0 | 0 | 9.68 | 0 | 0 | -6 | 0 | 0 | -3 | -2 | -12 | -20 | 9.68 | 0 | 0 | 0 | -10 | 0
10:00 - 10:15 | -2.7 | -2 | -0.4 | 0 | 0 | -668.69 | 10.64 | 0 | -1.6 | 0 | -1.6 | -15 | 0 | 0 | 0 | 0 | 9.68 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 9.68 | 0 | 0 | 0 | -10 | 0
10:15 - 10:30 | -2.7 | -2 | -0.4 | 0 | 0 | -761.36 | 10.64 | 0 | -1.4 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 9.68 | 1.94 | 5.81 | 0 | 0 | 1.45 | 0 | -2 | -10 | -20 | 9.68 | 0 | 0 | 0 | -10 | 0
10:30 - 10:45 | -2.7 | -2 | -0.4 | 0 | 0 | -730.67 | 10.65 | 0 | -1.5 | 0 | -1.6 | 0 | 0 | 0 | 0 | 3.87 | 9.68 | 1.94 | 5.81 | -4 | 1.94 | 1.45 | 0 | 0 | -10 | -25 | 9.68 | 62.9 | 0 | 0 | -10 | 0
10:45 - 11:00 | -2.7 | -2 | -0.4 | 0 | 0 | -830.66 | 10.65 | 0 | -1.5 | 0 | -1.6 | 0 | 0 | 0 | 0 | 3.87 | 9.68 | 1.94 | 5.81 | -4 | 1.94 | 1.45 | 0 | 0 | -10 | 0 | 9.68 | 62.9 | 0 | 0 | -10 | 0
11:00 - 11:15 | -2.7 | -2 | -0.4 | 0 | 0 | -1011.65 | 10.64 | 0 | -1.4 | 0 | -1.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -4 | 1.94 | 1.45 | 0 | 0 | -10 | -30 | 9.68 | 0 | 0 | 0 | -10 | 0
11:15 - 11:30 | -2.7 | -2 | -0.4 | 0 | 0 | -916.68 | 10.65 | 0 | -1.5 | 0 | -1.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -4 | 1.07 | 0 | 0 | 0 | -10 | 0 | 9.68 | 0 | 0 | 0 | -10 | 0
11:30 - 11:45 | -2.7 | -2 | -0.4 | 0 | 0 | -816.68 | 10.65 | 0 | -1 | 0 | -1.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -4 | 1.11 | 0 | 0 | 0 | -10 | 0 | 9.68 | 0 | 0 | 0 | -10 | 0
11:45 - 12:00 | -2.7 | -2 | -0.4 | 0 | 0 | -916.44 | 10.64 | 0 | -1 | 0 | -1.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -4 | 1.94 | 0 | 0 | 0 | -10 | 0 | 9.68 | 0 | 0 | 0 | -10 | 0
12:00 - 12:15 | -2.7 | -2 | -0.4 | 0 | 0 | -782.48 | 10.65 | 0 | -1.6 | 0 | -1.6 | 0 | 0 | 3.97 | -1 | 3.87 | 0 | 0 | 0 | -2 | 1.94 | 1.45 | 0 | 0 | 0 | -15 | 9.68 | 43.55 | 5.42 | 0 | 0 | 0
12:15 - 12:30 | -2.7 | -2 | -0.4 | 0 | 0 | -787.98 | 10.65 | 0 | -1.6 | 0 | -1.6 | 0 | 0 | 0 | -1 | 3.87 | 0 | 0 | 0 | -2 | 1.94 | 1.45 | 0 | 0 | 0 | 0 | 9.68 | 43.55 | 0 | 0 | 0 | 0
12:30 - 12:45 | -2.7 | -2 | -0.4 | 0 | 0 | -840.5 | 10.65 | 0 | -2.6 | 0 | -1.6 | 0 | 0 | 4.26 | -1 | 3.87 | 0 | 0 | 19.36 | -2 | 1.94 | 1.45 | 0 | 0 | 0 | -30 | 9.68 | 43.55 | 5.42 | 0 | 0 | 0
12:45 - 13:00 | -2.7 | -2 | -0.4 | 0 | 0 | -816.95 | 10.65 | 0 | -2.5 | 0 | -1.6 | 0 | 0 | 4.45 | -1 | 3.87 | 0 | 0 | 19.36 | -2 | 1.94 | 1.45 | 0 | 0 | 0 | -10 | 9.68 | 43.55 | 5.42 | 0 | 0 | 0
13:00 - 13:15 | -2.5 | -4 | -0.8 | 0 | 0 | -899.98 | 10.65 | 0 | -0.8 | 0 | -1.6 | 0 | 0 | 4.74 | -1 | 8.71 | 0 | 0 | 19.36 | -2 | 1.94 | 1.45 | 0 | 0 | -10 | 0 | 9.68 | 43.55 | 5.42 | 0 | 0 | 0
13:15 - 13:30 | -2.5 | -2 | -0.8 | 0 | 0 | -939.91 | 10.65 | 0 | -0.6 | 0 | -1.6 | 0 | 0 | 4.74 | -1 | 5.81 | 0 | 0 | 19.36 | -2 | 1.94 | 1.45 | 0 | 0 | -10 | -10 | 9.68 | 43.55 | 5.42 | 0 | 0 | 0
13:30 - 13:45 | -2.5 | -2 | -0.8 | 0 | 0 | -773.77 | 10.65 | 0 | -1.5 | 0 | -1.6 | 0 | 0 | 4.74 | -1 | 8.71 | 0 | 0 | 19.36 | -2 | 1.94 | 1.45 | 0 | 0 | -10 | -10 | 9.68 | 33.87 | 5.42 | 0 | 0 | 0
13:45 - 14:00 | -2.5 | -2 | -0.8 | 0 | 0 | -472.48 | 10.65 | 0 | -1.3 | 0 | -1.6 | 0 | 0 | 4.84 | -1 | 8.71 | 0 | 0 | 19.36 | -2 | 1.94 | 1.45 | 0 | 0 | -10 | -30 | 9.68 | 33.87 | 5.42 | 0 | 0 | 0
14:00 - 14:15 | -2.5 | -2 | -0.8 | 0 | 0 | -391.69 | 10.65 | 0 | -0.1 | 0 | -1.6 | 0 | 0 | 4.84 | -2.5 | 5.81 | 9.68 | 0 | 5.81 | -1 | 1.94 | 1.45 | 0 | 0 | -10 | -35 | 9.68 | 33.86 | 5.42 | 0 | 0 | 0
14:15 - 14:30 | -2.5 | -2 | -0.8 | 0 | 0 | -321.13 | 10.65 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | -2.5 | 5.81 | 9.68 | 0 | 5.81 | -1 | 1.94 | 1.45 | 0 | 0 | -10 | -35 | 9.68 | 33.86 | 0 | 0 | 0 | 0
14:30 - 14:45 | -2.5 | -2 | -0.8 | 0 | 0 | -328.93 | 10.64 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | -2.5 | 5.81 | 9.68 | 0 | 5.81 | -1 | 1.94 | 1.45 | 0 | 0 | -10 | -20 | 9.68 | 0 | 0 | 0 | 0 | 0
14:45 - 15:00 | -2.5 | -2 | -0.8 | 0 | 0 | -328.97 | 10.64 | 0 | 0 | 0 | -1.6 | -15 | 0 | 0 | -2.5 | 5.81 | 9.68 | 0 | 5.81 | -1 | 1.94 | 1.45 | 0 | 0 | -10 | 0 | 9.68 | 0 | 0 | 0 | 0 | 0
15:00 - 15:15 | -2.5 | -14 | -0.8 | 0 | 0 | -250 | 10.65 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | -2.5 | 5.81 | 9.68 | 0 | 10.65 | -1 | 1.94 | 1.45 | 0 | 0 | 0 | 0 | 9.68 | 33.86 | 0 | 0 | 0 | 0
15:15 - 15:30 | -2.5 | -2 | -0.8 | 0 | 0 | -150 | 10.64 | 0 | 0 | 0 | -1.6 | 0 | 0 | -2.2 | -2.5 | 0 | 9.68 | 0 | 10.65 | -1 | 1.94 | 1.45 | 0 | 0 | 0 | 0 | 9.68 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | -2.5 | -2 | -0.8 | 0 | 0 | -152.15 | 6.78 | 0 | 0 | 0 | -1.6 | 0 | 0 | -1.9 | -2.5 | 0 | 9.67 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -30 | 9.68 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | -2.5 | -2 | -0.8 | 0 | 0 | -152.98 | 6.78 | 0 | 0 | 0 | -1.6 | 0 | 0 | -1.5 | -2.5 | 0 | 9.67 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -45 | 9.68 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | -2.5 | -3 | -0.8 | 0 | 0 | -201.86 | 6.78 | 0 | 0 | 0 | -1.6 | 0 | 19.36 | -1.4 | -2.5 | 12.58 | 9.68 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -20 | 9.68 | 72.59 | 0 | 0 | -10 | -10
16:15 - 16:30 | -2.5 | -19 | -0.8 | 0 | 0 | -203.57 | 6.18 | 0 | 0 | 0 | -1.6 | 0 | 0 | -1.2 | -2.5 | 0 | 8.84 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 8.84 | 0 | 0 | 0 | -10 | -10
16:30 - 16:45 | -2.5 | -17 | -0.8 | 0 | 0 | -203 | 10.64 | 0 | 0 | 0 | -1.6 | 0 | 0 | -0.9 | -2.5 | 0 | 9.68 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -5 | -10 | 9.68 | 0 | 0 | 0 | -10 | -10
16:45 - 17:00 | -2.5 | -7 | -0.8 | 0 | 0 | -203.57 | 1.94 | 0 | 0 | 0 | -1.6 | 0 | 0 | -0.6 | -2.5 | 0 | 1.75 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -5 | -20 | 1.75 | 0 | 0 | 0 | -10 | -10
17:00 - 17:15 | -2.5 | -6 | -0.2 | 0 | 0 | -110.31 | 10.65 | 0 | 0 | 0 | -1.6 | 0 | 19.36 | -0.3 | -2.5 | 12.58 | 9.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 9.68 | 72.59 | 0 | 0 | -10 | -10
17:15 - 17:30 | -2.5 | -5 | -0.2 | 0 | 0 | -131.94 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -0.1 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -10 | 0 | 0 | 0 | 0 | -10 | -10
17:30 - 17:45 | -2.5 | -7 | -0.2 | 0 | 0 | -111.84 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -45 | 0 | 0 | 0 | 0 | -10 | -10
17:45 - 18:00 | -2.5 | -8 | -0.2 | 0 | 0 | -66.67 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -10 | -10
18:00 - 18:15 | -2.8 | 0 | -0.2 | -0.3 | -8 | -100 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -10 | -10
18:15 - 18:30 | -2.8 | 0 | -0.2 | -0.3 | -8 | -50 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -20 | 0 | 0 | 0 | 0 | -10 | -10
18:30 - 18:45 | -2.8 | 0 | -0.6 | -0.3 | -8 | 0 | 0 | -50 | 0 | -3.5 | -1.6 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -10 | -10
18:45 - 19:00 | -2.8 | 0 | -0.6 | -0.3 | -8 | 0 | 0 | -50 | 0 | -3.5 | -1.6 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -10 | -10
19:00 - 19:15 | -2.8 | 0 | -0.6 | 0 | -8 | -50 | 0 | -30 | 0 | -3.5 | -1.6 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -35 | 0 | 0 | 0 | 0 | -10 | 0
19:15 - 19:30 | -2.8 | -6 | -0.6 | 0 | -8 | -50 | 0 | -30 | 0 | -3.5 | -1.6 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -45 | 0 | 0 | 0 | 0 | -10 | 0
19:30 - 19:45 | -2.8 | 0 | -0.6 | 0 | -8 | -100 | 0 | -30 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -15 | 0 | 0 | 0 | 0 | -10 | 0
19:45 - 20:00 | -2.8 | 0 | -0.6 | 0 | -8 | -100 | 0 | -30 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -10 | 0
20:00 - 20:15 | -2.8 | -9 | -0.6 | 0 | -8 | -200 | 0 | 0 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -12 | 0 | 0 | 0 | 0 | -10 | 0
20:15 - 20:30 | -2.8 | -9 | -0.6 | 0 | -8 | -200 | 0 | 0 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -10 | 0
20:30 - 20:45 | -2.8 | -1 | -0.6 | 0 | -8 | -250 | 0 | 0 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -30 | 0 | 0 | 0 | 0 | -10 | 0
20:45 - 21:00 | -2.8 | 0 | -0.6 | 0 | -8 | -250 | 0 | 0 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -30 | 0 | 0 | 0 | 0 | -10 | 0
21:00 - 21:15 | -3 | 0 | -0.6 | 0 | -8 | -350 | 0 | 0 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -5 | -15 | 0 | 0 | 0 | 0 | -10 | 0
21:15 - 21:30 | -3 | 0 | -0.6 | 0 | -8 | -350 | 0 | 0 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -10 | 0
21:30 - 21:45 | -3 | 0 | -1 | 0 | -8 | -300 | 0 | 0 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -5 | -30 | 0 | 0 | 0 | 0 | -7 | 0
21:45 - 22:00 | -3 | 0 | -1 | 0 | -8 | -300 | 0 | 0 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -5 | -30 | 0 | 0 | 0 | 0 | -7 | 0
22:00 - 22:15 | -3 | 0 | -1 | 0 | -8 | -300 | 0 | 0 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -7 | 0
22:15 - 22:30 | -3 | 0 | -1 | 0 | -8 | -300 | 0 | 0 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -7 | 0
22:30 - 22:45 | -3 | -5 | -0.6 | 0 | -8 | -300 | 0 | 0 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -5 | -10 | 0 | 0 | 0 | 0 | -9 | 0
22:45 - 23:00 | -3 | 0 | -0.6 | 0 | -8 | -300 | 0 | 0 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -9 | 0
23:00 - 23:15 | -3 | 0 | -0.6 | 0 | -8 | 0 | 0 | 0 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -9 | 0
23:15 - 23:30 | -3 | 0 | -0.6 | 0 | -8 | 0 | 0 | 0 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -5 | -35 | 0 | 0 | 0 | 0 | -9 | 0
23:30 - 23:45 | -3 | 0 | -0.6 | 0 | -8 | 0 | 0 | 0 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -5 | -40 | 0 | 0 | 0 | 0 | -9 | 0
23:45 - 24:00 | -3 | 0 | -0.6 | 0 | -8 | 0 | 0 | 0 | 0 | -3 | -1.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -9 | 0
Average | -2.6521 | -4.0312 | -0.49583 | -0.51042 | -2 | -406.2147 | 4.7384 | -3.5417 | -0.27813 | -0.70833 | -1.6 | -0.3125 | 1.6881 | 0.060208 | -0.97917 | 2.0566 | 3.2413 | 0.14125 | 1.9684 | -1.875 | 0.38646 | 0.27187 | -0.5625 | -0.35417 | -7.6042 | -15.6458 | 4.4515 | 28.0856 | 0.50813 | 5.9814 | -7.925 | -2.0833