## POWER STATUS
POWER STATUS ON DT 26.08.2026
[9 empty] | 2026-08-26 | 2026-08-25
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 5562.4306 | 6224.7376
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 230.75 | 5.538 | 630/590 ft | 621.52 | 622.85 | 623.19 | 234.1128 | 233.5674
| Chiplima | 72(3x24) | 54.75 | 1.314 | - |  |  |  | 37.9092 | 55.3914
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1472.8 | 1471 | 1471.9 | 0 | 0
| Rengali | 250(5x50) | 235 | 5.64 | 123.5/109.75 mt | 122.85 | 122.51 | 122.44 | 236.9104 | 235.3499
| Upper Kolab | 320(4x80) | 55.79 | 1.339 | 858/844 mt | 853.77 | 851.63 | 851.77 | 0 | 153.1478
| Upper Indravati | 600(4x150) | 101.7083 | 2.441 | 642/625 mt | 635.9 | 638.04 | 638.49 | 0.54506 | 344.8169
| Machkund | 60(50% of(3x17+3x23)) | 10.79 | 0.25896 | 2750/2685 ft | 2748.05 | 2728 | 2728.6 | 18.1613 | 10.7194
| Total Hydro | 2099.5 | 688.7883 | 16.5309 |  |  |  |  | 527.6387 | 1032.9929
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1609.6896 | 38.6325 | RENEWABLE ENERGY (RE) |  |  |  | 1632.7521 | 1592.1888
[5 empty] | M.Hydl | 116.51
| Total Thermal | 2200 | 1609.6896 | 38.6325 | Solar | 97.48 |  |  | 1632.7521 | 1592.1888
IPP | VEDANTA #2 | 600 (1x600) | 397.6033 | 9.5425 | Total IPPs | Yesterday's Demand Profile |  |  | 309.2592 | 498.3594
| GMR #3 | 350 (1x350) | 321.6494 | 7.7196 | 816.6392 |  | MW | HRS | 324.0355 | 327.2381
| NBVL(IPP) | 60(1x60) | 50.4682 | 1.2112 |  |  |  |  | 54.7795 | 55.3909
| MDTPC |  | 46.9183 | 1.126 |  |  |  |  | 32.8233 | 55.1151
| CGPs |  | 818.4791 | 19.6435 | IPPs, CGPs & RE | Maximum | 6224.7376 | 20:00 | 1883.9283 | 2185.9874
| Central Sector(Drawl) |  | 1472.5839 | 35.342 | 1849.1083 | Minimum | 5055.0287 | 06:00 | 1518.1115 | 1413.5686
| Central Sector(Sch) |  | 1482.4999 | 35.58 |  | Average | 5620.1701 |  | 1486.9834 | 1247.2189
| Grand Total |  | 5620.1701 | 134.8841 | Instantaneous Peak demand |  | 6437 | 20:39 | 5562.4306 | 6224.7376
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1612.4959 | 38.6999 | 1632.5828 | 39.182 | 1577.3784 | 37.8571
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1704.1044 | 40.8985 | 1747.3757 | 41.937 | 1573.8066 | 37.7714
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1426.8117 | 34.2435 | 1356.5625 | 32.5575 | 1354.0499 | 32.4972
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 568.1844 | 13.6364 | 581.8529 | 13.9645 | 572.7555 | 13.7461
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5311.5963 | 127.4783 | 5318.3738 | 127.641 | 5077.9903 | 121.8718
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 309.2592 | GMR |  |  |  | 324.0355
| NBVL #3 | 54.7795 | MDTPC |  |  |  | 32.8233
Mini Hydel: | MEENAKSHI | 39 | OPCL |  |  |  | 0
| BTPL | 27 | SAPTADHARA |  |  |  | 20
Solar: |  |  | KAKATIYA |  |  |  | 5
CGPs : | JSPL (Angul) | 264.1985 | JSL(Duburi) |  |  |  | -123.294
| ICCL | 43.7739 | visa |  |  |  | 20.1991
| NALCO | -143.0285 | VAL (CGP) |  |  |  | 207.4591
| RSP | -126.1379 | BSL(MMDL) |  |  |  | 30.7944
| INDAL | 3.349 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -31.5301 | VAL CPP 400 kV |  |  |  | -465.1207
| NBVL | 55.0715 | Arati |  |  |  | 4.3325
| BPSL(JSG) | 5.2706 | BPPL |  |  |  | 62.358
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-18 | 2026-08-19 | 2026-08-20 | 2026-08-21 | 2026-08-22 | 2026-08-23 | 2026-08-24 | 2026-08-25
696.1225 | 740.7287 | 764.7309 | 744.734 | 611.49 | 579.28 | 683.9104 | 688.7883
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.25.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | -8.44 | AARTISTEEL | CSEB_Beneficiary | -4.75 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AGE26AL_PSS6_KPS1_S | ODISHA | 124.61
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | 0 | AP41PL_BHDL | ODISHA | 61
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | 0 | AP43PL_BKN | ODISHA | 87.39
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.25
JSPLANGUL | GEB_Beneficiary | -52 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 5.45
JSPLANGUL | RUVITSL | -43.75 | DCBL_Rajgangpur | DALCEMAP | -2 | AWEK1L | ODISHA | 8.17
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | DCBLME | -6 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 5
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCL_RCW | -3.58 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 25.59
ODISHA | BRPL | -41.67 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -4.75 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 14.69
ODISHA | GEB_Beneficiary | -18.75 | DCBL_Rajgangpur | Dalmia_Cem_Lanka | -0.5 | DADRI_SOLAR | ODISHA | 0.7
VSL | CR_IR_MS | -10 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | ENERSON_SOLAR_10MW | ODISHA | 0
FARIDABAD_SOLAR | ODISHA | 0.86 | FACORPOWER | PSPCL | -5.83 | GADAG_GreenInfra_W | ODISHA | 0.78
JSWEL_UTKAL | ODISHA | 49.68 | FACORPOWER | PSPCL | -3.54 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.56 | FACORPOWER | PSPCL | -14.17 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.6 | FACORPOWER | PSPCL | -1.46 | GADAG_Serentica3_S | VLSEZ | 29.18
|  |  | JSPLANGUL | RUVITSL | -106.25 | GADAG_Serentica3_W | VLSEZ | 87.98
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GIWEL_SECI_II_RE | ODISHA | 24.86
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GPCL_SOLAR_10 | ODISHA | 0.81
|  |  | NBVLIPP | BSPHCL | -14.38 | GSECL_SOLAR | ODISHA | 0.73
|  |  | OCL_IRON_STEEL | BRPL | -21.73 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.99
|  |  | OCL_IRON_STEEL | TPDDL | -27.09 | KARUR_TPVARDHAMAN_W | TSKPO | 110.42
|  |  | ODISHA | TANGEDCO | -37.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.02
|  |  | ORSISL | PSPCL | -1.17 | Kurnool_Greenko_H_Inj | ADITYAAL | 3.09
|  |  | ORSISL | PSPCL | -2.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.05
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | NTPCRE1_SMND_BHJ2_W | ODISHA | 3.5
|  |  | RSPL_JHARSUGUDA | TPL_DIS_DHOLERA | -3.75 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 2.28
|  |  | SMEL | NPCL_UP | -12.5 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.37
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | OKWPL_RE | ODISHA | 12.56
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 20.33
|  |  | TSBSLA | TPLD | -3.75 | RWE_AP2_SECI_III | ODISHA | 10.34
|  |  | VIRAJ_SEPL | CESC | -7.5 | RenewGreen_SLPR_HS | JSL_DUBURI | 18.41
|  |  | VSL | WBSEDCL | -4.17 | SRI4PL_TDLWD_KLM_W | KCMW_od | 0.97
|  |  | JIPL | ODISHA | 116.15 | SRI9PL_FTG3 | VLSEZ | 77.2
|  |  | NALCOAP | NACL_Odisha | 21.33 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.12
|  |  | TSTPP_I | ODISHA | 13.93 | TSESOPL_BKN2 | OPL_CUTTAK | 0.14
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 76.31
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 5.93
[6 empty] | XXPPL_FTG3 | ODISHA | 69.61

## DAM
DAM TRADING DETAILS FOR DT : 25.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -2.7 | 0 | -375 | 0 | 0 | -2 | -17 | 0 | 0 | 0
00:15 - 00:30 | -2.7 | 0 | -375 | 0 | 0 | -2 | -17 | 0 | 0 | 0
00:30 - 00:45 | -2.7 | 0 | -375 | 0 | 0 | -2 | -17 | 0 | 0 | 0
00:45 - 01:00 | -2.7 | 0 | -375 | 0 | 0 | -2 | -17 | 0 | 0 | 0
01:00 - 01:15 | -2.7 | 0 | -300 | 0 | 0 | -2 | -17 | 0 | 0 | 0
01:15 - 01:30 | -2.7 | 0 | -300 | 0 | 0 | -2 | -17 | 0 | 0 | 0
01:30 - 01:45 | -2.7 | 0 | -300 | 0 | 0 | -2 | -17 | 0 | 0 | 0
01:45 - 02:00 | -2.7 | 0 | -300 | 0 | 0 | -2 | -17 | 0 | 0 | 0
02:00 - 02:15 | -2.7 | 0 | -425 | 0 | 0 | -2 | -17 | 0 | 0 | 0
02:15 - 02:30 | -2.7 | 0 | -425 | 0 | 0 | -2 | -17 | 0 | 0 | 0
02:30 - 02:45 | -2.7 | 0 | -425 | 0 | 0 | -2 | -17 | 0 | 0 | 0
02:45 - 03:00 | -2.7 | 0 | -387.58 | 0 | 0 | -2 | -17 | 0 | 0 | 0
03:00 - 03:15 | -2.7 | 0 | -450 | 0 | 0 | -2 | -17 | 0 | 0 | 0
03:15 - 03:30 | -2.7 | 0 | -400 | 0 | 0 | -2 | -17 | 0 | 0 | 0
03:30 - 03:45 | -2.7 | 0 | -400 | 0 | 0 | -2 | -17 | 0 | 0 | 0
03:45 - 04:00 | -2.7 | 0 | -400 | 0 | 0 | -2 | -17 | 0 | 0 | 0
04:00 - 04:15 | -2.7 | 0 | -378.75 | 0 | 0 | -2 | -17 | 0 | 0 | 0
04:15 - 04:30 | -2.7 | 0 | -425 | 0 | 0 | -2 | -17 | 0 | 0 | 0
04:30 - 04:45 | -2.7 | 0 | -425 | 0 | 0 | -2 | -17 | 0 | 0 | 0
04:45 - 05:00 | -2.7 | 0 | -425 | 0 | 0 | -2 | -17 | 0 | 0 | 0
05:00 - 05:15 | -2.7 | 0 | -475 | 0 | 0 | -2 | -43 | 0 | 0 | 0
05:15 - 05:30 | -2.7 | 0 | -475 | 0 | 0 | -2 | -43 | 0 | 0 | 0
05:30 - 05:45 | -2.7 | 0 | -475 | 0 | 0 | -2 | -43 | 0 | 0 | 0
05:45 - 06:00 | -2.7 | 0 | -475 | 0 | 0 | -2 | -43 | 0 | 0 | 0
06:00 - 06:15 | -2.7 | 0 | -600 | 0 | 0 | -2 | -43 | 0 | 0 | -6
06:15 - 06:30 | -2.7 | 0 | -600 | 0 | 0 | -2 | -43 | 0 | 0 | -6
06:30 - 06:45 | -2.7 | 0 | -600 | 0 | 0 | -2 | -43 | 0 | 0 | -6
06:45 - 07:00 | -2.7 | 0 | -600 | 0 | 0 | -2 | -43 | 0 | 0 | -6
07:00 - 07:15 | -2.7 | 0 | -650 | 0 | 0 | -2 | -43 | 0 | 0 | -6
07:15 - 07:30 | -2.7 | 0 | -650 | 0 | 0 | -2 | -43 | 0 | 0 | -6
07:30 - 07:45 | -2.7 | 0 | -650 | 0 | 0 | -2 | -43 | 0 | 0 | -6
07:45 - 08:00 | -2.7 | 0 | -622.03 | 0 | 0 | -2 | -43 | 0 | 0 | -6
08:00 - 08:15 | -2.7 | 4.84 | -950 | 0 | 0 | -1 | -43 | 0 | 0 | -6
08:15 - 08:30 | -2.7 | 4.84 | -950 | 0 | 0 | -1 | -43 | 0 | 0 | -6
08:30 - 08:45 | -2.7 | 4.84 | -950 | 0 | 0 | -1 | -43 | 0 | 0 | -6
08:45 - 09:00 | -2.7 | 4.84 | -950 | 0 | 0 | -1 | -43 | 0 | 0 | -6
09:00 - 09:15 | -2.7 | 4.84 | -1075 | 0 | 0 | -1 | -43 | 0 | 0 | -6
09:15 - 09:30 | -2.7 | 4.84 | -1075 | 0 | 0 | -1 | -43 | 0 | 0 | -6
09:30 - 09:45 | -2.7 | 4.84 | -1075 | 0 | 0 | -1 | -43 | 0 | 0 | -6
09:45 - 10:00 | -2.7 | 4.84 | -1075 | 0 | 0 | -1 | -43 | 6.78 | 29.03 | -6
10:00 - 10:15 | -2.7 | 4.84 | -1025 | 0 | 0 | -1 | -18 | 6.77 | 0 | -6
10:15 - 10:30 | -2.7 | 4.84 | -1025 | 0 | 0 | -1 | -18 | 6.77 | 0 | -6
10:30 - 10:45 | -2.7 | 4.84 | -1025 | 33.87 | 0 | -1 | -18 | 6.78 | 0 | -6
10:45 - 11:00 | -2.7 | 4.84 | -1024.23 | 0 | 0 | -1 | -18 | 6.77 | 0 | -6
11:00 - 11:15 | -2.7 | 4.84 | -1007.27 | 33.87 | 0 | -1 | -18 | 6.78 | 0 | -6
11:15 - 11:30 | -2.7 | 4.84 | -952.72 | 33.87 | 0 | -1 | -18 | 6.78 | 0 | -6
11:30 - 11:45 | -2.7 | 4.84 | -876.99 | 33.87 | 0 | -1 | -18 | 6.78 | 0 | -6
11:45 - 12:00 | -2.7 | 4.84 | -872.23 | 33.87 | 0 | -1 | -18 | 6.78 | 0 | -6
12:00 - 12:15 | -2.7 | 4.84 | -845.06 | 18.97 | 0 | -1 | -18 | 6.78 | 0 | -6
12:15 - 12:30 | -2.7 | 4.84 | -835.05 | 33.87 | 0 | -1 | -18 | 6.78 | 0 | -6
12:30 - 12:45 | -2.7 | 4.84 | -793.73 | 33.87 | 0 | -1 | -18 | 6.78 | 0 | -6
12:45 - 13:00 | -2.7 | 4.84 | -716.5 | 33.87 | 0 | -1 | -18 | 6.78 | 0 | -6
13:00 - 13:15 | -2.7 | 4.84 | -748.13 | 33.87 | 0 | -1 | -18 | 6.78 | 0 | -6
13:15 - 13:30 | -2.7 | 4.84 | -748.46 | 33.87 | 0 | -1 | -18 | 6.78 | 0 | -6
13:30 - 13:45 | -2.7 | 4.84 | -768.68 | 33.87 | 0 | -1 | -18 | 6.78 | 0 | -6
13:45 - 14:00 | -2.7 | 4.84 | -920.66 | 33.87 | 0 | -1 | -18 | 6.78 | 0 | -6
14:00 - 14:15 | -2.7 | 4.84 | -1044.14 | 33.87 | 0 | -1 | -18 | 6.78 | 0 | -6
14:15 - 14:30 | -2.7 | 4.84 | -1050 | 33.87 | 0 | -1 | -18 | 6.78 | 0 | -6
14:30 - 14:45 | -2.7 | 4.84 | -1050 | 33.87 | 0 | -1 | -18 | 6.78 | 0 | -6
14:45 - 15:00 | -2.7 | 4.84 | -1050 | 0 | 0 | -1 | -18 | 6.77 | 0 | -6
15:00 - 15:15 | -2.7 | 4.84 | -1161.5 | 0 | 0 | -1 | -43 | 6.77 | 0 | -6
15:15 - 15:30 | -2.7 | 4.84 | -1175 | 0 | 0 | -1 | -43 | 0 | 0 | -6
15:30 - 15:45 | -2.7 | 4.84 | -1175 | 0 | 0 | -1 | -43 | 0 | 0 | -6
15:45 - 16:00 | -2.7 | 4.84 | -1175 | 0 | 0 | -1 | -43 | 0 | 0 | -6
16:00 - 16:15 | -2.7 | 4.84 | -1160.46 | 0 | 0 | -1 | -43 | 6.77 | 4.07 | -6
16:15 - 16:30 | -2.7 | 4.84 | -1200 | 0 | 0 | -1 | -43 | 0 | 0 | -6
16:30 - 16:45 | -2.7 | 4.84 | -1200 | 0 | 0 | -1 | -43 | 0 | 0 | -6
16:45 - 17:00 | -2.7 | 4.84 | -1250 | 0 | 0 | -1 | -43 | 0 | 0 | -6
17:00 - 17:15 | -2.7 | 0 | -925 | 0 | 0 | -2 | -43 | 0 | 0 | -6
17:15 - 17:30 | -2.7 | 0 | -875 | 0 | 0 | -2 | -43 | 0 | 0 | -6
17:30 - 17:45 | -2.7 | 0 | -575 | 0 | 0 | -2 | -43 | 0 | 0 | -6
17:45 - 18:00 | -2.7 | 0 | -525 | 0 | 0 | -2 | -43 | 0 | 0 | -6
18:00 - 18:15 | -2.7 | 0 | -300 | 0 | 0 | -2 | -43 | 0 | 0 | 0
18:15 - 18:30 | -2.7 | 0 | -225 | 0 | -50 | -2 | -43 | 0 | 0 | 0
18:30 - 18:45 | -2.7 | 0 | -225 | 0 | -100 | -2 | -43 | 0 | 0 | 0
18:45 - 19:00 | -2.7 | 0 | -150 | 0 | -150 | -2 | -43 | 0 | 0 | 0
19:00 - 19:15 | -2.7 | 0 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2.7 | 0 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2.7 | 0 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
19:45 - 20:00 | -2.7 | 0 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2.7 | 0 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2.7 | 0 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
20:30 - 20:45 | -2.7 | 0 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
20:45 - 21:00 | -2.7 | 0 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
21:00 - 21:15 | -2.7 | 0 | -50 | 0 | -200 | -2 | 0 | 0 | 0 | 0
21:15 - 21:30 | -2.7 | 0 | -50 | 0 | -200 | -2 | 0 | 0 | 0 | 0
21:30 - 21:45 | -2.7 | 0 | -50 | 0 | -200 | -2 | 0 | 0 | 0 | 0
21:45 - 22:00 | -2.7 | 0 | -50 | 0 | -200 | -2 | 0 | 0 | 0 | 0
22:00 - 22:15 | -2.7 | 0 | -50 | 0 | -200 | -2 | 0 | 0 | 0 | 0
22:15 - 22:30 | -2.7 | 0 | -50 | 0 | -200 | -2 | 0 | 0 | 0 | 0
22:30 - 22:45 | -2.7 | 0 | -50 | 0 | -200 | -2 | 0 | 0 | 0 | 0
22:45 - 23:00 | -2.7 | 0 | -50 | 0 | -200 | -2 | 0 | 0 | 0 | 0
23:00 - 23:15 | -2.7 | 0 | -325 | 0 | -200 | -2 | 0 | 0 | 0 | 0
23:15 - 23:30 | -2.7 | 0 | -325 | 0 | -200 | -2 | 0 | 0 | 0 | 0
23:30 - 23:45 | -2.7 | 0 | -425 | 0 | -200 | -2 | 0 | 0 | 0 | 0
23:45 - 24:00 | -2.7 | 0 | -425 | 0 | -200 | -2 | 0 | 0 | 0 | 0
Average | -2.7 | 1.815 | -585.5643 | 5.4898 | -44.7917 | -1.625 | -23.4167 | 1.6238 | 0.34479 | -3

## GDAM
GDAM TRADING DETAILS FOR DT:25.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 0 | 19.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09:00 - 09:15 | 0 | 0 | 0 | 19.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09:15 - 09:30 | 0 | 0 | 0 | 19.36 | 0 | 0 | 6.29 | 0 | 0 | 0 | 0
09:30 - 09:45 | 0 | 0 | 0 | 19.36 | 0 | 0 | 6.29 | 0 | 0 | 0 | 0
09:45 - 10:00 | 0 | 0 | 0 | 19.36 | 0 | 0 | 6.29 | 0 | 0 | 0 | 0
10:00 - 10:15 | 0 | 0 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 0 | 19.36 | 1.2
10:15 - 10:30 | 0 | 0 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 0 | 19.36 | 1.94
10:30 - 10:45 | 0 | 0 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 0 | 19.36 | 2.23
10:45 - 11:00 | 0 | -4.4 | 33.88 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 3.87 | 19.36 | 4.84
11:00 - 11:15 | 0 | -5.1 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 0 | 19.36 | 3.09
11:15 - 11:30 | 0 | -6.9 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 0 | 19.36 | 4.52
11:30 - 11:45 | 0 | -10.7 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 3.87 | 19.36 | 4.84
11:45 - 12:00 | 0 | -3 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 3.87 | 19.36 | 4.84
12:00 - 12:15 | 0 | -3.9 | 14.86 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 3.87 | 19.36 | 4.84
12:15 - 12:30 | -2.8 | 0 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 3.87 | 19.36 | 4.84
12:30 - 12:45 | -1.5 | -0.6 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 3.87 | 19.36 | 4.84
12:45 - 13:00 | -4.5 | 0 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 3.87 | 19.36 | 4.84
13:00 - 13:15 | 0 | -2.1 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 3.87 | 19.36 | 4.84
13:15 - 13:30 | -3.3 | -3.5 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 3.87 | 19.36 | 4.84
13:30 - 13:45 | -3.6 | -0.4 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 3.87 | 19.36 | 4.84
13:45 - 14:00 | -2.2 | -2.5 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 3.87 | 19.36 | 4.84
14:00 - 14:15 | 0 | 0 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 0 | 19.36 | 4.16
14:15 - 14:30 | -2.9 | -5.1 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 0 | 19.36 | 0
14:30 - 14:45 | -2.2 | -8.1 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 3.87 | 19.36 | 4.84
14:45 - 15:00 | -0.2 | -4.5 | 0 | 19.36 | 33.87 | 9.68 | 6.29 | 29.04 | 3.87 | 19.36 | 4.84
15:00 - 15:15 | -0.5 | -3.2 | 0 | 19.36 | 0 | 0 | 6.29 | 29.03 | 0 | 19.36 | 0
15:15 - 15:30 | 0 | 0 | 0 | 19.36 | 0 | 0 | 6.29 | 29.04 | 0 | 7.11 | 0
15:30 - 15:45 | 0 | 0 | 0 | 19.36 | 0 | 0 | 6.29 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | 0 | 0 | 19.36 | 0 | 0 | 6.29 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 14.52 | 29.14 | 0 | 6.29 | 24.97 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 14.52 | 0 | 0 | 4.41 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 14.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 14.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.24687 | -0.66667 | 0.50771 | 6.4533 | 7.3598 | 2.0167 | 1.8805 | 6.915 | 0.52406 | 4.3091 | 0.83396

## RTM
RTM TRADING DETAILS FOR DT: 25.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_C&I_Three_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Paradeep_Phosphates_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -2.8 | -7 | 0 | -0.2 | 0 | -6 | -50 | 0 | -30 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | -50 | 0 | -30 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -42 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -40 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | -84.27 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | -80.56 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | -2.8 | -7 | 0 | -0.2 | 0 | -6 | 0.38 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 40.32 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 40.32 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 39.18 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 40.32 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 53.26 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 55.57 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 53.26 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 53.26 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -40 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 57.84 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -38 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 57.12 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 40.32 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -10
05:15 - 05:30 | -2.8 | 0 | 0 | -0.2 | 0 | -6 | 23.86 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -10
05:30 - 05:45 | -2.8 | 0 | 0 | -0.8 | 0 | -6 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | -2.8 | -6 | 0 | -0.8 | 0 | -6 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -2.8 | -5 | 0 | -0.8 | 0 | -6 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | -10
06:15 - 06:30 | -2.8 | -5 | 0 | -0.8 | 0 | -6 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | -10
06:30 - 06:45 | -2.8 | -5 | 0 | -0.8 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 28.42 | 0 | -10
06:45 - 07:00 | -2.8 | -6 | 0 | -0.8 | 0 | -6 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 35.99 | 0 | -10
07:00 - 07:15 | -2.8 | -8 | 0 | -0.4 | 0 | -6 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 47.77 | 0 | -10
07:15 - 07:30 | -2.8 | -26 | 0 | -0.4 | 0 | -6 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | -15 | 0 | 0 | 0 | 0 | 59.98 | 0 | -10
07:30 - 07:45 | -2.8 | -27.67 | 0 | -0.4 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
07:45 - 08:00 | -2.8 | -23 | 0 | -0.4 | 0 | -6 | -59.27 | 0 | 0 | -0.2 | 0 | 0 | 0 | -1.6 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
08:00 - 08:15 | -2.8 | -23 | 0 | -0.4 | 0 | 0 | 338.08 | 0 | 0 | -0.2 | 0 | 0 | 0 | -1.6 | 0 | 0 | -1.9 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | -2.8 | -23 | 0 | -0.4 | 0 | 0 | 320.18 | 0 | 0 | -0.3 | 0 | 0 | 0 | -1.6 | 0 | 0 | -2.3 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | -2.8 | -27 | 0 | -0.4 | 0 | 0 | 177.43 | 0 | 0 | -0.3 | 0 | 0 | 0 | -1.6 | 0 | 0 | -2.8 | 0 | -1.5 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | -2.8 | -15 | 0 | -0.4 | 0 | 0 | 144.61 | 0 | 0 | -0.4 | 0 | 0 | 0 | -1.6 | 0 | 0 | -2.8 | 0 | -1.5 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09:00 - 09:15 | -2.8 | -3 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | -1.6 | 0 | 0 | -2.8 | 0 | -1.5 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | 29.04 | 0 | 0 | 0 | 0 | 0 | -9.4 | 0
09:15 - 09:30 | -2.8 | -3 | 0 | -0.4 | 0 | 0 | -75.73 | 0 | 0 | -0.6 | 0 | 0 | 0 | -1.6 | 0 | 0 | -3.3 | 0 | -1.5 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | 29.04 | 0 | 0 | 0 | 0 | 0 | -9.4 | 0
09:30 - 09:45 | -2.8 | -3 | 0 | -0.4 | 0 | 0 | 0 | 10.65 | 0 | -0.7 | 0 | 0 | 0 | -1.6 | 0 | 0 | -3.7 | 0 | -1.5 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | 0 | 0 | 1.45 | 0 | 0 | 0 | -9.4 | 0
09:45 - 10:00 | -2.8 | -3 | 0 | -0.4 | 2.42 | 0 | 0 | 10.65 | 0 | -0.8 | 0 | 0 | 0 | -1.6 | 0 | 0 | -0.9 | 0 | -1.5 | 0 | 0 | 5.81 | 0 | -3 | 0 | -5 | 0 | 0 | 1.45 | 0 | 0 | 0 | -9.4 | 0
10:00 - 10:15 | -2.8 | -5 | 0 | -0.4 | 2.42 | 0 | 0.09 | 10.65 | 0 | -0.9 | 0 | 0 | 0 | -1.6 | -15 | 0 | 3.68 | 0 | -1.5 | 8.71 | 7.74 | 5.81 | 7.74 | -3 | 0 | -25 | 0 | 0 | 1.45 | 38.71 | 0 | 0 | -9.4 | 0
10:15 - 10:30 | -2.8 | -3 | 0 | -0.4 | 2.42 | 0 | 50.14 | 10.65 | 0 | -1 | 0 | 0 | 0 | -1.6 | 0 | 0 | 3.39 | 0 | -1.5 | 8.71 | 7.74 | 5.81 | 7.74 | -3 | 0 | -25 | 0 | 0 | 1.45 | 38.72 | 0 | 0 | -9.4 | 0
10:30 - 10:45 | -2.8 | -3 | 0 | -0.4 | 2.42 | 0 | 96.81 | 10.65 | 0 | -1.1 | 0 | 0 | 0 | -1.6 | 0 | 0 | 3.39 | 0 | -1.5 | 8.71 | 7.74 | 5.81 | 7.74 | -3 | 0 | -20 | 19.36 | 0 | 1.45 | 0 | 4.84 | 0 | -9.4 | 0
10:45 - 11:00 | -2.8 | -17 | -1 | -0.4 | 2.42 | 0 | 64.56 | 10.65 | 0 | -1.2 | 0 | 0 | 0 | -1.6 | 0 | 0 | 3.68 | 0 | -1.5 | 8.71 | 7.74 | 5.81 | 7.74 | -3 | 0 | -20 | 29.04 | 0 | 1.45 | 0 | 5.32 | 0 | -9.4 | 0
11:00 - 11:15 | -2.8 | -23 | -1.2 | -0.4 | 2.42 | 0 | -52.98 | 10.65 | 0 | -1.6 | 0 | 0 | 0 | -1.6 | 0 | 0 | 3.68 | 0 | -1.5 | 5.81 | 0 | 0 | 0 | -3 | 0 | -20 | 19.36 | 0 | 1.45 | 0 | 5.32 | 0 | -9.4 | 0
11:15 - 11:30 | -2.8 | -23 | 0 | -0.4 | 2.42 | 0 | 67.71 | 10.65 | 0 | -1.7 | 0 | 0 | 0 | -1.6 | 0 | 0 | 3.58 | 0 | -1.5 | 5.81 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 1.45 | 0 | 5.32 | 0 | -9.4 | 0
11:30 - 11:45 | -2.8 | -23 | -1 | -0.4 | 2.42 | 0 | 0 | 10.65 | 0 | -1.7 | 0 | 0 | 0 | -1.6 | 0 | 0 | 3.58 | 0 | -1.5 | 5.81 | 0 | 0 | 0 | -3 | 1.94 | 0 | 0 | 0 | 1.45 | 0 | 5.32 | 0 | -9.4 | 0
11:45 - 12:00 | -2.8 | -23 | -0.8 | -0.4 | 2.42 | 0 | 0 | 10.65 | 0 | -1.8 | 0 | 0 | 0 | -1.6 | 0 | 0 | 3.58 | 0 | -1.5 | 5.81 | 0 | 0 | 0 | -3 | 1.94 | 0 | 0 | 0 | 1.45 | 0 | 5.32 | 0 | -9.4 | 0
12:00 - 12:15 | -2.8 | -3 | -2.8 | -0.4 | 2.42 | 0 | -93.36 | 10.65 | 0 | -1.9 | 0 | 0 | 0 | -1.6 | 0 | 0 | 3.58 | 0 | -1.5 | 4.84 | 0 | 0 | 0 | 0 | 1.94 | 0 | 0 | 6.26 | 1.45 | 43.56 | 5.32 | 0 | -9.4 | 0
12:15 - 12:30 | -2.8 | -3 | -0.1 | -0.4 | 2.42 | 0 | -93.3 | 10.65 | 0 | -2 | 0 | 0 | 0 | -1.6 | 0 | 0 | 3.68 | 0 | -1.5 | 4.84 | 0 | 0 | 0 | 0 | 1.94 | 0 | 0 | 9.68 | 1.45 | 43.55 | 5.32 | 0 | -9.4 | 0
12:30 - 12:45 | -2.8 | -3 | 0 | -0.4 | 2.42 | 0 | 100.03 | 10.65 | 0 | -1.9 | 0 | 0 | 0 | -1.6 | 0 | 0 | 3.77 | 0 | -1.5 | 4.84 | 0 | 0 | 0 | 0 | 1.94 | 0 | 29.04 | 9.68 | 1.45 | 43.56 | 5.32 | 0 | -9.4 | 0
12:45 - 13:00 | -2.8 | -3 | 0 | -0.4 | 2.42 | 0 | 87.63 | 10.65 | 0 | -1.7 | 0 | 0 | 0 | -1.6 | 0 | 0 | 3.97 | 0 | -1.5 | 4.84 | 0 | 0 | 0 | 0 | 1.94 | 0 | 9.68 | 0 | 1.45 | 43.56 | 5.32 | 0 | -9.4 | 0
13:00 - 13:15 | -2.8 | -14 | 0 | -0.8 | 2.42 | 0 | 196.81 | 10.65 | 0 | -1.6 | 0 | 0 | 0 | -1.6 | 0 | 0 | 4.16 | 0 | 0 | 4.84 | 0 | 0 | 0 | 0 | 1.94 | 0 | 0 | 9.68 | 1.45 | 43.56 | 5.32 | 0 | -9.4 | 0
13:15 - 13:30 | -2.8 | -14 | 0 | -0.8 | 2.42 | 0 | 420.99 | 10.65 | 0 | -1.5 | 0 | 0 | 0 | -1.6 | 0 | 0 | 4.07 | 0 | 0 | 4.84 | 0 | 0 | 0 | 0 | 1.94 | 0 | 0 | 0 | 1.45 | 43.56 | 5.32 | 0 | -9.4 | 0
13:30 - 13:45 | -2.8 | -3 | 0 | -0.8 | 2.42 | 0 | 410.86 | 10.65 | 0 | -1.4 | 0 | 0 | 0 | -1.6 | 0 | 0 | -1.1 | 0 | 0 | 4.84 | 0 | 0 | 0 | 0 | 1.94 | 0 | 0 | 0 | 1.45 | 0 | 5.32 | 0 | -9.4 | 0
13:45 - 14:00 | -2.8 | -3 | 0 | -0.8 | 2.42 | 0 | 402.44 | 10.65 | 0 | -1.2 | 0 | 0 | 0 | -1.6 | 0 | 0 | -3.3 | 0 | 0 | 3.87 | 0 | 0 | 0 | 0 | 1.94 | 0 | 0 | 0 | 1.45 | 0 | 5.32 | 0 | -9.4 | 0
14:00 - 14:15 | -2.8 | -3 | 0 | -0.8 | 2.42 | 0 | 390.39 | 10.65 | 0 | -1 | 0 | 0 | 0 | -1.6 | 0 | 0 | -3.1 | 0 | 0 | 4.84 | 0 | 5.81 | 0 | 0 | 1.94 | 0 | 0 | 9.68 | 1.45 | 0 | 5.32 | 0 | -9.4 | 0
14:15 - 14:30 | -2.8 | -3 | 0 | -0.8 | 2.42 | 0 | 380.08 | 10.65 | 0 | -0.6 | 0 | 0 | 0 | -1.6 | 0 | 0 | -2.9 | 0 | 0 | 4.84 | 0 | 5.81 | 0 | 0 | 1.94 | 0 | 0 | 0 | 1.45 | 0 | 5.32 | 0 | -9.4 | 0
14:30 - 14:45 | -2.8 | -3 | 0 | -0.8 | 2.42 | 0 | 307.29 | 10.65 | 0 | -0.5 | 0 | 0 | 0 | -1.6 | 0 | 0 | -2.7 | 0 | 0 | 5.81 | 0 | 5.81 | 0 | 0 | 1.94 | 0 | 29.04 | 0 | 1.45 | 0 | 5.32 | 0 | -9.4 | 0
14:45 - 15:00 | -2.8 | -3 | 0 | -0.8 | 2.42 | 0 | 159.17 | 10.65 | 0 | -0.4 | 0 | 0 | 0 | -1.6 | -15 | 0 | -2.4 | 0 | 0 | 5.81 | 0 | 5.81 | 0 | 0 | 1.94 | 0 | 19.36 | 0 | 1.45 | 0 | 5.32 | 0 | -9.4 | 0
15:00 - 15:15 | -2.8 | -4 | 0 | -0.8 | 2.42 | 0 | 354.61 | 10.65 | 0 | -0.3 | 9.68 | 0 | 0 | -1.6 | 0 | 0 | -2.1 | 0 | 0 | 5.81 | 0 | 5.81 | 0 | 0 | 1.94 | -5 | 0 | 0 | 1.45 | 0 | 5.32 | 0 | -9.4 | 0
15:15 - 15:30 | -2.8 | -4 | 0 | -0.8 | 2.42 | 0 | 201.13 | 10.65 | 0 | -0.2 | 9.68 | 0 | 0 | -1.6 | 0 | 0 | -2.2 | 0 | 0 | 12.58 | 0 | 5.81 | 0 | 0 | 1.94 | -5 | 0 | 0 | 1.45 | 0 | 5.32 | 0 | -9.4 | 0
15:30 - 15:45 | -2.8 | -4 | 0 | -0.8 | 2.42 | 0 | 205.65 | 10.65 | 0 | -0.1 | 9.68 | 0 | 0 | -1.6 | 0 | 0 | -1.9 | 0 | 0 | 12.58 | 0 | 5.81 | 0 | 0 | 1.94 | -5 | 0 | 0 | 1.45 | 19.36 | 5.32 | 0 | 0 | 0
15:45 - 16:00 | -2.8 | -4 | 0 | -0.8 | 2.42 | 0 | 165.54 | 10.65 | 0 | -0.1 | 0 | 0 | 0 | -1.6 | 0 | 0 | -1.6 | 0 | 0 | 12.58 | 0 | 5.81 | 0 | 0 | 1.94 | -5 | 0 | 0 | 1.45 | 0 | 5.32 | 0 | 0 | 0
16:00 - 16:15 | -2.5 | -4 | 0 | -0.8 | 2.42 | 0 | 106.7 | 10.65 | 0 | 0 | 9.68 | 0 | 0 | -1.6 | 0 | 19.36 | -1.3 | 0 | 0 | 5.81 | 7.74 | 5.81 | 0 | -5 | 1.94 | -5 | 0 | 0 | 9.2 | 0 | 5.32 | 0 | 0 | -10
16:15 - 16:30 | -2.5 | -4 | 0 | -0.8 | 0 | 0 | 104.03 | 10.65 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 19.36 | -1.2 | 0 | 0 | 12.58 | 0 | 3.7 | 0 | -5 | 0 | -5 | 0 | 0 | 9.2 | 0 | 0 | 0 | 0 | -10
16:30 - 16:45 | -2.5 | -4 | 0 | -0.8 | 0 | 0 | 103.89 | 10.65 | 0 | 0 | 0 | 0 | 8.71 | -1.6 | 0 | 19.36 | -0.8 | 0 | 0 | 12.58 | 0 | 0 | 0 | -5 | 0 | -5 | -20 | 0 | 9.2 | 0 | 0 | 0 | 0 | -10
16:45 - 17:00 | -2.5 | -4 | 0 | -0.8 | 0 | 0 | 102.66 | 10.65 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 19.36 | -0.5 | 0 | 0 | 12.58 | 0 | 0 | 0 | -5 | 0 | -5 | -20 | 0 | 9.2 | 0 | 0 | 0 | 0 | -10
17:00 - 17:15 | -2.5 | -20 | 0 | -0.2 | 0 | 0 | -5.56 | 10.65 | 0 | 0 | 0 | 0 | 8.71 | -1.6 | 0 | 19.36 | -0.3 | 0 | 0 | 12.58 | 0 | 5.81 | 0 | -5 | 1.94 | -5 | -30 | 0 | 9.2 | 48.39 | 5.32 | 0 | 0 | -10
17:15 - 17:30 | -2.5 | -4 | 0 | -0.2 | 0 | 0 | -56.59 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | -10
17:30 - 17:45 | -2.5 | -7 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
17:45 - 18:00 | -2.5 | -7 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
18:00 - 18:15 | -2.5 | 0 | 0 | -0.2 | 0 | -6 | -48.96 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -40 | 0 | 0 | 0 | 0 | 0 | 0 | -10
18:15 - 18:30 | -2.5 | -2 | 0 | -0.2 | 0 | -6 | -100 | 0 | -30 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -40 | 0 | 0 | 0 | 0 | 0 | 0 | -10
18:30 - 18:45 | -2.5 | -1 | 0 | -0.2 | 0 | -6 | -100 | 0 | -30 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -40 | 0 | 0 | 0 | 0 | 0 | 0 | -10
18:45 - 19:00 | -2.5 | 0 | 0 | -0.2 | 0 | -6 | -100 | 0 | -30 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -40 | 0 | 0 | 0 | 0 | 0 | 0 | -10
19:00 - 19:15 | -2.5 | 0 | 0 | -0.2 | 0 | -6 | -150 | 0 | -50 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -5 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2.5 | 0 | 0 | -0.2 | 0 | -6 | -150 | 0 | -50 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2.5 | 0 | 0 | -0.2 | 0 | -6 | -150 | 0 | -70 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -2.5 | 0 | 0 | -0.2 | 0 | -6 | -150 | 0 | -70 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -5 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2.5 | -2 | 0 | -0.2 | 0 | -6 | -150 | 0 | -70 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -5 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2.5 | 0 | 0 | -0.2 | 0 | -6 | -150 | 0 | -70 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -5 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -2.5 | 0 | 0 | -0.2 | 0 | -6 | -150 | 0 | -100 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | -2.5 | 0 | 0 | -0.2 | 0 | -6 | -150 | 0 | -100 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | -2.5 | 0 | 0 | -0.2 | 0 | -6 | -150 | 0 | -140 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | -2.5 | -4 | 0 | -0.2 | 0 | -6 | -150 | 0 | -140 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | -2.5 | 0 | 0 | -0.8 | 0 | -6 | -150 | 0 | -150 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | -2.5 | 0 | 0 | -0.8 | 0 | -6 | -150 | 0 | -150 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | -2.5 | 0 | 0 | -0.8 | 0 | -6 | -150 | 0 | -150 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | -2.5 | 0 | 0 | -0.8 | 0 | -6 | -150 | 0 | -150 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -8 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | -2.5 | 0 | 0 | -0.2 | 0 | -6 | -50 | 0 | -140 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | -2.5 | 0 | 0 | -0.2 | 0 | -6 | -50 | 0 | -140 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | -2.5 | -3 | 0 | -0.2 | 0 | -6 | 0 | 0 | -120 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | -2.5 | 0 | 0 | -0.2 | 0 | -6 | 0 | 0 | -120 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | 0 | -5 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | -2.5 | 0 | 0 | -0.2 | 0 | -6 | 0 | 0 | -100 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | 0 | -5 | -40 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | -2.5 | 0 | 0 | -0.2 | 0 | -6 | 0 | 0 | -100 | 0 | 0 | -3.5 | 0 | -1.6 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | -11 | 0 | -5 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -2.7 | -5.0591 | -0.071875 | -0.4125 | 0.65542 | -3.5 | 20.4577 | 3.4391 | -25.3125 | -0.32708 | 0.40333 | -0.72917 | 0.18146 | -1.6 | -0.3125 | 1.0083 | -0.017813 | -0.77083 | -0.28125 | 2.2584 | 0.40313 | 0.94635 | 0.3225 | -3.6667 | 0.40417 | -5.3125 | -5.6046 | 0.46854 | 0.87188 | 4.2347 | 1.325 | 1.7933 | -2.5458 | -2.2917