## POWER STATUS
POWER STATUS ON DT 27.08.2026
[9 empty] | 2026-08-27 | 2026-08-26
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 19:00
Demand -> | [8 empty] | 5838.1459 | 6357.151
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 227.21 | 5.453 | 630/590 ft | 621.87 | 623.19 | 623.97 | 237.938 | 236.2327
| Chiplima | 72(3x24) | 49.92 | 1.1981 | - |  |  |  | 56.7465 | 54.5634
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1474.9 | 1471.9 | 1472.6 | 0 | 0
| Rengali | 250(5x50) | 232.25 | 5.574 | 123.5/109.75 mt | 122.54 | 122.44 | 122.18 | 232.6105 | 232.3287
| Upper Kolab | 320(4x80) | 64.04 | 1.537 | 858/844 mt | 854.44 | 851.77 | 851.92 | -2.9143e-16 | 151.2532
| Upper Indravati | 600(4x150) | 102.33 | 2.4559 | 642/625 mt | 636.13 | 638.49 | 638.81 | 0.29109 | 449.5276
| Machkund | 60(50% of(3x17+3x23)) | 13.37 | 0.32088 | 2750/2685 ft | 2748.55 | 2728.6 | 2729 | 17.5598 | 18.2453
| Total Hydro | 2099.5 | 689.12 | 16.5389 |  |  |  |  | 545.1459 | 1142.151
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1624.09 | 38.9782 | RENEWABLE ENERGY (RE) |  |  |  | 1670 | 1634
[5 empty] | M.Hydl | 122.89
| Total Thermal | 2200 | 1624.09 | 38.9782 | Solar | 110.5 |  |  | 1670 | 1634
IPP | VEDANTA #2 | 600 (1x600) | 404.7209 | 9.7133 | Total IPPs | Yesterday's Demand Profile |  |  | 300.8984 | 467.5586
| GMR #3 | 350 (1x350) | 326.6215 | 7.8389 | 831.0753 |  | MW | HRS | 326.3226 | 323.8444
| NBVL(IPP) | 60(1x60) | 51.699 | 1.2408 |  |  |  |  | 47.8173 | 54.9805
| MDTPC |  | 48.0339 | 1.1528 |  |  |  |  | 30.2744 | 54.655
| CGPs |  | 856.1521 | 20.5476 | IPPs, CGPs & RE | Maximum | 6357 | 19:00 | 1762 | 2082
| Central Sector(Drawl) |  | 1500.1118 | 36.0027 | 1920.6174 | Minimum | 5200 | 06:00 | 1861 | 1499
| Central Sector(Sch) |  | 1514.4149 | 36.346 |  | Average | 5733.9392 |  | 1978 | 1414
| Grand Total |  | 5733.9392 | 137.6145 | Instantaneous Peak demand |  | 6591.0127 | 46260.7868 | 5838.1459 | 6357.151
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1608.5562 | 38.6053 | 1702.057 | 40.8494 | 1627.6707 | 39.0641
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1769.2839 | 42.4628 | 1774.9054 | 42.5977 | 1636.1646 | 39.268
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1361.2066 | 32.669 | 1388.931 | 33.3343 | 1323.3351 | 31.76
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 582.8479 | 13.9883 | 593.8524 | 14.2525 | 596.0026 | 14.3041
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5321.8946 | 127.7255 | 5459.7458 | 131.0339 | 5183.173 | 124.3962
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 301 | GMR |  |  |  | 326
| NBVL #3 | 48 | MDTPC |  |  |  | 30
Mini Hydel: | MEENAKSHI | 40 | OPCL |  |  |  | 0
| BTPL | 27 | SAPTADHARA |  |  |  | 20
Solar: |  | 137 | KAKATIYA |  |  |  | 5
CGPs : | JSPL (Angul) | 278.7099 | JSL(Duburi) |  |  |  | -133.3913
| ICCL | 55.6603 | visa |  |  |  | 10.3245
| NALCO | -147.3306 | VAL (CGP) |  |  |  | 209.519
| RSP | -35.6528 | BSL(MMDL) |  |  |  | -15.1332
| INDAL | -12.5688 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -27.186 | VAL CPP 400 kV |  |  |  | -580.6678
| NBVL | 48.1389 | Arati |  |  |  | 5.4347
| BPSL(JSG) | -124.7755 | BPPL |  |  |  | 62.262
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-19 | 2026-08-20 | 2026-08-21 | 2026-08-22 | 2026-08-23 | 2026-08-24 | 2026-08-25 | 2026-08-26
740.7287 | 764.7309 | 744.734 | 611.49 | 579.28 | 683.9104 | 688.7883 | 689.12
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.26.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | -19 | ABRELRJ_W_FTG3 | ABRELRJ_W_FTG3 | 0.41
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | 0 | AGE26AL_PSS6_KPS1_S | AGE26AL_PSS6_KPS1_S | 114.13
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | 0 | AP41PL_BHDL | AP41PL_BHDL | 59.97
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | 0 | AP43PL_BKN | AP43PL_BKN | 86.78
JPIPL | NPCL_UP | -6.9 | AECI11PL | STEELCAST2022 | 0 | ARE55L_PSS3_KPS1_HS | ARE55L_PSS3_KPS1_HS | 3.23
JSPLANGUL | GEB_Beneficiary | -52 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | AWEK1L | 8.13
JSPLANGUL | RUVITSL | -43.75 | DCBL_Rajgangpur | DALCEMAP | -2 | AWEK1L | AWEK1L | 12.19
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | DCBLME | -6 | AyanaRP4_DVSR_BHJ_HS | AyanaRP4_DVSR_BHJ_HS | 5.05
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCL_RCW | -5 | AyanaRP4_DVSR_BHJ_HW | AyanaRP4_DVSR_BHJ_HW | 29.47
VSL | CR_IR_MS | -10 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -6 | AyanaRP4_ZURA_BHJ_S | AyanaRP4_ZURA_BHJ_S | 13.07
FARIDABAD_SOLAR | ODISHA | 0.86 | DCBL_Rajgangpur | Dalmia_Cem_Lanka | 0 | DADRI_SOLAR | DADRI_SOLAR | 0.58
JSWEL_UTKAL | ODISHA | 34.81 | ENVIROCARE_INFRA | WBSEDCL | -16 | ENERSON_SOLAR_10MW | ENERSON_SOLAR_10MW | 0
RAJ_SOLAR | ODISHA | 2.53 | FACORPOWER | PSPCL | -20 | GADAG_GreenInfra_W | GADAG_GreenInfra_W | 0
RAJ_SOLAR | ODISHA | 2.64 | FACORPOWER | PSPCL | 0 | GADAG_GreenInfra_W | GADAG_GreenInfra_W | 0
|  |  | FACORPOWER | PSPCL | 0 | GADAG_GreenInfra_W | GADAG_GreenInfra_W | 0.82
|  |  | FACORPOWER | PSPCL | -5 | GADAG_Serentica3_S | GADAG_Serentica3_S | 33.02
|  |  | JSPLANGUL | RUVITSL | -150 | GADAG_Serentica3_W | GADAG_Serentica3_W | 84.96
|  |  | JSPLANGUL | TANGEDCO | -200 | GADAG_Serentica3_W | GADAG_Serentica3_W | 0.81
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -6 | GADAG_Serentica3_W | GADAG_Serentica3_W | 1.32
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | 0 | GADAG_Serentica3_W | GADAG_Serentica3_W | 1.8
|  |  | NBVLIPP | BSPHCL | -43 | GIWEL_SECI_II_RE | GIWEL_SECI_II_RE | 34.3
|  |  | OCL_IRON_STEEL | BRPL | -25 | GPCL_SOLAR_10 | GPCL_SOLAR_10 | 0.98
|  |  | OCL_IRON_STEEL | TPDDL | -33 | GSECL_SOLAR | GSECL_SOLAR | 0.73
|  |  | ODISHA | BYPL | -50 | IRON_TRINGLE_10_MW_SOLAR | IRON_TRINGLE_10_MW_SOLAR | 1.49
|  |  | ODISHA | HARYANA | -50 | KARUR_TPVARDHAMAN_W | KARUR_TPVARDHAMAN_W | 107.88
|  |  | ODISHA | TPL_DIS_AHM | -50 | Kurnool_Greenko_H_Inj | Kurnool_Greenko_H_Inj | 0.09
|  |  | ORSISL | PSPCL | 0 | Kurnool_Greenko_H_Inj | Kurnool_Greenko_H_Inj | 7.18
|  |  | ORSISL | PSPCL | -4 | Kurnool_Greenko_H_Inj | Kurnool_Greenko_H_Inj | 0.18
|  |  | ORSISL | TPL_DIS_AHM | -5 | NTPCRE1_SMND_BHJ2_W | NTPCRE1_SMND_BHJ2_W | 5.24
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | OGH1PL_DAYAPAR_BHJ_W | OGH1PL_DAYAPAR_BHJ_W | 3.22
|  |  | TIMES_STEEL | CSEB_Beneficiary | 0 | OGH1PL_DAYAPAR_BHJ_W | OGH1PL_DAYAPAR_BHJ_W | 7.96
|  |  | TIMES_STEEL | CSEB_Beneficiary | -6 | OGHOPL_AGAR_PCHR_HS | OGHOPL_AGAR_PCHR_HS | 1.93
|  |  | VSL | WBSEDCL | -10 | OGHOPL_AGAR_PCHR_HS | OGHOPL_AGAR_PCHR_HS | 5.35
|  |  | JIPL | ODISHA | 116.15 | OKWPL_RE | OKWPL_RE | 17.17
|  |  | NALCOAP | NACL_Odisha | 36.31 | RGMHS1_TLJPR_SLPR_HW | RGMHS1_TLJPR_SLPR_HW | 27.87
|  |  | TSTPP_I | ODISHA | 0 | RWE_AP2_SECI_III | RWE_AP2_SECI_III | 14.5
[6 empty] | RenewGreen_SLPR_HS | RenewGreen_SLPR_HS | 15.18
[6 empty] | SRI9PL_FTG3 | SRI9PL_FTG3 | 72.1
[6 empty] | SRI9PL_FTG3 | SRI9PL_FTG3 | 10.05
[6 empty] | TSESOPL_BKN2 | TSESOPL_BKN2 | 0.12
[6 empty] | TSESOPL_BKN2 | TSESOPL_BKN2 | 0.14
[6 empty] | Tuticorin_BETAMWIND | Tuticorin_BETAMWIND | 71
[6 empty] | VSUPL_AGAR_PCHR_W | VSUPL_AGAR_PCHR_W | 5.56
[6 empty] | XXPPL_FTG3 | XXPPL_FTG3 | 69.58

## DAM
DAM TRADING DETAILS FOR DT : 26.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | -2.7 | -375 | 0 | -2 | -17 | 0 | 0 | -7
00:15 - 00:30 | -2.7 | -375 | 0 | -2 | -17 | 0 | 0 | -7
00:30 - 00:45 | -2.7 | -375 | 0 | -2 | -17 | 0 | 0 | -7
00:45 - 01:00 | -2.7 | -375 | 0 | -2 | -17 | 0 | 0 | -7
01:00 - 01:15 | -2.7 | -225 | 0 | -2 | -17 | 0 | 0 | -7
01:15 - 01:30 | -2.7 | -225 | 0 | -2 | -17 | 0 | 0 | -7
01:30 - 01:45 | -2.7 | -225 | 0 | -2 | -17 | 0 | 0 | -7
01:45 - 02:00 | -2.7 | -225 | 0 | -2 | -17 | 0 | 0 | -7
02:00 - 02:15 | -2.7 | -150 | 0 | -2 | -17 | 0 | 0 | -7
02:15 - 02:30 | -2.7 | -150 | 0 | -2 | -17 | 0 | 0 | -7
02:30 - 02:45 | -2.7 | -150 | 0 | -2 | -17 | 0 | 0 | -7
02:45 - 03:00 | -2.7 | -150 | 0 | -2 | -17 | 0 | 0 | -7
03:00 - 03:15 | -2.7 | -225 | 0 | -2 | -17 | 0 | 0 | -7
03:15 - 03:30 | -2.7 | -225 | 0 | -2 | -17 | 0 | 0 | -7
03:30 - 03:45 | -2.7 | -225 | 0 | -2 | -17 | 0 | 0 | -7
03:45 - 04:00 | -2.7 | -225 | 0 | -2 | -17 | 0 | 0 | -7
04:00 - 04:15 | -2.7 | -225 | 0 | -2 | -17 | 0 | 0 | -7
04:15 - 04:30 | -2.7 | -225 | 0 | -2 | -17 | 0 | 0 | -7
04:30 - 04:45 | -2.7 | -225 | 0 | -2 | -17 | 0 | 0 | -7
04:45 - 05:00 | -2.7 | -225 | 0 | -2 | -17 | 0 | 0 | -7
05:00 - 05:15 | -2.7 | -325 | 0 | -2 | -43 | 0 | 0 | -7
05:15 - 05:30 | -2.7 | -325 | 0 | -2 | -43 | 0 | 0 | -7
05:30 - 05:45 | -2.7 | -325 | 0 | -2 | -43 | 0 | 0 | -7
05:45 - 06:00 | -2.7 | -325 | 0 | -2 | -43 | 0 | 0 | -7
06:00 - 06:15 | -2.7 | -450 | 0 | -2 | -43 | 0 | -6 | -7
06:15 - 06:30 | -2.7 | -450 | 0 | -2 | -43 | 0 | -6 | -7
06:30 - 06:45 | -2.7 | -450 | 0 | -2 | -43 | 0 | -6 | -7
06:45 - 07:00 | -2.7 | -450 | 0 | -2 | -43 | 0 | -6 | -7
07:00 - 07:15 | -2.7 | -600 | 0 | -2 | -43 | 0 | -6 | -7
07:15 - 07:30 | -2.7 | -600 | 0 | -2 | -43 | 0 | -6 | -7
07:30 - 07:45 | -2.7 | -650 | 0 | -2 | -43 | 0 | -6 | -7
07:45 - 08:00 | -2.7 | -575 | 0 | -2 | -43 | 0 | -6 | -7
08:00 - 08:15 | -2.7 | -950 | 0 | -1 | -43 | 0 | -6 | -7
08:15 - 08:30 | -2.7 | -950 | 0 | -1 | -43 | 0 | -6 | -7
08:30 - 08:45 | -2.7 | -950 | 0 | -1 | -43 | 0 | -6 | -7
08:45 - 09:00 | -2.7 | -950 | 0 | -1 | -43 | 0 | -6 | -7
09:00 - 09:15 | -2.7 | -1300 | 0 | -1 | -43 | 0 | -6 | -7
09:15 - 09:30 | -2.7 | -1300 | 0 | -1 | -43 | 0 | -6 | -7
09:30 - 09:45 | -2.7 | -1300 | 0 | -1 | -43 | 0 | -6 | -7
09:45 - 10:00 | -2.7 | -1300 | 0 | -1 | -43 | 6.78 | -6 | -7
10:00 - 10:15 | -2.7 | -1100 | 0 | -1 | -18 | 6.78 | -6 | -7
10:15 - 10:30 | -2.7 | -1100 | 0 | -1 | -18 | 6.78 | -6 | -7
10:30 - 10:45 | -2.7 | -1100 | 0 | -1 | -18 | 6.78 | -6 | -7
10:45 - 11:00 | -2.7 | -1100 | 0 | -1 | -18 | 6.78 | -6 | -7
11:00 - 11:15 | -2.7 | -1050 | 0 | -1 | -18 | 6.78 | -6 | -7
11:15 - 11:30 | -2.7 | -1050 | 0 | -1 | -18 | 6.78 | -6 | -7
11:30 - 11:45 | -2.7 | -1050 | 0 | -1 | -18 | 6.78 | -6 | -7
11:45 - 12:00 | -2.7 | -1050 | 33.87 | -1 | -18 | 6.78 | -6 | -7
12:00 - 12:15 | -2.7 | -1050 | 33.87 | -1 | -18 | 6.78 | -6 | -7
12:15 - 12:30 | -2.7 | -1050 | 0 | -1 | -18 | 6.78 | -6 | -7
12:30 - 12:45 | -2.7 | -1050 | 0 | -1 | -18 | 6.78 | -6 | -7
12:45 - 13:00 | -2.7 | -963.16 | 0 | -1 | -18 | 6.78 | -6 | -7
13:00 - 13:15 | -2.7 | -754.34 | 0 | -1 | -18 | 6.78 | -6 | -7
13:15 - 13:30 | -2.7 | -794.97 | 0 | -1 | -18 | 6.78 | -6 | -7
13:30 - 13:45 | -2.7 | -1030.71 | 0 | -1 | -18 | 6.78 | -6 | -7
13:45 - 14:00 | -2.7 | -1125 | 0 | -1 | -18 | 6.78 | -6 | -7
14:00 - 14:15 | -2.7 | -1125 | 0 | -1 | -18 | 6.78 | -6 | -7
14:15 - 14:30 | -2.7 | -1125 | 0 | -1 | -18 | 6.78 | -6 | -7
14:30 - 14:45 | -2.7 | -1125 | 0 | -1 | -18 | 6.78 | -6 | -7
14:45 - 15:00 | -2.7 | -1125 | 0 | -1 | -18 | 6.78 | -6 | -7
15:00 - 15:15 | -2.7 | -1300 | 0 | -1 | -43 | 6.78 | -6 | -7
15:15 - 15:30 | -2.7 | -1300 | 0 | -1 | -43 | 0 | -6 | -7
15:30 - 15:45 | -2.7 | -1300 | 0 | -1 | -43 | 0 | -6 | -7
15:45 - 16:00 | -2.7 | -1300 | 0 | -1 | -43 | 0 | -6 | -7
16:00 - 16:15 | -2.7 | -1275 | 0 | -1 | -43 | 0 | -6 | -7
16:15 - 16:30 | -2.7 | -1275 | 0 | -1 | -43 | 0 | -6 | -7
16:30 - 16:45 | -2.7 | -1275 | 0 | -1 | -43 | 0 | -6 | -7
16:45 - 17:00 | -2.7 | -1275 | 0 | -1 | -43 | 0 | -6 | -7
17:00 - 17:15 | -2.7 | -725 | 0 | -2 | -43 | 0 | -6 | -7
17:15 - 17:30 | -2.7 | -725 | 0 | -2 | -43 | 0 | -6 | -7
17:30 - 17:45 | -2.7 | -725 | 0 | -2 | -43 | 0 | -6 | -7
17:45 - 18:00 | -2.7 | -725 | 0 | -2 | -43 | 0 | -6 | -7
18:00 - 18:15 | -2.7 | -350 | 0 | -2 | -43 | 0 | 0 | -7
18:15 - 18:30 | -2.7 | -275 | 0 | -2 | -43 | 0 | 0 | -7
18:30 - 18:45 | -2.7 | -150 | 0 | -2 | -43 | 0 | 0 | -7
18:45 - 19:00 | -2.7 | -100 | 0 | -2 | -43 | 0 | 0 | -7
19:00 - 19:15 | -2.7 | -100 | 0 | -2 | 0 | 0 | 0 | -7
19:15 - 19:30 | -2.7 | -100 | 0 | -2 | 0 | 0 | 0 | -7
19:30 - 19:45 | -2.7 | -100 | 0 | -2 | 0 | 0 | 0 | -7
19:45 - 20:00 | -2.7 | -100 | 0 | -2 | 0 | 0 | 0 | -7
20:00 - 20:15 | -2.7 | -100 | 0 | -2 | 0 | 0 | 0 | -7
20:15 - 20:30 | -2.7 | -100 | 0 | -2 | 0 | 0 | 0 | -7
20:30 - 20:45 | -2.7 | -100 | 0 | -2 | 0 | 0 | 0 | -7
20:45 - 21:00 | -2.7 | -100 | 0 | -2 | 0 | 0 | 0 | -7
21:00 - 21:15 | -2.7 | -100 | 0 | -2 | 0 | 0 | 0 | -7
21:15 - 21:30 | -2.7 | -100 | 0 | -2 | 0 | 0 | 0 | -7
21:30 - 21:45 | -2.7 | -100 | 0 | -2 | 0 | 0 | 0 | -7
21:45 - 22:00 | -2.7 | -100 | 0 | -2 | 0 | 0 | 0 | -7
22:00 - 22:15 | -2.7 | -200 | 0 | -2 | 0 | 0 | 0 | -7
22:15 - 22:30 | -2.7 | -200 | 0 | -2 | 0 | 0 | 0 | -7
22:30 - 22:45 | -2.7 | -200 | 0 | -2 | 0 | 0 | 0 | -7
22:45 - 23:00 | -2.7 | -200 | 0 | -2 | 0 | 0 | 0 | -7
23:00 - 23:15 | -2.7 | -400 | 0 | -2 | 0 | 0 | 0 | -7
23:15 - 23:30 | -2.7 | -400 | 0 | -2 | 0 | 0 | 0 | -7
23:30 - 23:45 | -2.7 | -400 | 0 | -2 | 0 | 0 | 0 | -7
23:45 - 24:00 | -2.7 | -400 | 0 | -2 | 0 | 0 | 0 | -7
Average | -2.7 | -603.3144 | 0.70562 | -1.625 | -23.4167 | 1.5537 | -3 | -7

## GDAM
GDAM TRADING DETAILS FOR DT:26.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | SAIL_R_S_P_Rourkela | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 19.36 | 0 | 0 | 2.71 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 19.36 | 0 | 0 | 6.29 | 0 | 0
08:45 - 09:00 | 0 | 0 | 0 | 19.36 | 0 | 0 | 6.29 | 0 | 0
09:00 - 09:15 | 0 | 0 | 0 | 19.36 | 0 | 0 | 6.29 | 0 | 0
09:15 - 09:30 | 0 | 0 | 0 | 19.36 | 0 | 0 | 6.29 | 0 | 0
09:30 - 09:45 | 0 | 0 | 0 | 19.36 | 0 | 0 | 6.29 | 38.72 | 0
09:45 - 10:00 | 0 | 0 | 0 | 19.36 | 0 | 0 | 6.29 | 38.72 | 0
10:00 - 10:15 | 0 | 0 | 0 | 19.36 | 29.04 | 9.68 | 6.29 | 38.71 | 4.84
10:15 - 10:30 | 0 | 0 | 0 | 19.36 | 30 | 9.68 | 6.29 | 38.72 | 4.84
10:30 - 10:45 | 0 | 0 | 33.88 | 19.36 | 30 | 9.68 | 6.29 | 38.72 | 4.84
10:45 - 11:00 | -3.8 | -0.8 | 0 | 19.36 | 30 | 9.68 | 6.29 | 38.72 | 4.84
11:00 - 11:15 | -4.1 | -1 | 0 | 19.36 | 30 | 9.68 | 6.29 | 38.72 | 4.84
11:15 - 11:30 | -2.2 | 0 | 0 | 19.36 | 30 | 9.68 | 6.29 | 38.72 | 4.84
11:30 - 11:45 | -3.8 | 0 | 0 | 19.36 | 29.04 | 9.68 | 6.29 | 38.71 | 4.84
11:45 - 12:00 | -3.6 | 0 | 0 | 19.36 | 29.04 | 9.68 | 6.29 | 38.71 | 4.84
12:00 - 12:15 | -5.9 | 0 | 0 | 19.36 | 28.07 | 9.68 | 6.29 | 38.71 | 4.84
12:15 - 12:30 | -6 | 0 | 33.88 | 19.36 | 28.07 | 9.68 | 6.29 | 38.71 | 4.84
12:30 - 12:45 | 0 | 0 | 33.88 | 19.36 | 8.71 | 9.68 | 6.29 | 38.71 | 4.84
12:45 - 13:00 | 0 | -0.8 | 33.88 | 19.36 | 7.74 | 9.68 | 6.29 | 38.71 | 4.84
13:00 - 13:15 | 0 | -1.9 | 33.88 | 19.36 | 6.78 | 9.68 | 6.29 | 38.71 | 4.84
13:15 - 13:30 | -1.8 | 0 | 33.88 | 19.36 | 4.84 | 9.68 | 6.29 | 38.71 | 4.84
13:30 - 13:45 | -0.4 | 0 | 33.88 | 19.36 | 3.87 | 9.68 | 6.29 | 38.71 | 4.84
13:45 - 14:00 | 0 | 0 | 33.88 | 19.36 | 2.9 | 9.68 | 6.29 | 38.71 | 4.84
14:00 - 14:15 | 0 | -0.7 | 0 | 19.36 | 1.94 | 9.68 | 6.29 | 38.71 | 4.84
14:15 - 14:30 | 0 | -0.1 | 0 | 19.36 | 1.94 | 9.68 | 6.29 | 38.71 | 4.84
14:30 - 14:45 | 0 | -3.3 | 0 | 19.36 | 1.94 | 9.68 | 6.29 | 38.71 | 4.84
14:45 - 15:00 | 0 | 0 | 0 | 19.36 | 1.94 | 9.68 | 6.29 | 38.71 | 4.84
15:00 - 15:15 | 0 | 0 | 0 | 19.36 | 0 | 0 | 6.29 | 38.72 | 0
15:15 - 15:30 | 0 | 0 | 0 | 19.36 | 0 | 0 | 6.29 | 0 | 0
15:30 - 15:45 | 0 | 0 | 0 | 19.36 | 0 | 0 | 6.29 | 0 | 0
15:45 - 16:00 | 0 | 0 | 0 | 19.36 | 0 | 0 | 6.29 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 14.52 | 33.88 | 0 | 6.29 | 38.71 | 0
16:15 - 16:30 | 0 | 0 | 0 | 14.51 | 1.28 | 0 | 6.29 | 1.35 | 0
16:30 - 16:45 | 0 | 0 | 0 | 14.52 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 14.52 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 14.52 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.32917 | -0.089583 | 2.8233 | 7.0078 | 3.8648 | 2.0167 | 2.1249 | 9.6924 | 1.0083

## RTM
RTM TRADING DETAILS FOR DT: 26.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jagannath_Power_And_Infra_Private_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Paradeep_Phosphates_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -2.8 | 0 | -0.2 | 0 | -6 | 84.66 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -2.8 | 0
00:15 - 00:30 | -2.8 | 0 | -0.2 | 0 | -6 | 103.36 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -2.8 | 0
00:30 - 00:45 | -2.8 | -5 | -0.2 | 0 | -6 | 176.64 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -2.8 | 0
00:45 - 01:00 | -2.8 | 0 | -0.2 | 0 | -6 | 193.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | -5 | 0 | 0 | 0 | -2.8 | 0
01:00 - 01:15 | -2.8 | 0 | -0.2 | 0 | -6 | 169.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | -15 | 0 | 0 | 0 | -2.8 | 0
01:15 - 01:30 | -2.8 | 0 | -0.2 | 0 | -6 | 173.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | -30 | 0 | 0 | 0 | -2.8 | 0
01:30 - 01:45 | -2.8 | 0 | -0.2 | 0 | -6 | 96.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -2.8 | 0
01:45 - 02:00 | -2.8 | 0 | -0.2 | 0 | -6 | 96.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -2.8 | 0
02:00 - 02:15 | -2.8 | 0 | -0.2 | 0 | 0 | 96.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -2.8 | 0
02:15 - 02:30 | -2.8 | -4 | -0.2 | 0 | 0 | 96.79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -2.8 | 0
02:30 - 02:45 | -2.8 | 0 | -0.2 | 0 | 0 | 96.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -2.8 | 0
02:45 - 03:00 | -2.8 | 0 | -0.2 | 0 | 0 | 52.01 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | -25 | 0 | 0 | 0 | -2.8 | 0
03:00 - 03:15 | -2.8 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | -25 | 0 | 0 | 0 | -2.8 | 0
03:15 - 03:30 | -2.8 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -2.8 | 0
03:30 - 03:45 | -2.8 | 0 | -0.2 | 0 | 0 | 261.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -2.8 | 0
03:45 - 04:00 | -2.8 | 0 | -0.2 | 0 | 0 | 290.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -2.8 | 0
04:00 - 04:15 | -2.8 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -2.8 | 0
04:15 - 04:30 | -2.8 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -2.8 | 0
04:30 - 04:45 | -2.8 | 0 | -0.2 | 0 | 0 | 151.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | -25 | 0 | 0 | 0 | -2.8 | 0
04:45 - 05:00 | -2.8 | 0 | -0.2 | 0 | 0 | 145.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -2.8 | 0
05:00 - 05:15 | -2.8 | -5 | -0.2 | 0 | -6 | 79.06 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -7 | 0 | 0 | 0 | 0 | -2.8 | -10
05:15 - 05:30 | -2.8 | 0 | -0.2 | 0 | -6 | 72.15 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -7 | -15 | 0 | 0 | 0 | -2.8 | -10
05:30 - 05:45 | -2.8 | 0 | -0.8 | 0 | -6 | 89.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -7 | -28 | 0 | 0 | 0 | -2.8 | -10
05:45 - 06:00 | -2.8 | 0 | -0.8 | 0 | -6 | 35.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -7 | -20 | 0 | 0 | 0 | -2.8 | -10
06:00 - 06:15 | -2.8 | -6 | -0.8 | 0 | -6 | 28.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -7 | 0 | 0 | 0 | 0 | -2.8 | -10
06:15 - 06:30 | -2.8 | -6 | -0.8 | 0 | -6 | 22.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.2 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -7 | 0 | 0 | 0 | 0 | -2.8 | -10
06:30 - 06:45 | -2.8 | -8 | -0.8 | 0 | -6 | 35.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.5 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -7 | 0 | 0 | 0 | 0 | -2.8 | -10
06:45 - 07:00 | -2.8 | -6 | -0.8 | 0 | -6 | 49.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.8 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -7 | 0 | 0 | 0 | 0 | -2.8 | -10
07:00 - 07:15 | -2.8 | -6 | -0.4 | 0 | -6 | 120.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1.1 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | -30 | 0 | 0 | 0 | -2.8 | -10
07:15 - 07:30 | -2.8 | -6 | -0.4 | 0 | -6 | 108.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1.3 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7 | -20 | 0 | 0 | 0 | -2.8 | -10
07:30 - 07:45 | -2.8 | -6 | -0.4 | 0 | -6 | 183 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1.5 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -12 | 0 | 0 | 0 | 0 | -2.8 | -10
07:45 - 08:00 | -2.8 | -2 | -0.4 | 0 | -6 | 96.8 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1.8 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -12 | 0 | 0 | 0 | 0 | -2.8 | -10
08:00 - 08:15 | -2.8 | -17 | -0.4 | 0 | 0 | 537.72 | 10.65 | 0 | 0 | -0.1 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | -2 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -12 | 0 | 9.2 | 0 | 0 | -2.8 | -10
08:15 - 08:30 | -2.8 | -3 | -0.4 | 0 | 0 | 536.57 | 10.65 | 0 | 0 | -0.2 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | -2.2 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -12 | 0 | 9.2 | 0 | 0 | -2.8 | -10
08:30 - 08:45 | -2.8 | -3 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | -1.5 | 0 | 0 | -2.6 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -7 | -30 | 0 | 0 | 0 | -2.8 | -10
08:45 - 09:00 | -2.8 | -3 | -0.4 | 0 | 0 | 4.89 | 10.63 | 0 | 0 | -0.1 | 0 | 0 | 0 | -1.5 | 0 | 0 | -2.6 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -7 | -30 | 9.2 | 0 | 0 | -2.8 | -10
09:00 - 09:15 | -2.8 | -3 | -0.4 | 0 | 0 | 203.17 | 10.65 | 0 | 0 | -0.4 | 0 | 0 | 0 | -1.5 | 0 | 0 | -2.6 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -7 | -10 | 9.2 | 0 | 0 | -1.5 | 0
09:15 - 09:30 | -2.8 | -8 | -0.4 | 0 | 0 | 11.71 | 10.65 | 0 | 0 | -0.3 | 0 | 0 | 0 | -1.5 | 0 | 0 | -3.1 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -7 | 0 | 9.2 | 0 | 0 | -1.5 | 0
09:30 - 09:45 | -2.8 | -8 | -0.4 | 2.42 | 0 | -164.7 | 10.64 | 0 | 0 | -0.5 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | -3.2 | 0 | 0 | 0 | -5 | 5.81 | 2.9 | 6.78 | 0 | 0 | -7 | 0 | 9.2 | 0 | 0 | -1.5 | 0
09:45 - 10:00 | -2.8 | -3 | -0.4 | 2.42 | 0 | -219.97 | 10.65 | 0 | 0 | -0.8 | 9.68 | 0 | 8.71 | -1.5 | 0 | 0 | -0.5 | 0 | 0 | 5.81 | -5 | 5.81 | 2.9 | 6.78 | 0 | 0 | -7 | -30 | 9.2 | 29.03 | 0.48 | -1.5 | 0
10:00 - 10:15 | -2.3 | -3 | -0.4 | 2.42 | 0 | -510.6 | 10.65 | 0 | 0 | -0.9 | 0 | 0 | 8.71 | -1.5 | -15 | 0 | 4.65 | 0 | 0 | 5.81 | -5 | 5.81 | 2.9 | 6.78 | 0 | 0 | -7 | 0 | 9.2 | 29.02 | 0.48 | -1.5 | 0
10:15 - 10:30 | -2.3 | -3 | -0.4 | 2.42 | 0 | -235.5 | 10.65 | 0 | 0 | -1.1 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 4.07 | 0 | 0 | 5.81 | -5 | 5.81 | 2.9 | 6.78 | 0 | 0 | -7 | -30 | 9.2 | 29.02 | 0.48 | -1.5 | 0
10:30 - 10:45 | -2.3 | -3 | -0.2 | 2.42 | 0 | -355.63 | 10.65 | 0 | 0 | -0.7 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 4.16 | 0 | -2.5 | 5.81 | -5 | 5.81 | 2.9 | 6.78 | -2 | 0 | -7 | -10 | 9.2 | 29.03 | 0.48 | -1.5 | 0
10:45 - 11:00 | -2.3 | -3 | -0.2 | 2.42 | 0 | -355.3 | 10.65 | 0 | 0 | -0.7 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 4.07 | 0 | -2.5 | 5.81 | -5 | 5.81 | 2.9 | 6.78 | -2 | 0 | -7 | 0 | 9.2 | 29.02 | 0.48 | -1.5 | 0
11:00 - 11:15 | -2.3 | -17 | -0.4 | 2.42 | 0 | -370.3 | 10.65 | -5 | 0 | -1.1 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 3.87 | 0 | -2.5 | 5.81 | 0 | 0 | 2.9 | 6.78 | -2 | 0 | -10 | -10 | 9.2 | 38.71 | 0.48 | -1.5 | -10
11:15 - 11:30 | -2.3 | -3 | -0.4 | 2.42 | 0 | -265.02 | 10.65 | -6 | 0 | -1.5 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 3.87 | 0 | -2.5 | 5.81 | 0 | 0 | 2.9 | 6.78 | -2 | 0 | -10 | -30 | 9.2 | 38.71 | 0.48 | -1.5 | -10
11:30 - 11:45 | -2.3 | -3 | -0.4 | 3.39 | 0 | 25.08 | 10.65 | 0 | 0 | -1.7 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 3.87 | 0 | -2.5 | 8.71 | 0 | 0 | 2.9 | 6.78 | -4 | 0 | -10 | -30 | 9.2 | 48.39 | 0.48 | -1.5 | 0
11:45 - 12:00 | -2.3 | -3 | -0.4 | 3.39 | 0 | 19.34 | 10.65 | 0 | 0 | -1.8 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 4.07 | 0 | -2.5 | 8.71 | 0 | 0 | 2.9 | 6.78 | -4 | 0 | -10 | -30 | 9.2 | 48.38 | 0.48 | -1.5 | 0
12:00 - 12:15 | -2.3 | -20 | -0.4 | 3.87 | 0 | 14.48 | 10.65 | 0 | 0 | -1.9 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 4.07 | 0 | -4 | 8.71 | 0 | 0 | 2.9 | 6.78 | -7 | 0 | -10 | -20 | 9.2 | 48.39 | 0.48 | -1.5 | 0
12:15 - 12:30 | -2.3 | -20 | -0.4 | 3.87 | 0 | 14.43 | 10.65 | 0 | 0 | -2 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 4.07 | 0 | -4 | 8.71 | 0 | 0 | 2.9 | 6.78 | -7 | 0 | -10 | -20 | 9.2 | 48.39 | 0.48 | -1.5 | 0
12:30 - 12:45 | -2.3 | -20 | -0.4 | 3.87 | 0 | 48.4 | 10.65 | 0 | 0 | -1.9 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 4.16 | 0 | -4 | 8.71 | 0 | 4.84 | 2.9 | 6.78 | -7 | 0 | -10 | -20 | 9.2 | 48.39 | 0.48 | -1.5 | 0
12:45 - 13:00 | -2.3 | -20 | -0.4 | 3.87 | 0 | 28.44 | 10.65 | 0 | 0 | -1.7 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 4.26 | 0 | -4 | 8.71 | 0 | 4.84 | 2.9 | 6.78 | -7 | 0 | -10 | 0 | 9.2 | 48.39 | 0.48 | -1.5 | 0
13:00 - 13:15 | -2.3 | -12 | -0.8 | 3.87 | 0 | 0 | 10.65 | 0 | 0 | -1.6 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 4.36 | 0 | -4 | 8.71 | 0 | 4.84 | 2.9 | 6.78 | -4 | 0 | -10 | 0 | 9.2 | 48.39 | 0.48 | -1.5 | 0
13:15 - 13:30 | -2.3 | -3 | -0.8 | 3.87 | 0 | 91.79 | 10.65 | 0 | 0 | -1.5 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 4.36 | 0 | -4 | 8.71 | 0 | 4.84 | 2.9 | 6.78 | -4 | 0 | -10 | 0 | 9.2 | 48.4 | 0.48 | -1.5 | 0
13:30 - 13:45 | -2.3 | -3 | -0.8 | 3.87 | 0 | 277.16 | 10.65 | 0 | 0 | -1.4 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 4.26 | 0 | -4 | 8.71 | 4.84 | 4.84 | 2.9 | 6.78 | -4 | 0 | -10 | -30 | 9.2 | 43.56 | 0.48 | -1.5 | 0
13:45 - 14:00 | -2.3 | -3 | -0.8 | 3.87 | 0 | 260.73 | 10.65 | 0 | 0 | -1.2 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 4.36 | 0 | -4 | 5.81 | 4.84 | 4.84 | 2.9 | 6.78 | -4 | 0 | -10 | -30 | 9.2 | 43.56 | 0.48 | -1.5 | 0
14:00 - 14:15 | -2.3 | -3 | -0.8 | 3.87 | 0 | 239.51 | 10.65 | 0 | 0 | -1 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | -0.7 | 0 | -4 | 5.81 | 4.84 | 4.84 | 2.9 | 6.78 | -3 | 0 | -10 | 0 | 9.2 | 43.56 | 0.48 | -1.5 | 0
14:15 - 14:30 | -2.3 | -3 | -0.8 | 3.87 | 0 | 87.07 | 10.65 | 0 | 0 | -0.8 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | -3.1 | 0 | -4 | 5.81 | 4.84 | 4.84 | 2.9 | 6.78 | -3 | 0 | -10 | -30 | 9.2 | 43.56 | 0.48 | -1.5 | 0
14:30 - 14:45 | -2.3 | -3 | -0.8 | 3.87 | 0 | 190.58 | 10.65 | 0 | 0 | -0.6 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | -2.8 | 0 | -4 | 5.81 | 0 | 4.84 | 2.9 | 6.78 | -3 | 0 | -10 | 0 | 9.2 | 43.56 | 0 | -1.5 | 0
14:45 - 15:00 | -2.3 | -3 | -0.8 | 3.87 | 0 | 190.46 | 10.65 | 0 | 0 | -0.4 | 0 | 0 | 8.71 | -1.5 | -15 | 0 | -2.7 | 0 | -4 | 5.81 | 0 | 4.84 | 2.9 | 6.78 | -3 | 0 | -10 | 0 | 9.2 | 43.56 | 0 | -1.5 | 0
15:00 - 15:15 | -2.3 | -3 | -0.8 | 3.87 | 0 | 108.06 | 10.65 | 0 | 0 | -0.3 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | -2.5 | 0 | -4 | 0 | 0 | 4.84 | 2.9 | 6.78 | -3 | 0 | -15 | 0 | 9.2 | 0 | 0 | -1.5 | 0
15:15 - 15:30 | -2.3 | -3 | -0.8 | 3.87 | 0 | 106.45 | 10.65 | 0 | 0 | -0.2 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | -2.5 | 0 | -4 | 0 | 0 | 4.84 | 2.9 | 6.78 | -3 | 0 | -15 | -20 | 9.2 | 0 | 0 | -1.5 | 0
15:30 - 15:45 | -2.3 | -4 | -0.8 | 3.87 | 0 | 101.79 | 10.65 | 0 | 0 | -0.2 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | -2.3 | 0 | -4 | 0 | 0 | 4.84 | 0 | 0 | -3 | -3 | -20 | 0 | 9.2 | 0 | 0 | -1.5 | 0
15:45 - 16:00 | -2.3 | -4 | -0.8 | 3.87 | 0 | 98.41 | 10.65 | 0 | 0 | -0.2 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | -2 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -3 | -3 | -20 | 0 | 9.2 | 0 | 0 | -1.5 | 0
16:00 - 16:15 | -2.3 | -4 | -0.8 | 3.87 | 0 | 96.17 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1.7 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -3 | -3 | -20 | 0 | 0 | 0 | 0 | -1.5 | 0
16:15 - 16:30 | -2.3 | -20 | -0.8 | 3.87 | 0 | 96.86 | 10.65 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1.6 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -3 | -3 | -20 | -15 | 9.2 | 0 | 0 | -1.5 | 0
16:30 - 16:45 | -2.3 | -4 | -0.8 | 3.87 | 0 | 198.49 | 10.65 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1.1 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -3 | -3 | -20 | 0 | 9.2 | 0 | 0 | -1.5 | -10
16:45 - 17:00 | -2.3 | -4 | -0.8 | 3.87 | 0 | 203.05 | 10.65 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 19.36 | -0.7 | 0 | -4 | 12.58 | 0 | 0 | 0 | 0 | -3 | -3 | -20 | 0 | 9.2 | 0 | 0 | -1.5 | -10
17:00 - 17:15 | -2.3 | -4 | -0.2 | 0 | 0 | -65.08 | 10.65 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 19.35 | -0.5 | 0 | -4 | 12.58 | 0 | 0 | 0 | 0 | -3 | -3 | -20 | -10 | 9.2 | 0 | 0 | -4 | -10
17:15 - 17:30 | -2.3 | -4 | -0.2 | 0 | 0 | -24.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.2 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -3 | -3 | -20 | -10 | 0 | 0 | 0 | -4 | -10
17:30 - 17:45 | -2.3 | -4 | -0.2 | 0 | 0 | -50.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -3 | -3 | -20 | 0 | 0 | 0 | 0 | -4 | -10
17:45 - 18:00 | -2.3 | -22 | -0.2 | 0 | 0 | 178.18 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -3 | -3 | -20 | 0 | 0 | 0 | 0 | -4 | -10
18:00 - 18:15 | -2.3 | 0 | -0.2 | 0 | -6 | 86.12 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -5 | -3 | -20 | 0 | 0 | 0 | 0 | -4 | -10
18:15 - 18:30 | -2.3 | 0 | -0.2 | 0 | -6 | 0.06 | 0 | 0 | -200 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -5 | -3 | -20 | 0 | 0 | 0 | 0 | -4 | -10
18:30 - 18:45 | -2.3 | 0 | -0.2 | 0 | -6 | -25 | 0 | 0 | -150 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -2 | -3 | -20 | -5 | 0 | 0 | 0 | -4 | -10
18:45 - 19:00 | -2.3 | 0 | -0.2 | 0 | -6 | -25 | 0 | 0 | -100 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -2 | -3 | -20 | -25 | 0 | 0 | 0 | -4 | -10
19:00 - 19:15 | -2.3 | 0 | -0.2 | 0 | -6 | -25 | 0 | 0 | -80 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | -20 | 0 | 0 | 0 | -4 | -1
19:15 - 19:30 | -2.3 | -4 | -0.2 | 0 | -6 | -25 | 0 | 0 | -80 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 0 | -4 | -1
19:30 - 19:45 | -2.3 | 0 | -0.2 | 0 | -6 | -25 | 0 | 0 | -80 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | -10 | 0 | 0 | 0 | -4 | -1
19:45 - 20:00 | -2.3 | 0 | -0.2 | 0 | -6 | -25 | 0 | 0 | -80 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 0 | -4 | -1
20:00 - 20:15 | -2.3 | 0 | -0.2 | 0 | -6 | 0 | 0 | 0 | -120 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 0 | -4 | -1
20:15 - 20:30 | -2.3 | 0 | -0.2 | 0 | -6 | 0 | 0 | 0 | -120 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | -5 | 0 | 0 | 0 | -4 | -1
20:30 - 20:45 | -2.3 | 0 | -0.2 | 0 | -6 | 5.66 | 0 | 0 | -120 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | -4 | 0 | 0 | 0 | -4 | -1
20:45 - 21:00 | -2.3 | 0 | -0.2 | 0 | -6 | 5.85 | 0 | 0 | -120 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 0 | -4 | -1
21:00 - 21:15 | -2.3 | -4 | -0.2 | 0 | -6 | 21.1 | 0 | 0 | -120 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 0 | -4 | -1
21:15 - 21:30 | -2.3 | 0 | -0.2 | 0 | -6 | 21.79 | 0 | 0 | -120 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | -5 | 0 | 0 | 0 | -4 | -1
21:30 - 21:45 | -2.3 | 0 | -0.8 | 0 | -6 | 23.38 | 0 | 0 | -130 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 0 | -4 | -1
21:45 - 22:00 | -2.3 | 0 | -0.8 | 0 | -6 | 25.04 | 0 | 0 | -130 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 0 | -4 | -1
22:00 - 22:15 | -2.3 | 0 | -0.8 | 0 | -6 | 33.16 | 0 | 0 | -180 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | -22 | 0 | 0 | 0 | -4 | -1
22:15 - 22:30 | -2.3 | 0 | -0.8 | 0 | -6 | 35.95 | 0 | 0 | -180 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | -8 | 0 | 0 | 0 | -4 | -1
22:30 - 22:45 | -2.3 | 0 | -0.2 | 0 | -6 | 46.16 | 0 | 0 | -180 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 0 | -4 | -1
22:45 - 23:00 | -2.3 | 0 | -0.2 | 0 | -6 | 45.55 | 0 | 0 | -180 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 0 | -4 | -1
23:00 - 23:15 | -2.3 | 0 | -0.2 | 0 | -6 | 44.64 | 0 | 0 | -210 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 0 | -4 | -1
23:15 - 23:30 | -2.3 | 0 | -0.2 | 0 | -6 | 51.8 | 0 | 0 | -210 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -20 | 0 | 0 | 0 | 0 | -4 | -1
23:30 - 23:45 | -2.3 | 0 | -0.2 | 0 | -6 | 110.19 | 0 | 0 | -210 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | -3 | -20 | -25 | 0 | 0 | 0 | -4 | -1
23:45 - 24:00 | -2.3 | 0 | -0.2 | 0 | -6 | 129.5 | 0 | 0 | -210 | 0 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -4 | -3 | -20 | -20 | 0 | 0 | 0 | -4 | -1
Average | -2.5083 | -3.6146 | -0.40833 | 1.0785 | -2.75 | 53.0667 | 3.8825 | -0.11458 | -39.4792 | -0.30312 | 0.10083 | -0.80208 | 2.5404 | -1.5 | -0.3125 | 0.40323 | 0.16802 | -0.66667 | -1.9062 | 1.8049 | -0.5275 | 1.0185 | 0.725 | 1.695 | -2.0625 | -1.0625 | -15.1875 | -8.6667 | 3.3542 | 9.0731 | 0.095 | -2.7167 | -3.125