## POWER STATUS
POWER STATUS ON DT 28.08.2026
[9 empty] | 2026-08-28 | 2026-08-27
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5738.0514 | 6388.735
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 234.42 | 5.6261 | 630/590 ft | 622.39 | 623.97 | 624.23 | 237.5491 | 236.6578
| Chiplima | 72(3x24) | 58.58 | 1.4059 | - |  |  |  | 40.5272 | 39.4488
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1477.9 | 1472.6 | 1473.3 | 0 | 0
| Rengali | 250(5x50) | 229.12 | 5.4989 | 123.5/109.75 mt | 122.34 | 122.18 | 121.86 | 228.67 | 228.7729
| Upper Kolab | 320(4x80) | 46.71 | 1.121 | 858/844 mt | 854.89 | 851.92 | 851.98 | -8.0491e-16 | 96.6391
| Upper Indravati | 600(4x150) | 205.73 | 4.9375 | 642/625 mt | 636.45 | 638.81 | 639 | 0.29436 | 589.6633
| Machkund | 60(50% of(3x17+3x23)) | 14.83 | 0.35592 | 2750/2685 ft | 2748.5 | 2729 | 2729.55 | 17.0426 | 14.6107
| Total Hydro | 2099.5 | 789.39 | 18.9454 |  |  |  |  | 524.0833 | 1205.7927
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1660.86 | 39.8606 | RENEWABLE ENERGY (RE) |  |  |  | 1716 | 1701
[5 empty] | M.Hydl | 121.11
| Total Thermal | 2200 | 1660.86 | 39.8606 | Solar | 71.44 |  |  | 1716 | 1701
IPP | VEDANTA #2 | 600 (1x600) | 397.3046 | 9.5353 | Total IPPs | Yesterday's Demand Profile |  |  | 400.7024 | 515.2346
| GMR #3 | 350 (1x350) | 311.1534 | 7.4677 | 803.322 |  | MW | HRS | 312.8094 | 325.2653
| NBVL(IPP) | 60(1x60) | 50.157 | 1.2038 |  |  |  |  | 44.2552 | 53.7833
| MDTPC |  | 44.7069 | 1.073 |  |  |  |  | 28.8794 | 54.4062
| CGPs |  | 861.0627 | 20.6655 | IPPs, CGPs & RE | Maximum | 6388 | 23:00 | 1693.2688 | 2304.861
| Central Sector(Drawl) |  | 1511.6281 | 36.2791 | 1856.9347 | Minimum | 5213 | 06:00 | 1804.6994 | 1177.0814
| Central Sector(Sch) |  | 1577.2905 | 37.855 |  | Average | 5818.8128 |  | 2079.5 | 1268.41
| Grand Total |  | 5818.8128 | 139.6515 | Instantaneous Peak demand |  | 6591.0127 | 46260.7868 | 5738.0514 | 6388.735
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1735.4431 | 41.6506 | 1740.8531 | 41.7805 | 1680.8263 | 40.3398
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1837.8225 | 44.1077 | 1810.0501 | 43.4412 | 1762.1499 | 42.2916
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1347.9395 | 32.3505 | 1388.9277 | 33.3343 | 1250.2201 | 30.0053
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 613.5263 | 14.7246 | 610.4755 | 14.6514 | 613.559 | 14.7254
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5534.7314 | 132.8336 | 5550.3064 | 133.2074 | 5306.7553 | 127.3621
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | 3
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 401 | GMR |  |  |  | 313
| NBVL #3 | 44 | MDTPC |  |  |  | 29
Mini Hydel: | MEENAKSHI | 40 | OPCL |  |  |  | 0
| BTPL | 28 | SAPTADHARA |  |  |  | 20
Solar: |  | 108 | KAKATIYA |  |  |  | 5
CGPs : | JSPL (Angul) | 140.1092 | JSL(Duburi) |  |  |  | -183.8068
| ICCL | 48.3685 | visa |  |  |  | 11.1731
| NALCO | -142.0131 | VAL (CGP) |  |  |  | 204.4412
| RSP | -230.4779 | BSL(MMDL) |  |  |  | 35.6278
| INDAL | 5.3153 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -31.6531 | VAL CPP 400 kV |  |  |  | -505.4737
| NBVL | 44.5354 | Arati |  |  |  | -5.4123e-16
| BPSL(JSG) | -106.7949 | BPPL |  |  |  | 62.8428
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-20 | 2026-08-21 | 2026-08-22 | 2026-08-23 | 2026-08-24 | 2026-08-25 | 2026-08-26 | 2026-08-27
764.7309 | 744.734 | 611.49 | 579.28 | 683.9104 | 688.7883 | 689.12 | 789.39
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.27.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | -4.75 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0.94
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AGE26AL_PSS6_KPS1_S | ODISHA | 131.69
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | 0 | AP41PL_BHDL | ODISHA | 60.88
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | 0 | AP43PL_BKN | ODISHA | 89
JPIPL | NPCL_UP | -14 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 3
JSPLANGUL | GEB_Beneficiary | -52 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 18.16
JSPLANGUL | RUVITSL | -43.75 | DCBL_Rajgangpur | DALCEMAP | -2.38 | AWEK1L | ODISHA | 12.1
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | DALCEMAP | -2 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.15
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCBLME | -6 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 32.92
ODISHA | CESC | -33.33 | DCBL_Rajgangpur | DCL_RCW | -3.58 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 9.56
VSL | CR_IR_MS | -10 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -4.75 | DADRI_SOLAR | ODISHA | 0.37
FARIDABAD_SOLAR | ODISHA | 0.86 | DCBL_Rajgangpur | DalmiaCementNEL2 | -1 | ENERSON_SOLAR_10MW | ODISHA | 0
JSWEL_UTKAL | ODISHA | 15.8 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | GADAG_GreenInfra_W | ODISHA | 0.86
RAJ_SOLAR | ODISHA | 2.72 | FACORPOWER | PSPCL | -14.17 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.6 | FACORPOWER | PSPCL | -1.46 | GADAG_GreenInfra_W | ODISHA | 0
|  |  | FACORPOWER | PSPCL | -5.83 | GADAG_Serentica3_S | VLSEZ | 30.86
|  |  | FACORPOWER | PSPCL | -3.54 | GADAG_Serentica3_W | VLSEZ | 6.15
|  |  | JSPLANGUL | RUVITSL | -106.25 | GADAG_Serentica3_W | VLSEZ | 89.94
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_Serentica3_W | VLSEZ | 2.64
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GIWEL_SECI_II_RE | ODISHA | 50.11
|  |  | NBVLIPP | BSPHCL | -14.38 | GPCL_SOLAR_10 | ODISHA | 0.89
|  |  | OCL_IRON_STEEL | BRPL | -25 | GSECL_SOLAR | ODISHA | 0.84
|  |  | OCL_IRON_STEEL | TPDDL | -33 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.24
|  |  | ODISHA | BYPL | -29.17 | KARUR_TPVARDHAMAN_W | TSKPO | 107.77
|  |  | ODISHA | TPL_DIS_AHM | -29.17 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.04
|  |  | ORSISL | PSPCL | -1.17 | Kurnool_Greenko_H_Inj | ADITYAAL | 4.62
|  |  | ORSISL | PSPCL | -2.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.08
|  |  | ORSISL | TPL_DIS_AHM | -2.92 | NTPCRE1_SMND_BHJ2_W | ODISHA | 6.52
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 2.83
|  |  | RSPL_JHARSUGUDA | TPL_DIS_AHM | -2.92 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 10.85
|  |  | SMEL | TPL_DIS_AHM | -8.75 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 10
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | OKWPL_RE | ODISHA | 23.33
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 25.22
|  |  | VIRAJ_SEPL | TPL_DIS_AHM | -5.83 | RWE_AP2_SECI_III | ODISHA | 20.4
|  |  | VSL | WBSEDCL | -4.17 | RenewGreen_SLPR_HS | JSL_DUBURI | 15.88
|  |  | JIPL | ODISHA | 116.15 | SRI9PL_FTG3 | VLSEZ | 83.29
|  |  | NALCOAP | NACL_Odisha | 26.18 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.13
|  |  | North_Karanpura_STPS | ODISHA | 37.58 | TSESOPL_BKN2 | OPL_CUTTAK | 0.15
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 71.14
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 6.44
[6 empty] | XXPPL_FTG3 | ODISHA | 67.97

## DAM
DAM TRADING DETAILS FOR DT : 27.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -2.7 | 0 | 0 | -100 | -2 | -17 | 0 | 0 | 0
00:15 - 00:30 | -2.7 | 0 | 0 | -100 | -2 | -17 | 0 | 0 | 0
00:30 - 00:45 | -2.7 | 0 | 0 | -50 | -2 | -17 | 0 | 0 | 0
00:45 - 01:00 | -2.7 | 0 | 0 | -50 | -2 | -17 | 0 | 0 | 0
01:00 - 01:15 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0 | 0
01:15 - 01:30 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0 | 0
01:30 - 01:45 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0 | 0
01:45 - 02:00 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0 | 0
02:00 - 02:15 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0 | 0
02:15 - 02:30 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0 | 0
02:30 - 02:45 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0 | 0
02:45 - 03:00 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0 | 0
03:00 - 03:15 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0 | 0
03:15 - 03:30 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0 | 0
03:30 - 03:45 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0 | 0
03:45 - 04:00 | -2.7 | 0 | 0 | 0 | -2 | -17 | 0 | 0 | 0
04:00 - 04:15 | -2.7 | -75 | 0 | 0 | -2 | -17 | 0 | 0 | 0
04:15 - 04:30 | -2.7 | -75 | 0 | 0 | -2 | -17 | 0 | 0 | 0
04:30 - 04:45 | -2.7 | -75 | 0 | 0 | -2 | -17 | 0 | 0 | 0
04:45 - 05:00 | -2.7 | -75 | 0 | 0 | -2 | -17 | 0 | 0 | 0
05:00 - 05:15 | -2.7 | -75 | 0 | 0 | -2 | -43 | 0 | 0 | 0
05:15 - 05:30 | -2.7 | -75 | 0 | 0 | -2 | -43 | 0 | 0 | 0
05:30 - 05:45 | -2.7 | -75 | 0 | 0 | -2 | -43 | 0 | 0 | 0
05:45 - 06:00 | -2.7 | -75 | 0 | 0 | -2 | -43 | 0 | 0 | 0
06:00 - 06:15 | -2.7 | -250 | 0 | 0 | -2 | -43 | 0 | 0 | -6
06:15 - 06:30 | -2.7 | -250 | 0 | 0 | -2 | -43 | 0 | 0 | -6
06:30 - 06:45 | -2.7 | -250 | 0 | 0 | -2 | -43 | 0 | 0 | -6
06:45 - 07:00 | -2.7 | -250 | 0 | 0 | -2 | -43 | 0 | 0 | -6
07:00 - 07:15 | -2.7 | -575 | 0 | 0 | -2 | -43 | 0 | 0 | -6
07:15 - 07:30 | -2.7 | -575 | 0 | 0 | -2 | -43 | 0 | 0 | -6
07:30 - 07:45 | -2.7 | -575 | 0 | 0 | -2 | -43 | 0 | 0 | -6
07:45 - 08:00 | -2.7 | -575 | 0 | 0 | -2 | -43 | 0 | 0 | -6
08:00 - 08:15 | -2.7 | -825 | 0 | 0 | -2 | -43 | 0 | 0 | -6
08:15 - 08:30 | -2.7 | -825 | 0 | 0 | -2 | -43 | 0 | 0 | -6
08:30 - 08:45 | -2.7 | -825 | 0 | 0 | -2 | -43 | 0 | 0 | -6
08:45 - 09:00 | -2.7 | -825 | 0 | 0 | -2 | -43 | 0 | 0 | -6
09:00 - 09:15 | -2.7 | -1150 | 0 | 0 | -2 | -43 | 0 | 0 | -6
09:15 - 09:30 | -2.7 | -1117.15 | 0 | 0 | -2 | -43 | 0 | 0 | -6
09:30 - 09:45 | -2.7 | -1100 | 0 | 0 | -2 | -43 | 0 | 0 | -6
09:45 - 10:00 | -2.7 | -1100 | 0 | 0 | -2 | -43 | 0 | 0 | -6
10:00 - 10:15 | -2.7 | -980.22 | 0 | 0 | -1 | -18 | 7.74 | 0 | -6
10:15 - 10:30 | -2.7 | -900 | 0 | 0 | -1 | -18 | 7.74 | 0 | -6
10:30 - 10:45 | -2.7 | -900 | 33.88 | 0 | -1 | -18 | 7.74 | 0 | -6
10:45 - 11:00 | -2.7 | -900 | 0 | 0 | -1 | -18 | 7.74 | 0 | -6
11:00 - 11:15 | -2.7 | -1000 | 0 | 0 | -1 | -18 | 7.74 | 0 | -6
11:15 - 11:30 | -2.7 | -1000 | 0 | 0 | -1 | -18 | 7.74 | 0 | -6
11:30 - 11:45 | -2.7 | -1000 | 33.88 | 0 | -1 | -18 | 7.74 | 0 | -6
11:45 - 12:00 | -2.7 | -999.46 | 33.88 | 0 | -1 | -18 | 7.74 | 0 | -6
12:00 - 12:15 | -2.7 | -907.35 | 33.88 | 0 | -1 | -18 | 7.74 | 0 | -6
12:15 - 12:30 | -2.7 | -922.1 | 33.88 | 0 | -1 | -18 | 7.74 | 0 | -6
12:30 - 12:45 | -2.7 | -793 | 33.88 | 0 | -1 | -18 | 7.74 | 0 | -6
12:45 - 13:00 | -2.7 | -667.96 | 33.88 | 0 | -1 | -18 | 7.74 | 0 | -6
13:00 - 13:15 | -2.7 | -666.64 | 33.88 | 0 | -1 | -18 | 7.74 | 0 | -6
13:15 - 13:30 | -2.7 | -667.66 | 33.88 | 0 | -1 | -18 | 7.74 | 0 | -6
13:30 - 13:45 | -2.7 | -939.1 | 33.88 | 0 | -1 | -18 | 7.74 | 0 | -6
13:45 - 14:00 | -2.7 | -1025 | 33.88 | 0 | -1 | -18 | 7.74 | 0 | -6
14:00 - 14:15 | -2.7 | -900 | 33.88 | 0 | -1 | -18 | 7.74 | 0 | -6
14:15 - 14:30 | -2.7 | -900 | 33.88 | 0 | -1 | -18 | 7.74 | 0 | -6
14:30 - 14:45 | -2.7 | -900 | 0 | 0 | -1 | -18 | 7.74 | 0 | -6
14:45 - 15:00 | -2.7 | -900 | 0 | 0 | -1 | -18 | 7.74 | 0 | -6
15:00 - 15:15 | -2.7 | -1082.03 | 0 | 0 | -2 | -43 | 7.74 | 9.3 | -6
15:15 - 15:30 | -2.7 | -1100 | 0 | 0 | -2 | -43 | 0 | 0 | -6
15:30 - 15:45 | -2.7 | -1100 | 0 | 0 | -2 | -43 | 0 | 0 | -6
15:45 - 16:00 | -2.7 | -1100 | 0 | 0 | -2 | -43 | 0 | 0 | -6
16:00 - 16:15 | -2.7 | -1000 | 0 | 0 | -2 | -43 | 0 | 0 | -6
16:15 - 16:30 | -2.7 | -1000 | 0 | 0 | -2 | -43 | 0 | 0 | -6
16:30 - 16:45 | -2.7 | -1000 | 0 | 0 | -2 | -43 | 0 | 0 | -6
16:45 - 17:00 | -2.7 | -1000 | 0 | 0 | -2 | -43 | 0 | 0 | -6
17:00 - 17:15 | -2.7 | -600 | 0 | 0 | -2 | -43 | 0 | 0 | -6
17:15 - 17:30 | -2.7 | -600 | 0 | 0 | -2 | -43 | 0 | 0 | -6
17:30 - 17:45 | -2.7 | -600 | 0 | 0 | -2 | -43 | 0 | 0 | -6
17:45 - 18:00 | -2.7 | -600 | 0 | 0 | -2 | -43 | 0 | 0 | -6
18:00 - 18:15 | -2.7 | -125 | 0 | -50 | -2 | -43 | 0 | 0 | 0
18:15 - 18:30 | -2.7 | 0 | 0 | -50 | -2 | -43 | 0 | 0 | 0
18:30 - 18:45 | -2.7 | -75 | 0 | -100 | -2 | -43 | 0 | 0 | 0
18:45 - 19:00 | -2.7 | -100 | 0 | -150 | -2 | -43 | 0 | 0 | 0
19:00 - 19:15 | -2.7 | -50 | 0 | -200 | -2 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2.7 | -50 | 0 | -200 | -2 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2.7 | -50 | 0 | -200 | -2 | 0 | 0 | 0 | 0
19:45 - 20:00 | -2.7 | -50 | 0 | -200 | -2 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
20:30 - 20:45 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
20:45 - 21:00 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
21:00 - 21:15 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
21:15 - 21:30 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
21:30 - 21:45 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
21:45 - 22:00 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
22:00 - 22:15 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
22:15 - 22:30 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
22:30 - 22:45 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
22:45 - 23:00 | -2.7 | 0 | 0 | -200 | -2 | 0 | 0 | 0 | 0
23:00 - 23:15 | -2.7 | -50 | 0 | -200 | -2 | 0 | 0 | 0 | 0
23:15 - 23:30 | -2.7 | -50 | 0 | -200 | -2 | 0 | 0 | 0 | 0
23:30 - 23:45 | -2.7 | -150 | 0 | -200 | -2 | 0 | 0 | 0 | 0
23:45 - 24:00 | -2.7 | -150 | 0 | -200 | -2 | 0 | 0 | 0 | 0
Average | -2.7 | -429.3507 | 4.5879 | -48.4375 | -1.7917 | -23.4167 | 1.6931 | 0.096875 | -3

## GDAM
GDAM TRADING DETAILS FOR DT:27.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 24.2 | 0 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 24.2 | 0 | 0 | 6.29 | 0 | 0 | 0
09:00 - 09:15 | 0 | -0.2 | 24.2 | 0 | 0 | 6.29 | 0 | 0 | 0
09:15 - 09:30 | 0 | 0 | 24.2 | 0 | 0 | 6.29 | 0 | 0 | 0
09:30 - 09:45 | -1 | -3.7 | 24.2 | 0 | 0 | 6.29 | 0 | 0 | 0
09:45 - 10:00 | -4.9 | -2.2 | 24.2 | 0 | 0 | 6.29 | 38.71 | 0 | 0
10:00 - 10:15 | -9.9 | -4.5 | 24.2 | 24.2 | 9.68 | 6.29 | 38.71 | 0 | 0
10:15 - 10:30 | -9 | -2.7 | 24.2 | 24.2 | 9.68 | 6.29 | 38.72 | 0 | 1.68
10:30 - 10:45 | -11.2 | -4.6 | 24.2 | 24.2 | 9.68 | 6.29 | 38.71 | 3.87 | 4.84
10:45 - 11:00 | -12 | -5.3 | 24.2 | 24.2 | 9.68 | 6.29 | 38.71 | 0 | 0
11:00 - 11:15 | -10.9 | -7.6 | 24.2 | 24.2 | 9.68 | 6.29 | 38.71 | 0 | 0
11:15 - 11:30 | -10.2 | -13.6 | 24.2 | 1.66 | 9.68 | 6.29 | 38.72 | 0 | 0
11:30 - 11:45 | -8.7 | -13.3 | 24.2 | 24.2 | 9.68 | 6.29 | 38.71 | 0 | 0
11:45 - 12:00 | -5 | -10.8 | 24.2 | 24.2 | 9.68 | 6.29 | 38.71 | 0 | 0
12:00 - 12:15 | -6 | -8.6 | 24.2 | 24.2 | 9.68 | 6.29 | 38.71 | 0 | 0
12:15 - 12:30 | -4 | -10.9 | 24.2 | 24.2 | 9.68 | 6.29 | 38.72 | 2.28 | 4.84
12:30 - 12:45 | -3 | -10.7 | 24.2 | 24.2 | 9.68 | 6.29 | 38.72 | 2.56 | 4.84
12:45 - 13:00 | -4.7 | -11.6 | 24.2 | 24.2 | 9.68 | 6.29 | 38.71 | 2.73 | 4.84
13:00 - 13:15 | -9.2 | -9.6 | 24.2 | 24.2 | 9.68 | 6.29 | 38.71 | 3.4 | 4.84
13:15 - 13:30 | -8.6 | -7.6 | 24.2 | 24.2 | 9.68 | 6.29 | 38.71 | 3.41 | 4.84
13:30 - 13:45 | -9.7 | -8.7 | 24.2 | 24.2 | 9.68 | 6.29 | 38.71 | 3.3 | 4.84
13:45 - 14:00 | -7.4 | -10.6 | 24.2 | 24.2 | 9.68 | 6.29 | 38.71 | 3.21 | 4.84
14:00 - 14:15 | -5 | -9.7 | 24.2 | 24.2 | 9.68 | 6.29 | 38.71 | 1.89 | 4.84
14:15 - 14:30 | -9 | -7.6 | 24.2 | 24.2 | 9.68 | 6.29 | 38.71 | 0 | 0
14:30 - 14:45 | -9.4 | -8.6 | 24.2 | 24.2 | 9.68 | 6.29 | 38.71 | 0 | 0
14:45 - 15:00 | -13.9 | -6.9 | 24.2 | 0 | 9.68 | 6.29 | 38.71 | 0 | 0
15:00 - 15:15 | -10.5 | -8.6 | 24.2 | 0 | 0 | 6.29 | 29.36 | 0 | 0
15:15 - 15:30 | -7 | -6.6 | 24.2 | 0 | 0 | 6.29 | 0 | 0 | 0
15:30 - 15:45 | -2.9 | -4.8 | 24.2 | 0 | 0 | 6.29 | 0 | 0 | 0
15:45 - 16:00 | 0 | -6.6 | 24.2 | 0 | 0 | 6.29 | 0 | 0 | 0
16:00 - 16:15 | -0.9 | -4.5 | 14.52 | 33.88 | 0 | 6.29 | 38.71 | 0 | 0
16:15 - 16:30 | 0 | 0 | 14.52 | 0 | 0 | 6.29 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 14.52 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 14.52 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -2.0208 | -2.1948 | 8.4196 | 4.9077 | 2.0167 | 2.0311 | 9.1773 | 0.2776 | 0.47125

## RTM
RTM TRADING DETAILS FOR DT: 27.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Paradeep_Phosphates_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -2.8 | 0 | -0.2 | 0 | -6 | 46.54 | 0 | 0 | -50 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
00:15 - 00:30 | -2.8 | 0 | -0.2 | 0 | -6 | 58.43 | 0 | 0 | -50 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
00:30 - 00:45 | -2.8 | -4 | -0.2 | 0 | -6 | 84.54 | 0 | 0 | -50 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
00:45 - 01:00 | -2.8 | -8 | -0.2 | 0 | -6 | 94.11 | 0 | 0 | -50 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
01:00 - 01:15 | -2.8 | -7 | -0.2 | 0 | -6 | 96.79 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -1
01:15 - 01:30 | -2.8 | -7 | -0.2 | 0 | -6 | 96.79 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | -1
01:30 - 01:45 | -2.8 | -7 | -0.2 | 0 | -6 | 96.79 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
01:45 - 02:00 | -2.8 | -3 | -0.2 | 0 | -6 | 96.79 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
02:00 - 02:15 | -2.8 | -7 | -0.2 | 0 | 0 | 48.4 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
02:15 - 02:30 | -2.8 | -11 | -0.2 | 0 | 0 | 48.4 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
02:30 - 02:45 | -2.8 | -11 | -0.2 | 0 | 0 | 88.63 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -1
02:45 - 03:00 | -2.8 | -11 | -0.2 | 0 | 0 | 90.11 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -1
03:00 - 03:15 | -2.8 | 0 | -0.2 | 0 | 0 | -55.09 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
03:15 - 03:30 | -2.8 | 0 | -0.2 | 0 | 0 | -57.26 | 0 | 0 | -30 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
03:30 - 03:45 | -2.8 | 0 | -0.2 | 0 | 0 | -33.17 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
03:45 - 04:00 | -2.8 | 0 | -0.2 | 0 | 0 | -133.15 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
04:00 - 04:15 | -2.8 | 0 | -0.2 | 0 | 0 | -24 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
04:15 - 04:30 | -2.8 | 0 | -0.2 | 0 | 0 | -125.32 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -1
04:30 - 04:45 | -2.8 | -3 | -0.2 | 0 | 0 | -33.16 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
04:45 - 05:00 | -2.8 | -6 | -0.2 | 0 | 0 | -125 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
05:00 - 05:15 | -2.8 | 0 | -0.2 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
05:15 - 05:30 | -2.8 | 0 | -0.2 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
05:30 - 05:45 | -2.8 | 0 | -0.8 | 0 | -6 | -30.41 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
05:45 - 06:00 | -2.8 | 0 | -0.8 | 0 | -6 | -128.5 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -10
06:00 - 06:15 | -2.8 | -7 | -0.8 | 0 | -6 | -200 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -10
06:15 - 06:30 | -2.8 | -7 | -0.8 | 0 | -6 | -100 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -0.3 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
06:30 - 06:45 | -2.8 | -18 | -0.8 | 0 | -6 | -100 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -0.6 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -10
06:45 - 07:00 | -2.8 | -24 | -0.8 | 0 | -6 | -200 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -0.9 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -10
07:00 - 07:15 | -2.8 | -14 | -0.4 | 0 | -6 | -300 | 0 | 0 | 0 | -0.2 | 0 | -1.5 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -10 | 0 | 0 | 0 | 0 | 0 | -9 | -10
07:15 - 07:30 | -2.8 | -8 | -0.4 | 0 | -6 | -300 | 0 | 0 | 0 | -0.2 | 0 | -1.5 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -10 | -8 | 0 | 0 | 0 | 0 | -9 | -10
07:30 - 07:45 | -2.8 | -4 | -0.4 | 0 | -6 | -312.97 | 0 | 0 | 0 | -0.3 | 0 | -1.5 | 0 | 0 | 0 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -3 | -10 | -20 | 0 | 0 | 0 | 0 | -9 | -10
07:45 - 08:00 | -2.8 | -4 | -0.4 | 0 | 0 | -349.89 | 19.07 | 0 | 0 | -0.5 | 9.68 | -1.5 | 0 | 19.36 | 0 | -2.2 | 0 | 21.29 | 4.84 | 0 | 0 | 13.55 | -5 | -3 | -10 | -10 | 9.68 | 8.71 | 77.43 | 4.84 | -9 | -10
08:00 - 08:15 | -2.3 | -4 | -0.4 | 3.87 | 0 | 85.2 | 0 | 10.65 | 0 | -0.7 | 9.68 | -1.5 | 0 | 0 | 0 | -2.5 | 0 | 19.36 | 4.84 | 0 | 3.87 | 13.55 | -5 | 0 | -10 | -20 | 0 | 8.71 | 77.43 | 4.84 | -9 | 0
08:15 - 08:30 | -2.3 | -4 | -0.4 | 3.87 | 0 | 203.2 | 0 | 10.65 | 0 | -0.8 | 0 | -1.5 | 0 | 0 | 0 | -2.8 | 0 | 0 | 0 | 0 | 3.87 | 13.55 | -5 | 0 | -10 | -40 | 0 | 8.71 | 0 | 0 | -9 | 0
08:30 - 08:45 | -2.3 | -13 | -0.4 | 3.87 | 0 | 111.32 | 0 | 10.65 | 0 | -1 | 0 | -1.5 | 0 | 0 | 0 | -3.2 | 0 | 0 | 0 | 4.84 | 3.87 | 13.55 | -5 | 0 | -10 | 0 | 0 | 8.71 | 0 | 0 | -9 | 0
08:45 - 09:00 | -2.3 | -4 | -0.4 | 3.87 | 0 | 27.07 | 0 | 10.65 | 0 | -1.1 | 0 | -1.5 | 0 | 0 | 0 | -3.3 | 0 | 19.36 | 0 | 4.84 | 3.87 | 13.55 | -5 | 0 | -10 | 0 | 0 | 8.71 | 87.11 | 0 | -9 | 0
09:00 - 09:15 | -2.3 | -4 | -0.4 | 3.87 | 0 | -0.05 | 0 | 10.65 | 0 | -1.6 | 9.68 | -1.5 | 0 | 0 | 0 | -3.5 | 0 | 24.2 | 4.84 | 4.84 | 3.87 | 13.55 | 0 | 0 | -10 | -10 | 0 | 8.71 | 87.11 | 0.48 | -6.5 | 0
09:15 - 09:30 | -2.3 | -4 | -0.4 | 3.87 | 0 | 0 | 0 | 10.65 | 0 | -1.7 | 9.68 | -1.5 | 0 | 0 | 0 | -3.9 | 0 | 24.2 | 4.84 | 4.84 | 3.87 | 13.55 | 0 | 0 | -10 | -40 | 0 | 8.71 | 87.11 | 0.48 | -6.5 | 0
09:30 - 09:45 | -2.3 | -4 | -0.4 | 3.87 | 0 | 0 | 13.65 | 10.65 | 0 | -2.1 | 9.68 | -1.5 | 0 | 0 | -1 | -4.2 | 0 | 24.2 | 4.84 | 4.84 | 3.87 | 13.55 | 0 | 0 | -10 | 0 | 9.68 | 8.71 | 77.43 | 5.32 | -6.5 | 0
09:45 - 10:00 | -2.3 | -13 | -0.4 | 3.87 | 0 | 0 | 14.13 | 10.65 | 0 | -2.2 | 9.68 | -1.5 | 0 | 0 | -1 | -1.9 | 0 | 24.2 | 4.84 | 4.84 | 3.87 | 13.55 | 0 | 0 | -10 | -30 | 9.68 | 8.71 | 77.43 | 5.32 | -6.5 | 0
10:00 - 10:15 | -2.3 | -27 | -0.4 | 3.87 | 0 | 341.19 | 0 | 10.65 | 0 | -2.7 | 0 | -1.5 | -15 | 0 | -1 | 3.29 | 0 | 18.39 | 4.84 | 4.84 | 3.87 | 13.55 | 0 | 0 | -10 | -40 | 0 | 8.71 | 77.43 | 5.32 | -6.5 | 0
10:15 - 10:30 | -2.3 | -24 | -0.4 | 3.87 | 0 | 25.57 | 0 | 10.65 | 0 | -2.5 | 0 | -1.5 | 0 | 0 | -1 | 3.1 | 0 | 18.39 | 4.84 | 4.84 | 3.87 | 13.55 | 0 | 0 | -10 | -30 | 0 | 8.71 | 77.44 | 5.32 | -6.5 | 0
10:30 - 10:45 | -2.3 | -20 | -0.4 | 3.87 | 0 | 219.15 | 0 | 10.65 | 0 | -2.7 | 0 | -1.5 | 0 | 0 | -1 | 3.19 | 0 | 18.39 | 4.84 | 4.84 | 3.87 | 13.55 | -2 | 0 | -10 | 0 | 0 | 8.71 | 62.91 | 5.32 | -6.5 | 0
10:45 - 11:00 | -2.3 | -20 | -0.4 | 3.87 | 0 | 315.94 | 0 | 10.65 | 0 | -2.7 | 0 | -1.5 | 0 | 0 | -1 | 3.19 | 0 | 18.39 | 4.84 | 4.84 | 3.87 | 13.55 | -2 | 0 | -10 | 0 | 0 | 8.71 | 62.91 | 5.32 | -6.5 | 0
11:00 - 11:15 | -2.3 | -4 | -0.4 | 3.87 | 0 | 436.76 | 0 | 10.65 | 0 | -2.1 | 0 | -1.5 | 0 | 0 | -1 | 3.48 | 0 | 18.39 | 4.84 | 4.84 | 3.87 | 13.55 | -2 | 0 | -10 | 0 | 0 | 8.71 | 62.91 | 5.32 | -6.5 | -10
11:15 - 11:30 | -2.3 | -4 | -0.4 | 3.87 | 0 | 402.2 | 0 | 10.65 | 0 | -2.2 | 0 | -1.5 | 0 | 0 | -1 | 3.48 | 0 | 18.39 | 4.84 | 4.84 | 3.87 | 13.55 | -2 | 0 | -10 | 0 | 0 | 8.71 | 62.91 | 5.32 | -6.5 | -10
11:30 - 11:45 | -2.3 | 0 | -0.2 | 3.87 | 0 | 485.34 | 0 | 10.65 | 0 | -1.4 | 0 | -1.5 | 0 | 0 | -1 | 3.48 | 0 | 18.39 | 4.84 | 9.68 | 3.87 | 13.55 | -2 | 0 | -10 | -30 | 0 | 8.71 | 62.91 | 5.32 | -6.5 | 0
11:45 - 12:00 | -2.3 | 0 | -0.2 | 3.87 | 0 | 582.14 | 0 | 10.65 | 0 | -1.5 | 0 | -1.5 | 0 | 0 | -1 | 3.48 | 0 | 18.39 | 4.84 | 9.68 | 3.87 | 13.55 | -2 | 0 | -10 | -30 | 0 | 8.71 | 62.91 | 5.32 | -6.5 | 0
12:00 - 12:15 | -2.3 | 0 | -0.4 | 3.87 | 0 | 582.15 | 0 | 10.65 | 0 | -2.4 | 0 | -1.5 | 0 | 0 | -1 | 3.19 | 0 | 18.39 | 4.84 | 9.68 | 3.87 | 13.55 | -1 | 0 | 0 | -10 | 0 | 8.71 | 62.91 | 5.32 | -6.5 | 0
12:15 - 12:30 | -2.3 | 0 | -0.4 | 3.87 | 0 | 582.2 | 0 | 10.65 | 0 | -2.5 | 0 | -1.5 | 0 | 0 | -1 | 3.58 | 0 | 18.39 | 4.84 | 9.68 | 3.87 | 13.55 | -1 | 0 | 0 | 0 | 0 | 8.71 | 62.91 | 5.32 | -6.5 | 0
12:30 - 12:45 | -2.3 | 0 | -0.4 | 3.87 | 0 | 338.8 | 9.87 | 10.65 | 0 | -1.5 | 0 | -1.5 | 0 | 0 | -1 | 3.68 | -1 | 18.39 | 4.84 | 9.68 | 0 | 13.55 | -1 | 0 | 0 | 0 | 9.68 | 8.71 | 53.23 | 5.32 | -6.5 | 0
12:45 - 13:00 | -2.3 | 0 | -0.4 | 3.87 | 0 | 447.68 | 11.91 | 10.65 | 0 | -1.6 | 0 | -1.5 | 0 | 0 | -1 | 3.58 | -1 | 18.39 | 4.84 | 9.68 | 0 | 13.55 | -1 | 0 | 0 | 0 | 9.68 | 8.71 | 53.23 | 5.32 | -6.5 | 0
13:00 - 13:15 | -2.3 | 0 | -0.8 | 3.87 | 0 | 367.81 | 12.68 | 10.65 | 0 | -1 | 0 | -1.5 | 0 | 0 | -1 | 3.77 | -0.84 | 18.39 | 9.68 | 9.68 | 0 | 13.55 | 0 | 0 | 0 | 0 | 9.68 | 8.71 | 72.59 | 5.32 | -6.5 | 0
13:15 - 13:30 | -2.3 | 0 | -0.8 | 3.87 | 0 | 367.8 | 13.65 | 10.65 | 0 | -1 | 0 | -1.5 | 0 | 0 | -1 | 3.97 | -0.86 | 18.39 | 9.68 | 9.68 | 0 | 13.55 | 0 | 0 | 0 | 0 | 9.68 | 8.71 | 72.59 | 5.32 | -6.5 | 0
13:30 - 13:45 | -2.3 | 8.71 | -0.8 | 3.87 | 0 | 556.68 | 13.45 | 10.65 | 0 | -0.1 | 0 | -1.5 | 0 | 0 | -1 | -1.4 | -1 | 18.39 | 9.68 | 9.68 | 0 | 13.55 | 0 | 0 | 0 | 0 | 9.68 | 8.71 | 72.59 | 5.32 | -6.5 | 0
13:45 - 14:00 | -2.3 | 8.71 | -0.8 | 3.87 | 0 | 535.15 | 0 | 10.65 | 0 | -0.1 | 0 | -1.5 | 0 | 0 | -1 | -3.5 | -1 | 18.39 | 9.68 | 9.68 | 0 | 13.55 | -1 | 0 | 0 | 0 | 0 | 8.71 | 72.59 | 5.32 | -6.5 | 0
14:00 - 14:15 | -2.3 | 0 | -0.8 | 3.87 | 0 | 432.17 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1 | -3.2 | -1 | 18.39 | 4.84 | 9.68 | 0 | 13.55 | -2 | 0 | 0 | 0 | 0 | 8.71 | 72.59 | 5.32 | -6.5 | 0
14:15 - 14:30 | -2.3 | 0 | -0.8 | 3.87 | 0 | 444.42 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1 | -3.1 | -1 | 18.39 | 4.84 | 9.68 | 0 | 13.55 | -2 | 0 | 0 | -30 | 0 | 8.71 | 72.59 | 5.32 | -6.5 | 0
14:30 - 14:45 | -2.3 | 0 | -0.8 | 3.87 | 0 | 472.4 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1 | -3 | -2.7 | 12.58 | 4.84 | 9.68 | 0 | 13.55 | -2 | 0 | 0 | 0 | 0 | 8.71 | 72.59 | 10.65 | -6.5 | 0
14:45 - 15:00 | -2.3 | 0 | -0.8 | 3.87 | 0 | 261.24 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | -15 | 0 | -1 | -2.7 | -2.7 | 12.58 | 4.84 | 9.68 | 0 | 13.55 | -2 | 0 | 0 | -10 | 0 | 8.71 | 72.59 | 10.65 | -6.5 | 0
15:00 - 15:15 | -2.3 | 4.84 | -0.8 | 3.87 | 0 | 227.14 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1 | -2.6 | -2.7 | 0 | 0 | 9.68 | 0 | 0 | -2 | 0 | 0 | -30 | 0 | 8.71 | 0 | 0 | -6.5 | 0
15:15 - 15:30 | -2.3 | 4.84 | -0.8 | 3.87 | 0 | 280.84 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1 | -2.6 | -2.7 | 20.33 | 0 | 9.68 | 0 | 13.55 | -2 | 0 | 0 | -30 | 0 | 8.71 | 7.98 | 0 | -6.5 | 0
15:30 - 15:45 | -2.3 | 7.74 | -1 | 3.87 | 0 | -75.95 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1 | -2.2 | -2.7 | 20.33 | 4.84 | 9.68 | 0 | 13.55 | -2 | 0 | 0 | 0 | 0 | 8.71 | 67.75 | 0 | -6.5 | 0
15:45 - 16:00 | -2.3 | 7.74 | -1 | 3.87 | 0 | -89.46 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1 | -1.9 | -2.7 | 20.33 | 0 | 9.68 | 0 | 13.55 | -2 | 0 | 0 | 0 | 0 | 8.71 | 0 | 0 | -6.5 | 0
16:00 - 16:15 | -2.3 | 7.74 | -1 | 3.87 | 0 | -289.47 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.36 | -1 | -1.6 | -2.7 | 20.33 | 0 | 9.68 | 0 | 13.55 | -2 | 0 | 0 | 0 | 0 | 8.71 | 58.07 | 10.65 | -6.5 | 0
16:15 - 16:30 | -2.3 | 7.74 | -1 | 3.87 | 0 | -289.47 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.36 | -1 | -1.5 | -2.7 | 20.33 | 0 | 9.68 | 0 | 13.55 | -2 | 0 | 0 | 0 | 0 | 8.71 | 58.07 | 10.65 | -6.5 | 0
16:30 - 16:45 | -2.3 | 7.74 | -1 | 3.87 | 0 | -259.95 | 0 | 10.65 | 0 | 0 | 9.68 | -1.5 | 0 | 19.36 | -1 | -1.1 | -2.7 | 20.33 | 4.84 | 9.68 | 0 | 13.55 | 0 | 0 | 0 | -35 | 0 | 8.71 | 58.07 | 10.65 | -6.5 | 0
16:45 - 17:00 | -2.3 | 7.74 | -1 | 3.87 | 0 | -275.63 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.36 | -1 | -0.7 | -2.7 | 20.33 | 4.84 | 9.68 | 0 | 13.55 | 0 | 0 | 0 | -25 | 0 | 8.71 | 48.39 | 10.65 | -6.5 | 0
17:00 - 17:15 | -2.3 | 7.74 | -0.4 | 0 | 0 | -500 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.36 | -1 | -0.4 | -2.7 | 20.33 | 0 | 9.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.71 | 48.39 | 10.52 | 0 | -10
17:15 - 17:30 | -2.3 | 7.74 | -0.4 | 0 | 0 | -408.65 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.36 | -1 | -0.2 | -2.7 | 20.33 | 0 | 9.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.71 | 48.39 | 0 | 0 | -10
17:30 - 17:45 | -2.3 | 7.74 | -0.2 | 0 | 0 | -430.74 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -2.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | 0 | 0 | -10
17:45 - 18:00 | -2.3 | 7.74 | -0.2 | 0 | -6 | -314.26 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -2.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -10
18:00 - 18:15 | -2.3 | 0 | -0.2 | 0 | -6 | -397.55 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -2.7 | 3.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
18:15 - 18:30 | -2.3 | 0 | -0.2 | 0 | -6 | -500 | 0 | 0 | -50 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -2.7 | 3.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | -10
18:30 - 18:45 | -2.3 | 0 | -0.2 | 0 | -6 | -300 | 0 | 0 | -50 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -2.7 | 2.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -10
18:45 - 19:00 | -2.3 | 0 | -0.2 | 0 | -6 | -149.99 | 0 | 0 | -50 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -2.7 | 1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | 0 | 0 | -10
19:00 - 19:15 | -2.3 | 0 | -0.2 | 0 | -6 | -200 | 0 | 0 | -50 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -2.7 | 0.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -32 | 0 | 0 | 0 | 0 | 0 | -1
19:15 - 19:30 | -2.3 | 0 | -0.2 | 0 | -6 | -200 | 0 | 0 | -50 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -2.7 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -1
19:30 - 19:45 | -2.3 | 0 | -0.2 | 0 | -6 | -299.99 | 0 | 0 | -100 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -2.7 | 0.21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
19:45 - 20:00 | -2.3 | -5 | -0.2 | 0 | -6 | -300 | 0 | 0 | -100 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -2.7 | 0.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
20:00 - 20:15 | -2.3 | 0 | -0.2 | 0 | -6 | -400 | 0 | 0 | -100 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -3 | 0.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
20:15 - 20:30 | -2.3 | 0 | -0.2 | 0 | -6 | -400 | 0 | 0 | -100 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -3 | 0.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
20:30 - 20:45 | -2.3 | 0 | -0.2 | 0 | -6 | -250 | 0 | 0 | -100 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -3 | 0.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
20:45 - 21:00 | -2.3 | 0 | -0.2 | 0 | -6 | -250 | 0 | 0 | -100 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -3 | 0.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
21:00 - 21:15 | -2.3 | 0 | -0.2 | 0 | -6 | -200 | 0 | 0 | -100 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -3 | 0.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
21:15 - 21:30 | -2.3 | 0 | -0.2 | 0 | -6 | -200 | 0 | 0 | -100 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -3 | 0.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
21:30 - 21:45 | -2.3 | 0 | -0.8 | 0 | -6 | -200 | 0 | 0 | -100 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -3 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
21:45 - 22:00 | -2.3 | 0 | -0.8 | 0 | -6 | -200 | 0 | 0 | -100 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -3 | 0.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
22:00 - 22:15 | -2.3 | 0 | -0.8 | 0 | -6 | -250 | 0 | 0 | -100 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -3 | 1.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
22:15 - 22:30 | -2.3 | 0 | -0.8 | 0 | -6 | -250 | 0 | 0 | -100 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -3 | 1.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
22:30 - 22:45 | -2.3 | 0 | -0.2 | 0 | -6 | -150 | 0 | 0 | -50 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -3 | 2.52 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
22:45 - 23:00 | -2.3 | 0 | -0.2 | 0 | -6 | -150 | 0 | 0 | -50 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -3 | 2.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
23:00 - 23:15 | -2.3 | 0 | -0.2 | 0 | -6 | -150 | 0 | 0 | -80 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -1 | 3.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
23:15 - 23:30 | -2.3 | -5 | -0.2 | 0 | -6 | -149.99 | 0 | 0 | -80 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -1 | 3.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -28 | 0 | 0 | 0 | 0 | 0 | -1
23:30 - 23:45 | -2.3 | 0 | -0.2 | 0 | -6 | -187.51 | 0 | 0 | -80 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -1 | 3.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
23:45 - 24:00 | -2.3 | 0 | -0.2 | 0 | -6 | -174.99 | 0 | 0 | -55.23 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | -1 | 3.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
Average | -2.4667 | -2.349 | -0.425 | 1.4513 | -2.75 | -14.3093 | 1.1293 | 4.2156 | -21.617 | -0.42083 | 0.70583 | -1.5 | -0.3125 | 1.4117 | -0.60417 | -0.17854 | -1.699 | 7.6514 | 1.6638 | 3.025 | 0.72562 | 5.0813 | -0.69792 | -1 | -2.0833 | -8.7812 | 0.80667 | 3.5384 | 24.078 | 1.9944 | -2.9167 | -2.7083