## POWER STATUS
POWER STATUS ON DT 29.08.2026
[9 empty] | 2026-08-29 | 2026-08-28
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 19:00
Demand -> | [8 empty] | 5762.396 | 6304.6279
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 229 | 5.496 | 630/590 ft | 623.02 | 624.23 | 624.65 | 237.3275 | 238.6434
| Chiplima | 72(3x24) | 44.375 | 1.065 | - |  |  |  | 62.4413 | 58.2078
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1480 | 1473.3 | 1473.9 | 0 | 0
| Rengali | 250(5x50) | 228.3583 | 5.4806 | 123.5/109.75 mt | 122.13 | 121.86 | 121.54 | 242.9065 | 228.7574
| Upper Kolab | 320(4x80) | 54.5 | 1.308 | 858/844 mt | 855.05 | 851.98 | 852.05 | 23.501 | 46.4824
| Upper Indravati | 600(4x150) | 302.8958 | 7.2695 | 642/625 mt | 636.61 | 639 | 639.2 | 0.2926 | 398.9202
| Machkund | 60(50% of(3x17+3x23)) | 14.33 | 0.34392 | 2750/2685 ft | 2748.1 | 2729.55 | 2729.9 | 18.5049 | 17.4252
| Total Hydro | 2099.5 | 873.4591 | 20.963 |  |  |  |  | 584.9738 | 988.4364
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1622.7719 | 38.9465 | RENEWABLE ENERGY (RE) |  |  |  | 1592.3839 | 1696.124
[5 empty] | M.Hydl | 124.07
| Total Thermal | 2200 | 1622.7719 | 38.9465 | Solar | 76.5 |  |  | 1592.3839 | 1696.124
IPP | VEDANTA #2 | 600 (1x600) | 395.061 | 9.4815 | Total IPPs | Yesterday's Demand Profile |  |  | 331.0938 | 475.1367
| GMR #3 | 350 (1x350) | 290.1611 | 6.9639 | 778.4172 |  | MW | HRS | 208.3385 | 324.3886
| NBVL(IPP) | 60(1x60) | 48.587 | 1.1661 |  |  |  |  | 45.4161 | 54.043
| MDTPC |  | 44.6081 | 1.0706 |  |  |  |  | 30.1287 | 54.3209
| CGPs |  | 868.0909 | 20.8342 | IPPs, CGPs & RE | Maximum | 6035 | 19:00 | 1661.5171 | 2217.9634
| Central Sector(Drawl) |  | 1515.2887 | 36.3669 | 1847.0782 | Minimum | 5420 | 06:00 | 1923.5211 | 1402.1042
| Central Sector(Sch) |  | 1609.165 | 38.62 |  | Average | 5858.5979 |  | 1820.23 | 1385.5699
| Grand Total |  | 5858.5979 | 140.6063 | Instantaneous Peak demand |  | 6584 | 19:35 | 5762.396 | 6304.6279
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1722.7891 | 41.3469 | 1695.8178 | 40.6996 | 1696.2325 | 40.7096
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1905.5475 | 45.7331 | 1880.2781 | 45.1267 | 1698.0838 | 40.754
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1403.0418 | 33.673 | 1390.0803 | 33.3619 | 1365.892 | 32.7814
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 607.0908 | 14.5702 | 596.1042 | 14.3065 | 607.5088 | 14.5802
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5638.4693 | 135.3233 | 5562.2804 | 133.4947 | 5367.7171 | 128.8252
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | 3
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 331.0938 | GMR |  |  |  | 208.3385
| NBVL #3 | 45.4161 | MDTPC |  |  |  | 30.1287
Mini Hydel: | MEENAKSHI | 40.2343 | OPCL |  |  |  | 0
| BTPL | 27.705 | SAPTADHARA |  |  |  | 19.8655
Solar: |  | 162.2038 | KAKATIYA |  |  |  | 5.4756
CGPs : | JSPL (Angul) | 241.6688 | JSL(Duburi) |  |  |  | -149.9442
| ICCL | 49.9613 | visa |  |  |  | 5.1342
| NALCO | -157.1538 | VAL (CGP) |  |  |  | 164.366
| RSP | -230.3846 | BSL(MMDL) |  |  |  | 55.2132
| INDAL | 3.6362 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -33.8423 | VAL CPP 400 kV |  |  |  | -564.4594
| NBVL | 44.9104 | Arati |  |  |  | 7.0614
| BPSL(JSG) | -84.4082 | BPPL |  |  |  | 60.6226
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-21 | 2026-08-22 | 2026-08-23 | 2026-08-24 | 2026-08-25 | 2026-08-26 | 2026-08-27 | 2026-08-28
744.734 | 611.49 | 579.28 | 683.9104 | 688.7883 | 689.12 | 789.39 | 873.4591
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.28.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | -4.75 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 2.23
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AGE26AL_PSS6_KPS1_S | ODISHA | 141.84
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | 0 | AP41PL_BHDL | ODISHA | 61.29
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | 0 | AP43PL_BKN | ODISHA | 94.52
JPIPL | NPCL_UP | 0 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.61
JSPLANGUL | GEB_Beneficiary | -52 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 13.77
JSPLANGUL | RUVITSL | -43.75 | DCBL_Rajgangpur | DALCEMAP | -6.58 | AWEK1L | ODISHA | 20.66
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | DCBLME | -1.33 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 2.02
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCL_RCW | -4.08 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 39.2
ODISHA | CESC | -46.88 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -6.75 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 9.78
ODISHA | KPTCL | -54.17 | DCBL_Rajgangpur | Dalmia_Cem_Lanka | -1 | DADRI_SOLAR | ODISHA | 0.64
ODISHA | KPTCL | -14.58 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | ENERSON_SOLAR_10MW | ODISHA | 0
RSPL_JHARSUGUDA | KPTCL | -0.57 | FACORPOWER | PSPCL | -5.83 | GADAG_GreenInfra_W | ODISHA | 0.9
VSL | CR_IR_MS | -10 | FACORPOWER | PSPCL | -3.54 | GADAG_GreenInfra_W | ODISHA | 0
FARIDABAD_SOLAR | ODISHA | 0.86 | FACORPOWER | PSPCL | -1.46 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 54.75 | FACORPOWER | PSPCL | -14.17 | GADAG_Serentica3_S | VLSEZ | 33.12
RAJ_SOLAR | ODISHA | 2.58 | JSPLANGUL | JPL2 | -11.4 | GADAG_Serentica3_W | VLSEZ | 4.41
RAJ_SOLAR | ODISHA | 2.75 | JSPLANGUL | RUVITSL | -106.25 | GADAG_Serentica3_W | VLSEZ | 100.28
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GIWEL_SECI_II_RE | ODISHA | 63.2
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GPCL_SOLAR_10 | ODISHA | 0.85
|  |  | NBVLIPP | BSPHCL | -14.38 | GSECL_SOLAR | ODISHA | 1.09
|  |  | OCL_IRON_STEEL | BRPL | -25 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.49
|  |  | OCL_IRON_STEEL | TPDDL | -34 | KARUR_TPVARDHAMAN_W | TSKPO | 112.6
|  |  | ORSISL | CESC | -2.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
|  |  | ORSISL | PSPCL | -1.17 | Kurnool_Greenko_H_Inj | ADITYAAL | 8.24
|  |  | ORSISL | PSPCL | -2.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | NTPCRE1_SMND_BHJ2_W | ODISHA | 8.93
|  |  | RSPL_JHARSUGUDA | TANGEDCO | -2.5 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 2.21
|  |  | Shri_JSPL | CESC | -1.5 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 14.72
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 7.42
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | OKWPL_RE | ODISHA | 33.02
|  |  | VIRAJ_SEPL | CESC | -5.83 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 26.26
|  |  | VSL | WBSEDCL | -4.17 | RWE_AP2_SECI_III | ODISHA | 25.91
|  |  | JIPL | ODISHA | 116.15 | RenewGreen_SLPR_HS | JSL_DUBURI | 14.54
|  |  | NALCOAP | NACL_Odisha | 31.46 | SRI9PL_FTG3 | VLSEZ | 85.23
|  |  | North_Karanpura_STPS | ODISHA | 29.79 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.14
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.16
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 62.76
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 7.46
[6 empty] | XXPPL_FTG3 | ODISHA | 67.49

## DAM
DAM TRADING DETAILS FOR DT : 28.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -2.78 | 0 | 0 | -51.55 | 0 | -2.06 | -17.53 | 0 | 0 | 0
00:15 - 00:30 | -2.78 | 0 | 0 | -51.55 | 0 | -2.06 | -17.53 | 0 | 0 | 0
00:30 - 00:45 | -2.78 | 0 | 0 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
00:45 - 01:00 | -2.78 | 0 | 0 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
01:00 - 01:15 | -2.78 | 0 | 0 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
01:15 - 01:30 | -2.78 | 0 | 0 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
01:30 - 01:45 | -2.78 | 0 | 0 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
01:45 - 02:00 | -2.78 | 0 | 0 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
02:00 - 02:15 | -2.78 | 0 | 0 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
02:15 - 02:30 | -2.78 | 0 | 0 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
02:30 - 02:45 | -2.78 | 0 | 0 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
02:45 - 03:00 | -2.78 | 0 | 0 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
03:00 - 03:15 | -2.78 | 0 | 0 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
03:15 - 03:30 | -2.78 | 0 | 0 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
03:30 - 03:45 | -2.78 | 0 | 0 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
03:45 - 04:00 | -2.78 | 0 | 0 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
04:00 - 04:15 | -2.78 | 0 | -100 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
04:15 - 04:30 | -2.78 | 0 | -100 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
04:30 - 04:45 | -2.78 | 0 | -100 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
04:45 - 05:00 | -2.78 | 0 | -100 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
05:00 - 05:15 | -2.78 | 0 | -50 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | 0
05:15 - 05:30 | -2.78 | 0 | -50 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | 0
05:30 - 05:45 | -2.78 | 0 | -50 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | 0
05:45 - 06:00 | -2.78 | 0 | -50 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | 0
06:00 - 06:15 | -2.78 | 0 | -200 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
06:15 - 06:30 | -2.78 | 0 | -200 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
06:30 - 06:45 | -2.78 | 0 | -200 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
06:45 - 07:00 | -2.78 | 0 | -200 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
07:00 - 07:15 | -2.78 | 0 | -450 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
07:15 - 07:30 | -2.78 | 0 | -450 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
07:30 - 07:45 | -2.78 | 0 | -525 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
07:45 - 08:00 | -2.78 | 0 | -625 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
08:00 - 08:15 | -2.78 | 4.69 | -1075 | 0 | 0 | -1.03 | -44.33 | 0 | 0 | -6.19
08:15 - 08:30 | -2.78 | 4.69 | -1075 | 0 | 0 | -1.03 | -44.33 | 0 | 0 | -6.19
08:30 - 08:45 | -2.78 | 4.69 | -1075 | 0 | 0 | -1.03 | -44.33 | 0 | 0 | -6.19
08:45 - 09:00 | -2.78 | 4.69 | -1075 | 0 | 0 | -1.03 | -44.33 | 0 | 0 | -6.19
09:00 - 09:15 | -2.78 | 4.69 | -1225 | 0 | 0 | -1.03 | -18.56 | 0 | 0 | -6.19
09:15 - 09:30 | -2.78 | 4.69 | -1194.74 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
09:30 - 09:45 | -2.78 | 4.69 | -825 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
09:45 - 10:00 | -2.78 | 4.69 | -825 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
10:00 - 10:15 | -2.78 | 4.69 | -634.28 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
10:15 - 10:30 | -2.78 | 4.69 | -534.86 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
10:30 - 10:45 | -2.78 | 4.69 | -266.55 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
10:45 - 11:00 | -2.78 | 4.69 | -499.27 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
11:00 - 11:15 | -2.78 | 4.69 | -535.01 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
11:15 - 11:30 | -2.78 | 4.69 | -364.92 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
11:30 - 11:45 | -2.78 | 4.69 | -254.65 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
11:45 - 12:00 | -2.78 | 4.69 | -253.27 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
12:00 - 12:15 | -2.78 | 4.69 | -293.99 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
12:15 - 12:30 | -2.78 | 4.69 | -60.56 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
12:30 - 12:45 | -2.78 | 4.69 | 0 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
12:45 - 13:00 | -2.78 | 4.69 | 0 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
13:00 - 13:15 | -2.78 | 4.69 | 0 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
13:15 - 13:30 | -2.78 | 4.69 | 0 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
13:30 - 13:45 | -2.78 | 4.69 | -56.47 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
13:45 - 14:00 | -2.78 | 4.69 | -677.93 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
14:00 - 14:15 | -2.78 | 4.69 | -586 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
14:15 - 14:30 | -2.78 | 4.69 | -586.06 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
14:30 - 14:45 | -2.78 | 4.69 | -587.04 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
14:45 - 15:00 | -2.78 | 4.69 | -802.98 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
15:00 - 15:15 | -2.78 | 4.69 | -925 | 0 | 9.39 | -1.03 | -44.33 | 9.39 | 0 | -6.19
15:15 - 15:30 | -2.78 | 4.69 | -925 | 0 | 0 | -1.03 | -44.33 | 9.39 | 0 | -6.19
15:30 - 15:45 | -2.78 | 4.69 | -925 | 0 | 0 | -1.03 | -44.33 | 9.39 | 37.55 | -6.19
15:45 - 16:00 | -2.78 | 4.69 | -925 | 0 | 0 | -1.03 | -44.33 | 0 | 0 | -6.19
16:00 - 16:15 | -2.78 | 4.69 | -1000 | 0 | 0 | -1.03 | -44.33 | 0 | 0 | -6.19
16:15 - 16:30 | -2.78 | 4.69 | -1000 | 0 | 0 | -1.03 | -44.33 | 0 | 0 | -6.19
16:30 - 16:45 | -2.78 | 4.69 | -1000 | 0 | 0 | -1.03 | -44.33 | 0 | 0 | -6.19
16:45 - 17:00 | -2.78 | 4.69 | -1000 | 0 | 0 | -1.03 | -44.33 | 0 | 0 | -6.19
17:00 - 17:15 | -2.78 | 0 | -525 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
17:15 - 17:30 | -2.78 | 0 | -525 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
17:30 - 17:45 | -2.78 | 0 | -425 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
17:45 - 18:00 | -2.78 | 0 | -425 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
18:00 - 18:15 | -2.78 | 0 | 0 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | 0
18:15 - 18:30 | -2.78 | 0 | 0 | -226.8 | 0 | -2.06 | -44.33 | 0 | 0 | 0
18:30 - 18:45 | -2.78 | 0 | 0 | -178.35 | 0 | -2.06 | -44.33 | 0 | 0 | 0
18:45 - 19:00 | -2.78 | 0 | 0 | -178.35 | 0 | -2.06 | -44.33 | 0 | 0 | 0
19:00 - 19:15 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
19:45 - 20:00 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
20:30 - 20:45 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
20:45 - 21:00 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
21:00 - 21:15 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
21:15 - 21:30 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
21:30 - 21:45 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
21:45 - 22:00 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
22:00 - 22:15 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
22:15 - 22:30 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
22:30 - 22:45 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
22:45 - 23:00 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
23:00 - 23:15 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
23:15 - 23:30 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
23:30 - 23:45 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
23:45 - 24:00 | -2.78 | 0 | 0 | -175.26 | 0 | -2.06 | 0 | 0 | 0 | 0
Average | -2.78 | 1.7587 | -295.9748 | -43.6646 | 0.097813 | -1.6738 | -23.0687 | 2.5431 | 0.39115 | -2.3857

## GDAM
GDAM TRADING DETAILS FOR DT:28.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | JSW_Sambalpur_Steel_Limited | Jagannath_Power_And_Infra_Private_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore
00:00 - 00:15 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 23.47 | -14.43 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 23.47 | -14.43 | 0 | 0 | 6.1 | 0 | 0
09:00 - 09:15 | 0 | 0 | 23.47 | -14.43 | 0 | 0 | 6.1 | 0 | 0
09:15 - 09:30 | 0 | 0 | 23.47 | -14.43 | 0 | 0 | 6.1 | 37.55 | 0
09:30 - 09:45 | -2.06 | 0 | 23.47 | -14.43 | 6.9 | 9.39 | 6.1 | 37.56 | 0
09:45 - 10:00 | -3.2 | 0 | 23.47 | -14.43 | 0.41 | 9.39 | 6.1 | 37.55 | 0
10:00 - 10:15 | -8.04 | 0 | 23.47 | -14.43 | 24.41 | 9.39 | 6.1 | 37.55 | 0
10:15 - 10:30 | -5.15 | 0 | 23.47 | -14.43 | 24.41 | 9.39 | 6.1 | 37.55 | 0
10:30 - 10:45 | -8.04 | 0 | 23.47 | -14.43 | 24.41 | 9.39 | 6.1 | 37.55 | 3.75
10:45 - 11:00 | -6.49 | -0.52 | 23.47 | -14.43 | 24.41 | 9.39 | 6.1 | 37.55 | 3.75
11:00 - 11:15 | -4.43 | -0.52 | 23.47 | -14.43 | 24.41 | 9.39 | 6.1 | 37.55 | 3.75
11:15 - 11:30 | -7.63 | -2.89 | 23.47 | -14.43 | 24.41 | 9.39 | 6.1 | 37.55 | 3.75
11:30 - 11:45 | 0 | -3.51 | 23.47 | -14.43 | 24.41 | 9.39 | 6.1 | 37.55 | 3.75
11:45 - 12:00 | 0 | -0.72 | 23.47 | -14.43 | 24.41 | 9.39 | 6.1 | 37.55 | 3.75
12:00 - 12:15 | -1.75 | 0 | 23.47 | -14.43 | 26.29 | 9.39 | 6.1 | 37.56 | 3.75
12:15 - 12:30 | -1.34 | 0 | 23.47 | -14.43 | 29.1 | 9.39 | 6.1 | 37.56 | 3.75
12:30 - 12:45 | -0.72 | 0 | 23.47 | -14.43 | 31.92 | 9.39 | 6.1 | 37.55 | 3.75
12:45 - 13:00 | -3.4 | 0 | 23.47 | -14.43 | 34.74 | 9.39 | 6.1 | 37.56 | 3.75
13:00 - 13:15 | -3.92 | 0 | 23.47 | -14.43 | 35.68 | 9.39 | 6.1 | 37.56 | 3.75
13:15 - 13:30 | -0.21 | 0 | 23.47 | -14.43 | 35.68 | 9.39 | 6.1 | 37.56 | 3.75
13:30 - 13:45 | -3.81 | 0 | 23.47 | -14.43 | 35.68 | 9.39 | 6.1 | 37.56 | 3.75
13:45 - 14:00 | -3.4 | 0 | 23.47 | -14.43 | 35.68 | 9.39 | 6.1 | 37.56 | 3.75
14:00 - 14:15 | -0.52 | 0 | 23.47 | -14.43 | 30.04 | 9.39 | 6.1 | 37.56 | 3.75
14:15 - 14:30 | -0.62 | 0 | 23.47 | -14.43 | 30.98 | 9.39 | 6.1 | 37.56 | 3.75
14:30 - 14:45 | -2.37 | -0.21 | 23.47 | -14.43 | 30.98 | 9.39 | 6.1 | 37.55 | 0
14:45 - 15:00 | -7.63 | -1.03 | 23.47 | -14.43 | 30.98 | 9.39 | 6.1 | 37.55 | 0
15:00 - 15:15 | -3.09 | -1.13 | 23.47 | -14.43 | 0 | 0 | 6.1 | 37.55 | 0
15:15 - 15:30 | -1.65 | 0 | 23.47 | -14.43 | 0 | 0 | 6.1 | 37.55 | 0
15:30 - 15:45 | 0 | 0 | 23.47 | -14.43 | 0 | 0 | 6.1 | 0 | 0
15:45 - 16:00 | 0 | 0 | 23.47 | -14.43 | 0 | 0 | 6.1 | 0 | 0
16:00 - 16:15 | 0 | 0 | 14.08 | -14.43 | 35.68 | 0 | 6.1 | 37.56 | 0
16:15 - 16:30 | 0 | 0 | 14.08 | -14.43 | 21.78 | 0 | 6.1 | 22.9 | 0
16:30 - 16:45 | 0 | 0 | 14.08 | -14.43 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 10.38 | -14.43 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | -14.43 | 0 | 0 | 0 | 0 | 0
Average | -0.82781 | -0.10969 | 7.8825 | -14.43 | 6.7479 | 2.1519 | 1.9698 | 10.4095 | 0.625

## RTM
RTM TRADING DETAILS FOR DT: 28.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Paradeep_Phosphates_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -2.58 | 0 | -0.21 | 0 | -6.19 | -525 | 0 | 0 | -237.11 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
00:15 - 00:30 | -2.58 | 0 | -0.21 | 0 | -6.19 | -525 | 0 | 0 | -237.11 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
00:30 - 00:45 | -2.58 | 0 | -0.21 | 0 | -6.19 | -575.02 | 0 | 0 | -288.66 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
00:45 - 01:00 | -2.58 | -5.15 | -0.21 | 0 | -6.19 | -375.02 | 0 | 0 | -288.66 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
01:00 - 01:15 | -2.58 | 0 | -0.21 | 0 | -6.19 | -385.45 | 0 | 0 | -206.19 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -25.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
01:15 - 01:30 | -2.58 | 0 | -0.21 | 0 | -6.19 | -372.52 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
01:30 - 01:45 | -2.58 | 0 | -0.21 | 0 | -6.19 | -367.23 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
01:45 - 02:00 | -2.58 | 0 | -0.21 | 0 | -6.19 | -366.92 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
02:00 - 02:15 | -2.58 | 0 | -0.21 | 0 | 0 | -425.13 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
02:15 - 02:30 | -2.58 | 0 | -0.21 | 0 | 0 | -425.15 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
02:30 - 02:45 | -2.47 | 0 | -0.21 | 0 | 0 | -527.16 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
02:45 - 03:00 | -2.47 | -5.15 | -0.21 | 0 | 0 | -520.42 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | -25.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
03:00 - 03:15 | -2.47 | 0 | -0.21 | 0 | 0 | -550.33 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 1.88 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
03:15 - 03:30 | -2.47 | 0 | -0.21 | 0 | 0 | -555 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 1.88 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
03:30 - 03:45 | -2.47 | 0 | -0.21 | 0 | 0 | -595.09 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
03:45 - 04:00 | -2.47 | 0 | -0.21 | 0 | 0 | -582.52 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
04:00 - 04:15 | -2.47 | 0 | -0.21 | 0 | 0 | -600.32 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
04:15 - 04:30 | -2.47 | 0 | -0.21 | 0 | 0 | -601.71 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
04:30 - 04:45 | -2.47 | 0 | -0.21 | 0 | 0 | -602.47 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -15.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
04:45 - 05:00 | -2.47 | 0 | -0.21 | 0 | -6.19 | -601.71 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
05:00 - 05:15 | -2.47 | 0 | -0.21 | 0 | -6.19 | -635.53 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -11.34
05:15 - 05:30 | -2.47 | 0 | -0.21 | 0 | -6.19 | -673.13 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -11.34
05:30 - 05:45 | -2.47 | 0 | -0.82 | 0 | -6.19 | -650 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -11.34
05:45 - 06:00 | -2.47 | 0 | -0.82 | 0 | -6.19 | -650 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -11.34
06:00 - 06:15 | -2.47 | 0 | -0.82 | 0 | -6.19 | -550 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -11.34
06:15 - 06:30 | -2.47 | -3.09 | -0.82 | 0 | -6.19 | -550 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -11.34
06:30 - 06:45 | -2.47 | -7.22 | -0.82 | 0 | -6.19 | -550 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | -0.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -11.34
06:45 - 07:00 | -2.47 | -7.22 | -0.82 | 0 | -6.19 | -550 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | -0.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -11.34
07:00 - 07:15 | -2.47 | -7.22 | -0.41 | 0 | -6.19 | -334.64 | 0 | 0 | 0 | -0.41 | 0 | -1.55 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -25.77 | 0 | 0 | 0 | 0 | 0 | 0 | -8.87 | -11.34
07:15 - 07:30 | -2.47 | -3.09 | -0.41 | 0 | -6.19 | -386.03 | 0 | 0 | 0 | -0.52 | 0 | -1.55 | 0 | 0 | -1.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | -8.87 | -11.34
07:30 - 07:45 | -2.47 | -3.09 | -0.41 | 0 | -6.19 | -291.87 | 0 | 10.33 | 0 | -0.62 | 9.39 | -1.55 | 0 | 18.78 | -1.65 | 6.58 | 0 | 15.03 | 7.51 | 0 | 0 | 13.14 | -2.06 | 84.5 | 0 | -2.06 | 0 | 0 | 8.92 | 84.5 | 4.69 | 10.33 | 145.51 | -8.87 | -11.34
07:45 - 08:00 | -2.47 | -3.09 | -0.41 | 0 | 0 | -186.68 | 0 | 10.33 | 0 | -0.82 | 9.39 | -1.55 | 0 | 18.78 | -2.06 | 6.58 | 0 | 18.78 | 7.51 | 0 | 0 | 13.14 | -2.06 | 84.5 | 0 | -2.06 | 0 | 7.75 | 8.92 | 84.5 | 4.69 | 10.33 | 107.01 | -8.87 | -11.34
08:00 - 08:15 | -2.47 | -17.53 | -0.41 | 2.81 | 0 | 174.34 | 0 | 10.33 | 0 | -0.93 | 9.39 | -1.55 | 0 | 0 | -2.37 | 6.58 | 0 | 15.03 | 7.51 | 9.39 | 2.81 | 13.14 | 0 | 84.5 | 0 | -2.06 | 0 | 0 | 8.92 | 56.33 | 4.69 | 5.16 | 71.35 | -8.87 | 0
08:15 - 08:30 | -2.47 | 0 | -0.41 | 2.81 | 0 | 42.73 | 0 | 10.33 | 0 | -0.82 | 0 | -1.55 | 0 | 0 | -2.58 | 6.58 | 0 | 15.03 | 0 | 0 | 2.81 | 13.14 | 0 | 84.5 | 0 | -2.06 | 0 | 0 | 8.92 | 56.33 | 0 | 0 | 0 | -8.87 | 0
08:30 - 08:45 | -2.47 | 0 | -0.41 | 2.81 | 0 | 77.39 | 0 | 10.33 | 0 | -0.41 | 0 | -1.55 | 0 | 0 | -3.09 | 6.58 | 0 | 15.03 | 0 | 0 | 2.81 | 13.14 | 0 | 84.5 | 0 | -2.06 | -26.8 | 0 | 8.92 | 56.33 | 0 | 0 | 0 | -8.87 | 0
08:45 - 09:00 | -2.47 | 0 | -0.41 | 2.81 | 0 | 54.17 | 0 | 10.33 | 0 | -0.52 | 9.39 | -1.55 | 0 | 0 | -2.99 | 0.94 | 0 | 15.03 | 7.51 | 9.39 | 2.81 | 13.14 | 0 | 84.51 | 0 | -2.06 | -22.68 | 0 | 8.92 | 56.33 | 4.69 | 5.16 | 0 | -8.87 | 0
09:00 - 09:15 | -2.47 | 2.81 | -0.41 | 2.81 | 0 | 147.49 | 0 | 10.33 | 0 | -0.1 | 0 | -1.55 | -15.46 | 0 | -3.3 | 0.94 | 0 | 15.03 | 7.51 | 9.39 | 2.81 | 13.14 | 0 | 84.5 | 0 | -2.06 | 0 | 0 | 8.92 | 56.33 | 4.69 | 5.16 | 0 | -8.87 | 0
09:15 - 09:30 | -2.47 | 2.81 | -0.41 | 2.81 | 0 | 72.99 | 0 | 10.33 | 0 | -0.1 | 9.39 | -1.55 | 0 | 0 | -3.61 | 0.94 | 0 | 9.39 | 7.51 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | -2.06 | 0 | 0 | 8.92 | 56.33 | 4.69 | 5.16 | 0 | -8.87 | 0
09:30 - 09:45 | -2.47 | -2.67 | -0.41 | 2.81 | 0 | -19.83 | 13.99 | 10.33 | 0 | -0.03 | 0 | -1.55 | 0 | 0 | 0 | 0.94 | 0 | 4.69 | 7.51 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | 0 | 9.39 | 8.92 | 56.32 | 4.69 | 5.16 | 0 | -8.87 | 0
09:45 - 10:00 | -2.47 | 0 | -0.41 | 2.81 | 0 | -19.87 | 10.7 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0.94 | 0 | 4.69 | 7.51 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | 0 | 9.39 | 8.92 | 56.33 | 4.69 | 5.16 | 0 | -8.87 | 0
10:00 - 10:15 | -2.47 | 2.81 | -0.21 | 2.81 | 0 | 142.31 | 11.36 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 0 | 3.66 | 0.94 | 0 | 4.69 | 7.51 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | -5.15 | 9.39 | 8.92 | 46.95 | 4.69 | 5.16 | 0 | -8.87 | 0
10:15 - 10:30 | -2.47 | 2.81 | -0.21 | 2.81 | 0 | 142.32 | 13.8 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 0 | 3.29 | 0.94 | 0 | 4.69 | 7.51 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | -20.62 | 9.39 | 8.92 | 46.95 | 4.69 | 5.16 | 0 | -8.87 | 0
10:30 - 10:45 | -2.47 | 1.88 | -0.21 | 2.81 | 0 | 135.56 | 10.42 | 10.33 | 0 | -0.24 | 0 | -1.55 | 0 | 0 | 3.47 | 0.94 | 0 | 4.69 | 7.51 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | 0 | 9.39 | 8.92 | 56.33 | 4.69 | 5.16 | 0 | -8.87 | 0
10:45 - 11:00 | -2.47 | 1.88 | -0.21 | 2.81 | 0 | 430.67 | 11.08 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 0 | 3.38 | 0.94 | 0 | 4.69 | 7.51 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | 0 | 9.39 | 8.92 | 56.33 | 4.69 | 5.16 | 0 | -8.87 | 0
11:00 - 11:15 | -2.58 | -12.37 | -0.21 | 2.81 | 0 | 687.26 | 14.55 | 10.33 | 0 | -0.52 | 0 | -1.55 | 0 | 0 | 3.38 | 0.94 | 0 | 11.26 | 7.51 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | 0 | 9.39 | 8.92 | 56.33 | 4.69 | 10.33 | 0 | -8.87 | 0
11:15 - 11:30 | -2.58 | -15.46 | -0.21 | 2.81 | 0 | 590.47 | 10.14 | 10.33 | 0 | -0.62 | 0 | -1.55 | 0 | 0 | 3.29 | 0.94 | 0 | 11.26 | 7.51 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | 0 | 9.39 | 8.92 | 56.33 | 4.69 | 10.33 | 0 | -8.87 | 0
11:30 - 11:45 | -2.58 | -6.19 | -0.21 | 0 | 0 | 609.81 | 10.89 | 10.33 | 0 | -1.34 | 0 | -1.55 | 0 | 0 | 3.29 | 0.94 | 0 | 11.26 | 7.51 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | 0 | 9.39 | 8.92 | 65.72 | 4.69 | 10.33 | 0 | -8.87 | 0
11:45 - 12:00 | -2.58 | -2.06 | -0.21 | 0 | 0 | 609.8 | 6.95 | 10.33 | 0 | -1.34 | 0 | -1.55 | 0 | 0 | 3.29 | 0.94 | 0 | 11.26 | 7.51 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | -18.56 | 9.39 | 8.92 | 51.63 | 4.69 | 10.33 | 0 | -8.87 | 0
12:00 - 12:15 | -2.58 | -3.09 | -0.21 | 0 | 0 | 803.36 | 11.26 | 10.33 | 0 | -0.82 | 0 | -1.55 | 0 | 0 | 3.09 | 0.94 | 0 | 15.96 | 11.26 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | -17.53 | 9.39 | 8.92 | 51.63 | 4.69 | 10.33 | 0 | -8.87 | 0
12:15 - 12:30 | -2.58 | -3.09 | -0.21 | 0 | 0 | 653.31 | 13.05 | 10.33 | 0 | -0.82 | 0 | -1.55 | 0 | 0 | 3.29 | 0.94 | 0 | 15.96 | 11.26 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | 0 | 9.39 | 8.92 | 51.63 | 4.69 | 10.33 | 0 | -8.87 | 0
12:30 - 12:45 | -2.58 | -4.12 | -0.21 | 0 | 0 | 580.72 | 15.77 | 10.33 | 0 | -1.24 | 0 | -1.55 | 0 | 0 | 3.29 | 0.94 | 0 | 15.96 | 11.26 | 9.39 | 2.81 | 13.14 | -8.25 | 46.95 | 0 | 0 | 0 | 9.39 | 8.92 | 70.41 | 4.69 | 10.33 | 0 | -8.87 | 0
12:45 - 13:00 | -2.58 | -4.12 | -0.21 | 0 | 0 | 575.39 | 0 | 10.33 | 0 | -1.13 | 0 | -1.55 | 0 | 0 | 3.09 | 0.94 | 0 | 15.96 | 11.26 | 9.39 | 2.81 | 13.14 | -8.25 | 46.95 | 0 | 0 | 0 | 9.39 | 8.92 | 70.41 | 4.69 | 10.33 | 0 | -8.87 | 0
13:00 - 13:15 | -2.58 | -20.62 | -0.82 | 0 | 0 | 609.8 | 16.81 | 10.33 | 0 | -0.93 | 0 | -1.55 | 0 | 0 | 3.19 | 0.94 | 0 | 15.96 | 11.26 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | 0 | 9.39 | 8.92 | 70.41 | 4.69 | 10.33 | 0 | -8.87 | 0
13:15 - 13:30 | -2.58 | -5.15 | -0.82 | 0 | 0 | 609.8 | 16.99 | 10.33 | 0 | -0.82 | 0 | -1.55 | 0 | 0 | 3.66 | 0.94 | 0 | 15.96 | 11.26 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | 0 | 9.39 | 8.92 | 70.41 | 4.69 | 10.33 | 0 | -8.87 | 0
13:30 - 13:45 | -2.58 | -3.09 | -0.82 | 0 | 0 | 561.41 | 15.87 | 10.33 | 0 | -0.62 | 0 | -1.55 | 0 | 0 | 3.38 | 0.94 | 0 | 15.96 | 11.26 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | -25.77 | 9.39 | 8.92 | 75.11 | 4.69 | 10.33 | 0 | -8.87 | 0
13:45 - 14:00 | -2.58 | -3.09 | -0.82 | 0 | 0 | 996.94 | 15.68 | 10.33 | 0 | -0.52 | 0 | -1.55 | 0 | 0 | 3.95 | 0.94 | 0 | 15.96 | 11.26 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | -25.77 | 9.39 | 8.92 | 75.11 | 4.69 | 10.33 | 0 | -8.87 | 0
14:00 - 14:15 | -2.58 | -3.09 | -0.82 | 0 | 0 | 658.16 | 17.09 | 10.33 | 0 | -0.52 | 0 | -1.55 | 0 | 0 | 0 | 0.94 | 0 | 15.96 | 11.26 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | 0 | 9.39 | 8.92 | 75.11 | 4.69 | 10.33 | 0 | -8.87 | 0
14:15 - 14:30 | -2.58 | -3.09 | -0.82 | 0 | 0 | 679.31 | 0 | 10.33 | 0 | -0.41 | 0 | -1.55 | 0 | 0 | -3.3 | 0.94 | 0 | 15.96 | 11.26 | 9.39 | 2.81 | 13.14 | -3.09 | 46.95 | 0 | -5.15 | 0 | 0 | 8.92 | 75.11 | 4.69 | 10.33 | 0 | -8.87 | 0
14:30 - 14:45 | -2.58 | -3.09 | -0.82 | 0 | 0 | 483.98 | 0 | 10.33 | 0 | -0.52 | 0 | -1.55 | 0 | 0 | -2.99 | 0.94 | 0 | 15.96 | 11.26 | 9.39 | 2.81 | 13.14 | -3.09 | 46.95 | 0 | -5.15 | 0 | 0 | 8.92 | 75.11 | 4.69 | 10.33 | 0 | -8.87 | 0
14:45 - 15:00 | -2.58 | -3.09 | -0.82 | 0 | 0 | 485.32 | 0 | 10.33 | 0 | -0.41 | 0 | -1.55 | -15.46 | 0 | -2.27 | 0.94 | 0 | 15.96 | 11.26 | 9.39 | 2.81 | 13.14 | -3.09 | 46.95 | 0 | -5.15 | 0 | 0 | 8.92 | 65.72 | 4.69 | 10.33 | 0 | -8.87 | 0
15:00 - 15:15 | -2.58 | -3.09 | -0.82 | 0 | 0 | 314.6 | 16.43 | 10.33 | 0 | -0.31 | 0 | -1.55 | 0 | 0 | -2.06 | 0.94 | 0 | 15.96 | 11.26 | 9.39 | 2.81 | 13.14 | -3.09 | 46.95 | 0 | -5.15 | 0 | 9.39 | 8.92 | 65.72 | 4.69 | 10.33 | 0 | -8.87 | 0
15:15 - 15:30 | -2.58 | -3.09 | -0.82 | 0 | 0 | 169.41 | 14.93 | 10.33 | 0 | -0.21 | 9.39 | -1.55 | 0 | 0 | -2.27 | 0.94 | 0 | 15.96 | 11.26 | 9.39 | 2.81 | 13.14 | -3.09 | 46.95 | 0 | -5.15 | -22.68 | 9.39 | 8.92 | 56.33 | 4.69 | 10.33 | 0 | -8.87 | 0
15:30 - 15:45 | -2.58 | -3.09 | -0.82 | 0 | 0 | 300.1 | 13.8 | 10.33 | 0 | -0.21 | 9.39 | -1.55 | 0 | 0 | 0 | 0.94 | 0 | 15.96 | 11.26 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0 | 0 | -10.31 | 9.39 | 8.92 | 46.95 | 4.69 | 10.33 | 0 | -8.87 | 0
15:45 - 16:00 | -2.58 | -3.09 | -0.82 | 0 | 0 | 348.48 | 15.31 | 10.33 | 0 | -0.21 | 9.39 | -1.55 | 0 | 0 | 0 | 0.94 | 0 | 25.35 | 11.26 | 9.39 | 2.81 | 13.14 | 0 | 84.5 | 0 | 0 | 0 | 9.39 | 8.92 | 46.95 | 4.69 | 10.33 | 0 | -8.87 | 0
16:00 - 16:15 | -2.58 | -12.37 | -0.82 | 0 | 0 | 251.69 | 15.11 | 10.33 | 0 | -0.1 | 9.39 | -1.55 | 0 | 18.78 | 0 | 0.94 | 0 | 25.35 | 11.26 | 9.39 | 2.81 | 13.14 | 0 | 46.95 | 0.94 | 0 | 0 | 9.39 | 8.92 | 42.25 | 4.69 | 10.33 | 0 | -5.15 | 0
16:15 - 16:30 | -2.58 | -12.37 | -0.82 | 0 | 0 | 222.73 | 0 | 10.33 | 0 | 0 | 9.39 | -1.55 | 0 | 18.78 | -1.55 | 0.94 | 0 | 25.35 | 11.26 | 9.39 | 2.81 | 13.14 | -3.09 | 61.59 | 0.94 | -5.15 | 0 | 9.39 | 8.92 | 42.25 | 4.69 | 10.33 | 0 | -5.15 | 0
16:30 - 16:45 | -2.58 | -3.09 | -0.82 | 0 | 0 | 105.88 | 0 | 10.33 | 0 | 0 | 9.39 | -1.55 | 0 | 18.78 | -0.82 | 6.58 | 0 | 25.35 | 11.26 | 9.39 | 2.81 | 13.14 | -3.09 | 84.5 | 0.94 | -5.15 | 0 | 0 | 8.92 | 42.25 | 4.69 | 10.33 | 0 | -6.19 | 0
16:45 - 17:00 | -2.58 | -3.09 | -0.82 | 0 | 0 | 78.85 | 0 | 10.33 | 0 | 0 | 9.39 | -1.55 | 0 | 18.78 | -0.52 | 6.58 | 0 | 25.35 | 11.26 | 9.39 | 2.81 | 13.14 | -3.09 | 84.49 | 0.94 | -5.15 | -20.62 | 0 | 8.92 | 42.25 | 4.69 | 10.33 | 0 | -6.19 | 0
17:00 - 17:15 | -2.58 | -3.09 | -0.21 | 0 | 0 | -214.47 | 8.7 | 10.33 | 0 | 0 | 9.39 | -1.55 | 0 | 18.78 | -0.31 | 6.58 | 0 | 25.35 | 11.26 | 9.39 | 2.81 | 13.14 | -3.09 | 84.49 | 0.94 | -10.31 | -10.31 | 9.39 | 8.92 | 32.86 | 4.69 | 10.33 | 0 | 0 | 0
17:15 - 17:30 | -2.58 | -3.09 | -0.21 | 0 | 0 | -125 | 0 | 10.33 | 0 | 0 | 9.39 | -1.55 | 0 | 18.78 | -0.1 | 6.58 | 0 | 25.35 | 11.26 | 9.39 | 2.81 | 13.14 | -3.09 | 84.49 | 0.94 | -10.31 | 0 | 0 | 8.92 | 32.86 | 4.69 | 10.33 | 0 | 0 | 0
17:30 - 17:45 | -2.58 | -20.62 | -0.21 | 0 | 0 | -52.91 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 6.58 | 0 | 19.72 | 0 | 9.39 | 2.81 | 13.14 | -3.09 | 84.48 | 0.94 | -5.15 | -10.31 | 0 | 8.92 | 32.86 | 0 | 10.33 | 0 | 0 | 0
17:45 - 18:00 | -2.58 | -7.22 | -0.21 | 0 | 0 | -75.54 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 0 | 0 | 19.72 | 0 | 9.39 | 0 | 0 | -3.09 | 84.48 | 0 | -5.15 | 0 | 0 | 8.92 | 32.86 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -2.58 | 0 | -0.21 | 0 | 0 | -124.57 | 0 | 10.33 | 0 | 0 | 9.39 | -1.55 | 0 | 18.78 | 0.38 | 6.58 | 0 | 25.35 | 11.26 | 9.39 | 2.81 | 13.14 | 0 | 84.48 | 0.94 | -5.15 | 0 | 0 | 8.92 | 32.86 | 4.69 | 10.33 | 0 | 0 | -11.34
18:15 - 18:30 | -2.58 | 0 | -0.21 | 0 | -6.19 | -200 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0.38 | 6.58 | 0 | 19.72 | 11.26 | 9.39 | 2.81 | 13.14 | 0 | 84.48 | 0.94 | -5.15 | -25.77 | 0 | 8.92 | 32.86 | 4.44 | 10.33 | 0 | 0 | -11.34
18:30 - 18:45 | -2.58 | 0 | -0.21 | 0 | 0 | -230.5 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 0 | 0 | 19.72 | 0 | 9.39 | 0 | 0 | -2.06 | 84.48 | 0 | -5.15 | 0 | 0 | 8.92 | 32.86 | 0 | 0 | 0 | 0 | -11.34
18:45 - 19:00 | -2.58 | 0 | -0.21 | 0 | 0 | -252.47 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 0 | 0 | 19.72 | 0 | 0 | 0 | 0 | -2.06 | 84.49 | 0 | -5.15 | 0 | 0 | 0 | 32.86 | 0 | 0 | 0 | 0 | -11.34
19:00 - 19:15 | -2.58 | -4.12 | -0.21 | 0 | -6.19 | -256.25 | 0 | 0 | -103.09 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -5.15 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
19:15 - 19:30 | -2.58 | 0 | -0.21 | 0 | -6.19 | -261.21 | 0 | 0 | -103.09 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -5.15 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
19:30 - 19:45 | -2.58 | 0 | -0.21 | 0 | -6.19 | -212.82 | 0 | 0 | -103.09 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
19:45 - 20:00 | -2.58 | 0 | -0.21 | 0 | -6.19 | -212.52 | 0 | 0 | -103.09 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
20:00 - 20:15 | -2.68 | 0 | -0.21 | 0 | -6.19 | -189.24 | 0 | 0 | -103.09 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -15.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
20:15 - 20:30 | -2.68 | 0 | -0.21 | 0 | -6.19 | -193.26 | 0 | 0 | -103.09 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
20:30 - 20:45 | -2.68 | -4.12 | -0.21 | 0 | -6.19 | -107.45 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
20:45 - 21:00 | -2.68 | 0 | -0.21 | 0 | -6.19 | -112.51 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
21:00 - 21:15 | -2.68 | 0 | -0.21 | 0 | -6.19 | -101.2 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
21:15 - 21:30 | -2.68 | 0 | -0.21 | 0 | -6.19 | -104.91 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
21:30 - 21:45 | -2.27 | 0 | -0.82 | 0 | -6.19 | -102.77 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
21:45 - 22:00 | -2.27 | 0 | -0.82 | 0 | -6.19 | -100 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
22:00 - 22:15 | -2.27 | 0 | -0.82 | 0 | -6.19 | -83.84 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
22:15 - 22:30 | -2.27 | 0 | -0.82 | 0 | -6.19 | -83.84 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
22:30 - 22:45 | -2.27 | 0 | -0.21 | 0 | -6.19 | -35.31 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
22:45 - 23:00 | -2.27 | 0 | -0.21 | 0 | -6.19 | -38.01 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
23:00 - 23:15 | -2.27 | 0 | -0.21 | 0 | -6.19 | -45.15 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
23:15 - 23:30 | -2.27 | 0 | -0.21 | 0 | -6.19 | -44.76 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
23:30 - 23:45 | -2.27 | 0 | -0.21 | 0 | -6.19 | -39.47 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
23:45 - 24:00 | -2.27 | 0 | -0.21 | 0 | -6.19 | -36.48 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 2.81 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
Average | -2.515 | -2.3945 | -0.40021 | 0.40979 | -2.6436 | -66.2152 | 3.3404 | 4.8422 | -27.0622 | -0.19938 | 1.4672 | -1.55 | -0.32208 | 2.7388 | 0.13865 | 1.126 | -0.12875 | 8.253 | 4.0667 | 4.0103 | 1.2001 | 5.8856 | -1.4379 | 29.6886 | 0.088125 | -2.1031 | -6.2821 | 2.6239 | 4.1813 | 26.3563 | 1.9516 | 3.8732 | 3.3736 | -3.5625 | -2.3192