## POWER STATUS
POWER STATUS ON DT 30.08.2026
[9 empty] | 2026-08-30 | 2026-08-29
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 19:00
Demand -> | [8 empty] | 5462.981 | 6140.7104
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 230.708 | 5.537 | 630/590 ft | 623.91 | 624.65 | 625.04 | 237.3939 | 240.1721
| Chiplima | 72(3x24) | 61.042 | 1.465 | - |  |  |  | 62.0835 | 59.2923
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1481.2 | 1473.9 | 1474.4 | 0 | 0
| Rengali | 250(5x50) | 237.4333 | 5.6984 | 123.5/109.75 mt | 122.17 | 121.54 | 121.54 | 242.0086 | 242.1797
| Upper Kolab | 320(4x80) | 42.83 | 1.0279 | 858/844 mt | 855.14 | 852.05 | 852.13 | 43.9242 | 44.9753
| Upper Indravati | 600(4x150) | 273.4375 | 6.5625 | 642/625 mt | 636.71 | 639.2 | 639.36 | 99.5485 | 396.7422
| Machkund | 60(50% of(3x17+3x23)) | 13.25 | 0.318 | 2750/2685 ft | 2748.05 | 2729.9 | 2730.2 | 16.1771 | 16.2332
| Total Hydro | 2099.5 | 858.7008 | 20.6088 |  |  |  |  | 701.1358 | 999.5947
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1610.0704 | 38.6417 | RENEWABLE ENERGY (RE) |  |  |  | 1672.4207 | 1662.941
[5 empty] | M.Hydl | 123.8
| Total Thermal | 2200 | 1610.0704 | 38.6417 | Solar | 61.66 |  |  | 1672.4207 | 1662.941
IPP | VEDANTA #2 | 600 (1x600) | 386.4462 | 9.2747 | Total IPPs | Yesterday's Demand Profile |  |  | 397.2654 | 508.8282
| GMR #3 | 350 (1x350) | 313.4077 | 7.5218 | 793.2121 |  | MW | HRS | 328.2955 | 325.1142
| NBVL(IPP) | 60(1x60) | 48.5604 | 1.1654 |  |  |  |  | 40.1396 | 54.0202
| MDTPC |  | 44.7978 | 1.0751 |  |  |  |  | 30.2305 | 54.7001
| CGPs |  | 851.0542 | 20.4253 | IPPs, CGPs & RE | Maximum | 6141 | 19:00 | 1708.3653 | 2200.4906
| Central Sector(Drawl) |  | 1384.0928 | 33.2182 | 1829.7263 | Minimum | 5298 | 06:00 | 1381.0592 | 1277.684
| Central Sector(Sch) |  | 1511.2061 | 36.2689 |  | Average | 5682.5902 |  | 1028.76 | 1404.66
| Grand Total |  | 5682.5902 | 136.3822 | Instantaneous Peak demand |  | 6416 | 18:36 | 5462.981 | 6140.7104
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(7) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1717.5866 | 41.2221 | 1627.1725 | 39.0521 | 1689.9557 | 40.5589
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1862.6839 | 44.7044 | 1826.2044 | 43.8289 | 1343.6122 | 32.2467
Rengali | NIL | TSTPP St-II | 4 | TPNODL | 1351.5027 | 32.4361 | 1356.4981 | 32.556 | 1333.7726 | 32.0105
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 610.8784 | 14.6611 | 616.207 | 14.789 | 599.5076 | 14.3882
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5542.6516 | 133.0236 | 5426.0819 | 130.226 | 4966.8481 | 119.2044
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | 3
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 397.2654 | GMR |  |  |  | 328.2955
| NBVL #3 | 40.1396 | MDTPC |  |  |  | 30.2305
Mini Hydel: | MEENAKSHI | 40.0198 | OPCL |  |  |  | 0
| BTPL | 24.359 | SAPTADHARA |  |  |  | 19.86
Solar: |  | 81.5819 | KAKATIYA |  |  |  | 5.55
CGPs : | JSPL (Angul) | 219.3827 | JSL(Duburi) |  |  |  | -119.295
| ICCL | 50.2159 | visa |  |  |  | 11.1136
| NALCO | -147.8198 | VAL (CGP) |  |  |  | 115.036
| RSP | -57.501 | BSL(MMDL) |  |  |  | -7.6697
| INDAL | -0.45915 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -26.3657 | VAL CPP 400 kV |  |  |  | -470.9912
| NBVL | 40.043 | Arati |  |  |  | 21.265
| BPSL(JSG) | -113.4928 | BPPL |  |  |  | 120.4485
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-22 | 2026-08-23 | 2026-08-24 | 2026-08-25 | 2026-08-26 | 2026-08-27 | 2026-08-28 | 2026-08-29
611.49 | 579.28 | 683.9104 | 688.7883 | 689.12 | 789.39 | 873.4591 | 858.7008
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.29.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | -4.75 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 5.87
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AGE26AL_PSS6_KPS1_S | ODISHA | 134.54
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | 0 | AP41PL_BHDL | ODISHA | 60.1
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | 0 | AP43PL_BKN | ODISHA | 96.36
JPIPL | NPCL_UP | -14 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.19
JSPLANGUL | GEB_Beneficiary | -52 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 15.38
JSPLANGUL | RUVITSL | -43.75 | DCBL_Rajgangpur | DALCEMAP | -3.88 | AWEK1L | ODISHA | 23.08
MAADURGA_THERMAL | NPCL_UP | -16.27 | DCBL_Rajgangpur | DCBLME | -6 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 1.99
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCL_RCW | -2.54 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 42.37
ODISHA | CESC | -87.5 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -6.75 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 9.36
ODISHA | KPTCL | -16.67 | DCBL_Rajgangpur | DalmiaCementNEL2 | -2.12 | DADRI_SOLAR | ODISHA | 0.72
VSL | CR_IR_MS | -10 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | ENERSON_SOLAR_10MW | ODISHA | 0
FARIDABAD_SOLAR | ODISHA | 0.86 | FACORPOWER | PSPCL | -5.83 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 60.08 | FACORPOWER | PSPCL | -14.17 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.58 | FACORPOWER | PSPCL | -3.54 | GADAG_GreenInfra_W | ODISHA | 0.92
RAJ_SOLAR | ODISHA | 2.76 | FACORPOWER | PSPCL | -1.46 | GADAG_Serentica3_S | VLSEZ | 29.64
|  |  | JSPLANGUL | RUVITSL | -106.25 | GADAG_Serentica3_W | VLSEZ | 103.31
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_Serentica3_W | VLSEZ | 0.81
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GIWEL_SECI_II_RE | ODISHA | 78.31
|  |  | NBVLIPP | BSPHCL | -14.38 | GPCL_SOLAR_10 | ODISHA | 0.61
|  |  | OCL_IRON_STEEL | BRPL | -25 | GSECL_SOLAR | ODISHA | 1.08
|  |  | OCL_IRON_STEEL | TPDDL | -34 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.5
|  |  | ODISHA | DNHDDPDCL | -31.25 | KARUR_TPVARDHAMAN_W | TSKPO | 105.76
|  |  | ORSISL | PSPCL | -2.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | ORSISL | PSPCL | -1.17 | Kurnool_Greenko_H_Inj | ADITYAAL | 4.49
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | NTPCRE1_SMND_BHJ2_W | ODISHA | 10.05
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 5.33
|  |  | VIRAJ_SEPL | CESC | -4.17 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 10.82
|  |  | VSL | WBSEDCL | -4.17 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 6.45
|  |  | JIPL | ODISHA | 116.15 | OKWPL_RE | ODISHA | 37.6
|  |  | NALCOAP | NACL_Odisha | 35.03 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 18.43
[6 empty] | RWE_AP2_SECI_III | ODISHA | 29.54
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 14.47
[6 empty] | SRI9PL_FTG3 | VLSEZ | 85.23
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.14
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.16
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 68.76
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 21.93
[6 empty] | XXPPL_FTG3 | ODISHA | 67.35

## DAM
DAM TRADING DETAILS FOR DT : 29.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | SAIL_R_S_P_Rourkela | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -2.78 | 0 | -5.15 | -100 | -226.8 | 0 | -2.06 | -17.53 | 0 | 0 | 0
00:15 - 00:30 | -2.78 | 0 | -5.15 | -100 | -226.8 | 0 | -2.06 | -17.53 | 0 | 0 | 0
00:30 - 00:45 | -2.78 | 0 | -5.15 | -100 | -226.8 | 0 | -2.06 | -17.53 | 0 | 0 | 0
00:45 - 01:00 | -2.78 | 0 | -5.15 | -100 | -226.8 | 0 | -2.06 | -17.53 | 0 | 0 | 0
01:00 - 01:15 | -2.78 | 0 | -5.15 | -100 | -154.64 | 0 | -2.06 | -17.53 | 0 | 0 | 0
01:15 - 01:30 | -2.78 | 0 | -5.15 | -100 | -103.09 | 0 | -2.06 | -17.53 | 0 | 0 | 0
01:30 - 01:45 | -2.78 | 0 | -5.15 | -100 | -51.55 | 0 | -2.06 | -17.53 | 0 | 0 | 0
01:45 - 02:00 | -2.78 | 0 | -5.15 | -100 | -16.22 | 0 | -2.06 | -17.53 | 0 | 0 | 0
02:00 - 02:15 | -2.78 | 0 | 0 | -150 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
02:15 - 02:30 | -2.78 | 0 | 0 | -150 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
02:30 - 02:45 | -2.78 | 0 | 0 | -150 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
02:45 - 03:00 | -2.78 | 0 | 0 | -150 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
03:00 - 03:15 | -2.78 | 0 | 0 | -300 | 0 | 0 | -2.06 | -17.53 | 9.39 | 84.5 | 0
03:15 - 03:30 | -2.78 | 0 | 0 | -300 | 0 | 0 | -2.06 | -17.53 | 9.39 | 84.5 | 0
03:30 - 03:45 | -2.78 | 0 | 0 | -300 | 0 | 0 | -2.06 | -17.53 | 9.39 | 84.5 | 0
03:45 - 04:00 | -2.78 | 0 | 0 | -300 | 0 | 0 | -2.06 | -17.53 | 9.39 | 84.5 | 0
04:00 - 04:15 | -2.78 | 0 | 0 | -450 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
04:15 - 04:30 | -2.78 | 0 | 0 | -450 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
04:30 - 04:45 | -2.78 | 0 | 0 | -450 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
04:45 - 05:00 | -2.78 | 0 | 0 | -450 | 0 | 0 | -2.06 | -17.53 | 0 | 0 | 0
05:00 - 05:15 | -2.78 | 0 | -5.15 | -500 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | 0
05:15 - 05:30 | -2.78 | 0 | -5.15 | -500 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | 0
05:30 - 05:45 | -2.78 | 0 | -5.15 | -450 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | 0
05:45 - 06:00 | -2.78 | 0 | -5.15 | -450 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | 0
06:00 - 06:15 | -2.78 | 0 | -5.15 | -675 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
06:15 - 06:30 | -2.78 | 0 | -5.15 | -675 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
06:30 - 06:45 | -2.78 | 0 | -5.15 | -675 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
06:45 - 07:00 | -2.78 | 0 | -5.15 | -675 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
07:00 - 07:15 | -2.78 | 0 | -5.15 | -925 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
07:15 - 07:30 | -2.78 | 0 | -5.15 | -925 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
07:30 - 07:45 | -2.78 | 0 | -5.15 | -975 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
07:45 - 08:00 | -2.78 | 0 | -5.15 | -975 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
08:00 - 08:15 | -2.78 | 3.75 | 0 | -1075 | 0 | 0 | -1.03 | -44.33 | 0 | 0 | -6.19
08:15 - 08:30 | -2.78 | 3.75 | 0 | -1075 | 0 | 0 | -1.03 | -44.33 | 0 | 0 | -6.19
08:30 - 08:45 | -2.78 | 3.75 | 0 | -1075 | 0 | 0 | -1.03 | -44.33 | 0 | 0 | -6.19
08:45 - 09:00 | -2.78 | 3.75 | 0 | -1020.32 | 0 | 0 | -1.03 | -44.33 | 0 | 0 | -6.19
09:00 - 09:15 | -2.78 | 3.75 | 0 | -1050.74 | 0 | 0 | -1.03 | -18.56 | 9.39 | 84.5 | -6.19
09:15 - 09:30 | -2.78 | 3.75 | 0 | -850 | 0 | 9.39 | -1.03 | -18.56 | 9.39 | 0 | -6.19
09:30 - 09:45 | -2.78 | 3.75 | 0 | -850 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
09:45 - 10:00 | -2.78 | 3.75 | 0 | -609 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
10:00 - 10:15 | -2.78 | 3.75 | 0 | -261.4 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
10:15 - 10:30 | -2.78 | 3.75 | 0 | 0 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
10:30 - 10:45 | -2.78 | 3.75 | 0 | 0 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
10:45 - 11:00 | -2.78 | 3.75 | 0 | 0 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
11:00 - 11:15 | -2.78 | 3.75 | 0 | 0 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
11:15 - 11:30 | -2.78 | 3.75 | 0 | 0 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
11:30 - 11:45 | -2.78 | 3.75 | 0 | 71.14 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
11:45 - 12:00 | -2.78 | 3.75 | 0 | 71.16 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
12:00 - 12:15 | -2.78 | 3.75 | 0 | 71.16 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
12:15 - 12:30 | -2.78 | 3.75 | 0 | 71.16 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
12:30 - 12:45 | -2.78 | 3.75 | 0 | 71.18 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
12:45 - 13:00 | -2.78 | 3.75 | 0 | 71.2 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
13:00 - 13:15 | -2.78 | 3.75 | 0 | 71.21 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
13:15 - 13:30 | -2.78 | 3.75 | 0 | 71.21 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
13:30 - 13:45 | -2.78 | 3.75 | 0 | 71.2 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
13:45 - 14:00 | -2.78 | 3.75 | 0 | 71.16 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
14:00 - 14:15 | -2.78 | 3.75 | 0 | 0 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
14:15 - 14:30 | -2.78 | 3.75 | 0 | -12.83 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | 0
14:30 - 14:45 | -2.78 | 3.75 | 0 | -569.16 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
14:45 - 15:00 | -2.78 | 3.75 | 0 | -570.62 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
15:00 - 15:15 | -2.78 | 3.75 | 0 | -650 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
15:15 - 15:30 | -2.78 | 3.75 | 0 | -650 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
15:30 - 15:45 | -2.78 | 3.75 | 0 | -650 | 0 | 0 | -1.03 | -18.56 | 9.39 | 0 | -6.19
15:45 - 16:00 | -2.78 | 3.75 | 0 | -775 | 0 | 0 | -1.03 | -18.56 | 0 | 59.27 | -6.19
16:00 - 16:15 | -2.78 | 3.75 | 0 | -575 | 0 | 0 | -1.03 | -44.33 | 9.39 | 0 | -6.19
16:15 - 16:30 | -2.78 | 3.75 | 0 | -575 | 0 | 0 | -1.03 | -44.33 | 0 | 0 | -6.19
16:30 - 16:45 | -2.78 | 3.75 | 0 | -575 | 0 | 0 | -1.03 | -44.33 | 0 | 0 | -6.19
16:45 - 17:00 | -2.78 | 3.75 | 0 | -575 | 0 | 0 | -1.03 | -44.33 | 0 | 0 | -6.19
17:00 - 17:15 | -2.78 | 0 | 0 | -550 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
17:15 - 17:30 | -2.78 | 0 | 0 | -550 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
17:30 - 17:45 | -2.78 | 0 | 0 | -550 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
17:45 - 18:00 | -2.78 | 0 | 0 | -550 | 0 | 0 | -2.06 | -44.33 | 0 | 0 | -6.19
18:00 - 18:15 | -2.78 | 0 | 0 | -325 | -175.61 | 0 | -2.06 | -44.33 | 0 | 0 | 0
18:15 - 18:30 | -2.78 | 0 | 0 | -225 | -226.8 | 0 | -2.06 | -44.33 | 0 | 0 | 0
18:30 - 18:45 | -2.78 | 0 | -6.19 | -125 | -226.8 | 0 | -2.06 | -44.33 | 0 | 0 | 0
18:45 - 19:00 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | -44.33 | 0 | 0 | 0
19:00 - 19:15 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
19:45 - 20:00 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
20:30 - 20:45 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
20:45 - 21:00 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
21:00 - 21:15 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
21:15 - 21:30 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
21:30 - 21:45 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
21:45 - 22:00 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
22:00 - 22:15 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
22:15 - 22:30 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
22:30 - 22:45 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
22:45 - 23:00 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
23:00 - 23:15 | -2.78 | 0 | -6.19 | 0 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
23:15 - 23:30 | -2.78 | 0 | -6.19 | -50 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
23:30 - 23:45 | -2.78 | 0 | -6.19 | -100 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
23:45 - 24:00 | -2.78 | 0 | -6.19 | -100 | -226.8 | 0 | -2.06 | 0 | 0 | 0 | 0
Average | -2.78 | 1.4062 | -2.4915 | -304.7634 | -69.0074 | 0.097813 | -1.6738 | -21.995 | 3.13 | 5.0184 | -1.9344

## GDAM
GDAM TRADING DETAILS FOR DT:29.08.2026
Time Period | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | SAIL_R_S_P_Rourkela | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 23.47 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 23.47 | 0 | 0 | 6.1 | 0 | 0
09:00 - 09:15 | 23.47 | 0 | 0 | 6.1 | 0 | 0
09:15 - 09:30 | 23.47 | 0 | 0 | 6.1 | 84.5 | 0
09:30 - 09:45 | 23.47 | 15.96 | 9.39 | 6.1 | 84.5 | 3.75
09:45 - 10:00 | 23.47 | 15.96 | 9.39 | 6.1 | 84.5 | 3.75
10:00 - 10:15 | 23.47 | 15.03 | 9.39 | 6.1 | 84.5 | 3.75
10:15 - 10:30 | 23.47 | 15.03 | 9.39 | 6.1 | 84.5 | 3.75
10:30 - 10:45 | 23.47 | 15.03 | 9.39 | 6.1 | 84.5 | 3.75
10:45 - 11:00 | 23.47 | 15.03 | 9.39 | 6.1 | 84.5 | 3.75
11:00 - 11:15 | 23.47 | 19.72 | 9.39 | 6.1 | 84.5 | 3.75
11:15 - 11:30 | 23.47 | 19.72 | 9.39 | 6.1 | 84.5 | 3.75
11:30 - 11:45 | 23.47 | 20.65 | 9.39 | 6.1 | 84.5 | 3.75
11:45 - 12:00 | 23.47 | 20.65 | 9.39 | 6.1 | 84.5 | 3.75
12:00 - 12:15 | 23.47 | 20.65 | 9.39 | 6.1 | 84.5 | 3.75
12:15 - 12:30 | 23.47 | 20.65 | 9.39 | 6.1 | 84.5 | 3.75
12:30 - 12:45 | 23.47 | 20.65 | 9.39 | 6.1 | 84.5 | 3.75
12:45 - 13:00 | 23.47 | 19.72 | 9.39 | 6.1 | 84.5 | 3.75
13:00 - 13:15 | 23.47 | 20.65 | 9.39 | 6.1 | 84.5 | 3.75
13:15 - 13:30 | 23.47 | 20.65 | 9.39 | 6.1 | 84.5 | 3.75
13:30 - 13:45 | 23.47 | 20.65 | 9.39 | 6.1 | 84.5 | 3.75
13:45 - 14:00 | 23.47 | 20.65 | 9.39 | 6.1 | 84.5 | 3.75
14:00 - 14:15 | 23.47 | 20.65 | 9.39 | 6.1 | 84.5 | 3.75
14:15 - 14:30 | 23.47 | 20.65 | 9.39 | 6.1 | 84.5 | 3.75
14:30 - 14:45 | 23.47 | 20.65 | 9.39 | 6.1 | 84.5 | 3.75
14:45 - 15:00 | 23.47 | 19.72 | 9.39 | 6.1 | 84.5 | 3.75
15:00 - 15:15 | 23.47 | 20.65 | 9.39 | 6.1 | 84.51 | 2.79
15:15 - 15:30 | 23.47 | 20.65 | 9.39 | 6.1 | 84.5 | 0
15:30 - 15:45 | 23.47 | 0 | 0 | 6.1 | 84.5 | 0
15:45 - 16:00 | 23.47 | 0 | 0 | 6.1 | 0 | 0
16:00 - 16:15 | 14.08 | 29.1 | 0 | 6.1 | 84.51 | 0
16:15 - 16:30 | 14.08 | 31.92 | 0 | 6.1 | 84.5 | 0
16:30 - 16:45 | 14.08 | 0 | 0 | 5.32 | 0 | 0
16:45 - 17:00 | 14.08 | 0 | 0 | 0.46 | 0 | 0
17:00 - 17:15 | 14.08 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0
Average | 8.0677 | 5.4275 | 2.3475 | 2.03 | 24.646 | 0.88844

## RTM
RTM TRADING DETAILS FOR DT: 29.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | The_Ramco_Cements_Limited_Odisha | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -1.86 | 0 | 0 | 0 | -0.21 | 0 | -312.48 | 0 | 0 | -8.51 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | -1.86 | 0 | 0 | 0 | -0.21 | 0 | -307.43 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -1.86 | 0 | 0 | 0 | -0.21 | 0 | -333.01 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | -1.86 | 0 | 0 | 0 | -0.21 | 0 | -310.77 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 0 | 18.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 46.94 | 0 | 0 | 0 | 0
01:00 - 01:15 | -1.86 | 0 | 0 | 0 | -0.21 | 0 | -300 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | -1.86 | -8.25 | 0 | 0 | -0.21 | 0 | -300 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | -1.86 | 0 | 0 | 0 | -0.21 | 0 | -250 | 0 | 5.3 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | 0 | 0 | 4.57 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | -1.86 | 0 | 0 | 0 | -0.21 | 0 | -250 | 0 | 0.25 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -2.06 | -10.31 | 0 | 0.21 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | -1.86 | 0 | 0 | 0 | -0.21 | 0 | -328.58 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 0 | 18.78 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 0 | 8.92 | 28.15 | 0 | 0 | 0 | 0
02:15 - 02:30 | -1.86 | 0 | 0 | 0 | -0.21 | 0 | -340.06 | 0 | 10.32 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | 0 | 0 | 8.92 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | -1.86 | 0 | 0 | 0 | -0.21 | 0 | -399.58 | 0 | 10.32 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -15.46 | 0 | 8.92 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | -1.86 | -4.12 | 0 | 0 | -0.21 | 0 | -399.56 | 0 | 10.32 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -2.06 | -15.46 | 0 | 8.92 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | -1.86 | -8.25 | 0 | 0 | -0.21 | 0 | -116.23 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 0 | 9.39 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -4.12 | 0 | 0 | 8.92 | 37.54 | 0 | 0 | -7.22 | 0
03:15 - 03:30 | -1.86 | 0 | 0 | 0 | -0.21 | 0 | -116.02 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 0 | 9.39 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -4.12 | 0 | 0 | 8.92 | 37.54 | 0 | 0 | -7.22 | 0
03:30 - 03:45 | -1.86 | 0 | 0 | 0 | -0.21 | 0 | -86.81 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 6.58 | 9.39 | 0 | 0 | 0 | 13.14 | -3.09 | 0 | 0 | -4.12 | 0 | 0 | 8.92 | 37.54 | 0 | 5.16 | -7.22 | 0
03:45 - 04:00 | -1.86 | 0 | 0 | 0 | -0.21 | 0 | -85.2 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 6.58 | 9.39 | 0 | 0 | 0 | 13.14 | -3.09 | 0 | 0 | -4.12 | 0 | 0 | 8.92 | 37.54 | 0 | 5.16 | -7.22 | 0
04:00 - 04:15 | -2.78 | 0 | 0 | 0 | -0.21 | 0 | -214.16 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 6.58 | 18.78 | 0 | 0 | 0 | 13.14 | -3.09 | 0 | 0 | -4.12 | -10.31 | 0 | 8.92 | 46.93 | 0 | 5.16 | -7.22 | 0
04:15 - 04:30 | -2.78 | 0 | 0 | 0 | -0.21 | 0 | -220.5 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 6.58 | 18.78 | 0 | 0 | 0 | 13.14 | -3.09 | 0 | 0 | -4.12 | -15.46 | 0 | 8.92 | 46.93 | 0 | 5.16 | -7.22 | 0
04:30 - 04:45 | -2.78 | 0 | 0 | 0 | -0.21 | 0 | -251.28 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 6.58 | 18.78 | 4.69 | 0 | 0 | 13.14 | -3.09 | 0 | 0 | -4.12 | -10.31 | 0 | 8.92 | 46.93 | 0 | 5.16 | -7.22 | 0
04:45 - 05:00 | -2.78 | 0 | 0 | 0 | -0.21 | 0 | -251.28 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 6.58 | 18.78 | 4.69 | 0 | 0 | 13.14 | -3.09 | 0 | 0 | -4.12 | 0 | 0 | 8.92 | 46.93 | 0 | 5.16 | -7.22 | 0
05:00 - 05:15 | -2.78 | 0 | 0 | 0 | -0.21 | 0 | -230.03 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 0 | 18.77 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -4.12 | 0 | 0 | 8.92 | 0 | 0 | 0 | -7.22 | 0
05:15 - 05:30 | -2.78 | 0 | 0 | 0 | -0.21 | 0 | -229.52 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 0 | 18.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -4.12 | 0 | 0 | 8.92 | 35.31 | 0 | 0 | -7.22 | 0
05:30 - 05:45 | -2.78 | 0 | 0 | 0 | -0.82 | 0 | -235.02 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 0 | 18.78 | 0 | 0 | 0 | 13.14 | -3.09 | 0 | 0 | -4.12 | -10.31 | 0 | 8.92 | 46.94 | 0 | 5.16 | -7.22 | 0
05:45 - 06:00 | -2.78 | 0 | 0 | 0 | -0.82 | 0 | -249.92 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 0 | 18.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -4.12 | -15.46 | 0 | 8.92 | 46.94 | 0 | 5.16 | -7.22 | 0
06:00 - 06:15 | -2.78 | -3.09 | 0 | 0 | -0.82 | 0 | -300 | 0 | 0 | 0 | -0.1 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -4.12 | -15.46 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0
06:15 - 06:30 | -2.78 | -3.09 | 0 | 0 | -0.82 | 0 | -300 | 0 | 0 | 0 | -0.21 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0
06:30 - 06:45 | -2.78 | -3.09 | 0 | 0 | -0.82 | 0 | -300 | 0 | 0 | 0 | -0.31 | 0 | -1.55 | 0 | 0 | -0.31 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0
06:45 - 07:00 | -2.78 | -3.09 | 0 | 0 | -0.82 | 0 | -242.5 | 0 | 10.33 | 0 | -0.41 | 0 | -1.55 | 0 | 18.78 | -0.62 | 0 | 18.78 | 0 | 0 | 0 | 13.14 | -1.03 | 0 | 0 | -4.12 | -10.31 | 0 | 8.92 | 56.32 | 0 | 0.56 | -7.22 | 0
07:00 - 07:15 | -2.78 | -3.09 | 0 | 0 | -0.41 | 0 | -116.61 | 0 | 10.33 | 0 | -0.41 | 9.39 | -1.55 | 0 | 18.78 | -0.93 | 6.58 | 22.51 | 4.69 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | 0 | 0 | 8.92 | 18.78 | 4.69 | 0.56 | -7.22 | 0
07:15 - 07:30 | -2.78 | -3.09 | 0 | 0 | -0.41 | 0 | -72.9 | 16.24 | 10.33 | 0 | -0.52 | 9.39 | -1.55 | 0 | 18.78 | -1.24 | 6.58 | 22.52 | 4.69 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -10.31 | 9.39 | 8.92 | 18.78 | 4.69 | 0.56 | -7.22 | 0
07:30 - 07:45 | -2.78 | -22.68 | 0 | 0 | -0.41 | 0 | 9.66 | 0 | 10.33 | 0 | -0.62 | 0 | -1.55 | 0 | 18.78 | -1.55 | 1.75 | 18.77 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -30.93 | 0 | 8.92 | 18.78 | 0 | 0.56 | -7.22 | 0
07:45 - 08:00 | -2.78 | -6.19 | 0 | 0 | -0.41 | 0 | 6.79 | 0 | 10.33 | 0 | -0.62 | 0 | -1.55 | 0 | 18.78 | -1.96 | 0 | 18.77 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -2.06 | -28.87 | 0 | 8.92 | 18.78 | 0 | 0.56 | -7.22 | 0
08:00 - 08:15 | -2.78 | -6.19 | 0 | 0 | -0.41 | 2.81 | 6.46 | 0 | 10.32 | 0 | -0.31 | 0 | -1.55 | 0 | 0 | -2.27 | 0 | 0 | 0 | 9.39 | 2.81 | 0 | -1.03 | 0.94 | 0 | -2.06 | 0 | 0 | 8.92 | 0 | 0 | 0 | -7.22 | 0
08:15 - 08:30 | -2.78 | -6.19 | 0 | 0 | -0.41 | 2.81 | 9.35 | 0 | 10.33 | 0 | -0.31 | 0 | -1.55 | 0 | 0 | -2.47 | 0 | 18.78 | 0 | 9.39 | 2.81 | 0 | -1.03 | 0.94 | 0 | -2.06 | 0 | 0 | 8.92 | 23.46 | 0 | 0 | -7.22 | 0
08:30 - 08:45 | -2.78 | -4.12 | 0 | 0 | -0.41 | 2.81 | -100.75 | 0 | 10.33 | 0 | -0.21 | 0 | -1.55 | 0 | 0 | -2.47 | 6.58 | 18.78 | 4.69 | 9.39 | 2.81 | 0 | -1.03 | 0.94 | 0 | -2.06 | 0 | 0 | 8.92 | 23.46 | 0 | 0 | -7.22 | 0
08:45 - 09:00 | -2.78 | -4.12 | 0 | 0 | -0.41 | 2.81 | -202.4 | 0 | 10.33 | 0 | -0.21 | 9.39 | -1.55 | 0 | 0 | -2.37 | 0.94 | 22.53 | 4.69 | 9.39 | 2.81 | 0 | -1.03 | 0.94 | 0 | -2.06 | 0 | 0 | 8.92 | 23.46 | 4.69 | 0.56 | -7.22 | 0
09:00 - 09:15 | -2.78 | 0 | 0 | 0 | -0.41 | 2.81 | -5.96 | 16.53 | 10.33 | 0 | 0 | 9.39 | -1.55 | 0 | 0 | 0 | 0.47 | 13.14 | 4.69 | 9.39 | 2.81 | 0 | 0 | 0.94 | 0 | 0 | -30.92 | 9.39 | 8.92 | 28.16 | 4.69 | 0.56 | -7.22 | 0
09:15 - 09:30 | -2.78 | 0 | 0 | 0 | -0.41 | 2.81 | -16.39 | 16.24 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0.47 | 13.14 | 4.69 | 9.39 | 2.81 | 0 | 0 | 0.94 | 0 | 0 | -4.12 | 9.39 | 8.92 | 46.95 | 4.69 | 0.56 | -7.22 | 0
09:30 - 09:45 | -2.78 | -3.09 | 0 | 0 | -0.41 | 2.81 | 221.39 | 0 | 10.33 | 0 | -0.1 | 0 | -1.55 | 0 | 0 | -2.89 | 0.47 | 11.26 | 4.69 | 9.39 | 2.81 | 0 | -1.03 | 0.94 | 0 | -3.09 | 0 | 0 | 8.92 | 46.95 | 4.69 | 0.56 | -7.22 | 0
09:45 - 10:00 | -2.78 | -3.09 | 0 | 0 | -0.41 | 2.81 | 272.37 | 0 | 10.33 | 0 | -0.1 | 0 | -1.55 | 0 | 0 | -0.72 | 0.47 | 11.26 | 4.69 | 9.39 | 2.81 | 0 | -1.03 | 0.94 | 0 | -3.09 | -6.19 | 9.39 | 8.92 | 46.95 | 4.69 | 0.56 | -7.22 | 0
10:00 - 10:15 | -2.78 | -3.09 | 0 | 0 | -0.21 | 2.81 | 214.36 | 0 | 10.33 | 0 | -0.1 | 0 | -1.55 | 0 | 0 | 4.32 | 0.47 | 9.39 | 4.69 | 9.39 | 2.81 | 0 | -1.03 | 0.94 | 0 | -3.09 | 0 | 0 | 8.92 | 46.95 | 4.69 | 0.56 | -7.22 | 0
10:15 - 10:30 | -2.78 | -3.09 | 0 | 0 | -0.21 | 2.81 | 190.24 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 0 | 4.04 | 0.47 | 9.39 | 4.69 | 9.39 | 2.81 | 0 | -1.03 | 0.94 | 0 | -3.09 | 0 | 0 | 8.92 | 46.95 | 4.69 | 0.56 | -7.22 | 0
10:30 - 10:45 | -2.78 | -3.09 | 0 | -1.03 | -0.21 | 2.81 | 51.29 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 0 | 4.13 | 0.47 | 9.39 | 4.69 | 9.39 | 2.81 | 0 | -1.03 | 0.94 | 0 | -3.09 | -30.93 | 0 | 8.92 | 46.95 | 4.69 | 0.56 | -7.22 | 0
10:45 - 11:00 | -2.78 | -22.68 | 0 | -1.55 | -0.21 | 2.81 | 70.39 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 0 | 4.04 | 0.47 | 9.39 | 4.69 | 9.39 | 2.81 | 0 | -1.03 | 0.94 | 0 | -3.09 | -30.93 | 0 | 8.92 | 46.95 | 4.69 | 0.56 | -7.22 | 0
11:00 - 11:15 | -2.47 | -22.68 | 0 | -1.86 | -0.21 | 2.81 | 0 | 0 | 10.33 | 0 | -0.41 | 0 | -1.55 | 0 | 0 | 4.32 | 0.47 | 9.39 | 4.69 | 9.39 | 2.81 | 0 | -1.03 | 0.94 | 0 | -3.09 | 0 | 0 | 8.92 | 46.95 | 4.69 | 0.56 | -7.22 | 0
11:15 - 11:30 | -2.47 | -4.12 | -0.72 | 0 | -0.21 | 2.81 | 0 | 0 | 10.33 | 0 | -0.41 | 0 | -1.55 | 0 | 0 | 4.32 | 0.47 | 9.39 | 4.69 | 9.39 | 2.81 | 0 | -1.03 | 0.94 | 0 | -3.09 | 0 | 0 | 8.92 | 46.95 | 4.69 | 0.56 | -7.22 | 0
11:30 - 11:45 | -2.47 | -4.12 | -5.88 | 0 | -0.21 | 2.81 | -350 | 0 | 10.33 | 0 | -0.41 | 0 | -1.55 | 0 | 0 | 4.69 | 0.47 | 9.39 | 4.69 | 9.39 | 2.81 | 0 | -1.03 | 0.94 | 0 | -3.09 | 0 | 0 | 8.92 | 28.17 | 4.69 | 0.56 | -7.22 | 0
11:45 - 12:00 | -2.47 | -4.12 | -9.9 | 0 | -0.21 | 2.81 | -650 | 0 | 10.33 | 0 | -0.41 | 0 | -1.55 | 0 | 0 | 4.23 | 0.47 | 9.39 | 4.69 | 9.39 | 2.81 | 0 | -1.03 | 0.94 | 0 | -3.09 | 0 | 0 | 8.92 | 28.16 | 4.69 | 0.56 | -7.22 | 0
12:00 - 12:15 | -2.47 | -3.89 | 0 | 0 | -0.21 | 2.81 | -279.84 | 12.02 | 10.33 | 0 | -0.2 | 0 | -1.55 | 0 | 0 | 4.23 | 0.47 | 9.39 | 4.69 | 9.39 | 2.81 | 0 | 0 | 0.94 | 0 | 0 | 0 | 9.39 | 8.92 | 28.16 | 4.69 | 0.56 | -7.22 | 0
12:15 - 12:30 | -2.47 | -3.44 | 0 | 0 | -0.21 | 2.81 | -279.54 | 10.7 | 10.33 | 0 | -0.18 | 0 | -1.55 | 0 | 0 | 6.38 | 0.47 | 9.39 | 4.69 | 9.39 | 2.81 | 0 | 0 | 0.94 | 0 | 0 | -30.93 | 9.39 | 8.92 | 37.56 | 4.69 | 0.56 | -7.22 | 0
12:30 - 12:45 | -2.47 | -4.12 | 0 | 0 | -0.21 | 2.81 | -479.8 | 12.12 | 10.33 | 0 | -0.21 | 0 | -1.55 | 0 | 0 | 5.92 | 0.47 | 9.39 | 4.69 | 9.39 | 2.81 | 0 | 0 | 0.94 | 0 | 0 | 0 | 9.39 | 8.92 | 37.55 | 4.69 | 0.56 | -7.22 | 0
12:45 - 13:00 | -2.47 | -4.12 | -3.3 | 0 | -0.21 | 2.81 | -179.89 | 12.12 | 10.33 | 0 | -0.21 | 0 | -1.55 | 0 | 0 | 5.64 | 0.47 | 9.39 | 4.69 | 9.39 | 2.81 | 0 | 0 | 0.94 | 0 | 0 | 0 | 9.39 | 8.92 | 37.55 | 4.69 | 0.56 | -7.22 | 0
13:00 - 13:15 | -2.68 | -4.12 | -3.09 | 0 | -0.82 | 2.81 | -79.96 | 13.52 | 10.33 | 0 | -0.41 | 0 | -1.55 | 0 | 0 | 0.18 | 0.47 | 11.26 | 4.69 | 9.39 | 2.81 | 0 | 0 | 0.94 | 0 | 0 | 0 | 9.39 | 8.92 | 51.64 | 4.69 | 0.56 | -7.22 | 0
13:15 - 13:30 | -2.68 | -4.12 | 0 | 0 | -0.82 | 2.81 | -79.97 | 16.62 | 10.33 | 0 | -0.41 | 0 | -1.55 | 0 | 0 | 0 | 0.47 | 11.26 | 4.69 | 9.39 | 2.81 | 0 | 0 | 0.94 | 0 | 0 | 0 | 9.39 | 8.92 | 51.64 | 4.69 | 0.56 | -7.22 | 0
13:30 - 13:45 | -2.68 | -4.12 | -3.3 | 0 | -0.82 | 2.81 | -248.55 | 0 | 10.33 | 0 | -0.41 | 0 | -1.55 | 0 | 0 | -3.2 | 0.47 | 11.26 | 4.69 | 9.39 | 2.81 | 0 | 0 | 0.94 | 0 | -2.06 | -4.12 | 0 | 8.92 | 51.64 | 4.69 | 0.56 | -7.22 | 0
13:45 - 14:00 | -2.68 | -4.12 | -5.46 | 0 | -0.82 | 2.81 | -250.02 | 0 | 10.33 | 0 | -0.41 | 0 | -1.55 | 0 | 0 | -3.4 | 0.47 | 11.26 | 4.69 | 9.39 | 2.81 | 0 | 0 | 0.94 | 0 | -2.06 | -30.93 | 0 | 8.92 | 51.64 | 4.69 | 0.56 | -7.22 | 0
14:00 - 14:15 | -2.68 | -4.12 | 0 | 0 | -0.82 | 2.81 | 141.85 | 0 | 10.33 | 0 | -0.72 | 0 | -1.55 | 0 | 0 | -3.09 | 0.47 | 11.26 | 4.69 | 9.39 | 2.81 | 0 | 0 | 0.94 | 0 | -2.06 | -10.31 | 0 | 8.92 | 51.63 | 4.69 | 0.56 | -7.22 | 0
14:15 - 14:30 | -2.68 | -4.12 | 0 | 0 | -0.82 | 2.81 | 133.59 | 0 | 10.33 | 0 | -0.72 | 0 | -1.55 | 0 | 0 | -3.09 | 0.47 | 11.26 | 4.69 | 9.39 | 2.81 | 0 | 0 | 0.94 | 0 | -2.06 | 0 | 0 | 8.92 | 51.63 | 4.69 | 0.56 | -7.22 | 0
14:30 - 14:45 | -2.68 | -4.12 | 0 | 0 | -0.82 | 2.81 | 514.46 | 0 | 10.33 | 0 | -0.72 | 0 | -1.55 | 0 | 0 | -2.37 | 0.47 | 7.51 | 4.69 | 9.39 | 2.81 | 0.94 | 0 | 0.94 | 0 | -2.06 | 0 | 0 | 8.92 | 37.56 | 4.69 | 0.56 | -7.22 | 0
14:45 - 15:00 | -2.68 | -4.12 | 0 | 0 | -0.82 | 2.81 | 416.67 | 0 | 10.33 | 0 | -0.72 | 0 | -1.55 | 0 | 0 | -2.58 | 0.47 | 7.51 | 4.69 | 9.39 | 2.81 | 0.94 | 0 | 0.94 | 0 | -2.06 | 0 | 0 | 8.92 | 37.56 | 4.69 | 0.56 | -7.22 | 0
15:00 - 15:15 | -2.68 | -4.12 | 0 | 0 | -0.82 | 2.81 | -80.19 | 0 | 10.33 | 0 | -0.62 | 0 | -1.55 | 0 | 0 | -2.47 | 0.47 | 7.51 | 4.69 | 9.39 | 2.81 | 0.94 | 0 | 0.94 | 0 | -2.06 | 0 | 0 | 8.92 | 37.56 | 0 | 0.56 | -7.22 | 0
15:15 - 15:30 | -2.68 | -22.68 | 0 | 0 | -0.82 | 2.81 | -85.28 | 0 | 10.33 | 0 | -0.41 | 0 | -1.55 | 0 | 0 | -2.27 | 0.47 | 7.51 | 0 | 9.39 | 2.81 | 0.94 | 0 | 0.94 | 0 | -2.06 | -10.31 | 0 | 8.92 | 56.34 | 0 | 0 | -7.22 | 0
15:30 - 15:45 | -2.68 | -4.12 | 0 | 0 | -0.82 | 2.81 | -205.75 | 0 | 10.33 | 0 | -0.41 | 0 | -1.55 | 0 | 0 | -1.96 | 0.47 | 7.51 | 0 | 9.39 | 2.81 | 0.94 | 0 | 0.94 | 0 | -2.06 | -30.93 | 0 | 8.92 | 37.56 | 0 | 0 | -7.22 | 0
15:45 - 16:00 | -2.68 | -4.12 | 0 | 0 | -0.82 | 2.81 | -412.28 | 0 | 10.33 | 0 | -0.31 | 0 | -1.55 | -15.46 | 0 | -1.65 | 0 | 16.9 | 0 | 9.39 | 2.81 | 0.94 | 0 | 0.94 | 0 | -2.06 | 0 | 0 | 8.92 | 10.82 | 0 | 0 | -7.22 | 0
16:00 - 16:15 | -2.68 | -4.12 | 0 | 0 | -0.82 | 2.81 | -950.05 | 0 | 10.33 | 0 | 0 | 9.39 | -1.55 | 0 | 18.78 | -1.44 | 0.47 | 11.26 | 4.69 | 9.39 | 2.81 | 0.94 | 0 | 0.94 | 0 | -2.06 | 0 | 0 | 8.92 | 46.94 | 4.69 | 0.56 | -7.22 | 0
16:15 - 16:30 | -2.68 | -4.12 | 0 | 0 | -0.82 | 2.81 | -869.99 | 0 | 10.33 | 0 | 0 | 9.39 | -1.55 | 0 | 18.78 | -1.34 | 0.47 | 16.9 | 4.69 | 9.39 | 2.81 | 0.94 | 0 | 0.94 | 0 | -2.06 | -10.31 | 0 | 8.92 | 46.94 | 4.69 | 0.56 | -7.22 | 0
16:30 - 16:45 | -2.68 | -4.12 | 0 | 0 | -0.82 | 2.81 | -901.64 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | -1.13 | 0 | 16.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 8.92 | 46.94 | 0 | 0 | -7.22 | 0
16:45 - 17:00 | -2.68 | -4.12 | 0 | 0 | -0.82 | 2.81 | -851.43 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | -0.72 | 0 | 16.9 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 8.92 | 46.94 | 0 | 0 | -7.22 | 0
17:00 - 17:15 | -2.68 | -4.12 | 0 | 0 | -0.21 | 0 | -875.09 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | -0.52 | 6.58 | 16.9 | 4.69 | 9.39 | 2.81 | 0.94 | 0 | 0.94 | 0 | -2.06 | -10.31 | 0 | 8.92 | 46.93 | 0 | 0.56 | 0 | 0
17:15 - 17:30 | -2.68 | -4.12 | 0 | 0 | -0.21 | 0 | -826.05 | 0 | 10.33 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | -0.21 | 0 | 16.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -25.77 | 0 | 8.92 | 40.23 | 0 | 0 | 0 | 0
17:30 - 17:45 | -2.68 | -4.12 | 0 | 0 | -0.21 | 0 | -829.08 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -2.68 | -7.22 | 0 | 0 | -0.21 | 0 | -587.14 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -2.68 | 0 | 0 | 0 | -0.21 | 0 | -203.57 | 0 | 9.42 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 0 | 16.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 8.13 | 46.95 | 0 | 0.51 | 0 | -11.34
18:15 - 18:30 | -2.68 | 0 | 0 | 0 | -0.21 | 0 | -63.76 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | -11.34
18:30 - 18:45 | -2.68 | 0 | 0 | 0 | -0.21 | 0 | -68.59 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -11.34
18:45 - 19:00 | -2.68 | 0 | 0 | 0 | -0.21 | 0 | -125 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | -11.34
19:00 - 19:15 | -2.68 | 0 | 0 | 0 | -0.21 | 0 | -200 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
19:15 - 19:30 | -2.68 | 0 | 0 | 0 | -0.21 | 0 | -200 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
19:30 - 19:45 | -2.68 | 0 | 0 | 0 | -0.21 | 0 | -175 | 0 | 0 | -103.09 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
19:45 - 20:00 | -2.68 | 0 | 0 | 0 | -0.21 | 0 | -175 | 0 | 0 | -103.09 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
20:00 - 20:15 | -2.89 | 0 | 0 | 0 | -0.21 | 0 | -200 | 0 | 0 | -134.02 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -2.06 | -36.08 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
20:15 - 20:30 | -2.89 | 0 | 0 | 0 | -0.21 | 0 | -200 | 0 | 0 | -134.02 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -2.06 | -30.93 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
20:30 - 20:45 | -2.89 | 0 | 0 | 0 | -0.21 | 0 | -200 | 0 | 0 | -144.33 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -2.06 | -30.93 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
20:45 - 21:00 | -2.89 | 0 | 0 | 0 | -0.21 | 0 | -200 | 0 | 0 | -144.33 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -2.06 | -15.46 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
21:00 - 21:15 | -2.89 | 0 | 0 | 0 | -0.21 | 0 | -185.77 | 0 | 0 | -154.64 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.55 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
21:15 - 21:30 | -2.89 | 0 | 0 | 0 | -0.21 | 0 | -185.77 | 0 | 0 | -154.64 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.55 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
21:30 - 21:45 | -2.89 | 0 | 0 | 0 | -0.82 | 0 | -263.84 | 0 | 0 | -154.64 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | -2.06 | -30.93 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
21:45 - 22:00 | -2.89 | 0 | 0 | 0 | -0.82 | 0 | -263.08 | 0 | 0 | -154.64 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -2.06 | -30.93 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
22:00 - 22:15 | -2.89 | 0 | 0 | 0 | -0.82 | 0 | -258.06 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -2.06 | -30.93 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
22:15 - 22:30 | -2.89 | 0 | 0 | 0 | -0.82 | 0 | -258.06 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -2.06 | -15.46 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
22:30 - 22:45 | -2.89 | -5.15 | 0 | 0 | -0.21 | 0 | -361.62 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -2.06 | -2.06 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
22:45 - 23:00 | -2.89 | 0 | 0 | 0 | -0.21 | 0 | -361.54 | 0 | 0 | -51.55 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
23:00 - 23:15 | -2.89 | 0 | 0 | 0 | -0.21 | 0 | -356.13 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
23:15 - 23:30 | -2.89 | 0 | 0 | 0 | -0.21 | 0 | -355.39 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03
23:30 - 23:45 | -2.89 | 0 | 0 | 0 | -0.21 | 0 | -351.54 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 0 | 9.39 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 9.39 | 0 | 0 | 0 | -1.03
23:45 - 24:00 | -2.89 | 0 | 0 | 0 | -0.21 | 0 | -351.54 | 0 | 0 | 0 | 0 | 0 | -1.55 | 0 | 18.78 | 0 | 0 | 9.39 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -2.06 | 0 | 0 | 0 | 9.39 | 0 | 0 | 0 | -1.03
Average | -2.59 | -2.9854 | -0.32969 | -0.04625 | -0.40021 | 1.0538 | -223.2383 | 1.3136 | 6.6118 | -17.7005 | -0.13802 | 0.58688 | -1.55 | -0.16104 | 5.4775 | 0.054167 | 0.85542 | 8.3512 | 1.661 | 3.4964 | 1.0245 | 1.1831 | -1.3733 | 0.34271 | -0.20396 | -2.339 | -8.8273 | 0.97813 | 5.6166 | 23.5386 | 1.4168 | 0.63365 | -4.2117 | -0.68708