## POWER STATUS
POWER STATUS ON DT 31.08.2026
[9 empty] | 2026-08-31 | 2026-08-30
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 19:00
Demand -> | [8 empty] | 5647.9695 | 5592.8561
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 240 | 5.76 | 630/590 ft | 624.67 | 625.04 | 625.04 | 240.4387 | 239.2874
| Chiplima | 72(3x24) | 61.75 | 1.482 | - |  |  |  | 62.1814 | 60.0446
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1482 | 1474.4 | 1474.8 | 0 | 0
| Rengali | 250(5x50) | 242.0167 | 5.8084 | 123.5/109.75 mt | 122.28 | 121.54 | 121.91 | 245.4217 | 242.5695
| Upper Kolab | 320(4x80) | 32.96 | 0.79104 | 858/844 mt | 855.21 | 852.13 | 852.24 | 19.7296 | 21.7081
| Upper Indravati | 600(4x150) | 312.33 | 7.4959 | 642/625 mt | 636.8 | 639.36 | 639.6 | 589.7615 | 200.5958
| Machkund | 60(50% of(3x17+3x23)) | 12.3 | 0.2952 | 2750/2685 ft | 2747.9 | 2730.2 | 2730.5 | 18.3862 | 16.4474
| Total Hydro | 2099.5 | 901.3567 | 21.6326 |  |  |  |  | 1175.9191 | 780.6529
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1559.47 | 37.4273 | RENEWABLE ENERGY (RE) |  |  |  | 1636 | 1669
[5 empty] | M.Hydl | 122.3451
| Total Thermal | 2200 | 1559.47 | 37.4273 | Solar | 39.3477 |  |  | 1636 | 1669
IPP | VEDANTA #2 | 600 (1x600) | 394.423 | 9.4662 | Total IPPs | Yesterday's Demand Profile |  |  | 388.6133 | 505.6263
| GMR #3 | 350 (1x350) | 278.3979 | 6.6815 | 763.0604 |  | MW | HRS | 322.1554 | 324.2548
| NBVL(IPP) | 60(1x60) | 46.3753 | 1.113 |  |  |  |  | 54.8328 | 53.7188
| MDTPC |  | 43.8641 | 1.0527 |  |  |  |  | 33.5738 | 40.1105
| CGPs |  | 857.1838 | 20.5724 | IPPs, CGPs & RE | Maximum | 5654 | 10.00 | 1873.8813 | 1900.505
| Central Sector(Drawl) |  | 1049.1016 | 25.1784 | 1781.937 | Minimum | 4871 | 06.00 | 962.169 | 1242.6983
| Central Sector(Sch) |  | 1158.8534 | 27.8125 |  | Average | 5291.8653 |  | 1014.69 | 1199.22
| Grand Total |  | 5291.8653 | 127.0048 | Instantaneous Peak demand |  | 5935 | 200:00 | 5647.9695 | 5592.8561
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(9) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1613.325 | 38.7198 | 1456.3459 | 34.9523 | 1573.9466 | 37.7747
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1674.0389 | 40.1769 | 1597.1525 | 38.3317 | 1610.556 | 38.6533
Rengali | NIL | TSTPP St-II | 4 | TPNODL | 1380.524 | 33.1326 | 1345.5697 | 32.2937 | 1362.0378 | 32.6889
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 582.3647 | 13.9768 | 566.3814 | 13.5932 | 569.2071 | 13.661
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5250.2525 | 126.0061 | 4965.4495 | 119.1708 | 5115.7475 | 122.7779
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | 3
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 388.6133 | GMR |  |  |  | 322.1554
| NBVL #3 | 54.8328 | MDTPC |  |  |  | 33.5738
Mini Hydel: | MEENAKSHI | 40.5806 | OPCL |  |  |  | 0
| BTPL | 24.2309 | SAPTADHARA |  |  |  | 19.862
Solar: |  | 115.5293 | KAKATIYA |  |  |  | 5.5288
CGPs : | JSPL (Angul) | 229.4629 | JSL(Duburi) |  |  |  | -175.4549
| ICCL | 52.6722 | visa |  |  |  | 5.1955
| NALCO | -156.7023 | VAL (CGP) |  |  |  | 212.131
| RSP | -76.4559 | BSL(MMDL) |  |  |  | -25.4919
| INDAL | 1.5449 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -30.5485 | VAL CPP 400 kV |  |  |  | -561.2936
| NBVL | 55.2954 | Arati |  |  |  | 38.0267
| BPSL(JSG) | -38.1604 | BPPL |  |  |  | 120.8012
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-23 | 2026-08-24 | 2026-08-25 | 2026-08-26 | 2026-08-27 | 2026-08-28 | 2026-08-29 | 2026-08-30
579.28 | 683.9104 | 688.7883 | 689.12 | 789.39 | 873.4591 | 858.7008 | 901.3567
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.30.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | -4.75 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AGE26AL_PSS6_KPS1_S | ODISHA | 128.3
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -2.92 | AP41PL_BHDL | ODISHA | 60.35
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -7.08 | AP43PL_BKN | ODISHA | 95.19
JPIPL | NPCL_UP | -14 | AECI11PL | STEELCAST2022 | -0.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.7
JSPLANGUL | GEB_Beneficiary | -52 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 15.19
JSPLANGUL | RUVITSL | -43.75 | DCBL_Rajgangpur | DALCEMAP | -2.75 | AWEK1L | ODISHA | 22.78
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | DCBLME | -8 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 0.58
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCL_RCW | -2.54 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 40.79
ODISHA | TPL_DIS_AHM_ISTS | -18.75 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -6.75 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 10.44
ODISHA | TPL_DIS_AHM_ISTS | -35.42 | DCBL_Rajgangpur | DalmiaCementNEL2 | -2.12 | DADRI_SOLAR | ODISHA | 0.49
VSL | CR_IR_MS | -10 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | ENERSON_SOLAR_10MW | ODISHA | 0
FARIDABAD_SOLAR | ODISHA | 0 | FACORPOWER | PSPCL | -14.17 | GADAG_GreenInfra_W | ODISHA | 0
JSWEL_UTKAL | ODISHA | 56.92 | FACORPOWER | PSPCL | -1.46 | GADAG_GreenInfra_W | ODISHA | 0
RAJ_SOLAR | ODISHA | 2.58 | FACORPOWER | PSPCL | -5.83 | GADAG_GreenInfra_W | ODISHA | 0.96
RAJ_SOLAR | ODISHA | 2.72 | FACORPOWER | PSPCL | -3.54 | GADAG_Serentica3_S | VLSEZ | 27.21
|  |  | JSPLANGUL | RUVITSL | -106.25 | GADAG_Serentica3_W | VLSEZ | 109.18
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | GADAG_Serentica3_W | VLSEZ | 2.23
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | GADAG_Serentica3_W | VLSEZ | 4.64
|  |  | NBVLIPP | BSPHCL | -14.38 | GIWEL_SECI_II_RE | ODISHA | 81.21
|  |  | OCL_IRON_STEEL | BRPL | -25 | GPCL_SOLAR_10 | ODISHA | 0.67
|  |  | OCL_IRON_STEEL | TPDDL | -34 | GSECL_SOLAR | ODISHA | 1.22
|  |  | ORSISL | PSPCL | -2.83 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.21
|  |  | ORSISL | PSPCL | -1.17 | KARUR_TPVARDHAMAN_W | TSKPO | 59.92
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | Kurnool_Greenko_H_Inj | ADITYAAL | 6.67
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | VSL | WBSEDCL | -4.17 | NTPCRE1_SMND_BHJ2_W | ODISHA | 11.47
|  |  | JIPL | ODISHA | 116.15 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 5.79
|  |  | NALCOAP | NACL_Odisha | 34.71 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 10.63
[6 empty] | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 4.73
[6 empty] | OKWPL_RE | ODISHA | 40.33
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 25.08
[6 empty] | RWE_AP2_SECI_III | ODISHA | 30.02
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 14.26
[6 empty] | SRI9PL_FTG3 | VLSEZ | 82.04
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.14
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.16
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 70.71
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 22.18
[6 empty] | XXPPL_FTG3 | ODISHA | 64.45

## DAM
DAM TRADING DETAILS FOR DT : 30.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -2.7 | 0 | -450 | 0 | 0 | -2 | -17 | 0 | 0
00:15 - 00:30 | -2.7 | 0 | -450 | 0 | 0 | -2 | -17 | 0 | 0
00:30 - 00:45 | -2.7 | 0 | -450 | 0 | 0 | -2 | -17 | 0 | 0
00:45 - 01:00 | -2.7 | 0 | -375 | 0 | 0 | -2 | -17 | 0 | 0
01:00 - 01:15 | -2.7 | 0 | -425 | 0 | 0 | -2 | -17 | 0 | 0
01:15 - 01:30 | -2.7 | 0 | -425 | 0 | 0 | -2 | -17 | 0 | 0
01:30 - 01:45 | -2.7 | 0 | -425 | 0 | 0 | -2 | -17 | 0 | 0
01:45 - 02:00 | -2.7 | 0 | -425 | 0 | 0 | -2 | -17 | 0 | 0
02:00 - 02:15 | -2.7 | 0 | -382.1 | 0 | 0 | -2 | -17 | 7.74 | 0
02:15 - 02:30 | -2.7 | 0 | -200 | 0 | 0 | -2 | -17 | 7.74 | 0
02:30 - 02:45 | -2.7 | 0 | -200 | 0 | 0 | -2 | -17 | 7.74 | 0
02:45 - 03:00 | -2.7 | 0 | -200 | 0 | 0 | -2 | -17 | 7.74 | 0
03:00 - 03:15 | -2.7 | 0 | -400 | 0 | 0 | -1 | -17 | 7.74 | 0
03:15 - 03:30 | -2.7 | 0 | -400 | 0 | 0 | -1 | -17 | 7.74 | 0
03:30 - 03:45 | -2.7 | 0 | -400 | 0 | 0 | -1 | -17 | 7.74 | 0
03:45 - 04:00 | -2.7 | 0 | -400 | 0 | 0 | -1 | -17 | 7.74 | 0
04:00 - 04:15 | -2.7 | 0 | -400 | 0 | 0 | -1 | -17 | 7.74 | 0
04:15 - 04:30 | -2.7 | 0 | -400 | 0 | 0 | -1 | -17 | 7.74 | 0
04:30 - 04:45 | -2.7 | 0 | -400 | 0 | 0 | -1 | -17 | 7.74 | 0
04:45 - 05:00 | -2.7 | 0 | -400 | 0 | 0 | -1 | -17 | 7.74 | 0
05:00 - 05:15 | -2.7 | 0 | -705.56 | 0 | 0 | -2 | -43 | 7.74 | 0
05:15 - 05:30 | -2.7 | 0 | -750 | 0 | 0 | -2 | -43 | 0 | 0
05:30 - 05:45 | -2.7 | 0 | -825 | 0 | 0 | -2 | -43 | 0 | 0
05:45 - 06:00 | -2.7 | 0 | -825 | 0 | 0 | -2 | -43 | 0 | 0
06:00 - 06:15 | -2.7 | 0 | -1025 | 0 | 0 | -2 | -43 | 0 | -6
06:15 - 06:30 | -2.7 | 0 | -1025 | 0 | 0 | -2 | -43 | 0 | -6
06:30 - 06:45 | -2.7 | 0 | -1025 | 0 | 0 | -2 | -43 | 0 | -6
06:45 - 07:00 | -2.7 | 0 | -1025 | 0 | 0 | -2 | -43 | 0 | -6
07:00 - 07:15 | -2.7 | 0 | -1275 | 0 | 0 | -2 | -43 | 0 | -6
07:15 - 07:30 | -2.7 | 0 | -1275 | 0 | 0 | -2 | -43 | 0 | -6
07:30 - 07:45 | -2.7 | 0 | -1200 | 0 | 0 | -2 | -43 | 0 | -6
07:45 - 08:00 | -2.7 | 0 | -1026.31 | 0 | 0 | -2 | -43 | 7.74 | -6
08:00 - 08:15 | -2.7 | 3.87 | -700 | 0 | 0 | -1 | -18 | 7.74 | -6
08:15 - 08:30 | -2.7 | 3.87 | -700 | 0 | 0 | -1 | -18 | 7.74 | -6
08:30 - 08:45 | -2.7 | 3.87 | -642.1 | 0 | 0 | -1 | -18 | 7.74 | -6
08:45 - 09:00 | -2.7 | 3.87 | -456.06 | 0 | 0 | -1 | -18 | 7.74 | -6
09:00 - 09:15 | -2.7 | 3.87 | -410.24 | 0 | 0 | -1 | -18 | 7.74 | 0
09:15 - 09:30 | -2.7 | 3.87 | 0 | 0 | 0 | -1 | -18 | 7.74 | 0
09:30 - 09:45 | -2.7 | 3.87 | 0 | 0 | 0 | -1 | -18 | 7.74 | 0
09:45 - 10:00 | -2.7 | 3.87 | 0 | 0 | 0 | -1 | -18 | 7.74 | 0
10:00 - 10:15 | -2.7 | 3.87 | 0 | 0 | 0 | -1 | -18 | 7.74 | 0
10:15 - 10:30 | -2.7 | 3.87 | 0 | 0 | 0 | -1 | -18 | 7.74 | 0
10:30 - 10:45 | -2.7 | 3.87 | 58.55 | 0 | 0 | -1 | -18 | 7.74 | 0
10:45 - 11:00 | -2.7 | 3.87 | 62.51 | 0 | 0 | -1 | -18 | 7.74 | 0
11:00 - 11:15 | -2.7 | 3.87 | 62.42 | 0 | 0 | -1 | -18 | 7.74 | 0
11:15 - 11:30 | -2.7 | 3.87 | 62.46 | 0 | 0 | -1 | -18 | 7.74 | 0
11:30 - 11:45 | -2.7 | 3.87 | 49.99 | 0 | 0 | -1 | -18 | 7.74 | 0
11:45 - 12:00 | -2.7 | 3.87 | 50.02 | 0 | 0 | -1 | -18 | 7.74 | 0
12:00 - 12:15 | -2.7 | 3.87 | 63.21 | 0 | 0 | -1 | -18 | 7.74 | 0
12:15 - 12:30 | -2.7 | 3.87 | 45.58 | 0 | 0 | -1 | -18 | 7.74 | 0
12:30 - 12:45 | -2.7 | 3.87 | 66.16 | 0 | 0 | -1 | -18 | 7.74 | 0
12:45 - 13:00 | -2.7 | 3.87 | 66.15 | 0 | 0 | -1 | -18 | 7.74 | 0
13:00 - 13:15 | -2.7 | 3.87 | 41.39 | 0 | 0 | -1 | -18 | 7.74 | 0
13:15 - 13:30 | -2.7 | 3.87 | 41.4 | 0 | 0 | -1 | -18 | 7.74 | 0
13:30 - 13:45 | -2.7 | 3.87 | 41.39 | 0 | 0 | -1 | -18 | 7.74 | 0
13:45 - 14:00 | -2.7 | 3.87 | 31.28 | 0 | 0 | -1 | -18 | 7.74 | 0
14:00 - 14:15 | -2.7 | 3.87 | 25.93 | 0 | 0 | -1 | -18 | 7.74 | 0
14:15 - 14:30 | -2.7 | 3.87 | 0 | 0 | 0 | -1 | -18 | 7.74 | 0
14:30 - 14:45 | -2.7 | 3.87 | 0 | 0 | 0 | -1 | -18 | 7.74 | 0
14:45 - 15:00 | -2.7 | 3.87 | 0 | 0 | 0 | -1 | -18 | 7.74 | 0
15:00 - 15:15 | -2.7 | 3.87 | 0 | 0 | 0 | -1 | -18 | 7.74 | 0
15:15 - 15:30 | -2.7 | 3.87 | -98.45 | 0 | 0 | -1 | -18 | 7.74 | 0
15:30 - 15:45 | -2.7 | 3.87 | -552.81 | 0 | 0 | -1 | -18 | 7.74 | -6
15:45 - 16:00 | -2.7 | 3.87 | -554.65 | 0 | 0 | -1 | -18 | 7.74 | -6
16:00 - 16:15 | -2.7 | 3.87 | -600 | 0 | 0 | -1 | -18 | 7.74 | -6
16:15 - 16:30 | -2.7 | 3.87 | -600 | 0 | 0 | -1 | -18 | 7.74 | -6
16:30 - 16:45 | -2.7 | 3.87 | -600 | 0 | 0 | -1 | -18 | 7.74 | -6
16:45 - 17:00 | -2.7 | 3.87 | -600 | 0 | 0 | -1 | -18 | 7.74 | -6
17:00 - 17:15 | -2.7 | 0 | -400 | 0 | 0 | -2 | -18 | 7.74 | -6
17:15 - 17:30 | -2.7 | 0 | -400 | 0 | 9.68 | -2 | -18 | 7.74 | -6
17:30 - 17:45 | -2.7 | 0 | -400 | 0 | 0 | -2 | -18 | 7.74 | -6
17:45 - 18:00 | -2.7 | 0 | -400 | 0 | 0 | -2 | -18 | 7.74 | -6
18:00 - 18:15 | -2.7 | 0 | -50 | 0 | 0 | -2 | -18 | 7.74 | 0
18:15 - 18:30 | -2.7 | 0 | -50 | 0 | 0 | -2 | -18 | 7.74 | 0
18:30 - 18:45 | -2.7 | 0 | -50 | 0 | 0 | -2 | -18 | 7.74 | 0
18:45 - 19:00 | -2.7 | 0 | -50 | 0 | 0 | -2 | -18 | 7.74 | 0
19:00 - 19:15 | -2.7 | 0 | -50 | 0 | 0 | -2 | 0 | 0 | 0
19:15 - 19:30 | -2.7 | 0 | -50 | 0 | 0 | -2 | 0 | 0 | 0
19:30 - 19:45 | -2.7 | 0 | -50 | 0 | 0 | -2 | 0 | 0 | 0
19:45 - 20:00 | -2.7 | 0 | -50 | 0 | 0 | -2 | 0 | 0 | 0
20:00 - 20:15 | -2.7 | 0 | -50 | 0 | 0 | -2 | 0 | 0 | 0
20:15 - 20:30 | -2.7 | 0 | -50 | 0 | 0 | -2 | 0 | 0 | 0
20:30 - 20:45 | -2.7 | 0 | -50 | 0 | 0 | -2 | 0 | 0 | 0
20:45 - 21:00 | -2.7 | 0 | -50 | 0 | 0 | -2 | 0 | 0 | 0
21:00 - 21:15 | -2.7 | 0 | -100 | 0 | 0 | -2 | 0 | 0 | 0
21:15 - 21:30 | -2.7 | 0 | -100 | -34.11 | 0 | -2 | 0 | 0 | 0
21:30 - 21:45 | -2.7 | 0 | -100 | -0.46 | 0 | -2 | 0 | 0 | 0
21:45 - 22:00 | -2.7 | 0 | -100 | 0 | 0 | -2 | 0 | 0 | 0
22:00 - 22:15 | -2.7 | 0 | -100 | 0 | 0 | -2 | 0 | 0 | 0
22:15 - 22:30 | -2.7 | 0 | -100 | 0 | 0 | -2 | 0 | 0 | 0
22:30 - 22:45 | -2.7 | 0 | -100 | 0 | 0 | -2 | 0 | 0 | 0
22:45 - 23:00 | -2.7 | 0 | -100 | -129.73 | 0 | -2 | 0 | 0 | 0
23:00 - 23:15 | -2.7 | 0 | -150 | 0 | 0 | -2 | 0 | 0 | 0
23:15 - 23:30 | -2.7 | 0 | -150 | 0 | 0 | -2 | 0 | 0 | 0
23:30 - 23:45 | -2.7 | 0 | -150 | 0 | 0 | -2 | 0 | 0 | 0
23:45 - 24:00 | -2.7 | 0 | -150 | 0 | 0 | -2 | 0 | 7.74 | 0
Average | -2.7 | 1.4513 | -301.4046 | -1.7115 | 0.10083 | -1.5417 | -17.1667 | 4.7569 | -1.375 | #DIV/0! | #DIV/0!

## GDAM
GDAM TRADING DETAILS FOR DT:30.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 7.39 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 14.52 | 0 | 0 | 6.29 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 14.52 | 34.08 | 0 | 6.29 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 14.52 | 36.78 | 9.68 | 6.29 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 19.36 | 36.78 | 9.68 | 6.29 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 19.36 | 36.78 | 9.68 | 6.29 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0 | 19.36 | 31.94 | 9.68 | 6.29 | 3.87
08:45 - 09:00 | 0 | 0 | 0 | 0 | 19.36 | 27.1 | 9.68 | 6.29 | 3.87
09:00 - 09:15 | 0 | 0 | 145.19 | 16.84 | 19.36 | 22.26 | 9.68 | 6.29 | 3.87
09:15 - 09:30 | 0 | 0 | 145.22 | 16.94 | 19.36 | 22.26 | 9.68 | 6.29 | 3.87
09:30 - 09:45 | 0 | 0 | 145.07 | 16.84 | 19.36 | 23.23 | 9.68 | 6.29 | 3.87
09:45 - 10:00 | 0 | 0 | 145.03 | 16.26 | 19.36 | 21.29 | 9.68 | 6.29 | 3.87
10:00 - 10:15 | 0 | 0 | 145.04 | 14.71 | 19.36 | 19.36 | 9.68 | 6.29 | 3.87
10:15 - 10:30 | 0 | 0 | 145.25 | 15 | 19.36 | 16.45 | 9.68 | 6.29 | 3.87
10:30 - 10:45 | 0 | -1.3 | 154.57 | 16.07 | 19.36 | 17.42 | 9.68 | 6.29 | 3.87
10:45 - 11:00 | 0 | -1.4 | 145.31 | 16.45 | 19.36 | 19.36 | 9.68 | 6.29 | 3.87
11:00 - 11:15 | 0 | -3 | 145.32 | 15.68 | 19.36 | 16.45 | 9.68 | 6.29 | 3.87
11:15 - 11:30 | -3.1 | -1 | 145.32 | 12.29 | 19.36 | 15.49 | 9.68 | 6.29 | 3.87
11:30 - 11:45 | -8.7 | -4.2 | 174.26 | 11.81 | 19.36 | 15.49 | 9.68 | 6.29 | 3.87
11:45 - 12:00 | -13.1 | -4.8 | 174.27 | 13.45 | 19.36 | 15.49 | 9.68 | 6.29 | 3.87
12:00 - 12:15 | -9 | -6.1 | 174.33 | 11.81 | 19.36 | 15.49 | 9.68 | 6.29 | 3.87
12:15 - 12:30 | -11.3 | -9.9 | 210.42 | 10.45 | 19.36 | 15.49 | 9.68 | 6.29 | 3.87
12:30 - 12:45 | -14.5 | -8.7 | 174.32 | 9.29 | 19.36 | 15.49 | 9.68 | 6.29 | 3.87
12:45 - 13:00 | -14.7 | -8.5 | 174.31 | 9.1 | 19.36 | 15.49 | 9.68 | 6.29 | 3.87
13:00 - 13:15 | -15.7 | -11.4 | 217.68 | 8.81 | 19.36 | 15.49 | 9.68 | 6.29 | 3.87
13:15 - 13:30 | -9.6 | -13.5 | 217.7 | 8.61 | 19.36 | 15.49 | 9.68 | 6.29 | 3.87
13:30 - 13:45 | -17.2 | -15 | 217.72 | 9.87 | 19.36 | 15.49 | 9.68 | 6.29 | 3.87
13:45 - 14:00 | -20.4 | -13.3 | 217.71 | 9.68 | 19.36 | 15.49 | 9.68 | 6.29 | 3.87
14:00 - 14:15 | -19.9 | -9.5 | 217.71 | 11.03 | 19.36 | 15.49 | 9.68 | 6.29 | 3.87
14:15 - 14:30 | -6.6 | -8.1 | 174.22 | 13.74 | 19.36 | 15.49 | 9.68 | 6.29 | 3.87
14:30 - 14:45 | -14 | -7.9 | 174.23 | 11.91 | 19.36 | 15.49 | 9.68 | 6.29 | 3.87
14:45 - 15:00 | -2.7 | -1 | 159.6 | 13.84 | 19.36 | 15.49 | 9.68 | 6.29 | 3.87
15:00 - 15:15 | 0 | -0.1 | 125.65 | 15 | 19.36 | 17.42 | 9.68 | 6.29 | 3.87
15:15 - 15:30 | 0 | 0 | 125.64 | 15.97 | 19.36 | 18.39 | 9.68 | 6.29 | 3.87
15:30 - 15:45 | 0 | 0 | 142.22 | 16.26 | 19.36 | 18.39 | 9.68 | 6.29 | 3.87
15:45 - 16:00 | 0 | 0 | 145.27 | 15.58 | 19.36 | 23.23 | 9.68 | 6.29 | 3.87
16:00 - 16:15 | 0 | 0 | 128.83 | 14.71 | 14.52 | 30.97 | 9.68 | 6.29 | 3.87
16:15 - 16:30 | 0 | 0 | 55.45 | 0 | 14.52 | 30.97 | 9.68 | 6.29 | 3.87
16:30 - 16:45 | 0 | 0 | 0 | 0 | 14.52 | 34.84 | 9.68 | 6.29 | 3.87
16:45 - 17:00 | 0 | 0 | 0 | 0 | 14.52 | 36.78 | 9.68 | 6.29 | 3.87
17:00 - 17:15 | 0 | 0 | 0 | 0 | 14.52 | 36.78 | 9.68 | 6.29 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 14.52 | 36.78 | 0 | 6.29 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 14.52 | 36.78 | 0 | 6.29 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 14.52 | 36.78 | 0 | 6.29 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 14.52 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -1.8802 | -1.3406 | 50.6548 | 4.0417 | 8.3453 | 10.125 | 3.8317 | 2.8174 | 1.3706

## RTM
RTM TRADING DETAILS FOR DT: 30.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Metaliks_Private_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Viraj_Steel_&_Energy_Pvt_Ltd
00:00 - 00:15 | -2.9 | 0 | -0.2 | 0 | 0 | -352.94 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | -8
00:15 - 00:30 | -2.9 | 0 | -0.2 | 0 | 0 | -351 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
00:30 - 00:45 | -2.9 | 0 | -0.2 | 0 | 0 | -407.69 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
00:45 - 01:00 | -2.9 | 0 | -0.2 | 0 | 0 | -408.3 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 0 | 0 | 0 | 0 | -8
01:00 - 01:15 | -2.9 | 0 | -0.2 | 0 | 0 | -452.01 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -8
01:15 - 01:30 | -2.9 | 0 | -0.2 | 0 | 0 | -450 | 0 | 9.86 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
01:30 - 01:45 | -2.9 | 0 | -0.2 | 0 | 0 | -500 | 0 | 10.64 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 9.2 | 0 | 0 | 0 | 0 | -8
01:45 - 02:00 | -2.9 | 0 | -0.2 | 0 | 0 | -489.78 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.35 | 0 | 0 | 13.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 9.2 | 10.22 | 0 | 0 | 0 | -8
02:00 - 02:15 | -2.9 | 0 | 0 | 0 | 0 | -506.01 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.36 | 0 | 6.78 | 3.87 | 0 | 9.68 | 0 | 13.55 | 0 | 0 | 0 | -2 | 0 | 0 | 9.2 | 29.02 | 0 | 0 | 24.2 | -8
02:15 - 02:30 | -2.9 | 0 | 0 | 0 | 0 | -544.95 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | 9.2 | 0 | 0 | 0 | 24.19 | -8
02:30 - 02:45 | -2.9 | 0 | 0 | 0 | 0 | -600.88 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | 0 | 0 | 0 | 0 | 24.2 | -8
02:45 - 03:00 | -2.9 | 0 | 0 | 0 | 0 | -602.27 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 24.2 | -8
03:00 - 03:15 | -2.9 | 0 | 0 | 0 | 0 | -612.9 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.36 | 0 | 0 | 3.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 9.2 | 29.03 | 0 | 0 | 24.2 | -8
03:15 - 03:30 | -2.9 | 0 | 0 | 0 | 0 | -590.03 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.36 | 0 | 0 | 3.87 | 0 | 9.68 | 0 | 13.55 | 0 | 0 | 0 | -2 | -10 | 0 | 9.2 | 29.03 | 0 | 0 | 24.2 | -8
03:30 - 03:45 | -2.9 | 0 | 0 | 0 | 0 | -581.03 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.36 | 0 | 6.78 | 3.87 | 0 | 9.68 | 0 | 13.55 | 0 | 0 | 0 | -2 | 0 | 0 | 9.2 | 29.02 | 0 | 0 | 24.2 | -8
03:45 - 04:00 | -2.9 | 0 | 0 | 0 | 0 | -559.49 | 0 | 10.65 | 0 | 9.68 | 0 | -1.5 | 0 | 19.36 | 0.19 | 6.78 | 3.87 | 4.84 | 9.68 | 0 | 13.55 | 0 | 0 | 0 | -2 | -10 | 0 | 9.2 | 29.02 | 4.84 | 0 | 24.2 | -8
04:00 - 04:15 | -2.9 | 0 | 0 | 0 | 0 | -580.01 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.34 | 0 | 6.78 | 3.87 | 0 | 9.68 | 0 | 13.55 | 0 | 0 | 0 | -2 | -30 | 0 | 9.2 | 19.36 | 0 | 0 | 0 | -8
04:15 - 04:30 | -2.9 | 0 | 0 | 0 | 0 | -612.89 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.35 | 0 | 0 | 3.87 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 9.2 | 19.36 | 0 | 0 | 0 | -8
04:30 - 04:45 | -2.9 | 0 | 0 | 0 | 0 | -625 | 0 | 10.28 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 8.89 | 0 | 0 | 0 | 0 | -8
04:45 - 05:00 | -2.9 | 0 | 0 | 0 | 0 | -625 | 0 | 5.87 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 5.06 | 0 | 0 | 0 | 0 | -8
05:00 - 05:15 | -2.9 | 0 | 0 | 0 | 0 | -503.55 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
05:15 - 05:30 | -2.9 | 0 | 0 | 0 | 0 | -503.83 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
05:30 - 05:45 | -2.9 | 0 | -0.6 | 0 | 0 | -554.62 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
05:45 - 06:00 | -2.9 | 0 | -0.6 | 0 | 0 | -554.07 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
06:00 - 06:15 | -2.9 | 0 | -0.6 | 0 | 0 | -554.2 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
06:15 - 06:30 | -2.9 | -12 | -0.6 | 0 | 0 | -559.62 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
06:30 - 06:45 | -2.9 | 0 | -0.6 | 0 | 0 | -604.37 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | -8
06:45 - 07:00 | -2.9 | 0 | -0.6 | 0 | 0 | -601.01 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -8
07:00 - 07:15 | -2.9 | 0 | 0 | 3.87 | 0 | -600.1 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
07:15 - 07:30 | -2.9 | 0 | 0 | 3.87 | 0 | -584.45 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.36 | -0.3 | 0 | 15.49 | 0 | 9.68 | 0 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | 9.2 | 43.54 | 0 | 0 | 0 | -8
07:30 - 07:45 | -2.9 | 0 | 0 | 3.87 | 0 | -664.5 | 0 | 0 | 0 | 9.68 | 0 | -1.5 | 0 | 19.36 | -0.4 | 0.48 | 15.49 | 4.84 | 9.68 | 0 | 13.55 | 0 | 0.97 | 0 | -2 | 0 | 0 | 9.2 | 43.54 | 4.84 | 5.81 | 0 | -8
07:45 - 08:00 | -2.9 | -10 | 0 | 3.87 | 0 | -624.92 | 16.55 | 0 | 0 | 0 | 0 | -1.5 | 0 | 19.36 | -0.6 | 0.48 | 11.61 | 4.84 | 9.68 | 0 | 13.55 | 0 | 0.97 | 0 | -2 | 0 | 9.68 | 9.2 | 43.55 | 4.84 | 5.81 | 0 | -8
08:00 - 08:15 | -2.9 | -7 | -0.6 | 3.87 | 0 | -737.53 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | -15 | 0 | -0.6 | 0 | 7.74 | 0 | 9.68 | 2.9 | 13.55 | 0 | 0.97 | 0 | -2 | 0 | 0 | 9.2 | 0 | 0 | 0 | 0 | -8
08:15 - 08:30 | -2.9 | -7 | -0.6 | 3.87 | 0 | -726.72 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.7 | 0.48 | 7.74 | 0 | 9.68 | 2.9 | 13.55 | 0 | 0.97 | 0 | -2 | -10 | 0 | 9.2 | 48.4 | 0 | 0 | 0 | -8
08:30 - 08:45 | -2.9 | -9 | -0.6 | 3.87 | 0 | -697.46 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.7 | 0.48 | 11.61 | 4.84 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | 0 | -2 | -10 | 0 | 9.2 | 48.4 | 4.84 | 5.81 | 0 | -8
08:45 - 09:00 | -2.9 | -9 | -0.6 | 3.87 | 0 | -688.61 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.7 | 0.48 | 11.61 | 4.84 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | 0 | -2 | 0 | 0 | 9.2 | 48.4 | 4.84 | 5.81 | 0 | -8
09:00 - 09:15 | -1.8 | -8 | 0 | 3.87 | 6.78 | -325.91 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1.1 | 0.48 | 7.74 | 4.84 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | 0 | -2 | -40 | 0 | 9.2 | 19.36 | 0 | 0 | 0 | -8
09:15 - 09:30 | -1.8 | -8 | 0 | 3.87 | 6.78 | -625.02 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1.2 | 0.48 | 7.74 | 4.84 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | 0 | -2 | 0 | 0 | 9.2 | 19.36 | 0 | 3.24 | 0 | -8
09:30 - 09:45 | -1.8 | -9 | 0 | 3.87 | 6.78 | -723.46 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1.4 | 0.48 | 7.74 | 4.84 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | 0 | -2 | 0 | 0 | 9.2 | 19.36 | 0 | 5.81 | 0 | -8
09:45 - 10:00 | -1.8 | -9 | 0 | 3.87 | 6.78 | -927.25 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0.87 | 0.48 | 11.61 | 4.84 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | 0 | -2 | -35 | 0 | 9.2 | 19.36 | 4.84 | 5.81 | 0 | -8
10:00 - 10:15 | -1.8 | -10 | 0 | 3.87 | 6.78 | -627.29 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 6 | 0.48 | 11.61 | 4.84 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | -2.1 | -2 | -10 | 0 | 9.2 | 19.36 | 4.84 | 5.81 | 0 | -8
10:15 - 10:30 | -1.8 | -10 | 0 | 3.87 | 6.78 | -485.94 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 5.81 | 0.48 | 11.61 | 4.84 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | -0.7 | -2 | 0 | 0 | 9.2 | 19.35 | 4.84 | 5.81 | 0 | -8
10:30 - 10:45 | -1.8 | -10 | -0.4 | 3.87 | 6.78 | -618.98 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 5.81 | 0.48 | 11.61 | 4.84 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | -0.7 | -4 | -5 | 0 | 9.2 | 48.39 | 4.84 | 5.81 | 0 | -8
10:45 - 11:00 | -1.8 | -10 | -0.4 | 3.87 | 6.78 | -603.53 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 5.71 | 0.48 | 11.61 | 4.84 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | -3 | -4 | -15 | 0 | 9.2 | 48.39 | 4.84 | 5.81 | 0 | -8
11:00 - 11:15 | -1.8 | -10 | -0.4 | 3.87 | 6.78 | -389.9 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 5.71 | 0.48 | 11.61 | 4.84 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | -1.1 | 0 | 0 | 9.68 | 9.2 | 38.71 | 4.84 | 5.81 | 0 | -8
11:15 - 11:30 | -1.8 | -10 | -0.4 | 3.87 | 6.78 | -389.9 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 5.81 | 0.48 | 11.61 | 4.84 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | -1.1 | 0 | -25 | 9.68 | 9.2 | 38.71 | 4.84 | 5.81 | 0 | -8
11:30 - 11:45 | -1.8 | -20 | -0.4 | 3.87 | 6.78 | -385.9 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 5.81 | 0.48 | 11.61 | 4.84 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | -4 | 0 | -15 | 9.68 | 9.2 | 38.71 | 4.84 | 5.81 | 0 | -8
11:45 - 12:00 | -1.8 | -12 | -0.4 | 3.87 | 6.78 | -489.9 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 5.61 | 0.48 | 11.61 | 4.84 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | -1.2 | 0 | 0 | 9.68 | 9.2 | 38.72 | 4.84 | 5.81 | 0 | -8
12:00 - 12:15 | -1.8 | -14 | -0.4 | 3.87 | 6.78 | -233.23 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 5.42 | 0.48 | 11.61 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | -1.2 | 0 | 0 | 9.68 | 9.2 | 48.39 | 4.84 | 5.81 | 0 | -8
12:15 - 12:30 | -1.8 | -14 | -0.4 | 3.87 | 6.78 | -233.26 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 5.61 | 0.48 | 11.61 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | -0.5 | 0 | -10 | 9.68 | 9.2 | 48.4 | 4.84 | 5.81 | 0 | -8
12:30 - 12:45 | -2.8 | -14 | -0.4 | 3.87 | 6.78 | -233.3 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 5.52 | 0.48 | 13.54 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | 0 | 0 | 0 | 9.68 | 9.2 | 9.68 | 4.84 | 5.81 | 0 | -8
12:45 - 13:00 | -2.8 | -14 | -0.4 | 3.87 | 6.78 | -233.3 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 5.32 | 0.48 | 13.55 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | 0 | 0 | 0 | 9.68 | 9.2 | 9.68 | 4.84 | 5.81 | 0 | -8
13:00 - 13:15 | -2.8 | -14 | -0.8 | 3.87 | 6.78 | -179.88 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 6 | 0.48 | 13.54 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | 0 | 0 | -5 | 9.68 | 9.2 | 9.68 | 4.84 | 5.81 | 0 | -8
13:15 - 13:30 | -2.8 | -14 | -0.8 | 3.87 | 6.78 | -179.89 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 6.1 | 0.48 | 13.54 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | 0 | 0 | 0 | 9.68 | 9.2 | 9.68 | 4.84 | 5.81 | 0 | -8
13:30 - 13:45 | -2.8 | -14 | -0.8 | 3.87 | 6.78 | 144.95 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0.97 | 0.48 | 13.55 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | 0 | 0 | 0 | 9.68 | 9.2 | 9.68 | 4.84 | 5.81 | 0 | -8
13:45 - 14:00 | -2.8 | -14 | -0.8 | 3.87 | 6.78 | 144.92 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0.48 | 13.55 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | 0 | 0 | -40 | 9.68 | 9.2 | 9.68 | 4.84 | 5.81 | 0 | -8
14:00 - 14:15 | -2.8 | -14 | -0.8 | 3.87 | 6.78 | 110.67 | 0 | 10.65 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 0 | 0.48 | 13.55 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | 0 | 0 | 0 | 9.68 | 9.2 | 9.68 | 4.84 | 5.32 | 0 | -9
14:15 - 14:30 | -2.8 | -14 | -0.8 | 3.87 | 6.78 | 110.65 | 0 | 10.65 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | 0 | 0.48 | 13.55 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 1.45 | 0 | 0 | 0 | 9.68 | 9.2 | 9.68 | 4.84 | 5.32 | 0 | -9
14:30 - 14:45 | -2.8 | -14 | -0.8 | 3.87 | 6.78 | 0 | 0 | 10.65 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | -1.5 | 0.48 | 13.55 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 0 | 0 | -4 | 0 | 0 | 9.2 | 19.36 | 4.84 | 5.32 | 0 | -9
14:45 - 15:00 | -2.8 | -14 | -0.8 | 3.87 | 6.78 | 0 | 0 | 10.65 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | -1.5 | 0.48 | 13.55 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 0 | -2 | -4 | 0 | 0 | 9.2 | 19.36 | 4.84 | 5.32 | 0 | -9
15:00 - 15:15 | -2.8 | -14 | -0.8 | 3.87 | 6.78 | -88.34 | 0 | 10.65 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | -1.3 | 0.48 | 13.55 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 0 | -0.5 | -4 | 0 | 0 | 9.2 | 19.35 | 4.84 | 1.94 | 0 | -9
15:15 - 15:30 | -2.8 | -14 | -0.8 | 3.87 | 6.78 | -115.83 | 0 | 10.65 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | -1.1 | 0.48 | 13.55 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 0 | -0.5 | -4 | -25 | 0 | 9.2 | 19.35 | 4.84 | 0.97 | 0 | -9
15:30 - 15:45 | -2.8 | -14 | -0.8 | 3.87 | 6.78 | -165.84 | 0 | 10.65 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | -1 | 0.48 | 8.71 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 0 | -4 | -4 | -30 | 0 | 9.2 | 19.36 | 4.84 | 0.58 | 0 | -9
15:45 - 16:00 | -2.8 | -14 | -0.8 | 3.87 | 6.78 | -345.34 | 0 | 10.65 | 0 | 0 | 8.71 | -1.5 | 0 | 0 | -0.9 | 0.48 | 6.78 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 0 | -1 | -4 | -10 | 0 | 9.2 | 19.35 | 4.84 | 0.58 | 0 | -9
16:00 - 16:15 | -2.8 | -12 | -0.8 | 3.87 | 0 | -685.68 | 0 | 10.65 | 0 | 0 | 8.71 | -1.5 | 0 | 19.35 | 0 | 0.48 | 6.78 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 0 | -1 | 0 | 0 | 9.68 | 9.2 | 19.36 | 4.84 | 0.58 | 0 | -9
16:15 - 16:30 | -2.8 | -12 | -0.8 | 3.87 | 0 | -685.7 | 16.36 | 10.65 | 0 | 0 | 8.71 | -1.5 | 0 | 19.35 | 0 | 0.48 | 6.78 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 0 | -4 | 0 | 0 | 9.68 | 9.2 | 19.36 | 4.84 | 0.58 | 0 | -9
16:30 - 16:45 | -2.8 | -12 | -0.8 | 3.87 | 0 | -519.67 | 16.36 | 10.65 | 0 | 0 | 8.71 | -1.5 | 0 | 19.35 | 0 | 0.48 | 6.78 | 9.68 | 9.68 | 2.9 | 13.55 | 0 | 0 | -2 | 0 | 0 | 9.68 | 9.2 | 19.36 | 4.84 | 0.58 | 0 | -9
16:45 - 17:00 | -2.8 | -12 | -0.8 | 3.87 | 0 | -649.91 | 0 | 10.65 | 0 | 0 | 8.71 | -1.5 | 0 | 19.35 | -0.2 | 0.48 | 6.78 | 9.68 | 9.68 | 2.9 | 13.55 | -3 | 0 | -2 | -4 | -10 | 0 | 9.2 | 19.36 | 4.84 | 0.58 | 0 | -9
17:00 - 17:15 | -2.8 | -12 | -0.2 | 3.87 | 0 | -646.13 | 0 | 10.65 | 0 | 0 | 8.71 | -1.5 | 0 | 19.35 | -0.1 | 0.48 | 6.78 | 9.68 | 9.68 | 2.9 | 13.55 | -5 | 0 | -2 | -4 | -35 | 0 | 9.2 | 19.36 | 4.84 | 0.58 | 0 | -9
17:15 - 17:30 | -2.8 | -12 | -0.2 | 3.87 | 0 | -550.2 | 0 | 10.65 | 0 | 0 | 8.71 | -1.5 | 0 | 19.36 | 0 | 0.48 | 4.84 | 3.98 | 9.68 | 2.9 | 13.55 | -5 | 0 | -2 | -4 | 0 | 0 | 9.2 | 19.36 | 0 | 0.58 | 0 | -9
17:30 - 17:45 | -2.5 | -12 | -0.2 | 3.87 | 0 | -520.65 | 0 | 10.65 | 0 | 9.68 | 8.71 | -1.5 | 0 | 19.36 | 0.19 | 0.48 | 6.78 | 9.68 | 9.68 | 2.9 | 13.55 | -5 | 0 | -2 | -4 | 0 | 0 | 9.2 | 19.36 | 4.84 | 0.58 | 0 | -9
17:45 - 18:00 | -2.5 | -12 | -0.2 | 3.87 | 0 | -550.77 | 0 | 10.65 | 0 | 0 | 8.71 | -1.5 | 0 | 19.36 | 0.19 | 0.48 | 4.84 | 0 | 9.68 | 2.9 | 13.55 | -5 | 0 | -2 | -4 | -20 | 0 | 9.2 | 19.36 | 0 | 0.58 | 0 | -9
18:00 - 18:15 | -2.5 | 0 | -0.2 | 0 | 0 | -266.64 | 18.39 | 10.65 | 0 | 9.68 | 0 | -1.5 | 0 | 19.36 | 0.39 | 6.78 | 6.78 | 9.68 | 9.68 | 2.9 | 13.55 | -8 | 0 | -2 | -4 | 0 | 9.68 | 9.2 | 19.36 | 4.84 | 0.58 | 23.21 | -9
18:15 - 18:30 | -2.5 | 0 | -0.2 | 0 | 0 | -330.02 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.35 | 0 | 0 | 4.84 | 0 | 9.68 | 2.9 | 13.55 | -8 | 0 | -2 | -4 | -15 | 0 | 9.2 | 19.36 | 0 | 0.58 | 0 | -9
18:30 - 18:45 | -2.5 | 0 | -0.2 | 0 | 0 | -300.51 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.35 | 0 | 0 | 4.84 | 0 | 9.68 | 0 | 0 | 0 | 0 | -2 | -4 | -35 | 0 | 9.2 | 19.36 | 0 | 0 | 0 | -9
18:45 - 19:00 | -2.5 | 0 | -0.2 | 0 | 0 | -350.51 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | -15 | 19.35 | 0 | 0 | 4.84 | 0 | 9.68 | 0 | 0 | 0 | 0 | -2 | -4 | -10 | 0 | 9.2 | 19.36 | 0 | 0 | 0 | -9
19:00 - 19:15 | -2.5 | -3 | -0.2 | 0 | 0 | -506.89 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9
19:15 - 19:30 | -2.5 | -3 | -0.2 | 0 | 0 | -459.15 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -4 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -9
19:30 - 19:45 | -2.5 | -3 | 0 | 0 | 0 | -461.8 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9
19:45 - 20:00 | -2.5 | -3 | 0 | 0 | 0 | -460.35 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -4 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -9
20:00 - 20:15 | -2.5 | -3 | 0 | 0 | 0 | -558.42 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | 0 | 0 | 0 | -9.3
20:15 - 20:30 | -2.5 | -3 | 0 | 0 | 0 | -560.84 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -9.3
20:30 - 20:45 | -2.5 | -3 | 0 | 0 | 0 | -558.34 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.3
20:45 - 21:00 | -2.5 | -3 | 0 | 0 | 0 | -608.42 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -9.3
21:00 - 21:15 | -2.5 | -3 | 0 | 0 | 0 | -653.13 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -9.3
21:15 - 21:30 | -2.5 | -3 | 0 | 0 | 0 | -653.14 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.3
21:30 - 21:45 | -2.5 | 0 | 0 | 0 | 0 | -649.78 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 19.35 | 0 | 0 | 15.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | 0 | 19.36 | 0 | 0 | 0 | -9.3
21:45 - 22:00 | -2.5 | 0 | 0 | 0 | 0 | -650.95 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 19.35 | 0 | 0 | 15.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -35 | 0 | 0 | 19.36 | 0 | 0 | 0 | -9.3
22:00 - 22:15 | -0.5 | 0 | 0 | 0 | 0 | -678.57 | 0 | 6.11 | 0 | 0 | 0 | -1.5 | 0 | 19.34 | 0 | 0 | 15.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 5.28 | 19.36 | 0 | 0 | 0 | -9.3
22:15 - 22:30 | -0.5 | 0 | 0 | 0 | 0 | -679.5 | 0 | 0 | -50 | 0 | 0 | -1.5 | 0 | 19.35 | 0 | 0 | 15.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 19.36 | 0 | 0 | 0 | -9.3
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | -756.86 | 0 | 0 | -50 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -9.3
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | -755 | 0 | 0 | -50 | 0 | 0 | -1.5 | 0 | 19.35 | 0 | 0 | 15.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 19.36 | 0 | 0 | 0 | -9.3
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | -779.86 | 0 | 0 | -50 | 0 | 0 | -1.5 | 0 | 19.35 | 0 | 0 | 15.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 19.36 | 0 | 0 | 0 | -9.3
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | -780 | 0 | 0 | -50 | 0 | 0 | -1.5 | 0 | 19.35 | 0 | 0 | 15.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -20 | 0 | 0 | 19.36 | 0 | 0 | 0 | -9.3
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | -905.29 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.34 | 0 | 0 | 15.49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 9.2 | 19.36 | 0 | 0 | 0 | -9.3
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | -900 | 0 | 10.65 | 0 | 0 | 0 | -1.5 | 0 | 19.35 | 0 | 0 | 7.74 | 0 | 0 | 1.66 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 9.2 | 19.36 | 0 | 0.33 | 0 | -9.3
Average | -2.4125 | -5.5208 | -0.275 | 1.7738 | 1.9775 | -493.4835 | 0.70479 | 6.6579 | -2.6042 | 0.40333 | 1.4517 | -1.5 | -0.3125 | 6.4509 | 0.7025 | 0.55812 | 6.815 | 3.2177 | 5.2433 | 1.286 | 6.9161 | -0.40625 | 0.40292 | -0.58958 | -2.0417 | -9.0625 | 1.9158 | 5.8545 | 15.9853 | 1.8654 | 1.6931 | 2.2583 | -8.4667 | #DIV/0!