## POWER STATUS
POWER STATUS ON DT 01.09.2026
[9 empty] | 2026-09-01 | 2026-08-31
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 2548.4865 | 5590.6301
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 237.33 | 5.6959 | 630/590 ft | 624.54 | 625.04 | 624.67 | 239.6763 | 235.8551
| Chiplima | 72(3x24) | 60.75 | 1.458 | - |  |  |  | 61.2896 | 53.179
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1482.6 | 1474.8 | 1475.2 | 0 | 0
| Rengali | 250(5x50) | 243.36 | 5.8406 | 123.5/109.75 mt | 122.43 | 121.91 | 122.63 | 232.0019 | 247.7686
| Upper Kolab | 320(4x80) | 43.58 | 1.0459 | 858/844 mt | 855.27 | 852.24 | 852.34 | 22.2747 | 21.7995
| Upper Indravati | 600(4x150) | 556.54 | 13.357 | 642/625 mt | 636.89 | 639.6 | 639.79 | 395.5343 | 601.3924
| Machkund | 60(50% of(3x17+3x23)) | 12.22 | 0.29328 | 2750/2685 ft | 2747.9 | 2730.5 | 2730.8 | 19.7096 | 15.0289
| Total Hydro | 2099.5 | 1153.78 | 27.6907 |  |  |  |  | 970.4865 | 1175.0234
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1631.96 | 39.167 | RENEWABLE ENERGY (RE) |  |  |  | 1578 | 1630
[5 empty] | M.Hydl | 121.33
| Total Thermal | 2200 | 1631.96 | 39.167 | Solar | 46.02 |  |  | 1578 | 1630
IPP | VEDANTA #2 | 600 (1x600) | 399.1845 | 9.5804 | Total IPPs | Yesterday's Demand Profile |  |  | 390.8008 | 536.9535
| GMR #3 | 350 (1x350) | 297.3812 | 7.1371 | 783.2547 |  | MW | HRS | 328.4174 | 331.0787
| NBVL(IPP) | 60(1x60) | 42.0231 | 1.0086 |  |  |  |  | 53.4963 | 53.9279
| MDTPC |  | 44.6658 | 1.072 |  |  |  |  | 0 | 56.2579
| CGPs |  | 882.2794 | 21.1747 | IPPs, CGPs & RE | Maximum | 5665 | 09.00 |  | 2125.1752
| Central Sector(Drawl) |  | 624.229 | 14.9815 | 1832.884 | Minimum | 4866 | 03.00 |  | 660.4316
| Central Sector(Sch) |  | 639.3371 | 15.3441 |  | Average | 5242.8531 |  |  | 901.48
| Grand Total |  | 5242.8531 | 125.8285 | Instantaneous Peak demand |  | 5933 | 475:33 | 2548.4865 | 5590.6301
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1499.1205 | 35.9789 | 1485.6308 | 35.6551 | 1515.8411 | 36.3802
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1626.819 | 39.0437 | 1581.5216 | 37.9565 | 1338.0272 | 32.1127
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1349.6706 | 32.3921 | 1314.1579 | 31.5398 | 1259.8474 | 30.2363
U.Kolab | 1,2,3 | KAHALGAON | NIL | TPSODL | 564.7998 | 13.5552 | 573.2493 | 13.758 | 587.3943 | 14.0975
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5040.4099 | 120.9698 | 4954.5597 | 118.9094 | 4701.11 | 112.8266
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | 3
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 390.8008 | GMR |  |  |  | 328.4174
| NBVL #3 | 53.4963 | MDTPC |  |  |  | 0
Mini Hydel: | MEENAKSHI | 39.6104 | OPCL |  |  |  | 0
| BTPL | 22.9019 | SAPTADHARA |  |  |  | 19.9045
Solar: |  | 102.2327 | KAKATIYA |  |  |  | 5.4774
CGPs : | JSPL (Angul) | 105.2101 | JSL(Duburi) |  |  |  | -112.5816
| ICCL | 50.8905 | visa |  |  |  | 10.0321
| NALCO | -150.88 | VAL (CGP) |  |  |  | 104.8496
| RSP | -47.5589 | BSL(MMDL) |  |  |  | 35.6629
| INDAL | 0.033794 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -40.7832 | VAL CPP 400 kV |  |  |  | -444.0173
| NBVL | 54.0552 | Arati |  |  |  | 8.8855
| BPSL(JSG) | -98.9298 | BPPL |  |  |  | 100.4997
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-24 | 2026-08-25 | 2026-08-26 | 2026-08-27 | 2026-08-28 | 2026-08-29 | 2026-08-30 | 2026-08-31
683.9104 | 688.7883 | 689.12 | 789.39 | 873.4591 | 858.7008 | 901.3567 | 1153.78
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.31.08.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AMNSIL_Pdeep | AMNSIL | 0 | AARTISTEEL | CSEB_Beneficiary | -4.75 | AGE26AL_PSS6_KPS1_S | ODISHA | 124.42
GMRKEL_STU | MSEB_Beneficiary | -61.9 | AARTISTEEL | CSEB_Beneficiary | -4.69 | AP41PL_BHDL | ODISHA | 60.28
GMRKEL_STU | TNEB | -18 | AARTISTEEL | PSPCL | -7.08 | AP43PL_BKN | ODISHA | 94.11
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | AARTISTEEL | PSPCL | -2.92 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.67
JPIPL | NPCL_UP | -14 | AECI11PL | STEELCAST2022 | -0.19 | AWEK1L | ODISHA | 15.25
JSPLANGUL | GEB_Beneficiary | -52 | ARYAN_ISPAT | PONDY | -5 | AWEK1L | ODISHA | 22.87
JSPLANGUL | RUVITSL | -43.75 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -1.4 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 0.77
MAADURGA_THERMAL | NPCL_UP | -17.26 | DCBL_Rajgangpur | DALCEMAP | -2.88 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 40
NBVLIPP | TANGEDCO | -50 | DCBL_Rajgangpur | DCBLME | -6 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 10.07
ODISHA | AMNSIL | -26.56 | DCBL_Rajgangpur | DCL_RCW | -1.96 | DADRI_SOLAR | ODISHA | 0.44
ODISHA | AMNSIL | -10.21 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -5.75 | ENERSON_SOLAR_10MW | ODISHA | 0
ODISHA | APCPDCL | -14.58 | DCBL_Rajgangpur | DalmiaCementNEL2 | -2.12 | GADAG_GreenInfra_W | ODISHA | 0.82
ODISHA | CESC | -29.17 | ENVIROCARE_INFRA | WBSEDCL | -6.67 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | KPTCL | -25 | FACORPOWER | PSPCL | -5.83 | GADAG_GreenInfra_W | ODISHA | 0
VSL | CR_IR_MS | -10 | FACORPOWER | PSPCL | -3.54 | GADAG_Serentica3_S | VLSEZ | 27.08
FARIDABAD_SOLAR | ODISHA | 0.86 | FACORPOWER | PSPCL | -14.17 | GADAG_Serentica3_W | VLSEZ | 101.57
JSWEL_UTKAL | ODISHA | 67.74 | FACORPOWER | PSPCL | -1.46 | GIWEL_SECI_II_RE | ODISHA | 79.47
RAJ_SOLAR | ODISHA | 2.58 | FACORPOWER | TANGEDCO | -20 | GPCL_SOLAR_10 | ODISHA | 0.74
RAJ_SOLAR | ODISHA | 2.7 | JSPLANGUL | RUVITSL | -106.25 | GSECL_SOLAR | ODISHA | 1.08
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.47
|  |  | MAITHAN_ISPAT | CSEB_Beneficiary | -1.48 | KARUR_TPVARDHAMAN_W | TSKPO | 69.96
|  |  | NBVLIPP | BSPHCL | -14.38 | KREPL_BKN2 | KCMW_od | 1.29
|  |  | OCL_IRON_STEEL | BRPL | -25 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | OCL_IRON_STEEL | TPDDL | -34 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.04
|  |  | ODISHA | BRPL | -14.58 | Kurnool_Greenko_H_Inj | ADITYAAL | 6.98
|  |  | ODISHA | BYPL | -14.58 | NTPCRE1_SMND_BHJ2_W | ODISHA | 10.82
|  |  | ODISHA | NPCL_UP | -14.58 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 7.37
|  |  | ODISHA | TPL_DIS_AHM | -26.25 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 14.18
|  |  | ODISHA | TPL_DIS_AHM | -14.58 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 8.45
|  |  | ORSISL | PSPCL | -2.83 | OKWPL_RE | ODISHA | 35.69
|  |  | ORSISL | PSPCL | -1.17 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 17.36
|  |  | RSPL_JHARSUGUDA | GOA_Beneficiary | -20 | RWE_AP2_SECI_III | ODISHA | 27.96
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.48 | RenewGreen_SLPR_HS | JSL_DUBURI | 6.11
|  |  | TIMES_STEEL | CSEB_Beneficiary | -1.5 | SRI9PL_FTG3 | VLSEZ | 83.13
|  |  | VIRAJ_SEPL | TANGEDCO | -2.71 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.13
|  |  | VSL | WBSEDCL | -4.17 | TSESOPL_BKN2 | OPL_CUTTAK | 0.16
|  |  | JIPL | ODISHA | 115.73 | Tuticorin_BETAMWIND | ODISHA | 62.49
|  |  | NALCOAP | NACL_Odisha | 29.5 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 24.38
[6 empty] | XXPPL_FTG3 | ODISHA | 65.68

## DAM
DAM TRADING DETAILS FOR DT : 31.08.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Jindal_Steel_&_Power_Limited_Angul_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Power_Plant_Athagarh | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -1.5 | 0 | -525 | -122.89 | -2 | -17 | 0 | 0 | 0
00:15 - 00:30 | -1.5 | 0 | -525 | 0 | -2 | -17 | 0 | 0 | 0
00:30 - 00:45 | -1.5 | 0 | -525 | 0 | -2 | -17 | 0 | 0 | 0
00:45 - 01:00 | -1.5 | 0 | -525 | 0 | -2 | -17 | 0 | 0 | 0
01:00 - 01:15 | -1.5 | 0 | -825 | 0 | -2 | -17 | 0 | 0 | 0
01:15 - 01:30 | -1.5 | 0 | -825 | 0 | -2 | -17 | 0 | 0 | 0
01:30 - 01:45 | -1.5 | 0 | -825 | 0 | -2 | -17 | 0 | 0 | 0
01:45 - 02:00 | -1.5 | 0 | -825 | 0 | -2 | -17 | 0 | 0 | 0
02:00 - 02:15 | -1.5 | 0 | -975 | 0 | -2 | -17 | 7.72 | 0 | 0
02:15 - 02:30 | -1.5 | 0 | -975 | 0 | -2 | -17 | 7.72 | 0 | 0
02:30 - 02:45 | -1.5 | 0 | -975 | 0 | -2 | -17 | 7.72 | 0 | 0
02:45 - 03:00 | -1.5 | 0 | -975 | 0 | -2 | -17 | 0 | 0 | 0
03:00 - 03:15 | -1.5 | 0 | -1125 | 0 | -1 | -17 | 0 | 0 | 0
03:15 - 03:30 | -1.5 | 0 | -1125 | 0 | -1 | -17 | 7.72 | 0 | 0
03:30 - 03:45 | -1.5 | 0 | -1125 | 0 | -1 | -17 | 7.72 | 0 | 0
03:45 - 04:00 | -1.5 | 0 | -1125 | 0 | -1 | -17 | 7.72 | 0 | 0
04:00 - 04:15 | -1.5 | 0 | -1150 | 0 | -1 | -17 | 7.72 | 0 | 0
04:15 - 04:30 | -1.5 | 0 | -1150 | 0 | -1 | -17 | 7.72 | 0 | 0
04:30 - 04:45 | -1.5 | 0 | -1150 | 0 | -1 | -17 | 7.72 | 0 | 0
04:45 - 05:00 | -1.5 | 0 | -1150 | 0 | -1 | -17 | 7.72 | 0 | 0
05:00 - 05:15 | -1.5 | 0 | -1200 | 0 | -2 | -43 | 0 | 0 | 0
05:15 - 05:30 | -1.5 | 0 | -1200 | 0 | -2 | -43 | 0 | 0 | 0
05:30 - 05:45 | -1.5 | 0 | -1099.77 | 0 | -2 | -43 | 0 | 0 | 0
05:45 - 06:00 | -1.5 | 0 | -1100 | 0 | -2 | -43 | 0 | 0 | 0
06:00 - 06:15 | -1.5 | 0 | -1150 | 0 | -2 | -43 | 0 | 0 | -6
06:15 - 06:30 | -1.5 | 0 | -1150 | 0 | -2 | -43 | 0 | 0 | -6
06:30 - 06:45 | -1.5 | 0 | -1150 | 0 | -2 | -43 | 0 | 0 | -6
06:45 - 07:00 | -1.5 | 0 | -1150 | 0 | -2 | -43 | 0 | 0 | -6
07:00 - 07:15 | -1.5 | 0 | -1375 | 0 | -2 | -43 | 0 | 0 | -6
07:15 - 07:30 | -1.5 | 0 | -1375 | 0 | -2 | -43 | 0 | 0 | -6
07:30 - 07:45 | -1.5 | 0 | -1525 | 0 | -2 | -43 | 0 | 0 | -6
07:45 - 08:00 | -1.5 | 0 | -1525 | 0 | -2 | -43 | 0 | 0 | -6
08:00 - 08:15 | -1.5 | 3.86 | -1350 | 0 | -1 | -43 | 0 | 0 | -6
08:15 - 08:30 | -1.5 | 3.86 | -1350 | 0 | -1 | -43 | 0 | 0 | -6
08:30 - 08:45 | -1.5 | 3.86 | -1250 | 0 | -1 | -43 | 0 | 0 | -6
08:45 - 09:00 | -1.5 | 3.86 | -1250 | 0 | -1 | -43 | 0 | 0 | -6
09:00 - 09:15 | -1.5 | 3.86 | -1500 | 0 | -1 | -43 | 0 | 0 | -6
09:15 - 09:30 | -1.5 | 3.86 | -1500 | 0 | -1 | -43 | 0 | 0 | -6
09:30 - 09:45 | -1.5 | 3.86 | -1200 | 0 | -1 | -43 | 7.71 | 0 | -6
09:45 - 10:00 | -1.5 | 3.86 | -1200 | 0 | -1 | -43 | 7.71 | 0 | -6
10:00 - 10:15 | -1.5 | 3.86 | -1088 | 0 | -1 | -18 | 7.71 | 0 | -6
10:15 - 10:30 | -1.5 | 3.86 | -966.05 | 0 | -1 | -18 | 7.71 | 0 | -6
10:30 - 10:45 | -1.5 | 3.86 | -837.08 | 0 | -1 | -18 | 7.71 | 0 | -6
10:45 - 11:00 | -1.5 | 3.86 | -835.46 | 0 | -1 | -18 | 7.71 | 0 | -6
11:00 - 11:15 | -1.5 | 3.86 | -850.36 | 0 | -1 | -18 | 7.71 | 0 | -6
11:15 - 11:30 | -1.5 | 3.86 | -762.33 | 0 | -1 | -18 | 7.71 | 0 | -6
11:30 - 11:45 | -1.5 | 3.86 | -606.14 | 0 | -1 | -18 | 7.71 | 0 | 0
11:45 - 12:00 | -1.5 | 3.86 | -637.34 | 0 | -1 | -18 | 7.71 | 0 | 0
12:00 - 12:15 | -1.5 | 3.86 | -410.91 | 0 | -1 | -18 | 7.71 | 0 | 0
12:15 - 12:30 | -1.5 | 3.86 | -309.38 | 0 | -1 | -18 | 7.71 | 0 | 0
12:30 - 12:45 | -1.5 | 3.86 | -150 | 0 | -1 | -18 | 7.71 | 0 | 0
12:45 - 13:00 | -1.5 | 3.86 | -150 | 0 | -1 | -18 | 7.71 | 0 | 0
13:00 - 13:15 | -1.5 | 3.86 | -150 | 0 | -1 | -18 | 7.71 | 0 | 0
13:15 - 13:30 | -1.5 | 3.86 | -210.23 | 0 | -1 | -18 | 7.71 | 0 | 0
13:30 - 13:45 | -1.5 | 3.86 | -592.52 | 0 | -1 | -18 | 7.71 | 0 | 0
13:45 - 14:00 | -1.5 | 3.86 | -815.88 | 0 | -1 | -18 | 7.71 | 0 | -6
14:00 - 14:15 | -1.5 | 3.86 | -785.13 | 0 | -1 | -18 | 7.71 | 0 | -6
14:15 - 14:30 | -1.5 | 3.86 | -787.31 | 0 | -1 | -18 | 7.71 | 0 | -6
14:30 - 14:45 | -1.5 | 3.86 | -947.11 | 0 | -1 | -18 | 7.71 | 0 | -6
14:45 - 15:00 | -1.5 | 3.86 | -1127.14 | 0 | -1 | -18 | 7.71 | 0 | -6
15:00 - 15:15 | -1.5 | 3.86 | -1100 | 0 | -1 | -43 | 7.71 | 0 | -6
15:15 - 15:30 | -1.5 | 3.86 | -1206.52 | 0 | -1 | -43 | 7.71 | 0 | -6
15:30 - 15:45 | -1.5 | 3.86 | -1250 | 0 | -1 | -43 | 0 | 0 | -6
15:45 - 16:00 | -1.5 | 3.86 | -1250 | 0 | -1 | -43 | 0 | 0 | -6
16:00 - 16:15 | -1.5 | 3.86 | -1300 | 0 | -1 | -43 | 0 | 0 | -6
16:15 - 16:30 | -1.5 | 3.86 | -1300 | 0 | -1 | -43 | 0 | 0 | -6
16:30 - 16:45 | -1.5 | 3.86 | -1300 | 0 | -1 | -43 | 0 | 0 | -6
16:45 - 17:00 | -1.5 | 3.86 | -1300 | 0 | -1 | -43 | 0 | 0 | -6
17:00 - 17:15 | -1.5 | 0 | -975 | 0 | -2 | -43 | 0 | 0 | -6
17:15 - 17:30 | -1.5 | 0 | -975 | 0 | -2 | -43 | 0 | 0 | -6
17:30 - 17:45 | -1.5 | 0 | -975 | 0 | -2 | -43 | 0 | 0 | -6
17:45 - 18:00 | -1.5 | 0 | -975 | 0 | -2 | -43 | 0 | 0 | -6
18:00 - 18:15 | -1.5 | 0 | -475 | 0 | -2 | -43 | 0 | -29.1 | 0
18:15 - 18:30 | -1.5 | 0 | -400 | -270 | -2 | -43 | 0 | -29.1 | 0
18:30 - 18:45 | -1.5 | 0 | -350 | -270 | -2 | -43 | 0 | -29.1 | 0
18:45 - 19:00 | -1.5 | 0 | -150 | -270 | -2 | -43 | 0 | -29.1 | 0
19:00 - 19:15 | -1.5 | 0 | -100 | -270 | -2 | 0 | 0 | -29.1 | 0
19:15 - 19:30 | -1.5 | 0 | -100 | -270 | -2 | 0 | 0 | -29.1 | 0
19:30 - 19:45 | -1.5 | 0 | -100 | -270 | -2 | 0 | 0 | -29.1 | 0
19:45 - 20:00 | -1.5 | 0 | -100 | -270 | -2 | 0 | 0 | -29.1 | 0
20:00 - 20:15 | -1.5 | 0 | -150 | -270 | -2 | 0 | 0 | -29.1 | 0
20:15 - 20:30 | -1.5 | 0 | -150 | -270 | -2 | 0 | 0 | -29.1 | 0
20:30 - 20:45 | -1.5 | 0 | -150 | -270 | -2 | 0 | 0 | -29.1 | 0
20:45 - 21:00 | -1.5 | 0 | -150 | -270 | -2 | 0 | 0 | -29.1 | 0
21:00 - 21:15 | -1.5 | 0 | -150 | -270 | -2 | 0 | 0 | -29.1 | 0
21:15 - 21:30 | -1.5 | 0 | -150 | -270 | -2 | 0 | 0 | -29.1 | 0
21:30 - 21:45 | -1.5 | 0 | -150 | -270 | -2 | 0 | 0 | -29.1 | 0
21:45 - 22:00 | -1.5 | 0 | -150 | -270 | -2 | 0 | 0 | -29.1 | 0
22:00 - 22:15 | -1.5 | 0 | -225 | -270 | -2 | 0 | 0 | -29.1 | 0
22:15 - 22:30 | -1.5 | 0 | -225 | -270 | -2 | 0 | 0 | -29.1 | 0
22:30 - 22:45 | -1.5 | 0 | -225 | -270 | -2 | 0 | 0 | -29.1 | 0
22:45 - 23:00 | -1.5 | 0 | -225 | -270 | -2 | 0 | 0 | -29.1 | 0
23:00 - 23:15 | -1.5 | 0 | -300 | -270 | -2 | 0 | 0 | -29.1 | 0
23:15 - 23:30 | -1.5 | 0 | -300 | -270 | -2 | 0 | 0 | -29.1 | 0
23:30 - 23:45 | -1.5 | 0 | -300 | -270 | -2 | 0 | 0 | -29.1 | 0
23:45 - 24:00 | -1.5 | 0 | -300 | -270 | -2 | 0 | 0 | -29.1 | 0
Average | -1.5 | 1.4475 | -791.6631 | -65.9676 | -1.5417 | -23.4167 | 2.7317 | -7.275 | -2.4375 | #DIV/0! | #DIV/0!

## GDAM
GDAM TRADING DETAILS FOR DT:31.08.2026
Time Period | Ampin_C&I_Three_Private_Limited | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 19.28 | 0 | 0 | 3.64
08:15 - 08:30 | 0 | 0 | 0 | 0 | 19.29 | 0 | 0 | 6.27
08:30 - 08:45 | 0 | 0 | 0 | 0 | 19.29 | 0 | 0 | 6.27
08:45 - 09:00 | 0 | 0 | 0 | 0 | 19.3 | 16.39 | 9.64 | 6.27
09:00 - 09:15 | 0 | 0 | 0 | 0 | 19.29 | 14.47 | 9.64 | 6.27
09:15 - 09:30 | 0 | 0 | 0 | 0 | 19.29 | 14.47 | 9.64 | 6.27
09:30 - 09:45 | 0 | -6.5 | 0 | 0 | 19.29 | 14.47 | 9.64 | 6.27
09:45 - 10:00 | 0 | -1.4 | 60.33 | 0 | 19.29 | 14.47 | 9.64 | 6.27
10:00 - 10:15 | -1.5 | 0 | 0 | 0 | 19.29 | 13.5 | 9.64 | 6.27
10:15 - 10:30 | 0 | 0 | 65.77 | 0 | 19.29 | 14.47 | 9.64 | 6.27
10:30 - 10:45 | 0 | -7.6 | 125.27 | 0 | 19.29 | 14.47 | 9.64 | 6.27
10:45 - 11:00 | 0 | -4.1 | 83.36 | 0 | 19.29 | 14.47 | 9.64 | 6.27
11:00 - 11:15 | 0 | 0 | 53 | 0 | 19.29 | 14.47 | 9.64 | 6.27
11:15 - 11:30 | -1.1 | -3.2 | 53.01 | 0 | 19.29 | 13.5 | 9.64 | 6.27
11:30 - 11:45 | 0 | -10.1 | 95.76 | 0 | 19.29 | 14.47 | 9.64 | 6.27
11:45 - 12:00 | -3 | 0 | 95.79 | 0 | 19.29 | 13.5 | 9.64 | 6.27
12:00 - 12:15 | -6.2 | -2.8 | 129.02 | 6.09 | 19.29 | 13.5 | 9.64 | 6.27
12:15 - 12:30 | 0 | -3.5 | 137.59 | 9.45 | 19.29 | 13.5 | 9.64 | 6.27
12:30 - 12:45 | 0 | 0 | 137.57 | 8.29 | 19.29 | 14.47 | 9.64 | 6.27
12:45 - 13:00 | 0 | 0 | 137.57 | 8.1 | 19.29 | 14.47 | 9.64 | 6.27
13:00 - 13:15 | 0 | 0 | 137.54 | 7.81 | 19.29 | 14.47 | 9.64 | 6.27
13:15 - 13:30 | -0.8 | -5.2 | 137.53 | 7.62 | 19.29 | 13.5 | 9.64 | 6.27
13:30 - 13:45 | -9.4 | -3.6 | 106.66 | 0 | 19.29 | 13.5 | 9.64 | 6.27
13:45 - 14:00 | 0 | 0 | 95.81 | 0 | 19.29 | 13.5 | 9.64 | 6.27
14:00 - 14:15 | 0 | 0 | 123.15 | 0 | 19.29 | 14.47 | 9.64 | 6.27
14:15 - 14:30 | 0 | -0.2 | 60.28 | 0 | 19.29 | 14.47 | 9.64 | 6.27
14:30 - 14:45 | 0 | -3.4 | 0 | 0 | 19.29 | 12.54 | 9.64 | 6.27
14:45 - 15:00 | -0.8 | -4.6 | 0 | 0 | 19.29 | 11.57 | 9.64 | 6.27
15:00 - 15:15 | -1.3 | -0.9 | 0 | 0 | 19.29 | 11.57 | 9.64 | 6.27
15:15 - 15:30 | 0 | 0 | 0 | 0 | 19.29 | 12.54 | 9.64 | 6.27
15:30 - 15:45 | 0 | 0 | 0 | 0 | 19.29 | 0 | 0 | 6.27
15:45 - 16:00 | 0 | 0 | 0 | 0 | 19.29 | 0 | 0 | 6.27
16:00 - 16:15 | 0 | -1.3 | 0 | 0 | 14.47 | 13.5 | 0 | 6.27
16:15 - 16:30 | 0 | -2.1 | 0 | 0 | 14.47 | 14.46 | 0 | 6.27
16:30 - 16:45 | 0 | 0 | 0 | 0 | 14.47 | 0 | 0 | 1.22
16:45 - 17:00 | 0 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 13.36 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.25104 | -0.63021 | 19.1147 | 0.49333 | 7.6243 | 4.1995 | 2.7112 | 2.2059 | #DIV/0!

## RTM
RTM TRADING DETAILS FOR DT: 31.08.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Limited | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | The_Ramco_Cements_Limited_Odisha | Viraj_Steel_&_Energy_Pvt_Ltd | Visa_Steel_Limited
00:00 - 00:15 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -595.88 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 9.16 | 0 | 0 | 0 | -9 | 0
00:15 - 00:30 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -680.02 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 19.29 | 0 | 15.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 9.16 | 19.29 | 0 | 0 | -9 | 0
00:30 - 00:45 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -679.78 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 19.29 | 0 | 15.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -45 | 0 | 9.16 | 19.29 | 0 | 0 | -9 | 0
00:45 - 01:00 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -660.34 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 19.29 | 0 | 15.43 | 0 | 0 | 0 | 13.5 | 0 | 0 | 0 | -2 | -45 | 0 | 9.16 | 19.29 | 0 | 0.58 | -9 | 0
01:00 - 01:15 | -2.5 | 0 | 0 | 0 | 11.58 | 0 | -575 | 0 | 10.51 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 9.08 | 0 | 0 | 0 | -9 | 0
01:15 - 01:30 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -520.04 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 9.16 | 0 | 0 | 0 | -9 | 0
01:30 - 01:45 | -2.5 | 0 | 0 | 0 | 11.58 | 0 | -491.62 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 6.91 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -2 | -45 | 0 | 9.16 | 0 | 0 | 0 | -9 | 0
01:45 - 02:00 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -560.31 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 19.29 | 0 | 15.43 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -2 | -45 | 0 | 9.16 | 33.76 | 0 | 0 | -9 | 0
02:00 - 02:15 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -525.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -2 | -20 | 0 | 0 | 0 | 0 | 0 | -9 | 0
02:15 - 02:30 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -551.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | 0 | 0 | -9 | 0
02:30 - 02:45 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -553.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -2 | -45 | 0 | 0 | 0 | 0 | 0 | -9 | 0
02:45 - 03:00 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -553.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -2 | -45 | 0 | 0 | 0 | 0 | 0 | -9 | 0
03:00 - 03:15 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -537.53 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 19.29 | 0 | 15.43 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -2 | -45 | 0 | 9.16 | 28.93 | 0 | 0 | -9 | 0
03:15 - 03:30 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -485.34 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 19.29 | 0 | 7.72 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -2 | -45 | 0 | 9.16 | 28.93 | 0 | 0 | -9 | 0
03:30 - 03:45 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -547 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -2 | -10 | 0 | 9.16 | 0 | 0 | 0 | -9 | 0
03:45 - 04:00 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -550.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -2 | -20 | 0 | 0 | 0 | 0 | 0 | -9 | 0
04:00 - 04:15 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -500.01 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 19.29 | 0 | 7.72 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -2 | -10 | 0 | 9.16 | 9.64 | 0 | 0.5 | -9 | 0
04:15 - 04:30 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -479.74 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 19.29 | 0 | 7.72 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -2 | -45 | 0 | 9.16 | 9.64 | 0 | 0 | -9 | 0
04:30 - 04:45 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -574.96 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -2 | -20 | 0 | 9.16 | 0 | 0 | 0 | -9 | 0
04:45 - 05:00 | -2.5 | 0 | 0 | 0 | 11.57 | 0 | -550.03 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 19.3 | 0 | 7.72 | 0 | 9.64 | 0 | 0 | -2 | 0 | 0 | -2 | 0 | 0 | 9.16 | 9.64 | 0 | 0.2 | -9 | 0
05:00 - 05:15 | -2.5 | 0 | 0 | 0 | 0 | 0 | -320.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0
05:15 - 05:30 | -2.5 | 0 | 0 | 0 | 0 | 0 | -275.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | 0 | 0 | -9 | 0
05:30 - 05:45 | -2.5 | 0 | -0.6 | 0 | 0 | 0 | -290.03 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 19.29 | 0 | 15.43 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -2 | 0 | 0 | 9.16 | 0 | 0 | 0 | -9 | 0
05:45 - 06:00 | -2.5 | 0 | -0.6 | 0 | 0 | 0 | -374.99 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 19.29 | 0 | 15.43 | 0 | 9.64 | 0 | 0 | -2 | 0 | 0 | -2 | -20 | 0 | 9.16 | 24.11 | 0 | 0.58 | -9 | 0
06:00 - 06:15 | -2.5 | -17 | -0.6 | 0 | 0 | 0 | -426.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | 0 | 0 | 0 | 0 | -9 | 0
06:15 - 06:30 | -2.5 | -22 | -0.6 | 0 | 0 | 0 | -435.42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | 0 | 0 | 0 | 0 | -9 | 0
06:30 - 06:45 | -2.5 | -22 | -0.6 | 0 | 0 | 0 | -483.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0
06:45 - 07:00 | -2.5 | 0 | -0.6 | 0 | 0 | 0 | -529.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0
07:00 - 07:15 | -2.5 | -14 | 0 | 0 | 0 | 0 | -374.96 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -9 | 0
07:15 - 07:30 | -2.5 | -14 | 0 | 0 | 0 | 0 | -414.77 | 0 | 10.61 | 0 | -0.2 | 0 | 0 | 0 | -1.5 | 0 | 19.29 | -0.5 | 15.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 9.16 | 27.36 | 0 | 0 | -9 | 0
07:30 - 07:45 | -2.5 | -14 | 0 | 0 | 0 | 0 | -575.02 | 0 | 10.61 | 0 | -0.2 | 0 | 0 | 0 | -1.5 | 0 | 19.29 | -0.6 | 15.43 | 0 | 9.64 | 0 | 0 | 0 | 0 | 0 | -6 | -20 | 0 | 9.16 | 43.4 | 0 | 0.38 | -9 | 0
07:45 - 08:00 | -2.5 | -14 | 0 | 0 | 0 | 0 | -537.5 | 0 | 10.61 | 0 | -0.2 | 9.64 | 0 | 0 | -1.5 | 0 | 19.29 | -0.6 | 19.29 | 4.82 | 9.64 | 0 | 13.5 | 0 | 0 | 0 | -6 | -40 | 0 | 9.16 | 43.41 | 4.82 | 0.58 | -9 | 0
08:00 - 08:15 | -2.5 | -14 | 0 | 3.86 | 0 | 0 | -462.51 | 0 | 10.61 | 0 | -0.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | -40 | 0 | 9.16 | 0 | 0 | 0 | -9 | 0
08:15 - 08:30 | -2.5 | -21 | 0 | 3.86 | 0 | 0 | -359.96 | 0 | 10.61 | 0 | -0.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.8 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0 | 0 | -6 | -15 | 0 | 9.16 | 0 | 0 | 0 | -9 | 0
08:30 - 08:45 | -2.5 | -24 | -0.5 | 3.86 | 0 | 0 | -296 | 0 | 10.61 | 0 | -0.5 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 9.16 | 0 | 0 | 0 | -9 | 0
08:45 - 09:00 | -2.5 | -9 | -0.5 | 3.86 | 0 | 0 | -340.05 | 0 | 10.61 | 0 | -0.6 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | -10 | 0 | 9.16 | 0 | 0 | 0 | -9 | 0
09:00 - 09:15 | -2.5 | -9 | -0.5 | 3.86 | 0 | 0 | -255.51 | 0 | 10.61 | 0 | -0.3 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1.4 | 15.43 | 0 | 9.64 | 0 | 13.5 | 0 | 0 | 0.96 | -6 | 0 | 0 | 9.16 | 54.98 | 0 | 0 | -9 | 0
09:15 - 09:30 | -2.5 | -9 | -0.5 | 3.86 | 0 | 0 | -162.6 | 15.91 | 10.61 | 0 | -0.2 | 0 | 0 | 0 | -1.5 | 0 | 0 | -2 | 19.29 | 0 | 9.64 | 0 | 13.5 | 0 | 0 | 0.96 | -6 | -10 | 9.64 | 9.16 | 54.98 | 4.82 | 0.58 | -9 | 0
09:30 - 09:45 | -2.5 | 0 | -0.5 | 3.86 | 0 | 0 | 10.86 | 0 | 10.61 | 0 | -0.4 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1.7 | 7.72 | 0 | 9.64 | 0 | 13.5 | 0 | 0 | 0.96 | -6 | -40 | 0 | 9.16 | 54.97 | 4.82 | 0.58 | -9 | 0
09:45 - 10:00 | -2.5 | 0 | -0.5 | 3.86 | 0 | 0 | 34.89 | 0 | 10.61 | 0 | -0.4 | 0 | 0 | 0 | -1.5 | 0 | 0 | -2.5 | 7.72 | 0 | 9.64 | 0 | 13.5 | 0 | 0 | 0.96 | -6 | -40 | 0 | 9.16 | 54.98 | 4.82 | 0.58 | -9 | 0
10:00 - 10:15 | -2.5 | 0 | -0.7 | 3.86 | 0 | 0 | 7.21 | 0 | 10.61 | 0 | -0.5 | 0 | 0 | 0 | -1.5 | -15 | 0 | -0.2 | 4.82 | 0 | 9.64 | 2.89 | 13.5 | 0 | 0 | 0.96 | -6 | 0 | 0 | 9.16 | 54.99 | 3.69 | 0.58 | -9 | 0
10:15 - 10:30 | -2.5 | 0 | -0.7 | 3.86 | 0 | 0 | 0 | 0 | 10.61 | 0 | -0.4 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 4.82 | 0 | 9.64 | 2.89 | 13.5 | 0 | 0 | 0.96 | -6 | -10 | 0 | 9.16 | 54.98 | 0 | 0 | -9 | 0
10:30 - 10:45 | -2.5 | -25 | -0.9 | 3.86 | 0 | 0 | 0 | 0 | 10.61 | 0 | -0.2 | 0 | 0 | 0 | -1.5 | 0 | 0 | 4.73 | 4.82 | 0 | 9.64 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | 0 | 0 | 9.16 | 65.58 | 0 | 0.58 | -9 | 0
10:45 - 11:00 | -2.5 | -9 | -0.9 | 3.86 | 0 | 0 | 0 | 0 | 10.61 | 0 | -0.3 | 0 | 0 | 0 | -1.5 | 0 | 0 | 4.63 | 4.82 | 0 | 9.64 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | 0 | 0 | 9.16 | 65.59 | 4.82 | 0.58 | -9 | 0
11:00 - 11:15 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -200 | 0 | 10.61 | 0 | -0.4 | 0 | 0 | 0 | -1.5 | 0 | 0 | 4.63 | 7.72 | 0 | 9.64 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | 0 | 0 | 9.16 | 65.58 | 0 | 0.58 | -9 | 0
11:15 - 11:30 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -552.53 | 0 | 10.61 | 0 | -0.5 | 0 | 0 | 0 | -1.5 | 0 | 0 | 4.53 | 7.72 | 0 | 9.64 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | -20 | 0 | 9.16 | 65.58 | 0 | 0.58 | -9 | 0
11:30 - 11:45 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -1000 | 0 | 10.61 | 0 | -0.1 | 0 | 0 | 0 | -1.5 | 0 | 0 | 4.53 | 7.72 | 0 | 9.64 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | -30 | 0 | 9.16 | 64.62 | 4.82 | 0.58 | -9 | 0
11:45 - 12:00 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -1000 | 0 | 10.61 | 0 | -0.1 | 0 | 0 | 0 | -1.5 | 0 | 0 | 4.53 | 11.57 | 0 | 9.64 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | -10 | 0 | 9.16 | 64.63 | 4.82 | 0.58 | -9 | 0
12:00 - 12:15 | -2.5 | -10 | -0.9 | 3.86 | 0 | 0 | -1150.34 | 0 | 10.61 | 0 | -0.1 | 0 | 0 | 0 | -1.5 | 0 | 0 | 4.34 | 7.72 | 0 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | 0 | 0 | 9.16 | 73.3 | 4.82 | 0.58 | -9 | 0
12:15 - 12:30 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -1349.98 | 0 | 10.61 | 0 | -0.1 | 0 | 0 | 0 | -1.5 | 0 | 0 | 4.34 | 11.57 | 0 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | -10 | 0 | 9.16 | 73.3 | 4.82 | 0.58 | -9 | 0
12:30 - 12:45 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -1402.46 | 0 | 10.61 | 0 | -0.1 | 0 | 0 | 0 | -1.5 | 0 | 0 | 4.44 | 11.57 | 0 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | 0 | 0 | 9.16 | 73.3 | 4.82 | 0.58 | -9 | 0
12:45 - 13:00 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -1402.42 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 4.44 | 11.57 | 0 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | -5 | 0 | 9.16 | 73.3 | 4.82 | 0.58 | -9 | 0
13:00 - 13:15 | -2.5 | 0 | -0.5 | 3.86 | 0 | 0 | -1569.98 | 0 | 10.61 | 0 | -0.3 | 0 | 0 | 0 | -1.5 | 0 | 0 | 4.34 | 11.57 | 0 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | -35 | 9.64 | 9.16 | 73.31 | 4.82 | 0.58 | -9 | 0
13:15 - 13:30 | -2.5 | 0 | -0.5 | 3.86 | 0 | 0 | -1299.98 | 0 | 10.61 | 0 | -0.3 | 0 | 0 | 0 | -1.5 | 0 | 0 | 5.21 | 11.57 | 0 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -5.05 | -6 | 9.64 | 9.16 | 73.31 | 4.82 | 0.58 | -9 | 0
13:30 - 13:45 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -437.4 | 8.87 | 10.61 | 0 | -0.3 | 0 | 0 | 0 | -1.5 | 0 | 0 | 4.82 | 11.57 | 4.82 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | 0 | 0 | 9.64 | 9.16 | 73.31 | 4.82 | 0.58 | -9 | 0
13:45 - 14:00 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -220.61 | 0 | 10.61 | 0 | -0.4 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.1 | 11.57 | 4.82 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | -10 | 0 | 9.16 | 73.31 | 4.82 | 0.58 | -9 | 0
14:00 - 14:15 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -399.97 | 0 | 10.61 | 0 | -0.4 | 0 | 0 | 0 | -1.5 | 0 | 0 | -2.5 | 11.57 | 4.82 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | -15 | 0 | 9.16 | 64.63 | 4.82 | 0.58 | -9 | 0
14:15 - 14:30 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -250.7 | 0 | 10.61 | 0 | -0.4 | 0 | 0 | 0 | -1.5 | 0 | 0 | -2.5 | 7.72 | 4.82 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | 0 | 0 | 9.16 | 64.62 | 4.82 | 0.58 | -9 | 0
14:30 - 14:45 | -2.5 | -10 | -0.9 | 3.86 | 0 | 0 | -250 | 0 | 10.61 | 0 | -0.1 | 0 | 0 | 0 | -1.5 | 0 | 0 | -2.5 | 7.72 | 4.82 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | 0 | 0 | 9.16 | 69.44 | 4.82 | 0.58 | -9 | 0
14:45 - 15:00 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -500 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | -15 | 0 | -2.2 | 7.72 | 4.82 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | -10 | 0 | 9.16 | 69.44 | 4.82 | 0.58 | -9 | 0
15:00 - 15:15 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -1052.82 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -2.2 | 7.72 | 4.82 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | -5 | 0 | 9.16 | 69.44 | 0 | 0.58 | -9 | 0
15:15 - 15:30 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -953.19 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -2.1 | 7.72 | 4.82 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | 0 | 0 | 9.16 | 69.44 | 0 | 0 | -9 | 0
15:30 - 15:45 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -799.84 | 15.24 | 10.61 | 0 | 0 | 9.64 | 0 | 0 | -1.5 | 0 | 0 | -1.9 | 19.29 | 4.82 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | 0 | -30 | 9.64 | 9.16 | 69.45 | 4.82 | 0.58 | -9 | 0
15:45 - 16:00 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -938.09 | 0 | 10.61 | 0 | 0 | 9.64 | 0 | 0 | -1.5 | 0 | 0 | -1.5 | 19.29 | 4.82 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | -45 | 0 | 9.16 | 69.45 | 4.82 | 0.58 | -9 | 0
16:00 - 16:15 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -697.15 | 13.69 | 10.61 | 0 | 0 | 9.64 | 0 | 0 | -1.5 | 0 | 19.29 | 0 | 19.29 | 4.82 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | 0 | -10 | 9.64 | 9.16 | 77.17 | 4.82 | 0.58 | -8 | 0
16:15 - 16:30 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -901.25 | 0 | 10.61 | 0 | 0 | 9.64 | 0 | 0 | -1.5 | 0 | 19.29 | -1.2 | 15.43 | 4.82 | 11.57 | 2.89 | 13.5 | 0 | 1.45 | 0.96 | -6 | 0 | 0 | 9.16 | 77.16 | 4.82 | 0.58 | -8 | 0
16:30 - 16:45 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -710.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | -4 | 0
16:45 - 17:00 | -2.5 | 0 | -0.9 | 3.86 | 0 | 0 | -737.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0
17:00 - 17:15 | -2.5 | 0 | 0 | 3.86 | 0 | 0 | -802.11 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0.48 | -1.5 | 0 | 19.29 | -0.4 | 15.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 9.16 | 56.52 | 0 | 0 | -4 | -11
17:15 - 17:30 | -2.5 | 0 | 0 | 3.86 | 0 | 0 | -654.5 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -55 | 0 | 0 | 0 | 0 | 0 | -4 | -11
17:30 - 17:45 | -2.5 | 0 | -0.9 | 0 | 0 | 0 | -407.86 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | -11
17:45 - 18:00 | -2.5 | 0 | -0.9 | 0 | 0 | 0 | -272.62 | 0 | 0 | -120 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -11
18:00 - 18:15 | -2.5 | 0 | -0.9 | 0 | 0 | 0 | -161.84 | 0 | 0 | -160 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | -11
18:15 - 18:30 | -2.5 | 0 | -0.9 | 0 | 0 | 0 | -81.8 | 0 | 0 | -65 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -11
18:30 - 18:45 | -2.5 | 0 | -0.9 | 0 | 0 | -7 | 0 | 0 | 0 | -65 | 0 | 0 | -3 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | -11
18:45 - 19:00 | -2.5 | 0 | -0.9 | 0 | 0 | -7 | -50 | 0 | 0 | -65 | 0 | 0 | -3 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | -11
19:00 - 19:15 | -2 | 0 | -0.9 | 0 | 0 | -7 | -50 | 0 | 0 | -65 | 0 | 0 | -3 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
19:15 - 19:30 | -2 | 0 | -0.9 | 0 | 0 | -7 | -50 | 0 | 0 | -65 | 0 | 0 | -3 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
19:30 - 19:45 | -2 | 0 | -0.9 | 0 | 0 | -7 | 0 | 0 | 0 | -65 | 0 | 0 | -3 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | -1
19:45 - 20:00 | -2 | 0 | -0.9 | 0 | 0 | -7 | 0 | 0 | 0 | -65 | 0 | 0 | -3 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
20:00 - 20:15 | -2 | 0 | -0.9 | 0 | 0 | -7 | -50 | 0 | 0 | -65 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | -1
20:15 - 20:30 | -2 | 0 | -0.9 | 0 | 0 | -7 | -25 | 0 | 0 | -65 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | -45 | 0 | 0 | 0 | 0 | 0 | 0 | -1
20:30 - 20:45 | -2 | 0 | -0.7 | 0 | 0 | -7 | 0 | 0 | 0 | -55 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | -1
20:45 - 21:00 | -2 | 0 | -0.7 | 0 | 0 | -7 | 0 | 0 | 0 | -55 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
21:00 - 21:15 | -2 | 0 | -0.7 | 0 | 0 | -7 | -50 | 0 | 0 | -55 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1
21:15 - 21:30 | -2 | 0 | -0.7 | 0 | 0 | -7 | -50 | 0 | 0 | -55 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
21:30 - 21:45 | -2 | 0 | -0.7 | 0 | 0 | -7 | 0 | 0 | 0 | -55 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | -1
21:45 - 22:00 | -2 | 0 | -0.7 | 0 | 0 | -7 | 0 | 0 | 0 | -55 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | -1
22:00 - 22:15 | -2 | 0 | -0.7 | 0 | 0 | -7 | -100 | 0 | 0 | -55 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12 | -40 | 0 | 0 | 0 | 0 | 0 | 0 | -1
22:15 - 22:30 | -2 | 0 | -0.7 | 0 | 0 | -7 | -100 | 0 | 0 | -55 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
22:30 - 22:45 | -2 | 0 | -0.7 | 0 | 0 | -7 | -200 | 0 | 0 | -55 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1
22:45 - 23:00 | -2 | 0 | -0.7 | 0 | 0 | -7 | -200 | 0 | 0 | -55 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
23:00 - 23:15 | -2 | 0 | -0.7 | 0 | 0 | -7 | -200 | 0 | 0 | -55 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | -1
23:15 - 23:30 | -2 | 0 | -0.7 | 0 | 0 | -7 | -200 | 0 | 0 | -55 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | -1
23:30 - 23:45 | -2 | 0 | -0.7 | 0 | 0 | -7 | -300 | 0 | 0 | -55 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | -1
23:45 - 24:00 | -2 | 0 | -0.7 | 0 | 0 | -7 | -300 | 0 | 0 | -55 | 0 | 0 | -2 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1
Average | -2.3958 | -2.6771 | -0.53333 | 1.5279 | 2.4106 | -1.6042 | -438.6939 | 0.55948 | 6.0776 | -18.2812 | -0.096875 | 0.50208 | -0.52083 | 0.005 | -1.5 | -0.3125 | 3.416 | 0.2574 | 5.4972 | 0.65271 | 3.8765 | 0.78271 | 4.5 | -0.375 | 0.3625 | 0.3 | -4.3859 | -17.4583 | 0.6025 | 5.2471 | 24.8057 | 1.1932 | 0.1925 | -6.3333