## POWER STATUS
POWER STATUS ON DT 02.09.2026
[9 empty] | 2026-09-02 | 2026-09-01
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 19:00
Demand -> | [8 empty] | 5185.8326 | 5667.1444
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 237.917 | 5.71 | 630/590 ft | 626.23 | 624.67 | 625.67 | 243.7274 | 237.2209
| Chiplima | 72(3x24) | 61.708 | 1.481 | - |  |  |  | 62.7797 | 62.6462
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1483.3 | 1475.2 | 1475.6 | 0 | 0
| Rengali | 250(5x50) | 233.3416 | 5.6002 | 123.5/109.75 mt | 122.7 | 122.63 | 122.84 | 236.3164 | 236.3234
| Upper Kolab | 320(4x80) | 44.04 | 1.057 | 858/844 mt | 855.33 | 852.34 | 852.4 | 3.6082e-16 | 77.1206
| Upper Indravati | 600(4x150) | 532.8542 | 12.7885 | 642/625 mt | 636.97 | 639.79 | 639.91 | 484.8536 | 598.6972
| Machkund | 60(50% of(3x17+3x23)) | 11.66 | 0.27984 | 2750/2685 ft | 2748 | 2730.8 | 2730.95 | 16.6211 | 15.5641
| Total Hydro | 2099.5 | 1121.5208 | 26.9165 |  |  |  |  | 1044.2982 | 1227.5724
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1612.7179 | 38.7052 | RENEWABLE ENERGY (RE) |  |  |  | 1685.0934 | 1645.9293
[5 empty] | M.Hydl | 120.47
| Total Thermal | 2200 | 1612.7179 | 38.7052 | Solar | 51.0458 |  |  | 1685.0934 | 1645.9293
IPP | VEDANTA #2 | 600 (1x600) | 418.1486 | 10.0356 | Total IPPs | Yesterday's Demand Profile |  |  | 389.4922 | 495.3906
| GMR #3 | 350 (1x350) | 325.5787 | 7.8139 | 836.7751 |  | MW | HRS | 323.2373 | 331.9449
| NBVL(IPP) | 60(1x60) | 49.8052 | 1.1953 |  |  |  |  | 54.6154 | 54.1344
| MDTPC |  | 43.2428 | 1.0378 |  |  |  |  | 34.1738 | 56.5133
| CGPs |  | 809.0807 | 19.4179 | IPPs, CGPs & RE | Maximum | 5667.1444 | 19:00 | 1914.3835 | 1940.3047
| Central Sector(Drawl) |  | 627.8612 | 15.0687 | 1817.3716 | Minimum | 4699.895 | 06:00 | 542.0575 | 853.338
| Central Sector(Sch) |  | 659.0273 | 15.8167 |  | Average | 5179.4716 |  | 826.26 | 895.06
| Grand Total |  | 5179.4716 | 124.3073 | Instantaneous Peak demand |  | 5804 | 19:03 | 5185.8326 | 5667.1444
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1498.4858 | 35.9637 | 1508.5892 | 36.2061 | 1532.4625 | 36.7791
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1572.204 | 37.7329 | 1530.0298 | 36.7207 | 1274.8804 | 30.5971
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1303.1906 | 31.2766 | 1313.7709 | 31.5305 | 1281.6959 | 30.7607
U.Kolab | 1,2,3 | KAHALGAON | 7 | TPSODL | 586.907 | 14.0858 | 584.544 | 14.0291 | 584.298 | 14.0232
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 4960.7875 | 119.0589 | 4936.934 | 118.4864 | 4673.3369 | 112.1601
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | 3
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 389.4922 | GMR |  |  |  | 323.2373
| NBVL #3 | 54.6154 | MDTPC |  |  |  | 34.1738
Mini Hydel: | MEENAKSHI | 40.0246 | OPCL |  |  |  | 0
| BTPL | 26.4651 | SAPTADHARA |  |  |  | 19.8586
Solar: |  |  | KAKATIYA |  |  |  | 5.7206
CGPs : | JSPL (Angul) | 133.7313 | JSL(Duburi) |  |  |  | -97.2844
| ICCL | 46.7104 | visa |  |  |  | 20.2181
| NALCO | -112.7598 | VAL (CGP) |  |  |  | 104.8496
| RSP | -65.8404 | BSL(MMDL) |  |  |  | 114.8808
| INDAL | 0.24821 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -27.1596 | VAL CPP 400 kV |  |  |  | -458.5516
| NBVL | 54.2832 | Arati |  |  |  | 13.2345
| BPSL(JSG) | 71.8739 | BPPL |  |  |  | 120.6118
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-25 | 2026-08-26 | 2026-08-27 | 2026-08-28 | 2026-08-29 | 2026-08-30 | 2026-08-31 | 2026-09-01
688.7883 | 689.12 | 789.39 | 873.4591 | 858.7008 | 901.3567 | 1153.78 | 1121.5208
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.01.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | -10 | AARTISTEEL | UPPCL | -6 | AGE26AL_PSS6_KPS1_S | ODISHA | 128.57
AMNSIL_Pdeep | AMNSIL | 0 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | AP41PL_BHDL | ODISHA | 61.11
ARYAN_ISPAT | BALCO_LOAD | -5 | DCBL_Rajgangpur | DCBLME | -6 | AP43PL_BKN | ODISHA | 92.81
ENVIROCARE_INFRA | APCPDCL | -13 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -5.75 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.85
FACORPOWER | RUVITSL | -3.33 | FACORPOWER | PSPCL | -8.75 | AWEK1L | ODISHA | 12.34
GMRKEL_STU | GEB_Beneficiary | -61.9 | FACORPOWER | PSPCL | -21.25 | AWEK1L | ODISHA | 18.52
GMRKEL_STU | TNEB | -18 | FACORPOWER | RUVITSL | -6.67 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.42
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | FACORPOWER | TANGEDCO | -20 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 39.46
JPIPL | NPCL_UP | 0 | JSPLANGUL | RUVITSL | -2.08 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 10.47
JSPLANGUL | GEB_Beneficiary | -52.77 | JSPLANGUL | RUVITSL | -63.2 | DADRI_SOLAR | ODISHA | 0.57
JSPLANGUL | RUVITSL | -5.64 | JSPLANGUL | RUVITSL | -42.13 | ENERSON_SOLAR_10MW | ODISHA | 0
JSPLANGUL | RUVITSL | -3.76 | JSPLANGUL | RUVITSL | -3.12 | GADAG_GreenInfra_W | ODISHA | 0
MAADURGA_THERMAL | NPCL_UP | -17.26 | NBVLIPP | BSPHCL | -12.54 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | TANGEDCO | -50 | OCL_IRON_STEEL | TPDDL | -17.21 | GADAG_GreenInfra_W | ODISHA | 0.72
ODISHA | AMNSIL | -33.33 | OCL_IRON_STEEL | TPDDL | -41.79 | GADAG_Serentica3_S | VLSEZ | 28.74
ODISHA | CESC | -37.5 | ODISHA | BRPL | -33.33 | GADAG_Serentica3_W | VLSEZ | 87.02
ODISHA | CESC | -66.67 | ODISHA | BYPL | -33.33 | GIWEL_SECI_II_RE | ODISHA | 59.43
ODISHA | PCKL | -28.12 | ODISHA | TANGEDCO | -39.58 | GPCL_SOLAR_10 | ODISHA | 0.73
ORSISL | BALCO_LOAD | -3.75 | ORSISL | UPPCL | -1.25 | GSECL_SOLAR | ODISHA | 1.06
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | SMEL | PSPCL | -7.29 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.75
VSL | APCPDCL | -5 | SMEL | PSPCL | -17.71 | KARUR_TPVARDHAMAN_W | TSKPO | 67.39
FARIDABAD_SOLAR | ODISHA | 0.86 | Shri_JSPL | KSEB | -2 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
JSWEL_UTKAL | ODISHA | 75.62 | TIMES_STEEL | UPPCL | -1.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 6.47
RAJ_SOLAR | ODISHA | 2.58 | TSBSLA | TANGEDCO | -6.67 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
RAJ_SOLAR | ODISHA | 2.71 | TSBSLA | TANGEDCO | -7.5 | NTPCRE1_SMND_BHJ2_W | ODISHA | 7.85
|  |  | VIRAJ_SEPL | PSPCL | -2.92 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 7.65
|  |  | VIRAJ_SEPL | PSPCL | -7.08 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 11.58
|  |  | VSL | TANGEDCO | -10 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 3.07
|  |  | JIPL | ODISHA | 115.73 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 4.12
|  |  | NALCOAP | NACL_Odisha | 26.18 | OKWPL_RE | ODISHA | 28.03
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 10.85
[6 empty] | RWE_AP2_SECI_III | ODISHA | 23.25
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 12.81
[6 empty] | SRI9PL_FTG3 | VLSEZ | 86.27
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.14
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.17
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 33.58
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 14.52
[6 empty] | XXPPL_FTG3 | ODISHA | 73.44

## DAM
DAM TRADING DETAILS FOR DT : 01.09.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd)
00:00 - 00:15 | -1.5 | 0 | -700 | 0 | -130 | 0 | -5 | -2 | 0 | 0
00:15 - 00:30 | -1.5 | 0 | -700 | 0 | -130 | 0 | -5 | -2 | 0 | 0
00:30 - 00:45 | -1.5 | 0 | -700 | 0 | -130 | 0 | -5 | -2 | 0 | 0
00:45 - 01:00 | -1.5 | 0 | -700 | 0 | -130 | 0 | -5 | -2 | 0 | 0
01:00 - 01:15 | -1.5 | 0 | -1125 | 0 | -80 | 0 | -5 | -2 | 0 | 0
01:15 - 01:30 | -1.5 | 0 | -1125 | 0 | -40 | 0 | -5 | -2 | 0 | 0
01:30 - 01:45 | -1.5 | 0 | -1225 | 0 | 0 | 0 | -5 | -2 | 0 | 0
01:45 - 02:00 | -1.5 | 0 | -1225 | 0 | 0 | 0 | -5 | -2 | 0 | 0
02:00 - 02:15 | -1.5 | 0 | -1625 | 0 | 0 | 0 | -5 | -2 | -43 | 0
02:15 - 02:30 | -1.5 | 0 | -1625 | 0 | 0 | 0 | -5 | -2 | -43 | 0
02:30 - 02:45 | -1.5 | 0 | -1625 | 0 | 0 | 0 | -5 | -2 | -43 | 0
02:45 - 03:00 | -1.5 | 0 | -1625 | 0 | 0 | 0 | -5 | -2 | -43 | 0
03:00 - 03:15 | -1.5 | 0 | -1650 | 0 | 0 | 0 | -5 | -2 | -43 | 0
03:15 - 03:30 | -1.5 | 0 | -1650 | 0 | 0 | 0 | -5 | -2 | -43 | 0
03:30 - 03:45 | -1.5 | 0 | -1650 | 0 | 0 | 0 | -5 | -2 | -43 | 0
03:45 - 04:00 | -1.5 | 0 | -1376 | 0 | 0 | 0 | -5 | -2 | -43 | 0
04:00 - 04:15 | -1.5 | 0 | -1550 | 0 | 0 | 0 | -5 | -2 | -43 | 0
04:15 - 04:30 | -1.5 | 0 | -1550 | 0 | 0 | 0 | -5 | -2 | -43 | 0
04:30 - 04:45 | -1.5 | 0 | -1550 | 0 | 0 | 0 | -5 | -2 | -43 | 0
04:45 - 05:00 | -1.5 | 0 | -1550 | 0 | 0 | 0 | -5 | -2 | -43 | 0
05:00 - 05:15 | -1.5 | 0 | -1425 | 0 | 0 | 0 | -5 | -2 | -43 | 0
05:15 - 05:30 | -1.5 | 0 | -1425 | 0 | 0 | 0 | -5 | -2 | -43 | 0
05:30 - 05:45 | -1.5 | 0 | -1425 | 0 | 0 | 0 | -5 | -2 | -43 | 0
05:45 - 06:00 | -1.5 | 0 | -1425 | 0 | 0 | 0 | -5 | -2 | -43 | 0
06:00 - 06:15 | -1.5 | 0 | -1425 | 0 | 0 | 0 | -5 | -2 | -43 | 0
06:15 - 06:30 | -1.5 | 0 | -1425 | 0 | 0 | 0 | -5 | -2 | -43 | 0
06:30 - 06:45 | -1.5 | 0 | -1425 | 0 | 0 | 0 | -5 | -2 | -43 | 0
06:45 - 07:00 | -1.5 | 0 | -1425 | 0 | 0 | 0 | -5 | -2 | -43 | 0
07:00 - 07:15 | -1.5 | 0 | -1550 | 0 | 0 | 0 | -5 | -2 | -43 | 0
07:15 - 07:30 | -1.5 | 0 | -1550 | 0 | 0 | 0 | -5 | -2 | -43 | 0
07:30 - 07:45 | -1.5 | 0 | -1650 | 0 | 0 | 0 | -5 | -2 | -43 | 0
07:45 - 08:00 | -1.5 | 0 | -1750 | 0 | 0 | 0 | -5 | -2 | -43 | 0
08:00 - 08:15 | -1.5 | 3.86 | -1475 | 0 | 0 | 0 | 0 | -1 | -43 | 0
08:15 - 08:30 | -1.5 | 3.86 | -1440.75 | 0 | 0 | 0 | 0 | -1 | -43 | 0
08:30 - 08:45 | -1.5 | 3.86 | -1387.23 | 0 | 0 | 0 | 0 | -1 | -43 | 0
08:45 - 09:00 | -1.5 | 3.86 | -1300 | 0 | 0 | 0 | 0 | -1 | -43 | 0
09:00 - 09:15 | -1.5 | 3.86 | -1700 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
09:15 - 09:30 | -1.5 | 3.86 | -1640.49 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
09:30 - 09:45 | -1.5 | 3.86 | -1400 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
09:45 - 10:00 | -1.5 | 3.86 | -1400 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
10:00 - 10:15 | -1.5 | 3.86 | -1105.33 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
10:15 - 10:30 | -1.5 | 3.86 | -644.18 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
10:30 - 10:45 | -1.5 | 3.86 | -325 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
10:45 - 11:00 | -1.5 | 3.86 | -377.79 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
11:00 - 11:15 | -1.5 | 3.86 | -460.56 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
11:15 - 11:30 | -1.5 | 3.86 | -350 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
11:30 - 11:45 | -1.5 | 3.86 | -203.9 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
11:45 - 12:00 | -1.5 | 3.86 | -149.44 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
12:00 - 12:15 | -1.5 | 3.86 | -15.85 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
12:15 - 12:30 | -1.5 | 3.86 | -99.06 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
12:30 - 12:45 | -1.5 | 3.86 | -74.22 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
12:45 - 13:00 | -1.5 | 3.86 | -35.24 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
13:00 - 13:15 | -1.5 | 3.86 | -38.24 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
13:15 - 13:30 | -1.5 | 3.86 | -38.34 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
13:30 - 13:45 | -1.5 | 3.86 | -142.33 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
13:45 - 14:00 | -1.5 | 3.86 | -350 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
14:00 - 14:15 | -1.5 | 3.86 | -350 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
14:15 - 14:30 | -1.5 | 3.86 | -350 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
14:30 - 14:45 | -1.5 | 3.86 | -1097.82 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
14:45 - 15:00 | -1.5 | 3.86 | -1099.97 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
15:00 - 15:15 | -1.5 | 3.86 | -1425 | 33.75 | 0 | 0 | 0 | -1 | -18 | 7.72
15:15 - 15:30 | -1.5 | 3.86 | -1425 | 0 | 0 | 9.64 | 0 | -1 | -18 | 7.72
15:30 - 15:45 | -1.5 | 3.86 | -1512.27 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
15:45 - 16:00 | -1.5 | 3.86 | -1725 | 0 | 0 | 0 | 0 | -1 | -18 | 7.71
16:00 - 16:15 | -1.5 | 3.86 | -1814.81 | 0 | 0 | 0 | 0 | -1 | -43 | 7.71
16:15 - 16:30 | -1.5 | 3.86 | -2025 | 0 | 0 | 0 | 0 | -1 | -43 | 0
16:30 - 16:45 | -1.5 | 3.86 | -2025 | 0 | 0 | 0 | 0 | -1 | -43 | 0
16:45 - 17:00 | -1.5 | 3.86 | -2025 | 0 | 0 | 0 | 0 | -1 | -43 | 0
17:00 - 17:15 | -1.5 | 0 | -1175 | 0 | 0 | 0 | 0 | -2 | -43 | 0
17:15 - 17:30 | -1.5 | 0 | -1175 | 0 | 0 | 0 | 0 | -2 | -43 | 0
17:30 - 17:45 | -1.5 | 0 | -1175 | 0 | 0 | 0 | 0 | -2 | -43 | 0
17:45 - 18:00 | -1.5 | 0 | -1175 | 0 | 0 | 0 | 0 | -2 | -43 | 0
18:00 - 18:15 | -1.5 | 0 | -625 | 0 | -130 | 0 | -6 | -2 | -43 | 0
18:15 - 18:30 | -1.5 | 0 | -450 | 0 | -130 | 0 | -6 | -2 | -43 | 0
18:30 - 18:45 | -1.5 | 0 | -200 | 0 | -130 | 0 | -6 | -2 | -43 | 0
18:45 - 19:00 | -1.5 | 0 | -200 | 0 | -130 | 0 | -6 | -2 | -43 | 0
19:00 - 19:15 | -1.5 | 0 | 0 | 0 | -130 | 0 | -6 | -2 | 0 | 0
19:15 - 19:30 | -1.5 | 0 | 0 | 0 | -130 | 0 | -6 | -2 | 0 | 0
19:30 - 19:45 | -1.5 | 0 | 0 | 0 | -130 | 0 | -6 | -2 | 0 | 0
19:45 - 20:00 | -1.5 | 0 | 0 | 0 | -130 | 0 | -6 | -2 | 0 | 0
20:00 - 20:15 | -1.5 | 0 | 0 | 0 | -130 | 0 | -6 | -2 | 0 | 0
20:15 - 20:30 | -1.5 | 0 | 0 | 0 | -130 | 0 | -6 | -2 | 0 | 0
20:30 - 20:45 | -1.5 | 0 | 0 | 0 | -130 | 0 | -6 | -2 | 0 | 0
20:45 - 21:00 | -1.5 | 0 | 0 | 0 | -130 | 0 | -6 | -2 | 0 | 0
21:00 - 21:15 | -1.5 | 0 | 0 | 0 | -130 | 0 | -6 | -2 | 0 | 0
21:15 - 21:30 | -1.5 | 0 | 0 | 0 | -130 | 0 | -6 | -2 | 0 | 0
21:30 - 21:45 | -1.5 | 0 | 0 | 0 | -130 | 0 | -6 | -2 | 0 | 0
21:45 - 22:00 | -1.5 | 0 | 0 | 0 | -130 | 0 | -6 | -2 | 0 | 0
22:00 - 22:15 | -1.5 | 0 | -100 | 0 | -130 | 0 | -6 | -2 | 0 | 0
22:15 - 22:30 | -1.5 | 0 | -100 | 0 | -130 | 0 | -6 | -2 | 0 | 0
22:30 - 22:45 | -1.5 | 0 | -100 | 0 | -130 | 0 | -6 | -2 | 0 | 0
22:45 - 23:00 | -1.5 | 0 | -100 | 0 | -130 | 0 | -6 | -2 | 0 | 0
23:00 - 23:15 | -1.5 | 0 | -200 | 0 | -130 | 0 | -6 | -2 | 0 | 0
23:15 - 23:30 | -1.5 | 0 | -250 | 0 | -130 | 0 | -6 | -2 | 0 | 0
23:30 - 23:45 | -1.5 | 0 | -250 | 0 | -130 | 0 | -6 | -2 | 0 | 0
23:45 - 24:00 | -1.5 | 0 | -250 | 0 | -130 | 0 | -6 | -2 | 0 | 0
Average | -1.5 | 1.4475 | -885.196 | 0.35156 | -39.1667 | 0.10042 | -3.1667 | -1.625 | -23.1667 | 2.3293

## GDAM
GDAM TRADING DETAILS FOR DT:01.09.2026
Time Period | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 19.29 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 19.29 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 19.29 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 0 | 19.29 | 0 | 6.27 | 0
09:00 - 09:15 | 0 | 0 | 0 | 19.29 | 0 | 6.27 | 0
09:15 - 09:30 | 0 | 0 | 0 | 19.29 | 0 | 6.27 | 0
09:30 - 09:45 | 0 | 0 | 0 | 19.29 | 9.64 | 6.27 | 0
09:45 - 10:00 | 0 | 0 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
10:00 - 10:15 | 0 | 0 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
10:15 - 10:30 | 0 | 0 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
10:30 - 10:45 | 0 | 0 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
10:45 - 11:00 | 0 | 0 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
11:00 - 11:15 | 0 | 0 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
11:15 - 11:30 | 0 | 0 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
11:30 - 11:45 | 0 | 0 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
11:45 - 12:00 | 0 | 0 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
12:00 - 12:15 | 0 | 0 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
12:15 - 12:30 | 0 | 60.29 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
12:30 - 12:45 | 0 | 56.03 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
12:45 - 13:00 | -1.3 | 49.4 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
13:00 - 13:15 | -2 | 60.28 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
13:15 - 13:30 | -1.7 | 60.29 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
13:30 - 13:45 | -2.1 | 60.29 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
13:45 - 14:00 | -2.5 | 57.48 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
14:00 - 14:15 | -1.6 | 60.28 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
14:15 - 14:30 | -5.7 | 60.28 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
14:30 - 14:45 | -6.6 | 0 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
14:45 - 15:00 | -0.1 | 0 | 33.75 | 19.29 | 9.64 | 6.27 | 3.86
15:00 - 15:15 | 0 | 0 | 0 | 19.29 | 9.64 | 6.27 | 0
15:15 - 15:30 | 0 | 0 | 0 | 19.29 | 0 | 6.27 | 0
15:30 - 15:45 | 0 | 0 | 0 | 19.29 | 0 | 6.27 | 0
15:45 - 16:00 | 0 | 0 | 0 | 19.29 | 0 | 6.27 | 0
16:00 - 16:15 | 0 | 0 | 0 | 14.46 | 0 | 6.27 | 0
16:15 - 16:30 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 14.24 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 2.23 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.24583 | 5.4648 | 7.3828 | 7.5058 | 2.3096 | 1.9594 | 0.84437

## RTM
RTM TRADING DETAILS FOR DT: 01.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Paradeep_Phosphates_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | The_Ramco_Cements_Limited_Odisha | Times_Steel_&_Power_Private_limited | Visa_Steel_Limited
00:00 - 00:15 | -2 | -1 | -0.7 | 0 | 0 | -75 | 0 | -30 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0
00:15 - 00:30 | -2 | -12 | -0.7 | 0 | 0 | -75 | 0 | -30 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -2.5 | 0
00:30 - 00:45 | -2 | -16 | -0.7 | 0 | 0 | -75 | 0 | -30 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0
00:45 - 01:00 | -2 | -16 | -0.7 | 0 | 0 | -75 | 0 | -30 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -2.5 | 0
01:00 - 01:15 | -2 | -1 | -0.7 | 0 | 0 | -125 | 0 | -30 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0
01:15 - 01:30 | -2 | -1 | -0.7 | 0 | 0 | -125 | 0 | -30 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0
01:30 - 01:45 | -2 | -1 | -0.7 | 0 | 0 | -99.97 | 0 | -30 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0
01:45 - 02:00 | -2 | -1 | -0.7 | 0 | 0 | -62.99 | 0 | -30 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0
02:00 - 02:15 | -2 | 0 | -0.7 | 0 | 0 | 0 | 0 | -30 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0
02:15 - 02:30 | -2 | -14 | -0.7 | 0 | 0 | 0 | 0 | -30 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0
02:30 - 02:45 | -2 | 0 | -0.7 | 0 | 0 | -90.21 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0
02:45 - 03:00 | -2 | 0 | -0.7 | 0 | 0 | -90 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0
03:00 - 03:15 | -2 | 0 | -0.7 | 0 | 0 | -22.8 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0
03:15 - 03:30 | -2 | 0 | -0.7 | 0 | 0 | -22.5 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0
03:30 - 03:45 | -2 | 0 | -0.7 | 0 | 0 | -30 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -10 | 0 | 0 | 0 | 0 | -2.5 | 0
03:45 - 04:00 | -2 | 0 | -0.7 | 0 | 0 | -265.21 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0
04:00 - 04:15 | -2 | -13 | -0.7 | 0 | 0 | -20 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0
04:15 - 04:30 | -2 | -1 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0
04:30 - 04:45 | -2 | -1 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0
04:45 - 05:00 | -2 | -1 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0
05:00 - 05:15 | -2 | -1 | -0.7 | 0 | 0 | -25 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0
05:15 - 05:30 | -2 | -1 | -0.7 | 0 | 0 | -25 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0
05:30 - 05:45 | -2 | -7 | -0.7 | 0 | 0 | 68.72 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0
05:45 - 06:00 | -2 | -6 | -0.7 | 0 | 0 | 71.31 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | 0 | 0 | -2.5 | 0
06:00 - 06:15 | -2 | 0 | -0.7 | 0 | 0 | 41 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -5.5 | -10
06:15 - 06:30 | -2 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -5.5 | -10
06:30 - 06:45 | -2 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -40 | 0 | 0 | 0 | 0 | -5.5 | -10
06:45 - 07:00 | -2 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 0 | 0 | -5.5 | -10
07:00 - 07:15 | -2 | 0 | -0.7 | 0 | 0 | 24.84 | 0 | 0 | -0.1 | -1.5 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5 | -10
07:15 - 07:30 | -2 | -14 | -0.7 | 0 | 0 | 30.32 | 0 | 0 | -0.1 | -1.5 | 0 | 0 | -0.3 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -10 | 0 | 0 | 0 | 0 | -5.5 | -10
07:30 - 07:45 | -2 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | -0.3 | -1.5 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -60 | 0 | 0 | 0 | 0 | -5.5 | -10
07:45 - 08:00 | -2 | 0 | -0.7 | 0 | 0 | -25 | 0 | 0 | -0.5 | -1.5 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -60 | 0 | 0 | 0 | 0 | -5.5 | -10
08:00 - 08:15 | -2 | 0 | -0.7 | 3.86 | 0 | -178.07 | 0 | 0 | -0.8 | -1.5 | 0 | 0 | -0.6 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -30 | 0 | 0 | 0 | 0 | -5.5 | -10
08:15 - 08:30 | -2 | 0 | -0.7 | 2.84 | 0 | -178.85 | 0 | 0 | -0.8 | -1.5 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -25 | 0 | 0 | 0 | 0 | -5.5 | -10
08:30 - 08:45 | -2 | 0 | -0.7 | 3.86 | 0 | 0 | 0 | 0 | -0.8 | -1.5 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -25 | 0 | 0 | 0 | 0 | -5.5 | -10
08:45 - 09:00 | -2 | 0 | -0.7 | 3.86 | 0 | 0 | 0 | 0 | -0.8 | -1.5 | 0 | 0 | -0.8 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5 | -10
09:00 - 09:15 | -2 | -3.5 | -0.7 | 3.86 | 0 | 430.88 | 0 | 0 | -0.7 | -1.5 | -15 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -5.5 | 0
09:15 - 09:30 | -2 | 0 | -0.7 | 3.86 | 0 | 147.31 | 10.61 | 0 | -0.6 | -1.5 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 9.16 | 0 | 0 | 0 | -5.5 | 0
09:30 - 09:45 | -2 | 0 | -0.7 | 3.86 | 0 | -440.02 | 10.61 | 0 | -0.6 | -1.5 | 0 | 0 | -1.7 | 0 | 0 | 0 | 2.13 | 0 | -7 | 0 | -50 | 9.16 | 0 | 0 | 0 | -5.5 | 0
09:45 - 10:00 | -2 | 0 | -0.7 | 3.86 | 0 | -377.03 | 10.61 | 0 | -0.5 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 7.72 | 13.49 | -7 | 0 | 0 | 9.16 | 0 | 0 | 0 | -5.5 | 0
10:00 - 10:15 | -2 | 0 | -0.7 | 3.86 | 0 | -417.16 | 10.61 | 0 | -1 | -1.5 | 0 | 0 | 0 | 0 | 7.72 | 7.72 | 7.72 | 13.5 | 0 | 0 | -10 | 9.16 | 14.45 | 0 | 0 | -5.5 | 0
10:15 - 10:30 | -2 | 0 | -0.7 | 3.86 | 0 | -1015.54 | 10.61 | 0 | -1.2 | -1.5 | 0 | 0 | 0 | 0 | 7.72 | 7.72 | 7.72 | 13.5 | 0 | 0 | 0 | 9.16 | 14.46 | 0 | 5.3 | -5.5 | 0
10:30 - 10:45 | -2 | 0 | -0.7 | 3.86 | 0 | -1808.36 | 10.61 | 0 | -3.6 | -1.5 | 0 | 0 | 5.4 | 0 | 7.72 | 7.72 | 11.57 | 10.61 | -2 | 2.89 | 0 | 9.16 | 14.47 | 4.82 | 5.3 | -5.5 | 0
10:45 - 11:00 | -2 | 0 | -0.7 | 3.86 | 0 | -1815.53 | 10.61 | 0 | -3.8 | -1.5 | 0 | 0 | 0 | 0 | 7.72 | 7.72 | 11.57 | 10.61 | -2 | 2.89 | -55 | 9.16 | 14.46 | 0 | 5.3 | -5.5 | 0
11:00 - 11:15 | -2 | -5 | -0.4 | 3.86 | 0 | -1216.7 | 10.61 | 0 | -3.8 | -1.5 | 0 | 0 | 0 | 0 | 7.72 | 7.72 | 11.56 | 10.61 | -2 | 2.89 | -10 | 9.16 | 0 | 0 | 10.61 | -5.5 | 0
11:15 - 11:30 | -2 | -5 | -0.4 | 3.86 | 0 | -918.68 | 10.61 | 0 | -4 | -1.5 | 0 | 0 | 0 | 0 | 7.72 | 0 | 11.57 | 10.61 | -2 | 2.89 | 0 | 9.16 | 0 | 0 | 10.61 | -5.5 | 0
11:30 - 11:45 | -2 | 0 | -0.4 | 3.86 | 9.64 | -1217.33 | 10.61 | 0 | -4 | -1.5 | 0 | 0 | 0 | 0 | 7.72 | 7.72 | 11.57 | 10.61 | -2 | 2.89 | -40 | 9.16 | 0 | 0 | 10.61 | -5.5 | 0
11:45 - 12:00 | -2 | 0 | -0.4 | 3.86 | 9.64 | -1617.33 | 10.61 | 0 | -3.9 | -1.5 | 0 | 0 | 0 | 0 | 7.72 | 7.72 | 11.57 | 10.61 | -2 | 2.89 | 0 | 9.16 | 0 | 0 | 10.61 | -5.5 | 0
12:00 - 12:15 | -2 | 0 | 0 | 3.86 | 9.64 | -1595.26 | 10.61 | 0 | -3.2 | -1.5 | 0 | 0 | 5.01 | 0 | 7.72 | 7.72 | 11.57 | 10.61 | 0 | 2.89 | 0 | 9.16 | 14.47 | 0 | 10.61 | -5.5 | 0
12:15 - 12:30 | -2 | 0 | 0 | 3.86 | 9.64 | -1577.46 | 10.61 | 0 | -3.2 | -1.5 | 0 | 0 | 5.01 | 0 | 7.72 | 7.72 | 11.57 | 10.61 | 0 | 2.89 | -45 | 9.16 | 14.47 | 4.82 | 10.61 | -5.5 | 0
12:30 - 12:45 | -2 | 0 | 0 | 3.86 | 9.64 | -1506.66 | 10.61 | 0 | -1.9 | -1.2 | 0 | 0 | 4.82 | 0 | 7.72 | 7.72 | 11.57 | 10.61 | 0 | 2.89 | 0 | 9.16 | 9.64 | 4.82 | 10.61 | -5.5 | 0
12:45 - 13:00 | -2 | 0 | 0 | 3.86 | 9.64 | -1501.64 | 10.61 | 0 | -1.7 | -1.2 | 0 | 0 | 4.73 | 0 | 7.72 | 7.72 | 11.57 | 10.61 | 0 | 2.89 | 0 | 9.16 | 9.64 | 4.82 | 10.61 | -5.5 | 0
13:00 - 13:15 | -2 | -11 | 0 | 3.86 | 9.64 | -1550 | 10.61 | 0 | -1.6 | -1.2 | 0 | -1 | 5.3 | -1.5 | 11.58 | 7.72 | 11.57 | 10.61 | 0 | 3.86 | -50 | 9.16 | 9.64 | 4.82 | 10.61 | 0 | 0
13:15 - 13:30 | -2 | 0 | 0 | 3.86 | 9.64 | -1650 | 10.61 | 0 | -1.5 | -1.2 | 0 | -1 | 5.21 | -1.5 | 11.57 | 7.72 | 11.57 | 10.61 | 0 | 3.86 | 0 | 9.16 | 9.64 | 4.82 | 10.61 | -5.5 | 0
13:30 - 13:45 | -2 | 0 | 0 | 3.86 | 9.64 | -1850 | 10.61 | 0 | -0.5 | -1.2 | 0 | -1 | 0 | -1.5 | 3.86 | 7.72 | 11.57 | 10.61 | 0 | 3.86 | 0 | 9.16 | 9.64 | 0 | 10.61 | -5.5 | 0
13:45 - 14:00 | -2 | 0 | 0 | 3.86 | 9.64 | -1450.3 | 10.61 | 0 | -0.5 | -1.2 | 0 | -1 | 0 | -1.5 | 3.86 | 0 | 11.57 | 10.61 | 0 | 3.86 | -40 | 9.16 | 9.64 | 0 | 10.61 | -5.5 | 0
14:00 - 14:15 | -2 | 0 | 0 | 3.86 | 9.64 | -1900 | 10.61 | 0 | -0.5 | -1.2 | 0 | -1 | 0 | -1.5 | 3.86 | 7.72 | 11.57 | 10.61 | 0 | 3.86 | -20 | 9.16 | 14.46 | 0 | 10.61 | -5.5 | 0
14:15 - 14:30 | -2 | 0 | 0 | 3.86 | 9.64 | -2094.93 | 10.61 | 0 | -0.5 | -1.2 | 0 | -1 | 0 | -1.5 | 3.86 | 7.72 | 11.57 | 10.61 | 0 | 3.86 | 0 | 9.16 | 14.46 | 0 | 10.61 | -5.5 | 0
14:30 - 14:45 | -2 | -12 | 0 | 3.86 | 9.64 | -1053.06 | 10.61 | 0 | -0.1 | -1.2 | 0 | -1 | 0 | -3 | 0 | 0 | 11.57 | 0 | 0 | 3.86 | -20 | 9.16 | 0 | 0 | 0 | -5.5 | 0
14:45 - 15:00 | -2 | 0 | 0 | 3.86 | 9.64 | -854.67 | 10.61 | 0 | -0.1 | -1.2 | 0 | -1 | 0 | -3 | 0 | 0 | 2.52 | 0 | 0 | 0 | 0 | 9.16 | 0 | 0 | 0 | -5.5 | 0
15:00 - 15:15 | -2 | 0 | 0 | 3.86 | 9.64 | -500 | 10.61 | 0 | -0.1 | -1.2 | 0 | -1 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.16 | 0 | 0 | 0 | -5.5 | 0
15:15 - 15:30 | -2 | 0 | 0 | 3.86 | 9.64 | -700 | 10.37 | 0 | -0.1 | -1.2 | 0 | -1 | -1.6 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.96 | 0 | 0 | 0 | -5.5 | 0
15:30 - 15:45 | -1.2 | 0 | 0 | 3.86 | 9.64 | -436.66 | 0 | 0 | -0.5 | -1.2 | 0 | -1 | -1.2 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -5.5 | 0
15:45 - 16:00 | -1.2 | 0 | 0 | 3.86 | 9.64 | -237.16 | 0 | 0 | -0.4 | -1.2 | -15 | -1 | -1 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5 | 0
16:00 - 16:15 | -1.2 | 0 | 0 | 3.86 | 9.64 | -292.13 | 0 | 0 | -0.6 | -1.2 | 0 | -1 | -0.7 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5 | 0
16:15 - 16:30 | -1.2 | 0 | 0 | 0 | 9.64 | -51.67 | 0 | 0 | -0.6 | -1.2 | 0 | -1 | -0.6 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -5.5 | 0
16:30 - 16:45 | -1.2 | -18 | 0 | 0 | 9.64 | -8.34 | 0 | 0 | -0.5 | -1.2 | 0 | -1 | -0.3 | -4.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5 | 0
16:45 - 17:00 | -1.2 | -6 | 0 | 0 | 9.64 | -114.33 | 0 | 0 | -0.4 | -1.2 | 0 | -1 | -0.1 | -4.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5 | 0
17:00 - 17:15 | -1.2 | 0 | 0 | 0 | 9.64 | -314.79 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | -4.5 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -5.5 | -10
17:15 - 17:30 | -1.2 | 0 | 0 | 0 | 9.64 | -350 | 0 | 0 | 0 | -1.2 | 0 | -1 | 0 | -4.5 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -5.5 | -10
17:30 - 17:45 | -1.2 | 0 | 0 | 0 | 6.35 | 0 | 0 | 0 | 0 | -1.5 | 0 | -1 | 0 | -4.5 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -5.5 | -10
17:45 - 18:00 | -1.2 | 0 | 0 | 0 | 4.66 | 0 | 0 | 0 | 0 | -1.5 | 0 | -1 | 0 | -4.5 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -5.5 | -10
18:00 - 18:15 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | -1 | 0 | -4.5 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0
18:15 - 18:30 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | -1 | 0 | -4.5 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0
18:30 - 18:45 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | -1 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0
18:45 - 19:00 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | -1 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0
19:00 - 19:15 | -1.2 | 0 | 0 | 0 | 0 | -200 | 0 | 0 | 0 | -1.5 | 0 | -2 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -55 | 0 | 0 | 0 | 0 | -2.5 | 0
19:15 - 19:30 | -1.2 | 0 | 0 | 0 | 0 | -200 | 0 | 0 | 0 | -1.5 | 0 | -2 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -55 | 0 | 0 | 0 | 0 | -2.5 | 0
19:30 - 19:45 | -1.2 | 0 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | -1.5 | 0 | -2 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0
19:45 - 20:00 | -1.2 | 0 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | -1.5 | 0 | -2 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0
20:00 - 20:15 | -1.2 | -1 | 0 | 0 | 0 | -250 | 0 | 0 | 0 | -1.5 | 0 | -2 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0
20:15 - 20:30 | -1.2 | -1 | 0 | 0 | 0 | -250 | 0 | 0 | 0 | -1.5 | 0 | -2 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -2.5 | 0
20:30 - 20:45 | -1.2 | -2 | 0 | 0 | 0 | -200 | 0 | 0 | 0 | -1.5 | 0 | -2 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -45 | 0 | 0 | 0 | 0 | -2.5 | 0
20:45 - 21:00 | -1.2 | -2 | 0 | 0 | 0 | -350 | 0 | 0 | 0 | -1.5 | 0 | -2 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -45 | 0 | 0 | 0 | 0 | -2.5 | 0
21:00 - 21:15 | -1.2 | -2 | 0 | 0 | 0 | -250 | 0 | 0 | 0 | -1.5 | 0 | -2 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -2.5 | 0
21:15 - 21:30 | -1.2 | -2 | 0 | 0 | 0 | -250 | 0 | 0 | 0 | -1.5 | 0 | -2 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -2.5 | 0
21:30 - 21:45 | -1.2 | -3 | 0 | 0 | 0 | -300 | 0 | 0 | 0 | -1.5 | 0 | -0.5 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -2.5 | 0
21:45 - 22:00 | -1.2 | -3 | 0 | 0 | 0 | -300 | 0 | 0 | 0 | -1.5 | 0 | -0.5 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -2.5 | 0
22:00 - 22:15 | -1.2 | -3 | 0 | 0 | 0 | -300 | 0 | 0 | 0 | -1.5 | 0 | -0.5 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0
22:15 - 22:30 | -1.2 | -3 | 0 | 0 | 0 | -300 | 0 | 0 | 0 | -1.5 | 0 | -0.5 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | -2.5 | 0
22:30 - 22:45 | -1.2 | -3 | 0 | 0 | 0 | -250 | 0 | 0 | 0 | -1.5 | 0 | -0.5 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -2.5 | 0
22:45 - 23:00 | -1.2 | -3 | 0 | 0 | 0 | -250 | 0 | 0 | 0 | -1.5 | 0 | -0.5 | 0 | -5.5 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -2.5 | 0
23:00 - 23:15 | -1.2 | -3.5 | 0 | 0 | 0 | -250 | 0 | 0 | 0 | -1.5 | 0 | -0.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -2.5 | 0
23:15 - 23:30 | -1.2 | -3.5 | 0 | 0 | 0 | -250 | 0 | 0 | 0 | -1.5 | 0 | -0.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -2.5 | 0
23:30 - 23:45 | -1.2 | -3.5 | 0 | 0 | 0 | -300 | 0 | 0 | 0 | -1.5 | 0 | -0.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0
23:45 - 24:00 | -1.2 | -3.5 | 0 | 0 | 0 | -300 | 0 | 0 | 0 | -1.5 | 0 | -0.5 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -2.5 | 0
Average | -1.7167 | -2.1927 | -0.3375 | 1.3162 | 2.5247 | -399.5204 | 2.7605 | -3.125 | -0.525 | -1.4375 | -0.3125 | -0.51042 | 0.22167 | -2 | 1.367 | 1.2867 | 2.3384 | 2.1901 | -1.2292 | 0.5825 | -20.0521 | 2.3833 | 1.8077 | 0.30125 | 1.7129 | -3.9427 | -1.6667