## POWER STATUS
POWER STATUS ON DT 03.09.2026
[9 empty] | 2026-09-03 | 2026-09-02
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 5585.873 | 6066.0535
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 242.125 | 5.811 | 630/590 ft | 626.12 | 625.67 | 627.19 | 229.4869 | 244.3595
| Chiplima | 72(3x24) | 60.292 | 1.447 | - |  |  |  | 60.6313 | 63.0397
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1484.1 | 1475.6 | 1475.9 | 0 | 0
| Rengali | 250(5x50) | 235.975 | 5.6634 | 123.5/109.75 mt | 122.69 | 122.84 | 122.72 | 236.165 | 236.9427
| Upper Kolab | 320(4x80) | 76.33 | 1.8319 | 858/844 mt | 855.42 | 852.4 | 852.44 | 4.4409e-16 | 152.3355
| Upper Indravati | 600(4x150) | 555.4375 | 13.3305 | 642/625 mt | 637.11 | 639.91 | 639.98 | 487.214 | 588.851
| Machkund | 60(50% of(3x17+3x23)) | 14.83 | 0.35592 | 2750/2685 ft | 2748 | 2730.95 | 2731.1 | 15.38 | 14.0762
| Total Hydro | 2099.5 | 1184.9895 | 28.4397 |  |  |  |  | 1028.8772 | 1299.6045
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1696.8163 | 40.7236 | RENEWABLE ENERGY (RE) |  |  |  | 1724.4883 | 1706.6823
[5 empty] | M.Hydl | 123.84
| Total Thermal | 2200 | 1696.8163 | 40.7236 | Solar | 106.5746 |  |  | 1724.4883 | 1706.6823
IPP | VEDANTA #2 | 600 (1x600) | 430.0838 | 10.322 | Total IPPs | Yesterday's Demand Profile |  |  | 394.2572 | 530.0391
| GMR #3 | 350 (1x350) | 326.9614 | 7.8471 | 858.5856 |  | MW | HRS | 325.3542 | 320.3961
| NBVL(IPP) | 60(1x60) | 51.9978 | 1.2479 |  |  |  |  | 54.4693 | 54.1568
| MDTPC |  | 49.5425 | 1.189 |  |  |  |  | 34.3074 | 56.1525
| CGPs |  | 679.5388 | 16.3089 | IPPs, CGPs & RE | Maximum | 6066.0535 | 20:00 | 1705.6268 | 1895.828
| Central Sector(Drawl) |  | 763.1579 | 18.3158 | 1768.539 | Minimum | 4762.625 | 06:00 | 1126.8807 | 1163.9387
| Central Sector(Sch) |  | 747.8186 | 17.9476 |  | Average | 5413.5026 |  | 1642.8101 | 1332.38
| Grand Total |  | 5413.5026 | 129.9241 | Instantaneous Peak demand |  | 6333 | 19:47 | 5585.873 | 6066.0535
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1560.5892 | 37.4541 | 1581.6669 | 37.96 | 1513.5404 | 36.325
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1617.263 | 38.8143 | 1631.3129 | 39.1515 | 1280.8155 | 30.7396
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1345.4252 | 32.2902 | 1355.8858 | 32.5413 | 1237.0028 | 29.6881
U.Kolab | 2,3 | KAHALGAON | 7 | TPSODL | 592.914 | 14.2299 | 603.8392 | 14.4921 | 606.0729 | 14.5457
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5116.1915 | 122.7886 | 5172.7049 | 124.1449 | 4637.4316 | 111.2984
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | 3
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 394.2572 | GMR |  |  |  | 325.3542
| NBVL #3 | 54.4693 | MDTPC |  |  |  | 34.3074
Mini Hydel: | MEENAKSHI | 40.5196 | OPCL |  |  |  | 0
| BTPL | 27.8121 | SAPTADHARA |  |  |  | 19.8731
Solar: |  |  | KAKATIYA |  |  |  | 5.9849
CGPs : | JSPL (Angul) | 91.8454 | JSL(Duburi) |  |  |  | -147.2942
| ICCL | 53.1289 | visa |  |  |  | 21.2222
| NALCO | -130.4034 | VAL (CGP) |  |  |  | 104.8496
| RSP | -92.7705 | BSL(MMDL) |  |  |  | 94.1406
| INDAL | -0.28013 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -32.8998 | VAL CPP 400 kV |  |  |  | -836.7167
| NBVL | 54.2774 | Arati |  |  |  | 24.8115
| BPSL(JSG) | 2.6911 | BPPL |  |  |  | 119.9985
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-26 | 2026-08-27 | 2026-08-28 | 2026-08-29 | 2026-08-30 | 2026-08-31 | 2026-09-01 | 2026-09-02
689.12 | 789.39 | 873.4591 | 858.7008 | 901.3567 | 1153.78 | 1121.5208 | 1184.9895
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.02.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | -10 | AARTISTEEL | UPPCL | -6 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0.32
AMNSIL_Pdeep | AMNSIL | 0 | FACORPOWER | PSPCL | -8.75 | AGE26AL_PSS6_KPS1_S | ODISHA | 130.67
ARYAN_ISPAT | BALCO_LOAD | -5 | FACORPOWER | PSPCL | -21.25 | AP41PL_BHDL | ODISHA | 61.11
ENVIROCARE_INFRA | APCPDCL | -13 | FACORPOWER | RUVITSL | -6.67 | AP43PL_BKN | ODISHA | 90.62
FACORPOWER | RUVITSL | -3.33 | FACORPOWER | TANGEDCO | -12.19 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.66
GMRKEL_STU | GEB_Beneficiary | -61.9 | JSPLANGUL | RUVITSL | -0.29 | AWEK1L | ODISHA | 10.2
GMRKEL_STU | TNEB | -18 | JSPLANGUL | RUVITSL | -14.75 | AWEK1L | ODISHA | 6.8
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | RUVITSL | -9.84 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.09
JPIPL | NPCL_UP | 0 | JSPLANGUL | RUVITSL | -0.43 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 25.88
JSPLANGUL | GEB_Beneficiary | -15.28 | NBVLIPP | BSPHCL | -12.54 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 13.55
JSPLANGUL | RUVITSL | -3.76 | OCL_IRON_STEEL | TPDDL | -17.5 | DADRI_SOLAR | ODISHA | 0.41
JSPLANGUL | RUVITSL | -5.64 | OCL_IRON_STEEL | TPDDL | -42.5 | ENERSON_SOLAR_10MW | ODISHA | 0
MAADURGA_THERMAL | NPCL_UP | -17.26 | ODISHA | DNHDDPDCL | -29.17 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | TANGEDCO | -50 | ODISHA | HARYANA | -78.12 | GADAG_GreenInfra_W | ODISHA | 0.62
ODISHA | AMNSIL | -29.17 | ODISHA | JBVNL | -28.12 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | AMNSIL | -33.33 | ODISHA | TANGEDCO | -64.58 | GADAG_Serentica3_S | VLSEZ | 28.74
ODISHA | CESC | -43.75 | ODISHA | TANGEDCO | -29.17 | GADAG_Serentica3_W | VLSEZ | 86.48
ODISHA | CESC | -43.75 | ORSISL | UPPCL | -1 | GIWEL_SECI_II_RE | ODISHA | 33.11
ODISHA | PCKL | -52.08 | SMEL | PSPCL | -7.29 | GPCL_SOLAR_10 | ODISHA | 0.59
ORSISL | BALCO_LOAD | -3 | SMEL | PSPCL | -17.71 | GSECL_SOLAR | ODISHA | 1.04
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | Shri_JSPL | KSEB | -2 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.67
TSBSLA | APCPDCL | -26.67 | TIMES_STEEL | TPL_DIS_DHOLERA | -1.15 | KARUR_TPVARDHAMAN_W | TSKPO | 70.33
VSL | APCPDCL | -5 | TIMES_STEEL | UPPCL | -1.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.05
FARIDABAD_SOLAR | ODISHA | 0.86 | VIRAJ_SEPL | PSPCL | -2.92 | Kurnool_Greenko_H_Inj | ADITYAAL | 8.08
JSWEL_UTKAL | ODISHA | 38.64 | VIRAJ_SEPL | PSPCL | -7.08 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.13
RAJ_SOLAR | ODISHA | 2.47 | VSL | TANGEDCO | -10 | NTPCRE1_SMND_BHJ2_W | ODISHA | 4.08
RAJ_SOLAR | ODISHA | 2.69 | JIPL | ODISHA | 115.73 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 1.34
|  |  | NALCOAP | NACL_Odisha | 13.15 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 2.72
|  |  | TSTPP_I | ODISHA | 13.08 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 9.41
[6 empty] | OKWPL_RE | ODISHA | 15.92
[6 empty] | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 12.87
[6 empty] | RWE_AP2_SECI_III | ODISHA | 14.02
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 11.6
[6 empty] | SRI9PL_FTG3 | VLSEZ | 92.67
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.14
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.17
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 33.12
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 22.13
[6 empty] | XXPPL_FTG3 | ODISHA | 74.44

## DAM
DAM TRADING DETAILS FOR DT : 02.09.2026
Time Period | GRIDCO | IOCL_Paradeep_Refinery | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -650 | 0 | -2 | 0 | 0 | 0
00:15 - 00:30 | -650 | 0 | -2 | 0 | 0 | 0
00:30 - 00:45 | -650 | 0 | -2 | 0 | 0 | 0
00:45 - 01:00 | -650 | 0 | -2 | 0 | 0 | 0
01:00 - 01:15 | -750 | 0 | -2 | 0 | 0 | 0
01:15 - 01:30 | -750 | 0 | -2 | 0 | 0 | 0
01:30 - 01:45 | -750 | 0 | -2 | 0 | 0 | 0
01:45 - 02:00 | -750 | 0 | -2 | 0 | 0 | 0
02:00 - 02:15 | -900 | 0 | -2 | -43 | 0 | 0
02:15 - 02:30 | -900 | 0 | -2 | -43 | 0 | 0
02:30 - 02:45 | -900 | 0 | -2 | -43 | 0 | 0
02:45 - 03:00 | -900 | 0 | -2 | -43 | 0 | 0
03:00 - 03:15 | -950 | 0 | -2 | -43 | 0 | 0
03:15 - 03:30 | -950 | 0 | -2 | -43 | 0 | 0
03:30 - 03:45 | -950 | 0 | -2 | -43 | 0 | 0
03:45 - 04:00 | -950 | 0 | -2 | -43 | 0 | 0
04:00 - 04:15 | -800 | 0 | -2 | -43 | 0 | -2.5
04:15 - 04:30 | -800 | 0 | -2 | -43 | 0 | -2.5
04:30 - 04:45 | -800 | 0 | -2 | -43 | 0 | -2.5
04:45 - 05:00 | -800 | 0 | -2 | -43 | 0 | -2.5
05:00 - 05:15 | -700 | 0 | -2 | -43 | 0 | -2.5
05:15 - 05:30 | -600 | 0 | -2 | -43 | 0 | -2.5
05:30 - 05:45 | -400 | 0 | -2 | -43 | 0 | -2.5
05:45 - 06:00 | -400 | 0 | -2 | -43 | 0 | -2.5
06:00 - 06:15 | -525 | 0 | -2 | -43 | 0 | -5.5
06:15 - 06:30 | -525 | 0 | -2 | -43 | 0 | -5.5
06:30 - 06:45 | -525 | 0 | -2 | -43 | 0 | -5.5
06:45 - 07:00 | -525 | 0 | -2 | -43 | 0 | -5.5
07:00 - 07:15 | -850 | 0 | -2 | -43 | 0 | -5.5
07:15 - 07:30 | -850 | 0 | -2 | -43 | 0 | -5.5
07:30 - 07:45 | -1050 | 0 | -2 | -43 | 0 | -5.5
07:45 - 08:00 | -1150 | 0 | -2 | -43 | 0 | -5.5
08:00 - 08:15 | -1475 | 0 | -2 | -43 | 0 | -5.5
08:15 - 08:30 | -1475 | 0 | -2 | -43 | 0 | -5.5
08:30 - 08:45 | -1475 | 0 | -2 | -43 | 0 | -5.5
08:45 - 09:00 | -1475 | 0 | -2 | -43 | 0 | -5.5
09:00 - 09:15 | -1550 | 0 | -2 | -43 | 0 | -5.5
09:15 - 09:30 | -1550 | 0 | -2 | -43 | 0 | -5.5
09:30 - 09:45 | -1550 | 0 | -2 | -43 | 0 | -5.5
09:45 - 10:00 | -1500.22 | 0 | -2 | -43 | 0 | -5.5
10:00 - 10:15 | -1528.21 | 0 | -1 | -18 | 7.72 | -5.5
10:15 - 10:30 | -1433.58 | 0 | -1 | -18 | 7.72 | -5.5
10:30 - 10:45 | -1350 | 0 | -1 | -18 | 7.72 | -5.5
10:45 - 11:00 | -1350 | 33.75 | -1 | -18 | 7.72 | -5.5
11:00 - 11:15 | -1276.22 | 33.75 | -1 | -18 | 7.72 | -5.5
11:15 - 11:30 | -1259.29 | 0 | -1 | -18 | 7.72 | -5.5
11:30 - 11:45 | -1259.44 | 0 | -1 | -18 | 7.72 | -5.5
11:45 - 12:00 | -1260.28 | 0 | -1 | -18 | 7.72 | -5.5
12:00 - 12:15 | -1283.76 | 0 | -1 | -18 | 7.72 | -5.5
12:15 - 12:30 | -1285.31 | 0 | -1 | -18 | 7.72 | -5.5
12:30 - 12:45 | -1083.85 | 0 | -1 | -18 | 7.72 | -5.5
12:45 - 13:00 | -1111.24 | 0 | -1 | -18 | 7.72 | -5.5
13:00 - 13:15 | -911.58 | 0 | -1 | -18 | 7.72 | -2.85
13:15 - 13:30 | -912.55 | 0 | -1 | -18 | 7.72 | -4.66
13:30 - 13:45 | -1118.54 | 0 | -1 | -18 | 7.72 | -5.5
13:45 - 14:00 | -1382.49 | 0 | -1 | -18 | 7.72 | -5.5
14:00 - 14:15 | -1360.19 | 0 | -1 | -18 | 7.72 | -5.5
14:15 - 14:30 | -1475 | 0 | -1 | -18 | 7.72 | -5.5
14:30 - 14:45 | -1475 | 0 | -1 | -18 | 7.72 | -5.5
14:45 - 15:00 | -1475 | 0 | -1 | -18 | 7.72 | -5.5
15:00 - 15:15 | -1210.31 | 0 | -2 | -43 | 7.72 | -5.5
15:15 - 15:30 | -1225 | 0 | -2 | -43 | 7.72 | -5.5
15:30 - 15:45 | -1225 | 0 | -2 | -43 | 0 | -5.5
15:45 - 16:00 | -1225 | 0 | -2 | -43 | 0 | -5.5
16:00 - 16:15 | -1250 | 0 | -2 | -43 | 0 | -5.5
16:15 - 16:30 | -1250 | 0 | -2 | -43 | 0 | -5.5
16:30 - 16:45 | -1250 | 0 | -2 | -43 | 0 | -5.5
16:45 - 17:00 | -1250 | 0 | -2 | -43 | 0 | -5.5
17:00 - 17:15 | -1025 | 0 | -2 | -43 | 0 | -3
17:15 - 17:30 | -1025 | 0 | -2 | -43 | 0 | -3
17:30 - 17:45 | -1025 | 0 | -2 | -43 | 0 | -3
17:45 - 18:00 | -1025 | 0 | -2 | -43 | 0 | -3
18:00 - 18:15 | -650 | 0 | -2 | -43 | 0 | 0
18:15 - 18:30 | -550 | 0 | -2 | -43 | 0 | 0
18:30 - 18:45 | -325 | 0 | -2 | -43 | 0 | 0
18:45 - 19:00 | -325 | 0 | -2 | -43 | 0 | 0
19:00 - 19:15 | 0 | 0 | -2 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | -2 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | -2 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | -2 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | -2 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | -2 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | -2 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | -2 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | -2 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | -2 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | -2 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | -2 | 0 | 0 | 0
22:00 - 22:15 | -175 | 0 | -2 | 0 | 0 | 0
22:15 - 22:30 | -175 | 0 | -2 | 0 | 0 | 0
22:30 - 22:45 | -175 | 0 | -2 | 0 | 0 | 0
22:45 - 23:00 | -175 | 0 | -2 | 0 | 0 | 0
23:00 - 23:15 | -325 | 0 | -2 | 0 | 0 | 0
23:15 - 23:30 | -325 | 0 | -2 | 0 | 0 | 0
23:30 - 23:45 | -325 | 0 | -2 | 0 | 0 | 0
23:45 - 24:00 | -325 | 0 | -2 | 0 | 0 | 0
Average | -831.011 | 0.70312 | -1.7917 | -25.25 | 1.7692 | -2.8178

## GDAM
GDAM TRADING DETAILS FOR DT:02.09.2026
Time Period | Ampin_Energy_C_&_I_Eleven_Private_Limited | GRIDCO | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 19.29 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 19.29 | 0 | 0 | 0 | 0
08:30 - 08:45 | -0.6 | 0 | 0 | 19.29 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 0 | 19.29 | 0 | 0 | 6.27 | 0
09:00 - 09:15 | -0.1 | 0 | 0 | 19.29 | 0 | 0 | 6.27 | 0
09:15 - 09:30 | 0 | 0 | 0 | 19.29 | 0 | 0 | 6.27 | 0
09:30 - 09:45 | 0 | 0 | 0 | 19.29 | 27.18 | 9.64 | 6.27 | 3.39
09:45 - 10:00 | 0 | 0 | 0 | 19.29 | 38.58 | 9.64 | 6.27 | 4.82
10:00 - 10:15 | 0 | 0 | 0 | 19.29 | 37.61 | 9.64 | 6.27 | 4.82
10:15 - 10:30 | 0 | 0 | 33.75 | 19.29 | 36.27 | 9.64 | 6.27 | 4.82
10:30 - 10:45 | 0 | 0 | 0 | 19.29 | 34.91 | 9.64 | 6.27 | 4.82
10:45 - 11:00 | -0.1 | 0 | 0 | 19.29 | 33.95 | 9.64 | 6.27 | 4.82
11:00 - 11:15 | 0 | 0 | 0 | 19.29 | 33.56 | 9.64 | 6.27 | 4.82
11:15 - 11:30 | 0 | 0 | 33.76 | 19.29 | 33.56 | 9.64 | 6.27 | 4.82
11:30 - 11:45 | 0 | 0 | 33.76 | 19.29 | 33.56 | 9.64 | 6.27 | 4.82
11:45 - 12:00 | -2.6 | 0 | 33.76 | 19.29 | 33.56 | 9.64 | 6.27 | 4.82
12:00 - 12:15 | -2.5 | 0 | 33.76 | 19.29 | 31.05 | 9.64 | 6.27 | 4.82
12:15 - 12:30 | 0 | 0 | 33.75 | 19.29 | 32.89 | 9.64 | 6.27 | 4.82
12:30 - 12:45 | -1.2 | 0 | 33.75 | 19.29 | 34.05 | 9.64 | 6.27 | 4.82
12:45 - 13:00 | 0 | 111.08 | 33.75 | 19.29 | 32.5 | 9.64 | 6.27 | 4.82
13:00 - 13:15 | -2.8 | 144.51 | 33.75 | 19.29 | 34.43 | 9.64 | 6.27 | 4.82
13:15 - 13:30 | -4.4 | 144.52 | 33.75 | 19.29 | 34.72 | 9.64 | 6.27 | 4.82
13:30 - 13:45 | -1.4 | 0 | 33.75 | 19.29 | 34.73 | 9.64 | 6.27 | 4.82
13:45 - 14:00 | 0 | 0 | 33.75 | 19.29 | 35.21 | 9.64 | 6.27 | 4.82
14:00 - 14:15 | 0 | 0 | 33.75 | 19.29 | 36.36 | 9.64 | 6.27 | 4.82
14:15 - 14:30 | -2.6 | 0 | 33.75 | 19.29 | 36.46 | 9.64 | 6.27 | 4.82
14:30 - 14:45 | 0 | 0 | 0 | 19.29 | 36.65 | 9.64 | 6.27 | 4.82
14:45 - 15:00 | 0 | 0 | 11.7 | 19.29 | 35.01 | 9.64 | 6.27 | 4.82
15:00 - 15:15 | -2 | 0 | 0 | 19.29 | 31.15 | 9.64 | 6.27 | 4.82
15:15 - 15:30 | -4.4 | 0 | 0 | 19.29 | 27.2 | 9.64 | 6.27 | 4.82
15:30 - 15:45 | 0 | 0 | 0 | 19.29 | 0 | 6.24 | 6.27 | 0
15:45 - 16:00 | 0 | 0 | 0 | 19.29 | 0 | 0 | 6.27 | 0
16:00 - 16:15 | 0 | 0 | 0 | 14.47 | 31.82 | 0 | 6.27 | 0
16:15 - 16:30 | 0 | 0 | 0 | 14.47 | 33.36 | 0 | 6.27 | 0
16:30 - 16:45 | 0 | 0 | 0 | 14.47 | 27.72 | 0 | 6.27 | 0
16:45 - 17:00 | 0 | 0 | 0 | 14.46 | 0 | 0 | 6.27 | 0
17:00 - 17:15 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 14.47 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.25729 | 4.1678 | 5.0442 | 7.485 | 9.4589 | 2.475 | 2.1553 | 1.1901

## RTM
RTM TRADING DETAILS FOR DT: 02.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Ampin_C&I_Three_Private_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | Maithan_Ispat_Limited_MPL | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Paradeep_Phosphates_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Steel_Limited
00:00 - 00:15 | -1.2 | -3 | 0 | 0 | -75 | 0 | 0 | 0 | -5 | -1.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | -1.2 | -3 | 0 | 0 | -75 | 0 | 0 | 0 | -5 | -1.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -1.2 | -3 | 0 | 0 | -75 | 0 | 0 | 0 | -5 | -1.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | -1.2 | -3 | 0 | 0 | -125 | 0 | 0 | 0 | -5 | -1.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | -1.2 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | -1.2 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | -1.2 | -9 | 0 | 0 | 4.13 | 0 | 0 | 0 | -5 | -1.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | -1.2 | -7 | 0 | 0 | 4.52 | 0 | 0 | 0 | -5 | -1.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | -1.2 | 0 | 0 | 0 | 4.79 | 0 | 0 | 0 | -5 | -1.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | -1.2 | 0 | 0 | 0 | 5.65 | 0 | 0 | 0 | -5 | -1.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | -1.2 | 0 | 0 | 0 | 6.15 | 0 | 0 | 0 | -5 | -1.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | -1.2 | 0 | 0 | 0 | 6.42 | 0 | 0 | 0 | -5 | -1.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | -1.2 | 0 | 0 | 0 | 6.65 | 0 | 0 | 0 | -5 | -1.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | -1.2 | 0 | 0 | 0 | 6.95 | 0 | 0 | 0 | -5 | -1.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | -1.2 | -6 | 0 | 0 | 7.86 | 0 | 0 | 0 | -5 | -1.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | -1.2 | -6 | 0 | 0 | 8.46 | 0 | 0 | 0 | -5 | -1.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | -1.2 | 0 | 0 | 0 | 4.22 | 0 | 0 | 0 | -5 | -1.5 | 0 | -1 | 0 | -6 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | -1.2 | 0 | 0 | 0 | 4.42 | 0 | 0 | 0 | -5 | -1.5 | 0 | -1 | 0 | -6 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | -1.2 | 0 | 0 | 0 | 4.1 | 0 | 0 | 0 | -5 | -1.5 | 0 | -1 | 0 | -6 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | -1.2 | 0 | 0 | 0 | 4.02 | 0 | 0 | 0 | -5 | -1.5 | 0 | -1 | 0 | -6 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | -1.2 | -6 | 0 | 0 | 21.43 | 0 | 0 | 0 | -5 | -1.5 | 0 | -1 | 0 | -6 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | -1.2 | -6 | 0 | 0 | 18.83 | 0 | 0 | 0 | -5 | -1.5 | 0 | -1 | 0 | -6 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -12 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | -1.2 | 0 | 0 | 0 | 15.3 | 0 | 0 | 0 | -5 | -1.5 | 0 | -1 | 0 | -6 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | -1.2 | 0 | 0 | 0 | 14.59 | 0 | 0 | 0 | -5 | -1.5 | 0 | -1 | 0 | -6 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -1.2 | 0 | 0 | 0 | 81.1 | 0 | 0 | -0.1 | -5 | -1.5 | 0 | -1 | 0 | -6 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | -10
06:15 - 06:30 | -1.2 | 0 | 0 | 0 | 79.24 | 0 | 0 | -0.1 | -5 | -1.5 | 0 | -1 | -0.2 | -6 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
06:30 - 06:45 | -1.2 | 0 | 0 | 0 | 108.56 | 0 | 0 | -0.2 | -5 | -1.5 | 0 | -1 | -0.6 | -6 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -12 | 0 | 0 | 0 | 0 | -10
06:45 - 07:00 | -1.2 | -14 | 0 | 0 | 114.71 | 0 | 0 | -0.3 | -5 | -1.5 | 0 | -1 | -0.9 | -6 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
07:00 - 07:15 | -1.2 | 0 | 0 | 0 | 190.95 | 0 | 0 | -0.3 | -5 | -1.5 | 0 | -1 | -1.2 | -6 | 0 | -5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
07:15 - 07:30 | -1.2 | 0 | 0 | 0 | 284.66 | 0 | 0 | -0.4 | -5 | -1.5 | 0 | -1 | -1.6 | -6 | 0 | -5 | 0 | 0 | -2 | 0 | 0 | -60 | 0 | 0 | 0 | 0 | -10
07:30 - 07:45 | -1.2 | 0 | 0 | 0 | 150.93 | 0 | 0 | -0.7 | -5 | -1.5 | 0 | -1 | -1.8 | -7 | 0 | -8 | 0 | 0 | -5 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | -10
07:45 - 08:00 | -1.2 | 0 | 0 | 0 | 64.62 | 0 | 0 | -0.8 | -5 | -1.5 | 0 | -1 | -2.1 | -7 | 0 | -8 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10
08:00 - 08:15 | -1.2 | 0 | 0 | 0 | 106.08 | 0 | 0 | -1.2 | 0 | -1.5 | 0 | -1 | -2.4 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -10
08:15 - 08:30 | -1.2 | -12 | 0 | 0 | 67.14 | 0 | 0 | -1.4 | 0 | -1.5 | 0 | -1 | -2.7 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | 0 | -40 | 0 | 0 | 0 | 0 | -10
08:30 - 08:45 | -1.2 | -17 | 0 | 3.86 | -95.2 | 0 | 0 | -1.9 | 0 | -1.5 | 0 | -1 | -2.9 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -10
08:45 - 09:00 | -1.2 | 0 | 0 | 3.86 | -90.03 | 3.15 | 0 | -2.1 | 0 | -1.5 | 0 | -1 | -3.2 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | 0 | -40 | 2.3 | 0 | 0 | 0 | -10
09:00 - 09:15 | -1.3 | 0 | 0 | 3.86 | -313.79 | 10.61 | 0 | -2.3 | 0 | -1.5 | 0 | -1 | -3.5 | -7 | 0 | -8 | 11.56 | 0 | -2 | 0 | 0 | -50 | 7.72 | 0 | 0 | 0 | 0
09:15 - 09:30 | -1.3 | 0 | 0 | 3.86 | -366.4 | 10.6 | 0 | -2.5 | 0 | -1.5 | 0 | -1 | -3.7 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | 0 | -10 | 7.72 | 0 | 0 | 0 | 0
09:30 - 09:45 | -1.3 | 0 | -8.7 | 3.86 | -602.86 | 10.6 | 0 | -3.4 | 0 | -1.5 | 0 | -1 | -3.9 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | 0 | 0 | 7.72 | 0 | 0 | 0 | 0
09:45 - 10:00 | -1.3 | 0 | -5.3 | 3.86 | -601.78 | 10.6 | 0 | -3.5 | 0 | -1.5 | 0 | -1 | -4.2 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | 0 | -50 | 7.72 | 0 | 0 | 0 | 0
10:00 - 10:15 | -1.3 | -12 | -8.9 | 3.86 | -488.98 | 10.61 | 0 | -3.6 | 0 | -1.5 | -15 | -1 | -4.3 | -7 | 7.72 | -8 | 11.57 | 19.29 | 0 | 0 | 0 | -20 | 7.72 | 28.92 | 5.3 | 0 | 0
10:15 - 10:30 | -1.3 | -13 | -8 | 3.86 | -514.93 | 10.61 | 0 | -3.7 | 0 | -1.5 | 0 | -1 | -4.4 | -7 | 7.72 | -8 | 11.57 | 19.29 | 0 | 0 | 0 | -10 | 7.72 | 28.92 | 0 | 0 | 0
10:30 - 10:45 | -1.3 | 0 | -6.7 | 3.86 | -519.23 | 10.61 | 0 | -3.8 | 0 | -1.5 | 0 | -1 | -4.5 | -7 | 7.72 | -10 | 11.57 | 19.28 | -4 | 4.82 | -1 | -60 | 7.72 | 0 | 0 | 0 | 0
10:45 - 11:00 | -1.3 | 0 | -2.6 | 3.86 | -516.75 | 10.61 | 0 | -3.9 | 0 | -1.5 | 0 | -1 | -4.6 | -7 | 7.72 | -10 | 11.57 | 19.29 | -4 | 4.82 | -1 | -10 | 7.72 | 28.92 | 0 | 0 | 0
11:00 - 11:15 | -1.3 | 0 | -0.7 | 3.86 | -625 | 10.61 | 0 | -4 | 0 | -1.5 | 0 | -1 | -4.6 | -7 | 0 | -10 | 11.56 | 0 | -8 | 6.75 | -1 | -60 | 7.72 | 0 | 0 | 0 | 0
11:15 - 11:30 | -1.3 | 0 | -5.7 | 3.86 | -625 | 10.61 | 0 | -4.1 | 0 | -1.5 | 0 | -1 | -4.6 | -7 | 0 | -10 | 11.56 | 0 | -8 | 6.75 | -1 | -60 | 7.72 | 0 | 0 | 0 | 0
11:30 - 11:45 | -1.3 | 0 | -6.1 | 3.86 | -625.57 | 10.61 | 0 | -3.8 | 0 | -1.5 | 0 | -1 | -4.6 | -7 | 0 | -10 | 11.56 | 0 | -8 | 0 | -1 | -10 | 7.72 | 0 | 0 | 0 | 0
11:45 - 12:00 | -1.3 | -5 | -1.9 | 3.86 | -625.04 | 10.61 | 0 | -3.8 | 0 | -1.5 | 0 | -1 | -4.5 | -7 | 0 | -10 | 11.56 | 0 | -8 | 3.86 | -1 | -20 | 7.72 | 0 | 0 | 0 | 0
12:00 - 12:15 | -1.3 | -5 | 0 | 3.86 | -712.51 | 10.61 | 0 | -3.8 | 0 | -1.5 | 0 | 0 | -4.4 | -7 | 7.72 | -10 | 11.57 | 19.29 | -3 | 3.86 | -1 | -60 | 7.72 | 38.56 | 3.03 | 0 | 0
12:15 - 12:30 | -1.3 | 0 | 0 | 3.86 | -713.77 | 10.61 | 0 | -3.7 | 0 | -1.5 | 0 | 0 | -4.4 | -7 | 7.72 | -10 | 11.57 | 16.39 | -3 | 3.86 | -1 | -10 | 7.72 | 38.57 | 0 | 0 | 0
12:30 - 12:45 | -1.3 | 0 | 0 | 3.86 | -1076.97 | 10.61 | 0 | -3.5 | 0 | -1.5 | 0 | 0 | -4.4 | -7 | 7.72 | -5 | 11.57 | 16.39 | -3 | 3.86 | -1 | -10 | 7.72 | 38.57 | 0 | 0 | 0
12:45 - 13:00 | -1.3 | 0 | 0 | 3.86 | -1325.72 | 10.61 | 0 | -3.4 | 0 | -1.5 | 0 | 0 | -4.4 | -7 | 7.72 | -5 | 11.57 | 16.39 | -3 | 3.86 | -1 | -60 | 7.72 | 38.57 | 0 | 0 | 0
13:00 - 13:15 | -1.3 | 0 | 0 | 3.86 | -1005.01 | 10.61 | 0 | 0 | 0 | -1.5 | 0 | 0 | -3.3 | -7 | 7.72 | -5 | 11.57 | 16.39 | -3 | 3.86 | -1 | -40 | 7.72 | 38.57 | 5.3 | 0 | 0
13:15 - 13:30 | -1.3 | -6 | 0 | 3.86 | -711.49 | 10.61 | 0 | 0 | 0 | -1.5 | 0 | 0 | -3.7 | -7 | 7.72 | -5 | 11.57 | 16.39 | -3 | 3.86 | -1 | 0 | 7.72 | 38.57 | 5.3 | 0 | 0
13:30 - 13:45 | -1.4 | -7 | 0 | 3.86 | -909.73 | 10.61 | 0 | 0 | 0 | -2.3 | 0 | -1 | -3.7 | -7 | 9.64 | -5 | 11.57 | 16.39 | 0 | 3.86 | -1 | 0 | 7.72 | 28.94 | 5.3 | 0 | 0
13:45 - 14:00 | -1.4 | 0 | 0 | 3.86 | -615.38 | 10.61 | 0 | 0 | 0 | -2.3 | 0 | -1 | -3.5 | -7 | 9.64 | -5 | 11.57 | 16.39 | 0 | 3.86 | -1 | 0 | 7.72 | 9.64 | 0 | 0 | 0
14:00 - 14:15 | -1.4 | 0 | 0 | 3.86 | -525 | 10.61 | 0 | -1.2 | 0 | -2.3 | 0 | -1 | -3.5 | -7 | 0 | -5 | 11.56 | 0 | 0 | 3.86 | -1 | -60 | 7.72 | 0 | 0 | 0 | 0
14:15 - 14:30 | -1.4 | 0 | 0 | 3.86 | -525.72 | 10.6 | 0 | -1.1 | 0 | -2.3 | 0 | -1 | -3.2 | -7 | 0 | -5 | 2.46 | 0 | 0 | 0 | -1 | -40 | 7.72 | 0 | 0 | 0 | 0
14:30 - 14:45 | -1.4 | 0 | 0 | 3.86 | -590 | 10.61 | 0 | -1.4 | 0 | -2.3 | 0 | -1 | -2.9 | -7 | 0 | -5 | 11.57 | 16.39 | 0 | 3.86 | -1 | 0 | 7.72 | 0 | 0 | 0 | 0
14:45 - 15:00 | -1.4 | 0 | 0 | 3.86 | -601.14 | 10.61 | 0 | -1.3 | 0 | -2.3 | -15 | -1 | -2.5 | -7 | 0 | -5 | 11.56 | 0 | 0 | 0 | -1 | 0 | 7.72 | 0 | 0 | 0 | 0
15:00 - 15:15 | -1.4 | -12 | 0 | 3.86 | -608.47 | 10.61 | 0 | -0.8 | 0 | -2.3 | 0 | -1 | -2.5 | -7 | 9.64 | -5 | 11.57 | 16.39 | 0 | 3.86 | -1 | 0 | 7.72 | 0 | 0 | 0 | 0
15:15 - 15:30 | -1.4 | 0 | 0 | 3.86 | -625.74 | 10.6 | 0 | -0.7 | 0 | -2.3 | 0 | -1 | -2.2 | -7 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 7.72 | 0 | 0 | 0 | 0
15:30 - 15:45 | -1.4 | 0 | 0 | 3.86 | -505.3 | 0 | 0 | -1 | 0 | -2.3 | 0 | -1 | -2 | -7 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -60 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | -1.4 | 0 | 0 | 3.86 | -506.06 | 0 | 0 | -0.8 | 0 | -2.3 | 0 | -1 | -1.7 | -7 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | -1.4 | 0 | 0 | 0 | -507.85 | 0 | 0 | -0.9 | 0 | -2.3 | 0 | -1 | -1.5 | -7 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -10
16:15 - 16:30 | -1.4 | 0 | 0 | 0 | -278.92 | 0 | 0 | -0.8 | 0 | -2.3 | 0 | -1 | -1.3 | -7 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -10
16:30 - 16:45 | -1.4 | -6 | 0 | 0 | -129.55 | 0 | 0 | -0.6 | 0 | -2.3 | 0 | -1 | -1 | -7 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -10
16:45 - 17:00 | -1.4 | -7 | 0 | 0 | -84.14 | 0 | 0 | -0.5 | 0 | -2.3 | 0 | -1 | -0.6 | -7 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | -10
17:00 - 17:15 | -1.4 | 0 | 0 | 0 | -225 | 0 | 0 | -0.1 | 0 | -2.3 | 0 | -1 | -0.3 | -7 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | -10
17:15 - 17:30 | -1.4 | 0 | 0 | 0 | -150 | 0 | 0 | -0.1 | 0 | -2.3 | 0 | -1 | -0.1 | -7 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -10
17:30 - 17:45 | -1.4 | 0 | 0 | 0 | 68.84 | 0 | 0 | 0 | 0 | -2.3 | 0 | -1 | 0 | -7 | 0 | -8 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 3.67 | -10
17:45 - 18:00 | -1.4 | 0 | 0 | 0 | 138.58 | 0 | 0 | 0 | 0 | -2.3 | 0 | -1 | 0 | -7 | 0 | -8 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 17.67 | -10
18:00 - 18:15 | -1.5 | 0 | 0 | 0 | 80.1 | 0 | 0 | 0 | -5 | -2.3 | 0 | -1 | 0 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | -1 | 0 | 0 | 0 | 0 | 80.11 | 0
18:15 - 18:30 | -1.5 | 0 | 0 | 0 | 48.21 | 0 | 0 | 0 | -5 | -2.3 | 0 | -1 | 0 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | -1 | 0 | 0 | 0 | 0 | 72.31 | 0
18:30 - 18:45 | -1.5 | 0 | 0 | 0 | 22.55 | 0 | 0 | 0 | -5 | -2.3 | 0 | -1 | 0 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | -1 | -32 | 0 | 0 | 0 | 93.96 | 0
18:45 - 19:00 | -1.5 | 0 | 0 | 0 | 13.71 | 0 | 0 | 0 | -5 | -2.3 | 0 | -1 | 0 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | -1 | -10 | 0 | 0 | 0 | 69.78 | 0
19:00 - 19:15 | -1.5 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -3 | -2.3 | 0 | -1 | 0 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | -1 | 0 | 0 | 0 | 0 | 39.99 | 0
19:15 - 19:30 | -1.5 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -3 | -2.3 | 0 | -1 | 0 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | -1 | -20 | 0 | 0 | 0 | 31.86 | 0
19:30 - 19:45 | -1.5 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | -3 | -2.3 | 0 | -1 | 0 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | -1 | -10 | 0 | 0 | 0 | 27.38 | 0
19:45 - 20:00 | -1.5 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | -3 | -2.3 | 0 | -1 | 0 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | -1 | 0 | 0 | 0 | 0 | 23.48 | 0
20:00 - 20:15 | -1.5 | 0 | 0 | 0 | -100 | 0 | -25 | 0 | -3 | -2.3 | 0 | -1 | 0 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | -1 | -25 | 0 | 0 | 0 | 38.86 | 0
20:15 - 20:30 | -1.5 | 0 | 0 | 0 | -100 | 0 | -25 | 0 | -3 | -2.3 | 0 | -1 | 0 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | -1 | 0 | 0 | 0 | 0 | 39.69 | 0
20:30 - 20:45 | -1.5 | -1 | 0 | 0 | -50 | 0 | -25 | 0 | -4 | -2.3 | 0 | -1 | 0 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | -1 | 0 | 0 | 0 | 0 | 31.19 | 0
20:45 - 21:00 | -1.5 | -1 | 0 | 0 | -50 | 0 | -25 | 0 | -4 | -2.3 | 0 | -1 | 0 | -7 | 0 | -8 | 0 | 0 | -2 | 0 | -1 | -20 | 0 | 0 | 0 | 32.88 | 0
21:00 - 21:15 | -1.5 | -1 | 0 | 0 | -50 | 0 | -25 | 0 | -4 | -2.3 | 0 | -1 | 0 | -7 | 0 | 0 | 0 | 0 | -2 | 0 | -1 | 0 | 0 | 0 | 0 | 40.08 | 0
21:15 - 21:30 | -1.5 | -1 | 0 | 0 | -50 | 0 | -25 | 0 | -4 | -2.3 | 0 | -1 | 0 | -7 | 0 | 0 | 0 | 0 | -2 | 0 | -1 | 0 | 0 | 0 | 0 | 38.69 | 0
21:30 - 21:45 | -1.5 | -2 | 0 | 0 | -50 | 0 | -25 | 0 | -3 | -2.3 | 0 | -1 | 0 | -7 | 0 | 0 | 0 | 0 | -2 | 0 | -1 | 0 | 0 | 0 | 0 | 43.57 | 0
21:45 - 22:00 | -1.5 | -2 | 0 | 0 | -50 | 0 | -25 | 0 | -3 | -2.3 | 0 | -1 | 0 | -7 | 0 | 0 | 0 | 0 | -2 | 0 | -1 | 0 | 0 | 0 | 0 | 42.71 | 0
22:00 - 22:15 | -1.5 | -3.5 | 0 | 0 | 2.64 | 0 | -25 | 0 | -3 | -2.3 | 0 | -1 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 41.24 | 0
22:15 - 22:30 | -1.5 | -3.5 | 0 | 0 | 2.73 | 0 | -25 | 0 | -3 | -2.3 | 0 | -1 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 42.57 | 0
22:30 - 22:45 | -1.5 | -3.5 | 0 | 0 | 6.56 | 0 | -25 | 0 | -3 | -2.3 | 0 | -1 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 34.09 | 0
22:45 - 23:00 | -1.5 | -3.5 | 0 | 0 | 6.54 | 0 | -25 | 0 | -3 | -2.3 | 0 | -1 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 34 | 0
23:00 - 23:15 | -1.5 | -3.5 | 0 | 0 | 8.75 | 0 | -25 | 0 | -3 | -2.3 | 0 | -1 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 45.49 | 0
23:15 - 23:30 | -1.5 | -3.5 | 0 | 0 | 9.67 | 0 | -25 | 0 | -3 | -2.3 | 0 | -1 | 0 | -7 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 50.33 | 0
23:30 - 23:45 | -1.5 | -3.5 | 0 | 0 | 10.32 | 0 | -25 | 0 | -3 | -2.3 | 0 | -1 | 0 | -7 | 0 | -10 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 80.51 | 0
23:45 - 24:00 | -1.5 | -3.5 | 0 | 0 | 12.51 | 0 | -25 | 0 | -3 | -2.3 | 0 | -1 | 0 | -7 | 0 | -10 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 97.59 | 0
Average | -1.3313 | -2.1875 | -0.56875 | 1.2063 | -193.915 | 2.9058 | -4.6875 | -0.80833 | -2.5417 | -1.85 | -0.3125 | -0.77083 | -1.3344 | -6.6875 | 1.1054 | -4.3542 | 2.5558 | 2.5411 | -1.9792 | 0.72354 | -0.5625 | -13.9688 | 2.1148 | 3.7161 | 0.2524 | 12.4344 | -2.0833