## POWER STATUS
POWER STATUS ON DT 05.09.2026
[9 empty] | 2026-09-05 | 2026-09-04
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 22:00
Demand -> | [8 empty] | 5825.8844 | 6456.6342
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 224.38 | 5.3851 | 630/590 ft | 626.52 | 627.5 | 627.45 | 242.6876 | 243.4207
| Chiplima | 72(3x24) | 59.54 | 1.429 | - |  |  |  | 62.8039 | 59.2015
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1485.2 | 1476.2 | 1476.4 | 0 | 0
| Rengali | 250(5x50) | 241.5 | 5.796 | 123.5/109.75 mt | 122.81 | 122.38 | 122.26 | 246.9004 | 247.8712
| Upper Kolab | 320(4x80) | 71.17 | 1.7081 | 858/844 mt | 855.56 | 852.47 | 852.48 | 0 | 152.3595
| Upper Indravati | 600(4x150) | 546.08 | 13.1059 | 642/625 mt | 637.27 | 640 | 640.01 | 585.7916 | 578.7648
| Machkund | 60(50% of(3x17+3x23)) | 10.72 | 0.25728 | 2750/2685 ft | 2748.05 | 2731.3 | 2731.45 | 8.7008 | 10.0165
| Total Hydro | 2099.5 | 1153.39 | 27.6814 |  |  |  |  | 1146.8844 | 1291.6342
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1729 | 41.496 | RENEWABLE ENERGY (RE) |  |  |  | 1725 | 1727
[5 empty] | M.Hydl | 123.01
| Total Thermal | 2200 | 1729 | 41.496 | Solar | 106.41 |  |  | 1725 | 1727
IPP | VEDANTA #2 | 600 (1x600) | 433.5245 | 10.4046 | Total IPPs | Yesterday's Demand Profile |  |  | 387.8906 | 539.6098
| GMR #3 | 350 (1x350) | 328.2757 | 7.8786 | 860.9988 |  | MW | HRS | 328.8381 | 326.6272
| NBVL(IPP) | 60(1x60) | 51.7981 | 1.2432 |  |  |  |  | 54.8386 | 54.6156
| MDTPC |  | 47.4005 | 1.1376 |  |  |  |  | 55.9752 | 56.2131
| CGPs |  | 777.5017 | 18.66 | IPPs, CGPs & RE | Maximum | 6457 | 22:00 | 1934 | 2386
| Central Sector(Drawl) |  | 1227.26 | 29.4542 | 1867.9205 | Minimum | 5650 | 04:00 | 1020 | 1052
| Central Sector(Sch) |  | 1275.637 | 30.6153 |  | Average | 5977.5705 |  | 867 | 1207
| Grand Total |  | 5977.5705 | 143.4617 | Instantaneous Peak demand |  | 6761.6885 | 46269.8153 | 5825.8844 | 6456.6342
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1634.6577 | 39.2318 | 1654.5163 | 39.7084 | 1637.9098 | 39.3098
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1805.0536 | 43.3213 | 2095.1149 | 50.2828 | 1403.0083 | 33.6722
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1352.0493 | 32.4492 | 1424.606 | 34.1905 | 1358.5385 | 32.6049
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 609.5865 | 14.6301 | 614.3218 | 14.7437 | 621.1573 | 14.9078
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5401.3472 | 129.6323 | 5788.5591 | 138.9254 | 5020.6139 | 120.4947
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | 3
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 396 | GMR |  |  |  | 330
| NBVL #3 | 0 | MDTPC |  |  |  | 34
Mini Hydel: | MEENAKSHI | 40 | OPCL |  |  |  | 0
| BTPL | 28 | SAPTADHARA |  |  |  | 20
Solar: |  | 306 | KAKATIYA |  |  |  | 7
CGPs : | JSPL (Angul) | -41.9471 | JSL(Duburi) |  |  |  | -51.5324
| ICCL | 36.8108 | visa |  |  |  | 18.8946
| NALCO | -134.8367 | VAL (CGP) |  |  |  | 104.8496
| RSP | -47.2839 | BSL(MMDL) |  |  |  | -7.9103e-16
| INDAL | -4.5579 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -22.2345 | VAL CPP 400 kV |  |  |  | -970.778
| NBVL | 0.011492 | Arati |  |  |  | 16.1844
| BPSL(JSG) | -51.3621 | BPPL |  |  |  | 121.2022
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-28 | 2026-08-29 | 2026-08-30 | 2026-08-31 | 2026-09-01 | 2026-09-02 | 2026-09-03 | 2026-09-04
873.4591 | 858.7008 | 901.3567 | 1153.78 | 1121.5208 | 1184.9895 | 1168.7978 | 1153.39
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.04.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | -20 | AARTISTEEL | UPPCL | -6 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 1.97
AMNSIL_Pdeep | AMNSIL | 0 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -1.4 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0.24
ARYAN_ISPAT | BALCO_LOAD | -5 | DCBL_Rajgangpur | DCL_RCW | -1.31 | AGE26AL_PSS6_KPS1_S | ODISHA | 131.41
ENVIROCARE_INFRA | APCPDCL | -13 | FACORPOWER | PSPCL | -21.25 | AP41PL_BHDL | ODISHA | 60.03
FACORPOWER | RUVITSL | -3.33 | FACORPOWER | PSPCL | -8.75 | AP43PL_BKN | ODISHA | 86.54
GMRKEL_STU | GEB_Beneficiary | -61.9 | FACORPOWER | RUVITSL | -6.67 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.76
GMRKEL_STU | TNEB | -18 | FACORPOWER | TANGEDCO | -8.54 | AWEK1L | ODISHA | 8.3
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | RUVITSL | -0.29 | AWEK1L | ODISHA | 12.46
JPIPL | NPCL_UP | 0 | JSPLANGUL | RUVITSL | -41.66 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.07
JSPLANGUL | GEB_Beneficiary | -35.01 | JSPLANGUL | RUVITSL | -27.78 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 30.89
JSPLANGUL | RUVITSL | -5.64 | JSPLANGUL | RUVITSL | -0.43 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.34
JSPLANGUL | RUVITSL | -3.76 | NBVLIPP | BSPHCL | -12.54 | ENERSON_SOLAR_10MW | ODISHA | 0
MAADURGA_THERMAL | NPCL_UP | -17.26 | OCL_IRON_STEEL | TPDDL | -38.25 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | TANGEDCO | -50 | OCL_IRON_STEEL | TPDDL | -15.75 | GADAG_GreenInfra_W | ODISHA | 0.62
ODISHA | APCPDCL | -50 | ODISHA | DNHDDPDCL | -33 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | PCKL | -91.67 | ODISHA | GOA_Beneficiary | -20 | GADAG_Serentica3_S | VLSEZ | 33.33
ORSISL | BALCO_LOAD | -5 | ODISHA | HARYANA | -20.83 | GADAG_Serentica3_W | VLSEZ | 55.43
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | ODISHA | HARYANA | -41.67 | GADAG_Serentica3_W | VLSEZ | 4.92
VSL | APCPDCL | -5 | ODISHA | NUPLLP | -2 | GIWEL_SECI_II_RE | ODISHA | 39.02
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | TPLD | -17 | GPCL_SOLAR_10 | ODISHA | 0.96
JSWEL_UTKAL | ODISHA | 56.13 | ORSISL | UPPCL | -2.5 | GSECL_SOLAR | ODISHA | 1.47
RAJ_SOLAR | ODISHA | 2.57 | SMEL | PSPCL | -17.71 | HIRIYUR_OSTROKANNADA | VLSEZ | 11.29
RAJ_SOLAR | ODISHA | 2.5 | SMEL | PSPCL | -7.29 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.73
|  |  | Shri_JSPL | KSEB | -2 | KARUR_TPVARDHAMAN_W | TSKPO | 66.16
|  |  | TIMES_STEEL | UPPCL | -1.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
|  |  | VIRAJ_SEPL | PSPCL | -2.92 | Kurnool_Greenko_H_Inj | ADITYAAL | 3.1
|  |  | VIRAJ_SEPL | PSPCL | -7.08 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.02
|  |  | VSL | TANGEDCO | -10 | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.56
|  |  | AMRPOWERPVTLTD | VLSEZ | 16.66 | O2RE3PL_Wasi_klm_W | VLSEZ | 9.94
|  |  | DIKCHU | VLSEZ | 1.64 | OGH1PL_DAYAPAR_BHJ_W | JFL_ODISHA | 0.25
|  |  | FORTUNE5PROJKAR | VLSEZ | 21.47 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0.61
|  |  | JIPL | ODISHA | 115.73 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 3.2
|  |  | JIPL | VLSEZ | 25.07 | OKWPL_RE | ODISHA | 18.98
|  |  | JSWEL_MSEB | VLSEZ | 9.26 | RGMHP1_Patoda_klm_W | VLSEZ | 14.06
|  |  | LPPL_CSEB | VLSEZ | 3.86 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 5.48
|  |  | MANGALORE_ENERGIES | VLSEZ | 3.98 | RWE_AP2_SECI_III | ODISHA | 14.59
|  |  | MCCPL | VLSEZ | 11.57 | RenewGreen_SLPR_HS | JSL_DUBURI | 18.8
|  |  | NALCOAP | NACL_Odisha | 14.36 | SAUPLI_HJRTPR_RJGR_W | VLSEZ | 4.27
|  |  | Nachiketa_PSPL_CH | VLSEZ | 6.75 | SRI9PL_FTG3 | VLSEZ | 95.15
|  |  | REAL_ISPAT_Ltd_CG | VLSEZ | 19.29 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.14
|  |  | RWEAPPL2026 | VLSEZ | 10.11 | TSESOPL_BKN2 | OPL_CUTTAK | 0.17
|  |  | SIKKIM | VLSEZ | 9.64 | Tuticorin_BETAMWIND | ODISHA | 25.4
|  |  | SIMHAPURI | VLSEZ | 19.29 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 30.23
|  |  | SORANG_HEP | VLSEZ | 36.49 | XXPPL_FTG3 | ODISHA | 74.01
|  |  | TADASWIND | VLSEZ | 8.2
|  |  | TADASWIND_KAR | VLSEZ | 18.99
|  |  | TSTPP_I | ODISHA | 8.6
|  |  | VIPL_CSEB | VLSEZ | 4.53
|  |  | Vaishali100 | VLSEZ | 14.11

## DAM
DAM TRADING DETAILS FOR DT : 04.09.2026
Time Period | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | -2 | 0 | 0 | 11.31
00:15 - 00:30 | 0 | 0 | 0 | -2 | 0 | 0 | 12.71
00:30 - 00:45 | 0 | 0 | 0 | -2 | 0 | 0 | 16.54
00:45 - 01:00 | 0 | 0 | 0 | -2 | 0 | 0 | 18.28
01:00 - 01:15 | -50 | 0 | 0 | -2 | 0 | 0 | 0
01:15 - 01:30 | -50 | 0 | 0 | -2 | 0 | 0 | 0
01:30 - 01:45 | -50 | 0 | 0 | -2 | 0 | 0 | 0
01:45 - 02:00 | -50 | 0 | 0 | -2 | 0 | 0 | 0
02:00 - 02:15 | -225 | 0 | 0 | -2 | -43 | 0 | 0
02:15 - 02:30 | -225 | 0 | 0 | -2 | -43 | 0 | 0
02:30 - 02:45 | -225 | 0 | 0 | -2 | -43 | 0 | 0
02:45 - 03:00 | -225 | 0 | 0 | -2 | -43 | 0 | 0
03:00 - 03:15 | -325 | 0 | 0 | -2 | -43 | 0 | 0
03:15 - 03:30 | -325 | 0 | 0 | -2 | -43 | 0 | 0
03:30 - 03:45 | -325 | 0 | 0 | -2 | -43 | 0 | 0
03:45 - 04:00 | -325 | 0 | 0 | -2 | -43 | 0 | 0
04:00 - 04:15 | -325 | 0 | 0 | -2 | -43 | 0 | 0
04:15 - 04:30 | -325 | 0 | 0 | -2 | -43 | 0 | 0
04:30 - 04:45 | -325 | 0 | 0 | -2 | -43 | 0 | 0
04:45 - 05:00 | -325 | 0 | 0 | -2 | -43 | 0 | 0
05:00 - 05:15 | -325 | 0 | 0 | -2 | -43 | 0 | 0
05:15 - 05:30 | -325 | 0 | 0 | -2 | -43 | 0 | 0
05:30 - 05:45 | -325 | 0 | 0 | -2 | -43 | 0 | 0
05:45 - 06:00 | -325 | 0 | 0 | -2 | -43 | 0 | 0
06:00 - 06:15 | -500 | 0 | 0 | -2 | -43 | 0 | 0
06:15 - 06:30 | -500 | 0 | 0 | -2 | -43 | 0 | 0
06:30 - 06:45 | -500 | 0 | 0 | -2 | -43 | 0 | 0
06:45 - 07:00 | -500 | 0 | 0 | -2 | -43 | 0 | 0
07:00 - 07:15 | -750 | 0 | 0 | -2 | -43 | 0 | 0
07:15 - 07:30 | -750 | 0 | 0 | -2 | -43 | 0 | 0
07:30 - 07:45 | -750 | 0 | 0 | -2 | -43 | 0 | 0
07:45 - 08:00 | -750 | 0 | 0 | -2 | -43 | 0 | 0
08:00 - 08:15 | -1200 | 0 | 0 | -2 | -43 | 0 | 0
08:15 - 08:30 | -1200 | 0 | 0 | -2 | -43 | 0 | 0
08:30 - 08:45 | -1200 | 0 | 0 | -2 | -43 | 0 | 0
08:45 - 09:00 | -1200 | 0 | 0 | -2 | -43 | 0 | 0
09:00 - 09:15 | -1550 | 0 | 0 | -2 | -43 | 0 | 0
09:15 - 09:30 | -1550 | 0 | 0 | -2 | -43 | 0 | 0
09:30 - 09:45 | -1550 | 0 | 0 | -2 | -43 | 9.64 | 0
09:45 - 10:00 | -1550 | 0 | 0 | -2 | -43 | 9.64 | 0
10:00 - 10:15 | -1625.37 | 0 | 0 | -1 | -18 | 9.64 | 0
10:15 - 10:30 | -1600 | 0 | 0 | -1 | -18 | 9.64 | 0
10:30 - 10:45 | -1600 | 33.76 | 0 | -1 | -18 | 9.64 | 0
10:45 - 11:00 | -1600 | 33.76 | 0 | -1 | -18 | 9.64 | 0
11:00 - 11:15 | -1549.45 | 33.76 | 0 | -1 | -18 | 9.64 | 0
11:15 - 11:30 | -1549.08 | 33.76 | 0 | -1 | -18 | 9.64 | 0
11:30 - 11:45 | -1549.33 | 33.76 | 0 | -1 | -18 | 9.64 | 0
11:45 - 12:00 | -1532.81 | 33.76 | 0 | -1 | -18 | 9.64 | 0
12:00 - 12:15 | -1324.07 | 33.76 | 0 | -1 | -18 | 9.64 | 0
12:15 - 12:30 | -1267.38 | 33.76 | 0 | -1 | -18 | 9.64 | 0
12:30 - 12:45 | -677.35 | 0 | 0 | -1 | -18 | 9.64 | 0
12:45 - 13:00 | -676.8 | 0 | 0 | -1 | -18 | 9.64 | 0
13:00 - 13:15 | -675.07 | 0 | 0 | -1 | -18 | 9.64 | 0
13:15 - 13:30 | -668.94 | 0 | 0 | -1 | -18 | 9.64 | 0
13:30 - 13:45 | -675.69 | 0 | 0 | -1 | -18 | 9.64 | 0
13:45 - 14:00 | -676.17 | 0 | 0 | -1 | -18 | 9.64 | 0
14:00 - 14:15 | -817.53 | 33.76 | 0 | -1 | -18 | 9.64 | 0
14:15 - 14:30 | -1433 | 33.76 | 0 | -1 | -18 | 9.64 | 0
14:30 - 14:45 | -1550 | 0 | 0 | -1 | -18 | 9.64 | 0
14:45 - 15:00 | -1550 | 0 | 0 | -1 | -18 | 9.64 | 0
15:00 - 15:15 | -1675 | 0 | 0 | -1 | -43 | 9.64 | 0
15:15 - 15:30 | -1675 | 0 | 0 | -1 | -43 | 0 | 0
15:30 - 15:45 | -1675 | 0 | 0 | -1 | -43 | 0 | 0
15:45 - 16:00 | -1675 | 0 | 0 | -1 | -43 | 0 | 0
16:00 - 16:15 | -1550 | 0 | 0 | -1 | -43 | 0 | 0
16:15 - 16:30 | -1550 | 0 | 0 | -1 | -43 | 0 | 0
16:30 - 16:45 | -1550 | 0 | 0 | -1 | -43 | 0 | 0
16:45 - 17:00 | -1550 | 0 | 0 | -1 | -43 | 0 | 0
17:00 - 17:15 | -950 | 0 | 0 | -2 | -43 | 0 | 0
17:15 - 17:30 | -950 | 0 | -40 | -2 | -43 | 0 | 0
17:30 - 17:45 | -950 | 0 | -60 | -2 | -43 | 0 | 0
17:45 - 18:00 | -950 | 0 | -80 | -2 | -43 | 0 | 0
18:00 - 18:15 | -200 | 0 | -100 | -2 | -43 | 0 | 0
18:15 - 18:30 | -200 | 0 | -130 | -2 | -43 | 0 | 0
18:30 - 18:45 | 0 | 0 | -130 | -2 | -43 | 0 | 0
18:45 - 19:00 | 0 | 0 | -130 | -2 | -43 | 0 | 31.07
19:00 - 19:15 | 0 | 0 | -130 | -2 | 0 | 0 | 16.83
19:15 - 19:30 | 0 | 0 | -130 | -2 | 0 | 0 | 10.06
19:30 - 19:45 | 0 | 0 | -130 | -2 | 0 | 0 | 3.26
19:45 - 20:00 | 0 | 0 | -130 | -2 | 0 | 0 | 1.23
20:00 - 20:15 | 0 | 0 | -130 | -2 | 0 | 0 | 2.82
20:15 - 20:30 | 0 | 0 | -130 | -2 | 0 | 0 | 3.38
20:30 - 20:45 | 0 | 0 | -130 | -2 | 0 | 0 | 2.38
20:45 - 21:00 | 0 | 0 | -130 | -2 | 0 | 0 | 4.41
21:00 - 21:15 | 0 | 0 | -130 | -2 | 0 | 0 | 0.85
21:15 - 21:30 | 0 | 0 | -130 | -2 | 0 | 0 | 3.44
21:30 - 21:45 | 0 | 0 | -130 | -2 | 0 | 0 | 4.28
21:45 - 22:00 | 0 | 0 | -130 | -2 | 0 | 0 | 4.95
22:00 - 22:15 | 0 | 0 | -130 | -2 | 0 | 0 | 0.04
22:15 - 22:30 | 0 | 0 | -130 | -2 | 0 | 0 | 0.06
22:30 - 22:45 | 0 | 0 | -130 | -2 | 0 | 0 | 1.56
22:45 - 23:00 | 0 | 0 | -130 | -2 | 0 | 0 | 2.51
23:00 - 23:15 | -75 | 0 | -130 | -2 | 0 | 0 | 13.93
23:15 - 23:30 | -75 | 0 | -130 | -2 | 0 | 0 | 15.9
23:30 - 23:45 | -75 | 0 | -130 | -2 | 0 | 0 | 21.76
23:45 - 24:00 | -75 | 0 | -130 | -2 | 0 | 0 | 25.01
Average | -656.2296 | 3.5167 | -34.0625 | -1.7083 | -25.25 | 2.3096 | 2.3809

## GDAM
GDAM TRADING DETAILS FOR DT:04.09.2026
Time Period | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.28
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.92
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.04
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.97
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
08:45 - 09:00 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
09:00 - 09:15 | 0 | 14.47 | 0 | 0 | 0 | 0 | -3 | 0
09:15 - 09:30 | 0 | 14.47 | 0 | 0 | 0 | 0 | -3 | 0
09:30 - 09:45 | 0 | 14.46 | 0 | 0 | 6.27 | 0 | -3 | 0
09:45 - 10:00 | 0 | 14.46 | 0 | 0 | 6.27 | 0 | -3 | 0
10:00 - 10:15 | 0 | 14.47 | 0 | 9.64 | 6.27 | 0 | -3 | 0
10:15 - 10:30 | 0 | 14.47 | 32.79 | 9.64 | 6.27 | 4.82 | -3 | 0
10:30 - 10:45 | 0 | 14.47 | 30.86 | 9.64 | 6.27 | 4.82 | -3 | 0
10:45 - 11:00 | 0 | 14.47 | 29.9 | 9.64 | 6.27 | 4.82 | -3 | 0
11:00 - 11:15 | 0 | 14.47 | 29.9 | 9.64 | 6.27 | 4.82 | -3 | 0
11:15 - 11:30 | 0 | 14.47 | 28.93 | 9.64 | 6.27 | 4.82 | -3 | 0
11:30 - 11:45 | 0 | 14.47 | 28.93 | 9.64 | 6.27 | 4.82 | -3 | 0
11:45 - 12:00 | 0 | 14.47 | 28.93 | 9.64 | 6.27 | 4.82 | -3 | 0
12:00 - 12:15 | 0 | 14.47 | 28.93 | 9.64 | 6.27 | 4.82 | -3 | 0
12:15 - 12:30 | 0 | 14.47 | 29.9 | 9.64 | 6.27 | 4.82 | -3 | 0
12:30 - 12:45 | 33.76 | 14.47 | 28.93 | 9.64 | 6.27 | 4.82 | -3 | 0
12:45 - 13:00 | 33.76 | 14.47 | 28.93 | 9.64 | 6.27 | 4.82 | -3 | 0
13:00 - 13:15 | 33.76 | 14.47 | 28.93 | 9.64 | 6.27 | 4.82 | -3 | 0
13:15 - 13:30 | 33.75 | 14.47 | 29.9 | 9.64 | 6.27 | 4.82 | -3 | 0
13:30 - 13:45 | 33.75 | 14.47 | 29.9 | 9.64 | 6.27 | 4.82 | -3 | 0
13:45 - 14:00 | 33.76 | 14.47 | 30.86 | 9.64 | 6.27 | 4.82 | -3 | 0
14:00 - 14:15 | 0 | 14.47 | 30.86 | 9.64 | 6.27 | 4.82 | -3 | 0
14:15 - 14:30 | 0 | 14.47 | 31.83 | 9.64 | 6.27 | 4.82 | -3 | 0
14:30 - 14:45 | 0 | 14.47 | 0 | 9.64 | 6.27 | 0 | -3 | 0
14:45 - 15:00 | 0 | 14.46 | 0 | 0 | 6.27 | 0 | -3 | 0
15:00 - 15:15 | 0 | 14.46 | 0 | 0 | 6.27 | 0 | -3 | 0
15:15 - 15:30 | 0 | 14.46 | 0 | 0 | 6.27 | 0 | -3 | 0
15:30 - 15:45 | 0 | 14.46 | 0 | 0 | 6.27 | 0 | -3 | 0
15:45 - 16:00 | 0 | 14.47 | 0 | 0 | 6.2 | 0 | -3 | 0
16:00 - 16:15 | 0 | 9.64 | 0 | 0 | 0 | 0 | -3 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.01
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.84
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.91
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.13
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.2
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.48
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.73
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.59
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.32
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.72
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.93
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.42
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.83
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.03
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.73
Average | 2.1098 | 4.3202 | 5.3043 | 1.9079 | 1.6974 | 0.85354 | -1.5 | 3.1723

## RTM
RTM TRADING DETAILS FOR DT: 04.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | Maithan_Ispat_Limited_MPL | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Nava_Limited_IPP | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -1.6 | -13 | 0 | 0 | -225 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | 0 | 68.47 | 0
00:15 - 00:30 | -1.6 | 0 | 0 | 0 | -200 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -20 | 0 | 0 | 69.33 | 0
00:30 - 00:45 | -1.6 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 47.61 | 0
00:45 - 01:00 | -1.6 | 0 | 0 | 0 | -150 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -60 | 0 | 0 | 52.21 | 0
01:00 - 01:15 | -1.6 | -11 | 0 | 0 | -100 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | 0 | 0 | 0
01:15 - 01:30 | -1.6 | -2 | 0 | 0 | -100 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | -1.6 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | -1.6 | 0 | 0 | 0 | -200 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | -8 | 0 | 0 | 0 | 0
03:30 - 03:45 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | -10 | 0 | 0 | 0 | 0
03:45 - 04:00 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2 | -20 | 0 | 0 | 0 | 0
05:00 - 05:15 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2 | -50 | 0 | 0 | 0 | 0
05:15 - 05:30 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -2 | -50 | 0 | 0 | 0 | 0
06:00 - 06:15 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | -0.1 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -20 | 0 | 0 | 0 | -10
06:15 - 06:30 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | -0.1 | -3.5 | 0 | 0 | 0 | -0.4 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10
06:30 - 06:45 | -1.6 | 0 | 0 | 0 | -150 | 0 | 0 | -0.2 | -3.5 | 0 | 0 | 0 | -0.7 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 0 | -10
06:45 - 07:00 | -1.6 | 0 | 0 | 0 | -250 | 0 | 0 | -0.2 | -3.5 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | 0 | -2 | -15 | 0 | 0 | 0 | -10
07:00 - 07:15 | -1.6 | 0 | 0 | 0 | -150 | 0 | 0 | -0.3 | -3.5 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 11.57 | 0 | -10
07:15 - 07:30 | -1.6 | 0 | 0 | 0 | -150 | 0 | 0 | -0.4 | -3.5 | 0 | 0 | 0 | -1.7 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 11.58 | 2.34 | -10
07:30 - 07:45 | -1.6 | 0 | 0 | 0 | -150 | 0 | 0 | -0.6 | -3.5 | 0 | 0 | -1.5 | -2.1 | 0 | 0 | 0 | 0 | -2 | -55 | 0 | 0 | 44.65 | -10
07:45 - 08:00 | -1.6 | -1 | 0 | 0 | -150 | 0 | 0 | -0.8 | -3.5 | 0 | 0 | -1.5 | -2.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 61.39 | -10
08:00 - 08:15 | -1.6 | 0 | 0 | 0 | -17.3 | 0 | 0 | -1 | 0 | 0 | 0 | -1.5 | -2.5 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | 0 | 28.93 | -10
08:15 - 08:30 | -1.6 | 0 | 0 | 3.86 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | -1.5 | -2.7 | 0 | 0 | 0 | 0 | -2 | -75 | 0 | 0 | 28.93 | -10
08:30 - 08:45 | -1.6 | 0 | 0 | 0 | -302.09 | 0 | 0 | -1.4 | 0 | 0 | 0 | -1.5 | -3 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | 0 | 0 | -10
08:45 - 09:00 | -1.6 | 0 | 0 | 3.86 | -489.1 | 0 | 0 | -1.6 | 0 | 0 | 0 | -1.5 | -3.4 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10
09:00 - 09:15 | -1.6 | -6 | 0 | 3.86 | -99.92 | 0 | 0 | -1.9 | 0 | 0 | 0 | -1.5 | -3.5 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 0 | 0
09:15 - 09:30 | -1.6 | 0 | 0 | 3.86 | -50 | 0 | 0 | -2.1 | 0 | 0 | 0 | -1.5 | -4.1 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0
09:30 - 09:45 | -1.6 | 0 | 0 | 3.86 | -580.58 | 10.6 | 0 | -2.2 | 0 | 0 | 0 | -1.5 | -3.9 | 0 | 0 | -3 | 0 | -2 | 0 | 7.72 | 0 | 0 | 0
09:45 - 10:00 | -1.6 | 0 | 0 | 3.86 | -672.02 | 10.6 | 0 | -2.2 | 0 | 8.68 | 0 | -1.5 | -1.6 | 0 | 0 | -3 | 0 | -2 | -10 | 7.72 | 0 | 0 | 0
10:00 - 10:15 | -1.6 | 0 | 0 | 3.86 | -659.66 | 10.61 | 0 | -2.3 | 0 | 8.68 | -15 | -1.5 | 0 | 9.64 | 14.46 | -3 | 0 | -2 | -50 | 7.72 | 0 | 0 | 0
10:15 - 10:30 | -1.6 | -6 | 0 | 3.86 | -553.36 | 10.61 | 0 | -2.3 | 0 | 8.68 | 0 | -1.5 | 0 | 9.64 | 14.47 | -3 | 0 | -2 | -20 | 7.72 | 106.07 | 0 | 0
10:30 - 10:45 | -1.6 | 0 | 0 | 3.86 | -411.32 | 0 | 0 | -2.4 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0
10:45 - 11:00 | -1.6 | 0 | 0 | 3.86 | -410.2 | 0 | 0 | -2.5 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0 | 0 | 0 | 0
11:00 - 11:15 | -1.6 | 0 | 0 | 3.86 | -408.36 | 1.02 | 0 | -2.5 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 0.74 | 0 | 0 | 0
11:15 - 11:30 | -1.6 | 0 | 0 | 3.86 | -308.34 | 9.55 | 0 | -2.5 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 6.94 | 0 | 0 | 0
11:30 - 11:45 | -1.6 | 0 | 0 | 3.86 | -279.95 | 10.6 | 0 | -2.5 | 0 | 8.68 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | -2 | -16 | 7.72 | 0 | 0 | 0
11:45 - 12:00 | -1.6 | 0 | 0 | 3.86 | -301.42 | 10.6 | 0 | -2.5 | 0 | 8.68 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | -2 | -45 | 7.72 | 0 | 0 | 0
12:00 - 12:15 | -1.6 | -5 | 0 | 3.86 | -497.64 | 10.6 | 0 | -2.6 | 0 | 8.68 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | -2 | -25 | 7.72 | 0 | 0 | 0
12:15 - 12:30 | -1.6 | 0 | 0 | 3.86 | -497.65 | 10.6 | 0 | -2.6 | 0 | 8.68 | 0 | -1.5 | 0 | 0 | 0 | -3 | 0 | -2 | 0 | 7.72 | 0 | 0 | 0
12:30 - 12:45 | -1.6 | 0 | 0 | 3.86 | -1072.65 | 10.6 | 0 | -2.5 | 0 | 8.68 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 7.72 | 0 | 0 | 0
12:45 - 13:00 | -1.6 | 0 | 0 | 3.86 | -1067 | 10.6 | 0 | -2.4 | 0 | 8.68 | 0 | -2 | 0 | 0 | 0 | 0 | 2.89 | -2 | 0 | 7.72 | 0 | 0 | 0
13:00 - 13:15 | -1.6 | 0 | 0 | 3.86 | -1059.63 | 10.61 | 0 | -2.4 | 0 | 8.68 | 0 | -2 | 0 | 9.64 | 14.46 | -2 | 2.89 | -2 | 0 | 7.72 | 0 | 0 | 0
13:15 - 13:30 | -1.6 | 0 | 0 | 3.86 | -1059.67 | 10.61 | 0 | -2.2 | 0 | 8.68 | 0 | -2 | 0 | 9.64 | 14.46 | -2 | 2.89 | -2 | -13 | 7.72 | 0 | 0 | 0
13:30 - 13:45 | -1.6 | 0 | 0 | 3.86 | -1074.1 | 10.6 | 0 | -1.7 | 0 | 8.68 | 0 | -2 | 0 | 0 | 0 | -2 | 4.82 | -2 | 0 | 7.72 | 0 | 0 | 0
13:45 - 14:00 | -1.6 | 0 | 0 | 3.86 | -1077.7 | 10.6 | 0 | -1.6 | 0 | 8.68 | 0 | -2 | 0 | 0 | 0 | -2 | 4.82 | -2 | 0 | 7.72 | 0 | 0 | 0
14:00 - 14:15 | -1.6 | 0 | 0 | 3.86 | -859.69 | 0 | 0 | -1.5 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | -2 | -20 | 0 | 0 | 0 | 0
14:15 - 14:30 | -1.6 | 0 | 0 | 3.86 | 0 | 0 | 0 | -1.4 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0
14:30 - 14:45 | -1.6 | 0 | -0.6 | 0 | 0 | 0 | 0 | -1.1 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | -2 | 0 | 0 | 0 | 0 | 0
14:45 - 15:00 | -1.6 | -5 | -0.6 | 0 | -77.08 | 0 | 0 | -0.8 | 0 | 0 | -15 | -2 | 0 | 0 | 0 | -2 | 0 | -2 | -20 | 0 | 0 | 0 | 0
15:00 - 15:15 | -1.6 | 0 | -0.6 | 0 | 0 | 0 | 0 | -0.6 | 0 | 0 | 0 | -2 | -0.1 | 0 | 0 | -2 | 0 | -5 | -10 | 0 | 0 | 0 | -10
15:15 - 15:30 | -1.6 | 0 | -0.6 | 0 | 0 | 0 | 0 | -0.5 | 0 | 0 | 0 | -2 | -2.4 | 0 | 0 | -2 | 0 | -5 | 0 | 0 | 0 | 0 | -10
15:30 - 15:45 | -1.6 | 0 | -0.6 | 0 | 0 | 0 | 0 | -0.3 | 0 | 0 | 0 | -2 | -2.2 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -10
15:45 - 16:00 | -1.6 | 0 | -0.6 | 0 | 0 | 0 | 0 | -0.2 | 0 | 0 | 0 | -2 | -2 | 0 | 0 | 0 | 0 | -5 | -24 | 0 | 0 | 0 | -10
16:00 - 16:15 | -1.6 | 0 | -0.7 | 0 | -264.39 | 0 | 0 | -0.2 | 0 | 0 | 0 | -2 | -1.8 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10
16:15 - 16:30 | -1.6 | 0 | -0.7 | 0 | -230.81 | 0 | 0 | -0.2 | 0 | 0 | 0 | -2 | -1.6 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10
16:30 - 16:45 | -1.6 | 0 | -0.8 | 0 | -122.91 | 0 | 0 | -0.1 | 0 | 0 | 0 | -2 | -1.2 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10
16:45 - 17:00 | -1.6 | 0 | -0.8 | 0 | -50 | 0 | 0 | -0.1 | 0 | 0 | 0 | -2 | -0.7 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10
17:00 - 17:15 | -1.6 | 0 | -1 | 0 | -550 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -0.4 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10
17:15 - 17:30 | -1.6 | 0 | -1 | 0 | -450 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -0.1 | 0 | 0 | 0 | 0 | -2 | -25 | 0 | 0 | 0 | -10
17:30 - 17:45 | -1.6 | 0 | -1 | 0 | -350 | 0 | -50 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 0 | -10
17:45 - 18:00 | -1.6 | 0 | -1 | 0 | -150 | 0 | -50 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -10
18:00 - 18:15 | -1.6 | 0 | -1 | 0 | -450 | 0 | -50 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -1
18:15 - 18:30 | -1.6 | 0 | -1 | 0 | -200 | 0 | -50 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | -20 | 0 | 0 | 0 | -1
18:30 - 18:45 | -1.6 | 0 | -1 | 0 | -350 | 0 | -50 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -1
18:45 - 19:00 | -1.6 | 0 | -1 | 0 | -350 | 0 | -50 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -1
19:00 - 19:15 | -1.6 | 0 | -1 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | -1
19:15 - 19:30 | -1.6 | 0 | -1 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | -1
19:30 - 19:45 | -1.6 | 0 | -1 | 0 | -125 | 0 | 0 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -1
19:45 - 20:00 | -1.6 | 0 | -1 | 0 | -125 | 0 | 0 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | -1
20:00 - 20:15 | -1.6 | 0 | -1 | 0 | -175 | 0 | 0 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -1
20:15 - 20:30 | -1.6 | 0 | -1 | 0 | -175 | 0 | 0 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | -1
20:30 - 20:45 | -1.6 | 0 | -1 | 0 | -125 | 0 | -50 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 0 | -1
20:45 - 21:00 | -1.6 | 0 | -1 | 0 | -125 | 0 | -50 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | -20 | 0 | 0 | 0 | -1
21:00 - 21:15 | -1.6 | 0 | -1 | 0 | -175 | 0 | -50 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -1
21:15 - 21:30 | -1.6 | 0 | -1 | 0 | -175 | 0 | -50 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | -5 | 0 | 0 | 0 | -1
21:30 - 21:45 | -1.6 | 0 | -1.1 | 0 | -175 | 0 | -50 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -1
21:45 - 22:00 | -1.6 | 0 | -1.1 | 0 | -175 | 0 | -50 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | -1
22:00 - 22:15 | -1.6 | 0 | -1.1 | 0 | -125 | 0 | -80 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | 0 | 0 | -1
22:15 - 22:30 | -1.6 | 0 | -1.1 | 0 | -125 | 0 | -80 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | -45 | 0 | 0 | 0 | -1
22:30 - 22:45 | -1.6 | 0 | -1.1 | 0 | -75 | 0 | -80 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -1
22:45 - 23:00 | -1.6 | 0 | -1.1 | 0 | -75 | 0 | -80 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -1
23:00 - 23:15 | -1.6 | 0 | -1.1 | 0 | -50 | 0 | -80 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -1
23:15 - 23:30 | -1.6 | 0 | -1.1 | 0 | -50 | 0 | -80 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -1
23:30 - 23:45 | -1.6 | 0 | -1.1 | 0 | -75 | 0 | -80 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | -6 | 0 | 0 | 0 | -1
23:45 - 24:00 | -1.6 | 0 | -1.1 | 0 | -75 | 0 | -80 | 0 | -3.5 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -2 | -45 | 0 | 0 | 0 | -1
Average | -1.6 | -0.51042 | -0.37083 | 0.965 | -228.4327 | 1.6564 | -12.9167 | -0.63333 | -1.8229 | 1.1754 | -0.3125 | -1.2708 | -0.49063 | 0.40167 | 0.6026 | -0.875 | 0.19073 | -2.125 | -12.8333 | 1.2058 | 1.346 | 4.2069 | -2.75