## POWER STATUS
POWER STATUS ON DT 07.09.2026
[9 empty] | 2026-09-07 | 2026-09-06
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 23:00
Demand -> | [8 empty] | 5620.7031 | 6573.4021
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 242.875 | 5.829 | 630/590 ft | 626.58 | 627.81 | 628.17 | 200.677 | 244.9449
| Chiplima | 72(3x24) | 60.166 | 1.444 | - |  |  |  | 49.2109 | 57.296
| Balimela | 510(6x60+2x75) | 16.5 | 0.396 | 1516/1440 ft | 1486.3 | 1476.5 | 1476.6 | 0 | 179.0877
| Rengali | 250(5x50) | 250.9333 | 6.0224 | 123.5/109.75 mt | 122.4 | 122.33 | 122.41 | 248.8739 | 249.4828
| Upper Kolab | 320(4x80) | 39 | 0.936 | 858/844 mt | 855.59 | 852.5 | 852.52 | 22.1065 | 153.2008
| Upper Indravati | 600(4x150) | 525.75 | 12.618 | 642/625 mt | 637.35 | 640.01 | 640.01 | 597.3978 | 595.4144
| Machkund | 60(50% of(3x17+3x23)) | 16.458 | 0.39499 | 2750/2685 ft | 2748.2 | 2731.55 | 2731.65 | 11.7599 | 10.6033
| Total Hydro | 2099.5 | 1151.6823 | 27.6404 |  |  |  |  | 1130.026 | 1490.0298
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1717.583 | 41.222 | RENEWABLE ENERGY (RE) |  |  |  | 1733.1696 | 1725.593
[5 empty] | M.Hydl | 84.49
| Total Thermal | 2200 | 1717.583 | 41.222 | Solar | 94.61 |  |  | 1733.1696 | 1725.593
IPP | VEDANTA #2 | 600 (1x600) | 435.0838 | 10.442 | Total IPPs | Yesterday's Demand Profile |  |  | 391.6211 | 557.5195
| GMR #3 | 350 (1x350) | 326.9737 | 7.8474 | 809.9111 |  | MW | HRS | 327.9028 | 326.1765
| NBVL(IPP) | 60(1x60) | 0.36927 | 0.0088625 |  |  |  |  | 0 | 0
| MDTPC |  | 47.4844 | 1.1396 |  |  |  |  | 56.437 | 56.4215
| CGPs |  | 1028.6186 | 24.6868 | IPPs, CGPs & RE | Maximum | 6573 | 23:00 | 1853.6612 | 2108.7535
| Central Sector(Drawl) |  | 1110.0855 | 26.6421 | 2017.6297 | Minimum | 5489 | 06:00 | 903.8463 | 1249.0257
| Central Sector(Sch) |  | 1201.8598 | 28.8446 |  | Average | 5996.9805 |  | 738.6681 | 1215.17
| Grand Total |  | 5996.9805 | 143.9275 | Instantaneous Peak demand |  | 6780 | 22:48 | 5620.7031 | 6573.4021
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(5) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1654.0938 | 39.6983 | 1696.8759 | 40.725 | 1670.6406 | 40.0954
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1729.3275 | 41.5039 | 2058.4448 | 49.4027 | 1624.5924 | 38.9902
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1365.0721 | 32.7617 | 1399.1159 | 33.5788 | 1347.8135 | 32.3475
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 630.6331 | 15.1352 | 634.0841 | 15.218 | 634.4771 | 15.2274
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5379.1265 | 129.099 | 5788.5208 | 138.9245 | 5277.5235 | 126.6606
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | 3
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 325.2734 | GMR |  |  |  | 194.6925
| NBVL #3 | 0 | MDTPC |  |  |  | 31.8963
Mini Hydel: | MEENAKSHI | 40.1142 | OPCL |  |  |  | 0
| BTPL | -28.055 | SAPTADHARA |  |  |  | 13.0541
Solar: |  | 225.377 | KAKATIYA |  |  |  | 7.3611
CGPs : | JSPL (Angul) | 492.9747 | JSL(Duburi) |  |  |  | -91.3962
| ICCL | 43.6611 | visa |  |  |  | 16.2446
| NALCO | -129.9772 | VAL (CGP) |  |  |  | 104.8496
| RSP | -65.9386 | BSL(MMDL) |  |  |  | 63.4698
| INDAL | 3.3537 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -27.4983 | VAL CPP 400 kV |  |  |  | -581.6332
| NBVL | 47.8132 | Arati |  |  |  | 7.433
| BPSL(JSG) | -35.0456 | BPPL |  |  |  | 120.8132
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-30 | 2026-08-31 | 2026-09-01 | 2026-09-02 | 2026-09-03 | 2026-09-04 | 2026-09-05 | 2026-09-06
901.3567 | 1153.78 | 1121.5208 | 1184.9895 | 1168.7978 | 1153.39 | 1158.9236 | 1151.6823
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.06.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | -20 | AARTISTEEL | UPPCL | -6 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.24
AMNSIL_Pdeep | AMNSIL | 0 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0.4
ARYAN_ISPAT | BALCO_LOAD | -5 | DCBL_Rajgangpur | DCBLME | -6.5 | AGE26AL_PSS6_KPS1_S | ODISHA | 128.84
ENVIROCARE_INFRA | APCPDCL | -13 | DCBL_Rajgangpur | DCL_RCW | -2 | AP41PL_BHDL | ODISHA | 59.19
FACORPOWER | RUVITSL | -3.33 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -6.33 | AP43PL_BKN | ODISHA | 91.49
GMRKEL_STU | GEB_Beneficiary | -61.9 | DCBL_Rajgangpur | DalmiaCementNEL2 | -2.12 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 3.11
GMRKEL_STU | TNEB | -18 | FACORPOWER | PSPCL | -8.75 | AWEK1L | ODISHA | 8.88
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | FACORPOWER | PSPCL | -1.25 | AWEK1L | ODISHA | 13.33
JPIPL | NPCL_UP | -14 | FACORPOWER | RUVITSL | -0.42 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.19
JSPLANGUL | GEB_Beneficiary | -110 | JSPLANGUL | RUVITSL | -3.12 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 25.05
JSPLANGUL | RUVITSL | -27.08 | JSPLANGUL | RUVITSL | -106.25 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 10.86
JSPLANGUL | RUVITSL | -40.62 | JSPLANGUL | RUVITSL | -70.83 | ENERSON_SOLAR_10MW | ODISHA | 0
MAADURGA_THERMAL | NPCL_UP | -17.26 | JSPLANGUL | RUVITSL | -2.08 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | TANGEDCO | 0 | KCMW_od | DALCEMAP | -0.6 | GADAG_GreenInfra_W | ODISHA | 0.42
ODISHA | AMNSIL | -31.25 | NBVLIPP | BSPHCL | -12.54 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | BRPL | -62.5 | OCL_IRON_STEEL | TPDDL | -39.33 | GADAG_Serentica3_S | VLSEZ | 35.23
ODISHA | KPTCL | -66.67 | OCL_IRON_STEEL | TPDDL | -14.83 | GADAG_Serentica3_W | VLSEZ | 43.98
ORSISL | BALCO_LOAD | -5 | ODISHA | JBVNL | -62.5 | GADAG_Serentica3_W | VLSEZ | 5.56
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | ODISHA | TPL_DIS_SUR | -75 | GIWEL_SECI_II_RE | ODISHA | 35.13
VSL | APCPDCL | -5 | ORSISL | UPPCL | -2.5 | GPCL_SOLAR_10 | ODISHA | 0.95
FARIDABAD_SOLAR | ODISHA | 0.86 | SMEL | PSPCL | -7.29 | GSECL_SOLAR | ODISHA | 1.16
JSWEL_UTKAL | ODISHA | 44.76 | SMEL | PSPCL | -17.71 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.52
RAJ_SOLAR | ODISHA | 2.61 | Shri_JSPL | KSEB | -2 | KARUR_TPVARDHAMAN_W | TSKPO | 63.47
RAJ_SOLAR | ODISHA | 2.4 | TIMES_STEEL | UPPCL | -1.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
|  |  | VIRAJ_SEPL | PSPCL | -2.92 | Kurnool_Greenko_H_Inj | ADITYAAL | 6.29
|  |  | VIRAJ_SEPL | PSPCL | -7.08 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.06
|  |  | VL_CPP_1215 | TPL_DIS_AHM | -86.88 | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.13
|  |  | VL_CPP_1215 | TPL_DIS_SUR | -37.5 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | VSL | TANGEDCO | -10 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 1.86
|  |  | VSL | TPL_DIS_SUR | -5 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.5
|  |  | Arunachal_Ben | VLSEZ | 19.29 | OKWPL_RE | ODISHA | 17.97
|  |  | Assam_Ben | VLSEZ | 60.28 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 11.5
|  |  | CSEB_Beneficiary | VLSEZ | 48.22 | RWE_AP2_SECI_III | ODISHA | 14.57
|  |  | GR_KRSNA_FERRO_MH | VLSEZ | 6.75 | RenewGreen_SLPR_HS | JSL_DUBURI | 20.17
|  |  | GR_SPONGE_CH | VLSEZ | 2.89 | SRI9PL_FTG3 | VLSEZ | 95.15
|  |  | JHABUA_IPP | VLSEZ | 2.33 | TPVSL_BKN3 | TSKPO | 3.73
|  |  | JIPL | ODISHA | 80.77 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.14
|  |  | LPPL_CSEB | VLSEZ | 3.86 | TSESOPL_BKN2 | OPL_CUTTAK | 0.17
|  |  | MAHENDRA_SPONGE_CH | VLSEZ | 3.86 | Tuticorin_BETAMWIND | ODISHA | 18.98
|  |  | MCCPL | VLSEZ | 11.57 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 8.91
|  |  | MYTRAHVAYU | VLSEZ | 14.64 | XXPPL_FTG3 | ODISHA | 72.68
|  |  | NALCOAP | NACL_Odisha | 3.79
|  |  | PCBL_PALEJ | VLSEZ | 7.72
|  |  | RKM_POWER | VLSEZ | 44.12
|  |  | SORANG_HEP | VLSEZ | 16.56
|  |  | TSTPP_I | ODISHA | 43.97
|  |  | VIPL_CSEB | VLSEZ | 4.53

## DAM
DAM TRADING DETAILS FOR DT : 06.09.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 44.28
00:15 - 00:30 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 49.42
00:30 - 00:45 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 52.16
00:45 - 01:00 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 55.63
01:00 - 01:15 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 55.93
01:15 - 01:30 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 58.96
01:30 - 01:45 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 61.67
01:45 - 02:00 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 64.16
02:00 - 02:15 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 107.19
02:15 - 02:30 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 108.83
02:30 - 02:45 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 125.37
02:45 - 03:00 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 132.68
03:00 - 03:15 | 0 | -1 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 51.89
03:15 - 03:30 | 0 | -1 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 54.86
03:30 - 03:45 | 0 | -1 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 57.59
03:45 - 04:00 | 0 | -1 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 60.62
04:00 - 04:15 | 0 | -1 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 62.06
04:15 - 04:30 | 0 | -1 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 63
04:30 - 04:45 | 0 | -1 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 62.53
04:45 - 05:00 | 0 | -1 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 55.8
05:00 - 05:15 | 0 | -76 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 32.29
05:15 - 05:30 | 0 | -76 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 14.22
05:30 - 05:45 | 0 | -76 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 3.31
05:45 - 06:00 | 0 | -76 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 0
06:00 - 06:15 | -15.46 | -175 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 0.2
06:15 - 06:30 | -15.46 | -175 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 0.08
06:30 - 06:45 | -15.46 | -175 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 0.44
06:45 - 07:00 | -15.46 | -175 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 0.82
07:00 - 07:15 | -15.46 | -375 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 5.14
07:15 - 07:30 | -15.46 | -375 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 4.97
07:30 - 07:45 | -15.46 | -475 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 7.97
07:45 - 08:00 | -15.46 | -475 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 8.36
08:00 - 08:15 | 0 | -975 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 0
08:15 - 08:30 | 0 | -975 | 0 | 0 | 0 | -3.09 | -46.39 | 0 | 0
08:30 - 08:45 | 0 | -975 | 0 | 0 | 0 | -3.09 | -46.39 | 0 | 0
08:45 - 09:00 | 0 | -975 | 0 | 0 | 0 | -3.09 | -46.39 | 0 | 0
09:00 - 09:15 | 3.74 | -1425 | 0 | 0 | 0 | -3.09 | -46.39 | 0 | 0
09:15 - 09:30 | 3.74 | -1425 | 0 | 0 | 0 | -3.09 | -46.39 | 0 | 0
09:30 - 09:45 | 3.74 | -1425 | 0 | 0 | 0 | -3.09 | -46.39 | 0 | 0
09:45 - 10:00 | 3.74 | -1425 | 0 | 0 | 0 | -3.09 | -46.39 | 0 | 0
10:00 - 10:15 | 3.74 | -1550 | 0 | 0 | 0 | -1.03 | -35.05 | 9.35 | 0
10:15 - 10:30 | 3.74 | -1550 | 32.75 | 0 | 9.35 | -1.03 | -35.05 | 9.35 | 0
10:30 - 10:45 | 3.74 | -1550 | 32.75 | 0 | 9.35 | -1.03 | -35.05 | 9.35 | 0
10:45 - 11:00 | 3.74 | -1550 | 32.75 | 0 | 9.35 | -1.03 | -35.05 | 9.35 | 0
11:00 - 11:15 | 3.74 | -1400 | 32.75 | 0 | 9.35 | -1.03 | -35.05 | 9.35 | 0
11:15 - 11:30 | 3.74 | -1400 | 32.75 | 0 | 9.35 | -1.03 | -35.05 | 9.35 | 0
11:30 - 11:45 | 3.74 | -1400 | 32.75 | 0 | 0 | -1.03 | -35.05 | 9.35 | 0
11:45 - 12:00 | 3.74 | -1299.15 | 32.75 | 0 | 0 | -1.03 | -35.05 | 9.35 | 0
12:00 - 12:15 | 3.74 | -1231.68 | 9.26 | 0 | 0 | -1.03 | -35.05 | 9.35 | 0
12:15 - 12:30 | 3.74 | -1230.98 | 32.75 | 0 | 0 | -1.03 | -35.05 | 9.35 | 0
12:30 - 12:45 | 3.74 | -1157.16 | 32.75 | 0 | 0 | -1.03 | -35.05 | 9.35 | 0
12:45 - 13:00 | 3.74 | -1062.48 | 18.53 | 0 | 0 | -1.03 | -35.05 | 9.35 | 0
13:00 - 13:15 | 3.74 | -1079.63 | 32.75 | 0 | 0 | -1.03 | -35.05 | 9.35 | 0
13:15 - 13:30 | 3.74 | -1112.09 | 32.75 | 0 | 0 | -1.03 | -35.05 | 9.35 | 0
13:30 - 13:45 | 3.74 | -1218.82 | 32.75 | 0 | 9.35 | -1.03 | -35.05 | 9.35 | 0
13:45 - 14:00 | 3.74 | -1398.63 | 32.75 | 0 | 9.35 | -1.03 | -35.05 | 9.35 | 0
14:00 - 14:15 | 3.74 | -1475 | 0 | 0 | 0 | -1.03 | -35.05 | 9.35 | 0
14:15 - 14:30 | 3.74 | -1475 | 32.75 | 0 | 0 | -1.03 | -35.05 | 9.35 | 0
14:30 - 14:45 | 3.74 | -1541.45 | 0 | 0 | 0 | -1.03 | -35.05 | 9.35 | 0
14:45 - 15:00 | 3.74 | -1600 | 0 | 0 | 0 | -1.03 | -35.05 | 9.35 | 0
15:00 - 15:15 | 3.74 | -1500 | 0 | 0 | 0 | -3.09 | -46.39 | 0 | 0
15:15 - 15:30 | 3.74 | -1500 | 0 | 0 | 0 | -3.09 | -46.39 | 0 | 0
15:30 - 15:45 | 3.74 | -1800 | 0 | 0 | 0 | -3.09 | -46.39 | 0 | 0
15:45 - 16:00 | 3.74 | -1800 | 0 | 0 | 0 | -3.09 | -46.39 | 0 | 0
16:00 - 16:15 | 0 | -1450 | 0 | 0 | 0 | -3.09 | -46.39 | 0 | 0
16:15 - 16:30 | 0 | -1450 | 0 | 0 | 0 | -3.09 | -46.39 | 0 | 0
16:30 - 16:45 | 0 | -1450 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 0
16:45 - 17:00 | 0 | -1450 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 0
17:00 - 17:15 | -20.62 | -1200 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 0
17:15 - 17:30 | -20.62 | -1125 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 0
17:30 - 17:45 | -20.62 | -850 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 0
17:45 - 18:00 | -20.62 | -800 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 0
18:00 - 18:15 | 0 | -350 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 0
18:15 - 18:30 | 0 | -300 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 0
18:30 - 18:45 | 0 | -175 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 0
18:45 - 19:00 | 0 | -100 | 0 | -144.33 | 0 | -3.09 | -46.39 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | -144.33 | 0 | -3.09 | -1.44 | 0 | 0
Average | -1.0567 | -592.6466 | 5.0655 | -94.7166 | 0.68177 | -2.6608 | -30.9171 | 1.9479 | 15.2336

## GDAM
GDAM TRADING DETAILS FOR DT:06.09.2026
Time Period | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.66
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.62
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.37
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.34
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.95
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.87
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.86
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.96
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.98
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.85
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.03
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.21
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.79
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.69
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.52
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.34
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.33
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.26
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.04
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.21
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01
06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0.54
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0.79
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 1.23
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 1.27
07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 3.82
07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 4.86
07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 38.83
07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 64.84
08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0
08:45 - 09:00 | 0 | 14.04 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0
09:00 - 09:15 | 0 | 14.04 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0
09:15 - 09:30 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
09:30 - 09:45 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
09:45 - 10:00 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
10:00 - 10:15 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
10:15 - 10:30 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
10:30 - 10:45 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
10:45 - 11:00 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
11:00 - 11:15 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
11:15 - 11:30 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
11:30 - 11:45 | 0 | 14.04 | 30.87 | 9.35 | 6.08 | 0 | 0 | -3.09 | 0
11:45 - 12:00 | 0 | 14.04 | 31.81 | 9.35 | 6.08 | 0 | 0 | -3.09 | 0
12:00 - 12:15 | 23.48 | 14.04 | 28.99 | 9.35 | 6.08 | 0 | 0 | -3.09 | 0
12:15 - 12:30 | 0 | 14.04 | 0 | 9.35 | 6.08 | 0 | 0 | -3.09 | 0
12:30 - 12:45 | 0 | 14.04 | 0.82 | 9.35 | 6.08 | 0 | 0 | -3.09 | 0
12:45 - 13:00 | 14.22 | 14.04 | 24.32 | 9.35 | 6.08 | 0 | 0 | -3.09 | 0
13:00 - 13:15 | 0 | 14.04 | 0 | 9.35 | 6.08 | 0 | 0 | -3.09 | 0
13:15 - 13:30 | 0 | 14.04 | 0 | 9.35 | 6.08 | 0 | 0 | -3.09 | 0
13:30 - 13:45 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
13:45 - 14:00 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
14:00 - 14:15 | 32.74 | 14.04 | 27.13 | 9.35 | 6.08 | 3.74 | 4.68 | -3.09 | 0
14:15 - 14:30 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
14:30 - 14:45 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
14:45 - 15:00 | 0 | 14.04 | 3.74 | 9.35 | 6.08 | 0 | 0 | -3.09 | 0
15:00 - 15:15 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
15:15 - 15:30 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
15:30 - 15:45 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
15:45 - 16:00 | 0 | 14.03 | 0 | 0 | 6.08 | 0 | 0 | -3.09 | 0
16:00 - 16:15 | 0 | 9.35 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | 0.73375 | 4.3369 | 1.5383 | 0.97396 | 1.71 | 0.038958 | 0.04875 | -1.545 | 1.9689

## RTM
RTM TRADING DETAILS FOR DT: 06.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Maithan_Ispat_Limited_MPL | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Paradeep_Phosphates_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -1.65 | 0 | -1.24 | 0 | 0 | -100 | 0 | 0 | -134.02 | 0 | -3.61 | 0 | 0 | 0 | -3.3 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
00:15 - 00:30 | -1.65 | 0 | -1.24 | 0 | 0 | -150 | 0 | 0 | -134.02 | 0 | -3.61 | 0 | 0 | 0 | -3.3 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
00:30 - 00:45 | -1.65 | 0 | -1.34 | 0 | 0 | -50 | 0 | 0 | -123.71 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
00:45 - 01:00 | -1.65 | 0 | -1.34 | 0 | 0 | -50 | 0 | 0 | -123.71 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
01:00 - 01:15 | -1.65 | 0 | -1.34 | 0 | 0 | -100 | 0 | 0 | -61.86 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
01:15 - 01:30 | -1.65 | 0 | -1.34 | 0 | 0 | -100 | 0 | 0 | -61.86 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
01:30 - 01:45 | -1.65 | 0 | -1.34 | 0 | 0 | -50 | 0 | 0 | -61.86 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -3.09 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
01:45 - 02:00 | -1.65 | 0 | -1.34 | 0 | 0 | -50 | 0 | 0 | -61.86 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -3.09 | 0 | -4.12 | -15.46 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
02:00 - 02:15 | -1.65 | -4.12 | -1.34 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -1.03 | 0 | -4.12 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
02:15 - 02:30 | -1.65 | 0 | -1.34 | 0 | 0 | -50 | 0 | 0 | 0 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -1.03 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
02:30 - 02:45 | -1.65 | 0 | -1.34 | 0 | 0 | -50 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -1.03 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
02:45 - 03:00 | -1.65 | 0 | -1.34 | 0 | 0 | -50 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -1.03 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
03:00 - 03:15 | -1.65 | 0 | -1.44 | 0 | 0 | 0 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
03:15 - 03:30 | -1.65 | 0 | -1.44 | 0 | 0 | 0 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
03:30 - 03:45 | -1.65 | -4.12 | -1.44 | 0 | 0 | -50 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
03:45 - 04:00 | -1.65 | 0 | -1.44 | 0 | 0 | -50 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
04:00 - 04:15 | -1.65 | 0 | -1.44 | 0 | 0 | -50 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
04:15 - 04:30 | -1.65 | 0 | -1.44 | 0 | 0 | -50 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
04:30 - 04:45 | -1.65 | 0 | -1.44 | 0 | 0 | -50 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -2.06 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
04:45 - 05:00 | -1.65 | 0 | -1.44 | 0 | 0 | -50 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -2.06 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06
05:00 - 05:15 | -1.65 | 0 | -1.44 | 0 | 0 | 0 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -2.06 | 0 | -4.12 | -5.15 | 0 | 0 | 0 | 0 | 0 | 3.46 | -2.06
05:15 - 05:30 | -1.65 | 0 | -1.44 | 0 | 0 | 0 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -2.06 | 0 | -4.12 | -8.25 | 0 | 0 | 0 | 0 | 0 | 3.33 | -2.06
05:30 - 05:45 | -1.65 | -2.06 | -1.44 | 0 | 0 | 0 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 31.57 | -2.06
05:45 - 06:00 | -1.65 | -3.09 | -1.44 | 0 | 0 | 0 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | 0 | -3.61 | -2.06 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | -5.15 | 0 | 0 | 0 | 0 | 0 | 33.93 | -2.06
06:00 - 06:15 | -1.65 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | -41.24 | 0 | -3.61 | 0 | 0 | 0 | -8.25 | -2.06 | 0 | 0 | 0 | 0 | -10.31 | 0 | -4.12 | -20.62 | 0 | 0 | 0 | 0 | 0 | 19.52 | -10.31
06:15 - 06:30 | -1.65 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | -41.24 | 0 | -3.61 | 0 | 0 | -0.21 | -8.25 | -2.06 | 0 | 0 | 0 | 0 | -10.31 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 19.24 | -10.31
06:30 - 06:45 | -1.65 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | -0.52 | -5.15 | -2.06 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 10.73 | -12.37
06:45 - 07:00 | -1.65 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | -1.03 | -5.15 | -2.06 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | -12.37
07:00 - 07:15 | -1.65 | -2.06 | -1.55 | 0 | 0 | 0 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | -1.34 | -5.15 | -2.06 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 21.77 | -12.37
07:15 - 07:30 | -1.65 | -3.09 | -1.55 | 0 | 0 | 0 | 0 | 0 | -51.55 | 0 | -3.61 | 0 | 0 | -1.75 | -5.15 | -2.06 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 27.24 | -12.37
07:30 - 07:45 | -1.65 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.61 | 0 | 0 | -2.06 | 0 | -2.06 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | -41.24 | 0 | 0 | 0 | 0 | 0 | 0 | -12.37
07:45 - 08:00 | -1.65 | 0 | -1.55 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | -3.61 | 0 | 0 | -2.47 | 0 | -2.06 | 0 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0 | -12.37
08:00 - 08:15 | -1.65 | 0 | -1.55 | 0 | 0 | 289.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.78 | 0 | -2.06 | 0 | 0 | 0 | 0 | -5.15 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 70.26 | -5.15
08:15 - 08:30 | -1.65 | 0 | -1.55 | 0 | 0 | 144.66 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -2.06 | 0 | 0 | 6.55 | 0 | -5.15 | 0 | -4.12 | 0 | 0 | 8.42 | 0 | 0 | 0 | 26.75 | -5.15
08:30 - 08:45 | -1.65 | -3.96 | 0 | 0 | 0 | 0 | 5.42 | 10.29 | 0 | 9.35 | 0 | 0 | 0 | 0 | 0 | -2.58 | 22.46 | 6.55 | 6.55 | 18.71 | 0 | 0 | 0 | 0 | 9.35 | 8.42 | 28.07 | 2.8 | 5.14 | 0 | 0
08:45 - 09:00 | -1.65 | 0 | 0 | 0 | 0 | 0 | 4.77 | 10.29 | 0 | 9.35 | 0 | 0 | 0 | 0 | 0 | -2.58 | 22.46 | 6.55 | 6.55 | 18.71 | 0 | 0 | 0 | 0 | 9.35 | 8.42 | 28.07 | 2.8 | 5.14 | 0 | 0
09:00 - 09:15 | -1.65 | 0 | 0 | 0 | 0 | 480.22 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -2.58 | 18.71 | 1.45 | 6.55 | 18.71 | -5.15 | 0 | -4.12 | -36.08 | 0 | 8.42 | 28.06 | 0 | 0 | 0 | 0
09:15 - 09:30 | -1.65 | 0 | 0 | 0 | 0 | 505.54 | 0 | 10.29 | 0 | 9.35 | 0 | 0 | 0 | -4.54 | 0 | -2.58 | 22.46 | 6.55 | 6.55 | 18.71 | -5.15 | 0 | -4.12 | 0 | 0 | 8.42 | 60.81 | 2.8 | 5.14 | 26.67 | 0
09:30 - 09:45 | -1.65 | 0 | 0 | 0 | 0 | 570.91 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | -4.74 | 0 | -2.58 | 18.71 | 0 | 11.22 | 18.71 | -5.15 | 1.87 | -4.12 | 0 | 0 | 8.42 | 60.81 | 0 | 0 | 0 | 0
09:45 - 10:00 | -1.65 | 0 | 0 | 0 | 0 | 584.41 | 0 | 10.29 | 0 | 9.35 | 0 | 0 | 0 | -2.06 | 0 | -2.58 | 18.71 | 6.55 | 11.22 | 18.71 | -5.15 | 1.87 | -4.12 | -41.24 | 0 | 8.42 | 60.81 | 2.8 | 5.14 | 0 | 0
10:00 - 10:15 | -1.65 | -5.15 | 0 | 3.74 | 0 | 364.51 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | 3.37 | 0 | -2.58 | 13.1 | 6.55 | 11.22 | 18.71 | -5.15 | 1.87 | -4.12 | -10.31 | 0 | 8.42 | 60.81 | 2.8 | 5.14 | 195.51 | 0
10:15 - 10:30 | -1.65 | 0 | 0 | 3.74 | 0 | 382.1 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | 3.28 | 0 | -2.58 | 13.1 | 6.55 | 11.22 | 18.71 | -5.15 | 1.87 | -4.12 | 0 | 0 | 8.42 | 60.81 | 2.8 | 5.14 | 231.06 | 0
10:30 - 10:45 | -1.65 | 0 | 0 | 0 | 0 | 764.78 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | 3.18 | 0 | -2.58 | 9.35 | 6.55 | 11.22 | 15.9 | -2.06 | 1.87 | -4.12 | -46.39 | 0 | 8.42 | 70.16 | 2.8 | 5.14 | 280.64 | 0
10:45 - 11:00 | -1.65 | 0 | 0 | 3.74 | 0 | 908.87 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | 3.18 | 0 | -2.58 | 13.1 | 6.55 | 11.22 | 15.9 | -2.06 | 1.87 | -4.12 | 0 | 0 | 8.42 | 70.16 | 2.8 | 5.14 | 282.51 | 0
11:00 - 11:15 | -1.65 | 0 | 0 | 0 | 0 | 667.94 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | 3.08 | 0 | -2.58 | 9.35 | 6.55 | 11.22 | 15.9 | -3.09 | 1.87 | -4.12 | 0 | 0 | 8.42 | 70.16 | 2.8 | 5.14 | 278.77 | 0
11:15 - 11:30 | -1.65 | 0 | 0 | 3.74 | 0 | 775.33 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | 3.18 | 0 | -2.58 | 13.1 | 6.55 | 11.22 | 15.9 | -3.09 | 1.87 | -4.12 | -20.62 | 0 | 8.42 | 70.16 | 2.8 | 5.14 | 276.9 | 0
11:30 - 11:45 | -1.65 | -5.15 | 0 | 0 | 0 | 667.92 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | 3.18 | 0 | -2.58 | 9.35 | 6.55 | 11.22 | 15.9 | -3.09 | 1.87 | -4.12 | 0 | 0 | 8.42 | 70.16 | 2.8 | 5.14 | 276.9 | 0
11:45 - 12:00 | -1.65 | 0 | 0 | 0 | 0 | 571.84 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | 3.18 | 0 | -2.58 | 9.35 | 6.55 | 11.22 | 15.9 | -3.09 | 1.87 | -4.12 | 0 | 0 | 8.42 | 70.16 | 2.8 | 5.14 | 276.9 | 0
12:00 - 12:15 | -1.65 | 0 | 0 | 3.74 | 0 | 482.35 | 5.52 | 10.29 | 0 | 0 | 0 | 0 | 0 | 3.28 | 0 | -2.58 | 13.1 | 6.55 | 11.22 | 15.9 | -3.09 | 1.87 | -4.12 | -6.19 | 9.35 | 8.42 | 70.16 | 2.8 | 5.14 | 276.9 | 0
12:15 - 12:30 | -1.65 | 0 | 0 | 3.74 | 0 | 588.31 | 4.11 | 10.29 | 0 | 0 | 0 | 0 | 0 | 3.28 | 0 | -2.58 | 13.1 | 6.55 | 11.22 | 15.9 | 0 | 1.87 | 0 | -30.93 | 9.35 | 8.42 | 70.16 | 2.8 | 5.14 | 276.9 | 0
12:30 - 12:45 | -1.65 | 0 | 0 | 3.74 | 0 | 506.37 | 3.28 | 10.29 | 0 | 0 | 0 | 0 | 0 | 3.37 | 0 | -2.58 | 13.1 | 6.55 | 11.22 | 15.9 | -8.25 | 1.87 | -4.12 | -10.31 | 9.35 | 8.42 | 79.51 | 2.8 | 5.14 | 276.9 | 0
12:45 - 13:00 | -1.65 | 0 | 0 | 3.74 | 0 | 554.74 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | 3.37 | 0 | -2.58 | 13.1 | 6.55 | 11.22 | 15.9 | -8.25 | 1.87 | -4.12 | 0 | 0 | 8.42 | 79.51 | 2.8 | 5.14 | 276.9 | 0
13:00 - 13:15 | -1.65 | -5.15 | 0 | 3.74 | 0 | 575.61 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | 3.46 | 0 | -2.58 | 13.1 | 6.55 | 11.22 | 15.9 | -8.25 | 1.87 | -4.12 | 0 | 0 | 8.42 | 79.51 | 2.8 | 5.14 | 287.19 | 0
13:15 - 13:30 | -1.65 | 0 | 0 | 3.74 | 0 | 595.52 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | 3.65 | 0 | -2.58 | 13.1 | 6.55 | 11.22 | 15.9 | -8.25 | 1.87 | -4.12 | 0 | 0 | 8.42 | 79.51 | 2.8 | 5.14 | 287.19 | 0
13:30 - 13:45 | -1.65 | 0 | 0 | 3.74 | 0 | 548.04 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | -1.75 | 0 | -2.58 | 9.35 | 6.55 | 11.22 | 15.9 | -8.25 | 1.87 | -4.12 | 0 | 0 | 8.42 | 79.51 | 2.8 | 5.14 | 286.26 | 0
13:45 - 14:00 | -1.65 | 0 | 0 | 3.74 | 0 | 544.88 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | -4.23 | 0 | -2.58 | 9.35 | 6.55 | 11.22 | 15.9 | -8.25 | 1.87 | -4.12 | -20.62 | 0 | 8.42 | 79.51 | 2.8 | 5.14 | 287.19 | 0
14:00 - 14:15 | -1.65 | 0 | 0 | 3.74 | 0 | 610.77 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | -4.02 | 0 | -2.58 | 11.22 | 6.55 | 11.22 | 15.9 | -14.43 | 1.87 | -4.12 | -20.62 | 0 | 8.42 | 79.51 | 0 | 2.91 | 162.07 | 0
14:15 - 14:30 | -1.65 | -5.15 | 0 | 3.74 | 0 | 707.2 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | -3.61 | 0 | -2.58 | 11.22 | 6.55 | 11.22 | 15.9 | -8.25 | 1.87 | -4.12 | 0 | 0 | 8.42 | 79.51 | 0 | 2.94 | 144.24 | 0
14:30 - 14:45 | -1.65 | 0 | 0 | 3.74 | 0 | 603.63 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | -3.2 | 0 | -2.58 | 11.22 | 0 | 5.62 | 15.9 | -8.25 | 1.87 | -4.12 | 0 | 0 | 8.42 | 79.51 | 0 | 0 | 0 | 0
14:45 - 15:00 | -1.65 | 0 | 0 | 3.74 | 0 | 594.65 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | -2.89 | 0 | -2.58 | 11.22 | 0 | 5.62 | 15.9 | -8.25 | 1.87 | -4.12 | 0 | 0 | 8.42 | 70.16 | 0 | 0 | 0 | 0
15:00 - 15:15 | -1.65 | 0 | 0 | 0 | 0 | 505.88 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | -2.47 | 0 | -2.58 | 6.55 | 0 | 5.62 | 0 | 0 | 0 | -4.12 | 0 | 0 | 8.42 | 0 | 0 | 0 | 0 | 0
15:15 - 15:30 | -1.65 | 0 | 0 | 3.74 | 0 | 531.4 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | -2.27 | 0 | -2.58 | 6.55 | 0 | 5.62 | 0 | 0 | 1.87 | -4.12 | -30.93 | 0 | 8.42 | 0 | 0 | 0 | 0 | 0
15:30 - 15:45 | -1.65 | 0 | 0 | 3.74 | 0 | 877.47 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -2.58 | 6.55 | 0 | 5.62 | 15.9 | 0 | 1.87 | -4.12 | -15.46 | 0 | 8.42 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | -1.65 | 0 | 0 | 0 | 0 | 955.71 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | -2.58 | 6.55 | 0 | 5.62 | 0 | 0 | 1.87 | -4.12 | 0 | 0 | 8.42 | 0 | 0 | 0 | 6.55 | 0
16:00 - 16:15 | -1.65 | -4.12 | -1.24 | 2.34 | 14.04 | 337.54 | 0 | 4.68 | 0 | 0 | -3.61 | 14.97 | -1.03 | -1.86 | 0 | -2.58 | 20.58 | 6.55 | 5.62 | 15.9 | 0 | 1.87 | -4.12 | -8.25 | 0 | 8.42 | 56.12 | 0 | 5.14 | 285.37 | 0
16:15 - 16:30 | -1.65 | 0 | -1.24 | 2.34 | 14.04 | 333.65 | 0 | 4.68 | 0 | 0 | -3.61 | 14.97 | -1.03 | -1.44 | 0 | -2.58 | 20.58 | 0 | 5.62 | 15.9 | 0 | 1.87 | -4.12 | -8.25 | 0 | 8.42 | 56.12 | 0 | 5.14 | 77.65 | 0
16:30 - 16:45 | -1.65 | 0 | -1.24 | 0 | 14.04 | 481.74 | 0 | 5.45 | 0 | 0 | -3.61 | 0 | -1.03 | -1.34 | 0 | -2.58 | 6.55 | 0 | 2.98 | 0 | -4.12 | 0 | -4.12 | 0 | 0 | 4.46 | 0 | 0 | 0 | 122.55 | 0
16:45 - 17:00 | -1.65 | 0 | -1.24 | 0 | 14.04 | 237.64 | 0 | 0 | 0 | 0 | -3.61 | 0 | -1.03 | -0.82 | 0 | -2.58 | 6.55 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 168.38 | 0
17:00 - 17:15 | -1.65 | 0 | -1.34 | 0 | 14.04 | 151.4 | 0 | 10.29 | 0 | 0 | -3.61 | 0 | -1.03 | -0.41 | 0 | -2.58 | 6.55 | 0 | 5.62 | 0 | -4.12 | 0 | -4.12 | -20.62 | 0 | 8.42 | 0 | 0 | 0 | 209.54 | 0
17:15 - 17:30 | -1.65 | -4.12 | -1.34 | 0 | 14.04 | 103.99 | 0 | 0 | 0 | 0 | -3.61 | 0 | -1.03 | -0.1 | 0 | -2.58 | 6.55 | 0 | 0 | 0 | -4.12 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 239.47 | 0
17:30 - 17:45 | -1.65 | 0 | -1.55 | 0 | 13.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -2.58 | 6.53 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 273.14 | 0
17:45 - 18:00 | -1.65 | 0 | -1.55 | 0 | 10.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -2.58 | 4.86 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | -15.46 | 0 | 0 | 0 | 0 | 0 | 233.97 | 0
18:00 - 18:15 | -1.65 | 0 | -1.44 | 0 | 4.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -2.58 | 2.28 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 526.74 | 0
18:15 - 18:30 | -1.65 | 0 | -1.44 | 0 | 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | -2.58 | 1.51 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 428.9 | 0
18:30 - 18:45 | -1.65 | 0 | -1.44 | 0 | 1.09 | -125 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -1.55 | -2.58 | 0.5 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | -30.93 | 0 | 0 | 0 | 0 | 0 | 219.87 | 0
18:45 - 19:00 | -1.65 | 0 | -1.44 | 0 | 0.93 | -175 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -1.55 | -2.58 | 0.44 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | -6.19 | 0 | 0 | 0 | 0 | 0 | 209.1 | 0
19:00 - 19:15 | -1.65 | 0 | -1.44 | -2.06 | 0.59 | -175 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -2.06 | 0 | 0.27 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 226.07 | 0
19:15 - 19:30 | -1.65 | 0 | -1.44 | -2.06 | 0.44 | -150 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -2.06 | 0 | 0.2 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 216.54 | 0
19:30 - 19:45 | -1.65 | 0 | -1.44 | -2.06 | 0.38 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.3 | -2.58 | 0.17 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 24.86 | 0
19:45 - 20:00 | -1.65 | 0 | -1.44 | -2.06 | 0.4 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.3 | -2.58 | 0.18 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | -10.31 | 0 | 0 | 0 | 0 | 0 | 26.19 | 0
20:00 - 20:15 | -1.65 | 0 | -1.44 | -2.06 | 0.3 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.3 | -2.58 | 0.14 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | -46.39 | 0 | 0 | 0 | 0 | 0 | 70.65 | -1.03
20:15 - 20:30 | -1.65 | 0 | -1.44 | -2.06 | 0.3 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.3 | -2.58 | 0.14 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | -46.39 | 0 | 0 | 0 | 0 | 0 | 70.84 | -1.03
20:30 - 20:45 | -1.65 | 0 | -1.44 | -2.06 | 0.25 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.3 | -2.58 | 0.13 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | -30.93 | 0 | 0 | 0 | 0 | 0 | 20.53 | -1.03
20:45 - 21:00 | -1.65 | 0 | -1.44 | -2.06 | 0.24 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.3 | -2.58 | 0.12 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | -10.31 | 0 | 0 | 0 | 0 | 0 | 19.45 | -1.03
21:00 - 21:15 | -1.65 | 0 | -1.44 | -2.06 | 0.29 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.61 | -2.58 | 0.14 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | -10.31 | 0 | 0 | 0 | 0 | 0 | 95.07 | -2.06
21:15 - 21:30 | -1.65 | 0 | -1.44 | -2.06 | 0.32 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.61 | -2.58 | 0.15 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | -10.31 | 0 | 0 | 0 | 0 | 0 | 97.65 | -2.06
21:30 - 21:45 | -1.65 | 0 | -1.44 | -2.06 | 0.37 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.61 | -2.58 | 0 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | -15.46 | 0 | 0 | 0 | 0 | 0 | 77.89 | -2.06
21:45 - 22:00 | -1.65 | 0 | -1.44 | -2.06 | 0.39 | -350 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.61 | -2.58 | 0 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | -15.46 | 0 | 0 | 0 | 0 | 0 | 79.46 | -2.06
22:00 - 22:15 | -1.65 | 0 | -1.44 | -2.06 | 0.46 | -500 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.61 | -2.58 | 0 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | -8.25 | 0 | 0 | 0 | 0 | 0 | 73.88 | -2.06
22:15 - 22:30 | -1.65 | 0 | -1.44 | -2.06 | 0.42 | -499.99 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.61 | -2.58 | 0 | 0 | 0 | 0 | -7.22 | 0 | -4.12 | -25.77 | 0 | 0 | 0 | 0 | 0 | 71.41 | -2.06
22:30 - 22:45 | -1.65 | 0 | -1.44 | -2.06 | 0.42 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.61 | -2.58 | 0 | 0 | 0 | 0 | -10.31 | 0 | -4.12 | -20.62 | 0 | 0 | 0 | 0 | 0 | 127.29 | -2.06
22:45 - 23:00 | -1.65 | 0 | -1.44 | -2.06 | 0.44 | -249.99 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.61 | -2.58 | 0 | 0 | 0 | 0 | -10.31 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 129.07 | -2.06
23:00 - 23:15 | -1.65 | 0 | -1.44 | -2.06 | 0.43 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.61 | -1.03 | 0 | 0 | 0 | 0 | -10.31 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 128.15 | -2.06
23:15 - 23:30 | -1.65 | 0 | -1.44 | -2.06 | 0.45 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.61 | -1.03 | 0 | 0 | 0 | 0 | -10.31 | 0 | -4.12 | -30.93 | 0 | 0 | 0 | 0 | 0 | 129.55 | -2.06
23:30 - 23:45 | -1.65 | 0 | -1.44 | -2.06 | 0.48 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.61 | -1.03 | 0 | 0 | 0 | 0 | -10.31 | 0 | -4.12 | -10.31 | 0 | 0 | 0 | 0 | 0 | 44.22 | -2.06
23:45 - 24:00 | -1.65 | 0 | -1.44 | -2.06 | 0.54 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | -3.61 | -1.03 | 0 | 0 | 0 | 0 | -10.31 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 50.63 | -2.06
Average | -1.65 | -0.53479 | -0.97875 | 0.32083 | 1.3198 | 127.936 | 0.24063 | 3.5843 | -18.4717 | 0.38958 | -1.429 | 0.31188 | -0.34333 | -0.2 | -2.0152 | -2.2775 | 4.8626 | 1.5844 | 3.2366 | 5.0373 | -4.8857 | 0.52594 | -3.9054 | -8.5803 | 0.48698 | 3.0285 | 19.245 | 0.58333 | 1.2389 | 101.417 | -1.9106