## POWER STATUS
POWER STATUS ON DT 08.09.2026
[9 empty] | 2026-09-08 | 2026-09-07
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 21:00
Demand -> | [8 empty] | 5643.4849 | 6485.2624
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 208.41 | 5.0018 | 630/590 ft | 626.91 | 628.17 | 628.33 | 188.4071 | 236.3107
| Chiplima | 72(3x24) | 53.75 | 1.29 | - |  |  |  | 60.8709 | 57.0825
| Balimela | 510(6x60+2x75) | 31.625 | 0.759 | 1516/1440 ft | 1486.9 | 1476.6 | 1476.8 | 59.1016 | 118.6946
| Rengali | 250(5x50) | 246.84 | 5.9242 | 123.5/109.75 mt | 122.5 | 122.41 | 122.45 | 247.5066 | 244.4639
| Upper Kolab | 320(4x80) | 51.67 | 1.2401 | 858/844 mt | 855.61 | 852.52 | 852.54 | 0 | 42.8843
| Upper Indravati | 600(4x150) | 560.81 | 13.4594 | 642/625 mt | 637.41 | 640.01 | 640 | 597.9761 | 489.394
| Machkund | 60(50% of(3x17+3x23)) | 13.47 | 0.32328 | 2750/2685 ft | 2748.15 | 2731.65 | 2731.7 | 10.3587 | 11.7319
| Total Hydro | 2099.5 | 1166.575 | 27.9978 |  |  |  |  | 1164.2209 | 1200.5618
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1725.9 | 41.4216 | RENEWABLE ENERGY (RE) |  |  |  | 1736 | 1730
[5 empty] | M.Hydl | 119.5
| Total Thermal | 2200 | 1725.9 | 41.4216 | Solar | 100.6 |  |  | 1736 | 1730
IPP | VEDANTA #2 | 600 (1x600) | 423.5725 | 10.1657 | Total IPPs | Yesterday's Demand Profile |  |  | 394.2184 | 544.7844
| GMR #3 | 350 (1x350) | 314.9433 | 7.5586 | 787.3499 |  | MW | HRS | 328.8846 | 331.4679
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 48.8341 | 1.172 |  |  |  |  | 56.5861 | 56.5509
| CGPs |  | 1107.9282 | 26.5903 | IPPs, CGPs & RE | Maximum | 6457 | 21.00 | 2121.885 | 2270.5842
| Central Sector(Drawl) |  | 874.9788 | 20.9995 | 2115.3781 | Minimum | 5321 | 08.00 | 621.3789 | 1284.1163
| Central Sector(Sch) |  | 928.2158 | 22.2772 |  | Average | 5882.8319 |  | 619.78 | 1323.05
| Grand Total |  | 5882.8319 | 141.188 | Instantaneous Peak demand |  | 6738 | 511:12 | 5643.4849 | 6485.2624
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1745.2948 | 41.8871 | 1781.0374 | 42.7449 | 1698.9775 | 40.7755
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1659.9337 | 39.8384 | 1714.4024 | 41.1457 | 1591.0609 | 38.1855
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1415.1252 | 33.963 | 1391.3333 | 33.392 | 1361.1634 | 32.6679
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 635.5438 | 15.2531 | 636.9658 | 15.2872 | 653.9416 | 15.6946
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5455.8975 | 130.9415 | 5523.739 | 132.5697 | 5305.1435 | 127.3234
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | 3
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 399.5117 | GMR |  |  |  | 326.6922
| NBVL #3 |  | MDTPC |  |  |  | 33.5725
Mini Hydel: | MEENAKSHI | 39.8434 | OPCL |  |  |  | 0
| BTPL | 28 | SAPTADHARA |  |  |  | 12.0176
Solar: |  | 169.111 | KAKATIYA |  |  |  | 7.3869
CGPs : | JSPL (Angul) | 523.6793 | JSL(Duburi) |  |  |  | -65.6591
| ICCL | 47.2176 | visa |  |  |  | 20.512
| NALCO | -130.6178 | VAL (CGP) |  |  |  | 104.8496
| RSP | -102.7848 | BSL(MMDL) |  |  |  | 53.6398
| INDAL | -5.7244 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -35.1809 | VAL CPP 400 kV |  |  |  | -330.8137
| NBVL | 54.015 | Arati |  |  |  | 9.5257
| BPSL(JSG) | -31.5431 | BPPL |  |  |  | 120.7234
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-08-31 | 2026-09-01 | 2026-09-02 | 2026-09-03 | 2026-09-04 | 2026-09-05 | 2026-09-06 | 2026-09-07
1153.78 | 1121.5208 | 1184.9895 | 1168.7978 | 1153.39 | 1158.9236 | 1151.6823 | 1166.575
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.07.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | -20 | AARTISTEEL | UPPCL | -6 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 1.09
AMNSIL_Pdeep | AMNSIL | -2.92 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | AGE26AL_PSS6_KPS1_S | ODISHA | 128.92
ARYAN_ISPAT | BALCO_LOAD | -5 | DCBL_Rajgangpur | DCBLME | -6.5 | AP41PL_BHDL | ODISHA | 59.28
ENVIROCARE_INFRA | APCPDCL | -13 | DCBL_Rajgangpur | DCL_RCW | -2.25 | AP43PL_BKN | ODISHA | 90.83
FACORPOWER | RUVITSL | -3.33 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -5.92 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.27
GMRKEL_STU | GEB_Beneficiary | -61.9 | DCBL_Rajgangpur | DalmiaCementNEL2 | -2.12 | AWEK1L | ODISHA | 9.3
GMRKEL_STU | TNEB | -18 | FACORPOWER | PSPCL | -8.75 | AWEK1L | ODISHA | 13.95
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | FACORPOWER | PSPCL | 0 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.67
JPIPL | NPCL_UP | -14 | FACORPOWER | RUVITSL | 0 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 27.05
JSPLANGUL | GEB_Beneficiary | -110 | JSPLANGUL | RUVITSL | -70.83 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 10.21
JSPLANGUL | RUVITSL | -40.62 | JSPLANGUL | RUVITSL | -2.08 | DADRI_SOLAR | ODISHA | 0
JSPLANGUL | RUVITSL | -27.08 | JSPLANGUL | RUVITSL | -3.12 | ENERSON_SOLAR_10MW | ODISHA | 0
MAADURGA_THERMAL | NPCL_UP | -17.26 | JSPLANGUL | RUVITSL | -106.25 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | TANGEDCO | -50 | KCMW_od | DALCEMAP | -0.57 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | AMNSIL | -41.67 | NBVLIPP | BSPHCL | -12.54 | GADAG_GreenInfra_W | ODISHA | 0.4
ODISHA | APCPDCL | -37.5 | NBVLIPP | RUVITSL | -5.38 | GADAG_Serentica3_S | VLSEZ | 40.06
ODISHA | KPTCL | -45.83 | OCL_IRON_STEEL | TPDDL | -5.67 | GADAG_Serentica3_W | VLSEZ | 35.98
ORSISL | BALCO_LOAD | -5 | OCL_IRON_STEEL | TPDDL | -2.33 | GADAG_Serentica3_W | VLSEZ | 2.79
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | ODISHA | BRPL | -60.42 | GIWEL_SECI_II_RE | ODISHA | 38.18
VSL | APCPDCL | -5 | ODISHA | DNHDDPDCL | -62.5 | GPCL_SOLAR_10 | ODISHA | 0.85
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | JBVNL | -90 | GSECL_SOLAR | ODISHA | 1.13
JSWEL_UTKAL | ODISHA | 35.22 | ODISHA | NUPLLP | -1 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.58
RAJ_SOLAR | ODISHA | 2.48 | ODISHA | WBSEDCL | -50 | KARUR_TPVARDHAMAN_W | TSKPO | 68.38
RAJ_SOLAR | ODISHA | 2.66 | ORSISL | UPPCL | -2.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | RSPL_JHARSUGUDA | TPL_DIS_AHM | -8 | Kurnool_Greenko_H_Inj | ADITYAAL | 2.15
|  |  | SMEL | PSPCL | -7.29 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | SMEL | PSPCL | -17.71 | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.24
|  |  | Shri_JSPL | KSEB | -2 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | TIMES_STEEL | TPL_DIS_DHOLERA | -2.5 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 2.11
|  |  | TIMES_STEEL | UPPCL | -1.5 | OKWPL_RE | ODISHA | 19.35
|  |  | TSBSLA | TPLD | -10 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 16.96
|  |  | VIRAJ_SEPL | PSPCL | -2.92 | RWE_AP2_SECI_III | ODISHA | 16.96
|  |  | VIRAJ_SEPL | PSPCL | -7.08 | RenewGreen_SLPR_HS | JSL_DUBURI | 17.61
|  |  | VSL | DNHDDPDCL | -5 | SRI9PL_FTG3 | VLSEZ | 95.04
|  |  | VSL | TANGEDCO | -10 | TPVSL_BKN3 | TSKPO | 3.24
|  |  | JIPL | ODISHA | 115.6 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.14
|  |  | JPL2 | VLSEZ | 36.12 | TSESOPL_BKN2 | OPL_CUTTAK | 0.17
|  |  | NALCOAP | NACL_Odisha | 10.05 | Tuticorin_BETAMWIND | ODISHA | 27.52
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 6.28
[6 empty] | XXPPL_FTG3 | ODISHA | 72.84

## DAM
DAM TRADING DETAILS FOR DT : 07.09.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 38.78
00:15 - 00:30 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 42.02
00:30 - 00:45 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 44.12
00:45 - 01:00 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 47.16
01:00 - 01:15 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 48.69
01:15 - 01:30 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 48.95
01:30 - 01:45 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 48.34
01:45 - 02:00 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 48.3
02:00 - 02:15 | 0 | 0 | 0 | -140 | -3 | -46 | 0 | 0 | 59.19
02:15 - 02:30 | 0 | 0 | 0 | -140 | -3 | -46 | 0 | 0 | 15.79
02:30 - 02:45 | 0 | 0 | 0 | -140 | -3 | -46 | 0 | 0 | 18.71
02:45 - 03:00 | 0 | 0 | 0 | -140 | -3 | -46 | 0 | 0 | 19.54
03:00 - 03:15 | 0 | 0 | 0 | -140 | -3 | -46 | 0 | 0 | 25.07
03:15 - 03:30 | 0 | 0 | 0 | -140 | -3 | -46 | 0 | 0 | 26.16
03:30 - 03:45 | 0 | 0 | 0 | -140 | -3 | -46 | 0 | 0 | 27.59
03:45 - 04:00 | 0 | 0 | 0 | -140 | -3 | -46 | 0 | 0 | 27.83
04:00 - 04:15 | 0 | 0 | 0 | -140 | -3 | -46 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | -140 | -3 | -46 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | -140 | -3 | -46 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | -140 | -3 | -46 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
06:00 - 06:15 | -20 | 0 | 0 | -140 | -3 | -3 | 0 | -3 | 0
06:15 - 06:30 | -20 | 0 | 0 | -140 | -3 | -3 | 0 | -3 | 0
06:30 - 06:45 | -20 | 0 | 0 | -140 | -3 | -3 | 0 | -3 | 0
06:45 - 07:00 | -20 | 0 | 0 | -140 | -3 | -3 | 0 | -3 | 0
07:00 - 07:15 | -20 | -150 | 0 | -140 | -3 | -3 | 0 | -3 | 0
07:15 - 07:30 | -20 | -150 | 0 | -140 | -3 | -3 | 0 | -3 | 0
07:30 - 07:45 | -20 | -150 | 0 | -140 | -3 | -3 | 0 | -3 | 0
07:45 - 08:00 | -20 | -150 | 0 | -140 | -3 | -3 | 0 | -3 | 0
08:00 - 08:15 | 0 | -875 | 0 | -140 | -3 | -46 | 0 | -3 | 0
08:15 - 08:30 | 0 | -875 | 0 | -140 | -3 | -46 | 0 | -3 | 0
08:30 - 08:45 | 0 | -875 | 0 | -100 | -3 | -46 | 0 | -3 | 0
08:45 - 09:00 | 0 | -875 | 0 | -70 | -3 | -46 | 0 | -3 | 0
09:00 - 09:15 | 0 | -1000 | 0 | -40 | -3 | -46 | 0 | -3 | 0
09:15 - 09:30 | 0 | -1000 | 0 | 0 | -3 | -46 | 0 | -3 | 0
09:30 - 09:45 | 0 | -1000 | 0 | 0 | -3 | -46 | 0 | -3 | 0
09:45 - 10:00 | 0 | -1000 | 0 | 0 | -3 | -46 | 0 | -3 | 0
10:00 - 10:15 | 0 | -1150 | 0 | 0 | -1 | -46 | 0 | -3 | 0
10:15 - 10:30 | 0 | -1150 | 0 | 0 | -1 | -46 | 0 | -3 | 0
10:30 - 10:45 | 0 | -1150 | 0 | 0 | -1 | -46 | 0 | -3 | 0
10:45 - 11:00 | 0 | -1150 | 0 | 0 | -1 | -46 | 0 | -3 | 0
11:00 - 11:15 | 0 | -1100 | 0 | 0 | -1 | -46 | 0 | -3 | 0
11:15 - 11:30 | 0 | -1100 | 0 | 0 | -1 | -46 | 0 | -3 | 0
11:30 - 11:45 | 0 | -1100 | 0 | 0 | -1 | -46 | 0 | -3 | 0
11:45 - 12:00 | 0 | -1100 | 0 | 0 | -1 | -46 | 0 | -3 | 0
12:00 - 12:15 | 0 | -1325 | 0 | 0 | -1 | -46 | 9.63 | -3 | 0
12:15 - 12:30 | 0 | -1325 | 0 | 0 | -1 | -46 | 9.63 | -3 | 0
12:30 - 12:45 | 0 | -1325 | 0 | 0 | -1 | -46 | 9.63 | -3 | 0
12:45 - 13:00 | 0 | -1325 | 0 | 0 | -1 | -46 | 9.63 | -3 | 0
13:00 - 13:15 | 0 | -1325 | 33.72 | 0 | -1 | -46 | 9.63 | -3 | 0
13:15 - 13:30 | 0 | -1325 | 0 | 0 | -1 | -46 | 9.63 | -3 | 0
13:30 - 13:45 | 0 | -1325 | 0 | 0 | -1 | -46 | 9.63 | -3 | 0
13:45 - 14:00 | 0 | -1325 | 0 | 0 | -1 | -46 | 9.63 | -3 | 0
14:00 - 14:15 | 0 | -1150 | 0 | 0 | -1 | -46 | 0 | -3 | 0
14:15 - 14:30 | 0 | -1150 | 0 | 0 | -1 | -46 | 0 | -3 | 0
14:30 - 14:45 | 0 | -1150 | 0 | 0 | -1 | -46 | 0 | -3 | 0
14:45 - 15:00 | 0 | -1150 | 0 | 0 | -1 | -46 | 0 | -3 | 0
15:00 - 15:15 | 0 | -1075 | 0 | 0 | -3 | -46 | 0 | -3 | 0
15:15 - 15:30 | 0 | -1075 | 0 | 0 | -3 | -46 | 0 | -3 | 0
15:30 - 15:45 | 0 | -1075 | 0 | 0 | -3 | -46 | 0 | -3 | 0
15:45 - 16:00 | 0 | -1075 | 0 | 0 | -3 | -46 | 0 | -3 | 0
16:00 - 16:15 | 0 | -1075 | 0 | -140 | -3 | -46 | 0 | -3 | 0
16:15 - 16:30 | 0 | -1075 | 0 | -140 | -3 | -46 | 0 | -3 | 0
16:30 - 16:45 | 0 | -1075 | 0 | -140 | -3 | -46 | 0 | -3 | 0
16:45 - 17:00 | 0 | -1075 | 0 | -140 | -3 | -46 | 0 | -3 | 0
17:00 - 17:15 | -15 | -775 | 0 | -140 | -3 | -46 | 0 | -3 | 0
17:15 - 17:30 | -15 | -975 | 0 | -140 | -3 | -46 | 0 | -3 | 0
17:30 - 17:45 | -15 | -475 | 0 | -140 | -3 | -46 | 0 | -3 | 0
17:45 - 18:00 | -15 | -475 | 0 | -140 | -3 | -46 | 0 | -3 | 0
18:00 - 18:15 | 0 | -525 | 0 | -140 | -3 | -46 | 0 | 0 | 0
18:15 - 18:30 | 0 | -350 | 0 | -140 | -3 | -46 | 0 | 0 | 0
18:30 - 18:45 | 0 | -225 | 0 | -140 | -3 | -46 | 0 | 0 | 0
18:45 - 19:00 | 0 | -100 | 0 | -140 | -3 | -46 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | -140 | -3 | -3 | 0 | 0 | 0
Average | -2.2917 | -466.6667 | 0.35125 | -98.4375 | -2.5833 | -28.0833 | 0.8025 | -1.5 | 6.1067

## GDAM
GDAM TRADING DETAILS FOR DT:07.09.2026
Time Period | JSW_Sambalpur_Steel_Limited | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 11.69
00:15 - 00:30 | 0 | 0 | 0 | 11.96
00:30 - 00:45 | 0 | 0 | 0 | 12.17
00:45 - 01:00 | 0 | 0 | 0 | 12.48
01:00 - 01:15 | 0 | 0 | 0 | 4.27
01:15 - 01:30 | 0 | 0 | 0 | 4.11
01:30 - 01:45 | 0 | 0 | 0 | 3.81
01:45 - 02:00 | 0 | 0 | 0 | 3.46
02:00 - 02:15 | 0 | 0 | 0 | 3.29
02:15 - 02:30 | 0 | 0 | 0 | 0.89
02:30 - 02:45 | 0 | 0 | 0 | 0.83
02:45 - 03:00 | 0 | 0 | 0 | 0.78
03:00 - 03:15 | 0 | 0 | 0 | 0.8
03:15 - 03:30 | 0 | 0 | 0 | 0.78
03:30 - 03:45 | 0 | 0 | 0 | 0.72
03:45 - 04:00 | 0 | 0 | 0 | 0.63
04:00 - 04:15 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 0 | 0
09:00 - 09:15 | 9.63 | 0 | 0 | 0
09:15 - 09:30 | 9.63 | 0 | 6.26 | 0
09:30 - 09:45 | 9.63 | 0 | 6.26 | 0
09:45 - 10:00 | 9.63 | 0 | 6.26 | 0
10:00 - 10:15 | 9.63 | 0 | 6.26 | 0
10:15 - 10:30 | 9.63 | 0 | 6.26 | 0
10:30 - 10:45 | 9.63 | 0 | 6.26 | 0
10:45 - 11:00 | 9.63 | 0 | 6.26 | 0
11:00 - 11:15 | 9.63 | 0 | 6.26 | 0
11:15 - 11:30 | 9.63 | 0 | 6.26 | 0
11:30 - 11:45 | 9.64 | 9.63 | 6.26 | 0
11:45 - 12:00 | 9.64 | 9.63 | 6.26 | 0
12:00 - 12:15 | 9.63 | 0 | 6.26 | 0
12:15 - 12:30 | 9.63 | 0 | 6.26 | 0
12:30 - 12:45 | 9.63 | 0 | 6.26 | 0
12:45 - 13:00 | 9.63 | 0 | 6.26 | 0
13:00 - 13:15 | 9.63 | 0 | 6.26 | 0
13:15 - 13:30 | 9.63 | 0 | 6.26 | 0
13:30 - 13:45 | 9.63 | 0 | 6.26 | 0
13:45 - 14:00 | 9.63 | 0 | 6.26 | 0
14:00 - 14:15 | 9.63 | 0 | 6.26 | 0
14:15 - 14:30 | 9.63 | 0 | 6.26 | 0
14:30 - 14:45 | 9.63 | 0 | 6.26 | 0
14:45 - 15:00 | 9.63 | 0 | 6.26 | 0
15:00 - 15:15 | 9.63 | 0 | 6.26 | 0
15:15 - 15:30 | 9.63 | 0 | 6.26 | 0
15:30 - 15:45 | 9.63 | 0 | 6.26 | 0
15:45 - 16:00 | 9.63 | 0 | 6.26 | 0
16:00 - 16:15 | 9.63 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0
Average | 2.9093 | 0.20063 | 1.7606 | 0.75698 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## RTM
RTM TRADING DETAILS FOR DT: 07.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Paradeep_Phosphates_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -1.7 | 0 | -1.4 | -2 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | -4 | -12 | 0 | 0 | 0 | 0 | 0 | 196.65 | -2
00:15 - 00:30 | -1.7 | 0 | -1.4 | -2 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 199.01 | -2
00:30 - 00:45 | -1.7 | 0 | -1.4 | -2 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 143.78 | -2
00:45 - 01:00 | -1.7 | 0 | -1.4 | -2 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | -4 | -30 | 0 | 0 | 0 | 0 | 0 | 146.41 | -2
01:00 - 01:15 | -1.7 | 0 | -1.4 | -2 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | -4 | -30 | 0 | 0 | 0 | 0 | 0 | 115.93 | -2
01:15 - 01:30 | -1.7 | 0 | -1.4 | -2 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 118.08 | -2
01:30 - 01:45 | -1.7 | 0 | -1.4 | -2 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | -10 | 0 | 0 | 0 | 0 | 0 | 96.33 | -2
01:45 - 02:00 | -1.7 | 0 | -1.4 | -2 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | -25 | 0 | 0 | 0 | 0 | 0 | 96.33 | -2
02:00 - 02:15 | -1.7 | 0 | -1.4 | -2 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
02:15 - 02:30 | -1.7 | 0 | -1.4 | -2 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -2
02:30 - 02:45 | -1.7 | 0 | -1.4 | -2 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -2
02:45 - 03:00 | -1.7 | -4 | -1.4 | -2 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
03:00 - 03:15 | -1.7 | 0 | -1.4 | -2 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
03:15 - 03:30 | -1.7 | 0 | -1.4 | 0 | 0 | -72.93 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -2
03:30 - 03:45 | -1.7 | 0 | -1.4 | 0 | 0 | -12.4 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
03:45 - 04:00 | -1.7 | 0 | -1.4 | 0 | 0 | -12.39 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
04:00 - 04:15 | -1.7 | 0 | -1.4 | 0 | 0 | -68.09 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
04:15 - 04:30 | -1.7 | -4 | -1.4 | -2 | 0 | -149.99 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | -2
04:30 - 04:45 | -1.7 | 0 | -1.4 | -2 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -2
04:45 - 05:00 | -1.7 | 0 | -1.4 | -2 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
05:00 - 05:15 | -1.7 | 0 | -1.4 | -2 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 3.54 | 0 | 0 | 0 | -3 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
05:15 - 05:30 | -1.7 | 0 | -1.4 | -2 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 3.19 | 0 | 0 | 0 | -3 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
05:30 - 05:45 | -1.7 | -2 | -1.3 | -2 | 0 | -100 | 0 | 0 | -20 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 2.01 | 0 | 0 | 0 | -3 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
05:45 - 06:00 | -1.7 | -2 | -1.3 | -2 | 0 | -300 | 0 | 0 | -20 | 0 | 0 | -1.4 | 0 | 0 | -3.5 | -1 | 1.71 | 0 | 0 | 0 | -3 | 0 | -4 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | -2
06:00 - 06:15 | -1.7 | 0 | -1.4 | -8 | 0 | -150 | 0 | 0 | -20 | -0.2 | 0 | -1.4 | 0 | 0 | -8.5 | -1 | 1.44 | 0 | 0 | 0 | -3 | 0 | -4 | -40 | 0 | 0 | 0 | 0 | 0 | 0 | -5
06:15 - 06:30 | -1.7 | 0 | -1.4 | -8 | 0 | -150 | 0 | 0 | -20 | -0.3 | 0 | -1.4 | 0 | -0.2 | -8.5 | -1 | 1.26 | 0 | 0 | 0 | -3 | 0 | -4 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -5
06:30 - 06:45 | -1.7 | 0 | -1.4 | -8 | 0 | -150 | 0 | 0 | -20 | -0.4 | 0 | -1.4 | 0 | -0.6 | -8.5 | -1 | 1 | 0 | 0 | 0 | -3 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5
06:45 - 07:00 | -1.7 | 0 | -1.4 | -8 | 0 | -125 | 0 | 0 | -20 | -0.6 | 0 | -1.4 | 0 | -1 | -8.5 | -1 | 0.99 | 0 | 0 | 0 | -3 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5
07:00 - 07:15 | -1.7 | -8 | -1.4 | -8 | 0 | -50 | 0 | 0 | -20 | -0.6 | 0 | -1.4 | -2.5 | -1.3 | -8.5 | -1 | 1.01 | 0 | 0 | 0 | -3 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5
07:15 - 07:30 | -1.7 | 0 | -1.4 | -8 | 0 | -50 | 0 | 0 | -20 | -0.8 | 0 | -1.4 | -2.5 | -1.7 | -8.5 | -1 | 1.18 | 0 | 0 | 0 | -3 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5
07:30 - 07:45 | -1.7 | 0 | -1.4 | -8 | 0 | -100 | 0 | 0 | -20 | -0.8 | 0 | -1.4 | -2.5 | -2 | -8.5 | -1 | 2.23 | 0 | 0 | 0 | -5 | 0 | -4 | -40 | 0 | 0 | 0 | 0 | 0 | 0 | -5
07:45 - 08:00 | -1.7 | 0 | -1.4 | -8 | 0 | -200 | 0 | 0 | -20 | -1 | 0 | -1.4 | -2.5 | -2.4 | -8.5 | -1 | 4.02 | 0 | 0 | 0 | -5 | 0 | -4 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | -5
08:00 - 08:15 | -1.7 | 0 | -1.2 | 0 | 0 | 96.33 | 0 | 0 | 0 | -1.2 | 0 | -1.4 | -2.5 | -2.7 | -8.5 | -1.5 | 4.82 | 0 | 0 | 0 | -7 | 0 | -4 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | -2
08:15 - 08:30 | -1.7 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4 | 0 | -1.4 | -2.5 | -2.9 | -8.5 | -1.5 | 4.82 | 0 | 0 | 0 | -7 | 0 | -4 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | -2
08:30 - 08:45 | -1.7 | 0 | 0 | 0 | 0 | -24.55 | 0 | 10.6 | 0 | -1.9 | 9.63 | -1.4 | -2.5 | -3.2 | 0 | -1.5 | 23.12 | 6.74 | 4.82 | 19.27 | -7 | 0 | -4 | -10 | 0 | 8.67 | 62.6 | 4.82 | 10.6 | 0 | -2
08:45 - 09:00 | -1.7 | 0 | 0 | 0 | 0 | -16.31 | 6.84 | 10.6 | 0 | -2.1 | 9.63 | -1.4 | -2.5 | -3.5 | 0 | -1.5 | 23.12 | 6.74 | 4.82 | 19.27 | 0 | 0 | 0 | -10 | 9.63 | 8.67 | 52.97 | 4.82 | 10.6 | 0 | 0
09:00 - 09:15 | -1.7 | 0 | 0 | 3.85 | 0 | 0 | 6.36 | 10.6 | 0 | -2.3 | 9.63 | -1.4 | -2.5 | 0 | 0 | -0.57 | 23.12 | 0 | 4.82 | 19.27 | 0 | 0 | 0 | -30 | 9.63 | 8.67 | 52.97 | 4.82 | 10.6 | 0 | 0
09:15 - 09:30 | -1.7 | 0 | 0 | 3.85 | 0 | 0 | 6.07 | 10.6 | 0 | 0 | 9.63 | -1.4 | -2.5 | 0 | 0 | 0 | 23.12 | 0 | 4.82 | 19.27 | 0 | 0 | 0 | -30 | 9.63 | 8.67 | 81.87 | 4.82 | 10.6 | 0 | 0
09:30 - 09:45 | -1.7 | 0 | 0 | 3.85 | 0 | 21.04 | 0 | 10.6 | 0 | -2.6 | 9.63 | -1.4 | -2.5 | -4.4 | 0 | -1.5 | 23.12 | 0 | 4.82 | 19.27 | -8 | 0 | -4 | -25 | 0 | 8.67 | 81.87 | 4.82 | 10.6 | 0 | 0
09:45 - 10:00 | -1.7 | 0 | 0 | 3.85 | 0 | 0 | 0 | 10.6 | 0 | -2.7 | 9.63 | -1.4 | -2.5 | -1.7 | 0 | -1.5 | 19.27 | 0 | 4.82 | 19.27 | -8 | 0 | -4 | -25 | 0 | 8.67 | 81.86 | 4.82 | 10.6 | 0 | 0
10:00 - 10:15 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 10.59 | 0 | -2.9 | 0 | -1.4 | -2.5 | 0 | 0 | -1.5 | 0 | 0 | 4.82 | 0 | -5 | 0 | -4 | -10 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0
10:15 - 10:30 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 10.59 | 0 | -3.1 | 0 | -1.4 | -2.5 | 0 | 0 | -1.5 | 0 | 0 | 4.82 | 0 | -5 | 0 | -4 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0
10:30 - 10:45 | -1.7 | -3 | 0 | 3.85 | 0 | 14.42 | 0 | 10.6 | 0 | -3 | 0 | -1.4 | -2.5 | 0 | 0 | -1.5 | 0 | -5 | 4.82 | 19.26 | -5 | 0 | -4 | -25 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0
10:45 - 11:00 | -1.7 | 0 | 0 | 3.85 | 0 | 46.74 | 0 | 10.6 | 0 | -3.2 | 0 | -1.4 | -2.5 | 0 | 0 | -1.5 | 17.34 | -5 | 4.82 | 19.27 | -5 | 0 | -4 | -25 | 0 | 8.67 | 77.05 | 0 | 0 | 0 | 0
11:00 - 11:15 | -1.7 | -4 | 0 | 3.85 | 0 | -40.03 | 0 | 10.6 | 0 | -3.2 | 0 | -1.4 | -2.5 | 0 | 0 | -1.5 | 0 | -5 | 4.82 | 19.26 | -3 | 0 | -4 | -25 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0
11:15 - 11:30 | -1.7 | -1 | 0 | 3.85 | 0 | -140.03 | 0 | 10.6 | 0 | -3.3 | 0 | -1.4 | -2.5 | 0 | 0 | -1.5 | 0 | -5 | 4.82 | 19.26 | -3 | 0 | -4 | -25 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0
11:30 - 11:45 | -1.7 | 0 | 0 | 3.28 | 0 | -56.25 | 0 | 10.59 | 0 | -3.5 | 0 | -1.4 | -2.5 | 0 | 0 | -1.5 | 0 | -5 | 4.82 | 0 | -3 | 0 | -4 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0
11:45 - 12:00 | -1.7 | 0 | 0 | 3.85 | 0 | -56.25 | 0 | 10.6 | 0 | -3.3 | 0 | -1.4 | -2.5 | 0 | 0 | -1.5 | 0 | -5 | 4.82 | 0 | -3 | 0 | -4 | -6 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0
12:00 - 12:15 | -1.7 | 0 | 0 | 3.85 | 0 | -152.38 | 0 | 10.6 | 0 | -3.2 | 9.63 | -1.4 | -2.5 | 3.47 | 0 | -1.5 | 7.71 | -5 | 4.82 | 19.27 | 0 | 0 | -4 | -20 | 0 | 8.67 | 77.05 | 4.82 | 10.6 | 0 | 0
12:15 - 12:30 | -1.7 | 0 | 0 | 3.85 | 0 | -153.12 | 0 | 10.6 | 0 | -3.1 | 0 | -1.4 | -2.5 | 0 | 0 | -1.5 | 7.71 | -5 | 4.82 | 19.27 | 0 | 0 | -4 | -20 | 0 | 8.67 | 77.05 | 0 | 10.6 | 0 | 0
12:30 - 12:45 | -1.7 | 0 | 0 | 3.85 | 0 | -161.23 | 0 | 10.6 | 0 | -2.9 | 9.63 | -1.4 | -2.5 | 3.56 | 0 | -1.5 | 7.71 | -5 | 4.82 | 19.27 | 0 | 0 | -4 | -20 | 0 | 8.67 | 28.89 | 4.82 | 10.6 | 0 | 0
12:45 - 13:00 | -1.7 | 0 | 0 | 3.85 | 0 | -105.97 | 0 | 10.6 | 0 | -2.8 | 9.63 | -1.4 | -2.5 | 3.66 | 0 | -1.5 | 11.56 | -5 | 4.82 | 19.27 | 0 | 0 | -4 | -20 | 0 | 8.67 | 28.89 | 4.82 | 10.6 | 0 | 0
13:00 - 13:15 | -1.7 | 0 | 0 | 3.85 | 0 | -84.96 | 0 | 10.6 | 0 | -2.7 | 9.63 | -1.2 | -2.5 | 3.76 | 0 | -1.5 | 13.49 | -5 | 4.82 | 19.27 | 0 | 0 | 0 | -6 | 0 | 8.67 | 28.88 | 4.82 | 10.6 | 0 | 0
13:15 - 13:30 | -1.7 | 0 | 0 | 3.85 | 0 | -128.96 | 0 | 10.6 | 0 | -2.4 | 9.63 | -1.2 | -2.5 | 3.95 | 0 | -1.5 | 13.49 | -5 | 4.82 | 19.25 | 0 | 0 | 0 | 0 | 0 | 8.67 | 14.45 | 4.82 | 10.6 | 0 | 0
13:30 - 13:45 | -1.7 | 0 | 0 | 3.85 | 0 | -309.09 | 0 | 10.6 | 0 | -2.2 | 9.63 | -1.2 | -2.5 | 4.14 | 0 | -1.5 | 13.49 | -5 | 4.82 | 19.26 | 0 | 0 | -1 | 0 | 0 | 8.67 | 14.45 | 4.82 | 10.6 | 0 | 0
13:45 - 14:00 | -1.7 | 0 | 0 | 3.85 | 0 | -385.05 | 0 | 10.6 | 0 | -1.8 | 9.63 | -1.2 | -2.5 | 4.24 | 0 | -1.5 | 9.63 | -5 | 4.82 | 19.26 | 0 | 0 | -1 | -30 | 0 | 8.67 | 14.45 | 4.82 | 10.6 | 0 | 0
14:00 - 14:15 | -1.7 | 0 | 0 | 0.68 | 0 | -400 | 0 | 10.59 | 0 | -1.6 | 0 | -1.2 | -2.5 | 0 | 0 | -1.5 | 0 | -8 | 4.82 | 0 | 0 | 1.93 | -1 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0
14:15 - 14:30 | -1.7 | 0 | 0 | 0 | 0 | -300 | 0 | 10.59 | 0 | -0.8 | 0 | -1.2 | -2.5 | 0 | 0 | -1.5 | 0 | -8 | 4.82 | 0 | 0 | 0.01 | -1 | -15 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0
14:30 - 14:45 | -1.7 | 0 | 0 | 0 | 0 | -104.71 | 0 | 10.59 | 0 | -0.7 | 0 | -1.2 | -2.5 | -0.6 | 0 | -1.5 | 0 | -8 | 4.82 | 0 | 0 | 1.93 | -1 | -30 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0
14:45 - 15:00 | -1.7 | 0 | 0 | 0 | 0 | -106.13 | 0 | 10.59 | 0 | -0.6 | 0 | -1.2 | -2.5 | -2.9 | 0 | -1.5 | 0 | -8 | 4.82 | 0 | 0 | 0 | -1 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0
15:00 - 15:15 | -1.7 | -6 | 0 | 0 | 0 | -150.71 | 0 | 10.59 | 0 | -0.5 | 0 | -1.2 | -2.5 | -2.7 | 0 | -1.5 | 0 | -8 | 4.82 | 0 | 0 | 1.93 | -1 | 0 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0
15:15 - 15:30 | -1.7 | 0 | 0 | 3.85 | 0 | -3.66 | 0 | 10.6 | 0 | -0.5 | 0 | -1.2 | -2.5 | -2.4 | 0 | -1.5 | 19.27 | -8 | 4.82 | 19.27 | 0 | 1.93 | -1 | -35 | 0 | 8.67 | 24.07 | 0 | 0 | 0 | 0
15:30 - 15:45 | -1.7 | 0 | 0 | 3.85 | 0 | -41.09 | 0 | 10.6 | -40 | -0.7 | 0 | -1.2 | -2.5 | -2 | 0 | -1.5 | 0 | -5 | 4.82 | 19.26 | 0 | 1.93 | -1 | -10 | 0 | 8.67 | 0 | 0 | 0 | 0 | 0
15:45 - 16:00 | -1.7 | 0 | 0 | 0 | 0 | -53.93 | 0 | 0 | -80 | -0.6 | 0 | -1.2 | -2.5 | -1.9 | 0 | -1.5 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16:00 - 16:15 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | -1.2 | -2.5 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -5
16:15 - 16:30 | -1.7 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.5 | 0 | -1.2 | -2.5 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5
16:30 - 16:45 | -1.7 | -3 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -0.2 | 0 | -1.2 | -2.5 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5
16:45 - 17:00 | -1.7 | 0 | -1 | -15 | 0 | -50 | 0 | 0 | 0 | 0 | 0 | -1.2 | -2.5 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -1 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | -5
17:00 - 17:15 | -1.7 | 0 | -1 | -5 | 0 | -125 | 0 | 0 | -50 | 0 | 0 | -1.2 | -2.5 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0.99 | -1 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | -5
17:15 - 17:30 | -1.7 | 0 | -1 | -5 | 0 | 74.87 | 0 | 0 | -50 | 0 | 0 | -1.2 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5
17:30 - 17:45 | -1.7 | 0 | -1 | -5 | 0 | -250 | 0 | 0 | -50 | 0 | 0 | -1.2 | -2.5 | 0 | -5 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | -5
17:45 - 18:00 | -1.7 | -7 | -1 | -5 | 0 | -100 | 0 | 0 | -50 | 0 | 0 | -1.2 | -2.5 | 0 | -5 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | -5
18:00 - 18:15 | -1.7 | 0 | -1 | -2 | 0 | 0 | 0 | 0 | -80 | 0 | 0 | -1.2 | -2.5 | 0 | 0 | 0 | 0.29 | -5 | 0 | 0 | 0 | 0 | -1 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | -1.7 | 0 | -1 | -2 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | -1.2 | -2.5 | 0 | 0 | 0 | 0.17 | -5 | 0 | 0 | 0 | 0 | -1 | -60 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | -1.7 | 0 | -0.8 | -2 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | -1.2 | -2.5 | 0 | 0 | 0 | 0.13 | -5 | 0 | 0 | 0 | 0 | -1 | -70 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | -1.7 | 0 | -0.8 | -2 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | -1.2 | -2.5 | 0 | 0 | 0 | 0.1 | -5 | 0 | 0 | 0 | 0 | -1 | -70 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -1.7 | 0 | -0.8 | -2 | 0 | -200 | 0 | 0 | -100 | 0 | 0 | -1.2 | -2.5 | 0 | 0 | 0 | 0.11 | -5 | 0 | 0 | 0 | 0 | -1 | -8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -1.7 | 0 | -0.8 | -2 | 0 | -150 | 0 | 0 | -100 | 0 | 0 | -1.2 | -2.5 | 0 | 0 | 0 | 0.09 | -5 | 0 | 0 | 0 | 0 | -1 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -1.7 | 0 | -0.8 | -2 | 0 | -50 | 0 | 0 | -80 | 0 | 0 | -1.2 | -2.5 | 0 | 0 | 0 | 0.09 | -5 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -1.7 | 0 | -0.8 | -2 | 0 | -50 | 0 | 0 | -80 | 0 | 0 | -1.2 | -2.5 | 0 | 0 | 0 | 0.1 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -1.7 | 0 | -0.8 | -2 | 0 | -75 | 0 | 0 | -50 | 0 | 0 | -1.2 | -2.5 | 0 | -1.5 | 0 | 0.1 | -5 | 0 | 0 | 0 | 0 | -1 | -50 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | -1.7 | 0 | -0.8 | -2 | 0 | -50 | 0 | 0 | -50 | 0 | 0 | -1.2 | -2.5 | 0 | -1.5 | 0 | 0.1 | -5 | 0 | 0 | 0 | 0 | -1 | -70 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -1.7 | 0 | -0.8 | -2 | -12 | -50 | 0 | 0 | -60 | 0 | 0 | -1.2 | -2.5 | 0 | -1.5 | 0 | 0.07 | -5 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | -1.7 | 0 | -0.8 | -2 | -12 | -50 | 0 | 0 | -59.99 | 0 | 0 | -1.2 | -2.5 | 0 | -1.5 | 0 | 0.06 | -5 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | -1.7 | 0 | -0.8 | -2 | -12 | -200 | 0 | 0 | -60 | 0 | 0 | -1.2 | -2.5 | 0 | -2.5 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -40 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | -1.7 | 0 | -0.8 | -2 | -12 | -200 | 0 | 0 | -60 | 0 | 0 | -1.2 | -2.5 | 0 | -2.5 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | -1.7 | 0 | -0.8 | -2 | -12 | -300 | 0 | 0 | -60 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | -1.7 | 0 | -0.8 | -2 | -12 | -300 | 0 | 0 | -60 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -60 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | -0.9 | 0 | -0.8 | -2 | -12 | -200 | 0 | 0 | -60 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | -1 | -60 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | -0.9 | 0 | -0.8 | -2 | -12 | -200 | 0 | 0 | -60 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | -0.9 | 0 | -0.5 | -2 | -12 | -200 | 0 | 0 | -60 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | -0.9 | 0 | -0.5 | -2 | -12 | -200 | 0 | 0 | -60 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | -0.9 | 0 | -0.2 | -2 | 0 | -200 | 0 | 0 | -60 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -2
23:15 - 23:30 | -0.9 | 0 | -0.2 | -2 | 0 | -300 | 0 | 0 | -60 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -2
23:30 - 23:45 | -0.9 | 0 | 0 | -2 | 0 | -300 | 0 | 0 | -60 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | -1 | -40 | 0 | 0 | 0 | 0 | 0 | 0 | -2
23:45 - 24:00 | -0.9 | 0 | 0 | -2 | 0 | -300 | 0 | 0 | -60 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
Average | -1.6333 | -0.48958 | -0.72083 | -1.1447 | -1.25 | -106.8939 | 0.20073 | 3.2012 | -21.3541 | -0.75729 | 1.3041 | -1.3083 | -1.7708 | -0.18979 | -2.2917 | -0.80802 | 3.0302 | -2.7971 | 1.456 | 4.0137 | -1.9688 | 0.11094 | -2.4792 | -16.0938 | 0.30094 | 2.6191 | 8.3268 | 0.65271 | 1.5458 | 11.5887 | -1.4792