## POWER STATUS
POWER STATUS ON DT 09.09.2026
[9 empty] | 2026-09-09 | 2026-09-08
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 23:00
Demand -> | [8 empty] | 5786.4711 | 6619.6414
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 219.33 | 5.2639 | 630/590 ft | 627.54 | 628.33 | 628.5 | 234.513 | 195.7743
| Chiplima | 72(3x24) | 60.29 | 1.447 | - |  |  |  | 62.3027 | 49.2652
| Balimela | 510(6x60+2x75) | 77.75 | 1.866 | 1516/1440 ft | 1487.4 | 1476.8 | 1476.8 | 0.062564 | 249.5906
| Rengali | 250(5x50) | 249.26 | 5.9822 | 123.5/109.75 mt | 122.6 | 122.45 | 122.47 | 250.3487 | 249.4777
| Upper Kolab | 320(4x80) | 37.96 | 0.91104 | 858/844 mt | 855.69 | 852.54 | 852.56 | 0 | 43.4938
| Upper Indravati | 600(4x150) | 563.81 | 13.5314 | 642/625 mt | 637.53 | 640 | 640 | 593.4888 | 588.1842
| Machkund | 60(50% of(3x17+3x23)) | 12.33 | 0.29592 | 2750/2685 ft | 2748.25 | 2731.7 | 2731.75 | 10.7618 | 9.3868
| Total Hydro | 2099.5 | 1220.73 | 29.2975 |  |  |  |  | 1151.4775 | 1385.1727
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1589.21 | 38.141 | RENEWABLE ENERGY (RE) |  |  |  | 1522 | 1519
[5 empty] | M.Hydl | 118.15
| Total Thermal | 2200 | 1589.21 | 38.141 | Solar | 105.51 |  |  | 1522 | 1519
IPP | VEDANTA #2 | 600 (1x600) | 436.95 | 10.4868 | Total IPPs | Yesterday's Demand Profile |  |  | 397.1882 | 570.5469
| GMR #3 | 350 (1x350) | 329.41 | 7.9058 | 814.32 |  | MW | HRS | 327.8716 | 329.1723
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 47.96 | 1.151 |  |  |  |  | 56 | 56.6328
| CGPs |  | 1167.36 | 28.0166 | IPPs, CGPs & RE | Maximum | 6620 | 23:00 | 2127.8607 | 2358.3479
| Central Sector(Drawl) |  | 925.5488 | 22.2132 | 2205.34 | Minimum | 5381 | 08:00 | 985.1328 | 1357.1208
| Central Sector(Sch) |  | 974.7118 | 23.3931 |  | Average | 5940.8288 |  | 861.05 | 1325.67
| Grand Total |  | 5940.8288 | 142.5799 | Instantaneous Peak demand |  | 6665 | 0:06 | 5786.4711 | 6619.6414
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1788.3577 | 42.9206 | 1821.5524 | 43.7173 | 1783.8958 | 42.8135
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1711.1097 | 41.0666 | 1609.133 | 38.6192 | 1326.4373 | 31.8345
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1399.7475 | 33.5939 | 1404.6569 | 33.7118 | 1078.0208 | 25.8725
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 649.7925 | 15.595 | 646.6764 | 15.5202 | 644.3438 | 15.4642
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5549.0074 | 133.1762 | 5482.0187 | 131.5684 | 4832.6977 | 115.9847
Machhkund | 1,3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | 3
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 399 | GMR |  |  |  | 324
| NBVL #3 | 0 | MDTPC |  |  |  | 34
Mini Hydel: | MEENAKSHI | 26 | OPCL |  |  |  | 0
| BTPL | 28 | SAPTADHARA |  |  |  | 10
Solar: |  | 164 | KAKATIYA |  |  |  | 7
CGPs : | JSPL (Angul) | 455.4199 | JSL(Duburi) |  |  |  | -86.2093
| ICCL | 39.1789 | visa |  |  |  | 17.9688
| NALCO | -123.5889 | VAL (CGP) |  |  |  | 104.8496
| RSP | -69.2007 | BSL(MMDL) |  |  |  | 61.9213
| INDAL | 3.1932 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -31.9073 | VAL CPP 400 kV |  |  |  | -353.1346
| NBVL | 54.8743 | Arati |  |  |  | 5.5694
| BPSL(JSG) | 9.7065 | BPPL |  |  |  | 119.9541
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-01 | 2026-09-02 | 2026-09-03 | 2026-09-04 | 2026-09-05 | 2026-09-06 | 2026-09-07 | 2026-09-08
1121.5208 | 1184.9895 | 1168.7978 | 1153.39 | 1158.9236 | 1151.6823 | 1166.575 | 1220.73
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.08.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | -20 | AARTISTEEL | UPPCL | -6 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.46
AMNSIL_Pdeep | AMNSIL | -3.08 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0
ARYAN_ISPAT | BALCO_LOAD | -5 | DCBL_Rajgangpur | DALCEMAP | -6.33 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0.62
ENVIROCARE_INFRA | APCPDCL | -13 | DCBL_Rajgangpur | DCBLME | -6.5 | AGE26AL_PSS6_KPS1_S | ODISHA | 133.14
FACORPOWER | RUVITSL | -3.33 | DCBL_Rajgangpur | DCL_RCW | -2.83 | AP41PL_BHDL | ODISHA | 59.31
GMRKEL_STU | GEB_Beneficiary | -61.9 | DCBL_Rajgangpur | DCNELUSOUNIT2 | -1.75 | AP43PL_BKN | ODISHA | 92.01
GMRKEL_STU | TNEB | -18 | DCBL_Rajgangpur | DalmiaCementNEL2 | -2.48 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.8
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | FACORPOWER | PSPCL | -15 | AWEK1L | ODISHA | 9.3
JPIPL | NPCL_UP | -14 | FACORPOWER | PSPCL | -8.75 | AWEK1L | ODISHA | 13.96
JSPLANGUL | GEB_Beneficiary | -110 | FACORPOWER | RUVITSL | -0.83 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.57
JSPLANGUL | RUVITSL | -40.62 | JSPLANGUL | RUVITSL | -70.83 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 31.14
JSPLANGUL | RUVITSL | -27.08 | JSPLANGUL | RUVITSL | -3.12 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 10.72
MAADURGA_THERMAL | NPCL_UP | -17.26 | JSPLANGUL | RUVITSL | -2.08 | DADRI_SOLAR | ODISHA | 0.79
NBVLIPP | TANGEDCO | 0 | JSPLANGUL | RUVITSL | -106.25 | ENERSON_SOLAR_10MW | ODISHA | 0
ODISHA | AMNSIL | -41.67 | KCMW_od | DALCEMAP | -0.65 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | APCPDCL | -37.5 | NBVLIPP | BSPHCL | -12.54 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | BRPL | -70.83 | NBVLIPP | RUVITSL | -5.38 | GADAG_GreenInfra_W | ODISHA | 0.49
ODISHA | KPTCL | -80.21 | OCL_IRON_STEEL | TPDDL | -5.67 | GADAG_Serentica3_S | VLSEZ | 41.41
ORSISL | BALCO_LOAD | -5 | OCL_IRON_STEEL | TPDDL | -1.67 | GADAG_Serentica3_W | VLSEZ | 42.73
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | ODISHA | DNHDDPDCL | -70.83 | GIWEL_SECI_II_RE | ODISHA | 48.38
VSL | APCPDCL | -5 | ODISHA | JBVNL | -91.67 | GPCL_SOLAR_10 | ODISHA | 0.9
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | JBVNL | -75 | GSECL_SOLAR | ODISHA | 1.39
JSWEL_UTKAL | ODISHA | 50.21 | ODISHA | NUPLLP | -1 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.94
RAJ_SOLAR | ODISHA | 2.5 | ORSISL | UPPCL | -2.5 | KARUR_TPVARDHAMAN_W | TSKPO | 73.24
RAJ_SOLAR | ODISHA | 2.69 | SMEL | PSPCL | -17.71 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
|  |  | SMEL | PSPCL | -7.29 | Kurnool_Greenko_H_Inj | ADITYAAL | 6.18
|  |  | Shri_JSPL | KSEB | -2 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.25
|  |  | TIMES_STEEL | TPL_DIS_DHOLERA | -2.5 | NTPCRE1_SMND_BHJ2_W | ODISHA | 4.93
|  |  | TIMES_STEEL | UPPCL | -1.5 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | TSBSLA | TPLD | -10 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 3.98
|  |  | VIRAJ_SEPL | PSPCL | -7.08 | OKWPL_RE | ODISHA | 20.65
|  |  | VIRAJ_SEPL | PSPCL | -2.92 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 1.21
|  |  | VSL | TANGEDCO | -10 | RWE_AP2_SECI_III | ODISHA | 20
|  |  | VSL | TPL_DIS_AHM | -5 | RenewGreen_SLPR_HS | JSL_DUBURI | 19.15
|  |  | JIPL | ODISHA | 115.6 | SRI9PL_FTG3 | VLSEZ | 94.32
|  |  | MYTRAHVAYU | VLSEZ | 0.01 | TPVSL_BKN3 | TSKPO | 12.28
|  |  | MYTRAHVAYU | VLSEZ | 2.62 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.14
|  |  | NALCOAP | NACL_Odisha | 8.32 | TSESOPL_BKN2 | OPL_CUTTAK | 0.17
|  |  | SINGOLI | VLSEZ | 6.74 | Tuticorin_BETAMWIND | ODISHA | 50.96
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 9
[6 empty] | XXPPL_FTG3 | ODISHA | 72.98

## DAM
DAM TRADING DETAILS FOR DT : 08.09.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 11.5
00:15 - 00:30 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 12.74
00:30 - 00:45 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 14.19
00:45 - 01:00 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 14.7
01:00 - 01:15 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 12.89
01:15 - 01:30 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 15.56
01:30 - 01:45 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 18.24
01:45 - 02:00 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 20.93
02:00 - 02:15 | -2 | 0 | -130 | 0 | -3 | -45.5 | 0 | 0
02:15 - 02:30 | -2 | 0 | -130 | 0 | -3 | -45.5 | 0 | 0
02:30 - 02:45 | -2 | 0 | -130 | 0 | -3 | -45.5 | 0 | 0
02:45 - 03:00 | -2 | 0 | -130 | 0 | -3 | -45.5 | 0 | 0
03:00 - 03:15 | -2 | 0 | -130 | 0 | -3 | -45.5 | 0 | 0
03:15 - 03:30 | -2 | 0 | -130 | 0 | -3 | -45.5 | 0 | 0
03:30 - 03:45 | -2 | 0 | -130 | 0 | -3 | -45.5 | 0 | 0
03:45 - 04:00 | -2 | 0 | -130 | 0 | -3 | -45.5 | 0 | 0
04:00 - 04:15 | -2 | 0 | -130 | 0 | -3 | -45.5 | 0 | 0
04:15 - 04:30 | -2 | 0 | -130 | 0 | -3 | -45.5 | 0 | 0
04:30 - 04:45 | -2 | 0 | -130 | 0 | -3 | -45.5 | 0 | 0
04:45 - 05:00 | -2 | 0 | -130 | 0 | -3 | -45.5 | 0 | 0
05:00 - 05:15 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0
05:15 - 05:30 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0
05:30 - 05:45 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0
05:45 - 06:00 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0
06:00 - 06:15 | -25 | 0 | -130 | 0 | -3 | -3 | 0 | 0
06:15 - 06:30 | -25 | 0 | -130 | 0 | -3 | -3 | 0 | 0
06:30 - 06:45 | -25 | 0 | -130 | 0 | -3 | -3 | 0 | 0
06:45 - 07:00 | -25 | 0 | -130 | 0 | -3 | -3 | 0 | 0
07:00 - 07:15 | -25 | -375 | -130 | 0 | -3 | -3 | 0 | 0
07:15 - 07:30 | -25 | -375 | -130 | 0 | -3 | -3 | 0 | 0
07:30 - 07:45 | -25 | -375 | -130 | 0 | -3 | -3 | 0 | 0
07:45 - 08:00 | -25 | -375 | -130 | 0 | -3 | -3 | 0 | 0
08:00 - 08:15 | 0 | -775 | -130 | 0 | -3 | -45.5 | 0 | 0
08:15 - 08:30 | 0 | -775 | -130 | 0 | -3 | -45.5 | 0 | 0
08:30 - 08:45 | 0 | -775 | -100 | 0 | -3 | -45.5 | 0 | 0
08:45 - 09:00 | 0 | -775 | 0 | 0 | -3 | -45.5 | 0 | 0
09:00 - 09:15 | 0 | -925 | 0 | 0 | -3 | -45.5 | 0 | 0
09:15 - 09:30 | 0 | -925 | 0 | 0 | -3 | -45.5 | 0 | 0
09:30 - 09:45 | 0 | -925 | 0 | 0 | -3 | -45.5 | 0 | 0
09:45 - 10:00 | 0 | -925 | 0 | 0 | -3 | -45.5 | 0 | 0
10:00 - 10:15 | 0 | -1350 | 0 | 0 | -1 | -45.5 | 0 | 0
10:15 - 10:30 | 0 | -1350 | 0 | 0 | -1 | -45.5 | 9.63 | 0
10:30 - 10:45 | 0 | -1450 | 0 | 0 | -1 | -45.5 | 9.63 | 0
10:45 - 11:00 | 0 | -1450 | 0 | 0 | -1 | -45.5 | 0 | 0
11:00 - 11:15 | 0 | -1375 | 0 | 0 | -1 | -34 | 9.63 | 0
11:15 - 11:30 | 0 | -1375 | 0 | 0 | -1 | -34 | 9.63 | 0
11:30 - 11:45 | 0 | -1375 | 0 | 0 | -1 | -34 | 9.63 | 0
11:45 - 12:00 | 0 | -1375 | 0 | 0 | -1 | -34 | 9.63 | 0
12:00 - 12:15 | 0 | -1300 | 0 | 0 | -1 | -34 | 9.63 | 0
12:15 - 12:30 | 0 | -1300 | 0 | 0 | -1 | -34 | 9.63 | 0
12:30 - 12:45 | 0 | -1300 | 0 | 9.63 | -1 | -34 | 9.64 | 0
12:45 - 13:00 | 0 | -1300 | 0 | 9.63 | -1 | -34 | 9.64 | 0
13:00 - 13:15 | 0 | -1100.68 | 0 | 9.63 | -1 | -34 | 9.64 | 0
13:15 - 13:30 | 0 | -1135.56 | 0 | 9.63 | -1 | -34 | 9.64 | 0
13:30 - 13:45 | 0 | -1300 | 0 | 9.63 | -1 | -34 | 9.64 | 0
13:45 - 14:00 | 0 | -1300 | 0 | 9.63 | -1 | -34 | 9.64 | 0
14:00 - 14:15 | 0 | -1279.11 | 0 | 0 | -1 | -34 | 9.63 | 0
14:15 - 14:30 | 0 | -1325 | 0 | 0 | -1 | -34 | 9.63 | 0
14:30 - 14:45 | 0 | -1325 | 0 | 0 | -1 | -34 | 9.63 | 0
14:45 - 15:00 | 0 | -1325 | 0 | 0 | -1 | -34 | 0 | 0
15:00 - 15:15 | 0 | -1200 | 0 | 0 | -3 | -45.5 | 0 | 0
15:15 - 15:30 | 0 | -1200 | 0 | 0 | -3 | -45.5 | 0 | 0
15:30 - 15:45 | 0 | -1200 | 0 | 0 | -3 | -45.5 | 0 | 0
15:45 - 16:00 | 0 | -1200 | 0 | 0 | -3 | -45.5 | 0 | 0
16:00 - 16:15 | -15 | -1150 | -130 | 0 | -3 | -45.5 | 0 | 0
16:15 - 16:30 | -15 | -1150 | -130 | 0 | -3 | -45.5 | 0 | 0
16:30 - 16:45 | -15 | -1150 | -130 | 0 | -3 | -45.5 | 0 | 0
16:45 - 17:00 | -15 | -1150 | -130 | 0 | -3 | -45.5 | 0 | 0
17:00 - 17:15 | -15 | -850 | -130 | 0 | -3 | -45.5 | 0 | 0
17:15 - 17:30 | -15 | -850 | -130 | 0 | -3 | -45.5 | 0 | 0
17:30 - 17:45 | -15 | -500 | -130 | 0 | -3 | -45.5 | 0 | 0
17:45 - 18:00 | -15 | -375 | -130 | 0 | -3 | -45.5 | 0 | 0
18:00 - 18:15 | 0 | -300 | -130 | 0 | -3 | -45.5 | 0 | 0
18:15 - 18:30 | 0 | -150 | -130 | 0 | -3 | -45.5 | 0 | 0
18:30 - 18:45 | 0 | 0 | -130 | 0 | -3 | -45.5 | 0 | 0
18:45 - 19:00 | 0 | 0 | -130 | 0 | -3 | -45.5 | 0 | 0
19:00 - 19:15 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0.01
19:15 - 19:30 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0.34
19:30 - 19:45 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0.62
19:45 - 20:00 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 1.91
20:00 - 20:15 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0.61
20:15 - 20:30 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0.6
20:30 - 20:45 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0.84
20:45 - 21:00 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0.3
21:00 - 21:15 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0.45
21:15 - 21:30 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0.62
21:30 - 21:45 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0.99
21:45 - 22:00 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 1.34
22:00 - 22:15 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0.3
22:15 - 22:30 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0.01
22:30 - 22:45 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0.05
22:45 - 23:00 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0.13
23:00 - 23:15 | -2 | 0 | -129.99 | 0 | -3 | -3 | 0 | 0.16
23:15 - 23:30 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 0.73
23:30 - 23:45 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 5.77
23:45 - 24:00 | -2 | 0 | -130 | 0 | -3 | -3 | 0 | 6.43
Average | -4.25 | -490.7849 | -90.4166 | 0.60188 | -2.5833 | -25.875 | 1.7059 | 1.4892

## GDAM
GDAM TRADING DETAILS FOR DT:08.09.2026
Time Period | Orissa_Metaliks_Private_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 16.25
00:15 - 00:30 | 0 | 16.25
00:30 - 00:45 | 0 | 16.21
00:45 - 01:00 | 0 | 16.31
01:00 - 01:15 | 0 | 3.55
01:15 - 01:30 | 0 | 3.46
01:30 - 01:45 | 0 | 3.38
01:45 - 02:00 | 0 | 3.21
02:00 - 02:15 | 0 | 0
02:15 - 02:30 | 0 | 0
02:30 - 02:45 | 0 | 0
02:45 - 03:00 | 0 | 0
03:00 - 03:15 | 0 | 0
03:15 - 03:30 | 0 | 0
03:30 - 03:45 | 0 | 0
03:45 - 04:00 | 0 | 0
04:00 - 04:15 | 0 | 0
04:15 - 04:30 | 0 | 0
04:30 - 04:45 | 0 | 0
04:45 - 05:00 | 0 | 0
05:00 - 05:15 | 0 | 0
05:15 - 05:30 | 0 | 0
05:30 - 05:45 | 0 | 0
05:45 - 06:00 | 0 | 0
06:00 - 06:15 | 0 | 0
06:15 - 06:30 | 0 | 0
06:30 - 06:45 | 0 | 0
06:45 - 07:00 | 0 | 0
07:00 - 07:15 | 0 | 0
07:15 - 07:30 | 0 | 0
07:30 - 07:45 | 0 | 0
07:45 - 08:00 | 0 | 0
08:00 - 08:15 | 0 | 0
08:15 - 08:30 | 0 | 0
08:30 - 08:45 | 0 | 0
08:45 - 09:00 | 0 | 0
09:00 - 09:15 | 0 | 0
09:15 - 09:30 | 0 | 0
09:30 - 09:45 | 0 | 0
09:45 - 10:00 | 6.26 | 0
10:00 - 10:15 | 6.26 | 0
10:15 - 10:30 | 6.26 | 0
10:30 - 10:45 | 6.26 | 0
10:45 - 11:00 | 6.26 | 0
11:00 - 11:15 | 6.26 | 0
11:15 - 11:30 | 6.26 | 0
11:30 - 11:45 | 6.26 | 0
11:45 - 12:00 | 6.26 | 0
12:00 - 12:15 | 6.26 | 0
12:15 - 12:30 | 6.26 | 0
12:30 - 12:45 | 6.26 | 0
12:45 - 13:00 | 6.26 | 0
13:00 - 13:15 | 6.26 | 0
13:15 - 13:30 | 6.26 | 0
13:30 - 13:45 | 6.26 | 0
13:45 - 14:00 | 6.26 | 0
14:00 - 14:15 | 6.26 | 0
14:15 - 14:30 | 6.26 | 0
14:30 - 14:45 | 6.26 | 0
14:45 - 15:00 | 6.26 | 0
15:00 - 15:15 | 0 | 0
15:15 - 15:30 | 0 | 0
15:30 - 15:45 | 0 | 0
15:45 - 16:00 | 0 | 0
16:00 - 16:15 | 0 | 0
16:15 - 16:30 | 0 | 0
16:30 - 16:45 | 0 | 0
16:45 - 17:00 | 0 | 0
17:00 - 17:15 | 0 | 0
17:15 - 17:30 | 0 | 0
17:30 - 17:45 | 0 | 0
17:45 - 18:00 | 0 | 0
18:00 - 18:15 | 0 | 0
18:15 - 18:30 | 0 | 0
18:30 - 18:45 | 0 | 0
18:45 - 19:00 | 0 | 0
19:00 - 19:15 | 0 | 0.92
19:15 - 19:30 | 0 | 0.26
19:30 - 19:45 | 0 | 0.08
19:45 - 20:00 | 0 | 0.05
20:00 - 20:15 | 0 | 3.67
20:15 - 20:30 | 0 | 3.71
20:30 - 20:45 | 0 | 3.72
20:45 - 21:00 | 0 | 3.67
21:00 - 21:15 | 0 | 3.75
21:15 - 21:30 | 0 | 3.79
21:30 - 21:45 | 0 | 3.78
21:45 - 22:00 | 0 | 3.67
22:00 - 22:15 | 0 | 3.93
22:15 - 22:30 | 0 | 3.85
22:30 - 22:45 | 0 | 3.83
22:45 - 23:00 | 0 | 3.81
23:00 - 23:15 | 0 | 3.78
23:15 - 23:30 | 0 | 3.81
23:30 - 23:45 | 0 | 3.83
23:45 - 24:00 | 0 | 3.94
Average | 1.3694 | 1.4632

## RTM
RTM TRADING DETAILS FOR DT: 08.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Narbheram_Power_and_Steel_Private_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Paradeep_Phosphates_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SAIL_R_S_P_Rourkela | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -0.3 | 0 | 0 | -300 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | -2
00:15 - 00:30 | -0.3 | 0 | 0 | -300 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | 0 | 0 | -2
00:30 - 00:45 | -0.3 | 0 | 0 | -275 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | -65 | 0 | 0 | 0 | 0 | 0 | -2
00:45 - 01:00 | -0.3 | 0 | 0 | -275 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | 0 | 0 | -2
01:00 - 01:15 | -0.3 | 0 | 0 | -250 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | -35 | 0 | 0 | 0 | 0 | 0 | -2
01:15 - 01:30 | -0.3 | -5 | 0 | -250 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
01:30 - 01:45 | -0.3 | -6 | 0 | -450 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
01:45 - 02:00 | -0.3 | 0 | 0 | -450 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | -65 | 0 | 0 | 0 | 0 | 0 | -2
02:00 - 02:15 | -0.3 | 0 | 0 | -425 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | -55 | 0 | 0 | 0 | 0 | 0 | -2
02:15 - 02:30 | -0.3 | 0 | 0 | -425 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | 0 | 0 | -2
02:30 - 02:45 | -0.3 | 0 | 0 | -375 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | -2
02:45 - 03:00 | -0.3 | -8 | 0 | -375 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
03:00 - 03:15 | -0.3 | 0 | 0 | -200 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -13 | 0 | 0 | 0 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | 0 | 0 | -2
03:15 - 03:30 | -0.3 | 0 | 0 | -200 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -13 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
03:30 - 03:45 | -0.3 | 0 | 0 | -200 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -13 | 0 | 0 | 0 | 0 | 0 | -1 | -52 | 0 | 0 | 0 | 0 | 0 | -2
03:45 - 04:00 | -0.3 | 0 | 0 | -200 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -13 | 0 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | 0 | -2
04:00 - 04:15 | 0 | 0 | 0 | -200 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -13 | 0 | 0 | -5 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
04:15 - 04:30 | 0 | 0 | 0 | -200 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -13 | 0 | 0 | -5 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
04:30 - 04:45 | 0 | 0 | 0 | -200 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -13 | 0 | 0 | -5 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | -2
04:45 - 05:00 | 0 | 0 | 0 | -200 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -3 | 0 | 0 | -13 | 0 | 0 | -5 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | 0 | 0 | -2
05:00 - 05:15 | 0 | -7 | 0 | -100 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2 | 0 | 0 | -13 | 0 | 0 | -5 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | 0 | 0 | -2
05:15 - 05:30 | 0 | 0 | 0 | -100 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2 | 0 | 0 | -13 | 0 | 0 | -5 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
05:30 - 05:45 | 0 | 0 | 0 | -250 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2 | 0 | 0 | -13 | 0 | 0 | -5 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
05:45 - 06:00 | 0 | 0 | 0 | -350 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2 | 0 | 0 | -13 | 0 | 0 | -5 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | 0 | -2
06:00 - 06:15 | 0 | 0 | 0 | -200 | 0 | -60 | -0.2 | 0 | 0 | -1.2 | -2.5 | 0 | -6 | 0 | 0 | -8 | 0 | 0 | -5 | 0 | 0 | -1 | -50 | 0 | 0 | 0 | -3 | 0 | -12
06:15 - 06:30 | 0 | 0 | 0 | -200 | 0 | -60 | -0.3 | 0 | 0 | -1.2 | -2.5 | -0.1 | -6 | 0 | 0 | -8 | 0 | 0 | -5 | 0 | 0 | -1 | -40 | 0 | 0 | 0 | -3 | 0 | -12
06:30 - 06:45 | 0 | -7 | 0 | -200 | 0 | -60 | -0.5 | 0 | 0 | -1.2 | -2.5 | -0.5 | -6 | 0 | 0 | -8 | 0 | 0 | -6 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -12
06:45 - 07:00 | 0 | 0 | 0 | -200 | 0 | -60 | -0.7 | 0 | 0 | -1.2 | -2.5 | -0.9 | -6 | 0 | 0 | -8 | 0 | 0 | -6 | 0 | 0 | -1 | -50 | 0 | 0 | 0 | -3 | 0 | -12
07:00 - 07:15 | 0 | 0 | 0 | -50 | 0 | -60 | -0.9 | 0 | 0 | -1.2 | -2.5 | -1.2 | -6 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -3 | 0 | -12
07:15 - 07:30 | 0 | 0 | 0 | -150 | 0 | -60 | -1 | 0 | 0 | -1.2 | -2.5 | -1.5 | -6 | 0 | 0 | -8 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -12
07:30 - 07:45 | -0.2 | 0 | 0 | -250 | 0 | -60 | -1.2 | 0 | 0 | -1.2 | -2.5 | -1.8 | -6 | 0 | 0 | -8 | 0 | 0 | -4 | 0 | 0 | -1 | -40 | 0 | 0 | 0 | -3 | 0 | -12
07:45 - 08:00 | -0.2 | 0 | 0 | -100 | 0 | -60 | -1.5 | 0 | 0 | -1.2 | -2.5 | -2.3 | -6 | 0 | 0 | -8 | 0 | 0 | -4 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -12
08:00 - 08:15 | -0.2 | -7 | 0 | -22.5 | 0 | 0 | -1.7 | 0 | 0 | -1.2 | -2.5 | -2.4 | 0 | -1.5 | 0 | -8 | 0 | 0 | -4 | 0 | 0 | -1 | -15 | 0 | 0 | 0 | -3 | 0 | -5
08:15 - 08:30 | -0.2 | 0 | 0 | -19.87 | 0 | 0 | -1.9 | 0 | 0 | -1.2 | -2.5 | -2.5 | 0 | -1.5 | 0 | -8 | 0 | 0 | -4 | 0 | 0 | -1 | -25 | 0 | 0 | 0 | -3 | 0 | -5
08:30 - 08:45 | -0.2 | 0 | 2.41 | -315.52 | 10.6 | 0 | -2 | 0 | 8.67 | -1.2 | -2.5 | -2.8 | 0 | -1.5 | 0 | -8 | 5.78 | 12.52 | -4 | 0 | 0 | -1 | 0 | 9.15 | 0 | 0 | -3 | 0 | -5
08:45 - 09:00 | -0.2 | 0 | 2.41 | -294.02 | 10.6 | 0 | -2.2 | 9.63 | 8.67 | -1.2 | -2.5 | -3.1 | 0 | -1.5 | 9.63 | -8 | 5.78 | 12.52 | -4 | 0 | 0 | -1 | -15 | 9.15 | 28.9 | 4.82 | -3 | 0 | -5
09:00 - 09:15 | -0.2 | 0 | 3.85 | -320 | 10.6 | 0 | -2.4 | 7.26 | 8.67 | -1.2 | -2.5 | -3.3 | 0 | -1.5 | 9.63 | -8 | 5.78 | 12.52 | 0 | 0 | 14.46 | -1 | -50 | 9.15 | 0 | 4.82 | -3 | 0 | 0
09:15 - 09:30 | -0.2 | 0 | 3.85 | -203.74 | 10.6 | 0 | -2.6 | 9.63 | 8.67 | -1.2 | -2.5 | -3.7 | 0 | -1.5 | 9.63 | -8 | 5.78 | 12.52 | 0 | 0 | 14.46 | -1 | 0 | 9.15 | 0 | 4.82 | -3 | 0 | 0
09:30 - 09:45 | -0.2 | 0 | 3.85 | -100.02 | 10.6 | 0 | -2.8 | 9.63 | 8.67 | -1.2 | -2.5 | -3.7 | 0 | -1.5 | 11.56 | -8 | 5.78 | 12.52 | -3 | 0 | 14.45 | -1 | 0 | 9.15 | 28.9 | 4.82 | -3 | 0 | 0
09:45 - 10:00 | -0.2 | 0 | 3.85 | 0 | 10.6 | 0 | -3 | 9.63 | 8.67 | -1.2 | -2.5 | -1.1 | 0 | -1.5 | 11.56 | -8 | 5.78 | 12.52 | -3 | 0 | 14.45 | -1 | -20 | 9.15 | 28.9 | 4.82 | 0 | 0 | 0
10:00 - 10:15 | -0.2 | 0 | 3.85 | 241.65 | 10.6 | 0 | -3.2 | 0 | 8.67 | -1.2 | -2.5 | 0 | 0 | -1.5 | 9.63 | -8 | 5.78 | 12.52 | -3 | 0 | 14.45 | -1 | 0 | 9.15 | 28.9 | 4.82 | -3 | 0 | 0
10:15 - 10:30 | -0.2 | 0 | 3.85 | 320.13 | 10.6 | 0 | -3.3 | 0 | 8.67 | -1.2 | -2.5 | 0 | 0 | -1.5 | 0 | -8 | 5.78 | 12.52 | -3 | 0 | 14.45 | -1 | -25 | 9.15 | 43.35 | 0 | -3 | 0 | 0
10:30 - 10:45 | -0.2 | 0 | 3.85 | 107.65 | 10.6 | 0 | -3.3 | 0 | 8.67 | -1.2 | 0 | 0 | 0 | -1.5 | 0 | -5 | 5.78 | 10.6 | 0 | 0 | 14.45 | -1 | -40 | 9.15 | 41.66 | 0 | -3 | 0 | 0
10:45 - 11:00 | -0.2 | 0 | 3.85 | 106.31 | 10.6 | 0 | -3.4 | 0 | 8.67 | -1.2 | 0 | 0 | 0 | -1.5 | 1.58 | -5 | 5.78 | 10.6 | 0 | 0 | 14.45 | -1 | -10 | 9.15 | 0 | 0 | -3 | 0 | 0
11:00 - 11:15 | -0.2 | 0 | 3.85 | -48.29 | 10.6 | 0 | -3.4 | 0 | 8.67 | -1.2 | 0 | 0 | 0 | -1.5 | 0 | -5 | 5.78 | 10.6 | 0 | 0 | 11.56 | -1 | 0 | 9.15 | 43.34 | 4.82 | -3 | 0 | 0
11:15 - 11:30 | -0.2 | 0 | 3.85 | 0 | 10.6 | 0 | -3.5 | 9.63 | 8.67 | -1.2 | 0 | 3.56 | 0 | -1.5 | 1.93 | -5 | 5.78 | 10.6 | 0 | 0 | 11.56 | -1 | 0 | 9.15 | 43.35 | 4.82 | -3 | 0 | 0
11:30 - 11:45 | -0.2 | 0 | 3.85 | -100.05 | 10.6 | 0 | -3.5 | 9.63 | 8.67 | -1.2 | 0 | 3.56 | 0 | -1.5 | 1.93 | -5 | 5.78 | 10.6 | 0 | 0 | 11.56 | -1 | -15 | 9.15 | 43.35 | 4.82 | -3 | 0 | 0
11:45 - 12:00 | -0.2 | 0 | 3.85 | -116.02 | 10.6 | 0 | -3.4 | 9.63 | 8.67 | -1.2 | 0 | 3.56 | 0 | -1.5 | 0 | -5 | 5.78 | 10.6 | 0 | 0 | 11.56 | -1 | 0 | 9.15 | 48.16 | 4.82 | -3 | 0 | 0
12:00 - 12:15 | -0.2 | -7 | 3.85 | -322.5 | 10.6 | 0 | -3.2 | 9.63 | 8.67 | -1.2 | 0 | 3.56 | 0 | -3 | 3.85 | -5 | 5.78 | 10.6 | 0 | 0 | 11.56 | -1 | -40 | 9.15 | 86.7 | 4.82 | -3 | 0 | 0
12:15 - 12:30 | -0.2 | 0 | 3.85 | -128.01 | 10.6 | 0 | -2.8 | 9.63 | 8.67 | -1.2 | 0 | 3.56 | 0 | -3 | 3.85 | -5 | 5.78 | 10.6 | 0 | 0 | 11.56 | -1 | -30 | 9.15 | 86.7 | 4.82 | -3 | 0 | 0
12:30 - 12:45 | -0.2 | 0 | 3.85 | -202.06 | 10.6 | 0 | -2.9 | 0 | 8.67 | -1.2 | 0 | 3.56 | 0 | -3 | 3.85 | -5 | 5.78 | 10.6 | 0 | 38.53 | 17.34 | -1 | 0 | 9.15 | 77.07 | 4.82 | -3 | 0 | 0
12:45 - 13:00 | -0.2 | 0 | 3.85 | -155.94 | 10.6 | 0 | -2.8 | 0 | 8.67 | -1.2 | 0 | 3.56 | 0 | -3 | 3.85 | -5 | 5.78 | 10.6 | 0 | 38.53 | 17.34 | -1 | 0 | 9.15 | 77.07 | 4.82 | 0 | 0 | 0
13:00 - 13:15 | -0.2 | 0 | 3.85 | 369.66 | 10.6 | 0 | -2.7 | 0 | 8.67 | -1.2 | 0 | 3.56 | 0 | -3 | 4.82 | -5 | 5.78 | 10.6 | -2 | 38.53 | 17.34 | -1 | -30 | 9.15 | 67.43 | 4.82 | 0 | 0 | 0
13:15 - 13:30 | -0.2 | 0 | 3.85 | 523.05 | 10.6 | 0 | -2.5 | 0 | 8.67 | -1.2 | 0 | 3.76 | 0 | -3 | 2.89 | -5 | 5.78 | 10.6 | -2 | 38.53 | 17.34 | -1 | 0 | 9.15 | 67.43 | 4.82 | -3 | 0 | 0
13:30 - 13:45 | -0.2 | -6 | 3.85 | 330.34 | 10.6 | 0 | -2.5 | 0 | 8.67 | -1.2 | 0 | 3.95 | 0 | -3 | 4.82 | -5 | 5.78 | 10.6 | -2 | 38.53 | 17.34 | -1 | -15 | 9.15 | 67.43 | 4.82 | -3 | 0 | 0
13:45 - 14:00 | -0.2 | 0 | 3.85 | 224.74 | 10.6 | 0 | -2.2 | 0 | 8.67 | -1.2 | 0 | 0 | 0 | -3 | 4.82 | -5 | 5.78 | 10.6 | -2 | 38.53 | 17.34 | -1 | -50 | 9.15 | 67.43 | 0 | -3 | 0 | 0
14:00 - 14:15 | -0.2 | 0 | 3.85 | 0 | 10.6 | 0 | -2 | 0 | 8.67 | -1.2 | 0 | -1.3 | 0 | -3 | 0 | -5 | 5.78 | 10.6 | -2 | 0 | 0 | -1 | -50 | 9.15 | 0 | 0 | -3 | 0 | 0
14:15 - 14:30 | -0.2 | 0 | 0 | 0 | 10.6 | 0 | -1.7 | 0 | 8.67 | -1.2 | 0 | -3.6 | 0 | -3 | 0 | -5 | 5.78 | 0 | -2 | 0 | 0 | -1 | 0 | 9.15 | 0 | 0 | -3 | 0 | 0
14:30 - 14:45 | -0.2 | 0 | 0 | 482.51 | 10.6 | 0 | -1.5 | 0 | 0 | -1.2 | 0 | -3.4 | 0 | -3 | 0 | -5 | 5.78 | 0 | -2 | 0 | 0 | -1 | 0 | 9.15 | 0 | 0 | -3 | 0 | 0
14:45 - 15:00 | -0.2 | 0 | 0 | 514.89 | 0 | 0 | -1 | 0 | 0 | -1.2 | 0 | -3.1 | 0 | -3 | 0 | -5 | 0 | 0 | -2 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -3 | 0 | 0
15:00 - 15:15 | -0.2 | 0 | 0 | 105.19 | 10.6 | 0 | -0.6 | 0 | 0 | -1.2 | -2.5 | -2.9 | 0 | -3 | 0 | -5 | 5.78 | 0 | -2 | 0 | 0 | -1 | 0 | 9.15 | 0 | 0 | -3 | 0 | -5
15:15 - 15:30 | -0.2 | 0 | 0 | 120.46 | 10.6 | -40 | -0.5 | 0 | 8.67 | -1.2 | -2.5 | -2.6 | 0 | -3 | 0 | -5 | 5.78 | 0 | -2 | 0 | 0 | -1 | -25 | 9.15 | 0 | 0 | -3 | 0 | -5
15:30 - 15:45 | -0.2 | -7 | 0 | 101.93 | 10.6 | -80 | -0.3 | 0 | 0 | -1.2 | -2.5 | -2.2 | 0 | -3 | 0 | -5 | 5.78 | 0 | -2 | 0 | 0 | -1 | -50 | 9.15 | 0 | 0 | -3 | 0 | -5
15:45 - 16:00 | -0.2 | 0 | 0 | 0 | 0 | -80 | -0.2 | 0 | 0 | -1.2 | -2.5 | -2.1 | 0 | -3 | 0 | -5 | 0 | 0 | -2 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -3 | 0 | -5
16:00 - 16:15 | -0.2 | 0 | 0 | 0 | 1.2 | 0 | 0 | 0 | 0 | -1.2 | -2.5 | -1.7 | 0 | -3 | 0 | 0 | 0.66 | 0 | -2 | 0 | 0 | -1 | 0 | 1.04 | 0 | 0 | -3 | 0 | -11.99
16:15 - 16:30 | -0.2 | 0 | 0 | 0 | 0 | -26.42 | 0 | 0 | 0 | -1.2 | -2.5 | -1.5 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | -3 | 0 | -12
16:30 - 16:45 | -0.2 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -1.2 | -2.5 | -1.2 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -12
16:45 - 17:00 | -0.2 | 0 | -15 | 0 | 0 | -30 | 0 | 0 | 0 | -1.2 | -2.5 | -0.7 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -12
17:00 - 17:15 | -0.2 | 0 | -15 | -150 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | -0.3 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | -60 | 0 | 0 | 0 | -3 | 0 | -12
17:15 - 17:30 | -0.2 | -6 | -15 | -100 | 0 | -60 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | -3 | 0 | -12
17:30 - 17:45 | -0.2 | 0 | -15 | -200 | 0 | -80 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -3 | 0 | -12
17:45 - 18:00 | -0.2 | 0 | -15 | -200 | 0 | -80 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | -3 | 0 | -12
18:00 - 18:15 | -0.2 | 0 | -4.5 | -250 | 0 | -90 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -1.5 | -3 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | 0 | 0 | -2
18:15 - 18:30 | -0.2 | 0 | -4.5 | -100 | 0 | -90 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -1.5 | -3 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
18:30 - 18:45 | -0.2 | 0 | -4.5 | -100 | 0 | -90 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -1.5 | -3 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | 0 | 0 | -2
18:45 - 19:00 | -0.2 | 0 | -4.5 | -100 | 0 | -90 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -1.5 | -3 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | 0 | 0 | -2
19:00 - 19:15 | -0.2 | 0 | -2.5 | -50 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -1.5 | -3 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
19:15 - 19:30 | -0.2 | 0 | -2.5 | -50 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -1.5 | -3 | 0 | 0 | 0 | 0 | -8 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | 0 | -2
19:30 - 19:45 | -0.2 | 0 | -2.5 | -50 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2 | -3 | 0 | -5 | 0 | 0 | -8 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | 0 | 0 | -2
19:45 - 20:00 | -0.2 | 0 | -2.5 | -50 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2 | -3 | 0 | -5 | 0 | 0 | -8 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
20:00 - 20:15 | -0.2 | 0 | -2.5 | -100 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2 | -3 | 0 | -5 | 0 | 0 | -6 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | -2
20:15 - 20:30 | -0.2 | 0 | -2.5 | -100 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2 | -3 | 0 | -5 | 0 | 0 | -6 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | 0 | 0 | -2
20:30 - 20:45 | -0.2 | 0 | -2.5 | -75 | 0 | -90 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2.5 | -3 | 0 | -5 | 0 | 0 | -4 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
20:45 - 21:00 | -0.2 | 0 | -2.5 | -75 | 0 | -90 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2.5 | -3 | 0 | -5 | 0 | 0 | -4 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | -2
21:00 - 21:15 | -0.2 | 0 | -2.5 | -25 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 1.62 | -2
21:15 - 21:30 | -0.2 | 0 | -2.5 | -25 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 1.57 | -2
21:30 - 21:45 | -0.5 | 0 | -2.5 | -25 | 0 | -109.99 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 21.65 | -2
21:45 - 22:00 | -0.5 | 0 | -2.5 | -25 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | 20.92 | -2
22:00 - 22:15 | -0.5 | 0 | -2.5 | -50 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | 0 | 0 | -2
22:15 - 22:30 | -0.5 | 0 | -2.5 | -50 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
22:30 - 22:45 | -0.5 | 0 | -2.5 | -50 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | 0 | 0 | -2
22:45 - 23:00 | -0.5 | 0 | -2.5 | -50 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | -30 | 0 | 0 | 0 | 0 | 0 | -2
23:00 - 23:15 | -0.5 | 0 | -2.5 | -100 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
23:15 - 23:30 | -0.5 | 0 | -2.5 | -100 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | -2
23:30 - 23:45 | -0.5 | 0 | -2.5 | -100 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | 0 | 0 | -2
23:45 - 24:00 | -0.5 | 0 | -2.5 | -100 | 0 | -110 | 0 | 0 | 0 | -1.2 | -2.5 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
Average | -0.21875 | -0.6875 | -0.59719 | -95.3128 | 3.1042 | -52.1501 | -0.84687 | 0.97844 | 2.2578 | -1.2 | -2.0312 | -0.22198 | -1.75 | -1.75 | 1.0399 | -5.5833 | 1.6927 | 2.6996 | -2.5208 | 2.4081 | 3.0106 | -1 | -17.4688 | 2.6796 | 10.1674 | 0.85354 | -1.4062 | 0.47667 | -3.4166