## POWER STATUS
POWER STATUS ON DT 10.09.2026
[9 empty] | 2026-09-10 | 2026-09-09
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 21:00
Demand -> | [8 empty] | 5361.7315 | 6051.9748
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 212.083 | 5.09 | 630/590 ft | 628.08 | 628.5 | 628.67 | 209.6125 | 192.8885
| Chiplima | 72(3x24) | 62.792 | 1.507 | - |  |  |  | 62.1846 | 61.689
| Balimela | 510(6x60+2x75) | 81.208 | 1.949 | 1516/1440 ft | 1488 | 1476.8 | 1476.9 | 28.5553 | 241.2499
| Rengali | 250(5x50) | 249.45 | 5.9868 | 123.5/109.75 mt | 122.64 | 122.47 | 122.48 | 250.7664 | 250.1649
| Upper Kolab | 320(4x80) | 42.54 | 1.021 | 858/844 mt | 855.79 | 852.56 | 852.59 | 0 | 41.8502
| Upper Indravati | 600(4x150) | 579.8333 | 13.916 | 642/625 mt | 637.66 | 640 | 639.98 | 590.1182 | 593.0219
| Machkund | 60(50% of(3x17+3x23)) | 7.33 | 0.17592 | 2750/2685 ft | 2748.25 | 2731.75 | 2731.8 | 16.2161 | 12.1932
| Total Hydro | 2099.5 | 1235.2363 | 29.6457 |  |  |  |  | 1157.4531 | 1393.0575
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1526.1987 | 36.6288 | RENEWABLE ENERGY (RE) |  |  |  | 1713.9678 | 1528.5561
[5 empty] | M.Hydl | 107.17
| Total Thermal | 2200 | 1526.1987 | 36.6288 | Solar | 103.3805 |  |  | 1713.9678 | 1528.5561
IPP | VEDANTA #2 | 600 (1x600) | 433.8916 | 10.4134 | Total IPPs | Yesterday's Demand Profile |  |  | 384.1804 | 563.6914
| GMR #3 | 350 (1x350) | 327.8782 | 7.8691 | 809.2662 |  | MW | HRS | 330.5935 | 322.46
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 47.4964 | 1.1399 |  |  |  |  | 56.3237 | 56.6955
| CGPs |  | 1167.8794 | 28.0291 | IPPs, CGPs & RE | Maximum | 6154 | 01:00 | 1885.6535 | 2280.0724
| Central Sector(Drawl) |  | 814.7667 | 19.5544 | 2187.6961 | Minimum | 5359 | 06:00 | 604.6571 | 850.2887
| Central Sector(Sch) |  | 886.8216 | 21.2837 |  | Average | 5763.8978 |  | 574.91 | 785.1401
| Grand Total |  | 5763.8978 | 138.3335 | Instantaneous Peak demand |  | 6588 | 0:06 | 5361.7315 | 6051.9748
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1783.8958 | 42.8135 | 1679.8104 | 40.3154 | 1822.9989 | 43.752
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1326.4373 | 31.8345 | 1627.989 | 39.0717 | 1628.7802 | 39.0907
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1078.0208 | 25.8725 | 1419.7647 | 34.0744 | 1334.0461 | 32.0171
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 644.3438 | 15.4642 | 654.3998 | 15.7056 | 635.1874 | 15.2445
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 4832.6977 | 115.9847 | 5381.9638 | 129.1671 | 5421.0127 | 130.1043
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 384.1804 | GMR |  |  |  | 330.5935
| NBVL #3 | 0 | MDTPC |  |  |  | 56.3237
Mini Hydel: | MEENAKSHI | 25.7369 | OPCL |  |  |  | 0
| BTPL | 27.8694 | SAPTADHARA |  |  |  | 11.0367
Solar: |  |  | KAKATIYA |  |  |  | 8
CGPs : | JSPL (Angul) | 409.5594 | JSL(Duburi) |  |  |  | -26.9821
| ICCL | 47.454 | visa |  |  |  | 20.9704
| NALCO | -132.2913 | VAL (CGP) |  |  |  | 104.8496
| RSP | -64.5023 | BSL(MMDL) |  |  |  | 68.3516
| INDAL | 1.4033 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -35.9468 | VAL CPP 400 kV |  |  |  | -431.7806
| NBVL | 53.3752 | Arati |  |  |  | 8.7763
| BPSL(JSG) | -10.1496 | BPPL |  |  |  | 121.2789
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-02 | 2026-09-03 | 2026-09-04 | 2026-09-05 | 2026-09-06 | 2026-09-07 | 2026-09-08 | 2026-09-09
1184.9895 | 1168.7978 | 1153.39 | 1158.9236 | 1151.6823 | 1166.575 | 1220.73 | 1235.2363
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.09.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | -20 | AARTISTEEL | UPPCL | -6 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.04
AMNSIL_Pdeep | AMNSIL | -5.62 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0
ARYAN_ISPAT | BALCO_LOAD | -5 | DCBL_Rajgangpur | DALCEMAP | -7.08 | AGE26AL_PSS6_KPS1_S | ODISHA | 139.52
ENVIROCARE_INFRA | APCPDCL | -13 | DCBL_Rajgangpur | DCBLME | -6.5 | AP41PL_BHDL | ODISHA | 59.89
FACORPOWER | RUVITSL | -3.33 | DCBL_Rajgangpur | DCL_RCW | -3.58 | AP43PL_BKN | ODISHA | 93.34
GMRKEL_STU | GEB_Beneficiary | -61.9 | DCBL_Rajgangpur | DalmiaCementNEL2 | -1.95 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 2.22
GMRKEL_STU | TNEB | -18 | FACORPOWER | PSPCL | -21.25 | AWEK1L | ODISHA | 6.21
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | FACORPOWER | PSPCL | -8.75 | AWEK1L | ODISHA | 9.31
JPIPL | NPCL_UP | -13.5 | FACORPOWER | RUVITSL | -6.67 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.78
JSPLANGUL | GEB_Beneficiary | -110 | JSPLANGUL | RUVITSL | -3.12 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 28.44
JSPLANGUL | RUVITSL | -40.62 | JSPLANGUL | RUVITSL | -106.25 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 12.02
JSPLANGUL | RUVITSL | -27.08 | JSPLANGUL | RUVITSL | -70.83 | DADRI_SOLAR | ODISHA | 0.77
MAADURGA_THERMAL | NPCL_UP | -17.26 | JSPLANGUL | RUVITSL | -2.08 | ENERSON_SOLAR_10MW | ODISHA | 0
NBVLIPP | TANGEDCO | 0 | KCMW_od | DALCEMAP | -0.68 | GADAG_GreenInfra_W | ODISHA | 0.43
ODISHA | AMNSIL | -41.67 | NBVLIPP | BSPHCL | -12.54 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | APCPDCL | -12.5 | NBVLIPP | RUVITSL | -5.38 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | APCPDCL | -31.25 | OCL_IRON_STEEL | TPDDL | -5.67 | GADAG_Serentica3_S | VLSEZ | 44.31
ODISHA | GEB_Beneficiary | -13.54 | OCL_IRON_STEEL | TPDDL | -2.33 | GADAG_Serentica3_W | VLSEZ | 37.46
ODISHA | PCKL | -77.08 | ODISHA | HARYANA | -13.54 | GIWEL_SECI_II_RE | ODISHA | 34.42
ODISHA | PCKL | -12.5 | ODISHA | JBVNL | -45.83 | GPCL_SOLAR_10 | ODISHA | 0.94
ORSISL | BALCO_LOAD | -5 | ODISHA | NUPLLP | -1 | GSECL_SOLAR | ODISHA | 1.31
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | ODISHA | TANGEDCO | -12.5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.81
VSL | APCPDCL | -5 | ODISHA | TANGEDCO | -12.5 | KARUR_TPVARDHAMAN_W | TSKPO | 65.89
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | TANGEDCO | -18.75 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.11
JSWEL_UTKAL | ODISHA | 60.27 | ODISHA | TANGEDCO | -6.25 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.12
RAJ_SOLAR | ODISHA | 2.48 | ODISHA | TPL_DIS_AHM | -40.62 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.26
RAJ_SOLAR | ODISHA | 2.78 | ODISHA | WBSEDCL | -12.5 | NTPCRE1_SMND_BHJ2_W | ODISHA | 3.78
|  |  | ORSISL | UPPCL | -2.5 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0.16
|  |  | SMEL | PSPCL | -17.71 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 3.61
|  |  | SMEL | PSPCL | -7.29 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 1.67
|  |  | SMEL | TPL_DIS_DHOLERA | -3 | OKWPL_RE | ODISHA | 16.4
|  |  | Shri_JSPL | KSEB | -2 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 4.4
|  |  | TIMES_STEEL | TPL_DIS_DHOLERA | -2.5 | RWE_AP2_SECI_III | ODISHA | 16.99
|  |  | TIMES_STEEL | UPPCL | -1.5 | RenewGreen_SLPR_HS | JSL_DUBURI | 20.27
|  |  | TSBSLA | TPLD | -10 | SRI9PL_FTG3 | VLSEZ | 89.41
|  |  | VIRAJ_SEPL | PSPCL | -7.08 | TPVSL_BKN3 | TSKPO | 12.82
|  |  | VIRAJ_SEPL | PSPCL | -2.92 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.14
|  |  | VSL | TANGEDCO | -10 | TSESOPL_BKN2 | OPL_CUTTAK | 0.17
|  |  | VSL | TPL_DIS_AHM | -5 | Tuticorin_BETAMWIND | ODISHA | 41.56
|  |  | Darlipali_NTPC | ODISHA | 44.88 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 11.2
|  |  | JIPL | ODISHA | 115.6 | XXPPL_FTG3 | ODISHA | 69.92
|  |  | MYTRAHVAYU | VLSEZ | 1.51
|  |  | NALCOAP | NACL_Odisha | 7.57
|  |  | TSTPP_I | ODISHA | 28.87

## DAM
DAM TRADING DETAILS FOR DT : 09.09.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 10.26
00:15 - 00:30 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 11.35
00:30 - 00:45 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 9.71
00:45 - 01:00 | -2 | 0 | 0 | -139.99 | 0 | -3 | -3 | 0 | 10.61
01:00 - 01:15 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0.52
01:15 - 01:30 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0.52
01:30 - 01:45 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 1.38
01:45 - 02:00 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 3.1
02:00 - 02:15 | -2 | 0 | 0 | -140 | 0 | -3 | -45.5 | 0 | 20.87
02:15 - 02:30 | -2 | 0 | 0 | -140 | 0 | -3 | -45.5 | 0 | 25.13
02:30 - 02:45 | -2 | 0 | 0 | -140 | 0 | -3 | -45.5 | 0 | 22.97
02:45 - 03:00 | -2 | 0 | 0 | -140 | 0 | -3 | -45.5 | 0 | 26.65
03:00 - 03:15 | -2 | 0 | 0 | -140 | 0 | -3 | -45.5 | 0 | 11.51
03:15 - 03:30 | -2 | 0 | 0 | -140 | 0 | -3 | -45.5 | 0 | 12.3
03:30 - 03:45 | -2 | 0 | 0 | -140 | 0 | -3 | -45.5 | 0 | 13.09
03:45 - 04:00 | -2 | 0 | 0 | -140 | 0 | -3 | -45.5 | 0 | 13.46
04:00 - 04:15 | -2 | 0 | 0 | -140 | 0 | -3 | -45.5 | 0 | 13.26
04:15 - 04:30 | -2 | 0 | 0 | -140 | 0 | -3 | -45.5 | 0 | 14.78
04:30 - 04:45 | -2 | 0 | 0 | -140 | 0 | -3 | -45.5 | 0 | 17.28
04:45 - 05:00 | -2 | 0 | 0 | -140 | 0 | -3 | -45.5 | 0 | 18.88
05:00 - 05:15 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 4.51
05:15 - 05:30 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 4.05
05:30 - 05:45 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 3.11
05:45 - 06:00 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0.55
06:00 - 06:15 | -25 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 1.33
06:15 - 06:30 | -25 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0.11
06:30 - 06:45 | -25 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0.02
06:45 - 07:00 | -25 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0.62
07:00 - 07:15 | -25 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0
07:15 - 07:30 | -25 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0
07:30 - 07:45 | -25 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0
07:45 - 08:00 | -25 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0
08:00 - 08:15 | -20 | -700 | 0 | -140 | 0 | -3 | -45.5 | 0 | 0
08:15 - 08:30 | -20 | -700 | 0 | -140 | 0 | -3 | -45.5 | 0 | 0
08:30 - 08:45 | -20 | -700 | 0 | -100 | 0 | -3 | -45.5 | 0 | 0
08:45 - 09:00 | -20 | -700 | 0 | -70 | 0 | -3 | -45.5 | 0 | 0
09:00 - 09:15 | 0 | -875 | 0 | 0 | 0 | -3 | -45.5 | 0 | 0
09:15 - 09:30 | 0 | -875 | 0 | 0 | 0 | -3 | -45.5 | 0 | 0
09:30 - 09:45 | 0 | -875 | 0 | 0 | 0 | -3 | -45.5 | 0 | 0
09:45 - 10:00 | 0 | -875 | 0 | 0 | 0 | -3 | -45.5 | 0 | 0
10:00 - 10:15 | 0 | -1100 | 0 | 0 | 0 | -1 | -34 | 7.71 | 0
10:15 - 10:30 | 0 | -1100 | 33.72 | 0 | 2.52 | -1 | -34 | 7.71 | 0
10:30 - 10:45 | 0 | -1100 | 33.71 | 0 | 9.63 | -1 | -34 | 7.71 | 0
10:45 - 11:00 | 0 | -1100 | 0 | 0 | 0 | -1 | -34 | 7.71 | 0
11:00 - 11:15 | 0 | -1100 | 3.1 | 0 | 0 | -1 | -34 | 7.71 | 0
11:15 - 11:30 | 0 | -1100 | 33.71 | 0 | 9.63 | -1 | -34 | 7.71 | 0
11:30 - 11:45 | 0 | -1100 | 33.71 | 0 | 9.63 | -1 | -34 | 7.71 | 0
11:45 - 12:00 | 0 | -1100 | 33.71 | 0 | 9.63 | -1 | -34 | 7.71 | 0
12:00 - 12:15 | 0 | -1100 | 33.71 | 0 | 0 | -1 | -34 | 7.71 | 0
12:15 - 12:30 | 0 | -1100 | 0 | 0 | 0 | -1 | -34 | 7.71 | 0
12:30 - 12:45 | 0 | -1100 | 0 | 0 | 0 | -1 | -34 | 7.71 | 0
12:45 - 13:00 | 0 | -1100 | 0 | 0 | 0 | -1 | -34 | 7.71 | 0
13:00 - 13:15 | 0 | -835.83 | 0 | 0 | 0 | -1 | -34 | 7.71 | 0
13:15 - 13:30 | 0 | -836.31 | 0 | 0 | 0 | -1 | -34 | 7.71 | 0
13:30 - 13:45 | 0 | -1100 | 0 | 0 | 0 | -1 | -34 | 7.71 | 0
13:45 - 14:00 | 0 | -1100 | 0 | 0 | 0 | -1 | -34 | 7.71 | 0
14:00 - 14:15 | 0 | -1095.76 | 0 | 0 | 0 | -1 | -34 | 7.71 | 0
14:15 - 14:30 | 0 | -1125 | 0 | 0 | 0 | -1 | -34 | 0 | 0
14:30 - 14:45 | 0 | -1125 | 0 | 0 | 0 | -1 | -34 | 0 | 0
14:45 - 15:00 | 0 | -1125 | 0 | 0 | 0 | -1 | -34 | 0 | 0
15:00 - 15:15 | 0 | -1025 | 0 | 0 | 0 | -3 | -45.5 | 0 | 0
15:15 - 15:30 | 0 | -1025 | 0 | 0 | 0 | -3 | -45.5 | 0 | 0
15:30 - 15:45 | 0 | -1025 | 0 | 0 | 0 | -3 | -45.5 | 0 | 0
15:45 - 16:00 | 0 | -1025 | 0 | 0 | 0 | -3 | -45.5 | 0 | 0
16:00 - 16:15 | -20 | -775 | 0 | -140 | 0 | -3 | -45.5 | 0 | 0
16:15 - 16:30 | -20 | -775 | 0 | -140 | 0 | -3 | -45.5 | 0 | 0
16:30 - 16:45 | -20 | -775 | 0 | -140 | 0 | -3 | -45.5 | 0 | 0
16:45 - 17:00 | -20 | -775 | 0 | -140 | 0 | -3 | -45.5 | 0 | 0
17:00 - 17:15 | -20 | -700 | 0 | -140 | 0 | -3 | -45.5 | 0 | 0
17:15 - 17:30 | -20 | -600 | 0 | -140 | 0 | -3 | -45.5 | 0 | 0
17:30 - 17:45 | -20 | -300 | 0 | -140 | 0 | -3 | -45.5 | 0 | 0
17:45 - 18:00 | -20 | -250 | 0 | -140 | 0 | -3 | -45.5 | 0 | 0
18:00 - 18:15 | -2 | -148.09 | 0 | -140 | 0 | -3 | -45.5 | 0 | 0
18:15 - 18:30 | -2 | -148.72 | 0 | -140 | 0 | -3 | -45.5 | 0 | 0
18:30 - 18:45 | -2 | -149.24 | 0 | -140 | 0 | -3 | -45.5 | 0 | 0
18:45 - 19:00 | -2 | -149.32 | 0 | -140 | 0 | -3 | -45.5 | 0 | 0
19:00 - 19:15 | -2 | 0.09 | 0 | -140 | 0 | -3 | -3 | 0 | 0
19:15 - 19:30 | -2 | 0.03 | 0 | -140 | 0 | -3 | -3 | 0 | 0
19:30 - 19:45 | -2 | 0 | 0 | -139.99 | 0 | -3 | -3 | 0 | 0
19:45 - 20:00 | -2 | 0.05 | 0 | -140 | 0 | -3 | -3 | 0 | 0
20:00 - 20:15 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0
20:15 - 20:30 | -2 | 0.01 | 0 | -139.99 | 0 | -3 | -3 | 0 | 0
20:30 - 20:45 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0
20:45 - 21:00 | -2 | 0.01 | 0 | -140 | 0 | -3 | -3 | 0 | 0
21:00 - 21:15 | -2 | 0.01 | 0 | -140 | 0 | -3 | -3 | 0 | 0
21:15 - 21:30 | -2 | 0.07 | 0 | -140 | 0 | -3 | -3 | 0 | 0
21:30 - 21:45 | -2 | 0.08 | 0 | -139.99 | 0 | -3 | -3 | 0 | 0
21:45 - 22:00 | -2 | 0.11 | 0 | -140 | 0 | -3 | -3 | 0 | 0
22:00 - 22:15 | -2 | 0.02 | 0 | -140 | 0 | -3 | -3 | 0 | 0
22:15 - 22:30 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0
22:30 - 22:45 | -2 | 0.01 | 0 | -139.99 | 0 | -3 | -3 | 0 | 0
22:45 - 23:00 | -2 | 0.03 | 0 | -140 | 0 | -3 | -3 | 0 | 0
23:00 - 23:15 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0
23:15 - 23:30 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0
23:30 - 23:45 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0
23:45 - 24:00 | -2 | 0 | 0 | -140 | 0 | -3 | -3 | 0 | 0
Average | -5.5833 | -390.4974 | 2.1393 | -98.0203 | 0.4275 | -2.5833 | -25.3958 | 1.3653 | 2.8326

## GDAM
GDAM TRADING DETAILS FOR DT:09.09.2026
Time Period | IOCL_Paradeep_Refinery | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 0 | 0 | 18.98
00:15 - 00:30 | 0 | 0 | 0 | 0 | 0 | 19.42
00:30 - 00:45 | 0 | 0 | 0 | 0 | 0 | 19.55
00:45 - 01:00 | 0 | 0 | 0 | 0 | 0 | 19.7
01:00 - 01:15 | 0 | 0 | 0 | 0 | 0 | 14.34
01:15 - 01:30 | 0 | 0 | 0 | 0 | 0 | 14.24
01:30 - 01:45 | 0 | 0 | 0 | 0 | 0 | 14.54
01:45 - 02:00 | 0 | 0 | 0 | 0 | 0 | 14.61
02:00 - 02:15 | 0 | 0 | 0 | 0 | 0 | 13.95
02:15 - 02:30 | 0 | 0 | 0 | 0 | 0 | 13.8
02:30 - 02:45 | 0 | 0 | 0 | 0 | 0 | 10.94
02:45 - 03:00 | 0 | 0 | 0 | 0 | 0 | 10.76
03:00 - 03:15 | 0 | 0 | 0 | 0 | 0 | 3.13
03:15 - 03:30 | 0 | 0 | 0 | 0 | 0 | 3.11
03:30 - 03:45 | 0 | 0 | 0 | 0 | 0 | 3.05
03:45 - 04:00 | 0 | 0 | 0 | 0 | 0 | 2.98
04:00 - 04:15 | 0 | 0 | 0 | 0 | 0 | 2.89
04:15 - 04:30 | 0 | 0 | 0 | 0 | 0 | 2.84
04:30 - 04:45 | 0 | 0 | 0 | 0 | 0 | 2.68
04:45 - 05:00 | 0 | 0 | 0 | 0 | 0 | 2.38
05:00 - 05:15 | 0 | 0 | 0 | 0 | 0 | 0.67
05:15 - 05:30 | 0 | 0 | 0 | 0 | 0 | 0.59
05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0.53
05:45 - 06:00 | 0 | 0 | 0 | 0 | 0 | 0.47
06:00 - 06:15 | 0 | 0 | 0 | 0 | -3.5 | 0.65
06:15 - 06:30 | 0 | 0 | 0 | 0 | -3.5 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | -3.5 | 0.44
06:45 - 07:00 | 0 | 0 | 0 | 0 | -3.5 | 1.61
07:00 - 07:15 | 0 | 0 | 0 | 0 | -3.5 | 2.85
07:15 - 07:30 | 0 | 0 | 0 | 0 | -3.5 | 5.48
07:30 - 07:45 | 0 | 0 | 0 | 0 | -3.5 | 94.92
07:45 - 08:00 | 0 | 0 | 0 | 0 | -3.5 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0 | -3.5 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0 | -3.5 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0 | -3.5 | 0
08:45 - 09:00 | 0 | 0 | 0 | 0 | -3.5 | 0
09:00 - 09:15 | 0 | 0 | 0 | 0 | -3.5 | 0
09:15 - 09:30 | 0 | 0 | 7.71 | 0 | -3.5 | 0
09:30 - 09:45 | 0 | 0 | 7.71 | 0 | -3.5 | 0
09:45 - 10:00 | 0 | 0 | 7.71 | 0 | -3.5 | 0
10:00 - 10:15 | 0 | 0 | 7.71 | 0 | -3.5 | 0
10:15 - 10:30 | 0 | 0 | 7.71 | 0 | -3.5 | 0
10:30 - 10:45 | 0 | 0 | 7.71 | 0 | -3.5 | 0
10:45 - 11:00 | 0 | 0 | 7.71 | 0 | -3.5 | 0
11:00 - 11:15 | 0 | 0 | 7.71 | 0 | -3.5 | 0
11:15 - 11:30 | 0 | 0 | 7.71 | 0 | -3.5 | 0
11:30 - 11:45 | 0 | 0 | 7.71 | 0 | -3.5 | 0
11:45 - 12:00 | 0 | 0 | 7.71 | 0 | -3.5 | 0
12:00 - 12:15 | 0 | 9.63 | 7.71 | 0 | -3.5 | 0
12:15 - 12:30 | 33.71 | 9.63 | 7.71 | 0 | -3.5 | 0
12:30 - 12:45 | 33.72 | 9.63 | 7.71 | 3.85 | -3.5 | 0
12:45 - 13:00 | 33.72 | 9.63 | 7.71 | 3.85 | -3.5 | 0
13:00 - 13:15 | 33.72 | 9.63 | 7.71 | 3.85 | -3.5 | 0
13:15 - 13:30 | 33.72 | 9.63 | 7.71 | 3.85 | -3.5 | 0
13:30 - 13:45 | 33.72 | 9.63 | 7.71 | 3.85 | -3.5 | 0
13:45 - 14:00 | 33.72 | 9.63 | 7.71 | 3.85 | -3.5 | 0
14:00 - 14:15 | 0 | 0 | 7.71 | 0 | -3.5 | 0
14:15 - 14:30 | 0 | 0 | 7.71 | 0 | -3.5 | 0
14:30 - 14:45 | 0 | 0 | 7.71 | 0 | -3.5 | 0
14:45 - 15:00 | 0 | 0 | 7.71 | 0 | -3.5 | 0
15:00 - 15:15 | 0 | 0 | 7.71 | 0 | -3.5 | 0
15:15 - 15:30 | 0 | 0 | 7.71 | 0 | -3.5 | 0
15:30 - 15:45 | 0 | 0 | 0 | 0 | -3.5 | 0
15:45 - 16:00 | 0 | 0 | 0 | 0 | -3.5 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0 | -3.5 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0 | -3.5 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0 | -3.5 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0 | -3.5 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0 | -3.5 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0 | -3.5 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0 | -3.5 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | -3.5 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0
Average | 2.4586 | 0.8025 | 2.0078 | 0.24063 | -1.75 | 3.2927

## RTM
RTM TRADING DETAILS FOR DT: 09.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | Narbheram_Power_and_Steel_Private_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Paradeep_Phosphates_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | SMC_Power_Generation_Limited_Unit_II_PTC | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -0.4 | 0 | -2.5 | -50 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | -2
00:15 - 00:30 | -0.4 | 0 | -2.5 | -50 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -2.5 | -3 | 0 | 0 | 0 | 0 | -1 | -15 | 0 | 0 | -2
00:30 - 00:45 | -0.4 | 0 | -2.5 | -50 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -2.5 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2
00:45 - 01:00 | -0.4 | 0 | -2.5 | -50 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -2.5 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2
01:00 - 01:15 | -0.4 | 0 | -2.5 | -50 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -1 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2
01:15 - 01:30 | -0.4 | -9 | -2.5 | -50 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -1 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2
01:30 - 01:45 | -0.4 | 0 | -2.5 | -50 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -1 | -4.5 | 0 | 0 | 0 | 0 | -1 | -25 | 0 | 0 | -2
01:45 - 02:00 | -0.4 | 0 | -2.5 | -50 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -1 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2
02:00 - 02:15 | -0.4 | 0 | -2.5 | -75 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -1 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2
02:15 - 02:30 | -0.4 | 0 | -2.5 | -75 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -1 | -4.5 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | -2
02:30 - 02:45 | -0.4 | 0 | -2.5 | -150 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -1 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2
02:45 - 03:00 | -0.4 | -8 | -2.5 | -150 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -1 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2
03:00 - 03:15 | -0.4 | 0 | -2.5 | 0 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -1 | -4.5 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | -2
03:15 - 03:30 | -0.4 | 0 | -2.5 | 0 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -1 | -4.5 | 0 | 0 | 0 | 0 | -1 | -30 | 0 | 0 | -2
03:30 - 03:45 | -0.4 | 0 | -2.5 | 0 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -1 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2
03:45 - 04:00 | -0.4 | 0 | -2.5 | 0 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -1 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2
04:00 - 04:15 | -0.4 | -5 | -2.5 | 0 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -1 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0.11 | -2
04:15 - 04:30 | -0.4 | -6 | -2.5 | 0 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -1 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0.11 | -2
04:30 - 04:45 | -0.4 | 0 | -2.5 | 0 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -2 | -4.5 | 0 | 0 | 0 | 0 | -1 | -15 | 0 | 0.09 | -2
04:45 - 05:00 | -0.4 | 0 | -2.5 | 0 | 0 | -100 | 0 | -1.2 | -2.5 | 0 | -2 | -4.5 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0.1 | -2
05:00 - 05:15 | -0.4 | 0 | -2.5 | 0 | 0 | -100 | 0 | -1.2 | -1.5 | 0 | -2 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0.08 | -2
05:15 - 05:30 | -0.4 | 0 | -2.5 | 0 | 0 | -100 | 0 | -1.2 | -1.5 | 0 | -2 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0.07 | -2
05:30 - 05:45 | -0.4 | -8 | -2.5 | -50 | 0 | -100 | 0 | -1.2 | -1.5 | 0 | -2 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0.06 | -2
05:45 - 06:00 | -0.4 | 0 | -2.5 | -50 | 0 | -100 | 0 | -1.2 | -1.5 | 0 | -2 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0.06 | -2
06:00 - 06:15 | -0.4 | 0 | -5.5 | -50 | 0 | -100 | -0.1 | -1.2 | -1.5 | 0 | -6 | -4.5 | 0 | 0 | 0 | 0 | -1 | -25 | 0 | 1.52 | 0
06:15 - 06:30 | -0.4 | 0 | -5.5 | -50 | 0 | -100 | -0.2 | -1.2 | -1.5 | 0 | -6 | -4.5 | 0 | 0 | 0 | 0 | -1 | -35 | 0 | 5.73 | 0
06:30 - 06:45 | -0.4 | 0 | -5.5 | -50 | 0 | -100 | -0.4 | -1.2 | -1.5 | -0.3 | -6 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 7.23 | 0
06:45 - 07:00 | -0.4 | 0 | -5.5 | -50 | 0 | -100 | -0.5 | -1.2 | -1.5 | -0.7 | -6 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 7.41 | 0
07:00 - 07:15 | -0.4 | -8 | -5.5 | 0 | 0 | -100 | -0.7 | -1.2 | 0 | -1 | -6 | -4.5 | 0 | 0 | 0 | 0 | -1 | -15 | 0 | 0 | 0
07:15 - 07:30 | -0.4 | 0 | -5.5 | 0 | 0 | -100 | -0.8 | -1.2 | 0 | -1.4 | -6 | -4.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
07:30 - 07:45 | -0.4 | 0 | -5.5 | -300 | 0 | -100 | -0.8 | -1.2 | 0 | -1.5 | -5 | -4.5 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0
07:45 - 08:00 | -0.4 | 0 | -5.5 | -400 | 0 | -100 | -1 | -1.2 | 0 | -1.8 | -5 | -4.5 | 0 | 0 | 0 | 0 | -1 | -40 | 0 | 0 | 0
08:00 - 08:15 | -0.4 | -2 | -5 | 0 | 0 | -100 | -0.6 | -1.2 | 0 | -2 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
08:15 - 08:30 | -0.4 | -2 | -5 | -75 | 0 | -100 | -0.7 | -1.2 | 0 | -2.2 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
08:30 - 08:45 | -0.5 | 0 | 0 | -170 | 0 | -80 | -0.5 | -1.2 | 0 | -2.5 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
08:45 - 09:00 | -0.5 | 0 | 0 | -314.25 | 0 | 0 | -0.6 | -1.2 | 0 | -2.7 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
09:00 - 09:15 | -0.5 | 0 | 0 | -318.43 | 10.59 | 0 | -0.8 | -1.2 | 0 | -3.1 | 0 | -5 | 0 | 4.82 | 0 | 0 | -1 | -40 | 0 | 0 | 0
09:15 - 09:30 | -0.5 | -2 | 3.85 | -300 | 10.6 | 0 | -1 | -1.2 | 0 | -3.2 | 0 | -5 | 11.56 | 4.82 | 12.52 | 0 | -1 | 0 | 28.9 | 0 | 0
09:30 - 09:45 | -0.5 | -7 | 0 | -250.03 | 10.59 | 0 | -1.1 | -1.2 | 0 | -3.3 | 0 | -5 | 0 | 4.82 | 0 | 0 | -1 | 0 | 0 | 0 | 0
09:45 - 10:00 | -0.5 | 0 | 0 | -199.97 | 10.59 | 0 | -1.3 | -1.2 | 0 | -0.7 | 0 | -5 | 0 | 4.82 | 0 | 0 | -1 | 0 | 0 | 0 | 0
10:00 - 10:15 | -0.5 | 0 | 0 | -207.95 | 10.59 | 0 | -1.7 | -1.2 | 0 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | -1 | 0 | 0 | 0 | 0
10:15 - 10:30 | -0.5 | 0 | 0 | -255.36 | 10.59 | 0 | -2 | -1.2 | 0 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | -1 | -10 | 0 | 0 | 0
10:30 - 10:45 | -0.5 | 0 | 0 | -333.34 | 7.77 | 0 | -2.1 | -1.2 | 0 | 0 | 0 | 0 | 0 | 3.54 | 0 | 0 | -1 | -30 | 0 | 0 | 0
10:45 - 11:00 | -0.5 | -7 | 0 | -333.31 | 10.59 | 0 | -2.2 | -1.2 | 0 | 0 | 0 | 0 | 0 | 4.82 | 0 | 0 | -1 | 0 | 0 | 0 | 0
11:00 - 11:15 | -0.5 | 0 | 3.85 | -314.48 | 10.6 | 0 | -2.6 | -1.2 | 0 | 0 | 0 | 0 | 7.71 | 11.56 | 19.26 | 6.74 | -1 | 0 | 0 | 0 | 0
11:15 - 11:30 | -0.5 | 0 | 3.85 | -308.49 | 10.6 | 0 | -2.8 | -1.2 | 0 | 0 | 0 | 0 | 7.71 | 11.56 | 19.27 | 6.74 | -1 | 0 | 48.16 | 0 | 0
11:30 - 11:45 | -0.5 | -3 | 3.85 | -310.52 | 10.6 | 0 | -2.6 | -1.2 | 0 | 0 | 0 | 0 | 7.71 | 11.56 | 19.27 | 6.74 | -1 | 0 | 48.16 | 0 | 0
11:45 - 12:00 | -0.5 | 0 | 3.85 | -321.5 | 10.6 | 0 | -2.4 | -1.2 | 0 | 0 | 0 | 0 | 0 | 11.56 | 0.87 | 6.74 | -1 | 0 | 0 | 0 | 0
12:00 - 12:15 | -0.5 | -7 | 0 | -535.33 | 10.6 | 0 | -2.4 | -1.2 | 0 | 0 | 0 | 0 | 0 | 11.56 | 0 | 6.74 | -1 | -30 | 0 | 0 | 0
12:15 - 12:30 | -0.5 | 0 | 0 | -429.49 | 10.6 | 0 | -2.9 | -1.2 | 0 | 0 | 0 | 0 | 0 | 11.56 | 0 | 6.74 | -1 | -20 | 0 | 0 | 0
12:30 - 12:45 | -0.5 | 0 | 3.85 | -500 | 10.6 | 0 | -1.5 | -1.2 | -25 | 0 | 0 | 0 | 0 | 11.56 | 19.27 | 6.74 | -1 | 0 | 0 | 0 | 0
12:45 - 13:00 | -0.5 | 0 | 3.85 | -600 | 10.6 | 0 | -1.5 | -1.2 | -25 | 0 | 0 | 0 | 7.71 | 11.56 | 19.26 | 6.74 | -1 | 0 | 0 | 0 | 0
13:00 - 13:15 | -0.5 | 0 | 3.85 | -805.48 | 10.6 | 0 | -0.7 | -1.2 | -25 | 0 | 0 | 0 | 7.71 | 11.56 | 19.26 | 6.74 | -1 | -20 | 19.27 | 0 | 0
13:15 - 13:30 | -0.5 | 0 | 3.85 | -811.86 | 10.6 | 0 | -0.6 | -1.2 | -25 | 0 | 0 | 0 | 7.71 | 11.56 | 19.26 | 6.74 | -1 | 0 | 19.27 | 0 | 0
13:30 - 13:45 | -0.5 | -7 | 0 | -732.52 | 10.6 | 0 | -0.6 | -1.2 | -25 | -1.5 | 0 | 0 | 0 | 11.56 | 0 | 6.74 | -1 | -20 | 0 | 0 | 0
13:45 - 14:00 | -0.5 | 0 | 0 | -649.94 | 10.6 | 0 | -0.5 | -1.2 | -25 | -4.1 | 0 | 0 | 0 | 11.56 | 0 | 0 | -1 | -30 | 0 | 0 | 0
14:00 - 14:15 | -0.5 | 0 | 0 | -700 | 10.6 | 0 | -1 | -1.2 | -30 | -4 | 0 | 0 | 0 | 11.56 | 0 | 0 | -1 | -10 | 0 | 0 | 0
14:15 - 14:30 | -0.5 | 0 | 0 | -600 | 0 | 0 | -0.8 | -1.2 | -30 | -3.6 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
14:30 - 14:45 | -0.5 | 0 | 0 | -850.07 | 0 | 0 | -0.7 | -1.2 | -30 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
14:45 - 15:00 | -0.5 | -6 | 0 | -651.62 | 0 | 0 | -0.6 | -1.2 | -30 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
15:00 - 15:15 | -0.5 | 0 | 0 | -452.61 | 0 | 0 | -0.4 | -1.2 | -30 | -2.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
15:15 - 15:30 | -0.5 | 0 | 0 | -453.1 | 0 | 0 | -0.3 | -1.2 | -30 | -2.4 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0
15:30 - 15:45 | -0.5 | 0 | 0 | -956.85 | 0 | -40 | -0.2 | -1.2 | -30 | -2.1 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -25 | 0 | 0 | 0
15:45 - 16:00 | -0.5 | 0 | 0 | -1000 | 0 | -80 | -0.1 | -1.2 | -30 | -1.9 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
16:00 - 16:15 | -0.5 | -2 | -10.5 | -1000 | 0 | -60 | 0 | -1.2 | -30 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
16:15 - 16:30 | -0.5 | -3 | -10.5 | -1000 | 0 | -60 | 0 | -1.2 | -30 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
16:30 - 16:45 | -0.5 | 0 | -10.5 | -1100 | 0 | -60 | 0 | -1.2 | -30 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -11 | 0 | 0 | 0
16:45 - 17:00 | -0.5 | 0 | -10.5 | -1000 | 0 | -60 | 0 | -1.2 | -30 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -26 | 0 | 0 | 0
17:00 - 17:15 | -0.5 | 0 | -10.5 | -800 | 0 | -60 | 0 | -1.2 | -38 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
17:15 - 17:30 | -0.5 | 0 | -10.5 | -800 | 0 | -60 | 0 | -1.2 | -38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
17:30 - 17:45 | -0.5 | 0 | -10.5 | -900 | 0 | -80 | 0 | -1.2 | -38 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
17:45 - 18:00 | -0.5 | -2 | -10.5 | -700 | 0 | -80 | 0 | -1.2 | -38 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
18:00 - 18:15 | -0.5 | 0 | -2.5 | -650 | 0 | -80 | 0 | -1.2 | -38 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -1 | -5 | 0 | 0 | -2
18:15 - 18:30 | -0.5 | 0 | -2.5 | -400 | 0 | -80 | 0 | -1.2 | -38 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -1 | -32 | 0 | 0 | -2
18:30 - 18:45 | -0.5 | 0 | -2.5 | -350 | 0 | -90 | 0 | -1.2 | -38 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -30 | 0 | 0 | -2
18:45 - 19:00 | -0.5 | 0 | -2.5 | -300 | 0 | -90 | 0 | -1.2 | -38 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -2
19:00 - 19:15 | -0.3 | 0 | -2.5 | -400 | 0 | -100 | 0 | -1.2 | -38 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
19:15 - 19:30 | -0.3 | 0 | -2.5 | -400 | 0 | -100 | 0 | -1.2 | -38 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
19:30 - 19:45 | -0.3 | 0 | -2.5 | -400 | 0 | -100 | 0 | 0 | -38 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -30 | 0 | 0 | 0
19:45 - 20:00 | -0.3 | 0 | -2.5 | -400 | 0 | -100 | 0 | 0 | -38 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -35 | 0 | 0 | 0
20:00 - 20:15 | -0.3 | 0 | -2.5 | -300 | 0 | -100 | 0 | 0 | -38 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | -35 | 0 | 0 | 0
20:15 - 20:30 | -0.3 | 0 | -2.5 | -300 | 0 | -100 | 0 | 0 | -38 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
20:30 - 20:45 | -0.3 | 0 | -2.5 | -300 | 0 | -100 | 0 | 0 | -38 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
20:45 - 21:00 | -0.3 | 0 | -2.5 | -300 | 0 | -100 | 0 | 0 | -38 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
21:00 - 21:15 | -0.3 | 0 | -2.5 | -350 | 0 | -100 | 0 | 0 | -38 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
21:15 - 21:30 | -0.3 | 0 | -2.5 | -350 | 0 | -100 | 0 | 0 | -38 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
21:30 - 21:45 | -0.3 | 0 | -2.5 | -150 | 0 | -100 | 0 | 0 | -38 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -1 | -26 | 0 | 0 | 0
21:45 - 22:00 | -0.3 | 0 | -2.5 | -150 | 0 | -100 | 0 | 0 | -38 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -1 | -26 | 0 | 0 | 0
22:00 - 22:15 | -0.3 | 0 | -2.5 | -150 | 0 | -100 | 0 | 0 | -38 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -1 | -8 | 0 | 0 | 0
22:15 - 22:30 | -0.3 | 0 | -2.5 | -150 | 0 | -100 | 0 | 0 | -38 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
22:30 - 22:45 | -0.3 | 0 | -2.5 | -50 | 0 | -100 | 0 | 0 | -38 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
22:45 - 23:00 | -0.3 | 0 | -2.5 | -50 | 0 | -100 | 0 | 0 | -38 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0
23:00 - 23:15 | -0.3 | 0 | -2.5 | -50 | 0 | -136 | 0 | 0 | -38 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | -0.3 | 0 | -2.5 | -100 | 0 | -136 | 0 | 0 | -38 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -28 | 0 | 0 | 0
23:30 - 23:45 | -0.3 | 0 | -2.5 | -150 | 0 | -136 | 0 | 0 | -38 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | -0.3 | 0 | -2.5 | -150 | 0 | -136 | 0 | 0 | -38 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | -0.42292 | -0.97917 | -2.3266 | -315.0156 | 2.2886 | -68.7917 | -0.46146 | -0.975 | -17.0417 | -0.62187 | -0.85417 | -3.0312 | 0.60229 | 1.9538 | 1.5442 | 0.77229 | -0.95833 | -8.5104 | 1.7058 | 0.2351 | -0.58333