## POWER STATUS
POWER STATUS ON DT 11.09.2026
[9 empty] | 2026-09-11 | 2026-09-10
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 5234.0748 | 5597.7872
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 175.125 | 4.203 | 630/590 ft | 628.43 | 628.67 | 629 | 130.2747 | 150.9616
| Chiplima | 72(3x24) | 56.833 | 1.364 | - |  |  |  | 35.4346 | 64.5239
| Balimela | 510(6x60+2x75) | 76.041 | 1.825 | 1516/1440 ft | 1488.8 | 1476.9 | 1477.2 | 119.3659 | 116.6965
| Rengali | 250(5x50) | 250.1083 | 6.0026 | 123.5/109.75 mt | 122.73 | 122.48 | 122.52 | 251.4128 | 251.1521
| Upper Kolab | 320(4x80) | 23.67 | 0.56808 | 858/844 mt | 855.82 | 852.59 | 852.67 | 75.3419 | 44.7817
| Upper Indravati | 600(4x150) | 581.75 | 13.962 | 642/625 mt | 637.72 | 639.98 | 640.09 | 591.9586 | 595.3829
| Machkund | 60(50% of(3x17+3x23)) | 12.12 | 0.29088 | 2750/2685 ft | 2748.2 | 2731.8 | 2732.1 | 13.4403 | 12.2677
| Total Hydro | 2099.5 | 1175.6473 | 28.2155 |  |  |  |  | 1217.2288 | 1235.7664
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1696.7758 | 40.7226 | RENEWABLE ENERGY (RE) |  |  |  | 1713.6819 | 1711.5114
[5 empty] | M.Hydl | 107.36
| Total Thermal | 2200 | 1696.7758 | 40.7226 | Solar | 67.68 |  |  | 1713.6819 | 1711.5114
IPP | VEDANTA #2 | 600 (1x600) | 434.6809 | 10.4323 | Total IPPs | Yesterday's Demand Profile |  |  | 376.0738 | 554.5698
| GMR #3 | 350 (1x350) | 328.5712 | 7.8857 | 816.5991 |  | MW | HRS | 330.4488 | 326.1151
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 53.347 | 1.2803 |  |  |  |  | 18.1701 | 56.5734
| CGPs |  | 1041.8066 | 25.0034 | IPPs, CGPs & RE | Maximum | 5598 | 20:00 | 1862.5235 | 2104.7952
| Central Sector(Drawl) |  | 380.3517 | 9.1284 | 2033.4457 | Minimum | 5026 | 21:00 | 440.6406 | 545.7142
| Central Sector(Sch) |  | 465.1679 | 11.164 |  | Average | 5286.2205 |  | 339.4906 | 666.64
| Grand Total |  | 5286.2205 | 126.8693 | Instantaneous Peak demand |  | 6058 | 0:10 | 5234.0748 | 5597.7872
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1662.4756 | 39.8994 | 1575.8459 | 37.8203 | 1567.8905 | 37.6294
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1674.0773 | 40.1779 | 1495.2775 | 35.8867 | 1541.9909 | 37.0078
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1277.206 | 30.6529 | 1342.8811 | 32.2291 | 1287.3539 | 30.8965
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 616.3364 | 14.7921 | 583.6479 | 14.0075 | 590.7214 | 14.1773
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5230.0953 | 125.5223 | 4997.6524 | 119.9437 | 4987.9568 | 119.711
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 376.0738 | GMR |  |  |  | 330.4488
| NBVL #3 | 0 | MDTPC |  |  |  | 18.1701
Mini Hydel: | MEENAKSHI | 26.346 | OPCL |  |  |  | 0
| BTPL | -27.3229 | SAPTADHARA |  |  |  | 19.8552
Solar: |  |  | KAKATIYA |  |  |  | 7.4512
CGPs : | JSPL (Angul) | 393.5732 | JSL(Duburi) |  |  |  | -132.9504
| ICCL | 48.328 | visa |  |  |  | 21.6365
| NALCO | -132.776 | VAL (CGP) |  |  |  | 104.8496
| RSP | -38.1215 | BSL(MMDL) |  |  |  | 19.23
| INDAL | -10.4867 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -46.2469 | VAL CPP 400 kV |  |  |  | -482.7056
| NBVL | 54.5316 | Arati |  |  |  | 11.3822
| BPSL(JSG) | -10.8849 | BPPL |  |  |  | 122.2485
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-03 | 2026-09-04 | 2026-09-05 | 2026-09-06 | 2026-09-07 | 2026-09-08 | 2026-09-09 | 2026-09-10
1168.7978 | 1153.39 | 1158.9236 | 1151.6823 | 1166.575 | 1220.73 | 1235.2363 | 1175.6473
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.10.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | -20 | AARTISTEEL | UPPCL | -6 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0
AARTISTEEL | PCKL | -5 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -2.3 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0
AMNSIL_Pdeep | AMNSIL | 0 | DCBL_Rajgangpur | DALCEMAP | -5.96 | AGE26AL_PSS6_KPS1_S | ODISHA | 129.9
ARYAN_ISPAT | BALCO_LOAD | -5 | DCBL_Rajgangpur | DCBLME | -4.83 | AP41PL_BHDL | ODISHA | 61.03
ENVIROCARE_INFRA | APCPDCL | -13 | DCBL_Rajgangpur | DCL_RCW | -3.88 | AP43PL_BKN | ODISHA | 93.92
FACORPOWER | RUVITSL | -3.33 | DCBL_Rajgangpur | DalmiaCementNEL2 | -2.28 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.62
GMRKEL_STU | GEB_Beneficiary | -61.9 | FACORPOWER | PSPCL | -21.25 | AWEK1L | ODISHA | 3.87
GMRKEL_STU | TNEB | -18 | FACORPOWER | PSPCL | -8.75 | AWEK1L | ODISHA | 5.8
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | FACORPOWER | RUVITSL | -6.67 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 5.04
JPIPL | NPCL_UP | -13.5 | JSPLANGUL | RUVITSL | -2.08 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 21.03
JSPLANGUL | GEB_Beneficiary | -110 | JSPLANGUL | RUVITSL | -106.25 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 15.83
JSPLANGUL | RUVITSL | -40.62 | JSPLANGUL | RUVITSL | -70.83 | DADRI_SOLAR | ODISHA | 0.78
JSPLANGUL | RUVITSL | -27.08 | JSPLANGUL | RUVITSL | -3.12 | ENERSON_SOLAR_10MW | ODISHA | 0
MAADURGA_THERMAL | NPCL_UP | -21.42 | NBVLIPP | BSPHCL | -12.54 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | TANGEDCO | 0 | NBVLIPP | RUVITSL | -5.38 | GADAG_GreenInfra_W | ODISHA | 0.43
ODISHA | AMNSIL | -68.75 | OCL_IRON_STEEL | TPDDL | -32.58 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | APCPDCL | -32.29 | OCL_IRON_STEEL | TPDDL | -13.42 | GADAG_Serentica3_S | VLSEZ | 41.14
ODISHA | APCPDCL | -22.92 | ODISHA | AEML | -8.07 | GADAG_Serentica3_W | VLSEZ | 27.55
ODISHA | KPTCL | -18.75 | ODISHA | BRPL | -62.5 | GIWEL_SECI_II_RE | ODISHA | 18.29
ODISHA | PCKL | -14.06 | ODISHA | CESC | -75 | GPCL_SOLAR_10 | ODISHA | 0.91
ODISHA | PCKL | -22.92 | ODISHA | HARYANA | -18.75 | GSECL_SOLAR | ODISHA | 1.7
ODISHA | PCKL | -116.15 | ODISHA | NPCL_UP | -9.38 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.02
ORSISL | BALCO_LOAD | -3 | ODISHA | TANGEDCO | -6.25 | KARUR_TPVARDHAMAN_W | TSKPO | 62.69
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | ODISHA | TANGEDCO | -12.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.05
VSL | APCPDCL | -5 | ODISHA | TANGEDCO | -25 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.69
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | TANGEDCO | -12.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.15
JSWEL_UTKAL | ODISHA | 37.57 | ODISHA | TANGEDCO | -18.75 | NTPCRE1_SMND_BHJ2_W | ODISHA | 2.85
RAJ_SOLAR | ODISHA | 2.8 | ODISHA | TPL_DIS_AHM | -25.78 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0.06
RAJ_SOLAR | ODISHA | 2.45 | ODISHA | TPL_DIS_SUR | -70.83 | OGHOPL_AGAR_PCHR_HS | JFL_ODISHA | 4.82
|  |  | ODISHA | TPL_DIS_SUR | -11.72 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.32
|  |  | ODISHA | WBSEDCL | -23.44 | OKWPL_RE | ODISHA | 8.46
|  |  | ODISHA | WBSEDCL | -18.75 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 4.43
|  |  | ODISHA | WBSEDCL | -16.67 | RWE_AP2_SECI_III | ODISHA | 8.43
|  |  | ORSISL | UPPCL | -1 | RenewGreen_SLPR_HS | JSL_DUBURI | 15.9
|  |  | SMEL | DNHDDPDCL | -3 | SRI9PL_FTG3 | VLSEZ | 94.32
|  |  | SMEL | PSPCL | -17.71 | TPVSL_BKN3 | TSKPO | 12.82
|  |  | SMEL | PSPCL | -7.29 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.14
|  |  | Shri_JSPL | KSEB | -2 | TSESOPL_BKN2 | OPL_CUTTAK | 0.17
|  |  | TIMES_STEEL | TPL_DIS_DHOLERA | -2.5 | Tuticorin_BETAMWIND | ODISHA | 29.19
|  |  | TIMES_STEEL | UPPCL | -1.5 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 7.25
|  |  | TSBSLA | TPLD | -10 | XXPPL_FTG3 | ODISHA | 70.87
|  |  | VIRAJ_SEPL | PSPCL | -7.08
|  |  | VIRAJ_SEPL | PSPCL | -2.92
|  |  | VSL | TANGEDCO | -10
|  |  | VSL | TPL_DIS_AHM | -5
|  |  | Darlipali_NTPC | ODISHA | 35.15
|  |  | JIPL | ODISHA | 115.6
|  |  | NALCOAP | NACL_Odisha | 8.29
|  |  | North_Karanpura_STPS | ODISHA | 0.26
|  |  | TSTPP_I | ODISHA | 42.98

## DAM
DAM TRADING DETAILS FOR DT : 10.09.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Jindal_Steel_&_Power_Limited_Angul_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd)
00:00 - 00:15 | -4.5 | 0 | -80 | -3 | -3 | 0
00:15 - 00:30 | -4.5 | 0 | -80 | -3 | -3 | 0
00:30 - 00:45 | -4.5 | 0 | -80 | -3 | -3 | 0
00:45 - 01:00 | -4.5 | 0 | -80 | -3 | -3 | 0
01:00 - 01:15 | -4.5 | 0 | -80 | -3 | -3 | 0
01:15 - 01:30 | -4.5 | 0 | -80 | -3 | -3 | 0
01:30 - 01:45 | -4.5 | 0 | -80 | -3 | -3 | 0
01:45 - 02:00 | -4.5 | 0 | -80 | -3 | -3 | 0
02:00 - 02:15 | -4.5 | 0 | -80 | -3 | -45.5 | 0
02:15 - 02:30 | -4.5 | 0 | -80 | -3 | -45.5 | 0
02:30 - 02:45 | -4.5 | 0 | -80 | -3 | -45.5 | 0
02:45 - 03:00 | -4.5 | 0 | -80 | -3 | -45.5 | 0
03:00 - 03:15 | -4.5 | 0 | -80 | -3 | -45.5 | 0
03:15 - 03:30 | -4.5 | 0 | -80 | -3 | -45.5 | 0
03:30 - 03:45 | -4.5 | 0 | -80 | -3 | -45.5 | 0
03:45 - 04:00 | -4.5 | 0 | -80 | -3 | -45.5 | 0
04:00 - 04:15 | -4.5 | 0 | -80 | -3 | -45.5 | 0
04:15 - 04:30 | -4.5 | 0 | -80 | -3 | -45.5 | 0
04:30 - 04:45 | -4.5 | 0 | -80 | -3 | -45.5 | 0
04:45 - 05:00 | -4.5 | 0 | -80 | -3 | -45.5 | 0
05:00 - 05:15 | -4.5 | 0 | -80 | -3 | -3 | 0
05:15 - 05:30 | -4.5 | 0 | -80 | -3 | -3 | 0
05:30 - 05:45 | -4.5 | 0 | -80 | -3 | -3 | 0
05:45 - 06:00 | -4.5 | 0 | -80 | -3 | -3 | 0
06:00 - 06:15 | -30.5 | -50 | -80 | -3 | -3 | 0
06:15 - 06:30 | -30.5 | -50 | -80 | -3 | -3 | 0
06:30 - 06:45 | -30.5 | -50 | -80 | -3 | -3 | 0
06:45 - 07:00 | -30.5 | -50 | -80 | -3 | -3 | 0
07:00 - 07:15 | -30.5 | -375 | -80 | -3 | -3 | 0
07:15 - 07:30 | -30.5 | -375 | -80 | -3 | -3 | 0
07:30 - 07:45 | -30.5 | -375 | -80 | -3 | -3 | 0
07:45 - 08:00 | -30.5 | -375 | -80 | -3 | -3 | 0
08:00 - 08:15 | -30.5 | -775 | -80 | -3 | -45.5 | 0
08:15 - 08:30 | -30.5 | -775 | -80 | -3 | -45.5 | 0
08:30 - 08:45 | -30.5 | -775 | -50 | -3 | -45.5 | 0
08:45 - 09:00 | -30.5 | -775 | -30 | -3 | -45.5 | 0
09:00 - 09:15 | 0 | -1300 | 0 | -3 | -45.5 | 0
09:15 - 09:30 | 0 | -1300 | 0 | -3 | -45.5 | 0
09:30 - 09:45 | 0 | -1300 | 0 | -3 | -45.5 | 0
09:45 - 10:00 | 0 | -1300 | 0 | -3 | -45.5 | 0
10:00 - 10:15 | 0 | -1275 | 0 | -1 | -45.5 | 0
10:15 - 10:30 | 0 | -1275 | 0 | -1 | -45.5 | 0
10:30 - 10:45 | 0 | -1275 | 0 | -1 | -45.5 | 0
10:45 - 11:00 | 0 | -1275 | 0 | -1 | -45.5 | 0
11:00 - 11:15 | 0 | -1100 | 0 | -1 | -45.5 | 0
11:15 - 11:30 | 0 | -1100 | 0 | -1 | -45.5 | 0
11:30 - 11:45 | 0 | -1100 | 0 | -1 | -45.5 | 7.71
11:45 - 12:00 | 0 | -1100 | 0 | -1 | -45.5 | 7.71
12:00 - 12:15 | 0 | -1125 | 0 | -1 | -45.5 | 7.71
12:15 - 12:30 | 0 | -1125 | 0 | -1 | -45.5 | 7.71
12:30 - 12:45 | 0 | -1125 | 0 | -1 | -45.5 | 7.71
12:45 - 13:00 | 0 | -1125 | 0 | -1 | -45.5 | 7.71
13:00 - 13:15 | 0 | -1075 | 0 | -1 | -45.5 | 7.71
13:15 - 13:30 | 0 | -1075 | 0 | -1 | -45.5 | 7.71
13:30 - 13:45 | 0 | -1075 | 0 | -1 | -45.5 | 7.71
13:45 - 14:00 | 0 | -1075 | 0 | -1 | -45.5 | 0
14:00 - 14:15 | 0 | -1025 | 0 | -1 | -45.5 | 0
14:15 - 14:30 | 0 | -1025 | 0 | -1 | -45.5 | 0
14:30 - 14:45 | 0 | -1025 | 0 | -1 | -45.5 | 0
14:45 - 15:00 | 0 | -1025 | 0 | -1 | -45.5 | 0
15:00 - 15:15 | 0 | -950 | 0 | -3 | -45.5 | 0
15:15 - 15:30 | 0 | -950 | 0 | -3 | -45.5 | 0
15:30 - 15:45 | 0 | -950 | -30 | -3 | -45.5 | 0
15:45 - 16:00 | 0 | -950 | -50 | -3 | -45.5 | 0
16:00 - 16:15 | -30.5 | -825 | -80 | -3 | -45.5 | 0
16:15 - 16:30 | -30.5 | -625 | -80 | -3 | -45.5 | 0
16:30 - 16:45 | -30.5 | -525 | -80 | -3 | -45.5 | 0
16:45 - 17:00 | -30.5 | -425 | -80 | -3 | -45.5 | 0
17:00 - 17:15 | -30.5 | -400 | -80 | -3 | -45.5 | 0
17:15 - 17:30 | -30.5 | -350 | -80 | -3 | -45.5 | 0
17:30 - 17:45 | -30.5 | -50 | -80 | -3 | -45.5 | 0
17:45 - 18:00 | -30.5 | 0 | -80 | -3 | -45.5 | 0
18:00 - 18:15 | -4.5 | 1.08 | -80 | -3 | -45.5 | 0
18:15 - 18:30 | -4.5 | 0.31 | -80 | -3 | -45.5 | 0
18:30 - 18:45 | -4.5 | 0.07 | -80 | -3 | -45.5 | 0
18:45 - 19:00 | -4.5 | 0.21 | -80 | -3 | -45.5 | 0
19:00 - 19:15 | -4.5 | 0.01 | -80 | -3 | -3 | 0
19:15 - 19:30 | -4.5 | 0.04 | -80 | -3 | -3 | 0
19:30 - 19:45 | -4.5 | 0.01 | -80 | -3 | -3 | 0
19:45 - 20:00 | -4.5 | 0.05 | -80 | -3 | -3 | 0
20:00 - 20:15 | -4.5 | 0.03 | -80 | -3 | -3 | 0
20:15 - 20:30 | -4.5 | 0.02 | -80 | -3 | -3 | 0
20:30 - 20:45 | -4.5 | 0.02 | -80 | -3 | -3 | 0
20:45 - 21:00 | -4.5 | 0 | -80 | -3 | -3 | 0
21:00 - 21:15 | -4.5 | 0.01 | -80 | -3 | -3 | 0
21:15 - 21:30 | -4.5 | 0.01 | -80 | -3 | -3 | 0
21:30 - 21:45 | -4.5 | 0.01 | -80 | -3 | -3 | 0
21:45 - 22:00 | -4.5 | 0.01 | -80 | -3 | -3 | 0
22:00 - 22:15 | -4.5 | 0.01 | -80 | -3 | -3 | 0
22:15 - 22:30 | -4.5 | 0 | -80 | -3 | -3 | 0
22:30 - 22:45 | -4.5 | 0 | -80 | -3 | -3 | 0
22:45 - 23:00 | -4.5 | 0 | -80 | -3 | -3 | 0
23:00 - 23:15 | -4.5 | 0 | -80 | -3 | -3 | 0
23:15 - 23:30 | -4.5 | 0 | -80 | -3 | -3 | 0
23:30 - 23:45 | -4.5 | 0 | -80 | -3 | -3 | 0
23:45 - 24:00 | -4.5 | 0 | -80 | -3 | -3 | 0
Average | -8.6042 | -410.3969 | -56.6667 | -2.5833 | -27.7917 | 0.72281

## GDAM
GDAM TRADING DETAILS FOR DT:10.09.2026
Time Period | IOCL_Paradeep_Refinery | MSP_Sponge_Iron_Limited_Odisha | Orissa_Metaliks_Private_Limited | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | -3
06:15 - 06:30 | 0 | 0 | 0 | -3
06:30 - 06:45 | 0 | 0 | 0 | -3
06:45 - 07:00 | 0 | 0 | 0 | -3
07:00 - 07:15 | 0 | 0 | 0 | -3
07:15 - 07:30 | 0 | 0 | 0 | -3
07:30 - 07:45 | 0 | 0 | 0 | -3
07:45 - 08:00 | 0 | 0 | 0 | -3
08:00 - 08:15 | 0 | 0 | 0 | -3
08:15 - 08:30 | 0 | 0 | 0 | -3
08:30 - 08:45 | 0 | 0 | 0 | -3
08:45 - 09:00 | 0 | 0 | 0 | -3
09:00 - 09:15 | 0 | 0 | 0 | -3
09:15 - 09:30 | 0 | 0 | 0 | -3
09:30 - 09:45 | 0 | 0 | 7.71 | -3
09:45 - 10:00 | 0 | 0 | 7.71 | -3
10:00 - 10:15 | 0 | 0 | 7.71 | -3
10:15 - 10:30 | 0 | 0 | 7.71 | -3
10:30 - 10:45 | 0 | 0 | 7.71 | -3
10:45 - 11:00 | 0 | 0 | 7.71 | -3
11:00 - 11:15 | 0 | 0 | 7.71 | -3
11:15 - 11:30 | 0 | 0 | 7.71 | -3
11:30 - 11:45 | 0 | 0 | 7.71 | -3
11:45 - 12:00 | 0 | 0 | 7.71 | -3
12:00 - 12:15 | 0 | 9.63 | 7.71 | -3
12:15 - 12:30 | 0 | 9.63 | 7.71 | -3
12:30 - 12:45 | 0 | 9.63 | 7.71 | -3
12:45 - 13:00 | 33.71 | 9.63 | 7.71 | -3
13:00 - 13:15 | 33.71 | 9.63 | 7.71 | -3
13:15 - 13:30 | 33.71 | 9.63 | 7.71 | -3
13:30 - 13:45 | 33.71 | 9.63 | 7.71 | -3
13:45 - 14:00 | 0 | 9.63 | 7.71 | -3
14:00 - 14:15 | 0 | 0 | 7.71 | -3
14:15 - 14:30 | 0 | 0 | 7.71 | -3
14:30 - 14:45 | 0 | 0 | 7.71 | -3
14:45 - 15:00 | 0 | 0 | 7.71 | -3
15:00 - 15:15 | 0 | 0 | 0 | -3
15:15 - 15:30 | 0 | 0 | 0 | -3
15:30 - 15:45 | 0 | 0 | 0 | -3
15:45 - 16:00 | 0 | 0 | 0 | -3
16:00 - 16:15 | 0 | 0 | 0 | -3
16:15 - 16:30 | 0 | 0 | 0 | -3
16:30 - 16:45 | 0 | 0 | 0 | -3
16:45 - 17:00 | 0 | 0 | 0 | -3
17:00 - 17:15 | 0 | 0 | 0 | -3
17:15 - 17:30 | 0 | 0 | 0 | -3
17:30 - 17:45 | 0 | 0 | 0 | -3
17:45 - 18:00 | 0 | 0 | 0 | -3
18:00 - 18:15 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0
Average | 1.4046 | 0.8025 | 1.7669 | -1.5

## RTM
RTM TRADING DETAILS FOR DT: 10.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Paradeep_Phosphates_Ltd | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Visa_Chrome_Limited
00:00 - 00:15 | -0.3 | 0 | 0 | -400 | 0 | -136 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 0
00:15 - 00:30 | -0.3 | 0 | 0 | -400 | 0 | -136 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -0.3 | 0 | 0 | -500 | 0 | -196 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0
00:45 - 01:00 | -0.3 | 0 | 0 | -500 | 0 | -196 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | -75 | 0 | 0
01:00 - 01:15 | -0.3 | 0 | 0 | -550 | 0 | -140 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | -0.3 | -3 | 0 | -600 | 0 | -140 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | -0.3 | -4 | 0 | -550 | 0 | -100 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | -55 | 0 | 0
01:45 - 02:00 | -0.3 | 0 | 0 | -550 | 0 | -100 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0
02:00 - 02:15 | -0.3 | 0 | 0 | -550 | 0 | -60 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | -20 | 0 | 0
02:15 - 02:30 | -0.3 | 0 | 0 | -500 | 0 | -60 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -2 | 0 | -40 | 0 | 0
02:30 - 02:45 | -0.3 | 0 | 0 | -500 | 0 | -60 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0
02:45 - 03:00 | -0.3 | -8 | 0 | -550 | 0 | -60 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0
03:00 - 03:15 | -0.3 | 0 | 0 | -500 | 0 | -20 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -4 | 0 | -10 | 0 | 0
03:15 - 03:30 | -0.3 | 0 | 0 | -500 | 0 | -20 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0
03:30 - 03:45 | -0.3 | 0 | 0 | -525 | 0 | 0 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -4 | 0 | -20 | 0 | 0
03:45 - 04:00 | -0.3 | 0 | 0 | -550 | 0 | 0 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -4 | 0 | -30 | 0 | 0
04:00 - 04:15 | -0.3 | -8 | 0 | -500 | 0 | -60 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0
04:15 - 04:30 | -0.3 | 0 | 0 | -500 | 0 | -60 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0
04:30 - 04:45 | -0.3 | 0 | 0 | -475 | 0 | -30 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0
04:45 - 05:00 | -0.3 | 0 | 0 | -450 | 0 | -30 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0
05:00 - 05:15 | -0.3 | 0 | 0 | -450 | 0 | 0 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -4 | 0 | -35 | 0 | 0
05:15 - 05:30 | -0.3 | 0 | 0 | -550 | 0 | 0 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -4 | 0 | -20 | 0 | 0
05:30 - 05:45 | -0.3 | -3 | 0 | -600 | 0 | 0 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0
05:45 - 06:00 | -0.3 | 0 | 0 | -600 | 0 | 0 | 0 | -6 | 0 | -4 | 0 | 0 | 0 | -4 | 0 | -10 | 0 | 0
06:00 - 06:15 | -0.3 | 0 | 0 | -400 | 0 | 0 | -0.1 | -6 | 0 | -4 | 0 | 0 | 0 | -4 | 0 | -20 | 0 | -10
06:15 - 06:30 | -0.3 | 0 | 0 | -400 | 0 | 0 | -0.1 | -6 | 0 | -4 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -10
06:30 - 06:45 | -0.3 | 0 | 0 | -400 | 0 | 0 | -0.2 | -6 | -0.1 | -4 | 0 | 0 | 0 | -4 | 0 | -20 | 0 | -10
06:45 - 07:00 | -0.3 | 0 | 0 | -400 | 0 | 0 | -0.2 | -6 | -0.3 | -4 | 0 | 0 | 0 | -4 | 0 | -30 | 0 | -10
07:00 - 07:15 | -0.3 | 0 | 0 | -400 | 0 | 0 | -0.1 | -6 | -0.5 | -4 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -10
07:15 - 07:30 | -0.3 | 0 | 0 | -400 | 0 | 0 | -0.2 | -6 | -0.8 | -4 | 0 | 0 | 0 | -4 | 0 | -25 | 0 | -10
07:30 - 07:45 | -0.3 | 0 | 0 | -400 | 0 | 0 | -0.4 | -6 | -1 | -4.5 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -10
07:45 - 08:00 | -0.3 | 0 | 0 | -550 | 0 | 0 | -0.5 | -6 | -1.2 | -4.5 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -10
08:00 - 08:15 | -0.3 | -6 | 0 | -300 | 0 | 0 | -1 | -6 | -1.5 | -4.5 | 0 | 0 | 0 | -6 | 0 | -10 | 0 | -5
08:15 - 08:30 | -0.3 | 0 | 0 | -400 | 0 | 0 | -1.2 | -6 | -1.7 | -4.5 | 0 | 0 | 0 | -6 | 0 | -40 | 0 | -5
08:30 - 08:45 | -0.3 | 0 | 0 | -492.77 | 0 | 0 | -1.4 | -6 | -2.1 | -4.5 | 0 | 0 | 0 | -8 | 0 | -60 | 0 | -5
08:45 - 09:00 | -0.3 | 0 | 0 | -579.74 | 10.6 | 0 | -1.6 | -6 | -2.5 | -4.5 | 0 | 13.48 | 0 | -8 | 0 | -60 | 0 | -5
09:00 - 09:15 | -0.3 | 0 | 0 | -109.85 | 0 | 0 | -0.5 | -6 | -2.7 | -4.5 | 0 | 13.49 | 0 | -8 | 0 | -60 | 0 | 0
09:15 - 09:30 | -0.3 | -5 | 0 | -248.14 | 10.6 | 0 | -0.6 | -6 | -3 | -4.5 | 0 | 13.48 | 0 | -8 | 0 | -30 | 0 | 0
09:30 - 09:45 | -0.3 | 0 | 0 | 0 | 0 | 0 | -0.5 | -6 | -3.2 | -4.5 | 0 | 0 | 0 | -8 | 0 | -20 | 0 | 0
09:45 - 10:00 | -0.3 | 0 | 0 | 0 | 0 | 0 | -0.6 | -6 | -1 | -4.5 | 0 | 0 | 0 | -8 | 0 | 0 | 0 | 0
10:00 - 10:15 | -0.3 | 0 | 0 | -173.17 | 10.6 | 0 | -0.2 | -6 | 0 | -4.5 | 0 | 13.48 | 0 | -8 | 4.82 | 0 | 0 | 0
10:15 - 10:30 | -0.3 | 0 | 0.11 | -166.7 | 10.6 | 0 | -0.2 | -6 | 0 | -4.5 | 0 | 13.47 | 0 | -4 | 4.82 | 0 | 0 | 0
10:30 - 10:45 | -0.3 | 0 | 0 | -280.26 | 10.6 | 0 | -1 | -6 | 0 | -4.5 | 0 | 13.48 | 0 | -4 | 0 | -60 | 0 | 0
10:45 - 11:00 | -0.3 | -5 | 0 | -280.25 | 10.6 | 0 | -1.1 | -6 | 0 | -4.5 | 0 | 13.48 | 0 | -4 | 0 | -60 | 0 | 0
11:00 - 11:15 | -0.3 | 0 | 0 | -523.01 | 10.6 | 0 | -0.3 | -6 | 0 | -4.5 | 0 | 13.48 | 0 | -4 | 0 | 0 | 0 | 0
11:15 - 11:30 | -0.3 | 0 | 0 | -424.34 | 10.6 | 0 | -0.5 | -6 | 0 | -4.5 | 0 | 13.48 | 0 | -4 | 0 | 0 | 0 | 0
11:30 - 11:45 | -1.2 | 0 | 0 | -425.15 | 0 | 0 | -0.5 | -9 | 0 | -4.5 | 0 | 13.49 | 0 | -4 | 0 | 0 | 0 | 0
11:45 - 12:00 | -1.2 | 0 | 0 | -325.17 | 0 | 0 | -0.2 | -9 | 0 | -4.5 | 0 | 13.49 | 0 | -4 | 0 | -40 | 0 | 0
12:00 - 12:15 | -1.2 | 0 | 0 | -720 | 10.6 | 0 | -0.4 | -9 | 0 | -4.5 | 0 | 13.48 | 0 | -4 | 4.82 | -60 | 0 | 0
12:15 - 12:30 | -1.2 | 0 | 0 | -819.9 | 10.6 | 0 | -0.7 | -9 | 0 | -4.5 | 0 | 13.48 | 0 | -4 | 4.82 | -60 | 0 | 0
12:30 - 12:45 | -1.2 | 0 | 0 | -950 | 10.6 | 0 | -0.8 | -9 | 0 | -4.5 | 0 | 13.48 | 0 | -4 | 4.82 | -20 | 0 | 0
12:45 - 13:00 | -1.2 | -5 | 2.1 | -950 | 10.6 | 0 | -0.6 | -9 | 0 | -4.5 | 0 | 13.48 | 0 | -4 | 4.82 | 0 | 0 | 0
13:00 - 13:15 | -1.2 | 0 | 3.85 | -1075 | 10.6 | 0 | -0.8 | -9 | 0 | -4.5 | 2.89 | 13.49 | 19.27 | -4 | 4.82 | -20 | 24.07 | 0
13:15 - 13:30 | -1.2 | 0 | 0 | -1075 | 10.6 | 0 | -0.8 | -9 | 0 | -4.5 | 0 | 13.48 | 0 | -4 | 4.82 | 0 | 0 | 0
13:30 - 13:45 | -1.2 | 0 | 0 | -1050.17 | 0 | 0 | -0.9 | -9 | 0 | -4.5 | 0 | 13.49 | 0 | -4 | 0 | -10 | 0 | 0
13:45 - 14:00 | -1.2 | -5 | 0 | -975.81 | 0 | 0 | -0.7 | -9 | -1.1 | -4.5 | 0 | 0 | 0 | -4 | 0 | -40 | 0 | 0
14:00 - 14:15 | -1.2 | 0 | 0 | -935.95 | 0 | 0 | -0.1 | -9 | -1.1 | -4.5 | 0 | 0 | 0 | -4 | 0 | -20 | 0 | 0
14:15 - 14:30 | -1.2 | 0 | 0 | -1003.02 | 0 | 0 | -0.1 | -9 | -1.1 | -4.5 | 0 | 0 | 0 | -4 | 0 | -20 | 0 | 0
14:30 - 14:45 | -1.2 | 0 | 0 | -964.79 | 0 | 0 | -0.5 | -9 | -1.3 | -4.5 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0
14:45 - 15:00 | -1.2 | 0 | 0 | -1079.74 | 0 | 0 | -0.5 | -9 | -1.4 | -4.5 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0
15:00 - 15:15 | -1.2 | -6 | -30 | -1025 | 0 | 0 | -0.4 | -9 | -1.5 | -4.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
15:15 - 15:30 | -1.2 | 0 | -30 | -1025 | 0 | 0 | -0.3 | -9 | -1.4 | -4.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0
15:30 - 15:45 | -1.2 | 0 | -30 | -1025 | 0 | -20 | -0.2 | -9 | -1.2 | -4.5 | 0 | 0 | 0 | -6 | 0 | -20 | 0 | -10
15:45 - 16:00 | -1.2 | 0 | -30 | -1025 | 0 | -20 | -0.1 | -9 | -1.1 | -4.5 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | -10
16:00 - 16:15 | 0 | 0 | 0 | -750 | 0 | -40 | 0 | -9 | -0.8 | -4.5 | 0 | 0 | 0 | -6 | 0 | 6.57 | 0 | -10
16:15 - 16:30 | 0 | -6 | 0 | -800 | 0 | -40 | 0 | -9 | -0.6 | -4.5 | 0 | 0 | 0 | -6 | 0 | 7.36 | 0 | -10
16:30 - 16:45 | 0 | 0 | 0 | -750 | 0 | -40 | 0 | -9 | -0.4 | -4.5 | 0 | 0 | 0 | -6 | 0 | 5.27 | 0 | -10
16:45 - 17:00 | 0 | 0 | 0 | -750 | 0 | -40 | 0 | -9 | -0.2 | -4.5 | 0 | 0 | 0 | -6 | 0 | 3.81 | 0 | -10
17:00 - 17:15 | 0 | 0 | 0 | -600 | 0 | -40 | 0 | -9 | 0 | -6 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -12
17:15 - 17:30 | 0 | 0 | 0 | -600 | 0 | -40 | 0 | -9 | 0 | -6 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -12
17:30 - 17:45 | 0 | -6 | 0 | -700 | 0 | -20 | 0 | -9 | 0 | -6 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -12
17:45 - 18:00 | 0 | 0 | 0 | -350 | 0 | -20 | 0 | -9 | 0 | -6 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -12
18:00 - 18:15 | 0 | 0 | 0 | -200 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2
18:15 - 18:30 | 0 | 0 | 0 | -400 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2
18:30 - 18:45 | 0 | 0 | 0 | -350 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2
18:45 - 19:00 | 0 | 0 | 0 | -350 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2
19:00 - 19:15 | 0 | 0 | 0 | -400 | 0 | -20 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2
19:15 - 19:30 | 0 | 0 | 0 | -400 | 0 | -20 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | -2
19:30 - 19:45 | 0 | 0 | 0 | -400 | 0 | -20 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2
19:45 - 20:00 | 0 | 0 | 0 | -400 | 0 | -20 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2
20:00 - 20:15 | 0 | 0 | 0 | -450 | 0 | -20 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2
20:15 - 20:30 | 0 | 0 | 0 | -450 | 0 | -20 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2
20:30 - 20:45 | 0 | 0 | 0 | -550 | 0 | -40 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -12 | 0 | -2
20:45 - 21:00 | 0 | 0 | 0 | -550 | 0 | -40 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2
21:00 - 21:15 | 0 | 0 | 0 | -500 | 0 | -40 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2
21:15 - 21:30 | 0 | 0 | 0 | -500 | 0 | -40 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -10 | 0 | -2
21:30 - 21:45 | 0 | 0 | 0 | -625 | 0 | -40 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2
21:45 - 22:00 | 0 | 0 | 0 | -500 | 0 | -40 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -18 | 0 | -2
22:00 - 22:15 | 0 | 0 | 0 | -500 | 0 | -40 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | -50 | 0 | -2
22:15 - 22:30 | 0 | 0 | 0 | -500 | 0 | -40 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2
22:30 - 22:45 | 0 | 0 | 0 | -450 | 0 | -40 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
22:45 - 23:00 | 0 | 0 | 0 | -450 | 0 | -40 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -2
23:00 - 23:15 | 0 | 0 | 0 | -450 | 0 | -40 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2
23:15 - 23:30 | 0 | 0 | 0 | -450 | 0 | -40 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | -2
23:30 - 23:45 | 0 | 0 | 0 | -550 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -62 | 0 | -2
23:45 - 24:00 | 0 | 0 | 0 | -575 | 0 | 0 | 0 | -11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | -2
Average | -0.36875 | -0.72917 | -1.1869 | -545.6034 | 1.5458 | -26.2917 | -0.21979 | -8.0625 | -0.3625 | -3.2812 | 0.030104 | 2.5279 | 0.20073 | -3.5417 | 0.40167 | -14.4686 | 0.25073 | -2.6667