## POWER STATUS
POWER STATUS ON DT 12.09.2026
[9 empty] | 2026-09-12 | 2026-09-11
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 20:00
Demand -> | [8 empty] | 5051.9085 | 5469.2346
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 166.417 | 3.994 | 630/590 ft | 628.95 | 629 | 629.08 | 236.9977 | 210.6083
| Chiplima | 72(3x24) | 45.5 | 1.092 | - |  |  |  | 55.182 | 46.5203
| Balimela | 510(6x60+2x75) | 8.375 | 0.201 | 1516/1440 ft | 1489.4 | 1477.2 | 1478.5 | 0 | 0
| Rengali | 250(5x50) | 251.2083 | 6.029 | 123.5/109.75 mt | 122.78 | 122.52 | 122.69 | 251.0549 | 251.9094
| Upper Kolab | 320(4x80) | 45.38 | 1.0891 | 858/844 mt | 855.85 | 852.67 | 852.74 | 0.0041845 | 49.8844
| Upper Indravati | 600(4x150) | 593.0625 | 14.2335 | 642/625 mt | 637.82 | 640.09 | 640.2 | 596.4378 | 596.3859
| Machkund | 60(50% of(3x17+3x23)) | 11.2 | 0.2688 | 2750/2685 ft | 2748.15 | 2732.1 | 2732.75 | 12.7969 | 10.6724
| Total Hydro | 2099.5 | 1121.1428 | 26.9074 |  |  |  |  | 1152.4736 | 1165.9805
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1710.5383 | 41.0529 | RENEWABLE ENERGY (RE) |  |  |  | 1692.9896 | 1688.1555
[5 empty] | M.Hydl | 71.91
| Total Thermal | 2200 | 1710.5383 | 41.0529 | Solar | 91.33 |  |  | 1692.9896 | 1688.1555
IPP | VEDANTA #2 | 600 (1x600) | 430.0546 | 10.3213 | Total IPPs | Yesterday's Demand Profile |  |  | 397.7928 | 551.6017
| GMR #3 | 350 (1x350) | 330.0064 | 7.9202 | 798.4127 |  | MW | HRS | 328.7666 | 331.4358
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 38.3518 | 0.92044 |  |  |  |  | 55.5208 | 13.5919
| CGPs |  | 842.6646 | 20.2239 | IPPs, CGPs & RE | Maximum | 5542 | 10:00 | 1842.9559 | 1745.9449
| Central Sector(Drawl) |  | 463.9711 | 11.1353 | 1804.3173 | Minimum | 4776 | 06:00 | 363.4895 | 869.1537
| Central Sector(Sch) |  | 526.3425 | 12.6322 |  | Average | 5099.9694 |  | 715.9 | 994.9678
| Grand Total |  | 5099.9694 | 122.3993 | Instantaneous Peak demand |  | 5810 | 10:25 | 5051.9085 | 5469.2346
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1588 | 38.112 | 1563 | 37.512 | 1582 | 37.968
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1592 | 38.208 | 1469 | 35.256 | 1538 | 36.912
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1309 | 31.416 | 1257 | 30.168 | 1198 | 28.752
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 570 | 13.68 | 554 | 13.296 | 590 | 14.16
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5059 | 121.416 | 4843 | 116.232 | 4908 | 117.792
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 397.7928 | GMR |  |  |  | 328.7666
| NBVL #3 | 0 | MDTPC |  |  |  | 55.5208
Mini Hydel: | MEENAKSHI | 24.4461 | OPCL |  |  |  | 0
| BTPL | -27.831 | SAPTADHARA |  |  |  | 19.8538
Solar: |  | 254.4327 | KAKATIYA |  |  |  | 7.4512
CGPs : | JSPL (Angul) | 233.3813 | JSL(Duburi) |  |  |  | -103.5219
| ICCL | 57.3189 | visa |  |  |  | 19.6279
| NALCO | -135.9496 | VAL (CGP) |  |  |  | 104.8496
| RSP | -83.8116 | BSL(MMDL) |  |  |  | 38.5031
| INDAL | 2.7008 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -24.1782 | VAL CPP 400 kV |  |  |  | -436.8934
| NBVL | 2.6669 | Arati |  |  |  | 13.2049
| BPSL(JSG) | -10.8651 | BPPL |  |  |  | 120.0393
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-04 | 2026-09-05 | 2026-09-06 | 2026-09-07 | 2026-09-08 | 2026-09-09 | 2026-09-10 | 2026-09-11
1153.39 | 1158.9236 | 1151.6823 | 1166.575 | 1220.73 | 1235.2363 | 1175.6473 | 1121.1428
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.11.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | -20 | AARTISTEEL | UPPCL | -6 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.49
AARTISTEEL | KPTCL | -5 | FACORPOWER | PSPCL | -8.75 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0
AMNSIL_Pdeep | AMNSIL | 0 | FACORPOWER | PSPCL | -21.25 | AGE26AL_PSS6_KPS1_S | ODISHA | 127.93
ARYAN_ISPAT | BALCO_LOAD | -5 | FACORPOWER | RUVITSL | -6.67 | AP41PL_BHDL | ODISHA | 59.89
ENVIROCARE_INFRA | APCPDCL | -13 | JSPLANGUL | RUVITSL | -3.12 | AP43PL_BKN | ODISHA | 94.57
FACORPOWER | RUVITSL | -3.33 | JSPLANGUL | RUVITSL | -106.25 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.35
GMRKEL_STU | GEB_Beneficiary | -61.9 | JSPLANGUL | RUVITSL | -70.83 | AWEK1L | ODISHA | 2.2
GMRKEL_STU | TNEB | -18 | JSPLANGUL | RUVITSL | -2.08 | AWEK1L | ODISHA | 3.3
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | NBVLIPP | BSPHCL | -12.54 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 5.14
JPIPL | NPCL_UP | -13.5 | NBVLIPP | RUVITSL | -5.38 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 12.69
JSPLANGUL | GEB_Beneficiary | -110 | OCL_IRON_STEEL | TPDDL | -16.62 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 16.77
JSPLANGUL | RUVITSL | -27.08 | OCL_IRON_STEEL | TPDDL | -40.38 | DADRI_SOLAR | ODISHA | 0.54
JSPLANGUL | RUVITSL | -40.62 | ODISHA | AEML | -75 | ENERSON_SOLAR_10MW | ODISHA | 0.68
MAADURGA_THERMAL | NPCL_UP | -14.86 | ODISHA | BRPL | -70.83 | GADAG_GreenInfra_W | ODISHA | 0.38
NBVLIPP | TANGEDCO | 0 | ODISHA | CESC | -75 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | AMNSIL | -68.75 | ODISHA | DNHDDPDCL | -20 | GADAG_GreenInfra_W | ODISHA | 0
ODISHA | AMNSIL | -50 | ODISHA | HARYANA | -31.25 | GADAG_Serentica3_S | VLSEZ | 43.19
ODISHA | APCPDCL | -24.48 | ODISHA | TANGEDCO | -12.5 | GADAG_Serentica3_W | VLSEZ | 32.52
ODISHA | APCPDCL | -103.12 | ODISHA | TANGEDCO | -37.5 | GIWEL_SECI_II_RE | ODISHA | 7.8
ODISHA | APCPDCL | -50 | ODISHA | TANGEDCO | -6.25 | GPCL_SOLAR_10 | ODISHA | 1.01
ODISHA | PCKL | -158.33 | ODISHA | TANGEDCO | -18.75 | GSECL_SOLAR | ODISHA | 1.55
ORSISL | BALCO_LOAD | -5 | ODISHA | TANGEDCO | -12.5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.02
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | ODISHA | TPL_DIS_AHM | -50.83 | KARUR_TPVARDHAMAN_W | TSKPO | 51.49
VSL | APCPDCL | -5 | ODISHA | WBSEDCL | -7.81 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.38
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | WBSEDCL | -62.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
JSWEL_UTKAL | ODISHA | 44.53 | ORSISL | UPPCL | -2.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.01
RAJ_SOLAR | ODISHA | 2.48 | SMEL | PSPCL | -7.29 | NTPCRE1_SMND_BHJ2_W | ODISHA | 2.03
RAJ_SOLAR | ODISHA | 2.76 | SMEL | PSPCL | -17.71 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0.22
|  |  | Shri_JSPL | KSEB | -2 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.03
|  |  | TIMES_STEEL | TPL_DIS_DHOLERA | -2.5 | OKWPL_RE | ODISHA | 4.02
|  |  | TIMES_STEEL | UPPCL | -1.5 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 5.98
|  |  | TSBSLA | TPLD | -10 | RWE_AP2_SECI_III | ODISHA | 3
|  |  | VIRAJ_SEPL | PSPCL | -2.92 | RenewGreen_SLPR_HS | JSL_DUBURI | 8.34
|  |  | VIRAJ_SEPL | PSPCL | -7.08 | SRI9PL_FTG3 | VLSEZ | 94.32
|  |  | VSL | TANGEDCO | -10 | TPVSL_BKN3 | TSKPO | 12.77
|  |  | VSL | TPL_DIS_AHM | -5 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.14
|  |  | Darlipali_NTPC | ODISHA | 48.45 | TSESOPL_BKN2 | OPL_CUTTAK | 0.17
|  |  | JIPL | ODISHA | 115.6 | Tuticorin_BETAMWIND | ODISHA | 27.61
|  |  | NALCOAP | NACL_Odisha | 8.03 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 8.07
|  |  | TSTPP_I | ODISHA | 6.19 | XXPPL_FTG3 | ODISHA | 71.04

## DAM
DAM TRADING DETAILS FOR DT : 11.09.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Jindal_Steel_&_Power_Limited_Angul_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -4.5 | 0 | -50 | -3 | -3 | 0
00:15 - 00:30 | -4.5 | 0 | -50 | -3 | -3 | 0
00:30 - 00:45 | -4.5 | 0 | -50 | -3 | -3 | 0
00:45 - 01:00 | -4.5 | 0 | -50 | -3 | -3 | 0
01:00 - 01:15 | -4.5 | 0 | -50 | -3 | -3 | 0
01:15 - 01:30 | -4.5 | 0 | -50 | -3 | -3 | 0
01:30 - 01:45 | -4.5 | 0 | -50 | -3 | -3 | 0
01:45 - 02:00 | -4.5 | 0 | -50 | -3 | -3 | 0
02:00 - 02:15 | -4.5 | -150 | -50 | -3 | -45.5 | 0
02:15 - 02:30 | -4.5 | -150 | -50 | -3 | -45.5 | 0
02:30 - 02:45 | -4.5 | -150 | -50 | -3 | -45.5 | 0
02:45 - 03:00 | -4.5 | -150 | -50 | -3 | -45.5 | 0
03:00 - 03:15 | -4.5 | -25 | -50 | -3 | -45.5 | 0
03:15 - 03:30 | -4.5 | -25 | -50 | -3 | -45.5 | 0
03:30 - 03:45 | -4.5 | -25 | -50 | -3 | -45.5 | 0
03:45 - 04:00 | -4.5 | -25 | -50 | -3 | -45.5 | 0
04:00 - 04:15 | -4.5 | -75 | -50 | -3 | -45.5 | 0
04:15 - 04:30 | -4.5 | -75 | -50 | -3 | -45.5 | 0
04:30 - 04:45 | -4.5 | -75 | -50 | -3 | -45.5 | 0
04:45 - 05:00 | -4.5 | -75 | -50 | -3 | -45.5 | 0
05:00 - 05:15 | -4.5 | -75 | -50 | -3 | -3 | 0
05:15 - 05:30 | -4.5 | -75 | -50 | -3 | -3 | 0
05:30 - 05:45 | -4.5 | -75 | -50 | -3 | -3 | 0
05:45 - 06:00 | -4.5 | -75 | -50 | -3 | -3 | 0
06:00 - 06:15 | -30.5 | 0 | -35 | -3 | -3 | -3
06:15 - 06:30 | -30.5 | 0 | -20 | -3 | -3 | -3
06:30 - 06:45 | -30.5 | 0 | 0 | -3 | -3 | -3
06:45 - 07:00 | -30.5 | 0 | 0 | -3 | -3 | -3
07:00 - 07:15 | -30.5 | 0 | 0 | -3 | -3 | -3
07:15 - 07:30 | -30.5 | 0 | 0 | -3 | -3 | -3
07:30 - 07:45 | -30.5 | 0 | 0 | -3 | -3 | -3
07:45 - 08:00 | -30.5 | 0 | 0 | -3 | -3 | -3
08:00 - 08:15 | -30.5 | -250 | 0 | -3 | -45.5 | -3
08:15 - 08:30 | -30.5 | -250 | 0 | -3 | -45.5 | -3
08:30 - 08:45 | -30.5 | -550 | 0 | -3 | -45.5 | -3
08:45 - 09:00 | -30.5 | -550 | 0 | -3 | -45.5 | -3
09:00 - 09:15 | 0 | -750 | 0 | -3 | -45.5 | -3
09:15 - 09:30 | 0 | -750 | 0 | -3 | -45.5 | -3
09:30 - 09:45 | 0 | -750 | 0 | -3 | -45.5 | -3
09:45 - 10:00 | 0 | -750 | 0 | -3 | -45.5 | -3
10:00 - 10:15 | 0 | -850 | 0 | -1 | -45.5 | -3
10:15 - 10:30 | 0 | -850 | 0 | -1 | -45.5 | -3
10:30 - 10:45 | 0 | -850 | 0 | -1 | -45.5 | -3
10:45 - 11:00 | 0 | -850 | 0 | -1 | -45.5 | -3
11:00 - 11:15 | 0 | -925 | 0 | -1 | -45.5 | -3
11:15 - 11:30 | 0 | -925 | 0 | -1 | -45.5 | -3
11:30 - 11:45 | 0 | -925 | 0 | -1 | -45.5 | -3
11:45 - 12:00 | 0 | -925 | 0 | -1 | -45.5 | -3
12:00 - 12:15 | 0 | -1050 | 0 | -1 | -45.5 | -3
12:15 - 12:30 | 0 | -1050 | 0 | -1 | -45.5 | -3
12:30 - 12:45 | 0 | -1050 | 0 | -1 | -45.5 | -3
12:45 - 13:00 | 0 | -1050 | 0 | -1 | -45.5 | -3
13:00 - 13:15 | 0 | -1125 | 0 | -1 | -45.5 | -3
13:15 - 13:30 | 0 | -1125 | 0 | -1 | -45.5 | -3
13:30 - 13:45 | 0 | -1125 | 0 | -1 | -45.5 | -3
13:45 - 14:00 | 0 | -1125 | 0 | -1 | -45.5 | -3
14:00 - 14:15 | 0 | -1125 | 0 | -1 | -45.5 | -3
14:15 - 14:30 | 0 | -1125 | 0 | -1 | -45.5 | -3
14:30 - 14:45 | 0 | -1125 | 0 | -1 | -45.5 | -3
14:45 - 15:00 | 0 | -1125 | 0 | -1 | -45.5 | -3
15:00 - 15:15 | 0 | -700 | 0 | -3 | -45.5 | -3
15:15 - 15:30 | 0 | -700 | 0 | -3 | -45.5 | -3
15:30 - 15:45 | 0 | -700 | 0 | -3 | -45.5 | -3
15:45 - 16:00 | 0 | -700 | 0 | -3 | -45.5 | -3
16:00 - 16:15 | -30.5 | -525 | 0 | -3 | -45.5 | -3
16:15 - 16:30 | -30.5 | -375 | 0 | -3 | -45.5 | -3
16:30 - 16:45 | -30.5 | -300 | 0 | -3 | -45.5 | -3
16:45 - 17:00 | -30.5 | -200 | 0 | -3 | -45.5 | -3
17:00 - 17:15 | -30.5 | -100 | 0 | -3 | -45.5 | -3
17:15 - 17:30 | -30.5 | -100 | 0 | -3 | -45.5 | -3
17:30 - 17:45 | -30.5 | -200 | -20 | -3 | -45.5 | -3
17:45 - 18:00 | -30.5 | 0 | -35 | -3 | -45.5 | -3
18:00 - 18:15 | -4.5 | -250 | -50 | -3 | -45.5 | 0
18:15 - 18:30 | -4.5 | -150 | -50 | -3 | -45.5 | 0
18:30 - 18:45 | -4.5 | -75 | -50 | -3 | -45.5 | 0
18:45 - 19:00 | -4.5 | 0 | -50 | -3 | -45.5 | 0
19:00 - 19:15 | -4.5 | 0 | -50 | -3 | -3 | 0
19:15 - 19:30 | -4.5 | 0 | -50 | -3 | -3 | 0
19:30 - 19:45 | -4.5 | 0 | -50 | -3 | -3 | 0
19:45 - 20:00 | -4.5 | 0 | -50 | -3 | -3 | 0
20:00 - 20:15 | -4.5 | 0 | -50 | -3 | -3 | 0
20:15 - 20:30 | -4.5 | 0 | -50 | -3 | -3 | 0
20:30 - 20:45 | -4.5 | 0 | -50 | -3 | -3 | 0
20:45 - 21:00 | -4.5 | 0 | -50 | -3 | -3 | 0
21:00 - 21:15 | -4.5 | 0 | -50 | -3 | -3 | 0
21:15 - 21:30 | -4.5 | 0 | -50 | -3 | -3 | 0
21:30 - 21:45 | -4.5 | 0 | -50 | -3 | -3 | 0
21:45 - 22:00 | -4.5 | 0 | -50 | -3 | -3 | 0
22:00 - 22:15 | -4.5 | 0 | -50 | -3 | -3 | 0
22:15 - 22:30 | -4.5 | 0 | -50 | -3 | -3 | 0
22:30 - 22:45 | -4.5 | 0 | -50 | -3 | -3 | 0
22:45 - 23:00 | -4.5 | 0 | -50 | -3 | -3 | 0
23:00 - 23:15 | -4.5 | 0 | -50 | -3 | -3 | 0
23:15 - 23:30 | -4.5 | 0 | -50 | -3 | -3 | 0
23:30 - 23:45 | -4.5 | -150 | -50 | -3 | -3 | 0
23:45 - 24:00 | -4.5 | -150 | -50 | -3 | -3 | 0
Average | -8.6042 | -328.9062 | -26.1458 | -2.5833 | -27.7917 | -1.5

## GDAM
GDAM TRADING DETAILS FOR DT:11.09.2026
Time Period | Orissa_Metaliks_Private_Limited
00:00 - 00:15 | 0
00:15 - 00:30 | 0
00:30 - 00:45 | 0
00:45 - 01:00 | 0
01:00 - 01:15 | 0
01:15 - 01:30 | 0
01:30 - 01:45 | 0
01:45 - 02:00 | 0
02:00 - 02:15 | 0
02:15 - 02:30 | 0
02:30 - 02:45 | 0
02:45 - 03:00 | 0
03:00 - 03:15 | 0
03:15 - 03:30 | 0
03:30 - 03:45 | 0
03:45 - 04:00 | 0
04:00 - 04:15 | 0
04:15 - 04:30 | 0
04:30 - 04:45 | 0
04:45 - 05:00 | 0
05:00 - 05:15 | 0
05:15 - 05:30 | 0
05:30 - 05:45 | 0
05:45 - 06:00 | 0
06:00 - 06:15 | 0
06:15 - 06:30 | 0
06:30 - 06:45 | 0
06:45 - 07:00 | 0
07:00 - 07:15 | 0
07:15 - 07:30 | 0
07:30 - 07:45 | 0
07:45 - 08:00 | 0
08:00 - 08:15 | 0
08:15 - 08:30 | 0
08:30 - 08:45 | 0
08:45 - 09:00 | 0
09:00 - 09:15 | 0
09:15 - 09:30 | 0
09:30 - 09:45 | 0
09:45 - 10:00 | 6.26
10:00 - 10:15 | 6.26
10:15 - 10:30 | 6.26
10:30 - 10:45 | 6.26
10:45 - 11:00 | 6.26
11:00 - 11:15 | 6.26
11:15 - 11:30 | 6.26
11:30 - 11:45 | 6.26
11:45 - 12:00 | 6.26
12:00 - 12:15 | 6.26
12:15 - 12:30 | 6.26
12:30 - 12:45 | 6.26
12:45 - 13:00 | 6.26
13:00 - 13:15 | 6.26
13:15 - 13:30 | 6.26
13:30 - 13:45 | 6.26
13:45 - 14:00 | 6.26
14:00 - 14:15 | 6.26
14:15 - 14:30 | 0
14:30 - 14:45 | 0
14:45 - 15:00 | 0
15:00 - 15:15 | 0
15:15 - 15:30 | 0
15:30 - 15:45 | 0
15:45 - 16:00 | 0
16:00 - 16:15 | 0
16:15 - 16:30 | 0
16:30 - 16:45 | 0
16:45 - 17:00 | 0
17:00 - 17:15 | 0
17:15 - 17:30 | 0
17:30 - 17:45 | 0
17:45 - 18:00 | 0
18:00 - 18:15 | 0
18:15 - 18:30 | 0
18:30 - 18:45 | 0
18:45 - 19:00 | 0
19:00 - 19:15 | 0
19:15 - 19:30 | 0
19:30 - 19:45 | 0
19:45 - 20:00 | 0
20:00 - 20:15 | 0
20:15 - 20:30 | 0
20:30 - 20:45 | 0
20:45 - 21:00 | 0
21:00 - 21:15 | 0
21:15 - 21:30 | 0
21:30 - 21:45 | 0
21:45 - 22:00 | 0
22:00 - 22:15 | 0
22:15 - 22:30 | 0
22:30 - 22:45 | 0
22:45 - 23:00 | 0
23:00 - 23:15 | 0
23:15 - 23:30 | 0
23:30 - 23:45 | 0
23:45 - 24:00 | 0
Average | 1.1738

## RTM
RTM TRADING DETAILS FOR DT: 11.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Ltd | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Visa_Chrome_Limited
00:00 - 00:15 | -0.2 | 0 | 0 | 0 | -400 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | -20 | 0 | -2
00:15 - 00:30 | -0.2 | 0 | 0 | 0 | -400 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | -2
00:30 - 00:45 | -0.2 | 0 | 0 | 0 | -400 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | -2
00:45 - 01:00 | -0.2 | 0 | 0 | 0 | -500 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | -20 | 0 | -2
01:00 - 01:15 | -0.2 | 0 | 0 | 0 | -300 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | -30 | 0 | -2
01:15 - 01:30 | -0.2 | 0 | 0 | 0 | -300 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | -2
01:30 - 01:45 | -0.2 | -2 | 0 | 0 | -500 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | -15 | 0 | -2
01:45 - 02:00 | -0.2 | 0 | 0 | 0 | -500 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | -75 | 0 | -2
02:00 - 02:15 | -0.2 | 0 | 0 | 0 | -300 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | -70 | 0 | -2
02:15 - 02:30 | -0.2 | 0 | 0 | 0 | -300 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | -2
02:30 - 02:45 | -0.2 | 0 | 0 | 0 | -200 | 0 | 0 | -3 | 0 | 0 | 0 | -5 | -2 | -15 | 0 | -1
02:45 - 03:00 | -0.2 | -1 | 0 | 0 | -200 | 0 | 0 | -3 | 0 | 0 | 0 | -5 | -2 | -50 | 0 | -1
03:00 - 03:15 | -0.2 | 0 | 0 | 0 | -200 | 0 | 0 | -3 | 0 | 0 | 0 | -5 | -2 | -10 | 0 | -1
03:15 - 03:30 | -0.2 | 0 | 0 | 0 | -200 | 0 | 0 | -3 | 0 | 0 | 0 | -5 | -2 | -10 | 0 | -1
03:30 - 03:45 | -0.2 | 0 | 0 | 0 | -200 | 0 | 0 | -3 | 0 | 0 | 0 | -5 | -2 | -40 | 0 | -2
03:45 - 04:00 | -0.2 | 0 | 0 | 0 | -200 | 0 | 0 | -3 | 0 | 0 | 0 | -5 | -2 | -40 | 0 | -2
04:00 - 04:15 | -0.2 | -1 | 0 | 0 | -150 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | 0 | 0 | -2
04:15 - 04:30 | -0.2 | 0 | 0 | 0 | -150 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | -10 | 0 | -2
04:30 - 04:45 | -0.2 | 0 | 0 | 0 | -150 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | -10 | 0 | -2
04:45 - 05:00 | -0.2 | 0 | 0 | 0 | -150 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | 0 | 0 | -2
05:00 - 05:15 | -0.2 | 0 | 0 | 0 | -150 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | -40 | 0 | -2
05:15 - 05:30 | -0.2 | 0 | 0 | 0 | -150 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | -30 | 0 | -2
05:30 - 05:45 | -0.2 | -2 | 0 | 0 | -250 | 0 | 0 | -3 | 0 | 0 | -12 | -5 | -2 | 0 | 0 | -2
05:45 - 06:00 | -0.2 | 0 | 0 | 0 | -350 | 0 | 0 | -3 | 0 | 0 | -12 | -5 | -2 | -30 | 0 | -2
06:00 - 06:15 | -0.2 | 0 | -1 | 0 | -250 | 0 | -0.1 | -3 | 0 | 0 | -12 | -5 | -2 | -50 | 0 | -12
06:15 - 06:30 | -0.2 | 0 | -1 | 0 | -250 | 0 | -0.1 | -3 | 0 | 0 | -12 | -5 | -2 | 0 | 0 | -12
06:30 - 06:45 | -0.2 | 0 | -1 | 0 | -250 | 0 | -0.2 | -3 | -0.2 | 0 | 0 | -5 | -2 | -30 | 14.45 | -12
06:45 - 07:00 | -0.2 | 0 | -1 | 0 | -250 | 0 | -0.2 | -3 | -0.4 | 0 | 0 | -5 | -2 | -50 | 14.45 | -12
07:00 - 07:15 | -0.2 | 0 | -0.8 | 0 | -150 | 0 | -0.3 | -3 | -0.6 | 0 | -3 | -5 | -2 | 0 | 14.45 | -12
07:15 - 07:30 | -0.2 | 0 | -0.8 | 0 | -150 | 0 | -0.3 | -3 | -0.9 | 0 | -3 | -5 | -2 | -10 | 14.45 | -12
07:30 - 07:45 | -0.2 | 0 | -0.8 | 0 | -250 | 0 | -0.4 | -3 | -1.1 | 0 | -10 | -5 | -2 | 0 | 14.45 | -12
07:45 - 08:00 | -0.2 | 0 | -0.8 | 0 | -350 | 0 | -0.6 | -3 | -1.4 | 0 | -10 | -5 | -2 | -10 | 14.45 | -12
08:00 - 08:15 | -0.2 | 0 | -0.8 | 0 | -50 | 0 | -0.6 | -3 | -1.6 | 0 | -10 | -5 | -2 | -10 | 0 | -6
08:15 - 08:30 | -0.2 | 0 | -0.8 | 0 | -50 | 0 | -0.7 | -3 | -1.8 | 0 | -10 | -5 | -2 | 0 | 0 | -6
08:30 - 08:45 | -0.2 | 0 | -1.2 | 0 | -250 | 0 | 0 | -3 | -2.2 | 0 | -6 | -5 | -2 | -16 | 0 | -6
08:45 - 09:00 | -0.2 | 0 | -1.2 | 0 | -350 | 0 | 0 | -3 | -2.3 | 0 | -6 | -5 | -2 | -55 | 0 | -6
09:00 - 09:15 | -0.2 | 0 | -1.2 | 0 | -23.34 | 0 | 0 | -3 | -2.4 | 0 | -6 | -5 | -2 | -30 | 0 | -6
09:15 - 09:30 | -0.2 | -3 | -1.2 | 0 | -113.33 | 0 | 0 | -3 | -2.5 | 0 | -6 | -5 | -2 | 0 | 0 | -6
09:30 - 09:45 | -0.2 | 0 | -1.2 | 0 | -60.09 | 0 | -0.2 | -3 | -2.4 | 0 | -6 | -5 | -2 | -15 | 0 | -6
09:45 - 10:00 | -0.2 | 0 | -1.2 | 0 | -60.02 | 0 | -0.2 | -3 | -0.2 | 0 | -6 | -5 | -2 | 0 | 0 | -6
10:00 - 10:15 | -0.2 | 0 | 0 | 0 | -250 | 0 | -0.1 | -3 | 0 | 0 | 0 | -5 | -2 | -8 | 0 | -4
10:15 - 10:30 | -0.2 | 0 | 0 | 0 | -250 | 0 | -0.1 | -3 | 0 | 0 | -3 | -5 | -2 | -45 | 0 | -4
10:30 - 10:45 | -0.2 | 0 | 0 | 0 | -500.08 | 0 | -0.1 | -3 | 0 | 0 | -4 | -5 | -2 | -15 | 0 | -4
10:45 - 11:00 | -0.2 | 0 | 0 | 0 | -400.01 | 1.9 | -0.1 | -3 | 0 | 1.73 | -4 | -5 | -2 | 0 | 0 | -4
11:00 - 11:15 | -0.2 | 0 | 0 | 0 | -325.04 | 0 | -0.1 | -3 | 0 | 0 | -4 | -5 | -2 | -10 | 0 | -3
11:15 - 11:30 | -0.2 | 0 | 0 | 0 | -175.43 | 0 | -0.2 | -3 | 0 | 0 | -4 | -5 | -2 | -10 | 0 | -3
11:30 - 11:45 | -0.2 | 0 | 0 | 0 | -225.18 | 0 | -1.5 | -3 | 0 | 0 | -4 | -5 | -2 | -5 | 0 | -3
11:45 - 12:00 | -0.2 | 0 | 0 | 0 | -325.57 | 0 | -1.5 | -3 | 0 | 0 | -4 | -5 | -2 | -46 | 0 | -3
12:00 - 12:15 | -0.2 | -3 | 0 | 0 | -401.14 | 0 | -0.1 | -3 | 0 | 0 | -4 | -5 | -2 | -35 | 0 | -3
12:15 - 12:30 | -0.2 | 0 | 0 | 0 | -402.31 | 0 | -0.1 | -3 | 0 | 0 | -4 | -5 | -2 | 0 | 0 | -3
12:30 - 12:45 | -0.2 | 0 | 0 | 0 | -551.01 | 0 | -0.2 | -3 | 0 | 0 | -4 | -5 | -2 | -15 | 0 | -3
12:45 - 13:00 | -0.2 | 0 | 0 | 0 | -550.35 | 0 | -0.2 | -3 | 0 | 0 | -4 | -5 | -2 | -40 | 0 | -3
13:00 - 13:15 | -0.2 | 0 | 0 | 0 | -350.35 | 0 | -0.5 | -3 | 0 | 0 | -7 | -5 | -2 | -15 | 0 | -3
13:15 - 13:30 | -0.2 | 0 | 0 | 0 | -350.35 | 0 | -0.5 | -3 | 0 | 0 | -7 | -5 | -2 | 0 | 0 | -3
13:30 - 13:45 | -0.2 | 0 | 0 | 0 | -350.7 | 0 | -0.8 | -3 | 0 | 0 | -7 | -5 | -2 | -30 | 0 | -3
13:45 - 14:00 | -0.2 | 0 | 0 | 0 | -354.55 | 0 | -0.7 | -3 | 0 | 0 | -7 | -5 | -2 | -30 | 0 | -3
14:00 - 14:15 | -0.2 | 0 | 0 | 0 | -109.24 | 0 | 0 | -3 | 0 | 0 | -7 | -5 | -2 | 0 | 0 | 0
14:15 - 14:30 | -0.2 | 0 | 0 | 0 | -508.05 | 0 | 0 | -3 | 0 | 0 | -7 | -5 | -2 | 0 | 0 | 0
14:30 - 14:45 | -0.2 | 0 | 0 | 0 | -476.16 | 0 | 0 | -3 | 0 | 0 | -7 | -5 | -2 | -38 | 0 | 0
14:45 - 15:00 | -0.2 | -2 | 0 | 0 | -503.56 | 0 | 0 | -3 | -1.8 | 0 | -7 | -5 | -2 | 0 | 0 | 0
15:00 - 15:15 | -0.2 | 0 | 0 | -30 | -450 | 0 | 0 | -3 | -1.7 | 0 | -8 | -5 | -2 | 0 | 0 | 0
15:15 - 15:30 | -0.2 | 0 | 0 | -30 | -550 | 0 | 0 | -3 | -1.6 | 0 | -8 | -5 | -2 | -20 | 0 | 0
15:30 - 15:45 | -0.2 | 0 | 0 | -30 | -750 | 0 | -0.1 | -3 | -1.4 | 0 | -8 | -5 | -2 | -10 | 0 | 0
15:45 - 16:00 | -0.2 | 0 | 0 | -30 | -650 | 0 | -0.1 | -3 | -1.3 | 0 | -8 | -5 | -2 | 0 | 0 | 0
16:00 - 16:15 | -0.2 | -4 | 0 | 0 | -600 | 0 | 0 | -3 | -0.9 | 0 | -8 | -5 | -2 | 0 | 0 | -12
16:15 - 16:30 | -0.2 | 0 | 0 | 0 | -700 | 0 | 0 | -3 | -0.8 | 0 | -8 | -5 | -2 | -10 | 0 | -12
16:30 - 16:45 | -0.2 | 0 | 0 | 0 | -600 | 0 | 0 | -3 | -0.6 | 0 | -8 | -5 | -2 | 0 | 0 | -12
16:45 - 17:00 | -0.2 | 0 | 0 | 0 | -600 | 0 | 0 | -3 | -0.3 | 0 | -8 | -5 | -2 | 0 | 0 | -12
17:00 - 17:15 | -0.2 | 0 | -2 | 0 | -675 | 0 | 0 | -3 | -0.1 | 0 | -4 | -5 | -2 | -30 | 0 | -12
17:15 - 17:30 | -0.2 | -4 | -2 | 0 | -550 | 0 | 0 | -3 | 0 | 0 | -4 | -5 | -2 | -55 | 0 | -12
17:30 - 17:45 | -0.2 | 0 | -2 | 0 | -300 | 0 | 0 | -3 | 0 | 0 | -4 | -5 | -2 | -10 | 0 | -12
17:45 - 18:00 | -0.2 | 0 | -2 | 0 | -350 | 0 | 0 | -3 | 0 | 0 | -4 | -5 | -2 | 0 | 0 | -12
18:00 - 18:15 | -0.2 | 0 | -1.5 | 0 | -50 | 0 | 0 | -3 | 0 | 0 | -4 | 0 | -2 | 0 | 0 | 0
18:15 - 18:30 | -0.2 | 0 | -1.5 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -4 | 0 | -2 | 0 | 0 | 0
18:30 - 18:45 | -0.2 | 0 | -1.6 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | -4 | 0 | -2 | -30 | 0 | 0
18:45 - 19:00 | -0.2 | 0 | -1.6 | 0 | -50 | 0 | 0 | -3 | 0 | 0 | -4 | 0 | -2 | -60 | 0 | 0
19:00 - 19:15 | -0.2 | 0 | -1.6 | 0 | -125 | 0 | 0 | -3 | 0 | 0 | -4 | 0 | -2 | -40 | 0 | 0
19:15 - 19:30 | -0.2 | 0 | -1.6 | 0 | -150 | 0 | 0 | -3 | 0 | 0 | -4 | 0 | -2 | 0 | 0 | 0
19:30 - 19:45 | -0.2 | 0 | -1.6 | 0 | -125 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | -10 | 0 | 0
19:45 - 20:00 | -0.2 | 0 | -1.6 | 0 | -175 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | -10 | 0 | 0
20:00 - 20:15 | 0 | 0 | -1.9 | 0 | -525 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | -10 | 0 | 0
20:15 - 20:30 | 0 | 0 | -1.9 | 0 | -525 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | -55 | 0 | 0
20:30 - 20:45 | 0 | 0 | -1.9 | 0 | -250 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | -50 | 0 | 0
20:45 - 21:00 | 0 | 0 | -1.9 | 0 | -250 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | -2.4 | 0 | -325 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | -20 | 0 | 0
21:15 - 21:30 | 0 | 0 | -2.4 | 0 | -325 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | -20 | 0 | 0
21:30 - 21:45 | 0 | 0 | -2.4 | 0 | -350 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | -2.4 | 0 | -350 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | -40 | 0 | 0
22:00 - 22:15 | 0 | 0 | -2.8 | 0 | -375 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | -40 | 0 | 0
22:15 - 22:30 | 0 | 0 | -2.8 | 0 | -425 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | -2.4 | 0 | -400 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | -2.4 | 0 | -400 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | -10 | 0 | 0
23:00 - 23:15 | 0 | 0 | -2.4 | 0 | -600 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | -2.4 | 0 | -600 | 0 | 0 | -3 | 0 | 0 | -6 | -5 | -2 | -8 | 0 | 0
23:30 - 23:45 | 0 | 0 | -2.4 | 0 | -600 | 0 | 0 | -3 | 0 | 0 | -3 | -5 | -2 | -55 | 0 | 0
23:45 - 24:00 | 0 | 0 | -2.4 | 0 | -700 | 0 | 0 | -3 | 0 | 0 | -3 | -5 | -2 | -55 | 0 | 0
Average | -0.16667 | -0.22917 | -0.76875 | -1.25 | -325.686 | 0.019792 | -0.11354 | -3 | -0.31771 | 0.018021 | -4.9062 | -4.1667 | -2 | -19.8021 | 0.90313 | -3.5