## POWER STATUS
POWER STATUS ON DT 13.09.2026
[9 empty] | 2026-09-13 | 2026-09-12
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 8:00 | 20:00
Demand -> | [8 empty] | 5300.5253 | 5714.2088
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 232.83 | 5.5879 | 630/590 ft | 628.87 | 629.08 | 629.21 | 240.5362 | 242.5924
| Chiplima | 72(3x24) | 58 | 1.392 | - |  |  |  | 62.0413 | 53.28
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1489.9 | 1478.5 | 1480 | 0 | 0
| Rengali | 250(5x50) | 251.04 | 6.025 | 123.5/109.75 mt | 122.9 | 122.69 | 122.83 | 253.7281 | 252.1725
| Upper Kolab | 320(4x80) | 28.29 | 0.67896 | 858/844 mt | 855.95 | 852.74 | 852.82 | 77.8544 | 153.5389
| Upper Indravati | 600(4x150) | 596.15 | 14.3076 | 642/625 mt | 637..90 | 640.2 | 640.24 | 594.7344 | 603.3881
| Machkund | 60(50% of(3x17+3x23)) | 11.2 | 0.2688 | 2750/2685 ft | 2748.1 | 2732.75 | 2733.3 | 19.6308 | 14.5787
| Total Hydro | 2099.5 | 1177.51 | 28.2602 |  |  |  |  | 1248.5253 | 1319.5506
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1697.09 | 40.7302 | RENEWABLE ENERGY (RE) |  |  |  | 1723 | 1708
[5 empty] | M.Hydl | 90.33
| Total Thermal | 2200 | 1697.09 | 40.7302 | Solar | 75.72 |  |  | 1723 | 1708
IPP | VEDANTA #2 | 600 (1x600) | 433.4644 | 10.4031 | Total IPPs | Yesterday's Demand Profile |  |  | 387.8516 | 547.9492
| GMR #3 | 350 (1x350) | 327.9651 | 7.8712 | 815.7051 |  | MW | HRS | 328.3521 | 329.7856
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 54.2756 | 1.3026 |  |  |  |  | 55.6043 | 55.4429
| CGPs |  | 827.5384 | 19.8609 | IPPs, CGPs & RE | Maximum | 5717 | 20:00 | 1945 | 1979
| Central Sector(Drawl) |  | 495.4832 | 11.8916 | 1809.2934 | Minimum | 4717 | 04:00 | 384 | 707.6582
| Central Sector(Sch) |  | 565.2461 | 13.5659 |  | Average | 5179.3766 |  | 289 | 776.2194
| Grand Total |  | 5179.3766 | 124.305 | Instantaneous Peak demand |  | 6025.1392 | 46277.7847 | 5300.5253 | 5714.2088
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1547.0633 | 37.1295 | 1566.4314 | 37.5944 | 1540.5501 | 36.9732
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1521.2793 | 36.5107 | 1493.2321 | 35.8376 | 1395.1627 | 33.4839
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1250.8776 | 30.0211 | 1343.7262 | 32.2494 | 1150.3686 | 27.6088
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 544.0769 | 13.0578 | 534.2058 | 12.8209 | 567.043 | 13.609
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 4863.2972 | 116.7191 | 4937.5955 | 118.5023 | 4653.1244 | 111.675
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 381 | GMR |  |  |  | 324
| NBVL #3 | 0 | MDTPC |  |  |  | 46
Mini Hydel: | MEENAKSHI | 24 | OPCL |  |  |  | 0
| BTPL | 28 | SAPTADHARA |  |  |  | 20
Solar: |  | 324 | KAKATIYA |  |  |  | 6
CGPs : | JSPL (Angul) | 333.502 | JSL(Duburi) |  |  |  | -86.6632
| ICCL | 41.7702 | visa |  |  |  | 19.2061
| NALCO | -128.3818 | VAL (CGP) |  |  |  | 104.8496
| RSP | -58.8931 | BSL(MMDL) |  |  |  | 70.9978
| INDAL | 6.3317 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -23.4096 | VAL CPP 400 kV |  |  |  | -473.1767
| NBVL | 5.8121 | Arati |  |  |  | 4.9624
| BPSL(JSG) | -33.0064 | BPPL |  |  |  | 117.2586
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-05 | 2026-09-06 | 2026-09-07 | 2026-09-08 | 2026-09-09 | 2026-09-10 | 2026-09-11 | 2026-09-12
1158.9236 | 1151.6823 | 1166.575 | 1220.73 | 1235.2363 | 1175.6473 | 1121.1428 | 1177.51
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.12.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | -20 | AARTISTEEL | UPPCL | -6 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.6
AARTISTEEL | KPTCL | -5 | FACORPOWER | PSPCL | -17.92 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 1.68
AMNSIL_Pdeep | AMNSIL | 0 | FACORPOWER | PSPCL | -7.5 | AGE26AL_PSS6_KPS1_S | ODISHA | 129.66
ARYAN_ISPAT | BALCO_LOAD | -5 | FACORPOWER | RUVITSL | -3.75 | AP41PL_BHDL | ODISHA | 53.56
ENVIROCARE_INFRA | APCPDCL | -13 | JSPLANGUL | RUVITSL | -2.08 | AP43PL_BKN | ODISHA | 81.48
FACORPOWER | RUVITSL | -1.25 | JSPLANGUL | RUVITSL | -3.12 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.61
GMRKEL_STU | GEB_Beneficiary | -61.9 | JSPLANGUL | RUVITSL | -106.25 | AWEK1L | ODISHA | 4.79
GMRKEL_STU | TNEB | -18 | JSPLANGUL | RUVITSL | -70.83 | AWEK1L | ODISHA | 3.19
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | NBVLIPP | BSPHCL | -12.54 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 4.66
JPIPL | NPCL_UP | -13 | NBVLIPP | RUVITSL | -5.38 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 19.67
JSPLANGUL | GEB_Beneficiary | -110 | OCL_IRON_STEEL | TPDDL | -36.25 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 14.45
JSPLANGUL | RUVITSL | -40.62 | OCL_IRON_STEEL | TPDDL | -17.5 | DADRI_SOLAR | ODISHA | 0.76
JSPLANGUL | RUVITSL | -27.08 | ODISHA | HARYANA | -71.88 | ENERSON_SOLAR_10MW | ODISHA | 0.2
MAADURGA_THERMAL | NPCL_UP | -22.1 | ODISHA | TANGEDCO | -12.5 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -5.75 | ODISHA | TANGEDCO | -6.25 | GADAG_GreenInfra_W | ODISHA | 0.39
NBVLIPP | KPTCL | -1.92 | ODISHA | TANGEDCO | -18.75 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -3.83 | ODISHA | TANGEDCO | -12.5 | GADAG_Serentica3_S | VLSEZ | 41.93
NBVLIPP | TANGEDCO | 0 | ODISHA | TPL_DIS_AHM | -22.92 | GADAG_Serentica3_W | VLSEZ | 31.34
ODISHA | AMNSIL | -95.83 | ODISHA | WBSEDCL | -95.83 | GIWEL_SECI_II_RE | ODISHA | 18.3
ODISHA | AMNSIL | -37.5 | ORSISL | UPPCL | -2.5 | GPCL_SOLAR_10 | ODISHA | 1
ODISHA | APCPDCL | -51.04 | SMEL | NPCL_UP | -2 | GSECL_SOLAR | ODISHA | 1.5
ODISHA | APCPDCL | -71.88 | SMEL | PSPCL | -17.71 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.99
ODISHA | APCPDCL | -28.12 | SMEL | PSPCL | -7.29 | KARUR_TPVARDHAMAN_W | TSKPO | 37.37
ODISHA | GEB_Beneficiary | -27.34 | Shri_JSPL | KSEB | -2 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
ODISHA | KPTCL | -141.67 | TIMES_STEEL | TPL_DIS_DHOLERA | -2.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.79
ODISHA | KSEB | -14.58 | TIMES_STEEL | UPPCL | -1.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
ORSISL | BALCO_LOAD | -5 | TSBSLA | TPLD | -10 | NTPCRE1_SMND_BHJ2_W | ODISHA | 2.55
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | VIRAJ_SEPL | PSPCL | -7.08 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0.38
VSL | APCPDCL | -5 | VIRAJ_SEPL | PSPCL | -2.92 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.11
FARIDABAD_SOLAR | ODISHA | 0.85 | VSL | TANGEDCO | -10 | OKWPL_RE | ODISHA | 11.05
JSWEL_UTKAL | ODISHA | 75.21 | VSL | TPL_DIS_AHM | -5 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 8.47
RAJ_SOLAR | ODISHA | 2.31 | Darlipali_NTPC | ODISHA | 21.85 | RWE_AP2_SECI_III | ODISHA | 8.3
RAJ_SOLAR | ODISHA | 2.42 | JIPL | ODISHA | 115.6 | RenewGreen_SLPR_HS | JSL_DUBURI | 10.35
|  |  | NALCOAP | NACL_Odisha | 8.26 | SRI9PL_FTG3 | VLSEZ | 91.68
|  |  | TSTPP_I | ODISHA | 47.91 | TPVSL_BKN3 | TSKPO | 12.46
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 17.2
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 1
[6 empty] | XXPPL_FTG3 | ODISHA | 70.39

## DAM
DAM TRADING DETAILS FOR DT : 12.09.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -4.5 | 0.13 | -3 | -3 | 0 | 0
00:15 - 00:30 | -4.5 | 0.15 | -3 | -3 | 0 | 0
00:30 - 00:45 | -4.5 | 0.24 | -3 | -3 | 0 | 0
00:45 - 01:00 | -4.5 | 0.25 | -3 | -3 | 0 | 0
01:00 - 01:15 | -4.5 | 0.26 | -3 | -3 | 0 | 0
01:15 - 01:30 | -4.5 | 0.27 | -3 | -3 | 0 | 0
01:30 - 01:45 | -4.5 | 0.32 | -3 | -3 | 0 | 0
01:45 - 02:00 | -4.5 | 0.39 | -3 | -3 | 0 | 0
02:00 - 02:15 | -4.5 | 0.73 | -3 | 0 | 0 | 0
02:15 - 02:30 | -4.5 | 0.81 | -3 | 0 | 0 | 0
02:30 - 02:45 | -4.5 | 0.88 | -3 | 0 | 0 | 0
02:45 - 03:00 | -4.5 | 1.03 | -3 | 0 | 0 | 0
03:00 - 03:15 | -4.5 | 1.42 | -3 | 0 | 0 | 0
03:15 - 03:30 | -4.5 | 1.53 | -3 | 0 | 0 | 0
03:30 - 03:45 | -4.5 | 1.7 | -3 | 0 | 0 | 0
03:45 - 04:00 | -4.5 | 1.82 | -3 | 0 | 0 | 0
04:00 - 04:15 | -4.5 | 2.23 | -3 | 0 | 0 | 0
04:15 - 04:30 | -4.5 | 2.43 | -3 | 0 | 0 | 0
04:30 - 04:45 | -4.5 | 2.58 | -3 | 0 | 0 | 0
04:45 - 05:00 | -4.5 | 2.56 | -3 | 0 | 0 | 0
05:00 - 05:15 | -4.5 | 0.37 | -3 | -3 | 0 | 0
05:15 - 05:30 | -4.5 | 0.52 | -3 | -3 | 0 | 0
05:30 - 05:45 | -4.5 | 0.59 | -3 | -3 | 0 | 0
05:45 - 06:00 | -4.5 | 0.15 | -3 | -3 | 0 | 0
06:00 - 06:15 | -30.5 | 0.06 | -3 | -3 | 0 | -3
06:15 - 06:30 | -30.5 | 0 | -3 | -3 | 0 | -3
06:30 - 06:45 | -30.5 | 0.1 | -3 | -3 | 0 | -3
06:45 - 07:00 | -30.5 | 0.39 | -3 | -3 | 0 | -3
07:00 - 07:15 | -30.5 | 1.34 | -3 | -3 | 0 | -3
07:15 - 07:30 | -30.5 | 2.33 | -3 | -3 | 0 | -3
07:30 - 07:45 | -30.5 | 8.11 | -3 | -3 | 0 | -3
07:45 - 08:00 | -30.5 | 15.09 | -3 | -3 | 0 | -3
08:00 - 08:15 | -30.5 | -400 | -3 | -45.5 | 0 | -3
08:15 - 08:30 | -30.5 | -400 | -3 | -45.5 | 0 | -3
08:30 - 08:45 | -30.5 | -400 | -3 | -45.5 | 0 | -3
08:45 - 09:00 | -30.5 | -400 | -3 | -45.5 | 0 | -3
09:00 - 09:15 | 0 | -675 | -3 | -45.5 | 0 | -3
09:15 - 09:30 | 0 | -675 | -3 | -45.5 | 0 | -3
09:30 - 09:45 | 3.85 | -675 | -3 | -45.5 | 0 | -3
09:45 - 10:00 | 3.85 | -675 | -3 | -45.5 | 0 | -3
10:00 - 10:15 | 0 | -575 | -1 | -45.5 | 0 | -3
10:15 - 10:30 | 0 | -575 | -1 | -45.5 | 0 | -3
10:30 - 10:45 | 0 | -825 | -1 | -45.5 | 0 | -3
10:45 - 11:00 | 0 | -825 | -1 | -45.5 | 0 | -3
11:00 - 11:15 | 0 | -1150 | -1 | -45.5 | 0 | -3
11:15 - 11:30 | 0 | -1150 | -1 | -45.5 | 0 | -3
11:30 - 11:45 | 0 | -1150 | -1 | -45.5 | 0 | -3
11:45 - 12:00 | 0 | -1150 | -1 | -45.5 | 0 | -3
12:00 - 12:15 | 0 | -1125 | -1 | -45.5 | 0 | -3
12:15 - 12:30 | 0 | -1125 | -1 | -45.5 | 0 | -3
12:30 - 12:45 | 0 | -1125 | -1 | -45.5 | 0 | -3
12:45 - 13:00 | 0 | -1125 | -1 | -45.5 | 0 | -3
13:00 - 13:15 | 0 | -1075 | -1 | -45.5 | 9.63 | -3
13:15 - 13:30 | 0 | -1075 | -1 | -45.5 | 9.63 | -3
13:30 - 13:45 | 0 | -1075 | -1 | -45.5 | 0 | -3
13:45 - 14:00 | 0 | -1075 | -1 | -45.5 | 0 | -3
14:00 - 14:15 | 0 | -1275 | -1 | -45.5 | 0 | -3
14:15 - 14:30 | 0 | -1275 | -1 | -45.5 | 0 | -3
14:30 - 14:45 | 0 | -1075 | -1 | -45.5 | 0 | -3
14:45 - 15:00 | 0 | -1075 | -1 | -45.5 | 0 | -3
15:00 - 15:15 | -30.5 | -1025 | -3 | -45.5 | 0 | -3
15:15 - 15:30 | -30.5 | -1025 | -3 | -45.5 | 0 | -3
15:30 - 15:45 | -30.5 | -1025 | -3 | -45.5 | 0 | -3
15:45 - 16:00 | -30.5 | -1025 | -3 | -45.5 | 0 | -3
16:00 - 16:15 | -30.5 | -625 | -3 | 0 | 0 | -3
16:15 - 16:30 | -30.5 | -625 | -3 | 0 | 0 | -3
16:30 - 16:45 | -30.5 | -625 | -3 | 0 | 0 | -3
16:45 - 17:00 | -30.5 | -625 | -3 | 0 | 0 | -3
17:00 - 17:15 | -30.5 | -300 | -3 | 0 | 0 | -3
17:15 - 17:30 | -30.5 | -225 | -3 | 0 | 0 | -3
17:30 - 17:45 | -30.5 | -125 | -3 | 0 | 0 | -3
17:45 - 18:00 | -30.5 | 0.75 | -3 | 0 | 0 | -3
18:00 - 18:15 | -4.5 | 5.39 | -3 | 0 | 0 | 0
18:15 - 18:30 | -4.5 | 0.67 | -3 | 0 | 0 | 0
18:30 - 18:45 | -4.5 | 0.13 | -3 | 0 | 0 | 0
18:45 - 19:00 | -4.5 | 0.29 | -3 | 0 | 0 | 0
19:00 - 19:15 | -4.5 | 0.34 | -3 | -3 | 0 | 0
19:15 - 19:30 | -4.5 | 0.02 | -3 | -3 | 0 | 0
19:30 - 19:45 | -4.5 | 0.28 | -3 | -3 | 0 | 0
19:45 - 20:00 | -4.5 | 0.15 | -3 | -3 | 0 | 0
20:00 - 20:15 | -4.5 | 0.38 | -3 | -3 | 0 | 0
20:15 - 20:30 | -4.5 | 0.46 | -3 | -3 | 0 | 0
20:30 - 20:45 | -4.5 | 0 | -3 | -3 | 0 | 0
20:45 - 21:00 | -4.5 | 0.09 | -3 | -3 | 0 | 0
21:00 - 21:15 | -4.5 | 0.04 | -3 | -3 | 0 | 0
21:15 - 21:30 | -4.5 | 0.2 | -3 | -3 | 0 | 0
21:30 - 21:45 | -4.5 | 0.12 | -3 | -3 | 0 | 0
21:45 - 22:00 | -4.5 | 0.14 | -3 | -3 | 0 | 0
22:00 - 22:15 | -4.5 | 0 | -3 | -3 | 0 | 0
22:15 - 22:30 | -4.5 | 0.15 | -3 | -3 | 0 | 0
22:30 - 22:45 | -4.5 | 0.18 | -3 | -3 | 0 | 0
22:45 - 23:00 | -4.5 | 0.13 | -3 | -3 | 0 | 0
23:00 - 23:15 | -4.5 | 0.91 | -3 | -3 | 0 | 0
23:15 - 23:30 | -4.5 | 0.88 | -3 | -3 | 0 | 0
23:30 - 23:45 | -4.5 | 2.26 | -3 | -3 | 0 | 0
23:45 - 24:00 | -4.5 | 2.35 | -3 | -3 | 0 | 0
Average | -9.7948 | -337.322 | -2.5833 | -16.4167 | 0.20063 | -1.5

## GDAM
GDAM TRADING DETAILS FOR DT:12.09.2026
Time Period | GRIDCO | Orissa_Metaliks_Private_Limited
00:00 - 00:15 | 0 | 0
00:15 - 00:30 | 0 | 0
00:30 - 00:45 | 0 | 0
00:45 - 01:00 | 0 | 0
01:00 - 01:15 | 0 | 0
01:15 - 01:30 | 0 | 0
01:30 - 01:45 | 0 | 0
01:45 - 02:00 | 0 | 0
02:00 - 02:15 | 0 | 0
02:15 - 02:30 | 0 | 0
02:30 - 02:45 | 0 | 0
02:45 - 03:00 | 0 | 0
03:00 - 03:15 | 0 | 0
03:15 - 03:30 | 0 | 0
03:30 - 03:45 | 0 | 0
03:45 - 04:00 | 0 | 0
04:00 - 04:15 | 0 | 0
04:15 - 04:30 | 0 | 0
04:30 - 04:45 | 0 | 0
04:45 - 05:00 | 0 | 0
05:00 - 05:15 | 0 | 0
05:15 - 05:30 | 0 | 0
05:30 - 05:45 | 0 | 0
05:45 - 06:00 | 0 | 0
06:00 - 06:15 | 0 | 0
06:15 - 06:30 | 0 | 0
06:30 - 06:45 | 0 | 0
06:45 - 07:00 | 0 | 0
07:00 - 07:15 | 0 | 0
07:15 - 07:30 | 0 | 0
07:30 - 07:45 | 0 | 0
07:45 - 08:00 | 0 | 0
08:00 - 08:15 | 0 | 0
08:15 - 08:30 | 0 | 0
08:30 - 08:45 | 0 | 0
08:45 - 09:00 | 0 | 0
09:00 - 09:15 | 0 | 0
09:15 - 09:30 | 0 | 0
09:30 - 09:45 | 0 | 0
09:45 - 10:00 | 0 | 0
10:00 - 10:15 | 0 | 0
10:15 - 10:30 | 0 | 6.26
10:30 - 10:45 | 0 | 0
10:45 - 11:00 | 0 | 0
11:00 - 11:15 | 0 | 0
11:15 - 11:30 | 0 | 0
11:30 - 11:45 | 0 | 0
11:45 - 12:00 | 0 | 0
12:00 - 12:15 | 0 | 0
12:15 - 12:30 | 0 | 6.26
12:30 - 12:45 | 0 | 6.26
12:45 - 13:00 | 0 | 6.26
13:00 - 13:15 | 0 | 6.26
13:15 - 13:30 | 0 | 6.26
13:30 - 13:45 | 0 | 6.26
13:45 - 14:00 | 0 | 6.26
14:00 - 14:15 | 0 | 0
14:15 - 14:30 | 0 | 0
14:30 - 14:45 | 0 | 0
14:45 - 15:00 | 0 | 0
15:00 - 15:15 | 0 | 0
15:15 - 15:30 | 0 | 0
15:30 - 15:45 | 0 | 0
15:45 - 16:00 | 0 | 0
16:00 - 16:15 | 0 | 0
16:15 - 16:30 | 0 | 0
16:30 - 16:45 | 0 | 0
16:45 - 17:00 | 0 | 0
17:00 - 17:15 | 0 | 0
17:15 - 17:30 | 0 | 0
17:30 - 17:45 | 0 | 0
17:45 - 18:00 | 0 | 0
18:00 - 18:15 | 10.01 | 0
18:15 - 18:30 | 4.85 | 0
18:30 - 18:45 | 3.97 | 0
18:45 - 19:00 | 0.01 | 0
19:00 - 19:15 | 0.12 | 0
19:15 - 19:30 | 0.29 | 0
19:30 - 19:45 | 1.59 | 0
19:45 - 20:00 | 1.61 | 0
20:00 - 20:15 | 2.17 | 0
20:15 - 20:30 | 2.14 | 0
20:30 - 20:45 | 2.24 | 0
20:45 - 21:00 | 2.25 | 0
21:00 - 21:15 | 2.27 | 0
21:15 - 21:30 | 2.3 | 0
21:30 - 21:45 | 2.33 | 0
21:45 - 22:00 | 2.39 | 0
22:00 - 22:15 | 2.61 | 0
22:15 - 22:30 | 2.67 | 0
22:30 - 22:45 | 2.26 | 0
22:45 - 23:00 | 2.23 | 0
23:00 - 23:15 | 2.71 | 0
23:15 - 23:30 | 2.73 | 0
23:30 - 23:45 | 2.89 | 0
23:45 - 24:00 | 3.18 | 0
Average | 0.64396 | 0.52167

## RTM
RTM TRADING DETAILS FOR DT: 12.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Ltd | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Visa_Chrome_Limited
00:00 - 00:15 | -0.2 | 0 | -2.5 | -700 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | -0.2 | 0 | -2.5 | -700 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -0.2 | 0 | -2.5 | -1000 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -25 | 0 | 0
00:45 - 01:00 | -0.2 | 0 | -2.5 | -1000 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -40 | 0 | 0
01:00 - 01:15 | -0.2 | 0 | -2.5 | -700 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -30 | 0 | 0
01:15 - 01:30 | -0.2 | 0 | -2.5 | -700 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -30 | 0 | 0
01:30 - 01:45 | -0.2 | 0 | -2.5 | -800 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -20 | 0 | 0
01:45 - 02:00 | -0.2 | 0 | -2.5 | -800 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | -0.2 | 0 | -2.5 | -350 | 0 | 0 | -1 | 0 | 0 | 0 | -2 | -5 | 0 | 0 | -20 | 0 | 0
02:15 - 02:30 | -0.2 | 0 | -2.5 | -450 | 0 | 0 | -1 | 0 | 0 | 0 | -2 | -5 | 0 | 0 | -20 | 0 | 0
02:30 - 02:45 | -0.2 | 0 | -2.5 | -500 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | -0.2 | -2 | -2.5 | -550 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | -0.2 | 0 | -2.5 | -400 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | -0.2 | 0 | -2.5 | -400 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -30 | 0 | 0
03:30 - 03:45 | -0.2 | 0 | -2.5 | -400 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | -0.2 | 0 | -2.5 | -400 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | -0.2 | -2 | -2.5 | -500 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -30 | 0 | 0
04:15 - 04:30 | -0.2 | 0 | -2.5 | -500 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | -0.2 | 0 | -2.5 | -350 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | -0.2 | 0 | -2.5 | -350 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | -0.2 | 0 | -2.5 | -350 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -10 | 0 | 0
05:15 - 05:30 | -0.2 | 0 | -2.5 | -450 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | -0.2 | 0 | -3 | -550 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -15 | 0 | 0
05:45 - 06:00 | -0.2 | 0 | -3 | -550 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -35 | 0 | 0
06:00 - 06:15 | -0.2 | 0 | -3 | -450 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -20 | 0 | -10
06:15 - 06:30 | -0.2 | 0 | -3 | -450 | 0 | 0 | -1 | -0.1 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -10
06:30 - 06:45 | -0.2 | 0 | -3 | -450 | 0 | 0 | -1 | -0.4 | 0 | 0 | 0 | -5 | 0 | -3 | -10 | 0 | -10
06:45 - 07:00 | -0.2 | 0 | -3 | -450 | 0 | 0 | -1 | -0.8 | 0 | 0 | 0 | -5 | 0 | -3 | 0 | 0 | -10
07:00 - 07:15 | -0.2 | 0 | -2.5 | -250 | 0 | 0 | -1 | -1 | 0 | 0 | 0 | -5 | 0 | -3 | 0 | 0 | -10
07:15 - 07:30 | -0.2 | 0 | -2.5 | -350 | 0 | 0 | -1 | -1.3 | 0 | 0 | 0 | -5 | 0 | -3 | -30 | 0 | -10
07:30 - 07:45 | -0.2 | 0 | -2.5 | -450 | 0 | 0 | -1 | -1.7 | 0 | 0 | 0 | -5 | 0 | -3 | -30 | 0 | -10
07:45 - 08:00 | -0.2 | 0 | -2.5 | -550 | 0 | 0 | -1 | -2 | 0 | 0 | 0 | -5 | 0 | -3 | 0 | 0 | -10
08:00 - 08:15 | -0.2 | 0 | -2.5 | -150 | 0 | 0 | -1 | -2.4 | 0 | 0 | -8 | -5 | 0 | -3 | 0 | 0 | -5
08:15 - 08:30 | -0.2 | 0 | -2.5 | -250 | 0 | 0 | -1 | -2.6 | 0 | 0 | -8 | -5 | 0 | -3 | -5 | 0 | -5
08:30 - 08:45 | -0.2 | 0 | -2.5 | -213.65 | 0 | 0 | -1 | -3 | 0 | 0 | -8 | -5 | 0 | -3 | 0 | 0 | -5
08:45 - 09:00 | -0.2 | 0 | -2.5 | -290.25 | 0 | 0 | -1 | -3.3 | 0 | 0 | -8 | -5 | 0 | -3 | -5 | 0 | -5
09:00 - 09:15 | -0.2 | 0 | -3 | -350.77 | 0 | 0 | -1 | -3.5 | 0 | 0 | -8 | 0 | 0 | -3 | -30 | 0 | -5
09:15 - 09:30 | -0.2 | 0 | -3 | -247.57 | 10.6 | 0 | -1 | -3.7 | 0 | 0 | -8 | 0 | 0 | -3 | -30 | 0 | -5
09:30 - 09:45 | -0.2 | 0 | -3 | -267.86 | 0 | -0.6 | -1 | -3.8 | 0 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | -5
09:45 - 10:00 | -0.2 | 0 | -3 | -362.14 | 0 | -0.7 | -1 | -1.4 | 0 | 0 | -3 | 0 | 0 | -3 | 0 | 0 | -5
10:00 - 10:15 | -0.2 | 0 | -3 | -558.19 | 0 | -1.5 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | -3 | 0 | 0 | -5
10:15 - 10:30 | -0.2 | 0 | -3 | -556.92 | 0 | -1.7 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | -3 | -10 | 0 | -5
10:30 - 10:45 | -0.2 | 0 | -3.3 | -765.47 | 0 | -0.6 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -20 | 0 | -3
10:45 - 11:00 | -0.2 | -4 | -3.3 | -765.47 | 0 | -0.7 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -20 | 0 | -3
11:00 - 11:15 | -0.2 | 0 | -3 | -510.13 | 0 | -0.1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3
11:15 - 11:30 | -0.2 | 0 | -3 | -554.55 | 0 | -0.1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3
11:30 - 11:45 | -0.2 | 0 | -3 | -700.35 | 0 | -0.6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.27 | -1
11:45 - 12:00 | -0.2 | 0 | -3 | -700.35 | 0 | -0.6 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.27 | -1
12:00 - 12:15 | -0.2 | -4 | -3 | -685.54 | 10.6 | -1.3 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38.53 | -1
12:15 - 12:30 | -0.2 | 0 | -3 | -547.52 | 10.6 | -1.5 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15 | 38.53 | -1
12:30 - 12:45 | -0.2 | 0 | -3 | -610 | 10.6 | -1 | -1 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 28.9 | -1
12:45 - 13:00 | -0.2 | 0 | -3 | -609.48 | 10.6 | -1 | -1 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 28.9 | -1
13:00 - 13:15 | -0.2 | 0 | -3 | -674.96 | 10.6 | -0.5 | -1 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -10 | 19.26 | -1
13:15 - 13:30 | -0.2 | 0 | -3 | -645.55 | 10.6 | -0.5 | -1 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 19.26 | -1
13:30 - 13:45 | -0.2 | 0 | -3 | -650.35 | 0 | -0.4 | -1 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 19.27 | -1
13:45 - 14:00 | -0.2 | 0 | -3 | -703.33 | 0 | -0.3 | -1 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -20 | 19.27 | -1
14:00 - 14:15 | -0.2 | 0 | -3 | -659.23 | 0 | 0 | -1 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -10 | 28.9 | -1
14:15 - 14:30 | -0.2 | 0 | -3 | -711.54 | 0 | 0 | -1 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 28.9 | -1
14:30 - 14:45 | -0.2 | -4 | -3 | -694.96 | 0 | 0 | -1 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | -1
14:45 - 15:00 | -0.2 | 0 | -3 | -623.08 | 0 | 0 | -1 | 0 | 0 | -10 | 0 | 0 | 0 | 0 | -8 | 0 | -1
15:00 - 15:15 | -0.2 | 0 | -3 | -700 | 0 | 0 | -1 | 0 | 0 | -10 | 0 | 0 | -2 | 0 | 0 | 0 | -2
15:15 - 15:30 | -0.2 | 0 | -3 | -600 | 0 | 0 | -1 | -2.3 | 0 | -10 | 0 | 0 | -2 | 0 | 0 | 0 | -2
15:30 - 15:45 | -0.2 | 0 | -3 | -550 | 0 | 0 | -1 | -2.1 | 0 | -20 | 0 | -5 | -2 | 0 | -60 | 0 | -2
15:45 - 16:00 | -0.2 | 0 | -3 | -550 | 0 | 0 | -1 | -1.8 | 0 | -20 | 0 | -5 | -2 | 0 | -30 | 0 | -2
16:00 - 16:15 | -0.2 | 0 | -3 | -500 | 0 | 0 | -20 | -1.7 | 0 | -20 | 0 | -5 | -2 | 0 | 0 | 9.63 | -9
16:15 - 16:30 | -0.2 | 0 | -3 | -500 | 0 | 0 | -20 | -1.4 | 0 | -20 | 0 | -5 | -2 | 0 | -20 | 9.63 | -9
16:30 - 16:45 | -0.2 | 0 | -3 | -575 | 0 | 0 | -21 | -1 | -5 | -20 | -2 | -5 | 0 | 0 | 0 | 9.63 | -9
16:45 - 17:00 | -0.2 | 0 | -3 | -475 | 0 | 0 | -21 | -0.6 | -5 | -20 | -2 | -5 | 0 | 0 | 0 | 9.63 | -9
17:00 - 17:15 | -0.2 | 0 | -3.5 | -625 | 0 | 0 | -21 | -0.3 | -5 | -20 | -2 | -5 | 0 | 0 | -30 | 9.63 | -8
17:15 - 17:30 | -0.2 | 0 | -3.5 | -525 | 0 | 0 | -21 | 0 | -5 | -20 | -2 | -5 | 0 | 0 | -30 | 9.63 | -8
17:30 - 17:45 | -0.2 | 0 | -3.5 | -575 | 0 | 0 | -21 | 0 | -5 | -10 | -2 | -5 | 0 | 0 | 0 | 0 | -8
17:45 - 18:00 | -0.2 | 0 | -3.5 | -475 | 0 | 0 | -21 | 0 | -5 | -10 | -2 | -5 | 0 | 0 | -10 | 0 | -8
18:00 - 18:15 | -0.2 | 0 | -3.5 | -400 | 0 | 0 | -21 | 0 | -3 | -10 | -5 | -5 | 0 | 0 | -10 | 0 | 0
18:15 - 18:30 | -0.2 | 0 | -3.5 | -425 | 0 | 0 | -21 | 0 | -3 | -10 | -5 | -5 | 0 | 0 | -10 | 0 | 0
18:30 - 18:45 | -0.2 | 0 | -3 | -300 | 0 | 0 | -21 | 0 | -3 | -10 | -6 | -5 | 0 | 0 | -50 | 9.63 | 0
18:45 - 19:00 | -0.2 | 0 | -3 | -400 | 0 | 0 | -21 | 0 | -3 | -10 | -6 | -5 | 0 | 0 | 0 | 9.63 | 0
19:00 - 19:15 | -0.2 | 0 | -3 | -450 | 0 | 0 | -21 | 0 | -3 | -10 | -6 | -5 | 0 | 0 | -10 | 9.63 | 0
19:15 - 19:30 | -0.2 | 0 | -3 | -400 | 0 | 0 | -21 | 0 | -3 | -10 | -6 | -5 | 0 | 0 | -10 | 9.63 | 0
19:30 - 19:45 | -0.2 | 0 | -3 | -450 | 0 | 0 | -21 | 0 | -3 | -13 | -6 | -5 | 0 | 0 | 0 | 19.27 | 0
19:45 - 20:00 | -0.2 | 0 | -3 | -475 | 0 | 0 | -21 | 0 | -3 | -13 | -6 | -5 | 0 | 0 | -10 | 24.08 | 0
20:00 - 20:15 | -0.2 | 0 | -3 | -425 | 0 | 0 | -21 | 0 | -3 | -13 | -6 | -5 | 0 | 0 | -40 | 24.08 | 0
20:15 - 20:30 | -0.2 | 0 | -3 | -425 | 0 | 0 | -21 | 0 | -3 | -13 | -6 | -5 | 0 | 0 | -10 | 33.72 | 0
20:30 - 20:45 | -0.2 | 0 | -3 | -450 | 0 | 0 | -21 | 0 | -3 | -8 | -6 | -5 | 0 | 0 | 0 | 48.17 | 0
20:45 - 21:00 | -0.2 | 0 | -3 | -450 | 0 | 0 | -21 | 0 | -3 | -8 | -6 | -5 | 0 | 0 | 0 | 62.61 | 0
21:00 - 21:15 | -0.2 | 0 | -3 | -475 | 0 | 0 | -21 | 0 | -3 | -8 | -1 | -5 | 0 | 0 | -10 | 48.17 | 0
21:15 - 21:30 | -0.2 | 0 | -3 | -475 | 0 | 0 | -21 | 0 | -3 | -8 | -1 | -5 | 0 | 0 | -30 | 52.98 | 0
21:30 - 21:45 | -0.2 | 0 | -3.5 | -475 | 0 | 0 | -21 | 0 | -3 | -8 | -1 | -5 | 0 | 0 | -52 | 28.9 | 0
21:45 - 22:00 | -0.2 | 0 | -3.5 | -475 | 0 | 0 | -21 | 0 | -3 | -8 | -1 | -5 | 0 | 0 | -52 | 28.9 | 0
22:00 - 22:15 | -0.2 | 0 | -3.5 | -475 | 0 | 0 | -21 | 0 | -3 | -8 | 0 | -5 | 0 | 0 | -30 | 19.27 | 0
22:15 - 22:30 | -0.2 | 0 | -3.5 | -475 | 0 | 0 | -21 | 0 | -3 | -8 | 0 | -5 | 0 | 0 | 0 | 19.27 | 0
22:30 - 22:45 | -0.2 | 0 | -3 | -525 | 0 | 0 | -21 | 0 | -3 | -8 | 0 | -5 | 0 | 0 | -10 | 0 | 0
22:45 - 23:00 | -0.2 | 0 | -3 | -525 | 0 | 0 | -21 | 0 | -3 | -8 | 0 | -5 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | -0.2 | 0 | -3 | -550 | 0 | 0 | -21 | 0 | -3 | -8 | -4 | -5 | 0 | 0 | -10 | 33.72 | 0
23:15 - 23:30 | -0.2 | 0 | -3 | -550 | 0 | 0 | -21 | 0 | -3 | -8 | -4 | -5 | 0 | 0 | -60 | 33.72 | 0
23:30 - 23:45 | -0.2 | 0 | -3 | -550 | 0 | 0 | -21 | 0 | -3 | -8 | -4 | -5 | 0 | 0 | -55 | 33.72 | 0
23:45 - 24:00 | -0.2 | 0 | -3 | -550 | 0 | 0 | -21 | 0 | -3 | -8 | -4 | -5 | 0 | 0 | -10 | 33.72 | 0
Average | -0.2 | -0.16667 | -2.9021 | -517.8043 | 0.77292 | -0.14271 | -7.6458 | -0.43958 | -1.0625 | -5.4583 | -1.75 | -3.6458 | -0.125 | -0.5 | -12.7812 | 9.884 | -2.4167