## POWER STATUS
POWER STATUS ON DT 14.09.2026
[9 empty] | 2026-09-14 | 2026-09-13
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 8:00 | 19:00
Demand -> | [8 empty] | 5226.5674 | 5677.1246
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 234.167 | 5.62 | 630/590 ft | 629.06 | 629.21 | 629.29 | 217.5641 | 216.0596
| Chiplima | 72(3x24) | 56.417 | 1.354 | - |  |  |  | 31.9505 | 50.9704
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1490.3 | 1480 | 1480.8 | 0 | 0
| Rengali | 250(5x50) | 251.9667 | 6.0472 | 123.5/109.75 mt | 123.12 | 122.83 | 122.89 | 252.4427 | 252.5123
| Upper Kolab | 320(4x80) | 36.54 | 0.87696 | 858/844 mt | 855.97 | 852.82 | 852.87 | 77.321 | 48.9491
| Upper Indravati | 600(4x150) | 591.8333 | 14.204 | 642/625 mt | 637.96 | 640.24 | 640.34 | 596.441 | 605.3733
| Machkund | 60(50% of(3x17+3x23)) | 10 | 0.24 | 2750/2685 ft | 2748.05 | 2733.3 | 2733.6 | 19.3973 | 16.4762
| Total Hydro | 2099.5 | 1180.924 | 28.3422 |  |  |  |  | 1195.1166 | 1190.3409
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1697.5657 | 40.7416 | RENEWABLE ENERGY (RE) |  |  |  | 1696.4194 | 1679.507
[5 empty] | M.Hydl | 111.26
| Total Thermal | 2200 | 1697.5657 | 40.7416 | Solar | 105.51 |  |  | 1696.4194 | 1679.507
IPP | VEDANTA #2 | 600 (1x600) | 426.4363 | 10.2345 | Total IPPs | Yesterday's Demand Profile |  |  | 397.7541 | 527.4218
| GMR #3 | 350 (1x350) | 327.6207 | 7.8629 | 801.757 |  | MW | HRS | 326.3286 | 331.97
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 47.7 | 1.1448 |  |  |  |  | 55.9452 | 54.7999
| CGPs |  | 931.614 | 22.3587 | IPPs, CGPs & RE | Maximum | 5677 | 19:00 | 1835.3427 | 1912.8647
| Central Sector(Drawl) |  | 474.9819 | 11.3996 | 1950.141 | Minimum | 5011 | 06:00 | 499.6888 | 894.412
| Central Sector(Sch) |  | 565.9319 | 13.5824 |  | Average | 5303.6126 |  | 508.6262 | 920.1517
| Grand Total |  | 5303.6126 | 127.2867 | Instantaneous Peak demand |  | 5935 | 20:32 | 5226.5674 | 5677.1246
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(7) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1546.9527 | 37.1269 | 1562.7384 | 37.5057 | 1587.8127 | 38.1075
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1561.2539 | 37.4701 | 1508.2279 | 36.1975 | 1318.42 | 31.6421
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1347.4088 | 32.3378 | 1437.9204 | 34.5101 | 1392.4135 | 33.4179
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 555.0984 | 13.3224 | 550.5259 | 13.2126 | 566.7919 | 13.603
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5010.7138 | 120.2571 | 5059.4126 | 121.4259 | 4865.4381 | 116.7705
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 389.6484 | GMR |  |  |  | 329.0219
| NBVL #3 | 0 | MDTPC |  |  |  | 54.9415
Mini Hydel: | MEENAKSHI | 37.4069 | OPCL |  |  |  | 0
| BTPL | 28.278 | SAPTADHARA |  |  |  | 19.8574
Solar: |  | 213.4983 | KAKATIYA |  |  |  | 6.3018
CGPs : | JSPL (Angul) | 309.5584 | JSL(Duburi) |  |  |  | -163.256
| ICCL | 50.5454 | visa |  |  |  | 30.5995
| NALCO | -123.2806 | VAL (CGP) |  |  |  | 104.8496
| RSP | -83.6941 | BSL(MMDL) |  |  |  | 9.1059
| INDAL | -3.2545 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -24.6612 | VAL CPP 400 kV |  |  |  | -504.7403
| NBVL | 2.5719 | Arati |  |  |  | 12.9377
| BPSL(JSG) | -12.9114 | BPPL |  |  |  | 116.889
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-06 | 2026-09-07 | 2026-09-08 | 2026-09-09 | 2026-09-10 | 2026-09-11 | 2026-09-12 | 2026-09-13
1151.6823 | 1166.575 | 1220.73 | 1235.2363 | 1175.6473 | 1121.1428 | 1177.51 | 1180.924
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.13.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | -20 | AARTISTEEL | UPPCL | -6 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0
AARTISTEEL | KPTCL | -5 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 104.6
AMNSIL_Pdeep | AMNSIL | -7.19 | FACORPOWER | PSPCL | -8.75 | AP41PL_BHDL | ODISHA | 54.93
ARYAN_ISPAT | BALCO_LOAD | -5 | FACORPOWER | PSPCL | -17.5 | AP43PL_BKN | ODISHA | 86.9
ENVIROCARE_INFRA | APCPDCL | -13 | FACORPOWER | RUVITSL | -2.92 | AWEK1L | ODISHA | 4.58
FACORPOWER | RUVITSL | -3.33 | JSPLANGUL | RUVITSL | -3.12 | AWEK1L | ODISHA | 6.87
GMRKEL_STU | GEB_Beneficiary | -61.9 | JSPLANGUL | RUVITSL | -2.08 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 5.02
GMRKEL_STU | TNEB | -18 | JSPLANGUL | RUVITSL | -94.79 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 23.86
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | RUVITSL | -63.2 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 15.17
JPIPL | NPCL_UP | -13 | NBVLIPP | BSPHCL | -12.54 | DADRI_SOLAR | ODISHA | 0.75
JSPLANGUL | GEB_Beneficiary | -101.6 | NBVLIPP | RUVITSL | -5.38 | ENERSON_SOLAR_10MW | ODISHA | 0.64
JSPLANGUL | RUVITSL | -27.08 | OCL_IRON_STEEL | TPDDL | -11.67 | GADAG_GreenInfra_W | ODISHA | 0
JSPLANGUL | RUVITSL | -40.62 | OCL_IRON_STEEL | TPDDL | -28.33 | GADAG_GreenInfra_W | ODISHA | 0.33
MAADURGA_THERMAL | NPCL_UP | -20.18 | ODISHA | BSPHCL | -25.78 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -3.83 | ODISHA | HARYANA | -75 | GADAG_Serentica3_S | VLSEZ | 43.94
NBVLIPP | KPTCL | -1.92 | ODISHA | KSEB | -17.19 | GADAG_Serentica3_W | VLSEZ | 34.46
NBVLIPP | KPTCL | -5.75 | ODISHA | RUVITSL | -13.54 | GIWEL_SECI_II_RE | ODISHA | 25.2
NBVLIPP | TANGEDCO | 0 | ODISHA | TANGEDCO | -12.5 | GPCL_SOLAR_10 | ODISHA | 0.97
ODISHA | AMNSIL | -127.08 | ODISHA | TANGEDCO | -6.25 | GSECL_SOLAR | ODISHA | 1.47
ODISHA | APCPDCL | -63.54 | ODISHA | TANGEDCO | -18.75 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.17
ODISHA | APCPDCL | -50 | ODISHA | TANGEDCO | -12.5 | KARUR_TPVARDHAMAN_W | TSKPO | 24.96
ODISHA | APCPDCL | -100 | ODISHA | TPLD | -25 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
ODISHA | BALCO_LOAD | -20 | ODISHA | TPL_DIS_SUR | -37.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.14
ODISHA | BALCO_LOAD | -25 | ODISHA | TPL_DIS_SUR | -10.42 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.11
ODISHA | KPTCL | -25 | ODISHA | WBSEDCL | -70.83 | NTPCRE1_SMND_BHJ2_W | ODISHA | 3.06
ODISHA | KPTCL | -202.08 | ODISHA | WBSEDCL | -37.5 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
ODISHA | KPTCL | -37.5 | ORSISL | UPPCL | -2.5 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.39
ODISHA | KSEB | -11.46 | SMEL | CESC | -2 | OKWPL_RE | ODISHA | 11.38
ORSISL | BALCO_LOAD | -5 | SMEL | PSPCL | -17.71 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 7.04
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | SMEL | PSPCL | -7.29 | RWE_AP2_SECI_III | ODISHA | 13.19
VSL | APCPDCL | -5 | Shri_JSPL | KSEB | -2 | RenewGreen_SLPR_HS | JSL_DUBURI | 9.89
FARIDABAD_SOLAR | ODISHA | 0.86 | TIMES_STEEL | TPL_DIS_DHOLERA | -2.5 | SRI9PL_FTG3 | VLSEZ | 91.57
JSWEL_UTKAL | ODISHA | 75.53 | TIMES_STEEL | UPPCL | -1.5 | TPVSL_BKN3 | TSKPO | 12.76
RAJ_SOLAR | ODISHA | 2.4 | TSBSLA | TPLD | -10 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
RAJ_SOLAR | ODISHA | 2.46 | VIRAJ_SEPL | PSPCL | -7.08 | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
|  |  | VIRAJ_SEPL | PSPCL | -2.92 | Tuticorin_BETAMWIND | ODISHA | 11.52
|  |  | VSL | TANGEDCO | -10 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
|  |  | VSL | TPL_DIS_SUR | -5 | XXPPL_FTG3 | ODISHA | 68.27
|  |  | Darlipali_NTPC | ODISHA | 10.99
|  |  | JIPL | ODISHA | 115.6
|  |  | NALCOAP | NACL_Odisha | 4.37
|  |  | TSTPP_I | ODISHA | 30.35

## DAM
DAM TRADING DETAILS FOR DT : 13.09.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | JSW_Cement_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -2.58 | 0 | 0.09 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
00:15 - 00:30 | -2.58 | 0 | 0.07 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
00:30 - 00:45 | -2.58 | 0 | 0.11 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
00:45 - 01:00 | -2.58 | 0 | 0.12 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
01:00 - 01:15 | -2.58 | 0 | 0.06 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
01:15 - 01:30 | -2.58 | 0 | 0.05 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
01:30 - 01:45 | -2.58 | 0 | 0.07 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
01:45 - 02:00 | -2.58 | 0 | 0.06 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
02:00 - 02:15 | -2.58 | 0 | 0.02 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0
02:15 - 02:30 | -2.58 | 0 | 0.05 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0
02:30 - 02:45 | -2.58 | 0 | 0.06 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0
02:45 - 03:00 | -2.58 | 0 | 0.16 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0
03:00 - 03:15 | -2.58 | 0 | 0.54 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0
03:15 - 03:30 | -2.58 | 0 | 0.63 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0
03:30 - 03:45 | -2.58 | 0 | 0.67 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0
03:45 - 04:00 | -2.58 | 0 | 0.73 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0
04:00 - 04:15 | -2.58 | 0 | 1.2 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0
04:15 - 04:30 | -2.58 | 0 | 1.38 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0
04:30 - 04:45 | -2.58 | 0 | 1.47 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0
04:45 - 05:00 | -2.58 | 0 | 1.59 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0
05:00 - 05:15 | -2.58 | 0 | 0.26 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
05:15 - 05:30 | -2.58 | 0 | 0.49 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
05:30 - 05:45 | -2.58 | 0 | 0.66 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
05:45 - 06:00 | -2.58 | 0 | 0.32 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
06:00 - 06:15 | -2.58 | -26.29 | 0.17 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | -3.08
06:15 - 06:30 | -2.58 | -26.29 | 0.03 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | -3.09
06:30 - 06:45 | -2.58 | -26.29 | 0.14 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | -3.09
06:45 - 07:00 | -2.58 | -26.29 | 0.45 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | -3.09
07:00 - 07:15 | -2.58 | -26.29 | -75 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | -3.09
07:15 - 07:30 | -2.58 | -26.29 | -75 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | -3.09
07:30 - 07:45 | -2.58 | -26.29 | -75 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | -3.09
07:45 - 08:00 | -2.58 | -26.29 | -75 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | -3.09
08:00 - 08:15 | -2.58 | -26.29 | -325 | 0 | 0 | 0 | -3.09 | -46.91 | 0 | -3.09
08:15 - 08:30 | -2.58 | -26.29 | -325 | 0 | 0 | 0 | -3.09 | -46.91 | 0 | -3.09
08:30 - 08:45 | -2.58 | -26.29 | -525 | 0 | 0 | 0 | -3.09 | -46.91 | 0 | -3.09
08:45 - 09:00 | -2.58 | -26.29 | -525 | 0 | 0 | 0 | -3.09 | -46.91 | 0 | -3.09
09:00 - 09:15 | -2.58 | 0 | -875 | 0 | 3.08 | 0 | -3.09 | -46.91 | 0 | -3.09
09:15 - 09:30 | -2.58 | 0 | -875 | 0 | 3.08 | 0 | -3.09 | -46.91 | 0 | -3.09
09:30 - 09:45 | -2.58 | 0 | -875 | 0 | 3.08 | 0 | -3.09 | -46.91 | 0 | -3.09
09:45 - 10:00 | -2.58 | 0 | -875 | 0 | 3.08 | 0 | -3.09 | -46.91 | 0 | -3.09
10:00 - 10:15 | -2.58 | 0 | -850 | 0 | 3.08 | 0 | -1.03 | -46.91 | 0 | -3.09
10:15 - 10:30 | -2.58 | 0 | -850 | 0 | 3.08 | 0 | -1.03 | -46.91 | 0 | -3.09
10:30 - 10:45 | -2.58 | 0 | -850 | 0 | 3.08 | 0 | -1.03 | -46.91 | 7.48 | -3.09
10:45 - 11:00 | -2.58 | 0 | -850 | 0 | 3.08 | 0 | -1.03 | -46.91 | 7.48 | -3.09
11:00 - 11:15 | -2.58 | 0 | -1100 | 0 | 3.08 | 0 | -1.03 | -35.05 | 7.48 | -3.09
11:15 - 11:30 | -2.58 | 0 | -1100 | 0 | 3.08 | 0 | -1.03 | -35.05 | 7.48 | -3.09
11:30 - 11:45 | -2.58 | 0 | -1100 | 1.45 | 3.08 | 0 | -1.03 | -35.05 | 7.48 | -3.09
11:45 - 12:00 | -2.58 | 0 | -1100 | 32.7 | 3.08 | 0 | -1.03 | -35.05 | 7.48 | -3.09
12:00 - 12:15 | -2.58 | 0 | -1450 | 32.7 | 3.08 | 9.34 | -1.03 | -35.05 | 7.48 | -3.09
12:15 - 12:30 | -2.58 | 0 | -1450 | 32.7 | 3.08 | 9.34 | -1.03 | -35.05 | 7.48 | -3.09
12:30 - 12:45 | -2.58 | 0 | -1450 | 32.7 | 3.08 | 9.34 | -1.03 | -35.05 | 7.48 | -3.09
12:45 - 13:00 | -2.58 | 0 | -1450 | 32.7 | 3.08 | 9.34 | -1.03 | -35.05 | 7.48 | -3.09
13:00 - 13:15 | -2.58 | 0 | -1131.62 | 0 | 3.08 | 9.34 | -1.03 | -35.05 | 7.48 | -3.09
13:15 - 13:30 | -2.58 | 0 | -1199.32 | 0 | 3.08 | 9.34 | -1.03 | -35.05 | 7.48 | -3.09
13:30 - 13:45 | -2.58 | 0 | -1550 | 32.7 | 3.08 | 9.34 | -1.03 | -35.05 | 7.48 | -3.09
13:45 - 14:00 | -2.58 | 0 | -1550 | 32.7 | 3.08 | 9.34 | -1.03 | -35.05 | 7.48 | -3.09
14:00 - 14:15 | -2.58 | 0 | -1725 | 0 | 3.08 | 0 | -1.03 | -35.05 | 7.48 | -3.09
14:15 - 14:30 | -2.58 | 0 | -1725 | 0 | 3.08 | 0 | -1.03 | -35.05 | 0 | -3.09
14:30 - 14:45 | -2.58 | 0 | -1725 | 0 | 3.08 | 0 | -1.03 | -35.05 | 0 | -3.09
14:45 - 15:00 | -2.58 | 0 | -1725 | 0 | 3.08 | 0 | -1.03 | -35.05 | 0 | -3.09
15:00 - 15:15 | -2.58 | 0 | -1500 | 0 | 0 | 0 | -3.09 | -46.91 | 0 | -3.09
15:15 - 15:30 | -2.58 | 0 | -1500 | 0 | 0 | 0 | -3.09 | -46.91 | 0 | -3.09
15:30 - 15:45 | -2.58 | 0 | -1500 | 0 | 0 | 0 | -3.09 | -46.91 | 0 | -3.09
15:45 - 16:00 | -2.58 | 0 | -1500 | 0 | 0 | 0 | -3.09 | -46.91 | 0 | -3.09
16:00 - 16:15 | -2.58 | -26.29 | -1225 | 0 | 0 | 0 | -3.09 | 0 | 0 | -3.09
16:15 - 16:30 | -2.58 | -26.29 | -1225 | 0 | 0 | 0 | -3.09 | 0 | 0 | -3.09
16:30 - 16:45 | -2.58 | -26.29 | -1225 | 0 | 0 | 0 | -3.09 | 0 | 0 | -3.09
16:45 - 17:00 | -2.58 | -26.29 | -1225 | 0 | 0 | 0 | -3.09 | 0 | 0 | -3.09
17:00 - 17:15 | -2.58 | -26.29 | -200 | 0 | 0 | 0 | -3.09 | 0 | 0 | -3.09
17:15 - 17:30 | -2.58 | -26.29 | -200 | 0 | 0 | 0 | -3.09 | 0 | 0 | -3.09
17:30 - 17:45 | -2.58 | -26.29 | -200 | 0 | 0 | 0 | -3.09 | 0 | 0 | -3.09
17:45 - 18:00 | -2.58 | -26.29 | -200 | 0 | 0 | 0 | -3.09 | 0 | 0 | -3.09
18:00 - 18:15 | -2.58 | 0 | 1.39 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0
18:15 - 18:30 | -2.58 | 0 | 0.33 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0
18:30 - 18:45 | -2.58 | 0 | 0.21 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0
18:45 - 19:00 | -2.58 | 0 | 0.39 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0
19:00 - 19:15 | -2.58 | 0 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
19:15 - 19:30 | -2.58 | 0 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
19:30 - 19:45 | -2.58 | 0 | 0.05 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
19:45 - 20:00 | -2.58 | 0 | 0.07 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
20:00 - 20:15 | -2.58 | 0 | 0.09 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
20:15 - 20:30 | -2.58 | 0 | 0.11 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
20:30 - 20:45 | -2.58 | 0 | 0.06 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
20:45 - 21:00 | -2.58 | 0 | 0.07 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
21:00 - 21:15 | -2.58 | 0 | 0.08 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
21:15 - 21:30 | -2.58 | 0 | 0.2 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
21:30 - 21:45 | -2.58 | 0 | 0.21 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
21:45 - 22:00 | -2.58 | 0 | 0.18 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
22:00 - 22:15 | -2.58 | 0 | 0.22 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
22:15 - 22:30 | -2.58 | 0 | 0.17 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
22:30 - 22:45 | -2.58 | 0 | 0.03 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
22:45 - 23:00 | -2.58 | 0 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
23:00 - 23:15 | -2.58 | 0 | 0.19 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
23:15 - 23:30 | -2.58 | 0 | 0.23 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
23:30 - 23:45 | -2.58 | 0 | 0.57 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
23:45 - 24:00 | -2.58 | 0 | 0.6 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0
Average | -2.58 | -5.4771 | -449.1025 | 2.3995 | 0.77 | 0.77833 | -2.6608 | -14.9475 | 1.1688 | -1.5449

## GDAM
GDAM TRADING DETAILS FOR DT:13.09.2026
Time Period | IOCL_Paradeep_Refinery | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | Orissa_Metaliks_Private_Limited
00:00 - 00:15 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 0 | 0
09:00 - 09:15 | 0 | 0 | 0 | 0
09:15 - 09:30 | 0 | 0 | 0 | 0
09:30 - 09:45 | 0 | 0 | 0 | 6.07
09:45 - 10:00 | 0 | 0 | 0 | 6.07
10:00 - 10:15 | 0 | 0 | 0 | 6.07
10:15 - 10:30 | 0 | 0 | 0 | 6.07
10:30 - 10:45 | 0 | 0 | 0 | 6.07
10:45 - 11:00 | 0 | 0 | 0 | 6.07
11:00 - 11:15 | 0 | 0 | 0 | 6.07
11:15 - 11:30 | 0 | 0 | 0 | 6.07
11:30 - 11:45 | 0 | 0 | 0 | 6.07
11:45 - 12:00 | 0 | 0 | 0 | 6.07
12:00 - 12:15 | 0 | 0 | 0 | 6.07
12:15 - 12:30 | 0 | 0 | 0 | 6.07
12:30 - 12:45 | 0 | 0 | 0 | 6.07
12:45 - 13:00 | 0 | 0 | 0 | 6.07
13:00 - 13:15 | 32.71 | 23.36 | 42.05 | 6.07
13:15 - 13:30 | 32.71 | 23.36 | 42.98 | 6.07
13:30 - 13:45 | 0 | 4.86 | 8.93 | 6.07
13:45 - 14:00 | 0 | 0 | 0 | 6.07
14:00 - 14:15 | 0 | 0 | 0 | 6.07
14:15 - 14:30 | 0 | 0 | 0 | 6.07
14:30 - 14:45 | 0 | 0 | 0 | 6.07
14:45 - 15:00 | 0 | 0 | 0 | 6.07
15:00 - 15:15 | 0 | 0 | 0 | 0
15:15 - 15:30 | 0 | 0 | 0 | 0
15:30 - 15:45 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0
Average | 0.68146 | 0.53729 | 0.97875 | 1.391

## RTM
RTM TRADING DETAILS FOR DT: 13.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | The_Ramco_Cements_Limited_Odisha | Visa_Chrome_Limited
00:00 - 00:15 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | -300 | 0 | 0 | 0 | 0 | 0 | -21.65 | 0 | -3.09 | 0 | 0 | -10.31 | 0 | -2.06 | 0 | -5.15 | 0 | 0 | 0 | 0 | 18.69 | 0 | 0 | 0
00:15 - 00:30 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | -250 | 0 | 0 | 0 | 0 | 0 | -21.65 | 0 | -3.09 | 0 | 0 | -10.31 | 0 | -2.06 | 0 | -5.15 | 0 | -10.31 | 0 | 0 | 18.69 | 0 | 0 | 0
00:30 - 00:45 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | -200 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | -3.09 | 0 | 0 | -10.31 | 0 | -2.06 | 0 | -5.15 | 0 | 0 | 0 | 0 | 28.03 | 0 | 0 | 0
00:45 - 01:00 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | -200 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | -3.09 | 0 | 0 | -10.31 | 0 | -2.06 | 0 | -5.15 | 0 | -41.24 | 0 | 0 | 28.03 | 0 | 0 | 0
01:00 - 01:15 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | -3.09 | 0 | 0 | -10.31 | 0 | -5.15 | 0 | -5.15 | 0 | -51.55 | 0 | 0 | 28.03 | 0 | 0 | 0
01:15 - 01:30 | -0.2 | 0 | -2.5 | -0.21 | -4.12 | -0.62 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | -3.09 | 0 | 0 | -10.31 | 0 | -5.15 | 0 | -5.15 | 0 | -10.31 | 0 | 0 | 28.03 | 0 | 0 | 0
01:30 - 01:45 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | -3.09 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -5.15 | 0 | 0 | 0 | 0 | 28.03 | 0 | 0 | 0
01:45 - 02:00 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | -150 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | -3.09 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -5.15 | 0 | -20.62 | 0 | 0 | 28.03 | 0 | 0 | 0
02:00 - 02:15 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | -3.09 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | 0 | 0 | 0 | 28.03 | 0 | 0 | 0
02:15 - 02:30 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | -75 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | -3.09 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -15.46 | 0 | 0 | 28.03 | 0 | 0 | 0
02:30 - 02:45 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | -3.09 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -51.55 | 0 | 0 | 37.37 | 0 | 0 | 0
02:45 - 03:00 | -0.2 | -2 | -2.5 | -0.21 | 0 | -0.62 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | -3.09 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | 0 | 0 | 0 | 37.37 | 0 | 0 | 0
03:00 - 03:15 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | -3.09 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | 0 | 0 | 0 | 42.05 | 0 | 0 | 0
03:15 - 03:30 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | -3.09 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -36.08 | 0 | 0 | 42.05 | 0 | 0 | 0
03:30 - 03:45 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | -3.09 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -5.15 | 0 | -10.31 | 0 | 0 | 42.05 | 0 | 0 | 0
03:45 - 04:00 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | -3.09 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -5.15 | 0 | 0 | 0 | 0 | 42.05 | 0 | 0 | 0
04:00 - 04:15 | -0.2 | -2 | -2.5 | -0.21 | 0 | -0.62 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | -3.09 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -25.77 | 0 | 0 | 42.05 | 0 | 0 | 0
04:15 - 04:30 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | -3.09 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -20.62 | 0 | 0 | 42.05 | 0 | 0 | 0
04:30 - 04:45 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | 0 | 0 | 0 | 51.39 | 0 | 0 | 0
05:15 - 05:30 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | 0 | 0 | 0 | 51.39 | 0 | 0 | 0
05:30 - 05:45 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | -0.82 | -50 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | 0 | 0 | 0 | 51.39 | 0 | 0 | 0
05:45 - 06:00 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | -0.82 | -50 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -41.24 | 0 | 0 | 51.39 | 0 | 0 | 0
06:00 - 06:15 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | -0.82 | -50 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -41.24 | 0 | 0 | 51.39 | 0 | 0 | -10.31
06:15 - 06:30 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | -0.82 | -50 | 0 | 0 | 0 | 0 | 0 | -21.13 | -0.1 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | 0 | 0 | 0 | 51.39 | 0 | 0 | -10.31
06:30 - 06:45 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | -0.82 | 0 | 0 | 0 | 0 | 0 | 0 | -21.13 | -0.41 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31
06:45 - 07:00 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | -0.82 | 0 | 0 | 0 | 0 | 0 | 0 | -21.13 | -0.72 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31
07:00 - 07:15 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | -1.03 | 6.53 | 0 | 0 | -0.41 | 0 | 0 | -21.13 | -1.13 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | 0 | 0 | 0 | 42.05 | 0 | 0 | -10.31
07:15 - 07:30 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | -1.03 | 8.4 | 0 | 0 | -0.41 | 0 | 0 | -21.13 | -1.44 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -20.62 | 0 | 0 | 42.05 | 0 | 0 | -10.31
07:30 - 07:45 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | -1.03 | -100 | 0 | 0 | -0.82 | 0 | 0 | -21.13 | -1.75 | 0 | 0 | 0 | 0 | 0 | -10.31 | 0 | -5.15 | 0 | -41.24 | 0 | 0 | 42.05 | 0 | 0 | -10.31
07:45 - 08:00 | -0.2 | 0 | -2.5 | -0.21 | 0 | -0.62 | -1.03 | -200 | 0 | 0 | -0.82 | 0 | 0 | -21.13 | -2.06 | 0 | 0 | 0 | 0 | 0 | -10.31 | 0 | -5.15 | 0 | 0 | 0 | 0 | 42.05 | 0 | 0 | -10.31
08:00 - 08:15 | -0.2 | 0 | -2.5 | -0.21 | 0 | -1.13 | -1.03 | 246.3 | 0 | 0 | -1.55 | 0 | 0 | -21.13 | -2.37 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09
08:15 - 08:30 | -0.2 | 0 | -2.5 | -0.21 | 0 | -1.13 | -1.03 | 288.99 | 0 | 0 | -1.86 | 0 | 0 | -21.13 | -2.58 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09
08:30 - 08:45 | -0.2 | 0 | -2.5 | -0.21 | 0 | -1.13 | -1.03 | 240.83 | 0 | 10.28 | -1.96 | 0 | 0 | -21.13 | -2.99 | 0 | 9.34 | 0 | 0 | 2.8 | -7.22 | 0 | 0 | 0 | 0 | 0 | 8.88 | 1.43 | 0 | 0 | -3.09
08:45 - 09:00 | -0.2 | 0 | -2.5 | -0.21 | 0 | -1.13 | -1.03 | 144.49 | 0 | 10.28 | -2.16 | 0 | 0 | -21.13 | -3.2 | 0 | 0 | 0 | 0 | 2.8 | -7.22 | 0 | 0 | 0 | -15.46 | 0 | 8.88 | 0 | 0 | 0 | -3.09
09:00 - 09:15 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | 0 | 288.99 | 0 | 10.28 | -2.37 | 9.34 | 0 | -21.13 | -3.4 | 0 | 9.34 | 0 | 0 | 2.8 | -5.15 | 0 | 0 | 0 | -46.39 | 0 | 8.88 | 74.75 | 4.68 | 0 | -3.09
09:15 - 09:30 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | 0 | 288.99 | 9.16 | 10.28 | -2.58 | 9.34 | 0 | -21.13 | -2.89 | 0 | 11.21 | 0 | 0 | 2.8 | -5.15 | 0 | 0 | 0 | -20.62 | 9.34 | 8.88 | 74.75 | 4.68 | 0 | 0
09:30 - 09:45 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | 0 | 192.66 | 0 | 10.28 | -2.78 | 0 | 0 | -21.13 | -3.3 | 0 | 9.34 | 0 | 0 | 2.8 | -7.22 | 4.68 | 0 | 0 | 0 | 0 | 8.88 | 32.98 | 0 | 0 | -3.09
09:45 - 10:00 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | 0 | 96.32 | 0 | 10.28 | -2.99 | 0 | 0 | -21.13 | -4.02 | 0 | 9.34 | 0 | 0 | 2.8 | -7.22 | 4.68 | 0 | 0 | 0 | 0 | 8.88 | 41.3 | 0 | 0 | -3.09
10:00 - 10:15 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | 0 | 192.66 | 0 | 10.28 | -2.89 | 0 | 0 | -21.13 | -4.02 | 0 | 9.34 | 0 | 0 | 2.8 | -7.22 | 4.68 | 0 | 0 | 0 | 0 | 8.88 | 118.29 | 0 | 0 | -3.09
10:15 - 10:30 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | 0 | 288.98 | 0 | 10.28 | -3.09 | 0 | 0 | -21.13 | -4.12 | 0 | 9.34 | 0 | 0 | 2.8 | -7.22 | 4.68 | 0 | 0 | -10.31 | 0 | 8.88 | 126.15 | 0 | 0 | -3.09
10:30 - 10:45 | -0.2 | 0 | -3.3 | -0.21 | 0 | -0.62 | 0 | 96.33 | 0 | 10.28 | -0.72 | 0 | 0 | -21.13 | -4.02 | 0 | 1.87 | 0 | 0 | 2.8 | -7.22 | 4.68 | 0 | 0 | -51.55 | 0 | 8.88 | 116.79 | 0 | 5.14 | -3.09
10:45 - 11:00 | -0.2 | -4 | -3.3 | -0.21 | 0 | -0.62 | 0 | 96.33 | 0 | 10.28 | -0.82 | 9.34 | 0 | -21.13 | -4.12 | 0 | 1.87 | 0 | 0 | 2.8 | -7.22 | 4.68 | 0 | 0 | -46.39 | 0 | 8.88 | 116.79 | 4.68 | 5.14 | -3.09
11:00 - 11:15 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | 0 | 152.75 | 0 | 10.28 | -3.09 | 9.34 | 0 | -21.13 | -4.02 | 0 | 7.48 | 0 | 0 | 2.8 | -10.31 | 4.68 | 0 | 0 | 0 | 0 | 8.88 | 107.46 | 4.68 | 5.14 | -1.03
11:15 - 11:30 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | 0 | 249.48 | 0 | 10.28 | -2.99 | 9.34 | 0 | -21.13 | -4.02 | 0 | 7.48 | 0 | 0 | 2.8 | -10.31 | 4.68 | 0 | 0 | 0 | 0 | 8.88 | 107.46 | 4.68 | 5.14 | -1.03
11:30 - 11:45 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | 0 | 532.68 | 0 | 10.28 | -1.65 | 9.34 | 0 | -21.13 | -3.92 | 0 | 7.48 | 0 | 0 | 0 | -10.31 | 4.68 | 0 | 0 | -10.31 | 0 | 8.88 | 107.46 | 4.68 | 5.14 | -1.03
11:45 - 12:00 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | 0 | 536.15 | 0 | 10.28 | -1.34 | 9.34 | 0 | -21.13 | -4.12 | 0 | 7.48 | 0 | 0 | 0 | -10.31 | 4.68 | 0 | 0 | 0 | 0 | 8.88 | 107.46 | 4.68 | 5.14 | -1.03
12:00 - 12:15 | -0.2 | -4 | -3 | -0.21 | 0 | -0.62 | 0 | 234.29 | 0 | 10.28 | -1.24 | 0 | 0 | -21.13 | -4.23 | 0 | 7.48 | 0 | 0 | 0 | -10.31 | 4.68 | 0 | 0 | -51.55 | 0 | 8.88 | 112.13 | 4.68 | 5.14 | -1.03
12:15 - 12:30 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | 0 | 227.52 | 0 | 10.28 | -2.68 | 0 | 0 | -21.13 | -3.92 | 0 | 7.48 | 0 | 0 | 0 | -10.31 | 4.68 | 0 | 0 | -46.39 | 0 | 8.88 | 112.13 | 4.68 | 5.14 | -1.03
12:30 - 12:45 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | 0 | 224.67 | 0 | 10.28 | -2.99 | 0 | 0 | -21.13 | -3.51 | 0 | 7.48 | 0 | 0 | 0 | -10.31 | 5.61 | 0 | 0 | -10.31 | 0 | 8.88 | 112.13 | 4.68 | 5.14 | -1.03
12:45 - 13:00 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | 0 | 207.2 | 0 | 10.28 | -2.89 | 0 | 0 | -21.13 | -2.58 | 0 | 7.48 | 0 | 0 | 0 | -10.31 | 5.61 | 0 | 0 | 0 | 0 | 8.88 | 112.13 | 0 | 5.14 | -1.03
13:00 - 13:15 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | 0 | -100 | 0 | 10.28 | -2.78 | 0 | 0 | -21.13 | -1.96 | 0 | 7.48 | 0 | 0 | 0 | -10.31 | 5.61 | 0 | 0 | -20.62 | 0 | 8.88 | 93.43 | 4.68 | 5.14 | -1.03
13:15 - 13:30 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | 0 | -100 | 0 | 10.28 | -2.58 | 0 | 0 | -21.13 | -1.96 | 0 | 7.48 | 0 | 0 | 0 | -10.31 | 5.61 | 0 | 0 | -20.62 | 0 | 8.88 | 93.43 | 4.68 | 5.14 | -1.03
13:30 - 13:45 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | 0 | 171.54 | 0 | 10.28 | -2.68 | 0 | 0 | -21.13 | -1.96 | 0 | 7.48 | 0 | 0 | 0 | -10.31 | 5.61 | 0 | 0 | -20.62 | 0 | 8.88 | 93.44 | 0 | 5.14 | -1.03
13:45 - 14:00 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | 0 | 80 | 0 | 10.28 | -2.27 | 0 | 0 | -21.13 | -2.27 | 0 | 7.48 | 0 | 0 | 0 | -10.31 | 5.61 | 0 | 0 | -51.55 | 0 | 8.88 | 93.43 | 0 | 5.14 | -1.03
14:00 - 14:15 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | 0 | 326.37 | 0 | 10.28 | -2.16 | 0 | 0 | -21.13 | -2.27 | 0 | 7.48 | 0 | 0 | 0 | -7.22 | 5.61 | 0 | 0 | -30.93 | 0 | 8.88 | 93.44 | 0 | 5.14 | -1.03
14:15 - 14:30 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | 0 | 416.08 | 0 | 10.28 | -2.06 | 0 | 0 | -21.13 | -2.27 | 0 | 14.95 | 0 | 0 | 0 | -7.22 | 5.61 | 0 | 0 | 0 | 0 | 8.88 | 93.44 | 0 | 5.14 | -1.03
14:30 - 14:45 | -0.2 | -4 | -3 | -0.21 | 0 | -1.13 | 0 | 443.34 | 0 | 10.28 | -1.03 | 0 | 0 | -21.13 | -2.16 | 0 | 0 | 0 | 0 | 0 | -5.15 | 5.61 | 0 | 0 | -10.31 | 0 | 8.88 | 0 | 0 | 5.14 | -1.03
14:45 - 15:00 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | 0 | 359.78 | 0 | 10.28 | -0.82 | 0 | 0 | -21.13 | -2.06 | 0 | 14.95 | 0 | 0 | 0 | -5.15 | 5.61 | 0 | 0 | -10.31 | 0 | 8.88 | 80.72 | 0 | 5.14 | -1.03
15:00 - 15:15 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | 0 | 199.39 | 0 | 10.28 | -0.62 | 0 | 0 | -21.13 | -2.06 | 0 | 14.95 | 4.4 | 0 | 0 | -5.15 | 5.61 | 0 | 0 | 0 | 0 | 8.88 | 84.1 | 0 | 5.14 | -1.03
15:15 - 15:30 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | 0 | 282.67 | 0 | 10.28 | -0.52 | 0 | 0 | -21.13 | -1.96 | 0 | 14.95 | 0 | 0 | 0 | -5.15 | 5.61 | 0 | 0 | -41.24 | 0 | 8.88 | 84.1 | 0 | 5.14 | -1.03
15:30 - 15:45 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | -1.03 | 456.06 | 0 | 10.28 | -0.52 | 0 | 0 | -21.13 | -1.75 | 0 | 14.95 | 0 | 0 | 0 | -5.15 | 5.61 | 0 | 0 | -56.7 | 0 | 8.88 | 22.3 | 0 | 5.14 | -1.03
15:45 - 16:00 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | -1.03 | 231.19 | 0 | 10.28 | -0.41 | 0 | 0 | -21.13 | -1.55 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | -20.62 | 0 | 8.88 | 0 | 0 | 0 | -1.03
16:00 - 16:15 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | -1.03 | -9.5 | 0 | 10.28 | -0.31 | 0 | 11.21 | -21.13 | -1.34 | 0 | 14.95 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 8.88 | 144.83 | 0 | 0 | 0
16:15 - 16:30 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | -1.03 | -29.09 | 0 | 0 | -0.1 | 0 | 0 | -21.13 | -1.03 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | 0 | 0 | 14.02 | 0 | 0 | 0
16:30 - 16:45 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | -0.82 | 111.82 | 0 | 0 | -0.1 | 0 | 0 | -21.13 | -0.72 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -1.03 | 0 | 0 | 0 | 18.69 | 0 | 0 | 0
16:45 - 17:00 | -0.2 | 0 | -3 | -0.21 | 0 | -1.13 | -0.82 | 0 | 0 | 0 | 0 | 0 | 0 | -21.13 | -0.31 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -1.03 | 0 | 0 | 0 | 18.69 | 0 | 0 | 0
17:00 - 17:15 | -0.2 | 0 | -3.5 | -0.21 | 0 | -0.62 | -1.03 | -186.95 | 0 | 0 | 0 | 0 | 0 | -21.13 | -0.1 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -1.03 | -46.39 | 0 | 0 | 18.69 | 0 | 0 | -10.31
17:15 - 17:30 | -0.2 | 0 | -3.5 | -0.21 | 0 | -0.62 | -1.03 | -75 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -1.03 | -56.7 | 0 | 0 | 18.69 | 0 | 0 | -10.31
17:30 - 17:45 | -0.2 | 0 | -3.5 | -0.21 | -3.09 | -0.62 | -1.03 | -200 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -1.03 | 0 | 0 | 0 | 14.02 | 0 | 0 | -10.31
17:45 - 18:00 | -0.2 | 0 | -3.5 | -0.21 | 0 | -0.62 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | -1.03 | 0 | 0 | 0 | 14.02 | 0 | 0 | -10.31
18:00 - 18:15 | -0.2 | 0 | -3.5 | -0.21 | 0 | -0.62 | -0.82 | -125 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | -10.31 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | -0.2 | 0 | -3.5 | -0.21 | 0 | -0.62 | -0.82 | 0 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.13 | -150 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | -36.08 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.13 | -175 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | -56.7 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.13 | -350 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | -10.31 | 0 | 0 | 14.02 | 0 | 0 | 0
19:15 - 19:30 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.13 | -350 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | 0 | 0 | 0 | 14.02 | 0 | 0 | 0
19:30 - 19:45 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.24 | -300 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | 0 | 0 | 0 | 18.69 | 0 | 0 | 0
19:45 - 20:00 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.24 | -300 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | 0 | 0 | 0 | 18.69 | 0 | 0 | 0
20:00 - 20:15 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.13 | -375 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | -56.7 | 0 | 0 | 23.36 | 0 | 0 | 0
20:15 - 20:30 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.13 | -425 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | -51.55 | 0 | 0 | 23.36 | 0 | 0 | 0
20:30 - 20:45 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.24 | -375 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | 0 | 0 | 0 | 23.36 | 0 | 0 | 0
20:45 - 21:00 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.24 | -375 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | -10.31 | 0 | 0 | 23.36 | 0 | 0 | 0
21:00 - 21:15 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.24 | -400 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | 0 | 0 | 0 | 37.37 | 0 | 0 | 0
21:15 - 21:30 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.24 | -400 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | 0 | 0 | 0 | 37.37 | 0 | 0 | 0
21:30 - 21:45 | -0.2 | 0 | -3.5 | -0.21 | 0 | -1.13 | -1.24 | -350 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | -56.7 | 0 | 0 | 42.05 | 0 | 0 | -1.03
21:45 - 22:00 | -0.2 | 0 | -3.5 | -0.21 | 0 | -1.13 | -1.24 | -350 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | -56.7 | 0 | 0 | 42.05 | 0 | 0 | -1.03
22:00 - 22:15 | -0.2 | 0 | -3.5 | -0.21 | 0 | -1.13 | -1.24 | -325 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | -20.62 | 0 | 0 | 42.05 | 0 | 0 | -1.03
22:15 - 22:30 | -0.2 | 0 | -3.5 | -0.21 | 0 | -1.13 | -1.24 | -300 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | 0 | 0 | 0 | 42.05 | 0 | 0 | -1.03
22:30 - 22:45 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.24 | -250 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | -10.31 | 0 | 0 | 42.05 | 0 | 0 | -1.03
22:45 - 23:00 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.24 | -250 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | 0 | 0 | 0 | 42.05 | 0 | 0 | -1.03
23:00 - 23:15 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.24 | -75 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | -25.77 | 0 | 0 | 42.05 | 0 | 0 | 0
23:15 - 23:30 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.24 | -150 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | -1.03 | -56.7 | 0 | 0 | 42.05 | 0 | 0 | 0
23:30 - 23:45 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.24 | -100 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | -1.03 | -20.62 | 0 | 0 | 42.05 | 0 | 0 | 0
23:45 - 24:00 | -0.2 | 0 | -3 | -0.21 | 0 | -0.62 | -1.24 | -200 | 0 | 0 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | -1.03 | 0 | 0 | 0 | 42.05 | 0 | 0 | 0
Average | -0.2 | -0.16667 | -2.9021 | -0.21 | -0.075104 | -0.77938 | -0.53438 | -17.5079 | 0.095417 | 3.3196 | -0.68812 | 0.68104 | 0.11677 | -21.1408 | -1.1114 | -0.57938 | 2.6868 | 0.045833 | -0.85896 | 0.35 | -5.5177 | 1.3447 | -2.8969 | -0.32188 | -16.8066 | 0.097292 | 2.8675 | 45.7747 | 0.585 | 1.1244 | -1.9218