## POWER STATUS
POWER STATUS ON DT 15.09.2026
[9 empty] | 2026-09-15 | 2026-09-14
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5253.7312 | 5931.0314
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 223.167 | 5.356 | 630/590 ft | 629.35 | 629.29 | 629.39 | 237.9161 | 242.4512
| Chiplima | 72(3x24) | 43.75 | 1.05 | - |  |  |  | 60.4004 | 50.8426
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1490.5 | 1480.8 | 1481.2 | 0 | 0
| Rengali | 250(5x50) | 246.6 | 5.9184 | 123.5/109.75 mt | 123.23 | 122.89 | 122.93 | 250.3313 | 244.4652
| Upper Kolab | 320(4x80) | 53.04 | 1.273 | 858/844 mt | 856.07 | 852.87 | 852.94 | 0 | 151.2345
| Upper Indravati | 600(4x150) | 600.8125 | 14.4195 | 642/625 mt | 638 | 640.34 | 640.4 | 602.045 | 604.5657
| Machkund | 60(50% of(3x17+3x23)) | 11.09 | 0.26616 | 2750/2685 ft | 2748.2 | 2733.6 | 2733.9 | 16.4179 | 8.326
| Total Hydro | 2099.5 | 1178.4595 | 28.283 |  |  |  |  | 1167.1109 | 1301.8852
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1611.1788 | 38.6683 | RENEWABLE ENERGY (RE) |  |  |  | 1032.8354 | 1332.9003
[5 empty] | M.Hydl | 122.55
| Total Thermal | 2200 | 1611.1788 | 38.6683 | Solar | 119.99 |  |  | 1032.8354 | 1332.9003
IPP | VEDANTA #2 | 600 (1x600) | 436.3452 | 10.4723 | Total IPPs | Yesterday's Demand Profile |  |  | 391.0156 | 550.9185
| GMR #3 | 350 (1x350) | 328.7549 | 7.8901 | 817.1621 |  | MW | HRS | 326.6949 | 329.1736
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 52.062 | 1.2495 |  |  |  |  | 55.6466 | 55.5506
| CGPs |  | 793.5272 | 19.0447 | IPPs, CGPs & RE | Maximum | 5931 | 23:00 | 2055.1088 | 1803.9358
| Central Sector(Drawl) |  | 768.5276 | 18.4447 | 1853.2293 | Minimum | 4998 | 05:00 | 998.6761 | 1492.3101
| Central Sector(Sch) |  | 758.3205 | 18.1997 |  | Average | 5411.3951 |  | 1429.41 | 1160.85
| Grand Total |  | 5411.3951 | 129.8735 | Instantaneous Peak demand |  | 6237 | 21:11 | 5253.7312 | 5931.0314
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(3) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | NIL |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1598.4869 | 38.3637 | 1653.8087 | 39.6914 | 1595.6692 | 38.2961
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1366.3341 | 32.792 | 1555.291 | 37.327 | 1470.4135 | 35.2899
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1466.0723 | 35.1857 | 1449.0659 | 34.7776 | 1401.925 | 33.6462
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 563.844 | 13.5323 | 571.845 | 13.7243 | 568.0175 | 13.6324
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 4994.7373 | 119.8737 | 5230.0106 | 125.5203 | 5036.0253 | 120.8646
Machhkund | 3,4,5,6 | Darlipali | 1
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 391.0156 | GMR |  |  |  | 326.6949
| NBVL #3 | 0 | MDTPC |  |  |  | 55.6466
Mini Hydel: | MEENAKSHI | 39.5169 | OPCL |  |  |  | 0
| BTPL | 28.2696 | SAPTADHARA |  |  |  | 19.8345
Solar: |  | 286.7719 | KAKATIYA |  |  |  | 6.7688
CGPs : | JSPL (Angul) | 308.0284 | JSL(Duburi) |  |  |  | -201.8753
| ICCL | 43.6285 | visa |  |  |  | 25.6437
| NALCO | -127.8959 | VAL (CGP) |  |  |  | 104.8496
| RSP | -66.999 | BSL(MMDL) |  |  |  | 115.2331
| INDAL | 4.4621 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -26.783 | VAL CPP 400 kV |  |  |  | -417.42
| NBVL | 3.4811 | Arati |  |  |  | 6.7423
| BPSL(JSG) | -36.1952 | BPPL |  |  |  | 116.889
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-07 | 2026-09-08 | 2026-09-09 | 2026-09-10 | 2026-09-11 | 2026-09-12 | 2026-09-13 | 2026-09-14
1166.575 | 1220.73 | 1235.2363 | 1175.6473 | 1121.1428 | 1177.51 | 1180.924 | 1178.4595
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.14.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | -12.29 | AARTISTEEL | UPPCL | -6 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.32
AARTISTEEL | KPTCL | -5 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -1.5 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0.74
AMNSIL_Pdeep | AMNSIL | -3.85 | DCBL_Rajgangpur | DALCEMAP | -2.29 | AGE26AL_PSS6_KPS1_S | ODISHA | 93.82
ARYAN_ISPAT | BALCO_LOAD | -5 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AP41PL_BHDL | ODISHA | 55.1
ENVIROCARE_INFRA | APCPDCL | -13 | FACORPOWER | PSPCL | -21.25 | AP43PL_BKN | ODISHA | 84.31
FACORPOWER | RUVITSL | -3.33 | FACORPOWER | PSPCL | -8.75 | AWEK1L | ODISHA | 2.67
GMRKEL_STU | GEB_Beneficiary | -61.9 | FACORPOWER | RUVITSL | -6.67 | AWEK1L | ODISHA | 4.01
GMRKEL_STU | TNEB | -18 | JSPLANGUL | RUVITSL | -2.08 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.24
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | RUVITSL | -1.39 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 26.33
JPIPL | NPCL_UP | -13 | JSPLANGUL | RUVITSL | -70.83 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.55
JSPLANGUL | GEB_Beneficiary | -73.33 | JSPLANGUL | RUVITSL | -47.22 | DADRI_SOLAR | ODISHA | 0.76
JSPLANGUL | RUVITSL | -27.08 | NBVLIPP | BSPHCL | -12.54 | ENERSON_SOLAR_10MW | ODISHA | 0.45
JSPLANGUL | RUVITSL | -18.06 | NBVLIPP | RUVITSL | -5.38 | GADAG_GreenInfra_W | ODISHA | 0.21
MAADURGA_THERMAL | NPCL_UP | -20.18 | OCL_IRON_STEEL | TPDDL | -28.33 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -1.92 | OCL_IRON_STEEL | TPDDL | -11.67 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -5.75 | ODISHA | BSPHCL | -54.17 | GADAG_Serentica3_S | VLSEZ | 44.29
NBVLIPP | KPTCL | -3.83 | ODISHA | BSPHCL | -20.83 | GADAG_Serentica3_W | VLSEZ | 25.78
NBVLIPP | TANGEDCO | 0 | ODISHA | HARYANA | -70.83 | GIWEL_SECI_II_RE | ODISHA | 29.93
ODISHA | AMNSIL | -95.83 | ODISHA | KSEB | -31.25 | GPCL_SOLAR_10 | ODISHA | 0.44
ODISHA | APCPDCL | -50 | ODISHA | TANGEDCO | -12.5 | GSECL_SOLAR | ODISHA | 0.63
ODISHA | APCPDCL | -50 | ODISHA | TANGEDCO | -6.25 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.71
ODISHA | APCPDCL | -25 | ODISHA | TANGEDCO | -18.75 | KARUR_TPVARDHAMAN_W | TSKPO | 38.83
ODISHA | APCPDCL | -25 | ODISHA | TANGEDCO | -12.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 5.35
ODISHA | KPTCL | -89.58 | ODISHA | WBSEDCL | -70.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.12
ODISHA | KPTCL | -17.71 | ODISHA | WBSEDCL | -20.83 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
ORSISL | BALCO_LOAD | -5 | ORSISL | UPPCL | -2.5 | NTPCRE1_SMND_BHJ2_W | ODISHA | 3.72
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | SMEL | PSPCL | -17.71 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
VSL | APCPDCL | -5 | SMEL | PSPCL | -7.29 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.46
FARIDABAD_SOLAR | ODISHA | 0.86 | Shri_JSPL | KSEB | -2 | OKWPL_RE | ODISHA | 16.14
JSWEL_UTKAL | ODISHA | 75.43 | TIMES_STEEL | TPL_DIS_DHOLERA | -2.5 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 1.1
RAJ_SOLAR | ODISHA | 2.36 | TIMES_STEEL | UPPCL | -1.5 | RWE_AP2_SECI_III | ODISHA | 13.7
RAJ_SOLAR | ODISHA | 2.44 | TSBSLA | BYPL | -10 | RenewGreen_SLPR_HS | JSL_DUBURI | 10.15
|  |  | VIRAJ_SEPL | PSPCL | -7.08 | SRI9PL_FTG3 | VLSEZ | 88.32
|  |  | VIRAJ_SEPL | PSPCL | -2.92 | TPVSL_BKN3 | TSKPO | 12.45
|  |  | VSL | DNHDDPDCL | -5 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
|  |  | VSL | TANGEDCO | -10 | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
|  |  | Darlipali_NTPC | ODISHA | 15.94 | Tuticorin_BETAMWIND | ODISHA | 14.27
|  |  | JIPL | ODISHA | 115.44 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 0
|  |  | NALCOAP | NACL_Odisha | 1.63 | XXPPL_FTG3 | ODISHA | 66.69
|  |  | TSTPP_I | ODISHA | 41.16

## DAM
DAM TRADING DETAILS FOR DT : 14.09.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Limited_Kalinga_Nagar | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.47 | 0
00:15 - 00:30 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.48 | 0
00:30 - 00:45 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.46 | 0
00:45 - 01:00 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.53 | 0
01:00 - 01:15 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.45 | 0
01:15 - 01:30 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.53 | 0
01:30 - 01:45 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.65 | 0
01:45 - 02:00 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.71 | 0
02:00 - 02:15 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 1.4 | 0
02:15 - 02:30 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 1.48 | 0
02:30 - 02:45 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 1.62 | 0
02:45 - 03:00 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 1.69 | 0
03:00 - 03:15 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 2.04 | 0
03:15 - 03:30 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 2.12 | 0
03:30 - 03:45 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 2.41 | 0
03:45 - 04:00 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 2.49 | 0
04:00 - 04:15 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 2.43 | 0
04:15 - 04:30 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 2.38 | 0
04:30 - 04:45 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 2.65 | 0
04:45 - 05:00 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 2.52 | 0
05:00 - 05:15 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 1.27 | 0
05:15 - 05:30 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.52 | 0
05:30 - 05:45 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.37 | 0
05:45 - 06:00 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.2 | 0
06:00 - 06:15 | -2.78 | -26.29 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.18 | -3.09
06:15 - 06:30 | -2.78 | -26.29 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.06 | -3.09
06:30 - 06:45 | -2.78 | -26.29 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0 | -3.09
06:45 - 07:00 | -2.78 | -26.29 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.25 | -3.09
07:00 - 07:15 | -2.78 | -26.29 | -50 | 0 | 0 | -3.09 | -3.09 | 0 | 1.31 | -3.09
07:15 - 07:30 | -2.78 | -26.29 | -50 | 0 | 0 | -3.09 | -3.09 | 0 | 2.5 | -3.09
07:30 - 07:45 | -2.78 | -26.29 | -50 | 0 | 0 | -3.09 | -3.09 | 0 | 3.51 | -3.09
07:45 - 08:00 | -2.78 | -26.29 | -50 | 0 | 0 | -3.09 | -3.09 | 0 | 4.96 | -3.09
08:00 - 08:15 | -2.78 | 0 | -400 | 0 | 0 | -3.09 | -46.91 | 0 | 0 | -3.09
08:15 - 08:30 | -2.78 | 0 | -400 | 0 | 0 | -3.09 | -46.91 | 0 | 0 | -3.09
08:30 - 08:45 | -2.78 | 0 | -550 | 0 | 0 | -3.09 | -46.91 | 0 | 0 | -3.09
08:45 - 09:00 | -2.78 | 0 | -550 | 0 | 0 | -3.09 | -46.91 | 0 | 0 | -3.09
09:00 - 09:15 | -2.78 | 0 | -650 | 0 | 0 | -3.09 | -46.91 | 0 | 0 | -3.09
09:15 - 09:30 | -2.78 | 0 | -650 | 0 | 0 | -3.09 | -46.91 | 0 | 0 | -3.09
09:30 - 09:45 | -2.78 | 0 | -650 | 0 | 0 | -3.09 | -46.91 | 0 | 27.99 | -3.09
09:45 - 10:00 | -2.78 | 0 | -650 | 0 | 0 | -3.09 | -46.91 | 7.47 | 27.99 | -3.09
10:00 - 10:15 | -2.78 | 0 | -1244.91 | 0 | 0 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
10:15 - 10:30 | -2.78 | 0 | -1200 | 32.66 | 9.33 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
10:30 - 10:45 | -2.78 | 0 | -1200 | 32.66 | 9.33 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
10:45 - 11:00 | -2.78 | 0 | -1200 | 32.66 | 9.33 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
11:00 - 11:15 | -2.78 | 0 | -900.58 | 32.66 | 9.33 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
11:15 - 11:30 | -2.78 | 0 | -891.46 | 32.66 | 9.33 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
11:30 - 11:45 | -2.78 | 0 | -859.12 | 32.66 | 9.33 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
11:45 - 12:00 | -2.78 | 0 | -857.82 | 32.66 | 9.33 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
12:00 - 12:15 | -2.78 | 0 | -882.2 | 32.66 | 9.33 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
12:15 - 12:30 | -2.78 | 0 | -882.12 | 32.66 | 9.33 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
12:30 - 12:45 | -2.78 | 0 | -882.58 | 32.66 | 9.33 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
12:45 - 13:00 | -2.78 | 0 | -882.28 | 32.66 | 9.33 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
13:00 - 13:15 | -2.78 | 0 | -381.72 | 32.66 | 9.33 | -1.03 | -35.05 | 7.47 | 27.99 | 0
13:15 - 13:30 | -2.78 | 0 | -655.18 | 32.66 | 9.33 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
13:30 - 13:45 | -2.78 | 0 | -932.9 | 32.66 | 9.33 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
13:45 - 14:00 | -2.78 | 0 | -1296.58 | 32.66 | 9.33 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
14:00 - 14:15 | -2.78 | 0 | -1716.75 | 0 | 0 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
14:15 - 14:30 | -2.78 | 0 | -1725 | 0 | 0 | -1.03 | -35.05 | 7.47 | 27.99 | -3.09
14:30 - 14:45 | -2.78 | 0 | -1725 | 0 | 0 | -1.03 | -35.05 | 0 | 0 | -3.09
14:45 - 15:00 | -2.78 | 0 | -1757.75 | 0 | 0 | -1.03 | -35.05 | 0 | 0 | -3.09
15:00 - 15:15 | -2.78 | 0 | -1450 | 0 | 0 | -3.09 | -46.91 | 0 | 0 | -3.09
15:15 - 15:30 | -2.78 | 0 | -1450 | 0 | 0 | -3.09 | -46.91 | 0 | 0 | -3.09
15:30 - 15:45 | -2.78 | 0 | -1450 | 0 | 0 | -3.09 | -46.91 | 0 | 0 | -3.09
15:45 - 16:00 | -2.78 | 0 | -1450 | 0 | 0 | -3.09 | -46.91 | 0 | 0 | -3.09
16:00 - 16:15 | -2.78 | -26.29 | -1125 | 0 | 0 | -3.09 | 0 | 0 | 6.51 | -3.09
16:15 - 16:30 | -2.78 | -26.29 | -1125 | 0 | 0 | -3.09 | 0 | 0 | 4.38 | -3.09
16:30 - 16:45 | -2.78 | -26.29 | -1125 | 0 | 0 | -3.09 | 0 | 0 | 2.4 | -3.09
16:45 - 17:00 | -2.78 | -26.29 | -1125 | 0 | 0 | -3.09 | 0 | 0 | 0.76 | -3.09
17:00 - 17:15 | -2.78 | -26.29 | -900 | 0 | 0 | -3.09 | 0 | 0 | 2.78 | -3.09
17:15 - 17:30 | -2.78 | -26.29 | -700 | 0 | 0 | -3.09 | 0 | 0 | 2.1 | -3.09
17:30 - 17:45 | -2.78 | -26.29 | -200 | 0 | 0 | -3.09 | 0 | 0 | 0.59 | -3.09
17:45 - 18:00 | -2.78 | -26.29 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0.03 | -3.09
18:00 - 18:15 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0.03 | 0
18:15 - 18:30 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0.03 | 0
18:30 - 18:45 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0.03 | 0
18:45 - 19:00 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | 0 | 0 | 0.02 | 0
19:00 - 19:15 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.01 | 0
19:15 - 19:30 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.01 | 0
19:30 - 19:45 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0 | 0
19:45 - 20:00 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.01 | 0
20:00 - 20:15 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.01 | 0
20:15 - 20:30 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.02 | 0
20:30 - 20:45 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.01 | 0
20:45 - 21:00 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.01 | 0
21:00 - 21:15 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.01 | 0
21:15 - 21:30 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.03 | 0
21:30 - 21:45 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.03 | 0
21:45 - 22:00 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.03 | 0
22:00 - 22:15 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.02 | 0
22:15 - 22:30 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.01 | 0
22:30 - 22:45 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.01 | 0
22:45 - 23:00 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0 | 0
23:00 - 23:15 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.07 | 0
23:15 - 23:30 | -2.78 | 0 | 0 | 0 | 0 | -3.09 | -3.09 | 0 | 0.08 | 0
23:30 - 23:45 | -2.78 | 0 | -100 | 0 | 0 | -3.09 | -3.09 | 0 | 0.25 | 0
23:45 - 24:00 | -2.78 | 0 | -100 | 0 | 0 | -3.09 | -3.09 | 0 | 0.26 | 0
Average | -2.78 | -4.3817 | -407.0203 | 5.1031 | 1.4578 | -2.6608 | -14.4533 | 1.4784 | 6.5102 | -1.5128

## GDAM
GDAM TRADING DETAILS FOR DT:14.09.2026
Time Period | Tata_Steel_Limited_Kalinga_Nagar
00:00 - 00:15 | 0.3
00:15 - 00:30 | 0.27
00:30 - 00:45 | 0.27
00:45 - 01:00 | 0.26
01:00 - 01:15 | 0.32
01:15 - 01:30 | 0.36
01:30 - 01:45 | 0.37
01:45 - 02:00 | 0.37
02:00 - 02:15 | 0.37
02:15 - 02:30 | 0.38
02:30 - 02:45 | 0.38
02:45 - 03:00 | 0.38
03:00 - 03:15 | 0.37
03:15 - 03:30 | 0.38
03:30 - 03:45 | 0.37
03:45 - 04:00 | 0.38
04:00 - 04:15 | 0.37
04:15 - 04:30 | 0.37
04:30 - 04:45 | 0.37
04:45 - 05:00 | 0.37
05:00 - 05:15 | 0.3
05:15 - 05:30 | 0.29
05:30 - 05:45 | 0.31
05:45 - 06:00 | 0.31
06:00 - 06:15 | 0.2
06:15 - 06:30 | 0.23
06:30 - 06:45 | 0
06:45 - 07:00 | 0.1
07:00 - 07:15 | 0.63
07:15 - 07:30 | 1.05
07:30 - 07:45 | 17.8
07:45 - 08:00 | 22.62
08:00 - 08:15 | 0
08:15 - 08:30 | 0
08:30 - 08:45 | 0
08:45 - 09:00 | 0
09:00 - 09:15 | 0
09:15 - 09:30 | 0
09:30 - 09:45 | 0
09:45 - 10:00 | 0
10:00 - 10:15 | 0
10:15 - 10:30 | 0
10:30 - 10:45 | 0
10:45 - 11:00 | 0
11:00 - 11:15 | 0
11:15 - 11:30 | 0
11:30 - 11:45 | 0
11:45 - 12:00 | 0
12:00 - 12:15 | 0
12:15 - 12:30 | 0
12:30 - 12:45 | 0
12:45 - 13:00 | 0
13:00 - 13:15 | 0
13:15 - 13:30 | 0
13:30 - 13:45 | 0
13:45 - 14:00 | 0
14:00 - 14:15 | 0
14:15 - 14:30 | 0
14:30 - 14:45 | 0
14:45 - 15:00 | 0
15:00 - 15:15 | 0
15:15 - 15:30 | 0
15:30 - 15:45 | 0
15:45 - 16:00 | 0
16:00 - 16:15 | 16.33
16:15 - 16:30 | 13.03
16:30 - 16:45 | 11.33
16:45 - 17:00 | 7.83
17:00 - 17:15 | 4.29
17:15 - 17:30 | 1.44
17:30 - 17:45 | 0.64
17:45 - 18:00 | 0.49
18:00 - 18:15 | 0.89
18:15 - 18:30 | 0
18:30 - 18:45 | 0.03
18:45 - 19:00 | 0.65
19:00 - 19:15 | 0.3
19:15 - 19:30 | 0.24
19:30 - 19:45 | 0.23
19:45 - 20:00 | 0.23
20:00 - 20:15 | 0.23
20:15 - 20:30 | 0.24
20:30 - 20:45 | 0.24
20:45 - 21:00 | 0.24
21:00 - 21:15 | 0.24
21:15 - 21:30 | 0.24
21:30 - 21:45 | 0.24
21:45 - 22:00 | 0.25
22:00 - 22:15 | 0.29
22:15 - 22:30 | 0.29
22:30 - 22:45 | 0.27
22:45 - 23:00 | 0.25
23:00 - 23:15 | 0.25
23:15 - 23:30 | 0.25
23:30 - 23:45 | 0.27
23:45 - 24:00 | 0.28
Average | 1.1757

## RTM
RTM TRADING DETAILS FOR DT: 14.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Ltd | OCL_Iron_and_Steel_Limited_ENE | OCL_Iron_and_Steel_Limited_MPL | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Visa_Chrome_Limited
00:00 - 00:15 | -0.31 | 0 | -0.41 | -1.34 | -500 | 0 | 0 | 0 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | 0 | -3.09 | 0 | 0 | 27.99 | 0 | 0
00:15 - 00:30 | -0.31 | 0 | -0.41 | -1.34 | -450 | 0 | 0 | 0 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | 0 | -3.09 | 0 | 0 | 27.99 | 0 | 0
00:30 - 00:45 | -0.31 | 0 | -0.41 | -1.34 | -350 | 0 | 0 | 0 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | -5.15 | 0 | -3.09 | 0 | 0 | 27.99 | 0 | 0
00:45 - 01:00 | -0.31 | 0 | -0.41 | -1.34 | -350 | 0 | 0 | 0 | -20.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.19 | 0 | -5.15 | 0 | -3.09 | -20.62 | 0 | 27.99 | 0 | 0
01:00 - 01:15 | -0.31 | 0 | -0.41 | -1.34 | -450 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | -5.15 | 0 | -3.09 | -20.62 | 0 | 27.99 | 0 | 0
01:15 - 01:30 | -0.31 | 0 | -0.41 | -1.34 | -450 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | -5.15 | 0 | -3.09 | 0 | 0 | 27.99 | 0 | 0
01:30 - 01:45 | -0.31 | 0 | -0.41 | -1.34 | -250 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | -5.15 | 0 | -3.09 | 0 | 0 | 41.99 | 0 | 0
01:45 - 02:00 | -0.31 | 0 | -0.41 | -1.34 | -250 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | -5.15 | 0 | -3.09 | -10.31 | 0 | 41.99 | 0 | 0
02:00 - 02:15 | -0.31 | 0 | -0.41 | -1.34 | -200 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | -5.15 | 0 | -4.12 | 0 | 0 | 51.32 | 0 | 0
02:15 - 02:30 | -0.31 | 0 | -0.41 | -1.34 | -200 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | -5.15 | 0 | -4.12 | 0 | 0 | 51.32 | 0 | 0
02:30 - 02:45 | -0.31 | 0 | -0.41 | -1.34 | -200 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | -5.15 | 0 | -4.12 | -10.31 | 0 | 55.99 | 0 | 0
02:45 - 03:00 | -0.31 | 0 | -0.41 | -1.34 | -200 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | -5.15 | 0 | -4.12 | 0 | 0 | 55.99 | 0 | 0
03:00 - 03:15 | -0.31 | 0 | -0.41 | -1.34 | -200 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | -5.15 | 0 | -4.12 | 0 | 0 | 55.99 | 0 | 0
03:15 - 03:30 | -0.31 | 0 | -0.41 | -1.34 | -200 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | -5.15 | 0 | -4.12 | -10.31 | 0 | 55.99 | 0 | 0
03:30 - 03:45 | -0.31 | 0 | -0.41 | -1.34 | -250 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | -5.15 | 0 | -4.12 | 0 | 0 | 60.65 | 0 | 0
03:45 - 04:00 | -0.31 | 0 | -0.41 | -1.34 | -250 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | -5.15 | 0 | -4.12 | 0 | 0 | 60.65 | 0 | 0
04:00 - 04:15 | -0.31 | 0 | -0.41 | -1.34 | -250 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | 0 | -4.12 | -10.31 | 0 | 55.99 | 0 | 0
04:15 - 04:30 | -0.31 | 0 | -0.41 | -1.34 | -250 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | 0 | -4.12 | 0 | 0 | 55.99 | 0 | 0
04:30 - 04:45 | -0.31 | -3.09 | -0.41 | -1.34 | -250 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | 0 | -4.12 | 0 | 0 | 55.99 | 0 | 0
04:45 - 05:00 | -0.31 | 0 | -0.41 | -1.34 | -250 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | 0 | -4.12 | 0 | 0 | 55.99 | 0 | 0
05:00 - 05:15 | -0.31 | 0 | -0.41 | -1.24 | -100 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | 0 | -4.12 | 0 | 0 | 55.99 | 0 | 0
05:15 - 05:30 | -0.31 | 0 | -0.41 | -1.24 | -100 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | 0 | -4.12 | 0 | 0 | 55.99 | 0 | 0
05:30 - 05:45 | -0.31 | 0 | -0.93 | -1.24 | -250 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | 0 | -4.12 | -10.31 | 0 | 55.99 | 0 | 0
05:45 - 06:00 | -0.31 | 0 | -0.93 | -1.24 | -250 | 0 | 0 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | 0 | -4.12 | -10.31 | 0 | 55.99 | 0 | 0
06:00 - 06:15 | -0.31 | 0 | -0.93 | -1.24 | -250 | 0 | -0.21 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | -1.55 | -4.12 | 0 | 0 | 55.99 | 0 | -10.31
06:15 - 06:30 | -0.31 | 0 | -0.93 | -1.24 | -250 | 0 | -0.41 | 0 | -21.13 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | -1.55 | -4.12 | 0 | 0 | 55.99 | 0 | -10.31
06:30 - 06:45 | -0.31 | 0 | -0.93 | -1.24 | -250 | 0 | -0.52 | 0 | -21.13 | -0.41 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | -1.55 | -4.12 | 0 | 0 | 0 | 0 | -10.31
06:45 - 07:00 | -0.31 | 0 | -0.93 | -1.24 | -250 | 0 | -0.82 | 0 | -21.13 | -0.82 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | -1.55 | -4.12 | 0 | 0 | 0 | 0 | -10.31
07:00 - 07:15 | -0.31 | 0 | -0.41 | -1.24 | -250 | 0 | -0.41 | 0 | -21.13 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | -1.03 | -4.12 | -10.31 | 0 | 46.66 | 0 | -10.31
07:15 - 07:30 | -0.31 | 0 | -0.41 | -1.24 | -300 | 0 | -0.52 | 0 | -21.13 | -1.55 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | -1.03 | -4.12 | -10.31 | 0 | 46.66 | 0 | -10.31
07:30 - 07:45 | -0.31 | 0 | -0.21 | -1.24 | -350 | 0 | -0.82 | 0 | -21.13 | -1.96 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | -1.03 | -4.12 | 0 | 0 | 23.33 | 0 | -10.31
07:45 - 08:00 | -0.31 | 0 | -0.21 | -1.24 | -450 | 0 | -1.03 | 0 | -21.13 | -2.37 | 0 | 0 | 0 | 0 | 0 | 0 | -7.22 | 0 | -5.15 | -1.03 | -4.12 | 0 | 0 | 16.8 | 0 | -10.31
08:00 - 08:15 | -0.31 | 0 | -0.21 | -1.24 | -50 | 0 | -0.21 | 0 | -21.13 | -2.78 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | -5.15 | 0 | -4.12 | -15.46 | 0 | 0 | 0 | -5.15
08:15 - 08:30 | -0.31 | 0 | -0.21 | -1.24 | -100 | 0 | -0.21 | 0 | -21.13 | -3.09 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | -5.15 | 0 | -4.12 | 0 | 0 | 0 | 0 | -5.15
08:30 - 08:45 | -0.31 | 0 | -0.21 | -1.24 | -90.75 | 0 | -0.21 | 0 | -21.13 | -3.71 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | 0 | -4.12 | -10.31 | 0 | 0 | 0 | -5.15
08:45 - 09:00 | -0.31 | 0 | -0.21 | -1.24 | -70 | 0.93 | -0.31 | 0 | -21.13 | -4.02 | 0 | 0 | 0 | 6.53 | 0 | 9.34 | -8.25 | 0 | 0 | 0 | -4.12 | -27.84 | 8.87 | 0 | 0 | -5.15
09:00 - 09:15 | -0.31 | 0 | -0.21 | 0 | -101.14 | 0 | -0.62 | 0 | -21.13 | -4.23 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | 0 | -4.12 | -10.31 | 0 | 0 | 0 | -5.15
09:15 - 09:30 | -0.31 | 0 | -0.21 | 0 | 93.09 | 0 | -0.72 | 0 | -21.13 | -4.43 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | 0 | -5.15
09:30 - 09:45 | -0.31 | 0 | -0.21 | 0 | 44.65 | 0 | -0.52 | 0 | -21.13 | -4.74 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | 0 | -4.12 | -20.62 | 0 | 0 | 0 | -5.15
09:45 - 10:00 | -0.31 | 0 | -0.21 | 0 | 47 | 0 | -0.62 | 0 | -21.13 | -2.37 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | 0 | -4.12 | -10.31 | 0 | 0 | 0 | -5.15
10:00 - 10:15 | -0.31 | 0 | -0.21 | 0 | -50.39 | 0 | -0.31 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.25 | 0 | 0 | -2.06 | -4.12 | -10.31 | 0 | 0 | 0 | 0
10:15 - 10:30 | -0.31 | 0 | -0.21 | 0 | -50.01 | 0 | -0.41 | 0 | -21.13 | 0 | 0 | 0 | 0 | 0.23 | 0 | 0 | -3.09 | 0 | 0 | -1.03 | -4.12 | -25.77 | 0.32 | 0 | 0 | 0
10:30 - 10:45 | -0.31 | -2.06 | -0.21 | 0 | -521.18 | 0 | -2.27 | 0 | -21.13 | 0 | 0 | 7.47 | 0 | 6.53 | 0 | 5.6 | -3.09 | 3.73 | 0 | -1.03 | -4.12 | -10.31 | 8.87 | 121.31 | 0 | 0
10:45 - 11:00 | -0.31 | 0 | -0.21 | 0 | -516.9 | 0 | -2.47 | 0 | -21.13 | 0 | 0 | 7.47 | 0 | 6.53 | 0 | 5.6 | -3.09 | 3.73 | 0 | -3.09 | -4.12 | 0 | 8.87 | 121.31 | 0 | 0
11:00 - 11:15 | -0.31 | 0 | -0.62 | 0 | -395.02 | 0 | -1.75 | -0.52 | -21.13 | 3.17 | 0 | 7.47 | 9.33 | 6.53 | 0 | 5.6 | -3.09 | 3.73 | 0 | -1.55 | -4.12 | -10.31 | 8.87 | 135.31 | 2.45 | 0
11:15 - 11:30 | -0.31 | 0 | -0.62 | 0 | -216.91 | 0 | -1.86 | -0.52 | -21.13 | 0 | 0 | 7.47 | 0 | 6.53 | 0 | 5.6 | -3.09 | 3.73 | 0 | -1.55 | -4.12 | -10.31 | 8.87 | 135.31 | 0 | 0
11:30 - 11:45 | -0.31 | 0 | -0.62 | 0 | -324.57 | 0 | -1.86 | -0.52 | -21.13 | 0 | 0 | 7.47 | 0 | 0 | 0 | 5.6 | -2.06 | 3.73 | 0 | -1.03 | -4.12 | 0 | 8.87 | 135.31 | 0 | 0
11:45 - 12:00 | -0.31 | 0 | -0.62 | 0 | -524.53 | 0 | -1.75 | -0.52 | -21.13 | 0 | 0 | 7.47 | 0 | 0 | 0 | 5.6 | -2.06 | 3.73 | 0 | -1.03 | -4.12 | -25.77 | 8.87 | 135.31 | 0 | 0
12:00 - 12:15 | -0.31 | 0 | -0.62 | 0 | -650 | 0 | -2.16 | -0.52 | -21.13 | 0 | 0 | 0 | 0 | 0 | 1.86 | 0 | -1.03 | 3.73 | 0 | 0 | -2.06 | -20.62 | 8.87 | 0 | 0 | 0
12:15 - 12:30 | -0.31 | 0 | -0.62 | 0 | -749.92 | 0 | -2.58 | -0.52 | -21.13 | 0 | 0 | 0 | 0 | 0 | 1.86 | 0 | -1.03 | 3.73 | 0 | 0 | -2.06 | 0 | 8.87 | 0 | 0 | 0
12:30 - 12:45 | -0.31 | -1.03 | -0.62 | 0 | -650 | 1.86 | -2.47 | -0.52 | -21.13 | 0 | 0 | 0 | 0 | 4.67 | 1.86 | 0 | -1.03 | 3.73 | 0 | 0 | -2.06 | -10.31 | 8.88 | 0 | 0 | 0
12:45 - 13:00 | -0.31 | 0 | -0.62 | 0 | -649.99 | 1.86 | -2.47 | -0.52 | -21.13 | 0 | 0 | 0 | 0 | 4.67 | 1.86 | 0 | -1.03 | 3.73 | 0 | 0 | -2.06 | -10.31 | 8.88 | 0 | 0 | 0
13:00 - 13:15 | -0.31 | 0 | -0.72 | 0 | -1211.11 | 0.47 | -2.68 | -0.52 | -21.13 | 0 | 0 | 7.47 | 0 | 4.67 | 1.86 | 5.6 | -1.03 | 3.73 | 0 | 0 | -2.06 | -10.31 | 8.87 | 102.65 | 0 | 0
13:15 - 13:30 | -0.31 | 0 | -0.72 | 0 | -1023.76 | 0.47 | -2.58 | -0.52 | -21.13 | 0 | 0 | 7.47 | 0 | 4.67 | 1.86 | 5.6 | -1.03 | 3.73 | 0 | 0 | -2.06 | -30.93 | 8.87 | 102.65 | 0 | 0
13:30 - 13:45 | -1.44 | 0 | -0.72 | 0 | -751.43 | 0.47 | -2.37 | -0.52 | -21.13 | 0 | 0 | 0 | 0 | 4.67 | 1.86 | 0 | 0 | 3.73 | 0 | 0 | -2.06 | -30.93 | 8.87 | 0 | 0 | 0
13:45 - 14:00 | -1.44 | 0 | -0.72 | 0 | -452.86 | 0.47 | -2.06 | -0.52 | -21.13 | 0 | 0 | 0 | 0 | 4.67 | 1.86 | 0 | 0 | 0 | 0 | 0 | -2.06 | -15.46 | 8.87 | 0 | 0 | 0
14:00 - 14:15 | -1.44 | 0 | -0.72 | 0 | 56.11 | 0 | -1.86 | -0.52 | -21.13 | -0.72 | 0 | 0 | 0 | 4.67 | 1.86 | 0 | 0 | 0 | 0 | 0 | -2.06 | -10.31 | 8.87 | 0 | 0 | 0
14:15 - 14:30 | -1.44 | 0 | -0.72 | 0 | 48.06 | 0 | -1.86 | -0.52 | -21.13 | -3.09 | 0 | 0 | 0 | 2.98 | 1.86 | 0 | 0 | 0 | 0 | 0 | -2.06 | -30.93 | 5.66 | 0 | 0 | 0
14:30 - 14:45 | -1.44 | 0 | -0.72 | 0 | 94.19 | 0 | -1.65 | -0.52 | -21.13 | -2.78 | 0 | 0 | 0 | 0 | 1.86 | 0 | 0 | 0 | 0 | -2.06 | -2.06 | -36.08 | 0 | 0 | 0 | 0
14:45 - 15:00 | -1.44 | 0 | -0.72 | 0 | 135.6 | 0 | -1.65 | -0.52 | -21.13 | -2.47 | 0 | 0 | 0 | 0 | 1.86 | 0 | 0 | 0 | 0 | 0 | -2.06 | -30.93 | 0 | 0 | 0 | 0
15:00 - 15:15 | -1.44 | 0 | -0.72 | -1.03 | 288.57 | 0 | -1.24 | -0.52 | -21.13 | -2.27 | 0 | 0 | 0 | 4.43 | 1.86 | 0 | 0 | 0 | 0 | 0 | -2.06 | -36.08 | 8.42 | 0 | 0 | -4.12
15:15 - 15:30 | -1.44 | 0 | -0.72 | -1.03 | 288.63 | 0 | -1.03 | -0.52 | -21.13 | -2.27 | 0 | 0 | 0 | 4.67 | 1.86 | 0 | 0 | 0 | 0 | -3.09 | -2.06 | -20.62 | 8.87 | 0 | 0 | -4.12
15:30 - 15:45 | -1.44 | 0 | -0.72 | -1.03 | 115.94 | 0 | -0.72 | -0.52 | -21.13 | -1.96 | -1.03 | 0 | 0 | 0 | 1.86 | 0 | -2.06 | 0 | 0 | -1.03 | -2.06 | 0 | 0 | 0 | 0 | -4.12
15:45 - 16:00 | -1.44 | 0 | -0.72 | -1.03 | 0 | 0 | -0.62 | -0.52 | -21.13 | -1.65 | -1.03 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | -1.03 | -2.06 | 0 | 0 | 0 | 0 | -4.12
16:00 - 16:15 | -1.44 | 0 | -0.72 | -1.03 | 0 | 0 | -0.52 | -0.52 | -21.13 | -1.44 | -1.03 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -10.31
16:15 - 16:30 | -1.44 | 0 | -0.72 | -1.03 | 0 | 0 | -0.31 | -0.52 | -21.13 | -1.13 | -1.03 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -10.31
16:30 - 16:45 | -1.44 | -2.06 | -0.72 | -1.24 | 0 | 0 | -0.1 | -0.52 | -21.13 | -0.72 | -1.03 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -2.06 | -41.24 | 0 | 0 | 0 | -10.31
16:45 - 17:00 | -1.44 | 0 | -0.72 | -1.24 | 0 | 0 | 0 | -0.52 | -21.13 | -0.31 | -1.03 | 0 | 0 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | -2.06 | -41.24 | 0 | 0 | 0 | -10.31
17:00 - 17:15 | -1.24 | 0 | -0.72 | -1.44 | 57.03 | 0 | 0 | -21.65 | 0 | -0.1 | -1.55 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -10.31
17:15 - 17:30 | -1.24 | 0 | -0.72 | -1.44 | 38.86 | 0 | 0 | -21.65 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -10.31
17:30 - 17:45 | -1.24 | 0 | -0.72 | -1.44 | -150 | 0 | 0 | -21.65 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -10.31
17:45 - 18:00 | -1.24 | 0 | -0.72 | -1.44 | -250 | 0 | 0 | -21.65 | 0 | 0 | -1.55 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | 0 | 0 | -2.06 | 0 | 0 | 0 | 0 | -10.31
18:00 - 18:15 | -1.24 | 0 | -0.72 | -1.44 | -300 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | 0 | -2.06 | -30.93 | 0 | 0 | 0 | -1.03
18:15 - 18:30 | -1.24 | 0 | -0.72 | -1.44 | -200 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | 0 | -2.06 | -20.62 | 0 | 0 | 0 | -1.03
18:30 - 18:45 | -1.24 | 0 | -0.93 | -1.44 | -300 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | 0 | -2.06 | 0 | 0 | 0 | 0 | -1.03
18:45 - 19:00 | -1.24 | 0 | -0.93 | -1.44 | -300 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | 0 | -2.06 | 0 | 0 | 0 | 0 | -1.03
19:00 - 19:15 | -1.24 | 0 | -0.93 | -1.44 | -300 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | 0 | -2.06 | 0 | 0 | 0 | 0 | -1.03
19:15 - 19:30 | -1.24 | 0 | -0.93 | -1.44 | -300 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | 0 | -2.06 | 0 | 0 | 0 | 0 | -1.03
19:30 - 19:45 | -1.24 | 0 | -0.93 | -1.34 | -250 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | 0 | -1.03
19:45 - 20:00 | -1.24 | 0 | -0.93 | -1.34 | -300 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | 0 | -1.03 | -30.93 | 0 | 0 | 0 | -1.03
20:00 - 20:15 | -1.24 | 0 | -0.93 | -1.34 | -400 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | 0 | -1.03
20:15 - 20:30 | -1.24 | 0 | -0.93 | -1.34 | -400 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | 0 | -1.03
20:30 - 20:45 | -1.24 | 0 | -0.93 | -1.34 | -450 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | 0 | -1.03 | -20.62 | 0 | 0 | 0 | -1.03
20:45 - 21:00 | -1.24 | 0 | -0.93 | -1.34 | -450 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.12 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | 0 | -1.03
21:00 - 21:15 | -1.24 | 0 | -0.93 | -1.13 | -550 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | 0 | -1.03
21:15 - 21:30 | -1.24 | 0 | -0.93 | -1.13 | -500 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | 0 | -1.03
21:30 - 21:45 | -1.24 | 0 | -0.93 | 0 | -450 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | 0 | -1.03
21:45 - 22:00 | -1.24 | 0 | -0.93 | 0 | -500 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | 0 | -1.03
22:00 - 22:15 | -1.24 | 0 | -0.93 | 0 | -450 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -1.03 | -10.31 | 0 | 0 | 0 | -1.03
22:15 - 22:30 | -1.24 | 0 | -0.93 | 0 | -450 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -5.15 | 0 | -1.03 | -10.31 | 0 | 0 | 0 | -1.03
22:30 - 22:45 | -1.24 | 0 | -0.41 | 0 | -350 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | 0 | -1.03
22:45 - 23:00 | -1.24 | 0 | -0.41 | 0 | -350 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | 0 | -1.03
23:00 - 23:15 | -1.24 | 0 | -0.41 | -1.13 | -250 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | 0 | -1.03
23:15 - 23:30 | -1.24 | 0 | -0.41 | -1.13 | -250 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | 0 | -1.03
23:30 - 23:45 | -1.24 | 0 | -0.41 | -1.13 | -150 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | 0 | -1.03 | -20.62 | 0 | 0 | 0 | -1.03
23:45 - 24:00 | -1.24 | 0 | -0.41 | -1.13 | -150 | 0 | 0 | -21.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | 0 | -5.15 | 0 | -1.03 | -10.31 | 0 | 0 | 0 | -1.03
Average | -0.74604 | -0.085833 | -0.58854 | -0.88042 | -264.5077 | 0.068021 | -0.53927 | -6.4446 | -14.9458 | -0.57875 | -0.12896 | 0.6225 | 0.097187 | 0.80885 | 0.29062 | 0.56396 | -4.8215 | 0.5051 | -3.1115 | -0.31146 | -2.811 | -8.774 | 1.7209 | 24.8159 | 0.025521 | -2.5767