## POWER STATUS
POWER STATUS ON DT 16.09.2026
[9 empty] | 2026-09-16 | 2026-09-15
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5724.7008 | 6183.8268
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 241.12 | 5.7869 | 630/590 ft | 629.31 | 629.39 | 629.45 | 242 | 241.8378
| Chiplima | 72(3x24) | 58.29 | 1.399 | - |  |  |  | 60 | 60.0391
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1490.7 | 1481.2 | 1481.6 | 0 | 0
| Rengali | 250(5x50) | 246.44 | 5.9146 | 123.5/109.75 mt | 123.32 | 122.93 | 122.93 | 246 | 247.4252
| Upper Kolab | 320(4x80) | 51.71 | 1.241 | 858/844 mt | 856.12 | 852.94 | 852.97 | 0 | 151.6808
| Upper Indravati | 600(4x150) | 592.62 | 14.2229 | 642/625 mt | 638.1 | 640.4 | 640.43 | 602 | 602.8302
| Machkund | 60(50% of(3x17+3x23)) | 11.625 | 0.279 | 2750/2685 ft | 2748.25 | 2733.9 | 2734.2 | 18 | 10.7934
| Total Hydro | 2099.5 | 1201.805 | 28.8433 |  |  |  |  | 1168 | 1314.6065
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1030.1929 | 24.7246 | RENEWABLE ENERGY (RE) |  |  |  | 1038 | 1029
[5 empty] | M.Hydl | 126.0017
| Total Thermal | 2200 | 1030.1929 | 24.7246 | Solar | 118.1441 |  |  | 1038 | 1029
IPP | VEDANTA #2 | 600 (1x600) | 435.8089 | 10.4594 | Total IPPs | Yesterday's Demand Profile |  |  | 391.3282 | 554.5706
| GMR #3 | 350 (1x350) | 329.3515 | 7.9044 | 816.9364 |  | MW | HRS | 326.8421 | 329.565
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 51.776 | 1.2426 |  |  |  |  | 56 | 29.9131
| CGPs |  | 853.6431 | 20.4874 | IPPs, CGPs & RE | Maximum | 6183.7533 | 23.00 | 1992.0058 | 1894.7131
| Central Sector(Drawl) |  | 1415.4524 | 33.9709 | 1914.7253 | Minimum | 4795.0997 | 06.00 | 1526.695 | 1945.5071
| Central Sector(Sch) |  | 1482.8989 | 35.5896 |  | Average | 5562.1757 |  | 1552.3 | 1873.5356
| Grand Total |  | 5562.1757 | 133.4922 | Instantaneous Peak demand |  | 6471 | 21:25 | 5724.7008 | 6183.8268
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(5) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | 5 | TPCODL | 1619.4997 | 38.868 | 1646.3818 | 39.5132 | 1618.4016 | 38.8416
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1531.7821 | 36.7628 | 1461.3606 | 35.0727 | 1593.3741 | 38.241
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1441.3939 | 34.5935 | 1476.0949 | 35.4263 | 1489.7502 | 35.754
U.Kolab | 2,3 | KAHALGAON | NIL | TPSODL | 585.6947 | 14.0567 | 602.4636 | 14.4591 | 597.5298 | 14.3407
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5178.3704 | 124.2809 | 5186.3009 | 124.4712 | 5299.0557 | 127.1773
Machhkund | 3,4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | 1
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 391.3282 | GMR |  |  |  | 327
| NBVL #3 | 0 | MDTPC |  |  |  | 56
Mini Hydel: | MEENAKSHI | 40 | OPCL |  |  |  | 0
| BTPL | 28 | SAPTADHARA |  |  |  | 20
Solar: |  | 297.7532 | KAKATIYA |  |  |  | 7
CGPs : | JSPL (Angul) | 271.7077 | JSL(Duburi) |  |  |  | -142.8473
| ICCL | 43.7238 | visa |  |  |  | 23.2169
| NALCO | -120.8771 | VAL (CGP) |  |  |  | 104.8496
| RSP | -39.1654 | BSL(MMDL) |  |  |  | 90.3511
| INDAL | 1.3564 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -19.4458 | VAL CPP 400 kV |  |  |  | -594.2303
| NBVL | 2.2431 | Arati |  |  |  | 5.0763
| BPSL(JSG) | -36.1952 | BPPL |  |  |  | 120.434
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-08 | 2026-09-09 | 2026-09-10 | 2026-09-11 | 2026-09-12 | 2026-09-13 | 2026-09-14 | 2026-09-15
1220.73 | 1235.2363 | 1175.6473 | 1121.1428 | 1177.51 | 1180.924 | 1178.4595 | 1201.805
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.15.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | 0 | AARTISTEEL | UPPCL | -6 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.3
AARTISTEEL | KPTCL | -5 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0
AMNSIL_Pdeep | AMNSIL | -3.08 | FACORPOWER | PSPCL | -8.75 | AGE26AL_PSS6_KPS1_S | ODISHA | 22.01
ARYAN_ISPAT | BALCO_LOAD | -5 | FACORPOWER | PSPCL | -21.25 | AP41PL_BHDL | ODISHA | 55.32
ENVIROCARE_INFRA | APCPDCL | -13 | FACORPOWER | RUVITSL | -6.67 | AP43PL_BKN | ODISHA | 87.23
FACORPOWER | RUVITSL | -3.33 | JSPLANGUL | RUVITSL | -2.08 | AWEK1L | ODISHA | 3.86
GMRKEL_STU | GEB_Beneficiary | -61.9 | JSPLANGUL | RUVITSL | -70.83 | AWEK1L | ODISHA | 2.57
GMRKEL_STU | TNEB | -18 | JSPLANGUL | RUVITSL | -47.22 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 2.05
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | RUVITSL | -1.39 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 31.7
JPIPL | NPCL_UP | -13 | KCMW_od | DALCEMAP | -2.42 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 5.92
JSPLANGUL | GEB_Beneficiary | -73.33 | NBVLIPP | BSPHCL | -12.54 | DADRI_SOLAR | ODISHA | 0.7
JSPLANGUL | RUVITSL | -27.08 | NBVLIPP | RUVITSL | -5.38 | ENERSON_SOLAR_10MW | ODISHA | 0.35
JSPLANGUL | RUVITSL | -18.06 | OCL_IRON_STEEL | TPDDL | -10.21 | GADAG_GreenInfra_W | ODISHA | 0
MAADURGA_THERMAL | NPCL_UP | -21.58 | OCL_IRON_STEEL | TPDDL | -24.79 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -5.75 | ODISHA | TANGEDCO | -12.5 | GADAG_GreenInfra_W | ODISHA | 0.26
NBVLIPP | KPTCL | -1.92 | ODISHA | TANGEDCO | -6.25 | GADAG_Serentica3_S | VLSEZ | 41.93
NBVLIPP | KPTCL | -3.83 | ODISHA | TANGEDCO | -18.75 | GADAG_Serentica3_W | VLSEZ | 20.8
NBVLIPP | TANGEDCO | 0 | ODISHA | TANGEDCO | -12.5 | GIWEL_SECI_II_RE | ODISHA | 30.25
ODISHA | APCPDCL | -15.62 | ORSISL | TPLD | 0 | GPCL_SOLAR_10 | ODISHA | 0.66
ODISHA | KPTCL | -24.22 | SMEL | CESC | -2 | GSECL_SOLAR | ODISHA | 0.79
ODISHA | KPTCL | -49.74 | SMEL | PSPCL | -17.71 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 0.73
ORSISL | BALCO_LOAD | 0 | SMEL | PSPCL | -7.29 | KARUR_TPVARDHAMAN_W | TSKPO | 24.28
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | Shri_JSPL | KSEB | -2 | Kurnool_Greenko_H_Inj | ADITYAAL | 8.17
TSBSLA | KSEB | -2.71 | TIMES_STEEL | GPEPL | -4 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.11
VSL | APCPDCL | -5 | TSBSLA | AEML | -10 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.02
FARIDABAD_SOLAR | ODISHA | 0.86 | VIRAJ_SEPL | PSPCL | -2.92 | NTPCRE1_SMND_BHJ2_W | ODISHA | 4.03
JSWEL_UTKAL | ODISHA | 75.43 | VIRAJ_SEPL | PSPCL | -7.08 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
RAJ_SOLAR | ODISHA | 2.44 | VSL | DNHDDPDCL | -5 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.12
RAJ_SOLAR | ODISHA | 2.28 | VSL | TANGEDCO | -10 | OKWPL_RE | ODISHA | 18.14
|  |  | JIPL | ODISHA | 109.43 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 6.28
|  |  | NALCOAP | NACL_Odisha | 2.64 | RWE_AP2_SECI_III | ODISHA | 12.17
[6 empty] | RenewGreen_SLPR_HS | JSL_DUBURI | 13.99
[6 empty] | SRI9PL_FTG3 | VLSEZ | 90.7
[6 empty] | TPVSL_BKN3 | TSKPO | 12.53
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 11.28
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 2.25
[6 empty] | XXPPL_FTG3 | ODISHA | 68.29

## DAM
DAM TRADING DETAILS FOR DT : 15.09.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Limited_Kalinga_Nagar
00:00 - 00:15 | -2.7 | 0 | 0 | -3 | -3 | 0 | 0.4
00:15 - 00:30 | -2.7 | 0 | 0 | -3 | -3 | 0 | 0.35
00:30 - 00:45 | -2.7 | 0 | 0 | -3 | -3 | 0 | 0.36
00:45 - 01:00 | -2.7 | 0 | 0 | -3 | -3 | 0 | 0.37
01:00 - 01:15 | -2.7 | 0 | 0 | -3 | -3 | 0 | 0.37
01:15 - 01:30 | -2.7 | 0 | 0 | -3 | -3 | 0 | 0.37
01:30 - 01:45 | -2.7 | 0 | 0 | -3 | -3 | 0 | 0.38
01:45 - 02:00 | -2.7 | 0 | 0 | -3 | -3 | 0 | 0.43
02:00 - 02:15 | -2.7 | 0 | 0 | -3 | 0 | 0 | 1.12
02:15 - 02:30 | -2.7 | 0 | 0 | -3 | 0 | 0 | 1.21
02:30 - 02:45 | -2.7 | 0 | 0 | -3 | 0 | 0 | 1.28
02:45 - 03:00 | -2.7 | 0 | 0 | -3 | 0 | 0 | 1.3
03:00 - 03:15 | -2.7 | 0 | 0 | -3 | 0 | 0 | 1.44
03:15 - 03:30 | -2.7 | 0 | 0 | -3 | 0 | 0 | 1.45
03:30 - 03:45 | -2.7 | 0 | 0 | -3 | 0 | 0 | 1.53
03:45 - 04:00 | -2.7 | 0 | 0 | -3 | 0 | 0 | 1.59
04:00 - 04:15 | -2.7 | 0 | 0 | -3 | 0 | 0 | 1.79
04:15 - 04:30 | -2.7 | 0 | 0 | -3 | 0 | 0 | 1.79
04:30 - 04:45 | -2.7 | 0 | 0 | -3 | 0 | 0 | 1.69
04:45 - 05:00 | -2.7 | 0 | 0 | -3 | 0 | 0 | 1.72
05:00 - 05:15 | -2.7 | 0 | 0 | -3 | -3 | 0 | 0.13
05:15 - 05:30 | -2.7 | 0 | 0 | -3 | -3 | 0 | 0.13
05:30 - 05:45 | -2.7 | 0 | 0 | -3 | -3 | 0 | 0.13
05:45 - 06:00 | -2.7 | 0 | 0 | -3 | -3 | 0 | 0.04
06:00 - 06:15 | -2.7 | -25.5 | 0 | -3 | -3 | 0 | 0.08
06:15 - 06:30 | -2.7 | -25.5 | 0 | -3 | -3 | 0 | 0.02
06:30 - 06:45 | -2.7 | -25.5 | 0 | -3 | -3 | 0 | 0
06:45 - 07:00 | -2.7 | -25.5 | 0 | -3 | -3 | 0 | 0.06
07:00 - 07:15 | -2.7 | -25.5 | 0 | -3 | -3 | 0 | 0.68
07:15 - 07:30 | -2.7 | -25.5 | 0 | -3 | -3 | 0 | 1.09
07:30 - 07:45 | -2.7 | -25.5 | -175 | -3 | -3 | 0 | 2.18
07:45 - 08:00 | -2.7 | -25.5 | -300 | -3 | -3 | 0 | 0
08:00 - 08:15 | -2.7 | -25.5 | -725 | -3 | -45.5 | 0 | 0
08:15 - 08:30 | -2.7 | -25.5 | -725 | -3 | -45.5 | 0 | 0
08:30 - 08:45 | -2.7 | 0 | -775 | -3 | -45.5 | 0 | 0
08:45 - 09:00 | -2.7 | 0 | -775 | -3 | -45.5 | 0 | 0
09:00 - 09:15 | -2.7 | 0 | -1050 | -3 | -45.5 | 0 | 0
09:15 - 09:30 | -2.7 | 0 | -1050 | -3 | -45.5 | 0 | 0
09:30 - 09:45 | -2.7 | 0 | -1050 | -3 | -45.5 | 0 | 0
09:45 - 10:00 | -2.7 | 0 | -1050 | -3 | -45.5 | 0 | 0
10:00 - 10:15 | -2.7 | 0 | -1125 | -1 | -45.5 | 0 | 0
10:15 - 10:30 | -2.7 | 0 | -1125 | -1 | -45.5 | 0 | 0
10:30 - 10:45 | -2.7 | 0 | -1125 | -1 | -45.5 | 0 | 0
10:45 - 11:00 | -2.7 | 0 | -1125 | -1 | -45.5 | 0 | 0
11:00 - 11:15 | -2.7 | 0 | -900 | -1 | -45.5 | 0 | 0
11:15 - 11:30 | -2.7 | 0 | -900 | -1 | -45.5 | 0 | 0
11:30 - 11:45 | -2.7 | 0 | -900 | -1 | -45.5 | 0 | 0
11:45 - 12:00 | -2.7 | 0 | -900 | -1 | -45.5 | 7.7 | 19.24
12:00 - 12:15 | -2.7 | 0 | -975 | -1 | -45.5 | 7.7 | 19.24
12:15 - 12:30 | -2.7 | 0 | -975 | -1 | -45.5 | 7.7 | 19.24
12:30 - 12:45 | -2.7 | 0 | -975 | -1 | -45.5 | 7.7 | 19.24
12:45 - 13:00 | -2.7 | 0 | -975 | -1 | -45.5 | 7.7 | 19.24
13:00 - 13:15 | -2.7 | 0 | -1100 | -1 | -45.5 | 7.7 | 19.24
13:15 - 13:30 | -2.7 | 0 | -1100 | -1 | -45.5 | 7.7 | 19.24
13:30 - 13:45 | -2.7 | 0 | -1100 | -1 | -45.5 | 0 | 0
13:45 - 14:00 | -2.7 | 0 | -1100 | -1 | -45.5 | 0 | 0
14:00 - 14:15 | -2.7 | 0 | -1323.88 | -1 | -45.5 | 0 | 0
14:15 - 14:30 | -2.7 | 0 | -1425 | -1 | -45.5 | 0 | 0
14:30 - 14:45 | -2.7 | 0 | -1425 | -1 | -45.5 | 0 | 0
14:45 - 15:00 | -2.7 | 0 | -1425 | -1 | -45.5 | 0 | 0
15:00 - 15:15 | -2.7 | 0 | -850 | -3 | -45.5 | 0 | 0
15:15 - 15:30 | -2.7 | 0 | -850 | -3 | -45.5 | 0 | 0
15:30 - 15:45 | -2.7 | 0 | -850 | -3 | -45.5 | 0 | 0
15:45 - 16:00 | -2.7 | 0 | -850 | -3 | -45.5 | 0 | 0
16:00 - 16:15 | -2.7 | -25.5 | -700 | -3 | 0 | 0 | 0
16:15 - 16:30 | -2.7 | -25.5 | -650 | -3 | 0 | 0 | 0
16:30 - 16:45 | -2.7 | -25.5 | -550 | -3 | 0 | 0 | 0
16:45 - 17:00 | -2.7 | -25.5 | -475 | -3 | 0 | 0 | 0
17:00 - 17:15 | -2.7 | -25.5 | -250 | -3 | 0 | 0 | 0
17:15 - 17:30 | -2.7 | -25.5 | -250 | -3 | 0 | 0 | 0
17:30 - 17:45 | -2.7 | -25.5 | 0 | -3 | 0 | 0 | 0
17:45 - 18:00 | -2.7 | -25.5 | 0 | -3 | 0 | 0 | 0
18:00 - 18:15 | -2.7 | 0 | 1.53 | -3 | 0 | 0 | 0
18:15 - 18:30 | -2.7 | 0 | 0.01 | -3 | 0 | 0 | 0
18:30 - 18:45 | -2.7 | 0 | 0.05 | -3 | 0 | 0 | 0
18:45 - 19:00 | -2.7 | 0 | 0.79 | -3 | 0 | 0 | 0
19:00 - 19:15 | -2.7 | 0 | 0.36 | -3 | -3 | 0 | 0
19:15 - 19:30 | -2.7 | 0 | 0.37 | -3 | -3 | 0 | 0
19:30 - 19:45 | -2.7 | 0 | 0 | -3 | -3 | 0 | 0
19:45 - 20:00 | -2.7 | 0 | 0.61 | -3 | -3 | 0 | 0
20:00 - 20:15 | -2.7 | 0 | 0.14 | -3 | -3 | 0 | 0
20:15 - 20:30 | -2.7 | 0 | 0.16 | -3 | -3 | 0 | 0
20:30 - 20:45 | -2.7 | 0 | 0.14 | -3 | -3 | 0 | 0
20:45 - 21:00 | -2.7 | 0 | 0.15 | -3 | -3 | 0 | 0
21:00 - 21:15 | -2.7 | 0 | 0.16 | -3 | -3 | 0 | 0
21:15 - 21:30 | -2.7 | 0 | 0.27 | -3 | -3 | 0 | 0
21:30 - 21:45 | -2.7 | 0 | 0.36 | -3 | -3 | 0 | 0
21:45 - 22:00 | -2.7 | 0 | 0.35 | -3 | -3 | 0 | 0
22:00 - 22:15 | -2.7 | 0 | 0.17 | -3 | -3 | 0 | 0
22:15 - 22:30 | -2.7 | 0 | 0.16 | -3 | -3 | 0 | 0
22:30 - 22:45 | -2.7 | 0 | 0.01 | -3 | -3 | 0 | 0
22:45 - 23:00 | -2.7 | 0 | 0.07 | -3 | -3 | 0 | 0
23:00 - 23:15 | -2.7 | 0 | 0.97 | -3 | -3 | 0 | 0
23:15 - 23:30 | -2.7 | 0 | 1.06 | -3 | -3 | 0 | 0
23:30 - 23:45 | -2.7 | 0 | 2.03 | -3 | -3 | 0 | 0
23:45 - 24:00 | -2.7 | 0 | 2.09 | -3 | -3 | 0 | 0
Average | -2.7 | -4.7812 | -374.3424 | -2.5833 | -16.4167 | 0.56146 | 1.6683 | #DIV/0! | #DIV/0! | #DIV/0!

## GDAM
GDAM TRADING DETAILS FOR DT:15.09.2026
Time Period | GRIDCO | JSW_Sambalpur_Steel_Limited | Tata_Steel_Limited_Kalinga_Nagar
00:00 - 00:15 | 0 | 0 | 0.14
00:15 - 00:30 | 0 | 0 | 0.14
00:30 - 00:45 | 0 | 0 | 0.15
00:45 - 01:00 | 0 | 0 | 0.15
01:00 - 01:15 | 0 | 0 | 0.15
01:15 - 01:30 | 0 | 0 | 0.16
01:30 - 01:45 | 0 | 0 | 0.17
01:45 - 02:00 | 0 | 0 | 0.17
02:00 - 02:15 | 0 | 0 | 0.22
02:15 - 02:30 | 0 | 0 | 0.22
02:30 - 02:45 | 0 | 0 | 0.21
02:45 - 03:00 | 0 | 0 | 0.21
03:00 - 03:15 | 0 | 0 | 0.21
03:15 - 03:30 | 0 | 0 | 0.2
03:30 - 03:45 | 0 | 0 | 0.2
03:45 - 04:00 | 0 | 0 | 0.19
04:00 - 04:15 | 0 | 0 | 0.23
04:15 - 04:30 | 0 | 0 | 0.22
04:30 - 04:45 | 0 | 0 | 0.22
04:45 - 05:00 | 0 | 0 | 0.22
05:00 - 05:15 | 0 | 0 | 0.13
05:15 - 05:30 | 0 | 0 | 0.13
05:30 - 05:45 | 0 | 0 | 0.13
05:45 - 06:00 | 0 | 0 | 0.13
06:00 - 06:15 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0.01
06:30 - 06:45 | 0 | 0 | 0.05
06:45 - 07:00 | 0 | 0 | 0.11
07:00 - 07:15 | 0 | 0 | 0.13
07:15 - 07:30 | 0 | 0 | 0.42
07:30 - 07:45 | 0 | 0 | 10.95
07:45 - 08:00 | 0 | 0 | 28.86
08:00 - 08:15 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 0
09:00 - 09:15 | 0 | 0 | 0
09:15 - 09:30 | 0 | 7.7 | 0
09:30 - 09:45 | 0 | 7.7 | 0
09:45 - 10:00 | 0 | 7.7 | 0
10:00 - 10:15 | 0 | 7.7 | 0
10:15 - 10:30 | 0 | 7.7 | 0
10:30 - 10:45 | 0 | 7.7 | 0
10:45 - 11:00 | 0 | 7.7 | 0
11:00 - 11:15 | 0 | 7.7 | 0
11:15 - 11:30 | 0 | 7.7 | 0
11:30 - 11:45 | 0 | 7.7 | 0
11:45 - 12:00 | 0 | 7.7 | 0
12:00 - 12:15 | 0 | 7.7 | 0
12:15 - 12:30 | 0 | 7.7 | 0
12:30 - 12:45 | 0 | 7.7 | 0
12:45 - 13:00 | 0 | 7.7 | 0
13:00 - 13:15 | 0 | 7.7 | 0
13:15 - 13:30 | 0 | 7.7 | 0
13:30 - 13:45 | 0 | 7.7 | 0
13:45 - 14:00 | 0 | 7.7 | 0
14:00 - 14:15 | 0 | 7.7 | 0
14:15 - 14:30 | 0 | 7.7 | 0
14:30 - 14:45 | 0 | 7.7 | 0
14:45 - 15:00 | 0 | 7.7 | 0
15:00 - 15:15 | 0 | 7.43 | 0
15:15 - 15:30 | 0 | 7.7 | 0
15:30 - 15:45 | 0 | 7.7 | 0
15:45 - 16:00 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0
18:00 - 18:15 | 4.74 | 0 | 0
18:15 - 18:30 | 0.9 | 0 | 0
18:30 - 18:45 | 0.25 | 0 | 0
18:45 - 19:00 | 0.01 | 0 | 0
19:00 - 19:15 | 1.05 | 0 | 0
19:15 - 19:30 | 0.64 | 0 | 0
19:30 - 19:45 | 0.62 | 0 | 0
19:45 - 20:00 | 0.68 | 0 | 0
20:00 - 20:15 | 1.7 | 0 | 0
20:15 - 20:30 | 1.7 | 0 | 0
20:30 - 20:45 | 1.71 | 0 | 0
20:45 - 21:00 | 1.69 | 0 | 0
21:00 - 21:15 | 1.83 | 0 | 0
21:15 - 21:30 | 1.97 | 0 | 0
21:30 - 21:45 | 1.95 | 0 | 0
21:45 - 22:00 | 1.98 | 0 | 0
22:00 - 22:15 | 2.23 | 0 | 0
22:15 - 22:30 | 2.04 | 0 | 0
22:30 - 22:45 | 2.07 | 0 | 0
22:45 - 23:00 | 1.98 | 0 | 0
23:00 - 23:15 | 2.02 | 0 | 0
23:15 - 23:30 | 1.99 | 0 | 0
23:30 - 23:45 | 2.04 | 0 | 0
23:45 - 24:00 | 2.03 | 0 | 0
Average | 0.41479 | 2.0826 | 0.46698

## RTM
RTM TRADING DETAILS FOR DT: 15.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Ltd | Narbheram_Power_and_Steel_Private_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -1.2 | 0 | -0.4 | -1.2 | 0 | -300 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1
00:15 - 00:30 | -1.2 | 0 | -0.4 | -1.2 | 0 | -250 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | -1.5 | 0 | 0 | -1
00:30 - 00:45 | -1.2 | -17 | -0.4 | -1.1 | 0 | -200 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1
00:45 - 01:00 | -1.2 | 0 | -0.4 | -1.1 | 0 | -200 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -20 | 0 | -1.5 | 0 | 0 | -1
01:00 - 01:15 | -1.2 | 0 | -0.4 | -1.1 | 0 | -100 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | -1.5 | 0 | 0 | -1
01:15 - 01:30 | -1.2 | 0 | -0.4 | -1.1 | 0 | -100 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | -1.5 | 0 | 0 | -1
01:30 - 01:45 | -1.2 | 0 | -0.4 | -1.1 | 0 | -275 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | -1.5 | 0 | 0 | -1
01:45 - 02:00 | -1.2 | 0 | -0.4 | -1.1 | 0 | -325 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -15 | 0 | -1.5 | 0 | 0 | -1
02:00 - 02:15 | -1.2 | 0 | -0.4 | -1.1 | 0 | -325 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -20 | 0 | -1.5 | 0 | 0 | -1
02:15 - 02:30 | -1.2 | 0 | -0.4 | -1.1 | 0 | -425 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | -1.5 | 0 | 0 | -1
02:30 - 02:45 | -1.2 | -14 | -0.4 | -1.1 | 0 | -450 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -20 | 0 | -1.5 | 0 | 0 | -1
02:45 - 03:00 | -1.2 | -14 | -0.4 | -1.1 | 0 | -500 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -55 | 0 | -1.5 | 0 | 0 | -1
03:00 - 03:15 | -1.2 | -14 | -0.4 | -1.1 | 0 | -425 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -40 | 0 | -1.5 | 0 | 0 | -1
03:15 - 03:30 | -1.2 | -14 | -0.4 | -1.1 | 0 | -425 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1
03:30 - 03:45 | -1.2 | -14 | -0.4 | -1.1 | 0 | -550 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -50 | 0 | -1.5 | 0 | 0 | -1
03:45 - 04:00 | -1.2 | -14 | -0.4 | -1.1 | 0 | -550 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1
04:00 - 04:15 | -1.2 | -17 | -0.4 | -1.2 | 0 | -550 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | -1.5 | 0 | 0 | -1
04:15 - 04:30 | -1.2 | -17 | -0.4 | -1.2 | 0 | -550 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -60 | 0 | -1.5 | 0 | 0 | -1
04:30 - 04:45 | -1.2 | -17 | -0.4 | -1.2 | 0 | -500 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | -1.5 | 0 | 0 | -1
04:45 - 05:00 | -1.2 | -17 | -0.4 | -1.2 | 0 | -550 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -35 | 0 | -1.5 | 0 | 0 | -1
05:00 - 05:15 | -1.2 | -20 | -0.4 | -1.1 | 0 | -475 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -35 | 0 | -1.5 | 0 | 0 | -1
05:15 - 05:30 | -1.2 | -20 | -0.4 | -1.1 | 0 | -450 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | -1.5 | 0 | 0 | -1
05:30 - 05:45 | -1.2 | -20 | -0.9 | -1.2 | 0 | -550 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | -4 | 0 | 0 | -5 | 0 | -15 | 0 | -1.5 | 0 | 0 | -1
05:45 - 06:00 | -1.2 | -10 | -0.9 | -1.2 | 0 | -650 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | -4 | 0 | 0 | -5 | 0 | -50 | 0 | -1.5 | 0 | 0 | -1
06:00 - 06:15 | -1.2 | -3 | -0.9 | -1.2 | 0 | -625 | 0 | -0.2 | 0 | -26 | 0 | 0 | 0 | -4 | 0 | 0 | -5 | -1 | -20 | 0 | -1.5 | 0 | 0 | -11
06:15 - 06:30 | -1.2 | -3 | -0.9 | -1.2 | 0 | -675 | 0 | -0.4 | 0 | -26 | 0 | 0 | 0 | -4 | 0 | 0 | -5 | -1 | 0 | 0 | -1.5 | 0 | 0 | -11
06:30 - 06:45 | -1.2 | -20 | -0.9 | -1.2 | 0 | -550 | 0 | -0.5 | 0 | -26 | -0.4 | 0 | 0 | -4 | 0 | 0 | -5 | -1 | -35 | 0 | -1.5 | 0 | 0 | -11
06:45 - 07:00 | -1.2 | -20 | -0.9 | -1.2 | 0 | -550 | 0 | -0.8 | 0 | -26 | -0.8 | 0 | 0 | -4 | 0 | 0 | -5 | -1 | 0 | 0 | -1.5 | 0 | 0 | -11
07:00 - 07:15 | -1.2 | -20 | -0.4 | -1.2 | 0 | -450 | 0 | -1 | 0 | -26 | -1.1 | 0 | 0 | -4 | 0 | 0 | -5 | 0 | 0 | 0 | -1.5 | 0 | 0 | -11
07:15 - 07:30 | -1.2 | -20 | -0.4 | -1.2 | 0 | -500 | 0 | -1.2 | 0 | -26 | -1.5 | 0 | 0 | -4 | 0 | 0 | -5 | 0 | -40 | 0 | -1.5 | 0 | 0 | -11
07:30 - 07:45 | -1.2 | -3 | -0.4 | -1.3 | 0 | -650 | 0 | -1.4 | 0 | -26 | -1.9 | 0 | 0 | -4 | 0 | 0 | -5 | 0 | -70 | 0 | -1.5 | 0 | 0 | -11
07:45 - 08:00 | -1.2 | -3 | -0.4 | -1.3 | 0 | -750 | 0 | -1.6 | 0 | -26 | -2.3 | 0 | 0 | -4 | 0 | 0 | -5 | 0 | -20 | 0 | -1.5 | 0 | 0 | -11
08:00 - 08:15 | -1.2 | -19 | -0.4 | -1.2 | 0 | -250 | 0 | -1.8 | 0 | -26 | -2.7 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -70 | 0 | -1.5 | 0 | 0 | -11
08:15 - 08:30 | -1.2 | -20 | -0.4 | -1.2 | 0 | -350 | 0 | -2 | 0 | -26 | -3.1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -70 | 0 | -1.5 | 0 | 0 | -11
08:30 - 08:45 | -1.2 | -2 | -0.4 | -1.2 | 0 | -367.39 | 0 | -2.1 | 0 | -26 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | -20 | 0 | -1.5 | 0 | 0 | -10
08:45 - 09:00 | -1.2 | -2 | -0.4 | -1.2 | 0 | -394.11 | 0 | -2.2 | 0 | -26 | -3.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | -20 | 0 | -1.5 | 0 | 0 | -10
09:00 - 09:15 | -1.2 | -2 | -0.4 | -1 | 0 | -500 | 0 | -2.4 | 0 | -26 | -4 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1.5 | 0 | 0 | -10
09:15 - 09:30 | -1.2 | 0 | -0.4 | -1 | 0 | -389.97 | 0 | -2.6 | 0 | -26 | -4.3 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1.5 | 0 | 0 | -10
09:30 - 09:45 | -1.2 | 0 | -0.4 | -1 | 0 | -700 | 0 | -2.7 | 0 | -26 | -4.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -70 | 0 | -1.5 | 0 | 51.95 | -10
09:45 - 10:00 | -1.2 | 0 | -0.4 | -1 | 0 | -675.48 | 0 | -2.9 | 0 | -26 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -70 | 0 | -1.5 | 0 | 102.93 | -10
10:00 - 10:15 | -1.2 | -12 | -0.4 | -1 | 0 | 0 | 5.77 | -3 | 0 | -26 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 9.14 | -1.5 | 0 | 154.88 | -10
10:15 - 10:30 | -1.2 | 0 | -0.4 | -1 | 0 | 0 | 5.77 | -3.1 | 0 | -26 | 0 | 0 | 0 | -4 | 0 | 0 | 0 | 0 | 0 | 9.14 | -1.5 | 0 | 205.87 | -10
10:30 - 10:45 | -1.2 | 0 | -0.4 | 0 | 0 | -624.92 | 5.77 | -2.5 | 0 | -26 | 0 | 0 | 0 | -4 | 1.92 | 4.33 | 0 | 0 | -20 | 9.14 | -1.5 | 0 | 205.87 | -10
10:45 - 11:00 | -1.2 | 0 | -0.4 | 0 | 0 | -374.97 | 5.77 | -2.7 | 0 | -26 | 0 | 0 | 0 | 0 | 1.92 | 4.33 | 0 | 0 | -60 | 9.14 | -1.5 | 0 | 205.87 | -10
11:00 - 11:15 | -1.2 | 0 | -0.4 | 0 | 0 | -499.91 | 5.77 | -3 | 0 | -26 | 0 | 1.92 | 0 | 0 | 1.92 | 4.33 | 0 | 0 | -70 | 9.14 | -1.5 | 0 | 205.88 | 0
11:15 - 11:30 | -1.2 | -15 | -0.4 | 0 | 0 | -499.94 | 5.77 | -3 | 0 | -26 | 0 | 1.92 | 0 | 0 | 1.92 | 4.33 | 0 | 0 | -70 | 9.14 | -1.5 | 0 | 205.88 | 0
11:30 - 11:45 | -1.2 | -15 | -0.4 | 0 | 0 | -370.66 | 5.77 | -2.8 | -0.4 | -26 | 0 | 1.92 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 9.14 | -1.5 | 0 | 205.87 | -7
11:45 - 12:00 | -1.2 | 0 | -0.4 | 0 | 0 | -390.71 | 5.77 | -2.7 | -0.4 | -26 | 0 | 1.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.14 | -1.5 | 0 | 205.87 | -7
12:00 - 12:15 | -1.2 | 0 | -0.4 | 0 | 0 | -290.34 | 4.81 | -2.7 | -0.4 | -26 | 0 | 1.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.14 | -1.5 | 0 | 154.79 | -7
12:15 - 12:30 | -1.2 | 0 | -0.4 | 0 | 0 | -190.75 | 4.81 | -2.8 | -0.4 | -26 | 0 | 1.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.14 | -1.5 | 0 | 154.79 | -7
12:30 - 12:45 | -1.2 | 0 | -0.4 | 0 | 0 | -469.93 | 4.81 | -2.8 | -0.4 | -26 | 0 | 1.92 | 0 | 0 | 1.92 | 4.33 | 0 | -2 | -50 | 9.14 | 0 | 0 | 154.79 | -7
12:45 - 13:00 | -1.2 | 0 | -0.4 | 0 | 0 | -439.96 | 4.81 | -2.5 | -0.4 | -26 | 0 | 1.92 | 7.7 | 0 | 1.92 | 4.33 | 0 | 0 | -50 | 9.14 | 0 | 0 | 154.79 | -7
13:00 - 13:15 | -1.3 | -12 | -0.9 | 0 | 0 | -213.3 | 2.41 | -2.4 | -0.4 | -26 | 0 | 1.92 | 7.7 | 0 | 1.92 | 0 | 0 | 0 | 0 | 9.14 | 0 | 0 | 154.78 | -7
13:15 - 13:30 | -1.3 | 0 | -0.9 | 0 | 0 | -215.31 | 2.41 | -2.3 | -0.4 | -26 | 0 | 1.92 | 0 | 0 | 1.92 | 0 | 0 | -3 | 0 | 9.14 | 0 | 0 | 154.79 | -7
13:30 - 13:45 | -1.3 | 0 | -0.9 | 0 | 0 | -223.32 | 2.41 | -2.3 | -0.4 | -26 | -1.8 | 1.92 | 0 | 0 | 1.92 | 0 | 0 | -1 | 0 | 9.14 | 0 | 0 | 154.79 | -7
13:45 - 14:00 | -1.3 | 0 | -0.9 | 0 | 0 | -227.66 | 2.41 | -2.2 | -0.4 | -26 | -4.3 | 1.92 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 9.14 | 0 | 0 | 154.78 | -7
14:00 - 14:15 | -1.3 | 0 | -0.9 | 0 | 0 | 0 | 0 | -2.2 | -0.4 | -26 | -4 | 1.92 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 154.79 | -7
14:15 - 14:30 | -1.3 | -12 | -0.9 | 0 | 0 | 0 | 0 | -2 | -0.4 | -26 | -3.8 | 1.92 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | 154.79 | -7
14:30 - 14:45 | -1.3 | 0 | -0.9 | 0 | 0 | 0 | 0 | -1.8 | -0.4 | -26 | -3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 154.79 | -7
14:45 - 15:00 | -1.3 | 0 | -0.9 | 0 | 0 | 0 | 0 | -1.6 | -0.4 | -26 | -3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 154.79 | -7
15:00 - 15:15 | -1.3 | 0 | -0.9 | -1.1 | -25.5 | 0 | 0 | -1.4 | -0.4 | -26 | -2.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 154.79 | -10
15:15 - 15:30 | -1.3 | 0 | -0.9 | -1.1 | -25.5 | 0 | 0 | -1.2 | -0.4 | -26 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 103.22 | -10
15:30 - 15:45 | -1.3 | -8 | -0.9 | -1.1 | -25.5 | 0 | 0 | -0.8 | -0.4 | -26 | -2.3 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -18 | 0 | 0 | 0 | 44.71 | -10
15:45 - 16:00 | -1.3 | -8 | -0.9 | -1.1 | -25.5 | 0 | 0 | -0.6 | -0.4 | -26 | -1.9 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -80 | 0 | 0 | 0 | 0 | -10
16:00 - 16:15 | -1.3 | 0 | -0.9 | -1.2 | 0 | 0 | 0 | -0.5 | -0.4 | -26 | -1.8 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -60 | 0 | 0 | 0 | 0 | -10
16:15 - 16:30 | -1.3 | 0 | -0.9 | -1.2 | 0 | -50 | 0 | -0.3 | -0.4 | -26 | -1.4 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -10
16:30 - 16:45 | -1.3 | 0 | -1.1 | -1.4 | 0 | -250 | 0 | -0.1 | -0.4 | -26 | -1.1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -15 | 0 | 0 | 0 | 0 | -11
16:45 - 17:00 | -1.3 | 0 | -1.1 | -1.4 | 0 | -300 | 0 | -0.1 | -0.4 | -26 | -0.6 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -15 | 0 | 0 | 0 | 0 | -11
17:00 - 17:15 | -1.3 | 0 | -0.6 | -1.4 | 0 | -450 | 0 | 0 | -0.4 | -26 | -0.3 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -11
17:15 - 17:30 | -1.3 | 0 | -0.6 | -1.4 | 0 | -350 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -70 | 0 | 0 | 0 | 0 | -11
17:30 - 17:45 | -1.3 | -8 | -0.6 | -1.3 | 0 | -900 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -60 | 0 | 0 | 0 | 0 | -11
17:45 - 18:00 | -1.3 | 0 | -0.6 | -1.3 | 0 | -850 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | 0 | 0 | -11
18:00 - 18:15 | -1.3 | 0 | -0.6 | -1.4 | 0 | -500 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -1
18:15 - 18:30 | -1.3 | 0 | -0.6 | -1.4 | 0 | -350 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | 0 | 0 | -1
18:30 - 18:45 | -1.3 | 0 | -0.6 | -1.4 | 0 | -75 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -1
18:45 - 19:00 | -1.3 | 0 | -0.6 | -1.4 | 0 | -125 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -50 | 0 | 0 | 0 | 0 | -1
19:00 - 19:15 | -1.3 | 0 | -0.6 | -1.4 | 0 | -75 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -58 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -1.3 | 0 | -0.6 | -1.4 | 0 | -100 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -1.3 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -1.3 | 0 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -1.3 | 0 | -0.4 | -1.4 | 0 | -50 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | -1.3 | 0 | -0.4 | -1.4 | 0 | -50 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -72 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -1.3 | 0 | -0.4 | -1.4 | 0 | -75 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -65 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | -1.3 | 0 | -0.4 | -1.4 | 0 | -125 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | -1.3 | -4 | -0.4 | -1.4 | 0 | -50 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -6 | 0 | 0 | 0 | 0 | -1
21:15 - 21:30 | -1.3 | -4 | -0.4 | -1.4 | 0 | -50 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -1
21:30 - 21:45 | -1.3 | -4 | -0.9 | -1.4 | 0 | -75 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -4
21:45 - 22:00 | -1.3 | -4 | -0.9 | -1.4 | 0 | -75 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -63 | 0 | 0 | 0 | 0 | -4
22:00 - 22:15 | -1.3 | -4 | -0.9 | -1.4 | 0 | -75 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -65 | 0 | 0 | 0 | 0 | -10
22:15 - 22:30 | -1.3 | -4 | -0.9 | -1.4 | 0 | -75 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -15 | 0 | 0 | 0 | 0 | -10
22:30 - 22:45 | -1.3 | -4 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -10
22:45 - 23:00 | -1.3 | -4 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | -10
23:00 - 23:15 | -1.3 | -4 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0.01 | 0 | -7
23:15 - 23:30 | -1.3 | -4 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | 0.01 | 0 | -7
23:30 - 23:45 | -1.3 | -4 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -72 | 0 | 0 | 0 | 0 | -7
23:45 - 24:00 | -1.3 | -4 | -0.4 | -1.4 | 0 | 0 | 0 | 0 | -0.4 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | -7
Average | -1.2458 | -5.3542 | -0.56042 | -1.0042 | -1.0625 | -293.3191 | 0.78167 | -0.84583 | -0.20833 | -26 | -0.74792 | 0.28 | 0.16042 | -0.54167 | 0.18 | 0.27062 | -3.5417 | -0.16667 | -23.8438 | 1.5233 | -0.78125 | 0.00020833 | 40.7401 | -5.625 | #DIV/0! | #DIV/0!