## POWER STATUS
POWER STATUS ON DT 17.09.2026
[9 empty] | 2026-09-17 | 2026-09-16
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5447.2538 | 6527.1248
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 242.12 | 5.8109 | 630/590 ft | 629.1 | 629.45 | 629.73 | 242 | 241.3378
| Chiplima | 72(3x24) | 60.29 | 1.447 | - |  |  |  | 64 | 62.6539
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1491 | 1481.6 | 1482 | 0 | 0
| Rengali | 250(5x50) | 246.18 | 5.9083 | 123.5/109.75 mt | 123.51 | 122.93 | 122.9 | 246 | 245.7863
| Upper Kolab | 320(4x80) | 101.13 | 2.4271 | 858/844 mt | 856.11 | 852.97 | 852.98 | 26 | 155.3903
| Upper Indravati | 600(4x150) | 601.22 | 14.4293 | 642/625 mt | 638.12 | 640.43 | 640.4 | 606 | 602.1788
| Machkund | 60(50% of(3x17+3x23)) | 12.26 | 0.29424 | 2750/2685 ft | 2748.25 | 2734.2 | 2734.7 | 18 | 10.7968
| Total Hydro | 2099.5 | 1263.2 | 30.3168 |  |  |  |  | 1202 | 1318.144
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1034.04 | 24.817 | RENEWABLE ENERGY (RE) |  |  |  | 1034 | 1045
[5 empty] | M.Hydl | 126.46
| Total Thermal | 2200 | 1034.04 | 24.817 | Solar | 125.63 |  |  | 1034 | 1045
IPP | VEDANTA #2 | 600 (1x600) | 430.64 | 10.3354 | Total IPPs | Yesterday's Demand Profile |  |  | 393.6328 | 533.067
| GMR #3 | 350 (1x350) | 327.89 | 7.8694 | 810.83 |  | MW | HRS | 323.9838 | 331.9607
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 52.3 | 1.2552 |  |  |  |  | 56.1537 | 55.9738
| CGPs |  | 823.2 | 19.7568 | IPPs, CGPs & RE | Maximum | 6895 | 14.00 | 1981.93 | 1794
| Central Sector(Drawl) |  | 1846.9604 | 44.3271 | 1886.12 | Minimum | 5146 | 08.00 | 1229.3238 | 2369.9809
| Central Sector(Sch) |  | 1802.2838 | 43.2548 |  | Average | 6030.3204 |  | 1639.0601 | 2086.4299
| Grand Total |  | 6030.3204 | 144.7277 | Instantaneous Peak demand |  | 7160 | 13:25 | 5447.2538 | 6527.1248
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1696.4797 | 40.7155 | 1735.0135 | 41.6403 | 1711.4331 | 41.0744
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1783.2228 | 42.7973 | 1784.6409 | 42.8314 | 1603.3098 | 38.4794
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1523.4854 | 36.5637 | 1557.4722 | 37.3793 | 1483.161 | 35.5959
U.Kolab | 2 | KAHALGAON | NIL | TPSODL | 619.4726 | 14.8673 | 624.7177 | 14.9932 | 617.9501 | 14.8308
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5622.6605 | 134.9439 | 5701.8443 | 136.8443 | 5415.854 | 129.9805
Machhkund | 3,4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | 1
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 394 | GMR |  |  |  | 324
| NBVL #3 | 0 | MDTPC |  |  |  | 56
Mini Hydel: | MEENAKSHI | 40 | OPCL |  |  |  | 0
| BTPL | 28 | SAPTADHARA |  |  |  | 20
Solar: |  | 262.0167 | KAKATIYA |  |  |  | 7
CGPs : | JSPL (Angul) | 324.9181 | JSL(Duburi) |  |  |  | -196.7321
| ICCL | 41.7368 | visa |  |  |  | 20.0976
| NALCO | -121.2073 | VAL (CGP) |  |  |  | 73.522
| RSP | -42.2914 | BSL(MMDL) |  |  |  | 89.3989
| INDAL | 8.1372 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -26.7679 | VAL CPP 400 kV |  |  |  | -435.3854
| NBVL | 2.0251 | Arati |  |  |  | 1.3957
| BPSL(JSG) | -88.1243 | BPPL |  |  |  | 119.9828
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-09 | 2026-09-10 | 2026-09-11 | 2026-09-12 | 2026-09-13 | 2026-09-14 | 2026-09-15 | 2026-09-16
1235.2363 | 1175.6473 | 1121.1428 | 1177.51 | 1180.924 | 1178.4595 | 1201.805 | 1263.2
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.16.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | 0 | AARTISTEEL | UPPCL | 0 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.39
AARTISTEEL | KPTCL | -3.44 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0
AMNSIL_Pdeep | AMNSIL | 0 | FACORPOWER | PSPCL | -21.25 | AGE26AL_PSS6_KPS1_S | ODISHA | 10.26
ARYAN_ISPAT | BALCO_LOAD | -5 | FACORPOWER | PSPCL | -8.75 | AP41PL_BHDL | ODISHA | 56.25
ENVIROCARE_INFRA | APCPDCL | -13 | FACORPOWER | RUVITSL | -5.5 | AP43PL_BKN | ODISHA | 86.91
FACORPOWER | RUVITSL | -3.33 | JSPLANGUL | RUVITSL | -70.83 | AWEK1L | ODISHA | 1.93
GMRKEL_STU | GEB_Beneficiary | -61.9 | JSPLANGUL | RUVITSL | -2.08 | AWEK1L | ODISHA | 2.89
GMRKEL_STU | TNEB | -18 | JSPLANGUL | RUVITSL | -1.39 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.73
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | RUVITSL | -47.22 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 21.06
JPIPL | NPCL_UP | -13 | KCMW_od | DALCEMAP | -0.6 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 14.53
JSPLANGUL | GEB_Beneficiary | -73.33 | NBVLIPP | BSPHCL | -12.54 | DADRI_SOLAR | ODISHA | 0.74
JSPLANGUL | RUVITSL | -18.06 | NBVLIPP | RUVITSL | -5.38 | ENERSON_SOLAR_10MW | ODISHA | 0.75
JSPLANGUL | RUVITSL | -27.08 | NPSRL | GPEPL | -1 | GADAG_GreenInfra_W | ODISHA | 0.27
MAADURGA_THERMAL | NPCL_UP | -21.48 | OCL_IRON_STEEL | TPDDL | -10.21 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -3.83 | OCL_IRON_STEEL | TPDDL | -24.79 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -1.92 | ODISHA | BSPHCL | -22.92 | GADAG_Serentica3_S | VLSEZ | 36.52
NBVLIPP | KPTCL | -5.75 | ODISHA | TANGEDCO | -6.25 | GADAG_Serentica3_W | VLSEZ | 26.3
NBVLIPP | TANGEDCO | 0 | ODISHA | TANGEDCO | -18.75 | GIWEL_SECI_II_RE | ODISHA | 26.37
ODISHA | AMNSIL | -22.92 | ODISHA | TANGEDCO | -12.5 | GPCL_SOLAR_10 | ODISHA | 1
ODISHA | APCPDCL | -41.67 | ODISHA | TANGEDCO | -12.5 | GSECL_SOLAR | ODISHA | 1.24
ODISHA | KPTCL | -141.67 | ORSISL | TPLD | 0 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.45
ORSISL | BALCO_LOAD | -5 | SMEL | CESC | -2 | KARUR_TPVARDHAMAN_W | TSKPO | 24.37
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | SMEL | PSPCL | -17.71 | Kurnool_Greenko_H_Inj | ADITYAAL | 4.35
VSL | APCPDCL | -5 | SMEL | PSPCL | -7.29 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.04
FARIDABAD_SOLAR | ODISHA | 0.86 | Shri_JSPL | KSEB | -2 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
JSWEL_UTKAL | ODISHA | 75.43 | TSBSLA | CESC | -20 | NTPCRE1_SMND_BHJ2_W | ODISHA | 2.61
RAJ_SOLAR | ODISHA | 2.38 | VIRAJ_SEPL | PSPCL | -2.92 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
RAJ_SOLAR | ODISHA | 2.28 | VIRAJ_SEPL | PSPCL | -7.08 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.26
|  |  | VSL | DNHDDPDCL | -5 | OKWPL_RE | ODISHA | 13.18
|  |  | VSL | TANGEDCO | -10 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 8.27
|  |  | BSPHCL | VLSEZ | 6.01 | RWE_AP2_SECI_III | ODISHA | 10.15
|  |  | JIPL | ODISHA | 57.72 | RenewGreen_SLPR_HS | JSL_DUBURI | 13.83
|  |  | NALCOAP | NACL_Odisha | 3.31 | SRI9PL_FTG3 | VLSEZ | 76.39
|  |  | North_Karanpura_STPS | ODISHA | 80.01 | TPVSL_BKN3 | TSKPO | 12.53
|  |  | TSTPP_I | ODISHA | 84.33 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
|  |  | VAAYUPOWERPH1AP | VLSEZ | 1.44 | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
|  |  | VAAYUPOWERPH2AP | VLSEZ | 1.06 | Tuticorin_BETAMWIND | ODISHA | 12.69
|  |  | VAAYUPOWERPH3AP | VLSEZ | 1.35 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 5
|  |  | VAAYUPOWERPH5AP | VLSEZ | 1.54 | XXPPL_FTG3 | ODISHA | 57.93
|  |  | VAAYUPOWERPH6AP | VLSEZ | 2.79

## DAM
DAM TRADING DETAILS FOR DT : 16.09.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd)
00:00 - 00:15 | -2.7 | 0 | 0 | 0 | -2 | -3 | 0
00:15 - 00:30 | -2.7 | 0 | 0 | 0 | -2 | -3 | 0
00:30 - 00:45 | -2.7 | 0 | 0 | 0 | -2 | -3 | 0
00:45 - 01:00 | -2.7 | 0 | 0 | 0 | -2 | -3 | 0
01:00 - 01:15 | -2.7 | 0 | 0 | 0 | -2 | -3 | 0
01:15 - 01:30 | -2.7 | 0 | 0 | 0 | -2 | -3 | 0
01:30 - 01:45 | -2.7 | 0 | 0 | 0 | -2 | -3 | 0
01:45 - 02:00 | -2.7 | 0 | 0 | 0 | -2 | -3 | 0
02:00 - 02:15 | -2.7 | 0 | 0 | 0 | -2 | 0 | 0
02:15 - 02:30 | -2.7 | 0 | 0 | 0 | -2 | 0 | 0
02:30 - 02:45 | -2.7 | 0 | 0 | 0 | -2 | 0 | 0
02:45 - 03:00 | -2.7 | 0 | 0 | 0 | -2 | 0 | 0
03:00 - 03:15 | -2.7 | 0 | 0 | 0 | -2 | 0 | 0
03:15 - 03:30 | -2.7 | 0 | 0 | 0 | -2 | 0 | 0
03:30 - 03:45 | -2.7 | 0 | 0 | 0 | -2 | 0 | 0
03:45 - 04:00 | -2.7 | 0 | 0 | 0 | -2 | 0 | 0
04:00 - 04:15 | -2.7 | 0 | 0 | 0 | -2 | 0 | 0
04:15 - 04:30 | -2.7 | 0 | 0 | 0 | -2 | 0 | 0
04:30 - 04:45 | -2.7 | 0 | 0 | 0 | -2 | 0 | 0
04:45 - 05:00 | -2.7 | 0 | 0 | 0 | -2 | 0 | 0
05:00 - 05:15 | -2.7 | 0 | 0 | 0 | -2 | -3 | 0
05:15 - 05:30 | -2.7 | 0 | 0 | 0 | -2 | -3 | 0
05:30 - 05:45 | -2.7 | 0 | 0 | 0 | -2 | -3 | 0
05:45 - 06:00 | -2.7 | 0 | 0 | 0 | -2 | -3 | 0
06:00 - 06:15 | -2.7 | -25.5 | 0 | 0 | -2 | -3 | 0
06:15 - 06:30 | -2.7 | -25.5 | 0 | 0 | -2 | -3 | 0
06:30 - 06:45 | -2.7 | -25.5 | 0 | 0 | -2 | -3 | 0
06:45 - 07:00 | -2.7 | -25.5 | 0 | 0 | -2 | -3 | 0
07:00 - 07:15 | -2.7 | -25.5 | 0 | 0 | -2 | -3 | 0
07:15 - 07:30 | -2.7 | -25.5 | 0 | 0 | -2 | -3 | 0
07:30 - 07:45 | -2.7 | -25.5 | 0 | 0 | -2 | -3 | 0
07:45 - 08:00 | -2.7 | -25.5 | 0 | 0 | -2 | -3 | 0
08:00 - 08:15 | -2.7 | -25.5 | -400 | 0 | -2 | -45.5 | 0
08:15 - 08:30 | -2.7 | -25.5 | -400 | 0 | -2 | -45.5 | 0
08:30 - 08:45 | -2.7 | -25.5 | -400 | 0 | -2 | -45.5 | 0
08:45 - 09:00 | -2.7 | -25.5 | -400 | 0 | -2 | -45.5 | 0
09:00 - 09:15 | -2.7 | 0 | -750 | 0 | -2 | -45.5 | 0
09:15 - 09:30 | -2.7 | 0 | -750 | 0 | -2 | -45.5 | 0
09:30 - 09:45 | -2.7 | 0 | -750 | 0 | -2 | -45.5 | 0
09:45 - 10:00 | -2.7 | 0 | -750 | 0 | -2 | -45.5 | 0
10:00 - 10:15 | -2.7 | 0 | -900 | 0 | -1 | -45.5 | 0
10:15 - 10:30 | -2.7 | 0 | -900 | 0 | -1 | -45.5 | 0
10:30 - 10:45 | -2.7 | 0 | -1000 | 0 | -1 | -45.5 | 0
10:45 - 11:00 | -2.7 | 0 | -1000 | 0 | -1 | -45.5 | 0
11:00 - 11:15 | -2.7 | 0 | -750 | 0 | -1 | -45.5 | 0
11:15 - 11:30 | -2.7 | 0 | -750 | 0 | -1 | -45.5 | 0
11:30 - 11:45 | -2.7 | 0 | -750 | 3.1 | -1 | -45.5 | 0
11:45 - 12:00 | -2.7 | 0 | -750 | 3.6 | -1 | -45.5 | 0
12:00 - 12:15 | -2.7 | 0 | -750 | 9.62 | -1 | -45.5 | 7.7
12:15 - 12:30 | -2.7 | 0 | -750 | 9.62 | -1 | -45.5 | 0
12:30 - 12:45 | -2.7 | 0 | -750 | 9.62 | -1 | -45.5 | 0
12:45 - 13:00 | -2.7 | 0 | -750 | 9.62 | -1 | -45.5 | 0
13:00 - 13:15 | -2.7 | 0 | -775 | 9.62 | -1 | -45.5 | 7.7
13:15 - 13:30 | -2.7 | 0 | -775 | 9.62 | -1 | -45.5 | 7.7
13:30 - 13:45 | -2.7 | 0 | -775 | 0 | -1 | -45.5 | 0
13:45 - 14:00 | -2.7 | 0 | -775 | 0 | -1 | -45.5 | 0
14:00 - 14:15 | -2.7 | 0 | -1150 | 0 | -1 | -45.5 | 0
14:15 - 14:30 | -2.7 | 0 | -1150 | 0 | -1 | -45.5 | 0
14:30 - 14:45 | -2.7 | 0 | -1150 | 0 | -1 | -45.5 | 0
14:45 - 15:00 | -2.7 | 0 | -1150 | 0 | -1 | -45.5 | 0
15:00 - 15:15 | -2.7 | 0 | -825 | 0 | -2 | -45.5 | 0
15:15 - 15:30 | -2.7 | 0 | -825 | 0 | -2 | -45.5 | 0
15:30 - 15:45 | -2.7 | -25.5 | -825 | 0 | -2 | -45.5 | 0
15:45 - 16:00 | -2.7 | -25.5 | -825 | 0 | -2 | -45.5 | 0
16:00 - 16:15 | -2.7 | -25.5 | -575 | 0 | -2 | 0 | 0
16:15 - 16:30 | -2.7 | -25.5 | -575 | 0 | -2 | 0 | 0
16:30 - 16:45 | -2.7 | -25.5 | -575 | 0 | -2 | 0 | 0
16:45 - 17:00 | -2.7 | -25.5 | -500 | 0 | -2 | 0 | 0
17:00 - 17:15 | -2.7 | -25.5 | -100 | 0 | -2 | 0 | 0
17:15 - 17:30 | -2.7 | -25.5 | -100 | 0 | -2 | 0 | 0
17:30 - 17:45 | -2.7 | -25.5 | -200 | 0 | -2 | 0 | 0
17:45 - 18:00 | -2.7 | -25.5 | 0 | 0 | -2 | 0 | 0
18:00 - 18:15 | -2.7 | 0 | 1.17 | 0 | -2 | 0 | 0
18:15 - 18:30 | -2.7 | 0 | 0.05 | 0 | -2 | 0 | 0
18:30 - 18:45 | -2.7 | 0 | 0 | 0 | -2 | 0 | 0
18:45 - 19:00 | -2.7 | 0 | 0.36 | 0 | -2 | 0 | 0
19:00 - 19:15 | -2.7 | 0 | 0.06 | 0 | -2 | -3 | 0
19:15 - 19:30 | -2.7 | 0 | 0.02 | 0 | -2 | -3 | 0
19:30 - 19:45 | -2.7 | 0 | 0.02 | 0 | -2 | -3 | 0
19:45 - 20:00 | -2.7 | 0 | 0.1 | 0 | -2 | -3 | 0
20:00 - 20:15 | -2.7 | 0 | 0.07 | 0 | -2 | -3 | 0
20:15 - 20:30 | -2.7 | 0 | 0.07 | 0 | -2 | -3 | 0
20:30 - 20:45 | -2.7 | 0 | 0.05 | 0 | -2 | -3 | 0
20:45 - 21:00 | -2.7 | 0 | 0.05 | 0 | -2 | -3 | 0
21:00 - 21:15 | -2.7 | 0 | 0.06 | 0 | -2 | -3 | 0
21:15 - 21:30 | -2.7 | 0 | 0.11 | 0 | -2 | -3 | 0
21:30 - 21:45 | -2.7 | 0 | 0.11 | 0 | -2 | -3 | 0
21:45 - 22:00 | -2.7 | 0 | 0.13 | 0 | -2 | -3 | 0
22:00 - 22:15 | -2.7 | 0 | 0.06 | 0 | -2 | -3 | 0
22:15 - 22:30 | -2.7 | 0 | 0.02 | 0 | -2 | -3 | 0
22:30 - 22:45 | -2.7 | 0 | 0.01 | 0 | -2 | -3 | 0
22:45 - 23:00 | -2.7 | 0 | 0.01 | 0 | -2 | -3 | 0
23:00 - 23:15 | -2.7 | 0 | 0.01 | 0 | -2 | -3 | 0
23:15 - 23:30 | -2.7 | 0 | 0.02 | 0 | -2 | -3 | 0
23:30 - 23:45 | -2.7 | 0 | 0.46 | 0 | -2 | -3 | 0
23:45 - 24:00 | -2.7 | 0 | 0.47 | 0 | -2 | -3 | 0
Average | -2.7 | -5.8438 | -291.8907 | 0.67104 | -1.7917 | -16.4167 | 0.24063

## GDAM
GDAM TRADING DETAILS FOR DT:16.09.2026
Time Period | GRIDCO | JSW_Sambalpur_Steel_Limited | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 0
09:00 - 09:15 | 0 | 0 | 48.1
09:15 - 09:30 | 0 | 0 | 96.2
09:30 - 09:45 | 0 | 0 | 144.3
09:45 - 10:00 | 0 | 0 | 185.67
10:00 - 10:15 | 0 | 7.7 | 185.66
10:15 - 10:30 | 0 | 7.7 | 185.66
10:30 - 10:45 | 0 | 7.7 | 185.66
10:45 - 11:00 | 0 | 7.7 | 185.66
11:00 - 11:15 | 0 | 7.7 | 185.66
11:15 - 11:30 | 0 | 7.7 | 185.66
11:30 - 11:45 | 0 | 7.7 | 185.66
11:45 - 12:00 | 0 | 7.7 | 185.66
12:00 - 12:15 | 0 | 7.7 | 185.66
12:15 - 12:30 | 0 | 7.7 | 185.66
12:30 - 12:45 | 0 | 7.7 | 185.66
12:45 - 13:00 | 0 | 7.7 | 185.66
13:00 - 13:15 | 0 | 7.7 | 185.66
13:15 - 13:30 | 0 | 7.7 | 185.66
13:30 - 13:45 | 0 | 7.7 | 185.66
13:45 - 14:00 | 0 | 7.7 | 185.66
14:00 - 14:15 | 0 | 7.7 | 185.66
14:15 - 14:30 | 0 | 7.7 | 185.66
14:30 - 14:45 | 0 | 7.7 | 185.66
14:45 - 15:00 | 0 | 7.7 | 185.66
15:00 - 15:15 | 0 | 0 | 185.67
15:15 - 15:30 | 0 | 0 | 144.3
15:30 - 15:45 | 0 | 0 | 96.2
15:45 - 16:00 | 0 | 0 | 48.1
16:00 - 16:15 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0
18:00 - 18:15 | 2.07 | 0 | 0
18:15 - 18:30 | 0.08 | 0 | 0
18:30 - 18:45 | 0.17 | 0 | 0
18:45 - 19:00 | 0.44 | 0 | 0
19:00 - 19:15 | 0.54 | 0 | 0
19:15 - 19:30 | 0.62 | 0 | 0
19:30 - 19:45 | 0.61 | 0 | 0
19:45 - 20:00 | 0.6 | 0 | 0
20:00 - 20:15 | 0.87 | 0 | 0
20:15 - 20:30 | 0.87 | 0 | 0
20:30 - 20:45 | 0.88 | 0 | 0
20:45 - 21:00 | 0.87 | 0 | 0
21:00 - 21:15 | 0.89 | 0 | 0
21:15 - 21:30 | 0.9 | 0 | 0
21:30 - 21:45 | 0.95 | 0 | 0
21:45 - 22:00 | 0.93 | 0 | 0
22:00 - 22:15 | 0.97 | 0 | 0
22:15 - 22:30 | 0.93 | 0 | 0
22:30 - 22:45 | 0.94 | 0 | 0
22:45 - 23:00 | 0.93 | 0 | 0
23:00 - 23:15 | 0.96 | 0 | 0
23:15 - 23:30 | 0.95 | 0 | 0
23:30 - 23:45 | 0.98 | 0 | 0
23:45 - 24:00 | 0.98 | 0 | 0
Average | 0.2076 | 1.6042 | 48.5598

## RTM
RTM TRADING DETAILS FOR DT: 16.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Ltd | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Ferro_Alloys_Plant_Joda | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -1.3 | -3 | -0.4 | -1.4 | 0 | -200 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -10 | 0 | -3 | 68.38 | -4
00:15 - 00:30 | -1.3 | -3 | -0.4 | -1.4 | 0 | -150 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -50 | 0 | -3 | 67.46 | -4
00:30 - 00:45 | -1.3 | -3 | -0.4 | -1.4 | 0 | -125 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -10 | 0 | -3 | 42.31 | -4
00:45 - 01:00 | -1.3 | -3 | -0.4 | -1.4 | 0 | -125 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -3 | 41.91 | -4
01:00 - 01:15 | -1.3 | -3 | -0.4 | -1.4 | 0 | -125 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -50 | 0 | -3 | 44.56 | -3
01:15 - 01:30 | -1.3 | -10 | -0.4 | -1.4 | 0 | -125 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -3 | 44.56 | -3
01:30 - 01:45 | -1.3 | -8 | -0.4 | -1.4 | 0 | -75 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -20 | 0 | -3 | 59.65 | -3
01:45 - 02:00 | -1.3 | 0 | -0.4 | -1.4 | 0 | -75 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -60 | 0 | -3 | 60.49 | -3
02:00 - 02:15 | -1.3 | 0 | -0.4 | -1.4 | 0 | -20 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -50 | 0 | -3 | 19.65 | -2
02:15 - 02:30 | -1.3 | 0 | -0.4 | -1.4 | 0 | -20 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -3 | 19.92 | -2
02:30 - 02:45 | -1.3 | 0 | -0.4 | -1.4 | 0 | -20 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -30 | 0 | -3 | 60.97 | -2
02:45 - 03:00 | -1.3 | 0 | -0.4 | -1.4 | 0 | -20 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -40 | 0 | -3 | 62.79 | -2
03:00 - 03:15 | -1.3 | 0 | -0.4 | -1.4 | 0 | -20 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -3 | 64.7 | -2
03:15 - 03:30 | -1.3 | 0 | -0.4 | -1.4 | 0 | -20 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -60 | 0 | -3 | 67.93 | -2
03:30 - 03:45 | -1.3 | 0 | -0.4 | -1.4 | 0 | 3.07 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -30 | 0 | -3 | 70.62 | -2
03:45 - 04:00 | -1.3 | 0 | -0.4 | -1.4 | 0 | 3.27 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -3 | 72.73 | -2
04:00 - 04:15 | -1.3 | -15 | -0.4 | -1.4 | 0 | 3.78 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -50 | 0 | -3 | 63.57 | -2
04:15 - 04:30 | -1.3 | 0 | -0.4 | -1.4 | 0 | 3.95 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -30 | 0 | -3 | 65.49 | -2
04:30 - 04:45 | -1.3 | 0 | -0.4 | -1.4 | 0 | 4.8 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -3 | 48 | -2
04:45 - 05:00 | -1.3 | 0 | -0.4 | -1.4 | 0 | 5.08 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -65 | 0 | -3 | 50.8 | -2
05:00 - 05:15 | -1.3 | 0 | -0.4 | -1.4 | 0 | 4.45 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -40 | 0 | -3 | 70.58 | -1
05:15 - 05:30 | -1.3 | 0 | -0.4 | -1.4 | 0 | 4.22 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -3 | 68.21 | -1
05:30 - 05:45 | -1.3 | -7 | -0.9 | -1.4 | 0 | -25 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -55 | 0 | -3 | 71.57 | -1
05:45 - 06:00 | -1.3 | -7 | -0.9 | -1.4 | 0 | -100 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -50 | 0 | -3 | 66.96 | -1
06:00 - 06:15 | -1.3 | 0 | -0.9 | -1.4 | 0 | -50 | 0 | -0.2 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -10 | 0 | -3 | 50.59 | -10
06:15 - 06:30 | -1.3 | 0 | -0.9 | -1.4 | 0 | -25 | 0 | -0.4 | 0 | -25 | -0.2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -3 | 44.12 | -10
06:30 - 06:45 | -1.3 | 0 | -0.9 | -1.4 | 0 | -50 | 0 | -0.5 | 0 | -25 | -0.6 | 0 | 0 | -5 | 0 | 0 | -8 | 0 | -3 | 75.64 | -10
06:45 - 07:00 | -1.3 | 0 | -0.9 | -1.4 | 0 | -50 | 0 | -0.8 | 0 | -25 | -0.9 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -3 | 78.19 | -10
07:00 - 07:15 | -1.3 | -6 | -0.4 | -1.5 | 0 | -25 | 0 | -0.6 | 0 | -25 | -1.3 | 0 | 0 | -5 | 0 | 0 | -10 | 0 | -3 | 0 | -10
07:15 - 07:30 | -1.3 | -7 | -0.4 | -1.5 | 0 | -25 | 0 | -0.8 | 0 | -25 | -1.6 | 0 | 0 | -5 | 0 | 0 | -60 | 0 | -3 | 0 | -10
07:30 - 07:45 | -1.3 | 0 | -0.4 | -1.5 | 0 | -100 | 0 | -1.4 | 0 | -25 | -2 | 0 | 0 | -5 | 0 | 0 | -60 | 0 | -3 | 0 | -10
07:45 - 08:00 | -1.3 | 0 | -0.4 | -1.5 | 0 | -250 | 0 | -1.6 | 0 | -25 | -2.4 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -3 | 0 | -10
08:00 - 08:15 | -1.3 | 0 | -0.4 | -1.5 | 0 | -50 | 0 | -1.8 | 0 | -25 | -2.8 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -3 | 0 | -8
08:15 - 08:30 | -1.3 | 0 | -0.4 | -1.5 | 0 | -50 | 0 | -2 | 0 | -25 | -3.1 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -3 | 0 | -8
08:30 - 08:45 | -1.3 | -14 | -0.4 | -1.4 | 0 | -50 | 0 | -2 | 0 | -25 | -3.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -8
08:45 - 09:00 | -1.3 | 0 | -0.4 | -1.4 | 0 | -62.5 | 0 | -2.1 | 0 | -25 | -3.7 | 0 | 0 | 0 | 0 | 0 | -60 | 0 | -3 | 0 | -8
09:00 - 09:15 | -1.3 | -10 | -0.4 | -1.4 | 0 | 0 | 0 | -2.2 | 0 | -25 | -4 | 0 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | -8
09:15 - 09:30 | -1.3 | -8 | -0.4 | -1.4 | 0 | 0 | 0 | -2.4 | 0 | -25 | -4.4 | 0 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | -8
09:30 - 09:45 | -1.3 | -8 | -0.4 | -1.4 | 0 | -51.13 | 0 | -0.7 | 0 | -25 | -4.8 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | -8
09:45 - 10:00 | -1.3 | -8 | -0.4 | -1.4 | 0 | -46.07 | 1.92 | -0.8 | 0 | -25 | -2.5 | 0 | 0 | 0 | 0 | 0 | -40 | 9.14 | 0 | 0 | -8
10:00 - 10:15 | -1.3 | -15 | -0.4 | -1.3 | 0 | -39.51 | 1.92 | -1.8 | 8.66 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | -60 | 9.14 | 0 | 0 | -8
10:15 - 10:30 | -1.3 | -15 | -0.4 | -1.3 | 0 | 50.46 | 1.92 | -1.9 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 9.14 | 0 | 0 | -8
10:30 - 10:45 | -1.3 | 0 | -0.4 | -1.1 | 0 | 139.63 | 0 | -2.1 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
10:45 - 11:00 | -1.3 | 0 | -0.4 | -1.1 | 0 | 139.4 | 0 | -2.2 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8
11:00 - 11:15 | -1.3 | 0 | -0.4 | -1.2 | 0 | -271.68 | 0 | -2.8 | 0 | -25 | 0 | 1.92 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0
11:15 - 11:30 | -1.3 | 0 | -0.4 | -1.2 | 0 | -271.68 | 0 | -2.8 | 0 | -25 | 0 | 1.92 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0
11:30 - 11:45 | -1.3 | 0 | -0.4 | -1.2 | 0 | -130.12 | 0 | -2.9 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0
11:45 - 12:00 | -1.3 | 0 | -0.4 | -1.2 | 0 | -131.29 | 0 | -2.8 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12:00 - 12:15 | -1.3 | 0 | -0.4 | -1.3 | 0 | -53.16 | 0 | -2.7 | 0 | -25 | 0 | 0 | 0 | 0 | 0 | 0 | -60 | 0 | 0 | 0 | 0
12:15 - 12:30 | -1.3 | -12 | -0.4 | -1.3 | 0 | -49.99 | 0 | -2.5 | 0 | -25 | 0 | 1.92 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | 0
12:30 - 12:45 | -1.3 | 0 | -0.4 | -1.3 | 0 | -246.69 | 0 | -2.5 | 0 | -25 | 0 | 1.92 | 0 | -5 | 0 | 0 | -40 | 0 | 0 | 0 | 0
12:45 - 13:00 | -1.3 | 0 | -0.4 | -1.3 | 0 | -245.43 | 0 | -2.3 | 0 | -25 | 0 | 1.92 | 0 | -5 | 0 | 0 | -60 | 0 | 0 | 0 | 0
13:00 - 13:15 | -1.3 | 0 | -0.9 | -1.3 | 0 | -95.05 | 0 | -2.3 | 0 | -25 | 0 | 1.92 | 0 | -5 | 0 | 0 | -20 | 0 | 0 | 179.13 | 0
13:15 - 13:30 | -1.3 | 0 | -0.9 | -1.3 | 0 | -98.34 | 0 | -2.2 | 0 | -25 | 0 | 1.92 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 178.07 | 0
13:30 - 13:45 | -1.3 | -12 | -0.9 | -1.2 | 0 | -101.59 | 0 | -2 | 0 | -25 | -1.8 | 0 | 0 | -5 | 0 | 0 | -20 | 0 | 0 | 180.18 | 0
13:45 - 14:00 | -1.3 | 0 | -0.9 | -1.2 | 0 | -126.15 | 0 | -2.2 | 0 | -25 | -3.9 | 0 | 0 | -5 | 0 | 0 | -20 | 0 | 0 | 182.2 | 0
14:00 - 14:15 | -1.3 | 0 | -0.9 | -1.3 | 0 | 235.02 | 0 | -2 | 0 | -25 | -3.7 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1.5 | 153.34 | 0
14:15 - 14:30 | -1.3 | 0 | -0.9 | -1.3 | 0 | 232.01 | 0 | -2 | 0 | -25 | -3.4 | 0 | 0 | -5 | 0 | 0 | -40 | 0 | -1.5 | 177.39 | 0
14:30 - 14:45 | -1.3 | 0 | -0.9 | -1.3 | -25.5 | 548.33 | 0 | -1.8 | 0 | -25 | -3.1 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1.5 | 239.92 | 0
14:45 - 15:00 | -1.3 | -6 | -0.9 | -1.3 | -25.5 | 507.42 | 0 | -1.6 | 0 | -25 | -2.9 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1.5 | 264.68 | 0
15:00 - 15:15 | -1.3 | -7 | -0.9 | -1.3 | -25.5 | 337.22 | 0 | -1.2 | 0 | -25 | -2.6 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1.5 | 404.66 | 0
15:15 - 15:30 | -1.3 | 0 | -0.9 | -1.3 | -25.5 | 298.07 | 0 | -1 | 0 | -25 | -2.5 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1.5 | 417.29 | 0
15:30 - 15:45 | -1.3 | 0 | -0.9 | -1.3 | 0 | 180.53 | 0 | -0.7 | 0 | -25 | -2.1 | 0 | 0 | -5 | -2 | 0 | -60 | 0 | -1.5 | 288.85 | 0
15:45 - 16:00 | -1.3 | 0 | -0.9 | -1.3 | 0 | 132.28 | 0 | -0.6 | 0 | -25 | -1.9 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -1.5 | 224.85 | 0
16:00 - 16:15 | -1.3 | 0 | -0.9 | -1.3 | 0 | 76.95 | 0 | -0.5 | 0 | -25 | -1.6 | 0 | 0 | -5 | 0 | 0 | -30 | 0 | -1.5 | 160.32 | 0
16:15 - 16:30 | -1.3 | 0 | -0.9 | -1.3 | 0 | 55.69 | 0 | -0.3 | 0 | -25 | -1.3 | 0 | 0 | -5 | -3 | 0 | -40 | 0 | -1.5 | 119.73 | 0
16:30 - 16:45 | -1.3 | 0 | -0.9 | -1.3 | 0 | 17.1 | 0 | -0.1 | 0 | -25 | -0.9 | 0 | 0 | -5 | -1 | 0 | -30 | 0 | 0 | 85.5 | 0
16:45 - 17:00 | -1.3 | 0 | -0.9 | -1.3 | 0 | 14.06 | 0 | 0 | 0 | -25 | -0.5 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | 73.12 | 0
17:00 - 17:15 | -1.3 | 0 | -0.4 | -1.3 | 0 | 0 | 0 | 0 | 0 | -25 | -0.2 | 0 | 0 | -5 | 0 | 0 | -30 | 0 | 0 | 106.55 | 0
17:15 - 17:30 | -1.3 | 0 | -0.4 | -1.3 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -10 | 0 | 0 | 93.6 | 0
17:30 - 17:45 | -1.3 | 0 | -0.4 | -1.3 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -20 | 0 | 0 | 95.5 | 0
17:45 - 18:00 | -1.3 | 0 | -0.4 | -1.3 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | 0 | -55 | 0 | 0 | 80.96 | 0
18:00 - 18:15 | -1.3 | 0 | -0.4 | -1.3 | 0 | 28.39 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | -5 | -20 | 0 | 0 | 66.63 | 0
18:15 - 18:30 | -1.3 | 0 | -0.4 | -1.3 | 0 | 23.93 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 47.99 | 0
18:30 - 18:45 | -1.3 | 0 | -0.4 | -1.4 | 0 | 35.47 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 24.18 | 0
18:45 - 19:00 | -1.3 | 0 | -0.4 | -1.4 | 0 | 25.51 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 17.38 | 0
19:00 - 19:15 | -1.3 | 0 | -0.4 | -1.4 | 0 | 31.57 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 21.29 | -3
19:15 - 19:30 | -1.3 | 0 | -0.4 | -1.4 | 0 | 26.47 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | -5 | 0 | -5 | -25 | 0 | 0 | 17.85 | -3
19:30 - 19:45 | -1.3 | 0 | -0.4 | -1.4 | 0 | 14.91 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | -45 | 0 | 0 | 9.32 | -3
19:45 - 20:00 | -1.3 | 0 | -0.4 | -1.4 | 0 | 12.44 | 0 | 0 | 0 | -25.99 | 0 | 0 | -2 | -5 | 0 | -5 | -20 | 0 | 0 | 7.77 | -3
20:00 - 20:15 | -1.3 | 0 | -0.4 | -1.3 | 0 | 15.13 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | 0 | 0 | 0 | 9.46 | -3
20:15 - 20:30 | -1.3 | 0 | -0.4 | -1.3 | 0 | 13.89 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | -10 | 0 | 0 | 8.68 | -3
20:30 - 20:45 | -1.3 | 0 | -0.4 | -1.3 | 0 | 13.47 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | 0 | 0 | 0 | 8.42 | -3
20:45 - 21:00 | -1.3 | 0 | -0.4 | -1.3 | 0 | 12.47 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | 0 | 0 | 0 | 7.79 | -3
21:00 - 21:15 | -1.3 | 0 | -0.4 | -1.4 | 0 | 18.61 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | -35 | 0 | 0 | 11.64 | -2
21:15 - 21:30 | -1.3 | 0 | -0.4 | -1.4 | 0 | 17.76 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | 0 | 0 | 0 | 11.1 | -2
21:30 - 21:45 | -1.3 | 0 | -0.7 | -1.4 | 0 | 24.29 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | 0 | 0 | 0 | 1.01 | -2
21:45 - 22:00 | -1.3 | 0 | -0.7 | -1.4 | 0 | 24.73 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | -38 | 0 | 0 | 1.03 | -2
22:00 - 22:15 | -1.3 | 0 | -0.7 | -1.4 | 0 | 24.26 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | 0 | 0 | 0 | 1.01 | -1
22:15 - 22:30 | -1.3 | 0 | -0.7 | -1.4 | 0 | 24.15 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | 0 | 0 | 0 | 1.01 | -1
22:30 - 22:45 | -1.3 | 0 | -0.2 | -1.4 | 0 | 22.06 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | -35 | 0 | 0 | 0.92 | -2
22:45 - 23:00 | -1.3 | 0 | -0.2 | -1.4 | 0 | 23.36 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | -10 | 0 | 0 | 0.97 | -2
23:00 - 23:15 | -1.3 | 0 | -0.2 | -1.3 | 0 | 28.05 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | 0 | 0 | 0 | 17.53 | -2
23:15 - 23:30 | -1.3 | 0 | -0.2 | -1.3 | 0 | 27.96 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | 0 | 0 | 0 | 17.48 | -2
23:30 - 23:45 | -1.3 | 0 | -0.2 | -1.2 | 0 | 31.87 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | -10 | 0 | 0 | 43.96 | -2
23:45 - 24:00 | -1.3 | 0 | -0.2 | -1.2 | 0 | 38.05 | 0 | 0 | 0 | -26 | 0 | 0 | -2 | -5 | 0 | -5 | 0 | 0 | 0 | 47.83 | -2
Average | -1.3 | -1.9792 | -0.51458 | -1.35 | -1.0625 | -4.5291 | 0.06 | -0.73021 | 0.090208 | -25.2291 | -0.73021 | 0.14 | -0.375 | -4.1667 | -0.072917 | -1.25 | -22.3021 | 0.28563 | -1.2812 | 59.6921 | -2.8958