## POWER STATUS
POWER STATUS ON DT 18.09.2026
[9 empty] | 2026-09-18 | 2026-09-17
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 22:00
Demand -> | [8 empty] | 5623.5037 | 6239.9371
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 240.917 | 5.782 | 630/590 ft | 629.25 | 629.73 | 629.95 | 241.7259 | 241.1538
| Chiplima | 72(3x24) | 60.583 | 1.454 | - |  |  |  | 60.8461 | 59.3685
| Balimela | 510(6x60+2x75) | 30 | 0.72 | 1516/1440 ft | 1491 | 1482 | 1482.2 | 0 | 58.1146
| Rengali | 250(5x50) | 241.1916 | 5.7886 | 123.5/109.75 mt | 123.41 | 122.9 | 122.83 | 243.9704 | 245.279
| Upper Kolab | 320(4x80) | 77.75 | 1.866 | 858/844 mt | 856.1 | 852.98 | 852.99 | 76.5588 | 173.9098
| Upper Indravati | 600(4x150) | 600.0833 | 14.402 | 642/625 mt | 638.13 | 640.4 | 640.39 | 604.8818 | 608.649
| Machkund | 60(50% of(3x17+3x23)) | 12.37 | 0.29688 | 2750/2685 ft | 2748.3 | 2734.7 | 2734.9 | 11.1199 | 12.1529
| Total Hydro | 2099.5 | 1262.8949 | 30.3095 |  |  |  |  | 1239.1029 | 1398.6277
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1038.18 | 24.9163 | RENEWABLE ENERGY (RE) |  |  |  | 1021.8068 | 1042.3472
[5 empty] | M.Hydl | 125.92
| Total Thermal | 2200 | 1038.18 | 24.9163 | Solar | 123.87 |  |  | 1021.8068 | 1042.3472
IPP | VEDANTA #2 | 600 (1x600) | 433.5 | 10.404 | Total IPPs | Yesterday's Demand Profile |  |  | 385.332 | 542.6373
| GMR #3 | 350 (1x350) | 124.61 | 2.9906 | 614.01 |  | MW | HRS | -5.7953 | -7.9095
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 55.9 | 1.3416 |  |  |  |  | 56.2497 | 56.0545
| CGPs |  | 792.93 | 19.0303 | IPPs, CGPs & RE | Maximum | 6240 | 22:35 | 1596.4851 | 1750.4302
| Central Sector(Drawl) |  | 1765.39 | 42.3694 | 1656.73 | Minimum | 4993 | 08:00 | 1766.1089 | 2048.532
| Central Sector(Sch) |  | 1891.32 | 45.3917 |  | Average | 5723.1949 |  | 1763.1576 | 2068.8618
| Grand Total |  | 5723.1949 | 137.3567 | Instantaneous Peak demand |  | 6544 | 22:35 | 5623.5037 | 6239.9371
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1699.9558 | 40.7989 | 1736.9416 | 41.6866 | 1756.5799 | 42.1579
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1648.1865 | 39.5565 | 1645.5524 | 39.4933 | 1814.7611 | 43.5543
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1556.571 | 37.3577 | 1549.6328 | 37.1912 | 1525.6567 | 36.6158
U.Kolab | 2 | KAHALGAON | NIL | TPSODL | 611.9917 | 14.6878 | 620.4536 | 14.8909 | 611.1091 | 14.6666
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5516.7049 | 132.4009 | 5552.5804 | 133.2619 | 5708.1069 | 136.9946
Machhkund | 3,4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 397 | GMR |  |  |  | -6
| NBVL #3 | 0 | MDTPC |  |  |  | 55
Mini Hydel: | MEENAKSHI | 72 | OPCL |  |  |  | 0
| BTPL | 28 | SAPTADHARA |  |  |  | 20
Solar: |  | 240 | KAKATIYA |  |  |  | 7
CGPs : | JSPL (Angul) | 217.7141 | JSL(Duburi) |  |  |  | -157.0595
| ICCL | 44.5201 | visa |  |  |  | 18.7768
| NALCO | -120.7977 | VAL (CGP) |  |  |  | 24.107
| RSP | -16.3588 | BSL(MMDL) |  |  |  | 152.2361
| INDAL | -0.075443 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -21.4955 | VAL CPP 400 kV |  |  |  | -575.6684
| NBVL | 52.2983 | Arati |  |  |  | -4.1633e-17
| BPSL(JSG) | -76.9762 | BPPL |  |  |  | 120.9212
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-10 | 2026-09-11 | 2026-09-12 | 2026-09-13 | 2026-09-14 | 2026-09-15 | 2026-09-16 | 2026-09-17
1175.6473 | 1121.1428 | 1177.51 | 1180.924 | 1178.4595 | 1201.805 | 1263.2 | 1262.8949
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.17.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | 0 | AARTISTEEL | UPPCL | 0 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.11
AARTISTEEL | KPTCL | 0 | BPPL | BRPL | -10 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0
AMNSIL_Pdeep | AMNSIL | -10.12 | DCBL_Rajgangpur | DALCEMAP | -2.5 | AGE26AL_PSS6_KPS1_S | ODISHA | 63.59
ARYAN_ISPAT | BALCO_LOAD | -5 | DCBL_Rajgangpur | DALCEMAP | -1.25 | AP41PL_BHDL | ODISHA | 50.34
ENVIROCARE_INFRA | APCPDCL | -13 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AP43PL_BKN | ODISHA | 76.22
FACORPOWER | RUVITSL | -3.33 | ENVIROCARE_INFRA | TPL_DIS_AHM | -12.75 | AWEK1L | ODISHA | 1.4
GMRKEL_STU | GEB_Beneficiary | -25.79 | FACORPOWER | PSPCL | -21.25 | AWEK1L | ODISHA | 2.1
GMRKEL_STU | TNEB | -7.5 | FACORPOWER | PSPCL | -8.75 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 1.97
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | FACORPOWER | RUVITSL | -3.38 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 9.44
JPIPL | NPCL_UP | -13.5 | JSPLANGUL | RUVITSL | -70.83 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 12.23
JSPLANGUL | GEB_Beneficiary | -73.33 | JSPLANGUL | RUVITSL | -47.22 | DADRI_SOLAR | ODISHA | 0.68
JSPLANGUL | RUVITSL | -18.06 | JSPLANGUL | RUVITSL | -2.08 | ENERSON_SOLAR_10MW | ODISHA | 0.53
JSPLANGUL | RUVITSL | -27.08 | JSPLANGUL | RUVITSL | -1.39 | GADAG_GreenInfra_W | ODISHA | 0.34
MAADURGA_THERMAL | NPCL_UP | -23.3 | NBVLIPP | BSPHCL | -12.54 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -1.92 | NBVLIPP | RUVITSL | -5.38 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -5.75 | OCL_IRON_STEEL | TPDDL | -24.79 | GADAG_Serentica3_S | VLSEZ | 34.38
NBVLIPP | KPTCL | -3.83 | OCL_IRON_STEEL | TPDDL | -10.21 | GADAG_Serentica3_W | VLSEZ | 22.22
NBVLIPP | TANGEDCO | 0 | ODISHA | TANGEDCO | -12.5 | GIWEL_SECI_II_RE | ODISHA | 12.03
ODISHA | APCPDCL | -25 | ODISHA | TANGEDCO | -6.25 | GPCL_SOLAR_10 | ODISHA | 0.8
ODISHA | PCKL | -127.6 | ODISHA | TANGEDCO | -18.75 | GSECL_SOLAR | ODISHA | 1.28
ORSISL | BALCO_LOAD | -1.25 | ODISHA | TANGEDCO | -12.5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.25
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | ORSISL | TPLD | -1.25 | KARUR_TPVARDHAMAN_W | TSKPO | 41.32
VSL | APCPDCL | -5 | SMEL | PSPCL | -17.71 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
FARIDABAD_SOLAR | ODISHA | 0.86 | SMEL | PSPCL | -7.29 | Kurnool_Greenko_H_Inj | ADITYAAL | 3.19
JSWEL_UTKAL | ODISHA | 75.43 | Shri_JSPL | KSEB | -2 | Kurnool_Greenko_H_Inj | ADITYAAL | 1.67
RAJ_SOLAR | ODISHA | 2.17 | TIMES_STEEL | GPEPL | -1.98 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.59
RAJ_SOLAR | ODISHA | 2.01 | VIRAJ_SEPL | PSPCL | -7.08 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | VIRAJ_SEPL | PSPCL | -2.92 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.13
|  |  | VSL | DNHDDPDCL | -5 | OKWPL_RE | ODISHA | 8.33
|  |  | VSL | TANGEDCO | -10 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 13.1
|  |  | Darlipali_NTPC | ODISHA | 114.21 | RWE_AP2_SECI_III | ODISHA | 5.25
|  |  | JIPL | ODISHA | 57.72 | RenewGreen_SLPR_HS | JSL_DUBURI | 12.74
|  |  | JIPL | ODISHA | 3.61 | SRI9PL_FTG3 | VLSEZ | 73.39
|  |  | NALCOAP | NACL_Odisha | 3.76 | TPVSL_BKN3 | TSKPO | 12.3
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 14.42
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 7.26
[6 empty] | XXPPL_FTG3 | ODISHA | 52.85

## DAM
DAM TRADING DETAILS FOR DT : 17.09.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | GRIDCO | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda
00:00 - 00:15 | -2.8 | 0 | -2 | -3 | 1.47
00:15 - 00:30 | -2.8 | 0 | -2 | -3 | 0.98
00:30 - 00:45 | -2.8 | 0 | -2 | -3 | 1.67
00:45 - 01:00 | -2.8 | 0 | -2 | -3 | 1.67
01:00 - 01:15 | -2.8 | 0 | -2 | -3 | 1.7
01:15 - 01:30 | -2.8 | 0 | -2 | -3 | 0.94
01:30 - 01:45 | -2.8 | 0 | -2 | -3 | 1.09
01:45 - 02:00 | -2.8 | 0 | -2 | -3 | 1.08
02:00 - 02:15 | -2.8 | 0 | -2 | 0 | 8.47
02:15 - 02:30 | -2.8 | 0 | -2 | 0 | 8.62
02:30 - 02:45 | -2.8 | 0 | -2 | 0 | 9.65
02:45 - 03:00 | -2.8 | 0 | -2 | 0 | 10.18
03:00 - 03:15 | -2.8 | 0 | -2 | 0 | 10.87
03:15 - 03:30 | -2.8 | 0 | -2 | 0 | 11.48
03:30 - 03:45 | -2.8 | 0 | -2 | 0 | 12.88
03:45 - 04:00 | -2.8 | 0 | -2 | 0 | 14.29
04:00 - 04:15 | -2.8 | 0 | -2 | 0 | 26.59
04:15 - 04:30 | -2.8 | 0 | -2 | 0 | 28.96
04:30 - 04:45 | -2.8 | 0 | -2 | 0 | 30.42
04:45 - 05:00 | -2.8 | 0 | -2 | 0 | 32.5
05:00 - 05:15 | -2.8 | 0 | -2 | -3 | 0
05:15 - 05:30 | -2.8 | 0 | -2 | -3 | 4.42
05:30 - 05:45 | -2.8 | 0 | -2 | -3 | 5.02
05:45 - 06:00 | -2.8 | 0 | -2 | -3 | 7.95
06:00 - 06:15 | -2.8 | 0 | -2 | -3 | 2.04
06:15 - 06:30 | -2.8 | 0 | -2 | -3 | 0.27
06:30 - 06:45 | -2.8 | 0 | -2 | -3 | 0.21
06:45 - 07:00 | -2.8 | 0 | -2 | -3 | 0.82
07:00 - 07:15 | -2.8 | 0 | -2 | -3 | 2.77
07:15 - 07:30 | -2.8 | 0 | -2 | -3 | 3.12
07:30 - 07:45 | -2.8 | 0 | -2 | -3 | 0
07:45 - 08:00 | -2.8 | 0 | -2 | -3 | 0
08:00 - 08:15 | -2.8 | -350 | -2 | -45.5 | 0
08:15 - 08:30 | -2.8 | -350 | -2 | -45.5 | 0
08:30 - 08:45 | -2.8 | -350 | -2 | -45.5 | 0
08:45 - 09:00 | -2.8 | -350 | -2 | -45.5 | 0
09:00 - 09:15 | -2.8 | -425 | -2 | -45.5 | 0
09:15 - 09:30 | -2.8 | -425 | -2 | -45.5 | 0
09:30 - 09:45 | -2.8 | -425 | -2 | -45.5 | 0
09:45 - 10:00 | -2.8 | -425 | -2 | -45.5 | 0
10:00 - 10:15 | -2.8 | -400 | -2 | -45.5 | 0
10:15 - 10:30 | -2.8 | -400 | -2 | -45.5 | 0
10:30 - 10:45 | -2.8 | -1000 | -2 | -45.5 | 0
10:45 - 11:00 | -2.8 | -1000 | -2 | -45.5 | 0
11:00 - 11:15 | -2.8 | -550 | -2 | -45.5 | 0
11:15 - 11:30 | -2.8 | -550 | -2 | -45.5 | 0
11:30 - 11:45 | -2.8 | -550 | -2 | -45.5 | 0
11:45 - 12:00 | -2.8 | -550 | -2 | -45.5 | 0
12:00 - 12:15 | -2.8 | -400 | -2 | -45.5 | 0
12:15 - 12:30 | -2.8 | -400 | -2 | -45.5 | 0
12:30 - 12:45 | -2.8 | -400 | -2 | -45.5 | 0
12:45 - 13:00 | -2.8 | -400 | -2 | -45.5 | 0
13:00 - 13:15 | -2.8 | -400 | -2 | -45.5 | 0
13:15 - 13:30 | -2.8 | -400 | -2 | -45.5 | 0
13:30 - 13:45 | -2.8 | -400 | -2 | -45.5 | 0
13:45 - 14:00 | -2.8 | -400 | -2 | -45.5 | 0
14:00 - 14:15 | -2.8 | -775 | -2 | -45.5 | 0
14:15 - 14:30 | -2.8 | -775 | -2 | -45.5 | 0
14:30 - 14:45 | -2.8 | -475 | -2 | -45.5 | 0
14:45 - 15:00 | -2.8 | -475 | -2 | -45.5 | 0
15:00 - 15:15 | -2.8 | -575 | -2 | -45.5 | 0
15:15 - 15:30 | -2.8 | -575 | -2 | -45.5 | 0
15:30 - 15:45 | -2.8 | -575 | -2 | -45.5 | 0
15:45 - 16:00 | -2.8 | -575 | -2 | -45.5 | 0
16:00 - 16:15 | -2.8 | -600 | -2 | 0 | 0
16:15 - 16:30 | -2.8 | -600 | -2 | 0 | 0
16:30 - 16:45 | -2.8 | -600 | -2 | 0 | 0
16:45 - 17:00 | -2.8 | -600 | -2 | 0 | 0
17:00 - 17:15 | -2.8 | -375 | -2 | 0 | 0
17:15 - 17:30 | -2.8 | -375 | -2 | 0 | 0
17:30 - 17:45 | -2.8 | 0 | -2 | 0 | 0
17:45 - 18:00 | -2.8 | 0 | -2 | 0 | 0
18:00 - 18:15 | -2.8 | 0 | -2 | 0 | 0
18:15 - 18:30 | -2.8 | 0 | -2 | 0 | 0
18:30 - 18:45 | -2.8 | 0 | -2 | 0 | 0.08
18:45 - 19:00 | -2.8 | 0 | -2 | 0 | 0.28
19:00 - 19:15 | -2.8 | 0 | -2 | -3 | 0.09
19:15 - 19:30 | -2.8 | 0 | -2 | -3 | 0.22
19:30 - 19:45 | -2.8 | 0 | -2 | -3 | 0.32
19:45 - 20:00 | -2.8 | 0 | -2 | -3 | 0.63
20:00 - 20:15 | -2.8 | 0 | -2 | -3 | 0.92
20:15 - 20:30 | -2.8 | 0 | -2 | -3 | 1.02
20:30 - 20:45 | -2.8 | 0 | -2 | -3 | 1.09
20:45 - 21:00 | -2.8 | 0 | -2 | -3 | 1.54
21:00 - 21:15 | -2.8 | 0 | -2 | -3 | 1.59
21:15 - 21:30 | -2.8 | 0 | -2 | -3 | 1.9
21:30 - 21:45 | -2.8 | 0 | -2 | -3 | 2.85
21:45 - 22:00 | -2.8 | 0 | -2 | -3 | 3.55
22:00 - 22:15 | -2.8 | 0 | -2 | -3 | 3.92
22:15 - 22:30 | -2.8 | 0 | -2 | -3 | 3.04
22:30 - 22:45 | -2.8 | 0 | -2 | -3 | 2.33
22:45 - 23:00 | -2.8 | 0 | -2 | -3 | 2.85
23:00 - 23:15 | -2.8 | 0 | -2 | -3 | 6.27
23:15 - 23:30 | -2.8 | 0 | -2 | -3 | 6.71
23:30 - 23:45 | -2.8 | 0 | -2 | -3 | 10.31
23:45 - 24:00 | -2.8 | 0 | -2 | -3 | 9.89
Average | -2.8 | -200.5208 | -2 | -16.4167 | 3.1618

## GDAM
GDAM TRADING DETAILS FOR DT:17.09.2026
Time Period | GRIDCO | JSW_Sambalpur_Steel_Limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda
00:00 - 00:15 | 0.99 | 0 | 7.89 | 0
00:15 - 00:30 | 0.98 | 0 | 7.82 | 0
00:30 - 00:45 | 0.97 | 0 | 7.75 | 0
00:45 - 01:00 | 0.96 | 0 | 7.71 | 0
01:00 - 01:15 | 0.96 | 0 | 7.68 | 0
01:15 - 01:30 | 0.91 | 0 | 7.3 | 0
01:30 - 01:45 | 0 | 0 | 7.31 | 0
01:45 - 02:00 | 0 | 0 | 7.46 | 0
02:00 - 02:15 | 0 | 0 | 5.54 | 0
02:15 - 02:30 | 0 | 0 | 5.52 | 0
02:30 - 02:45 | 0 | 0 | 5.4 | 0
02:45 - 03:00 | 0 | 0 | 5.27 | 0
03:00 - 03:15 | 0 | 0 | 7.98 | 0
03:15 - 03:30 | 0 | 0 | 8.28 | 0
03:30 - 03:45 | 0 | 0 | 8.69 | 0
03:45 - 04:00 | 0 | 0 | 8.43 | 0
04:00 - 04:15 | 0 | 0 | 8.55 | 0
04:15 - 04:30 | 0 | 0 | 8.54 | 0
04:30 - 04:45 | 0 | 0 | 8.4 | 0
04:45 - 05:00 | 0 | 0 | 8.1 | 0
05:00 - 05:15 | 0 | 0 | 0.05 | 0
05:15 - 05:30 | 0 | 0 | 0.02 | 0
05:30 - 05:45 | 0 | 0 | 0.03 | 0
05:45 - 06:00 | 0 | 0 | 0.07 | 0
06:00 - 06:15 | 0 | 0 | 0.05 | 0
06:15 - 06:30 | 0 | 0 | 0.34 | 0
06:30 - 06:45 | 0 | 0 | 1.01 | 0
06:45 - 07:00 | 0 | 0 | 0.18 | 0
07:00 - 07:15 | 0 | 0 | 0.91 | 0
07:15 - 07:30 | 0 | 0 | 1.16 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 0 | 0
09:00 - 09:15 | 0 | 0 | 0 | 0
09:15 - 09:30 | 0 | 0 | 0 | 48.1
09:30 - 09:45 | 0 | 0 | 0 | 96.2
09:45 - 10:00 | 0 | 0 | 0 | 137.57
10:00 - 10:15 | 0 | 7.7 | 0 | 137.56
10:15 - 10:30 | 0 | 7.7 | 0 | 137.56
10:30 - 10:45 | 0 | 7.7 | 0 | 137.56
10:45 - 11:00 | 0 | 7.7 | 0 | 137.56
11:00 - 11:15 | 0 | 7.7 | 0 | 137.56
11:15 - 11:30 | 0 | 7.7 | 0 | 137.56
11:30 - 11:45 | 0 | 7.7 | 0 | 137.56
11:45 - 12:00 | 0 | 7.7 | 0 | 137.56
12:00 - 12:15 | 0 | 7.7 | 0 | 137.56
12:15 - 12:30 | 0 | 7.7 | 0 | 137.56
12:30 - 12:45 | 0 | 7.7 | 0 | 137.56
12:45 - 13:00 | 0 | 7.7 | 0 | 137.56
13:00 - 13:15 | 0 | 7.7 | 0 | 137.56
13:15 - 13:30 | 0 | 7.7 | 0 | 137.56
13:30 - 13:45 | 0 | 7.7 | 0 | 137.56
13:45 - 14:00 | 0 | 7.7 | 0 | 137.56
14:00 - 14:15 | 0 | 7.7 | 0 | 137.56
14:15 - 14:30 | 0 | 7.7 | 0 | 137.56
14:30 - 14:45 | 0 | 7.7 | 0 | 137.56
14:45 - 15:00 | 0 | 7.7 | 0 | 137.56
15:00 - 15:15 | 0 | 0 | 0 | 137.57
15:15 - 15:30 | 0 | 0 | 0 | 96.2
15:30 - 15:45 | 0 | 0 | 0 | 48.1
15:45 - 16:00 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0
18:00 - 18:15 | 3.19 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0.01 | 0
18:30 - 18:45 | 0.13 | 0 | 0.31 | 0
18:45 - 19:00 | 0.12 | 0 | 0.28 | 0
19:00 - 19:15 | 0.89 | 0 | 2.21 | 0
19:15 - 19:30 | 0.89 | 0 | 2.22 | 0
19:30 - 19:45 | 0.85 | 0 | 2.1 | 0
19:45 - 20:00 | 0.84 | 0 | 2.09 | 0
20:00 - 20:15 | 1 | 0 | 2.5 | 0
20:15 - 20:30 | 0.99 | 0 | 2.48 | 0
20:30 - 20:45 | 0.98 | 0 | 3.45 | 0
20:45 - 21:00 | 0.98 | 0 | 4.92 | 0
21:00 - 21:15 | 0.91 | 0 | 5.51 | 0
21:15 - 21:30 | 0.93 | 0 | 7.47 | 0
21:30 - 21:45 | 0.94 | 0 | 7.52 | 0
21:45 - 22:00 | 0.96 | 0 | 7.73 | 0
22:00 - 22:15 | 0.99 | 0 | 7.93 | 0
22:15 - 22:30 | 0.96 | 0 | 7.71 | 0
22:30 - 22:45 | 0.92 | 0 | 7.4 | 0
22:45 - 23:00 | 0.92 | 0 | 7.39 | 0
23:00 - 23:15 | 0.95 | 0 | 7.58 | 0
23:15 - 23:30 | 0.95 | 0 | 7.58 | 0
23:30 - 23:45 | 1 | 0 | 8.02 | 0
23:45 - 24:00 | 1 | 0 | 8.04 | 0
Average | 0.29229 | 1.6042 | 2.7697 | 34.5306

## RTM
RTM TRADING DETAILS FOR DT: 17.09.2026
Time Period | Adhunik_Metaliks_Limited | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Ferro_Alloys_Corporation_Ltd_(Power_Plant) | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -1.3 | 0 | -1.2 | 0 | 33.68 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -5 | 0 | 0 | 0 | -2
00:15 - 00:30 | -1.3 | 0 | -1.2 | 0 | 41.39 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -15 | 0 | 0 | 0 | -2
00:30 - 00:45 | -1.3 | 0 | -1.3 | 0 | 38.26 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | -2
00:45 - 01:00 | -1.3 | 0 | -1.3 | 0 | 41.62 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -15 | 0 | 26.01 | 0 | -2
01:00 - 01:15 | -1.3 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -10 | 0 | 24.31 | 0 | -2
01:15 - 01:30 | -1.3 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 27.68 | 0 | -2
01:30 - 01:45 | -1.3 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | -5 | 0 | 0 | 30.8 | 0 | -2
01:45 - 02:00 | -1.3 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | -5 | 0 | 0 | 32.53 | 0 | -2
02:00 - 02:15 | -1.3 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | -5 | 0 | 0 | 16.95 | 0 | -2
02:15 - 02:30 | -1.3 | 0 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | -5 | -10 | 0 | 18.86 | 0 | -2
02:30 - 02:45 | -1.3 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | -5 | 0 | 0 | 21.14 | 0 | -2
02:45 - 03:00 | -1.3 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | -5 | 0 | 0 | 25.92 | 0 | -2
03:00 - 03:15 | -1.3 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 28.51 | 0 | -2
03:15 - 03:30 | -1.3 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 28.43 | 0 | -2
03:30 - 03:45 | -1.3 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 21.05 | 0 | -2
03:45 - 04:00 | -1.3 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -10 | 0 | 24.09 | 0 | -2
04:00 - 04:15 | -1.3 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -20 | 0 | 0.5 | 0 | -2
04:15 - 04:30 | -1.3 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0.48 | 0 | -2
04:30 - 04:45 | -1.3 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0.73 | 0 | -2
04:45 - 05:00 | -1.3 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0.7 | 0 | -2
05:00 - 05:15 | -1.3 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 69.99 | 0 | -2
05:15 - 05:30 | -1.3 | 0 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 63.39 | 0 | -2
05:30 - 05:45 | -1.3 | -0.5 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -10 | 0 | 63.55 | 0 | -2
05:45 - 06:00 | -1.3 | -0.5 | -1.3 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -20 | 0 | 58.05 | 0 | -2
06:00 - 06:15 | -1.3 | -0.5 | -1.3 | 0 | 0 | 0 | -0.2 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -5 | 0 | 44.86 | 0 | -12
06:15 - 06:30 | -1.3 | -0.5 | -1.3 | 0 | 0 | 0 | -0.3 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 45.16 | 0 | -12
06:30 - 06:45 | -1.3 | -0.5 | -1.3 | 0 | 0 | 0 | -0.5 | 0 | 0 | -26 | -0.4 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -10 | 0 | 44.65 | 0 | -12
06:45 - 07:00 | -1.3 | -0.5 | -1.3 | 0 | 0 | 0 | -0.7 | 0 | 0 | -26 | -0.8 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 41.11 | 0 | -12
07:00 - 07:15 | -1.3 | 0 | -1.2 | 0 | -550 | 0 | -0.9 | 0 | 0 | -26 | -1.1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | -12
07:15 - 07:30 | -1.3 | 0 | -1.2 | 0 | -500 | 0 | -1.1 | 0 | 0 | -26 | -1.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -20 | 0 | 0 | 0 | -12
07:30 - 07:45 | -1.3 | -0.8 | -1.2 | 0 | -299.99 | 0 | -1.2 | 0 | 0 | -26 | -1.8 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -40 | 0 | 0 | 0 | -12
07:45 - 08:00 | -1.3 | -0.8 | -1.2 | 0 | -361.54 | 0 | -1.4 | 0 | 0 | -26 | -2.3 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | -12
08:00 - 08:15 | -1.3 | -0.8 | -1.4 | 0 | 188.59 | 0 | -1.5 | 0 | 0 | -26 | -2.6 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | -5
08:15 - 08:30 | -1.3 | -0.8 | -1.4 | 0 | 303.01 | 1.92 | -1.7 | 0 | 0 | -26 | -2.9 | 0 | 0 | 0 | 0 | 0 | -5 | -1.5 | -5 | 0 | 0 | 0 | 0 | -5
08:30 - 08:45 | -1.3 | -0.8 | 0 | 0 | 96.21 | 1.92 | 0 | 9.62 | 0 | -26 | -3.3 | 11.54 | 0 | 7.7 | 0 | 0 | 0 | -1.5 | -5 | 0 | 57.72 | 0 | 0 | -5
08:45 - 09:00 | -1.3 | -0.8 | 0 | 0 | 221.29 | 1.92 | 0 | 9.62 | 0 | -26 | -3.5 | 11.54 | 0 | 7.7 | 0 | 0 | 0 | -1 | -5 | -20 | 57.72 | 0 | 0 | -5
09:00 - 09:15 | -1.3 | -1.2 | 0 | 0 | 144.3 | 1.92 | 0 | 0 | 0 | -26 | -3.8 | 9.62 | 1.92 | 7.7 | 0 | 4.81 | 0 | 0 | -5 | -20 | 0 | 0 | 0 | -5
09:15 - 09:30 | -1.3 | -1.2 | 0 | 0 | 96.2 | 1.92 | 0 | 0 | 0 | -26 | -4.1 | 9.62 | 1.92 | 7.7 | 0 | 4.81 | 0 | 0 | -5 | 0 | 48.1 | 0 | 0 | -5
09:30 - 09:45 | -1.3 | -1.2 | 0 | 0 | 153.91 | 1.92 | -2.3 | 0 | 0 | -26 | -4.4 | 0 | 1.92 | 0 | 0 | 4.81 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -5
09:45 - 10:00 | -1.3 | -1.2 | 0 | 0 | 18.26 | 1.92 | -2.4 | 0 | 0 | -26 | -4.7 | 0 | 1.92 | 0 | 0 | 4.81 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -5
10:00 - 10:15 | -1.3 | -1.2 | 0 | 0 | -117 | 1.92 | -2.5 | 0 | 0 | -26 | -4.9 | 14.43 | 1.92 | 7.7 | 0 | 4.81 | 0 | 0 | -5 | 0 | 48.1 | 0 | 0 | -5
10:15 - 10:30 | -1.3 | -1.2 | 0 | 0 | -59.12 | 1.92 | -2.6 | 0 | 0 | -26 | -5.3 | 14.43 | 1.92 | 7.7 | 0 | 4.81 | 0 | 0 | -5 | -20 | 57.72 | 0 | 0 | -5
10:30 - 10:45 | -1.3 | -1.2 | 0 | 0 | -284.99 | 1.92 | -2.5 | 0 | 0 | -26 | -5.4 | 0 | 1.92 | 0 | 0 | 4.81 | 0 | 0 | -5 | -20 | 0 | 0 | 50.03 | -3
10:45 - 11:00 | -1.3 | -1.2 | 0 | 0 | -285.05 | 1.92 | -2.6 | 0 | 0 | -26 | -5.2 | 0 | 1.92 | 0 | 0 | 0.29 | 0 | 0 | -5 | 0 | 0 | 0 | 50.03 | -3
11:00 - 11:15 | -1.3 | -1.2 | 0 | 0 | -760.01 | 1.92 | -2.7 | 0 | -0.8 | -26 | -5.1 | 14.43 | 1.92 | 13.47 | 0 | 4.81 | 0 | 0 | -5 | 0 | 57.73 | 0 | 50.02 | -3
11:15 - 11:30 | -1.3 | -1.2 | 0 | 0 | -864.47 | 1.92 | -2.8 | 0 | -0.8 | -26 | -5.3 | 14.43 | 1.92 | 13.47 | 0 | 4.81 | 0 | 0 | -5 | 0 | 0 | 0 | 50.03 | -3
11:30 - 11:45 | -1.3 | -1.2 | 0 | 0 | -687.96 | 1.92 | -2.9 | 0 | -0.8 | -26 | -5.5 | 0 | 1.92 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 50.03 | -3
11:45 - 12:00 | -1.3 | -1.2 | 0 | 0 | -595.01 | 1.92 | -2.9 | 0 | -0.8 | -26 | -5.5 | 0 | 1.92 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 50.03 | -3
12:00 - 12:15 | -1.3 | -1.2 | 0 | 0 | -468.01 | 1.92 | -2.9 | 0 | -0.8 | -26 | -5.5 | 0 | 1.92 | 13.47 | 0 | 4.81 | -5 | 0 | -5 | 0 | 0 | 0 | 50.03 | -3
12:15 - 12:30 | -1.3 | -1.2 | 0 | 0 | -360.01 | 1.92 | -3 | 0 | -0.8 | -26 | -5.2 | 14.43 | 1.92 | 13.47 | 0 | 4.81 | -5 | 0 | -5 | -10 | 57.73 | 0 | 50.02 | -3
12:30 - 12:45 | -1.3 | -1.2 | 0 | 0 | -239.68 | 1.92 | -2.8 | 9.62 | -0.8 | -26 | -4.8 | 17.32 | 0 | 13.47 | 0 | 4.81 | -5 | 0 | -5 | -10 | 57.72 | 0 | 50.02 | -3
12:45 - 13:00 | -1.3 | -1.2 | 0 | 0 | -349.93 | 1.92 | -2.6 | 9.62 | -0.8 | -26 | -4.5 | 17.32 | 0 | 13.47 | 0 | 4.81 | -5 | 0 | -5 | -10 | 57.72 | 0 | 50.02 | -3
13:00 - 13:15 | -1.3 | -1 | 0 | 0 | -839.96 | 1.92 | -2.4 | 9.62 | -0.8 | -26 | -4.1 | 15.39 | 0 | 13.47 | 0 | 4.81 | -5 | 0 | -5 | 0 | 57.73 | 0 | 50.02 | -3
13:15 - 13:30 | -1.3 | -1 | 0 | 0 | -853.26 | 1.92 | -2.3 | 9.62 | -0.8 | -26 | -3.9 | 11.54 | 0 | 13.47 | 0 | 4.81 | -5 | 0 | -5 | 0 | 57.73 | 0 | 50.02 | -3
13:30 - 13:45 | -1.3 | -1 | 0 | 0 | -787.28 | 1.92 | -2.2 | 0 | -0.8 | -26 | -3.9 | 11.54 | 0 | 13.47 | 0 | 4.81 | -5 | 0 | -5 | 0 | 57.73 | 0 | 50.02 | -1
13:45 - 14:00 | -1.3 | -1 | 0 | 0 | -789.2 | 1.92 | -1.8 | 0 | -0.8 | -26 | -3.9 | 11.54 | 0 | 13.47 | 0 | 4.81 | -5 | 0 | -5 | 0 | 0 | 0 | 50.03 | -1
14:00 - 14:15 | -1.3 | -1 | 0 | 0 | -125.52 | 0 | -1.7 | 0 | -0.8 | -26 | -4.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -20 | 0 | 0 | 50.02 | -1
14:15 - 14:30 | -1.3 | -1 | 0 | 0 | -128.45 | 0 | -1.6 | 0 | -0.8 | -26 | -3.9 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -20 | 0 | 0 | 50.02 | -1
14:30 - 14:45 | -1.3 | -1 | 0 | 0 | -57.04 | 0 | -1.4 | 0 | -0.8 | -26 | -3.4 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 50.02 | -1
14:45 - 15:00 | -1.3 | -1 | 0 | 0 | -66.67 | 0 | -1.2 | 0 | -0.8 | -26 | -3 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 50.02 | -1
15:00 - 15:15 | -1.3 | -1 | 0 | 0 | -49.96 | 0 | -0.9 | 0 | -0.8 | -26 | -2.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | -5
15:15 - 15:30 | -1.3 | -1 | 0 | 0 | -58.33 | 0 | -0.7 | 0 | -0.8 | -26 | -2.1 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | -5
15:30 - 15:45 | -2.2 | -1 | 0 | 0 | 0 | 0 | -0.5 | 0 | -0.8 | -26 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -20 | 0 | 0 | 0 | -5
15:45 - 16:00 | -2.2 | -1 | 0 | 0 | -106.06 | 0 | -0.3 | 0 | -0.8 | -26 | -1.8 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -15 | 0 | 0 | 0 | -5
16:00 - 16:15 | -2.2 | -1 | -1.2 | 0 | -410.02 | 0 | -0.2 | 0 | -0.8 | -26 | -1.7 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | -12
16:15 - 16:30 | -2.2 | -1 | -1.2 | 0 | -450 | 0 | -0.1 | 0 | -0.8 | -26 | -1.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | -12
16:30 - 16:45 | -2.2 | -1 | -1.2 | 0 | -50 | 0 | 0 | 0 | -0.8 | -26 | -1.2 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | -12
16:45 - 17:00 | -2.2 | -1 | -1.2 | 0 | -50 | 0 | 0 | 0 | -0.8 | -26 | -0.8 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | -12
17:00 - 17:15 | -2.2 | -1 | -1.3 | 0 | 0 | 0 | 0 | 0 | -0.8 | -26 | -0.4 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | -5 | 0 | 0 | 12.1 | 0 | -10
17:15 - 17:30 | -2.2 | -1 | -1.3 | 0 | 35.75 | 0 | 0 | 0 | -0.8 | -26 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | -5 | -20 | 0 | 8.94 | 0 | -10
17:30 - 17:45 | -2.5 | -1 | -1.1 | 0 | 0 | 0 | 0 | 0 | -0.8 | -26 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | -5 | -10 | 0 | 5.52 | 0 | -10
17:45 - 18:00 | -2.5 | -1 | -1.1 | 0 | 0 | 0 | 0 | 0 | -0.8 | -26 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | -5 | 0 | 0 | 19.25 | 0 | -10
18:00 - 18:15 | -2.5 | -1 | -1.1 | 0 | 0 | 0 | 0 | 0 | -0.8 | -26 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | -5 | -10 | 0 | 32.2 | 0 | 0
18:15 - 18:30 | -2.5 | -1 | -1.1 | 0 | 0 | 0 | 0 | 0 | -0.8 | -26 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | -5 | -20 | 0 | 42.53 | 0 | 0
18:30 - 18:45 | -2.5 | -1 | -1.3 | 0 | 15.15 | 0 | 0 | 0 | -0.8 | -26 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | -5 | 0 | 0 | 32.73 | 0 | 0
18:45 - 19:00 | -2.5 | -1 | -1.3 | 0 | 13.84 | 0 | 0 | 0 | -0.8 | -26 | 0 | 0 | 0 | 0 | -2 | 0 | -5 | 0 | -5 | 0 | 0 | 34.34 | 0 | 0
19:00 - 19:15 | -2.5 | -1 | -1.3 | 0 | 11.67 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -20 | 0 | 0 | 0 | 0
19:15 - 19:30 | -2.5 | -1 | -1.3 | 0 | 10.62 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -2.5 | -0.7 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -30 | 0 | 0 | 0 | 0
19:45 - 20:00 | -2.5 | -0.7 | -1.3 | 0 | 0 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -35 | 0 | 0 | 0 | 0
20:00 - 20:15 | -2.5 | -0.3 | -1.3 | 0 | 3.52 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | -2.5 | -0.3 | -1.3 | 0 | 3.24 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | -2.5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -10 | 0 | 0 | 0 | 0
20:45 - 21:00 | -2.5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | -2.5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -15 | 0 | 0 | 0 | 0
21:15 - 21:30 | -2.5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -10 | 0 | 0 | 0 | 0
21:30 - 21:45 | -2.5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | -2.5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | -2.5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -28 | 0 | 0 | 0 | 0
22:15 - 22:30 | -2.5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | -2.5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | -1
22:45 - 23:00 | -2.5 | 0 | -1.2 | 0 | 0 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -25 | 0 | 0 | 0 | -1
23:00 - 23:15 | -2.5 | 0 | -1.2 | -6 | 0 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | -1
23:15 - 23:30 | -2.5 | 0 | -1.2 | -6 | 0 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -10 | 0 | 0 | 0 | -1
23:30 - 23:45 | -2.5 | 0 | -1.2 | -6 | 0 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -60 | 0 | 0 | 0 | -1
23:45 - 24:00 | -2.5 | 0 | -1.2 | -6 | 0 | 0 | 0 | 0 | -1.8 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | -10 | 0 | 0 | 0 | -1
Average | -1.7 | -0.57292 | -0.86875 | -0.25 | -105.5626 | 0.46 | -0.66979 | 0.60125 | -0.64167 | -26 | -1.4969 | 2.0742 | 0.28 | 1.8844 | -0.29167 | 0.85479 | -4.2708 | -0.041667 | -5 | -7.1667 | 7.0151 | 9.8652 | 9.3795 | -3.6458