## POWER STATUS
POWER STATUS ON DT 20.09.2026
[9 empty] | 2026-09-20 | 2026-09-19
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 22:00
Demand -> | [8 empty] | 5547.7594 | 6276.4461
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 241.458 | 5.795 | 630/590 ft | 629.71 | 629.93 | 629.93 | 245.9999 | 246.7149
| Chiplima | 72(3x24) | 62.292 | 1.495 | - |  |  |  | 64.6148 | 64.2548
| Balimela | 510(6x60+2x75) | 30.416 | 0.72998 | 1516/1440 ft | 1491 | 1482.4 | 1482.8 | 0 | 57.9095
| Rengali | 250(5x50) | 241.9083 | 5.8058 | 123.5/109.75 mt | 123.38 | 122.79 | 122.77 | 242.3249 | 242.104
| Upper Kolab | 320(4x80) | 76.46 | 1.835 | 858/844 mt | 856.1 | 853 | 853.06 | 0 | 173.011
| Upper Indravati | 600(4x150) | 583.3958 | 14.0015 | 642/625 mt | 638.12 | 640.31 | 640.29 | 598.4206 | 599.452
| Machkund | 60(50% of(3x17+3x23)) | 10.18 | 0.24432 | 2750/2685 ft | 2748.45 | 2735.1 | 2735.4 | 14.709 | 8.7291
| Total Hydro | 2099.5 | 1246.1101 | 29.9066 |  |  |  |  | 1166.0691 | 1392.1754
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1006.966 | 24.1672 | RENEWABLE ENERGY (RE) |  |  |  | 395.1024 | 1046.2525
[5 empty] | M.Hydl | 123.27
| Total Thermal | 2200 | 1006.966 | 24.1672 | Solar | 126 |  |  | 395.1024 | 1046.2525
IPP | VEDANTA #2 | 600 (1x600) | 419.8195 | 10.0757 | Total IPPs | Yesterday's Demand Profile |  |  | 392.6958 | 504.3949
| GMR #3 | 350 (1x350) | 0 | 0 | 474.2527 |  | MW | HRS | 326.4048 | 0
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 54.4332 | 1.3064 |  |  |  |  | 44.2568 | 56.4827
| CGPs |  | 1094.0396 | 26.2569 | IPPs, CGPs & RE | Maximum | 6604 | 15:00 | 1962.9692 | 2097.285
| Central Sector(Drawl) |  | 1870.9283 | 44.9023 | 1817.5622 | Minimum | 5246 | 06:00 | 2023.6186 | 1740.7331
| Central Sector(Sch) |  | 1974.9737 | 47.3994 |  | Average | 5941.5667 |  | 1739.42 | 1789.63
| Grand Total |  | 5941.5667 | 142.5976 | Instantaneous Peak demand |  | 6864 | 15:16 | 5547.7594 | 6276.4461
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | 3,4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1753 | 42.072 | 1726 | 41.424 | 1715 | 41.16
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1636 | 39.264 | 1793 | 43.032 | 1447 | 34.728
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1546 | 37.104 | 1559 | 37.416 | 1469 | 35.256
U.Kolab | 2 | KAHALGAON | NIL | TPSODL | 594 | 14.256 | 587 | 14.088 | 594 | 14.256
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5529 | 132.696 | 5665 | 135.96 | 5225 | 125.4
Machhkund | 3,4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 392.6958 | GMR |  |  |  | 326.4048
| NBVL #3 | 0 | MDTPC |  |  |  | 44.2568
Mini Hydel: | MEENAKSHI | 40.0423 | OPCL |  |  |  | 0
| BTPL | 28.5219 | SAPTADHARA |  |  |  | 19.8882
Solar: |  | 245.3166 | KAKATIYA |  |  |  | 7.4553
CGPs : | JSPL (Angul) | 416.5894 | JSL(Duburi) |  |  |  | -105.669
| ICCL | 48.7494 | visa |  |  |  | 18.3656
| NALCO | -117.3524 | VAL (CGP) |  |  |  | 12.914
| RSP | -88.219 | BSL(MMDL) |  |  |  | -27.8338
| INDAL | 4.9816 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -32.6942 | VAL CPP 400 kV |  |  |  | -777.2623
| NBVL | 53.0658 | Arati |  |  |  | 3.4357
| BPSL(JSG) | -92.756 | BPPL |  |  |  | 121.4854
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-12 | 2026-09-13 | 2026-09-14 | 2026-09-15 | 2026-09-16 | 2026-09-17 | 2026-09-18 | 2026-09-19
1177.51 | 1180.924 | 1178.4595 | 1201.805 | 1263.2 | 1262.8949 | 1255.0008 | 1246.1101
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.19.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | 0 | AARTISTEEL | UPPCL | 0 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.33
AARTISTEEL | KPTCL | 0 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -1 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0
AMNSIL_Pdeep | AMNSIL | -9.43 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 120.8
ARYAN_ISPAT | BALCO_LOAD | -5 | FACORPOWER | PSPCL | -21.25 | AP41PL_BHDL | ODISHA | 58.19
ENVIROCARE_INFRA | APCPDCL | -13 | FACORPOWER | PSPCL | -8.75 | AP43PL_BKN | ODISHA | 88.68
FACORPOWER | RUVITSL | -3.33 | FACORPOWER | RUVITSL | -4 | AWEK1L | ODISHA | 3.23
GMRKEL_STU | GEB_Beneficiary | 0 | JSPLANGUL | RUVITSL | -58.33 | AWEK1L | ODISHA | 2.16
GMRKEL_STU | TNEB | 0 | JSPLANGUL | RUVITSL | -1.39 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 6.41
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | RUVITSL | -87.5 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 11.06
JPIPL | NPCL_UP | 0 | JSPLANGUL | RUVITSL | -2.08 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 15.93
JSPLANGUL | GEB_Beneficiary | -93.96 | NBVLIPP | BSPHCL | -12.54 | DADRI_SOLAR | ODISHA | 0.76
JSPLANGUL | RUVITSL | -25.69 | NBVLIPP | RUVITSL | -5.38 | ENERSON_SOLAR_10MW | ODISHA | 0.8
JSPLANGUL | RUVITSL | -38.54 | NPSRL | NPCL_UP | -3 | GADAG_GreenInfra_W | ODISHA | 0
MAADURGA_THERMAL | NPCL_UP | -21.69 | OCL_IRON_STEEL | TPDDL | -24.79 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -5.75 | OCL_IRON_STEEL | TPDDL | -10.21 | GADAG_GreenInfra_W | ODISHA | 0.3
NBVLIPP | KPTCL | -3.83 | ODISHA | TANGEDCO | -12.5 | GADAG_Serentica3_S | VLSEZ | 46.67
NBVLIPP | KPTCL | -1.92 | ODISHA | TANGEDCO | -6.25 | GADAG_Serentica3_W | VLSEZ | 25.77
NBVLIPP | TANGEDCO | 0 | ODISHA | TANGEDCO | -18.75 | GIWEL_SECI_II_RE | ODISHA | 14.43
ODISHA | KPTCL | -70.31 | ODISHA | TANGEDCO | -12.5 | GPCL_SOLAR_10 | ODISHA | 0.82
ORSISL | BALCO_LOAD | -5 | ORSISL | TPLD | -2.5 | GSECL_SOLAR | ODISHA | 1.17
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | RSPL_JHARSUGUDA | TPL_DIS_DHOLERA | -5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.91
VSL | APCPDCL | -5 | RSPL_JHARSUGUDA | TPL_DIS_SUR | -3 | KARUR_TPVARDHAMAN_W | TSKPO | 66.13
FARIDABAD_SOLAR | ODISHA | 0.86 | SMEL | CESC | -6 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.04
JSWEL_UTKAL | ODISHA | 75.43 | SMEL | PSPCL | -7.29 | Kurnool_Greenko_H_Inj | ADITYAAL | 8.75
RAJ_SOLAR | ODISHA | 2.23 | SMEL | PSPCL | -17.71 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.23
RAJ_SOLAR | ODISHA | 2.64 | Shri_JSPL | KSEB | -2 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.74
|  |  | TSBSLA | DNHDDPDCL | -7.5 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | TSBSLA | TANGEDCO | -9.58 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.55
|  |  | TSBSLA | TPLD | -12.5 | OKWPL_RE | ODISHA | 6.73
|  |  | VIRAJ_SEPL | PSPCL | -2.6 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 3.36
|  |  | VIRAJ_SEPL | PSPCL | -6.08 | RWE_AP2_SECI_III | ODISHA | 4.77
|  |  | VSL | DNHDDPDCL | -5 | RenewGreen_SLPR_HS | JSL_DUBURI | 12.98
|  |  | VSL | TANGEDCO | -10 | SRI9PL_FTG3 | VLSEZ | 90.46
|  |  | Darlipali_NTPC | ODISHA | 81.88 | TPVSL_BKN3 | TSKPO | 12.7
|  |  | JIPL | ODISHA | 115.44 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
|  |  | NALCOAP | NACL_Odisha | 4.54 | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 23.01
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 2.79
[6 empty] | XXPPL_FTG3 | ODISHA | 65.01

## DAM
DAM TRADING DETAILS FOR DT : 19.09.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd)
00:00 - 00:15 | -1.5 | 0 | 12.11 | 0 | 0 | -2 | -3 | 0
00:15 - 00:30 | -1.5 | 0 | 9.23 | 0 | 0 | -2 | -3 | 0
00:30 - 00:45 | -1.5 | 0 | 8.59 | 0 | 0 | -2 | -3 | 0
00:45 - 01:00 | -1.5 | 0 | 8.47 | 0 | 0 | -2 | -3 | 0
01:00 - 01:15 | -1.5 | 0 | 11.95 | 0 | 0 | -2 | -3 | 0
01:15 - 01:30 | -1.5 | 0 | 12.87 | 0 | 0 | -2 | -3 | 0
01:30 - 01:45 | -1.5 | 0 | 14 | 0 | 0 | -2 | -3 | 0
01:45 - 02:00 | -1.5 | 0 | 15.48 | 0 | 0 | -2 | -3 | 0
02:00 - 02:15 | -1.5 | 0 | 12.64 | 0 | 0 | -2 | 0 | 0
02:15 - 02:30 | -1.5 | 0 | 13.17 | 0 | 0 | -2 | 0 | 0
02:30 - 02:45 | -1.5 | 0 | 14.17 | 0 | 0 | -2 | 0 | 0
02:45 - 03:00 | -1.5 | 0 | 15.11 | 0 | 0 | -2 | 0 | 0
03:00 - 03:15 | -1.5 | 0 | 17.16 | 0 | 0 | -2 | 0 | 0
03:15 - 03:30 | -1.5 | 0 | 18.12 | 0 | 0 | -2 | 0 | 0
03:30 - 03:45 | -1.5 | 0 | 19.01 | 0 | 0 | -2 | 0 | 0
03:45 - 04:00 | -1.5 | 0 | 19.85 | 0 | 0 | -2 | 0 | 0
04:00 - 04:15 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0
04:15 - 04:30 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0
04:30 - 04:45 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0
04:45 - 05:00 | -1.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0
05:00 - 05:15 | -1.5 | 0 | 0 | 0 | 0 | -2 | -3 | 0
05:15 - 05:30 | -1.5 | 0 | 0 | 0 | 0 | -2 | -3 | 0
05:30 - 05:45 | -1.5 | 0 | 0 | 0 | 0 | -2 | -3 | 0
05:45 - 06:00 | -1.5 | 0 | 0 | 0 | 0 | -2 | -3 | 0
06:00 - 06:15 | -1.5 | -25.5 | 0 | 0 | 0 | -2 | -3 | 0
06:15 - 06:30 | -1.5 | -25.5 | 0 | 0 | 0 | -2 | -3 | 0
06:30 - 06:45 | -1.5 | -25.5 | 0 | 0 | 0 | -2 | -3 | 0
06:45 - 07:00 | -1.5 | -25.5 | 0 | 0 | 0 | -2 | -3 | 0
07:00 - 07:15 | -1.5 | -25.5 | 0 | 0 | 0 | -2 | -3 | 0
07:15 - 07:30 | -1.5 | -25.5 | 0 | 0 | 0 | -2 | -3 | 0
07:30 - 07:45 | -1.5 | -25.5 | 0 | 0 | 0 | -2 | -3 | 0
07:45 - 08:00 | -1.5 | -25.5 | 0 | 0 | 0 | -2 | -3 | 0
08:00 - 08:15 | -1.5 | -25.5 | -300 | 0 | 0 | -2 | -45.5 | 0
08:15 - 08:30 | -1.5 | -25.5 | -300 | 0 | 0 | -2 | -45.5 | 0
08:30 - 08:45 | -1.5 | 0 | -300 | 0 | 0 | -2 | -45.5 | 0
08:45 - 09:00 | -1.5 | 0 | -300 | 0 | 0 | -2 | -45.5 | 0
09:00 - 09:15 | -1.5 | 0 | -850 | 0 | 0 | -2 | -45.5 | 0
09:15 - 09:30 | -1.5 | 0 | -850 | 0 | 0 | -2 | -45.5 | 0
09:30 - 09:45 | -1.5 | 0 | -900 | 0 | 9.62 | -2 | -45.5 | 9.62
09:45 - 10:00 | -1.5 | 0 | -714.59 | 0 | 9.62 | -2 | -45.5 | 9.62
10:00 - 10:15 | -1.5 | 0 | -500 | 33.67 | 9.62 | -1 | -34 | 9.62
10:15 - 10:30 | -1.5 | 0 | -500 | 33.67 | 9.62 | -1 | -34 | 9.62
10:30 - 10:45 | -1.5 | 0 | -379.09 | 33.67 | 9.62 | -1 | -34 | 9.62
10:45 - 11:00 | -1.5 | 0 | -307.03 | 33.67 | 9.62 | -1 | -34 | 9.62
11:00 - 11:15 | -1.5 | 0 | -180.21 | 33.67 | 9.62 | -1 | -34 | 9.62
11:15 - 11:30 | -1.5 | 0 | -176.09 | 33.67 | 9.62 | -1 | -34 | 9.62
11:30 - 11:45 | -1.5 | 0 | -162.07 | 33.67 | 9.62 | -1 | -34 | 9.62
11:45 - 12:00 | -1.5 | 0 | -180.42 | 33.67 | 9.62 | -1 | -34 | 9.62
12:00 - 12:15 | -1.5 | 0 | -134.94 | 33.67 | 9.62 | -1 | -34 | 9.62
12:15 - 12:30 | -1.5 | 0 | -129.22 | 33.67 | 9.62 | -1 | -34 | 9.62
12:30 - 12:45 | -1.5 | 0 | -108.38 | 33.67 | 9.62 | -1 | -34 | 9.62
12:45 - 13:00 | -1.5 | 0 | -44.3 | 33.67 | 9.62 | -1 | -34 | 9.62
13:00 - 13:15 | -1.5 | 0 | -30.49 | 33.67 | 9.62 | -1 | -45.5 | 9.62
13:15 - 13:30 | -1.5 | 0 | -35.42 | 33.67 | 9.62 | -1 | -45.5 | 9.62
13:30 - 13:45 | -1.5 | 0 | -120.01 | 33.67 | 9.62 | -1 | -45.5 | 9.62
13:45 - 14:00 | -1.5 | 0 | -200 | 33.67 | 9.62 | -1 | -45.5 | 9.62
14:00 - 14:15 | -1.5 | 0 | -325 | 0 | 9.62 | -1 | -45.5 | 9.62
14:15 - 14:30 | -1.5 | 0 | -325 | 0 | 0 | -1 | -45.5 | 0
14:30 - 14:45 | -1.5 | 0 | -175 | 0 | 0 | -1 | -45.5 | 0
14:45 - 15:00 | -1.5 | 0 | -175 | 0 | 0 | -1 | -45.5 | 0
15:00 - 15:15 | -1.5 | 0 | -200 | 0 | 0 | -2 | -45.5 | 0
15:15 - 15:30 | -1.5 | 0 | -200 | 0 | 0 | -2 | -45.5 | 0
15:30 - 15:45 | -1.5 | -25.5 | -200 | 0 | 0 | -2 | -45.5 | 0
15:45 - 16:00 | -1.5 | -25.5 | -200 | 0 | 0 | -2 | -45.5 | 0
16:00 - 16:15 | -1.5 | -25.5 | -400 | 0 | 0 | -2 | 0 | 0
16:15 - 16:30 | -1.5 | -25.5 | -400 | 0 | 0 | -2 | 0 | 0
16:30 - 16:45 | -1.5 | -25.5 | -400 | 0 | 0 | -2 | 0 | 0
16:45 - 17:00 | -1.5 | -25.5 | -400 | 0 | 0 | -2 | 0 | 0
17:00 - 17:15 | -1.5 | -25.5 | 0 | 0 | 0 | -2 | 0 | 0
17:15 - 17:30 | -1.5 | -25.5 | 0 | 0 | 0 | -2 | 0 | 0
17:30 - 17:45 | -1.5 | -25.5 | 0 | 0 | 0 | -2 | 0 | 0
17:45 - 18:00 | -1.5 | -25.5 | 0 | 0 | 0 | -2 | 0 | 0
18:00 - 18:15 | -1.5 | 0 | 5.15 | 0 | 0 | -2 | 0 | 0
18:15 - 18:30 | -1.5 | 0 | 1.99 | 0 | 0 | -2 | 0 | 0
18:30 - 18:45 | -1.5 | 0 | 2.67 | 0 | 0 | -2 | 0 | 0
18:45 - 19:00 | -1.5 | 0 | 2.15 | 0 | 0 | -2 | 0 | 0
19:00 - 19:15 | -1.5 | 0 | 0.7 | 0 | 0 | -2 | -3 | 0
19:15 - 19:30 | -1.5 | 0 | 1.04 | 0 | 0 | -2 | -3 | 0
19:30 - 19:45 | -1.5 | 0 | 0.07 | 0 | 0 | -2 | -3 | 0
19:45 - 20:00 | -1.5 | 0 | 0.95 | 0 | 0 | -2 | -3 | 0
20:00 - 20:15 | -1.5 | 0 | 0 | 0 | 0 | -2 | -3 | 0
20:15 - 20:30 | -1.5 | 0 | 0.66 | 0 | 0 | -2 | -3 | 0
20:30 - 20:45 | -1.5 | 0 | 1.74 | 0 | 0 | -2 | -3 | 0
20:45 - 21:00 | -1.5 | 0 | 1.7 | 0 | 0 | -2 | -3 | 0
21:00 - 21:15 | -1.5 | 0 | 1.72 | 0 | 0 | -2 | -3 | 0
21:15 - 21:30 | -1.5 | 0 | 1.83 | 0 | 0 | -2 | -3 | 0
21:30 - 21:45 | -1.5 | 0 | 1.8 | 0 | 0 | -2 | -3 | 0
21:45 - 22:00 | -1.5 | 0 | 1.72 | 0 | 0 | -2 | -3 | 0
22:00 - 22:15 | -1.5 | 0 | 1.9 | 0 | 0 | -2 | -3 | 0
22:15 - 22:30 | -1.5 | 0 | 1.48 | 0 | 0 | -2 | -3 | 0
22:30 - 22:45 | -1.5 | 0 | 1.69 | 0 | 0 | -2 | -3 | 0
22:45 - 23:00 | -1.5 | 0 | 1.67 | 0 | 0 | -2 | -3 | 0
23:00 - 23:15 | -1.5 | 0 | 6.21 | 0 | 0 | -2 | -3 | 0
23:15 - 23:30 | -1.5 | 0 | 6.41 | 0 | 0 | -2 | -3 | 0
23:30 - 23:45 | -1.5 | 0 | 11.84 | 0 | 0 | -2 | -3 | 0
23:45 - 24:00 | -1.5 | 0 | 12.05 | 0 | 0 | -2 | -3 | 0
Average | -1.5 | -5.3125 | -112.6166 | 5.6117 | 1.904 | -1.7917 | -14.9792 | 1.904

## GDAM
GDAM TRADING DETAILS FOR DT:19.09.2026
Time Period | Time Period | GRIDCO | Orissa_Metaliks_Private_Limited | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda
00:00 - 00:15 | 00:00 - 00:15 | 5.08 | 0 | 0
00:15 - 00:30 | 00:15 - 00:30 | 5.05 | 0 | 0
00:30 - 00:45 | 00:30 - 00:45 | 4.99 | 0 | 0
00:45 - 01:00 | 00:45 - 01:00 | 4.99 | 0 | 0
01:00 - 01:15 | 01:00 - 01:15 | 6.3 | 0 | 0
01:15 - 01:30 | 01:15 - 01:30 | 4.23 | 0 | 0
01:30 - 01:45 | 01:30 - 01:45 | 4.16 | 0 | 0
01:45 - 02:00 | 01:45 - 02:00 | 4.11 | 0 | 0
02:00 - 02:15 | 02:00 - 02:15 | 1.87 | 0 | 0
02:15 - 02:30 | 02:15 - 02:30 | 1.85 | 0 | 0
02:30 - 02:45 | 02:30 - 02:45 | 1.81 | 0 | 0
02:45 - 03:00 | 02:45 - 03:00 | 1.79 | 0 | 0
03:00 - 03:15 | 03:00 - 03:15 | 2.22 | 0 | 0
03:15 - 03:30 | 03:15 - 03:30 | 2.16 | 0 | 0
03:30 - 03:45 | 03:30 - 03:45 | 2.12 | 0 | 0
03:45 - 04:00 | 03:45 - 04:00 | 2.02 | 0 | 0
04:00 - 04:15 | 04:00 - 04:15 | 0 | 0 | 0
04:15 - 04:30 | 04:15 - 04:30 | 0 | 0 | 0
04:30 - 04:45 | 04:30 - 04:45 | 0 | 0 | 0
04:45 - 05:00 | 04:45 - 05:00 | 0 | 0 | 0
05:00 - 05:15 | 05:00 - 05:15 | 0 | 0 | 0
05:15 - 05:30 | 05:15 - 05:30 | 0 | 0 | 0
05:30 - 05:45 | 05:30 - 05:45 | 0 | 0 | 0
05:45 - 06:00 | 05:45 - 06:00 | 0 | 0 | 0
06:00 - 06:15 | 06:00 - 06:15 | 0 | 0 | 0
06:15 - 06:30 | 06:15 - 06:30 | 0 | 0 | 0
06:30 - 06:45 | 06:30 - 06:45 | 0 | 0 | 0
06:45 - 07:00 | 06:45 - 07:00 | 0 | 0 | 0
07:00 - 07:15 | 07:00 - 07:15 | 0 | 0 | 0
07:15 - 07:30 | 07:15 - 07:30 | 0 | 0 | 0
07:30 - 07:45 | 07:30 - 07:45 | 0 | 0 | 0
07:45 - 08:00 | 07:45 - 08:00 | 0 | 0 | 0
08:00 - 08:15 | 08:00 - 08:15 | 0 | 0 | 0
08:15 - 08:30 | 08:15 - 08:30 | 0 | 0 | 0
08:30 - 08:45 | 08:30 - 08:45 | 0 | 0 | 0
08:45 - 09:00 | 08:45 - 09:00 | 0 | 0 | 0
09:00 - 09:15 | 09:00 - 09:15 | 0 | 0 | 50
09:15 - 09:30 | 09:15 - 09:30 | 0 | 2.95 | 100
09:30 - 09:45 | 09:30 - 09:45 | 0 | 6.5 | 150
09:45 - 10:00 | 09:45 - 10:00 | 0 | 6.5 | 193
10:00 - 10:15 | 10:00 - 10:15 | 0 | 6.5 | 193
10:15 - 10:30 | 10:15 - 10:30 | 0 | 6.5 | 193
10:30 - 10:45 | 10:30 - 10:45 | 0 | 6.5 | 193
10:45 - 11:00 | 10:45 - 11:00 | 0 | 6.5 | 193
11:00 - 11:15 | 11:00 - 11:15 | 0 | 6.5 | 193
11:15 - 11:30 | 11:15 - 11:30 | 0 | 6.5 | 193
11:30 - 11:45 | 11:30 - 11:45 | 0 | 6.5 | 193
11:45 - 12:00 | 11:45 - 12:00 | 0 | 6.5 | 193
12:00 - 12:15 | 12:00 - 12:15 | 0 | 6.5 | 193
12:15 - 12:30 | 12:15 - 12:30 | 0 | 6.5 | 193
12:30 - 12:45 | 12:30 - 12:45 | 0 | 6.5 | 193
12:45 - 13:00 | 12:45 - 13:00 | 0 | 6.5 | 193
13:00 - 13:15 | 13:00 - 13:15 | 0 | 6.5 | 193
13:15 - 13:30 | 13:15 - 13:30 | 0 | 6.5 | 193
13:30 - 13:45 | 13:30 - 13:45 | 0 | 6.5 | 193
13:45 - 14:00 | 13:45 - 14:00 | 0 | 6.5 | 193
14:00 - 14:15 | 14:00 - 14:15 | 0 | 6.5 | 193
14:15 - 14:30 | 14:15 - 14:30 | 0 | 6.5 | 193
14:30 - 14:45 | 14:30 - 14:45 | 0 | 6.5 | 193
14:45 - 15:00 | 14:45 - 15:00 | 0 | 6.5 | 193
15:00 - 15:15 | 15:00 - 15:15 | 0 | 0 | 193
15:15 - 15:30 | 15:15 - 15:30 | 0 | 0 | 150
15:30 - 15:45 | 15:30 - 15:45 | 0 | 0 | 100
15:45 - 16:00 | 15:45 - 16:00 | 0 | 0 | 50
16:00 - 16:15 | 16:00 - 16:15 | 0 | 0 | 0
16:15 - 16:30 | 16:15 - 16:30 | 0 | 0 | 0
16:30 - 16:45 | 16:30 - 16:45 | 0 | 0 | 0
16:45 - 17:00 | 16:45 - 17:00 | 0 | 0 | 0
17:00 - 17:15 | 17:00 - 17:15 | 0 | 0 | 0
17:15 - 17:30 | 17:15 - 17:30 | 0 | 0 | 0
17:30 - 17:45 | 17:30 - 17:45 | 0 | 0 | 0
17:45 - 18:00 | 17:45 - 18:00 | 0 | 0 | 0
18:00 - 18:15 | 18:00 - 18:15 | 7.47 | 0 | 0
18:15 - 18:30 | 18:15 - 18:30 | 2.98 | 0 | 0
18:30 - 18:45 | 18:30 - 18:45 | 1.38 | 0 | 0
18:45 - 19:00 | 18:45 - 19:00 | 0 | 0 | 0
19:00 - 19:15 | 19:00 - 19:15 | 2.14 | 0 | 0
19:15 - 19:30 | 19:15 - 19:30 | 2.09 | 0 | 0
19:30 - 19:45 | 19:30 - 19:45 | 2.06 | 0 | 0
19:45 - 20:00 | 19:45 - 20:00 | 2.05 | 0 | 0
20:00 - 20:15 | 20:00 - 20:15 | 4.15 | 0 | 0
20:15 - 20:30 | 20:15 - 20:30 | 4.1 | 0 | 0
20:30 - 20:45 | 20:30 - 20:45 | 4.06 | 0 | 0
20:45 - 21:00 | 20:45 - 21:00 | 4 | 0 | 0
21:00 - 21:15 | 21:00 - 21:15 | 3.45 | 0 | 0
21:15 - 21:30 | 21:15 - 21:30 | 3.43 | 0 | 0
21:30 - 21:45 | 21:30 - 21:45 | 3.45 | 0 | 0
21:45 - 22:00 | 21:45 - 22:00 | 3.41 | 0 | 0
22:00 - 22:15 | 22:00 - 22:15 | 3.46 | 0 | 0
22:15 - 22:30 | 22:15 - 22:30 | 3.5 | 0 | 0
22:30 - 22:45 | 22:30 - 22:45 | 3.5 | 0 | 0
22:45 - 23:00 | 22:45 - 23:00 | 3.4 | 0 | 0
23:00 - 23:15 | 23:00 - 23:15 | 3.29 | 0 | 0
23:15 - 23:30 | 23:15 - 23:30 | 3.28 | 0 | 0
23:30 - 23:45 | 23:30 - 23:45 | 3.9 | 0 | 0
23:45 - 24:00 | 23:45 - 24:00 | 4.01 | 0 | 0
Average | #DIV/0! | 1.3886 | 1.5203 | 50.4792

## RTM
RTM TRADING DETAILS FOR DT: 19.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Ltd | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited | Visa_Chrome_Limited
00:00 - 00:15 | -2.7 | -0.5 | -0.3 | -1.4 | 0 | -150 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -35 | 0 | 0 | -2 | 0 | 0 | 0
00:15 - 00:30 | -2.7 | -0.5 | -0.3 | -1.4 | 0 | -150 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | -2 | 0 | 0 | 0
00:30 - 00:45 | -2.7 | -3 | -0.3 | -1.4 | 0 | -100 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -30 | 0 | 0 | -2 | 0 | 0 | 0
00:45 - 01:00 | -2.7 | -3 | -0.3 | -1.4 | 0 | -150 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | -2 | 0 | 0 | 0
01:00 - 01:15 | -2.7 | -3 | -0.3 | -1.4 | 0 | -100 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0
01:15 - 01:30 | -2.7 | -3 | -0.3 | -1.4 | 0 | -100 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -60 | 0 | 0 | -2 | 0 | 0 | 0
01:30 - 01:45 | -2.7 | -2 | -0.3 | -1.4 | 0 | -150 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -65 | 0 | 0 | -2 | 0 | 0 | 0
01:45 - 02:00 | -2.7 | -2 | -0.3 | -1.4 | 0 | -150 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | -2 | 0 | 0 | 0
02:00 - 02:15 | -2.7 | -2 | -0.7 | -1.4 | 0 | -150 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0
02:15 - 02:30 | -2.7 | -2 | -0.7 | -1.4 | 0 | -150 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | -2 | 0 | 0 | 0
02:30 - 02:45 | -2.7 | -2 | -0.7 | -1.4 | 0 | -150 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0
02:45 - 03:00 | -2.7 | -2 | -0.7 | -1.4 | 0 | -300 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0
03:00 - 03:15 | -2.7 | 0 | -0.7 | -1.4 | 0 | -300 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | -2 | 0 | 0 | 0
03:15 - 03:30 | -2.7 | 0 | -0.7 | -1.4 | 0 | -200 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -50 | 0 | 0 | -2 | 0 | 0 | 0
03:30 - 03:45 | -2.7 | 0 | -0.7 | -1.4 | 0 | -200 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -30 | 0 | 0 | -2 | 0 | 0 | 0
03:45 - 04:00 | -2.7 | 0 | -0.7 | -1.4 | 0 | -300 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0
04:00 - 04:15 | -2.7 | 0 | -0.7 | -1.4 | 0 | -300 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | -2 | 0 | 0 | 0
04:15 - 04:30 | -2.7 | 0 | -0.7 | -1.4 | 0 | -200 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0
04:30 - 04:45 | -2.7 | -1 | -0.7 | -1.4 | 0 | -200 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0
04:45 - 05:00 | -2.7 | -1 | -0.7 | -1.4 | 0 | -300 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -45 | 0 | 0 | -2 | 0 | 0 | 0
05:00 - 05:15 | -2.7 | -1 | -0.7 | -1.4 | 0 | -300 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | -40 | 0 | 0 | -2 | 0 | 0 | 0
05:15 - 05:30 | -2.7 | -1 | -0.7 | -1.4 | 0 | -300 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | 0
05:30 - 05:45 | -2.7 | -1 | -1 | -1.4 | 0 | -400 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | -2 | 0 | 0 | 0
05:45 - 06:00 | -2.7 | -1 | -1 | -1.4 | 0 | -600 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | -50 | 0 | 0 | -2 | 0 | 0 | 0
06:00 - 06:15 | -2.7 | -0.5 | -1 | -1.4 | 0 | -600 | 0 | 0 | -0.2 | -26 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | -10 | 0 | 0 | 0 | 0 | -5 | -10
06:15 - 06:30 | -2.7 | -0.5 | -1 | -1.4 | 0 | -600 | 0 | 0 | -0.4 | -26 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | -10
06:30 - 06:45 | -2.7 | -0.5 | -1 | -1.4 | 0 | -500 | 0 | 0 | -0.5 | -26 | -0.2 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | -10 | 0 | 0 | 0 | 0 | -5 | -10
06:45 - 07:00 | -2.7 | -0.5 | -1 | -1.4 | 0 | -600 | 0 | 0 | -0.7 | -26 | -0.6 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | -15 | 0 | 0 | 0 | 0 | -5 | -10
07:00 - 07:15 | -2.7 | 0 | -0.7 | -1.4 | 0 | -500 | 0 | 0 | -0.6 | -26 | -0.8 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | -10
07:15 - 07:30 | -2.7 | 0 | -0.7 | -1.4 | 0 | -500 | 0 | 0 | -0.7 | -26 | -0.9 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | -55 | 0 | 0 | 0 | 0 | -5 | -10
07:30 - 07:45 | -2.3 | 0 | -0.7 | -1.4 | 0 | -550 | 0 | 0 | -0.5 | -26 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | -60 | 0 | 0 | 0 | 0 | -5 | -10
07:45 - 08:00 | -2.3 | 0 | -0.7 | -1.4 | 0 | -650 | 0 | 0 | -0.6 | -26 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | -10
08:00 - 08:15 | -2.3 | 0 | -0.7 | -1.4 | 0 | -150 | 0 | 0 | -1.2 | -26 | -1.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -14 | 0 | 0 | 0 | 0 | -5 | -3
08:15 - 08:30 | -2.3 | 0 | -0.7 | -1.4 | 0 | -240.01 | 0 | 0 | -1.4 | -26 | -2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -5 | -3
08:30 - 08:45 | -2.3 | 0 | -0.7 | -1.2 | 0 | -100 | 1.92 | 0 | -1.4 | -26 | -2.5 | 0 | 0 | 9.62 | 12.51 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | -4 | -3
08:45 - 09:00 | -2.3 | 0 | -0.7 | -0.82 | 0 | -199.97 | 1.92 | 0 | -1.6 | -26 | -2.8 | 0 | 15.39 | 9.62 | 12.51 | 0 | 0 | 0 | -1 | 0 | 67.34 | 0 | 0 | 0 | -4 | -3
09:00 - 09:15 | -2.3 | 0 | -0.3 | 0 | 0 | 105.79 | 1.92 | 0 | -2 | -26 | -2.9 | 0 | 0 | 9.62 | 12.51 | 0 | 0 | 0 | -1 | -50 | 0 | 0 | 0 | 0 | 0 | -3
09:15 - 09:30 | -2.3 | 0 | -0.3 | 0 | 0 | 105.47 | 1.92 | 0 | -2.2 | -26 | -3.5 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | -1 | -55 | 0 | 0 | 0 | 0 | 0 | -3
09:30 - 09:45 | -2.3 | 11.54 | -0.3 | 0 | 0 | 119.81 | 1.92 | 0 | -2 | -26 | -3.9 | 0 | 7.7 | 9.62 | 12.51 | 0 | 0 | 0 | -1 | 0 | 67.34 | 0 | 0 | 0 | 0 | -2
09:45 - 10:00 | -2.3 | 11.54 | -0.3 | 0 | 0 | 116.48 | 1.92 | 0 | -2.1 | -26 | -1.7 | 0 | 7.7 | 9.62 | 12.51 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
10:00 - 10:15 | -2.3 | 7.7 | -0.3 | 0 | 0 | -530.43 | 1.92 | 0 | -2.1 | -24 | 0 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
10:15 - 10:30 | -2.3 | 2.89 | -0.3 | 0 | 0 | -382.57 | 1.92 | 0 | -1.6 | -24 | 0 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | -2
10:30 - 10:45 | -2.3 | 11.54 | -0.3 | 0 | 0 | -339.94 | 1.92 | 0 | -2.4 | -24 | 0 | 0 | 0 | 9.62 | 12.51 | 0 | 2.89 | 0 | -1 | -65 | 0 | 0 | 0 | 0 | 0 | 0
10:45 - 11:00 | -2.3 | 17.32 | -0.3 | 0 | 0 | -505.23 | 1.92 | 0 | -2.6 | -24 | 0 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | -1 | -65 | 0 | 0 | 0 | 0 | 0 | -1.12
11:00 - 11:15 | -2.3 | 19.24 | -0.3 | 0 | 0 | -439.93 | 1.92 | 0 | -2.5 | -24 | 0 | 0 | 0 | 9.62 | 12.51 | 0 | 2.89 | 0 | -1 | -25 | 0 | 5.29 | 0 | 0 | 0 | 0
11:15 - 11:30 | -2.3 | 19.24 | -0.3 | 0 | 0 | -446.98 | 1.92 | 0 | -2.4 | -24 | 0 | 0 | 0 | 9.62 | 0 | 0 | 2.89 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11:30 - 11:45 | -2.3 | 16.35 | -0.3 | 0 | 0 | -350 | 1.92 | 0 | -2.4 | -24 | 0 | 0 | 4.01 | 9.62 | 12.51 | 0 | 2.89 | 0 | -2 | 0 | 0 | 5.29 | 0 | 0 | 0 | 0
11:45 - 12:00 | -2.3 | 15.4 | -0.3 | 0 | 0 | -305.15 | 1.92 | 0 | -2.3 | -24 | 0 | 0 | 0 | 9.62 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12:00 - 12:15 | -2.3 | 23.09 | -0.3 | 0 | 0 | -337.74 | 1.92 | 0 | -2.3 | -24 | 0 | 0 | 7.7 | 9.62 | 12.51 | 0 | 2.89 | 0 | -2 | -62 | 76.95 | 5.29 | 0 | 0 | 0 | 0
12:15 - 12:30 | -2.3 | 23.09 | -0.3 | 0 | 0 | -337.71 | 1.92 | 0 | -2.6 | -24 | 0 | 0 | 7.7 | 9.62 | 12.51 | 0 | 2.89 | 0 | -2 | -62 | 76.95 | 5.29 | 0 | 0 | 0 | 0
12:30 - 12:45 | -2.3 | 23.09 | -0.3 | 0 | 0 | -400 | 1.92 | 0 | -2.2 | -24 | 0 | 0 | 7.7 | 9.62 | 12.51 | 0 | 2.89 | 0 | -2 | -50 | 76.95 | 5.29 | 0 | 0 | 0 | 0
12:45 - 13:00 | -2.3 | 23.09 | -0.3 | 0 | 0 | -400 | 1.92 | 0 | -2 | -24 | 0 | 0 | 7.7 | 9.62 | 12.51 | 0 | 2.89 | 0 | -2 | -10 | 76.95 | 5.29 | 0 | 0 | 0 | 0
13:00 - 13:15 | -2.3 | 23.09 | -0.8 | 0 | 0 | -650 | 1.92 | 0 | -1.6 | -24 | 0 | 0 | 0 | 9.62 | 0 | -7 | 2.89 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13:15 - 13:30 | -2.3 | 9.62 | -0.8 | 0 | 0 | -657.39 | 1.92 | 0 | -1.5 | -24 | 0 | 0 | 0 | 9.62 | 0 | -7 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13:30 - 13:45 | -2.3 | 23.09 | -0.8 | 0 | 0 | -750.53 | 0 | 0 | -2 | -24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13:45 - 14:00 | -2.3 | 23.09 | -0.8 | 0 | 0 | -700.54 | 0 | 0 | -1.8 | -24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -40 | 0 | 0 | 0 | 0 | 0 | 0
14:00 - 14:15 | -2.3 | 21.16 | -0.8 | 0 | 0 | -553.47 | 0 | 0 | -1.6 | -24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | 0 | 0
14:15 - 14:30 | -2.3 | 17.32 | -0.8 | 0 | 0 | -565.51 | 0 | 0 | -1.4 | -24 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -20 | 0 | 0 | -2 | 0 | 0 | 0
14:30 - 14:45 | -1.3 | 0 | -0.8 | -1.2 | 0 | -498.32 | 0 | 0 | -1.2 | -24 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | -2 | 0 | 0 | 0
14:45 - 15:00 | -1.3 | 0 | -0.8 | -1.2 | 0 | -710.25 | 0 | 0 | -0.9 | -24 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | 0 | 0
15:00 - 15:15 | -1.3 | 0 | -0.8 | -1.2 | -25.5 | -516.67 | 0 | 0 | -0.8 | -24 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | -4 | -4
15:15 - 15:30 | -1.3 | 0 | -0.8 | -1.2 | -25.5 | -513.08 | 0 | 0 | -0.7 | -24 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | -2 | 0 | -4 | -4
15:30 - 15:45 | -1.3 | -5 | -0.8 | -1.2 | 0 | -452.09 | 0 | 0 | -0.5 | -24 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -55 | 0 | 0 | -2 | 28.86 | -4 | -4
15:45 - 16:00 | -1.3 | -5 | -0.8 | -1.2 | 0 | -453.76 | 0 | 0 | -0.3 | -24 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | 0 | -2 | 48.1 | -4 | -4
16:00 - 16:15 | -1.3 | -16 | -0.8 | -1.3 | 0 | -297.5 | 0 | 0 | 0 | -24 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | -50 | 0 | 0 | -2 | 184.7 | -5 | -9
16:15 - 16:30 | -1.3 | -16 | -0.8 | -1.3 | 0 | -300 | 0 | 0 | 0 | -24 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | -6 | 0 | 0 | -2 | 140.15 | -5 | -9
16:30 - 16:45 | -1.3 | -25 | -0.8 | -1.3 | 0 | -250 | 0 | 0 | 0 | -24 | -1.1 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | 0 | 0 | 0 | -2 | 201.07 | -5 | -9
16:45 - 17:00 | -1.3 | -26 | -0.8 | -1.3 | 0 | -100 | 0 | 0 | 0 | -24 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | -40 | 0 | 0 | -2 | 240.19 | -5 | -9
17:00 - 17:15 | -1.3 | -37 | -0.3 | -1.4 | 0 | -250 | 0 | -60 | 0 | -24 | -0.2 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | -40 | 0 | 0 | -2 | 126.54 | -5 | -8
17:15 - 17:30 | -1.3 | -16 | -0.3 | -1.4 | 0 | -250 | 0 | -120 | 0 | -24 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | -40 | 0 | 0 | -2 | 135.76 | -5 | -8
17:30 - 17:45 | -1.3 | -16 | -0.3 | -1.4 | 0 | -275 | 0 | -120 | 0 | -24 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | -50 | 0 | 0 | -2 | 91.87 | -5 | -8
17:45 - 18:00 | -1.3 | -16 | -0.3 | -1.4 | 0 | -100 | 0 | -120 | 0 | -24 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | -40 | 0 | 0 | -2 | 76.16 | -5 | -8
18:00 - 18:15 | -1.3 | -16 | -0.3 | -1.4 | 0 | 0 | 0 | -120 | 0 | -24 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | -2 | 0 | 0 | 0 | -3 | 76.35 | 0 | 0
18:15 - 18:30 | -1.3 | -16 | -0.3 | -1.4 | 0 | 0 | 0 | -120 | 0 | -24 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | -2 | -20 | 0 | 0 | -3 | 76.33 | 0 | 0
18:30 - 18:45 | -1.3 | -16 | -0.3 | -1.3 | 0 | 0 | 0 | -120 | 0 | -24 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | -2 | 0 | 0 | 0 | -3 | 97.87 | 0 | 0
18:45 - 19:00 | -1.3 | -16 | -0.3 | -1.3 | 0 | 0 | 0 | -120 | 0 | -24 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | -2 | -10 | 0 | 0 | -3 | 93.05 | 0 | 0
19:00 - 19:15 | -1.3 | -15 | -0.3 | -1.4 | 0 | 0 | 0 | -170 | 0 | -24 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | -2 | -45 | 0 | 0 | -3 | 92.79 | 0 | 0
19:15 - 19:30 | -1.3 | -15 | -0.3 | -1.4 | 0 | 0 | 0 | -170 | 0 | -24 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | -5 | -2 | -10 | 0 | 0 | -3 | 89.69 | 0 | 0
19:30 - 19:45 | -1.3 | -15 | -0.3 | -1.4 | 0 | 0 | 0 | -180 | 0 | -24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | -3 | 22.23 | 0 | 0
19:45 - 20:00 | -1.3 | -15 | -0.3 | -1.4 | 0 | 0 | 0 | -180 | 0 | -24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | -3 | 28.52 | 0 | 0
20:00 - 20:15 | -2.4 | -14 | -0.3 | -1.4 | 0 | 0 | 0 | -240 | 0 | -24 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -5 | -1 | 0 | 0 | 0 | -3 | 95.45 | 0 | 0
20:15 - 20:30 | -2.4 | -14 | -0.3 | -1.4 | 0 | 0 | 0 | -240 | 0 | -24 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -5 | -1 | -10 | 0 | 0 | -3 | 91.45 | 0 | 0
20:30 - 20:45 | -2.4 | -14 | -0.3 | -1.4 | 0 | -25 | 0 | -200 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -5 | -1 | -50 | 0 | 0 | -3 | 90.86 | 0 | 0
20:45 - 21:00 | -2.4 | -30 | -0.3 | -1.4 | 0 | -25 | 0 | -200 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | -5 | -1 | -40 | 0 | 0 | -3 | 92.83 | 0 | 0
21:00 - 21:15 | -2.4 | -13 | -0.3 | -1.4 | 0 | -25 | 0 | -200 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 26.71 | 0 | 0
21:15 - 21:30 | -2.4 | -13 | -0.3 | -1.4 | 0 | -25 | 0 | -200 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | -15 | 0 | 0 | -3 | 32.74 | 0 | 0
21:30 - 21:45 | -2.4 | -13 | -0.8 | -1.4 | 0 | -25 | 0 | -200 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 50.22 | 0 | 0
21:45 - 22:00 | -2.4 | -13 | -0.8 | -1.4 | 0 | -25 | 0 | -200 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 49.85 | 0 | 0
22:00 - 22:15 | -2.4 | -30 | -0.8 | -1.4 | 0 | 0 | 0 | -200 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | -50 | 0 | 0 | -3 | 0 | 0 | -1
22:15 - 22:30 | -2.4 | -13 | -0.8 | -1.4 | 0 | 0 | 0 | -200 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | -20 | 0 | 0 | -3 | 0 | 0 | -1
22:30 - 22:45 | -2.4 | -13 | -0.3 | -1.4 | 0 | 3.12 | 0 | -200 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | 0
22:45 - 23:00 | -2.4 | -13 | -0.3 | -1.4 | 0 | 2.94 | 0 | -200 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -1 | -10 | 0 | 0 | -3 | 0 | 0 | 0
23:00 - 23:15 | -2.4 | -12 | -0.3 | -1.4 | 0 | 7 | 0 | -170 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | 0
23:15 - 23:30 | -2.4 | -12 | -0.3 | -1.4 | 0 | 7.76 | 0 | -170 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | -3 | 0 | 0 | 0
23:30 - 23:45 | -2.4 | -12 | -0.3 | -1.4 | 0 | 10.32 | 0 | -170 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -60 | 0 | 0 | -3 | 0 | 0 | 0
23:45 - 24:00 | -2.4 | -30 | -0.3 | -1.4 | 0 | 11.76 | 0 | -170 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -60 | 0 | 0 | -3 | 0 | 0 | 0
Average | -2.2125 | -2.6199 | -0.53958 | -1.0523 | -0.53125 | -248.6388 | 0.4 | -49.5833 | -0.62292 | -24.875 | -0.43854 | -0.20833 | 0.68333 | 2.0042 | 1.5637 | -0.45833 | 0.27094 | -2.7083 | -1.125 | -19.9375 | 4.6092 | 0.33063 | -1.5833 | 24.7952 | -1.1875 | -2.0117