## POWER STATUS
POWER STATUS ON DT 21.09.2026
[9 empty] | 2026-09-21 | 2026-09-20
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 23:00
Demand -> | [8 empty] | 5492.0517 | 5966.3656
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 245.21 | 5.885 | 630/590 ft | 629.97 | 629.93 | 630 | 197.9912 | 243.7184
| Chiplima | 72(3x24) | 62.75 | 1.506 | - |  |  |  | 62.4774 | 63.8619
| Balimela | 510(6x60+2x75) | 35.13 | 0.84312 | 1516/1440 ft | 1491.1 | 1482.8 | 1483 | 0 | 241.0699
| Rengali | 250(5x50) | 242.09 | 5.8102 | 123.5/109.75 mt | 123.44 | 122.77 | 122.79 | 243.9017 | 243.9884
| Upper Kolab | 320(4x80) | 76.63 | 1.8391 | 858/844 mt | 856.11 | 853.06 | 853.09 | -2.6368e-16 | 221.7087
| Upper Indravati [gate-1 (0.5 m)] | 600(4x150) | 589.56 | 14.1494 | 642/625 mt | 638.16 | 640.29 | 640.15 | 605.9971 | 602.6268
| Machkund | 60(50% of(3x17+3x23)) | 11 | 0.264 | 2750/2685 ft | 2748.5 | 2735.4 | 2735.7 | 16.6844 | 10.3915
| Total Hydro | 2099.5 | 1262.37 | 30.2969 |  |  |  |  | 1127.0517 | 1627.3656
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1649.54 | 39.589 | RENEWABLE ENERGY (RE) |  |  |  | 396 | 390
[5 empty] | M.Hydl | 126.71
| Total Thermal | 2200 | 1649.54 | 39.589 | Solar | 108.33 |  |  | 396 | 390
IPP | VEDANTA #2 | 600 (1x600) | 429.4181 | 10.306 | Total IPPs | Yesterday's Demand Profile |  |  | 395.9569 | 532.3831
| GMR #3 | 350 (1x350) | 316.6965 | 7.6007 | 795.9279 |  | MW | HRS | 328.601 | 330.9754
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 49.8133 | 1.1955 |  |  |  |  | 56.3168 | 56.0979
| CGPs |  | 1188.8869 | 28.5333 | IPPs, CGPs & RE | Maximum | 5966 | 23:00 | 2205 | 2236
| Central Sector(Drawl) |  | 1713.2066 | 41.117 | 2219.8548 | Minimum | 5095 | 06:00 | 1764 | 1713
| Central Sector(Sch) |  | 1740.74 | 41.7778 |  | Average | 6844.9714 |  | 1795 | 1741
| Grand Total |  | 6844.9714 | 164.2793 | Instantaneous Peak demand |  | 6341.9087 | 46285.9667 | 5492.0517 | 5966.3656
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(2)
Burla | 7 | IbTPS / OPGC | 3,4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1662.8555 | 39.9085 | 1621.1669 | 38.908 | 1686.8981 | 40.4856
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1715.69 | 41.1766 | 1691.784 | 40.6028 | 1434.996 | 34.4399
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1456.8425 | 34.9642 | 1442.1985 | 34.6128 | 1459.9793 | 35.0395
U.Kolab | 2 | KAHALGAON | NIL | TPSODL | 594.8325 | 14.276 | 598.7485 | 14.37 | 596.5547 | 14.3173
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5430.2204 | 130.3253 | 5353.8979 | 128.4935 | 5178.4281 | 124.2823
Machhkund | 3,4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 396 | GMR |  |  |  | 326
| NBVL #3 | 0 | MDTPC |  |  |  | 56
Mini Hydel: | MEENAKSHI | 40 | OPCL |  |  |  | 0
| BTPL | 28 | SAPTADHARA |  |  |  | 20
Solar: |  | 212 | KAKATIYA |  |  |  | 7
CGPs : | JSPL (Angul) | 443.0609 | JSL(Duburi) |  |  |  | -152.5527
| ICCL | 45.3602 | visa |  |  |  | 21.1157
| NALCO | -120.7893 | VAL (CGP) |  |  |  | 67.189
| RSP | -81.5593 | BSL(MMDL) |  |  |  | 160.3634
| INDAL | -2.0818 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -23.0235 | VAL CPP 400 kV |  |  |  | -447.9492
| NBVL | 54.1867 | Arati |  |  |  | 30.3806
| BPSL(JSG) | 1.9935 | BPPL |  |  |  | 121.0077
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-13 | 2026-09-14 | 2026-09-15 | 2026-09-16 | 2026-09-17 | 2026-09-18 | 2026-09-19 | 2026-09-20
1180.924 | 1178.4595 | 1201.805 | 1263.2 | 1262.8949 | 1255.0008 | 1246.1101 | 1262.37
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.20.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | 0 | AARTISTEEL | UPPCL | 0 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.22
AARTISTEEL | KPTCL | -5 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -1.55 | ABRELRJ_W_FTG3 | ULTRATECH_CLU_ODISHA | 0
AMNSIL_Pdeep | AMNSIL | -12.18 | DCBL_Rajgangpur | DalmiaCementNEL2 | -0.75 | AGE26AL_PSS6_KPS1_S | ODISHA | 134.67
ARYAN_ISPAT | BALCO_LOAD | -5 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AP41PL_BHDL | ODISHA | 57.61
ENVIROCARE_INFRA | APCPDCL | -13 | FACORPOWER | PSPCL | -8.75 | AP43PL_BKN | ODISHA | 89.82
FACORPOWER | RUVITSL | -3.33 | FACORPOWER | PSPCL | -21.25 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 0.64
GMRKEL_STU | GEB_Beneficiary | -61.9 | FACORPOWER | RUVITSL | -4 | AWEK1L | ODISHA | 1.94
GMRKEL_STU | TNEB | -15.75 | JSPLANGUL | RUVITSL | -2.08 | AWEK1L | ODISHA | 2.91
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | RUVITSL | -3.12 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 5.89
JPIPL | NPCL_UP | 0 | JSPLANGUL | RUVITSL | -106.25 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 10.98
JSPLANGUL | GEB_Beneficiary | -110 | JSPLANGUL | RUVITSL | -70.83 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 17.75
JSPLANGUL | RUVITSL | -27.08 | NBVLIPP | BSPHCL | -12.54 | DADRI_SOLAR | ODISHA | 0.66
JSPLANGUL | RUVITSL | -40.62 | NBVLIPP | RUVITSL | -5.38 | ENERSON_SOLAR_10MW | ODISHA | 0.74
MAADURGA_THERMAL | NPCL_UP | -19.45 | NPSRL | TPL_DIS_DHOLERA | -3 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -1.92 | OCL_IRON_STEEL | TPDDL | -10.21 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -5.75 | OCL_IRON_STEEL | TPDDL | -24.79 | GADAG_GreenInfra_W | ODISHA | 0.17
NBVLIPP | KPTCL | -3.83 | ODISHA | TANGEDCO | -12.5 | GADAG_Serentica3_S | VLSEZ | 36.48
NBVLIPP | TANGEDCO | 0 | ODISHA | TANGEDCO | -6.25 | GADAG_Serentica3_W | VLSEZ | 10.98
ORSISL | BALCO_LOAD | -5 | ODISHA | TANGEDCO | -18.75 | GIWEL_SECI_II_RE | ODISHA | 11.12
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | ODISHA | TANGEDCO | -12.5 | GPCL_SOLAR_10 | ODISHA | 0.86
VSL | APCPDCL | -5 | ORSISL | TPLD | -2.5 | GSECL_SOLAR | ODISHA | 1.4
FARIDABAD_SOLAR | ODISHA | 0.86 | RSPL_JHARSUGUDA | TPL_DIS_AHM | -15 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.87
JSWEL_UTKAL | ODISHA | 68.81 | SMEL | CESC | -6 | KARUR_TPVARDHAMAN_W | TSKPO | 26.49
RAJ_SOLAR | ODISHA | 2.62 | SMEL | PSPCL | -17.71 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.1
RAJ_SOLAR | ODISHA | 2.34 | SMEL | PSPCL | -7.29 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.65
|  |  | Shri_JSPL | KSEB | -2 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.34
|  |  | TIMES_STEEL | DNHDDPDCL | -1.67 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.65
|  |  | TSBSLA | DNHDDPDCL | -17.5 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | VIRAJ_SEPL | PSPCL | -4.96 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.01
|  |  | VIRAJ_SEPL | PSPCL | -2.04 | OKWPL_RE | ODISHA | 5.6
|  |  | VSL | DNHDDPDCL | -5 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 0.38
|  |  | VSL | TANGEDCO | -10 | RWE_AP2_SECI_III | ODISHA | 4.73
|  |  | Darlipali_NTPC | ODISHA | 62.32 | RenewGreen_SLPR_HS | JSL_DUBURI | 4.83
|  |  | JIPL | ODISHA | 115.44 | SRI9PL_FTG3 | VLSEZ | 88.38
|  |  | NALCOAP | NACL_Odisha | 2.77 | TPVSL_BKN3 | TSKPO | 12.59
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 23.53
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 2.87
[6 empty] | XXPPL_FTG3 | ODISHA | 67.17

## DAM
DAM TRADING DETAILS FOR DT : 20.09.2026
Time Period | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd)
00:00 - 00:15 | 0 | 15.9 | 0 | -50 | -1 | 0 | -2 | -3 | 0
00:15 - 00:30 | 0 | 15.57 | 0 | -50 | -1 | 0 | -2 | -3 | 0
00:30 - 00:45 | 0 | 15.62 | 0 | -50 | -1 | 0 | -2 | -3 | 0
00:45 - 01:00 | 0 | 15.36 | 0 | -50 | -1 | 0 | -2 | -3 | 0
01:00 - 01:15 | 0 | 21.86 | 0 | -50 | -1 | 0 | -2 | -3 | 0
01:15 - 01:30 | 0 | 22.36 | 0 | -50 | -1 | 0 | -2 | -3 | 0
01:30 - 01:45 | 0 | 24.58 | 0 | -50 | -1 | 0 | -2 | -3 | 0
01:45 - 02:00 | 0 | 28.27 | 0 | -50 | -1 | 0 | -2 | -3 | 0
02:00 - 02:15 | 0 | 37.93 | 0 | -50 | -1 | 0 | -2 | 0 | 0
02:15 - 02:30 | 0 | 38.13 | 0 | -50 | -1 | 0 | -2 | 0 | 0
02:30 - 02:45 | 0 | 41.62 | 0 | -50 | -1 | 0 | -2 | 0 | 0
02:45 - 03:00 | 0 | 43.77 | 0 | -50 | -1 | 0 | -2 | 0 | 0
03:00 - 03:15 | 0 | 40.28 | 0 | -50 | -1 | 0 | -2 | 0 | 0
03:15 - 03:30 | 0 | 42.35 | 0 | -50 | -1 | 0 | -2 | 0 | 0
03:30 - 03:45 | 0 | 44.6 | 0 | -50 | -1 | 0 | -2 | 0 | 0
03:45 - 04:00 | 0 | 46.18 | 0 | -50 | -1 | 0 | -2 | 0 | 0
04:00 - 04:15 | 0 | 44.43 | 0 | -50 | -1 | 0 | -2 | 0 | 0
04:15 - 04:30 | 0 | 44.52 | 0 | -50 | -1 | 0 | -2 | 0 | 0
04:30 - 04:45 | 0 | 43.14 | 0 | -50 | -1 | 0 | -2 | 0 | 0
04:45 - 05:00 | 0 | 43.76 | 0 | -50 | -1 | 0 | -2 | 0 | 0
05:00 - 05:15 | 0 | 22.82 | 0 | -50 | -1.2 | 0 | -2 | -3 | 0
05:15 - 05:30 | 0 | 17.63 | 0 | -50 | -1.2 | 0 | -2 | -3 | 0
05:30 - 05:45 | 0 | 20.33 | 0 | -50 | -1.2 | 0 | -2 | -3 | 0
05:45 - 06:00 | 0 | 22.91 | 0 | -50 | -1.2 | 0 | -2 | -3 | 0
06:00 - 06:15 | -25.5 | 0 | 0 | -50 | -1.2 | 0 | -2 | -3 | 0
06:15 - 06:30 | -25.5 | 0 | 0 | -50 | -1.2 | 0 | -2 | -3 | 0
06:30 - 06:45 | -25.5 | 0 | 0 | -50 | -1.2 | 0 | -2 | -3 | 0
06:45 - 07:00 | -25.5 | 0 | 0 | -50 | -1.2 | 0 | -2 | -3 | 0
07:00 - 07:15 | -25.5 | 0 | 0 | -50 | -1.2 | 0 | -2 | -3 | 0
07:15 - 07:30 | -25.5 | 0 | 0 | -50 | -1.2 | 0 | -2 | -3 | 0
07:30 - 07:45 | -25.5 | 0 | 0 | -50 | -1.2 | 0 | -2 | -3 | 0
07:45 - 08:00 | -25.5 | 0 | 0 | -50 | -1.2 | 0 | -2 | -3 | 0
08:00 - 08:15 | 0 | -250 | 0 | 0 | -1.2 | 0 | -1 | -45.5 | 0
08:15 - 08:30 | 0 | -250 | 0 | 0 | -1.2 | 0 | -1 | -45.5 | 0
08:30 - 08:45 | 0 | -250 | 0 | 0 | -1.2 | 0 | -1 | -45.5 | 0
08:45 - 09:00 | 0 | -250 | 0 | 0 | -1.2 | 0 | -1 | -45.5 | 0
09:00 - 09:15 | 0 | -375 | 0 | 0 | -1.2 | 0 | -1 | -45.5 | 0
09:15 - 09:30 | 0 | -375 | 0 | 0 | -1.2 | 9.62 | -1 | -45.5 | 0
09:30 - 09:45 | 0 | -375 | 0 | 0 | -1.2 | 9.62 | -1 | -45.5 | 0
09:45 - 10:00 | 0 | -375 | 0 | 0 | -1.2 | 9.62 | -1 | -45.5 | 9.62
10:00 - 10:15 | 0 | -100 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
10:15 - 10:30 | 0 | -100 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
10:30 - 10:45 | 0 | -74.85 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
10:45 - 11:00 | 0 | -55.92 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
11:00 - 11:15 | 0 | 0 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
11:15 - 11:30 | 0 | 0 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
11:30 - 11:45 | 0 | 0 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
11:45 - 12:00 | 0 | 0 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
12:00 - 12:15 | 0 | 0 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
12:15 - 12:30 | 0 | 0 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
12:30 - 12:45 | 0 | 0 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
12:45 - 13:00 | 0 | 0 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
13:00 - 13:15 | 0 | 0 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
13:15 - 13:30 | 0 | 0 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
13:30 - 13:45 | 0 | 0 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
13:45 - 14:00 | 0 | 0 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
14:00 - 14:15 | 0 | 0 | 33.67 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
14:15 - 14:30 | 0 | 0 | 33.67 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
14:30 - 14:45 | 0 | 0 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
14:45 - 15:00 | 0 | 0 | 0 | 0 | -1.2 | 9.62 | -1 | -34 | 9.62
15:00 - 15:15 | 0 | -450 | 0 | 0 | -1.2 | 0 | -2 | -45.5 | 0
15:15 - 15:30 | 0 | -450 | 0 | 0 | -1.2 | 0 | -2 | -45.5 | 0
15:30 - 15:45 | 0 | -450 | 0 | 0 | -1.2 | 0 | -2 | -45.5 | 0
15:45 - 16:00 | 0 | -450 | 0 | 0 | -1.2 | 0 | -2 | -45.5 | 0
16:00 - 16:15 | -25.5 | -400 | 0 | 0 | -1.2 | 0 | -2 | 0 | 0
16:15 - 16:30 | -25.5 | -400 | 0 | -50 | -1.2 | 0 | -2 | 0 | 0
16:30 - 16:45 | -25.5 | -400 | 0 | -50 | -1.2 | 0 | -2 | 0 | 0
16:45 - 17:00 | -25.5 | -400 | 0 | -50 | -1.2 | 0 | -2 | 0 | 0
17:00 - 17:15 | -25.5 | 0 | 0 | -50 | -1 | 0 | -2 | 0 | 0
17:15 - 17:30 | -25.5 | 0 | 0 | -50 | -1 | 0 | -2 | 0 | 0
17:30 - 17:45 | -25.5 | 0 | 0 | -50 | -1 | 0 | -2 | 0 | 0
17:45 - 18:00 | -25.5 | 0 | 0 | -50 | -1 | 0 | -2 | 0 | 0
18:00 - 18:15 | 0 | 99.4 | 0 | -50 | -1 | 0 | -2 | 0 | 0
18:15 - 18:30 | 0 | 72.07 | 0 | -50 | -1 | 0 | -2 | 0 | 0
18:30 - 18:45 | 0 | 99.15 | 0 | -50 | -1 | 0 | -2 | 0 | 0
18:45 - 19:00 | 0 | 94.82 | 0 | -50 | -1 | 0 | -2 | 0 | 0
19:00 - 19:15 | 0 | 8.78 | 0 | -50 | -1 | 0 | -2 | -3 | 0
19:15 - 19:30 | 0 | 8.26 | 0 | -50 | -1 | 0 | -2 | -3 | 0
19:30 - 19:45 | 0 | 5.94 | 0 | -50 | -1 | 0 | -2 | -3 | 0
19:45 - 20:00 | 0 | 5.95 | 0 | -50 | -1 | 0 | -2 | -3 | 0
20:00 - 20:15 | 0 | 10.88 | 0 | -50 | -1 | 0 | -2 | -3 | 0
20:15 - 20:30 | 0 | 12.05 | 0 | -50 | -1 | 0 | -2 | -3 | 0
20:30 - 20:45 | 0 | 2.47 | 0 | -50 | -1 | 0 | -2 | -3 | 0
20:45 - 21:00 | 0 | 2.89 | 0 | -50 | -1 | 0 | -2 | -3 | 0
21:00 - 21:15 | 0 | 0.02 | 0 | -50 | -1 | 0 | -2 | -3 | 0
21:15 - 21:30 | 0 | 0.89 | 0 | -50 | -1 | 0 | -2 | -3 | 0
21:30 - 21:45 | 0 | 0.09 | 0 | -50 | -1 | 0 | -2 | -3 | 0
21:45 - 22:00 | 0 | 8.04 | 0 | -50 | -1 | 0 | -2 | -3 | 0
22:00 - 22:15 | 0 | 7.86 | 0 | -50 | -1 | 0 | -2 | -3 | 0
22:15 - 22:30 | 0 | 7.27 | 0 | -50 | -1 | 0 | -2 | -3 | 0
22:30 - 22:45 | 0 | 3.14 | 0 | -50 | -1 | 0 | -2 | -3 | 0
22:45 - 23:00 | 0 | 3.06 | 0 | -50 | -1 | 0 | -2 | -3 | 0
23:00 - 23:15 | 0 | 20.24 | 0 | -50 | -1 | 0 | -2 | -3 | 0
23:15 - 23:30 | 0 | 23.27 | 0 | -50 | -1 | 0 | -2 | -3 | 0
23:30 - 23:45 | 0 | 32.61 | 0 | -50 | -1 | 0 | -2 | -3 | 0
23:45 - 24:00 | 0 | 32.25 | 0 | -50 | -1 | 0 | -2 | -3 | 0
Average | -4.25 | -51.2026 | 0.70146 | -32.8125 | -1.1 | 2.3048 | -1.7083 | -14.0208 | 2.1044

## GDAM
GDAM TRADING DETAILS FOR DT:20.09.2026
Time Period | Time Period | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Ferrous_Limited | Orissa_Metaliks_Private_Limited | Tata_Steel_Limited_Ferro_Alloys_Plant_Balasore | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda
00:00 - 00:15 | 00:00 - 00:15 | 11.25 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | 00:15 - 00:30 | 11.38 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | 00:30 - 00:45 | 11.32 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | 00:45 - 01:00 | 11.26 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | 01:00 - 01:15 | 13.56 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | 01:15 - 01:30 | 13.13 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | 01:30 - 01:45 | 14.67 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | 01:45 - 02:00 | 14.71 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | 02:00 - 02:15 | 10.87 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | 02:15 - 02:30 | 10.88 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | 02:30 - 02:45 | 10.86 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | 02:45 - 03:00 | 10.86 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | 03:00 - 03:15 | 10.21 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | 03:15 - 03:30 | 10.19 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | 03:30 - 03:45 | 10 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | 03:45 - 04:00 | 10.07 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | 04:00 - 04:15 | 8.85 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | 04:15 - 04:30 | 8.53 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | 04:30 - 04:45 | 8.74 | 0 | 0 | 0 | 0 | 0
04:45 - 05:00 | 04:45 - 05:00 | 7.84 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | 05:00 - 05:15 | 0.11 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | 05:15 - 05:30 | 0.02 | 0 | 0 | 0 | 0 | 0
05:30 - 05:45 | 05:30 - 05:45 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | 05:45 - 06:00 | 0.02 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | 06:00 - 06:15 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | 06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 07:00 - 07:15 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | 07:15 - 07:30 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | 07:30 - 07:45 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | 07:45 - 08:00 | 0 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | 08:00 - 08:15 | 0 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | 08:15 - 08:30 | 0 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | 08:30 - 08:45 | 0 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 08:45 - 09:00 | 0 | 0 | 0 | 6.25 | 0 | 0
09:00 - 09:15 | 09:00 - 09:15 | 0 | 0 | 0 | 6.25 | 0 | 48.1
09:15 - 09:30 | 09:15 - 09:30 | 0 | 0 | 0 | 6.25 | 0 | 96.2
09:30 - 09:45 | 09:30 - 09:45 | 0 | 0 | 0 | 6.25 | 0 | 144.3
09:45 - 10:00 | 09:45 - 10:00 | 0 | 0 | 28.86 | 6.25 | 0 | 185.67
10:00 - 10:15 | 10:00 - 10:15 | 0 | 33.67 | 28.86 | 6.25 | 3.85 | 185.67
10:15 - 10:30 | 10:15 - 10:30 | 0 | 33.67 | 28.86 | 6.25 | 3.85 | 185.67
10:30 - 10:45 | 10:30 - 10:45 | 0 | 33.67 | 28.86 | 6.25 | 3.85 | 185.67
10:45 - 11:00 | 10:45 - 11:00 | 0 | 33.67 | 28.86 | 6.25 | 3.85 | 185.67
11:00 - 11:15 | 11:00 - 11:15 | 0 | 33.67 | 28.86 | 6.25 | 3.85 | 185.67
11:15 - 11:30 | 11:15 - 11:30 | 0 | 33.67 | 28.86 | 6.25 | 3.85 | 185.67
11:30 - 11:45 | 11:30 - 11:45 | 0 | 33.67 | 28.86 | 6.25 | 3.85 | 185.67
11:45 - 12:00 | 11:45 - 12:00 | 0 | 33.67 | 28.86 | 6.25 | 3.85 | 185.67
12:00 - 12:15 | 12:00 - 12:15 | 0 | 33.67 | 28.86 | 6.25 | 3.85 | 185.67
12:15 - 12:30 | 12:15 - 12:30 | 0 | 33.67 | 28.86 | 6.25 | 3.85 | 185.67
12:30 - 12:45 | 12:30 - 12:45 | 0 | 33.67 | 28.86 | 6.25 | 3.85 | 185.67
12:45 - 13:00 | 12:45 - 13:00 | 0 | 33.67 | 28.86 | 6.25 | 3.85 | 185.67
13:00 - 13:15 | 13:00 - 13:15 | 0 | 33.67 | 28.86 | 6.25 | 3.85 | 185.67
13:15 - 13:30 | 13:15 - 13:30 | 0 | 33.67 | 28.86 | 6.25 | 3.85 | 185.67
13:30 - 13:45 | 13:30 - 13:45 | 0 | 33.67 | 28.86 | 6.25 | 3.85 | 185.67
13:45 - 14:00 | 13:45 - 14:00 | 0 | 33.67 | 28.86 | 6.25 | 3.85 | 185.67
14:00 - 14:15 | 14:00 - 14:15 | 0 | 0 | 28.86 | 6.25 | 0 | 185.67
14:15 - 14:30 | 14:15 - 14:30 | 0 | 0 | 0 | 6.25 | 0 | 185.67
14:30 - 14:45 | 14:30 - 14:45 | 0 | 0 | 0 | 6.25 | 0 | 185.67
14:45 - 15:00 | 14:45 - 15:00 | 0 | 0 | 0 | 6.25 | 0 | 185.67
15:00 - 15:15 | 15:00 - 15:15 | 0 | 0 | 0 | 6.25 | 0 | 185.67
15:15 - 15:30 | 15:15 - 15:30 | 0 | 0 | 0 | 0 | 0 | 144.3
15:30 - 15:45 | 15:30 - 15:45 | 0 | 0 | 0 | 0 | 0 | 96.2
15:45 - 16:00 | 15:45 - 16:00 | 0 | 0 | 0 | 0 | 0 | 48.1
16:00 - 16:15 | 16:00 - 16:15 | 0 | 0 | 0 | 0 | 0 | 0
16:15 - 16:30 | 16:15 - 16:30 | 0 | 0 | 0 | 0 | 0 | 0
16:30 - 16:45 | 16:30 - 16:45 | 0 | 0 | 0 | 0 | 0 | 0
16:45 - 17:00 | 16:45 - 17:00 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | 17:00 - 17:15 | 0 | 0 | 0 | 0 | 0 | 0
17:15 - 17:30 | 17:15 - 17:30 | 0 | 0 | 0 | 0 | 0 | 0
17:30 - 17:45 | 17:30 - 17:45 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | 17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 18:00 - 18:15 | 71.8 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 18:15 - 18:30 | 37.18 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 18:30 - 18:45 | 18.97 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 18:45 - 19:00 | 9.18 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 19:00 - 19:15 | 0.32 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 19:15 - 19:30 | 0.1 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 19:30 - 19:45 | 5.98 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 19:45 - 20:00 | 6.18 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 20:00 - 20:15 | 7.17 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 20:15 - 20:30 | 7.56 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 20:30 - 20:45 | 7.87 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 20:45 - 21:00 | 9.22 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 21:00 - 21:15 | 7.61 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 21:15 - 21:30 | 7.62 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 21:30 - 21:45 | 8.32 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 21:45 - 22:00 | 7.49 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 22:00 - 22:15 | 7.65 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 22:15 - 22:30 | 6.59 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 22:30 - 22:45 | 6.26 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 22:45 - 23:00 | 6.2 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 23:00 - 23:15 | 6.35 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 23:15 - 23:30 | 6.33 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 23:30 - 23:45 | 6.36 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 23:45 - 24:00 | 6.44 | 0 | 0 | 0 | 0 | 0
Average | #DIV/0! | 5.0425 | 5.6117 | 5.4113 | 1.6927 | 0.64167 | 48.5619

## RTM
RTM TRADING DETAILS FOR DT: 20.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | KJS_Ahluwalia_(Steel_&_Power_Division) | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | The_Ramco_Cements_Limited_Odisha | Times_Steel_&_Power_Private_limited | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -1.8 | 0 | -1.8 | -1.4 | 2.84 | 0 | -120 | 0 | 0 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -1
00:15 - 00:30 | -1.8 | 0 | -1.8 | -1.4 | 2.79 | 0 | -120 | 0 | 0 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -60 | 0 | 0 | 0 | -1
00:30 - 00:45 | -1.8 | -5 | -1.8 | -1.4 | 1.22 | 0 | -120 | 0 | 0 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | -1
00:45 - 01:00 | -1.8 | -5 | -1.8 | -1.4 | 1.36 | 0 | -120 | 0 | 0 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -1
01:00 - 01:15 | -1.2 | -16 | -1.8 | -1.4 | 1.35 | 0 | -130 | 0 | 0 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | -50 | 0 | 0 | 0 | -1
01:15 - 01:30 | -1.2 | -16 | -1.8 | -1.4 | 1.36 | 0 | -130 | 0 | 0 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | -20 | 0 | 0 | 0 | -1
01:30 - 01:45 | -1.2 | -5 | -1.8 | -1.4 | 2.55 | 0 | -130 | 0 | 0 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | -1
01:45 - 02:00 | -1.2 | -5 | -1.8 | -1.4 | 2.71 | 0 | -130 | 0 | 0 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | -1
02:00 - 02:15 | -1.2 | -5 | -1.8 | -1.4 | 4.48 | 0 | -130 | 0 | 0 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | -1
02:15 - 02:30 | -1.2 | -5 | -1.8 | -1.4 | 5.5 | 0 | -130 | 0 | 0 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | -1
02:30 - 02:45 | -1.2 | -14 | -1.8 | -1.4 | 5.34 | 0 | -129.99 | 0 | 0 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | -1
02:45 - 03:00 | -1.2 | -16 | -1.8 | -1.4 | -50 | 0 | -130 | 0 | 0 | 0 | -23 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | -60 | 0 | 0 | 0 | -1
03:00 - 03:15 | -1.2 | -4 | -1.8 | -1.4 | -100 | 0 | -130 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | -1
03:15 - 03:30 | -1.2 | -4 | -1.8 | -1.4 | -50 | 0 | -130 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | -1
03:30 - 03:45 | -1.2 | -4 | -1.8 | -1.4 | -100 | 0 | -130 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | -40 | 0 | 0 | 0 | -1
03:45 - 04:00 | -1.2 | -4 | -1.8 | -1.4 | -100 | 0 | -130 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | -10 | 0 | 0 | 0 | -1
04:00 - 04:15 | -1.2 | -17 | -1.8 | -1.4 | -200 | 0 | -130 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | -20 | 0 | 0 | 3.31 | -1
04:15 - 04:30 | -1.2 | -4 | -1.8 | -1.4 | -100 | 0 | -130 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | -20 | 0 | 0 | 3.09 | -1
04:30 - 04:45 | -1.2 | -4 | -1.8 | -1.4 | -100 | 0 | -140 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 3.48 | -1
04:45 - 05:00 | -1.2 | -4 | -1.8 | -1.4 | -100 | 0 | -140 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | -10 | 0 | 0 | 3.46 | -1
05:00 - 05:15 | -1.2 | -9 | -1.8 | -1.4 | -100 | 0 | -140 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -1 | -45 | 0 | 0 | 3.47 | -1
05:15 - 05:30 | -1.2 | -9 | -1.8 | -1.4 | -200 | 0 | -140 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -1 | -15 | 0 | 0 | 8.79 | -1
05:30 - 05:45 | -1.2 | -3 | -2.3 | -1.4 | -200 | 0 | -140 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -1 | 0 | 0 | 0 | 47.41 | -1
05:45 - 06:00 | -1.2 | -3 | -2.3 | -1.4 | -300 | 0 | -140 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | -4 | 0 | -5 | -1 | -30 | 0 | 0 | 52.7 | -1
06:00 - 06:15 | -1.2 | -2 | -2.3 | -1.4 | -400 | 0 | -140 | 0 | -0.2 | 0 | -24.5 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -1 | -45 | 0 | 0 | 54.86 | -5
06:15 - 06:30 | -1.2 | -16 | -2.3 | -1.4 | -300 | 0 | -140 | 0 | -0.3 | 0 | -24.5 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 52.28 | -5
06:30 - 06:45 | -1.2 | -16 | -2.3 | -1.4 | -400 | 0 | -130 | 0 | -0.4 | 0 | -24.5 | -0.4 | -2 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 48.08 | -5
06:45 - 07:00 | -1.2 | -2 | -2.3 | -1.4 | -400 | 0 | -130 | 0 | -0.7 | 0 | -24.5 | -0.8 | -2 | 0 | 0 | 0 | 0 | 0 | -1 | -15 | 0 | 0 | 43.64 | -5
07:00 - 07:15 | -1.2 | -1 | -1.8 | -1.4 | -600 | 0 | -130 | 0 | -0.8 | 0 | -24.5 | -1.2 | -2 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 31.94 | -5
07:15 - 07:30 | -1.2 | -1 | -1.8 | -1.4 | -600 | 0 | -130 | 0 | -1 | 0 | -24.5 | -1.3 | -2 | 0 | 0 | 0 | 0 | 0 | -1 | -40 | 0 | 0 | 38.29 | -5
07:30 - 07:45 | -1.2 | -11 | -1.8 | -1.4 | -600 | 0 | -130 | 0 | -1.1 | 0 | -24.5 | -1.7 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -50 | 0 | 0 | 209.7 | -5
07:45 - 08:00 | -1.2 | -11 | -1.8 | -1.4 | -700 | 0 | -130 | 0 | -1.3 | 0 | -24.5 | -2.1 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 476.89 | -5
08:00 - 08:15 | -1.2 | 0 | -2.3 | -1.4 | -460.34 | 10.58 | 0 | 0 | -1.5 | 0 | -24.5 | -2.5 | 0 | 0 | 17.32 | 0 | 0 | 0 | -1 | -5 | 0 | 0 | 80.81 | -5
08:15 - 08:30 | -1.2 | 0 | -2.3 | 0 | -378.1 | 10.58 | 0 | 0 | -1.7 | 9.62 | -24.5 | -2.9 | 0 | 21.16 | 17.32 | 0 | 0 | 0 | -1 | -10 | 5.29 | 0 | 240.5 | -5
08:30 - 08:45 | -1.2 | 0 | -2.3 | 0 | 35.35 | 10.58 | 0 | 0 | -1.8 | 0 | -24.5 | -3.1 | 0 | 0 | 17.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44.25 | -5
08:45 - 09:00 | -1.2 | 0 | -2.3 | 0 | 32.06 | 10.58 | 0 | 0 | -2 | 0 | -24.5 | -3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 15.39 | -5
09:00 - 09:15 | -1.2 | -16 | -1.8 | 0 | 221.24 | 10.58 | 0 | 0 | -2.2 | 0 | -24.5 | -3.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -50 | 0 | 0 | 39.44 | 0
09:15 - 09:30 | -1.2 | -2 | -1.8 | 0 | 224.46 | 10.58 | 0 | 0 | -2.4 | 0 | -24.5 | -4.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.47 | 0
09:30 - 09:45 | -1.2 | -2 | -1.8 | 0 | -253.33 | 10.58 | 0 | 0 | -2.5 | 0 | -24.5 | -4.4 | 0 | 0 | 0 | 0 | 2.89 | 0 | 0 | 0 | 0 | 0 | 0 | 0
09:45 - 10:00 | -1.2 | -2 | -1.8 | 0 | -352.07 | 10.58 | 0 | 0 | -2.7 | 0 | -24.5 | -4.6 | 0 | 0 | 17.31 | 0 | 2.89 | 0 | 0 | -45 | 0 | 0 | 0 | 0
10:00 - 10:15 | -1.2 | 0 | -1.8 | 0 | -593.29 | 10.58 | 0 | 0 | -2.8 | 0 | -24.5 | -4.7 | 0 | 0 | 17.31 | 0 | 2.89 | 0 | 0 | -38 | 0 | -4 | 0 | 0
10:15 - 10:30 | -1.2 | 0 | -1.8 | 0 | -492.98 | 10.58 | 0 | 0 | -3 | 0 | -24.5 | -5 | 0 | 7.7 | 17.31 | 0 | 2.89 | 0 | 0 | -38 | 0 | -4 | 0 | 0
10:30 - 10:45 | -1.2 | -16 | -2.2 | 0 | -624.93 | 10.58 | 0 | 0 | -3 | 0 | -24.5 | -5 | 0 | 0 | 0 | 0 | 2.89 | 0 | 0 | -65 | 0 | -4 | 0 | 0
10:45 - 11:00 | -1.2 | 0 | -2.2 | 0 | -624.94 | 10.58 | 0 | 0 | -3.1 | 0 | -24.5 | -5.2 | 0 | 0 | 0 | 0 | 2.89 | 0 | 0 | -30 | 0 | -4 | 0 | 0
11:00 - 11:15 | -1.2 | 0 | -2.2 | 0 | -889.49 | 10.58 | 0 | 0 | -3.2 | 0 | -24.5 | -5.2 | 0 | 7.7 | 10.58 | 0 | 2.89 | 0 | 0 | 0 | 0 | -4 | 0 | 0
11:15 - 11:30 | -1.2 | 0 | -2.2 | 0 | -882.08 | 10.58 | 0 | 0 | -3.2 | 0 | -24.5 | -5.3 | 0 | 7.7 | 10.58 | 0 | 2.89 | 0 | 0 | -10 | 0 | -4 | 0 | 0
11:30 - 11:45 | -1.2 | 0 | -2.2 | 0 | -887.75 | 10.58 | 0 | 0 | -3.3 | 0 | -24.5 | -5.4 | 0 | 7.7 | 10.58 | 0 | 2.89 | 0 | 0 | -10 | 0 | -4 | 0 | 0
11:45 - 12:00 | -1.2 | -16 | -2.2 | 0 | -936.85 | 10.58 | 0 | 0 | -3.1 | 0 | -24.5 | -5.4 | 0 | 7.7 | 10.58 | 0 | 2.89 | 0 | 0 | -45 | 0 | -4 | 0 | 0
12:00 - 12:15 | -1.2 | 0 | -2.2 | 0 | -930.01 | 10.58 | 0 | 0 | -2 | 0 | -24.5 | -5.4 | 0 | 7.7 | 10.58 | 0 | 3.85 | 0 | 0 | -45 | 10.58 | -4 | 0 | 0
12:15 - 12:30 | -1.2 | 0 | -2.2 | 0 | -934.99 | 10.58 | 0 | 0 | -2 | 0 | -24.5 | -5.3 | 0 | 7.7 | 10.58 | 0 | 3.85 | 0 | 0 | -45 | 10.58 | -4 | 0 | 0
12:30 - 12:45 | -1.2 | -2 | -2.2 | 0 | -676.75 | 0 | 0 | 0 | -1.8 | 0 | -24.5 | -5.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | -4 | 0 | 0
12:45 - 13:00 | -1.2 | -2 | -2.2 | 0 | -603.34 | 0 | 0 | 0 | -1.7 | 0 | -24.5 | -4.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0
13:00 - 13:15 | -1.2 | -8 | -2.2 | 0 | -505.47 | 10.58 | 0 | 0 | -3.1 | 0 | -24.5 | -4.3 | 0 | 11.55 | 10.58 | 0 | 3.85 | 0 | 0 | -30 | 10.58 | 0 | 0 | 0
13:15 - 13:30 | -1.2 | -8 | -2.2 | 0 | -646.87 | 10.58 | 0 | 0 | -3 | 0 | -24.5 | -4.1 | 0 | 11.55 | 10.58 | 0 | 3.85 | 0 | 0 | 0 | 10.58 | 0 | 0 | 0
13:30 - 13:45 | -1.2 | 0 | -2.2 | 0 | -780.24 | 10.58 | 0 | 0 | -2.7 | 0 | -24.5 | -3.9 | 0 | 7.7 | 10.58 | 0 | 3.85 | 0 | 0 | -20 | 0 | -4 | 0 | 0
13:45 - 14:00 | -1.2 | 0 | -2.2 | 0 | -749.67 | 10.58 | 0 | 0 | -1.4 | 0 | -24.5 | -4.1 | 0 | 0 | 0 | 0 | 3.85 | 0 | 0 | -55 | 0 | -4 | 0 | 0
14:00 - 14:15 | -1.2 | 0 | -2.2 | 0 | -650.53 | 10.58 | 0 | 0 | -1.2 | 0 | -24.5 | -4 | 0 | 0 | 0 | 0 | 3.85 | 0 | 0 | -55 | 0 | -4 | 0 | 0
14:15 - 14:30 | -1.2 | 0 | -2.2 | 0 | -547.01 | 10.58 | 0 | 0 | -1 | 0 | -24.5 | -3.8 | 0 | 0 | 0 | 0 | 3.85 | 0 | 0 | -10 | 0 | -4 | 0 | 0
14:30 - 14:45 | -1.2 | -16 | -2.2 | 0 | -674.32 | 10.58 | 0 | 0 | -1.8 | 0 | -24.5 | -3.5 | 0 | 7.7 | 10.58 | 0 | 3.85 | 0 | 0 | -10 | 10.58 | -4 | 0 | 0
14:45 - 15:00 | -1.2 | 0 | -2.2 | 0 | -714.92 | 10.58 | 0 | 0 | -1.6 | 0 | -24.5 | -3.2 | 0 | 0 | 10.58 | 0 | 3.85 | 0 | 0 | -30 | 0 | -4 | 0 | 0
15:00 - 15:15 | -1.2 | 0 | -2.2 | 0 | -323.68 | 10.58 | 0 | 0 | -0.8 | 0 | -24.5 | -2.8 | 0 | 0 | 0 | 0 | 3.85 | 0 | 0 | 0 | 0 | -4 | 0 | -5
15:15 - 15:30 | -1.2 | 0 | -2.2 | 0 | -324.53 | 10.58 | 0 | 0 | -0.6 | 0 | -24.5 | -2.5 | 0 | 0 | 0 | 0 | 3.85 | 0 | 0 | -10 | 0 | -4 | 0 | -5
15:30 - 15:45 | -1.2 | -3 | -2.2 | 0 | -325 | 0 | 0 | 0 | -0.5 | 0 | -24.5 | -2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -45 | 0 | -4 | 0 | -5
15:45 - 16:00 | -1.2 | -16 | -2.2 | 0 | -326.45 | 0 | 0 | 0 | -0.3 | 0 | -24.5 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | -4 | 0 | -5
16:00 - 16:15 | -1.2 | -3 | -2.2 | -1.3 | -529.55 | 0 | 0 | 0 | 0 | 0 | -24.5 | -1.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5
16:15 - 16:30 | -1.2 | -3 | -2.2 | -1.3 | -635.67 | 0 | 0 | 0 | 0 | 0 | -24.5 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5
16:30 - 16:45 | -1.2 | -3 | -2.2 | -1.4 | -342.22 | 0 | 0 | 0 | 0 | 0 | -24.5 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | -4 | 0 | -5
16:45 - 17:00 | -1.2 | -5 | -2.2 | -1.4 | -350 | 0 | 0 | 0 | 0 | 0 | -24.5 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5
17:00 - 17:15 | -1.2 | -19 | -1.8 | -1.3 | -550 | 0 | 0 | -4 | 0 | 0 | -24.5 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5
17:15 - 17:30 | -1.2 | -7 | -1.8 | -1.3 | -400 | 0 | 0 | -4 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | -4 | 0 | -5
17:30 - 17:45 | -1.2 | -6 | -1.8 | -1.4 | -100 | 0 | 0 | -4 | 0 | 0 | -24.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5
17:45 - 18:00 | -1.2 | -5 | -1.8 | -1.4 | 141.11 | 0 | 0 | -4 | 0 | 0 | -24.5 | 0 | -1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | -5
18:00 - 18:15 | -1.2 | -5 | -1.8 | -1.5 | 0 | 0 | 0 | -4 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | -4 | 0 | 0
18:15 - 18:30 | -1.2 | -5 | -1.8 | -1.5 | 61.57 | 0 | 0 | -4 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4 | 0 | 0
18:30 - 18:45 | -1.2 | -5 | -1.8 | -1.5 | 0 | 0 | 0 | -4 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2 | 0 | -10 | 0 | -4 | 0 | 0
18:45 - 19:00 | -1.2 | -5 | -1.8 | -1.5 | 0 | 0 | 0 | -4 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2 | 0 | -40 | 0 | -4 | 0 | 0
19:00 - 19:15 | -1.2 | -5 | -1.8 | -1.5 | 0 | 0 | 0 | -4 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2 | 0 | -10 | 0 | -4 | 0 | 0
19:15 - 19:30 | -1.2 | -5 | -1.8 | -1.5 | 0 | 0 | 0 | -4 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | -4 | 0 | 0
19:30 - 19:45 | -1.2 | -5 | -1.8 | -1.5 | 0 | 0 | 0 | -4 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2 | 0 | -35 | 0 | -4 | 0 | 0
19:45 - 20:00 | -1.2 | -25 | -1.8 | -1.5 | 0 | 0 | 0 | -4 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2 | 0 | -30 | 0 | -4 | 0 | 0
20:00 - 20:15 | -1.2 | -25 | -1.8 | -1.5 | -100 | 0 | 0 | -4.3 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2 | 0 | 0 | 0 | -4 | 0 | 0
20:15 - 20:30 | -1.2 | -26 | -1.8 | -1.5 | -50 | 0 | 0 | -4.3 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2 | 0 | -30 | 0 | -4 | 0 | 0
20:30 - 20:45 | -1 | -26 | -1.8 | -1.5 | -50 | 0 | 0 | -4.3 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | -30 | 0 | -4 | 0 | 0
20:45 - 21:00 | -1 | -25 | -1.8 | -1.5 | 0 | 0 | 0 | -4.3 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | -4 | 0 | 0
21:00 - 21:15 | -1 | -29 | -1.8 | -1.5 | 0 | 0 | 0 | -4.3 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | -45 | 0 | -4 | 0 | 0
21:15 - 21:30 | -1 | -29 | -1.8 | -1.5 | 0 | 0 | 0 | -4.3 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6 | 0 | 0 | 0 | -4 | 0 | 0
21:30 - 21:45 | -1 | -29 | -2.3 | -1.5 | 0 | 0 | 0 | -4.3 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | -10 | 0 | -4 | 0 | 0
21:45 - 22:00 | -1 | -29 | -2.3 | -1.5 | 0 | 0 | 0 | -4.3 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | -45 | 0 | -4 | 0 | 0
22:00 - 22:15 | -1 | -29 | -2.3 | -1.5 | -100 | 0 | 0 | -4.3 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | -40 | 0 | -4 | 0 | 0
22:15 - 22:30 | -1 | -29 | -2.3 | -1.5 | -100 | 0 | 0 | -4.3 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -4 | 0 | 0
22:30 - 22:45 | -1 | -29 | -1.8 | -1.5 | -100 | 0 | 0 | -4.3 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -4 | 0 | 0
22:45 - 23:00 | -1 | -29 | -1.8 | -1.5 | -150 | 0 | 0 | -4.3 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | -10 | 0 | -4 | 0 | 0
23:00 - 23:15 | -1 | -29 | -1.8 | -1.5 | 0 | 0 | 0 | -4.3 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | -4 | 0 | 0
23:15 - 23:30 | -1 | -29 | -1.8 | -1.5 | 0 | 0 | 0 | -4.3 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | -30 | 0 | -4 | 0 | 0
23:30 - 23:45 | -1 | -30 | -1.8 | -1.5 | 0 | 0 | 0 | -4.3 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | -50 | 0 | -4 | 0 | -1
23:45 - 24:00 | -1 | -30 | -1.8 | -1.5 | 0 | 0 | 0 | -4.3 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | -10 | 0 | -4 | 0 | -1
Average | -1.1958 | -9.3021 | -1.9813 | -0.96875 | -266.6675 | 3.0858 | -43.7499 | -1.2167 | -0.75833 | 0.10021 | -24.3125 | -1.4927 | -0.15625 | 1.1829 | 2.2945 | -0.16667 | 0.78229 | -1.3646 | -0.35417 | -19.4375 | 0.60615 | -2.25 | 15.7839 | -1.5208