## POWER STATUS
POWER STATUS ON DT 22.09.2026
[9 empty] | 2026-09-22 | 2026-09-21
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 19:00
Demand -> | [8 empty] | 5392.6769 | 5941.3051
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 216.583 | 5.198 | 630/590 ft | 630 | 630 | 630.02 | 244.7236 | 197.2358
| Chiplima | 72(3x24) | 62.625 | 1.503 | - |  |  |  | 62.673 | 62.1498
| Balimela | 510(6x60+2x75) | 37.75 | 0.906 | 1516/1440 ft | 1491.2 | 1483 | 1483.2 | 0 | 115.6782
| Rengali | 250(5x50) | 241.0666 | 5.7856 | 123.5/109.75 mt | 123.48 | 122.79 | 122.81 | 242.965 | 244.5636
| Upper Kolab | 320(4x80) | 54.29 | 1.303 | 858/844 mt | 856.13 | 853.09 | 853.11 | 20.0697 | 73.7627
| Upper Indravati [gate-1 (0.5 m)] | 600(4x150) | 603.0417 | 14.473 | 642/625 mt | 638.18 | 640.15 | 640.08 | 602.8168 | 604.7762
| Machkund | 60(50% of(3x17+3x23)) | 10.75 | 0.258 | 2750/2685 ft | 2748.6 | 2735.7 | 2735.9 | 14.1128 | 14.4086
| Total Hydro | 2099.5 | 1226.1063 | 29.4266 |  |  |  |  | 1187.3608 | 1312.575
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 600.8537 | 14.4205 | RENEWABLE ENERGY (RE) |  |  |  | 1041.1633 | 949.7712
[5 empty] | M.Hydl | 126.38
| Total Thermal | 2200 | 600.8537 | 14.4205 | Solar | 93.54 |  |  | 1041.1633 | 949.7712
IPP | VEDANTA #2 | 600 (1x600) | 433.5196 | 10.4045 | Total IPPs | Yesterday's Demand Profile |  |  | 269.3359 | 513.3398
| GMR #3 | 350 (1x350) | 329.5309 | 7.9087 | 817.9993 |  | MW | HRS | 332.8271 | 329.1628
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 54.9488 | 1.3188 |  |  |  |  | 45.7867 | 56.4721
| CGPs |  | 1176.2627 | 28.2303 | IPPs, CGPs & RE | Maximum | 5941 | 19:00 | 1974.109 | 2333.1351
| Central Sector(Drawl) |  | 1444.7877 | 34.6749 | 2214.1821 | Minimum | 5132 | 14:00 | 1190.0438 | 1345.8237
| Central Sector(Sch) |  | 1570.9793 | 37.7035 |  | Average | 5485.9298 |  | 1306.1481 | 1427.62
| Grand Total |  | 5485.9298 | 131.6623 | Instantaneous Peak demand |  | 6234 | 19:26 | 5392.6769 | 5941.3051
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(6) |  | ACTUAL |  | SCHEDULE(1)
Burla | 7 | IbTPS / OPGC | 3,4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1604.9459 | 38.5187 | 1529.1279 | 36.6991 | 1651.9074 | 39.6458
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1571.8033 | 37.7233 | 1529.0954 | 36.6983 | 1506.0208 | 36.1445
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1463.9535 | 35.1349 | 1483.4285 | 35.6023 | 1397.1049 | 33.5305
U.Kolab | 2 | KAHALGAON | NIL | TPSODL | 583.5845 | 14.006 | 596.285 | 14.3108 | 588.4853 | 14.1236
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5224.2872 | 125.3829 | 5137.9367 | 123.3105 | 5143.5184 | 123.4444
Machhkund | 3,4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 269.3359 | GMR |  |  |  | 332.8271
| NBVL #3 | 0 | MDTPC |  |  |  | 45.7867
Mini Hydel: | MEENAKSHI | 39.7221 | OPCL |  |  |  | 0
| BTPL | 28.1078 | SAPTADHARA |  |  |  | 15.2714
Solar: |  | 122.096 | KAKATIYA |  |  |  | 7.4075
CGPs : | JSPL (Angul) | 433.1288 | JSL(Duburi) |  |  |  | -151.9276
| ICCL | 44.5096 | visa |  |  |  | 20.7088
| NALCO | -106.6936 | VAL (CGP) |  |  |  | 151.615
| RSP | -53.8496 | BSL(MMDL) |  |  |  | 118.6952
| INDAL | -2.1478 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -27.7893 | VAL CPP 400 kV |  |  |  | -531.9534
| NBVL | 53.078 | Arati |  |  |  | 11.4659
| BPSL(JSG) | -112.2088 | BPPL |  |  |  | 113.1908
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-14 | 2026-09-15 | 2026-09-16 | 2026-09-17 | 2026-09-18 | 2026-09-19 | 2026-09-20 | 2026-09-21
1178.4595 | 1201.805 | 1263.2 | 1262.8949 | 1255.0008 | 1246.1101 | 1262.37 | 1226.1063
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.21.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | 0 | AARTISTEEL | UPPCL | 0 | AGE26AL_PSS6_KPS1_S | ODISHA | 133.24
AARTISTEEL | KPTCL | -5 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AP41PL_BHDL | ODISHA | 56.25
AMNSIL_Pdeep | AMNSIL | -2.67 | ENVIROCARE_INFRA | TPL_DIS_SUR | -6.38 | AP43PL_BKN | ODISHA | 91.28
ARYAN_ISPAT | BALCO_LOAD | -5 | FACORPOWER | PSPCL | -21.25 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 0.77
ENVIROCARE_INFRA | APCPDCL | -13 | FACORPOWER | PSPCL | -8.75 | AWEK1L | ODISHA | 1.61
FACORPOWER | RUVITSL | -3.33 | FACORPOWER | RUVITSL | -4 | AWEK1L | ODISHA | 2.42
GMRKEL_STU | GEB_Beneficiary | -61.9 | JSPLANGUL | JPL2 | -14.58 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 6.62
GMRKEL_STU | TNEB | -18 | JSPLANGUL | RUVITSL | -2.08 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 12.04
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | RUVITSL | -106.25 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 19.1
JPIPL | NPCL_UP | 0 | JSPLANGUL | RUVITSL | -70.83 | DADRI_SOLAR | ODISHA | 0.68
JSPLANGUL | GEB_Beneficiary | -110 | JSPLANGUL | RUVITSL | -3.12 | ENERSON_SOLAR_10MW | ODISHA | 0.69
JSPLANGUL | RUVITSL | -27.08 | KCMW_od | DCNELUSOUNIT2 | -1.67 | GADAG_GreenInfra_W | ODISHA | 0
JSPLANGUL | RUVITSL | -40.62 | NBVLIPP | BSPHCL | -12.54 | GADAG_GreenInfra_W | ODISHA | 0
MAADURGA_THERMAL | NPCL_UP | -22.15 | NBVLIPP | RUVITSL | -5.38 | GADAG_GreenInfra_W | ODISHA | 0.19
NBVLIPP | KPTCL | -1.92 | OCL_IRON_STEEL | TPDDL | -24.79 | GADAG_Serentica3_S | VLSEZ | 36.21
NBVLIPP | KPTCL | -5.75 | OCL_IRON_STEEL | TPDDL | -10.21 | GADAG_Serentica3_W | VLSEZ | 7.33
NBVLIPP | KPTCL | -3.83 | ODISHA | TANGEDCO | -12.5 | GIWEL_SECI_II_RE | ODISHA | 8.4
NBVLIPP | TANGEDCO | 0 | ODISHA | TANGEDCO | -6.25 | GPCL_SOLAR_10 | ODISHA | 0.91
ODISHA | APCPDCL | -26.56 | ODISHA | TANGEDCO | -18.75 | GSECL_SOLAR | ODISHA | 1.58
ODISHA | KPTCL | -10.94 | ODISHA | TANGEDCO | -12.5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.1
ODISHA | KPTCL | -26.3 | ODISHA | TPDDL | -17.19 | KARUR_TPVARDHAMAN_W | TSKPO | 62.56
ODISHA | KSEB | -26.56 | ODISHA | WBSEDCL | -11.46 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.05
ORSISL | BALCO_LOAD | -5 | ORSISL | TPLD | -2.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 5.32
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | RSPL_JHARSUGUDA | NPCL_UP | -15 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.44
TSBSLA | APCPDCL | -10 | SMEL | PSPCL | -17.71 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.65
VSL | APCPDCL | -5 | SMEL | PSPCL | -7.29 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
FARIDABAD_SOLAR | ODISHA | 0.86 | Shri_JSPL | KSEB | -2 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.23
JSWEL_UTKAL | ODISHA | 74.03 | TSBSLA | DNHDDPDCL | -10 | OKWPL_RE | ODISHA | 4.98
RAJ_SOLAR | ODISHA | 2.33 | VIRAJ_SEPL | PSPCL | -4.96 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 2.4
RAJ_SOLAR | ODISHA | 2.64 | VIRAJ_SEPL | PSPCL | -2.04 | RWE_AP2_SECI_III | ODISHA | 4.15
|  |  | VSL | DNHDDPDCL | -5 | RenewGreen_SLPR_HS | JSL_DUBURI | 9.43
|  |  | VSL | TANGEDCO | -10 | SRI9PL_FTG3 | VLSEZ | 91.1
|  |  | Darlipali_NTPC | ODISHA | 27.29 | TPVSL_BKN3 | TSKPO | 12.6
|  |  | JIPL | ODISHA | 115.72 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
|  |  | NALCOAP | NACL_Odisha | 4.28 | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 54.71
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 2.69
[6 empty] | XXPPL_FTG3 | ODISHA | 67.38

## DAM
DAM TRADING DETAILS FOR DT : 21.09.2026
Time Period | GRIDCO | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd)
00:00 - 00:15 | 6.96 | -72.16 | -1.03 | 0 | -2.06 | -3.09 | 0
00:15 - 00:30 | 5.23 | -72.16 | -1.03 | 0 | -2.06 | -3.09 | 0
00:30 - 00:45 | 4.54 | -72.16 | -1.03 | 0 | -2.06 | -3.09 | 0
00:45 - 01:00 | 6.82 | -72.16 | -1.03 | 0 | -2.06 | -3.09 | 0
01:00 - 01:15 | 8.13 | -72.16 | -1.03 | 0 | -2.06 | -3.09 | 0
01:15 - 01:30 | 9.29 | -72.16 | -1.03 | 0 | -2.06 | -3.09 | 0
01:30 - 01:45 | 9.65 | -72.16 | -1.03 | 0 | -2.06 | -3.09 | 0
01:45 - 02:00 | 10.06 | -72.16 | -1.03 | 0 | -2.06 | -3.09 | 0
02:00 - 02:15 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
02:15 - 02:30 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
02:30 - 02:45 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
02:45 - 03:00 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
03:00 - 03:15 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
03:15 - 03:30 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
03:30 - 03:45 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
03:45 - 04:00 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
04:00 - 04:15 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
04:15 - 04:30 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
04:30 - 04:45 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
04:45 - 05:00 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
05:00 - 05:15 | 0 | -72.16 | -1.24 | 0 | -2.06 | -3.09 | 0
05:15 - 05:30 | 0 | -72.16 | -1.24 | 0 | -2.06 | -3.09 | 0
05:30 - 05:45 | 0 | -72.16 | -1.24 | 0 | -2.06 | -3.09 | 0
05:45 - 06:00 | 0 | -72.16 | -1.24 | 0 | -2.06 | -3.09 | 0
06:00 - 06:15 | -50 | -72.16 | -1.24 | 0 | -2.06 | -3.09 | 0
06:15 - 06:30 | -50 | -72.16 | -1.24 | 0 | -2.06 | -3.09 | 0
06:30 - 06:45 | -50 | -72.16 | -1.24 | 0 | -2.06 | -3.09 | 0
06:45 - 07:00 | -50 | -72.16 | -1.24 | 0 | -2.06 | -3.09 | 0
07:00 - 07:15 | -100 | -72.16 | -1.24 | 0 | -2.06 | -3.09 | 0
07:15 - 07:30 | -100 | -72.16 | -1.24 | 0 | -2.06 | -3.09 | 0
07:30 - 07:45 | -100 | -72.16 | -1.24 | 0 | -2.06 | -3.09 | 0
07:45 - 08:00 | -100 | -72.16 | -1.24 | 0 | -2.06 | -3.09 | 0
08:00 - 08:15 | -375 | -72.16 | -1.24 | 0 | -2.06 | -46.91 | 0
08:15 - 08:30 | -375 | -72.16 | -1.24 | 0 | -2.06 | -46.91 | 0
08:30 - 08:45 | -375 | 0 | -1.24 | 0 | -2.06 | -46.91 | 0
08:45 - 09:00 | -550 | 0 | -1.24 | 0 | -2.06 | -46.91 | 0
09:00 - 09:15 | -550 | 0 | -1.24 | 0 | -2.06 | -46.91 | 0
09:15 - 09:30 | -550 | 0 | -1.24 | 0 | -2.06 | -46.91 | 0
09:30 - 09:45 | -550 | 0 | -1.24 | 9.35 | -2.06 | -46.91 | 9.36
09:45 - 10:00 | -543.98 | 0 | -1.24 | 9.35 | -2.06 | -46.91 | 9.36
10:00 - 10:15 | -439.98 | 0 | -1.24 | 9.35 | -1.03 | -35.05 | 9.36
10:15 - 10:30 | -400 | 0 | -1.24 | 9.35 | -1.03 | -35.05 | 9.36
10:30 - 10:45 | -400 | 0 | -1.24 | 9.35 | -1.03 | -35.05 | 9.36
10:45 - 11:00 | -400 | 0 | -1.24 | 9.35 | -1.03 | -35.05 | 9.36
11:00 - 11:15 | -265.5 | 0 | -1.24 | 9.35 | -1.03 | -35.05 | 9.36
11:15 - 11:30 | -255.06 | 0 | -1.24 | 9.35 | -1.03 | -35.05 | 9.36
11:30 - 11:45 | -264.78 | 0 | -1.24 | 9.35 | -1.03 | -35.05 | 9.36
11:45 - 12:00 | -265.45 | 0 | -1.24 | 9.35 | -1.03 | -35.05 | 9.36
12:00 - 12:15 | -218.18 | 0 | -1.24 | 9.35 | -1.03 | -35.05 | 9.36
12:15 - 12:30 | -227.06 | 0 | -1.24 | 9.35 | -1.03 | -35.05 | 9.36
12:30 - 12:45 | -227.26 | 0 | -1.24 | 9.35 | -1.03 | -35.05 | 9.36
12:45 - 13:00 | -202.06 | 0 | -1.24 | 9.35 | -1.03 | -35.05 | 9.36
13:00 - 13:15 | -134.36 | 0 | -1.24 | 9.35 | -1.03 | -46.91 | 9.36
13:15 - 13:30 | -156.6 | 0 | -1.24 | 9.35 | -1.03 | -46.91 | 9.36
13:30 - 13:45 | -250 | 0 | -1.24 | 9.35 | -1.03 | -46.91 | 9.36
13:45 - 14:00 | -250 | 0 | -1.24 | 9.35 | -1.03 | -46.91 | 9.36
14:00 - 14:15 | -300 | 0 | -1.24 | 9.35 | -1.03 | -46.91 | 9.36
14:15 - 14:30 | -300 | 0 | -1.24 | 0 | -1.03 | -46.91 | 0
14:30 - 14:45 | -300 | 0 | -1.24 | 0 | -1.03 | -46.91 | 0
14:45 - 15:00 | -300 | 0 | -1.24 | 0 | -1.03 | -46.91 | 0
15:00 - 15:15 | -150 | 0 | -1.24 | 0 | -2.06 | -46.91 | 0
15:15 - 15:30 | -150 | 0 | -1.24 | 0 | -2.06 | -46.91 | 0
15:30 - 15:45 | -47.5 | -72.16 | -1.24 | 0 | -2.06 | -46.91 | 0
15:45 - 16:00 | -47.52 | -72.16 | -1.24 | 0 | -2.06 | -46.91 | 0
16:00 - 16:15 | -250 | -72.16 | -1.24 | 0 | -2.06 | 0 | 0
16:15 - 16:30 | -325 | -72.16 | -1.24 | 0 | -2.06 | 0 | 0
16:30 - 16:45 | -325 | -72.16 | -1.24 | 0 | -2.06 | 0 | 0
16:45 - 17:00 | -325 | -72.16 | -1.24 | 0 | -2.06 | 0 | 0
17:00 - 17:15 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
17:15 - 17:30 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
17:30 - 17:45 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
17:45 - 18:00 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
18:00 - 18:15 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
18:15 - 18:30 | 0 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
18:30 - 18:45 | 2.2 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
18:45 - 19:00 | 0.02 | -72.16 | -1.03 | 0 | -2.06 | 0 | 0
19:00 - 19:15 | 2.35 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
19:15 - 19:30 | 1.38 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
19:30 - 19:45 | 0 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
19:45 - 20:00 | 0.16 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
20:00 - 20:15 | 0.35 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
20:15 - 20:30 | 0.37 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
20:30 - 20:45 | 0.07 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
20:45 - 21:00 | 0.22 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
21:00 - 21:15 | 1.18 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
21:15 - 21:30 | 1.69 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
21:30 - 21:45 | 1.75 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
21:45 - 22:00 | 1.77 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
22:00 - 22:15 | 0.73 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
22:15 - 22:30 | 1.02 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
22:30 - 22:45 | 1.13 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
22:45 - 23:00 | 1.18 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
23:00 - 23:15 | 1.28 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
23:15 - 23:30 | 1.46 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
23:30 - 23:45 | 3.63 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
23:45 - 24:00 | 3.67 | 0 | -1.03 | 0 | -2.06 | -3.09 | 0
Average | -120.3854 | -36.08 | -1.135 | 1.8505 | -1.8454 | -15.4417 | 1.8525

## GDAM
GDAM TRADING DETAILS FOR DT:21.09.2026
Time Period | Time Period | 3.12 | 0
00:00 - 00:15 | 00:00 - 00:15 | 3.27 | 0
00:15 - 00:30 | 00:15 - 00:30 | 2.75 | 0
00:30 - 00:45 | 00:30 - 00:45 | 2.7 | 0
00:45 - 01:00 | 00:45 - 01:00 | 2.29 | 0
01:00 - 01:15 | 01:00 - 01:15 | 2.21 | 0
01:15 - 01:30 | 01:15 - 01:30 | 2.26 | 0
01:30 - 01:45 | 01:30 - 01:45 | 2.39 | 0
01:45 - 02:00 | 01:45 - 02:00 | 0 | 0
02:00 - 02:15 | 02:00 - 02:15 | 0 | 0
02:15 - 02:30 | 02:15 - 02:30 | 0 | 0
02:30 - 02:45 | 02:30 - 02:45 | 0 | 0
02:45 - 03:00 | 02:45 - 03:00 | 0 | 0
03:00 - 03:15 | 03:00 - 03:15 | 0 | 0
03:15 - 03:30 | 03:15 - 03:30 | 0 | 0
03:30 - 03:45 | 03:30 - 03:45 | 0 | 0
03:45 - 04:00 | 03:45 - 04:00 | 0 | 0
04:00 - 04:15 | 04:00 - 04:15 | 0 | 0
04:15 - 04:30 | 04:15 - 04:30 | 0 | 0
04:30 - 04:45 | 04:30 - 04:45 | 0 | 0
04:45 - 05:00 | 04:45 - 05:00 | 0 | 0
05:00 - 05:15 | 05:00 - 05:15 | 0 | 0
05:15 - 05:30 | 05:15 - 05:30 | 0 | 0
05:30 - 05:45 | 05:30 - 05:45 | 0 | 0
05:45 - 06:00 | 05:45 - 06:00 | 0 | 0
06:00 - 06:15 | 06:00 - 06:15 | 0 | 0
06:15 - 06:30 | 06:15 - 06:30 | 0 | 0
06:30 - 06:45 | 06:30 - 06:45 | 0 | 0
06:45 - 07:00 | 06:45 - 07:00 | 0 | 0
07:00 - 07:15 | 07:00 - 07:15 | 0 | 0
07:15 - 07:30 | 07:15 - 07:30 | 0 | 0
07:30 - 07:45 | 07:30 - 07:45 | 0 | 0
07:45 - 08:00 | 07:45 - 08:00 | 0 | 0
08:00 - 08:15 | 08:00 - 08:15 | 0 | 0
08:15 - 08:30 | 08:15 - 08:30 | 0 | 0
08:30 - 08:45 | 08:30 - 08:45 | 0 | 0
08:45 - 09:00 | 08:45 - 09:00 | 0 | 0
09:00 - 09:15 | 09:00 - 09:15 | 0 | 0
09:15 - 09:30 | 09:15 - 09:30 | 0 | 0
09:30 - 09:45 | 09:30 - 09:45 | 0 | 0
09:45 - 10:00 | 09:45 - 10:00 | 0 | 25.74
10:00 - 10:15 | 10:00 - 10:15 | 0 | 28.06
10:15 - 10:30 | 10:15 - 10:30 | 0 | 0
10:30 - 10:45 | 10:30 - 10:45 | 0 | 0
10:45 - 11:00 | 10:45 - 11:00 | 0 | 0
11:00 - 11:15 | 11:00 - 11:15 | 0 | 0
11:15 - 11:30 | 11:15 - 11:30 | 0 | 0
11:30 - 11:45 | 11:30 - 11:45 | 0 | 0
11:45 - 12:00 | 11:45 - 12:00 | 0 | 0
12:00 - 12:15 | 12:00 - 12:15 | 0 | 0
12:15 - 12:30 | 12:15 - 12:30 | 0 | 0
12:30 - 12:45 | 12:30 - 12:45 | 0 | 0
12:45 - 13:00 | 12:45 - 13:00 | 0 | 0
13:00 - 13:15 | 13:00 - 13:15 | 0 | 0
13:15 - 13:30 | 13:15 - 13:30 | 0 | 0
13:30 - 13:45 | 13:30 - 13:45 | 0 | 0
13:45 - 14:00 | 13:45 - 14:00 | 0 | 0
14:00 - 14:15 | 14:00 - 14:15 | 0 | 0
14:15 - 14:30 | 14:15 - 14:30 | 0 | 0
14:30 - 14:45 | 14:30 - 14:45 | 0 | 0
14:45 - 15:00 | 14:45 - 15:00 | 0 | 0
15:00 - 15:15 | 15:00 - 15:15 | 0 | 0
15:15 - 15:30 | 15:15 - 15:30 | 0 | 0
15:30 - 15:45 | 15:30 - 15:45 | 0 | 0
15:45 - 16:00 | 15:45 - 16:00 | 0 | 0
16:00 - 16:15 | 16:00 - 16:15 | 0 | 0
16:15 - 16:30 | 16:15 - 16:30 | 0 | 0
16:30 - 16:45 | 16:30 - 16:45 | 0 | 0
16:45 - 17:00 | 16:45 - 17:00 | 0 | 0
17:00 - 17:15 | 17:00 - 17:15 | 0 | 0
17:15 - 17:30 | 17:15 - 17:30 | 0 | 0
17:30 - 17:45 | 17:30 - 17:45 | 0 | 0
17:45 - 18:00 | 17:45 - 18:00 | 0 | 0
18:00 - 18:15 | 18:00 - 18:15 | 0 | 0
18:15 - 18:30 | 18:15 - 18:30 | 4.24 | 0
18:30 - 18:45 | 18:30 - 18:45 | 1.17 | 0
18:45 - 19:00 | 18:45 - 19:00 | 3.74 | 0
19:00 - 19:15 | 19:00 - 19:15 | 3.72 | 0
19:15 - 19:30 | 19:15 - 19:30 | 3.91 | 0
19:30 - 19:45 | 19:30 - 19:45 | 4.13 | 0
19:45 - 20:00 | 19:45 - 20:00 | 4.63 | 0
20:00 - 20:15 | 20:00 - 20:15 | 4.8 | 0
20:15 - 20:30 | 20:15 - 20:30 | 4.43 | 0
20:30 - 20:45 | 20:30 - 20:45 | 4.62 | 0
20:45 - 21:00 | 20:45 - 21:00 | 5.1 | 0
21:00 - 21:15 | 21:00 - 21:15 | 5.15 | 0
21:15 - 21:30 | 21:15 - 21:30 | 5.32 | 0
21:30 - 21:45 | 21:30 - 21:45 | 5.53 | 0
21:45 - 22:00 | 21:45 - 22:00 | 5.54 | 0
22:00 - 22:15 | 22:00 - 22:15 | 5.5 | 0
22:15 - 22:30 | 22:15 - 22:30 | 5.58 | 0
22:30 - 22:45 | 22:30 - 22:45 | 5.41 | 0
22:45 - 23:00 | 22:45 - 23:00 | 5.84 | 0
23:00 - 23:15 | 23:00 - 23:15 | 6.01 | 0
23:15 - 23:30 | 23:15 - 23:30 | 6.87 | 0
23:30 - 23:45 | 23:30 - 23:45 | 7.2 | 0
23:45 - 24:00 | 23:45 - 24:00 | 6.44 | 0
Average | #DIV/0! | 1.3828 | 0.56042

## RTM
RTM TRADING DETAILS FOR DT: 21.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | KJS_Ahluwalia_(Steel_&_Power_Division) | MGM_Green_Energy_Ltd | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Times_Steel_&_Power_Private_limited | Visa_Chrome_Limited
00:00 - 00:15 | -1.24 | -9.28 | -1.86 | -1.55 | 0 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -1.03
00:15 - 00:30 | -1.24 | -9.28 | -1.86 | -1.55 | 0 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -1.03
00:30 - 00:45 | -1.24 | -9.28 | -1.86 | -1.55 | 0 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -1.03
00:45 - 01:00 | -1.24 | -9.28 | -1.86 | -1.55 | 0 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | -18.56 | 0 | 0 | -5.15 | -1.03
01:00 - 01:15 | -1.24 | -9.28 | -1.86 | -1.55 | -25 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | -41.24 | 0 | 0 | -5.15 | -1.03
01:15 - 01:30 | -1.24 | -9.28 | -1.86 | -1.55 | -25 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | -41.24 | 0 | 0 | -5.15 | -1.03
01:30 - 01:45 | -1.24 | -22.68 | -1.86 | -1.55 | -25 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -1.03
01:45 - 02:00 | -1.24 | -5.15 | -1.86 | -1.55 | -100 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | -10.31 | 0 | 0 | -5.15 | -1.03
02:00 - 02:15 | -1.24 | -5.15 | -1.86 | -1.55 | -100 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -1.03
02:15 - 02:30 | -1.24 | -5.15 | -1.86 | -1.55 | -150 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -1.03
02:30 - 02:45 | -1.24 | -5.15 | -1.86 | -1.55 | -150 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | -41.24 | 0 | 0 | -5.15 | -1.03
02:45 - 03:00 | -1.24 | -21.65 | -1.86 | -1.55 | -150 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | -20.62 | 0 | 0 | -5.15 | -1.03
03:00 - 03:15 | -1.24 | -5.15 | -1.86 | -1.65 | -150 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -1.03
03:15 - 03:30 | -1.24 | -5.15 | -1.86 | -1.65 | -175 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -1.03
03:30 - 03:45 | -1.24 | -5.15 | -1.86 | -1.65 | -175 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -1.03
03:45 - 04:00 | -1.24 | -5.15 | -1.86 | -1.65 | -175 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -1.03
04:00 - 04:15 | -1.24 | -21.65 | -1.86 | -1.65 | -175 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | -46.39 | 0 | 0 | -5.15 | -1.03
04:15 - 04:30 | -1.24 | -5.15 | -1.86 | -1.65 | -175 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | -20.62 | 0 | 0 | -5.15 | -1.03
04:30 - 04:45 | -1.24 | -23.71 | -1.86 | -1.65 | -175 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | -10.31 | 0 | 0 | -5.15 | -1.03
04:45 - 05:00 | -1.24 | -23.71 | -1.86 | -1.65 | -175 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | -20.62 | 0 | 0 | -5.15 | -1.03
05:00 - 05:15 | -1.24 | -24.74 | -1.86 | -1.65 | -250 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -1.03
05:15 - 05:30 | -1.24 | -24.74 | -1.86 | -1.65 | -250 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -1.03
05:30 - 05:45 | -1.24 | -25.77 | -2.37 | -1.65 | -250 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -1.03
05:45 - 06:00 | -1.24 | -25.77 | -2.37 | -1.65 | -400 | 0 | 0 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -1.03
06:00 - 06:15 | -1.24 | -9.28 | -2.37 | -1.65 | -500 | 0 | 0 | -4.43 | -0.1 | 0 | -25.26 | 0 | -2.06 | 0 | 0 | 0 | -1.55 | -1.03 | -51.55 | 0 | 0 | -5.15 | -5.15
06:15 - 06:30 | -1.24 | -7.22 | -2.37 | -1.65 | -500 | 0 | 0 | -4.43 | -0.21 | 0 | -25.26 | 0 | -2.06 | 0 | 0 | 0 | -1.55 | -1.03 | -30.93 | 0 | 0 | -5.15 | -5.15
06:30 - 06:45 | -1.24 | -8.25 | -2.37 | -1.65 | -500 | 0 | 0 | -4.43 | -0.31 | 0 | -25.26 | -0.31 | -2.06 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -5.15
06:45 - 07:00 | -1.24 | -8.25 | -2.37 | -1.65 | -500 | 0 | 0 | -4.43 | -0.41 | 0 | -25.26 | -0.62 | -2.06 | 0 | 0 | 0 | -1.55 | -1.03 | -20.62 | 0 | 0 | -5.15 | -5.15
07:00 - 07:15 | -1.24 | -6.19 | -1.86 | -1.65 | -450 | 0 | 0 | -4.43 | -0.1 | 0 | -25.26 | -0.93 | -2.06 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -5.15
07:15 - 07:30 | -1.24 | -6.19 | -1.86 | -1.65 | -450 | 0 | 0 | -4.43 | -0.1 | 0 | -25.26 | -1.03 | -2.06 | 0 | 0 | 0 | -1.55 | -1.03 | 0 | 0 | 0 | -5.15 | -5.15
07:30 - 07:45 | -1.24 | -21.65 | -2.37 | -1.75 | -400 | 0 | 0 | -4.43 | -0.1 | 0 | -25.26 | -1.24 | 0 | 0 | 0 | 0 | 0 | -1.03 | -51.55 | 0 | 0 | -5.15 | -5.15
07:45 - 08:00 | -1.24 | -7.22 | -2.37 | -1.75 | -500 | 0 | 0 | -4.43 | -0.1 | 0 | -25.26 | -1.86 | 0 | 0 | 0 | 0 | 0 | -1.03 | -36.08 | 0 | 0 | -5.15 | -5.15
08:00 - 08:15 | -1.03 | -6.19 | -2.37 | -1.75 | -416.67 | 0 | 0 | 0 | 0 | 0 | -25.26 | -2.37 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -5.15 | -5.15
08:15 - 08:30 | -1.03 | -3.09 | -2.37 | -1.75 | -313.01 | 0 | 0 | 0 | 0 | 0 | -25.26 | -2.78 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -5.15 | -5.15
08:30 - 08:45 | -1.03 | -3.09 | -2.37 | -1.75 | -511.88 | 10.29 | 0 | 0 | 0 | 0 | -25.26 | -2.99 | 0 | 16.84 | 0 | 0 | 0 | -1.03 | 0 | 58.93 | 0 | -5.15 | -3.09
08:45 - 09:00 | -1.03 | -19.59 | -2.37 | -1.75 | -515.03 | 10.29 | 0 | 0 | -0.1 | 0 | -25.26 | -3.2 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -5.15 | -3.09
09:00 - 09:15 | -1.03 | -3.09 | -2.37 | 0 | -634.26 | 10.28 | 0 | 0 | 0 | 0 | -25.26 | -3.3 | 0 | 0 | 0 | 3.74 | 0 | -1.03 | -46.39 | 0 | 0 | -5.15 | 0
09:15 - 09:30 | -1.03 | -3.09 | -2.37 | 0 | -634.76 | 10.28 | 0 | 0 | 0 | 0 | -25.26 | -3.71 | 0 | 0 | 0 | 3.74 | 0 | -1.03 | -36.08 | 0 | 0 | -5.15 | 0
09:30 - 09:45 | -1.03 | -3.09 | -2.37 | 0 | -656.63 | 10.29 | 0 | 0 | 0 | 0 | -25.26 | -4.02 | 0 | 3.74 | 5.62 | 3.74 | 0 | -1.03 | 0 | 15.99 | 0 | -5.15 | 0
09:45 - 10:00 | -1.03 | -4.12 | -2.37 | 0 | -657.23 | 10.28 | 0 | 0 | 0 | 0 | -25.26 | -1.55 | 0 | 3.74 | 5.62 | 3.74 | 0 | -1.03 | -15.46 | 0 | 0 | -5.15 | 0
10:00 - 10:15 | -1.03 | -20.62 | -2.37 | 0 | -720.09 | 10.29 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 3.74 | 5.62 | 3.74 | 0 | -1.03 | -15.46 | 18.69 | 0.56 | -5.15 | 0
10:15 - 10:30 | -1.03 | -3.09 | -2.37 | 0 | -723.3 | 10.29 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 3.74 | 5.62 | 3.74 | 0 | -1.03 | 0 | 18.69 | 0.56 | -5.15 | 0
10:30 - 10:45 | -1.03 | -3.09 | -2.37 | 0 | -686.79 | 10.29 | 0 | 0 | 0 | 0 | -25.26 | 3.74 | 0 | 5.62 | 5.62 | 3.74 | 0 | -1.03 | -41.24 | 30.85 | 0.56 | 0 | 0
10:45 - 11:00 | -1.03 | -3.09 | -2.37 | 0 | -686.76 | 10.29 | 0 | 0 | 0 | 0 | -25.26 | 3.74 | 0 | 5.62 | 5.62 | 3.74 | 0 | -1.03 | -30.93 | 30.85 | 0.56 | 0 | 0
11:00 - 11:15 | -1.03 | -3.09 | -2.37 | 0 | -542.03 | 10.29 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 3.74 | 5.62 | 3.74 | 0 | -1.03 | -10.31 | 30.86 | 0.56 | -5.15 | 0
11:15 - 11:30 | -1.03 | -3.09 | -2.37 | 0 | -255.89 | 10.29 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 3.74 | 5.62 | 3.74 | 0 | -1.03 | -56.7 | 30.86 | 0 | -5.15 | 0
11:30 - 11:45 | -1.03 | -19.59 | -2.37 | 0 | -280.45 | 10.29 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 3.74 | 5.62 | 4.68 | 0 | -1.03 | -10.31 | 30.86 | 0 | -5.15 | 0
11:45 - 12:00 | -1.03 | -3.09 | -2.37 | 0 | -380.23 | 10.29 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 3.74 | 5.62 | 4.68 | 0 | -1.03 | -41.24 | 30.86 | 0 | -5.15 | 0
12:00 - 12:15 | -1.13 | -3.09 | -2.37 | 0 | -787.71 | 10.29 | 0 | 0 | 0 | 8.6 | -25.26 | 0 | 0 | 3.74 | 5.62 | 4.68 | 0 | -1.03 | -67.01 | 18.7 | 0 | -5.15 | 0
12:15 - 12:30 | -1.13 | -3.09 | -2.37 | 0 | -825.09 | 10.29 | 0 | 0 | -0.1 | 8.6 | -25.26 | 0 | 0 | 0 | 5.62 | 4.68 | 0 | -1.03 | -56.7 | 0 | 0 | -5.15 | 0
12:30 - 12:45 | -1.13 | -3.09 | -2.37 | 0 | -798.53 | 10.29 | 0 | 0 | -0.52 | 8.6 | -25.26 | 0 | 0 | 0 | 5.62 | 4.68 | 0 | -1.03 | -30.93 | 0 | 0 | -5.15 | 0
12:45 - 13:00 | -1.13 | -4.12 | -2.37 | 0 | -861.89 | 10.29 | 0 | 0 | -0.52 | 8.6 | -25.26 | 0 | 0 | 7.48 | 5.62 | 4.68 | 0 | -1.03 | 0 | 9.35 | 0 | -5.15 | 0
13:00 - 13:15 | -1.13 | -4.12 | -2.37 | 0 | -1065.22 | 10.29 | 0 | 0 | -1.24 | 8.6 | -25.26 | 0 | 0 | 7.48 | 5.62 | 4.68 | 0 | -1.03 | -20.62 | 0 | 0.56 | -5.15 | 0
13:15 - 13:30 | -1.13 | -3.09 | -2.37 | 0 | -979.5 | 10.29 | 0 | 0 | -1.13 | 8.6 | -25.26 | 0 | 0 | 7.48 | 5.62 | 4.68 | 0 | -1.03 | 0 | 0 | 0 | -5.15 | 0
13:30 - 13:45 | -1.13 | -3.09 | -2.37 | 0 | -1051.84 | 10.28 | 0 | 0 | -0.93 | 0 | -25.26 | -0.1 | 0 | 0 | 5.62 | 0 | 0 | -1.03 | -36.08 | 0 | 0 | -5.15 | 0
13:45 - 14:00 | -1.13 | -3.09 | -2.37 | 0 | -1051.85 | 8.66 | 0 | 0 | -0.72 | 0 | -25.26 | -2.58 | 0 | 0 | 4.72 | 0 | 0 | -1.03 | -41.24 | 0 | 0 | -5.15 | 0
14:00 - 14:15 | -1.13 | -3.09 | -2.37 | 0 | -901.74 | 10.28 | 0 | 0 | -0.31 | 0 | -25.26 | -2.37 | 0 | 0 | 5.62 | 0 | 0 | -1.03 | -25.77 | 0 | 0 | -5.15 | 0
14:15 - 14:30 | -1.13 | -3.09 | -2.37 | 0 | -901.73 | 10.28 | 0 | 0 | -0.21 | 0 | -25.26 | -1.96 | 0 | 0 | 5.62 | 0 | 0 | -1.03 | 0 | 0 | 0 | -5.15 | 0
14:30 - 14:45 | -1.13 | -3.09 | -2.37 | 0 | -1125.45 | 10.28 | 0 | 0 | 0 | 8.6 | -25.26 | -1.86 | 0 | 0 | 5.62 | 0 | 0 | -1.03 | -10.31 | 0 | 0 | -5.15 | 0
14:45 - 15:00 | -1.13 | -3.09 | -2.37 | 0 | -1227.96 | 0 | 0 | 0 | 0 | 0 | -25.26 | -1.65 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -5.15 | 0
15:00 - 15:15 | -1.13 | -12.37 | -2.37 | -1.44 | -1191.67 | 0 | 0 | 0 | 0 | 0 | -25.26 | -1.86 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -5.15 | -5.15
15:15 - 15:30 | -1.13 | -12.37 | -2.37 | -1.44 | -1169.5 | 0 | 0 | 0 | 0 | 0 | -25.26 | -1.34 | 0 | 0 | 0 | 0 | 0 | -1.03 | -10.31 | 0 | 0 | -5.15 | -5.15
15:30 - 15:45 | -1.13 | -7.73 | -2.37 | -1.44 | -1042.58 | 0 | -51.55 | 0 | 0 | 0 | -25.26 | -1.34 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -5.15 | -5.15
15:45 - 16:00 | -1.13 | -7.73 | -2.37 | -1.44 | -1020.38 | 0 | -51.55 | 0 | 0 | 0 | -25.26 | -1.13 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -5.15 | -5.15
16:00 - 16:15 | -1.13 | -6.19 | -2.37 | -1.44 | -1050 | 0 | -51.55 | 0 | 0 | 0 | -25.26 | -0.93 | 0 | 0 | 0 | 0 | -5.15 | -3.09 | 0 | 0 | 0 | -5.15 | -5.15
16:15 - 16:30 | -1.13 | -6.19 | -2.37 | -1.44 | -1050 | 0 | -51.55 | 0 | 0 | 0 | -25.26 | -0.82 | 0 | 0 | 0 | 0 | -5.15 | -3.09 | 0 | 0 | 0 | -5.15 | -5.15
16:30 - 16:45 | -1.13 | -12.37 | -2.78 | -1.24 | -1100 | 0 | -82.47 | 0 | 0 | 0 | -25.26 | -0.62 | 0 | 0 | 0 | 0 | -5.15 | -3.09 | 0 | 0 | 0 | -5.15 | -5.15
16:45 - 17:00 | -1.13 | -12.37 | -2.78 | -1.24 | -1100 | 0 | -82.47 | 0 | 0 | 0 | -25.26 | -0.31 | 0 | 0 | 0 | 0 | -5.15 | -3.09 | 0 | 0 | 0 | -5.15 | -5.15
17:00 - 17:15 | -1.13 | -6.19 | -2.78 | -1.44 | -1200 | 0 | -103.09 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | -5.15
17:15 - 17:30 | -1.13 | -6.19 | -2.78 | -1.44 | -1150 | 0 | -103.09 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | -5.15
17:30 - 17:45 | -1.13 | -6.19 | -2.78 | -1.55 | -950 | 0 | -103.09 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | -5.15
17:45 - 18:00 | -1.13 | -6.19 | -2.78 | -1.55 | -700 | 0 | -103.09 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | -5.15
18:00 - 18:15 | -1.13 | -6.19 | -2.78 | -1.55 | -500 | 0 | -103.09 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
18:15 - 18:30 | -1.13 | -6.19 | -2.78 | -1.55 | -300 | 0 | -103.09 | -4.43 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
18:30 - 18:45 | -1.34 | -6.19 | -2.78 | -1.55 | -100 | 0 | -164.95 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
18:45 - 19:00 | -1.34 | -6.19 | -2.78 | -1.55 | -75 | 0 | -164.95 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
19:00 - 19:15 | -1.34 | -18.56 | -2.78 | -1.55 | -50 | 0 | -164.95 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
19:15 - 19:30 | -1.34 | -5.15 | -2.78 | -1.55 | -25 | 0 | -164.95 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
19:30 - 19:45 | -1.34 | -6.19 | -2.78 | -1.44 | -50 | 0 | -164.95 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
19:45 - 20:00 | -1.34 | -5.15 | -2.78 | -1.44 | -75 | 0 | -164.95 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
20:00 - 20:15 | -1.34 | -5.15 | -2.78 | -1.44 | -200 | 0 | -61.86 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
20:15 - 20:30 | -1.34 | -5.15 | -2.78 | -1.44 | -150 | 0 | -61.86 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
20:30 - 20:45 | -1.34 | -5.15 | -1.86 | -1.44 | -150 | 0 | -61.86 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
20:45 - 21:00 | -1.34 | -17.53 | -1.86 | -1.44 | -250 | 0 | -61.86 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
21:00 - 21:15 | -1.44 | -5.15 | -1.86 | -1.44 | -450 | 0 | -61.86 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
21:15 - 21:30 | -1.44 | -5.15 | -1.86 | -1.44 | -450 | 0 | -61.86 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
21:30 - 21:45 | -1.44 | -5.15 | -2.37 | -1.44 | -300 | 0 | -82.47 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
21:45 - 22:00 | -1.44 | -5.15 | -2.37 | -1.44 | -300 | 0 | -82.47 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
22:00 - 22:15 | -1.44 | -17.53 | -2.37 | -1.34 | -200 | 0 | -82.47 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
22:15 - 22:30 | -1.44 | -5.15 | -2.37 | -1.34 | -200 | 0 | -82.47 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
22:30 - 22:45 | -1.44 | -6.19 | -1.86 | -1.34 | -125 | 0 | -61.86 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
22:45 - 23:00 | -1.44 | -5.15 | -1.86 | -1.34 | -75 | 0 | -61.86 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
23:00 - 23:15 | -1.44 | -5.15 | -1.86 | -1.44 | -125 | 0 | -61.86 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
23:15 - 23:30 | -1.44 | -5.15 | -1.86 | -1.44 | -125 | 0 | -61.86 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
23:30 - 23:45 | -1.44 | -5.15 | -1.86 | -1.44 | -225 | 0 | -61.86 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
23:45 - 24:00 | -1.44 | -5.15 | -1.86 | -1.44 | -325 | 0 | -61.86 | -4.95 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15 | 0 | 0 | 0 | -5.15 | 0
Average | -1.2106 | -8.3753 | -2.2577 | -1.1533 | -466.5901 | 2.662 | -31.7873 | -2.8879 | -0.075104 | 0.62708 | -25.26 | -0.43021 | -0.12875 | 0.87688 | 1.22 | 0.77958 | -2.201 | -2.3175 | -11.0934 | 3.3905 | 0.035 | -5.0427 | -1.5021