## POWER STATUS
POWER STATUS ON DT 23.09.2026
[9 empty] | 2026-09-23 | 2026-09-22
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 19:00
Demand -> | [8 empty] | 5270.5355 | 5606.9189
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 246.042 | 5.905 | 630/590 ft | 629.93 | 630.02 | 629.83 | 254.8423 | 244.7259
| Chiplima | 72(3x24) | 59.208 | 1.421 | - |  |  |  | 62.8875 | 55.8037
| Balimela | 510(6x60+2x75) | 35 | 0.84 | 1516/1440 ft | 1491.8 | 1483.2 | 1484.5 | 0 | 146.0052
| Rengali | 250(5x50) | 244.2667 | 5.8624 | 123.5/109.75 mt | 123.55 | 122.81 | 122.82 | 247.8986 | 246.9903
| Upper Kolab | 320(4x80) | 73 | 1.752 | 858/844 mt | 856.29 | 853.11 | 853.42 | 44.5843 | 200.5015
| Upper Indravati [gate-1 (0.5 m)] | 600(4x150) | 602.4167 | 14.458 | 642/625 mt | 638.28 | 640.08 | 640.2 | 603.832 | 598.595
| Machkund | 60(50% of(3x17+3x23)) | 9.68 | 0.23232 | 2750/2685 ft | 2748.55 | 2735.9 | 2737.1 | 15.4628 | 10.8271
| Total Hydro | 2099.5 | 1269.6134 | 30.4707 |  |  |  |  | 1229.5076 | 1503.4487
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1040.6051 | 24.9745 | RENEWABLE ENERGY (RE) |  |  |  | 1032.5696 | 1033.5859
[5 empty] | M.Hydl | 123.39
| Total Thermal | 2200 | 1040.6051 | 24.9745 | Solar | 75.74 |  |  | 1032.5696 | 1033.5859
IPP | VEDANTA #2 | 600 (1x600) | 421.484 | 10.1156 | Total IPPs | Yesterday's Demand Profile |  |  | 395.8008 | 510.2545
| GMR #3 | 350 (1x350) | 319.6519 | 7.6716 | 790.9681 |  | MW | HRS | -8.3043 | 318.5237
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 49.8322 | 1.196 |  |  |  |  | 45.5806 | 56.0473
| CGPs |  | 1153.4567 | 27.683 | IPPs, CGPs & RE | Maximum | 5607 | 19:00 | 1614.8123 | 2310.2997
| Central Sector(Drawl) |  | 859.8894 | 20.6373 | 2143.5548 | Minimum | 5001 | 17:00 | 1393.646 | 759.5845
| Central Sector(Sch) |  | 949.8064 | 22.7954 |  | Average | 5313.6627 |  | 1138.3323 | 817.47
| Grand Total |  | 5313.6627 | 127.5279 | Instantaneous Peak demand |  | 5918 | 0:29 | 5270.5355 | 5606.9189
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(5) |  | ACTUAL |  | SCHEDULE(1)
Burla | NIL | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1550.3343 | 37.208 | 1480.8247 | 35.5398 | 1511.4464 | 36.2747
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1349.5228 | 32.3885 | 1554.9121 | 37.3179 | 1426.3809 | 34.2331
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1380.9927 | 33.1438 | 1421.1835 | 34.1084 | 1403.2679 | 33.6784
U.Kolab | 2 | KAHALGAON | NIL | TPSODL | 557.1814 | 13.3724 | 544.3091 | 13.0634 | 546.357 | 13.1126
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 4838.0311 | 116.1127 | 5001.2294 | 120.0295 | 4887.4522 | 117.2989
Machhkund | 3,4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 395.8008 | GMR |  |  |  | -8.3043
| NBVL #3 | 0 | MDTPC |  |  |  | 45.5806
Mini Hydel: | MEENAKSHI | 39.3624 | OPCL |  |  |  | 0
| BTPL | 27.9986 | SAPTADHARA |  |  |  | 19.8209
Solar: |  | 129.7209 | KAKATIYA |  |  |  | 7.2756
CGPs : | JSPL (Angul) | 441.2947 | JSL(Duburi) |  |  |  | -105.0228
| ICCL | 45.7325 | visa |  |  |  | 17.1049
| NALCO | -148.6438 | VAL (CGP) |  |  |  | 109.441
| RSP | -104.0576 | BSL(MMDL) |  |  |  | -2.8291
| INDAL | -4.0988 | ADITYA ALUMINIUM |  |  |  | 60
| NINL | -26.689 | VAL CPP 400 kV |  |  |  | -438.0079
| NBVL | 54.2559 | Arati |  |  |  | -4.1633e-16
| BPSL(JSG) | -5.6147 | BPPL |  |  |  | 114.0652
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-15 | 2026-09-16 | 2026-09-17 | 2026-09-18 | 2026-09-19 | 2026-09-20 | 2026-09-21 | 2026-09-22
1201.805 | 1263.2 | 1262.8949 | 1255.0008 | 1246.1101 | 1262.37 | 1226.1063 | 1269.6134
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.22.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | 0 | AARTISTEEL | UPPCL | 0 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.83
AARTISTEEL | KPTCL | -4.06 | DCBL_Rajgangpur | Alsthom_Ind_Jagiroad | -1.1 | AGE26AL_PSS6_KPS1_S | ODISHA | 132.58
AMNSIL_Pdeep | AMNSIL | 0 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AP41PL_BHDL | ODISHA | 58.69
ARYAN_ISPAT | BALCO_LOAD | -5 | ENVIROCARE_INFRA | TPL_DIS_AHM | -6.38 | AP43PL_BKN | ODISHA | 94.03
ENVIROCARE_INFRA | APCPDCL | -13 | FACORPOWER | PSPCL | -21.25 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.24
FACORPOWER | RUVITSL | -3.33 | FACORPOWER | PSPCL | -8.75 | AWEK1L | ODISHA | 2.03
GMRKEL_STU | GEB_Beneficiary | -61.9 | FACORPOWER | RUVITSL | -4 | AWEK1L | ODISHA | 3.04
GMRKEL_STU | TNEB | -18 | JSPLANGUL | RUVITSL | -70.83 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 6.25
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | RUVITSL | -2.08 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 12.8
JPIPL | NPCL_UP | 0 | JSPLANGUL | RUVITSL | -3.12 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 20.18
JSPLANGUL | GEB_Beneficiary | -110 | JSPLANGUL | RUVITSL | -106.25 | DADRI_SOLAR | ODISHA | 0.69
JSPLANGUL | RUVITSL | -40.62 | KCMW_od | SFLPondyHEX288 | -0.58 | ENERSON_SOLAR_10MW | ODISHA | 0.67
JSPLANGUL | RUVITSL | -27.08 | KCMW_od | SFLPondyHWF407 | -0.88 | GADAG_GreenInfra_W | ODISHA | 0
MAADURGA_THERMAL | NPCL_UP | -20.18 | NBVLIPP | BSPHCL | -12.54 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -1.92 | NBVLIPP | RUVITSL | -5.38 | GADAG_GreenInfra_W | ODISHA | 0.48
NBVLIPP | KPTCL | -5.75 | OCL_IRON_STEEL | TPDDL | -24.79 | GADAG_Serentica3_S | VLSEZ | 38.7
NBVLIPP | KPTCL | -3.83 | OCL_IRON_STEEL | TPDDL | -10.21 | GADAG_Serentica3_W | VLSEZ | 25.04
NBVLIPP | TANGEDCO | 0 | ODISHA | BRPL | -39.58 | GIWEL_SECI_II_RE | ODISHA | 10.81
ODISHA | AMNSIL | -68.75 | ODISHA | BSPHCL | -18.75 | GPCL_SOLAR_10 | ODISHA | 0.96
ODISHA | BRPL | -125 | ODISHA | BSPHCL | -11.98 | GSECL_SOLAR | ODISHA | 1.66
ODISHA | GEB_Beneficiary | -12.5 | ODISHA | CESC | -137.5 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.03
ODISHA | HP | -43.75 | ODISHA | CESC | -39.58 | KARUR_TPVARDHAMAN_W | TSKPO | 76.22
ODISHA | KPTCL | -64.58 | ODISHA | DNHDDPDCL | -39.58 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
ODISHA | KSEB | -18.75 | ODISHA | DNHDDPDCL | -37.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 4.37
ORSISL | BALCO_LOAD | -5 | ODISHA | RUVITSL | -11.46 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.44
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | ODISHA | TANGEDCO | -12.5 | NTPCRE1_SMND_BHJ2_W | ODISHA | 1.61
RSPL_JHARSUGUDA | NPCL_UP | -12 | ODISHA | TANGEDCO | -6.25 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
VSL | APCPDCL | -5 | ODISHA | TANGEDCO | -18.75 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.01
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | TANGEDCO | -12.5 | OKWPL_RE | ODISHA | 5.38
JSWEL_UTKAL | ODISHA | 75.61 | ODISHA | TPDDL | -62.5 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 10.94
RAJ_SOLAR | ODISHA | 2.73 | ODISHA | TPL_DIS_AHM | -18.75 | RWE_AP2_SECI_III | ODISHA | 4.43
RAJ_SOLAR | ODISHA | 2.33 | ODISHA | TPL_DIS_SUR | -37.5 | RenewGreen_SLPR_HS | JSL_DUBURI | 10.75
|  |  | ORSISL | TPLD | -2.5 | SRI9PL_FTG3 | VLSEZ | 92.76
|  |  | SMEL | CESC | -5 | TPVSL_BKN3 | TSKPO | 12.25
|  |  | SMEL | PSPCL | -17.71 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
|  |  | SMEL | PSPCL | -7.29 | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
|  |  | Shri_JSPL | KSEB | -2 | Tuticorin_BETAMWIND | ODISHA | 68.02
|  |  | TSBSLA | DNHDDPDCL | -4.58 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 3.3
|  |  | VIRAJ_SEPL | PSPCL | -3.62 | XXPPL_FTG3 | ODISHA | 70.88
|  |  | VIRAJ_SEPL | PSPCL | -1.21
|  |  | VSL | DNHDDPDCL | -5
|  |  | VSL | TANGEDCO | -10
|  |  | Darlipali_NTPC | ODISHA | 199.23
|  |  | JIPL | ODISHA | 115.72
|  |  | NALCOAP | NACL_Odisha | 8.2

## DAM
DAM TRADING DETAILS FOR DT : 22.09.2026
Time Period | GRIDCO | IOCL_Paradeep_Refinery | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal
00:00 - 00:15 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
00:15 - 00:30 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
00:30 - 00:45 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
00:45 - 01:00 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
01:00 - 01:15 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
01:15 - 01:30 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
01:30 - 01:45 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
01:45 - 02:00 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
02:00 - 02:15 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | -51.55 | -1.13 | 0 | -2.06 | -3.09 | 0 | 0
05:15 - 05:30 | 0 | 0 | -51.55 | -1.13 | 0 | -2.06 | -3.09 | 0 | 0
05:30 - 05:45 | 0 | 0 | -51.55 | -1.13 | 0 | -2.06 | -3.09 | 0 | 0
05:45 - 06:00 | 0 | 0 | -51.55 | -1.13 | 0 | -2.06 | -3.09 | 0 | 0
06:00 - 06:15 | 0 | 0 | -51.55 | -1.13 | 0 | -2.06 | -3.09 | 0 | 0
06:15 - 06:30 | 0 | 0 | -51.55 | -1.13 | 0 | -2.06 | -3.09 | 0 | 0
06:30 - 06:45 | 0 | 0 | -51.55 | -1.13 | 0 | -2.06 | -3.09 | 0 | 0
06:45 - 07:00 | 0 | 0 | -51.55 | -1.13 | 0 | -2.06 | -3.09 | 0 | 0
07:00 - 07:15 | 0 | 0 | -51.55 | -1.13 | 0 | -2.06 | -3.09 | 0 | 0
07:15 - 07:30 | 0 | 0 | -51.55 | -1.13 | 0 | -2.06 | -3.09 | 0 | 0
07:30 - 07:45 | 0 | 0 | -51.55 | -1.13 | 0 | -2.06 | -3.09 | 0 | 0
07:45 - 08:00 | 0 | 0 | -51.55 | -1.13 | 0 | -2.06 | -3.09 | 0 | 0
08:00 - 08:15 | -450 | 0 | -51.55 | -1.13 | 0 | -2.06 | -46.91 | 0 | 0
08:15 - 08:30 | -450 | 0 | 0 | -1.13 | 0 | -2.06 | -46.91 | 0 | 0
08:30 - 08:45 | -600 | 0 | 0 | -1.13 | 0 | -2.06 | -46.91 | 0 | 0
08:45 - 09:00 | -600 | 0 | 0 | -1.13 | 0 | -2.06 | -46.91 | 0 | 0
09:00 - 09:15 | -900 | 0 | 0 | -1.13 | 9.35 | -2.06 | -46.91 | 0 | 0
09:15 - 09:30 | -900 | 0 | 0 | -1.13 | 9.35 | -2.06 | -46.91 | 0 | 0
09:30 - 09:45 | -900 | 0 | 0 | -1.13 | 9.35 | -2.06 | -46.91 | 0 | 0
09:45 - 10:00 | -900 | 0 | 0 | -1.13 | 9.35 | -2.06 | -46.91 | 9.36 | 0
10:00 - 10:15 | -1000 | 0 | 0 | -1.13 | 9.35 | -1.03 | -35.05 | 9.36 | 0
10:15 - 10:30 | -1000 | 23.4 | 0 | -1.13 | 9.35 | -1.03 | -35.05 | 9.35 | 4.68
10:30 - 10:45 | -1000 | 23.4 | 0 | -1.13 | 9.35 | -1.03 | -35.05 | 9.35 | 4.68
10:45 - 11:00 | -1000 | 23.4 | 0 | -1.13 | 9.35 | -1.03 | -35.05 | 9.35 | 4.68
11:00 - 11:15 | -1000 | 23.4 | 0 | -1.13 | 9.35 | -1.03 | -35.05 | 9.35 | 4.68
11:15 - 11:30 | -952.07 | 23.4 | 0 | -1.13 | 9.35 | -1.03 | -35.05 | 9.35 | 4.68
11:30 - 11:45 | -783.98 | 23.4 | 0 | -1.13 | 9.35 | -1.03 | -35.05 | 9.35 | 4.68
11:45 - 12:00 | -783.34 | 23.4 | 0 | -1.13 | 9.35 | -1.03 | -35.05 | 9.35 | 4.68
12:00 - 12:15 | -745.24 | 23.4 | 0 | -1.13 | 9.35 | -1.03 | -35.05 | 9.35 | 4.68
12:15 - 12:30 | -744.63 | 23.4 | 0 | -1.13 | 9.35 | -1.03 | -35.05 | 9.35 | 4.68
12:30 - 12:45 | -744.16 | 23.4 | 0 | -1.13 | 9.35 | -1.03 | -35.05 | 9.35 | 4.68
12:45 - 13:00 | -742.92 | 23.4 | 0 | -1.13 | 9.35 | -1.03 | -35.05 | 9.35 | 4.68
13:00 - 13:15 | -628.7 | 20.86 | 0 | -1.13 | 9.35 | -1.03 | -46.91 | 9.35 | 4.68
13:15 - 13:30 | -725.69 | 16.75 | 0 | -1.13 | 9.35 | -1.03 | -46.91 | 9.35 | 4.68
13:30 - 13:45 | -1100 | 23.4 | 0 | -1.13 | 9.35 | -1.03 | -46.91 | 9.35 | 4.68
13:45 - 14:00 | -1100 | 23.4 | 0 | -1.13 | 9.35 | -1.03 | -46.91 | 9.35 | 4.68
14:00 - 14:15 | -1225 | 0 | 0 | -1.13 | 9.35 | -1.03 | -46.91 | 9.36 | 0
14:15 - 14:30 | -1225 | 0 | 0 | -1.13 | 9.35 | -1.03 | -46.91 | 9.36 | 0
14:30 - 14:45 | -1225 | 0 | 0 | -1.13 | 0 | -1.03 | -46.91 | 0 | 0
14:45 - 15:00 | -1225 | 0 | 0 | -1.13 | 0 | -1.03 | -46.91 | 0 | 0
15:00 - 15:15 | -650 | 0 | 0 | -1.13 | 0 | -2.06 | -46.91 | 0 | 0
15:15 - 15:30 | -650 | 0 | 0 | -1.13 | 0 | -2.06 | -46.91 | 0 | 0
15:30 - 15:45 | -650 | 0 | -51.55 | -1.13 | 0 | -2.06 | -46.91 | 0 | 0
15:45 - 16:00 | -650 | 0 | -51.55 | -1.13 | 0 | -2.06 | -46.91 | 0 | 0
16:00 - 16:15 | -500 | 0 | -51.55 | -1.13 | 0 | -2.06 | 0 | 0 | 0
16:15 - 16:30 | -450 | 0 | -51.55 | -1.13 | 0 | -2.06 | 0 | 0 | 0
16:30 - 16:45 | -400 | 0 | -51.55 | -1.13 | 0 | -2.06 | 0 | 0 | 0
16:45 - 17:00 | -350 | 0 | -51.55 | -1.13 | 0 | -2.06 | 0 | 0 | 0
17:00 - 17:15 | -150 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
17:15 - 17:30 | -150 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
17:30 - 17:45 | -125 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
19:15 - 19:30 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
19:30 - 19:45 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
19:45 - 20:00 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
20:00 - 20:15 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
20:15 - 20:30 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
20:30 - 20:45 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
20:45 - 21:00 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
21:00 - 21:15 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
21:15 - 21:30 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
21:30 - 21:45 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
21:45 - 22:00 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
22:00 - 22:15 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
22:15 - 22:30 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
22:30 - 22:45 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
22:45 - 23:00 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
23:00 - 23:15 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
23:15 - 23:30 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
23:30 - 23:45 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
23:45 - 24:00 | 0 | 0 | -51.55 | -1.03 | 0 | -2.06 | -3.09 | 0 | 0
Average | -305.9972 | 3.5605 | -35.9776 | -1.08 | 2.1427 | -1.8454 | -15.4417 | 1.8509 | 0.73125

## GDAM
GDAM TRADING DETAILS FOR DT:22.09.2026
Time Period | Time Period | IOCL_Paradeep_Refinery | Jindal_Ferrous_Limited | Orissa_Metaliks_Private_Limited
00:00 - 00:15 | 00:00 - 00:15 | 0 | 0 | 0
00:15 - 00:30 | 00:15 - 00:30 | 0 | 0 | 0
00:30 - 00:45 | 00:30 - 00:45 | 0 | 0 | 0
00:45 - 01:00 | 00:45 - 01:00 | 0 | 0 | 0
01:00 - 01:15 | 01:00 - 01:15 | 0 | 0 | 0
01:15 - 01:30 | 01:15 - 01:30 | 0 | 0 | 0
01:30 - 01:45 | 01:30 - 01:45 | 0 | 0 | 0
01:45 - 02:00 | 01:45 - 02:00 | 0 | 0 | 0
02:00 - 02:15 | 02:00 - 02:15 | 0 | 0 | 0
02:15 - 02:30 | 02:15 - 02:30 | 0 | 0 | 0
02:30 - 02:45 | 02:30 - 02:45 | 0 | 0 | 0
02:45 - 03:00 | 02:45 - 03:00 | 0 | 0 | 0
03:00 - 03:15 | 03:00 - 03:15 | 0 | 0 | 0
03:15 - 03:30 | 03:15 - 03:30 | 0 | 0 | 0
03:30 - 03:45 | 03:30 - 03:45 | 0 | 0 | 0
03:45 - 04:00 | 03:45 - 04:00 | 0 | 0 | 0
04:00 - 04:15 | 04:00 - 04:15 | 0 | 0 | 0
04:15 - 04:30 | 04:15 - 04:30 | 0 | 0 | 0
04:30 - 04:45 | 04:30 - 04:45 | 0 | 0 | 0
04:45 - 05:00 | 04:45 - 05:00 | 0 | 0 | 0
05:00 - 05:15 | 05:00 - 05:15 | 0 | 0 | 0
05:15 - 05:30 | 05:15 - 05:30 | 0 | 0 | 0
05:30 - 05:45 | 05:30 - 05:45 | 0 | 0 | 0
05:45 - 06:00 | 05:45 - 06:00 | 0 | 0 | 0
06:00 - 06:15 | 06:00 - 06:15 | 0 | 0 | 0
06:15 - 06:30 | 06:15 - 06:30 | 0 | 0 | 0
06:30 - 06:45 | 06:30 - 06:45 | 0 | 0 | 0
06:45 - 07:00 | 06:45 - 07:00 | 0 | 0 | 0
07:00 - 07:15 | 07:00 - 07:15 | 0 | 0 | 0
07:15 - 07:30 | 07:15 - 07:30 | 0 | 0 | 0
07:30 - 07:45 | 07:30 - 07:45 | 0 | 0 | 0
07:45 - 08:00 | 07:45 - 08:00 | 0 | 0 | 0
08:00 - 08:15 | 08:00 - 08:15 | 0 | 0 | 0
08:15 - 08:30 | 08:15 - 08:30 | 0 | 0 | 0
08:30 - 08:45 | 08:30 - 08:45 | 0 | 0 | 0
08:45 - 09:00 | 08:45 - 09:00 | 0 | 0 | 0
09:00 - 09:15 | 09:00 - 09:15 | 0 | 0 | 6.08
09:15 - 09:30 | 09:15 - 09:30 | 0 | 0 | 6.08
09:30 - 09:45 | 09:30 - 09:45 | 0 | 0 | 6.08
09:45 - 10:00 | 09:45 - 10:00 | 0 | 0 | 6.08
10:00 - 10:15 | 10:00 - 10:15 | 0 | 0 | 6.08
10:15 - 10:30 | 10:15 - 10:30 | 0 | 28.06 | 6.08
10:30 - 10:45 | 10:30 - 10:45 | 0 | 17.29 | 6.08
10:45 - 11:00 | 10:45 - 11:00 | 0 | 8.56 | 6.08
11:00 - 11:15 | 11:00 - 11:15 | 0 | 0 | 6.08
11:15 - 11:30 | 11:15 - 11:30 | 0 | 0 | 6.08
11:30 - 11:45 | 11:30 - 11:45 | 0 | 0 | 6.08
11:45 - 12:00 | 11:45 - 12:00 | 0 | 0 | 6.08
12:00 - 12:15 | 12:00 - 12:15 | 0 | 0 | 6.08
12:15 - 12:30 | 12:15 - 12:30 | 0 | 8.64 | 6.08
12:30 - 12:45 | 12:30 - 12:45 | 0 | 2.75 | 6.07
12:45 - 13:00 | 12:45 - 13:00 | 0 | 0 | 6.08
13:00 - 13:15 | 13:00 - 13:15 | 2.5 | 28.06 | 6.08
13:15 - 13:30 | 13:15 - 13:30 | 6.63 | 28.05 | 6.08
13:30 - 13:45 | 13:30 - 13:45 | 0 | 0 | 6.08
13:45 - 14:00 | 13:45 - 14:00 | 0 | 0 | 6.08
14:00 - 14:15 | 14:00 - 14:15 | 0 | 0 | 6.08
14:15 - 14:30 | 14:15 - 14:30 | 0 | 0 | 6.08
14:30 - 14:45 | 14:30 - 14:45 | 0 | 0 | 6.08
14:45 - 15:00 | 14:45 - 15:00 | 0 | 0 | 6.08
15:00 - 15:15 | 15:00 - 15:15 | 0 | 0 | 0
15:15 - 15:30 | 15:15 - 15:30 | 0 | 0 | 0
15:30 - 15:45 | 15:30 - 15:45 | 0 | 0 | 0
15:45 - 16:00 | 15:45 - 16:00 | 0 | 0 | 0
16:00 - 16:15 | 16:00 - 16:15 | 0 | 0 | 0
16:15 - 16:30 | 16:15 - 16:30 | 0 | 0 | 0
16:30 - 16:45 | 16:30 - 16:45 | 0 | 0 | 0
16:45 - 17:00 | 16:45 - 17:00 | 0 | 0 | 0
17:00 - 17:15 | 17:00 - 17:15 | 0 | 0 | 0
17:15 - 17:30 | 17:15 - 17:30 | 0 | 0 | 0
17:30 - 17:45 | 17:30 - 17:45 | 0 | 0 | 0
17:45 - 18:00 | 17:45 - 18:00 | 0 | 0 | 0
18:00 - 18:15 | 18:00 - 18:15 | 0 | 0 | 0
18:15 - 18:30 | 18:15 - 18:30 | 0 | 0 | 0
18:30 - 18:45 | 18:30 - 18:45 | 0 | 0 | 0
18:45 - 19:00 | 18:45 - 19:00 | 0 | 0 | 0
19:00 - 19:15 | 19:00 - 19:15 | 0 | 0 | 0
19:15 - 19:30 | 19:15 - 19:30 | 0 | 0 | 0
19:30 - 19:45 | 19:30 - 19:45 | 0 | 0 | 0
19:45 - 20:00 | 19:45 - 20:00 | 0 | 0 | 0
20:00 - 20:15 | 20:00 - 20:15 | 0 | 0 | 0
20:15 - 20:30 | 20:15 - 20:30 | 0 | 0 | 0
20:30 - 20:45 | 20:30 - 20:45 | 0 | 0 | 0
20:45 - 21:00 | 20:45 - 21:00 | 0 | 0 | 0
21:00 - 21:15 | 21:00 - 21:15 | 0 | 0 | 0
21:15 - 21:30 | 21:15 - 21:30 | 0 | 0 | 0
21:30 - 21:45 | 21:30 - 21:45 | 0 | 0 | 0
21:45 - 22:00 | 21:45 - 22:00 | 0 | 0 | 0
22:00 - 22:15 | 22:00 - 22:15 | 0 | 0 | 0
22:15 - 22:30 | 22:15 - 22:30 | 0 | 0 | 0
22:30 - 22:45 | 22:30 - 22:45 | 0 | 0 | 0
22:45 - 23:00 | 22:45 - 23:00 | 0 | 0 | 0
23:00 - 23:15 | 23:00 - 23:15 | 0 | 0 | 0
23:15 - 23:30 | 23:15 - 23:30 | 0 | 0 | 0
23:30 - 23:45 | 23:30 - 23:45 | 0 | 0 | 0
23:45 - 24:00 | 23:45 - 24:00 | 0 | 0 | 0
Average | #DIV/0! | 0.095104 | 1.2647 | 1.5199

## RTM
RTM TRADING DETAILS FOR DT: 22.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | KJS_Ahluwalia_(Steel_&_Power_Division) | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | NU_VISTA_LIMITED_(FORMERLY_EMAMI_CEMENT_LIMITED) | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Times_Steel_&_Power_Private_limited | Visa_Chrome_Limited
00:00 - 00:15 | -1.34 | -6.19 | -1.86 | -1.44 | -325 | 0 | 0 | -61.86 | -5.36 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -5.15 | -1.03
00:15 - 00:30 | -1.34 | -6.19 | -1.86 | -1.44 | -325 | 0 | 0 | -61.86 | -5.36 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -5.15 | -1.03
00:30 - 00:45 | -1.34 | -12.37 | -1.86 | -1.44 | -550 | 0 | 0 | -61.86 | -5.36 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -5.15 | -1.03
00:45 - 01:00 | -1.34 | -12.37 | -1.86 | -1.44 | -550 | 0 | 0 | -61.86 | -5.36 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -5.15 | -1.03
01:00 - 01:15 | -1.34 | -6.19 | -1.86 | -1.44 | -600 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -20.62 | 0 | 0 | -5.15 | -1.03
01:15 - 01:30 | -1.34 | -6.19 | -1.86 | -1.44 | -600 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -20.62 | 0 | 0 | -5.15 | -1.03
01:30 - 01:45 | -1.34 | -6.19 | -1.86 | -1.44 | -350 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -20.62 | 0 | 0 | -5.15 | -1.03
01:45 - 02:00 | -1.34 | -12.37 | -1.86 | -1.44 | -350 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -5.15 | -1.03
02:00 - 02:15 | -1.34 | -12.37 | -1.86 | -1.55 | -200 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -5.15 | -1.03
02:15 - 02:30 | -1.34 | -6.19 | -1.86 | -1.55 | -200 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -5.15 | -1.03
02:30 - 02:45 | -1.34 | -6.19 | -1.86 | -1.55 | -150 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -51.55 | 0 | 0 | -5.15 | -1.03
02:45 - 03:00 | -1.34 | -6.19 | -1.86 | -1.55 | -150 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -51.55 | 0 | 0 | -5.15 | -1.03
03:00 - 03:15 | -1.34 | -12.37 | -1.86 | -1.44 | -500 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -5.15 | -1.03
03:15 - 03:30 | -1.34 | -12.37 | -1.86 | -1.44 | -500 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -10.31 | 0 | 0 | -5.15 | -1.03
03:30 - 03:45 | -1.34 | -6.19 | -2.37 | -1.44 | -550 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -5.15 | -1.03
03:45 - 04:00 | -1.34 | -6.19 | -2.37 | -1.44 | -550 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -5.15 | -1.03
04:00 - 04:15 | -1.34 | -6.19 | -2.37 | -1.44 | -550 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -61.86 | 0 | 0 | -5.15 | 0
04:15 - 04:30 | -1.34 | -6.19 | -2.37 | -1.44 | -550 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -20.62 | 0 | 0 | -5.15 | 0
04:30 - 04:45 | -1.34 | -22.68 | -2.37 | -1.44 | -550 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0
04:45 - 05:00 | -1.34 | -7.22 | -2.37 | -1.44 | -550 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -10.31 | 0 | 0 | -5.15 | 0
05:00 - 05:15 | -1.34 | -6.19 | -2.37 | -1.44 | -500 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -10.31 | 0 | 0 | -5.15 | 0
05:15 - 05:30 | -1.34 | -6.19 | -2.37 | -1.44 | -500 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0
05:30 - 05:45 | -1.34 | -10.31 | -2.37 | -1.44 | -500 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0
05:45 - 06:00 | -1.34 | -12.37 | -2.37 | -1.44 | -500 | 0 | 0 | -61.86 | -5.15 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -56.7 | 0 | 0 | -5.15 | 0
06:00 - 06:15 | -1.34 | -7.22 | -2.37 | -1.44 | -300 | 0 | 0 | -61.86 | -5.15 | -0.1 | 0 | 0 | 0 | 0 | -25.26 | 0 | -2.06 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -25.77 | 0 | 0 | -5.15 | -5.15
06:15 - 06:30 | -1.34 | -6.19 | -2.37 | -1.44 | -300 | 0 | 0 | -61.86 | -5.15 | -0.1 | 0 | 0 | 0 | 0 | -25.26 | 0 | -2.06 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -5.15 | -5.15
06:30 - 06:45 | -1.34 | -6.19 | -2.37 | -1.44 | -300 | 0 | 0 | -61.86 | -5.15 | -0.31 | 0 | 0 | 0 | 0 | -25.26 | -0.41 | -2.06 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | 0 | 0 | -5.15 | -5.15
06:45 - 07:00 | -1.34 | -6.19 | -2.37 | -1.44 | -300 | 0 | 0 | -61.86 | -5.15 | -0.41 | 0 | 0 | 0 | 0 | -25.26 | -0.82 | -2.06 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -20.62 | 0 | 0 | -5.15 | -5.15
07:00 - 07:15 | -1.34 | -22.68 | -2.37 | -1.44 | -250 | 0 | 0 | -61.86 | -5.15 | -0.72 | 0 | 0 | 0 | 0 | -25.26 | -1.03 | -2.06 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -3.09 | -5.15
07:15 - 07:30 | -1.34 | -7.22 | -2.37 | -1.44 | -200 | 0 | 0 | -61.86 | -5.15 | -0.72 | 0 | 0 | 0 | 0 | -25.26 | -1.13 | -2.06 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | 0 | 0 | 0 | -3.09 | -5.15
07:30 - 07:45 | -1.34 | -6.19 | -2.37 | -1.44 | -250 | 0 | 0 | -61.86 | 0 | -0.82 | 0 | 0 | 0 | 0 | -25.26 | -1.34 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -46.39 | 0 | 0 | -3.09 | -5.15
07:45 - 08:00 | -1.34 | -3.09 | -2.37 | -1.44 | -295.47 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | 0 | -25.26 | -1.34 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | 0 | -10.31 | 0 | 0 | -3.09 | -5.15
08:00 - 08:15 | -1.34 | -3.09 | -2.37 | -1.24 | 152.33 | 0 | 10.29 | 0 | 0 | -0.93 | 0 | 0 | 0 | 0 | -25.26 | -1.24 | 0 | 16.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.09 | -4.12
08:15 - 08:30 | -1.34 | -3.09 | -2.37 | 0 | 0 | 0 | 10.29 | 0 | 0 | -0.93 | 0 | 9.35 | 0 | 0 | -25.26 | -1.55 | 0 | 20.57 | 0 | 0 | 0 | 0 | 0 | 0 | -10.31 | 0 | 0.56 | -3.09 | -4.12
08:30 - 08:45 | -1.34 | -10.31 | -2.37 | 0 | -18.6 | 7.67 | 10.29 | 0 | 0 | -0.52 | 0 | 9.35 | 0 | 0 | -25.26 | 0 | 0 | 20.57 | 0 | 18.71 | 0 | 0 | 0 | 0 | 0 | 9.35 | 0.56 | 0 | 0
08:45 - 09:00 | -1.34 | -3.09 | -2.37 | 0 | -50.01 | 7.76 | 10.29 | 0 | 0 | -0.52 | 0 | 9.35 | 0 | 0 | -25.26 | -2.06 | 0 | 20.58 | 0 | 18.71 | 0 | 0 | 0 | 0 | -25.77 | 9.35 | 0.56 | 0 | -4.12
09:00 - 09:15 | -1.34 | -3.09 | -2.37 | 0 | 5.24 | 0 | 10.29 | 0 | 0 | -0.52 | 0 | 0 | 0 | 0 | -25.26 | -2.27 | 0 | 0 | 7.48 | 0 | 0 | 0 | -2.06 | 0 | -61.86 | 0 | 0 | -3.09 | 0
09:15 - 09:30 | -1.34 | -3.09 | -2.37 | 0 | 13.54 | 0 | 10.29 | 0 | 0 | -0.52 | 0 | 0 | 0 | 0 | -25.26 | -2.16 | 0 | 0 | 7.48 | 0 | 0 | 0 | -1.03 | 0 | -56.7 | 0 | 0 | -3.09 | 0
09:30 - 09:45 | -1.34 | -3.09 | -2.37 | 0 | 0 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | -2.37 | 0 | 0 | 7.48 | 0 | 0 | 0 | -1.03 | 0 | -20.62 | 0 | 0 | -3.09 | 0
09:45 - 10:00 | -1.34 | -19.59 | -2.37 | 0 | -30.03 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | -2.47 | 0 | 0 | 7.48 | 0 | 0 | 0 | -3.09 | 0 | -20.62 | 0 | 0 | -3.09 | 0
10:00 - 10:15 | -1.34 | -3.09 | -2.37 | 0 | -64.91 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | -2.27 | 0 | 0 | 7.48 | 0 | 4.68 | 0 | -2.06 | -1.03 | -41.24 | 0 | 0 | 0 | 0
10:15 - 10:30 | -1.34 | -3.09 | -2.37 | 0 | -59.02 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | -2.58 | 0 | 7.48 | 7.48 | 0 | 4.68 | 0 | -2.06 | -1.03 | -20.62 | 28.07 | 0 | 0 | 0
10:30 - 10:45 | -1.34 | -3.09 | -2.37 | 0 | -62.4 | 0 | 10.29 | 0 | 0 | 0 | -0.82 | 0 | 0 | 0 | -25.26 | -2.68 | 0 | 7.48 | 7.48 | 18.71 | 4.68 | 0 | -1.03 | -1.03 | -41.24 | 37.41 | 0.56 | 0 | 0
10:45 - 11:00 | -1.34 | -3.09 | -2.37 | 0 | -54.91 | 0 | 10.29 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -25.26 | -2.58 | 0 | 7.48 | 7.48 | 18.71 | 4.68 | 0 | 0 | -1.03 | -72.16 | 37.41 | 0.56 | 0 | 0
11:00 - 11:15 | -1.34 | -3.09 | -2.37 | 0 | 85.94 | 0 | 10.29 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | -25.26 | -2.47 | 0 | 7.48 | 0 | 18.71 | 4.68 | 0 | 0 | -1.03 | -30.93 | 32.74 | 0.56 | 0 | 0
11:15 - 11:30 | -1.34 | -3.09 | -2.37 | 0 | 45.87 | 0 | 10.29 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | -25.26 | -2.47 | 0 | 7.48 | 0 | 0 | 4.68 | 0 | 0 | -1.03 | 0 | 23.39 | 0 | 0 | 0
11:30 - 11:45 | -1.34 | -3.09 | -2.37 | 0 | -104.95 | 0 | 10.29 | 0 | 0 | 0 | -1.03 | 0 | 8.6 | 0 | -25.26 | -2.37 | 0 | 7.48 | 0 | 18.71 | 4.68 | 0 | 0 | -1.03 | 0 | 18.71 | 0.56 | 0 | 0
11:45 - 12:00 | -1.34 | -3.09 | -2.37 | 0 | -212.44 | 0 | 10.29 | 0 | 0 | 0 | -0.93 | 0 | 8.6 | 0 | -25.26 | -2.58 | 0 | 7.48 | 0 | 18.71 | 4.68 | 0 | 0 | -1.03 | -10.31 | 18.71 | 0.56 | 0 | 0
12:00 - 12:15 | -1.34 | -3.09 | -2.37 | 0 | -198 | 0 | 10.29 | 0 | 0 | 0 | -0.52 | 0 | 8.6 | 0 | -25.26 | -2.58 | 0 | 11.22 | 0 | 18.7 | 4.68 | 0 | 0 | -1.03 | -36.08 | 18.71 | 0.56 | 0 | 0
12:15 - 12:30 | -1.34 | -6.19 | -2.37 | 0 | -220.03 | 0 | 10.29 | 0 | 0 | 0 | -0.52 | 0 | 8.6 | 0 | -25.26 | -2.37 | 0 | 7.48 | 0 | 18.71 | 4.68 | 0 | 0 | -1.03 | -15.46 | 18.71 | 0.56 | 0 | 0
12:30 - 12:45 | -1.44 | -4.12 | -2.37 | 0 | -220.07 | 0 | 10.29 | 0 | 0 | 0 | -0.1 | 0 | 8.6 | 0 | -25.26 | -2.58 | 0 | 7.48 | 0 | 18.71 | 4.68 | 0 | 0 | -1.03 | -20.62 | 14.03 | 0.56 | -2.06 | 0
12:45 - 13:00 | -1.44 | -3.09 | -2.37 | 0 | -304.93 | 0 | 10.29 | 0 | 0 | 0 | 0 | 0 | 8.6 | 0 | -25.26 | -2.37 | 0 | 7.48 | 0 | 18.71 | 4.68 | 0 | 0 | -1.03 | -72.16 | 14.03 | 0.56 | -2.06 | 0
13:00 - 13:15 | -1.44 | -3.09 | -2.37 | 0 | -700 | 0 | 10.29 | 0 | 0 | 0 | -0.1 | 0 | 8.6 | 0 | -25.26 | -3.51 | 0 | 7.48 | 0 | 18.71 | 4.68 | 0 | 0 | -1.03 | -51.55 | 9.35 | 0.56 | -2.06 | 0
13:15 - 13:30 | -1.44 | -3.09 | -2.37 | 0 | -600 | 0 | 10.3 | 0 | 0 | -0.72 | -0.1 | 0 | 8.6 | 0 | -25.26 | -3.4 | 0 | 7.48 | 0 | 0 | 4.68 | 0 | 0 | -1.03 | 0 | 9.35 | 0 | -2.06 | 0
13:30 - 13:45 | -1.44 | -3.09 | -1.86 | 0 | -260.14 | 0 | 10.3 | 0 | 0 | -0.82 | -0.1 | 0 | 8.6 | 0 | -25.26 | -3.2 | 0 | 7.48 | 0 | 0 | 4.68 | 0 | 0 | -1.03 | -20.62 | 9.35 | 0 | -2.06 | 0
13:45 - 14:00 | -1.44 | -3.09 | -1.86 | 0 | -308.92 | 0 | 10.29 | 0 | 0 | -0.72 | 0 | 0 | 8.6 | 0 | -25.26 | -2.58 | 0 | 0 | 0 | 0 | 0 | 0 | -2.06 | -1.03 | -51.55 | 0 | 0 | -2.06 | 0
14:00 - 14:15 | -1.44 | -3.09 | -1.86 | 0 | -100 | 0 | 10.28 | 0 | 0 | -0.62 | 0 | 0 | 8.6 | 0 | -25.26 | -2.58 | 0 | 0 | 0 | 0 | 1.15 | 0 | -1.03 | -1.03 | -51.55 | 0 | 0 | -2.06 | 0
14:15 - 14:30 | -1.44 | -3.09 | -1.86 | 0 | -100 | 0 | 10.29 | 0 | 0 | -1.55 | 0 | 0 | 8.6 | 0 | -25.26 | -2.89 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -1.03 | -51.55 | 0 | 0 | -2.06 | 0
14:30 - 14:45 | -1.44 | -3.09 | -1.86 | 0 | -86.17 | 0 | 10.29 | 0 | 0 | -0.52 | 0 | 0 | 8.6 | 0 | -25.26 | -2.78 | 0 | 16.84 | 0 | 0 | 4.68 | 0 | -2.58 | -1.03 | -20.62 | 0 | 0 | -2.06 | 0
14:45 - 15:00 | -1.44 | -3.09 | -1.86 | 0 | -138.95 | 0 | 10.29 | 0 | 0 | -0.52 | 0 | 9.35 | 8.6 | 0 | -25.26 | -2.47 | 0 | 16.84 | 0 | 18.71 | 4.68 | 0 | -1.55 | -1.03 | 0 | 0 | 0.56 | -2.06 | 0
15:00 - 15:15 | -1.44 | -3.09 | -1.86 | 0 | -380.03 | 0 | 10.29 | 0 | 0 | -0.21 | 0 | 0 | 8.6 | 0 | -25.26 | -1.86 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -1.03 | 0 | 0 | 0 | -2.06 | -3.09
15:15 - 15:30 | -1.44 | -3.09 | -1.86 | 0 | -370.07 | 0 | 10.29 | 0 | 0 | -0.21 | 0 | 0 | 8.6 | 0 | -25.26 | -1.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | -3.09
15:30 - 15:45 | -1.44 | -21.65 | -2.37 | 0 | -416.67 | 0 | 10.29 | 0 | 0 | -0.21 | 0 | 0 | 8.6 | 0 | -25.26 | -1.34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | -3.09
15:45 - 16:00 | -1.44 | -3.09 | -2.37 | 0 | -416.67 | 0 | 10.29 | 0 | 0 | -0.21 | 0 | 0 | 8.6 | 0 | -25.26 | -1.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -20.62 | 0 | 0 | -2.06 | -3.09
16:00 - 16:15 | -1.44 | -1.22 | -2.78 | 0 | -9.93 | 13 | 10.29 | 0 | 0 | -0.1 | 0 | 9.35 | 8.6 | 9.35 | -25.26 | 0 | 0 | 20.57 | 0 | 18.71 | 0 | -5.15 | 0 | 0 | -10.31 | 28.07 | 0.56 | 0 | 0
16:15 - 16:30 | -1.44 | -4.12 | -2.78 | 0 | -478 | 0 | 10.29 | 0 | 0 | -0.1 | 0 | 0 | 8.6 | 9.35 | -25.26 | -0.62 | 0 | 16.84 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | 0 | 28.06 | 0.56 | -2.06 | -5.15
16:30 - 16:45 | -1.44 | -5.15 | -2.78 | 0 | -408.46 | 0 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | -25.26 | -0.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -10.31 | 0 | 0 | -2.06 | -3.09
16:45 - 17:00 | -1.44 | -6.19 | -2.78 | 0 | -426.93 | 0 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | -25.26 | -0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | -30.93 | 0 | 0 | -2.06 | -3.09
17:00 - 17:15 | -1.03 | -12.37 | -2.27 | 0 | -575 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | -3.09
17:15 - 17:30 | -1.03 | -6.19 | -2.27 | 0 | -450 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | -3.09
17:30 - 17:45 | -1.03 | -6.19 | -2.27 | -1.34 | -400 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | -34.02 | 0 | 0 | -2.06 | -3.09
17:45 - 18:00 | -1.03 | -6.19 | -2.27 | -1.34 | -300 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | -3.09
18:00 - 18:15 | -1.03 | -14.43 | -2.27 | 0 | -650 | 0 | 0 | -72.16 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0
18:15 - 18:30 | -1.03 | -14.43 | -2.27 | 0 | -500 | 0 | 0 | -72.16 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | -32.99 | 0 | 0 | -2.06 | 0
18:30 - 18:45 | -1.03 | -6.19 | -1.86 | -1.44 | -200 | 0 | 0 | -92.78 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | -30.93 | 0 | 0 | -2.06 | 0
18:45 - 19:00 | -1.03 | -6.19 | -1.86 | -1.44 | -275 | 0 | 0 | -92.78 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0
19:00 - 19:15 | -1.03 | 0 | -1.86 | -1.55 | -300 | 0 | 0 | -92.78 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0
19:15 - 19:30 | -1.03 | 0 | -1.86 | -1.55 | -300 | 0 | 0 | -92.78 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0
19:30 - 19:45 | -1.03 | 0 | -1.86 | -1.55 | -350 | 0 | 0 | -103.09 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0
19:45 - 20:00 | -1.03 | 0 | -1.86 | -1.55 | -350 | 0 | 0 | -103.09 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0
20:00 - 20:15 | -1.03 | -5.15 | -1.86 | -1.44 | -350 | 0 | 0 | -123.71 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0
20:15 - 20:30 | -1.03 | 0 | -1.86 | -1.44 | -350 | 0 | 0 | -123.71 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | -32.99 | 0 | 0 | -2.06 | 0
20:30 - 20:45 | -1.03 | 0 | -1.86 | -1.44 | -425 | 0 | 0 | -123.71 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | -15.46 | 0 | 0 | -2.06 | 0
20:45 - 21:00 | -1.03 | 0 | -1.86 | -1.44 | -425 | 0 | 0 | -123.71 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0
21:00 - 21:15 | -1.03 | 0 | -1.86 | -1.44 | -450 | 0 | 0 | -92.78 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0
21:15 - 21:30 | -1.03 | 0 | -1.86 | -1.44 | -450 | 0 | 0 | -92.78 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0
21:30 - 21:45 | -1.03 | 0 | -2.37 | -1.44 | -550 | 0 | 0 | -82.47 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | -5.15 | 0 | 0 | -2.06 | 0
21:45 - 22:00 | -1.03 | 0 | -2.37 | -1.44 | -550 | 0 | 0 | -82.47 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | -30.93 | 0 | 0 | -2.06 | 0
22:00 - 22:15 | -1.03 | -4.12 | -2.37 | -1.44 | -350 | 0 | 0 | -82.47 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | -30.93 | 0 | 0 | -2.06 | 0
22:15 - 22:30 | -1.03 | 0 | -2.37 | -1.44 | -300 | 0 | 0 | -82.47 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | -10.31 | 0 | 0 | -2.06 | 0
22:30 - 22:45 | -1.03 | 0 | -1.86 | -1.44 | -250 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0
22:45 - 23:00 | -1.03 | 0 | -1.86 | -1.44 | -250 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0
23:00 - 23:15 | -1.03 | 0 | -1.86 | -1.44 | -325 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0
23:15 - 23:30 | -1.03 | 0 | -1.86 | -1.44 | -375 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | 0 | -1.03 | 0 | 0 | 0 | -2.06 | 0
23:30 - 23:45 | -1.03 | -4.12 | -1.86 | -1.44 | -500 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -2.06 | -1.03 | -36.08 | 0 | 0 | -2.06 | 0
23:45 - 24:00 | -1.03 | 0 | -1.86 | -1.44 | -500 | 0 | 0 | -51.55 | 0 | 0 | 0 | 0 | 0 | 0 | -25.26 | 0 | 0 | 0 | 0 | 0 | 0 | -5.15 | -2.06 | -1.03 | -25.77 | 0 | 0 | -2.06 | 0
Average | -1.2683 | -5.4789 | -2.1683 | -0.86 | -316.602 | 0.29615 | 3.6445 | -43.386 | -1.6181 | -0.15479 | -0.056771 | 0.48698 | 1.7917 | 0.19479 | -25.26 | -0.84406 | -0.12875 | 2.6886 | 0.62333 | 2.7284 | 0.84073 | -3.2187 | -0.26833 | -0.5901 | -16.7206 | 3.8 | 0.093333 | -2.7896 | -1.1051