## POWER STATUS
POWER STATUS ON DT 24.09.2026
[9 empty] | 2026-09-24 | 2026-09-23
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 8:00 | 19:00
Demand -> | [8 empty] | 5025.203 | 5668.3812
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [gate-L-1 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 243.458 | 5.843 | 630/590 ft | 629.97 | 629.83 | 629.71 | 270.3723 | 267.9392
| Chiplima | 72(3x24) | 62.208 | 1.493 | - |  |  |  | 60.0212 | 62.3
| Balimela | 510(6x60+2x75) | 0.916 | 0.021984 | 1516/1440 ft | 1492.6 | 1484.5 | 1487.9 | 0 | 0
| Rengali | 250(5x50) | 248.45 | 5.9628 | 123.5/109.75 mt | 123.46 | 122.82 | 122.83 | 249.4211 | 250.8257
| Upper Kolab | 320(4x80) | 67.46 | 1.619 | 858/844 mt | 856.33 | 853.42 | 853.67 | 57.4764 | 118.7172
| Upper Indravati [gate-1 (1 m)] | 600(4x150) | 602.291 | 14.455 | 642/625 mt | 638.36 | 640.2 | 640.25 | 604.4213 | 601.7126
| Machkund | 60(50% of(3x17+3x23)) | 9.79 | 0.23496 | 2750/2685 ft | 2748.5 | 2737.1 | 2738.8 | 15.7571 | 12.2279
| Total Hydro | 2099.5 | 1234.573 | 29.6298 |  |  |  |  | 1257.4694 | 1313.7226
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 1037.87 | 24.9089 | RENEWABLE ENERGY (RE) |  |  |  | 1016 | 1042
[5 empty] | M.Hydl | 125.72
| Total Thermal | 2200 | 1037.87 | 24.9089 | Solar | 76.84 |  |  | 1016 | 1042
IPP | VEDANTA #2 | 600 (1x600) | 432.3113 | 10.3755 | Total IPPs | Yesterday's Demand Profile |  |  | 370.4102 | 520.7422
| GMR #3 | 350 (1x350) | 0 | 0 | 485.1003 |  | MW | HRS | 0 | 0
| NBVL(IPP) | 60(1x60) | 0 | 0 |  |  |  |  | 0 | 0
| MDTPC |  | 52.7891 | 1.2669 |  |  |  |  | 45.225 | 56.1489
| CGPs |  | 1050.997 | 25.2239 | IPPs, CGPs & RE | Maximum | 5668 | 19.00 | 1496 | 1763.48
| Central Sector(Drawl) |  | 1209.9068 | 29.0378 | 1738.6573 | Minimum | 4741 | 06.00 | 1255.7337 | 1549.1787
| Central Sector(Sch) |  | 1299.7366 | 31.1937 |  | Average | 5221.0071 |  | 1104.87 | 1522.7672
| Grand Total |  | 5221.0071 | 125.3042 | Instantaneous Peak demand |  | 5957 | 461:46 | 5025.203 | 5668.3812
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(5) |  | ACTUAL |  | SCHEDULE(2)
Burla | NIL | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1530.7676 | 36.7384 | 1484.2813 | 35.6228 | 1476.9128 | 35.4459
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1493.3254 | 35.8398 | 1474.4037 | 35.3857 | 1481.6092 | 35.5586
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1413.3235 | 33.9198 | 1419.7757 | 34.0746 | 1406.7955 | 33.7631
U.Kolab | 2 | KAHALGAON | NIL | TPSODL | 523.1682 | 12.556 | 518.6567 | 12.4478 | 529.5604 | 12.7094
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 4960.5848 | 119.054 | 4897.1176 | 117.5308 | 4894.8779 | 117.4771
Machhkund | 3,4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 260 | GMR |  |  |  | 0
| NBVL #3 | 0 | MDTPC |  |  |  | 32
Mini Hydel: | MEENAKSHI | 38 | OPCL |  |  |  | 0
| BTPL | 27 | SAPTADHARA |  |  |  | 20
Solar: |  | 44 | KAKATIYA |  |  |  | 7
CGPs : | JSPL (Angul) | 393.6205 | JSL(Duburi) |  |  |  | -99.0402
| ICCL | 51.7721 | visa |  |  |  | 18.4276
| NALCO | -247.7696 | VAL (CGP) |  |  |  | 58.0205
| RSP | -42.3158 | BSL(MMDL) |  |  |  | -11.9404
| INDAL | -1.5441 | ADITYA ALUMINIUM |  |  |  | 40
| NINL | -27.185 | VAL CPP 400 kV |  |  |  | -485.858
| NBVL | 46.5578 | Arati |  |  |  | 1.3184e-16
| BPSL(JSG) | -20.7146 | BPPL |  |  |  | 95.6851
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-16 | 2026-09-17 | 2026-09-18 | 2026-09-19 | 2026-09-20 | 2026-09-21 | 2026-09-22 | 2026-09-23
1263.2 | 1262.8949 | 1255.0008 | 1246.1101 | 1262.37 | 1226.1063 | 1269.6134 | 1234.573
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.23.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | 0 | AARTISTEEL | UPPCL | 0 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0
AARTISTEEL | KPTCL | 0 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 129.45
AMNSIL_Pdeep | AMNSIL | 0 | ENVIROCARE_INFRA | TPL_DIS_SUR | -6.38 | AP41PL_BHDL | ODISHA | 57.3
ARYAN_ISPAT | BALCO_LOAD | -5 | FACORPOWER | PSPCL | -8.75 | AP43PL_BKN | ODISHA | 90.02
ENVIROCARE_INFRA | APCPDCL | -13 | FACORPOWER | PSPCL | -21.25 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.26
FACORPOWER | RUVITSL | -3.33 | FACORPOWER | RUVITSL | -4 | AWEK1L | ODISHA | 3.33
GMRKEL_STU | GEB_Beneficiary | -2.58 | JSPLANGUL | RUVITSL | -3.12 | AWEK1L | ODISHA | 4.99
GMRKEL_STU | TNEB | -0.75 | JSPLANGUL | RUVITSL | -2.08 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 6.34
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | RUVITSL | -106.25 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 19.33
JPIPL | NPCL_UP | 0 | JSPLANGUL | RUVITSL | -70.83 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 19.47
JSPLANGUL | GEB_Beneficiary | -110 | KCMW_od | SFLPondyHEX288 | -0.58 | DADRI_SOLAR | ODISHA | 0.69
JSPLANGUL | RUVITSL | -40.62 | KCMW_od | SFLPondyHWF407 | -0.88 | ENERSON_SOLAR_10MW | ODISHA | 0.77
JSPLANGUL | RUVITSL | -27.08 | NBVLIPP | BSPHCL | -12.54 | GADAG_GreenInfra_W | ODISHA | 0
MAADURGA_THERMAL | NPCL_UP | -20.09 | NBVLIPP | RUVITSL | -5.38 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -3.83 | OCL_IRON_STEEL | TPDDL | -10.21 | GADAG_GreenInfra_W | ODISHA | 0.72
NBVLIPP | KPTCL | -5.75 | OCL_IRON_STEEL | TPDDL | -24.79 | GADAG_Serentica3_S | VLSEZ | 43.43
NBVLIPP | KPTCL | -1.92 | ODISHA | AEML | -45.83 | GADAG_Serentica3_W | VLSEZ | 23.59
NBVLIPP | TANGEDCO | 0 | ODISHA | AEML | -39.58 | GADAG_Serentica3_W | VLSEZ | 1.36
ODISHA | BRPL | -87.5 | ODISHA | BSPHCL | -27.08 | GADAG_Serentica3_W | VLSEZ | 6.57
ODISHA | HP | -27.08 | ODISHA | BYPL | -83.33 | GIWEL_SECI_II_RE | ODISHA | 18.16
ODISHA | HP | -137.5 | ODISHA | CESC | -137.5 | GPCL_SOLAR_10 | ODISHA | 1.03
ODISHA | KPTCL | -117.71 | ODISHA | NUPLLP | -2 | GSECL_SOLAR | ODISHA | 1.65
ORSISL | BALCO_LOAD | -5 | ODISHA | RUVITSL | -15.62 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.18
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | ODISHA | TANGEDCO | -18.75 | KARUR_TPVARDHAMAN_W | TSKPO | 88.77
VSL | APCPDCL | -5 | ODISHA | TANGEDCO | -6.25 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | TANGEDCO | -12.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 1.86
JSWEL_UTKAL | ODISHA | 75.61 | ODISHA | TANGEDCO | -12.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
RAJ_SOLAR | ODISHA | 2.68 | ODISHA | TPDDL | -43.75 | NTPCRE1_SMND_BHJ2_W | ODISHA | 2.44
RAJ_SOLAR | ODISHA | 2.33 | ODISHA | TPL_DIS_AHM | -90 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 0
|  |  | ODISHA | TPL_DIS_AHM | -1.46 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0
|  |  | ODISHA | TPL_DIS_SUR | -88.12 | OKWPL_RE | ODISHA | 9.74
|  |  | ORSISL | TPLD | -2.5 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 41.88
|  |  | RSPL_JHARSUGUDA | NPCL_UP | -12 | RWE_AP2_SECI_III | ODISHA | 6.98
|  |  | SMEL | CESC | -5 | RenewGreen_SLPR_HS | JSL_DUBURI | 12.83
|  |  | SMEL | PSPCL | -17.71 | SRI9PL_FTG3 | VLSEZ | 88.28
|  |  | SMEL | PSPCL | -7.29 | TPVSL_BKN3 | TSKPO | 12.2
|  |  | Shri_JSPL | KSEB | -2 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
|  |  | VIRAJ_SEPL | PSPCL | -2.12 | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
|  |  | VIRAJ_SEPL | PSPCL | -0.88 | Tuticorin_BETAMWIND | ODISHA | 77.52
|  |  | VSL | DNHDDPDCL | -5 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 7.01
|  |  | VSL | TANGEDCO | -10 | XXPPL_FTG3 | ODISHA | 67.02
|  |  | Darlipali_NTPC | ODISHA | 229.97
|  |  | JIPL | ODISHA | 115.72
|  |  | NALCOAP | NACL_Odisha | 31.74
|  |  | TSTPP_I | ODISHA | 47.58

## DAM
DAM TRADING DETAILS FOR DT : 23.09.2026
Time Period | GRIDCO | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal
00:00 - 00:15 | 0 | -1 | 0 | -2 | -3 | 0 | 0
00:15 - 00:30 | 0 | -1 | 0 | -2 | -3 | 0 | 0
00:30 - 00:45 | 0 | -1 | 0 | -2 | -3 | 0 | 0
00:45 - 01:00 | 0 | -1 | 0 | -2 | -3 | 0 | 0
01:00 - 01:15 | 0 | -1 | 0 | -2 | -3 | 0 | 0
01:15 - 01:30 | 0 | -1 | 0 | -2 | -3 | 0 | 0
01:30 - 01:45 | 0 | -1 | 0 | -2 | -3 | 0 | 0
01:45 - 02:00 | 0 | -1 | 0 | -2 | -3 | 0 | 0
02:00 - 02:15 | 0 | -1 | 0 | -2 | 0 | 0 | 0
02:15 - 02:30 | 0 | -1 | 0 | -2 | 0 | 0 | 0
02:30 - 02:45 | 0 | -1 | 0 | -2 | 0 | 0 | 0
02:45 - 03:00 | 0 | -1 | 0 | -2 | 0 | 0 | 0
03:00 - 03:15 | 0 | -1 | 0 | -2 | 0 | 0 | 0
03:15 - 03:30 | 0 | -1 | 0 | -2 | 0 | 0 | 0
03:30 - 03:45 | 0 | -1 | 0 | -2 | 0 | 0 | 0
03:45 - 04:00 | 0 | -1 | 0 | -2 | 0 | 0 | 0
04:00 - 04:15 | 0 | -1 | 0 | -2 | 0 | 0 | 0
04:15 - 04:30 | 0 | -1 | 0 | -2 | 0 | 0 | 0
04:30 - 04:45 | 0 | -1 | 0 | -2 | 0 | 0 | 0
04:45 - 05:00 | 0 | -1 | 0 | -2 | 0 | 0 | 0
05:00 - 05:15 | 0 | -1.1 | 0 | -2 | -3 | 0 | 0
05:15 - 05:30 | 0 | -1.1 | 0 | -2 | -3 | 0 | 0
05:30 - 05:45 | 0 | -1.1 | 0 | -2 | -3 | 0 | 0
05:45 - 06:00 | 0 | -1.1 | 0 | -2 | -3 | 0 | 0
06:00 - 06:15 | 0 | -1.1 | 0 | -2 | -3 | 0 | 0
06:15 - 06:30 | 0 | -1.1 | 0 | -2 | -3 | 0 | 0
06:30 - 06:45 | 0 | -1.1 | 0 | -2 | -3 | 0 | 0
06:45 - 07:00 | 0 | -1.1 | 0 | -2 | -3 | 0 | 0
07:00 - 07:15 | 0 | -1.1 | 0 | -2 | -3 | 0 | 0
07:15 - 07:30 | 0 | -1.1 | 0 | -2 | -3 | 0 | 0
07:30 - 07:45 | 0 | -1.1 | 0 | -2 | -3 | 0 | 0
07:45 - 08:00 | 0 | -1.1 | 0 | -2 | -3 | 0 | 0
08:00 - 08:15 | -400 | -1.1 | 0 | -1 | -45.5 | 0 | 0
08:15 - 08:30 | -400 | -1.1 | 0 | -1 | -45.5 | 0 | 0
08:30 - 08:45 | -400 | -1.1 | 0 | -1 | -45.5 | 0 | 0
08:45 - 09:00 | -400 | -1.1 | 0 | -1 | -45.5 | 0 | 0
09:00 - 09:15 | -1050 | -1.1 | 5.95 | -1 | -45.5 | 0 | 0
09:15 - 09:30 | -1050 | -1.1 | 9.64 | -1 | -45.5 | 0 | 0
09:30 - 09:45 | -1150 | -1.1 | 9.64 | -1 | -45.5 | 0 | 0
09:45 - 10:00 | -1150 | -1.1 | 9.64 | -1 | -45.5 | 9.65 | 0
10:00 - 10:15 | -1300 | -1.1 | 9.64 | -1 | -34 | 9.65 | 0
10:15 - 10:30 | -1300 | -1.1 | 9.64 | -1 | -34 | 9.65 | 4.82
10:30 - 10:45 | -1300 | -1.1 | 9.64 | -1 | -34 | 9.65 | 4.82
10:45 - 11:00 | -1300 | -1.1 | 9.64 | -1 | -34 | 9.65 | 4.82
11:00 - 11:15 | -1300 | -1.1 | 9.64 | -1 | -34 | 9.65 | 4.82
11:15 - 11:30 | -1300 | -1.1 | 9.64 | -1 | -34 | 9.65 | 4.82
11:30 - 11:45 | -1300 | -1.1 | 9.64 | -1 | -34 | 9.65 | 4.82
11:45 - 12:00 | -1300 | -1.1 | 9.64 | -1 | -34 | 9.65 | 4.82
12:00 - 12:15 | -1240.58 | -1.1 | 9.64 | -1 | -34 | 9.65 | 4.82
12:15 - 12:30 | -1375 | -1.1 | 9.64 | -1 | -34 | 9.65 | 4.82
12:30 - 12:45 | -1375 | -1.1 | 9.64 | -1 | -34 | 9.65 | 4.82
12:45 - 13:00 | -1355.64 | -1.1 | 9.64 | -1 | -34 | 9.65 | 4.82
13:00 - 13:15 | -1296.77 | -1.1 | 9.64 | -1 | -34 | 9.65 | 4.82
13:15 - 13:30 | -1502.84 | -1.1 | 9.64 | -1 | -34 | 9.65 | 4.82
13:30 - 13:45 | -1600 | -1.1 | 9.64 | -1 | -34 | 9.65 | 4.82
13:45 - 14:00 | -1600 | -1.1 | 9.64 | -1 | -34 | 9.65 | 4.82
14:00 - 14:15 | -1550 | -1.1 | 9.64 | -1 | -34 | 9.65 | 0
14:15 - 14:30 | -1550 | -1.1 | 9.64 | -1 | -34 | 9.65 | 0
14:30 - 14:45 | -1550 | -1.1 | 0 | -1 | -34 | 0 | 0
14:45 - 15:00 | -1550 | -1.1 | 0 | -1 | -34 | 0 | 0
15:00 - 15:15 | -1050 | -1.1 | 0 | -2 | -45.5 | 0 | 0
15:15 - 15:30 | -1050 | -1.1 | 0 | -2 | -45.5 | 0 | 0
15:30 - 15:45 | -1050 | -1.1 | 0 | -2 | -45.5 | 0 | 0
15:45 - 16:00 | -1050 | -1.1 | 0 | -2 | -45.5 | 0 | 0
16:00 - 16:15 | -450 | -1.1 | 0 | -2 | 0 | 0 | 0
16:15 - 16:30 | -400 | -1.1 | 0 | -2 | 0 | 0 | 0
16:30 - 16:45 | -375 | -1.1 | 0 | -2 | 0 | 0 | 0
16:45 - 17:00 | -300 | -1.1 | 0 | -2 | 0 | 0 | 0
17:00 - 17:15 | -50 | -1 | 0 | -2 | 0 | 0 | 0
17:15 - 17:30 | -50 | -1 | 0 | -2 | 0 | 0 | 0
17:30 - 17:45 | 0 | -1 | 0 | -2 | 0 | 0 | 0
17:45 - 18:00 | 0 | -1 | 0 | -2 | 0 | 0 | 0
18:00 - 18:15 | 0 | -1 | 0 | -2 | 0 | 0 | 0
18:15 - 18:30 | 0 | -1 | 0 | -2 | 0 | 0 | 0
18:30 - 18:45 | 0 | -1 | 0 | -2 | 0 | 0 | 0
18:45 - 19:00 | 0 | -1 | 0 | -2 | 0 | 0 | 0
19:00 - 19:15 | 0 | -1 | 0 | -2 | -3 | 0 | 0
19:15 - 19:30 | 0 | -1 | 0 | -2 | -3 | 0 | 0
19:30 - 19:45 | 0 | -1 | 0 | -2 | -3 | 0 | 0
19:45 - 20:00 | 0 | -1 | 0 | -2 | -3 | 0 | 0
20:00 - 20:15 | 0 | -1 | 0 | -2 | -3 | 0 | 0
20:15 - 20:30 | 0 | -1 | 0 | -2 | -3 | 0 | 0
20:30 - 20:45 | 0 | -1 | 0 | -2 | -3 | 0 | 0
20:45 - 21:00 | 0 | -1 | 0 | -2 | -3 | 0 | 0
21:00 - 21:15 | 0 | -1 | 0 | -2 | -3 | 0 | 0
21:15 - 21:30 | 0 | -1 | 0 | -2 | -3 | 0 | 0
21:30 - 21:45 | 0 | -1 | 0 | -2 | -3 | 0 | 0
21:45 - 22:00 | 0 | -1 | 0 | -2 | -3 | 0 | 0
22:00 - 22:15 | 0 | -1 | 0 | -2 | -3 | 0 | 0
22:15 - 22:30 | 0 | -1 | 0 | -2 | -3 | 0 | 0
22:30 - 22:45 | 0 | -1 | 0 | -2 | -3 | 0 | 0
22:45 - 23:00 | 0 | -1 | 0 | -2 | -3 | 0 | 0
23:00 - 23:15 | 0 | -1 | 0 | -2 | -3 | 0 | 0
23:15 - 23:30 | 0 | -1 | 0 | -2 | -3 | 0 | 0
23:30 - 23:45 | 0 | -1 | 0 | -2 | -3 | 0 | 0
23:45 - 24:00 | 0 | -1 | 0 | -2 | -3 | 0 | 0
Average | -414.2795 | -1.05 | 2.1707 | -1.7083 | -14.0208 | 1.9099 | 0.75313 | #DIV/0! | #DIV/0!

## GDAM
GDAM TRADING DETAILS FOR DT:23.09.2026
Time Period | Jindal_Ferrous_Limited | Orissa_Metaliks_Private_Limited
00:00 - 00:15 | 0 | 0
00:15 - 00:30 | 0 | 0
00:30 - 00:45 | 0 | 0
00:45 - 01:00 | 0 | 0
01:00 - 01:15 | 0 | 0
01:15 - 01:30 | 0 | 0
01:30 - 01:45 | 0 | 0
01:45 - 02:00 | 0 | 0
02:00 - 02:15 | 0 | 0
02:15 - 02:30 | 0 | 0
02:30 - 02:45 | 0 | 0
02:45 - 03:00 | 0 | 0
03:00 - 03:15 | 0 | 0
03:15 - 03:30 | 0 | 0
03:30 - 03:45 | 0 | 0
03:45 - 04:00 | 0 | 0
04:00 - 04:15 | 0 | 0
04:15 - 04:30 | 0 | 0
04:30 - 04:45 | 0 | 0
04:45 - 05:00 | 0 | 0
05:00 - 05:15 | 0 | 0
05:15 - 05:30 | 0 | 0
05:30 - 05:45 | 0 | 0
05:45 - 06:00 | 0 | 0
06:00 - 06:15 | 0 | 0
06:15 - 06:30 | 0 | 0
06:30 - 06:45 | 0 | 0
06:45 - 07:00 | 0 | 0
07:00 - 07:15 | 0 | 0
07:15 - 07:30 | 0 | 0
07:30 - 07:45 | 0 | 0
07:45 - 08:00 | 0 | 0
08:00 - 08:15 | 0 | 0
08:15 - 08:30 | 0 | 0
08:30 - 08:45 | 0 | 0
08:45 - 09:00 | 0 | 0
09:00 - 09:15 | 0 | 3.38
09:15 - 09:30 | 0 | 3.38
09:30 - 09:45 | 0 | 3.38
09:45 - 10:00 | 0 | 3.38
10:00 - 10:15 | 0 | 3.38
10:15 - 10:30 | 6.16 | 3.38
10:30 - 10:45 | 4.82 | 3.38
10:45 - 11:00 | 7.91 | 3.38
11:00 - 11:15 | 25.32 | 3.38
11:15 - 11:30 | 24.46 | 3.38
11:30 - 11:45 | 43.39 | 3.38
11:45 - 12:00 | 43.39 | 3.38
12:00 - 12:15 | 43.39 | 3.38
12:15 - 12:30 | 43.39 | 3.38
12:30 - 12:45 | 43.39 | 3.38
12:45 - 13:00 | 43.39 | 3.38
13:00 - 13:15 | 43.39 | 3.38
13:15 - 13:30 | 43.39 | 3.38
13:30 - 13:45 | 43.39 | 3.38
13:45 - 14:00 | 0 | 3.38
14:00 - 14:15 | 0 | 3.38
14:15 - 14:30 | 0 | 3.38
14:30 - 14:45 | 0 | 2.01
14:45 - 15:00 | 0 | 1.19
15:00 - 15:15 | 0 | 0
15:15 - 15:30 | 0 | 0
15:30 - 15:45 | 0 | 0
15:45 - 16:00 | 0 | 0
16:00 - 16:15 | 0 | 0
16:15 - 16:30 | 0 | 0
16:30 - 16:45 | 0 | 0
16:45 - 17:00 | 0 | 0
17:00 - 17:15 | 0 | 0
17:15 - 17:30 | 0 | 0
17:30 - 17:45 | 0 | 0
17:45 - 18:00 | 0 | 0
18:00 - 18:15 | 0 | 0
18:15 - 18:30 | 0 | 0
18:30 - 18:45 | 0 | 0
18:45 - 19:00 | 0 | 0
19:00 - 19:15 | 0 | 0
19:15 - 19:30 | 0 | 0
19:30 - 19:45 | 0 | 0
19:45 - 20:00 | 0 | 0
20:00 - 20:15 | 0 | 0
20:15 - 20:30 | 0 | 0
20:30 - 20:45 | 0 | 0
20:45 - 21:00 | 0 | 0
21:00 - 21:15 | 0 | 0
21:15 - 21:30 | 0 | 0
21:30 - 21:45 | 0 | 0
21:45 - 22:00 | 0 | 0
22:00 - 22:15 | 0 | 0
22:15 - 22:30 | 0 | 0
22:30 - 22:45 | 0 | 0
22:45 - 23:00 | 0 | 0
23:00 - 23:15 | 0 | 0
23:15 - 23:30 | 0 | 0
23:30 - 23:45 | 0 | 0
23:45 - 24:00 | 0 | 0
Average | 4.7831 | 0.80792 | #DIV/0!

## RTM
RTM TRADING DETAILS FOR DT: 23.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MGM_Green_Energy_Limited_5MW_Solar_Power_Plant_Lokapada | MGM_Green_Energy_Ltd | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_Kalinga_Nagar | The_Ramco_Cements_Limited_Odisha | Times_Steel_&_Power_Private_limited
00:00 - 00:15 | -1.1 | 0 | -1.8 | -1.4 | -300 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -1 | 0 | 0 | 0 | -2
00:15 - 00:30 | -1.1 | 0 | -1.8 | -1.4 | -250 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -1 | 0 | 0 | 0 | -2
00:30 - 00:45 | -1.1 | 0 | -1.8 | -1.4 | -100 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | -1 | 0 | 0 | 0 | -2
00:45 - 01:00 | -1.1 | 0 | -1.8 | -1.4 | -100 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | -1 | 0 | 0 | 0 | -2
01:00 - 01:15 | -1.1 | -4 | -1.8 | -1.4 | -100 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | -1 | -15 | 0 | 0 | -2
01:15 - 01:30 | -1.1 | 0 | -1.8 | -1.4 | -100 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | -1 | 0 | 0 | 0 | -2
01:30 - 01:45 | -1.1 | 0 | -1.8 | -1.5 | -100 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | -1 | -10 | 0 | 0 | -2
01:45 - 02:00 | -1.1 | 0 | -1.8 | -1.5 | -100 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | -2 | -1 | 0 | 0 | 0 | -2
02:00 - 02:15 | -1.1 | 0 | -1.8 | -1.5 | -100 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | 0 | 0 | 0 | -2
02:15 - 02:30 | -1.1 | 0 | -1.8 | -1.5 | -100 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | 0 | 0 | 0 | -2
02:30 - 02:45 | -1.1 | 0 | -1.8 | -1.5 | -100 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | 0 | 0 | 0 | -2
02:45 - 03:00 | -1.1 | -10 | -1.8 | -1.5 | -100 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -30 | 0 | 0 | -2
03:00 - 03:15 | -1.1 | 0 | -1.8 | -1.4 | -50 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -55 | 0 | 0 | -2
03:15 - 03:30 | -1.1 | 0 | -1.8 | -1.4 | -50 | 0 | 0 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -45 | 0 | 0 | -2
03:30 - 03:45 | -1.1 | 0 | -2.3 | -1.4 | -50 | 0 | 0 | -110 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -30 | 0 | 0 | -2
03:45 - 04:00 | -1.1 | 0 | -2.3 | -1.4 | -50 | 0 | 0 | -110 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -10 | 0 | 0 | -2
04:00 - 04:15 | -1.1 | 0 | -2.3 | -1.4 | -50 | 0 | 0 | -110 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -40 | 0 | 0 | -2
04:15 - 04:30 | -1.1 | 0 | -2.3 | -1.4 | -50 | 0 | 0 | -110 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -45 | 0 | 0 | -2
04:30 - 04:45 | -1.1 | -5 | -2.3 | -1.4 | -50 | 0 | 0 | -110 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -45 | 0 | 0 | -2
04:45 - 05:00 | -1.1 | 0 | -2.3 | -1.4 | -50 | 0 | 0 | -110 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -45 | 0 | 0 | -2
05:00 - 05:15 | -1.1 | 0 | -2.3 | -1.4 | -50 | 0 | 0 | -110 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -45 | 0 | 0 | -2
05:15 - 05:30 | -1.1 | 0 | -2.3 | -1.4 | -50 | 0 | 0 | -110 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -45 | 0 | 0 | -2
05:30 - 05:45 | -1.1 | 0 | -2.3 | -1.4 | -175 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | 0 | 0 | 0 | -2
05:45 - 06:00 | -1.1 | 0 | -2.3 | -1.4 | -225 | 0 | 0 | -80 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | 0 | 0 | 0 | -2
06:00 - 06:15 | -1.1 | 0 | -2.3 | -1.4 | -75 | 0 | 0 | -80 | -0.1 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | 0 | 0 | 0 | -2
06:15 - 06:30 | -1.1 | 0 | -2.3 | -1.4 | -50 | 0 | 0 | -80 | -0.1 | 0 | 0 | 0 | 0 | 0 | -24.5 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -45 | 0 | 0 | -2
06:30 - 06:45 | -1.1 | -6 | -2.3 | -1.4 | -100 | 0 | 0 | -80 | -0.2 | 0 | 0 | 0 | 0 | 0 | -24.5 | -0.4 | -5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -45 | 0 | 0 | -2
06:45 - 07:00 | -1.1 | 0 | -2.3 | -1.4 | -175 | 0 | 0 | -80 | -0.2 | 0 | 0 | 0 | 0 | 0 | -24.5 | -0.5 | -5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -45 | 0 | 0 | -2
07:00 - 07:15 | -1.1 | 0 | -2.3 | -1.4 | -125 | 0 | 0 | -80 | -0.1 | 0 | 0 | 0 | 0 | 0 | -24.5 | -1.2 | -5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -40 | 0 | 0 | -2
07:15 - 07:30 | -1.1 | 0 | -2.3 | -1.4 | -175 | 0 | 0 | -80 | -0.3 | 0 | 0 | 0 | 0 | 0 | -24.5 | -1.4 | -5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -40 | 0 | 0 | -2
07:30 - 07:45 | -1.1 | 13.5 | -2.3 | -1.4 | -335.88 | 0 | 0 | 0 | -0.1 | 0 | 0 | 0 | 0 | 0 | -24.5 | -1.6 | -4 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -20 | 0 | 0 | -2
07:45 - 08:00 | -1.1 | 13.5 | -2.3 | 0 | -425.31 | 0 | 10.61 | 0 | -0.1 | 0 | 9.64 | 0 | 0 | 9.64 | -24.5 | -1.6 | -4 | 19.01 | 19.29 | 0 | 0 | 0 | -5 | 0 | -1 | 0 | 48.21 | 0 | -2
08:00 - 08:15 | -1.1 | 0 | -2.3 | 0 | -0.12 | 10.03 | 7.71 | 0 | -0.07 | 0 | 9.64 | 0 | 0 | 0 | -24.5 | 0 | 0 | 21.21 | 19.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.11 | 0 | 0
08:15 - 08:30 | -1.1 | 13.5 | -2.3 | 0 | -0.07 | 8.68 | 7.71 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | -24.5 | 0 | 0 | 21.21 | 19.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.11 | 0 | 0
08:30 - 08:45 | -1.1 | 13.5 | -2.3 | 0 | 0 | 8.78 | 7.71 | 0 | -0.3 | 0 | 9.64 | 0 | 0 | 0 | -24.5 | 0 | 0 | 21.21 | 19.29 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 19.29 | 0 | 0
08:45 - 09:00 | -1.1 | 13.5 | -2.3 | 0 | 0 | 9.93 | 7.71 | 0 | -0.3 | 0 | 9.64 | 0 | 0 | 0 | -24.5 | 0 | 0 | 21.22 | 19.29 | 0 | 0 | 0 | 0 | 0 | 0 | -45 | 19.29 | 0 | 0
09:00 - 09:15 | -0.8 | 13.5 | -2.3 | 0 | 596.68 | 0 | 7.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | -2.3 | 0 | 17.36 | 19.29 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 38.57 | 0 | -1
09:15 - 09:30 | -0.8 | 13.5 | -2.3 | 0 | 602.65 | 0 | 7.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24.5 | -2.2 | 0 | 21.21 | 19.29 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 24.11 | 0 | -1
09:30 - 09:45 | -0.8 | 13.5 | -2.3 | 0 | 639.52 | 0 | 7.71 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -24.5 | -2.4 | 0 | 17.36 | 19.29 | 0 | 0 | 3.86 | 0 | 0 | -1 | 0 | 14.46 | 0 | -1
09:45 - 10:00 | -0.8 | 13.5 | -2.3 | 0 | 641.24 | 0 | 7.71 | 0 | 0 | -1.8 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 7.71 | 19.29 | 0 | 0 | 3.86 | 0 | 0 | -1 | 0 | 14.46 | 0 | -1
10:00 - 10:15 | -0.8 | 0 | -2.3 | 0 | 637.58 | 0 | 10.61 | 0 | 0 | -1.4 | 0 | 0 | -7 | 0 | -24.5 | 0 | 0 | 7.71 | 0 | -2 | 0 | 3.86 | 0 | 0 | -1 | -25 | 0 | 0 | -1
10:15 - 10:30 | -0.8 | 8.68 | -2.3 | 0 | 637.59 | 0 | 10.61 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -24.5 | 0 | 0 | 7.71 | 0 | -2 | 0 | 3.86 | 0 | 0 | -1 | -45 | 0 | 0 | -1
10:30 - 10:45 | -0.8 | 9.64 | -2.3 | 0 | 433.33 | 0 | 10.61 | 0 | 0 | -0.1 | 0 | -0.8 | 0 | 0 | -24.5 | 0 | 0 | 7.71 | 0 | -5 | 0 | 3.86 | 0 | 0 | -1 | 0 | 0 | 0 | -1
10:45 - 11:00 | -0.8 | 13.5 | -2.3 | 0 | 385.71 | 0 | 10.61 | 0 | 0 | -0.1 | 0 | -0.8 | 0 | 0 | -24.5 | 0 | 0 | 7.71 | 17.29 | -5 | 0 | 3.86 | 0 | 0 | -1 | 0 | 0 | 0 | -1
11:00 - 11:15 | -0.8 | 13.5 | -2.3 | 0 | 320.48 | 0 | 10.61 | 0 | 0 | -0.2 | 0 | -0.8 | 0 | 0 | -24.5 | 0 | 0 | 7.71 | 19.29 | -2 | 1.45 | 3.86 | 0 | 0 | -1 | -10 | 0 | 5.3 | -1
11:15 - 11:30 | -0.8 | 13.5 | -2.3 | 0 | 321.15 | 0 | 10.61 | 0 | 0 | -0.2 | 0 | -0.8 | 0 | 0 | -24.5 | 0 | 0 | 7.71 | 19.29 | -2 | 1.45 | 3.86 | 0 | 0 | -1 | 0 | 0 | 5.3 | -1
11:30 - 11:45 | -1 | 13.5 | -2.3 | 0 | 443.47 | 0 | 10.61 | 0 | 0 | -0.2 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 11.57 | 19.29 | 0 | 1.45 | 3.86 | 0 | 0 | -1 | 0 | 16.39 | 5.3 | -1
11:45 - 12:00 | -1 | 13.5 | -2.3 | 0 | 443.58 | 0 | 10.61 | 0 | 0 | -0.2 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 11.57 | 19.29 | 0 | 1.45 | 3.86 | 0 | -1 | -1 | -40 | 16.39 | 5.3 | -1
12:00 - 12:15 | -1 | 5.79 | -2.3 | 0 | 564.12 | 8.78 | 10.61 | 0 | 0 | -0.1 | 0 | -1 | 0 | 0 | -24.5 | 5.01 | 0 | 13.5 | 19.29 | 0 | 1.45 | 3.86 | 0 | -1 | -1 | 0 | 16.39 | 5.3 | 0
12:15 - 12:30 | -1 | 7.71 | -2.3 | 0 | 539.9 | 0 | 10.61 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 13.5 | 19.29 | 0 | 1.45 | 3.86 | 0 | -2.5 | -1 | 0 | 16.39 | 5.3 | -1
12:30 - 12:45 | -1 | 13.5 | -2.3 | 0 | 512.71 | 0 | 10.61 | 0 | 0 | -0.1 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 9.64 | 19.29 | 0 | 1.45 | 3.86 | 0 | -1.5 | -1 | -35 | 16.39 | 5.3 | -1
12:45 - 13:00 | -1 | 13.5 | -2.3 | 0 | 417.86 | 0 | 10.61 | 0 | 0 | -0.1 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 13.5 | 19.29 | 0 | 1.45 | 3.86 | 0 | -1.5 | -1 | 0 | 16.39 | 5.3 | -1
13:00 - 13:15 | -1 | 13.5 | -2.3 | 0 | 186.47 | 9.16 | 10.61 | 0 | 0 | -0.11 | 0 | -1 | 0 | 0 | -24.5 | 5.11 | 0 | 13.5 | 19.29 | 0 | 1.45 | 3.86 | 0 | -0.26 | 0 | 0 | 16.39 | 5.3 | 0
13:15 - 13:30 | -1 | 13.5 | -2.3 | 0 | 191.23 | 9.45 | 10.61 | 0 | -0.5 | 0 | 0 | -1 | 0 | 0 | -24.5 | 5.4 | 0 | 13.5 | 19.29 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | -20 | 16.39 | 5.3 | 0
13:30 - 13:45 | -1 | 13.5 | -2.3 | 0 | 369.73 | 9.55 | 10.61 | 0 | -0.5 | -0.1 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 13.5 | 19.29 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | -45 | 16.39 | 5.3 | 0
13:45 - 14:00 | -1 | -2 | -2.3 | 0 | 239.16 | 0 | 10.61 | 0 | -0.5 | -0.1 | 0 | -1 | 0 | 0 | -24.5 | -2.6 | 0 | 13.5 | 19.29 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | -10 | 16.39 | 5.3 | 0
14:00 - 14:15 | -1 | 13.5 | -2.3 | 0 | 319.85 | 0 | 10.61 | 0 | 0 | -0.1 | 0 | -1 | 0 | 0 | -24.5 | -2.5 | 0 | 9.64 | 19.29 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | 0 | 16.39 | 5.3 | -1
14:15 - 14:30 | -1 | 13.5 | -2.3 | 0 | 398.27 | 0 | 10.61 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | -2.7 | 0 | 9.64 | 0 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | -30 | 16.39 | 0 | -1
14:30 - 14:45 | -1 | 13.5 | -2.3 | 0 | 504.63 | 0 | 10.61 | 0 | 0 | 0 | 9.64 | -1 | 0 | 0 | -24.5 | -2.5 | 0 | 19.29 | 19.29 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | 0 | 9.64 | 5.3 | -1
14:45 - 15:00 | -1 | 13.5 | -2.3 | 0 | 501.4 | 0 | 10.61 | 0 | 0 | 0 | 2.2 | -1 | -7 | 0 | -24.5 | -2.1 | 0 | 19.29 | 19.29 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | 0 | 9.64 | 5.3 | -1
15:00 - 15:15 | -1 | 13.5 | -2.3 | 0 | 189.67 | 12.83 | 10.61 | 0 | 0 | 0 | 9.64 | -1 | 0 | 0 | -24.5 | 0 | 0 | 23.14 | 19.29 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | 0 | 9.64 | 5.3 | 0
15:15 - 15:30 | -1 | 13.5 | -2.3 | 0 | 384.12 | 14.18 | 10.61 | 0 | 0 | 0 | 9.64 | -1 | 0 | 0 | -24.5 | 0 | 0 | 23.14 | 19.29 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | -10 | 9.64 | 5.3 | 0
15:30 - 15:45 | 0 | 1.93 | -2.7 | 0 | 288.98 | 14.27 | 10.61 | 0 | 0 | 0 | 9.64 | -1 | 0 | 0 | -14.07 | 0 | 0 | 23.14 | 19.29 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | -14.35 | 9.64 | 5.3 | 0
15:45 - 16:00 | -1.2 | 12.54 | -2.7 | 0 | 286.09 | 14.27 | 10.61 | 0 | 0 | 0 | 9.64 | -1 | 0 | 0 | -24.5 | 0 | 0 | 23.14 | 19.29 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | -25 | 9.64 | 5.3 | 0
16:00 - 16:15 | -1.2 | 14.46 | -3 | 0 | 0 | 0 | 10.61 | 0 | 0 | 0 | 9.64 | -1 | 0 | 9.64 | -24.5 | -0.9 | 0 | 23.14 | 19.29 | 0 | 1.45 | 3.86 | 0 | -1 | 0 | 0 | 53.04 | 5.3 | 0
16:15 - 16:30 | -1.2 | 14.46 | -3 | 0 | -179.48 | 0 | 10.61 | 0 | 0 | 0 | 0 | -1 | 0 | 9.64 | -24.5 | -0.7 | 0 | 19.29 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 53.04 | 0 | -1
16:30 - 16:45 | -1.2 | 14.46 | -3 | 0 | -242.11 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -1
16:45 - 17:00 | -1.2 | -2 | -3 | 0 | -266.67 | 0 | 0 | -50 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | -0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5 | 0 | -30 | 0 | 0 | -1
17:00 - 17:15 | -1.2 | 0 | -2.7 | -1.2 | -275 | 0 | 0 | -50 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | -30 | 0 | 0 | -1
17:15 - 17:30 | -1.2 | 0 | -2.7 | -1.2 | 0 | 0 | 0 | -50 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | -1
17:30 - 17:45 | -1.2 | 0 | -2.7 | -1.2 | -150 | 0 | 0 | -100 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -5 | -1 | 0 | 0 | 0 | 0 | -1
17:45 - 18:00 | -1.2 | 0 | -2.7 | -1.2 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -1
18:00 - 18:15 | -1.2 | 0 | -2.7 | -1.3 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -1
18:15 - 18:30 | -1.2 | 0 | -2.7 | -1.3 | -175 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -15 | 0 | 0 | -1
18:30 - 18:45 | -1.2 | 0 | -2.7 | -1.4 | -100 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -40 | 0 | 0 | -1
18:45 - 19:00 | -1.2 | 0 | -2.7 | -1.4 | -200 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -40 | 0 | 0 | -1
19:00 - 19:15 | -1.1 | 0 | -2.7 | -1.5 | -150 | 0 | 0 | -30 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -1
19:15 - 19:30 | -1.1 | 0 | -2.7 | -1.5 | -150 | 0 | 0 | -30 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -1
19:30 - 19:45 | -1.1 | 0 | -2.7 | -1.4 | -200 | 0 | 0 | -30 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -35 | 0 | 0 | -1
19:45 - 20:00 | -1.1 | -7 | -2.7 | -1.4 | -200 | 0 | 0 | -30 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -1
20:00 - 20:15 | -1.1 | 0 | -2.7 | -1.4 | -200 | 0 | 0 | -80 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -35 | 0 | 0 | -1
20:15 - 20:30 | -1.1 | 0 | -2.7 | -1.4 | -300 | 0 | 0 | -80 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -48 | 0 | 0 | -1
20:30 - 20:45 | -1.1 | 0 | -2.7 | -1.4 | -200 | 0 | 0 | -50 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -45 | 0 | 0 | -1
20:45 - 21:00 | -1.1 | 0 | -2.7 | -1.4 | -200 | 0 | 0 | -50 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -25 | 0 | 0 | -1
21:00 - 21:15 | -1.1 | 0 | -2.7 | -1.4 | -200 | 0 | 0 | -50 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -1
21:15 - 21:30 | -1.1 | 0 | -2.7 | -1.4 | -200 | 0 | 0 | -50 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -30 | 0 | 0 | -1
21:30 - 21:45 | -1.1 | 0 | -2.6 | -1.4 | -200 | 0 | 0 | -30 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -40 | 0 | 0 | -1
21:45 - 22:00 | -1.1 | 0 | -2.6 | -1.4 | -200 | 0 | 0 | -30 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -50 | 0 | 0 | -1
22:00 - 22:15 | -1.1 | 0 | -2.6 | -1.4 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -20 | 0 | 0 | -1
22:15 - 22:30 | -1.1 | 0 | -2.6 | -1.4 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -20 | 0 | 0 | -1
22:30 - 22:45 | -1.1 | 0 | -2.3 | -1.3 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | -2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -1
22:45 - 23:00 | -1.1 | -5 | -2.3 | -1.3 | -250 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | -2 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -1
23:00 - 23:15 | -1.1 | -2 | -2.3 | -1.3 | -300 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -10 | 0 | 0 | -1
23:15 - 23:30 | -1.1 | 0 | -2.3 | -1.3 | -450 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -1
23:30 - 23:45 | -0.2 | 0 | -2.3 | -1.4 | -207.94 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -1
23:45 - 24:00 | -0.2 | 0 | -2.3 | -1.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -1
Average | -1.0354 | 4.0018 | -2.3521 | -0.85417 | 19.1624 | 1.3532 | 3.6266 | -38.0208 | -0.035104 | -0.082396 | 1.1275 | -0.55417 | -0.14583 | 0.30125 | -24.3914 | -0.13312 | -0.57292 | 5.5614 | 6.0073 | -0.22917 | 0.31719 | 1.0856 | -2.9167 | -0.34646 | -0.5 | -16.6911 | 6.1168 | 1.1042 | -1.1875