## POWER STATUS
POWER STATUS ON DT 25.09.2026
[9 empty] | 2026-09-25 | 2026-09-24
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 9:00 | 19:00
Demand -> | [8 empty] | 4174.0844 | 5099.2555
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [gate-L-1 , R-0] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 260.75 | 6.258 | 630/590 ft | 629.91 | 629.71 | 629.67 | 224.3264 | 270.2458
| Chiplima | 72(3x24) | 58.83 | 1.4119 | - |  |  |  | 41.1273 | 60.5755
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1493.2 | 1487.9 | 1494.5 | 0 | 0
| Rengali | 250(5x50) | 250.01 | 6.0002 | 123.5/109.75 mt | 123.42 | 122.83 | 122.89 | 253 | 252.1635
| Upper Kolab | 320(4x80) | 29.17 | 0.70008 | 858/844 mt | 856.36 | 853.67 | 854.67 | 0 | 0
| Upper Indravati [gate- 5 nos ] | 600(4x150) | 469.64 | 11.2714 | 642/625 mt | 638.52 | 640.25 | 641.49 | 0 | 253.487
| Machkund | 60(50% of(3x17+3x23)) | 7.16 | 0.17184 | 2750/2685 ft | 2748.3 | 2738.8 | 2743.4 | 4 | 8.6441
| Total Hydro | 2099.5 | 1075.56 | 25.8134 |  |  |  |  | 522.4538 | 845.1159
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 949.54 | 22.789 | RENEWABLE ENERGY (RE) |  |  |  | 663 | 1041
[5 empty] | M.Hydl | 119.86
| Total Thermal | 2200 | 949.54 | 22.789 | Solar | 52.9 |  |  | 663 | 1041
IPP | VEDANTA #2 | 600 (1x600) | 392.5423 | 9.421 | Total IPPs | Yesterday's Demand Profile |  |  | 392 | 527
| GMR #3 | 350 (1x350) | 0 | 0 | 487.7054 |  | MW | HRS | 0 | 0
| NBVL(IPP) | 60(1x60) | 49.03 | 1.1767 |  |  |  |  | 0 | 0
| MDTPC |  | 46.133 | 1.1072 |  |  |  |  | 34 | 56.0588
| CGPs |  | 888.414 | 21.3219 | IPPs, CGPs & RE | Maximum | 5241 | 12.00 | 1306.2181 | 1544.2477
| Central Sector(Drawl) |  | 1336.6562 | 32.0797 | 1548.8793 | Minimum | 4284 | 23.00 | 1682.4126 | 1668.8919
| Central Sector(Sch) |  | 1478.0268 | 35.4726 |  | Average | 4910.6355 |  | 1592.3909 | 1602.45
| Grand Total |  | 4910.6355 | 117.8553 | Instantaneous Peak demand |  | 5595 | 228:43 | 4174.0844 | 5099.2555
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(5) |  | ACTUAL |  | SCHEDULE(1)
Burla | NIL | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1427.6626 | 34.2639 | 1273.1631 | 30.5559 | 1416.9513 | 34.0068
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 1503.9407 | 36.0946 | 1452.0651 | 34.8496 | 1400.0675 | 33.6016
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1392.6727 | 33.4241 | 1258.5323 | 30.2048 | 1254.962 | 30.1191
U.Kolab | 2 | KAHALGAON | NIL | TPSODL | 494.419 | 11.8661 | 447.271 | 10.7345 | 471.3477 | 11.3123
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 4818.695 | 115.6487 | 4431.0316 | 106.3448 | 4543.3285 | 109.0399
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 392 | GMR |  |  |  | 0
| NBVL #3 | 0 | MDTPC |  |  |  | 56
Mini Hydel: | MEENAKSHI | 0 | OPCL |  |  |  | 0
| BTPL | 24 | SAPTADHARA |  |  |  | 20
Solar: |  | 75 | KAKATIYA |  |  |  | 7
CGPs : | JSPL (Angul) | 288.987 | JSL(Duburi) |  |  |  | -149.1888
| ICCL | 29.4849 | visa |  |  |  | 19.6097
| NALCO | -144.0081 | VAL (CGP) |  |  |  | 87.028
| RSP | -64.7698 | BSL(MMDL) |  |  |  | 4.1468
| INDAL | 6.3059 | ADITYA ALUMINIUM |  |  |  | 40
| NINL | -11.8128 | VAL CPP 400 kV |  |  |  | -550.9282
| NBVL | 39.3217 | Arati |  |  |  | 2.5849
| BPSL(JSG) | 12.6806 | BPPL |  |  |  | 113.5227
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-17 | 2026-09-18 | 2026-09-19 | 2026-09-20 | 2026-09-21 | 2026-09-22 | 2026-09-23 | 2026-09-24
1262.8949 | 1255.0008 | 1246.1101 | 1262.37 | 1226.1063 | 1269.6134 | 1234.573 | 1075.56
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.24.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | 0 | AARTISTEEL | UPPCL | 0 | AGE26AL_PSS6_KPS1_S | ODISHA | 119.79
AARTISTEEL | KPTCL | 0 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AP41PL_BHDL | ODISHA | 58.09
AMNSIL_Pdeep | AMNSIL | 0 | ENVIROCARE_INFRA | TPL_DIS_AHM | -6.38 | AP43PL_BKN | ODISHA | 90.27
ARYAN_ISPAT | BALCO_LOAD | -5 | FACORPOWER | PSPCL | -21.25 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.26
ENVIROCARE_INFRA | APCPDCL | -13 | FACORPOWER | PSPCL | -8.75 | AWEK1L | ODISHA | 7.94
FACORPOWER | RUVITSL | -3.33 | FACORPOWER | RUVITSL | -4 | AWEK1L | ODISHA | 11.9
GMRKEL_STU | GEB_Beneficiary | 0 | JSPLANGUL | RUVITSL | -2.08 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 3.42
GMRKEL_STU | TNEB | 0 | JSPLANGUL | RUVITSL | -106.25 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 22.33
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | RUVITSL | -70.83 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 14.85
JPIPL | NPCL_UP | 0 | JSPLANGUL | RUVITSL | -3.12 | DADRI_SOLAR | ODISHA | 0.67
JSPLANGUL | GEB_Beneficiary | -110 | KCMW_od | SFLPondyHEX288 | -0.58 | ENERSON_SOLAR_10MW | ODISHA | 0.77
JSPLANGUL | RUVITSL | -40.62 | KCMW_od | SFLPondyHWF407 | -0.88 | GADAG_GreenInfra_W | ODISHA | 0
JSPLANGUL | RUVITSL | -27.08 | NBVLIPP | BSPHCL | -12.54 | GADAG_GreenInfra_W | ODISHA | 0.78
MAADURGA_THERMAL | NPCL_UP | -16 | NBVLIPP | RUVITSL | -5.38 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -5.75 | OCL_IRON_STEEL | TPDDL | -10.21 | GADAG_Serentica3_S | VLSEZ | 23.78
NBVLIPP | KPTCL | -3.83 | OCL_IRON_STEEL | TPDDL | -24.79 | GADAG_Serentica3_W | VLSEZ | 19.36
NBVLIPP | KPTCL | -1.92 | ODISHA | GOA_Beneficiary | -29.17 | GADAG_Serentica3_W | VLSEZ | 46.6
NBVLIPP | TANGEDCO | 0 | ODISHA | GPEPL | -1.92 | GADAG_Serentica3_W | VLSEZ | 10.5
ODISHA | GEB_Beneficiary | -33.33 | ODISHA | KSEB | -25 | GADAG_Serentica3_W | VLSEZ | 4.66
ODISHA | HP | -54.17 | ODISHA | KSEB | -25 | GADAG_Serentica3_W | VLSEZ | 5.71
ODISHA | KSEB | -31.25 | ODISHA | MBPL | -1.5 | GIWEL_SECI_II_RE | ODISHA | 34.97
ODISHA | KSEB | -31.25 | ODISHA | NPCL_UP | -3.28 | GPCL_SOLAR_10 | ODISHA | 0.92
ODISHA | NPCL_UP | -37.34 | ODISHA | NUPLLP | -2 | GSECL_SOLAR | ODISHA | 1.66
ODISHA | PCKL | -16.67 | ODISHA | RUVITSL | -32.29 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 2.2
ODISHA | PCKL | -94.53 | ODISHA | RUVITSL | -12.5 | KARUR_TPVARDHAMAN_W | TSKPO | 100.06
ORSISL | BALCO_LOAD | -5 | ODISHA | RUVITSL | -18.75 | Kurnool_Greenko_H_Inj | ADITYAAL | 0.03
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | ODISHA | TANGEDCO | -12.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 5.93
TSBSLA | HP | -37 | ODISHA | TANGEDCO | -18.75 | Kurnool_Greenko_H_Inj | ADITYAAL | 1.19
VSL | APCPDCL | -5 | ODISHA | TANGEDCO | -12.5 | NTPCRE1_SMND_BHJ2_W | ODISHA | 5.16
FARIDABAD_SOLAR | ODISHA | 0.86 | ODISHA | TANGEDCO | -6.25 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 3.71
JSWEL_UTKAL | ODISHA | 55.13 | ODISHA | TPL_DIS_AHM | -16.67 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 0.18
RAJ_SOLAR | ODISHA | 2.36 | ODISHA | TPL_DIS_SUR | -17.71 | OKWPL_RE | ODISHA | 19.34
RAJ_SOLAR | ODISHA | 2.67 | ORSISL | TPLD | -2.5 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 58.56
|  |  | RSPL_JHARSUGUDA | NPCL_UP | -15 | RWE_AP2_SECI_III | ODISHA | 14.28
|  |  | SMEL | PSPCL | -7.29 | RenewGreen_SLPR_HS | JSL_DUBURI | 8.98
|  |  | SMEL | PSPCL | -17.71 | SRI9PL_FTG3 | VLSEZ | 89.9
|  |  | SMEL | TPL_DIS_AHM | -5 | TPVSL_BKN3 | TSKPO | 12.2
|  |  | Shri_JSPL | KSEB | -2 | TSESOPL_BKN2 | OBPL_CUTTAK | 0.11
|  |  | TSBSLA | TPL_DIS_SUR | -9.17 | TSESOPL_BKN2 | OPL_CUTTAK | 0.13
|  |  | VIRAJ_SEPL | PSPCL | -3.06 | Tuticorin_BETAMWIND | ODISHA | 78.58
|  |  | VIRAJ_SEPL | PSPCL | -0.88 | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 14.44
|  |  | VSL | DNHDDPDCL | -5 | XXPPL_FTG3 | ODISHA | 68.93
|  |  | VSL | TANGEDCO | -10
|  |  | Darlipali_NTPC | ODISHA | 195.23
|  |  | JIPL | ODISHA | 115.72
|  |  | NALCOAP | NACL_Odisha | 34.43
|  |  | TSTPP_I | ODISHA | 1.55

## DAM
DAM TRADING DETAILS FOR DT : 24.09.2026
Time Period | GRIDCO | IOCL_Paradeep_Refinery | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd)
00:00 - 00:15 | 0 | 0 | -1 | 0 | -2 | -3 | 0
00:15 - 00:30 | 0 | 0 | -1 | 0 | -2 | -3 | 0
00:30 - 00:45 | 0 | 0 | -1 | 0 | -2 | -3 | 0
00:45 - 01:00 | 0 | 0 | -1 | 0 | -2 | -3 | 0
01:00 - 01:15 | 0 | 0 | -1 | 0 | -2 | -3 | 0
01:15 - 01:30 | 0 | 0 | -1 | 0 | -2 | -3 | 0
01:30 - 01:45 | 0 | 0 | -1 | 0 | -2 | -3 | 0
01:45 - 02:00 | 0 | 0 | -1 | 0 | -2 | -3 | 0
02:00 - 02:15 | 0 | 0 | -1 | 0 | -2 | 0 | 0
02:15 - 02:30 | 0 | 0 | -1 | 0 | -2 | 0 | 0
02:30 - 02:45 | 0 | 0 | -1 | 0 | -2 | 0 | 0
02:45 - 03:00 | 0 | 0 | -1 | 0 | -2 | 0 | 0
03:00 - 03:15 | 0 | 0 | -1 | 0 | -2 | 0 | 0
03:15 - 03:30 | 0 | 0 | -1 | 0 | -2 | 0 | 0
03:30 - 03:45 | 0 | 0 | -1 | 0 | -2 | 0 | 0
03:45 - 04:00 | 0 | 0 | -1 | 0 | -2 | 0 | 0
04:00 - 04:15 | 0 | 0 | -1 | 0 | -2 | 0 | 0
04:15 - 04:30 | 0 | 0 | -1 | 0 | -2 | 0 | 0
04:30 - 04:45 | 0 | 0 | -1 | 0 | -2 | 0 | 0
04:45 - 05:00 | 0 | 0 | -1 | 0 | -2 | 0 | 0
05:00 - 05:15 | 0 | 0 | -1.2 | 0 | -2 | -3 | 0
05:15 - 05:30 | 0 | 0 | -1.2 | 0 | -2 | -3 | 0
05:30 - 05:45 | 0 | 0 | -1.2 | 0 | -2 | -3 | 0
05:45 - 06:00 | 0 | 0 | -1.2 | 0 | -2 | -3 | 0
06:00 - 06:15 | -150 | 0 | -1.2 | 0 | -2 | -3 | 0
06:15 - 06:30 | -150 | 0 | -1.2 | 0 | -2 | -3 | 0
06:30 - 06:45 | -150 | 0 | -1.2 | 0 | -2 | -3 | 0
06:45 - 07:00 | -150 | 0 | -1.2 | 0 | -2 | -3 | 0
07:00 - 07:15 | -350 | 0 | -1.2 | 0 | -2 | -3 | 0
07:15 - 07:30 | -350 | 0 | -1.2 | 0 | -2 | -3 | 0
07:30 - 07:45 | -350 | 0 | -1.2 | 0 | -2 | -3 | 0
07:45 - 08:00 | -350 | 0 | -1.2 | 0 | -2 | -3 | 0
08:00 - 08:15 | -675 | 0 | -1.2 | 0 | -1 | -45.5 | 0
08:15 - 08:30 | -675 | 0 | -1.2 | 0 | -1 | -45.5 | 0
08:30 - 08:45 | -675 | 0 | -1.2 | 0 | -1 | -45.5 | 0
08:45 - 09:00 | -675 | 0 | -1.2 | 9.11 | -1 | -45.5 | 0
09:00 - 09:15 | -1300 | 0 | -1.2 | 9.64 | -1 | -45.5 | 6.75
09:15 - 09:30 | -1050 | 24.11 | -1.2 | 9.64 | -1 | -45.5 | 6.75
09:30 - 09:45 | -1050 | 24.11 | -1.2 | 9.64 | -1 | -45.5 | 6.75
09:45 - 10:00 | -1050 | 24.11 | -1.2 | 9.64 | -1 | -45.5 | 6.75
10:00 - 10:15 | -1225 | 24.11 | -1.2 | 9.64 | -1 | -34 | 6.75
10:15 - 10:30 | -931.01 | 6.27 | -1.2 | 9.64 | -1 | -34 | 6.75
10:30 - 10:45 | -767.46 | 0 | -1.2 | 9.64 | -1 | -34 | 6.75
10:45 - 11:00 | -681.59 | 0 | -1.2 | 9.64 | -1 | -34 | 6.75
11:00 - 11:15 | -576.79 | 0 | -1.2 | 9.64 | -1 | -34 | 6.75
11:15 - 11:30 | -634.8 | 0 | -1.2 | 9.64 | -1 | -34 | 6.75
11:30 - 11:45 | -659.29 | 0 | -1.2 | 9.64 | -1 | -34 | 6.75
11:45 - 12:00 | -697.59 | 0 | -1.2 | 9.64 | -1 | -34 | 6.75
12:00 - 12:15 | -516.46 | 0 | -1.2 | 9.64 | -1 | -34 | 6.75
12:15 - 12:30 | -476.22 | 0 | -1.2 | 9.64 | -1 | -34 | 6.75
12:30 - 12:45 | -562.02 | 0 | -1.2 | 9.64 | -1 | -34 | 6.75
12:45 - 13:00 | -529.11 | 0 | -1.2 | 9.64 | -1 | -34 | 6.75
13:00 - 13:15 | -368.59 | 0 | -1.2 | 9.64 | -1 | -34 | 6.75
13:15 - 13:30 | -491.79 | 0 | -1.2 | 9.64 | -1 | -34 | 6.75
13:30 - 13:45 | -834.41 | 0 | -1.2 | 9.64 | -1 | -34 | 6.75
13:45 - 14:00 | -1017.55 | 0 | -1.2 | 9.64 | -1 | -34 | 6.75
14:00 - 14:15 | -1130.96 | 24.11 | -1.2 | 9.64 | -1 | -34 | 6.75
14:15 - 14:30 | -1450 | 24.11 | -1.2 | 9.64 | -1 | -34 | 6.75
14:30 - 14:45 | -1450 | 24.11 | -1.2 | 9.64 | -1 | -34 | 6.75
14:45 - 15:00 | -1450 | 0 | -1.2 | 9.64 | -1 | -34 | 6.75
15:00 - 15:15 | -1525 | 0 | -1.2 | 0 | -2 | -45.5 | 0
15:15 - 15:30 | -1525 | 0 | -1.2 | 0 | -2 | -45.5 | 0
15:30 - 15:45 | -1525 | 0 | -1.2 | 0 | -2 | -45.5 | 0
15:45 - 16:00 | -1525 | 0 | -1.2 | 0 | -2 | -45.5 | 0
16:00 - 16:15 | -1050 | 0 | -1.2 | 0 | -2 | 0 | 0
16:15 - 16:30 | -1000 | 0 | -1.2 | 0 | -2 | 0 | 0
16:30 - 16:45 | -900 | 0 | -1.2 | 0 | -2 | 0 | 0
16:45 - 17:00 | -900 | 0 | -1.2 | 0 | -2 | 0 | 0
17:00 - 17:15 | 0 | 0 | -1 | 0 | -2 | 0 | 0
17:15 - 17:30 | 0 | 0 | -1 | 0 | -2 | 0 | 0
17:30 - 17:45 | 0 | 0 | -1 | 0 | -2 | 0 | 0
17:45 - 18:00 | 0 | 0 | -1 | 0 | -2 | 0 | 0
18:00 - 18:15 | 0 | 0 | -1 | 0 | -2 | 0 | 0
18:15 - 18:30 | 0 | 0 | -1 | 0 | -2 | 0 | 0
18:30 - 18:45 | 0 | 0 | -1 | 0 | -2 | 0 | 0
18:45 - 19:00 | 0 | 0 | -1 | 0 | -2 | 0 | 0
19:00 - 19:15 | 0 | 0 | -1 | 0 | -2 | -3 | 0
19:15 - 19:30 | 0 | 0 | -1 | 0 | -2 | -3 | 0
19:30 - 19:45 | 0 | 0 | -1 | 0 | -2 | -3 | 0
19:45 - 20:00 | 0 | 0 | -1 | 0 | -2 | -3 | 0
20:00 - 20:15 | 0 | 0 | -1 | 0 | -2 | -3 | 0
20:15 - 20:30 | 0 | 0 | -1 | 0 | -2 | -3 | 0
20:30 - 20:45 | 0 | 0 | -1 | 0 | -2 | -3 | 0
20:45 - 21:00 | 0 | 0 | -1 | 0 | -2 | -3 | 0
21:00 - 21:15 | 0 | 0 | -1 | 0 | -2 | -3 | 0
21:15 - 21:30 | 0 | 0 | -1 | 0 | -2 | -3 | 0
21:30 - 21:45 | 0 | 0 | -1 | 0 | -2 | -3 | 0
21:45 - 22:00 | 0 | 0 | -1 | 0 | -2 | -3 | 0
22:00 - 22:15 | 0 | 0 | -1 | 0 | -2 | -3 | 0
22:15 - 22:30 | 0 | 0 | -1 | 0 | -2 | -3 | 0
22:30 - 22:45 | 0 | 0 | -1 | 0 | -2 | -3 | 0
22:45 - 23:00 | 0 | 0 | -1 | 0 | -2 | -3 | 0
23:00 - 23:15 | 0 | 0 | -1 | 0 | -2 | -3 | 0
23:15 - 23:30 | 0 | 0 | -1 | 0 | -2 | -3 | 0
23:30 - 23:45 | 0 | 0 | -1 | 0 | -2 | -3 | 0
23:45 - 24:00 | 0 | 0 | -1 | 0 | -2 | -3 | 0
Average | -370.3192 | 1.8233 | -1.1 | 2.5049 | -1.7083 | -14.0208 | 1.6875 | #DIV/0! | #DIV/0!

## GDAM
GDAM TRADING DETAILS FOR DT:24.09.2026
Time Period | IOCL_Paradeep_Refinery | Jindal_Ferrous_Limited | Jindal_Stainless_Limited_Duburi_Odisha | Orissa_Metaliks_Private_Limited
00:00 - 00:15 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 0 | 0
08:00 - 08:15 | 0 | 0 | 0 | 0
08:15 - 08:30 | 0 | 0 | 0 | 0
08:30 - 08:45 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 0 | 0 | 3.38
09:00 - 09:15 | 0 | 0 | 0 | 3.38
09:15 - 09:30 | 0 | 0 | 0 | 3.38
09:30 - 09:45 | 0 | 0 | 0 | 3.38
09:45 - 10:00 | 0 | 0 | 0 | 3.38
10:00 - 10:15 | 0 | 0 | 0 | 3.38
10:15 - 10:30 | 17.82 | 48.21 | 19.29 | 3.38
10:30 - 10:45 | 24.11 | 48.2 | 19.29 | 3.38
10:45 - 11:00 | 24.11 | 48.2 | 19.29 | 3.38
11:00 - 11:15 | 24.11 | 48.2 | 19.29 | 3.38
11:15 - 11:30 | 24.11 | 48.2 | 19.29 | 3.38
11:30 - 11:45 | 24.11 | 48.2 | 19.29 | 3.38
11:45 - 12:00 | 24.11 | 48.2 | 19.29 | 3.38
12:00 - 12:15 | 24.11 | 48.2 | 19.29 | 3.38
12:15 - 12:30 | 24.11 | 48.2 | 19.29 | 3.38
12:30 - 12:45 | 24.11 | 48.2 | 19.29 | 3.38
12:45 - 13:00 | 24.11 | 48.2 | 19.29 | 3.38
13:00 - 13:15 | 24.11 | 48.2 | 19.29 | 3.38
13:15 - 13:30 | 24.11 | 48.2 | 19.29 | 3.38
13:30 - 13:45 | 24.11 | 48.2 | 19.29 | 3.38
13:45 - 14:00 | 24.11 | 48.2 | 19.29 | 3.38
14:00 - 14:15 | 0 | 0 | 0 | 3.38
14:15 - 14:30 | 0 | 0 | 0 | 3.38
14:30 - 14:45 | 0 | 0 | 0 | 3.38
14:45 - 15:00 | 0 | 48.21 | 19.29 | 3.38
15:00 - 15:15 | 0 | 0 | 0 | 3.38
15:15 - 15:30 | 0 | 0 | 0 | 3.38
15:30 - 15:45 | 0 | 0 | 0 | 0
15:45 - 16:00 | 0 | 0 | 0 | 0
16:00 - 16:15 | 0 | 0 | 0 | 0
16:15 - 16:30 | 0 | 0 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0
Average | 3.7017 | 8.0335 | 3.215 | 0.95062

## RTM
RTM TRADING DETAILS FOR DT: 24.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Aryan_Ispat_&_Power_Pvt_Ltd | Crackers_India_Alloys_Limited | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | Indian_Farmers_Fertiliser_Cooperative_Limited | Jindal_Steel_&_Power_Limited_Angul_Odisha | MSP_Sponge_Iron_Limited_Odisha | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | Rungta_Sons_Private_Limited_Jharsuguda_Steel_Plant | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shri_Jagannath_Steels_&_Power_Ltd | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Tata_Steel_Power_Plant_Athagarh | The_Ramco_Cements_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -0.9 | 14.46 | -2.3 | -1.4 | -649.79 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:15 - 00:30 | -0.9 | 14.46 | -2.3 | -1.4 | -550.01 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -5 | 0 | -10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:30 - 00:45 | -0.9 | -5 | -2.3 | -1.4 | -600.01 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -5 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
00:45 - 01:00 | -0.9 | 14.46 | -2.3 | -1.4 | -600 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | -5 | 0 | -40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:00 - 01:15 | -0.9 | 14.46 | -2.3 | -1.3 | -600.03 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:15 - 01:30 | -0.9 | 14.46 | -2.3 | -1.3 | -600.03 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:30 - 01:45 | -0.9 | 15.43 | -2.3 | -1.3 | -670.6 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | 0 | -60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
01:45 - 02:00 | -0.9 | -5 | -2.3 | -1.3 | -667.51 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | -5 | 0 | -40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
02:00 - 02:15 | -0.9 | 15.43 | -2.3 | -1.3 | -600 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 11.57 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 67.5 | 0 | 0 | 0 | 0 | 0 | 0
02:15 - 02:30 | -0.9 | 15.43 | -2.3 | 0 | -557.05 | 0 | 10.61 | 0 | 9.64 | -1 | 0 | 7.71 | -24.5 | 0.19 | 0 | 11.57 | 0 | 0 | 19.29 | -5 | 0 | 0 | 0 | 0 | -40 | 0 | 67.51 | 4.82 | 0 | 0 | 0 | 0 | 0
02:30 - 02:45 | -0.9 | 15.43 | -2.3 | -1.3 | -650.02 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 11.57 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 67.5 | 0 | 0 | 0 | 0 | 0 | 0
02:45 - 03:00 | -0.9 | 15.43 | -2.3 | -1.3 | -650.01 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 11.57 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -20 | 0 | 67.5 | 0 | 0 | 0 | 0 | 0 | 0
03:00 - 03:15 | -0.9 | 15.43 | -2.3 | 0 | -569.51 | 0 | 10.61 | 0 | 9.64 | -1 | 0 | 7.71 | -24.5 | 0.19 | 0 | 13.5 | 0 | 0 | 19.29 | -5 | 0 | 0 | 0 | 0 | -60 | 0 | 67.51 | 4.82 | 0 | 0 | 0 | 0 | 0
03:15 - 03:30 | -0.9 | -5 | -2.3 | 0 | -555.88 | 0 | 10.61 | 0 | 9.64 | -1 | 0 | 7.71 | -24.5 | 0.19 | 0 | 13.5 | 0 | 0 | 19.29 | -5 | 0 | 0 | 0 | 0 | -55 | 0 | 67.51 | 4.82 | 0 | 0 | 0 | 0 | 0
03:30 - 03:45 | -0.9 | 15.43 | -2.3 | 0 | -620.25 | 0 | 10.61 | 0 | 9.64 | -1 | 0 | 7.71 | -24.5 | 0.19 | 0 | 13.5 | 0 | 0 | 19.29 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 67.51 | 4.82 | 0 | 0 | 0 | 0 | 0
03:45 - 04:00 | -0.9 | 15.43 | -2.3 | 0 | -599.97 | 18.32 | 10.61 | 0 | 9.64 | -1 | 0 | 7.71 | -24.5 | 0.19 | 0 | 13.5 | 0 | 0 | 19.29 | -5 | 0 | 0 | 0 | 0 | -30 | 9.64 | 67.51 | 4.82 | 0 | 0 | 0 | 0 | 0
04:00 - 04:15 | -0.9 | 15.43 | -2.3 | 0 | -706.25 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 11.57 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 77.15 | 0 | 0 | 0 | 0 | 0 | 0
04:15 - 04:30 | -0.9 | 15.43 | -2.3 | 0 | -707.4 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 11.57 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | -20 | 0 | 77.15 | 0 | 0 | 0 | 0 | 0 | 0
04:30 - 04:45 | -0.9 | -5 | -2.3 | 0 | -707.02 | 0 | 10.61 | 0 | 9.64 | -1 | 0 | 7.71 | -24.5 | 0.19 | 0 | 11.57 | 0 | 0 | 19.29 | -6 | 0 | 0 | 0 | 0 | -30 | 0 | 67.5 | 4.82 | 0 | 0 | 101.26 | 0 | 0
04:45 - 05:00 | -0.9 | 13.5 | -2.3 | 0 | -727.52 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 11.57 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -50 | 0 | 67.5 | 0 | 0 | 0 | 0 | 0 | 0
05:00 - 05:15 | -0.9 | 13.5 | -2.3 | 0 | -1075.61 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 11.57 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -20 | 0 | 57.86 | 0 | 0 | 0 | 0 | 0 | 0
05:15 - 05:30 | -0.9 | 15.43 | -2.3 | 0 | -1075.04 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 11.57 | 0 | 0 | 2.7 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 57.87 | 0 | 0 | 0 | 14.99 | 0 | 0
05:30 - 05:45 | -0.9 | 15.43 | -2.3 | 0 | -905.01 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 14.46 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -10 | 0 | 67.51 | 0 | 0 | 0 | 0 | 0 | 0
05:45 - 06:00 | -0.9 | 15.43 | -2.3 | 0 | -906.23 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 14.46 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -10 | 0 | 67.51 | 0 | 0 | 0 | 0 | 0 | 0
06:00 - 06:15 | -0.9 | -5 | 0 | 0 | -902.29 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:15 - 06:30 | -0.9 | 0 | 0 | 0 | -929.41 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | -0.9 | 0 | 0 | -1.3 | -1006.5 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | -0.1 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | -0.9 | 0 | 0 | -1.3 | -987.79 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | -0.2 | 0 | 0 | 0 | 0 | 0 | -6 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | -0.9 | 15.43 | 0 | -1.3 | -854.8 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | -0.3 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:15 - 07:30 | -0.9 | 8.68 | 0 | -1.3 | -837.5 | 0 | 10.23 | 0 | 0 | -1 | 0 | 0 | -24.5 | -0.5 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:30 - 07:45 | -0.9 | 8.68 | 0 | -1.3 | -816.76 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | -0.8 | 0 | 12.54 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -60 | 0 | 86.78 | 0 | 0 | 0 | 0 | 0 | 0
07:45 - 08:00 | -0.9 | 13.5 | 0 | 0 | -790.43 | 0 | 10.61 | 0 | 9.64 | -1 | 0 | 7.71 | -24.5 | -1.1 | 0 | 14.46 | 11.57 | 0 | 19.29 | -3 | 0 | 0 | 0 | 0 | -20 | 0 | 86.8 | 4.82 | 0 | 0 | 0 | 0 | 0
08:00 - 08:15 | -0.9 | 14.46 | 0 | 0 | -295.43 | 12.54 | 8.68 | 0 | 9.64 | -1 | 0 | 0 | -24.5 | 0 | 0 | 14.46 | 11.57 | 0 | 19.29 | 0 | 0 | 0 | 0 | 0 | 0 | 9.64 | 86.8 | 4.82 | 0 | 0 | 0 | 0 | 0
08:15 - 08:30 | -0.9 | 14.46 | 0 | 0 | -262.5 | 11.38 | 8.68 | 0 | 9.64 | -1 | 0 | 0 | -24.5 | 0 | 0 | 14.46 | 11.57 | 0 | 19.29 | 0 | 0 | 0 | 0 | 0 | -40 | 9.64 | 86.8 | 4.82 | 0 | 0 | 0 | 0 | 0
08:30 - 08:45 | -0.9 | 15.43 | 0 | 0 | -51.64 | 11.38 | 8.68 | 0 | 9.64 | -1 | 0 | 0 | -24.5 | 0 | 0 | 14.46 | 11.57 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | -60 | 9.64 | 77.15 | 4.82 | 0 | 0 | 0 | 0 | 0
08:45 - 09:00 | 0 | 15.43 | 0 | 0 | -19.46 | 12.44 | 8.68 | 0 | 0 | -1 | 0 | 0 | -17.89 | 0 | 0 | 14.46 | 11.57 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | -36.51 | 9.64 | 77.15 | 4.82 | 0 | 0 | 0 | 0 | 0
09:00 - 09:15 | 0 | 15.43 | 0 | 0 | 336.6 | 12.05 | 8.68 | 0 | 0 | -1 | 0 | 0 | -10.4 | 0 | 0 | 7.71 | 11.57 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | -25.48 | 9.64 | 48.22 | 4.82 | 0 | 0 | 0 | 0 | 0
09:15 - 09:30 | 0 | 15.43 | 0 | 0 | 192.43 | 10.99 | 8.68 | 0 | 0 | -1 | 0 | 0 | -2.02 | 0 | 0 | 7.71 | 11.57 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | -0.83 | 9.64 | 48.22 | 4.82 | 0 | 0 | 0 | 0 | 0
09:30 - 09:45 | -0.9 | 15.43 | 0 | 0 | 287.86 | 11.09 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 7.71 | 11.57 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | 9.64 | 48.22 | 4.82 | 0 | 5.3 | 0 | 0 | 0
09:45 - 10:00 | -0.9 | 15.43 | 0 | 0 | 336.1 | 10.99 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 7.71 | 11.57 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | 0 | 9.64 | 48.22 | 4.82 | 0 | 5.3 | 0 | 0 | 0
10:00 - 10:15 | -0.9 | 15.43 | 0 | 0 | 530.38 | 10.61 | 6.75 | 0 | 0 | -1 | 0 | 0 | -24.5 | 4.24 | 0 | 7.71 | 11.57 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | -50 | 9.64 | 33.75 | 4.82 | 0 | 5.3 | 0 | 0 | 0
10:15 - 10:30 | -0.9 | 15.43 | 0 | 0 | 313.41 | 9.74 | 6.75 | 0 | 0 | -1 | 0 | 0 | -24.5 | 4.44 | 0 | 7.71 | 11.57 | 0 | 19.29 | 0 | 0 | 2.89 | 0 | 0 | -50 | 9.64 | 33.75 | 4.82 | 0 | 5.3 | 0 | 0 | 0
10:30 - 10:45 | -0.9 | 15.43 | 0 | 0 | 289.3 | 9.64 | 6.75 | 0 | 0 | -1 | 0 | 0 | -24.5 | 4.63 | 0 | 7.71 | 11.57 | 0 | 19.29 | 0 | 1.45 | 2.89 | 0 | 0 | -50 | 9.64 | 24.11 | 4.82 | 0 | 5.3 | 96.43 | 0 | 0
10:45 - 11:00 | 0 | 15.43 | 0 | 0 | 192.87 | 9.16 | 6.75 | 0 | 0 | -1 | 0 | 0 | -12.38 | 5.11 | 0 | 7.71 | 11.57 | 0 | 19.29 | 0 | 1.45 | 2.89 | 0 | 0 | -25.27 | 9.64 | 24.11 | 4.82 | 0 | 5.3 | 96.43 | 0 | 0
11:00 - 11:15 | -0.9 | 15.43 | 0 | 0 | 518.91 | 9.55 | 6.75 | 0 | 0 | -1 | 0 | 0 | -24.5 | 5.11 | 0 | 7.71 | 11.57 | 0 | 19.29 | 0 | 1.45 | 2.89 | 0 | 0 | 0 | 9.64 | 16.39 | 4.82 | 0 | 5.3 | 226.8 | 0 | 0
11:15 - 11:30 | -0.9 | 15.43 | 0 | 0 | 516.19 | 9.26 | 6.75 | 0 | 0 | -1 | 0 | 0 | -24.5 | 5.11 | 0 | 7.71 | 11.57 | 0 | 19.29 | 0 | 1.45 | 2.89 | 0 | 0 | 0 | 9.64 | 16.39 | 4.82 | 0 | 5.3 | 298.93 | 0 | 0
11:30 - 11:45 | -0.9 | 15.43 | 0 | 0 | 382.87 | 9.55 | 6.75 | 0 | 0 | -1 | 0 | 0 | -24.5 | 5.21 | 0 | 7.71 | 11.57 | 0 | 19.29 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | 9.64 | 26.04 | 4.82 | 0 | 5.3 | 295.85 | 0 | 0
11:45 - 12:00 | -0.9 | 15.43 | 0 | 0 | 286.98 | 9.64 | 6.75 | 0 | 0 | -1 | 0 | 0 | -24.5 | 5.3 | 0 | 7.71 | 11.57 | 0 | 19.29 | 0 | 1.45 | 3.86 | 0 | 0 | -40 | 9.64 | 26.04 | 4.82 | 0 | 5.3 | 295.85 | 0 | 0
12:00 - 12:15 | -0.9 | 3.86 | 0 | 0 | 284.56 | 9.84 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 5.3 | 0 | 7.71 | 11.57 | 0 | 19.29 | 0 | 1.45 | 3.86 | 0 | 0 | -50 | 9.64 | 26.04 | 4.82 | 0 | 5.3 | 289.29 | 52.07 | 0
12:15 - 12:30 | -0.9 | 15.43 | 0 | 0 | 475.32 | 9.74 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 5.5 | 0 | 7.71 | 11.57 | 0 | 19.29 | 0 | 1.45 | 3.86 | 0 | 0 | -50 | 9.64 | 26.04 | 4.82 | 0 | 5.3 | 289.29 | 52.07 | 0
12:30 - 12:45 | -0.9 | 15.43 | 0 | 0 | 672.72 | 9.93 | 7.71 | 0 | 0 | -1 | 0 | 0 | -24.5 | 5.5 | 0 | 7.71 | 11.57 | 0 | 16.39 | 0 | 1.45 | 3.86 | 0 | 0 | -40 | 9.64 | 16.39 | 4.82 | 0 | 5.3 | 287.17 | 52.07 | 0
12:45 - 13:00 | -0.9 | 15.43 | 0 | 0 | 672.2 | 9.93 | 7.71 | 0 | 0 | -1 | 0 | 0 | -24.5 | 5.79 | 0 | 7.71 | 11.57 | 0 | 16.39 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | 9.64 | 16.39 | 4.82 | 0 | 5.3 | 289.19 | 52.07 | 0
13:00 - 13:15 | -0.9 | 15.43 | 0 | 0 | -2.34 | 10.13 | 7.71 | 0 | 0 | -1 | 0 | 0 | -24.5 | 6.27 | 0 | 7.71 | 11.57 | 0 | 16.39 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | 9.64 | 0 | 4.82 | 0 | 5.3 | 289.2 | 52.07 | 0
13:15 - 13:30 | -0.9 | 3.86 | 0 | 0 | 0 | 10.41 | 7.71 | 0 | 0 | -1 | 0 | 0 | -24.5 | 5.88 | 0 | 7.71 | 11.57 | 0 | 16.39 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | 9.64 | 0 | 4.82 | 0 | 5.3 | 289.21 | 52.07 | 0
13:30 - 13:45 | -0.9 | 1.93 | 0 | 0 | 0 | 11.57 | 7.71 | 0 | 0 | -1 | 0 | 0 | -24.5 | 5.88 | 0 | 7.71 | 11.57 | 0 | 16.39 | 0 | 1.45 | 3.86 | 0 | 0 | -10 | 9.64 | 0 | 4.82 | 0 | 5.3 | 289.21 | 53.04 | 0
13:45 - 14:00 | -0.9 | 15.43 | 0 | 0 | 0 | 12.63 | 7.71 | 0 | 0 | -1 | 0 | 0 | -24.5 | 5.88 | 0 | 7.71 | 11.57 | 0 | 16.39 | 0 | 1.45 | 3.86 | 0 | 0 | -20 | 9.64 | 0 | 4.82 | 0 | 5.3 | 289.21 | 53.04 | 0
14:00 - 14:15 | -0.9 | 15.43 | 0 | 0 | 0 | 13.79 | 7.71 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0.39 | 0 | 7.71 | 11.57 | 6.75 | 16.39 | 0 | 1.45 | 3.86 | 0 | 0 | -15 | 9.64 | 19.29 | 4.82 | 0 | 5.3 | 289.2 | 0 | 0
14:15 - 14:30 | -0.9 | 15.43 | 0 | 0 | 286.99 | 14.56 | 7.71 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 7.71 | 11.57 | 6.75 | 16.39 | 0 | 1.45 | 3.86 | 0 | 0 | -15 | 9.64 | 24.11 | 4.82 | 0 | 5.3 | 289.21 | 0 | 0
14:30 - 14:45 | -0.9 | 15.43 | 0 | 0 | 0 | 14.95 | 7.71 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 7.71 | 11.57 | 6.75 | 16.39 | 0 | 1.45 | 3.86 | 0 | 0 | -20 | 9.64 | 14.46 | 4.82 | 0 | 5.3 | 292.68 | 0 | 0
14:45 - 15:00 | -0.9 | 15.43 | 0 | 0 | 0 | 14.85 | 7.71 | 0 | 0 | -1 | -7 | 0 | -24.5 | 0 | 0 | 7.71 | 11.57 | 6.75 | 16.39 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | 9.64 | 14.46 | 4.82 | 0 | 5.3 | 288.44 | 0 | 0
15:00 - 15:15 | -0.9 | 4.82 | 0 | 0 | -8.75 | 14.85 | 7.71 | 0 | 9.64 | -1 | 0 | 0 | -24.5 | 0 | 0 | 14.46 | 11.57 | 6.75 | 16.39 | 0 | 1.45 | 3.86 | 0 | 0 | 0 | 9.64 | 9.64 | 4.82 | 0 | 5.3 | 243.32 | 0 | 0
15:15 - 15:30 | -0.9 | 15.43 | 0 | 0 | -14.84 | 15.14 | 7.71 | 0 | 9.64 | -1 | 0 | 0 | -24.5 | 0 | 0 | 14.46 | 11.57 | 6.75 | 16.39 | 0 | 1.45 | 3.86 | 0 | 0 | -10 | 9.64 | 9.64 | 4.82 | 0 | 5.3 | 212.46 | 0 | 0
15:30 - 15:45 | -0.9 | 15.43 | 0 | 0 | -7.03 | 0 | 7.71 | 0 | 9.64 | -1 | 0 | 0 | -24.5 | -1.3 | 0 | 14.46 | 11.57 | 6.75 | 16.39 | 0 | 1.45 | 3.86 | 0 | 0 | -8 | 9.64 | 0 | 4.82 | 0 | 5.3 | 154.69 | 0 | 0
15:45 - 16:00 | -0.9 | 15.43 | 0 | 0 | -20.6 | 0 | 7.71 | 0 | 9.64 | -1 | 0 | 0 | -24.5 | -1.1 | 0 | 14.46 | 11.57 | 6.75 | 16.39 | 0 | 1.45 | 3.86 | 0 | 0 | -8 | 0 | 0 | 4.82 | 0 | 5.3 | 123.25 | 0 | 0
16:00 - 16:15 | -0.9 | 15.43 | 0 | 0 | 0 | 16.68 | 10.61 | 0 | 9.64 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 16.39 | 11.57 | 6.75 | 16.39 | 0 | 1.45 | 2.41 | 0 | 0 | -8 | 9.64 | 38.57 | 4.82 | 0 | 5.3 | 101.66 | 0 | 0
16:15 - 16:30 | -0.9 | 15.43 | 0 | 0 | -39.98 | 16.97 | 10.61 | 0 | 9.64 | -1 | 0 | 7.71 | -24.5 | -0.6 | 0 | 16.39 | 11.57 | 6.75 | 16.39 | 0 | 1.45 | 2.41 | 0 | 0 | 0 | 9.64 | 38.57 | 4.82 | 0 | 5.3 | 88.93 | 0 | 0
16:30 - 16:45 | -0.9 | 9.64 | -1.8 | 0 | -60.13 | 0 | 10.61 | 0 | 9.64 | -1 | 0 | 7.71 | -24.5 | -0.4 | 0 | 12.54 | 11.57 | 6.75 | 16.39 | 0 | 1.45 | 0 | 0 | 0 | 0 | 0 | 38.57 | 4.82 | 0 | 5.3 | 128.26 | 0 | 0
16:45 - 17:00 | -0.9 | 9.64 | -1.8 | 0 | -129.49 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | -0.1 | 0 | 12.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 38.57 | 0 | 0 | 0 | 0 | 0 | 0
17:00 - 17:15 | -0.9 | 16.39 | -2.3 | 0 | -451.78 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -29.1 | 0 | 0 | 0 | 0
17:15 - 17:30 | -0.9 | 16.39 | -2.3 | 0 | -354.55 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | -29.1 | 0 | 0 | 0 | 0
17:30 - 17:45 | -0.9 | 0 | -2.5 | -1.4 | -218.75 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17:45 - 18:00 | -0.9 | 0 | -2.5 | -1.4 | -250 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | -0.9 | -2 | -2.7 | -1.5 | -107.97 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.64 | 0 | 0
18:15 - 18:30 | -0.9 | -3 | -2.7 | -1.5 | -150 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 8.21 | 0 | 0
18:30 - 18:45 | -0.9 | -3 | -2.7 | -1.5 | -200 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18.71 | 0 | 0
18:45 - 19:00 | -0.9 | -3 | -2.7 | -1.5 | -200 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 17.04 | 0 | 0
19:00 - 19:15 | -0.9 | -1 | -2.7 | -1.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | -0.9 | -1 | -2.7 | -1.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | -0.9 | -1 | -2.7 | -1.5 | 0 | 0 | 0 | -20 | 0 | -1 | 0 | 0 | -24.5 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | -0.9 | -1 | -2.7 | -1.5 | 0 | 0 | 0 | -20 | 0 | -1 | 0 | 0 | -24.5 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | -0.9 | 0 | -2.7 | -1.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 0 | 0 | 0
20:15 - 20:30 | -0.9 | 0 | -2.7 | -1.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 0 | 0 | 0
20:30 - 20:45 | -0.9 | 0 | -2.7 | -1.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 32.79 | 0 | -1
20:45 - 21:00 | -0.9 | 0 | -2.7 | -1.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | -24.5 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | -29.1 | 0 | 32.79 | 0 | -1
21:00 - 21:15 | -0.4 | 14.46 | -2.7 | -1.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 86.79 | 0 | -29.1 | 0 | 0 | 0 | -1
21:15 - 21:30 | -0.4 | 14.46 | -2.7 | -1.5 | 0 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 10.61 | 0 | 6.73 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 86.79 | 0 | -29.1 | 5.3 | 0 | 0 | -1
21:30 - 21:45 | -0.4 | 0 | -2.7 | -1.5 | 0 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0.39 | 0 | 10.61 | 0 | 11.57 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 86.79 | 0 | -29.1 | 5.3 | 0 | 0 | -1
21:45 - 22:00 | -0.4 | 0 | -2.7 | -1.5 | 0 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0.39 | 0 | 10.61 | 0 | 11.57 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 86.79 | 0 | -29.1 | 5.3 | 0 | 0 | -1
22:00 - 22:15 | -0.4 | -3 | -2.7 | -1.5 | 0 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0.39 | 0 | 10.61 | 11.57 | 0 | 7 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 86.79 | 0 | -29.1 | 5.3 | 87.74 | 0 | -1
22:15 - 22:30 | -0.4 | -3 | -2.7 | -1.5 | 0 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 86.79 | 0 | -29.1 | 5.3 | 0 | 0 | -1
22:30 - 22:45 | -0.9 | 0 | -2.7 | -1.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 86.79 | 0 | -29.1 | 0 | 0 | 0 | -1
22:45 - 23:00 | -0.9 | 0 | -2.7 | -1.5 | 0 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 86.79 | 0 | -29.1 | 5.3 | 0 | 0 | -1
23:00 - 23:15 | -0.9 | 0 | -2.7 | -1.5 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 86.79 | 0 | -29.1 | 0 | 0 | 0 | -1
23:15 - 23:30 | -0.9 | 0 | -2.7 | -1.5 | 0 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 86.79 | 0 | -29.1 | 5.3 | 0 | 0 | -1
23:30 - 23:45 | -0.9 | 0 | -2.7 | -1.5 | 0 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0.39 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 86.79 | 0 | -29.1 | 5.3 | 0 | 0 | -1
23:45 - 24:00 | -0.9 | -12 | -2.7 | -1.5 | 0 | 0 | 10.61 | 0 | 0 | -1 | 0 | 7.71 | -24.5 | 0.39 | 0 | 10.61 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | 0 | 0 | 86.79 | 0 | -29.1 | 5.3 | 0 | 0 | -1
Average | -0.83125 | 8.7978 | -1.3875 | -0.625 | -207.7685 | 4.1073 | 5.7621 | -0.41667 | 1.7071 | -1 | -0.072917 | 2.7306 | -23.9239 | 0.85552 | -0.09375 | 7.4117 | 4.4593 | 1.0846 | 8.0269 | -1.5625 | 0.3776 | 1.1352 | -1.5625 | -0.0625 | -14.7093 | 3.4142 | 34.8673 | 2.1087 | -5.4563