## POWER STATUS
POWER STATUS ON DT 28.09.2026
[9 empty] | 2026-09-28 | 2026-09-27
[9 empty] | M. PEAK | E. PEAK
[9 empty] | 5:00 | 20:00
Demand -> | [8 empty] | 5308.8502 | 6461.5833
Availability |  |  | YESTERDAY'S |  | R.L Unit HFL/MDDL | PREVIOUS YEAR | THIS YEAR
[6 empty] | THIS DAY | PREVIOUS DAY | TODAY
HYDRO | Name of Station | Installed capacity | Avg (MW) | Total (MU) | Reservoir Level
| Burla [Gate-L-19 , R-9] | 287.5(2x49.5+2x32+1x37.5+2x43.5) | 257.54 | 6.181 | 630/590 ft | 628.47 | 628.19 | 629.08 | 265.3211 | 264.1824
| Chiplima | 72(3x24) | 43.71 | 1.049 | - |  |  |  | 45.3469 | 39.0796
| Balimela | 510(6x60+2x75) | 0 | 0 | 1516/1440 ft | 1495.6 | 1499.3 | 1500.5 | 0 | 0
| Rengali | 250(5x50) | 249.52 | 5.9885 | 123.5/109.75 mt | 123.45 | 123.27 | 123.71 | 253.2763 | 251.3267
| Upper Kolab | 320(4x80) | 69.63 | 1.6711 | 858/844 mt | 856.43 | 855.45 | 855.6 | 20.9317 | 130.517
| Upper Indravati[ Gate- 1(0.6 m)] | 600(4x150) | 601.15 | 14.4276 | 642/625 mt | 638.97 | 641.5 | 641.66 | 599.361 | 602.6939
| Machkund | 60(50% of(3x17+3x23)) | 19.79 | 0.47496 | 2750/2685 ft | 2748 | 2746.75 | 2747.15 | 18.8899 | 25.7837
| Total Hydro | 2099.5 | 1241.34 | 29.7922 |  |  |  |  | 1203.127 | 1313.5833
THERMAL
| IbTPS (St-I &II) | 420(2x210)+1320(2x660) | 960.1 | 23.0424 | RENEWABLE ENERGY (RE) |  |  |  | 1044 | 1044
[5 empty] | M.Hydl | 79.55
| Total Thermal | 2200 | 960.1 | 23.0424 | Solar | 121.05 |  |  | 1044 | 1044
IPP | VEDANTA #2 | 600 (1x600) | 402.706 | 9.6649 | Total IPPs | Yesterday's Demand Profile |  |  | 382.168 | 524.707
| GMR #3 | 350 (1x350) | 286.2045 | 6.8689 | 781.5288 |  | MW | HRS | 324.1072 | 327.7432
| NBVL(IPP) | 60(1x60) | 47.5098 | 1.1402 |  |  |  |  | 53.5699 | 53.4958
| MDTPC |  | 45.1085 | 1.0826 |  |  |  |  | 55.8552 | 56.3766
| CGPs |  | 755.4749 | 18.1314 | IPPs, CGPs & RE | Maximum | 6462 | 20:00 | 1756.0704 | 1765
| Central Sector(Drawl) |  | 2015.1684 | 48.364 | 1737.6036 | Minimum | 5353 | 08:00 | 1305.6527 | 2339
| Central Sector(Sch) |  | 2039.1932 | 48.9406 |  | Average | 5954.212 |  | 1288.6659 | 2016
| Grand Total |  | 5954.212 | 142.9011 | Instantaneous Peak demand |  | 6798.293 | 46292.809 | 5308.8502 | 6461.5833
TODAY'S
UNIT OUTAGE: |  |  |  | NAME OF DISTCOM | SCHEDULE(4) |  | ACTUAL |  | SCHEDULE(1)
Burla | NIL | IbTPS / OPGC | 4 |  | MW | MU | MW | MU | MW | MU
Chiplima | NIL | FARAKKA | NIL | TPCODL | 1545.3077 | 37.0874 | 1557.2903 | 37.375 | 1550.9398 | 37.2226
Balimela | 5,6 | TSTPP St-I | NIL | TPWODL | 2166.5182 | 51.9964 | 2192.8777 | 52.6291 | 1452.1427 | 34.8514
Rengali | NIL | TSTPP St-II | NIL | TPNODL | 1388.5963 | 33.3263 | 1367.9291 | 32.8303 | 1309.8353 | 31.436
U.Kolab | 2 | KAHALGAON | 1,6 | TPSODL | 572.43 | 13.7383 | 573.2397 | 13.7578 | 575.5078 | 13.8122
Indravati | NIL | TEESTA-V | NIL | DISCOM TOTAL | 5672.8522 | 136.1485 | 5691.3367 | 136.5921 | 4888.4256 | 117.3222
Machhkund | 4,5,6 | Darlipali | NIL
|  | N. KARANPURA-I | NIL
IPPs and CGPs (Injecting Power(+) / Drawing Power (-) in MW) at 09:00hrs.
IPPs: | VEDANTA #2 | 389 | GMR |  |  |  | 327
| NBVL #3 | 35 | MDTPC |  |  |  | 35
Mini Hydel: | MEENAKSHI | 0 | OPCL |  |  |  | 0
| BTPL | 25 | SAPTADHARA |  |  |  | 20
| SNHEP | 32 |  |  |  |  | 7
Solar: |  | 286 | KAKATIYA
CGPs : | JSPL (Angul) | 309.9701 | JSL(Duburi) |  |  |  | -124.7544
| ICCL | 32.1193 | visa |  |  |  | 17.129
| NALCO | -101.6404 | VAL (CGP) |  |  |  | 78.2123
| RSP | -60.8021 | BSL(MMDL) |  |  |  | 54.0511
| INDAL | -10.3884 | ADITYA ALUMINIUM |  |  |  | 40
| NINL | -31.4917 | VAL CPP 400 kV |  |  |  | -470.9922
| NBVL | 51.7085 | Arati |  |  |  | 14.1072
| BPSL(JSG) | 44.2892 | BPPL |  |  |  | 115.3216
Banking Avg -: (MW) |  | 0
.
HYDRO AVERAGE GENERATION IN MW:-
2026-09-20 | 2026-09-21 | 2026-09-22 | 2026-09-23 | 2026-09-24 | 2026-09-25 | 2026-09-26 | 2026-09-27
1262.37 | 1226.1063 | 1269.6134 | 1234.573 | 1075.56 | 784.1312 | 1206.94 | 1241.34
Shift Charge Engineer,
SLDC, BHUBANESWAR

## BILATERAL
TRADING DETAILS FOR DT.27.09.2026
(A) GNA |  |  | (B) TGNA |  |  | (C) REMC
FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW) | FROM | TO | RTC Avg (In MW)
AARTISTEEL | GEB_Beneficiary | 0 | AARTISTEEL | UPPCL | 0 | AAPL_BKN2 | ULTRATECH_CLU_ODISHA | 0.66
AARTISTEEL | KPTCL | -5 | ENVIROCARE_INFRA | DNHDDPDCL | -5 | AGE26AL_PSS6_KPS1_S | ODISHA | 133.9
AMNSIL_Pdeep | AMNSIL | 0 | FACORPOWER | PSPCL | -21.25 | AP41PL_BHDL | ODISHA | 60.1
ARYAN_ISPAT | BALCO_LOAD | -5 | FACORPOWER | PSPCL | -8.75 | AP43PL_BKN | ODISHA | 91.88
ENVIROCARE_INFRA | APCPDCL | -13 | FACORPOWER | RUVITSL | -5.5 | ARE55L_PSS3_KPS1_HS | DHAMRAPORT | 1.62
FACORPOWER | RUVITSL | -3.33 | JSPLANGUL | RUVITSL | -2.08 | AWEK1L | ODISHA | 12.34
GMRKEL_STU | GEB_Beneficiary | -61.9 | JSPLANGUL | RUVITSL | -47.22 | AWEK1L | ODISHA | 18.5
GMRKEL_STU | TNEB | -18 | JSPLANGUL | RUVITSL | -1.39 | AyanaRP4_DVSR_BHJ_HS | ADITYAAL | 2.93
HIRAKUD_HEP | CSEB_Beneficiary | -1.82 | JSPLANGUL | RUVITSL | -70.83 | AyanaRP4_DVSR_BHJ_HW | ADITYAAL | 33.81
JPIPL | NPCL_UP | -13.5 | KCMW_od | SFLPondyHEX288 | -0.58 | AyanaRP4_ZURA_BHJ_S | ADITYAAL | 11.87
JSPLANGUL | GEB_Beneficiary | -73.33 | KCMW_od | SFLPondyHWF407 | -0.88 | DADRI_SOLAR | ODISHA | 0.56
JSPLANGUL | RUVITSL | -18.06 | NBVLIPP | BSPHCL | -12.54 | ENERSON_SOLAR_10MW | ODISHA | 0.7
JSPLANGUL | RUVITSL | -27.08 | NBVLIPP | RUVITSL | -5.38 | GADAG_GreenInfra_W | ODISHA | 0.23
MAADURGA_THERMAL | NPCL_UP | -14.26 | OCL_IRON_STEEL | TPDDL | -24.79 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -3.83 | OCL_IRON_STEEL | TPDDL | -10.21 | GADAG_GreenInfra_W | ODISHA | 0
NBVLIPP | KPTCL | -5.75 | ODISHA | AEML | -18.75 | GADAG_Serentica3_S | VLSEZ | 33.32
NBVLIPP | KPTCL | -1.92 | ODISHA | AEML | -54.17 | GADAG_Serentica3_W | VLSEZ | 31.13
NBVLIPP | TANGEDCO | 0 | ODISHA | TANGEDCO | -12.5 | GADAG_Serentica3_W | VLSEZ | 27.82
ODISHA | AMNSIL | -50 | ODISHA | TANGEDCO | -6.25 | GIWEL_SECI_II_RE | ODISHA | 61.74
ODISHA | BALCO_LOAD | -60 | ODISHA | TANGEDCO | -18.75 | GPCL_SOLAR_10 | ODISHA | 0.93
ORSISL | BALCO_LOAD | -5 | ODISHA | TANGEDCO | -12.5 | GSECL_SOLAR | ODISHA | 1.28
RSPL_JHARSUGUDA | GEB_Beneficiary | -20 | ODISHA | TPL_DIS_AHM | -20.83 | IRON_TRINGLE_10_MW_SOLAR | ODISHA | 1.83
VSL | APCPDCL | -5 | ODISHA | TPL_DIS_AHM | -33.33 | KARUR_TPVARDHAMAN_W | TSKPO | 56
FARIDABAD_SOLAR | ODISHA | 0.86 | ORSISL | TPLD | -2.5 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
JSWEL_UTKAL | ODISHA | 55.13 | SMEL | PSPCL | -17.71 | Kurnool_Greenko_H_Inj | ADITYAAL | 7.94
RAJ_SOLAR | ODISHA | 2.37 | SMEL | PSPCL | -7.29 | Kurnool_Greenko_H_Inj | ADITYAAL | 0
RAJ_SOLAR | ODISHA | 2.35 | Shri_JSPL | KSEB | -2 | NTPCRE1_SMND_BHJ2_W | ODISHA | 7.88
|  |  | VIRAJ_SEPL | PSPCL | 0 | OGH1PL_DAYAPAR_BHJ_W | JSL_DUBURI | 2.83
|  |  | VIRAJ_SEPL | PSPCL | 0 | OGHOPL_AGAR_PCHR_HS | JSL_DUBURI | 8.13
|  |  | VSL | DNHDDPDCL | -5 | OKWPL_RE | ODISHA | 33.64
|  |  | VSL | TANGEDCO | -10 | RGMHS1_TLJPR_SLPR_HW | JSL_DUBURI | 6.41
|  |  | Assam_Ben | VLSEZ | 96.43 | RWE_AP2_SECI_III | ODISHA | 24.06
|  |  | Darlipali_NTPC | ODISHA | 30.59 | RenewGreen_SLPR_HS | JSL_DUBURI | 16.29
|  |  | JIPL | ODISHA | 115.72 | SRI9PL_FTG3 | VLSEZ | 97.36
|  |  | NALCOAP | NACL_Odisha | 8.16 | TPVSL_BKN3 | TSKPO | 11.86
[6 empty] | TSESOPL_BKN2 | OBPL_CUTTAK | 0.1
[6 empty] | TSESOPL_BKN2 | OPL_CUTTAK | 0.12
[6 empty] | Tuticorin_BETAMWIND | ODISHA | 27.85
[6 empty] | VSUPL_AGAR_PCHR_W | JSL_DUBURI | 20.58
[6 empty] | XXPPL_FTG3 | ODISHA | 66.64

## DAM
DAM TRADING DETAILS FOR DT : 28.09.2026
Time Period | Aryan_Ispat_&_Power_Pvt_Ltd | Ferro_Alloys_Corporation_Limited | GRIDCO | IOCL_Paradeep_Refinery | MGM_Minerals_Ltd | MSP_Sponge_Iron_Limited_Odisha | Nav_Bharat_ventures_Ltd | Nava_Limited_IPP | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda
00:00 - 00:15 | -3 | 0 | -750 | 0 | -1.1 | 0 | -1 | 0 | 6.75 | 0 | 0
00:15 - 00:30 | -3 | 0 | -750 | 0 | -1.1 | 0 | -1 | 0 | 6.75 | 16.39 | 0
00:30 - 00:45 | -3 | 0 | -750 | 0 | -1.1 | 0 | -1 | 0 | 6.75 | 36.64 | 0
00:45 - 01:00 | -3 | 0 | -715.03 | 33.75 | -1.1 | 0 | -1 | 0 | 6.75 | 40.5 | 0
01:00 - 01:15 | -3 | 0 | -750.41 | 33.75 | -1.1 | 0 | -1 | 0 | 6.75 | 40.5 | 0
01:15 - 01:30 | -3 | 0 | -600 | 33.75 | -1.1 | 0 | -1 | 0 | 6.75 | 45.32 | 0
01:30 - 01:45 | -3 | 0 | -600 | 33.75 | -1.1 | 9.64 | -1 | 0 | 6.75 | 45.33 | 0
01:45 - 02:00 | -3 | 0 | -600 | 33.75 | -1.1 | 9.64 | -1 | 0 | 6.75 | 49.18 | 0
02:00 - 02:15 | -3 | 0 | -750 | 33.75 | -1.1 | 9.64 | -1 | 0 | 6.75 | 49.18 | 0
02:15 - 02:30 | -3 | 0 | -750 | 33.75 | -1.1 | 9.64 | -1 | 0 | 6.75 | 54 | 0
02:30 - 02:45 | -3 | 0 | -750 | 33.75 | -1.1 | 9.64 | -1 | 0 | 6.75 | 54 | 0
02:45 - 03:00 | -3 | 0 | -750 | 33.75 | -1.1 | 9.64 | -1 | 0 | 6.75 | 57.86 | 0
03:00 - 03:15 | -3 | 0 | -775 | 33.75 | -1.1 | 9.64 | -1 | 0 | 6.75 | 57.86 | 0
03:15 - 03:30 | -3 | 0 | -775 | 33.75 | -1.1 | 9.64 | -1 | 0 | 6.75 | 60.75 | 0
03:30 - 03:45 | -3 | 0 | -775 | 33.75 | -1.1 | 9.64 | -1 | 0 | 6.75 | 60.75 | 0
03:45 - 04:00 | -3 | 0 | -659.65 | 33.75 | -1.1 | 9.64 | -1 | 0 | 6.75 | 64.61 | 0
04:00 - 04:15 | -3 | 0 | -727.5 | 33.75 | -1.1 | 9.64 | -1 | 0 | 6.75 | 64.61 | 0
04:15 - 04:30 | -3 | 0 | -727.18 | 33.75 | -1.1 | 9.64 | -1 | 0 | 6.75 | 64.61 | 0
04:30 - 04:45 | -3 | 0 | -694.44 | 33.75 | -1.1 | 9.64 | -1 | 0 | 6.75 | 69.43 | 0
04:45 - 05:00 | -3 | 0 | -751.18 | 33.75 | -1.1 | 9.64 | -1 | 0 | 6.75 | 69.43 | 0
05:00 - 05:15 | -3 | 0 | -775 | 33.75 | -1.3 | 9.64 | -1 | -3 | 6.75 | 69.43 | 0
05:15 - 05:30 | -3 | 0 | -918.32 | 33.75 | -1.3 | 0 | -1 | -3 | 6.75 | 72.32 | 0
05:30 - 05:45 | -3 | 0 | -1000 | 0 | -1.3 | 0 | -1 | -3 | 6.75 | 72.32 | 0
05:45 - 06:00 | -3 | 0 | -1067.6 | 0 | -1.3 | 0 | -1 | -3 | 6.75 | 72.32 | 0
06:00 - 06:15 | -3 | 0 | -1140.1 | 0 | -1.3 | 0 | -1 | -3 | 6.75 | 72.32 | 0
06:15 - 06:30 | -3 | 0 | -1200 | 0 | -1.3 | 0 | -1 | -3 | 6.75 | 71.36 | 0
06:30 - 06:45 | -3 | 0 | -1200 | 0 | -1.3 | 0 | -1 | -3 | 0 | 69.43 | 0
06:45 - 07:00 | -3 | 0 | -1200 | 0 | -1.3 | 0 | -1 | -3 | 6.75 | 64.61 | 0
07:00 - 07:15 | -3 | 0 | -1122.76 | 0 | -1.3 | 0 | -1 | -3 | 6.75 | 57.86 | 0
07:15 - 07:30 | -3 | 0 | -975 | 0 | -1.3 | 0 | -1 | -3 | 6.75 | 43.39 | 0
07:30 - 07:45 | -3 | 0 | -938.98 | 33.75 | -1.3 | 0 | -1 | -3 | 6.75 | 26.04 | 0
07:45 - 08:00 | -3 | 0 | -750 | 0 | -1.3 | 0 | -1 | -3 | 6.75 | 0 | 0
08:00 - 08:15 | -3 | 11.57 | -675.07 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 0 | 0
08:15 - 08:30 | -3 | 11.57 | -300 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 0 | 0
08:30 - 08:45 | -3 | 11.57 | -300 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 0 | 0
08:45 - 09:00 | -3 | 11.57 | -300 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 0 | 0
09:00 - 09:15 | -3 | 11.57 | -150.12 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 0 | 0
09:15 - 09:30 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 0 | 56.9
09:30 - 09:45 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 0 | 56.9
09:45 - 10:00 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 38.57 | 56.9
10:00 - 10:15 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 154.29 | 56.89
10:15 - 10:30 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
10:30 - 10:45 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
10:45 - 11:00 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
11:00 - 11:15 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 224.69 | 56.89
11:15 - 11:30 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
11:30 - 11:45 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
11:45 - 12:00 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
12:00 - 12:15 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
12:15 - 12:30 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
12:30 - 12:45 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
12:45 - 13:00 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
13:00 - 13:15 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
13:15 - 13:30 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
13:30 - 13:45 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
13:45 - 14:00 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
14:00 - 14:15 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
14:15 - 14:30 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
14:30 - 14:45 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 223.72 | 56.89
14:45 - 15:00 | -3 | 11.57 | -100 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 154.29 | 56.89
15:00 - 15:15 | -3 | 11.57 | -717.76 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 38.57 | 56.9
15:15 - 15:30 | -3 | 11.57 | -750 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 0 | 56.9
15:30 - 15:45 | -3 | 11.57 | -750 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 0 | 56.9
15:45 - 16:00 | -3 | 11.57 | -750 | 0 | -1.3 | 0 | -1 | -34 | 6.75 | 0 | 0
16:00 - 16:15 | -3 | 11.57 | -825.98 | 0 | -1.3 | 0 | -1 | 0 | 6.75 | 0 | 0
16:15 - 16:30 | -3 | 11.57 | -808.94 | 0 | -1.3 | 0 | -1 | 0 | 6.75 | 0 | 0
16:30 - 16:45 | -3 | 11.57 | -1175 | 33.75 | -1.3 | 0 | -1 | 0 | 6.75 | 0 | 0
16:45 - 17:00 | -3 | 11.57 | -1350 | 0 | -1.3 | 0 | -1 | 0 | 6.75 | 0 | 0
17:00 - 17:15 | -3 | 0 | -1195.11 | 0 | -1 | 0 | -2 | 0 | 6.75 | 0 | 0
17:15 - 17:30 | -3 | 0 | -1017.22 | 0 | -1 | 0 | -2 | 0 | 6.75 | 0 | 0
17:30 - 17:45 | -3 | 0 | -600 | 0 | -1 | 0 | -2 | 0 | 0 | 34.71 | 0
17:45 - 18:00 | -3 | 0 | -550 | 0 | -1 | 0 | -2 | 0 | 0 | 60.75 | 0
18:00 - 18:15 | -3 | 0 | -200 | 0 | -1 | 0 | -2 | 0 | 0 | 48.22 | 0
18:15 - 18:30 | -3 | 0 | -200 | 0 | -1 | 0 | -2 | 0 | 0 | 34.71 | 0
18:30 - 18:45 | -3 | 0 | -200 | 0 | -1 | 0 | -2 | 0 | 0 | 18.32 | 0
18:45 - 19:00 | -3 | 0 | -200 | 0 | -1 | 0 | -2 | 0 | 0 | 0 | 0
19:00 - 19:15 | -3 | 0 | -350 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
19:15 - 19:30 | -3 | 0 | -350 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
19:30 - 19:45 | -3 | 0 | -350 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
19:45 - 20:00 | -3 | 0 | -350 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
20:00 - 20:15 | -3 | 0 | -450 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
20:15 - 20:30 | -3 | 0 | -450 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
20:30 - 20:45 | -3 | 0 | -450 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
20:45 - 21:00 | -3 | 0 | -450 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
21:00 - 21:15 | -3 | 0 | -450 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
21:15 - 21:30 | -3 | 0 | -450 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
21:30 - 21:45 | -3 | 0 | -450 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
21:45 - 22:00 | -3 | 0 | -450 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
22:00 - 22:15 | -3 | 0 | -525 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
22:15 - 22:30 | -3 | 0 | -525 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
22:30 - 22:45 | -3 | 0 | -525 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
22:45 - 23:00 | -3 | 0 | -525 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
23:00 - 23:15 | -3 | 0 | -625 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
23:15 - 23:30 | -3 | 0 | -625 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
23:30 - 23:45 | -3 | 0 | -625 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
23:45 - 24:00 | -3 | 0 | -625 | 0 | -1 | 0 | -2 | -3 | 0 | 0 | 0
Average | -3 | 4.3387 | -537.5349 | 7.3828 | -1.1708 | 1.5063 | -1.2917 | -12.3333 | 4.8516 | 65.6532 | 15.4083

## GDAM
GDAM TRADING DETAILS FOR DT:28.09.2026
Time Period | GRIDCO | Grasim_Industries_Ltd_Chemical_Division_Ganjam | IOCL_Paradeep_Refinery | JSW_Sambalpur_Steel_Limited | Jindal_Ferrous_Limited | MSP_Sponge_Iron_Limited_Odisha | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Vedanta_Aluminium_Metal_Ltd_CPP_9X135MW_Jharsuguda
00:00 - 00:15 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
00:15 - 00:30 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
00:30 - 00:45 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
00:45 - 01:00 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
01:00 - 01:15 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
01:15 - 01:30 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
01:30 - 01:45 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
01:45 - 02:00 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
02:00 - 02:15 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
02:15 - 02:30 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
02:30 - 02:45 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
02:45 - 03:00 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
03:00 - 03:15 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
03:15 - 03:30 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
03:30 - 03:45 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
03:45 - 04:00 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
04:00 - 04:15 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
04:15 - 04:30 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
04:30 - 04:45 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
04:45 - 05:00 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
05:00 - 05:15 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
05:15 - 05:30 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
05:30 - 05:45 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
05:45 - 06:00 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
06:00 - 06:15 | 0 | 0 | 0 | 0.15 | 0 | 0 | 0 | 0
06:15 - 06:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:30 - 06:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06:45 - 07:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
07:00 - 07:15 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
07:15 - 07:30 | 0 | 0 | 0 | 9.64 | 0 | 0 | 0 | 0
07:30 - 07:45 | 0 | 0 | 0 | 9.64 | 28.93 | 0 | 0 | 0
07:45 - 08:00 | 0 | 0 | 33.76 | 9.64 | 28.93 | 9.64 | 0 | 0
08:00 - 08:15 | 0 | 0 | 33.75 | 0 | 28.93 | 9.64 | 0 | 0
08:15 - 08:30 | 0 | 12.63 | 33.75 | 0 | 28.93 | 9.64 | 0 | 0
08:30 - 08:45 | 0 | 11.86 | 33.75 | 0 | 28.93 | 9.64 | 0 | 0
08:45 - 09:00 | 0.12 | 11.09 | 33.74 | 0 | 28.93 | 9.64 | 0 | 0
09:00 - 09:15 | 0.53 | 10.41 | 33.75 | 0 | 28.93 | 9.64 | 46.29 | 0
09:15 - 09:30 | 0.76 | 10.51 | 33.75 | 0 | 28.93 | 9.64 | 68.47 | 0
09:30 - 09:45 | 1.56 | 13.31 | 33.75 | 0 | 28.93 | 9.64 | 110.9 | 56.89
09:45 - 10:00 | 96.36 | 13.6 | 33.75 | 0 | 28.93 | 9.64 | 149.47 | 112.82
10:00 - 10:15 | 96.05 | 13.4 | 33.75 | 0 | 28.93 | 9.64 | 149.47 | 169.72
10:15 - 10:30 | 95.84 | 10.7 | 33.75 | 0 | 28.93 | 9.64 | 169.72 | 169.72
10:30 - 10:45 | 95.94 | 10.61 | 33.75 | 0 | 28.93 | 9.64 | 199.6 | 169.72
10:45 - 11:00 | 95.6 | 10.8 | 33.75 | 0 | 28.93 | 9.64 | 229.5 | 169.72
11:00 - 11:15 | 76.08 | 10.9 | 33.75 | 0 | 28.93 | 9.64 | 229.5 | 169.72
11:15 - 11:30 | 95.52 | 10.41 | 33.75 | 0 | 28.93 | 9.64 | 229.51 | 169.72
11:30 - 11:45 | 89.29 | 10.99 | 33.75 | 0 | 28.93 | 9.64 | 229.51 | 169.72
11:45 - 12:00 | 95.51 | 10.9 | 33.75 | 0 | 28.93 | 9.64 | 229.5 | 169.72
12:00 - 12:15 | 95.63 | 9.84 | 33.75 | 0 | 28.93 | 9.64 | 229.5 | 169.72
12:15 - 12:30 | 95.54 | 9.26 | 33.75 | 0 | 28.93 | 9.64 | 229.5 | 169.72
12:30 - 12:45 | 95.6 | 9.45 | 33.75 | 0 | 28.93 | 9.64 | 229.5 | 169.72
12:45 - 13:00 | 95.63 | 10.13 | 33.75 | 0 | 28.93 | 9.64 | 229.5 | 169.72
13:00 - 13:15 | 95.72 | 10.8 | 33.75 | 0 | 28.93 | 9.64 | 229.5 | 169.72
13:15 - 13:30 | 95.76 | 10.9 | 33.75 | 0 | 28.93 | 9.64 | 229.5 | 169.72
13:30 - 13:45 | 95.88 | 10.9 | 33.75 | 0 | 28.93 | 9.64 | 229.5 | 169.72
13:45 - 14:00 | 92.67 | 11.09 | 33.75 | 0 | 28.93 | 9.64 | 229.5 | 169.72
14:00 - 14:15 | 95.56 | 11.09 | 33.75 | 0 | 28.93 | 9.64 | 229.5 | 169.72
14:15 - 14:30 | 95.67 | 11.19 | 33.75 | 0 | 28.93 | 9.64 | 229.5 | 169.72
14:30 - 14:45 | 96.26 | 11.19 | 33.75 | 0 | 28.93 | 9.64 | 199.6 | 169.72
14:45 - 15:00 | 96.49 | 11.09 | 33.75 | 0 | 28.93 | 9.64 | 169.71 | 169.72
15:00 - 15:15 | 0 | 12.54 | 33.75 | 0 | 28.93 | 9.64 | 149.47 | 112.82
15:15 - 15:30 | 0 | 12.73 | 33.75 | 0 | 28.93 | 9.64 | 110.9 | 56.89
15:30 - 15:45 | 0 | 0 | 33.75 | 0 | 28.93 | 9.64 | 68.47 | 0
15:45 - 16:00 | 0 | 0 | 33.75 | 0 | 28.93 | 9.64 | 46.29 | 0
16:00 - 16:15 | 0 | 0 | 33.76 | 9.64 | 28.93 | 9.64 | 0 | 0
16:15 - 16:30 | 0 | 0 | 33.76 | 9.64 | 28.93 | 9.64 | 0 | 0
16:30 - 16:45 | 0 | 0 | 0 | 9.64 | 28.94 | 9.64 | 0 | 0
16:45 - 17:00 | 0 | 0 | 0 | 9.64 | 28.93 | 0 | 0 | 0
17:00 - 17:15 | 0 | 0 | 0 | 9.64 | 28.93 | 0 | 0 | 0
17:15 - 17:30 | 0 | 0 | 0 | 9.64 | 28.93 | 0 | 0 | 0
17:30 - 17:45 | 0 | 0 | 0 | 9.64 | 2.21 | 0 | 0 | 0
17:45 - 18:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:00 - 18:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:15 - 18:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:30 - 18:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18:45 - 19:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:00 - 19:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:15 - 19:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:30 - 19:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19:45 - 20:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:00 - 20:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:15 - 20:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:30 - 20:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20:45 - 21:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:00 - 21:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:15 - 21:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:30 - 21:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21:45 - 22:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:00 - 22:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:15 - 22:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:30 - 22:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22:45 - 23:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:00 - 23:15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:15 - 23:30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:30 - 23:45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23:45 - 24:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average | 20.683 | 3.3783 | 12.3049 | 3.5161 | 12.0773 | 3.615 | 52.9258 | 38.894

## RTM
RTM TRADING DETAILS FOR DT: 27.09.2026
Time Period | Adhunik_Metaliks_Limited | Aarti_Steel_Ltd_NPT | Crackers_India_Alloys_Limited | Envirocare_Infrasolution_Pvt_Ltd | GRIDCO | Indian_Farmers_Fertiliser_Cooperative_Limited | MGM_Green_Energy_Ltd | Narbheram_Power_and_Steel_Private_Limited | Nava_Limited_IPP | Neelachal_Ispat_Nigam_Limited | OCL_Iron_and_Steel_Limited_ENE | Odisha_Cement_Plant_(A_Unit_Of_Shree_Cement_Limited) | Orissa_Sponge_Iron_and_Steel_Limited | Rimjhim_Ispat_Limited_(Erstwhile_BRG_Iron_&_Steel_Co_(P)_Ltd) | Rungta_Mines_Limited_Dhenkanal_Steel_Plant | Rungta_Mines_Limited_Kamanda_Steel_Plant_Koira_Dist_Sundergarh_Odisha | Rungta_Mines_Ltd_Karakolha_SID | Rungta_Sons_Private_Limited_Ferro_Alloys_Division_Dhenkanall | SMC_Power_Generation_Limited_Jharsuguda | SMC_Power_Generation_Limited_Unit_II_PTC | Shree_Ganesh_Metaliks_Ltd_Kuarmunda | Shri_Jagannath_Steels_&_Power_Ltd | Shyam_Metalics_and_Energy_Ltd_Sambalpur | TATA_Steel_Limited_Meramandali | Tata_Steel_Limited_FAP_Gopalpur | Tata_Steel_Limited_Kalinga_Nagar | Tata_Steel_Ltd_Ferro_Alloys_Plant_Bamnipal | Thakur_Prasad_Sao_And_Sons_Private_Limited_Unit_IV | Vedanta_Aluminium_Metal_Limited_SEZ_Unit_Jharsuguda | Visa_Chrome_Limited
00:00 - 00:15 | -2 | 0 | -1.4 | 0 | 432.59 | 0 | 0 | -0.7 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 171.65 | 0
00:15 - 00:30 | -2 | 0 | -1.4 | 0 | 672.76 | 0 | 0 | -0.7 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 205.4 | 0
00:30 - 00:45 | -2 | -9 | -1.4 | 0 | 624.55 | 0 | 0 | -0.7 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 205.4 | 0
00:45 - 01:00 | -2 | 0 | -1.4 | 0 | 289.35 | 10.61 | 0 | -0.7 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | 0 | 200.48 | 0
01:00 - 01:15 | -2 | 0 | -1.4 | 0 | 240.05 | 0 | 0 | -0.7 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -40 | 0 | 0 | 0 | -1 | 200.48 | 0
01:15 - 01:30 | -2 | 0 | -1.4 | 0 | 144 | 0 | 0 | -0.7 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -40 | 0 | 0 | 0 | -1 | 204.34 | 0
01:30 - 01:45 | -2 | 0 | -1.4 | 0 | 292.63 | 10.61 | 0 | -0.7 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -1 | 205.3 | 0
01:45 - 02:00 | -2 | 0 | -1.4 | 0 | 316.26 | 10.61 | 0 | -0.7 | 0 | 7.71 | -18 | 0 | 0 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 38.57 | 0 | -1 | 201.35 | 0
02:00 - 02:15 | -2 | 0 | -1.4 | 0 | 441.43 | 10.61 | 0 | -0.7 | 0 | 7.71 | -18 | 0 | 0 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0.96 | 0 | 0 | -3 | 0 | 0 | 38.57 | 0 | -1 | 202.31 | 0
02:15 - 02:30 | -2 | 0 | -1.4 | 0 | 441.44 | 10.61 | 0 | -0.7 | 0 | 7.71 | -18 | 0 | 0 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0.96 | 0 | 0 | -3 | 0 | 0 | 38.57 | 0 | -1 | 197.39 | 0
02:30 - 02:45 | -2 | -10 | -1.4 | 0 | 440.64 | 10.61 | 0 | -0.7 | 0 | 7.71 | -18 | 0 | 0 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0.96 | 0 | 0 | -3 | -40 | 0 | 38.57 | 0 | -1 | 198.36 | 0
02:45 - 03:00 | -2 | 0 | -1.4 | 0 | 425.33 | 10.61 | 0 | -0.7 | 0 | 7.71 | -18 | 0 | 0 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | -40 | 0 | 38.57 | 0 | -1 | 193.63 | 0
03:00 - 03:15 | -2 | 0 | -1.4 | 0 | 438.7 | 10.61 | 0 | -0.7 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -1 | 193.63 | 0
03:15 - 03:30 | -2 | 0 | -1.4 | 0 | 602.85 | 10.61 | 0 | -0.7 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 0 | 0 | -1 | 189.87 | 0
03:30 - 03:45 | -2 | 0 | -1.4 | 0 | 583.4 | 10.61 | 0 | -0.7 | 0 | 7.71 | -18 | 0 | 0 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 59.79 | 0 | -1 | 189.87 | 0
03:45 - 04:00 | -2 | 0 | -1.4 | 0 | 414.74 | 10.61 | 0 | -0.7 | 0 | 7.71 | -18 | 0 | 0 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0.96 | 0 | 0 | -3 | 0 | 0 | 59.79 | 0 | -1 | 185.15 | 0
04:00 - 04:15 | -2 | -11 | -1.4 | 0 | 113.72 | 10.61 | 0 | -0.7 | 0 | 7.71 | -18 | 0 | 0 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0.96 | 0 | 0 | -3 | -20 | 0 | 59.79 | 0 | -1 | 185.15 | 0
04:15 - 04:30 | -2 | 0 | -1.4 | 0 | 120.54 | 10.61 | 0 | -0.7 | 0 | 7.71 | -18 | 0 | 0 | 3.86 | 14.46 | 0 | 0 | 19.16 | 0 | 0.96 | 0 | 0 | -3 | -40 | 0 | 59.79 | 0 | -1 | 400.41 | 0
04:30 - 04:45 | -2 | 0 | -1.4 | 0 | 104.05 | 10.61 | 0 | -0.7 | 0 | 7.71 | -18 | 0 | 0 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0.96 | 0 | 0 | -3 | -40 | 0 | 77.14 | 0 | -1 | 180.71 | 0
04:45 - 05:00 | -2 | 0 | -1.4 | 0 | 86.49 | 10.61 | 0 | -0.7 | 0 | 7.71 | -18 | 0 | 0 | 3.86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3 | 0 | 0 | 77.14 | 0 | -1 | 180.71 | 0
05:00 - 05:15 | -2 | 0 | -1.4 | 0 | 200.31 | 10.61 | 0 | -0.7 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 29.07 | 0 | -1 | 180.71 | 0
05:15 - 05:30 | -2 | 0 | -1.4 | 0 | 384.38 | 0 | 0 | -0.7 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | -1 | 180.81 | 0
05:30 - 05:45 | -2 | -11 | -1.4 | 0 | 266.79 | 0 | 0 | -0.7 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 0 | 0 | -1 | 180.81 | 0
05:45 - 06:00 | -2 | 0 | -1.4 | 0 | 265.04 | 0 | 0 | -0.7 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -60 | 0 | 0 | 0 | -1 | 180.81 | 0
06:00 - 06:15 | -2 | 0 | -1.4 | 0 | 161.99 | 0 | 0 | -0.7 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -75 | 0 | 0 | 0 | -1 | 174.54 | 0
06:15 - 06:30 | -2 | 0 | -1.4 | 0 | 132.57 | 0 | 0 | -0.7 | 0 | 0 | -18 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -60 | 0 | 0 | 0 | -1 | 175.7 | 0
06:30 - 06:45 | -2 | 0 | -1.4 | 0 | 228.75 | 0 | 0 | -0.7 | 0 | 0 | -18 | -0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -1 | 219.09 | 0
06:45 - 07:00 | -2 | 0 | -1.4 | 0 | 242.56 | 0 | 0 | -0.7 | 0 | 0 | -18 | -0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -23 | 0 | 0 | 0 | -1 | 221.31 | 0
07:00 - 07:15 | -2 | -10 | -1.4 | 0 | 228.55 | 0 | -0.5 | -0.7 | 0 | 0 | -18 | -1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | 0 | 0 | 0 | 0 | -1 | 223.24 | 0
07:15 - 07:30 | -2 | 0 | -1.4 | 0 | 184.54 | 10.61 | -0.7 | -0.7 | 0 | 0 | -18 | -1.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2 | -50 | 0 | 72.8 | 0 | -1 | 220.63 | 0
07:30 - 07:45 | -2 | 0 | 0 | 0 | 221.34 | 10.61 | -1 | -0.7 | 0 | 7.71 | -18 | -2 | 0 | 3.86 | 14.46 | 0 | 0 | 19.29 | 0 | 0.96 | 0 | 0 | -2 | -75 | 0 | 96.43 | 0 | -1 | 430.37 | 0
07:45 - 08:00 | -2 | 0 | 0 | 0 | -5.97 | 10.61 | -1.2 | -0.7 | 0 | 7.71 | -18 | -2.7 | 0 | 5.79 | 14.46 | 0 | 0 | 19.29 | 0 | 0.96 | 0 | 0 | -2 | -45 | 0 | 96.43 | 4.82 | -1 | 397.97 | 0
08:00 - 08:15 | -2 | 0 | 0 | 0 | -199.97 | 10.61 | -1.3 | -0.7 | -7 | 0 | -18 | -3.1 | 0 | 5.79 | 14.46 | 0 | 0 | 19.29 | 0 | 0 | 0 | 0 | -2 | -10 | 0 | 43.39 | 4.82 | -1 | 628.43 | 0
08:15 - 08:30 | -2 | 0 | 0 | 0 | 0 | 10.61 | -1.5 | -0.7 | 0 | 0 | -18 | 0 | 0 | 5.79 | 14.46 | 0 | 0 | 19.29 | 0 | 0 | 0 | 0 | 0 | -20 | 9.64 | 43.39 | 4.82 | 0 | 563.35 | 0
08:30 - 08:45 | -2 | 0 | 0 | 0 | 173.59 | 10.61 | -1.7 | -0.7 | 0 | 0 | -18 | 0 | 0 | 5.79 | 14.46 | 0 | 0 | 19.29 | 0 | 0 | 0 | 0 | 0 | -30 | 9.64 | 62.68 | 4.82 | 0 | 499.6 | 0
08:45 - 09:00 | -2 | 0 | 0 | 0 | 318.24 | 10.61 | -1.9 | -0.7 | 0 | 0 | -18 | 0 | 0 | 5.79 | 14.46 | 0 | 0 | 19.29 | 0 | 0 | 0 | 0 | 0 | -10 | 9.64 | 48.22 | 4.82 | 0 | 459.29 | 0
09:00 - 09:15 | -2 | 0 | 0 | 0 | 0 | 10.61 | -2.2 | -0.7 | 0 | 0 | -18 | 0 | 0 | 5.79 | 14.46 | 6.75 | 1.93 | 19.29 | 0 | 0 | 0 | -3 | 0 | -70 | 9.64 | 48.22 | 4.82 | 0 | 455.33 | 0
09:15 - 09:30 | -2 | -2 | 0 | 0 | 0 | 10.61 | -2.4 | -0.7 | 0 | 0 | -18 | 0 | 0 | 5.79 | 14.46 | 6.75 | 1.93 | 19.29 | 0 | 0 | 0 | -1 | 0 | -85 | 9.64 | 43.39 | 4.82 | 0 | 431.62 | 0
09:30 - 09:45 | -2 | 0 | 0 | 0 | -59.49 | 10.61 | -0.41 | -1 | 0 | 0 | -18 | 0 | 0 | 5.79 | 14.46 | 6.75 | 1.93 | 19.29 | 0 | 0 | 0 | -0.16 | 0 | -85 | 9.64 | 43.39 | 4.82 | 0 | 406.26 | 0
09:45 - 10:00 | -2 | 0 | 0 | 0 | -269.67 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 5.79 | 14.46 | 6.75 | 1.93 | 19.29 | 0 | 0 | 0 | 0 | 0 | -20 | 9.64 | 43.39 | 4.82 | 0 | 321.31 | 0
10:00 - 10:15 | -2 | 0 | 0 | 0 | -359.95 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 5.79 | 14.46 | 6.75 | 1.93 | 12.54 | 0 | 0 | 0 | 0 | 0 | -35 | 9.64 | 48.22 | 4.82 | 0 | 340.39 | 0
10:15 - 10:30 | -2 | 0 | 0 | 0 | -359.9 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 5.79 | 14.46 | 6.75 | 1.93 | 12.54 | 0 | 0 | 0 | 0 | 0 | -15 | 9.64 | 48.22 | 4.82 | 0 | 290.25 | 0
10:30 - 10:45 | -2 | 0 | 0 | 0 | -429 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 5.79 | 14.46 | 6.75 | 1.93 | 12.54 | 0 | 0 | 0 | 0 | 0 | -40 | 9.64 | 72.32 | 4.82 | 0 | 324 | 0
10:45 - 11:00 | -2 | 0 | 0 | 0 | -429 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 5.79 | 14.46 | 6.75 | 1.93 | 12.54 | 0 | 0 | 0 | 0 | 0 | -65 | 9.64 | 72.32 | 4.82 | 0 | 378 | 0
11:00 - 11:15 | -2 | 0 | 0 | 0 | -479.19 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 5.79 | 14.46 | 6.75 | 1.93 | 12.54 | 0 | 0 | 0 | 0 | 0 | -65 | 9.64 | 77.14 | 4.82 | 0 | 446.47 | 0
11:15 - 11:30 | -2 | 0 | 0 | 0 | -479.28 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 5.79 | 14.46 | 6.75 | 1.93 | 12.54 | 0 | 0 | 0 | 0 | 0 | -15 | 9.64 | 77.14 | 4.82 | 0 | 447.44 | 0
11:30 - 11:45 | -2 | 0 | 0 | 0 | -302.94 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 6.75 | 14.46 | 6.75 | 1.93 | 12.54 | 0 | 0 | 0 | 0 | 0 | -10 | 9.64 | 77.14 | 4.82 | 0 | 467.69 | 0
11:45 - 12:00 | -2 | 0 | 0 | 0 | -302.95 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 6.75 | 14.46 | 6.75 | 1.93 | 12.54 | 0 | 0 | 0 | 0 | 0 | -60 | 9.64 | 77.14 | 4.82 | 0 | 467.69 | 0
12:00 - 12:15 | -2 | 0 | 0 | 0 | -402.92 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 6.75 | 14.46 | 6.75 | 1.93 | 12.54 | 1.45 | 0 | 0 | 0 | 0 | -55 | 9.64 | 77.14 | 4.82 | 0 | 467.69 | 0
12:15 - 12:30 | -2 | 0 | 0 | 0 | -402.94 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 6.75 | 14.46 | 6.75 | 1.93 | 12.54 | 1.45 | 0 | 0 | 0 | 0 | -55 | 9.64 | 77.14 | 4.82 | 0 | 467.69 | 0
12:30 - 12:45 | -2 | 0 | 0 | 0 | -302.96 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 6.75 | 14.46 | 11.57 | 1.93 | 19.29 | 1.45 | 0 | 0 | 0 | 0 | -55 | 9.64 | 50.14 | 4.82 | 0 | 467.69 | 0
12:45 - 13:00 | -2 | 0 | 0 | 0 | -302.95 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 6.75 | 14.46 | 11.57 | 1.93 | 19.29 | 1.45 | 0 | 0 | 0 | 0 | -45 | 9.64 | 50.14 | 4.82 | 0 | 467.69 | 0
13:00 - 13:15 | -2 | 0 | 0 | 0 | -402.92 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 6.75 | 14.46 | 11.57 | 1.93 | 19.29 | 1.45 | 0 | 0 | 0 | 0 | 0 | 9.64 | 38.57 | 4.82 | 0 | 467.69 | 0
13:15 - 13:30 | -2 | 0 | 0 | 0 | -402.93 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 6.75 | 14.46 | 11.57 | 1.93 | 19.29 | 1.45 | 0 | 0 | 0 | 0 | 0 | 9.64 | 33.75 | 4.82 | 0 | 467.69 | 0
13:30 - 13:45 | -2 | 0 | 0 | 0 | -352.99 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 6.75 | 14.46 | 11.57 | 1.93 | 19.29 | 1.45 | 0 | 0 | 0 | 0 | -43 | 9.64 | 0 | 4.82 | 0 | 467.68 | 0
13:45 - 14:00 | -2 | 0 | 0 | 0 | -359.95 | 10.61 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 6.75 | 14.46 | 11.57 | 1.93 | 19.29 | 1.45 | 0 | 0 | 0 | 0 | -43 | 9.64 | 0 | 4.82 | 0 | 467.68 | 0
14:00 - 14:15 | -2 | 0 | 0 | 0 | -425 | 10.61 | 0 | -1 | 0 | 0 | -18 | -4.1 | 0 | 6.75 | 9.64 | 11.57 | 1.93 | 12.54 | 1.45 | 0 | 0 | -1.5 | 0 | -10 | 0 | 0 | 4.82 | -1 | 384.75 | 0
14:15 - 14:30 | -2 | 0 | 0 | 0 | -375.02 | 10.61 | 0 | -1 | 0 | 0 | -18 | -3.8 | 0 | 6.75 | 9.64 | 11.57 | 1.93 | 12.54 | 1.45 | 0 | 0 | -1.5 | 0 | -20 | 0 | 0 | 4.82 | -1 | 313.39 | 0
14:30 - 14:45 | -2 | 0 | 0 | 0 | -114.49 | 10.61 | 0 | -1 | 0 | 0 | -18 | -3.4 | 0 | 6.75 | 9.64 | 6.75 | 1.93 | 12.54 | 1.45 | 0 | 0 | -3 | 0 | -20 | 0 | 0 | 4.82 | -1 | 266.14 | 0
14:45 - 15:00 | -2 | 0 | 0 | 0 | -125.04 | 10.61 | -0.1 | -1 | 0 | 0 | -18 | -2.9 | 0 | 6.75 | 9.64 | 6.75 | 1.93 | 12.54 | 1.45 | 0 | 0 | -1.5 | 0 | 0 | 0 | 0 | 4.82 | -1 | 280.6 | 0
15:00 - 15:15 | -2 | 0 | 0 | 0 | 0 | 7.71 | 0 | -1 | 0 | 0 | -18 | -2.9 | 0 | 6.75 | 9.64 | 6.75 | 1.93 | 12.54 | 1.45 | 0 | 0 | -1.5 | 0 | -30 | 0 | 17.36 | 4.82 | -1 | 328.82 | 0
15:15 - 15:30 | -2 | -10 | 0 | 0 | -150.08 | 7.71 | 0 | -1 | 0 | 0 | -18 | -2.5 | 0 | 6.75 | 9.64 | 6.75 | 1.93 | 12.54 | 1.45 | 0 | 0 | -1 | 0 | -20 | 0 | 17.36 | 4.82 | -1 | 342.32 | 0
15:30 - 15:45 | -2 | 0 | 0 | 0 | -305.56 | 7.71 | 0 | -1 | 0 | 0 | -18 | -2.1 | 0 | 4.82 | 0 | 6.75 | 1.93 | 0 | 1.45 | 0 | 0 | 0 | 0 | 0 | 0 | 24.11 | 0 | -1 | 361.61 | 0
15:45 - 16:00 | -2 | 0 | 0 | 0 | -312.01 | 7.71 | 0 | -1 | -7 | 0 | -18 | -1.7 | 0 | 4.82 | 0 | 6.75 | 1.93 | 0 | 1.45 | 0 | 0 | 0 | 0 | -10 | 0 | 24.11 | 0 | -1 | 390.54 | 0
16:00 - 16:15 | -2 | 0 | 0 | 0 | -326.06 | 7.71 | 0 | -1 | 0 | 7.71 | -18 | -1.4 | 0 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 53.05 | 0 | -1 | 43.39 | 0
16:15 - 16:30 | -2 | 0 | 0 | 0 | -326.78 | 7.71 | 0 | -1 | 0 | 0 | -18 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 79.08 | 0
16:30 - 16:45 | -2 | 0 | 0 | 0 | 27.2 | 0 | 0 | -1 | 0 | 0 | -18 | -0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -1 | 135 | 0
16:45 - 17:00 | -2 | -4 | 0 | 0 | 196.72 | 0 | 0 | -1 | 0 | 0 | -18 | -0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -30 | 0 | 0 | 0 | -1 | 180.32 | 0
17:00 - 17:15 | -2 | -4 | -1.4 | 0 | 196.47 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 267.11 | 0
17:15 - 17:30 | -2 | 0 | -1.4 | 0 | 120.54 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10 | 0 | 0 | 0 | -1 | 312.43 | 0
17:30 - 17:45 | -2 | 0 | -1.4 | 0 | 4.82 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | -1 | 322.08 | 0
17:45 - 18:00 | -2 | 0 | -1.4 | -25.5 | 92.57 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35 | 0 | 0 | 0 | -1 | 250.32 | 0
18:00 - 18:15 | -2 | 0 | -1.4 | 0 | 179.18 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | -1 | 370.11 | -2
18:15 - 18:30 | -2 | -4 | -1.4 | 0 | 167.63 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -40 | 0 | 0 | 0 | -1 | 318.1 | -2
18:30 - 18:45 | -2 | -12 | -1.4 | 0 | 133.47 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -20 | 0 | 0 | 0 | -1 | 222.44 | -2
18:45 - 19:00 | -2 | 0 | -1.4 | 0 | 106.63 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 177.72 | -2
19:00 - 19:15 | -2 | 0 | -1.4 | 0 | 153.29 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | -1 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -25 | 0 | 0 | 0 | -1 | 195.09 | -3
19:15 - 19:30 | -2 | 0 | -1.4 | 0 | 137.26 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | -1 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | -1 | 174.68 | -3
19:30 - 19:45 | -2 | 0 | -1.4 | 0 | 353.94 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | -1 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | -1 | 269.43 | -3
19:45 - 20:00 | -2 | 0 | -1.4 | 0 | 367.98 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | -1 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -1 | 278.2 | -3
20:00 - 20:15 | -0.9 | 0 | -1.4 | 0 | 776.5 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | -2 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -1 | 441.53 | -3
20:15 - 20:30 | -0.9 | 0 | -1.4 | 0 | 825.58 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | -2 | 0 | -5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -15 | 0 | 0 | 0 | -1 | 463.36 | -3
20:30 - 20:45 | -0.9 | 0 | -1.4 | 0 | 1100.26 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | -1 | 229.22 | -3
20:45 - 21:00 | -0.9 | 0 | -1.4 | 0 | 1157.16 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -1 | 192.86 | -3
21:00 - 21:15 | -2 | 0 | -1.4 | 0 | 687.65 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -1 | 129.22 | -1
21:15 - 21:30 | -2 | 0 | -1.4 | 0 | 694.29 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -20 | 0 | 0 | 0 | -1 | 111.86 | -1
21:30 - 21:45 | -2 | 0 | -1.4 | 0 | 612.33 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | 0 | 0 | 0 | 0 | -1 | 103.18 | -1
21:45 - 22:00 | -2 | -10 | -1.4 | 0 | 609.89 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -10 | 0 | 0 | 0 | -1 | 86.79 | -1
22:00 - 22:15 | -2 | 0 | -1.4 | 0 | 530.36 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -40 | 0 | 0 | 0 | -1 | 111.86 | -1
22:15 - 22:30 | -2 | 0 | -1.4 | 0 | 480.5 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1 | -5 | 0 | 0 | 0 | -1 | 120.57 | -1
22:30 - 22:45 | -2 | 0 | -1.4 | 0 | 426.76 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | 0 | 0 | 0 | 0 | -1 | 131.31 | -1
22:45 - 23:00 | -2 | 0 | -1.4 | 0 | 437.16 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | 0 | 0 | 0 | 0 | -1 | 134.51 | -1
23:00 - 23:15 | -2 | -5 | -1.5 | 0 | 249.29 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | 0 | 0 | 0 | 0 | -1 | 132.96 | -1
23:15 - 23:30 | -2 | -5 | -1.5 | 0 | 255.08 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | 0 | 0 | 0 | 0 | -1 | 113.36 | -1
23:30 - 23:45 | -2 | 0 | -1.5 | 0 | 282.12 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -45 | 0 | 0 | 0 | -1 | 0 | -1
23:45 - 24:00 | -2 | 0 | -1.5 | 0 | 325.87 | 0 | 0 | -1 | 0 | 0 | -18 | 0 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5 | 0 | -1 | -45 | 0 | 0 | 0 | -1 | 0 | -1
Average | -1.9542 | -1.1146 | -0.85 | -0.26562 | 133.9038 | 5.6764 | -0.15531 | -0.88125 | -0.14583 | 1.1244 | -18 | -0.40833 | -0.22917 | 2.6628 | 4.3569 | 2.3704 | 0.56292 | 5.5046 | 0.24167 | 0.09 | -0.3125 | -0.1475 | -1.1042 | -23.375 | 2.3096 | 23.6417 | 1.5565 | -0.71875 | 274.0881 | -0.45833